## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_870-1_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_870-1_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_870-1_0_7_node_55 | 0.4 | n |  | TRUE
3 | bus_LV_870-1_0_7_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_870-1_0_7_node_54 | 0.4 | n |  | TRUE
5 | bus_LV_870-1_0_7_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_870-1_0_7_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_870-1_0_7_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_870-1_0_7_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_870-1_0_7_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_870-1_0_7_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_870-1_0_7_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_870-1_0_7_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_870-1_0_7_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_870-1_0_7_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_870-1_0_7_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_870-1_0_7_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_870-1_0_7_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_870-1_0_7_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_870-1_0_7_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_870-1_0_7_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_870-1_0_7_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_870-1_0_7_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_870-1_0_7_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_870-1_0_7_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_870-1_0_7_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_870-1_0_7_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_870-1_0_7_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_870-1_0_7_node_146 | 0.4 | n |  | TRUE
29 | bus_LV_870-1_0_7_node_147 | 0.4 | n |  | TRUE
30 | bus_LV_870-1_0_7_node_151 | 0.4 | n |  | TRUE
31 | bus_LV_870-1_0_7_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_870-1_0_7_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_870-1_0_7_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_870-1_0_7_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_870-1_0_7_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_870-1_0_7_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_870-1_0_7_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_870-1_0_7_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_870-1_0_7_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_870-1_0_7_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_870-1_0_7_node_140 | 0.4 | n |  | TRUE
42 | bus_LV_870-1_0_7_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_870-1_0_7_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_870-1_0_7_node_142 | 0.4 | n |  | TRUE
45 | bus_LV_870-1_0_7_node_138 | 0.4 | n |  | TRUE
46 | bus_LV_870-1_0_7_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_870-1_0_7_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_870-1_0_7_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_870-1_0_7_node_143 | 0.4 | n |  | TRUE
50 | bus_LV_870-1_0_7_node_145 | 0.4 | n |  | TRUE
51 | bus_LV_870-1_0_7_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_870-1_0_7_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_870-1_0_7_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_870-1_0_7_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_870-1_0_7_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_870-1_0_7_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_870-1_0_7_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_870-1_0_7_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_870-1_0_7_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_870-1_0_7_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_870-1_0_7_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_870-1_0_7_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_870-1_0_7_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_870-1_0_7_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_870-1_0_7_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_870-1_0_7_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_870-1_0_7_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_870-1_0_7_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_870-1_0_7_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_870-1_0_7_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_870-1_0_7_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_870-1_0_7_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_870-1_0_7_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_870-1_0_7_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_870-1_0_7_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_870-1_0_7_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_870-1_0_7_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_870-1_0_7_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_870-1_0_7_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_870-1_0_7_node_101 | 0.4 | n |  | TRUE
81 | bus_LV_870-1_0_7_node_150 | 0.4 | n |  | TRUE
82 | bus_LV_870-1_0_7_node_102 | 0.4 | n |  | TRUE
83 | bus_LV_870-1_0_7_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_870-1_0_7_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_870-1_0_7_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_870-1_0_7_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_870-1_0_7_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_870-1_0_7_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_870-1_0_7_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_870-1_0_7_node_126 | 0.4 | n |  | TRUE
91 | bus_LV_870-1_0_7_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_870-1_0_7_node_125 | 0.4 | n |  | TRUE
93 | bus_LV_870-1_0_7_node_72 | 0.4 | n |  | TRUE
94 | bus_LV_870-1_0_7_node_73 | 0.4 | n |  | TRUE
95 | bus_LV_870-1_0_7_node_74 | 0.4 | n |  | TRUE
96 | bus_LV_870-1_0_7_node_75 | 0.4 | n |  | TRUE
97 | bus_LV_870-1_0_7_node_99 | 0.4 | n |  | TRUE
98 | bus_LV_870-1_0_7_node_129 | 0.4 | n |  | TRUE
99 | bus_LV_870-1_0_7_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_870-1_0_7_node_130 | 0.4 | n |  | TRUE
101 | bus_LV_870-1_0_7_node_124 | 0.4 | n |  | TRUE
102 | bus_LV_870-1_0_7_node_127 | 0.4 | n |  | TRUE
103 | bus_LV_870-1_0_7_node_135 | 0.4 | n |  | TRUE
104 | bus_LV_870-1_0_7_node_84 | 0.4 | n |  | TRUE
105 | bus_LV_870-1_0_7_node_123 | 0.4 | n |  | TRUE
106 | bus_LV_870-1_0_7_node_117 | 0.4 | n |  | TRUE
107 | bus_LV_870-1_0_7_node_108 | 0.4 | n |  | TRUE
108 | bus_LV_870-1_0_7_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_870-1_0_7_node_81 | 0.4 | n |  | TRUE
110 | bus_LV_870-1_0_7_node_82 | 0.4 | n |  | TRUE
111 | bus_LV_870-1_0_7_node_83 | 0.4 | n |  | TRUE
112 | bus_LV_870-1_0_7_node_122 | 0.4 | n |  | TRUE
113 | bus_LV_870-1_0_7_node_120 | 0.4 | n |  | TRUE
114 | bus_LV_870-1_0_7_node_85 | 0.4 | n |  | TRUE
115 | bus_LV_870-1_0_7_node_86 | 0.4 | n |  | TRUE
116 | bus_LV_870-1_0_7_node_87 | 0.4 | n |  | TRUE
117 | bus_LV_870-1_0_7_node_88 | 0.4 | n |  | TRUE
118 | bus_LV_870-1_0_7_node_89 | 0.4 | n |  | TRUE
119 | bus_LV_870-1_0_7_node_116 | 0.4 | n |  | TRUE
120 | bus_LV_870-1_0_7_node_128 | 0.4 | n |  | TRUE
121 | bus_LV_870-1_0_7_node_121 | 0.4 | n |  | TRUE
122 | bus_LV_870-1_0_7_node_119 | 0.4 | n |  | TRUE
123 | bus_LV_870-1_0_7_node_92 | 0.4 | n |  | TRUE
124 | bus_LV_870-1_0_7_node_94 | 0.4 | n |  | TRUE
125 | bus_LV_870-1_0_7_node_95 | 0.4 | n |  | TRUE
126 | bus_LV_870-1_0_7_node_149 | 0.4 | n |  | TRUE
127 | bus_LV_870-1_0_7_node_148 | 0.4 | n |  | TRUE
128 | bus_LV_870-1_0_7_node_96 | 0.4 | n |  | TRUE
129 | bus_LV_870-1_0_7_node_98 | 0.4 | n |  | TRUE
130 | bus_LV_870-1_0_7_node_100 | 0.4 | n |  | TRUE
131 | bus_LV_870-1_0_7_node_136 | 0.4 | n |  | TRUE
132 | bus_LV_870-1_0_7_node_113 | 0.4 | n |  | TRUE
133 | bus_LV_870-1_0_7_node_114 | 0.4 | n |  | TRUE
134 | bus_LV_870-1_0_7_node_103 | 0.4 | n |  | TRUE
135 | bus_LV_870-1_0_7_node_104 | 0.4 | n |  | TRUE
136 | bus_LV_870-1_0_7_node_105 | 0.4 | n |  | TRUE
137 | bus_LV_870-1_0_7_node_106 | 0.4 | n |  | TRUE
138 | bus_LV_870-1_0_7_node_111 | 0.4 | n |  | TRUE
139 | bus_LV_870-1_0_7_node_112 | 0.4 | n |  | TRUE
140 | bus_LV_870-1_0_7_node_109 | 0.4 | n |  | TRUE
141 | bus_LV_870-1_0_7_node_110 | 0.4 | n |  | TRUE
142 | bus_LV_870-1_0_7_node_115 | 0.4 | n |  | TRUE
143 | bus_LV_870-1_0_7_node_118 | 0.4 | n |  | TRUE
144 | bus_LV_870-1_0_7_node_131 | 0.4 | n |  | TRUE
145 | bus_LV_870-1_0_7_node_132 | 0.4 | n |  | TRUE
146 | bus_LV_870-1_0_7_node_133 | 0.4 | n |  | TRUE
147 | bus_LV_870-1_0_7_node_134 | 0.4 | n |  | TRUE
148 | bus_LV_870-1_0_7_node_137 | 0.4 | n |  | TRUE
149 | bus_LV_870-1_0_7_node_144 | 0.4 | n |  | TRUE
150 | bus_LV_870-1_0_7_node_141 | 0.4 | n |  | TRUE
151 | bus_LV_870-1_0_7_node_139 | 0.4 | n |  | TRUE
152 | bus_MV_121_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_870-1_0_7_load_0 | 0 | 0.0033699 | 0.00084458 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_870-1_0_7_load_1 | 1 | 0.0076274 | 0.0019116 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_870-1_0_7_load_55 | 2 | 0.0043246 | 0.0010838 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_870-1_0_7_load_2 | 3 | 0.003959 | 0.00099222 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_870-1_0_7_load_54 | 4 | 0.0048297 | 0.0012104 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_870-1_0_7_load_3 | 5 | 0.0075194 | 0.0018845 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_870-1_0_7_load_4 | 6 | 0.0025827 | 0.00064728 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_870-1_0_7_load_5 | 7 | 0.0028149 | 0.00070549 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_870-1_0_7_load_6 | 8 | 0.0029214 | 0.00073216 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_870-1_0_7_load_7 | 9 | 0.0027208 | 0.00068188 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_870-1_0_7_load_8 | 10 | 0.0029372 | 0.00073613 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_870-1_0_7_load_36 | 11 | 0.002956 | 0.00074084 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_870-1_0_7_load_37 | 12 | 0.0023886 | 0.00059864 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_870-1_0_7_load_9 | 13 | 0.003442 | 0.00086264 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_870-1_0_7_load_10 | 14 | 0.0033904 | 0.00084972 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_870-1_0_7_load_11 | 15 | 0.0034142 | 0.00085567 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_870-1_0_7_load_13 | 17 | 0.0032715 | 0.0008199 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_870-1_0_7_load_27 | 20 | 0.0042426 | 0.0010633 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_870-1_0_7_load_23 | 21 | 0.0022587 | 0.00056609 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_870-1_0_7_load_21 | 22 | 0.0032098 | 0.00080445 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_870-1_0_7_load_14 | 23 | 0.0029963 | 0.00075094 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_870-1_0_7_load_15 | 24 | 0.0022503 | 0.00056399 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_870-1_0_7_load_16 | 25 | 0.0032674 | 0.0008189 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_870-1_0_7_load_17 | 26 | 0.0021878 | 0.00054832 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_870-1_0_7_load_30 | 27 | 0.0022305 | 0.00055903 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_870-1_0_7_load_146 | 28 | 0.0073084 | 0.0018317 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_870-1_0_7_load_151 | 30 | 0.0026611 | 0.00066695 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_870-1_0_7_load_34 | 31 | 0.0025965 | 0.00065075 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_870-1_0_7_load_26 | 32 | 0.002541 | 0.00063683 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_870-1_0_7_load_18 | 33 | 0.0042931 | 0.001076 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_870-1_0_7_load_19 | 34 | 0.0053506 | 0.001341 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_870-1_0_7_load_20 | 35 | 0.0042959 | 0.0010767 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_870-1_0_7_load_22 | 36 | 0.0041467 | 0.0010393 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_870-1_0_7_load_28 | 37 | 0.0030995 | 0.0007768 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_870-1_0_7_load_24 | 39 | 0.0022231 | 0.00055715 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_870-1_0_7_load_47 | 42 | 0.0041934 | 0.001051 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_870-1_0_7_load_43 | 43 | 0.0035621 | 0.00089276 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_870-1_0_7_load_142 | 44 | 0.0042196 | 0.0010575 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_870-1_0_7_load_138 | 45 | 0.0028933 | 0.00072512 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_870-1_0_7_load_32 | 46 | 0.0027169 | 0.00068092 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_870-1_0_7_load_35 | 48 | 0.0026053 | 0.00065294 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_870-1_0_7_load_143 | 49 | 0.0023302 | 0.00058399 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_870-1_0_7_load_145 | 50 | 0.0047261 | 0.0011845 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_870-1_0_7_load_38 | 51 | 0.005702 | 0.0014291 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_870-1_0_7_load_39 | 52 | 0.0048547 | 0.0012167 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_870-1_0_7_load_40 | 53 | 0.0060898 | 0.0015262 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_870-1_0_7_load_41 | 54 | 0.0042874 | 0.0010745 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_870-1_0_7_load_42 | 55 | 0.008197 | 0.0020543 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_870-1_0_7_load_52 | 56 | 0.003329 | 0.00083432 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_870-1_0_7_load_69 | 57 | 0.0061892 | 0.0015512 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_870-1_0_7_load_53 | 58 | 0.0054627 | 0.0013691 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_870-1_0_7_load_44 | 60 | 0.0047175 | 0.0011823 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_870-1_0_7_load_51 | 62 | 0.0026811 | 0.00067196 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_870-1_0_7_load_48 | 63 | 0.0028267 | 0.00070843 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_870-1_0_7_load_62 | 64 | 0.0026265 | 0.00065827 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_870-1_0_7_load_49 | 65 | 0.0029903 | 0.00074944 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_870-1_0_7_load_50 | 66 | 0.0033305 | 0.0008347 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_870-1_0_7_load_78 | 69 | 0.0079964 | 0.0020041 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_870-1_0_7_load_79 | 70 | 0.0077819 | 0.0019503 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_870-1_0_7_load_56 | 72 | 0.0048602 | 0.0012181 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_870-1_0_7_load_57 | 73 | 0.0056982 | 0.0014281 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_870-1_0_7_load_80 | 74 | 0.0049673 | 0.0012449 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_870-1_0_7_load_58 | 76 | 0.0029983 | 0.00075144 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_870-1_0_7_load_59 | 77 | 0.0026699 | 0.00066914 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_870-1_0_7_load_61 | 78 | 0.0031861 | 0.00079851 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_870-1_0_7_load_63 | 79 | 0.0025725 | 0.00064472 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_870-1_0_7_load_150 | 81 | 0.0029892 | 0.00074917 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_870-1_0_7_load_102 | 82 | 0.0029813 | 0.00074717 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_870-1_0_7_load_93 | 83 | 0.0029079 | 0.0007288 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_870-1_0_7_load_64 | 84 | 0.004081 | 0.0010228 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_870-1_0_7_load_67 | 86 | 0.0074659 | 0.0018711 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_870-1_0_7_load_68 | 87 | 0.006169 | 0.0015461 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_870-1_0_7_load_71 | 88 | 0.0053561 | 0.0013424 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_870-1_0_7_load_90 | 89 | 0.0061812 | 0.0015492 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_870-1_0_7_load_126 | 90 | 0.0050245 | 0.0012592 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_870-1_0_7_load_91 | 91 | 0.0076888 | 0.001927 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_870-1_0_7_load_125 | 92 | 0.0029347 | 0.00073551 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_870-1_0_7_load_72 | 93 | 0.0044284 | 0.0011099 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_870-1_0_7_load_73 | 94 | 0.004482 | 0.0011233 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_870-1_0_7_load_74 | 95 | 0.0027785 | 0.00069637 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_870-1_0_7_load_75 | 96 | 0.0034984 | 0.00087678 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_870-1_0_7_load_99 | 97 | 0.0017706 | 0.00044374 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_870-1_0_7_load_129 | 98 | 0.0095427 | 0.0023916 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_870-1_0_7_load_97 | 99 | 0.001709 | 0.00042831 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_870-1_0_7_load_130 | 100 | 0.0017402 | 0.00043614 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_870-1_0_7_load_124 | 101 | 0.0039187 | 0.00098213 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_870-1_0_7_load_127 | 102 | 0.0083751 | 0.002099 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_870-1_0_7_load_84 | 104 | 0.0038882 | 0.00097447 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_870-1_0_7_load_123 | 105 | 0.0034405 | 0.00086227 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_870-1_0_7_load_117 | 106 | 0.0049598 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_870-1_0_7_load_108 | 107 | 0.0030092 | 0.00075419 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_870-1_0_7_load_107 | 108 | 0.0029746 | 0.00074551 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_870-1_0_7_load_81 | 109 | 0.010464 | 0.0026225 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_870-1_0_7_load_82 | 110 | 0.011309 | 0.0028343 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_870-1_0_7_load_83 | 111 | 0.0032532 | 0.00081533 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_870-1_0_7_load_122 | 112 | 0.0033459 | 0.00083856 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_870-1_0_7_load_120 | 113 | 0.0032596 | 0.00081693 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_870-1_0_7_load_85 | 114 | 0.0028352 | 0.00071057 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_870-1_0_7_load_86 | 115 | 0.0028171 | 0.00070602 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_870-1_0_7_load_87 | 116 | 0.0034072 | 0.00085394 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_870-1_0_7_load_89 | 118 | 0.0034045 | 0.00085326 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_870-1_0_7_load_116 | 119 | 0.0033854 | 0.00084847 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_870-1_0_7_load_121 | 121 | 0.0042617 | 0.0010681 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_870-1_0_7_load_119 | 122 | 0.0034286 | 0.0008593 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_870-1_0_7_load_92 | 123 | 0.0063356 | 0.0015879 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_870-1_0_7_load_95 | 125 | 0.0035344 | 0.00088581 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_870-1_0_7_load_148 | 127 | 0.0071556 | 0.0017934 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_870-1_0_7_load_96 | 128 | 0.0097999 | 0.0024561 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_870-1_0_7_load_98 | 129 | 0.0023668 | 0.00059317 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_870-1_0_7_load_100 | 130 | 0.0023721 | 0.0005945 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_870-1_0_7_load_136 | 131 | 0.0024038 | 0.00060244 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_870-1_0_7_load_113 | 132 | 0.0029935 | 0.00075024 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_870-1_0_7_load_114 | 133 | 0.0029987 | 0.00075156 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_870-1_0_7_load_103 | 134 | 0.0054142 | 0.0013569 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_870-1_0_7_load_104 | 135 | 0.0036348 | 0.00091096 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_870-1_0_7_load_105 | 136 | 0.0092876 | 0.0023277 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_870-1_0_7_load_106 | 137 | 0.002884 | 0.00072281 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_870-1_0_7_load_111 | 138 | 0.0037529 | 0.00094057 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_870-1_0_7_load_112 | 139 | 0.0048927 | 0.0012262 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_870-1_0_7_load_110 | 141 | 0.0028572 | 0.00071607 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_870-1_0_7_load_115 | 142 | 0.0027865 | 0.00069835 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_870-1_0_7_load_118 | 143 | 0.003813 | 0.00095563 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_870-1_0_7_load_131 | 144 | 0.0092441 | 0.0023168 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_870-1_0_7_load_133 | 146 | 0.0025866 | 0.00064826 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_870-1_0_7_load_134 | 147 | 0.0026462 | 0.0006632 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_870-1_0_7_load_137 | 148 | 0.0026694 | 0.00066902 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_870-1_0_7_load_144 | 149 | 0.0017418 | 0.00043653 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_870-1_0_7_load_141 | 150 | 0.0023452 | 0.00058777 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_870-1_0_7_load_139 | 151 | 0.0023555 | 0.00059033 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_870-1_0_7_line_0 |  | 0 | 1 | 0.014951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_870-1_0_7_line_1 |  | 0 | 2 | 0.087509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_870-1_0_7_line_2 |  | 1 | 3 | 0.0026335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_870-1_0_7_line_3 |  | 2 | 4 | 0.0042897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_870-1_0_7_line_4 |  | 3 | 5 | 0.017035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_870-1_0_7_line_5 |  | 4 | 72 | 0.014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_870-1_0_7_line_6 |  | 5 | 6 | 0.0042137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_870-1_0_7_line_7 |  | 6 | 7 | 0.011262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_870-1_0_7_line_8 |  | 8 | 9 | 0.0060067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_870-1_0_7_line_9 |  | 9 | 10 | 0.020216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_870-1_0_7_line_10 |  | 10 | 11 | 0.0026957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_870-1_0_7_line_11 |  | 11 | 12 | 0.012102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_870-1_0_7_line_12 |  | 12 | 18 | 0.015129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_870-1_0_7_line_13 |  | 13 | 14 | 0.022556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_870-1_0_7_line_14 |  | 13 | 15 | 0.027036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_870-1_0_7_line_15 |  | 14 | 16 | 0.011179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_870-1_0_7_line_16 |  | 15 | 17 | 0.018979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_870-1_0_7_line_17 |  | 16 | 18 | 0.004937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_870-1_0_7_line_18 |  | 16 | 19 | 0.042745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_870-1_0_7_line_19 |  | 17 | 20 | 0.0034629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_870-1_0_7_line_20 |  | 19 | 21 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_870-1_0_7_line_21 |  | 20 | 22 | 0.0024435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_870-1_0_7_line_22 |  | 21 | 39 | 0.0090525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_870-1_0_7_line_23 |  | 22 | 34 | 0.020725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_870-1_0_7_line_24 |  | 23 | 24 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_870-1_0_7_line_25 |  | 23 | 25 | 0.008327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_870-1_0_7_line_26 |  | 24 | 26 | 0.0089083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_870-1_0_7_line_27 |  | 26 | 27 | 0.020568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_870-1_0_7_line_28 |  | 27 | 31 | 0.042461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_870-1_0_7_line_29 |  | 27 | 32 | 0.0094983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_870-1_0_7_line_30 |  | 28 | 29 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_870-1_0_7_line_31 |  | 29 | 30 | 0.044331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_870-1_0_7_line_32 |  | 30 | 48 | 0.0053605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_870-1_0_7_line_33 |  | 31 | 46 | 0.0011066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_870-1_0_7_line_34 |  | 32 | 39 | 0.019942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_870-1_0_7_line_35 |  | 33 | 34 | 0.022429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_870-1_0_7_line_36 |  | 33 | 35 | 0.0098401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_870-1_0_7_line_37 |  | 35 | 36 | 0.018388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_870-1_0_7_line_38 |  | 36 | 37 | 0.0088638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_870-1_0_7_line_39 |  | 37 | 38 | 0.0022679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_870-1_0_7_line_40 |  | 38 | 40 | 0.012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_870-1_0_7_line_41 |  | 38 | 41 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_870-1_0_7_line_42 |  | 40 | 42 | 0.032284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_870-1_0_7_line_43 |  | 40 | 43 | 0.019531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_870-1_0_7_line_44 |  | 41 | 44 | 0.045845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_870-1_0_7_line_45 |  | 41 | 45 | 0.019547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_870-1_0_7_line_46 |  | 43 | 60 | 0.0070075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_870-1_0_7_line_47 |  | 45 | 151 | 0.0063444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_870-1_0_7_line_48 |  | 46 | 47 | 0.0076839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_870-1_0_7_line_49 |  | 47 | 48 | 0.0083545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_870-1_0_7_line_50 |  | 49 | 50 | 0.0044268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_870-1_0_7_line_51 |  | 50 | 149 | 0.025218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_870-1_0_7_line_52 |  | 51 | 52 | 0.0061009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_870-1_0_7_line_53 |  | 51 | 53 | 0.020602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_870-1_0_7_line_54 |  | 52 | 54 | 0.018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_870-1_0_7_line_55 |  | 53 | 55 | 0.0084133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_870-1_0_7_line_56 |  | 54 | 56 | 0.0068195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_870-1_0_7_line_57 |  | 55 | 57 | 0.021928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_870-1_0_7_line_58 |  | 56 | 58 | 0.023966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_870-1_0_7_line_59 |  | 57 | 59 | 0.016801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_870-1_0_7_line_60 |  | 59 | 86 | 0.016509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_870-1_0_7_line_61 |  | 59 | 87 | 0.020046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_870-1_0_7_line_62 |  | 59 | 84 | 0.041603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_870-1_0_7_line_63 |  | 60 | 61 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_870-1_0_7_line_64 |  | 61 | 62 | 0.040192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_870-1_0_7_line_65 |  | 61 | 63 | 0.0047794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_870-1_0_7_line_66 |  | 62 | 64 | 0.003386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_870-1_0_7_line_67 |  | 64 | 71 | 0.0083107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_870-1_0_7_line_68 |  | 65 | 66 | 0.030272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_870-1_0_7_line_69 |  | 66 | 67 | 0.025674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_870-1_0_7_line_70 |  | 67 | 68 | 0.022012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_870-1_0_7_line_71 |  | 67 | 69 | 0.018173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_870-1_0_7_line_72 |  | 67 | 70 | 0.044745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_870-1_0_7_line_73 |  | 68 | 106 | 0.00636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_870-1_0_7_line_74 |  | 68 | 107 | 0.021051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_870-1_0_7_line_75 |  | 69 | 86 | 8.6514e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_870-1_0_7_line_76 |  | 71 | 79 | 0.0016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_870-1_0_7_line_77 |  | 71 | 76 | 0.027161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_870-1_0_7_line_78 |  | 72 | 73 | 0.003901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_870-1_0_7_line_79 |  | 73 | 74 | 0.024034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_870-1_0_7_line_80 |  | 74 | 75 | 0.014547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_870-1_0_7_line_81 |  | 75 | 85 | 0.00727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_870-1_0_7_line_82 |  | 76 | 77 | 0.001279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_870-1_0_7_line_83 |  | 77 | 78 | 0.021629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_870-1_0_7_line_84 |  | 78 | 80 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_870-1_0_7_line_85 |  | 79 | 81 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_870-1_0_7_line_86 |  | 80 | 82 | 0.0081476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_870-1_0_7_line_87 |  | 80 | 83 | 0.013478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_870-1_0_7_line_88 |  | 82 | 132 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_870-1_0_7_line_89 |  | 83 | 117 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_870-1_0_7_line_90 |  | 84 | 85 | 0.016146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_870-1_0_7_line_91 |  | 85 | 88 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_870-1_0_7_line_92 |  | 87 | 89 | 0.033557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_870-1_0_7_line_93 |  | 88 | 90 | 0.0012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_870-1_0_7_line_94 |  | 89 | 91 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_870-1_0_7_line_95 |  | 90 | 92 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_870-1_0_7_line_96 |  | 91 | 123 | 0.017287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_870-1_0_7_line_97 |  | 92 | 139 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_870-1_0_7_line_98 |  | 93 | 94 | 0.00047694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_870-1_0_7_line_99 |  | 93 | 95 | 0.025468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_870-1_0_7_line_100 |  | 95 | 96 | 0.0013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_870-1_0_7_line_101 |  | 96 | 101 | 0.0047945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_870-1_0_7_line_102 |  | 97 | 98 | 0.0075051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_870-1_0_7_line_103 |  | 97 | 99 | 0.0074548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_870-1_0_7_line_104 |  | 98 | 100 | 0.0083827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_870-1_0_7_line_105 |  | 99 | 128 | 0.0093339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_870-1_0_7_line_106 |  | 100 | 144 | 0.018133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_870-1_0_7_line_107 |  | 101 | 105 | 0.015283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_870-1_0_7_line_108 |  | 102 | 103 | 0.020351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_870-1_0_7_line_109 |  | 102 | 104 | 0.019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_870-1_0_7_line_110 |  | 103 | 131 | 0.015393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_870-1_0_7_line_111 |  | 103 | 130 | 0.0038555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_870-1_0_7_line_112 |  | 104 | 110 | 0.0085876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_870-1_0_7_line_113 |  | 105 | 112 | 0.0093642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_870-1_0_7_line_114 |  | 107 | 108 | 0.024675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_870-1_0_7_line_115 |  | 108 | 140 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_870-1_0_7_line_116 |  | 109 | 110 | 0.025272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_870-1_0_7_line_117 |  | 109 | 111 | 0.0066264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_870-1_0_7_line_118 |  | 112 | 113 | 0.010433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_870-1_0_7_line_119 |  | 113 | 143 | 0.006682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_870-1_0_7_line_120 |  | 114 | 115 | 0.018907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_870-1_0_7_line_121 |  | 114 | 116 | 0.017505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_870-1_0_7_line_122 |  | 115 | 117 | 0.0097293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_870-1_0_7_line_123 |  | 116 | 118 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_870-1_0_7_line_124 |  | 118 | 119 | 0.020914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_870-1_0_7_line_125 |  | 118 | 120 | 0.033246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_870-1_0_7_line_126 |  | 120 | 121 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_870-1_0_7_line_127 |  | 121 | 122 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_870-1_0_7_line_128 |  | 122 | 143 | 0.0063849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_870-1_0_7_line_129 |  | 123 | 124 | 0.091353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_870-1_0_7_line_130 |  | 124 | 125 | 0.070987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_870-1_0_7_line_131 |  | 125 | 126 | 0.0098072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_870-1_0_7_line_132 |  | 126 | 127 | 0.049279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_870-1_0_7_line_133 |  | 128 | 129 | 0.0080815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_870-1_0_7_line_134 |  | 129 | 130 | 0.0058776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_870-1_0_7_line_135 |  | 131 | 150 | 0.0056683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_870-1_0_7_line_136 |  | 132 | 133 | 0.0076105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
137 | LV_870-1_0_7_line_137 |  | 133 | 142 | 0.0091376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
138 | LV_870-1_0_7_line_138 |  | 134 | 135 | 0.004019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_870-1_0_7_line_139 |  | 134 | 136 | 0.015705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_870-1_0_7_line_140 |  | 135 | 137 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_870-1_0_7_line_141 |  | 137 | 138 | 0.017394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_870-1_0_7_line_142 |  | 138 | 139 | 0.00063906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_870-1_0_7_line_143 |  | 140 | 141 | 0.035868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
144 | LV_870-1_0_7_line_144 |  | 141 | 142 | 0.013339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
145 | LV_870-1_0_7_line_145 |  | 144 | 145 | 0.0029648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_870-1_0_7_line_146 |  | 145 | 146 | 0.029033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_870-1_0_7_line_147 |  | 145 | 147 | 0.013198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_870-1_0_7_line_148 |  | 146 | 148 | 0.018667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_870-1_0_7_line_149 |  | 147 | 149 | 0.0050474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_870-1_0_7_line_150 |  | 150 | 151 | 0.01743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_870-1_0_7_trafo_46 | 0.63 MVA 20/0.4 kV | 152 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2601847.665 | 1194977.4166 | 2601844.9254 | 1194978.1474 | 2601841.7081 | 1194966.4665
1 | 2601794.9597 | 1195047.2738 | 2601847.665 | 1194977.4166
2 | 2601841.7081 | 1194966.4665 | 2601841.0088 | 1194963.9276
3 | 2601790.7399 | 1195046.5027 | 2601794.9597 | 1195047.2738
4 | 2601841.0088 | 1194963.9276 | 2601837.6494 | 1194951.7313 | 2601834.3055 | 1194948.8954
5 | 2601790.7399 | 1195046.5027 | 2601776.833 | 1195043.9613
6 | 2601830.0922 | 1194948.8386 | 2601830.0922 | 1194948.8386 | 2601834.3055 | 1194948.8954 | 2601834.3055 | 1194948.8954
7 | 2601819.8114 | 1194953.436 | 2601830.0922 | 1194948.8386
8 | 2602089.7975 | 1195228.2583 | 2602084.9155 | 1195224.7589
9 | 2602068.1522 | 1195213.4653 | 2602080.7812 | 1195221.7954 | 2602084.9155 | 1195224.7589
10 | 2602068.1522 | 1195213.4653 | 2602065.9019 | 1195211.9811
11 | 2602065.9019 | 1195211.9811 | 2602062.249 | 1195209.5716 | 2602057.3513 | 1195206.1348 | 2602056.5735 | 1195204.5751
12 | 2602057.1968 | 1195189.5704 | 2602056.3796 | 1195195.6512 | 2602056.1266 | 1195200.4203 | 2602056.331 | 1195204.0889 | 2602056.5735 | 1195204.5751
13 | 2602047.2206 | 1195181.5091 | 2602041.6654 | 1195179.8601 | 2602028.5854 | 1195175.5313 | 2602025.7618 | 1195174.5678
14 | 2602000.1741 | 1195165.8365 | 2602025.7618 | 1195174.5678
15 | 2602057.9374 | 1195184.6903 | 2602047.2206 | 1195181.5091
16 | 2601982.2118 | 1195159.7071 | 2602000.1741 | 1195165.8365
17 | 2602057.9374 | 1195184.6903 | 2602057.1968 | 1195189.5704
18 | 2602057.9374 | 1195184.6903 | 2602065.5862 | 1195185.9491 | 2602072.3668 | 1195186.2404 | 2602072.2938 | 1195176.6353 | 2602070.1642 | 1195165.8511 | 2602077.325 | 1195168.4215
19 | 2601982.2118 | 1195159.7071 | 2601978.9345 | 1195158.5888
20 | 2602077.325 | 1195168.4215 | 2602079.5748 | 1195161.4964 | 2602079.5757 | 1195158.8505 | 2602075.6909 | 1195156.6036 | 2602065.4294 | 1195153.0949
21 | 2601976.622 | 1195157.7997 | 2601978.9345 | 1195158.5888
22 | 2602056.8638 | 1195150.166 | 2602065.4294 | 1195153.0949
23 | 2601976.622 | 1195157.7997 | 2601957.0073 | 1195151.1065 | 2601957.0073 | 1195151.1065
24 | 2602001.116 | 1195131.1041 | 2601981.6114 | 1195124.4348
25 | 2601973.7323 | 1195121.7407 | 2601981.6114 | 1195124.4348
26 | 2602001.116 | 1195131.1041 | 2602009.5452 | 1195133.9863
27 | 2602029.0069 | 1195140.6409 | 2602009.5452 | 1195133.9863
28 | 2602029.0069 | 1195140.6409 | 2602035.7266 | 1195098.7153
29 | 2602037.9944 | 1195143.714 | 2602029.0069 | 1195140.6409
30 | 2602024.4156 | 1195042.9709 | 2602034.608 | 1195024.8758
31 | 2602048.5019 | 1195080.1874 | 2602024.4156 | 1195042.9709
32 | 2602048.5019 | 1195080.1874 | 2602045.466 | 1195084.6054
33 | 2602035.7266 | 1195098.7153 | 2602036.357 | 1195097.8058
34 | 2602037.9944 | 1195143.714 | 2602056.8638 | 1195150.166
35 | 2601934.8881 | 1195147.5399 | 2601945.4428 | 1195148.7127 | 2601957.0073 | 1195151.1065
36 | 2601925.1082 | 1195146.4532 | 2601934.8881 | 1195147.5399
37 | 2601906.7275 | 1195146.8303 | 2601924.6747 | 1195146.405 | 2601925.1082 | 1195146.4532
38 | 2601906.7275 | 1195146.8303 | 2601906.6104 | 1195146.833 | 2601897.8981 | 1195147.6072
39 | 2601895.639 | 1195147.808 | 2601897.8981 | 1195147.6072
40 | 2601882.9229 | 1195149.1604 | 2601895.639 | 1195147.808
41 | 2601897.1967 | 1195161.4601 | 2601895.639 | 1195147.808
42 | 2601882.9229 | 1195149.1604 | 2601882.1713 | 1195140.1998 | 2601875.2754 | 1195117.9527
43 | 2601882.9229 | 1195149.1604 | 2601863.5453 | 1195151.6024
44 | 2601877.8768 | 1195182.4209 | 2601870.1063 | 1195180.373 | 2601868.3545 | 1195178.5604 | 2601868.8123 | 1195176.5484 | 2601871.2359 | 1195173.7476 | 2601873.7129 | 1195170.6134 | 2601876.6622 | 1195167.8795 | 2601880.8684 | 1195165.7463 | 2601897.1967 | 1195161.4601
45 | 2601897.1967 | 1195161.4601 | 2601901.1709 | 1195170.5217 | 2601908.1252 | 1195177.2148
46 | 2601863.5453 | 1195151.6024 | 2601856.5928 | 1195152.4786
47 | 2601908.1252 | 1195177.2148 | 2601912.6963 | 1195181.6144
48 | 2602040.7345 | 1195091.4909 | 2602036.357 | 1195097.8058
49 | 2602040.7345 | 1195091.4909 | 2602045.466 | 1195084.6054
50 | 2602019.3292 | 1195203.3898 | 2602022.5671 | 1195200.3711
51 | 2602019.3292 | 1195203.3898 | 2602014.0153 | 1195208.344 | 2602010.6005 | 1195213.3788 | 2602007.642 | 1195224.8735
52 | 2601788.1151 | 1195114.5824 | 2601794.073 | 1195115.8958
53 | 2601788.1151 | 1195114.5824 | 2601767.9963 | 1195110.1474
54 | 2601811.9128 | 1195118.5633 | 2601799.6207 | 1195117.1188 | 2601794.073 | 1195115.8958
55 | 2601759.7803 | 1195108.3362 | 2601767.9963 | 1195110.1474
56 | 2601811.9128 | 1195118.5633 | 2601818.6857 | 1195119.3592
57 | 2601759.7803 | 1195108.3362 | 2601738.366 | 1195103.6156
58 | 2601818.6857 | 1195119.3592 | 2601842.4878 | 1195122.1564
59 | 2601721.9591 | 1195099.9989 | 2601738.366 | 1195103.6156
60 | 2601721.9591 | 1195099.9989 | 2601718.4204 | 1195116.1238
61 | 2601721.9591 | 1195099.9989 | 2601702.7663 | 1195094.2123
62 | 2601721.9591 | 1195099.9989 | 2601730.0389 | 1195059.188
63 | 2601840.2717 | 1195153.4054 | 2601855.9056 | 1195152.5652 | 2601856.5928 | 1195152.4786
64 | 2601840.2717 | 1195153.4054 | 2601842.8866 | 1195173.439 | 2601840.332 | 1195181.2313 | 2601833.2231 | 1195183.1635 | 2601828.8196 | 1195182.762
65 | 2601840.2717 | 1195153.4054 | 2601835.4946 | 1195153.5546
66 | 2601825.9199 | 1195181.0137 | 2601828.8196 | 1195182.762
67 | 2601818.8027 | 1195176.7225 | 2601825.9199 | 1195181.0137
68 | 2601739.5843 | 1195139.4586 | 2601769.154 | 1195145.943
69 | 2601714.5062 | 1195133.9592 | 2601739.5843 | 1195139.4586
70 | 2601714.5062 | 1195133.9592 | 2601709.2129 | 1195155.3246
71 | 2601714.5062 | 1195133.9592 | 2601718.4018 | 1195116.2083
72 | 2601714.5062 | 1195133.9592 | 2601670.9635 | 1195123.6543
73 | 2601709.2129 | 1195155.3246 | 2601715.4218 | 1195156.7827
74 | 2601709.2129 | 1195155.3246 | 2601708.0612 | 1195159.9601 | 2601703.7718 | 1195159.9589 | 2601698.6742 | 1195170.8061
75 | 2601718.4204 | 1195116.1238 | 2601718.4018 | 1195116.2083
76 | 2601818.8027 | 1195176.7225 | 2601817.6144 | 1195175.9218 | 2601817.4078 | 1195175.8578
77 | 2601818.8027 | 1195176.7225 | 2601805.1952 | 1195178.2305 | 2601796.104 | 1195185.3983 | 2601794.5166 | 1195186.4293
78 | 2601772.9956 | 1195043.26 | 2601776.833 | 1195043.9613
79 | 2601772.9956 | 1195043.26 | 2601749.3533 | 1195038.9395
80 | 2601735.0432 | 1195036.3244 | 2601749.3533 | 1195038.9395
81 | 2601733.1746 | 1195043.3498 | 2601735.0432 | 1195036.3244
82 | 2601794.5166 | 1195186.4293 | 2601793.444 | 1195187.126
83 | 2601772.9569 | 1195189.0634 | 2601774.5722 | 1195189.7389 | 2601779.7829 | 1195191.3523 | 2601785.0401 | 1195190.42 | 2601791.6386 | 1195188.2986 | 2601793.444 | 1195187.126
84 | 2601762.2388 | 1195184.944 | 2601764.7299 | 1195185.6228 | 2601772.9569 | 1195189.0634
85 | 2601802.1726 | 1195171.137 | 2601817.4078 | 1195175.8578
86 | 2601762.2388 | 1195184.944 | 2601754.2396 | 1195183.3964
87 | 2601762.2388 | 1195184.944 | 2601767.8823 | 1195197.184
88 | 2601739.8141 | 1195189.8241 | 2601749.2263 | 1195183.8286 | 2601754.2396 | 1195183.3964
89 | 2601772.3122 | 1195206.7917 | 2601767.8823 | 1195197.184
90 | 2601733.1746 | 1195043.3498 | 2601730.0389 | 1195059.188
91 | 2601733.1746 | 1195043.3498 | 2601718.7331 | 1195039.5078
92 | 2601670.638 | 1195084.5257 | 2601702.7663 | 1195094.2123
93 | 2601718.7331 | 1195039.5078 | 2601717.5235 | 1195039.186
94 | 2601670.638 | 1195084.5257 | 2601655.482 | 1195079.9562
95 | 2601696.9567 | 1195033.7146 | 2601717.5235 | 1195039.186
96 | 2601655.482 | 1195079.9562 | 2601638.9312 | 1195074.9661
97 | 2601696.9567 | 1195033.7146 | 2601686.5567 | 1195030.9478
98 | 2601941.6462 | 1195292.2498 | 2601942.0417 | 1195292.5164
99 | 2601941.6462 | 1195292.2498 | 2601920.5312 | 1195278.009
100 | 2601919.4014 | 1195277.2509 | 2601919.423 | 1195277.2616 | 2601920.5312 | 1195278.009
101 | 2601919.4014 | 1195277.2509 | 2601915.0992 | 1195275.1347
102 | 2601969.9327 | 1195226.4084 | 2601976.6834 | 1195229.6879
103 | 2601963.3782 | 1195222.8743 | 2601966.2408 | 1195224.615 | 2601969.9327 | 1195226.4084
104 | 2601984.2235 | 1195233.3507 | 2601976.6834 | 1195229.6879
105 | 2601963.3782 | 1195222.8743 | 2601955.4031 | 1195218.0247
106 | 2601984.2235 | 1195233.3507 | 2602000.5342 | 1195241.2742
107 | 2601901.2282 | 1195268.7677 | 2601904.249 | 1195269.7974 | 2601915.0992 | 1195275.1347
108 | 2601940.6167 | 1195208.1093 | 2601936.9502 | 1195214.4337 | 2601933.6737 | 1195215.9113 | 2601929.4608 | 1195214.9761 | 2601924.5307 | 1195213.5563
109 | 2601924.5307 | 1195213.5563 | 2601905.5321 | 1195208.0849
110 | 2601940.6167 | 1195208.1093 | 2601929.425 | 1195197.5411
111 | 2601940.6167 | 1195208.1093 | 2601943.7552 | 1195210.3488
112 | 2601897.2799 | 1195205.7084 | 2601905.5321 | 1195208.0849
113 | 2601901.2282 | 1195268.7677 | 2601892.3648 | 1195265.7465
114 | 2601688.1795 | 1195193.1377 | 2601698.6742 | 1195170.8061
115 | 2601682.8768 | 1195204.4212 | 2601688.1795 | 1195193.1377
116 | 2601872.9948 | 1195198.7145 | 2601897.2799 | 1195205.7084
117 | 2601866.6272 | 1195196.8807 | 2601872.9948 | 1195198.7145
118 | 2601892.3648 | 1195265.7465 | 2601888.9066 | 1195264.5677 | 2601882.4152 | 1195262.6116
119 | 2601876.0174 | 1195260.6837 | 2601882.4152 | 1195262.6116
120 | 2601797.388 | 1195220.5843 | 2601796.8939 | 1195220.3393 | 2601780.6343 | 1195211.821
121 | 2601797.388 | 1195220.5843 | 2601804.6333 | 1195224.1769 | 2601810.8191 | 1195226.4465 | 2601813.5024 | 1195227.341
122 | 2601772.3122 | 1195206.7917 | 2601778.6346 | 1195210.7734 | 2601780.6343 | 1195211.821
123 | 2601813.5024 | 1195227.341 | 2601819.5645 | 1195229.3617 | 2601828.2592 | 1195227.7444
124 | 2601845.1282 | 1195219.1639 | 2601843.0772 | 1195224.4994 | 2601840.0903 | 1195225.5435 | 2601828.2592 | 1195227.7444
125 | 2601828.2592 | 1195227.7444 | 2601837.3756 | 1195259.7164
126 | 2601837.3756 | 1195259.7164 | 2601855.0008 | 1195259.6796
127 | 2601855.0008 | 1195259.6796 | 2601860.681 | 1195259.6677 | 2601869.6625 | 1195260.2
128 | 2601876.0174 | 1195260.6837 | 2601875.5752 | 1195260.5504 | 2601869.6625 | 1195260.2
129 | 2601638.9312 | 1195074.9661 | 2601556.3676 | 1195114.0629
130 | 2601556.3676 | 1195114.0629 | 2601554.0067 | 1195110.2158 | 2601550.1756 | 1195105.479 | 2601538.826 | 1195095.3931 | 2601508.8443 | 1195069.9724 | 2601504.5458 | 1195065.9461
131 | 2601497.3881 | 1195059.2418 | 2601504.5458 | 1195065.9461
132 | 2601497.3881 | 1195059.2418 | 2601491.5614 | 1195051.7698 | 2601485.4156 | 1195040.4179 | 2601485.5792 | 1195025.1431 | 2601488.7184 | 1195013.9555
133 | 2601948.5395 | 1195213.7628 | 2601949.3763 | 1195214.3598 | 2601955.4031 | 1195218.0247
134 | 2601943.7552 | 1195210.3488 | 2601948.5395 | 1195213.7628
135 | 2601925.3037 | 1195193.6495 | 2601929.425 | 1195197.5411
136 | 2601739.8141 | 1195189.8241 | 2601738.7944 | 1195190.4736 | 2601733.7241 | 1195194.3816
137 | 2601726.4367 | 1195199.8932 | 2601729.3071 | 1195197.786 | 2601733.7241 | 1195194.3816
138 | 2601657.9502 | 1195023.3375 | 2601654.0663 | 1195022.3042
139 | 2601638.8894 | 1195018.2666 | 2601654.0663 | 1195022.3042
140 | 2601657.9502 | 1195023.3375 | 2601669.1302 | 1195026.3117
141 | 2601685.9391 | 1195030.7835 | 2601669.1302 | 1195026.3117
142 | 2601685.9391 | 1195030.7835 | 2601686.5567 | 1195030.9478
143 | 2601682.8768 | 1195204.4212 | 2601684.1336 | 1195205.4332 | 2601685.9617 | 1195206.7566 | 2601709.1896 | 1195212.5549 | 2601715.6841 | 1195207.7871
144 | 2601726.4367 | 1195199.8932 | 2601715.6841 | 1195207.7871
145 | 2602003.2009 | 1195242.5697 | 2602000.5342 | 1195241.2742
146 | 2602003.2009 | 1195242.5697 | 2602028.7725 | 1195256.3182
147 | 2602003.2009 | 1195242.5697 | 2602004.2461 | 1195238.0676 | 2602006.3839 | 1195229.7617
148 | 2602043.6252 | 1195267.3969 | 2602035.4146 | 1195259.8893 | 2602028.7725 | 1195256.3182
149 | 2602007.642 | 1195224.8735 | 2602006.3839 | 1195229.7617
150 | 2601925.3037 | 1195193.6495 | 2601919.8542 | 1195188.5036 | 2601912.6963 | 1195181.6144

## bus_geodata
| x | y | coords
0 | 2601847.665 | 1194977.4166
1 | 2601841.7081 | 1194966.4665
2 | 2601794.9597 | 1195047.2738
3 | 2601841.0087 | 1194963.9276
4 | 2601790.7399 | 1195046.5027
5 | 2601834.3055 | 1194948.8954
6 | 2601830.0922 | 1194948.8386
7 | 2601819.8114 | 1194953.436
8 | 2602089.7975 | 1195228.2583
9 | 2602084.9155 | 1195224.7589
10 | 2602068.1522 | 1195213.4653
11 | 2602065.9019 | 1195211.9811
12 | 2602056.5735 | 1195204.5751
13 | 2602025.7618 | 1195174.5678
14 | 2602047.2206 | 1195181.5091
15 | 2602000.1741 | 1195165.8365
16 | 2602057.9374 | 1195184.6903
17 | 2601982.2118 | 1195159.7071
18 | 2602057.1968 | 1195189.5704
19 | 2602077.325 | 1195168.4215
20 | 2601978.9345 | 1195158.5888
21 | 2602065.4294 | 1195153.0949
22 | 2601976.622 | 1195157.7997
23 | 2601981.6114 | 1195124.4348
24 | 2602001.116 | 1195131.1041
25 | 2601973.7323 | 1195121.7407
26 | 2602009.5452 | 1195133.9863
27 | 2602029.0069 | 1195140.6409
28 | 2602034.608 | 1195024.8758
29 | 2602024.4156 | 1195042.9709
30 | 2602048.5019 | 1195080.1874
31 | 2602035.7266 | 1195098.7153
32 | 2602037.9944 | 1195143.714
33 | 2601934.8881 | 1195147.5399
34 | 2601957.0073 | 1195151.1065
35 | 2601925.1082 | 1195146.4532
36 | 2601906.7275 | 1195146.8303
37 | 2601897.8981 | 1195147.6072
38 | 2601895.639 | 1195147.808
39 | 2602056.8638 | 1195150.166
40 | 2601882.9229 | 1195149.1604
41 | 2601897.1967 | 1195161.4601
42 | 2601875.2754 | 1195117.9527
43 | 2601863.5453 | 1195151.6024
44 | 2601877.8768 | 1195182.4209
45 | 2601908.1252 | 1195177.2148
46 | 2602036.357 | 1195097.8058
47 | 2602040.7345 | 1195091.4909
48 | 2602045.466 | 1195084.6054
49 | 2602022.5671 | 1195200.3711
50 | 2602019.3292 | 1195203.3898
51 | 2601788.1151 | 1195114.5824
52 | 2601794.073 | 1195115.8958
53 | 2601767.9963 | 1195110.1474
54 | 2601811.9128 | 1195118.5633
55 | 2601759.7803 | 1195108.3362
56 | 2601818.6857 | 1195119.3592
57 | 2601738.366 | 1195103.6156
58 | 2601842.4878 | 1195122.1564
59 | 2601721.9591 | 1195099.9989
60 | 2601856.5928 | 1195152.4786
61 | 2601840.2717 | 1195153.4054
62 | 2601828.8196 | 1195182.762
63 | 2601835.4946 | 1195153.5546
64 | 2601825.9199 | 1195181.0137
65 | 2601769.154 | 1195145.943
66 | 2601739.5843 | 1195139.4586
67 | 2601714.5062 | 1195133.9592
68 | 2601709.2129 | 1195155.3246
69 | 2601718.4018 | 1195116.2083
70 | 2601670.9635 | 1195123.6543
71 | 2601818.8027 | 1195176.7225
72 | 2601776.833 | 1195043.9613
73 | 2601772.9956 | 1195043.26
74 | 2601749.3533 | 1195038.9395
75 | 2601735.0432 | 1195036.3244
76 | 2601794.5166 | 1195186.4293
77 | 2601793.444 | 1195187.126
78 | 2601772.9569 | 1195189.0634
79 | 2601817.4078 | 1195175.8578
80 | 2601762.2388 | 1195184.944
81 | 2601802.1726 | 1195171.137
82 | 2601754.2396 | 1195183.3964
83 | 2601767.8823 | 1195197.184
84 | 2601730.0389 | 1195059.188
85 | 2601733.1746 | 1195043.3498
86 | 2601718.4204 | 1195116.1238
87 | 2601702.7663 | 1195094.2123
88 | 2601718.7331 | 1195039.5078
89 | 2601670.638 | 1195084.5257
90 | 2601717.5235 | 1195039.186
91 | 2601655.482 | 1195079.9562
92 | 2601696.9567 | 1195033.7146
93 | 2601941.6462 | 1195292.2498
94 | 2601942.0417 | 1195292.5164
95 | 2601920.5312 | 1195278.009
96 | 2601919.4014 | 1195277.2509
97 | 2601969.9327 | 1195226.4084
98 | 2601976.6834 | 1195229.6879
99 | 2601963.3782 | 1195222.8743
100 | 2601984.2235 | 1195233.3507
101 | 2601915.0992 | 1195275.1347
102 | 2601924.5307 | 1195213.5563
103 | 2601940.6167 | 1195208.1093
104 | 2601905.5321 | 1195208.0849
105 | 2601901.2282 | 1195268.7677
106 | 2601715.4218 | 1195156.7827
107 | 2601698.6742 | 1195170.8061
108 | 2601688.1795 | 1195193.1377
109 | 2601872.9948 | 1195198.7145
110 | 2601897.2799 | 1195205.7084
111 | 2601866.6272 | 1195196.8807
112 | 2601892.3648 | 1195265.7465
113 | 2601882.4152 | 1195262.6116
114 | 2601797.388 | 1195220.5843
115 | 2601780.6343 | 1195211.821
116 | 2601813.5024 | 1195227.341
117 | 2601772.3122 | 1195206.7917
118 | 2601828.2592 | 1195227.7444
119 | 2601845.1282 | 1195219.1639
120 | 2601837.3756 | 1195259.7164
121 | 2601855.0008 | 1195259.6796
122 | 2601869.6625 | 1195260.2
123 | 2601638.9312 | 1195074.9661
124 | 2601556.3676 | 1195114.0629
125 | 2601504.5458 | 1195065.9461
126 | 2601497.3881 | 1195059.2418
127 | 2601488.7184 | 1195013.9555
128 | 2601955.4031 | 1195218.0247
129 | 2601948.5396 | 1195213.7628
130 | 2601943.7552 | 1195210.3488
131 | 2601929.425 | 1195197.5411
132 | 2601739.8141 | 1195189.8241
133 | 2601733.7241 | 1195194.3816
134 | 2601654.0663 | 1195022.3042
135 | 2601657.9502 | 1195023.3375
136 | 2601638.8894 | 1195018.2666
137 | 2601669.1302 | 1195026.3117
138 | 2601685.9391 | 1195030.7835
139 | 2601686.5567 | 1195030.9478
140 | 2601682.8768 | 1195204.4212
141 | 2601715.6841 | 1195207.7871
142 | 2601726.4367 | 1195199.8932
143 | 2601876.0174 | 1195260.6837
144 | 2602000.5342 | 1195241.2742
145 | 2602003.2009 | 1195242.5697
146 | 2602028.7725 | 1195256.3182
147 | 2602006.3839 | 1195229.7617
148 | 2602043.6252 | 1195267.3969
149 | 2602007.642 | 1195224.8735
150 | 2601925.3037 | 1195193.6495
151 | 2601912.6963 | 1195181.6144
152 | 2601882.9229 | 1195149.1604

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1