## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_89-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_89-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_89-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_89-1_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_89-1_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_89-1_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_89-1_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_89-1_0_6_node_105 | 0.4 | n |  | TRUE
8 | bus_LV_89-1_0_6_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_89-1_0_6_node_107 | 0.4 | n |  | TRUE
10 | bus_LV_89-1_0_6_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_89-1_0_6_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_89-1_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_89-1_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_89-1_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_89-1_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_89-1_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_89-1_0_6_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_89-1_0_6_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_89-1_0_6_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_89-1_0_6_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_89-1_0_6_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_89-1_0_6_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_89-1_0_6_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_89-1_0_6_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_89-1_0_6_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_89-1_0_6_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_89-1_0_6_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_89-1_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_89-1_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_89-1_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_89-1_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_89-1_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_89-1_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_89-1_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_89-1_0_6_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_89-1_0_6_node_96 | 0.4 | n |  | TRUE
37 | bus_LV_89-1_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_89-1_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_89-1_0_6_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_89-1_0_6_node_97 | 0.4 | n |  | TRUE
41 | bus_LV_89-1_0_6_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_89-1_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_89-1_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_89-1_0_6_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_89-1_0_6_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_89-1_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_89-1_0_6_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_89-1_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_89-1_0_6_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_89-1_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_89-1_0_6_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_89-1_0_6_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_89-1_0_6_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_89-1_0_6_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_89-1_0_6_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_89-1_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_89-1_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_89-1_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_89-1_0_6_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_89-1_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_89-1_0_6_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_89-1_0_6_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_89-1_0_6_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_89-1_0_6_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_89-1_0_6_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_89-1_0_6_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_89-1_0_6_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_89-1_0_6_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_89-1_0_6_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_89-1_0_6_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_89-1_0_6_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_89-1_0_6_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_89-1_0_6_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_89-1_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_89-1_0_6_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_89-1_0_6_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_89-1_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_89-1_0_6_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_89-1_0_6_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_89-1_0_6_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_89-1_0_6_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_89-1_0_6_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_89-1_0_6_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_89-1_0_6_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_89-1_0_6_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_89-1_0_6_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_89-1_0_6_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_89-1_0_6_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_89-1_0_6_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_89-1_0_6_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_89-1_0_6_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_89-1_0_6_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_89-1_0_6_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_89-1_0_6_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_89-1_0_6_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_89-1_0_6_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_89-1_0_6_node_99 | 0.4 | n |  | TRUE
98 | bus_LV_89-1_0_6_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_89-1_0_6_node_101 | 0.4 | n |  | TRUE
100 | bus_LV_89-1_0_6_node_102 | 0.4 | n |  | TRUE
101 | bus_LV_89-1_0_6_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_89-1_0_6_node_104 | 0.4 | n |  | TRUE
103 | bus_MV_638_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_89-1_0_6_load_0 | 0 | 0.01365 | 0.0034211 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_89-1_0_6_load_1 | 1 | 0.010497 | 0.0026309 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_89-1_0_6_load_5 | 4 | 0.0079382 | 0.0019895 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_89-1_0_6_load_14 | 6 | 0.0046477 | 0.0011648 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_89-1_0_6_load_105 | 7 | 0.040785 | 0.010222 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_89-1_0_6_load_107 | 9 | 0.0058187 | 0.0014583 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_89-1_0_6_load_11 | 10 | 0.046961 | 0.011769 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_89-1_0_6_load_6 | 13 | 0.016789 | 0.0042078 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_89-1_0_6_load_8 | 15 | 0.011143 | 0.0027927 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_89-1_0_6_load_49 | 17 | 0.0019413 | 0.00048652 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_89-1_0_6_load_73 | 20 | 0.023792 | 0.0059629 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_89-1_0_6_load_83 | 22 | 0.013784 | 0.0034547 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_89-1_0_6_load_70 | 24 | 0.0088218 | 0.0022109 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_89-1_0_6_load_80 | 25 | 0.01042 | 0.0026114 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_89-1_0_6_load_82 | 26 | 0.010905 | 0.002733 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_89-1_0_6_load_74 | 27 | 0.0035565 | 0.00089135 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_89-1_0_6_load_18 | 28 | 0.0019594 | 0.00049107 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_89-1_0_6_load_21 | 31 | 0.0043531 | 0.001091 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_89-1_0_6_load_23 | 32 | 0.0012024 | 0.00030134 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_89-1_0_6_load_24 | 33 | 0.0024565 | 0.00061567 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_89-1_0_6_load_65 | 35 | 0.00083443 | 0.00020913 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_89-1_0_6_load_28 | 37 | 0.0012982 | 0.00032537 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_89-1_0_6_load_25 | 38 | 0.0025087 | 0.00062874 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_89-1_0_6_load_63 | 39 | 0.007377 | 0.0018488 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_89-1_0_6_load_97 | 40 | 0.0020961 | 0.00052534 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_89-1_0_6_load_95 | 41 | 0.0010515 | 0.00026352 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_89-1_0_6_load_29 | 42 | 0.0014133 | 0.00035421 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_89-1_0_6_load_26 | 43 | 0.0025058 | 0.00062801 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_89-1_0_6_load_27 | 44 | 0.0011117 | 0.00027862 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_89-1_0_6_load_42 | 45 | 0.0032329 | 0.00081025 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_89-1_0_6_load_43 | 46 | 0.0011036 | 0.00027658 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_89-1_0_6_load_30 | 47 | 0.0018215 | 0.00045651 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_89-1_0_6_load_31 | 48 | 0.0046642 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_89-1_0_6_load_32 | 49 | 0.012751 | 0.0031957 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_89-1_0_6_load_33 | 50 | 0.0040032 | 0.0010033 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_89-1_0_6_load_53 | 52 | 0.0057196 | 0.0014335 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_89-1_0_6_load_54 | 53 | 0.013148 | 0.0032951 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_89-1_0_6_load_58 | 54 | 0.0013284 | 0.00033293 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_89-1_0_6_load_50 | 55 | 0.0035945 | 0.00090086 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_89-1_0_6_load_51 | 56 | 0.0035206 | 0.00088235 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_89-1_0_6_load_37 | 57 | 0.0025615 | 0.00064196 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_89-1_0_6_load_38 | 58 | 0.0052951 | 0.0013271 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_89-1_0_6_load_39 | 59 | 0.0019383 | 0.00048578 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_89-1_0_6_load_40 | 60 | 0.0034273 | 0.00085895 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_89-1_0_6_load_41 | 61 | 0.0017583 | 0.00044067 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_89-1_0_6_load_48 | 63 | 0.0066893 | 0.0016765 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_89-1_0_6_load_46 | 64 | 0.0025186 | 0.00063123 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_89-1_0_6_load_64 | 65 | 0.00078399 | 0.00019649 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_89-1_0_6_load_45 | 67 | 0.0013174 | 0.00033016 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_89-1_0_6_load_52 | 68 | 0.0012076 | 0.00030264 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_89-1_0_6_load_55 | 69 | 0.0023483 | 0.00058853 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_89-1_0_6_load_56 | 70 | 0.006617 | 0.0016584 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_89-1_0_6_load_59 | 71 | 0.01391 | 0.0034862 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_89-1_0_6_load_57 | 72 | 0.0065562 | 0.0016431 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_89-1_0_6_load_75 | 73 | 0.005859 | 0.0014684 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_89-1_0_6_load_60 | 74 | 0.0052901 | 0.0013258 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_89-1_0_6_load_61 | 75 | 0.0083543 | 0.0020938 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_89-1_0_6_load_62 | 76 | 0.011054 | 0.0027703 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_89-1_0_6_load_67 | 78 | 0.004534 | 0.0011363 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_89-1_0_6_load_68 | 79 | 0.0084774 | 0.0021246 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_89-1_0_6_load_92 | 80 | 0.00086053 | 0.00021567 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_89-1_0_6_load_71 | 81 | 0.00902 | 0.0022606 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_89-1_0_6_load_91 | 82 | 0.0011123 | 0.00027876 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_89-1_0_6_load_69 | 83 | 0.0062255 | 0.0015603 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_89-1_0_6_load_84 | 84 | 0.010512 | 0.0026346 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_89-1_0_6_load_81 | 85 | 0.0020835 | 0.00052216 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_89-1_0_6_load_77 | 86 | 0.011103 | 0.0027826 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_89-1_0_6_load_78 | 87 | 0.012353 | 0.0030959 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_89-1_0_6_load_85 | 88 | 0.0048117 | 0.0012059 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_89-1_0_6_load_86 | 89 | 0.0035009 | 0.00087741 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_89-1_0_6_load_89 | 91 | 0.003108 | 0.00077893 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_89-1_0_6_load_90 | 92 | 0.0047598 | 0.0011929 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_89-1_0_6_load_94 | 93 | 0.0014191 | 0.00035566 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_89-1_0_6_load_88 | 94 | 0.0021428 | 0.00053703 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_89-1_0_6_load_98 | 96 | 0.0030312 | 0.0007597 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_89-1_0_6_load_99 | 97 | 0.0037631 | 0.00094312 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_89-1_0_6_load_100 | 98 | 0.0038171 | 0.00095666 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_89-1_0_6_load_101 | 99 | 0.0010619 | 0.00026614 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_89-1_0_6_load_102 | 100 | 0.0018238 | 0.00045709 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_89-1_0_6_load_103 | 101 | 0.0018866 | 0.00047282 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_89-1_0_6_load_104 | 102 | 0.0012757 | 0.00031973 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_89-1_0_6_line_0 |  | 0 | 1 | 0.031722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_89-1_0_6_line_1 |  | 0 | 2 | 0.040981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_89-1_0_6_line_2 |  | 2 | 3 | 0.012406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_89-1_0_6_line_3 |  | 2 | 4 | 0.014105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_89-1_0_6_line_4 |  | 3 | 5 | 0.017712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_89-1_0_6_line_5 |  | 3 | 6 | 0.028243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_89-1_0_6_line_6 |  | 4 | 7 | 0.050208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_89-1_0_6_line_7 |  | 5 | 10 | 0.034701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_89-1_0_6_line_8 |  | 5 | 8 | 0.030105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_89-1_0_6_line_9 |  | 6 | 11 | 0.026455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_89-1_0_6_line_10 |  | 7 | 12 | 0.018749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_89-1_0_6_line_11 |  | 8 | 9 | 0.0083908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_89-1_0_6_line_12 |  | 11 | 18 | 0.029276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_89-1_0_6_line_13 |  | 12 | 14 | 0.049765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_89-1_0_6_line_14 |  | 13 | 14 | 0.0075216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_89-1_0_6_line_15 |  | 13 | 15 | 0.0051281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_89-1_0_6_line_16 |  | 14 | 16 | 0.052678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_89-1_0_6_line_17 |  | 16 | 17 | 0.017019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_89-1_0_6_line_18 |  | 18 | 19 | 0.029668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_89-1_0_6_line_19 |  | 18 | 20 | 0.031533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_89-1_0_6_line_20 |  | 19 | 25 | 0.023235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_89-1_0_6_line_21 |  | 19 | 26 | 0.02407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_89-1_0_6_line_22 |  | 20 | 27 | 0.043807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_89-1_0_6_line_23 |  | 21 | 22 | 0.023456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_89-1_0_6_line_24 |  | 21 | 23 | 0.029837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_89-1_0_6_line_25 |  | 21 | 24 | 0.046141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_89-1_0_6_line_26 |  | 22 | 84 | 0.0077998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_89-1_0_6_line_27 |  | 23 | 85 | 0.03382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_89-1_0_6_line_28 |  | 23 | 86 | 0.020668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_89-1_0_6_line_29 |  | 24 | 83 | 0.049889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_89-1_0_6_line_30 |  | 25 | 87 | 0.017098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_89-1_0_6_line_31 |  | 27 | 73 | 0.035287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_89-1_0_6_line_32 |  | 28 | 29 | 0.021438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_89-1_0_6_line_33 |  | 28 | 30 | 0.049584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_89-1_0_6_line_34 |  | 29 | 31 | 0.021738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_89-1_0_6_line_35 |  | 30 | 32 | 0.015899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_89-1_0_6_line_36 |  | 31 | 33 | 0.015289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_89-1_0_6_line_37 |  | 32 | 37 | 0.0090674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_89-1_0_6_line_38 |  | 33 | 38 | 0.014923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_89-1_0_6_line_39 |  | 34 | 35 | 0.019679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_89-1_0_6_line_40 |  | 34 | 36 | 0.008998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_89-1_0_6_line_41 |  | 35 | 39 | 0.025451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_89-1_0_6_line_42 |  | 36 | 40 | 0.018736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_89-1_0_6_line_43 |  | 36 | 41 | 0.023659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_89-1_0_6_line_44 |  | 37 | 42 | 0.016025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_89-1_0_6_line_45 |  | 38 | 43 | 0.022861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_89-1_0_6_line_46 |  | 39 | 65 | 0.0014916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_89-1_0_6_line_47 |  | 40 | 96 | 0.0066166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_89-1_0_6_line_48 |  | 41 | 95 | 0.0043351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_89-1_0_6_line_49 |  | 42 | 47 | 0.0070774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_89-1_0_6_line_50 |  | 43 | 44 | 0.00093651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_89-1_0_6_line_51 |  | 44 | 45 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_89-1_0_6_line_52 |  | 45 | 46 | 0.010866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_89-1_0_6_line_53 |  | 46 | 66 | 0.038136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_89-1_0_6_line_54 |  | 47 | 48 | 0.017779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_89-1_0_6_line_55 |  | 49 | 50 | 0.016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_89-1_0_6_line_56 |  | 50 | 51 | 0.020877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_89-1_0_6_line_57 |  | 51 | 52 | 0.049466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_89-1_0_6_line_58 |  | 51 | 53 | 0.011046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_89-1_0_6_line_59 |  | 53 | 54 | 0.011585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_89-1_0_6_line_60 |  | 54 | 71 | 0.028576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_89-1_0_6_line_61 |  | 55 | 56 | 0.035004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_89-1_0_6_line_62 |  | 56 | 68 | 0.052532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_89-1_0_6_line_63 |  | 57 | 58 | 0.016203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_89-1_0_6_line_64 |  | 57 | 59 | 0.018795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_89-1_0_6_line_65 |  | 58 | 60 | 0.0028689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_89-1_0_6_line_66 |  | 59 | 61 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_89-1_0_6_line_67 |  | 60 | 62 | 0.023894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_89-1_0_6_line_68 |  | 61 | 63 | 0.0039426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_89-1_0_6_line_69 |  | 62 | 64 | 0.033781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_89-1_0_6_line_70 |  | 63 | 65 | 0.024672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_89-1_0_6_line_71 |  | 64 | 67 | 0.030472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_89-1_0_6_line_72 |  | 66 | 67 | 0.047231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_89-1_0_6_line_73 |  | 68 | 69 | 0.0049852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_89-1_0_6_line_74 |  | 69 | 70 | 0.036525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_89-1_0_6_line_75 |  | 70 | 72 | 0.030455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_89-1_0_6_line_76 |  | 71 | 74 | 0.0018169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_89-1_0_6_line_77 |  | 72 | 73 | 0.030541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_89-1_0_6_line_78 |  | 74 | 75 | 0.035396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_89-1_0_6_line_79 |  | 75 | 76 | 0.00089039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_89-1_0_6_line_80 |  | 76 | 77 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_89-1_0_6_line_81 |  | 77 | 78 | 0.020745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_89-1_0_6_line_82 |  | 77 | 79 | 0.016178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_89-1_0_6_line_83 |  | 78 | 80 | 0.017595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_89-1_0_6_line_84 |  | 79 | 81 | 0.034778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_89-1_0_6_line_85 |  | 80 | 82 | 0.00017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_89-1_0_6_line_86 |  | 81 | 83 | 0.025937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_89-1_0_6_line_87 |  | 82 | 95 | 0.023916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_89-1_0_6_line_88 |  | 84 | 88 | 0.021683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_89-1_0_6_line_89 |  | 86 | 87 | 0.011548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_89-1_0_6_line_90 |  | 88 | 89 | 0.033849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_89-1_0_6_line_91 |  | 89 | 90 | 0.022416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_89-1_0_6_line_92 |  | 90 | 91 | 0.04375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_89-1_0_6_line_93 |  | 91 | 94 | 0.048039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_89-1_0_6_line_94 |  | 92 | 93 | 0.038107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_89-1_0_6_line_95 |  | 93 | 95 | 0.040933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_89-1_0_6_line_96 |  | 96 | 97 | 0.029717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_89-1_0_6_line_97 |  | 97 | 98 | 0.0043068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_89-1_0_6_line_98 |  | 98 | 99 | 0.022505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_89-1_0_6_line_99 |  | 99 | 100 | 0.00894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_89-1_0_6_line_100 |  | 100 | 101 | 0.019524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_89-1_0_6_line_101 |  | 101 | 102 | 0.0021537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_89-1_0_6_trafo_75 | 0.63 MVA 20/0.4 kV | 103 | 73 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2679984.6497 | 1260930.4479 | 2679984.0017 | 1260932.206 | 2679981.3803 | 1260939.3539 | 2679974.3651 | 1260960.4531 | 2679974.3651 | 1260960.4531
1 | 2679995.3022 | 1260892.3838 | 2679982.8899 | 1260923.0284 | 2679985.1517 | 1260929.0859 | 2679984.6497 | 1260930.4479
2 | 2679999.9645 | 1260880.8824 | 2679995.3022 | 1260892.3838
3 | 2679995.3022 | 1260892.3838 | 2679983.2263 | 1260898.1583 | 2679982.9345 | 1260897.5007
4 | 2679999.9645 | 1260880.8824 | 2680006.8731 | 1260897.1995
5 | 2679999.9645 | 1260880.8824 | 2679998.1605 | 1260876.6325 | 2680007.1645 | 1260862.8548 | 2680004.7234 | 1260856.1166
6 | 2679982.9345 | 1260897.5007 | 2679976.4907 | 1260882.9778 | 2679945.3613 | 1260897.4283
7 | 2680006.8731 | 1260897.1995 | 2680024.4343 | 1260880.3796 | 2680020.3241 | 1260870.8428
8 | 2680006.8731 | 1260897.1995 | 2680010.6269 | 1260906.057 | 2680016.9591 | 1260910.9464 | 2680020.2459 | 1260916.9955 | 2680025.3935 | 1260919.2001
9 | 2680008.6448 | 1260833.0964 | 2680007.375 | 1260838.9393 | 2680011.3839 | 1260848.4452 | 2680004.7234 | 1260856.1166
10 | 2679928.3556 | 1260905.3224 | 2679945.3613 | 1260897.4283
11 | 2680025.3935 | 1260919.2001 | 2680021.8791 | 1260911.5809
12 | 2680001.2582 | 1260804.7637 | 2680002.2538 | 1260808.6023 | 2680008.1406 | 1260831.3771 | 2680008.6448 | 1260833.0964
13 | 2679936.4506 | 1260945.9407 | 2679934.2534 | 1260941.2296 | 2679919.5619 | 1260909.6959 | 2679928.3556 | 1260905.3224
14 | 2679936.4506 | 1260945.9407 | 2679943.3211 | 1260942.8798
15 | 2679948.0054 | 1260940.7929 | 2679943.3211 | 1260942.8798
16 | 2679936.4506 | 1260945.9407 | 2679928.2772 | 1260949.5887 | 2679922.1525 | 1260992.9059
17 | 2679922.1525 | 1260992.9059 | 2679912.1526 | 1260992.8597 | 2679905.8651 | 1260995.9795
18 | 2680030.452 | 1260799.9214 | 2680015.1776 | 1260800.8933 | 2680001.2582 | 1260804.7637
19 | 2680001.2582 | 1260804.7637 | 2679978.7008 | 1260810.3964 | 2679971.0367 | 1260813.5379
20 | 2680030.452 | 1260799.9214 | 2680026.4095 | 1260790.6707 | 2680020.4976 | 1260778.9356
21 | 2680030.452 | 1260799.9214 | 2680054.1374 | 1260800.5978 | 2680054.5121 | 1260800.6098
22 | 2679971.0367 | 1260813.5379 | 2679937.8911 | 1260827.1245 | 2679930.9224 | 1260831.0231
23 | 2679969.926 | 1260748.7193 | 2679957.0013 | 1260729.1454
24 | 2679996.8493 | 1260735.6955 | 2679969.926 | 1260748.7193
25 | 2679969.926 | 1260748.7193 | 2679928.5328 | 1260769.1053
26 | 2679952.7035 | 1260722.6366 | 2679957.0013 | 1260729.1454
27 | 2679996.8493 | 1260735.6955 | 2680023.4843 | 1260722.8124 | 2680027.2977 | 1260720.9746
28 | 2679996.8493 | 1260735.6955 | 2680003.631 | 1260746.918 | 2680007.4683 | 1260753.4262
29 | 2679883.6768 | 1260790.9425 | 2679902.381 | 1260781.8435 | 2679906.341 | 1260779.9177 | 2679916.9005 | 1260774.8341 | 2679928.5328 | 1260769.1053
30 | 2680012.7753 | 1260763.6808 | 2680014.9822 | 1260767.9876 | 2680020.4976 | 1260778.9356
31 | 2679930.9224 | 1260831.0231 | 2679903.0355 | 1260846.6243 | 2679900.397 | 1260848.6598
32 | 2679649.2324 | 1260686.68 | 2679666.1273 | 1260699.8765
33 | 2679711.3686 | 1260717.6292 | 2679700.1788 | 1260711.3404 | 2679691.936 | 1260710.0617 | 2679681.3287 | 1260708.6289 | 2679672.8297 | 1260705.1117 | 2679666.1273 | 1260699.8765
34 | 2679649.2324 | 1260686.68 | 2679645.1064 | 1260690.2939 | 2679641.6387 | 1260694.2725 | 2679634.9952 | 1260703.0087
35 | 2679711.3686 | 1260717.6292 | 2679700.392 | 1260729.1307
36 | 2679625.7404 | 1260715.1787 | 2679634.9952 | 1260703.0087
37 | 2679700.392 | 1260729.1307 | 2679694.1318 | 1260735.6903
38 | 2679625.7404 | 1260715.1787 | 2679616.7072 | 1260727.0572
39 | 2679759.9706 | 1260750.6761 | 2679746.494 | 1260765.0169
40 | 2679759.9706 | 1260750.6761 | 2679768.8408 | 1260749.0166
41 | 2679729.0646 | 1260783.5639 | 2679746.494 | 1260765.0169
42 | 2679768.8408 | 1260749.0166 | 2679768.8158 | 1260734.672 | 2679769.6232 | 1260730.3553
43 | 2679768.8408 | 1260749.0166 | 2679775.6817 | 1260751.9778 | 2679786.2001 | 1260764.3051
44 | 2679683.0684 | 1260747.2828 | 2679694.1318 | 1260735.6903
45 | 2679616.7072 | 1260727.0572 | 2679602.8691 | 1260745.2541
46 | 2679729.0646 | 1260783.5639 | 2679728.0431 | 1260784.6508
47 | 2679769.6232 | 1260730.3553 | 2679770.8396 | 1260723.8515
48 | 2679789.0139 | 1260767.6029 | 2679786.2001 | 1260764.3051
49 | 2679683.0684 | 1260747.2828 | 2679678.1821 | 1260752.4027
50 | 2679602.3022 | 1260745.9996 | 2679602.8691 | 1260745.2541
51 | 2679602.3022 | 1260745.9996 | 2679592.46 | 1260758.942
52 | 2679585.8828 | 1260767.5909 | 2679592.46 | 1260758.942
53 | 2679562.7981 | 1260797.947 | 2679585.8828 | 1260767.5909
54 | 2679665.9071 | 1260765.2647 | 2679678.1821 | 1260752.4027
55 | 2679721.8601 | 1260909.1853 | 2679713.51 | 1260923.275
56 | 2679732.5041 | 1260891.225 | 2679721.8601 | 1260909.1853
57 | 2679732.5041 | 1260891.225 | 2679774.7396 | 1260916.9741
58 | 2679732.5041 | 1260891.225 | 2679738.0512 | 1260881.6733
59 | 2679738.0512 | 1260881.6733 | 2679741.0837 | 1260876.4514 | 2679744.0726 | 1260871.7792
60 | 2679744.0726 | 1260871.7792 | 2679748.0587 | 1260865.5482 | 2679757.5476 | 1260856.0021 | 2679763.6548 | 1260851.2802
61 | 2679755.8912 | 1260971.8551 | 2679777.9741 | 1260949.616 | 2679780.7866 | 1260947.2689
62 | 2679780.7866 | 1260947.2689 | 2679821.1188 | 1260913.6107
63 | 2679677.3104 | 1260838.6365 | 2679666.2141 | 1260850.4443
64 | 2679677.3104 | 1260838.6365 | 2679690.1814 | 1260824.9403
65 | 2679666.2141 | 1260850.4443 | 2679664.2495 | 1260852.5349
66 | 2679690.1814 | 1260824.9403 | 2679708.4473 | 1260805.5031
67 | 2679647.8867 | 1260869.9469 | 2679664.2495 | 1260852.5349
68 | 2679708.4473 | 1260805.5031 | 2679711.1472 | 1260802.6301
69 | 2679647.8867 | 1260869.9469 | 2679621.7072 | 1260848.5982
70 | 2679728.0431 | 1260784.6508 | 2679711.1472 | 1260802.6301
71 | 2679598.2456 | 1260829.1597 | 2679602.951 | 1260833.303 | 2679621.7072 | 1260848.5982
72 | 2679562.7981 | 1260797.947 | 2679598.2456 | 1260829.1597
73 | 2679824.9463 | 1260910.4165 | 2679821.1188 | 1260913.6107
74 | 2679824.9463 | 1260910.4165 | 2679835.7345 | 1260901.4135 | 2679852.9261 | 1260886.9385
75 | 2679876.2227 | 1260867.3233 | 2679852.9261 | 1260886.9385
76 | 2679765.0922 | 1260850.1688 | 2679763.6548 | 1260851.2802
77 | 2679876.2227 | 1260867.3233 | 2679876.4185 | 1260867.1585 | 2679900.397 | 1260848.6598
78 | 2679765.0922 | 1260850.1688 | 2679770.6086 | 1260845.9037 | 2679796.1775 | 1260833.4904
79 | 2679796.9785 | 1260833.1016 | 2679796.1775 | 1260833.4904
80 | 2679814.532 | 1260824.5796 | 2679796.9785 | 1260833.1016
81 | 2679814.532 | 1260824.5796 | 2679805.9973 | 1260805.6713
82 | 2679814.532 | 1260824.5796 | 2679829.08 | 1260817.5024
83 | 2679805.9973 | 1260805.6713 | 2679798.7588 | 1260789.6347
84 | 2679860.3535 | 1260802.2887 | 2679829.08 | 1260817.5024
85 | 2679798.7588 | 1260789.6347 | 2679798.687 | 1260789.4756
86 | 2679883.6768 | 1260790.9425 | 2679860.3535 | 1260802.2887
87 | 2679789.0139 | 1260767.6029 | 2679796.216 | 1260784.0015 | 2679798.687 | 1260789.4756
88 | 2679952.7035 | 1260722.6366 | 2679941.633 | 1260705.8708 | 2679940.5469 | 1260704.707
89 | 2680007.4683 | 1260753.4262 | 2680007.8673 | 1260754.103 | 2680012.7753 | 1260763.6808
90 | 2679940.5469 | 1260704.707 | 2679917.4526 | 1260679.9599
91 | 2679901.827 | 1260663.8899 | 2679914.4133 | 1260676.703 | 2679917.4526 | 1260679.9599
92 | 2679901.827 | 1260663.8899 | 2679933.3069 | 1260633.5083
93 | 2679967.7565 | 1260600.0312 | 2679964.1389 | 1260603.7521 | 2679933.3069 | 1260633.5083
94 | 2679818.3333 | 1260741.0065 | 2679829.4745 | 1260732.6328 | 2679846.9881 | 1260715.9758
95 | 2679789.0139 | 1260767.6029 | 2679801.6796 | 1260761.6913 | 2679811.2929 | 1260746.2981 | 2679818.3333 | 1260741.0065
96 | 2679776.3032 | 1260694.6409 | 2679770.8396 | 1260723.8515
97 | 2679776.3032 | 1260694.6409 | 2679777.095 | 1260690.4075
98 | 2679781.2326 | 1260668.2862 | 2679777.095 | 1260690.4075
99 | 2679781.2326 | 1260668.2862 | 2679782.2259 | 1260662.9755 | 2679783.5472 | 1260659.6943
100 | 2679790.8401 | 1260641.584 | 2679783.5472 | 1260659.6943
101 | 2679790.8401 | 1260641.584 | 2679791.6446 | 1260639.5862

## bus_geodata
| x | y | coords
0 | 2679984.6497 | 1260930.4479
1 | 2679974.3651 | 1260960.4531
2 | 2679995.3022 | 1260892.3838
3 | 2679999.9645 | 1260880.8824
4 | 2679982.9345 | 1260897.5007
5 | 2680006.8731 | 1260897.1995
6 | 2680004.7234 | 1260856.1166
7 | 2679945.3613 | 1260897.4282
8 | 2680025.3935 | 1260919.2001
9 | 2680021.8791 | 1260911.5809
10 | 2680020.3241 | 1260870.8428
11 | 2680008.6448 | 1260833.0964
12 | 2679928.3556 | 1260905.3224
13 | 2679943.3211 | 1260942.8798
14 | 2679936.4506 | 1260945.9407
15 | 2679948.0054 | 1260940.7929
16 | 2679922.1525 | 1260992.9059
17 | 2679905.8651 | 1260995.9795
18 | 2680001.2582 | 1260804.7637
19 | 2680030.452 | 1260799.9214
20 | 2679971.0367 | 1260813.5379
21 | 2679969.926 | 1260748.7193
22 | 2679957.0013 | 1260729.1454
23 | 2679996.8493 | 1260735.6955
24 | 2679928.5328 | 1260769.1053
25 | 2680020.4976 | 1260778.9356
26 | 2680054.5121 | 1260800.6098
27 | 2679930.9224 | 1260831.0231
28 | 2679666.1273 | 1260699.8765
29 | 2679649.2324 | 1260686.68
30 | 2679711.3686 | 1260717.6292
31 | 2679634.9952 | 1260703.0087
32 | 2679700.392 | 1260729.1307
33 | 2679625.7404 | 1260715.1787
34 | 2679759.9706 | 1260750.6761
35 | 2679746.494 | 1260765.0169
36 | 2679768.8408 | 1260749.0166
37 | 2679694.1318 | 1260735.6903
38 | 2679616.7072 | 1260727.0572
39 | 2679729.0646 | 1260783.5639
40 | 2679769.6232 | 1260730.3553
41 | 2679786.2001 | 1260764.3051
42 | 2679683.0684 | 1260747.2828
43 | 2679602.8691 | 1260745.2541
44 | 2679602.3022 | 1260745.9996
45 | 2679592.46 | 1260758.942
46 | 2679585.8828 | 1260767.5909
47 | 2679678.1821 | 1260752.4027
48 | 2679665.9071 | 1260765.2647
49 | 2679713.51 | 1260923.275
50 | 2679721.8601 | 1260909.1853
51 | 2679732.5041 | 1260891.225
52 | 2679774.7396 | 1260916.9741
53 | 2679738.0512 | 1260881.6733
54 | 2679744.0726 | 1260871.7792
55 | 2679755.8912 | 1260971.8551
56 | 2679780.7866 | 1260947.2689
57 | 2679677.3104 | 1260838.6365
58 | 2679666.2141 | 1260850.4443
59 | 2679690.1814 | 1260824.9403
60 | 2679664.2495 | 1260852.5349
61 | 2679708.4473 | 1260805.5031
62 | 2679647.8867 | 1260869.9469
63 | 2679711.1472 | 1260802.6301
64 | 2679621.7072 | 1260848.5982
65 | 2679728.0431 | 1260784.6508
66 | 2679562.7981 | 1260797.947
67 | 2679598.2456 | 1260829.1597
68 | 2679821.1188 | 1260913.6107
69 | 2679824.9463 | 1260910.4165
70 | 2679852.9261 | 1260886.9385
71 | 2679763.6548 | 1260851.2802
72 | 2679876.2227 | 1260867.3233
73 | 2679900.397 | 1260848.6598
74 | 2679765.0922 | 1260850.1688
75 | 2679796.1775 | 1260833.4904
76 | 2679796.9785 | 1260833.1016
77 | 2679814.532 | 1260824.5796
78 | 2679805.9973 | 1260805.6713
79 | 2679829.08 | 1260817.5024
80 | 2679798.7588 | 1260789.6347
81 | 2679860.3535 | 1260802.2887
82 | 2679798.687 | 1260789.4756
83 | 2679883.6768 | 1260790.9425
84 | 2679952.7035 | 1260722.6366
85 | 2680027.2977 | 1260720.9746
86 | 2680007.4683 | 1260753.4262
87 | 2680012.7753 | 1260763.6808
88 | 2679940.5469 | 1260704.707
89 | 2679917.4526 | 1260679.9599
90 | 2679901.827 | 1260663.8899
91 | 2679933.3069 | 1260633.5083
92 | 2679846.9881 | 1260715.9758
93 | 2679818.3333 | 1260741.0065
94 | 2679967.7565 | 1260600.0312
95 | 2679789.0139 | 1260767.6029
96 | 2679770.8396 | 1260723.8515
97 | 2679776.3032 | 1260694.6409
98 | 2679777.095 | 1260690.4075
99 | 2679781.2326 | 1260668.2862
100 | 2679783.5472 | 1260659.6943
101 | 2679790.8401 | 1260641.584
102 | 2679791.6446 | 1260639.5862
103 | 2680001.2582 | 1260804.7637

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1