## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_90-17_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_90-17_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_90-17_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_90-17_0_5_node_71 | 0.4 | n |  | TRUE
4 | bus_LV_90-17_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_90-17_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_90-17_0_5_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_90-17_0_5_node_172 | 0.4 | n |  | TRUE
8 | bus_LV_90-17_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_90-17_0_5_node_171 | 0.4 | n |  | TRUE
10 | bus_LV_90-17_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_90-17_0_5_node_170 | 0.4 | n |  | TRUE
12 | bus_LV_90-17_0_5_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_90-17_0_5_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_90-17_0_5_node_100 | 0.4 | n |  | TRUE
15 | bus_LV_90-17_0_5_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_90-17_0_5_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_90-17_0_5_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_90-17_0_5_node_75 | 0.4 | n |  | TRUE
19 | bus_LV_90-17_0_5_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_90-17_0_5_node_87 | 0.4 | n |  | TRUE
21 | bus_LV_90-17_0_5_node_161 | 0.4 | n |  | TRUE
22 | bus_LV_90-17_0_5_node_128 | 0.4 | n |  | TRUE
23 | bus_LV_90-17_0_5_node_117 | 0.4 | n |  | TRUE
24 | bus_LV_90-17_0_5_node_119 | 0.4 | n |  | TRUE
25 | bus_LV_90-17_0_5_node_101 | 0.4 | n |  | TRUE
26 | bus_LV_90-17_0_5_node_173 | 0.4 | n |  | TRUE
27 | bus_LV_90-17_0_5_node_98 | 0.4 | n |  | TRUE
28 | bus_LV_90-17_0_5_node_7 | 0.4 | n |  | TRUE
29 | bus_LV_90-17_0_5_node_9 | 0.4 | n |  | TRUE
30 | bus_LV_90-17_0_5_node_10 | 0.4 | n |  | TRUE
31 | bus_LV_90-17_0_5_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_90-17_0_5_node_135 | 0.4 | n |  | TRUE
33 | bus_LV_90-17_0_5_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_90-17_0_5_node_129 | 0.4 | n |  | TRUE
35 | bus_LV_90-17_0_5_node_12 | 0.4 | n |  | TRUE
36 | bus_LV_90-17_0_5_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_90-17_0_5_node_131 | 0.4 | n |  | TRUE
38 | bus_LV_90-17_0_5_node_133 | 0.4 | n |  | TRUE
39 | bus_LV_90-17_0_5_node_14 | 0.4 | n |  | TRUE
40 | bus_LV_90-17_0_5_node_110 | 0.4 | n |  | TRUE
41 | bus_LV_90-17_0_5_node_130 | 0.4 | n |  | TRUE
42 | bus_LV_90-17_0_5_node_13 | 0.4 | n |  | TRUE
43 | bus_LV_90-17_0_5_node_15 | 0.4 | n |  | TRUE
44 | bus_LV_90-17_0_5_node_17 | 0.4 | n |  | TRUE
45 | bus_LV_90-17_0_5_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_90-17_0_5_node_19 | 0.4 | n |  | TRUE
47 | bus_LV_90-17_0_5_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_90-17_0_5_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_90-17_0_5_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_90-17_0_5_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_90-17_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_90-17_0_5_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_90-17_0_5_node_24 | 0.4 | n |  | TRUE
54 | bus_LV_90-17_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_90-17_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_90-17_0_5_node_25 | 0.4 | n |  | TRUE
57 | bus_LV_90-17_0_5_node_26 | 0.4 | n |  | TRUE
58 | bus_LV_90-17_0_5_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_90-17_0_5_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_90-17_0_5_node_27 | 0.4 | n |  | TRUE
61 | bus_LV_90-17_0_5_node_28 | 0.4 | n |  | TRUE
62 | bus_LV_90-17_0_5_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_90-17_0_5_node_31 | 0.4 | n |  | TRUE
64 | bus_LV_90-17_0_5_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_90-17_0_5_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_90-17_0_5_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_90-17_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_90-17_0_5_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_90-17_0_5_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_90-17_0_5_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_90-17_0_5_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_90-17_0_5_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_90-17_0_5_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_90-17_0_5_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_90-17_0_5_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_90-17_0_5_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_90-17_0_5_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_90-17_0_5_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_90-17_0_5_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_90-17_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_90-17_0_5_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_90-17_0_5_node_49 | 0.4 | n |  | TRUE
83 | bus_LV_90-17_0_5_node_51 | 0.4 | n |  | TRUE
84 | bus_LV_90-17_0_5_node_52 | 0.4 | n |  | TRUE
85 | bus_LV_90-17_0_5_node_58 | 0.4 | n |  | TRUE
86 | bus_LV_90-17_0_5_node_62 | 0.4 | n |  | TRUE
87 | bus_LV_90-17_0_5_node_164 | 0.4 | n |  | TRUE
88 | bus_LV_90-17_0_5_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_90-17_0_5_node_166 | 0.4 | n |  | TRUE
90 | bus_LV_90-17_0_5_node_163 | 0.4 | n |  | TRUE
91 | bus_LV_90-17_0_5_node_60 | 0.4 | n |  | TRUE
92 | bus_LV_90-17_0_5_node_61 | 0.4 | n |  | TRUE
93 | bus_LV_90-17_0_5_node_64 | 0.4 | n |  | TRUE
94 | bus_LV_90-17_0_5_node_167 | 0.4 | n |  | TRUE
95 | bus_LV_90-17_0_5_node_165 | 0.4 | n |  | TRUE
96 | bus_LV_90-17_0_5_node_76 | 0.4 | n |  | TRUE
97 | bus_LV_90-17_0_5_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_90-17_0_5_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_90-17_0_5_node_72 | 0.4 | n |  | TRUE
100 | bus_LV_90-17_0_5_node_73 | 0.4 | n |  | TRUE
101 | bus_LV_90-17_0_5_node_83 | 0.4 | n |  | TRUE
102 | bus_LV_90-17_0_5_node_81 | 0.4 | n |  | TRUE
103 | bus_LV_90-17_0_5_node_77 | 0.4 | n |  | TRUE
104 | bus_LV_90-17_0_5_node_78 | 0.4 | n |  | TRUE
105 | bus_LV_90-17_0_5_node_79 | 0.4 | n |  | TRUE
106 | bus_LV_90-17_0_5_node_80 | 0.4 | n |  | TRUE
107 | bus_LV_90-17_0_5_node_82 | 0.4 | n |  | TRUE
108 | bus_LV_90-17_0_5_node_91 | 0.4 | n |  | TRUE
109 | bus_LV_90-17_0_5_node_93 | 0.4 | n |  | TRUE
110 | bus_LV_90-17_0_5_node_89 | 0.4 | n |  | TRUE
111 | bus_LV_90-17_0_5_node_86 | 0.4 | n |  | TRUE
112 | bus_LV_90-17_0_5_node_157 | 0.4 | n |  | TRUE
113 | bus_LV_90-17_0_5_node_124 | 0.4 | n |  | TRUE
114 | bus_LV_90-17_0_5_node_115 | 0.4 | n |  | TRUE
115 | bus_LV_90-17_0_5_node_120 | 0.4 | n |  | TRUE
116 | bus_LV_90-17_0_5_node_90 | 0.4 | n |  | TRUE
117 | bus_LV_90-17_0_5_node_159 | 0.4 | n |  | TRUE
118 | bus_LV_90-17_0_5_node_160 | 0.4 | n |  | TRUE
119 | bus_LV_90-17_0_5_node_94 | 0.4 | n |  | TRUE
120 | bus_LV_90-17_0_5_node_95 | 0.4 | n |  | TRUE
121 | bus_LV_90-17_0_5_node_96 | 0.4 | n |  | TRUE
122 | bus_LV_90-17_0_5_node_97 | 0.4 | n |  | TRUE
123 | bus_LV_90-17_0_5_node_102 | 0.4 | n |  | TRUE
124 | bus_LV_90-17_0_5_node_103 | 0.4 | n |  | TRUE
125 | bus_LV_90-17_0_5_node_99 | 0.4 | n |  | TRUE
126 | bus_LV_90-17_0_5_node_104 | 0.4 | n |  | TRUE
127 | bus_LV_90-17_0_5_node_114 | 0.4 | n |  | TRUE
128 | bus_LV_90-17_0_5_node_113 | 0.4 | n |  | TRUE
129 | bus_LV_90-17_0_5_node_105 | 0.4 | n |  | TRUE
130 | bus_LV_90-17_0_5_node_106 | 0.4 | n |  | TRUE
131 | bus_LV_90-17_0_5_node_107 | 0.4 | n |  | TRUE
132 | bus_LV_90-17_0_5_node_108 | 0.4 | n |  | TRUE
133 | bus_LV_90-17_0_5_node_109 | 0.4 | n |  | TRUE
134 | bus_LV_90-17_0_5_node_111 | 0.4 | n |  | TRUE
135 | bus_LV_90-17_0_5_node_112 | 0.4 | n |  | TRUE
136 | bus_LV_90-17_0_5_node_116 | 0.4 | n |  | TRUE
137 | bus_LV_90-17_0_5_node_118 | 0.4 | n |  | TRUE
138 | bus_LV_90-17_0_5_node_125 | 0.4 | n |  | TRUE
139 | bus_LV_90-17_0_5_node_126 | 0.4 | n |  | TRUE
140 | bus_LV_90-17_0_5_node_127 | 0.4 | n |  | TRUE
141 | bus_LV_90-17_0_5_node_121 | 0.4 | n |  | TRUE
142 | bus_LV_90-17_0_5_node_122 | 0.4 | n |  | TRUE
143 | bus_LV_90-17_0_5_node_123 | 0.4 | n |  | TRUE
144 | bus_LV_90-17_0_5_node_162 | 0.4 | n |  | TRUE
145 | bus_LV_90-17_0_5_node_132 | 0.4 | n |  | TRUE
146 | bus_LV_90-17_0_5_node_134 | 0.4 | n |  | TRUE
147 | bus_LV_90-17_0_5_node_136 | 0.4 | n |  | TRUE
148 | bus_LV_90-17_0_5_node_138 | 0.4 | n |  | TRUE
149 | bus_LV_90-17_0_5_node_137 | 0.4 | n |  | TRUE
150 | bus_LV_90-17_0_5_node_146 | 0.4 | n |  | TRUE
151 | bus_LV_90-17_0_5_node_168 | 0.4 | n |  | TRUE
152 | bus_LV_90-17_0_5_node_144 | 0.4 | n |  | TRUE
153 | bus_LV_90-17_0_5_node_151 | 0.4 | n |  | TRUE
154 | bus_LV_90-17_0_5_node_139 | 0.4 | n |  | TRUE
155 | bus_LV_90-17_0_5_node_140 | 0.4 | n |  | TRUE
156 | bus_LV_90-17_0_5_node_141 | 0.4 | n |  | TRUE
157 | bus_LV_90-17_0_5_node_145 | 0.4 | n |  | TRUE
158 | bus_LV_90-17_0_5_node_142 | 0.4 | n |  | TRUE
159 | bus_LV_90-17_0_5_node_147 | 0.4 | n |  | TRUE
160 | bus_LV_90-17_0_5_node_143 | 0.4 | n |  | TRUE
161 | bus_LV_90-17_0_5_node_148 | 0.4 | n |  | TRUE
162 | bus_LV_90-17_0_5_node_149 | 0.4 | n |  | TRUE
163 | bus_LV_90-17_0_5_node_150 | 0.4 | n |  | TRUE
164 | bus_LV_90-17_0_5_node_153 | 0.4 | n |  | TRUE
165 | bus_LV_90-17_0_5_node_154 | 0.4 | n |  | TRUE
166 | bus_LV_90-17_0_5_node_155 | 0.4 | n |  | TRUE
167 | bus_MV_638_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_90-17_0_5_load_0 | 0 | 0.0032525 | 0.00081516 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_90-17_0_5_load_172 | 7 | 0.0022211 | 0.00055666 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_90-17_0_5_load_170 | 11 | 0.0015182 | 0.00038049 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_90-17_0_5_load_67 | 12 | 0.00068251 | 0.00017105 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_90-17_0_5_load_66 | 13 | 0.00041652 | 0.00010439 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_90-17_0_5_load_100 | 14 | 0.00092798 | 0.00023257 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_90-17_0_5_load_68 | 15 | 0.0017486 | 0.00043823 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_90-17_0_5_load_84 | 19 | 0.0054342 | 0.0013619 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_90-17_0_5_load_161 | 21 | 0.0023879 | 0.00059846 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_90-17_0_5_load_128 | 22 | 0.0023279 | 0.00058343 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_90-17_0_5_load_117 | 23 | 0.0024465 | 0.00061315 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_90-17_0_5_load_119 | 24 | 0.0072733 | 0.0018229 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_90-17_0_5_load_101 | 25 | 0.00081662 | 0.00020466 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_90-17_0_5_load_173 | 26 | 0.00067814 | 0.00016996 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_90-17_0_5_load_98 | 27 | 0.0010072 | 0.00025244 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_90-17_0_5_load_7 | 28 | 0.0016942 | 0.0004246 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_90-17_0_5_load_135 | 32 | 0.0068894 | 0.0017266 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_90-17_0_5_load_16 | 33 | 0.0017037 | 0.00042699 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_90-17_0_5_load_129 | 34 | 0.0050033 | 0.0012539 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_90-17_0_5_load_54 | 36 | 0.002014 | 0.00050475 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_90-17_0_5_load_131 | 37 | 0.0013266 | 0.00033247 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_90-17_0_5_load_133 | 38 | 0.0059158 | 0.0014827 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_90-17_0_5_load_14 | 39 | 0.0015602 | 0.00039104 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_90-17_0_5_load_110 | 40 | 0.0015858 | 0.00039745 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_90-17_0_5_load_130 | 41 | 0.0010959 | 0.00027465 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_90-17_0_5_load_13 | 42 | 0.0024711 | 0.00061932 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_90-17_0_5_load_15 | 43 | 0.0029153 | 0.00073065 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_90-17_0_5_load_17 | 44 | 0.0059394 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_90-17_0_5_load_18 | 45 | 0.0059393 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_90-17_0_5_load_20 | 47 | 0.0040845 | 0.0010237 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_90-17_0_5_load_22 | 49 | 0.0049694 | 0.0012455 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_90-17_0_5_load_23 | 50 | 0.0047737 | 0.0011964 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_90-17_0_5_load_37 | 52 | 0.0049707 | 0.0012458 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_90-17_0_5_load_24 | 53 | 0.0047077 | 0.0011799 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_90-17_0_5_load_41 | 54 | 0.0033399 | 0.00083707 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_90-17_0_5_load_38 | 55 | 0.0036341 | 0.00091079 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_90-17_0_5_load_25 | 56 | 0.0041569 | 0.0010418 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_90-17_0_5_load_26 | 57 | 0.0041559 | 0.0010416 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_90-17_0_5_load_36 | 58 | 0.0045267 | 0.0011345 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_90-17_0_5_load_32 | 59 | 0.002103 | 0.00052705 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_90-17_0_5_load_27 | 60 | 0.002413 | 0.00060475 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_90-17_0_5_load_28 | 61 | 0.0034359 | 0.00086112 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_90-17_0_5_load_31 | 63 | 0.0041182 | 0.0010321 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_90-17_0_5_load_33 | 64 | 0.0017609 | 0.00044132 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_90-17_0_5_load_34 | 65 | 0.0024627 | 0.00061722 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_90-17_0_5_load_35 | 66 | 0.004517 | 0.0011321 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_90-17_0_5_load_47 | 67 | 0.0023524 | 0.00058957 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_90-17_0_5_load_39 | 69 | 0.0051025 | 0.0012788 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_90-17_0_5_load_45 | 71 | 0.0038455 | 0.00096378 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_90-17_0_5_load_46 | 72 | 0.0035308 | 0.00088491 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_90-17_0_5_load_42 | 73 | 0.0049482 | 0.0012401 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_90-17_0_5_load_43 | 74 | 0.002754 | 0.00069021 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_90-17_0_5_load_50 | 75 | 0.0055539 | 0.0013919 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_90-17_0_5_load_56 | 77 | 0.0048674 | 0.0012199 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_90-17_0_5_load_57 | 78 | 0.0043977 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_90-17_0_5_load_48 | 79 | 0.0034735 | 0.00087054 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_90-17_0_5_load_59 | 81 | 0.0015995 | 0.00040086 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_90-17_0_5_load_49 | 82 | 0.0034727 | 0.00087034 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_90-17_0_5_load_51 | 83 | 0.0030942 | 0.00077549 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_90-17_0_5_load_58 | 85 | 0.0030942 | 0.00077548 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_90-17_0_5_load_62 | 86 | 0.0018828 | 0.00047187 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_90-17_0_5_load_63 | 88 | 0.0032388 | 0.00081171 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_90-17_0_5_load_166 | 89 | 0.0042502 | 0.0010652 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_90-17_0_5_load_163 | 90 | 0.0052665 | 0.0013199 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_90-17_0_5_load_60 | 91 | 0.0039273 | 0.00098428 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_90-17_0_5_load_61 | 92 | 0.0009779 | 0.00024508 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_90-17_0_5_load_64 | 93 | 0.0024627 | 0.00061721 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_90-17_0_5_load_167 | 94 | 0.0010625 | 0.00026628 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_90-17_0_5_load_165 | 95 | 0.0028006 | 0.00070189 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_90-17_0_5_load_76 | 96 | 0.0017778 | 0.00044556 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_90-17_0_5_load_74 | 97 | 0.001373 | 0.00034411 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_90-17_0_5_load_85 | 98 | 0.00049689 | 0.00012453 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_90-17_0_5_load_72 | 99 | 0.0012352 | 0.00030956 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_90-17_0_5_load_73 | 100 | 0.0041776 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_90-17_0_5_load_83 | 101 | 0.0014642 | 0.00036696 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_90-17_0_5_load_77 | 103 | 0.0013881 | 0.0003479 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_90-17_0_5_load_78 | 104 | 0.0014804 | 0.00037101 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_90-17_0_5_load_79 | 105 | 0.0005923 | 0.00014845 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_90-17_0_5_load_80 | 106 | 0.0013683 | 0.00034294 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_90-17_0_5_load_82 | 107 | 0.0015054 | 0.00037729 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_90-17_0_5_load_89 | 110 | 0.0018488 | 0.00046336 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_90-17_0_5_load_86 | 111 | 0.0023049 | 0.00057766 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_90-17_0_5_load_157 | 112 | 0.0031307 | 0.00078462 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_90-17_0_5_load_124 | 113 | 0.0032084 | 0.00080411 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_90-17_0_5_load_120 | 115 | 0.0054312 | 0.0013612 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_90-17_0_5_load_90 | 116 | 0.00068615 | 0.00017196 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_90-17_0_5_load_159 | 117 | 0.0013194 | 0.00033067 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_90-17_0_5_load_160 | 118 | 0.0015284 | 0.00038306 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_90-17_0_5_load_94 | 119 | 0.00094771 | 0.00023752 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_90-17_0_5_load_95 | 120 | 0.0015697 | 0.00039341 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_90-17_0_5_load_96 | 121 | 0.0027085 | 0.0006788 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_90-17_0_5_load_97 | 122 | 0.00088748 | 0.00022242 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_90-17_0_5_load_102 | 123 | 0.0013484 | 0.00033794 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_90-17_0_5_load_103 | 124 | 0.0010717 | 0.00026859 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_90-17_0_5_load_99 | 125 | 0.00095294 | 0.00023883 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_90-17_0_5_load_104 | 126 | 0.002616 | 0.00065564 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_90-17_0_5_load_114 | 127 | 0.0021674 | 0.0005432 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_90-17_0_5_load_113 | 128 | 0.0017977 | 0.00045055 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_90-17_0_5_load_105 | 129 | 0.0012353 | 0.00030959 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_90-17_0_5_load_106 | 130 | 0.001376 | 0.00034486 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_90-17_0_5_load_108 | 132 | 0.00092885 | 0.00023279 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_90-17_0_5_load_109 | 133 | 0.0024654 | 0.0006179 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_90-17_0_5_load_111 | 134 | 0.0028947 | 0.00072549 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_90-17_0_5_load_116 | 136 | 0.0029238 | 0.00073277 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_90-17_0_5_load_118 | 137 | 0.0033075 | 0.00082893 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_90-17_0_5_load_126 | 139 | 0.0015287 | 0.00038312 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_90-17_0_5_load_127 | 140 | 0.0026221 | 0.00065717 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_90-17_0_5_load_121 | 141 | 0.0068444 | 0.0017154 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_90-17_0_5_load_122 | 142 | 0.0074495 | 0.001867 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_90-17_0_5_load_123 | 143 | 0.0033662 | 0.00084365 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_90-17_0_5_load_162 | 144 | 0.0041015 | 0.0010279 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_90-17_0_5_load_132 | 145 | 0.0058075 | 0.0014555 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_90-17_0_5_load_137 | 149 | 0.0073096 | 0.001832 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_90-17_0_5_load_146 | 150 | 0.0005657 | 0.00014178 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_90-17_0_5_load_168 | 151 | 0.0013252 | 0.00033214 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_90-17_0_5_load_144 | 152 | 0.00034021 | 8.5265e-05 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_90-17_0_5_load_151 | 153 | 0.00068247 | 0.00017104 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_90-17_0_5_load_139 | 154 | 0.0018531 | 0.00046443 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_90-17_0_5_load_145 | 157 | 0.00029969 | 7.5109e-05 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_90-17_0_5_load_142 | 158 | 0.00079636 | 0.00019959 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_90-17_0_5_load_147 | 159 | 0.00048634 | 0.00012189 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_90-17_0_5_load_143 | 160 | 0.00018262 | 4.577e-05 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_90-17_0_5_load_150 | 163 | 0.0012426 | 0.00031143 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_90-17_0_5_load_153 | 164 | 0.00054644 | 0.00013695 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_90-17_0_5_load_154 | 165 | 0.00091776 | 0.00023001 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_90-17_0_5_load_155 | 166 | 0.0002317 | 5.807e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_90-17_0_5_line_0 |  | 0 | 1 | 0.021574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_90-17_0_5_line_1 |  | 1 | 2 | 0.034037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_90-17_0_5_line_2 |  | 2 | 3 | 0.008881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_90-17_0_5_line_3 |  | 2 | 4 | 0.034448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_90-17_0_5_line_4 |  | 3 | 12 | 0.037857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_90-17_0_5_line_5 |  | 4 | 14 | 0.02178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_90-17_0_5_line_6 |  | 5 | 6 | 0.004548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_90-17_0_5_line_7 |  | 5 | 7 | 0.0059923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_90-17_0_5_line_8 |  | 6 | 16 | 0.013891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_90-17_0_5_line_9 |  | 6 | 15 | 0.032771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_90-17_0_5_line_10 |  | 7 | 25 | 0.019424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_90-17_0_5_line_11 |  | 8 | 9 | 0.058353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_90-17_0_5_line_12 |  | 8 | 10 | 0.047389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_90-17_0_5_line_13 |  | 8 | 11 | 0.031622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_90-17_0_5_line_14 |  | 9 | 26 | 0.0042389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_90-17_0_5_line_15 |  | 10 | 12 | 0.027714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_90-17_0_5_line_16 |  | 10 | 13 | 0.016676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_90-17_0_5_line_17 |  | 14 | 27 | 0.0092109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_90-17_0_5_line_18 |  | 16 | 17 | 0.021102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_90-17_0_5_line_19 |  | 16 | 18 | 0.029133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_90-17_0_5_line_20 |  | 16 | 19 | 0.017591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_90-17_0_5_line_21 |  | 17 | 23 | 0.011023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_90-17_0_5_line_22 |  | 17 | 24 | 0.020478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_90-17_0_5_line_23 |  | 18 | 96 | 0.021979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_90-17_0_5_line_24 |  | 18 | 97 | 0.017293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_90-17_0_5_line_25 |  | 19 | 98 | 0.031289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_90-17_0_5_line_26 |  | 20 | 21 | 0.037659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_90-17_0_5_line_27 |  | 20 | 22 | 0.016226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_90-17_0_5_line_28 |  | 21 | 80 | 0.020286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_90-17_0_5_line_29 |  | 22 | 113 | 0.019211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_90-17_0_5_line_30 |  | 23 | 114 | 0.032583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_90-17_0_5_line_31 |  | 24 | 115 | 0.016477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_90-17_0_5_line_32 |  | 25 | 125 | 0.0014448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_90-17_0_5_line_33 |  | 27 | 125 | 0.022881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_90-17_0_5_line_34 |  | 28 | 29 | 0.012956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_90-17_0_5_line_35 |  | 29 | 30 | 0.12113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_90-17_0_5_line_36 |  | 30 | 31 | 0.12469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_90-17_0_5_line_37 |  | 30 | 32 | 0.0097628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_90-17_0_5_line_38 |  | 31 | 33 | 0.012137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_90-17_0_5_line_39 |  | 31 | 34 | 0.0020712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_90-17_0_5_line_40 |  | 32 | 38 | 0.02288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_90-17_0_5_line_41 |  | 33 | 39 | 0.0005003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_90-17_0_5_line_42 |  | 34 | 40 | 0.029006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_90-17_0_5_line_43 |  | 35 | 36 | 0.038447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_90-17_0_5_line_44 |  | 35 | 37 | 0.020089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_90-17_0_5_line_45 |  | 37 | 41 | 0.036202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_90-17_0_5_line_46 |  | 38 | 145 | 0.0077806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_90-17_0_5_line_47 |  | 39 | 42 | 0.02019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_90-17_0_5_line_48 |  | 40 | 131 | 0.014535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_90-17_0_5_line_49 |  | 41 | 139 | 0.029411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_90-17_0_5_line_50 |  | 42 | 43 | 0.0086317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_90-17_0_5_line_51 |  | 44 | 45 | 0.024284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_90-17_0_5_line_52 |  | 44 | 46 | 0.0074236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_90-17_0_5_line_53 |  | 45 | 47 | 0.016952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_90-17_0_5_line_54 |  | 46 | 48 | 0.008315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_90-17_0_5_line_55 |  | 46 | 49 | 0.013604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_90-17_0_5_line_56 |  | 47 | 50 | 0.00087735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_90-17_0_5_line_57 |  | 48 | 51 | 0.030767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_90-17_0_5_line_58 |  | 48 | 52 | 0.039911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_90-17_0_5_line_59 |  | 49 | 53 | 0.00668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_90-17_0_5_line_60 |  | 51 | 54 | 0.055278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_90-17_0_5_line_61 |  | 52 | 55 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_90-17_0_5_line_62 |  | 53 | 56 | 0.012732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_90-17_0_5_line_63 |  | 54 | 73 | 0.031099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_90-17_0_5_line_64 |  | 55 | 69 | 0.0067615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_90-17_0_5_line_65 |  | 56 | 57 | 0.0026241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_90-17_0_5_line_66 |  | 57 | 58 | 0.0019838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_90-17_0_5_line_67 |  | 58 | 59 | 0.02569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_90-17_0_5_line_68 |  | 59 | 62 | 0.023198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_90-17_0_5_line_69 |  | 60 | 61 | 0.021117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_90-17_0_5_line_70 |  | 60 | 62 | 0.021306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_90-17_0_5_line_71 |  | 62 | 63 | 0.01985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_90-17_0_5_line_72 |  | 63 | 64 | 0.012817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_90-17_0_5_line_73 |  | 64 | 65 | 0.029568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_90-17_0_5_line_74 |  | 65 | 66 | 0.034404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_90-17_0_5_line_75 |  | 66 | 67 | 0.029119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_90-17_0_5_line_76 |  | 67 | 68 | 0.025334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_90-17_0_5_line_77 |  | 68 | 80 | 0.040671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_90-17_0_5_line_78 |  | 68 | 81 | 0.024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_90-17_0_5_line_79 |  | 70 | 71 | 0.011852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_90-17_0_5_line_80 |  | 70 | 72 | 0.019719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_90-17_0_5_line_81 |  | 72 | 75 | 0.011618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_90-17_0_5_line_82 |  | 73 | 74 | 0.062187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_90-17_0_5_line_83 |  | 75 | 79 | 0.014138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_90-17_0_5_line_84 |  | 76 | 77 | 0.021241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_90-17_0_5_line_85 |  | 76 | 78 | 0.014141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_90-17_0_5_line_86 |  | 77 | 86 | 0.0005027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_90-17_0_5_line_87 |  | 78 | 87 | 0.0054693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_90-17_0_5_line_88 |  | 79 | 82 | 0.0040158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_90-17_0_5_line_89 |  | 81 | 84 | 0.01003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_90-17_0_5_line_90 |  | 82 | 83 | 0.0044433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_90-17_0_5_line_91 |  | 83 | 84 | 0.034322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_90-17_0_5_line_92 |  | 84 | 85 | 0.01466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_90-17_0_5_line_93 |  | 86 | 88 | 0.031459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_90-17_0_5_line_94 |  | 87 | 89 | 0.021586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_90-17_0_5_line_95 |  | 87 | 90 | 0.02683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_90-17_0_5_line_96 |  | 89 | 95 | 0.018296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_90-17_0_5_line_97 |  | 90 | 144 | 0.018262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_90-17_0_5_line_98 |  | 91 | 92 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_90-17_0_5_line_99 |  | 92 | 93 | 0.0068732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_90-17_0_5_line_100 |  | 93 | 94 | 0.020182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_90-17_0_5_line_101 |  | 94 | 95 | 0.0025605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_90-17_0_5_line_102 |  | 96 | 101 | 0.030832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_90-17_0_5_line_103 |  | 97 | 100 | 0.0011291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_90-17_0_5_line_104 |  | 98 | 111 | 0.0060123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_90-17_0_5_line_105 |  | 99 | 100 | 0.023982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_90-17_0_5_line_106 |  | 101 | 102 | 0.00282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_90-17_0_5_line_107 |  | 102 | 107 | 0.020328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_90-17_0_5_line_108 |  | 102 | 106 | 0.025226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_90-17_0_5_line_109 |  | 103 | 104 | 0.00027392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_90-17_0_5_line_110 |  | 103 | 105 | 0.0012661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_90-17_0_5_line_111 |  | 104 | 106 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_90-17_0_5_line_112 |  | 107 | 108 | 0.024574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_90-17_0_5_line_113 |  | 108 | 109 | 0.022067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_90-17_0_5_line_114 |  | 108 | 110 | 0.048787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_90-17_0_5_line_115 |  | 109 | 117 | 0.041121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_90-17_0_5_line_116 |  | 110 | 116 | 0.029029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_90-17_0_5_line_117 |  | 111 | 112 | 0.022889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_90-17_0_5_line_118 |  | 113 | 143 | 0.020772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_90-17_0_5_line_119 |  | 114 | 128 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_90-17_0_5_line_120 |  | 114 | 136 | 0.018502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_90-17_0_5_line_121 |  | 115 | 141 | 0.027408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
122 | LV_90-17_0_5_line_122 |  | 117 | 118 | 0.031254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_90-17_0_5_line_123 |  | 119 | 120 | 0.0088926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_90-17_0_5_line_124 |  | 119 | 121 | 0.0034533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_90-17_0_5_line_125 |  | 120 | 122 | 0.012558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_90-17_0_5_line_126 |  | 122 | 123 | 0.0041242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_90-17_0_5_line_127 |  | 123 | 124 | 0.0018226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_90-17_0_5_line_128 |  | 124 | 126 | 0.016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_90-17_0_5_line_129 |  | 126 | 127 | 0.0015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_90-17_0_5_line_130 |  | 127 | 128 | 0.0027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_90-17_0_5_line_131 |  | 129 | 130 | 0.024352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_90-17_0_5_line_132 |  | 129 | 131 | 0.008672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_90-17_0_5_line_133 |  | 130 | 132 | 0.00013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_90-17_0_5_line_134 |  | 131 | 133 | 0.016503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_90-17_0_5_line_135 |  | 133 | 134 | 0.023281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_90-17_0_5_line_136 |  | 134 | 135 | 0.024798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_90-17_0_5_line_137 |  | 135 | 136 | 0.031007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
138 | LV_90-17_0_5_line_138 |  | 135 | 137 | 0.011314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
139 | LV_90-17_0_5_line_139 |  | 137 | 138 | 0.0072458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
140 | LV_90-17_0_5_line_140 |  | 138 | 139 | 0.0076027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_90-17_0_5_line_141 |  | 138 | 140 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
142 | LV_90-17_0_5_line_142 |  | 140 | 144 | 0.015498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
143 | LV_90-17_0_5_line_143 |  | 141 | 142 | 0.0068537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
144 | LV_90-17_0_5_line_144 |  | 142 | 143 | 0.00047861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
145 | LV_90-17_0_5_line_145 |  | 145 | 146 | 0.022955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_90-17_0_5_line_146 |  | 146 | 147 | 0.028378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_90-17_0_5_line_147 |  | 147 | 148 | 0.17733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_90-17_0_5_line_148 |  | 147 | 149 | 0.040038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_90-17_0_5_line_149 |  | 148 | 150 | 0.081819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_90-17_0_5_line_150 |  | 148 | 151 | 0.035224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_90-17_0_5_line_151 |  | 150 | 152 | 0.031992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_90-17_0_5_line_152 |  | 151 | 153 | 0.03162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_90-17_0_5_line_153 |  | 153 | 161 | 0.08149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_90-17_0_5_line_154 |  | 154 | 155 | 0.0050831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_90-17_0_5_line_155 |  | 155 | 156 | 0.029597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_90-17_0_5_line_156 |  | 156 | 157 | 0.041062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_90-17_0_5_line_157 |  | 156 | 158 | 0.0074244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_90-17_0_5_line_158 |  | 157 | 159 | 0.064845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_90-17_0_5_line_159 |  | 158 | 160 | 0.0078317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_90-17_0_5_line_160 |  | 159 | 161 | 0.029418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_90-17_0_5_line_161 |  | 161 | 162 | 0.011963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_90-17_0_5_line_162 |  | 161 | 163 | 0.038008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_90-17_0_5_line_163 |  | 162 | 164 | 0.05275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_90-17_0_5_line_164 |  | 164 | 165 | 0.056467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_90-17_0_5_line_165 |  | 165 | 166 | 0.014465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_90-17_0_5_trafo_166 | 0.63 MVA 20/0.4 kV | 167 | 89 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2679025.2114 | 1259201.0468 | 2679017.7514 | 1259196.8662 | 2679008.602 | 1259187.5993
1 | 2679025.2114 | 1259201.0468 | 2679027.8322 | 1259192.2084 | 2679031.5454 | 1259182.862 | 2679038.0088 | 1259185.4613 | 2679045.4562 | 1259187.7625
2 | 2679045.4562 | 1259187.7625 | 2679047.7492 | 1259185.9696 | 2679053.6225 | 1259184.7804
3 | 2679035.8427 | 1259164.2163 | 2679035.2874 | 1259167.4113 | 2679036.0304 | 1259170.4791 | 2679035.6473 | 1259173.7654 | 2679031.5454 | 1259182.862 | 2679038.0088 | 1259185.4613 | 2679045.4562 | 1259187.7625
4 | 2679053.6225 | 1259184.7804 | 2679090.7709 | 1259177.49
5 | 2679035.8427 | 1259164.2163 | 2679036.6459 | 1259158.834 | 2679039.4064 | 1259148.5742 | 2679040.8447 | 1259143.0447
6 | 2679059.2587 | 1259091.9184 | 2679063.7566 | 1259092.6791
7 | 2679059.2587 | 1259091.9184 | 2679055.0926 | 1259091.1511 | 2679054.7205 | 1259092.8673
8 | 2679066.3138 | 1259079.0251 | 2679063.7566 | 1259092.6791
9 | 2679063.7566 | 1259092.6791 | 2679059.7507 | 1259110.9394 | 2679058.3403 | 1259124.9452
10 | 2679050.6049 | 1259111.8507 | 2679054.7205 | 1259092.8673
11 | 2679206.0406 | 1259131.4552 | 2679207.8265 | 1259139.3963 | 2679179.0505 | 1259145.6938 | 2679169.6062 | 1259152.9063 | 2679162.0064 | 1259157.486
12 | 2679117.9664 | 1259172.1527 | 2679125.495 | 1259171.7642 | 2679143.9568 | 1259168.3751 | 2679162.0064 | 1259157.486
13 | 2679162.0064 | 1259157.486 | 2679156.4876 | 1259142.8899 | 2679140.706 | 1259145.6267
14 | 2679206.0406 | 1259131.4552 | 2679201.897 | 1259132.3488
15 | 2679117.9664 | 1259172.1527 | 2679090.7709 | 1259177.49
16 | 2679117.9664 | 1259172.1527 | 2679116.9985 | 1259155.5052
17 | 2679040.8447 | 1259143.0447 | 2679044.5281 | 1259139.8804 | 2679045.4508 | 1259135.6243
18 | 2679045.7995 | 1259074.0806 | 2679062.1738 | 1259077.9912 | 2679066.3138 | 1259079.0251
19 | 2679095.3059 | 1259080.8137 | 2679081.4478 | 1259081.5403 | 2679066.3138 | 1259079.0251
20 | 2679066.3138 | 1259079.0251 | 2679069.4758 | 1259061.7202
21 | 2679045.7995 | 1259074.0806 | 2679035.0074 | 1259071.8368
22 | 2679045.7995 | 1259074.0806 | 2679048.3268 | 1259057.0125 | 2679045.1451 | 1259056.4922
23 | 2679095.3059 | 1259080.8137 | 2679117.1115 | 1259078.0622
24 | 2679095.3059 | 1259080.8137 | 2679096.1429 | 1259098.0861
25 | 2679069.4758 | 1259061.7202 | 2679073.2274 | 1259041.1886 | 2679074.7688 | 1259030.8859
26 | 2679074.8938 | 1258997.1774 | 2679079.3175 | 1258960.075 | 2679079.3427 | 1258959.7827
27 | 2679074.8938 | 1258997.1774 | 2679058.7565 | 1258995.4817
28 | 2679081.0843 | 1258939.5719 | 2679079.3427 | 1258959.7827
29 | 2679058.7565 | 1258995.4817 | 2679040.0988 | 1258993.521 | 2679040.0452 | 1258993.9679
30 | 2679003.1063 | 1259065.2039 | 2679035.0074 | 1259071.8368
31 | 2679045.1451 | 1259056.4922 | 2679036.0356 | 1259055.0024 | 2679032.3573 | 1259049.8828 | 2679032.5129 | 1259048.9537
32 | 2679050.2988 | 1259113.2627 | 2679050.6049 | 1259111.8507
33 | 2679050.2988 | 1259113.2627 | 2679045.4508 | 1259135.6243
34 | 2678769.1913 | 1259169.8995 | 2678765.2955 | 1259168.6467 | 2678756.7117 | 1259166.4375
35 | 2678769.1913 | 1259169.8995 | 2678774.2175 | 1259170.6113 | 2678811.5175 | 1259171.7643 | 2678826.9484 | 1259171.792 | 2678813.7821 | 1259109.8696
36 | 2678890.8832 | 1259093.7178 | 2678870.2261 | 1259087.0374 | 2678859.4022 | 1259102.1936 | 2678847.1138 | 1259120.8997 | 2678838.1632 | 1259131.8221 | 2678829.4545 | 1259141.002 | 2678819.6238 | 1259116.7082 | 2678813.7821 | 1259109.8696
37 | 2678813.7821 | 1259109.8696 | 2678811.9569 | 1259100.279
38 | 2678890.8832 | 1259093.7178 | 2678885.5615 | 1259104.6253
39 | 2678890.8832 | 1259093.7178 | 2678892.9143 | 1259094.1236
40 | 2678811.9569 | 1259100.279 | 2678808.9279 | 1259084.3634 | 2678808.5269 | 1259077.6966
41 | 2678885.3422 | 1259105.0749 | 2678885.5615 | 1259104.6253
42 | 2678921.3577 | 1259099.8064 | 2678892.9143 | 1259094.1236
43 | 2678886.5959 | 1259058.5116 | 2678901.9132 | 1259035.4316 | 2678905.9826 | 1259025.4856
44 | 2678886.5959 | 1259058.5116 | 2678906.0573 | 1259063.4943
45 | 2678937.8845 | 1259061.3239 | 2678936.3428 | 1259065.3244 | 2678928.428 | 1259069.2219 | 2678906.0573 | 1259063.4943
46 | 2678808.0597 | 1259069.9301 | 2678808.5269 | 1259077.6966
47 | 2678879.0351 | 1259123.8594 | 2678879.2731 | 1259117.5145 | 2678885.3422 | 1259105.0749
48 | 2678935.6109 | 1259102.6542 | 2678921.3577 | 1259099.8064
49 | 2678937.8845 | 1259061.3239 | 2678947.9393 | 1259035.234 | 2678948.5258 | 1259033.9076
50 | 2678878.7116 | 1259132.485 | 2678879.0351 | 1259123.8594
51 | 2678974.6668 | 1258749.5 | 2678975.3204 | 1258725.2251
52 | 2678974.467 | 1258756.9209 | 2678974.6668 | 1258749.5
53 | 2678975.7772 | 1258708.2792 | 2678975.4241 | 1258721.3733 | 2678975.3204 | 1258725.2251
54 | 2678974.467 | 1258756.9209 | 2678972.1064 | 1258764.8954
55 | 2678974.467 | 1258756.9209 | 2678988.0114 | 1258755.6533
56 | 2678975.8008 | 1258707.4021 | 2678975.7772 | 1258708.2792
57 | 2678941.2844 | 1258763.3943 | 2678972.1064 | 1258764.8954
58 | 2678972.1064 | 1258764.8954 | 2678964.433 | 1258774.4003 | 2678962.7832 | 1258780.5162 | 2678963.2197 | 1258787.9166 | 2678968.3758 | 1258796.9922 | 2678970.0545 | 1258800.0739
59 | 2678988.0114 | 1258755.6533 | 2678994.6623 | 1258755.0309
60 | 2678941.2844 | 1258763.3943 | 2678940.9514 | 1258784.3947 | 2678940.8132 | 1258793.055 | 2678940.6095 | 1258806.0621 | 2678940.1535 | 1258818.6587
61 | 2678970.0545 | 1258800.0739 | 2678972.5555 | 1258804.6649 | 2678972.0787 | 1258813.3596
62 | 2679007.3385 | 1258753.8446 | 2678994.6623 | 1258755.0309
63 | 2678940.1535 | 1258818.6587 | 2678939.0286 | 1258849.7373
64 | 2678971.7084 | 1258820.1109 | 2678972.0787 | 1258813.3596
65 | 2679007.3385 | 1258753.8446 | 2679009.9512 | 1258753.6001
66 | 2679009.9512 | 1258753.6001 | 2679011.9264 | 1258753.4153
67 | 2679037.5043 | 1258751.0216 | 2679011.9264 | 1258753.4153
68 | 2679060.6399 | 1258749.4321 | 2679049.7477 | 1258749.8759 | 2679037.5043 | 1258751.0216
69 | 2679064.5718 | 1258707.2201 | 2679061.9244 | 1258727.2213 | 2679061.87 | 1258728.1616
70 | 2679060.6399 | 1258749.4321 | 2679061.87 | 1258728.1616
71 | 2679060.6399 | 1258749.4321 | 2679061.6914 | 1258769.2541
72 | 2679061.6914 | 1258769.2541 | 2679062.3703 | 1258782.0531
73 | 2679064.1562 | 1258811.565 | 2679063.5063 | 1258803.467 | 2679062.3703 | 1258782.0531
74 | 2679064.1562 | 1258811.565 | 2679066.9088 | 1258845.8585
75 | 2679066.9088 | 1258845.8585 | 2679067.358 | 1258851.4549 | 2679071.955 | 1258874.506
76 | 2679077.3034 | 1258899.2685 | 2679072.0917 | 1258875.1917 | 2679071.955 | 1258874.506
77 | 2679077.3034 | 1258899.2685 | 2679079.5079 | 1258909.1833 | 2679081.0799 | 1258919.034 | 2679081.0843 | 1258939.5719
78 | 2679077.3034 | 1258899.2685 | 2679070.4218 | 1258899.1654 | 2679054.0382 | 1258891.5229
79 | 2678968.8287 | 1258872.6224 | 2678968.1462 | 1258884.4544
80 | 2678968.8287 | 1258872.6224 | 2678988.4968 | 1258874.0363
81 | 2678988.4968 | 1258874.0363 | 2678988.5841 | 1258874.0426 | 2678993.9756 | 1258864.9187 | 2678994.9078 | 1258864.9463
82 | 2678939.0286 | 1258849.7373 | 2678938.5554 | 1258862.8112 | 2678936.1598 | 1258911.8572
83 | 2679009.0399 | 1258865.3646 | 2678994.9078 | 1258864.9463
84 | 2678965.7388 | 1258926.1885 | 2678982.693 | 1258929.0502 | 2678986.7289 | 1258929.3461
85 | 2678965.7388 | 1258926.1885 | 2678964.9252 | 1258940.3059
86 | 2678987.2303 | 1258929.3829 | 2678986.7289 | 1258929.3461
87 | 2678964.6105 | 1258945.7661 | 2678964.9252 | 1258940.3059
88 | 2679009.0399 | 1258865.3646 | 2679009.0399 | 1258865.3646 | 2679012.1306 | 1258867.9286
89 | 2679044.9486 | 1258887.2828 | 2679054.0382 | 1258891.5229
90 | 2679012.1306 | 1258867.9286 | 2679013.7671 | 1258869.2862 | 2679015.8221 | 1258870.3564
91 | 2679044.9486 | 1258887.2828 | 2679044.358 | 1258885.2178 | 2679015.8221 | 1258870.3564
92 | 2679044.9486 | 1258887.2828 | 2679035.0613 | 1258898.107
93 | 2679017.6112 | 1258926.4268 | 2679014.7359 | 1258928.8222 | 2679004.5793 | 1258930.6546 | 2678987.2303 | 1258929.3829
94 | 2678964.6105 | 1258945.7661 | 2678986.122 | 1258947.5556
95 | 2678964.6105 | 1258945.7661 | 2678958.6963 | 1258971.9363
96 | 2679004.3549 | 1258949.0724 | 2678986.122 | 1258947.5556
97 | 2678954.6708 | 1258989.7494 | 2678958.6963 | 1258971.9363
98 | 2679041.5935 | 1258932.439 | 2679041.5935 | 1258932.439 | 2679037.5801 | 1258939.413 | 2679032.434 | 1258941.371
99 | 2679026.0101 | 1258943.8152 | 2679032.434 | 1258941.371
100 | 2679026.0101 | 1258943.8152 | 2679010.7869 | 1258949.6075 | 2679006.9066 | 1258949.2847
101 | 2679004.3549 | 1258949.0724 | 2679006.9066 | 1258949.2847
102 | 2679146.1099 | 1259068.4786 | 2679137.9902 | 1259072.8671 | 2679124.9449 | 1259077.0737 | 2679117.1115 | 1259078.0622
103 | 2679096.1975 | 1259099.2139 | 2679096.1429 | 1259098.0861
104 | 2679074.7688 | 1259030.8859 | 2679075.6584 | 1259024.9398
105 | 2679097.3583 | 1259123.1682 | 2679096.1975 | 1259099.2139
106 | 2679148.5907 | 1259067.1378 | 2679146.1099 | 1259068.4786
107 | 2679148.5907 | 1259067.1378 | 2679154.7002 | 1259062.9608 | 2679164.0784 | 1259054.0631
108 | 2679148.5907 | 1259067.1378 | 2679151.382 | 1259092.209
109 | 2679154.0498 | 1259116.1704 | 2679154.0194 | 1259115.8981
110 | 2679154.1899 | 1259117.4287 | 2679154.0498 | 1259116.1704
111 | 2679154.0194 | 1259115.8981 | 2679151.382 | 1259092.209
112 | 2679181.9058 | 1259037.1495 | 2679164.0784 | 1259054.0631
113 | 2679181.9058 | 1259037.1495 | 2679166.8795 | 1259020.9473
114 | 2679181.9058 | 1259037.1495 | 2679207.4126 | 1259068.9705 | 2679211.2478 | 1259075.9971
115 | 2679166.8795 | 1259020.9473 | 2679139.0629 | 1258990.662
116 | 2679225.1551 | 1259101.4778 | 2679211.2478 | 1259075.9971
117 | 2679075.6584 | 1259024.9398 | 2679079.0453 | 1259002.303
118 | 2679037.5701 | 1259014.5923 | 2679040.0452 | 1258993.9679
119 | 2679003.1063 | 1259065.2039 | 2678999.3928 | 1259082.3884
120 | 2679003.1063 | 1259065.2039 | 2678988.1314 | 1259062.0572 | 2678985.1446 | 1259060.9075
121 | 2679032.5129 | 1259048.9537 | 2679035.8062 | 1259029.2909 | 2679036.6965 | 1259021.8723
122 | 2679139.0629 | 1258990.662 | 2679117.9208 | 1258967.6436
123 | 2678988.6599 | 1259120.4964 | 2678986.5159 | 1259129.1267
124 | 2678985.6833 | 1259132.4781 | 2678986.5159 | 1259129.1267
125 | 2678992.0175 | 1259108.405 | 2678990.6227 | 1259112.5956 | 2678988.6599 | 1259120.4964
126 | 2678992.0175 | 1259108.405 | 2678993.32 | 1259104.4918
127 | 2678993.8956 | 1259102.7625 | 2678993.32 | 1259104.4918
128 | 2678993.8956 | 1259102.7625 | 2678997.0156 | 1259093.3885 | 2678998.4883 | 1259086.5737
129 | 2678998.4883 | 1259086.5737 | 2678998.813 | 1259085.071
130 | 2678998.813 | 1259085.071 | 2678999.3928 | 1259082.3884
131 | 2678933.8177 | 1259111.1388 | 2678931.0646 | 1259124.1655 | 2678930.8881 | 1259135.2018
132 | 2678935.6109 | 1259102.6542 | 2678933.8177 | 1259111.1388
133 | 2678930.8859 | 1259135.3366 | 2678930.8881 | 1259135.2018
134 | 2678935.6109 | 1259102.6542 | 2678941.2399 | 1259087.1409
135 | 2678941.2399 | 1259087.1409 | 2678949.1809 | 1259065.2558
136 | 2678960.2163 | 1259043.3928 | 2678954.551 | 1259050.456 | 2678949.1809 | 1259065.2558
137 | 2678960.2163 | 1259043.3928 | 2678967.8622 | 1259051.7345 | 2678976.5513 | 1259057.5993 | 2678985.1446 | 1259060.9075
138 | 2678960.2163 | 1259043.3928 | 2678954.9642 | 1259033.3721
139 | 2678951.6005 | 1259026.9543 | 2678954.9642 | 1259033.3721
140 | 2678951.6005 | 1259026.9543 | 2678948.5258 | 1259033.9076
141 | 2678951.6005 | 1259026.9543 | 2678950.9609 | 1259017.2606 | 2678951.2545 | 1259004.8662
142 | 2678954.6708 | 1258989.7494 | 2678951.2545 | 1259004.8662
143 | 2679037.5131 | 1259015.0675 | 2679036.6965 | 1259021.8723
144 | 2679037.5131 | 1259015.0675 | 2679037.5701 | 1259014.5923
145 | 2678806.6815 | 1259047.0162 | 2678808.0597 | 1259069.9301
146 | 2678778.4176 | 1259044.3046 | 2678789.1186 | 1259046.293 | 2678806.6815 | 1259047.0162
147 | 2678778.4176 | 1259044.3046 | 2678765.9582 | 1259033.9643 | 2678751.3425 | 1259020.2483 | 2678650.2513 | 1258921.4292
148 | 2678778.4176 | 1259044.3046 | 2678768.7034 | 1259054.2606 | 2678748.4695 | 1259070.7907
149 | 2678650.2513 | 1258921.4292 | 2678608.7184 | 1258957.3047 | 2678600.9637 | 1258958.8029 | 2678596.3012 | 1258957.9403 | 2678588.4649 | 1258951.398 | 2678585.4759 | 1258948.6075
150 | 2678650.2513 | 1258921.4292 | 2678648.5545 | 1258919.772 | 2678627.5108 | 1258898.4429 | 2678625.669 | 1258896.2161
151 | 2678585.4759 | 1258948.6075 | 2678562.0909 | 1258926.7759
152 | 2678606.2932 | 1258871.2666 | 2678612.2042 | 1258879.9367 | 2678625.669 | 1258896.2161
153 | 2678560.389 | 1258803.9356 | 2678606.2932 | 1258871.2666
154 | 2678421.8162 | 1258882.9581 | 2678417.2169 | 1258885.1223
155 | 2678421.8162 | 1258882.9581 | 2678434.5807 | 1258879.4579 | 2678450.9728 | 1258878.1186
156 | 2678450.9728 | 1258878.1186 | 2678474.2224 | 1258874.146 | 2678486.2996 | 1258868.4684 | 2678489.6639 | 1258866.0717
157 | 2678450.9728 | 1258878.1186 | 2678456.4014 | 1258883.1833
158 | 2678489.6639 | 1258866.0717 | 2678502.3127 | 1258857.061 | 2678537.6524 | 1258826.0173 | 2678539.2853 | 1258824.4314
159 | 2678456.4014 | 1258883.1833 | 2678464.1739 | 1258882.222
160 | 2678560.389 | 1258803.9356 | 2678556.83 | 1258807.391 | 2678539.2853 | 1258824.4314
161 | 2678560.389 | 1258803.9356 | 2678553.797 | 1258793.9406
162 | 2678560.389 | 1258803.9356 | 2678564.3739 | 1258800.2079 | 2678588.0399 | 1258777.8589
163 | 2678553.797 | 1258793.9406 | 2678521.9562 | 1258751.8848
164 | 2678521.9562 | 1258751.8848 | 2678505.238 | 1258729.8033 | 2678484.9835 | 1258709.3711
165 | 2678474.7999 | 1258699.0982 | 2678484.9835 | 1258709.3711

## bus_geodata
| x | y | coords
0 | 2679008.602 | 1259187.5993
1 | 2679025.2114 | 1259201.0468
2 | 2679045.4562 | 1259187.7625
3 | 2679053.6225 | 1259184.7804
4 | 2679035.8427 | 1259164.2163
5 | 2679059.2587 | 1259091.9184
6 | 2679063.7566 | 1259092.6791
7 | 2679054.7205 | 1259092.8673
8 | 2679162.0064 | 1259157.486
9 | 2679206.0406 | 1259131.4552
10 | 2679117.9664 | 1259172.1527
11 | 2679140.706 | 1259145.6267
12 | 2679090.7709 | 1259177.49
13 | 2679116.9985 | 1259155.5052
14 | 2679040.8447 | 1259143.0447
15 | 2679058.3403 | 1259124.9452
16 | 2679066.3137 | 1259079.0251
17 | 2679045.7995 | 1259074.0806
18 | 2679095.3059 | 1259080.8137
19 | 2679069.4758 | 1259061.7202
20 | 2679074.8938 | 1258997.1774
21 | 2679079.3427 | 1258959.7827
22 | 2679058.7565 | 1258995.4817
23 | 2679035.0074 | 1259071.8368
24 | 2679045.1451 | 1259056.4922
25 | 2679050.6049 | 1259111.8507
26 | 2679201.897 | 1259132.3488
27 | 2679045.4508 | 1259135.6243
28 | 2678756.7117 | 1259166.4375
29 | 2678769.1913 | 1259169.8995
30 | 2678813.7821 | 1259109.8696
31 | 2678890.8832 | 1259093.7178
32 | 2678811.9569 | 1259100.279
33 | 2678885.5615 | 1259104.6253
34 | 2678892.9143 | 1259094.1236
35 | 2678886.5959 | 1259058.5116
36 | 2678905.9826 | 1259025.4856
37 | 2678906.0573 | 1259063.4943
38 | 2678808.5269 | 1259077.6966
39 | 2678885.3422 | 1259105.0749
40 | 2678921.3577 | 1259099.8064
41 | 2678937.8845 | 1259061.3239
42 | 2678879.0351 | 1259123.8594
43 | 2678878.7116 | 1259132.485
44 | 2678974.6668 | 1258749.5
45 | 2678975.3204 | 1258725.2251
46 | 2678974.467 | 1258756.9208
47 | 2678975.7772 | 1258708.2792
48 | 2678972.1064 | 1258764.8954
49 | 2678988.0114 | 1258755.6533
50 | 2678975.8008 | 1258707.4021
51 | 2678941.2844 | 1258763.3943
52 | 2678970.0545 | 1258800.0739
53 | 2678994.6623 | 1258755.0309
54 | 2678940.1535 | 1258818.6587
55 | 2678972.0787 | 1258813.3596
56 | 2679007.3385 | 1258753.8446
57 | 2679009.9512 | 1258753.6001
58 | 2679011.9264 | 1258753.4153
59 | 2679037.5043 | 1258751.0216
60 | 2679061.87 | 1258728.1616
61 | 2679064.5718 | 1258707.2201
62 | 2679060.6399 | 1258749.4321
63 | 2679061.6914 | 1258769.2541
64 | 2679062.3703 | 1258782.0531
65 | 2679064.1562 | 1258811.565
66 | 2679066.9088 | 1258845.8585
67 | 2679071.955 | 1258874.506
68 | 2679077.3034 | 1258899.2685
69 | 2678971.7084 | 1258820.1109
70 | 2678968.8287 | 1258872.6224
71 | 2678968.1462 | 1258884.4544
72 | 2678988.4968 | 1258874.0363
73 | 2678939.0286 | 1258849.7373
74 | 2678936.1598 | 1258911.8572
75 | 2678994.9078 | 1258864.9463
76 | 2678965.7388 | 1258926.1885
77 | 2678986.7289 | 1258929.3461
78 | 2678964.9252 | 1258940.3059
79 | 2679009.0399 | 1258865.3646
80 | 2679081.0843 | 1258939.5719
81 | 2679054.0382 | 1258891.5229
82 | 2679012.1306 | 1258867.9286
83 | 2679015.8221 | 1258870.3564
84 | 2679044.9486 | 1258887.2828
85 | 2679035.0613 | 1258898.107
86 | 2678987.2303 | 1258929.3829
87 | 2678964.6105 | 1258945.7661
88 | 2679017.6112 | 1258926.4268
89 | 2678986.122 | 1258947.5556
90 | 2678958.6963 | 1258971.9363
91 | 2679041.5935 | 1258932.439
92 | 2679032.434 | 1258941.371
93 | 2679026.0101 | 1258943.8152
94 | 2679006.9066 | 1258949.2847
95 | 2679004.3549 | 1258949.0724
96 | 2679117.1115 | 1259078.0622
97 | 2679096.1429 | 1259098.0861
98 | 2679074.7688 | 1259030.8859
99 | 2679097.3583 | 1259123.1682
100 | 2679096.1975 | 1259099.2139
101 | 2679146.1099 | 1259068.4786
102 | 2679148.5907 | 1259067.1378
103 | 2679154.0498 | 1259116.1704
104 | 2679154.0194 | 1259115.8981
105 | 2679154.1899 | 1259117.4287
106 | 2679151.382 | 1259092.209
107 | 2679164.0784 | 1259054.0631
108 | 2679181.9058 | 1259037.1495
109 | 2679166.8795 | 1259020.9473
110 | 2679211.2478 | 1259075.9971
111 | 2679075.6584 | 1259024.9398
112 | 2679079.0453 | 1259002.303
113 | 2679040.0452 | 1258993.9679
114 | 2679003.1063 | 1259065.2039
115 | 2679032.5129 | 1259048.9537
116 | 2679225.1551 | 1259101.4778
117 | 2679139.0629 | 1258990.662
118 | 2679117.9208 | 1258967.6436
119 | 2678986.5159 | 1259129.1267
120 | 2678988.6599 | 1259120.4964
121 | 2678985.6833 | 1259132.4781
122 | 2678992.0175 | 1259108.405
123 | 2678993.32 | 1259104.4918
124 | 2678993.8956 | 1259102.7625
125 | 2679050.2988 | 1259113.2627
126 | 2678998.4883 | 1259086.5737
127 | 2678998.813 | 1259085.071
128 | 2678999.3928 | 1259082.3884
129 | 2678933.8177 | 1259111.1388
130 | 2678930.8881 | 1259135.2018
131 | 2678935.6109 | 1259102.6542
132 | 2678930.8859 | 1259135.3366
133 | 2678941.2399 | 1259087.1409
134 | 2678949.1809 | 1259065.2558
135 | 2678960.2163 | 1259043.3928
136 | 2678985.1446 | 1259060.9075
137 | 2678954.9642 | 1259033.3721
138 | 2678951.6005 | 1259026.9543
139 | 2678948.5258 | 1259033.9076
140 | 2678951.2545 | 1259004.8662
141 | 2679036.6965 | 1259021.8723
142 | 2679037.5131 | 1259015.0675
143 | 2679037.5701 | 1259014.5923
144 | 2678954.6708 | 1258989.7494
145 | 2678808.0597 | 1259069.9301
146 | 2678806.6815 | 1259047.0162
147 | 2678778.4176 | 1259044.3046
148 | 2678650.2513 | 1258921.4292
149 | 2678748.4695 | 1259070.7907
150 | 2678585.4759 | 1258948.6075
151 | 2678625.669 | 1258896.2161
152 | 2678562.0909 | 1258926.7759
153 | 2678606.2932 | 1258871.2666
154 | 2678417.2169 | 1258885.1223
155 | 2678421.8162 | 1258882.9581
156 | 2678450.9728 | 1258878.1186
157 | 2678489.6639 | 1258866.0717
158 | 2678456.4014 | 1258883.1833
159 | 2678539.2853 | 1258824.4314
160 | 2678464.1739 | 1258882.222
161 | 2678560.389 | 1258803.9356
162 | 2678553.797 | 1258793.9406
163 | 2678588.0399 | 1258777.8589
164 | 2678521.9562 | 1258751.8848
165 | 2678484.9835 | 1258709.3711
166 | 2678474.7999 | 1258699.0982
167 | 2678964.6105 | 1258945.7661

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1