## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_90-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_90-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_90-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_90-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_90-8_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_90-8_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_90-8_0_6_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_90-8_0_6_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_90-8_0_6_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_90-8_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_90-8_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_90-8_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_90-8_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_90-8_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_90-8_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_90-8_0_6_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_90-8_0_6_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_90-8_0_6_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_90-8_0_6_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_90-8_0_6_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_90-8_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_90-8_0_6_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_90-8_0_6_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_90-8_0_6_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_90-8_0_6_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_90-8_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_90-8_0_6_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_90-8_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_90-8_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_90-8_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_90-8_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_90-8_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_90-8_0_6_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_90-8_0_6_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_90-8_0_6_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_90-8_0_6_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_90-8_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_90-8_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_90-8_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_90-8_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_90-8_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_90-8_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_90-8_0_6_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_90-8_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_90-8_0_6_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_90-8_0_6_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_90-8_0_6_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_90-8_0_6_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_90-8_0_6_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_90-8_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_90-8_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_90-8_0_6_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_90-8_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_90-8_0_6_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_90-8_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_90-8_0_6_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_90-8_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_90-8_0_6_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_90-8_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_90-8_0_6_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_90-8_0_6_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_90-8_0_6_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_90-8_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_90-8_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_90-8_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_90-8_0_6_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_90-8_0_6_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_90-8_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_MV_468_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_90-8_0_6_load_0 | 0 | 0.0093193 | 0.0023356 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_90-8_0_6_load_1 | 1 | 0.012765 | 0.0031993 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_90-8_0_6_load_3 | 3 | 0.086889 | 0.021777 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_90-8_0_6_load_4 | 4 | 0.0039163 | 0.00098152 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_90-8_0_6_load_5 | 5 | 0.0072714 | 0.0018224 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_90-8_0_6_load_41 | 6 | 0.00042482 | 0.00010647 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_90-8_0_6_load_39 | 7 | 0.0005297 | 0.00013276 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_90-8_0_6_load_32 | 8 | 0.00171 | 0.00042857 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_90-8_0_6_load_11 | 11 | 0.0058195 | 0.0014585 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_90-8_0_6_load_7 | 12 | 0.013985 | 0.003505 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_90-8_0_6_load_8 | 13 | 0.055423 | 0.01389 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_90-8_0_6_load_10 | 14 | 0.00091063 | 0.00022823 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_90-8_0_6_load_69 | 15 | 0.018619 | 0.0046663 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_90-8_0_6_load_23 | 17 | 0.080991 | 0.020298 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_90-8_0_6_load_24 | 18 | 0.055352 | 0.013872 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_90-8_0_6_load_21 | 19 | 0.0083456 | 0.0020916 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_90-8_0_6_load_14 | 20 | 0.091602 | 0.022958 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_90-8_0_6_load_67 | 21 | 0.0019718 | 0.00049418 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_90-8_0_6_load_66 | 23 | 0.0013447 | 0.00033701 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_90-8_0_6_load_12 | 24 | 0.010636 | 0.0026657 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_90-8_0_6_load_13 | 25 | 0.0016962 | 0.0004251 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_90-8_0_6_load_65 | 26 | 0.053087 | 0.013305 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_90-8_0_6_load_15 | 27 | 0.0084415 | 0.0021156 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_90-8_0_6_load_16 | 28 | 0.0037743 | 0.00094593 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_90-8_0_6_load_19 | 30 | 0.0017934 | 0.00044946 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_90-8_0_6_load_20 | 31 | 0.0021667 | 0.00054301 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_90-8_0_6_load_38 | 32 | 0.0003894 | 9.7593e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_90-8_0_6_load_40 | 33 | 0.00034867 | 8.7384e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_90-8_0_6_load_36 | 34 | 0.00049948 | 0.00012518 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_90-8_0_6_load_37 | 35 | 0.00037586 | 9.42e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_90-8_0_6_load_25 | 36 | 0.0018018 | 0.00045158 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_90-8_0_6_load_26 | 37 | 0.00024157 | 6.0542e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_90-8_0_6_load_27 | 38 | 0.00019559 | 4.902e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_90-8_0_6_load_28 | 39 | 0.0033439 | 0.00083805 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_90-8_0_6_load_29 | 40 | 0.00017626 | 4.4176e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_90-8_0_6_load_30 | 41 | 0.00015553 | 3.8979e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_90-8_0_6_load_57 | 42 | 0.0002584 | 6.4761e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_90-8_0_6_load_31 | 43 | 0.00026674 | 6.6851e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_90-8_0_6_load_45 | 44 | 0.0027281 | 0.00068371 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_90-8_0_6_load_56 | 45 | 5.261e-05 | 1.3185e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_90-8_0_6_load_55 | 46 | 0.00022079 | 5.5335e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_90-8_0_6_load_44 | 47 | 0.0014077 | 0.0003528 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_90-8_0_6_load_46 | 48 | 0.00011748 | 2.9443e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_90-8_0_6_load_43 | 49 | 0.00036822 | 9.2284e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_90-8_0_6_load_33 | 50 | 0.0002951 | 7.396e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_90-8_0_6_load_35 | 51 | 0.00014064 | 3.5248e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_90-8_0_6_load_42 | 52 | 0.00034703 | 8.6975e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_90-8_0_6_load_47 | 53 | 0.002127 | 0.00053308 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_90-8_0_6_load_48 | 54 | 3.5203e-05 | 8.8227e-06 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_90-8_0_6_load_50 | 56 | 0.00010058 | 2.5208e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_90-8_0_6_load_51 | 57 | 8.0571e-05 | 2.0193e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_90-8_0_6_load_52 | 58 | 0.00011372 | 2.85e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_90-8_0_6_load_64 | 59 | 7.1745e-05 | 1.7981e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_90-8_0_6_load_63 | 60 | 0.00011931 | 2.9903e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_90-8_0_6_load_53 | 61 | 0.00028916 | 7.2471e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_90-8_0_6_load_54 | 62 | 0.00011263 | 2.8229e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_90-8_0_6_load_58 | 63 | 3.7973e-05 | 9.5168e-06 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_90-8_0_6_load_59 | 64 | 0.00025871 | 6.4838e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_90-8_0_6_load_60 | 65 | 2.8576e-05 | 7.1618e-06 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_90-8_0_6_load_61 | 66 | 8.279e-05 | 2.0749e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_90-8_0_6_load_62 | 67 | 8.7087e-05 | 2.1826e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_90-8_0_6_line_0 |  | 0 | 1 | 0.033123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_90-8_0_6_line_1 |  | 0 | 2 | 0.036464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_90-8_0_6_line_2 |  | 1 | 3 | 0.013053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_90-8_0_6_line_3 |  | 2 | 4 | 0.036114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_90-8_0_6_line_4 |  | 2 | 5 | 0.045303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_90-8_0_6_line_5 |  | 3 | 9 | 0.014549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_90-8_0_6_line_6 |  | 4 | 10 | 0.031014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_90-8_0_6_line_7 |  | 5 | 11 | 0.088088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_90-8_0_6_line_8 |  | 6 | 7 | 0.017292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_90-8_0_6_line_9 |  | 6 | 8 | 0.12148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_90-8_0_6_line_10 |  | 7 | 35 | 0.0098816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_90-8_0_6_line_11 |  | 8 | 50 | 0.039541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_90-8_0_6_line_12 |  | 9 | 12 | 0.037579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_90-8_0_6_line_13 |  | 9 | 13 | 0.019629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_90-8_0_6_line_14 |  | 10 | 14 | 0.05966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_90-8_0_6_line_15 |  | 10 | 15 | 0.11409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_90-8_0_6_line_16 |  | 12 | 16 | 0.062582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_90-8_0_6_line_17 |  | 14 | 20 | 0.0043866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_90-8_0_6_line_18 |  | 15 | 23 | 0.11367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_90-8_0_6_line_19 |  | 16 | 17 | 0.058242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_90-8_0_6_line_20 |  | 16 | 18 | 0.032676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_90-8_0_6_line_21 |  | 16 | 19 | 0.054353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_90-8_0_6_line_22 |  | 19 | 31 | 0.045716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_90-8_0_6_line_23 |  | 20 | 24 | 0.010341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_90-8_0_6_line_24 |  | 21 | 22 | 0.024792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_90-8_0_6_line_25 |  | 21 | 23 | 0.048303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_90-8_0_6_line_26 |  | 22 | 51 | 0.19796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_90-8_0_6_line_27 |  | 24 | 25 | 0.021365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_90-8_0_6_line_28 |  | 25 | 26 | 0.081955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_90-8_0_6_line_29 |  | 27 | 28 | 0.026964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_90-8_0_6_line_30 |  | 27 | 29 | 0.04551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_90-8_0_6_line_31 |  | 29 | 30 | 0.023834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_90-8_0_6_line_32 |  | 30 | 31 | 0.038093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_90-8_0_6_line_33 |  | 32 | 33 | 0.017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_90-8_0_6_line_34 |  | 32 | 34 | 0.011462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_90-8_0_6_line_35 |  | 33 | 52 | 0.0010647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_90-8_0_6_line_36 |  | 34 | 35 | 0.0074868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_90-8_0_6_line_37 |  | 36 | 37 | 0.013006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_90-8_0_6_line_38 |  | 36 | 38 | 0.024539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_90-8_0_6_line_39 |  | 37 | 39 | 0.041349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_90-8_0_6_line_40 |  | 38 | 40 | 0.030227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_90-8_0_6_line_41 |  | 39 | 41 | 0.027608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_90-8_0_6_line_42 |  | 39 | 42 | 0.14077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_90-8_0_6_line_43 |  | 40 | 43 | 0.021819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_90-8_0_6_line_44 |  | 41 | 44 | 0.0058729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_90-8_0_6_line_45 |  | 42 | 45 | 0.0088049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_90-8_0_6_line_46 |  | 43 | 47 | 0.014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_90-8_0_6_line_47 |  | 44 | 48 | 0.019255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_90-8_0_6_line_48 |  | 45 | 46 | 0.012366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_90-8_0_6_line_49 |  | 46 | 62 | 0.0030245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_90-8_0_6_line_50 |  | 47 | 49 | 0.015051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_90-8_0_6_line_51 |  | 48 | 53 | 0.0036428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_90-8_0_6_line_52 |  | 49 | 52 | 0.025826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_90-8_0_6_line_53 |  | 50 | 51 | 0.020916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_90-8_0_6_line_54 |  | 53 | 54 | 0.0073534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_90-8_0_6_line_55 |  | 54 | 55 | 0.078849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_90-8_0_6_line_56 |  | 55 | 56 | 0.0065394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_90-8_0_6_line_57 |  | 56 | 57 | 0.029131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_90-8_0_6_line_58 |  | 57 | 58 | 0.0019629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_90-8_0_6_line_59 |  | 58 | 59 | 0.018179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_90-8_0_6_line_60 |  | 59 | 60 | 0.0072061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_90-8_0_6_line_61 |  | 60 | 67 | 0.013695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_90-8_0_6_line_62 |  | 61 | 62 | 0.028212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_90-8_0_6_line_63 |  | 63 | 64 | 0.014696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_90-8_0_6_line_64 |  | 64 | 65 | 0.0034007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_90-8_0_6_line_65 |  | 65 | 66 | 0.015355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_90-8_0_6_line_66 |  | 66 | 67 | 0.0089356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_90-8_0_6_trafo_1 | 0.63 MVA 20/0.4 kV | 68 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2679327.3042 | 1257130.003 | 2679306.0588 | 1257127.7752 | 2679294.353 | 1257126.6316
1 | 2679363.5693 | 1257133.8059 | 2679327.3042 | 1257130.003
2 | 2679281.3615 | 1257125.3624 | 2679294.353 | 1257126.6316
3 | 2679363.5693 | 1257133.8059 | 2679362.0426 | 1257169.8879
4 | 2679363.5693 | 1257133.8059 | 2679408.69 | 1257137.8644
5 | 2679266.8814 | 1257123.9477 | 2679281.3615 | 1257125.3624
6 | 2679360.7316 | 1257200.8741 | 2679362.0426 | 1257169.8879
7 | 2679408.69 | 1257137.8644 | 2679430.5513 | 1257139.8308 | 2679446.9079 | 1257142.0742 | 2679460.2169 | 1257144.9549 | 2679469.6734 | 1257147.7617 | 2679479.7506 | 1257152.6451 | 2679488.2415 | 1257157.7185 | 2679492.1317 | 1257160.9516
8 | 2678909.2771 | 1257478.9452 | 2678923.0312 | 1257489.4262
9 | 2678923.0312 | 1257489.4262 | 2679044.2555 | 1257481.6098
10 | 2678909.2771 | 1257478.9452 | 2678901.4175 | 1257472.9559
11 | 2679044.2555 | 1257481.6098 | 2679044.3053 | 1257481.2977 | 2679047.2191 | 1257468.6493 | 2679049.823 | 1257442.5338
12 | 2679266.8814 | 1257123.9477 | 2679270.8101 | 1257086.5749
13 | 2679266.8814 | 1257123.9477 | 2679247.3358 | 1257122.1415
14 | 2679360.7316 | 1257200.8741 | 2679420.098 | 1257206.7856
15 | 2679360.7316 | 1257200.8741 | 2679257.6841 | 1257249.8308
16 | 2679279.1778 | 1257024.5595 | 2679271.8422 | 1257076.7563 | 2679270.8101 | 1257086.5749
17 | 2679420.098 | 1257206.7856 | 2679420.098 | 1257206.7856 | 2679424.3287 | 1257207.9443
18 | 2679312.4549 | 1257349.4301 | 2679257.6841 | 1257249.8308
19 | 2679279.1778 | 1257024.5595 | 2679223.2894 | 1257008.1715
20 | 2679279.1778 | 1257024.5595 | 2679289.2021 | 1256993.4592
21 | 2679279.1778 | 1257024.5595 | 2679333.1757 | 1257030.7644
22 | 2679333.1757 | 1257030.7644 | 2679378.5932 | 1257035.9832
23 | 2679434.3026 | 1257210.6758 | 2679424.3287 | 1257207.9443
24 | 2679243.0427 | 1257372.3385 | 2679266.5932 | 1257364.5902
25 | 2679312.4549 | 1257349.4301 | 2679291.2675 | 1257356.4721 | 2679266.5932 | 1257364.5902
26 | 2679051.333 | 1257421.6737 | 2679243.0427 | 1257372.3385
27 | 2679434.3026 | 1257210.6758 | 2679443.3669 | 1257213.1581 | 2679454.0086 | 1257218.6308
28 | 2679454.0086 | 1257218.6308 | 2679450.0464 | 1257300.4896
29 | 2679431.9776 | 1257115.0678 | 2679435.0054 | 1257088.2746
30 | 2679440.1156 | 1257043.0527 | 2679435.0054 | 1257088.2746
31 | 2679440.1156 | 1257043.0527 | 2679416.4373 | 1257040.3318
32 | 2679416.4373 | 1257040.3318 | 2679378.5932 | 1257035.9832
33 | 2678886.2342 | 1257461.6198 | 2678881.9435 | 1257458.4485 | 2678872.0267 | 1257450.9489
34 | 2678895.4516 | 1257468.4327 | 2678886.2342 | 1257461.6198
35 | 2678872.0267 | 1257450.9489 | 2678871.1775 | 1257450.3067
36 | 2678895.4516 | 1257468.4327 | 2678896.452 | 1257469.1721 | 2678901.4175 | 1257472.9559
37 | 2678776.8032 | 1257359.6475 | 2678768.3715 | 1257349.7452
38 | 2678776.8032 | 1257359.6475 | 2678784.8707 | 1257369.1219 | 2678792.9536 | 1257378.1193
39 | 2678768.3715 | 1257349.7452 | 2678741.5642 | 1257318.2628
40 | 2678792.9536 | 1257378.1193 | 2678799.8136 | 1257385.7555 | 2678813.1804 | 1257400.5817
41 | 2678723.6013 | 1257297.2984 | 2678731.279 | 1257306.1838 | 2678741.5642 | 1257318.2628
42 | 2678741.5642 | 1257318.2628 | 2678632.3913 | 1257407.1384
43 | 2678813.1804 | 1257400.5817 | 2678827.7908 | 1257416.7873
44 | 2678719.7616 | 1257292.8546 | 2678723.6013 | 1257297.2984
45 | 2678632.3913 | 1257407.1384 | 2678623.591 | 1257406.8534
46 | 2678838.5736 | 1257425.65 | 2678829.7974 | 1257419.0131 | 2678827.7908 | 1257416.7873
47 | 2678719.7616 | 1257292.8546 | 2678713.0543 | 1257285.0922 | 2678707.3538 | 1257278.1327
48 | 2678611.2312 | 1257406.4533 | 2678623.591 | 1257406.8534
49 | 2678608.2397 | 1257406.8983 | 2678611.2312 | 1257406.4533 | 2678611.2312 | 1257406.4533
50 | 2678838.5736 | 1257425.65 | 2678850.5786 | 1257434.7288
51 | 2678705.0454 | 1257275.3145 | 2678707.3538 | 1257278.1327
52 | 2678850.5786 | 1257434.7288 | 2678871.1775 | 1257450.3067
53 | 2679049.823 | 1257442.5338 | 2679050.1709 | 1257439.0441 | 2679051.333 | 1257421.6737
54 | 2678705.0454 | 1257275.3145 | 2678703.3856 | 1257273.2881 | 2678701.48 | 1257268.9546
55 | 2678655.6561 | 1257227.5861 | 2678665.4453 | 1257221.2669 | 2678690.1041 | 1257229.7788 | 2678696.5939 | 1257246.4443 | 2678698.7524 | 1257262.7519 | 2678701.48 | 1257268.9546
56 | 2678655.6561 | 1257227.5861 | 2678649.6121 | 1257230.0829
57 | 2678649.6121 | 1257230.0829 | 2678622.6877 | 1257241.2054
58 | 2678620.8735 | 1257241.9548 | 2678622.6877 | 1257241.2054
59 | 2678604.072 | 1257248.8956 | 2678620.8735 | 1257241.9548
60 | 2678597.4118 | 1257251.6469 | 2678604.072 | 1257248.8956
61 | 2678584.7543 | 1257256.8757 | 2678597.4118 | 1257251.6469
62 | 2678580.3344 | 1257411.05 | 2678608.2397 | 1257406.8983
63 | 2678545.5661 | 1257273.0318 | 2678547.8478 | 1257272.1219 | 2678559.1605 | 1257267.4486
64 | 2678559.1605 | 1257267.4486 | 2678562.3036 | 1257266.1502
65 | 2678562.3036 | 1257266.1502 | 2678576.4956 | 1257260.2874
66 | 2678584.7543 | 1257256.8757 | 2678576.4956 | 1257260.2874

## bus_geodata
| x | y | coords
0 | 2679327.3042 | 1257130.003
1 | 2679294.353 | 1257126.6316
2 | 2679363.5693 | 1257133.8059
3 | 2679281.3615 | 1257125.3624
4 | 2679362.0426 | 1257169.8879
5 | 2679408.69 | 1257137.8644
6 | 2678923.0312 | 1257489.4262
7 | 2678909.2771 | 1257478.9452
8 | 2679044.2555 | 1257481.6098
9 | 2679266.8814 | 1257123.9477
10 | 2679360.7316 | 1257200.8741
11 | 2679492.1317 | 1257160.9516
12 | 2679270.8101 | 1257086.5749
13 | 2679247.3358 | 1257122.1415
14 | 2679420.098 | 1257206.7856
15 | 2679257.6841 | 1257249.8308
16 | 2679279.1778 | 1257024.5595
17 | 2679223.2894 | 1257008.1715
18 | 2679289.2021 | 1256993.4592
19 | 2679333.1757 | 1257030.7644
20 | 2679424.3287 | 1257207.9443
21 | 2679266.5932 | 1257364.5902
22 | 2679243.0427 | 1257372.3385
23 | 2679312.4549 | 1257349.4301
24 | 2679434.3026 | 1257210.6758
25 | 2679454.0086 | 1257218.6308
26 | 2679450.0464 | 1257300.4896
27 | 2679435.0054 | 1257088.2746
28 | 2679431.9776 | 1257115.0678
29 | 2679440.1156 | 1257043.0527
30 | 2679416.4373 | 1257040.3318
31 | 2679378.5932 | 1257035.9832
32 | 2678886.2342 | 1257461.6198
33 | 2678872.0267 | 1257450.9489
34 | 2678895.4516 | 1257468.4327
35 | 2678901.4175 | 1257472.9559
36 | 2678776.8032 | 1257359.6475
37 | 2678768.3715 | 1257349.7452
38 | 2678792.9536 | 1257378.1193
39 | 2678741.5642 | 1257318.2628
40 | 2678813.1804 | 1257400.5817
41 | 2678723.6013 | 1257297.2984
42 | 2678632.3913 | 1257407.1384
43 | 2678827.7908 | 1257416.7873
44 | 2678719.7616 | 1257292.8546
45 | 2678623.591 | 1257406.8534
46 | 2678611.2312 | 1257406.4533
47 | 2678838.5736 | 1257425.65
48 | 2678707.3538 | 1257278.1327
49 | 2678850.5786 | 1257434.7288
50 | 2679049.823 | 1257442.5338
51 | 2679051.333 | 1257421.6737
52 | 2678871.1775 | 1257450.3067
53 | 2678705.0454 | 1257275.3145
54 | 2678701.48 | 1257268.9546
55 | 2678655.6561 | 1257227.5861
56 | 2678649.6121 | 1257230.0829
57 | 2678622.6877 | 1257241.2054
58 | 2678620.8735 | 1257241.9548
59 | 2678604.072 | 1257248.8956
60 | 2678597.4118 | 1257251.6469
61 | 2678580.3344 | 1257411.05
62 | 2678608.2397 | 1257406.8983
63 | 2678545.5661 | 1257273.0318
64 | 2678559.1605 | 1257267.4486
65 | 2678562.3036 | 1257266.1502
66 | 2678576.4956 | 1257260.2874
67 | 2678584.7543 | 1257256.8757
68 | 2679266.8814 | 1257123.9477

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1