## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_92-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_92-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_92-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_92-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_92-2_0_4_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_92-2_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_92-2_0_4_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_92-2_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_92-2_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_92-2_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_92-2_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_92-2_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_92-2_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_92-2_0_4_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_92-2_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_92-2_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_92-2_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_92-2_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_92-2_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_92-2_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_92-2_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_92-2_0_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_92-2_0_4_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_92-2_0_4_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_92-2_0_4_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_92-2_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_92-2_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_92-2_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_92-2_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_92-2_0_4_node_100 | 0.4 | n |  | TRUE
30 | bus_LV_92-2_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_92-2_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_92-2_0_4_node_80 | 0.4 | n |  | TRUE
33 | bus_LV_92-2_0_4_node_104 | 0.4 | n |  | TRUE
34 | bus_LV_92-2_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_92-2_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_92-2_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_92-2_0_4_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_92-2_0_4_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_92-2_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_92-2_0_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_92-2_0_4_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_92-2_0_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_92-2_0_4_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_92-2_0_4_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_92-2_0_4_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_92-2_0_4_node_103 | 0.4 | n |  | TRUE
47 | bus_LV_92-2_0_4_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_92-2_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_92-2_0_4_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_92-2_0_4_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_92-2_0_4_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_92-2_0_4_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_92-2_0_4_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_92-2_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_92-2_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_92-2_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_92-2_0_4_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_92-2_0_4_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_92-2_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_92-2_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_92-2_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_92-2_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_92-2_0_4_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_92-2_0_4_node_96 | 0.4 | n |  | TRUE
65 | bus_LV_92-2_0_4_node_108 | 0.4 | n |  | TRUE
66 | bus_LV_92-2_0_4_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_92-2_0_4_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_92-2_0_4_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_92-2_0_4_node_109 | 0.4 | n |  | TRUE
70 | bus_LV_92-2_0_4_node_110 | 0.4 | n |  | TRUE
71 | bus_LV_92-2_0_4_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_92-2_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_92-2_0_4_node_89 | 0.4 | n |  | TRUE
74 | bus_LV_92-2_0_4_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_92-2_0_4_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_92-2_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_92-2_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_92-2_0_4_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_92-2_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_92-2_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_92-2_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_92-2_0_4_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_92-2_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_92-2_0_4_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_92-2_0_4_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_92-2_0_4_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_92-2_0_4_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_92-2_0_4_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_92-2_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_92-2_0_4_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_92-2_0_4_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_92-2_0_4_node_75 | 0.4 | n |  | TRUE
93 | bus_LV_92-2_0_4_node_77 | 0.4 | n |  | TRUE
94 | bus_LV_92-2_0_4_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_92-2_0_4_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_92-2_0_4_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_92-2_0_4_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_92-2_0_4_node_106 | 0.4 | n |  | TRUE
99 | bus_LV_92-2_0_4_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_92-2_0_4_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_92-2_0_4_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_92-2_0_4_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_92-2_0_4_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_92-2_0_4_node_98 | 0.4 | n |  | TRUE
105 | bus_LV_92-2_0_4_node_107 | 0.4 | n |  | TRUE
106 | bus_MV_468_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_92-2_0_4_load_0 | 0 | 0.00358 | 0.00089722 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_92-2_0_4_load_1 | 1 | 0.0025787 | 0.00064629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_92-2_0_4_load_2 | 2 | 0.0085965 | 0.0021545 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_92-2_0_4_load_22 | 4 | 0.0037848 | 0.00094855 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_92-2_0_4_load_23 | 5 | 0.0018625 | 0.0004668 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_92-2_0_4_load_56 | 6 | 0.0017111 | 0.00042885 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_92-2_0_4_load_4 | 7 | 0.0090376 | 0.002265 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_92-2_0_4_load_11 | 9 | 0.008587 | 0.0021521 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_92-2_0_4_load_20 | 12 | 0.0063388 | 0.0015886 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_92-2_0_4_load_37 | 13 | 0.0075834 | 0.0019006 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_92-2_0_4_load_12 | 16 | 0.0055213 | 0.0013838 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_92-2_0_4_load_33 | 17 | 0.020026 | 0.0050191 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_92-2_0_4_load_18 | 18 | 0.0059076 | 0.0014806 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_92-2_0_4_load_36 | 21 | 0.0025542 | 0.00064015 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_92-2_0_4_load_46 | 24 | 0.010333 | 0.0025896 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_92-2_0_4_load_38 | 25 | 0.0084096 | 0.0021076 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_92-2_0_4_load_32 | 28 | 0.013031 | 0.0032659 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_92-2_0_4_load_100 | 29 | 0.0028654 | 0.00071814 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_92-2_0_4_load_104 | 33 | 0.0046675 | 0.0011698 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_92-2_0_4_load_51 | 34 | 0.016146 | 0.0040465 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_92-2_0_4_load_49 | 35 | 0.0061451 | 0.0015401 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_92-2_0_4_load_21 | 36 | 0.0049166 | 0.0012322 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_92-2_0_4_load_102 | 38 | 0.00050842 | 0.00012742 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_92-2_0_4_load_88 | 41 | 0.00088298 | 0.0002213 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_92-2_0_4_load_48 | 42 | 0.015477 | 0.003879 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_92-2_0_4_load_99 | 44 | 0.0070307 | 0.0017621 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_92-2_0_4_load_103 | 46 | 0.0099244 | 0.0024873 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_92-2_0_4_load_19 | 47 | 0.0084369 | 0.0021145 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_92-2_0_4_load_57 | 48 | 0.0011445 | 0.00028684 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_92-2_0_4_load_24 | 49 | 0.0026739 | 0.00067015 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_92-2_0_4_load_25 | 50 | 0.0044225 | 0.0011084 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_92-2_0_4_load_28 | 52 | 0.003186 | 0.00079848 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_92-2_0_4_load_29 | 53 | 0.0026559 | 0.00066562 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_92-2_0_4_load_59 | 54 | 0.00096921 | 0.00024291 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_92-2_0_4_load_60 | 55 | 0.0016195 | 0.00040589 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_92-2_0_4_load_30 | 56 | 0.0040182 | 0.001007 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_92-2_0_4_load_31 | 57 | 0.00087717 | 0.00021984 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_92-2_0_4_load_72 | 58 | 0.0015508 | 0.00038866 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_92-2_0_4_load_34 | 60 | 0.010869 | 0.002724 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_92-2_0_4_load_35 | 61 | 0.0042714 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_92-2_0_4_load_39 | 62 | 0.0018285 | 0.00045827 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_92-2_0_4_load_93 | 63 | 0.0012269 | 0.00030748 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_92-2_0_4_load_96 | 64 | 0.0056335 | 0.0014119 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_92-2_0_4_load_108 | 65 | 0.0095291 | 0.0023882 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_92-2_0_4_load_42 | 67 | 0.0035684 | 0.00089433 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_92-2_0_4_load_109 | 69 | 0.014015 | 0.0035125 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_92-2_0_4_load_110 | 70 | 0.019704 | 0.0049383 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_92-2_0_4_load_54 | 71 | 0.0069303 | 0.0017369 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_92-2_0_4_load_89 | 73 | 0.0010977 | 0.00027511 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_92-2_0_4_load_87 | 74 | 0.0017103 | 0.00042864 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_92-2_0_4_load_90 | 75 | 0.0030835 | 0.00077279 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_92-2_0_4_load_58 | 76 | 0.0017738 | 0.00044456 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_92-2_0_4_load_62 | 77 | 0.0017814 | 0.00044646 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_92-2_0_4_load_61 | 79 | 0.00064749 | 0.00016228 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_92-2_0_4_load_69 | 81 | 0.00134 | 0.00033583 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_92-2_0_4_load_65 | 82 | 0.0018153 | 0.00045495 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_92-2_0_4_load_73 | 83 | 0.0026078 | 0.00065358 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_92-2_0_4_load_74 | 84 | 0.0014641 | 0.00036694 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_92-2_0_4_load_66 | 86 | 0.0031906 | 0.00079963 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_92-2_0_4_load_67 | 87 | 0.0019808 | 0.00049644 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_92-2_0_4_load_86 | 89 | 0.0017054 | 0.00042741 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_92-2_0_4_load_83 | 90 | 0.0011213 | 0.00028102 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_92-2_0_4_load_84 | 91 | 0.0014278 | 0.00035783 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_92-2_0_4_load_75 | 92 | 0.0010761 | 0.00026971 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_92-2_0_4_load_76 | 94 | 0.0020366 | 0.00051042 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_92-2_0_4_load_78 | 95 | 0.00093343 | 0.00023394 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_92-2_0_4_load_85 | 96 | 0.0010432 | 0.00026145 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_92-2_0_4_load_105 | 97 | 0.0010963 | 0.00027476 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_92-2_0_4_load_106 | 98 | 0.0021699 | 0.00054383 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_92-2_0_4_load_91 | 99 | 0.0032513 | 0.00081486 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_92-2_0_4_load_95 | 103 | 0.0028119 | 0.00070473 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_92-2_0_4_load_98 | 104 | 0.0039702 | 0.00099503 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_92-2_0_4_load_107 | 105 | 0.0012767 | 0.00031997 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_92-2_0_4_line_0 |  | 0 | 1 | 0.028732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_92-2_0_4_line_1 |  | 0 | 2 | 0.013673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_92-2_0_4_line_2 |  | 1 | 3 | 0.059018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_92-2_0_4_line_3 |  | 3 | 4 | 0.01759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_92-2_0_4_line_4 |  | 3 | 5 | 0.018047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_92-2_0_4_line_5 |  | 5 | 6 | 0.040531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_92-2_0_4_line_6 |  | 6 | 48 | 0.026947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_92-2_0_4_line_7 |  | 7 | 8 | 0.060017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_92-2_0_4_line_8 |  | 8 | 9 | 0.025172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_92-2_0_4_line_9 |  | 9 | 16 | 0.0080138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_92-2_0_4_line_10 |  | 10 | 11 | 0.03165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_92-2_0_4_line_11 |  | 10 | 12 | 0.018123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_92-2_0_4_line_12 |  | 11 | 13 | 0.11144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_92-2_0_4_line_13 |  | 12 | 18 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_92-2_0_4_line_14 |  | 13 | 25 | 0.039179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_92-2_0_4_line_15 |  | 14 | 15 | 0.03098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_92-2_0_4_line_16 |  | 14 | 16 | 0.069827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_92-2_0_4_line_17 |  | 15 | 17 | 0.016467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_92-2_0_4_line_18 |  | 17 | 26 | 0.037818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_92-2_0_4_line_19 |  | 18 | 47 | 0.015661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_92-2_0_4_line_20 |  | 19 | 20 | 0.001886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_92-2_0_4_line_21 |  | 19 | 21 | 0.010054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_92-2_0_4_line_22 |  | 20 | 42 | 0.015524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_92-2_0_4_line_23 |  | 20 | 24 | 0.017613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_92-2_0_4_line_24 |  | 21 | 61 | 0.014249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_92-2_0_4_line_25 |  | 22 | 23 | 0.010503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_92-2_0_4_line_26 |  | 22 | 24 | 0.017696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_92-2_0_4_line_27 |  | 23 | 65 | 0.012103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_92-2_0_4_line_28 |  | 23 | 66 | 0.018167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_92-2_0_4_line_29 |  | 25 | 62 | 0.028362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_92-2_0_4_line_30 |  | 26 | 27 | 0.11429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_92-2_0_4_line_31 |  | 26 | 28 | 0.030296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_92-2_0_4_line_32 |  | 27 | 29 | 0.057125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_92-2_0_4_line_33 |  | 28 | 36 | 0.016569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_92-2_0_4_line_34 |  | 29 | 37 | 0.0090564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_92-2_0_4_line_35 |  | 30 | 31 | 0.11104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_92-2_0_4_line_36 |  | 30 | 32 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_92-2_0_4_line_37 |  | 30 | 33 | 0.013434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_92-2_0_4_line_38 |  | 31 | 34 | 0.050429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_92-2_0_4_line_39 |  | 31 | 35 | 0.030504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_92-2_0_4_line_40 |  | 32 | 44 | 0.01357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_92-2_0_4_line_41 |  | 32 | 45 | 0.009279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_92-2_0_4_line_42 |  | 33 | 46 | 0.0081605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_92-2_0_4_line_43 |  | 35 | 43 | 0.011179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_92-2_0_4_line_44 |  | 36 | 47 | 0.011133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_92-2_0_4_line_45 |  | 37 | 38 | 0.074631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_92-2_0_4_line_46 |  | 39 | 40 | 0.025882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_92-2_0_4_line_47 |  | 39 | 41 | 0.036105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_92-2_0_4_line_48 |  | 40 | 42 | 0.03365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_92-2_0_4_line_49 |  | 40 | 43 | 0.006622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_92-2_0_4_line_50 |  | 41 | 74 | 0.024353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_92-2_0_4_line_51 |  | 43 | 71 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_92-2_0_4_line_52 |  | 45 | 93 | 0.026819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_92-2_0_4_line_53 |  | 48 | 76 | 0.024335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_92-2_0_4_line_54 |  | 49 | 50 | 0.048725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_92-2_0_4_line_55 |  | 50 | 51 | 0.010707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_92-2_0_4_line_56 |  | 51 | 52 | 0.037139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_92-2_0_4_line_57 |  | 52 | 53 | 0.022406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_92-2_0_4_line_58 |  | 53 | 56 | 0.027839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_92-2_0_4_line_59 |  | 54 | 55 | 0.021712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_92-2_0_4_line_60 |  | 55 | 79 | 0.011574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_92-2_0_4_line_61 |  | 56 | 57 | 0.02118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_92-2_0_4_line_62 |  | 57 | 58 | 0.013917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_92-2_0_4_line_63 |  | 58 | 59 | 0.027261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_92-2_0_4_line_64 |  | 59 | 83 | 0.026729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_92-2_0_4_line_65 |  | 59 | 84 | 0.014133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_92-2_0_4_line_66 |  | 59 | 80 | 0.032194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_92-2_0_4_line_67 |  | 60 | 61 | 0.061429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_92-2_0_4_line_68 |  | 62 | 63 | 0.0058046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_92-2_0_4_line_69 |  | 63 | 64 | 0.0052223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_92-2_0_4_line_70 |  | 64 | 103 | 0.035324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_92-2_0_4_line_71 |  | 66 | 68 | 0.029564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_92-2_0_4_line_72 |  | 66 | 67 | 0.013589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_92-2_0_4_line_73 |  | 68 | 69 | 0.018195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_92-2_0_4_line_74 |  | 68 | 70 | 0.019779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_92-2_0_4_line_75 |  | 72 | 73 | 0.011762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_92-2_0_4_line_76 |  | 72 | 74 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_92-2_0_4_line_77 |  | 73 | 75 | 0.02527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_92-2_0_4_line_78 |  | 75 | 99 | 0.024531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_92-2_0_4_line_79 |  | 76 | 77 | 0.033041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_92-2_0_4_line_80 |  | 77 | 78 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_92-2_0_4_line_81 |  | 78 | 82 | 0.035442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_92-2_0_4_line_82 |  | 79 | 80 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_92-2_0_4_line_83 |  | 80 | 81 | 0.0090984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_92-2_0_4_line_84 |  | 81 | 85 | 0.017732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_92-2_0_4_line_85 |  | 82 | 86 | 0.015808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_92-2_0_4_line_86 |  | 83 | 92 | 0.031119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_92-2_0_4_line_87 |  | 84 | 93 | 0.018023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_92-2_0_4_line_88 |  | 85 | 88 | 0.04001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_92-2_0_4_line_89 |  | 85 | 87 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_92-2_0_4_line_90 |  | 86 | 87 | 0.0050304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_92-2_0_4_line_91 |  | 88 | 89 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_92-2_0_4_line_92 |  | 88 | 90 | 0.019167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_92-2_0_4_line_93 |  | 90 | 91 | 0.0023793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_92-2_0_4_line_94 |  | 91 | 96 | 0.019604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_92-2_0_4_line_95 |  | 92 | 94 | 0.0031932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_92-2_0_4_line_96 |  | 93 | 95 | 0.030869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_92-2_0_4_line_97 |  | 96 | 97 | 0.016624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_92-2_0_4_line_98 |  | 97 | 98 | 0.00082861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_92-2_0_4_line_99 |  | 98 | 105 | 0.0078614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_92-2_0_4_line_100 |  | 99 | 100 | 0.022475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_92-2_0_4_line_101 |  | 100 | 101 | 0.0174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_92-2_0_4_line_102 |  | 101 | 102 | 0.031034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_92-2_0_4_line_103 |  | 101 | 103 | 0.018965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_92-2_0_4_line_104 |  | 102 | 104 | 0.021515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_92-2_0_4_trafo_110 | 0.63 MVA 20/0.4 kV | 106 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2680553.1279 | 1258406.2679 | 2680565.4433 | 1258380.3085
1 | 2680547.2671 | 1258418.6217 | 2680553.1279 | 1258406.2679
2 | 2680590.7666 | 1258326.9994 | 2680586.8553 | 1258335.1746 | 2680565.4433 | 1258380.3085
3 | 2680590.7666 | 1258326.9994 | 2680575.1966 | 1258318.8145
4 | 2680590.7666 | 1258326.9994 | 2680598.3644 | 1258310.6292
5 | 2680598.3644 | 1258310.6292 | 2680615.4276 | 1258273.8644
6 | 2680615.4276 | 1258273.8644 | 2680626.7718 | 1258249.4219
7 | 2680755.6318 | 1258593.9941 | 2680728.5457 | 1258647.5519
8 | 2680755.6318 | 1258593.9941 | 2680734.6991 | 1258580.0142
9 | 2680734.6991 | 1258580.0142 | 2680728.0349 | 1258575.5634
10 | 2680796.177 | 1258527.8302 | 2680803.5788 | 1258536.2488 | 2680814.3785 | 1258518.8941
11 | 2680796.177 | 1258527.8302 | 2680782.0231 | 1258516.5117
12 | 2680814.3785 | 1258518.8941 | 2680819.947 | 1258518.0139 | 2680917.0667 | 1258530.3278 | 2680924.864 | 1258531.6584
13 | 2680774.1538 | 1258510.2188 | 2680782.0231 | 1258516.5117
14 | 2680924.864 | 1258531.6584 | 2680963.4844 | 1258538.2487
15 | 2680682.2482 | 1258508.6062 | 2680677.307 | 1258524.2952 | 2680674.997 | 1258529.4899 | 2680669.9668 | 1258536.7825
16 | 2680669.9668 | 1258536.7825 | 2680728.0349 | 1258575.5634
17 | 2680682.2482 | 1258508.6062 | 2680692.1954 | 1258495.4837
18 | 2680715.4868 | 1258465.6932 | 2680701.7952 | 1258482.8196 | 2680692.1954 | 1258495.4837
19 | 2680774.1538 | 1258510.2188 | 2680761.923 | 1258500.4382
20 | 2680877.8323 | 1258428.8364 | 2680878.9836 | 1258427.3399
21 | 2680877.8323 | 1258428.8364 | 2680875.3843 | 1258438.5882
22 | 2680878.9836 | 1258427.3399 | 2680888.4628 | 1258415.0466
23 | 2680878.9836 | 1258427.3399 | 2680862.9254 | 1258420.1039
24 | 2680875.3843 | 1258438.5882 | 2680875.3843 | 1258438.5882 | 2680866.3979 | 1258449.6461
25 | 2680854.6586 | 1258433.6013 | 2680844.9195 | 1258429.5986
26 | 2680854.6586 | 1258433.6013 | 2680859.6842 | 1258420.0485 | 2680862.9254 | 1258420.1039
27 | 2680844.9195 | 1258429.5986 | 2680844.5418 | 1258424.6897 | 2680846.2797 | 1258423.8572 | 2680848.4884 | 1258419.0921
28 | 2680827.3227 | 1258429.0245 | 2680829.5927 | 1258430.0785 | 2680835.3046 | 1258430.3011 | 2680839.7423 | 1258428.8717 | 2680843.6675 | 1258429.0811 | 2680844.9195 | 1258429.5986
29 | 2680963.4844 | 1258538.2487 | 2680991.4426 | 1258543.0196
30 | 2680715.4868 | 1258465.6932 | 2680726.1801 | 1258455.5758 | 2680743.8517 | 1258438.5149 | 2680752.8515 | 1258430.9541 | 2680747.1041 | 1258425.049 | 2680741.7221 | 1258418.882 | 2680741.1004 | 1258406.4307 | 2680747.9951 | 1258400.6425 | 2680746.5121 | 1258396.6081 | 2680746.8277 | 1258391.1638 | 2680749.0311 | 1258387.7135 | 2680751.9907 | 1258384.6515 | 2680756.8182 | 1258382.2822 | 2680758.6053 | 1258381.7173
31 | 2680715.4868 | 1258465.6932 | 2680739.7702 | 1258483.8077
32 | 2680758.6053 | 1258381.7173 | 2680785.7083 | 1258335.4629 | 2680789.2148 | 1258335.7036
33 | 2680739.7702 | 1258483.8077 | 2680753.0507 | 1258493.7145
34 | 2680798.25 | 1258336.3236 | 2680789.2148 | 1258335.7036
35 | 2680806.2298 | 1258276.4981 | 2680815.8799 | 1258282.6233 | 2680847.6282 | 1258302.572 | 2680853.5941 | 1258331.1086 | 2680854.7061 | 1258338.5628 | 2680873.9538 | 1258355.1717
36 | 2680792.9394 | 1258268.0658 | 2680806.2298 | 1258276.4981
37 | 2680806.2298 | 1258276.4981 | 2680799.8618 | 1258288.327
38 | 2680873.9538 | 1258355.1717 | 2680855.1033 | 1258375.6965 | 2680834.0635 | 1258367.5528
39 | 2680873.9538 | 1258355.1717 | 2680881.681 | 1258361.849 | 2680896.2371 | 1258375.986
40 | 2680792.9394 | 1258268.0658 | 2680786.273 | 1258279.885
41 | 2680784.8517 | 1258263.4741 | 2680792.9394 | 1258268.0658
42 | 2680795.9936 | 1258295.5123 | 2680799.8618 | 1258288.327
43 | 2680904.2562 | 1258383.7742 | 2680896.2371 | 1258375.986
44 | 2680753.0507 | 1258493.7145 | 2680759.9613 | 1258498.8695 | 2680761.923 | 1258500.4382
45 | 2680798.25 | 1258336.3236 | 2680823.3853 | 1258292.8558 | 2680833.9774 | 1258270.8532
46 | 2680909.0108 | 1258388.3983 | 2680915.4046 | 1258394.4347 | 2680927.8276 | 1258406.1691
47 | 2680927.8276 | 1258406.1691 | 2680954.0706 | 1258430.9651
48 | 2680909.0108 | 1258388.3983 | 2680888.4628 | 1258415.0466
49 | 2680909.0108 | 1258388.3983 | 2680904.2562 | 1258383.7742
50 | 2680971.9081 | 1258447.5436 | 2680964.7982 | 1258441.1012 | 2680954.0706 | 1258430.9651
51 | 2680904.2562 | 1258383.7742 | 2680914.5567 | 1258373.1059
52 | 2680784.8517 | 1258263.4741 | 2680773.8979 | 1258282.15 | 2680772.2622 | 1258283.7734 | 2680769.3858 | 1258283.5006
53 | 2680626.7718 | 1258249.4219 | 2680637.0164 | 1258227.3487
54 | 2680641.4697 | 1258446.2289 | 2680662.8387 | 1258402.4401
55 | 2680667.5346 | 1258392.8174 | 2680662.8387 | 1258402.4401
56 | 2680667.5346 | 1258392.8174 | 2680677.2307 | 1258383.3979 | 2680688.8654 | 1258362.8412
57 | 2680688.8654 | 1258362.8412 | 2680699.9018 | 1258343.3417
58 | 2680699.9018 | 1258343.3417 | 2680713.6143 | 1258319.114
59 | 2680703.1184 | 1258290.6556 | 2680710.2397 | 1258272.2631 | 2680710.9072 | 1258270.3894
60 | 2680710.9072 | 1258270.3894 | 2680714.7913 | 1258259.4866
61 | 2680713.6143 | 1258319.114 | 2680724.0467 | 1258300.6815
62 | 2680730.902 | 1258288.5694 | 2680724.0467 | 1258300.6815
63 | 2680744.3298 | 1258264.8446 | 2680730.902 | 1258288.5694
64 | 2680744.3298 | 1258264.8446 | 2680757.7181 | 1258241.7102
65 | 2680744.3298 | 1258264.8446 | 2680748.2414 | 1258270.48 | 2680754.1208 | 1258274.761
66 | 2680744.3298 | 1258264.8446 | 2680739.8777 | 1258260.6918 | 2680723.9382 | 1258245.8187 | 2680720.6982 | 1258242.9056
67 | 2680867.8312 | 1258491.1818 | 2680850.1364 | 1258482.588 | 2680846.4596 | 1258479.6467 | 2680846.028 | 1258475.9268 | 2680848.376 | 1258471.8224 | 2680866.3979 | 1258449.6461
68 | 2680997.1645 | 1258543.996 | 2680991.4426 | 1258543.0196
69 | 2681002.3124 | 1258544.8745 | 2680997.1645 | 1258543.996
70 | 2681036.3434 | 1258541.6906 | 2681033.1268 | 1258543.5922 | 2681023.7344 | 1258546.7771 | 2681017.2417 | 1258547.4221 | 2681002.3124 | 1258544.8745
71 | 2680827.3227 | 1258429.0245 | 2680826.1753 | 1258425.2615 | 2680814.9057 | 1258419.6034 | 2680803.3484 | 1258413.4742
72 | 2680827.3227 | 1258429.0245 | 2680814.9913 | 1258423.3158
73 | 2680813.1334 | 1258398.1183 | 2680803.3484 | 1258413.4742
74 | 2680791.9677 | 1258427.5408 | 2680801.5968 | 1258412.5496 | 2680803.3484 | 1258413.4742
75 | 2680983.4383 | 1258457.9913 | 2680991.8426 | 1258466.2199
76 | 2680983.4383 | 1258457.9913 | 2680971.9081 | 1258447.5436
77 | 2680991.8426 | 1258466.2199 | 2681009.8987 | 1258483.8985
78 | 2681009.8987 | 1258483.8985 | 2681017.7278 | 1258491.5639 | 2681026.5977 | 1258501.8388
79 | 2680637.0164 | 1258227.3487 | 2680650.926 | 1258197.3786
80 | 2680659.8303 | 1258178.1934 | 2680650.926 | 1258197.3786
81 | 2680659.8303 | 1258178.1934 | 2680690.387 | 1258196.1492
82 | 2680720.6982 | 1258242.9056 | 2680714.7913 | 1258259.4866
83 | 2680720.6982 | 1258242.9056 | 2680722.1044 | 1258233.9166
84 | 2680724.8449 | 1258216.3975 | 2680722.1044 | 1258233.9166
85 | 2680704.0163 | 1258204.1581 | 2680690.387 | 1258196.1492
86 | 2680757.7181 | 1258241.7102 | 2680773.3052 | 1258214.7765
87 | 2680769.3858 | 1258283.5006 | 2680765.7031 | 1258283.1946 | 2680754.1208 | 1258274.761
88 | 2680724.8449 | 1258216.3975 | 2680745.4596 | 1258182.0747
89 | 2680724.8449 | 1258216.3975 | 2680708.3533 | 1258206.7067
90 | 2680704.0163 | 1258204.1581 | 2680708.3533 | 1258206.7067
91 | 2680745.4596 | 1258182.0747 | 2680754.0358 | 1258167.8032
92 | 2680745.4596 | 1258182.0747 | 2680728.2714 | 1258173.5922
93 | 2680728.2714 | 1258173.5922 | 2680726.1378 | 1258172.5392
94 | 2680726.1378 | 1258172.5392 | 2680714.4087 | 1258166.7507 | 2680717.3144 | 1258160.9092
95 | 2680774.9046 | 1258212.0127 | 2680773.3052 | 1258214.7765
96 | 2680769.3858 | 1258283.5006 | 2680784.5752 | 1258256.6277
97 | 2680717.3144 | 1258160.9092 | 2680724.7178 | 1258146.0252
98 | 2680725.0868 | 1258145.2833 | 2680724.7178 | 1258146.0252
99 | 2680728.588 | 1258138.2446 | 2680725.0868 | 1258145.2833
100 | 2681041.2841 | 1258518.8516 | 2681026.5977 | 1258501.8388
101 | 2681052.6688 | 1258532.0398 | 2681041.2841 | 1258518.8516
102 | 2681052.6688 | 1258532.0398 | 2681071.5865 | 1258556.6843
103 | 2681052.6688 | 1258532.0398 | 2681036.3434 | 1258541.6906
104 | 2681071.5865 | 1258556.6843 | 2681053.8295 | 1258568.8321

## bus_geodata
| x | y | coords
0 | 2680553.1279 | 1258406.2679
1 | 2680565.4433 | 1258380.3085
2 | 2680547.2671 | 1258418.6217
3 | 2680590.7666 | 1258326.9994
4 | 2680575.1966 | 1258318.8145
5 | 2680598.3644 | 1258310.6292
6 | 2680615.4276 | 1258273.8644
7 | 2680728.5457 | 1258647.5519
8 | 2680755.6318 | 1258593.9941
9 | 2680734.6991 | 1258580.0142
10 | 2680796.177 | 1258527.8302
11 | 2680814.3785 | 1258518.8941
12 | 2680782.0231 | 1258516.5117
13 | 2680924.864 | 1258531.6584
14 | 2680669.9668 | 1258536.7825
15 | 2680682.2482 | 1258508.6062
16 | 2680728.0349 | 1258575.5634
17 | 2680692.1954 | 1258495.4837
18 | 2680774.1538 | 1258510.2188
19 | 2680877.8323 | 1258428.8364
20 | 2680878.9836 | 1258427.3399
21 | 2680875.3843 | 1258438.5882
22 | 2680854.6586 | 1258433.6013
23 | 2680844.9195 | 1258429.5986
24 | 2680862.9254 | 1258420.1039
25 | 2680963.4844 | 1258538.2487
26 | 2680715.4868 | 1258465.6932
27 | 2680758.6053 | 1258381.7173
28 | 2680739.7702 | 1258483.8077
29 | 2680789.2148 | 1258335.7036
30 | 2680806.2298 | 1258276.4981
31 | 2680873.9538 | 1258355.1717
32 | 2680792.9394 | 1258268.0658
33 | 2680799.8618 | 1258288.327
34 | 2680834.0635 | 1258367.5528
35 | 2680896.2371 | 1258375.986
36 | 2680753.0507 | 1258493.7145
37 | 2680798.25 | 1258336.3236
38 | 2680833.9774 | 1258270.8532
39 | 2680927.8276 | 1258406.1691
40 | 2680909.0108 | 1258388.3983
41 | 2680954.0706 | 1258430.9651
42 | 2680888.4628 | 1258415.0466
43 | 2680904.2562 | 1258383.7742
44 | 2680786.273 | 1258279.885
45 | 2680784.8517 | 1258263.4741
46 | 2680795.9936 | 1258295.5123
47 | 2680761.923 | 1258500.4382
48 | 2680626.7718 | 1258249.4219
49 | 2680641.4697 | 1258446.2289
50 | 2680662.8387 | 1258402.4401
51 | 2680667.5346 | 1258392.8174
52 | 2680688.8654 | 1258362.8412
53 | 2680699.9018 | 1258343.3417
54 | 2680703.1184 | 1258290.6556
55 | 2680710.9072 | 1258270.3894
56 | 2680713.6143 | 1258319.114
57 | 2680724.0467 | 1258300.6815
58 | 2680730.902 | 1258288.5694
59 | 2680744.3298 | 1258264.8446
60 | 2680867.8312 | 1258491.1818
61 | 2680866.3979 | 1258449.6461
62 | 2680991.4426 | 1258543.0196
63 | 2680997.1645 | 1258543.996
64 | 2681002.3124 | 1258544.8745
65 | 2680848.4884 | 1258419.0921
66 | 2680827.3227 | 1258429.0245
67 | 2680814.9913 | 1258423.3158
68 | 2680803.3484 | 1258413.4742
69 | 2680813.1334 | 1258398.1183
70 | 2680791.9677 | 1258427.5408
71 | 2680914.5567 | 1258373.1059
72 | 2680983.4383 | 1258457.9913
73 | 2680991.8426 | 1258466.2199
74 | 2680971.9081 | 1258447.5436
75 | 2681009.8987 | 1258483.8985
76 | 2680637.0164 | 1258227.3487
77 | 2680650.926 | 1258197.3786
78 | 2680659.8303 | 1258178.1934
79 | 2680714.7913 | 1258259.4866
80 | 2680720.6982 | 1258242.9056
81 | 2680722.1044 | 1258233.9166
82 | 2680690.387 | 1258196.1492
83 | 2680757.7181 | 1258241.7102
84 | 2680754.1208 | 1258274.761
85 | 2680724.8449 | 1258216.3975
86 | 2680704.0163 | 1258204.1581
87 | 2680708.3533 | 1258206.7067
88 | 2680745.4596 | 1258182.0747
89 | 2680754.0358 | 1258167.8032
90 | 2680728.2714 | 1258173.5922
91 | 2680726.1378 | 1258172.5392
92 | 2680773.3052 | 1258214.7765
93 | 2680769.3858 | 1258283.5006
94 | 2680774.9046 | 1258212.0127
95 | 2680784.5752 | 1258256.6277
96 | 2680717.3143 | 1258160.9092
97 | 2680724.7178 | 1258146.0252
98 | 2680725.0868 | 1258145.2833
99 | 2681026.5977 | 1258501.8388
100 | 2681041.2841 | 1258518.8516
101 | 2681052.6688 | 1258532.0398
102 | 2681071.5865 | 1258556.6843
103 | 2681036.3434 | 1258541.6906
104 | 2681053.8295 | 1258568.8321
105 | 2680728.588 | 1258138.2446
106 | 2680803.3484 | 1258413.4742

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1