## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_92-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_92-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_92-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_92-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_92-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_92-9_0_4_node_99 | 0.4 | n |  | TRUE
6 | bus_LV_92-9_0_4_node_78 | 0.4 | n |  | TRUE
7 | bus_LV_92-9_0_4_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_92-9_0_4_node_100 | 0.4 | n |  | TRUE
9 | bus_LV_92-9_0_4_node_79 | 0.4 | n |  | TRUE
10 | bus_LV_92-9_0_4_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_92-9_0_4_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_92-9_0_4_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_92-9_0_4_node_97 | 0.4 | n |  | TRUE
14 | bus_LV_92-9_0_4_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_92-9_0_4_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_92-9_0_4_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_92-9_0_4_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_92-9_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_92-9_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_92-9_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_92-9_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_92-9_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_92-9_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_92-9_0_4_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_92-9_0_4_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_92-9_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_92-9_0_4_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_92-9_0_4_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_92-9_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_92-9_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_92-9_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_92-9_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_92-9_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_92-9_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_92-9_0_4_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_92-9_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_92-9_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_92-9_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_92-9_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_92-9_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_92-9_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_92-9_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_92-9_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_92-9_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_92-9_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_92-9_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_92-9_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_92-9_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_92-9_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_92-9_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_92-9_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_92-9_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_92-9_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_92-9_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_92-9_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_92-9_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_92-9_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_92-9_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_92-9_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_92-9_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_92-9_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_92-9_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_92-9_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_92-9_0_4_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_92-9_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_92-9_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_92-9_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_92-9_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_92-9_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_92-9_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_92-9_0_4_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_92-9_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_92-9_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_92-9_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_92-9_0_4_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_92-9_0_4_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_92-9_0_4_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_92-9_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_92-9_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_92-9_0_4_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_92-9_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_92-9_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_92-9_0_4_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_92-9_0_4_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_92-9_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_92-9_0_4_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_92-9_0_4_node_94 | 0.4 | n |  | TRUE
88 | bus_LV_92-9_0_4_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_92-9_0_4_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_92-9_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_92-9_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_92-9_0_4_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_92-9_0_4_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_92-9_0_4_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_92-9_0_4_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_92-9_0_4_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_92-9_0_4_node_85 | 0.4 | n |  | TRUE
98 | bus_MV_468_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_92-9_0_4_load_0 | 0 | 0.0032773 | 0.00082136 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_92-9_0_4_load_99 | 5 | 0.001784 | 0.00044712 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_92-9_0_4_load_76 | 7 | 0.020947 | 0.0052499 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_92-9_0_4_load_100 | 8 | 0.0018121 | 0.00045416 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_92-9_0_4_load_81 | 10 | 0.0092345 | 0.0023144 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_92-9_0_4_load_87 | 12 | 0.0025208 | 0.00063177 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_92-9_0_4_load_97 | 13 | 0.0026669 | 0.00066839 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_92-9_0_4_load_77 | 14 | 0.017159 | 0.0043004 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_92-9_0_4_load_5 | 15 | 0.0015054 | 0.00037728 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_92-9_0_4_load_6 | 16 | 0.0063562 | 0.001593 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_92-9_0_4_load_7 | 17 | 0.004664 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_92-9_0_4_load_9 | 19 | 0.0017749 | 0.00044484 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_92-9_0_4_load_10 | 21 | 0.0014234 | 0.00035674 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_92-9_0_4_load_16 | 22 | 0.0016929 | 0.00042428 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_92-9_0_4_load_12 | 23 | 0.0022327 | 0.00055957 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_92-9_0_4_load_22 | 26 | 0.0039304 | 0.00098505 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_92-9_0_4_load_89 | 28 | 0.012926 | 0.0032397 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_92-9_0_4_load_20 | 29 | 0.0018799 | 0.00047116 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_92-9_0_4_load_15 | 31 | 0.0020448 | 0.00051249 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_92-9_0_4_load_17 | 32 | 0.0044523 | 0.0011158 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_92-9_0_4_load_18 | 33 | 0.0065029 | 0.0016298 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_92-9_0_4_load_19 | 34 | 0.004344 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_92-9_0_4_load_88 | 35 | 0.0074006 | 0.0018548 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_92-9_0_4_load_21 | 36 | 0.0018042 | 0.00045217 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_92-9_0_4_load_23 | 37 | 0.0020524 | 0.00051438 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_92-9_0_4_load_24 | 38 | 0.0027735 | 0.00069511 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_92-9_0_4_load_27 | 41 | 0.0053105 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_92-9_0_4_load_32 | 42 | 0.0051736 | 0.0012966 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_92-9_0_4_load_38 | 43 | 0.0016368 | 0.00041022 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_92-9_0_4_load_33 | 44 | 0.0071301 | 0.001787 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_92-9_0_4_load_39 | 45 | 0.0053105 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_92-9_0_4_load_28 | 46 | 0.001399 | 0.00035063 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_92-9_0_4_load_29 | 47 | 0.0011208 | 0.0002809 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_92-9_0_4_load_30 | 48 | 0.0028173 | 0.00070609 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_92-9_0_4_load_31 | 49 | 0.0026443 | 0.00066273 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_92-9_0_4_load_58 | 50 | 0.0034333 | 0.00086045 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_92-9_0_4_load_49 | 51 | 0.0034964 | 0.00087628 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_92-9_0_4_load_34 | 54 | 0.0054999 | 0.0013784 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_92-9_0_4_load_35 | 55 | 0.0061152 | 0.0015326 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_92-9_0_4_load_37 | 56 | 0.0053105 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_92-9_0_4_load_46 | 57 | 0.012274 | 0.0030761 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_92-9_0_4_load_40 | 59 | 0.0015768 | 0.00039519 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_92-9_0_4_load_48 | 60 | 0.0016585 | 0.00041567 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_92-9_0_4_load_43 | 61 | 0.001456 | 0.0003649 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_92-9_0_4_load_55 | 62 | 0.0019877 | 0.00049816 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_92-9_0_4_load_42 | 63 | 0.0053121 | 0.0013313 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_92-9_0_4_load_44 | 64 | 0.0026806 | 0.00067182 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_92-9_0_4_load_50 | 66 | 0.0021033 | 0.00052714 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_92-9_0_4_load_56 | 68 | 0.0026443 | 0.00066274 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_92-9_0_4_load_52 | 69 | 0.0016786 | 0.00042071 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_92-9_0_4_load_53 | 70 | 0.0024978 | 0.00062602 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_92-9_0_4_load_54 | 71 | 0.0024959 | 0.00062552 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_92-9_0_4_load_57 | 72 | 0.005269 | 0.0013205 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_92-9_0_4_load_61 | 73 | 0.0046348 | 0.0011616 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_92-9_0_4_load_62 | 75 | 0.0028271 | 0.00070855 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_92-9_0_4_load_93 | 76 | 0.0015384 | 0.00038555 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_92-9_0_4_load_95 | 77 | 0.0019076 | 0.00047809 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_92-9_0_4_load_63 | 78 | 0.0020508 | 0.00051397 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_92-9_0_4_load_64 | 79 | 0.0080688 | 0.0020222 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_92-9_0_4_load_68 | 80 | 0.0062686 | 0.0015711 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_92-9_0_4_load_90 | 83 | 0.0070532 | 0.0017677 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_92-9_0_4_load_71 | 84 | 0.0037002 | 0.00092735 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_92-9_0_4_load_92 | 86 | 0.0018822 | 0.00047172 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_92-9_0_4_load_94 | 87 | 0.0019064 | 0.00047779 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_92-9_0_4_load_69 | 88 | 0.0079773 | 0.0019993 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_92-9_0_4_load_83 | 91 | 0.0040317 | 0.0010104 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_92-9_0_4_load_91 | 93 | 0.022954 | 0.0057527 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_92-9_0_4_load_86 | 94 | 0.0041453 | 0.0010389 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_92-9_0_4_load_96 | 95 | 0.002204 | 0.00055237 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_92-9_0_4_load_84 | 96 | 0.0031825 | 0.00079761 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_92-9_0_4_load_85 | 97 | 0.0042023 | 0.0010532 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_92-9_0_4_line_0 |  | 0 | 1 | 0.027591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_92-9_0_4_line_1 |  | 0 | 2 | 0.029498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_92-9_0_4_line_2 |  | 1 | 3 | 0.030407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_92-9_0_4_line_3 |  | 2 | 4 | 0.008566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_92-9_0_4_line_4 |  | 3 | 5 | 0.03079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_92-9_0_4_line_5 |  | 4 | 6 | 0.038809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_92-9_0_4_line_6 |  | 4 | 7 | 0.027585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_92-9_0_4_line_7 |  | 5 | 8 | 0.0034631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_92-9_0_4_line_8 |  | 6 | 9 | 0.009005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_92-9_0_4_line_9 |  | 6 | 10 | 0.034007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_92-9_0_4_line_10 |  | 7 | 14 | 0.0051864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_92-9_0_4_line_11 |  | 8 | 22 | 5.8139e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_92-9_0_4_line_12 |  | 9 | 11 | 0.022552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_92-9_0_4_line_13 |  | 9 | 12 | 0.019911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_92-9_0_4_line_14 |  | 10 | 92 | 0.012103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_92-9_0_4_line_15 |  | 11 | 13 | 0.0046933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_92-9_0_4_line_16 |  | 12 | 94 | 0.009513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_92-9_0_4_line_17 |  | 13 | 95 | 0.021329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_92-9_0_4_line_18 |  | 15 | 16 | 0.011157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_92-9_0_4_line_19 |  | 15 | 17 | 0.017405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_92-9_0_4_line_20 |  | 16 | 18 | 0.019371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_92-9_0_4_line_21 |  | 17 | 19 | 0.008359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_92-9_0_4_line_22 |  | 18 | 20 | 0.080424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_92-9_0_4_line_23 |  | 19 | 21 | 0.0059765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_92-9_0_4_line_24 |  | 20 | 23 | 0.029247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_92-9_0_4_line_25 |  | 21 | 24 | 0.042388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_92-9_0_4_line_26 |  | 23 | 30 | 0.026021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_92-9_0_4_line_27 |  | 24 | 25 | 0.028087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_92-9_0_4_line_28 |  | 24 | 26 | 0.016296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_92-9_0_4_line_29 |  | 25 | 27 | 0.038501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_92-9_0_4_line_30 |  | 25 | 28 | 0.026836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_92-9_0_4_line_31 |  | 26 | 29 | 8.3036e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_92-9_0_4_line_32 |  | 27 | 76 | 0.0096115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_92-9_0_4_line_33 |  | 27 | 77 | 0.030904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_92-9_0_4_line_34 |  | 27 | 74 | 0.047742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_92-9_0_4_line_35 |  | 28 | 83 | 0.022846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_92-9_0_4_line_36 |  | 29 | 36 | 0.026306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_92-9_0_4_line_37 |  | 30 | 31 | 0.0086529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_92-9_0_4_line_38 |  | 31 | 32 | 0.011436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_92-9_0_4_line_39 |  | 32 | 33 | 0.017785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_92-9_0_4_line_40 |  | 33 | 34 | 0.017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_92-9_0_4_line_41 |  | 34 | 35 | 0.0043842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_92-9_0_4_line_42 |  | 36 | 37 | 0.026868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_92-9_0_4_line_43 |  | 37 | 38 | 0.010688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_92-9_0_4_line_44 |  | 38 | 39 | 0.024396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_92-9_0_4_line_45 |  | 39 | 40 | 0.019359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_92-9_0_4_line_46 |  | 39 | 41 | 0.034038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_92-9_0_4_line_47 |  | 40 | 42 | 0.016345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_92-9_0_4_line_48 |  | 41 | 43 | 0.022225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_92-9_0_4_line_49 |  | 42 | 44 | 0.011349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_92-9_0_4_line_50 |  | 43 | 45 | 0.0045418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_92-9_0_4_line_51 |  | 44 | 54 | 0.016081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_92-9_0_4_line_52 |  | 45 | 59 | 0.0023831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_92-9_0_4_line_53 |  | 46 | 47 | 0.0064541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_92-9_0_4_line_54 |  | 46 | 48 | 0.03506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_92-9_0_4_line_55 |  | 47 | 49 | 0.018571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_92-9_0_4_line_56 |  | 49 | 50 | 0.0047488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_92-9_0_4_line_57 |  | 49 | 51 | 0.029399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_92-9_0_4_line_58 |  | 50 | 52 | 0.0022291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_92-9_0_4_line_59 |  | 51 | 53 | 0.01966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_92-9_0_4_line_60 |  | 52 | 73 | 0.022232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_92-9_0_4_line_61 |  | 53 | 60 | 0.021407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_92-9_0_4_line_62 |  | 53 | 61 | 0.040916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_92-9_0_4_line_63 |  | 53 | 59 | 0.036327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_92-9_0_4_line_64 |  | 54 | 55 | 0.026246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_92-9_0_4_line_65 |  | 56 | 57 | 0.025456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_92-9_0_4_line_66 |  | 57 | 58 | 0.024912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_92-9_0_4_line_67 |  | 58 | 65 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_92-9_0_4_line_68 |  | 60 | 62 | 0.025011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_92-9_0_4_line_69 |  | 61 | 63 | 0.0083355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_92-9_0_4_line_70 |  | 62 | 68 | 0.00031533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_92-9_0_4_line_71 |  | 63 | 64 | 0.016944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_92-9_0_4_line_72 |  | 64 | 65 | 0.038549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_92-9_0_4_line_73 |  | 65 | 66 | 0.02637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_92-9_0_4_line_74 |  | 66 | 67 | 0.030124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_92-9_0_4_line_75 |  | 67 | 69 | 0.0238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_92-9_0_4_line_76 |  | 68 | 72 | 0.01009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_92-9_0_4_line_77 |  | 69 | 70 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_92-9_0_4_line_78 |  | 70 | 71 | 0.014354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_92-9_0_4_line_79 |  | 74 | 75 | 0.024924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_92-9_0_4_line_80 |  | 75 | 78 | 0.026606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_92-9_0_4_line_81 |  | 76 | 86 | 0.0096919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_92-9_0_4_line_82 |  | 77 | 87 | 0.0097425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_92-9_0_4_line_83 |  | 78 | 79 | 0.0047611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_92-9_0_4_line_84 |  | 79 | 80 | 0.0192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_92-9_0_4_line_85 |  | 81 | 82 | 0.007238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_92-9_0_4_line_86 |  | 81 | 83 | 0.023969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_92-9_0_4_line_87 |  | 82 | 93 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_92-9_0_4_line_88 |  | 82 | 85 | 0.040279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_92-9_0_4_line_89 |  | 84 | 85 | 0.014968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_92-9_0_4_line_90 |  | 85 | 92 | 0.010815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_92-9_0_4_line_91 |  | 88 | 89 | 0.052228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_92-9_0_4_line_92 |  | 89 | 90 | 0.005127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_92-9_0_4_line_93 |  | 90 | 91 | 0.025685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_92-9_0_4_line_94 |  | 91 | 96 | 0.0089906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_92-9_0_4_line_95 |  | 94 | 97 | 0.0096371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_92-9_0_4_line_96 |  | 96 | 97 | 0.022567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_92-9_0_4_trafo_93 | 0.63 MVA 20/0.4 kV | 98 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2681487.5086 | 1258990.1378 | 2681497.3072 | 1258987.5374 | 2681506.5435 | 1258984.7068 | 2681513.2232 | 1258982.4971 | 2681513.9615 | 1258982.3308
1 | 2681543.0898 | 1258979.9176 | 2681527.9697 | 1258979.1755 | 2681513.9615 | 1258982.3308
2 | 2681462.2816 | 1258985.9207 | 2681472.0739 | 1258991.9823 | 2681478.0848 | 1258996.1794 | 2681483.052 | 1258991.3218 | 2681487.5086 | 1258990.1378
3 | 2681551.6706 | 1258980.3473 | 2681543.0898 | 1258979.9176
4 | 2681462.2816 | 1258985.9207 | 2681436.6024 | 1258968.9323
5 | 2681551.6706 | 1258980.3473 | 2681560.0671 | 1258981.5639 | 2681579.9623 | 1258971.1634 | 2681587.6028 | 1258969.2562
6 | 2681551.6706 | 1258980.3473 | 2681550.0528 | 1258953.3376 | 2681550.3259 | 1258952.8873
7 | 2681436.6024 | 1258968.9323 | 2681433.7141 | 1258967.0216
8 | 2681594.1307 | 1258975.3175 | 2681590.2098 | 1258972.6391 | 2681587.6028 | 1258969.2562
9 | 2681587.6028 | 1258969.2562 | 2681586.245 | 1258965.4901 | 2681581.7721 | 1258945.4353 | 2681579.5935 | 1258936.2336
10 | 2681550.3259 | 1258952.8873 | 2681553.015 | 1258948.4525
11 | 2681433.6656 | 1258966.9895 | 2681433.7141 | 1258967.0216
12 | 2681594.1307 | 1258975.3175 | 2681589.3001 | 1258985.5698 | 2681588.547 | 1258988.2504 | 2681588.2654 | 1258991.171 | 2681588.9296 | 1258993.8489 | 2681590.6339 | 1258995.9962
13 | 2681594.1307 | 1258975.3175 | 2681599.147 | 1258977.2881 | 2681604.4307 | 1258977.361 | 2681613.2599 | 1258974.6447
14 | 2681576.7842 | 1258924.4616 | 2681578.3309 | 1258930.9324 | 2681579.0437 | 1258933.9111 | 2681579.5935 | 1258936.2336
15 | 2681590.6339 | 1258995.9962 | 2681593.8387 | 1258999.425
16 | 2681621.9998 | 1258970.9183 | 2681614.9467 | 1258974.1257 | 2681613.2599 | 1258974.6447
17 | 2681606.853 | 1259016.1188 | 2681603.3526 | 1259009.6042 | 2681593.8387 | 1258999.425
18 | 2681396.5727 | 1258909.4434 | 2681389.5923 | 1258914.1658 | 2681387.9006 | 1258916.3077
19 | 2681396.5727 | 1258909.4434 | 2681399.934 | 1258907.1694 | 2681412.2115 | 1258901.9342
20 | 2681378.0263 | 1258932.8989 | 2681384.6052 | 1258920.4799 | 2681387.9006 | 1258916.3077
21 | 2681420.0922 | 1258899.1472 | 2681412.2115 | 1258901.9342 | 2681412.2115 | 1258901.9342
22 | 2681300.9356 | 1258910.289 | 2681308.5341 | 1258911.9835 | 2681358.012 | 1258925.6738 | 2681367.5387 | 1258928.5848 | 2681378.0263 | 1258932.8989
23 | 2681420.0922 | 1258899.1472 | 2681425.7268 | 1258897.1546
24 | 2681300.9356 | 1258910.289 | 2681322.691 | 1258890.7425
25 | 2681465.6891 | 1258883.0221 | 2681425.7268 | 1258897.1546
26 | 2681344.2475 | 1258876.2246 | 2681324.8274 | 1258888.823 | 2681322.691 | 1258890.7425
27 | 2681492.322 | 1258873.8706 | 2681465.6891 | 1258883.0221
28 | 2681465.6891 | 1258883.0221 | 2681460.3202 | 1258867.6356
29 | 2681492.322 | 1258873.8706 | 2681519.9489 | 1258863.721 | 2681518.3048 | 1258858.8391 | 2681516.9836 | 1258855.1514
30 | 2681492.322 | 1258873.8706 | 2681494.5894 | 1258881.6634 | 2681492.6668 | 1258900.2845
31 | 2681460.2929 | 1258867.5572 | 2681460.3202 | 1258867.6356
32 | 2681516.9836 | 1258855.1514 | 2681507.8699 | 1258858.2043
33 | 2681516.9836 | 1258855.1514 | 2681509.7238 | 1258834.8915 | 2681500.8563 | 1258837.9567
34 | 2681556.346 | 1258850.668 | 2681545.7723 | 1258854.7921 | 2681519.9489 | 1258863.721 | 2681518.3048 | 1258858.8391 | 2681516.9836 | 1258855.1514
35 | 2681492.6668 | 1258900.2845 | 2681492.6668 | 1258900.2845 | 2681515.3578 | 1258897.6282
36 | 2681460.2929 | 1258867.5572 | 2681451.6265 | 1258842.7201
37 | 2681344.2475 | 1258876.2246 | 2681345.4555 | 1258877.7424 | 2681351.7886 | 1258879.969
38 | 2681361.331 | 1258874.2841 | 2681352.598 | 1258880.2536 | 2681351.7886 | 1258879.969
39 | 2681361.331 | 1258874.2841 | 2681367.9865 | 1258869.7348 | 2681371.1538 | 1258860.8938 | 2681371.4348 | 1258860.7178
40 | 2681382.7682 | 1258849.0148 | 2681381.9066 | 1258854.1587 | 2681371.4348 | 1258860.7178
41 | 2681381.0507 | 1258845.1289 | 2681382.884 | 1258848.3232 | 2681382.7682 | 1258849.0148
42 | 2681442.7748 | 1258817.3523 | 2681451.6265 | 1258842.7201
43 | 2681439.2538 | 1258807.2614 | 2681442.7748 | 1258817.3523
44 | 2681431.2167 | 1258784.2278 | 2681439.2538 | 1258807.2614
45 | 2681431.2167 | 1258784.2278 | 2681413.0587 | 1258791.0833
46 | 2681431.2167 | 1258784.2278 | 2681463.3518 | 1258773.0056
47 | 2681413.0587 | 1258791.0833 | 2681407.6337 | 1258775.6649
48 | 2681463.3518 | 1258773.0056 | 2681484.3341 | 1258765.6781
49 | 2681407.6337 | 1258775.6649 | 2681403.8668 | 1258764.9591
50 | 2681488.622 | 1258764.1807 | 2681484.3341 | 1258765.6781
51 | 2681398.5293 | 1258749.7894 | 2681403.8668 | 1258764.9591
52 | 2681488.622 | 1258764.1807 | 2681490.8719 | 1258763.395
53 | 2681516.4586 | 1258806.9657 | 2681522.505 | 1258804.7082
54 | 2681486.935 | 1258812.3383 | 2681488.577 | 1258817.3758 | 2681516.4586 | 1258806.9657
55 | 2681539.9029 | 1258798.2124 | 2681522.505 | 1258804.7082
56 | 2681539.9029 | 1258798.2124 | 2681541.3284 | 1258802.7422
57 | 2681539.9029 | 1258798.2124 | 2681531.073 | 1258770.1705
58 | 2681541.9975 | 1258804.8686 | 2681541.3284 | 1258802.7422
59 | 2681525.1682 | 1258751.4181 | 2681531.073 | 1258770.1705
60 | 2681541.9975 | 1258804.8686 | 2681521.9353 | 1258814.4482
61 | 2681525.1682 | 1258751.4181 | 2681545.3222 | 1258744.2018
62 | 2681525.1682 | 1258751.4181 | 2681511.4778 | 1258712.8604
63 | 2681525.1682 | 1258751.4181 | 2681490.8719 | 1258763.395
64 | 2681398.5293 | 1258749.7894 | 2681389.8179 | 1258725.0311
65 | 2681453.7931 | 1258666.7299 | 2681429.8244 | 1258675.3025
66 | 2681477.0248 | 1258657.7391 | 2681457.6649 | 1258665.3452 | 2681453.7931 | 1258666.7299
67 | 2681477.0248 | 1258657.7391 | 2681489.9324 | 1258652.7797
68 | 2681568.8694 | 1258735.7704 | 2681545.3222 | 1258744.2018
69 | 2681508.6888 | 1258705.0054 | 2681511.4778 | 1258712.8604
70 | 2681568.8694 | 1258735.7704 | 2681569.1663 | 1258735.6641
71 | 2681508.6888 | 1258705.0054 | 2681503.0195 | 1258689.0383
72 | 2681489.9324 | 1258652.7797 | 2681494.7449 | 1258665.7336 | 2681503.0195 | 1258689.0383
73 | 2681489.9324 | 1258652.7797 | 2681514.7015 | 1258643.7317
74 | 2681542.9968 | 1258633.3956 | 2681514.7015 | 1258643.7317
75 | 2681542.9968 | 1258633.3956 | 2681550.6024 | 1258655.9478
76 | 2681578.666 | 1258732.2627 | 2681569.1663 | 1258735.6641
77 | 2681550.6024 | 1258655.9478 | 2681557.0971 | 1258675.2055
78 | 2681561.684 | 1258688.8065 | 2681557.0971 | 1258675.2055
79 | 2681556.346 | 1258850.668 | 2681579.9238 | 1258842.5862
80 | 2681579.9238 | 1258842.5862 | 2681605.0921 | 1258833.9592
81 | 2681498.6799 | 1258861.2828 | 2681507.8699 | 1258858.2043
82 | 2681491.6485 | 1258841.1396 | 2681500.8563 | 1258837.9567
83 | 2681605.0921 | 1258833.9592 | 2681609.5961 | 1258832.4154
84 | 2681627.7582 | 1258826.19 | 2681609.5961 | 1258832.4154
85 | 2681530.1607 | 1258916.4798 | 2681534.6356 | 1258922.1792
86 | 2681530.1607 | 1258916.4798 | 2681515.3578 | 1258897.6282
87 | 2681534.6356 | 1258922.1792 | 2681523.8508 | 1258925.7667
88 | 2681574.1848 | 1258913.9622 | 2681534.6356 | 1258922.1792
89 | 2681574.1848 | 1258913.9622 | 2681570.587 | 1258899.4331
90 | 2681574.1848 | 1258913.9622 | 2681576.7842 | 1258924.4616
91 | 2681678.8397 | 1258934.1653 | 2681661.5071 | 1258884.8974
92 | 2681680.6582 | 1258938.9608 | 2681678.8397 | 1258934.1653
93 | 2681680.6582 | 1258938.9608 | 2681662.1876 | 1258950.4592 | 2681658.7361 | 1258952.3345
94 | 2681658.7361 | 1258952.3345 | 2681650.8363 | 1258956.6267
95 | 2681621.9998 | 1258970.9183 | 2681630.7723 | 1258966.9289
96 | 2681650.8363 | 1258956.6267 | 2681637.5391 | 1258963.8516 | 2681630.7723 | 1258966.9289

## bus_geodata
| x | y | coords
0 | 2681513.9615 | 1258982.3308
1 | 2681487.5086 | 1258990.1378
2 | 2681543.0898 | 1258979.9176
3 | 2681462.2816 | 1258985.9207
4 | 2681551.6706 | 1258980.3473
5 | 2681436.6024 | 1258968.9323
6 | 2681587.6028 | 1258969.2562
7 | 2681550.3259 | 1258952.8873
8 | 2681433.7141 | 1258967.0216
9 | 2681594.1307 | 1258975.3175
10 | 2681579.5935 | 1258936.2336
11 | 2681590.6339 | 1258995.9962
12 | 2681613.2599 | 1258974.6447
13 | 2681593.8387 | 1258999.425
14 | 2681553.015 | 1258948.4525
15 | 2681396.5727 | 1258909.4434
16 | 2681387.9006 | 1258916.3077
17 | 2681412.2115 | 1258901.9342
18 | 2681378.0263 | 1258932.8989
19 | 2681420.0922 | 1258899.1472
20 | 2681300.9356 | 1258910.289
21 | 2681425.7268 | 1258897.1546
22 | 2681433.6656 | 1258966.9895
23 | 2681322.691 | 1258890.7425
24 | 2681465.6891 | 1258883.0221
25 | 2681492.322 | 1258873.8706
26 | 2681460.3202 | 1258867.6356
27 | 2681516.9836 | 1258855.1514
28 | 2681492.6668 | 1258900.2845
29 | 2681460.2929 | 1258867.5572
30 | 2681344.2475 | 1258876.2246
31 | 2681351.7886 | 1258879.969
32 | 2681361.331 | 1258874.2841
33 | 2681371.4348 | 1258860.7178
34 | 2681382.7682 | 1258849.0148
35 | 2681381.0507 | 1258845.1289
36 | 2681451.6265 | 1258842.7201
37 | 2681442.7748 | 1258817.3523
38 | 2681439.2538 | 1258807.2614
39 | 2681431.2167 | 1258784.2278
40 | 2681413.0587 | 1258791.0833
41 | 2681463.3518 | 1258773.0056
42 | 2681407.6337 | 1258775.6649
43 | 2681484.3341 | 1258765.6781
44 | 2681403.8668 | 1258764.9591
45 | 2681488.622 | 1258764.1807
46 | 2681516.4586 | 1258806.9657
47 | 2681522.505 | 1258804.7082
48 | 2681486.935 | 1258812.3383
49 | 2681539.9029 | 1258798.2124
50 | 2681541.3284 | 1258802.7422
51 | 2681531.073 | 1258770.1705
52 | 2681541.9975 | 1258804.8686
53 | 2681525.1682 | 1258751.4181
54 | 2681398.5293 | 1258749.7894
55 | 2681389.8179 | 1258725.0311
56 | 2681429.8244 | 1258675.3025
57 | 2681453.7931 | 1258666.7299
58 | 2681477.0248 | 1258657.7391
59 | 2681490.8719 | 1258763.395
60 | 2681545.3222 | 1258744.2018
61 | 2681511.4778 | 1258712.8604
62 | 2681568.8694 | 1258735.7704
63 | 2681508.6888 | 1258705.0054
64 | 2681503.0195 | 1258689.0383
65 | 2681489.9324 | 1258652.7797
66 | 2681514.7015 | 1258643.7317
67 | 2681542.9968 | 1258633.3956
68 | 2681569.1663 | 1258735.6641
69 | 2681550.6024 | 1258655.9478
70 | 2681557.0971 | 1258675.2055
71 | 2681561.684 | 1258688.8065
72 | 2681578.666 | 1258732.2627
73 | 2681521.9353 | 1258814.4482
74 | 2681556.346 | 1258850.668
75 | 2681579.9238 | 1258842.5862
76 | 2681507.8699 | 1258858.2043
77 | 2681500.8563 | 1258837.9567
78 | 2681605.0921 | 1258833.9592
79 | 2681609.5961 | 1258832.4154
80 | 2681627.7582 | 1258826.19
81 | 2681530.1607 | 1258916.4798
82 | 2681534.6356 | 1258922.1792
83 | 2681515.3578 | 1258897.6282
84 | 2681570.587 | 1258899.4331
85 | 2681574.1848 | 1258913.9622
86 | 2681498.6799 | 1258861.2828
87 | 2681491.6485 | 1258841.1396
88 | 2681661.5071 | 1258884.8974
89 | 2681678.8397 | 1258934.1653
90 | 2681680.6582 | 1258938.9608
91 | 2681658.7361 | 1258952.3345
92 | 2681576.7842 | 1258924.4616
93 | 2681523.8508 | 1258925.7667
94 | 2681621.9998 | 1258970.9183
95 | 2681606.853 | 1259016.1188
96 | 2681650.8363 | 1258956.6267
97 | 2681630.7723 | 1258966.9289
98 | 2681516.9836 | 1258855.1514

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1