## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_96-10_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_96-10_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_96-10_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_96-10_0_6_node_35 | 0.4 | n |  | TRUE
4 | bus_LV_96-10_0_6_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_96-10_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_96-10_0_6_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_96-10_0_6_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_96-10_0_6_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_96-10_0_6_node_122 | 0.4 | n |  | TRUE
10 | bus_LV_96-10_0_6_node_121 | 0.4 | n |  | TRUE
11 | bus_LV_96-10_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_96-10_0_6_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_96-10_0_6_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_96-10_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_96-10_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_96-10_0_6_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_96-10_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_96-10_0_6_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_96-10_0_6_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_96-10_0_6_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_96-10_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_96-10_0_6_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_96-10_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_96-10_0_6_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_96-10_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_96-10_0_6_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_96-10_0_6_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_96-10_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_96-10_0_6_node_88 | 0.4 | n |  | TRUE
30 | bus_LV_96-10_0_6_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_96-10_0_6_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_96-10_0_6_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_96-10_0_6_node_104 | 0.4 | n |  | TRUE
34 | bus_LV_96-10_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_96-10_0_6_node_112 | 0.4 | n |  | TRUE
36 | bus_LV_96-10_0_6_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_96-10_0_6_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_96-10_0_6_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_96-10_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_96-10_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_96-10_0_6_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_96-10_0_6_node_113 | 0.4 | n |  | TRUE
43 | bus_LV_96-10_0_6_node_120 | 0.4 | n |  | TRUE
44 | bus_LV_96-10_0_6_node_128 | 0.4 | n |  | TRUE
45 | bus_LV_96-10_0_6_node_107 | 0.4 | n |  | TRUE
46 | bus_LV_96-10_0_6_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_96-10_0_6_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_96-10_0_6_node_125 | 0.4 | n |  | TRUE
49 | bus_LV_96-10_0_6_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_96-10_0_6_node_119 | 0.4 | n |  | TRUE
51 | bus_LV_96-10_0_6_node_118 | 0.4 | n |  | TRUE
52 | bus_LV_96-10_0_6_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_96-10_0_6_node_117 | 0.4 | n |  | TRUE
54 | bus_LV_96-10_0_6_node_126 | 0.4 | n |  | TRUE
55 | bus_LV_96-10_0_6_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_96-10_0_6_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_96-10_0_6_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_96-10_0_6_node_97 | 0.4 | n |  | TRUE
59 | bus_LV_96-10_0_6_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_96-10_0_6_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_96-10_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_96-10_0_6_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_96-10_0_6_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_96-10_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_96-10_0_6_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_96-10_0_6_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_96-10_0_6_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_96-10_0_6_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_96-10_0_6_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_96-10_0_6_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_96-10_0_6_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_96-10_0_6_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_96-10_0_6_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_96-10_0_6_node_31 | 0.4 | n |  | TRUE
75 | bus_LV_96-10_0_6_node_39 | 0.4 | n |  | TRUE
76 | bus_LV_96-10_0_6_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_96-10_0_6_node_46 | 0.4 | n |  | TRUE
78 | bus_LV_96-10_0_6_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_96-10_0_6_node_101 | 0.4 | n |  | TRUE
80 | bus_LV_96-10_0_6_node_105 | 0.4 | n |  | TRUE
81 | bus_LV_96-10_0_6_node_109 | 0.4 | n |  | TRUE
82 | bus_LV_96-10_0_6_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_96-10_0_6_node_123 | 0.4 | n |  | TRUE
84 | bus_LV_96-10_0_6_node_103 | 0.4 | n |  | TRUE
85 | bus_LV_96-10_0_6_node_99 | 0.4 | n |  | TRUE
86 | bus_LV_96-10_0_6_node_98 | 0.4 | n |  | TRUE
87 | bus_LV_96-10_0_6_node_115 | 0.4 | n |  | TRUE
88 | bus_LV_96-10_0_6_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_96-10_0_6_node_114 | 0.4 | n |  | TRUE
90 | bus_LV_96-10_0_6_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_96-10_0_6_node_37 | 0.4 | n |  | TRUE
92 | bus_LV_96-10_0_6_node_38 | 0.4 | n |  | TRUE
93 | bus_LV_96-10_0_6_node_40 | 0.4 | n |  | TRUE
94 | bus_LV_96-10_0_6_node_41 | 0.4 | n |  | TRUE
95 | bus_LV_96-10_0_6_node_42 | 0.4 | n |  | TRUE
96 | bus_LV_96-10_0_6_node_50 | 0.4 | n |  | TRUE
97 | bus_LV_96-10_0_6_node_51 | 0.4 | n |  | TRUE
98 | bus_LV_96-10_0_6_node_56 | 0.4 | n |  | TRUE
99 | bus_LV_96-10_0_6_node_64 | 0.4 | n |  | TRUE
100 | bus_LV_96-10_0_6_node_62 | 0.4 | n |  | TRUE
101 | bus_LV_96-10_0_6_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_96-10_0_6_node_77 | 0.4 | n |  | TRUE
103 | bus_LV_96-10_0_6_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_96-10_0_6_node_76 | 0.4 | n |  | TRUE
105 | bus_LV_96-10_0_6_node_81 | 0.4 | n |  | TRUE
106 | bus_LV_96-10_0_6_node_84 | 0.4 | n |  | TRUE
107 | bus_LV_96-10_0_6_node_116 | 0.4 | n |  | TRUE
108 | bus_LV_96-10_0_6_node_92 | 0.4 | n |  | TRUE
109 | bus_LV_96-10_0_6_node_85 | 0.4 | n |  | TRUE
110 | bus_LV_96-10_0_6_node_86 | 0.4 | n |  | TRUE
111 | bus_LV_96-10_0_6_node_87 | 0.4 | n |  | TRUE
112 | bus_LV_96-10_0_6_node_110 | 0.4 | n |  | TRUE
113 | bus_LV_96-10_0_6_node_100 | 0.4 | n |  | TRUE
114 | bus_LV_96-10_0_6_node_108 | 0.4 | n |  | TRUE
115 | bus_LV_96-10_0_6_node_124 | 0.4 | n |  | TRUE
116 | bus_LV_96-10_0_6_node_127 | 0.4 | n |  | TRUE
117 | bus_LV_96-10_0_6_node_111 | 0.4 | n |  | TRUE
118 | bus_MV_669_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_96-10_0_6_load_0 | 0 | 0.0067473 | 0.001691 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_96-10_0_6_load_43 | 4 | 0.0077881 | 0.0019519 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_96-10_0_6_load_69 | 7 | 0.010575 | 0.0026504 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_96-10_0_6_load_122 | 9 | 0.0066075 | 0.001656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_96-10_0_6_load_121 | 10 | 0.0068205 | 0.0017094 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_96-10_0_6_load_68 | 13 | 0.0099225 | 0.0024868 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_96-10_0_6_load_53 | 16 | 0.0024209 | 0.00060674 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_96-10_0_6_load_33 | 19 | 0.0072298 | 0.001812 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_96-10_0_6_load_30 | 20 | 0.0047858 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_96-10_0_6_load_49 | 22 | 0.0028151 | 0.00070553 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_96-10_0_6_load_48 | 24 | 0.0072471 | 0.0018163 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_96-10_0_6_load_44 | 27 | 0.0055191 | 0.0013832 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_96-10_0_6_load_88 | 29 | 0.0023368 | 0.00058565 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_96-10_0_6_load_102 | 32 | 0.0034313 | 0.00085997 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_96-10_0_6_load_104 | 33 | 0.0037018 | 0.00092777 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_96-10_0_6_load_112 | 35 | 0.0065463 | 0.0016407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_96-10_0_6_load_91 | 36 | 0.0049953 | 0.0012519 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_96-10_0_6_load_89 | 37 | 0.006541 | 0.0016393 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_96-10_0_6_load_106 | 41 | 0.0055156 | 0.0013823 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_96-10_0_6_load_113 | 42 | 0.0055414 | 0.0013888 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_96-10_0_6_load_120 | 43 | 0.0057264 | 0.0014352 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_96-10_0_6_load_128 | 44 | 0.0102 | 0.0025564 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_96-10_0_6_load_125 | 48 | 0.008065 | 0.0020213 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_96-10_0_6_load_119 | 50 | 0.0045581 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_96-10_0_6_load_118 | 51 | 0.0064684 | 0.0016211 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_96-10_0_6_load_117 | 53 | 0.0061281 | 0.0015359 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_96-10_0_6_load_32 | 56 | 0.012766 | 0.0031994 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_96-10_0_6_load_82 | 59 | 0.014312 | 0.0035869 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_96-10_0_6_load_66 | 60 | 0.008774 | 0.002199 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_96-10_0_6_load_58 | 62 | 0.03821 | 0.0095763 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_96-10_0_6_load_65 | 64 | 0.0017629 | 0.00044183 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_96-10_0_6_load_72 | 65 | 0.014309 | 0.0035863 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_96-10_0_6_load_59 | 66 | 0.0039959 | 0.0010015 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_96-10_0_6_load_52 | 67 | 0.0040248 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_96-10_0_6_load_73 | 68 | 0.014178 | 0.0035534 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_96-10_0_6_load_83 | 71 | 0.015769 | 0.0039522 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_96-10_0_6_load_54 | 72 | 0.022764 | 0.0057051 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_96-10_0_6_load_31 | 74 | 0.004796 | 0.001202 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_96-10_0_6_load_39 | 75 | 0.011252 | 0.00282 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_96-10_0_6_load_47 | 76 | 0.0062209 | 0.0015591 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_96-10_0_6_load_46 | 77 | 0.0017747 | 0.00044479 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_96-10_0_6_load_63 | 78 | 0.0011708 | 0.00029344 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_96-10_0_6_load_105 | 80 | 0.0041507 | 0.0010403 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_96-10_0_6_load_109 | 81 | 0.0030738 | 0.00077036 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_96-10_0_6_load_90 | 82 | 0.0028314 | 0.00070961 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_96-10_0_6_load_123 | 83 | 0.012152 | 0.0030455 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_96-10_0_6_load_99 | 85 | 0.02307 | 0.0057818 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_96-10_0_6_load_98 | 86 | 0.01206 | 0.0030226 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_96-10_0_6_load_115 | 87 | 0.010359 | 0.0025962 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_96-10_0_6_load_114 | 89 | 0.010045 | 0.0025176 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_96-10_0_6_load_37 | 91 | 0.0041816 | 0.001048 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_96-10_0_6_load_38 | 92 | 0.0044896 | 0.0011252 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_96-10_0_6_load_40 | 93 | 0.0064636 | 0.0016199 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_96-10_0_6_load_41 | 94 | 0.0039371 | 0.00098673 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_96-10_0_6_load_50 | 96 | 0.005531 | 0.0013862 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_96-10_0_6_load_51 | 97 | 0.0059913 | 0.0015016 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_96-10_0_6_load_56 | 98 | 0.0094045 | 0.002357 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_96-10_0_6_load_64 | 99 | 0.0093366 | 0.00234 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_96-10_0_6_load_62 | 100 | 0.0052771 | 0.0013226 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_96-10_0_6_load_93 | 101 | 0.011443 | 0.0028679 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_96-10_0_6_load_96 | 103 | 0.00613 | 0.0015363 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_96-10_0_6_load_81 | 105 | 0.014585 | 0.0036554 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_96-10_0_6_load_116 | 107 | 0.0048575 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_96-10_0_6_load_92 | 108 | 0.011316 | 0.002836 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_96-10_0_6_load_87 | 111 | 0.0084858 | 0.0021268 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_96-10_0_6_load_110 | 112 | 0.0036028 | 0.00090296 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_96-10_0_6_load_100 | 113 | 0.0048793 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_96-10_0_6_load_108 | 114 | 0.0022831 | 0.00057219 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_96-10_0_6_load_127 | 116 | 0.0072932 | 0.0018278 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_96-10_0_6_load_111 | 117 | 0.0016252 | 0.00040732 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_96-10_0_6_line_0 |  | 0 | 1 | 0.057764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_96-10_0_6_line_1 |  | 1 | 2 | 0.011612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_96-10_0_6_line_2 |  | 2 | 3 | 0.004101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_96-10_0_6_line_3 |  | 2 | 4 | 0.018089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_96-10_0_6_line_4 |  | 3 | 55 | 0.025003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_96-10_0_6_line_5 |  | 3 | 56 | 0.028821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_96-10_0_6_line_6 |  | 4 | 27 | 0.029453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_96-10_0_6_line_7 |  | 5 | 6 | 0.030294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_96-10_0_6_line_8 |  | 5 | 7 | 0.01689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_96-10_0_6_line_9 |  | 6 | 13 | 0.011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_96-10_0_6_line_10 |  | 6 | 60 | 0.017561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_96-10_0_6_line_11 |  | 7 | 17 | 0.018928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_96-10_0_6_line_12 |  | 8 | 9 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_96-10_0_6_line_13 |  | 8 | 10 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_96-10_0_6_line_14 |  | 10 | 19 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_96-10_0_6_line_15 |  | 11 | 12 | 0.033693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_96-10_0_6_line_16 |  | 11 | 13 | 0.023687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_96-10_0_6_line_17 |  | 12 | 61 | 0.025489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_96-10_0_6_line_18 |  | 12 | 62 | 0.011345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_96-10_0_6_line_19 |  | 14 | 15 | 0.039395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_96-10_0_6_line_20 |  | 14 | 16 | 0.014417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_96-10_0_6_line_21 |  | 15 | 19 | 0.022488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_96-10_0_6_line_22 |  | 15 | 20 | 0.020434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_96-10_0_6_line_23 |  | 16 | 67 | 0.00070209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_96-10_0_6_line_24 |  | 17 | 18 | 0.004267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_96-10_0_6_line_25 |  | 18 | 68 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_96-10_0_6_line_26 |  | 18 | 65 | 0.019512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_96-10_0_6_line_27 |  | 20 | 74 | 0.021933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_96-10_0_6_line_28 |  | 21 | 22 | 0.04812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_96-10_0_6_line_29 |  | 21 | 23 | 0.031293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_96-10_0_6_line_30 |  | 21 | 24 | 0.039771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_96-10_0_6_line_31 |  | 23 | 28 | 0.022489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_96-10_0_6_line_32 |  | 23 | 29 | 0.0082802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_96-10_0_6_line_33 |  | 24 | 75 | 0.054775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_96-10_0_6_line_34 |  | 25 | 26 | 0.008336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_96-10_0_6_line_35 |  | 25 | 27 | 0.053667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_96-10_0_6_line_36 |  | 26 | 76 | 0.055451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_96-10_0_6_line_37 |  | 26 | 77 | 0.022287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_96-10_0_6_line_38 |  | 28 | 34 | 0.033187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_96-10_0_6_line_39 |  | 28 | 35 | 0.041684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_96-10_0_6_line_40 |  | 28 | 31 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_96-10_0_6_line_41 |  | 29 | 78 | 0.02474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_96-10_0_6_line_42 |  | 30 | 31 | 0.05011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_96-10_0_6_line_43 |  | 30 | 32 | 0.014013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_96-10_0_6_line_44 |  | 31 | 33 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_96-10_0_6_line_45 |  | 32 | 79 | 0.014889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_96-10_0_6_line_46 |  | 33 | 80 | 0.036378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_96-10_0_6_line_47 |  | 34 | 36 | 0.0090687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_96-10_0_6_line_48 |  | 34 | 37 | 0.012962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_96-10_0_6_line_49 |  | 36 | 81 | 0.021026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_96-10_0_6_line_50 |  | 37 | 82 | 0.013187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_96-10_0_6_line_51 |  | 38 | 39 | 0.016267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_96-10_0_6_line_52 |  | 38 | 40 | 0.026922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_96-10_0_6_line_53 |  | 38 | 41 | 0.017354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_96-10_0_6_line_54 |  | 39 | 44 | 0.020917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_96-10_0_6_line_55 |  | 39 | 45 | 0.024822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_96-10_0_6_line_56 |  | 40 | 42 | 0.021826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_96-10_0_6_line_57 |  | 40 | 43 | 0.045406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_96-10_0_6_line_58 |  | 41 | 84 | 0.033455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_96-10_0_6_line_59 |  | 45 | 83 | 0.023093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_96-10_0_6_line_60 |  | 46 | 47 | 0.021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_96-10_0_6_line_61 |  | 46 | 48 | 0.02933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_96-10_0_6_line_62 |  | 47 | 87 | 0.036835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_96-10_0_6_line_63 |  | 47 | 88 | 0.02889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_96-10_0_6_line_64 |  | 48 | 54 | 0.019615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_96-10_0_6_line_65 |  | 49 | 50 | 0.0019117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_96-10_0_6_line_66 |  | 49 | 51 | 0.018351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_96-10_0_6_line_67 |  | 50 | 58 | 0.024096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_96-10_0_6_line_68 |  | 52 | 53 | 0.013755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_96-10_0_6_line_69 |  | 52 | 54 | 0.033402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_96-10_0_6_line_70 |  | 53 | 89 | 0.021194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_96-10_0_6_line_71 |  | 55 | 75 | 0.029458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_96-10_0_6_line_72 |  | 55 | 91 | 0.013884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_96-10_0_6_line_73 |  | 56 | 74 | 0.030772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_96-10_0_6_line_74 |  | 57 | 58 | 0.023967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_96-10_0_6_line_75 |  | 57 | 59 | 0.019323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_96-10_0_6_line_76 |  | 58 | 90 | 0.010944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_96-10_0_6_line_77 |  | 60 | 63 | 0.013906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_96-10_0_6_line_78 |  | 61 | 99 | 0.023085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_96-10_0_6_line_79 |  | 61 | 73 | 0.030865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_96-10_0_6_line_80 |  | 62 | 66 | 0.0061395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_96-10_0_6_line_81 |  | 63 | 64 | 0.0069058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_96-10_0_6_line_82 |  | 67 | 97 | 0.014559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_96-10_0_6_line_83 |  | 68 | 70 | 0.023104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_96-10_0_6_line_84 |  | 69 | 70 | 0.004018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_96-10_0_6_line_85 |  | 69 | 71 | 0.035611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_96-10_0_6_line_86 |  | 70 | 104 | 0.024028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_96-10_0_6_line_87 |  | 71 | 106 | 0.020924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_96-10_0_6_line_88 |  | 72 | 73 | 0.027694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_96-10_0_6_line_89 |  | 73 | 98 | 0.019279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_96-10_0_6_line_90 |  | 77 | 95 | 0.032129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_96-10_0_6_line_91 |  | 78 | 100 | 0.033628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_96-10_0_6_line_92 |  | 79 | 84 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_96-10_0_6_line_93 |  | 79 | 113 | 0.018878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_96-10_0_6_line_94 |  | 81 | 112 | 0.0014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_96-10_0_6_line_95 |  | 84 | 114 | 0.015144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_96-10_0_6_line_96 |  | 85 | 86 | 0.056928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_96-10_0_6_line_97 |  | 86 | 113 | 0.040762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_96-10_0_6_line_98 |  | 87 | 107 | 0.034795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_96-10_0_6_line_99 |  | 88 | 90 | 0.017668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_96-10_0_6_line_100 |  | 88 | 101 | 0.011208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_96-10_0_6_line_101 |  | 89 | 117 | 0.0086714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_96-10_0_6_line_102 |  | 90 | 103 | 0.017517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_96-10_0_6_line_103 |  | 91 | 92 | 0.024527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_96-10_0_6_line_104 |  | 93 | 94 | 0.067866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_96-10_0_6_line_105 |  | 94 | 95 | 0.012529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_96-10_0_6_line_106 |  | 96 | 97 | 0.01185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_96-10_0_6_line_107 |  | 102 | 103 | 0.027059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_96-10_0_6_line_108 |  | 102 | 104 | 0.001137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_96-10_0_6_line_109 |  | 104 | 105 | 0.02732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_96-10_0_6_line_110 |  | 106 | 109 | 0.007846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_96-10_0_6_line_111 |  | 108 | 109 | 0.024228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_96-10_0_6_line_112 |  | 109 | 110 | 0.003289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_96-10_0_6_line_113 |  | 110 | 111 | 0.014892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_96-10_0_6_line_114 |  | 112 | 117 | 0.027691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
115 | LV_96-10_0_6_line_115 |  | 114 | 115 | 0.0048525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_96-10_0_6_line_116 |  | 115 | 116 | 0.014943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_96-10_0_6_trafo_63 | 0.63 MVA 20/0.4 kV | 118 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2678532.9794 | 1254795.0108 | 2678505.0513 | 1254779.6625 | 2678508.707 | 1254791.8422 | 2678496.1071 | 1254795.7082
1 | 2678533.1121 | 1254806.6212 | 2678532.9794 | 1254795.0108
2 | 2678533.1121 | 1254806.6212 | 2678529.1735 | 1254807.8032
3 | 2678533.1121 | 1254806.6212 | 2678533.4103 | 1254824.7076
4 | 2678530.0415 | 1254832.7889 | 2678529.1735 | 1254807.8032
5 | 2678529.1735 | 1254807.8032 | 2678501.565 | 1254816.0736
6 | 2678533.4103 | 1254824.7076 | 2678533.8959 | 1254854.1567
7 | 2678359.9678 | 1254939.5052 | 2678358.3489 | 1254945.5438 | 2678336.6131 | 1254955.953
8 | 2678336.6131 | 1254955.953 | 2678321.3805 | 1254963.2493
9 | 2678359.9678 | 1254939.5052 | 2678354.9718 | 1254928.8747
10 | 2678359.9678 | 1254939.5052 | 2678366.5121 | 1254940.9262 | 2678376.1377 | 1254935.8889
11 | 2678304.3094 | 1254971.4263 | 2678321.3805 | 1254963.2493
12 | 2678469.213 | 1254782.8122 | 2678457.3263 | 1254793.9853
13 | 2678457.3263 | 1254793.9853 | 2678445.9681 | 1254804.6704
14 | 2678429.2826 | 1254820.3669 | 2678445.9681 | 1254804.6704
15 | 2678344.8971 | 1254907.4375 | 2678365.1536 | 1254897.0977 | 2678373.6129 | 1254892.9176 | 2678374.3471 | 1254891.593
16 | 2678344.8971 | 1254907.4375 | 2678354.9718 | 1254928.8747
17 | 2678374.3471 | 1254891.593 | 2678397.5431 | 1254880.8808
18 | 2678374.3471 | 1254891.593 | 2678369.6937 | 1254881.2459
19 | 2678433.886 | 1254865.7951 | 2678421.4176 | 1254846.8715 | 2678437.2342 | 1254841.4102
20 | 2678433.886 | 1254865.7951 | 2678446.852 | 1254859.4922
21 | 2678437.2342 | 1254841.4102 | 2678429.2826 | 1254820.3669
22 | 2678437.2342 | 1254841.4102 | 2678456.5791 | 1254834.8293
23 | 2678447.4835 | 1254859.1852 | 2678446.852 | 1254859.4922
24 | 2678304.3094 | 1254971.4263 | 2678300.4747 | 1254973.3215
25 | 2678300.4747 | 1254973.3215 | 2678305.5833 | 1254986.7212
26 | 2678300.4747 | 1254973.3215 | 2678293.7698 | 1254954.9972
27 | 2678456.5791 | 1254834.8293 | 2678473.1623 | 1254829.188 | 2678472.0875 | 1254824.9039 | 2678472.0875 | 1254824.9039
28 | 2678501.3948 | 1254947.8507 | 2678495.5362 | 1254947.0614 | 2678475.403 | 1254924.1997 | 2678467.1642 | 1254915.8281
29 | 2678501.3948 | 1254947.8507 | 2678505.721 | 1254953.2676 | 2678501.521 | 1254958.8161 | 2678506.5834 | 1254969.013 | 2678501.2801 | 1254971.856
30 | 2678501.3948 | 1254947.8507 | 2678506.7924 | 1254945.2981 | 2678509.8066 | 1254939.2891 | 2678520.2419 | 1254918.0894 | 2678521.9417 | 1254915.0891
31 | 2678501.2801 | 1254971.856 | 2678502.9594 | 1254977.2045 | 2678508.5796 | 1254993.1242
32 | 2678501.2801 | 1254971.856 | 2678497.1386 | 1254964.6859
33 | 2678521.9417 | 1254915.0891 | 2678526.8697 | 1254906.3907 | 2678529.2238 | 1254900.1061 | 2678531.3176 | 1254888.4252 | 2678531.3945 | 1254877.5069 | 2678530.9324 | 1254862.233
34 | 2678531.2968 | 1254907.617 | 2678537.4875 | 1254908.9668 | 2678539.4623 | 1254908.5259
35 | 2678531.2968 | 1254907.617 | 2678532.6506 | 1254898.8284 | 2678534.0384 | 1254889.184 | 2678534.2073 | 1254873.0409 | 2678533.8959 | 1254854.1567
36 | 2678539.4623 | 1254908.5259 | 2678549.454 | 1254934.9782 | 2678550.8817 | 1254947.9068 | 2678548.68 | 1254952.9369 | 2678540.1191 | 1254954.5468
37 | 2678539.4623 | 1254908.5259 | 2678561.2209 | 1254903.7022
38 | 2678477.4099 | 1255003.8414 | 2678491.2448 | 1254997.0418 | 2678508.5796 | 1254993.1242
39 | 2678508.5796 | 1254993.1242 | 2678512.2764 | 1255001.624 | 2678517.685 | 1255013.5935 | 2678523.3229 | 1255023.0531 | 2678528.4166 | 1255029.5652
40 | 2678508.5796 | 1254993.1242 | 2678512.7266 | 1254992.1451 | 2678511.0813 | 1254985.9409 | 2678515.2824 | 1254984.8624
41 | 2678497.1386 | 1254964.6859 | 2678496.0959 | 1254962.8806 | 2678488.4739 | 1254950.5704 | 2678483.6133 | 1254943.996
42 | 2678515.2824 | 1254984.8624 | 2678516.9085 | 1254993.6461 | 2678520.678 | 1255001.791 | 2678526.207 | 1255012.072 | 2678532.5273 | 1255021.8409 | 2678537.8181 | 1255029.0275
43 | 2678537.8181 | 1255029.0275 | 2678551.0972 | 1255024.5506
44 | 2678515.2824 | 1254984.8624 | 2678517.9637 | 1254984.0529 | 2678529.0743 | 1254979.4155
45 | 2678565.0575 | 1255019.4482 | 2678563.0138 | 1255020.5331 | 2678551.0972 | 1255024.5506
46 | 2678561.5727 | 1254963.1488 | 2678539.0067 | 1254975.2698 | 2678529.0743 | 1254979.4155
47 | 2678477.4099 | 1255003.8414 | 2678479.0139 | 1255009.7448 | 2678478.9439 | 1255012.6952
48 | 2678477.4099 | 1255003.8414 | 2678465.198 | 1255008.1883
49 | 2678478.9439 | 1255012.6952 | 2678478.4454 | 1255033.7155
50 | 2678465.198 | 1255008.1883 | 2678460.4241 | 1255009.8875 | 2678453.2466 | 1255013.683
51 | 2678586.1237 | 1255080.5067 | 2678584.409 | 1255077.8375 | 2678580.0334 | 1255071.041 | 2678575.5749 | 1255073.328
52 | 2678573.9881 | 1255091.7096 | 2678577.9378 | 1255089.6716 | 2678569.5288 | 1255076.439 | 2678571.815 | 1255075.2685 | 2678575.5749 | 1255073.328
53 | 2678575.5749 | 1255073.328 | 2678569.7533 | 1255056.9798
54 | 2678597.4468 | 1255098.1145 | 2678586.1237 | 1255080.5067
55 | 2678586.1237 | 1255080.5067 | 2678584.409 | 1255077.8375 | 2678604.1043 | 1255068.8476
56 | 2678573.9881 | 1255091.7096 | 2678568.2594 | 1255082.8492 | 2678561.9319 | 1255073.5176
57 | 2678573.9881 | 1255091.7096 | 2678570.9069 | 1255093.1031 | 2678531.406 | 1255107.4464
58 | 2678570.3076 | 1255030.8375 | 2678561.5 | 1255034.5568 | 2678566.9059 | 1255048.9837 | 2678569.7533 | 1255056.9798
59 | 2678604.1043 | 1255068.8476 | 2678625.1123 | 1255059.2581
60 | 2678380.4149 | 1255111.2929 | 2678370.9922 | 1255091.4089
61 | 2678380.4149 | 1255111.2929 | 2678384.9924 | 1255109.6967 | 2678409.4185 | 1255108.0387
62 | 2678370.9922 | 1255091.4089 | 2678404.1321 | 1255075.3282
63 | 2678358.8623 | 1255065.1733 | 2678370.9922 | 1255091.4089
64 | 2678428.9888 | 1255106.7102 | 2678409.4185 | 1255108.0387
65 | 2678343.7108 | 1255099.0871 | 2678342.8651 | 1255097.3726
66 | 2678343.7108 | 1255099.0871 | 2678326.8847 | 1255106.4123
67 | 2678332.2061 | 1255075.762 | 2678342.8651 | 1255097.3726
68 | 2678462.3854 | 1255104.3619 | 2678465.315 | 1255090.9221
69 | 2678462.3854 | 1255104.3619 | 2678455.3848 | 1255104.3692 | 2678428.9888 | 1255106.7102
70 | 2678470.7376 | 1255070.4469 | 2678467.0039 | 1255083.1739 | 2678465.315 | 1255090.9221
71 | 2678530.0415 | 1254832.7889 | 2678530.9324 | 1254862.233
72 | 2678530.0415 | 1254832.7889 | 2678516.6291 | 1254836.3766
73 | 2678472.0875 | 1254824.9039 | 2678501.565 | 1254816.0736
74 | 2678309.756 | 1255084.3271 | 2678332.2061 | 1255075.762
75 | 2678309.756 | 1255084.3271 | 2678302.3959 | 1255066.4609
76 | 2678342.4569 | 1255071.8502 | 2678332.2061 | 1255075.762
77 | 2678388.4584 | 1254929.4413 | 2678376.1377 | 1254935.8889
78 | 2678397.5431 | 1254880.8808 | 2678409.3986 | 1254900.6885
79 | 2678397.5431 | 1254880.8808 | 2678425.5323 | 1254867.6971
80 | 2678369.6937 | 1254881.2459 | 2678369.6937 | 1254881.2459 | 2678375.2619 | 1254878.6597
81 | 2678388.4584 | 1254929.4413 | 2678394.5768 | 1254926.2389
82 | 2678447.4835 | 1254859.1852 | 2678452.7239 | 1254856.6378 | 2678457.5461 | 1254863.9182
83 | 2678313.8321 | 1255008.302 | 2678309.7632 | 1254997.6847 | 2678305.5833 | 1254986.7212
84 | 2678313.8321 | 1255008.302 | 2678317.5052 | 1255006.6493
85 | 2678317.5052 | 1255006.6493 | 2678348.732 | 1254989.5317
86 | 2678313.8321 | 1255008.302 | 2678315.6145 | 1255012.7066 | 2678320.1309 | 1255024.2861 | 2678322.9223 | 1255030.5388
87 | 2678367.0805 | 1254979.4736 | 2678348.732 | 1254989.5317
88 | 2678425.5323 | 1254867.6971 | 2678415.1585 | 1254850.6804 | 2678410.3365 | 1254844.5951
89 | 2678425.5323 | 1254867.6971 | 2678435.7018 | 1254884.0755
90 | 2678592.4061 | 1254895.9743 | 2678562.1306 | 1254903.5006 | 2678561.2209 | 1254903.7022
91 | 2678460.2625 | 1254919.9035 | 2678465.0285 | 1254925.4632 | 2678481.0185 | 1254940.4863 | 2678483.6133 | 1254943.996
92 | 2678570.3076 | 1255030.8375 | 2678565.0575 | 1255019.4482
93 | 2678565.0575 | 1255019.4482 | 2678581.717 | 1255010.5698
94 | 2678478.4454 | 1255033.7155 | 2678478.4112 | 1255035.1558
95 | 2678570.3076 | 1255030.8375 | 2678584.2636 | 1255024.9589
96 | 2678618.6735 | 1254993.5104 | 2678629.6733 | 1254989.0829 | 2678671.1341 | 1254971.4101
97 | 2678618.6735 | 1254993.5104 | 2678598.4638 | 1255001.6448 | 2678581.717 | 1255010.5698
98 | 2678404.1321 | 1255075.3282 | 2678435.4359 | 1255060.1384
99 | 2678342.4569 | 1255071.8502 | 2678358.8623 | 1255065.1733
100 | 2678358.8623 | 1255065.1733 | 2678368.9371 | 1255060.2613
101 | 2678473.1786 | 1255062.1262 | 2678470.7376 | 1255070.4469
102 | 2678342.4569 | 1255071.8502 | 2678336.787 | 1255058.5208 | 2678335.4389 | 1255055.8052
103 | 2678516.6291 | 1254836.3766 | 2678492.9357 | 1254842.7144
104 | 2678593.7705 | 1254883.5201 | 2678601.1609 | 1254816.0581
105 | 2678592.4061 | 1254895.9743 | 2678593.7705 | 1254883.5201
106 | 2678467.8761 | 1254858.1114 | 2678457.5461 | 1254863.9182 | 2678457.5461 | 1254863.9182
107 | 2678323.4066 | 1255031.5682 | 2678335.4389 | 1255055.8052
108 | 2678323.4066 | 1255031.5682 | 2678322.9223 | 1255030.5388
109 | 2678322.9223 | 1255030.5388 | 2678297.2431 | 1255039.8628
110 | 2678367.0805 | 1254979.4736 | 2678368.0148 | 1254980.1309 | 2678369.1121 | 1254980.4345 | 2678370.2522 | 1254980.3606 | 2678371.2993 | 1254979.9075 | 2678372.1086 | 1254979.1732 | 2678372.6419 | 1254978.2129 | 2678372.8373 | 1254977.1258
111 | 2678372.8373 | 1254977.1258 | 2678379.7193 | 1254979.8188 | 2678387.2152 | 1254994.8957
112 | 2678372.8373 | 1254977.1258 | 2678372.6706 | 1254976.045 | 2678372.163 | 1254975.0709 | 2678371.3658 | 1254974.3153
113 | 2678371.3658 | 1254974.3153 | 2678384.4817 | 1254967.2616
114 | 2678478.4112 | 1255035.1558 | 2678478.1755 | 1255045.0934 | 2678473.1786 | 1255062.1262
115 | 2678586.4006 | 1255028.9718 | 2678584.5621 | 1255024.8332 | 2678584.2636 | 1255024.9589
116 | 2678600.2366 | 1255023.2289 | 2678586.4006 | 1255028.9718

## bus_geodata
| x | y | coords
0 | 2678496.1071 | 1254795.7082
1 | 2678532.9794 | 1254795.0108
2 | 2678533.1121 | 1254806.6212
3 | 2678529.1735 | 1254807.8032
4 | 2678533.4103 | 1254824.7076
5 | 2678336.6131 | 1254955.953
6 | 2678359.9678 | 1254939.5052
7 | 2678321.3805 | 1254963.2493
8 | 2678457.3263 | 1254793.9853
9 | 2678469.213 | 1254782.8122
10 | 2678445.9681 | 1254804.6704
11 | 2678344.8971 | 1254907.4375
12 | 2678374.3471 | 1254891.593
13 | 2678354.9718 | 1254928.8747
14 | 2678433.886 | 1254865.7951
15 | 2678437.2342 | 1254841.4102
16 | 2678446.852 | 1254859.4922
17 | 2678304.3094 | 1254971.4263
18 | 2678300.4747 | 1254973.3215
19 | 2678429.2826 | 1254820.3669
20 | 2678456.5791 | 1254834.8293
21 | 2678501.3948 | 1254947.8507
22 | 2678467.1642 | 1254915.8281
23 | 2678501.2801 | 1254971.856
24 | 2678521.9417 | 1254915.0891
25 | 2678531.2968 | 1254907.617
26 | 2678539.4623 | 1254908.5259
27 | 2678533.8959 | 1254854.1567
28 | 2678508.5796 | 1254993.1242
29 | 2678497.1386 | 1254964.6859
30 | 2678537.8181 | 1255029.0275
31 | 2678515.2824 | 1254984.8624
32 | 2678551.0972 | 1255024.5506
33 | 2678529.0743 | 1254979.4155
34 | 2678477.4099 | 1255003.8414
35 | 2678528.4166 | 1255029.5652
36 | 2678478.9439 | 1255012.6952
37 | 2678465.198 | 1255008.1883
38 | 2678575.5749 | 1255073.328
39 | 2678586.1237 | 1255080.5067
40 | 2678573.9881 | 1255091.7096
41 | 2678569.7533 | 1255056.9798
42 | 2678561.9319 | 1255073.5176
43 | 2678531.406 | 1255107.4464
44 | 2678597.4468 | 1255098.1145
45 | 2678604.1043 | 1255068.8476
46 | 2678380.4149 | 1255111.2929
47 | 2678370.9922 | 1255091.4089
48 | 2678409.4185 | 1255108.0387
49 | 2678343.7108 | 1255099.0871
50 | 2678342.8651 | 1255097.3726
51 | 2678326.8847 | 1255106.4123
52 | 2678462.3854 | 1255104.3619
53 | 2678465.315 | 1255090.9221
54 | 2678428.9888 | 1255106.7102
55 | 2678530.0415 | 1254832.7889
56 | 2678501.565 | 1254816.0736
57 | 2678309.756 | 1255084.3271
58 | 2678332.2061 | 1255075.762
59 | 2678302.3959 | 1255066.4609
60 | 2678376.1377 | 1254935.8889
61 | 2678397.5431 | 1254880.8808
62 | 2678369.6937 | 1254881.2459
63 | 2678388.4584 | 1254929.4413
64 | 2678394.5768 | 1254926.2389
65 | 2678293.7698 | 1254954.9972
66 | 2678375.2619 | 1254878.6597
67 | 2678447.4835 | 1254859.1852
68 | 2678305.5833 | 1254986.7212
69 | 2678317.5052 | 1255006.6493
70 | 2678313.8321 | 1255008.302
71 | 2678348.732 | 1254989.5317
72 | 2678410.3365 | 1254844.5951
73 | 2678425.5323 | 1254867.6971
74 | 2678472.0875 | 1254824.9039
75 | 2678530.9324 | 1254862.233
76 | 2678540.1191 | 1254954.5468
77 | 2678561.2209 | 1254903.7022
78 | 2678483.6133 | 1254943.996
79 | 2678565.0575 | 1255019.4482
80 | 2678561.5727 | 1254963.1488
81 | 2678478.4454 | 1255033.7155
82 | 2678453.2466 | 1255013.683
83 | 2678625.1123 | 1255059.2581
84 | 2678570.3076 | 1255030.8375
85 | 2678671.1341 | 1254971.4101
86 | 2678618.6736 | 1254993.5104
87 | 2678404.1321 | 1255075.3282
88 | 2678358.8623 | 1255065.1733
89 | 2678470.7376 | 1255070.4469
90 | 2678342.4569 | 1255071.8502
91 | 2678516.6291 | 1254836.3766
92 | 2678492.9357 | 1254842.7144
93 | 2678601.1609 | 1254816.0581
94 | 2678593.7705 | 1254883.5201
95 | 2678592.4061 | 1254895.9743
96 | 2678467.8761 | 1254858.1114
97 | 2678457.5461 | 1254863.9182
98 | 2678435.7018 | 1254884.0755
99 | 2678409.3986 | 1254900.6885
100 | 2678460.2625 | 1254919.9035
101 | 2678368.9371 | 1255060.2613
102 | 2678323.4066 | 1255031.5682
103 | 2678335.4389 | 1255055.8052
104 | 2678322.9223 | 1255030.5388
105 | 2678297.2431 | 1255039.8628
106 | 2678367.0805 | 1254979.4736
107 | 2678435.4359 | 1255060.1384
108 | 2678387.2152 | 1254994.8957
109 | 2678372.8373 | 1254977.1258
110 | 2678371.3658 | 1254974.3153
111 | 2678384.4817 | 1254967.2616
112 | 2678478.4112 | 1255035.1558
113 | 2678581.717 | 1255010.5698
114 | 2678584.2636 | 1255024.9589
115 | 2678586.4006 | 1255028.9718
116 | 2678600.2366 | 1255023.2289
117 | 2678473.1786 | 1255062.1262
118 | 2678501.2801 | 1254971.856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1