## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_96-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_96-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_96-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_96-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_96-19_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_96-19_0_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_96-19_0_3_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_96-19_0_3_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_96-19_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_96-19_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_96-19_0_3_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_96-19_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_96-19_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_96-19_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_96-19_0_3_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_96-19_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_96-19_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_96-19_0_3_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_96-19_0_3_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_96-19_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_96-19_0_3_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_96-19_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_96-19_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_96-19_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_96-19_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_96-19_0_3_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_96-19_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_96-19_0_3_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_96-19_0_3_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_96-19_0_3_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_96-19_0_3_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_96-19_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_96-19_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_96-19_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_96-19_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_96-19_0_3_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_96-19_0_3_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_96-19_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_96-19_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_96-19_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_96-19_0_3_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_96-19_0_3_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_96-19_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_96-19_0_3_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_96-19_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_96-19_0_3_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_96-19_0_3_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_96-19_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_96-19_0_3_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_96-19_0_3_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_96-19_0_3_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_96-19_0_3_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_96-19_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_96-19_0_3_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_96-19_0_3_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_96-19_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_96-19_0_3_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_96-19_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_96-19_0_3_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_96-19_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_96-19_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_96-19_0_3_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_96-19_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_96-19_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_96-19_0_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_96-19_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_96-19_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_96-19_0_3_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_96-19_0_3_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_96-19_0_3_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_96-19_0_3_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_96-19_0_3_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_96-19_0_3_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_96-19_0_3_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_96-19_0_3_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_96-19_0_3_node_42 | 0.4 | n |  | TRUE
76 | bus_LV_96-19_0_3_node_43 | 0.4 | n |  | TRUE
77 | bus_LV_96-19_0_3_node_45 | 0.4 | n |  | TRUE
78 | bus_LV_96-19_0_3_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_96-19_0_3_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_96-19_0_3_node_46 | 0.4 | n |  | TRUE
81 | bus_LV_96-19_0_3_node_51 | 0.4 | n |  | TRUE
82 | bus_LV_96-19_0_3_node_52 | 0.4 | n |  | TRUE
83 | bus_LV_96-19_0_3_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_96-19_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_96-19_0_3_node_88 | 0.4 | n |  | TRUE
86 | bus_MV_669_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_96-19_0_3_load_0 | 0 | 0.0052933 | 0.0013266 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_96-19_0_3_load_1 | 1 | 0.010319 | 0.0025862 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_96-19_0_3_load_3 | 3 | 0.010066 | 0.0025228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_96-19_0_3_load_33 | 5 | 0.010275 | 0.0025752 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_96-19_0_3_load_36 | 6 | 0.0036901 | 0.00092483 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_96-19_0_3_load_38 | 7 | 0.0015384 | 0.00038555 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_96-19_0_3_load_48 | 10 | 0.002946 | 0.00073833 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_96-19_0_3_load_74 | 14 | 0.01725 | 0.0043232 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_96-19_0_3_load_87 | 17 | 0.0073673 | 0.0018464 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_96-19_0_3_load_72 | 18 | 0.011885 | 0.0029787 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_96-19_0_3_load_76 | 20 | 0.0075871 | 0.0019015 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_96-19_0_3_load_39 | 25 | 0.0014659 | 0.00036739 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_96-19_0_3_load_60 | 27 | 0.0021337 | 0.00053476 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_96-19_0_3_load_64 | 28 | 0.0030687 | 0.00076909 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_96-19_0_3_load_68 | 29 | 0.0012439 | 0.00031174 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_96-19_0_3_load_81 | 30 | 0.010724 | 0.0026876 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_96-19_0_3_load_34 | 32 | 0.010383 | 0.0026021 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_96-19_0_3_load_37 | 33 | 0.0018527 | 0.00046433 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_96-19_0_3_load_77 | 36 | 0.0075872 | 0.0019015 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_96-19_0_3_load_53 | 37 | 0.0016048 | 0.00040221 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_96-19_0_3_load_79 | 40 | 0.0087496 | 0.0021928 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_96-19_0_3_load_84 | 43 | 0.019187 | 0.0048086 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_96-19_0_3_load_71 | 46 | 0.013073 | 0.0032765 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_96-19_0_3_load_69 | 49 | 0.022808 | 0.0057162 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_96-19_0_3_load_75 | 51 | 0.013819 | 0.0034634 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_96-19_0_3_load_70 | 53 | 0.014032 | 0.0035168 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_96-19_0_3_load_91 | 54 | 0.038522 | 0.0096546 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_96-19_0_3_load_47 | 57 | 0.0022819 | 0.0005719 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_96-19_0_3_load_80 | 58 | 0.0076795 | 0.0019247 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_96-19_0_3_load_50 | 59 | 0.002398 | 0.000601 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_96-19_0_3_load_49 | 60 | 0.0025144 | 0.00063016 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_96-19_0_3_load_40 | 61 | 0.0015098 | 0.0003784 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_96-19_0_3_load_59 | 62 | 0.0037732 | 0.00094565 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_96-19_0_3_load_65 | 63 | 0.0025166 | 0.00063072 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_96-19_0_3_load_67 | 64 | 0.0011771 | 0.000295 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_96-19_0_3_load_62 | 65 | 0.0071184 | 0.001784 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_96-19_0_3_load_61 | 66 | 0.0077422 | 0.0019404 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_96-19_0_3_load_35 | 68 | 0.0037405 | 0.00093745 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_96-19_0_3_load_90 | 69 | 0.022566 | 0.0056557 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_96-19_0_3_load_54 | 70 | 0.0013186 | 0.00033046 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_96-19_0_3_load_78 | 71 | 0.013966 | 0.0035003 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_96-19_0_3_load_85 | 72 | 0.0085358 | 0.0021393 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_96-19_0_3_load_41 | 73 | 0.0021002 | 0.00052635 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_96-19_0_3_load_44 | 74 | 0.0037505 | 0.00093995 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_96-19_0_3_load_42 | 75 | 0.0023309 | 0.00058418 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_96-19_0_3_load_43 | 76 | 0.0013976 | 0.00035026 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_96-19_0_3_load_45 | 77 | 0.0023083 | 0.00057852 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_96-19_0_3_load_56 | 78 | 0.0014218 | 0.00035633 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_96-19_0_3_load_57 | 79 | 0.0032759 | 0.00082103 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_96-19_0_3_load_46 | 80 | 0.0033699 | 0.00084458 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_96-19_0_3_load_51 | 81 | 0.0012435 | 0.00031166 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_96-19_0_3_load_52 | 82 | 0.0013897 | 0.00034829 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_96-19_0_3_load_63 | 83 | 0.0012497 | 0.00031321 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_96-19_0_3_load_88 | 85 | 0.0066358 | 0.0016631 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_96-19_0_3_line_0 |  | 0 | 1 | 0.010658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_96-19_0_3_line_1 |  | 0 | 2 | 0.010345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_96-19_0_3_line_2 |  | 1 | 3 | 0.014836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_96-19_0_3_line_3 |  | 2 | 4 | 0.13633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_96-19_0_3_line_4 |  | 3 | 5 | 0.020709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_96-19_0_3_line_5 |  | 4 | 6 | 0.018958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_96-19_0_3_line_6 |  | 4 | 7 | 0.025064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_96-19_0_3_line_7 |  | 6 | 31 | 0.034694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_96-19_0_3_line_8 |  | 7 | 33 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_96-19_0_3_line_9 |  | 8 | 9 | 0.085126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_96-19_0_3_line_10 |  | 8 | 10 | 0.096297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_96-19_0_3_line_11 |  | 9 | 21 | 0.019281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_96-19_0_3_line_12 |  | 10 | 57 | 0.011638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_96-19_0_3_line_13 |  | 11 | 12 | 0.033746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_96-19_0_3_line_14 |  | 11 | 13 | 0.090635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_96-19_0_3_line_15 |  | 11 | 14 | 0.038702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_96-19_0_3_line_16 |  | 12 | 19 | 0.1005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_96-19_0_3_line_17 |  | 12 | 20 | 0.017535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_96-19_0_3_line_18 |  | 13 | 18 | 0.034648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_96-19_0_3_line_19 |  | 13 | 15 | 0.005055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_96-19_0_3_line_20 |  | 15 | 16 | 0.016712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_96-19_0_3_line_21 |  | 16 | 17 | 0.021886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_96-19_0_3_line_22 |  | 17 | 55 | 0.01864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_96-19_0_3_line_23 |  | 18 | 44 | 0.027076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_96-19_0_3_line_24 |  | 19 | 33 | 0.072693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_96-19_0_3_line_25 |  | 20 | 36 | 0.017997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_96-19_0_3_line_26 |  | 21 | 30 | 0.038881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_96-19_0_3_line_27 |  | 22 | 23 | 0.004048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_96-19_0_3_line_28 |  | 22 | 24 | 0.047174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_96-19_0_3_line_29 |  | 22 | 25 | 0.010544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_96-19_0_3_line_30 |  | 23 | 29 | 0.069945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_96-19_0_3_line_31 |  | 23 | 26 | 0.0084462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_96-19_0_3_line_32 |  | 24 | 37 | 0.010718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_96-19_0_3_line_33 |  | 25 | 61 | 0.014412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_96-19_0_3_line_34 |  | 26 | 27 | 0.0095634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_96-19_0_3_line_35 |  | 26 | 28 | 0.034373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_96-19_0_3_line_36 |  | 27 | 62 | 0.029355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_96-19_0_3_line_37 |  | 28 | 63 | 0.011251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_96-19_0_3_line_38 |  | 29 | 64 | 0.019935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_96-19_0_3_line_39 |  | 30 | 67 | 0.037518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_96-19_0_3_line_40 |  | 31 | 32 | 0.014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_96-19_0_3_line_41 |  | 32 | 68 | 0.038016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_96-19_0_3_line_42 |  | 34 | 35 | 0.021828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_96-19_0_3_line_43 |  | 34 | 36 | 0.01949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_96-19_0_3_line_44 |  | 35 | 69 | 0.030374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_96-19_0_3_line_45 |  | 37 | 70 | 0.023966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_96-19_0_3_line_46 |  | 38 | 39 | 0.027228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_96-19_0_3_line_47 |  | 38 | 40 | 0.013691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_96-19_0_3_line_48 |  | 38 | 41 | 0.022467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_96-19_0_3_line_49 |  | 39 | 51 | 0.023359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_96-19_0_3_line_50 |  | 40 | 71 | 0.035066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_96-19_0_3_line_51 |  | 41 | 72 | 0.028514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_96-19_0_3_line_52 |  | 41 | 42 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_96-19_0_3_line_53 |  | 42 | 43 | 0.024962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_96-19_0_3_line_54 |  | 43 | 67 | 0.05442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_96-19_0_3_line_55 |  | 44 | 45 | 0.004843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_96-19_0_3_line_56 |  | 44 | 46 | 0.04852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_96-19_0_3_line_57 |  | 45 | 71 | 0.011517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_96-19_0_3_line_58 |  | 45 | 58 | 0.026847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_96-19_0_3_line_59 |  | 47 | 48 | 0.095314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_96-19_0_3_line_60 |  | 47 | 49 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_96-19_0_3_line_61 |  | 48 | 50 | 0.047595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_96-19_0_3_line_62 |  | 48 | 51 | 0.024738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_96-19_0_3_line_63 |  | 50 | 52 | 0.057024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_96-19_0_3_line_64 |  | 50 | 53 | 0.02189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_96-19_0_3_line_65 |  | 52 | 54 | 0.021473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_96-19_0_3_line_66 |  | 55 | 56 | 0.005359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_96-19_0_3_line_67 |  | 56 | 63 | 0.030543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_96-19_0_3_line_68 |  | 57 | 80 | 0.015863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_96-19_0_3_line_69 |  | 59 | 60 | 0.031178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_96-19_0_3_line_70 |  | 60 | 81 | 0.021461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_96-19_0_3_line_71 |  | 61 | 73 | 0.018757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_96-19_0_3_line_72 |  | 62 | 66 | 0.031049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_96-19_0_3_line_73 |  | 64 | 83 | 0.00013915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_96-19_0_3_line_74 |  | 65 | 66 | 0.042988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_96-19_0_3_line_75 |  | 67 | 84 | 0.04568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_96-19_0_3_line_76 |  | 73 | 74 | 0.01189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_96-19_0_3_line_77 |  | 74 | 75 | 0.018996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_96-19_0_3_line_78 |  | 75 | 76 | 0.0052813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_96-19_0_3_line_79 |  | 76 | 77 | 0.019197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_96-19_0_3_line_80 |  | 77 | 78 | 0.0076719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_96-19_0_3_line_81 |  | 78 | 79 | 0.002702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_96-19_0_3_line_82 |  | 81 | 82 | 0.00038444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_96-19_0_3_line_83 |  | 82 | 83 | 0.019225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_96-19_0_3_line_84 |  | 84 | 85 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_96-19_0_3_trafo_71 | 0.63 MVA 20/0.4 kV | 86 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2677714.7471 | 1253704.2696 | 2677704.8916 | 1253708.3271
1 | 2677724.3128 | 1253700.3315 | 2677714.7471 | 1253704.2696
2 | 2677702.0659 | 1253722.4957 | 2677701.528 | 1253716.8226 | 2677704.8916 | 1253708.3271 | 2677704.8916 | 1253708.3271
3 | 2677611.6327 | 1253692.6153 | 2677635.8385 | 1253689.7303 | 2677668.2273 | 1253685.9853 | 2677680.3268 | 1253685.6659 | 2677710.6132 | 1253678.2687 | 2677721.6231 | 1253678.1797 | 2677727.9759 | 1253685.1127 | 2677724.3128 | 1253700.3315
4 | 2677702.0659 | 1253722.4957 | 2677703.1452 | 1253733.8787 | 2677706.0297 | 1253742.6933
5 | 2677614.5638 | 1253711.3453 | 2677611.6327 | 1253692.6153
6 | 2677611.6327 | 1253692.6153 | 2677586.7784 | 1253695.8493
7 | 2677614.5638 | 1253711.3453 | 2677620.915 | 1253745.4538
8 | 2677570.0731 | 1253698.023 | 2677586.7784 | 1253695.8493
9 | 2677797.3369 | 1253454.0184 | 2677801.3799 | 1253454.7053 | 2677804.296 | 1253453.8652 | 2677807.0334 | 1253451.6996 | 2677812.4968 | 1253446.5119 | 2677822.4591 | 1253432.588 | 2677850.3032 | 1253391.2454
10 | 2677850.3032 | 1253391.2454 | 2677844.6538 | 1253388.7693 | 2677836.8347 | 1253386.5983 | 2677830.2246 | 1253386.0222 | 2677825.3233 | 1253387.4811 | 2677814.5154 | 1253394.5444 | 2677792.9805 | 1253405.3918 | 2677770.1381 | 1253415.2548 | 2677761.779 | 1253415.3791
11 | 2677784.2767 | 1253467.6904 | 2677791.3101 | 1253463.0348 | 2677791.8406 | 1253462.2857 | 2677792.9017 | 1253460.7763 | 2677797.3369 | 1253454.0184
12 | 2677750.1712 | 1253414.5791 | 2677761.006 | 1253415.3906 | 2677761.779 | 1253415.3791
13 | 2677554.3485 | 1253682.7801 | 2677546.4254 | 1253649.9743
14 | 2677532.4581 | 1253567.0523 | 2677526.5344 | 1253567.6641 | 2677546.4254 | 1253649.9743
15 | 2677546.4254 | 1253649.9743 | 2677559.0512 | 1253642.8898 | 2677575.143 | 1253624.783
16 | 2677500.6974 | 1253714.1457 | 2677492.1071 | 1253712.6989 | 2677492.4635 | 1253702.7629 | 2677491.6753 | 1253694.9579 | 2677501.3765 | 1253692.8166 | 2677512.5085 | 1253690.8941 | 2677511.2922 | 1253682.939 | 2677518.9232 | 1253682.1716 | 2677520.9053 | 1253684.6549 | 2677522.5786 | 1253685.3662 | 2677524.4868 | 1253686.0027 | 2677526.4409 | 1253686.0172 | 2677554.3485 | 1253682.7801
17 | 2677554.3485 | 1253682.7801 | 2677571.7604 | 1253680.7052
18 | 2677532.4581 | 1253567.0523 | 2677566.432 | 1253560.2508
19 | 2677531.3834 | 1253562.1123 | 2677532.4581 | 1253567.0523
20 | 2677514.8045 | 1253563.9412 | 2677525.4752 | 1253563.2692 | 2677531.3834 | 1253562.1123
21 | 2677514.8045 | 1253563.9412 | 2677511.4431 | 1253542.3145
22 | 2677507.0094 | 1253524.2098 | 2677511.4431 | 1253542.3145
23 | 2677592.9815 | 1253554.9356 | 2677566.432 | 1253560.2508
24 | 2677500.6974 | 1253714.1457 | 2677506.7078 | 1253708.6314 | 2677513.7666 | 1253705.4547 | 2677527.9398 | 1253703.5053 | 2677570.0731 | 1253698.023
25 | 2677571.7604 | 1253680.7052 | 2677580.7459 | 1253679.6344 | 2677589.5932 | 1253678.2949
26 | 2677784.2767 | 1253467.6904 | 2677785.6132 | 1253471.066 | 2677785.0756 | 1253476.9522 | 2677782.398 | 1253482.0319 | 2677768.7662 | 1253501.2932
27 | 2677538.3711 | 1253441.659 | 2677534.4299 | 1253440.6845
28 | 2677490.1158 | 1253424.9709 | 2677492.0203 | 1253425.8965 | 2677500.9223 | 1253430.0827 | 2677519.31 | 1253437.0951 | 2677534.4299 | 1253440.6845
29 | 2677534.4299 | 1253440.6845 | 2677534.7468 | 1253437.2305 | 2677531.7521 | 1253430.8199 | 2677531.7521 | 1253430.8199
30 | 2677538.3711 | 1253441.659 | 2677550.258 | 1253444.361 | 2677569.9306 | 1253446.0198 | 2677583.488 | 1253446.1974 | 2677601.4525 | 1253445.7657 | 2677607.9258 | 1253445.3822
31 | 2677537.16 | 1253450.016 | 2677537.8159 | 1253444.8763 | 2677538.3711 | 1253441.659
32 | 2677490.1158 | 1253424.9709 | 2677490.394 | 1253414.2567
33 | 2677545.8361 | 1253427.7646 | 2677531.7521 | 1253430.8199
34 | 2677537.16 | 1253450.016 | 2677543.7925 | 1253451.1815 | 2677546.594 | 1253451.5776
35 | 2677537.16 | 1253450.016 | 2677537.3787 | 1253455.7898 | 2677536.9772 | 1253458.7868 | 2677535.4485 | 1253470.0751 | 2677533.4321 | 1253477.1206 | 2677530.5247 | 1253483.0648 | 2677530.4082 | 1253483.2684
36 | 2677575.7591 | 1253454.7732 | 2677561.3867 | 1253453.6691 | 2677546.594 | 1253451.5776
37 | 2677530.4082 | 1253483.2684 | 2677524.8242 | 1253493.0364
38 | 2677627.8254 | 1253444.2032 | 2677607.9258 | 1253445.3822
39 | 2677748.2983 | 1253532.6552 | 2677753.1746 | 1253523.3234 | 2677768.7662 | 1253501.2932
40 | 2677620.915 | 1253745.4538 | 2677616.848 | 1253746.0343 | 2677610.1289 | 1253749.7713 | 2677607.1982 | 1253750.5286
41 | 2677607.1982 | 1253750.5286 | 2677587.8929 | 1253755.5176 | 2677585.4674 | 1253747.1463 | 2677576.421 | 1253749.5516
42 | 2677608.8632 | 1253675.3773 | 2677603.769 | 1253654.1504
43 | 2677608.8632 | 1253675.3773 | 2677589.5932 | 1253678.2949
44 | 2677603.769 | 1253654.1504 | 2677601.8846 | 1253643.6402 | 2677604.3666 | 1253624.1026
45 | 2677490.394 | 1253414.2567 | 2677491.0161 | 1253390.2987
46 | 2677649.7378 | 1253567.1438 | 2677651.1536 | 1253544.3454 | 2677651.4298 | 1253539.968
47 | 2677651.4298 | 1253539.968 | 2677637.7939 | 1253541.1902 | 2677637.7939 | 1253541.1902
48 | 2677651.4298 | 1253539.968 | 2677652.6839 | 1253539.851 | 2677671.0661 | 1253542.0714 | 2677673.7357 | 1253542.7625
49 | 2677649.7378 | 1253567.1438 | 2677672.0306 | 1253574.1201
50 | 2677603.3864 | 1253547.9543 | 2677637.7939 | 1253541.1902
51 | 2677673.7357 | 1253542.7625 | 2677678.1953 | 1253514.5998
52 | 2677688.5847 | 1253547.4162 | 2677682.3986 | 1253545.0222 | 2677673.7357 | 1253542.7625
53 | 2677688.5847 | 1253547.4162 | 2677690.3262 | 1253543.5139 | 2677697.1075 | 1253547.1277 | 2677708.515 | 1253553.3713
54 | 2677748.2983 | 1253532.6552 | 2677741.2619 | 1253548.4635 | 2677736.1334 | 1253553.4443 | 2677729.9528 | 1253556.9547 | 2677721.8014 | 1253558.8381 | 2677715.9868 | 1253557.4608 | 2677708.515 | 1253553.3713
55 | 2677592.0856 | 1253550.1759 | 2677592.9815 | 1253554.9356
56 | 2677592.9815 | 1253554.9356 | 2677596.5157 | 1253573.718 | 2677601.4523 | 1253578.186 | 2677623.6745 | 1253573.3136
57 | 2677592.0856 | 1253550.1759 | 2677603.3864 | 1253547.9543
58 | 2677592.0856 | 1253550.1759 | 2677565.7433 | 1253555.3558
59 | 2677694.1068 | 1253583.7377 | 2677705.0005 | 1253569.5256 | 2677705.653 | 1253568.678 | 2677710.1716 | 1253563.6002 | 2677725.4393 | 1253572.5626 | 2677727.9419 | 1253574.4858 | 2677729.3201 | 1253578.1288 | 2677728.3695 | 1253583.865 | 2677727.792 | 1253592.2192 | 2677728.0924 | 1253599.2283 | 2677727.379 | 1253605.2901 | 2677725.9746 | 1253607.0841 | 2677725.8063 | 1253610.7068 | 2677727.9055 | 1253622.0872
60 | 2677727.9055 | 1253622.0872 | 2677721.5876 | 1253630.8775 | 2677718.6743 | 1253635.383
61 | 2677665.3929 | 1253615.6071 | 2677675.0704 | 1253616.4457 | 2677676.3775 | 1253613.4384 | 2677685.9233 | 1253596.7067 | 2677693.508 | 1253584.5193 | 2677694.1068 | 1253583.7377
62 | 2677694.1068 | 1253583.7377 | 2677691.8836 | 1253582.3853 | 2677688.1 | 1253581.4795 | 2677685.7859 | 1253578.4247 | 2677672.0306 | 1253574.1201
63 | 2677665.3929 | 1253615.6071 | 2677675.0704 | 1253616.4457 | 2677668.6526 | 1253631.1391 | 2677663.1089 | 1253628.0864 | 2677641.2643 | 1253616.0356
64 | 2677665.3929 | 1253615.6071 | 2677645.8651 | 1253605.7169
65 | 2677626.641 | 1253631.5777 | 2677638.6716 | 1253620.416 | 2677641.2643 | 1253616.0356
66 | 2677507.0094 | 1253524.2098 | 2677509.6661 | 1253519.5522
67 | 2677509.6661 | 1253519.5522 | 2677524.8242 | 1253493.0364
68 | 2677734.3522 | 1253413.3942 | 2677750.1712 | 1253414.5791
69 | 2677669.0049 | 1253443.1087 | 2677673.3153 | 1253443.0943 | 2677700.1389 | 1253444.6368
70 | 2677669.0049 | 1253443.1087 | 2677647.5438 | 1253443.1804
71 | 2677545.8361 | 1253427.7646 | 2677564.1668 | 1253423.7881
72 | 2677575.7591 | 1253454.7732 | 2677582.3277 | 1253455.2778 | 2677601.232 | 1253454.5248 | 2677606.7658 | 1253454.2325
73 | 2677627.9644 | 1253444.195 | 2677627.8254 | 1253444.2032
74 | 2677606.7658 | 1253454.2325 | 2677640.5196 | 1253452.4491 | 2677649.6993 | 1253452.0705
75 | 2677748.2983 | 1253532.6552 | 2677746.6664 | 1253529.3647 | 2677743.4652 | 1253524.33 | 2677739.7095 | 1253520.1555 | 2677732.8342 | 1253515.0726 | 2677730.3116 | 1253514.1054 | 2677721.9895 | 1253512.3283 | 2677723.3892 | 1253501.6943
76 | 2677564.1668 | 1253423.7881 | 2677574.6282 | 1253421.5187 | 2677575.6453 | 1253420.9102
77 | 2677591.9472 | 1253411.1586 | 2677575.6453 | 1253420.9102
78 | 2677591.9472 | 1253411.1586 | 2677596.4795 | 1253408.4474
79 | 2677613.9827 | 1253401.0388 | 2677604.8596 | 1253403.4345 | 2677596.4795 | 1253408.4474
80 | 2677613.9827 | 1253401.0388 | 2677621.403 | 1253399.0902
81 | 2677624.0164 | 1253398.404 | 2677621.403 | 1253399.0902
82 | 2677647.5438 | 1253443.1804 | 2677647.1594 | 1253443.1817
83 | 2677627.9644 | 1253444.195 | 2677644.9421 | 1253443.1891 | 2677647.1594 | 1253443.1817
84 | 2677723.3892 | 1253501.6943 | 2677723.7832 | 1253498.6973 | 2677725.458 | 1253498.7193 | 2677726.5289 | 1253491.7305

## bus_geodata
| x | y | coords
0 | 2677714.7471 | 1253704.2696
1 | 2677704.8916 | 1253708.3271
2 | 2677724.3128 | 1253700.3315
3 | 2677702.0659 | 1253722.4957
4 | 2677611.6327 | 1253692.6153
5 | 2677706.0297 | 1253742.6933
6 | 2677614.5638 | 1253711.3453
7 | 2677586.7784 | 1253695.8493
8 | 2677850.3032 | 1253391.2454
9 | 2677797.3369 | 1253454.0184
10 | 2677761.779 | 1253415.3791
11 | 2677546.4254 | 1253649.9743
12 | 2677554.3485 | 1253682.7801
13 | 2677532.4581 | 1253567.0523
14 | 2677575.143 | 1253624.783
15 | 2677531.3834 | 1253562.1123
16 | 2677514.8045 | 1253563.9412
17 | 2677511.4431 | 1253542.3145
18 | 2677566.432 | 1253560.2508
19 | 2677500.6974 | 1253714.1457
20 | 2677571.7604 | 1253680.7052
21 | 2677784.2767 | 1253467.6904
22 | 2677534.4299 | 1253440.6845
23 | 2677538.3711 | 1253441.659
24 | 2677490.1158 | 1253424.9709
25 | 2677531.7521 | 1253430.8199
26 | 2677537.16 | 1253450.016
27 | 2677546.594 | 1253451.5776
28 | 2677530.4082 | 1253483.2684
29 | 2677607.9258 | 1253445.3822
30 | 2677768.7662 | 1253501.2932
31 | 2677620.915 | 1253745.4538
32 | 2677607.1982 | 1253750.5286
33 | 2677570.0731 | 1253698.023
34 | 2677608.8632 | 1253675.3773
35 | 2677603.769 | 1253654.1504
36 | 2677589.5932 | 1253678.2949
37 | 2677490.394 | 1253414.2567
38 | 2677651.4298 | 1253539.968
39 | 2677649.7378 | 1253567.1438
40 | 2677637.7939 | 1253541.1902
41 | 2677673.7357 | 1253542.7625
42 | 2677688.5847 | 1253547.4162
43 | 2677708.515 | 1253553.3713
44 | 2677592.9815 | 1253554.9356
45 | 2677592.0856 | 1253550.1759
46 | 2677623.6745 | 1253573.3136
47 | 2677727.9055 | 1253622.0872
48 | 2677694.1068 | 1253583.7377
49 | 2677718.6743 | 1253635.383
50 | 2677665.3929 | 1253615.6071
51 | 2677672.0306 | 1253574.1201
52 | 2677641.2643 | 1253616.0356
53 | 2677645.8651 | 1253605.7169
54 | 2677626.641 | 1253631.5777
55 | 2677507.0094 | 1253524.2098
56 | 2677509.6661 | 1253519.5522
57 | 2677750.1712 | 1253414.5791
58 | 2677565.7433 | 1253555.3558
59 | 2677700.1389 | 1253444.6368
60 | 2677669.0049 | 1253443.1087
61 | 2677545.8361 | 1253427.7646
62 | 2677575.7591 | 1253454.7732
63 | 2677524.8242 | 1253493.0364
64 | 2677627.8254 | 1253444.2032
65 | 2677649.6993 | 1253452.0705
66 | 2677606.7658 | 1253454.2325
67 | 2677748.2983 | 1253532.6552
68 | 2677576.421 | 1253749.5516
69 | 2677604.3666 | 1253624.1026
70 | 2677491.0161 | 1253390.2987
71 | 2677603.3864 | 1253547.9543
72 | 2677678.1953 | 1253514.5998
73 | 2677564.1668 | 1253423.7881
74 | 2677575.6454 | 1253420.9102
75 | 2677591.9472 | 1253411.1586
76 | 2677596.4795 | 1253408.4474
77 | 2677613.9827 | 1253401.0388
78 | 2677621.403 | 1253399.0902
79 | 2677624.0164 | 1253398.404
80 | 2677734.3522 | 1253413.3942
81 | 2677647.5438 | 1253443.1804
82 | 2677647.1594 | 1253443.1817
83 | 2677627.9644 | 1253444.195
84 | 2677723.3892 | 1253501.6943
85 | 2677726.5289 | 1253491.7305
86 | 2677638.8727 | 1253569.9813

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1