## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_96-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_96-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_96-1_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_96-1_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_96-1_0_5_node_67 | 0.4 | n |  | TRUE
5 | bus_LV_96-1_0_5_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_96-1_0_5_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_96-1_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_96-1_0_5_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_96-1_0_5_node_88 | 0.4 | n |  | TRUE
10 | bus_LV_96-1_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_96-1_0_5_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_96-1_0_5_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_96-1_0_5_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_96-1_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_96-1_0_5_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_96-1_0_5_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_96-1_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_96-1_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_96-1_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_96-1_0_5_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_96-1_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_96-1_0_5_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_96-1_0_5_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_96-1_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_96-1_0_5_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_96-1_0_5_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_96-1_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_96-1_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_96-1_0_5_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_96-1_0_5_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_96-1_0_5_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_96-1_0_5_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_96-1_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_96-1_0_5_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_96-1_0_5_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_96-1_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_96-1_0_5_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_96-1_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_96-1_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_96-1_0_5_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_96-1_0_5_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_96-1_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_96-1_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_96-1_0_5_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_96-1_0_5_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_96-1_0_5_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_96-1_0_5_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_96-1_0_5_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_96-1_0_5_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_96-1_0_5_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_96-1_0_5_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_96-1_0_5_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_96-1_0_5_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_96-1_0_5_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_96-1_0_5_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_96-1_0_5_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_96-1_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_96-1_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_96-1_0_5_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_96-1_0_5_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_96-1_0_5_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_96-1_0_5_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_96-1_0_5_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_96-1_0_5_node_27 | 0.4 | n |  | TRUE
65 | bus_LV_96-1_0_5_node_25 | 0.4 | n |  | TRUE
66 | bus_LV_96-1_0_5_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_96-1_0_5_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_96-1_0_5_node_33 | 0.4 | n |  | TRUE
69 | bus_LV_96-1_0_5_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_96-1_0_5_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_96-1_0_5_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_96-1_0_5_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_96-1_0_5_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_96-1_0_5_node_32 | 0.4 | n |  | TRUE
75 | bus_LV_96-1_0_5_node_34 | 0.4 | n |  | TRUE
76 | bus_LV_96-1_0_5_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_96-1_0_5_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_96-1_0_5_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_96-1_0_5_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_96-1_0_5_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_96-1_0_5_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_96-1_0_5_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_96-1_0_5_node_87 | 0.4 | n |  | TRUE
84 | bus_MV_669_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_96-1_0_5_load_0 | 0 | 0.013198 | 0.0033078 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_96-1_0_5_load_4 | 3 | 0.0035161 | 0.00088123 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_96-1_0_5_load_67 | 4 | 0.0016713 | 0.00041886 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_96-1_0_5_load_60 | 5 | 0.0036095 | 0.00090461 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_96-1_0_5_load_88 | 9 | 0.0071157 | 0.0017834 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_96-1_0_5_load_83 | 13 | 0.0087651 | 0.0021967 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_96-1_0_5_load_75 | 15 | 0.068761 | 0.017233 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_96-1_0_5_load_74 | 16 | 0.019182 | 0.0048074 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_96-1_0_5_load_73 | 20 | 0.00099627 | 0.00024969 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_96-1_0_5_load_71 | 22 | 0.0083449 | 0.0020914 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_96-1_0_5_load_72 | 23 | 0.010822 | 0.0027123 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_96-1_0_5_load_47 | 25 | 0.011093 | 0.0027801 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_96-1_0_5_load_46 | 26 | 0.033414 | 0.0083744 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_96-1_0_5_load_51 | 29 | 0.030475 | 0.0076378 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_96-1_0_5_load_82 | 30 | 0.00085988 | 0.00021551 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_96-1_0_5_load_62 | 31 | 0.081963 | 0.020542 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_96-1_0_5_load_48 | 35 | 0.015862 | 0.0039755 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_96-1_0_5_load_39 | 37 | 0.0034977 | 0.0008766 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_96-1_0_5_load_43 | 38 | 0.002018 | 0.00050577 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_96-1_0_5_load_45 | 41 | 0.018985 | 0.0047581 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_96-1_0_5_load_41 | 43 | 0.0023204 | 0.00058155 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_96-1_0_5_load_68 | 44 | 0.0036131 | 0.00090553 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_96-1_0_5_load_70 | 49 | 0.0019259 | 0.00048268 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_96-1_0_5_load_69 | 50 | 0.0013794 | 0.0003457 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_96-1_0_5_load_86 | 54 | 0.0055705 | 0.0013961 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_96-1_0_5_load_85 | 55 | 0.00419 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_96-1_0_5_load_89 | 56 | 0.0066888 | 0.0016764 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_96-1_0_5_load_40 | 57 | 0.0050322 | 0.0012612 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_96-1_0_5_load_38 | 58 | 0.0071726 | 0.0017976 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_96-1_0_5_load_65 | 61 | 0.0032379 | 0.00081148 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_96-1_0_5_load_91 | 63 | 0.0095361 | 0.00239 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_96-1_0_5_load_25 | 65 | 0.0026761 | 0.00067068 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_96-1_0_5_load_44 | 66 | 0.013085 | 0.0032793 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_96-1_0_5_load_35 | 67 | 0.00053198 | 0.00013333 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_96-1_0_5_load_37 | 69 | 0.00090285 | 0.00022627 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_96-1_0_5_load_66 | 71 | 0.0014535 | 0.00036429 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_96-1_0_5_load_55 | 72 | 0.0015738 | 0.00039443 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_96-1_0_5_load_52 | 73 | 0.0086818 | 0.0021759 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_96-1_0_5_load_32 | 74 | 0.00070294 | 0.00017617 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_96-1_0_5_load_34 | 75 | 0.00088394 | 0.00022154 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_96-1_0_5_load_59 | 76 | 0.0038791 | 0.00097221 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_96-1_0_5_load_57 | 78 | 0.0046763 | 0.001172 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_96-1_0_5_load_81 | 79 | 0.003588 | 0.00089923 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_96-1_0_5_load_76 | 81 | 0.014679 | 0.0036789 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_96-1_0_5_line_0 |  | 0 | 1 | 0.045759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_96-1_0_5_line_1 |  | 1 | 2 | 0.006552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_96-1_0_5_line_2 |  | 1 | 3 | 0.018156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_96-1_0_5_line_3 |  | 2 | 4 | 0.034597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_96-1_0_5_line_4 |  | 2 | 5 | 0.022219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_96-1_0_5_line_5 |  | 3 | 6 | 0.0056146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_96-1_0_5_line_6 |  | 4 | 44 | 0.018577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_96-1_0_5_line_7 |  | 5 | 48 | 0.010997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_96-1_0_5_line_8 |  | 6 | 45 | 0.009591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_96-1_0_5_line_9 |  | 6 | 46 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_96-1_0_5_line_10 |  | 7 | 8 | 0.030889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_96-1_0_5_line_11 |  | 7 | 9 | 0.046087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_96-1_0_5_line_12 |  | 8 | 25 | 0.022858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_96-1_0_5_line_13 |  | 9 | 51 | 0.0081953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_96-1_0_5_line_14 |  | 10 | 11 | 0.1117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_96-1_0_5_line_15 |  | 10 | 12 | 0.096482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_96-1_0_5_line_16 |  | 10 | 13 | 0.0035355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_96-1_0_5_line_17 |  | 11 | 23 | 0.022742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_96-1_0_5_line_18 |  | 11 | 17 | 0.11192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_96-1_0_5_line_19 |  | 11 | 21 | 0.067003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_96-1_0_5_line_20 |  | 12 | 31 | 0.0060782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_96-1_0_5_line_21 |  | 13 | 52 | 0.0049022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_96-1_0_5_line_22 |  | 14 | 15 | 0.014553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_96-1_0_5_line_23 |  | 14 | 16 | 0.0084804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_96-1_0_5_line_24 |  | 16 | 19 | 0.053836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_96-1_0_5_line_25 |  | 17 | 18 | 0.022807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_96-1_0_5_line_26 |  | 17 | 19 | 0.029641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_96-1_0_5_line_27 |  | 17 | 20 | 0.02192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_96-1_0_5_line_28 |  | 18 | 30 | 0.024512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_96-1_0_5_line_29 |  | 21 | 22 | 0.0034466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_96-1_0_5_line_30 |  | 24 | 25 | 0.045502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_96-1_0_5_line_31 |  | 24 | 26 | 0.033367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_96-1_0_5_line_32 |  | 27 | 28 | 0.054746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_96-1_0_5_line_33 |  | 27 | 29 | 0.20038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_96-1_0_5_line_34 |  | 28 | 32 | 0.02693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_96-1_0_5_line_35 |  | 31 | 53 | 0.025198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_96-1_0_5_line_36 |  | 32 | 56 | 0.0066075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_96-1_0_5_line_37 |  | 33 | 34 | 0.047082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_96-1_0_5_line_38 |  | 33 | 35 | 0.023422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_96-1_0_5_line_39 |  | 34 | 57 | 0.028018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_96-1_0_5_line_40 |  | 35 | 47 | 0.051927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_96-1_0_5_line_41 |  | 36 | 37 | 0.0053131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_96-1_0_5_line_42 |  | 36 | 38 | 0.020233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_96-1_0_5_line_43 |  | 37 | 58 | 0.011631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_96-1_0_5_line_44 |  | 38 | 42 | 0.020441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_96-1_0_5_line_45 |  | 39 | 40 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_96-1_0_5_line_46 |  | 39 | 41 | 0.035201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_96-1_0_5_line_47 |  | 40 | 64 | 0.031487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_96-1_0_5_line_48 |  | 40 | 65 | 0.060999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_96-1_0_5_line_49 |  | 41 | 66 | 0.0077544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_96-1_0_5_line_50 |  | 42 | 43 | 0.018777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_96-1_0_5_line_51 |  | 43 | 57 | 0.0083416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_96-1_0_5_line_52 |  | 44 | 50 | 0.012648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_96-1_0_5_line_53 |  | 45 | 52 | 0.059733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_96-1_0_5_line_54 |  | 45 | 79 | 0.013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_96-1_0_5_line_55 |  | 45 | 80 | 0.082122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_96-1_0_5_line_56 |  | 46 | 47 | 0.007606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_96-1_0_5_line_57 |  | 48 | 78 | 0.020852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_96-1_0_5_line_58 |  | 48 | 72 | 0.015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_96-1_0_5_line_59 |  | 49 | 50 | 0.018043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_96-1_0_5_line_60 |  | 51 | 53 | 0.006733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_96-1_0_5_line_61 |  | 52 | 82 | 0.007927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_96-1_0_5_line_62 |  | 54 | 55 | 0.00102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_96-1_0_5_line_63 |  | 55 | 82 | 0.030476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_96-1_0_5_line_64 |  | 56 | 83 | 0.0094638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_96-1_0_5_line_65 |  | 58 | 70 | 0.025524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_96-1_0_5_line_66 |  | 59 | 60 | 0.004674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_96-1_0_5_line_67 |  | 59 | 61 | 0.019823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_96-1_0_5_line_68 |  | 59 | 62 | 0.054243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_96-1_0_5_line_69 |  | 60 | 72 | 0.012403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_96-1_0_5_line_70 |  | 60 | 73 | 0.020142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_96-1_0_5_line_71 |  | 61 | 71 | 0.018564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_96-1_0_5_line_72 |  | 62 | 63 | 0.003581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_96-1_0_5_line_73 |  | 64 | 67 | 0.0015189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_96-1_0_5_line_74 |  | 67 | 68 | 0.012256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_96-1_0_5_line_75 |  | 68 | 75 | 0.025024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_96-1_0_5_line_76 |  | 68 | 74 | 0.021174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_96-1_0_5_line_77 |  | 69 | 70 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_96-1_0_5_line_78 |  | 70 | 75 | 0.019327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_96-1_0_5_line_79 |  | 76 | 77 | 0.016325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_96-1_0_5_line_80 |  | 77 | 78 | 0.021715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_96-1_0_5_line_81 |  | 80 | 81 | 0.00014935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_96-1_0_5_line_82 |  | 82 | 83 | 0.028625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_96-1_0_5_trafo_80 | 0.63 MVA 20/0.4 kV | 84 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2677947.3799 | 1254470.8791 | 2677934.2146 | 1254481.2136 | 2677911.9532 | 1254499.8342
1 | 2677947.3799 | 1254470.8791 | 2677945.3027 | 1254467.6271 | 2677945.1797 | 1254464.9346
2 | 2677947.3799 | 1254470.8791 | 2677952.3088 | 1254472.99 | 2677955.9009 | 1254471.7696 | 2677962.2203 | 1254465.3614
3 | 2677945.1797 | 1254464.9346 | 2677917.9317 | 1254486.253
4 | 2677945.1797 | 1254464.9346 | 2677939.5759 | 1254461.3693 | 2677933.1506 | 1254454.8688 | 2677928.6231 | 1254450.2932
5 | 2677966.1626 | 1254461.3636 | 2677962.2203 | 1254465.3614
6 | 2677917.9317 | 1254486.253 | 2677903.3008 | 1254497.6999
7 | 2677920.888 | 1254442.4761 | 2677928.6231 | 1254450.2932
8 | 2677966.1626 | 1254461.3636 | 2677975.7723 | 1254460.9342
9 | 2677966.1626 | 1254461.3636 | 2677976.1086 | 1254452.588 | 2677984.2727 | 1254449.6488
10 | 2678135.3533 | 1254531.1781 | 2678138.5091 | 1254525.8602 | 2678140.6286 | 1254519.0387 | 2678140.841 | 1254517.2401 | 2678144.2764 | 1254517.0297 | 2678151.2231 | 1254516.5877 | 2678156.5613 | 1254516.2579
11 | 2678135.3533 | 1254531.1781 | 2678134.508 | 1254530.6332 | 2678133.3335 | 1254529.8727 | 2678128.6531 | 1254523.2394 | 2678125.2391 | 1254518.3908 | 2678101.4778 | 1254536.0993
12 | 2678156.5613 | 1254516.2579 | 2678142.8727 | 1254497.9515
13 | 2678094.9067 | 1254540.9965 | 2678101.4778 | 1254536.0993
14 | 2677932.365 | 1254564.3956 | 2677956.7433 | 1254546.4363 | 2677989.4602 | 1254522.0377 | 2677989.7629 | 1254520.8185 | 2677990.8916 | 1254521.0447 | 2678007.3935 | 1254508.8418 | 2678012.8866 | 1254504.7777 | 2678017.7249 | 1254511.4687 | 2678015.5708 | 1254512.908
15 | 2678015.5708 | 1254512.908 | 2678017.7249 | 1254511.4687 | 2678012.8866 | 1254504.7777 | 2678034.417 | 1254488.8495 | 2678034.1974 | 1254487.768 | 2678035.316 | 1254487.6159 | 2678043.4607 | 1254481.5632 | 2678053.9231 | 1254496.0006 | 2678063.6595 | 1254509.4167 | 2678070.7431 | 1254519.184
16 | 2678015.5708 | 1254512.908 | 2678013.4204 | 1254510.1017
17 | 2677932.365 | 1254564.3956 | 2677937.8083 | 1254571.5503 | 2677945.8482 | 1254582.707
18 | 2677932.365 | 1254564.3956 | 2677899.9544 | 1254588.4872 | 2677897.6964 | 1254592.6718 | 2677897.0265 | 1254597.1441 | 2677897.7427 | 1254598.3321 | 2677900.1275 | 1254602.2775 | 2677941.5345 | 1254640.3617
19 | 2677932.365 | 1254564.3956 | 2677956.7433 | 1254546.4363 | 2677960.3581 | 1254550.9428 | 2677968.3763 | 1254561.3561 | 2677979.2353 | 1254575.4651
20 | 2678070.7431 | 1254519.184 | 2678075.612 | 1254515.5455
21 | 2678009.945 | 1254509.8761 | 2678012.033 | 1254508.2913 | 2678013.4204 | 1254510.1017
22 | 2677881.6637 | 1254659.8443 | 2677879.1531 | 1254662.5911 | 2677887.052 | 1254670.0338
23 | 2677887.052 | 1254670.0338 | 2677892.6627 | 1254670.1966 | 2677894.5886 | 1254668.0723
24 | 2677934.7643 | 1254660.6433 | 2677925.3051 | 1254651.9568 | 2677919.779 | 1254647.0805 | 2677914.3744 | 1254653.036 | 2677905.3246 | 1254656.2305 | 2677894.5886 | 1254668.0723
25 | 2677958.6417 | 1254655.487 | 2677953.6358 | 1254650.6397 | 2677941.5345 | 1254640.3617
26 | 2677934.7643 | 1254660.6433 | 2677945.1435 | 1254649.8829 | 2677937.7653 | 1254643.0029 | 2677941.5345 | 1254640.3617
27 | 2677941.5345 | 1254640.3617 | 2677959.472 | 1254627.7624
28 | 2677958.6417 | 1254655.487 | 2677977.7365 | 1254640.1181
29 | 2677979.2353 | 1254575.4651 | 2677981.3376 | 1254578.1963
30 | 2678115.6237 | 1254461.5105 | 2678142.8727 | 1254497.9515
31 | 2678115.6237 | 1254461.5105 | 2678142.7265 | 1254442.0479
32 | 2678052.9848 | 1254548.8499 | 2678055.4517 | 1254559.1567 | 2678064.5304 | 1254578.9578 | 2678059.8165 | 1254582.8652 | 2678055.4371 | 1254576.8586 | 2678050.4022 | 1254569.6313
33 | 2678052.9848 | 1254548.8499 | 2678031.4363 | 1254514.6516 | 2678023.6792 | 1254498.7376 | 2677997.4392 | 1254432.3649 | 2677969.1052 | 1254367.3924
34 | 2678038.7421 | 1254545.9156 | 2678039.8204 | 1254551.1003 | 2678048.9537 | 1254563.908 | 2678050.4022 | 1254569.6313
35 | 2678090.7595 | 1254535.6823 | 2678075.612 | 1254515.5455
36 | 2678038.7421 | 1254545.9156 | 2678034.8452 | 1254540.5794
37 | 2678090.4056 | 1254382.3635 | 2678065.2165 | 1254403.3694 | 2678050.8636 | 1254402.4685
38 | 2678050.8636 | 1254402.4685 | 2678049.0411 | 1254406.7921 | 2678034.3615 | 1254418.4254
39 | 2678090.4056 | 1254382.3635 | 2678069.1696 | 1254364.087
40 | 2677991.4512 | 1254447.0748 | 2677995.5295 | 1254445.6051 | 2678008.3816 | 1254439.0139 | 2678034.3615 | 1254418.4254
41 | 2678017.7907 | 1254319.8602 | 2678013.7634 | 1254316.3947
42 | 2678017.7907 | 1254319.8602 | 2678033.1242 | 1254333.0609
43 | 2678013.7634 | 1254316.3947 | 2678004.9474 | 1254308.8084
44 | 2678048.6152 | 1254346.3971 | 2678033.1242 | 1254333.0609
45 | 2677923.3732 | 1254285.7811 | 2677917.6825 | 1254291.6662 | 2677927.0151 | 1254297.4043
46 | 2677927.0151 | 1254297.4043 | 2677918.7551 | 1254307.0473 | 2677902.5463 | 1254322.6581
47 | 2677947.3112 | 1254265.2474 | 2677923.3732 | 1254285.7811
48 | 2677923.3732 | 1254285.7811 | 2677914.6564 | 1254268.7871 | 2677907.3707 | 1254248.5318 | 2677902.5616 | 1254233.8688 | 2677901.2231 | 1254229.1107
49 | 2677902.5463 | 1254322.6581 | 2677896.9611 | 1254328.0373
50 | 2678048.6152 | 1254346.3971 | 2678062.8471 | 1254358.6457
51 | 2678069.1696 | 1254364.087 | 2678062.8471 | 1254358.6457
52 | 2677903.3008 | 1254497.6999 | 2677893.3397 | 1254505.4933
53 | 2677975.7723 | 1254460.9342 | 2677976.4188 | 1254461.6877 | 2677980.8073 | 1254467.0161 | 2677991.8376 | 1254484.1741 | 2678009.945 | 1254509.8761
54 | 2677975.7723 | 1254460.9342 | 2677977.4935 | 1254460.8568 | 2677979.8006 | 1254463.8339 | 2677985.981 | 1254459.166
55 | 2677948.7046 | 1254516.3748 | 2677972.3967 | 1254498.9848 | 2677991.8376 | 1254484.1741 | 2677980.8073 | 1254467.0161 | 2677976.4188 | 1254461.6877 | 2677975.7723 | 1254460.9342
56 | 2677984.2727 | 1254449.6488 | 2677991.4512 | 1254447.0748
57 | 2677920.888 | 1254442.4761 | 2677930.6195 | 1254432.2298 | 2677929.6983 | 1254426.5579 | 2677930.6203 | 1254426.2423
58 | 2677920.888 | 1254442.4761 | 2677909.9161 | 1254431.5996
59 | 2677893.3397 | 1254505.4933 | 2677879.1292 | 1254516.6114
60 | 2678090.7595 | 1254535.6823 | 2678094.9067 | 1254540.9965
61 | 2678009.945 | 1254509.8761 | 2678014.5753 | 1254516.3197
62 | 2678031.7039 | 1254541.5215 | 2678032.2688 | 1254542.3707
63 | 2678014.5753 | 1254516.3197 | 2678019.4501 | 1254523.1 | 2678031.7039 | 1254541.5215
64 | 2678029.2639 | 1254532.9366 | 2678034.8452 | 1254540.5794
65 | 2677985.6005 | 1254292.1602 | 2678004.9474 | 1254308.8084
66 | 2677901.108 | 1254422.868 | 2677897.7253 | 1254419.6322
67 | 2677897.7253 | 1254419.6322 | 2677884.2171 | 1254434.1405
68 | 2677870.9157 | 1254382.0852 | 2677864.7514 | 1254388.4311 | 2677870.7563 | 1254394.2032 | 2677897.7253 | 1254419.6322
69 | 2677901.108 | 1254422.868 | 2677909.9161 | 1254431.5996
70 | 2677901.108 | 1254422.868 | 2677910.1695 | 1254413.0799 | 2677909.3257 | 1254407.2534 | 2677910.2082 | 1254407.0061
71 | 2677884.2171 | 1254434.1405 | 2677872.8926 | 1254446.3034 | 2677871.4914 | 1254447.6532
72 | 2677870.9157 | 1254382.0852 | 2677873.7067 | 1254379.8313
73 | 2677947.3112 | 1254265.2474 | 2677948.5367 | 1254264.3502
74 | 2677958.426 | 1254257.1098 | 2677948.5367 | 1254264.3502
75 | 2677958.426 | 1254257.1098 | 2677973.7585 | 1254276.8861
76 | 2677958.426 | 1254257.1098 | 2677956.4566 | 1254250.2566 | 2677946.8508 | 1254240.0122
77 | 2677985.6005 | 1254292.1602 | 2677968.8903 | 1254280.4149
78 | 2677985.6005 | 1254292.1602 | 2677973.7585 | 1254276.8861
79 | 2677948.6215 | 1254414.976 | 2677960.3244 | 1254426.3578
80 | 2677948.6215 | 1254414.976 | 2677940.0204 | 1254423.0244 | 2677930.6203 | 1254426.2423
81 | 2677948.7928 | 1254516.4954 | 2677948.7046 | 1254516.3748
82 | 2678014.5753 | 1254516.3197 | 2678019.8044 | 1254512.8193 | 2678028.1012 | 1254528.4291 | 2678029.2639 | 1254532.9366

## bus_geodata
| x | y | coords
0 | 2677911.9532 | 1254499.8342
1 | 2677947.3799 | 1254470.8791
2 | 2677945.1797 | 1254464.9346
3 | 2677962.2203 | 1254465.3614
4 | 2677917.9317 | 1254486.253
5 | 2677928.623 | 1254450.2932
6 | 2677966.1626 | 1254461.3636
7 | 2678135.3533 | 1254531.1781
8 | 2678156.5613 | 1254516.2579
9 | 2678101.4778 | 1254536.0993
10 | 2678015.5708 | 1254512.908
11 | 2677932.365 | 1254564.3956
12 | 2678070.7431 | 1254519.184
13 | 2678013.4204 | 1254510.1017
14 | 2677887.052 | 1254670.0338
15 | 2677881.6637 | 1254659.8443
16 | 2677894.5886 | 1254668.0723
17 | 2677941.5345 | 1254640.3617
18 | 2677958.6417 | 1254655.487
19 | 2677934.7643 | 1254660.6433
20 | 2677959.472 | 1254627.7624
21 | 2677979.2353 | 1254575.4651
22 | 2677981.3376 | 1254578.1963
23 | 2677945.8482 | 1254582.707
24 | 2678115.6237 | 1254461.5105
25 | 2678142.8727 | 1254497.9515
26 | 2678142.7265 | 1254442.0479
27 | 2678052.9848 | 1254548.8499
28 | 2678050.4022 | 1254569.6313
29 | 2677969.1052 | 1254367.3924
30 | 2677977.7365 | 1254640.1181
31 | 2678075.612 | 1254515.5455
32 | 2678038.7421 | 1254545.9156
33 | 2678050.8636 | 1254402.4685
34 | 2678090.4056 | 1254382.3635
35 | 2678034.3615 | 1254418.4254
36 | 2678017.7907 | 1254319.8602
37 | 2678013.7634 | 1254316.3947
38 | 2678033.1242 | 1254333.0609
39 | 2677927.0151 | 1254297.4043
40 | 2677923.3732 | 1254285.7811
41 | 2677902.5463 | 1254322.6581
42 | 2678048.6152 | 1254346.3971
43 | 2678062.8471 | 1254358.6457
44 | 2677903.3008 | 1254497.6999
45 | 2677975.7723 | 1254460.9342
46 | 2677984.2727 | 1254449.6488
47 | 2677991.4512 | 1254447.0748
48 | 2677920.888 | 1254442.4761
49 | 2677879.1292 | 1254516.6114
50 | 2677893.3397 | 1254505.4934
51 | 2678094.9067 | 1254540.9965
52 | 2678009.945 | 1254509.8761
53 | 2678090.7595 | 1254535.6823
54 | 2678032.2688 | 1254542.3707
55 | 2678031.7039 | 1254541.5215
56 | 2678034.8452 | 1254540.5794
57 | 2678069.1696 | 1254364.087
58 | 2678004.9474 | 1254308.8084
59 | 2677897.7253 | 1254419.6322
60 | 2677901.108 | 1254422.868
61 | 2677884.2171 | 1254434.1405
62 | 2677870.9157 | 1254382.0852
63 | 2677873.7067 | 1254379.8313
64 | 2677947.3112 | 1254265.2474
65 | 2677901.2231 | 1254229.1107
66 | 2677896.9611 | 1254328.0373
67 | 2677948.5367 | 1254264.3502
68 | 2677958.426 | 1254257.1098
69 | 2677968.8903 | 1254280.4149
70 | 2677985.6005 | 1254292.1602
71 | 2677871.4914 | 1254447.6532
72 | 2677909.9161 | 1254431.5996
73 | 2677910.2082 | 1254407.0061
74 | 2677946.8508 | 1254240.0122
75 | 2677973.7585 | 1254276.8861
76 | 2677960.3244 | 1254426.3578
77 | 2677948.6215 | 1254414.976
78 | 2677930.6203 | 1254426.2423
79 | 2677985.981 | 1254459.166
80 | 2677948.7046 | 1254516.3748
81 | 2677948.7928 | 1254516.4954
82 | 2678014.5753 | 1254516.3197
83 | 2678029.2639 | 1254532.9366
84 | 2678014.5753 | 1254516.3197

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1