## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_96-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_96-20_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_96-20_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_96-20_0_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_96-20_0_4_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_96-20_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_96-20_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_96-20_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_96-20_0_4_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_96-20_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_96-20_0_4_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_96-20_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_96-20_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_96-20_0_4_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_96-20_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_96-20_0_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_96-20_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_96-20_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_96-20_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_96-20_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_96-20_0_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_96-20_0_4_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_96-20_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_96-20_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_96-20_0_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_96-20_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_96-20_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_96-20_0_4_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_96-20_0_4_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_96-20_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_96-20_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_96-20_0_4_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_96-20_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_96-20_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_96-20_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_96-20_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_96-20_0_4_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_96-20_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_96-20_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_96-20_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_96-20_0_4_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_96-20_0_4_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_96-20_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_96-20_0_4_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_96-20_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_96-20_0_4_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_96-20_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_96-20_0_4_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_96-20_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_96-20_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_96-20_0_4_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_96-20_0_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_96-20_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_96-20_0_4_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_96-20_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_96-20_0_4_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_96-20_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_96-20_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_96-20_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_96-20_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_96-20_0_4_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_96-20_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_96-20_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_96-20_0_4_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_96-20_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_96-20_0_4_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_96-20_0_4_node_31 | 0.4 | n |  | TRUE
67 | bus_LV_96-20_0_4_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_96-20_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_MV_669_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_96-20_0_4_load_0 | 0 | 0.012012 | 0.0030106 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_96-20_0_4_load_59 | 8 | 0.018824 | 0.0047177 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_96-20_0_4_load_47 | 11 | 0.0064957 | 0.001628 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_96-20_0_4_load_23 | 13 | 0.0010693 | 0.00026798 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_96-20_0_4_load_22 | 14 | 0.0027146 | 0.00068035 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_96-20_0_4_load_53 | 17 | 0.01021 | 0.0025589 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_96-20_0_4_load_60 | 21 | 0.0077107 | 0.0019325 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_96-20_0_4_load_51 | 24 | 0.0077713 | 0.0019477 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_96-20_0_4_load_46 | 25 | 0.006069 | 0.001521 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_96-20_0_4_load_66 | 28 | 0.022056 | 0.0055278 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_96-20_0_4_load_26 | 30 | 0.019898 | 0.0049868 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_96-20_0_4_load_64 | 31 | 0.012012 | 0.0030105 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_96-20_0_4_load_25 | 33 | 0.004255 | 0.0010664 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_96-20_0_4_load_24 | 35 | 0.0045758 | 0.0011468 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_96-20_0_4_load_56 | 36 | 0.015812 | 0.0039628 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_96-20_0_4_load_45 | 37 | 0.0060681 | 0.0015208 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_96-20_0_4_load_39 | 38 | 0.016308 | 0.0040871 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_96-20_0_4_load_68 | 40 | 0.012291 | 0.0030805 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_96-20_0_4_load_69 | 41 | 0.0064957 | 0.001628 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_96-20_0_4_load_67 | 43 | 0.010242 | 0.0025669 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_96-20_0_4_load_52 | 45 | 0.011261 | 0.0028223 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_96-20_0_4_load_72 | 47 | 0.012991 | 0.0032559 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_96-20_0_4_load_63 | 50 | 0.0154 | 0.0038595 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_96-20_0_4_load_62 | 51 | 0.01385 | 0.0034712 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_96-20_0_4_load_73 | 53 | 0.010217 | 0.0025606 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_96-20_0_4_load_29 | 55 | 0.028339 | 0.0071023 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_96-20_0_4_load_49 | 56 | 0.0077605 | 0.001945 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_96-20_0_4_load_37 | 57 | 0.0069224 | 0.0017349 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_96-20_0_4_load_54 | 58 | 0.0065426 | 0.0016397 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_96-20_0_4_load_70 | 60 | 0.012033 | 0.0030157 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_96-20_0_4_load_55 | 62 | 0.0070927 | 0.0017776 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_96-20_0_4_load_71 | 63 | 0.021982 | 0.0055093 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_96-20_0_4_load_57 | 64 | 0.0048752 | 0.0012219 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_96-20_0_4_load_38 | 65 | 0.021759 | 0.0054534 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_96-20_0_4_load_36 | 67 | 0.0085672 | 0.0021471 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_96-20_0_4_load_58 | 68 | 0.040365 | 0.010117 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_96-20_0_4_line_0 |  | 0 | 1 | 0.0068041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_96-20_0_4_line_1 |  | 1 | 4 | 0.034031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_96-20_0_4_line_2 |  | 1 | 5 | 0.067835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_96-20_0_4_line_3 |  | 1 | 2 | 0.009308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_96-20_0_4_line_4 |  | 2 | 3 | 0.06906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_96-20_0_4_line_5 |  | 3 | 15 | 0.021415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_96-20_0_4_line_6 |  | 3 | 16 | 0.044213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_96-20_0_4_line_7 |  | 3 | 17 | 0.024619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_96-20_0_4_line_8 |  | 4 | 31 | 0.00761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_96-20_0_4_line_9 |  | 4 | 27 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_96-20_0_4_line_10 |  | 5 | 8 | 0.068737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_96-20_0_4_line_11 |  | 6 | 7 | 0.14585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_96-20_0_4_line_12 |  | 6 | 8 | 0.026848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_96-20_0_4_line_13 |  | 7 | 30 | 0.01256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_96-20_0_4_line_14 |  | 9 | 10 | 0.050158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_96-20_0_4_line_15 |  | 9 | 11 | 0.04486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_96-20_0_4_line_16 |  | 10 | 41 | 0.028928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_96-20_0_4_line_17 |  | 10 | 42 | 0.012107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_96-20_0_4_line_18 |  | 12 | 13 | 0.0022946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_96-20_0_4_line_19 |  | 12 | 14 | 0.050853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_96-20_0_4_line_20 |  | 13 | 22 | 0.044748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_96-20_0_4_line_21 |  | 15 | 43 | 0.01526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_96-20_0_4_line_22 |  | 15 | 44 | 0.035293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_96-20_0_4_line_23 |  | 16 | 24 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_96-20_0_4_line_24 |  | 17 | 45 | 0.0014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_96-20_0_4_line_25 |  | 18 | 19 | 0.24997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_96-20_0_4_line_26 |  | 18 | 20 | 0.068221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_96-20_0_4_line_27 |  | 18 | 21 | 0.03652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_96-20_0_4_line_28 |  | 19 | 36 | 0.014516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_96-20_0_4_line_29 |  | 20 | 57 | 0.0038157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_96-20_0_4_line_30 |  | 21 | 58 | 0.00010937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_96-20_0_4_line_31 |  | 22 | 23 | 0.1748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_96-20_0_4_line_32 |  | 23 | 25 | 0.053286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_96-20_0_4_line_33 |  | 24 | 59 | 0.018102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_96-20_0_4_line_34 |  | 25 | 37 | 0.0096985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_96-20_0_4_line_35 |  | 26 | 27 | 0.045609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_96-20_0_4_line_36 |  | 26 | 28 | 0.023518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_96-20_0_4_line_37 |  | 26 | 29 | 0.037865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_96-20_0_4_line_38 |  | 27 | 63 | 0.017148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_96-20_0_4_line_39 |  | 29 | 37 | 0.034903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_96-20_0_4_line_40 |  | 29 | 38 | 0.032558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_96-20_0_4_line_41 |  | 30 | 39 | 0.015731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_96-20_0_4_line_42 |  | 32 | 33 | 0.055324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_96-20_0_4_line_43 |  | 32 | 34 | 0.063192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_96-20_0_4_line_44 |  | 32 | 35 | 0.047133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_96-20_0_4_line_45 |  | 34 | 39 | 0.063462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_96-20_0_4_line_46 |  | 34 | 40 | 0.007484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_96-20_0_4_line_47 |  | 36 | 64 | 0.01545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_96-20_0_4_line_48 |  | 38 | 65 | 0.0010579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_96-20_0_4_line_49 |  | 42 | 56 | 0.016439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_96-20_0_4_line_50 |  | 44 | 60 | 0.030537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_96-20_0_4_line_51 |  | 45 | 61 | 0.044927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_96-20_0_4_line_52 |  | 46 | 47 | 0.041606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_96-20_0_4_line_53 |  | 46 | 48 | 0.091115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_96-20_0_4_line_54 |  | 46 | 49 | 0.10039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_96-20_0_4_line_55 |  | 48 | 50 | 0.010726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_96-20_0_4_line_56 |  | 48 | 51 | 0.01407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_96-20_0_4_line_57 |  | 49 | 55 | 0.018709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_96-20_0_4_line_58 |  | 51 | 54 | 0.011144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_96-20_0_4_line_59 |  | 52 | 53 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_96-20_0_4_line_60 |  | 52 | 54 | 0.030311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_96-20_0_4_line_61 |  | 54 | 62 | 0.0079337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_96-20_0_4_line_62 |  | 55 | 66 | 0.019707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_96-20_0_4_line_63 |  | 56 | 59 | 0.0048373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_96-20_0_4_line_64 |  | 58 | 61 | 0.016903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_96-20_0_4_line_65 |  | 61 | 62 | 0.022268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_96-20_0_4_line_66 |  | 64 | 68 | 0.0052683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_96-20_0_4_line_67 |  | 66 | 67 | 0.011344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_96-20_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 69 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2677413.0693 | 1256145.0876 | 2677411.1181 | 1256144.3393 | 2677408.2045 | 1256142.789 | 2677406.7956 | 1256142.6705
1 | 2677413.0693 | 1256145.0876 | 2677415.4827 | 1256138.1806 | 2677417.7987 | 1256130.0715 | 2677413.2015 | 1256117.1128 | 2677413.4869 | 1256112.591
2 | 2677413.0693 | 1256145.0876 | 2677415.4827 | 1256138.1806 | 2677417.7987 | 1256130.0715 | 2677423.4095 | 1256133.0026 | 2677429.9963 | 1256136.8583 | 2677434.5302 | 1256126.988 | 2677445.9302 | 1256131.318 | 2677453.647 | 1256131.2411 | 2677460.9837 | 1256130.8145
3 | 2677409.9978 | 1256153.8762 | 2677413.0693 | 1256145.0876
4 | 2677360.4042 | 1256161.0447 | 2677409.871 | 1256172.2216 | 2677409.961 | 1256168.2198 | 2677409.9978 | 1256153.8762
5 | 2677360.4042 | 1256161.0447 | 2677359.9449 | 1256150.5975 | 2677355.7025 | 1256140.4901
6 | 2677360.4042 | 1256161.0447 | 2677361.3393 | 1256171.4425 | 2677359.4054 | 1256173.9858 | 2677357.4434 | 1256184.4457 | 2677349.3763 | 1256202.6762
7 | 2677360.4042 | 1256161.0447 | 2677342.5328 | 1256162.4901 | 2677335.8656 | 1256163.0339
8 | 2677405.8769 | 1256112.0022 | 2677413.4869 | 1256112.591
9 | 2677418.2046 | 1256099.0425 | 2677413.8473 | 1256106.947 | 2677413.4869 | 1256112.591
10 | 2677460.9837 | 1256130.8145 | 2677464.0911 | 1256155.0177 | 2677466.646 | 1256199.2795
11 | 2677465.9522 | 1256226.0285 | 2677469.7845 | 1256242.6689 | 2677490.2561 | 1256247.1067 | 2677497.689 | 1256249.1166 | 2677507.0773 | 1256253.2759 | 2677513.0366 | 1256254.3547 | 2677524.306 | 1256251.3667 | 2677532.0595 | 1256247.3207 | 2677532.6316 | 1256254.8894 | 2677558.9113 | 1256247.7615 | 2677568.2474 | 1256244.9706 | 2677586.3345 | 1256239.7147
12 | 2677465.9522 | 1256226.0285 | 2677467.4049 | 1256212.4263 | 2677466.646 | 1256199.2795
13 | 2677586.3345 | 1256239.7147 | 2677581.9408 | 1256227.9483
14 | 2677408.0442 | 1256238.6475 | 2677395.5778 | 1256238.5845 | 2677380.6038 | 1256238.8001 | 2677367.1327 | 1256248.0977 | 2677367.4556 | 1256254.5512
15 | 2677408.0442 | 1256238.6475 | 2677412.4672 | 1256246.4667 | 2677415.5834 | 1256255.592 | 2677415.0968 | 1256262.2351 | 2677410.7329 | 1256270.651 | 2677410.2014 | 1256280.7294
16 | 2677367.4556 | 1256254.5512 | 2677390.6312 | 1256271.9559
17 | 2677355.3122 | 1256254.5926 | 2677367.4556 | 1256254.5512
18 | 2677282.3204 | 1255843.866 | 2677284.2531 | 1255845.1029
19 | 2677282.3204 | 1255843.866 | 2677260.6504 | 1255829.9951 | 2677239.6032 | 1255816.2753
20 | 2677321.9425 | 1255869.2243 | 2677284.2531 | 1255845.1029
21 | 2677343.9958 | 1256141.1488 | 2677346.3701 | 1256145.3052 | 2677355.7025 | 1256140.4901
22 | 2677355.7025 | 1256140.4901 | 2677352.7842 | 1256133.5246 | 2677348.3272 | 1256122.5248 | 2677350.5408 | 1256119.9295 | 2677351.9089 | 1256116.2447 | 2677353.6402 | 1256115.3555 | 2677358.6513 | 1256111.0844
23 | 2677349.3763 | 1256202.6762 | 2677348.4825 | 1256204.6994 | 2677348.1022 | 1256217.2495
24 | 2677334.4028 | 1256163.1532 | 2677335.8656 | 1256163.0339
25 | 2677144.7013 | 1256048.369 | 2677185.586 | 1256017.9234 | 2677193.941 | 1256017.4986 | 2677201.9481 | 1256023.5075 | 2677256.5116 | 1256096.7627 | 2677220.7586 | 1256137.9827 | 2677228.9091 | 1256152.0551 | 2677236.3366 | 1256168.9424
26 | 2677236.3366 | 1256168.9424 | 2677245.2717 | 1256156.4162 | 2677241.1251 | 1256149.3568 | 2677240.2671 | 1256140.5502 | 2677242.7595 | 1256133.3551 | 2677245.0122 | 1256129.4927 | 2677246.455 | 1256127.0096 | 2677253.5878 | 1256117.9403 | 2677259.2372 | 1256115.0341 | 2677262.248 | 1256114.9288
27 | 2677236.3366 | 1256168.9424 | 2677251.7944 | 1256166.342 | 2677264.9292 | 1256167.214 | 2677272.6101 | 1256167.1733
28 | 2677144.7013 | 1256048.369 | 2677138.3016 | 1256052.7111 | 2677132.8097 | 1256056.6905
29 | 2677262.248 | 1256114.9288 | 2677259.6851 | 1256117.7558
30 | 2677272.6101 | 1256167.1733 | 2677272.7195 | 1256167.1727
31 | 2677389.9772 | 1255947.0822 | 2677391.1457 | 1255944.2398 | 2677397.6296 | 1255927.1451 | 2677416.732 | 1255908.9144 | 2677422.834 | 1255904.3019 | 2677412.6659 | 1255893.3941 | 2677411.3245 | 1255892.7317 | 2677407.7497 | 1255890.9725 | 2677405.0068 | 1255889.6134 | 2677404.4597 | 1255889.3505 | 2677400.4968 | 1255894.7695 | 2677395.3031 | 1255898.5711 | 2677388.6846 | 1255900.575 | 2677382.8088 | 1255901.1653 | 2677377.4534 | 1255900.5949 | 2677364.2902 | 1255895.508 | 2677349.6167 | 1255887.099 | 2677321.9425 | 1255869.2243
32 | 2677389.9772 | 1255947.0822 | 2677405.9915 | 1255954.4637 | 2677417.5988 | 1255962.0099 | 2677419.3131 | 1255965.8796 | 2677414.5762 | 1255972.8118 | 2677412.2802 | 1255981.6995
33 | 2677347.554 | 1256235.3435 | 2677348.1022 | 1256217.2495
34 | 2677412.2802 | 1255981.6995 | 2677412.8206 | 1255990.5466 | 2677413.2083 | 1255991.286
35 | 2677418.2046 | 1256099.0425 | 2677427.8289 | 1256091.5294 | 2677423.7977 | 1256060.0976 | 2677424.7369 | 1256058.6421
36 | 2677406.5904 | 1256065.5212 | 2677410.4301 | 1256065.4713 | 2677414.2773 | 1256057.36 | 2677422.4744 | 1256057.4672 | 2677424.7369 | 1256058.6421
37 | 2677429.4148 | 1256022.1983 | 2677429.3877 | 1256029.4589 | 2677429.9049 | 1256042.9646 | 2677429.976 | 1256047.9026 | 2677429.6996 | 1256049.4335 | 2677429.325 | 1256051.5412 | 2677424.7369 | 1256058.6421
38 | 2677418.2046 | 1256099.0425 | 2677415.9872 | 1256097.3122 | 2677411.6082 | 1256091.306 | 2677407.5407 | 1256085.7042
39 | 2677429.4148 | 1256022.1983 | 2677413.2083 | 1255991.286
40 | 2677429.4148 | 1256022.1983 | 2677412.9753 | 1256027.7319 | 2677404.2118 | 1256028.2511 | 2677397.7896 | 1256028.6347
41 | 2677596.5803 | 1256222.1914 | 2677581.9408 | 1256227.9483
42 | 2677522.839 | 1256177.9592 | 2677522.1815 | 1256156.1787 | 2677522.7942 | 1256122.6505
43 | 2677522.839 | 1256177.9592 | 2677528.1422 | 1256178.4623 | 2677528.3752 | 1256191.7642 | 2677528.4735 | 1256197.5031 | 2677531.5067 | 1256196.253 | 2677547.2497 | 1256189.7431 | 2677564.3501 | 1256182.6729
44 | 2677522.839 | 1256177.9592 | 2677509.2339 | 1256176.7246 | 2677501.9577 | 1256174.2609 | 2677498.41 | 1256169.2996 | 2677495.7986 | 1256160.2142 | 2677496.2018 | 1256149.9845
45 | 2677564.3501 | 1256182.6729 | 2677565.0611 | 1256184.2389 | 2677566.0693 | 1256183.8519 | 2677575.4565 | 1256180.0497 | 2677578.5597 | 1256178.6449 | 2677596.5803 | 1256222.1914
46 | 2677565.68 | 1256176.1521 | 2677565.7986 | 1256182.0692 | 2677564.3501 | 1256182.6729
47 | 2677132.8097 | 1256056.6905 | 2677127.1314 | 1256060.805 | 2677120.5618 | 1256066.0998
48 | 2677396.7336 | 1256028.6978 | 2677397.7896 | 1256028.6347
49 | 2677355.3122 | 1256254.5926 | 2677347.4079 | 1256240.1786
50 | 2677388.8534 | 1256106.8425 | 2677375.6571 | 1256110.0947 | 2677359.7458 | 1256111.0209 | 2677358.6513 | 1256111.0844
51 | 2677289.6016 | 1256166.5021 | 2677308.2999 | 1256165.2675 | 2677327.7266 | 1256163.6977 | 2677334.4028 | 1256163.1532
52 | 2677326.5098 | 1256268.9383 | 2677308.9878 | 1256269.0652 | 2677302.5314 | 1256270.8267 | 2677295.2243 | 1256270.7312 | 2677286.0845 | 1256275.2598
53 | 2677286.0845 | 1256275.2598 | 2677285.1051 | 1256272.8674 | 2677287.9529 | 1256250.0097 | 2677301.6629 | 1256242.0494 | 2677315.196 | 1256234.9318 | 2677315.0809 | 1256231.0385 | 2677300.1189 | 1256230.3316 | 2677297.1127 | 1256226.0558 | 2677297.1548 | 1256222.8317 | 2677290.1905 | 1256221.8957
54 | 2677201.5336 | 1256236.8171 | 2677209.191 | 1256236.6613 | 2677214.9693 | 1256237.1592 | 2677218.2818 | 1256237.6249 | 2677219.7786 | 1256236.7772 | 2677221.8434 | 1256239.8064 | 2677224.1449 | 1256243.1833 | 2677227.9826 | 1256251.3728 | 2677232.5863 | 1256255.1913 | 2677241.5623 | 1256257.4322 | 2677250.2478 | 1256258.2461 | 2677264.0634 | 1256261.2508 | 2677276.6515 | 1256265.8519 | 2677285.1051 | 1256272.8674 | 2677286.0845 | 1256275.2598
55 | 2677290.1905 | 1256221.8957 | 2677284.4585 | 1256223.6222 | 2677281.0364 | 1256226.9355
56 | 2677290.1905 | 1256221.8957 | 2677289.8144 | 1256207.8304
57 | 2677201.5336 | 1256236.8171 | 2677201.4677 | 1256233.7806 | 2677201.2797 | 1256226.217 | 2677195.9175 | 1256220.1379
58 | 2677289.5166 | 1256196.6902 | 2677289.8144 | 1256207.8304
59 | 2677326.0806 | 1256205.9745 | 2677310.7005 | 1256206.096
60 | 2677289.5166 | 1256196.6902 | 2677295.0123 | 1256196.8843 | 2677295.0246 | 1256201.1432 | 2677301.4812 | 1256201.1053 | 2677306.4365 | 1256201.1033 | 2677306.4692 | 1256203.7946 | 2677309.1638 | 1256203.6408 | 2677310.6553 | 1256203.7826 | 2677310.7005 | 1256206.096
61 | 2677289.5166 | 1256196.6902 | 2677289.3057 | 1256188.7594
62 | 2677181.534 | 1256208.8911 | 2677187.3276 | 1256216.8948 | 2677193.5502 | 1256217.4541 | 2677195.9175 | 1256220.1379
63 | 2677347.554 | 1256235.3435 | 2677347.4079 | 1256240.1786
64 | 2677289.6016 | 1256166.5021 | 2677280.0675 | 1256167.1337 | 2677272.7195 | 1256167.1727
65 | 2677289.6016 | 1256166.5021 | 2677289.6492 | 1256168.6377 | 2677289.1625 | 1256183.3757 | 2677289.3057 | 1256188.7594
66 | 2677116.46 | 1256069.4058 | 2677120.5618 | 1256066.0998
67 | 2677181.534 | 1256208.8911 | 2677172.6557 | 1256215.9521

## bus_geodata
| x | y | coords
0 | 2677406.7956 | 1256142.6705
1 | 2677413.0693 | 1256145.0876
2 | 2677409.9978 | 1256153.8762
3 | 2677360.4042 | 1256161.0447
4 | 2677413.4869 | 1256112.591
5 | 2677460.9837 | 1256130.8145
6 | 2677465.9522 | 1256226.0285
7 | 2677586.3345 | 1256239.7147
8 | 2677466.646 | 1256199.2795
9 | 2677408.0442 | 1256238.6475
10 | 2677367.4556 | 1256254.5512
11 | 2677410.2014 | 1256280.7294
12 | 2677282.3204 | 1255843.866
13 | 2677284.2531 | 1255845.1029
14 | 2677239.6032 | 1255816.2753
15 | 2677355.7025 | 1256140.4901
16 | 2677349.3763 | 1256202.6762
17 | 2677335.8656 | 1256163.0339
18 | 2677236.3366 | 1256168.9424
19 | 2677144.7013 | 1256048.369
20 | 2677262.248 | 1256114.9288
21 | 2677272.6101 | 1256167.1733
22 | 2677321.9425 | 1255869.2243
23 | 2677389.9772 | 1255947.0822
24 | 2677348.1022 | 1256217.2495
25 | 2677412.2802 | 1255981.6995
26 | 2677424.7369 | 1256058.6421
27 | 2677418.2046 | 1256099.0425
28 | 2677406.5904 | 1256065.5212
29 | 2677429.4148 | 1256022.1983
30 | 2677581.9408 | 1256227.9483
31 | 2677405.8769 | 1256112.0022
32 | 2677522.839 | 1256177.9592
33 | 2677522.7942 | 1256122.6505
34 | 2677564.3501 | 1256182.6729
35 | 2677496.2018 | 1256149.9845
36 | 2677132.8097 | 1256056.6905
37 | 2677413.2083 | 1255991.286
38 | 2677397.7896 | 1256028.6347
39 | 2677596.5803 | 1256222.1914
40 | 2677565.68 | 1256176.1521
41 | 2677390.6312 | 1256271.9559
42 | 2677355.3122 | 1256254.5926
43 | 2677343.9958 | 1256141.1488
44 | 2677358.6513 | 1256111.0844
45 | 2677334.4028 | 1256163.1532
46 | 2677286.0845 | 1256275.2598
47 | 2677326.5098 | 1256268.9383
48 | 2677290.1905 | 1256221.8957
49 | 2677201.5336 | 1256236.8171
50 | 2677281.0364 | 1256226.9355
51 | 2677289.8144 | 1256207.8304
52 | 2677310.7005 | 1256206.096
53 | 2677326.0806 | 1256205.9745
54 | 2677289.5166 | 1256196.6902
55 | 2677195.9175 | 1256220.1379
56 | 2677347.4079 | 1256240.1786
57 | 2677259.6851 | 1256117.7558
58 | 2677272.7195 | 1256167.1727
59 | 2677347.554 | 1256235.3435
60 | 2677388.8534 | 1256106.8425
61 | 2677289.6016 | 1256166.5021
62 | 2677289.3057 | 1256188.7594
63 | 2677407.5407 | 1256085.7043
64 | 2677120.5618 | 1256066.0998
65 | 2677396.7336 | 1256028.6978
66 | 2677181.534 | 1256208.8911
67 | 2677172.6557 | 1256215.9521
68 | 2677116.46 | 1256069.4058
69 | 2677355.7025 | 1256140.4901

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1