## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_96-26_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_96-26_1_2_node_120 | 0.4 | n |  | TRUE
2 | bus_LV_96-26_1_2_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_96-26_1_2_node_130 | 0.4 | n |  | TRUE
4 | bus_LV_96-26_1_2_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_96-26_1_2_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_96-26_1_2_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_96-26_1_2_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_96-26_1_2_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_96-26_1_2_node_133 | 0.4 | n |  | TRUE
10 | bus_LV_96-26_1_2_node_134 | 0.4 | n |  | TRUE
11 | bus_LV_96-26_1_2_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_96-26_1_2_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_96-26_1_2_node_143 | 0.4 | n |  | TRUE
14 | bus_LV_96-26_1_2_node_113 | 0.4 | n |  | TRUE
15 | bus_LV_96-26_1_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_96-26_1_2_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_96-26_1_2_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_96-26_1_2_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_96-26_1_2_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_96-26_1_2_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_96-26_1_2_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_96-26_1_2_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_96-26_1_2_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_96-26_1_2_node_83 | 0.4 | n |  | TRUE
25 | bus_LV_96-26_1_2_node_112 | 0.4 | n |  | TRUE
26 | bus_LV_96-26_1_2_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_96-26_1_2_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_96-26_1_2_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_96-26_1_2_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_96-26_1_2_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_96-26_1_2_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_96-26_1_2_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_96-26_1_2_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_96-26_1_2_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_96-26_1_2_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_96-26_1_2_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_96-26_1_2_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_96-26_1_2_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_96-26_1_2_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_96-26_1_2_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_96-26_1_2_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_96-26_1_2_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_96-26_1_2_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_96-26_1_2_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_96-26_1_2_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_96-26_1_2_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_96-26_1_2_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_96-26_1_2_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_96-26_1_2_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_96-26_1_2_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_96-26_1_2_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_96-26_1_2_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_96-26_1_2_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_96-26_1_2_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_96-26_1_2_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_96-26_1_2_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_96-26_1_2_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_96-26_1_2_node_115 | 0.4 | n |  | TRUE
59 | bus_LV_96-26_1_2_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_96-26_1_2_node_109 | 0.4 | n |  | TRUE
61 | bus_LV_96-26_1_2_node_118 | 0.4 | n |  | TRUE
62 | bus_LV_96-26_1_2_node_114 | 0.4 | n |  | TRUE
63 | bus_LV_96-26_1_2_node_117 | 0.4 | n |  | TRUE
64 | bus_LV_96-26_1_2_node_119 | 0.4 | n |  | TRUE
65 | bus_LV_96-26_1_2_node_121 | 0.4 | n |  | TRUE
66 | bus_MV_669_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_96-26_1_2_load_128 | 0 | 0.0096476 | 0.0024179 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_96-26_1_2_load_129 | 2 | 0.0089385 | 0.0022402 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_96-26_1_2_load_86 | 6 | 0.014265 | 0.0035752 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_96-26_1_2_load_132 | 7 | 0.0044302 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_96-26_1_2_load_133 | 9 | 0.0057804 | 0.0014487 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_96-26_1_2_load_134 | 10 | 0.0016 | 0.00040099 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_96-26_1_2_load_135 | 12 | 0.0061171 | 0.0015331 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_96-26_1_2_load_143 | 13 | 0.015478 | 0.0038792 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_96-26_1_2_load_48 | 15 | 0.0011077 | 0.00027762 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_96-26_1_2_load_49 | 16 | 0.0014205 | 0.00035602 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_96-26_1_2_load_50 | 17 | 0.0012011 | 0.00030102 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_96-26_1_2_load_52 | 19 | 0.0013275 | 0.0003327 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_96-26_1_2_load_83 | 24 | 0.016996 | 0.0042596 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_96-26_1_2_load_112 | 25 | 0.017595 | 0.0044097 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_96-26_1_2_load_60 | 26 | 0.0011521 | 0.00028874 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_96-26_1_2_load_111 | 27 | 0.0089508 | 0.0022433 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_96-26_1_2_load_57 | 28 | 0.0011853 | 0.00029707 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_96-26_1_2_load_58 | 29 | 0.0011552 | 0.00028953 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_96-26_1_2_load_59 | 30 | 0.0010977 | 0.0002751 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_96-26_1_2_load_61 | 31 | 0.0016338 | 0.00040947 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_96-26_1_2_load_64 | 32 | 0.0015076 | 0.00037785 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_96-26_1_2_load_68 | 33 | 0.0016325 | 0.00040914 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_96-26_1_2_load_65 | 34 | 0.0015252 | 0.00038226 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_96-26_1_2_load_66 | 35 | 0.0016493 | 0.00041337 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_96-26_1_2_load_67 | 36 | 0.0015332 | 0.00038426 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_96-26_1_2_load_69 | 37 | 0.0016524 | 0.00041414 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_96-26_1_2_load_70 | 39 | 0.0017323 | 0.00043416 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_96-26_1_2_load_71 | 40 | 0.0014713 | 0.00036875 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_96-26_1_2_load_73 | 42 | 0.0014864 | 0.00037253 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_96-26_1_2_load_75 | 43 | 0.0013904 | 0.00034847 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_96-26_1_2_load_77 | 45 | 0.0015123 | 0.00037902 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_96-26_1_2_load_79 | 46 | 0.005872 | 0.0014717 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_96-26_1_2_load_81 | 47 | 0.0016401 | 0.00041104 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_96-26_1_2_load_92 | 48 | 0.0025893 | 0.00064894 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_96-26_1_2_load_78 | 49 | 0.0018861 | 0.0004727 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_96-26_1_2_load_82 | 50 | 0.0027348 | 0.00068541 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_96-26_1_2_load_85 | 52 | 0.0099259 | 0.0024877 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_96-26_1_2_load_88 | 53 | 0.0094932 | 0.0023792 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_96-26_1_2_load_87 | 54 | 0.0052631 | 0.0013191 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_96-26_1_2_load_90 | 56 | 0.008803 | 0.0022062 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_96-26_1_2_load_115 | 58 | 0.0019371 | 0.00048547 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_96-26_1_2_load_108 | 59 | 0.0066554 | 0.001668 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_96-26_1_2_load_114 | 62 | 0.0055619 | 0.0013939 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_96-26_1_2_load_117 | 63 | 0.011935 | 0.0029913 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_96-26_1_2_load_121 | 65 | 0.0090352 | 0.0022644 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_96-26_1_2_line_0 |  | 0 | 1 | 0.053269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_96-26_1_2_line_1 |  | 0 | 2 | 0.0059609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_96-26_1_2_line_2 |  | 1 | 5 | 0.008315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_96-26_1_2_line_3 |  | 1 | 61 | 0.011131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_96-26_1_2_line_4 |  | 2 | 3 | 0.049614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_96-26_1_2_line_5 |  | 3 | 4 | 0.00718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_96-26_1_2_line_6 |  | 4 | 12 | 0.033755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_96-26_1_2_line_7 |  | 5 | 6 | 0.040247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_96-26_1_2_line_8 |  | 7 | 8 | 0.013973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_96-26_1_2_line_9 |  | 8 | 55 | 0.006043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_96-26_1_2_line_10 |  | 9 | 10 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_96-26_1_2_line_11 |  | 10 | 11 | 0.0074492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_96-26_1_2_line_12 |  | 11 | 12 | 0.0076156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_96-26_1_2_line_13 |  | 13 | 14 | 0.018487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_96-26_1_2_line_14 |  | 14 | 61 | 0.01334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_96-26_1_2_line_15 |  | 14 | 60 | 0.034422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_96-26_1_2_line_16 |  | 15 | 16 | 0.0085551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_96-26_1_2_line_17 |  | 15 | 17 | 0.0014457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_96-26_1_2_line_18 |  | 16 | 18 | 0.032219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_96-26_1_2_line_19 |  | 18 | 19 | 0.02684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_96-26_1_2_line_20 |  | 18 | 20 | 0.0064101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_96-26_1_2_line_21 |  | 20 | 26 | 0.068315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_96-26_1_2_line_22 |  | 21 | 22 | 0.022534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_96-26_1_2_line_23 |  | 21 | 23 | 0.049651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_96-26_1_2_line_24 |  | 21 | 24 | 0.028159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_96-26_1_2_line_25 |  | 22 | 25 | 0.016908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_96-26_1_2_line_26 |  | 23 | 27 | 0.0093008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_96-26_1_2_line_27 |  | 24 | 51 | 0.039199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_96-26_1_2_line_28 |  | 25 | 60 | 0.033026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_96-26_1_2_line_29 |  | 26 | 29 | 0.009044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_96-26_1_2_line_30 |  | 27 | 57 | 0.031225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_96-26_1_2_line_31 |  | 28 | 29 | 0.0069942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_96-26_1_2_line_32 |  | 28 | 30 | 0.0020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_96-26_1_2_line_33 |  | 30 | 31 | 0.023792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_96-26_1_2_line_34 |  | 31 | 32 | 0.0061055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_96-26_1_2_line_35 |  | 32 | 33 | 0.0058858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_96-26_1_2_line_36 |  | 33 | 35 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_96-26_1_2_line_37 |  | 34 | 35 | 0.005942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_96-26_1_2_line_38 |  | 34 | 36 | 0.0056162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_96-26_1_2_line_39 |  | 36 | 37 | 0.0058353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_96-26_1_2_line_40 |  | 37 | 38 | 0.015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_96-26_1_2_line_41 |  | 38 | 46 | 0.020686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_96-26_1_2_line_42 |  | 39 | 40 | 0.0030695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_96-26_1_2_line_43 |  | 39 | 41 | 0.018276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_96-26_1_2_line_44 |  | 40 | 42 | 0.0025629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_96-26_1_2_line_45 |  | 41 | 43 | 0.033853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_96-26_1_2_line_46 |  | 41 | 44 | 0.026331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_96-26_1_2_line_47 |  | 42 | 45 | 0.00093648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_96-26_1_2_line_48 |  | 43 | 47 | 0.0076746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_96-26_1_2_line_49 |  | 44 | 46 | 0.02267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_96-26_1_2_line_50 |  | 44 | 48 | 0.030577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_96-26_1_2_line_51 |  | 45 | 49 | 0.013527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_96-26_1_2_line_52 |  | 47 | 50 | 0.022331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_96-26_1_2_line_53 |  | 48 | 56 | 0.023747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_96-26_1_2_line_54 |  | 51 | 52 | 0.002463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_96-26_1_2_line_55 |  | 52 | 53 | 0.034008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_96-26_1_2_line_56 |  | 53 | 54 | 0.032089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_96-26_1_2_line_57 |  | 54 | 55 | 0.014241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_96-26_1_2_line_58 |  | 55 | 56 | 0.041506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_96-26_1_2_line_59 |  | 57 | 58 | 0.029381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_96-26_1_2_line_60 |  | 58 | 62 | 0.0015428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_96-26_1_2_line_61 |  | 59 | 60 | 0.0020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_96-26_1_2_line_62 |  | 61 | 63 | 0.029863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_96-26_1_2_line_63 |  | 63 | 64 | 0.013834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_96-26_1_2_line_64 |  | 64 | 65 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_96-26_1_2_trafo_86 | 0.63 MVA 20/0.4 kV | 66 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2677396.7154 | 1253558.2376 | 2677372.1137 | 1253560.2067 | 2677344.3751 | 1253567.127
1 | 2677344.3751 | 1253567.127 | 2677338.5915 | 1253568.5699
2 | 2677395.2302 | 1253550.0566 | 2677396.7154 | 1253558.2376
3 | 2677396.7154 | 1253558.2376 | 2677407.8687 | 1253558.7393
4 | 2677294.8817 | 1253574.309 | 2677299.8432 | 1253581.5124 | 2677315.4304 | 1253576.4565 | 2677335.3526 | 1253569.3779 | 2677338.5915 | 1253568.5699
5 | 2677294.8817 | 1253574.309 | 2677287.916 | 1253576.1306
6 | 2677287.916 | 1253576.1306 | 2677289.4402 | 1253583.0667 | 2677292.4398 | 1253592.5907 | 2677299.4726 | 1253607.7028
7 | 2677395.2302 | 1253550.0566 | 2677390.5214 | 1253550.084 | 2677387.2991 | 1253550.1086 | 2677386.6877 | 1253550.1229 | 2677386.2754 | 1253548.7609 | 2677384.8077 | 1253543.8603 | 2677384.0412 | 1253541.3151 | 2677388.0551 | 1253539.6107 | 2677388.7531 | 1253532.9705 | 2677386.782 | 1253521.6708
8 | 2677322.0669 | 1253506.2467 | 2677324.4917 | 1253520.008
9 | 2677322.0669 | 1253506.2467 | 2677321.0808 | 1253500.285
10 | 2677310.8446 | 1253631.8332 | 2677305.8745 | 1253621.3396
11 | 2677302.6859 | 1253614.6073 | 2677305.8745 | 1253621.3396
12 | 2677302.6859 | 1253614.6073 | 2677299.4726 | 1253607.7028
13 | 2677419.3809 | 1253541.0321 | 2677421.2305 | 1253559.4255
14 | 2677421.2305 | 1253559.4255 | 2677412.9363 | 1253558.9723 | 2677407.8687 | 1253558.7393
15 | 2677421.2305 | 1253559.4255 | 2677455.7044 | 1253561.2997
16 | 2677451.9005 | 1253411.6147 | 2677460.338 | 1253413.0282
17 | 2677450.4747 | 1253411.3759 | 2677451.9005 | 1253411.6147
18 | 2677490.1158 | 1253424.9709 | 2677472.7814 | 1253416.4601 | 2677460.338 | 1253413.0282 | 2677460.338 | 1253413.0282
19 | 2677490.1158 | 1253424.9709 | 2677490.8125 | 1253398.1402
20 | 2677490.1158 | 1253424.9709 | 2677492.0203 | 1253425.8965 | 2677490.3612 | 1253429.8555
21 | 2677490.3612 | 1253429.8555 | 2677448.4146 | 1253415.9968 | 2677424.2767 | 1253416.102
22 | 2677468.6415 | 1253495.2532 | 2677465.068 | 1253501.3555 | 2677461.4844 | 1253504.7778 | 2677458.2822 | 1253514.7989
23 | 2677468.6415 | 1253495.2532 | 2677475.8836 | 1253498.2724 | 2677480.1613 | 1253500.0519 | 2677492.255 | 1253506.5482 | 2677499.074 | 1253512.4862 | 2677504.7446 | 1253518.5315 | 2677507.0094 | 1253524.2098
24 | 2677468.6415 | 1253495.2532 | 2677454.1412 | 1253491.0272 | 2677441.4089 | 1253488.3588 | 2677441.3625 | 1253488.3524
25 | 2677458.2822 | 1253514.7989 | 2677457.4225 | 1253519.3688 | 2677458.2798 | 1253525.3623 | 2677456.9033 | 1253531.411
26 | 2677507.0094 | 1253524.2098 | 2677509.2217 | 1253533.2436
27 | 2677402.3514 | 1253484.9792 | 2677423.407 | 1253485.8884 | 2677441.3625 | 1253488.3524
28 | 2677455.7044 | 1253561.2997 | 2677451.7371 | 1253539.8319 | 2677455.2296 | 1253538.7656 | 2677456.9033 | 1253531.411
29 | 2677415.2328 | 1253416.1414 | 2677424.2767 | 1253416.102
30 | 2677514.8045 | 1253563.9412 | 2677511.4431 | 1253542.3145 | 2677509.2217 | 1253533.2436
31 | 2677408.2387 | 1253416.1719 | 2677415.2328 | 1253416.1414
32 | 2677408.2387 | 1253416.1719 | 2677408.2387 | 1253416.1719 | 2677406.3155 | 1253416.8499
33 | 2677406.3155 | 1253416.8499 | 2677383.877 | 1253424.7607
34 | 2677378.1189 | 1253426.7907 | 2677383.877 | 1253424.7607
35 | 2677378.1189 | 1253426.7907 | 2677372.568 | 1253428.7477
36 | 2677357.0391 | 1253434.2225 | 2677372.568 | 1253428.7477
37 | 2677351.4352 | 1253436.1982 | 2677357.0391 | 1253434.2225
38 | 2677351.4352 | 1253436.1982 | 2677346.1385 | 1253438.0656
39 | 2677346.1385 | 1253438.0656 | 2677340.6352 | 1253440.0058
40 | 2677325.8217 | 1253445.2283 | 2677340.6352 | 1253440.0058
41 | 2677325.8217 | 1253445.2283 | 2677305.5052 | 1253449.1224
42 | 2677290.5512 | 1253414.2553 | 2677291.2258 | 1253411.2609
43 | 2677286.7474 | 1253432.131 | 2677290.4136 | 1253414.8661 | 2677290.5512 | 1253414.2553
44 | 2677291.789 | 1253408.7607 | 2677291.2258 | 1253411.2609
45 | 2677286.7474 | 1253432.131 | 2677254.9459 | 1253420.5245
46 | 2677286.7474 | 1253432.131 | 2677282.5237 | 1253431.9869 | 2677280.2612 | 1253445.1894 | 2677283.2403 | 1253453.3899
47 | 2677291.9948 | 1253407.8471 | 2677291.789 | 1253408.7607
48 | 2677247.6654 | 1253418.1038 | 2677251.9912 | 1253419.4462 | 2677254.9459 | 1253420.5245
49 | 2677283.2403 | 1253453.3899 | 2677305.5052 | 1253449.1224
50 | 2677283.2403 | 1253453.3899 | 2677281.8879 | 1253477.8014 | 2677280.9715 | 1253483.8603
51 | 2677294.9677 | 1253394.6504 | 2677291.9948 | 1253407.8471
52 | 2677247.6654 | 1253418.1038 | 2677226.338 | 1253411.4858
53 | 2677280.9715 | 1253483.8603 | 2677277.9735 | 1253503.6806 | 2677280.0995 | 1253506.7106
54 | 2677402.3514 | 1253484.9792 | 2677399.8905 | 1253484.8779
55 | 2677399.8905 | 1253484.8779 | 2677399.5836 | 1253484.8652 | 2677376.9983 | 1253488.4173 | 2677366.3587 | 1253490.4802
56 | 2677334.9821 | 1253497.1933 | 2677357.0649 | 1253492.2821 | 2677366.3587 | 1253490.4802
57 | 2677321.0808 | 1253500.285 | 2677334.9821 | 1253497.1933
58 | 2677321.0808 | 1253500.285 | 2677317.63 | 1253501.0516 | 2677291.1841 | 1253505.5543 | 2677280.0995 | 1253506.7106
59 | 2677514.8045 | 1253563.9412 | 2677490.8613 | 1253580.9696
60 | 2677490.8187 | 1253582.5118 | 2677490.8613 | 1253580.9696
61 | 2677455.7044 | 1253561.2997 | 2677457.7481 | 1253561.4112
62 | 2677407.8687 | 1253558.7393 | 2677407.236 | 1253588.5955
63 | 2677406.9429 | 1253602.4262 | 2677407.236 | 1253588.5955
64 | 2677394.4486 | 1253602.9189 | 2677406.9429 | 1253602.4262

## bus_geodata
| x | y | coords
0 | 2677344.3751 | 1253567.127
1 | 2677396.7154 | 1253558.2376
2 | 2677338.5915 | 1253568.5699
3 | 2677294.8817 | 1253574.309
4 | 2677287.916 | 1253576.1306
5 | 2677395.2302 | 1253550.0566
6 | 2677386.782 | 1253521.6708
7 | 2677324.4917 | 1253520.008
8 | 2677322.0669 | 1253506.2467
9 | 2677310.8446 | 1253631.8332
10 | 2677305.8745 | 1253621.3396
11 | 2677302.6859 | 1253614.6073
12 | 2677299.4726 | 1253607.7028
13 | 2677419.3809 | 1253541.0321
14 | 2677421.2305 | 1253559.4255
15 | 2677451.9005 | 1253411.6147
16 | 2677460.338 | 1253413.0282
17 | 2677450.4747 | 1253411.3759
18 | 2677490.1158 | 1253424.9709
19 | 2677490.8125 | 1253398.1402
20 | 2677490.3612 | 1253429.8555
21 | 2677468.6415 | 1253495.2532
22 | 2677458.2822 | 1253514.7989
23 | 2677507.0094 | 1253524.2098
24 | 2677441.3625 | 1253488.3524
25 | 2677456.9033 | 1253531.411
26 | 2677424.2767 | 1253416.102
27 | 2677509.2217 | 1253533.2436
28 | 2677408.2387 | 1253416.1719
29 | 2677415.2328 | 1253416.1414
30 | 2677406.3155 | 1253416.8499
31 | 2677383.877 | 1253424.7607
32 | 2677378.1189 | 1253426.7907
33 | 2677372.568 | 1253428.7477
34 | 2677351.4352 | 1253436.1982
35 | 2677357.0391 | 1253434.2225
36 | 2677346.1385 | 1253438.0656
37 | 2677340.6352 | 1253440.0058
38 | 2677325.8217 | 1253445.2283
39 | 2677290.5512 | 1253414.2553
40 | 2677291.2258 | 1253411.2609
41 | 2677286.7474 | 1253432.131
42 | 2677291.789 | 1253408.7607
43 | 2677254.9459 | 1253420.5245
44 | 2677283.2403 | 1253453.3899
45 | 2677291.9948 | 1253407.8471
46 | 2677305.5052 | 1253449.1224
47 | 2677247.6654 | 1253418.1038
48 | 2677280.9715 | 1253483.8603
49 | 2677294.9677 | 1253394.6504
50 | 2677226.338 | 1253411.4858
51 | 2677402.3514 | 1253484.9792
52 | 2677399.8905 | 1253484.8779
53 | 2677366.3587 | 1253490.4802
54 | 2677334.9821 | 1253497.1933
55 | 2677321.0808 | 1253500.285
56 | 2677280.0995 | 1253506.7106
57 | 2677514.8045 | 1253563.9412
58 | 2677490.8613 | 1253580.9696
59 | 2677457.7481 | 1253561.4112
60 | 2677455.7044 | 1253561.2997
61 | 2677407.8687 | 1253558.7393
62 | 2677490.8187 | 1253582.5118
63 | 2677407.236 | 1253588.5955
64 | 2677406.9429 | 1253602.4262
65 | 2677394.4486 | 1253602.9189
66 | 2677395.2302 | 1253550.0566

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1