## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_96-27_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_96-27_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_96-27_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_96-27_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_96-27_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_96-27_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_96-27_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_96-27_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_96-27_0_3_node_185 | 0.4 | n |  | TRUE
9 | bus_LV_96-27_0_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_96-27_0_3_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_96-27_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_96-27_0_3_node_196 | 0.4 | n |  | TRUE
13 | bus_LV_96-27_0_3_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_96-27_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_96-27_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_96-27_0_3_node_197 | 0.4 | n |  | TRUE
17 | bus_LV_96-27_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_96-27_0_3_node_95 | 0.4 | n |  | TRUE
19 | bus_LV_96-27_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_96-27_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_96-27_0_3_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_96-27_0_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_96-27_0_3_node_199 | 0.4 | n |  | TRUE
24 | bus_LV_96-27_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_96-27_0_3_node_117 | 0.4 | n |  | TRUE
26 | bus_LV_96-27_0_3_node_116 | 0.4 | n |  | TRUE
27 | bus_LV_96-27_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_96-27_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_96-27_0_3_node_186 | 0.4 | n |  | TRUE
30 | bus_LV_96-27_0_3_node_194 | 0.4 | n |  | TRUE
31 | bus_LV_96-27_0_3_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_96-27_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_96-27_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_96-27_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_96-27_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_96-27_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_96-27_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_96-27_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_96-27_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_96-27_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_96-27_0_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_96-27_0_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_96-27_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_96-27_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_96-27_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_96-27_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_96-27_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_96-27_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_96-27_0_3_node_183 | 0.4 | n |  | TRUE
50 | bus_LV_96-27_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_96-27_0_3_node_184 | 0.4 | n |  | TRUE
52 | bus_LV_96-27_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_96-27_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_96-27_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_96-27_0_3_node_182 | 0.4 | n |  | TRUE
56 | bus_LV_96-27_0_3_node_187 | 0.4 | n |  | TRUE
57 | bus_LV_96-27_0_3_node_188 | 0.4 | n |  | TRUE
58 | bus_LV_96-27_0_3_node_189 | 0.4 | n |  | TRUE
59 | bus_LV_96-27_0_3_node_193 | 0.4 | n |  | TRUE
60 | bus_LV_96-27_0_3_node_195 | 0.4 | n |  | TRUE
61 | bus_LV_96-27_0_3_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_96-27_0_3_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_96-27_0_3_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_96-27_0_3_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_96-27_0_3_node_118 | 0.4 | n |  | TRUE
66 | bus_LV_96-27_0_3_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_96-27_0_3_node_98 | 0.4 | n |  | TRUE
68 | bus_LV_96-27_0_3_node_107 | 0.4 | n |  | TRUE
69 | bus_LV_96-27_0_3_node_126 | 0.4 | n |  | TRUE
70 | bus_LV_96-27_0_3_node_127 | 0.4 | n |  | TRUE
71 | bus_MV_669_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_96-27_0_3_load_0 | 0 | 0.0016801 | 0.00042108 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_96-27_0_3_load_185 | 8 | 0.001745 | 0.00043734 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_96-27_0_3_load_40 | 10 | 0.0072838 | 0.0018255 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_96-27_0_3_load_196 | 12 | 0.0062359 | 0.0015629 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_96-27_0_3_load_41 | 13 | 0.0018298 | 0.0004586 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_96-27_0_3_load_197 | 16 | 0.0031841 | 0.00079801 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_96-27_0_3_load_95 | 18 | 0.0010446 | 0.00026181 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_96-27_0_3_load_96 | 21 | 0.0027727 | 0.00069491 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_96-27_0_3_load_42 | 22 | 0.007858 | 0.0019694 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_96-27_0_3_load_199 | 23 | 0.0065263 | 0.0016356 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_96-27_0_3_load_117 | 25 | 0.0053326 | 0.0013365 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_96-27_0_3_load_116 | 26 | 0.00069333 | 0.00017377 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_96-27_0_3_load_194 | 30 | 0.0022286 | 0.00055853 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_96-27_0_3_load_87 | 31 | 0.015206 | 0.0038109 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_96-27_0_3_load_25 | 32 | 0.001676 | 0.00042004 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_96-27_0_3_load_26 | 33 | 0.0012166 | 0.00030492 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_96-27_0_3_load_29 | 35 | 0.016977 | 0.0042548 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_96-27_0_3_load_36 | 36 | 0.0093147 | 0.0023345 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_96-27_0_3_load_38 | 37 | 0.011036 | 0.0027658 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_96-27_0_3_load_44 | 39 | 0.0017273 | 0.0004329 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_96-27_0_3_load_43 | 41 | 0.011329 | 0.0028394 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_96-27_0_3_load_48 | 42 | 0.0086682 | 0.0021725 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_96-27_0_3_load_45 | 43 | 0.011148 | 0.002794 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_96-27_0_3_load_32 | 44 | 0.0027662 | 0.00069328 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_96-27_0_3_load_33 | 45 | 0.0062194 | 0.0015587 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_96-27_0_3_load_34 | 46 | 0.0051342 | 0.0012867 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_96-27_0_3_load_35 | 47 | 0.007107 | 0.0017812 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_96-27_0_3_load_183 | 49 | 0.0070421 | 0.0017649 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_96-27_0_3_load_39 | 50 | 0.0039628 | 0.00099317 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_96-27_0_3_load_184 | 51 | 0.0049047 | 0.0012292 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_96-27_0_3_load_46 | 52 | 0.0054834 | 0.0013743 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_96-27_0_3_load_49 | 54 | 0.018068 | 0.0045283 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_96-27_0_3_load_182 | 55 | 0.0036928 | 0.0009255 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_96-27_0_3_load_187 | 56 | 0.0018863 | 0.00047274 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_96-27_0_3_load_188 | 57 | 0.0043301 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_96-27_0_3_load_189 | 58 | 0.0084434 | 0.0021161 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_96-27_0_3_load_193 | 59 | 0.0039075 | 0.00097931 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_96-27_0_3_load_195 | 60 | 0.0050247 | 0.0012593 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_96-27_0_3_load_83 | 61 | 0.0023683 | 0.00059354 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_96-27_0_3_load_85 | 63 | 0.001832 | 0.00045915 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_96-27_0_3_load_118 | 65 | 0.00096461 | 0.00024175 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_96-27_0_3_load_88 | 66 | 0.0076339 | 0.0019132 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_96-27_0_3_load_98 | 67 | 0.0052489 | 0.0013155 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_96-27_0_3_load_107 | 68 | 0.0014182 | 0.00035544 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_96-27_0_3_load_126 | 69 | 0.0020002 | 0.0005013 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_96-27_0_3_line_0 |  | 0 | 1 | 0.015519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_96-27_0_3_line_1 |  | 0 | 2 | 0.027472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_96-27_0_3_line_2 |  | 1 | 3 | 0.039466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_96-27_0_3_line_3 |  | 1 | 4 | 0.030455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_96-27_0_3_line_4 |  | 2 | 5 | 0.003454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_96-27_0_3_line_5 |  | 2 | 6 | 0.003361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_96-27_0_3_line_6 |  | 3 | 7 | 0.003092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_96-27_0_3_line_7 |  | 3 | 8 | 0.0073088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_96-27_0_3_line_8 |  | 4 | 9 | 0.024754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_96-27_0_3_line_9 |  | 4 | 10 | 0.018792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_96-27_0_3_line_10 |  | 5 | 11 | 0.027722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_96-27_0_3_line_11 |  | 5 | 12 | 0.002743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_96-27_0_3_line_12 |  | 6 | 13 | 0.030199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_96-27_0_3_line_13 |  | 7 | 22 | 0.025472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_96-27_0_3_line_14 |  | 8 | 28 | 0.01113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_96-27_0_3_line_15 |  | 9 | 36 | 0.021856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_96-27_0_3_line_16 |  | 9 | 33 | 0.0064857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_96-27_0_3_line_17 |  | 10 | 50 | 0.0013761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_96-27_0_3_line_18 |  | 11 | 30 | 0.015339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_96-27_0_3_line_19 |  | 14 | 15 | 0.038697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_96-27_0_3_line_20 |  | 14 | 16 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_96-27_0_3_line_21 |  | 15 | 17 | 0.045755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_96-27_0_3_line_22 |  | 15 | 18 | 0.010482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_96-27_0_3_line_23 |  | 16 | 27 | 0.01033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_96-27_0_3_line_24 |  | 17 | 23 | 0.015675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_96-27_0_3_line_25 |  | 17 | 24 | 0.27476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_96-27_0_3_line_26 |  | 18 | 21 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_96-27_0_3_line_27 |  | 19 | 20 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_96-27_0_3_line_28 |  | 19 | 21 | 0.032026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_96-27_0_3_line_29 |  | 20 | 25 | 0.031234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_96-27_0_3_line_30 |  | 20 | 26 | 0.029519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_96-27_0_3_line_31 |  | 24 | 31 | 0.021496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_96-27_0_3_line_32 |  | 25 | 70 | 0.029409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_96-27_0_3_line_33 |  | 26 | 64 | 0.014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_96-27_0_3_line_34 |  | 27 | 28 | 0.04251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_96-27_0_3_line_35 |  | 28 | 29 | 0.003523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_96-27_0_3_line_36 |  | 29 | 56 | 0.041236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_96-27_0_3_line_37 |  | 30 | 59 | 0.0079965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_96-27_0_3_line_38 |  | 31 | 66 | 0.049954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_96-27_0_3_line_39 |  | 32 | 33 | 0.0084756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_96-27_0_3_line_40 |  | 32 | 34 | 0.015785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_96-27_0_3_line_41 |  | 34 | 35 | 0.035501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_96-27_0_3_line_42 |  | 35 | 37 | 0.024159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_96-27_0_3_line_43 |  | 36 | 49 | 0.0098234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_96-27_0_3_line_44 |  | 38 | 39 | 0.019246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_96-27_0_3_line_45 |  | 38 | 40 | 0.058259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_96-27_0_3_line_46 |  | 38 | 41 | 0.031591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_96-27_0_3_line_47 |  | 39 | 51 | 0.026195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_96-27_0_3_line_48 |  | 40 | 42 | 0.0093083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_96-27_0_3_line_49 |  | 40 | 43 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_96-27_0_3_line_50 |  | 43 | 52 | 0.12354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_96-27_0_3_line_51 |  | 44 | 45 | 0.025891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_96-27_0_3_line_52 |  | 44 | 46 | 0.0032378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_96-27_0_3_line_53 |  | 45 | 47 | 0.015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_96-27_0_3_line_54 |  | 47 | 48 | 0.010765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_96-27_0_3_line_55 |  | 48 | 50 | 0.020828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_96-27_0_3_line_56 |  | 49 | 55 | 0.0040731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_96-27_0_3_line_57 |  | 51 | 55 | 0.021758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_96-27_0_3_line_58 |  | 52 | 53 | 0.045446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_96-27_0_3_line_59 |  | 53 | 54 | 0.020596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_96-27_0_3_line_60 |  | 56 | 57 | 0.0082845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_96-27_0_3_line_61 |  | 57 | 58 | 0.0064259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_96-27_0_3_line_62 |  | 59 | 60 | 0.0063232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_96-27_0_3_line_63 |  | 61 | 62 | 0.011591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_96-27_0_3_line_64 |  | 61 | 63 | 0.0057231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_96-27_0_3_line_65 |  | 62 | 64 | 0.003661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_96-27_0_3_line_66 |  | 64 | 65 | 0.011831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_96-27_0_3_line_67 |  | 66 | 67 | 0.03423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_96-27_0_3_line_68 |  | 68 | 69 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_96-27_0_3_line_69 |  | 69 | 70 | 0.02256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_96-27_0_3_trafo_184 | 0.63 MVA 20/0.4 kV | 71 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2677378.4836 | 1253831.4352 | 2677383.1068 | 1253833.3192 | 2677392.6879 | 1253837.68
1 | 2677417.692 | 1253849.0605 | 2677392.6879 | 1253837.68
2 | 2677378.4836 | 1253831.4352 | 2677373.1528 | 1253826.5286 | 2677369.0982 | 1253821.5497 | 2677366.1997 | 1253815.8632 | 2677360.3909 | 1253797.307
3 | 2677378.4836 | 1253831.4352 | 2677374.3887 | 1253835.3068 | 2677351.3581 | 1253844.7464
4 | 2677417.692 | 1253849.0605 | 2677416.2475 | 1253852.1995
5 | 2677417.692 | 1253849.0605 | 2677418.5644 | 1253845.8139
6 | 2677360.3909 | 1253797.307 | 2677363.432 | 1253796.7018
7 | 2677360.3909 | 1253797.307 | 2677357.232 | 1253790.7161
8 | 2677351.3581 | 1253844.7464 | 2677328.0745 | 1253853.3377
9 | 2677351.3581 | 1253844.7464 | 2677358.0831 | 1253859.0115 | 2677359.4218 | 1253861.7199
10 | 2677416.2475 | 1253852.1995 | 2677428.8057 | 1253856.5891 | 2677433.9761 | 1253861.06 | 2677435.9584 | 1253865.2556 | 2677435.6554 | 1253868.2317
11 | 2677416.2475 | 1253852.1995 | 2677413.742 | 1253851.083
12 | 2677418.5644 | 1253845.8139 | 2677391.0926 | 1253833.2732
13 | 2677363.432 | 1253796.7018 | 2677386.6864 | 1253792.091 | 2677388.4178 | 1253791.7463
14 | 2677352.4215 | 1253780.6795 | 2677357.232 | 1253790.7161
15 | 2677328.0745 | 1253853.3377 | 2677322.7453 | 1253832.1413
16 | 2677328.0745 | 1253853.3377 | 2677321.9906 | 1253855.5851
17 | 2677359.4218 | 1253861.7199 | 2677360.0316 | 1253862.9535
18 | 2677435.6554 | 1253868.2317 | 2677435.2911 | 1253871.8518 | 2677432.8063 | 1253883.2855
19 | 2677333.8421 | 1253735.8482 | 2677336.5761 | 1253743.1559 | 2677344.1561 | 1253740.5085 | 2677360.4471 | 1253734.6835 | 2677361.833 | 1253740.0723
20 | 2677361.833 | 1253740.0723 | 2677364.2755 | 1253748.3214 | 2677365.6725 | 1253749.6066
21 | 2677309.4502 | 1253760.5259 | 2677307.1435 | 1253754.5803 | 2677324.3766 | 1253747.6778 | 2677336.5761 | 1253743.1559 | 2677333.8421 | 1253735.8482
22 | 2677333.8421 | 1253735.8482 | 2677335.6933 | 1253733.3371 | 2677335.4904 | 1253729.8097 | 2677334.3979 | 1253726.1396
23 | 2677373.2745 | 1253756.6006 | 2677365.6725 | 1253749.6066
24 | 2677315.122 | 1253775.1441 | 2677309.4502 | 1253760.5259
25 | 2677202.8818 | 1253783.5422 | 2677188.5809 | 1253791.8398 | 2677166.8851 | 1253809.448 | 2677165.8364 | 1253810.6018 | 2677150.2804 | 1253827.7898 | 2677146.0363 | 1253832.1266 | 2677142.4275 | 1253833.4584 | 2677145.3859 | 1253835.1426 | 2677151.2652 | 1253833.2844 | 2677154.0429 | 1253833.1983 | 2677156.782 | 1253834.9242 | 2677165.8634 | 1253825.8913 | 2677176.6909 | 1253816.6255 | 2677191.7732 | 1253805.1023 | 2677203.1111 | 1253798.3562 | 2677218.3779 | 1253789.4708 | 2677236.3507 | 1253779.6422 | 2677293.2199 | 1253754.7654 | 2677304.0639 | 1253755.8188 | 2677307.1435 | 1253754.5803 | 2677309.4502 | 1253760.5259
26 | 2677334.3979 | 1253726.1396 | 2677331.6956 | 1253717.0618 | 2677330.9803 | 1253711.8336
27 | 2677322.2589 | 1253670.6487 | 2677324.8636 | 1253671.6835 | 2677328.0664 | 1253674.305 | 2677330.2991 | 1253677.2474 | 2677326.4937 | 1253680.3334
28 | 2677326.4937 | 1253680.3334 | 2677327.9274 | 1253683.2098 | 2677328.6641 | 1253687.467 | 2677329.6017 | 1253701.7565 | 2677330.9803 | 1253711.8336
29 | 2677322.2589 | 1253670.6487 | 2677323.356 | 1253666.9492 | 2677323.3765 | 1253660.756 | 2677315.5949 | 1253641.8626 | 2677315.2745 | 1253641.1861
30 | 2677322.2589 | 1253670.6487 | 2677319.5191 | 1253669.5566 | 2677313.5158 | 1253669.3336 | 2677294.0151 | 1253675.8531
31 | 2677202.8818 | 1253783.5422 | 2677211.6815 | 1253778.7644 | 2677221.9604 | 1253773.6468
32 | 2677302.6859 | 1253614.6073 | 2677315.2745 | 1253641.1861
33 | 2677280.322 | 1253680.431 | 2677294.0151 | 1253675.8531
34 | 2677352.4215 | 1253780.6795 | 2677350.3892 | 1253776.839 | 2677353.552 | 1253776.1576 | 2677375.0413 | 1253768.6326 | 2677373.2745 | 1253756.6006
35 | 2677352.4215 | 1253780.6795 | 2677349.152 | 1253782.0156
36 | 2677349.152 | 1253782.0156 | 2677328.2537 | 1253790.5157 | 2677309.8496 | 1253793.6876
37 | 2677431.5388 | 1253891.1686 | 2677431.9513 | 1253887.2196 | 2677432.8063 | 1253883.2855
38 | 2677265.0353 | 1253750.9394 | 2677265.2452 | 1253752.7768 | 2677261.7665 | 1253755.111 | 2677231.4427 | 1253768.9258 | 2677221.9604 | 1253773.6468
39 | 2677314.0401 | 1253858.522 | 2677321.9906 | 1253855.5851
40 | 2677299.2335 | 1253863.9915 | 2677314.0401 | 1253858.522
41 | 2677299.2335 | 1253863.9915 | 2677305.6073 | 1253887.8256 | 2677316.1491 | 1253890.3035
42 | 2677339.6672 | 1253895.8316 | 2677316.1491 | 1253890.3035
43 | 2677322.7453 | 1253832.1413 | 2677322.7453 | 1253832.1413 | 2677322.046 | 1253830.7979 | 2677321.1171 | 1253830.2854 | 2677320.1075 | 1253830.1721 | 2677319.2155 | 1253830.305 | 2677314.0601 | 1253831.6586
44 | 2677247.4639 | 1253854.8984 | 2677265.1959 | 1253847.4157
45 | 2677246.6743 | 1253898.6427 | 2677264.0913 | 1253885.1265 | 2677246.0603 | 1253855.4916 | 2677247.4639 | 1253854.8984
46 | 2677247.4639 | 1253854.8984 | 2677248.9036 | 1253842.8638 | 2677237.7856 | 1253826.8795
47 | 2677265.1959 | 1253847.4157 | 2677276.7041 | 1253842.5595 | 2677280.0758 | 1253843.215 | 2677289.5261 | 1253839.1952
48 | 2677246.6743 | 1253898.6427 | 2677237.4472 | 1253897.416
49 | 2677246.6743 | 1253898.6427 | 2677234.7734 | 1253911.5102
50 | 2677234.7734 | 1253911.5102 | 2677161.1751 | 1253991.086 | 2677151.7628 | 1254002.95
51 | 2677386.7841 | 1253931.0145 | 2677378.291 | 1253906.5565
52 | 2677386.7841 | 1253931.0145 | 2677387.8462 | 1253934.0732
53 | 2677373.0559 | 1253891.4804 | 2677378.291 | 1253906.5565
54 | 2677369.5244 | 1253881.3107 | 2677373.0559 | 1253891.4804
55 | 2677369.5244 | 1253881.3107 | 2677367.0885 | 1253874.2959 | 2677362.4422 | 1253867.8305 | 2677360.0316 | 1253862.9535
56 | 2677310.1205 | 1253832.693 | 2677314.0601 | 1253831.6586
57 | 2677310.1205 | 1253832.693 | 2677305.2163 | 1253833.9806 | 2677300.7969 | 1253834.401 | 2677289.5261 | 1253839.1952
58 | 2677139.6041 | 1254043.1881 | 2677139.6423 | 1254032.1471 | 2677143.4183 | 1254031.8738 | 2677144.9547 | 1254016.4602 | 2677151.7628 | 1254002.95 | 2677151.7628 | 1254002.95
59 | 2677139.6041 | 1254043.1881 | 2677119.147 | 1254045.5772
60 | 2677309.8496 | 1253793.6876 | 2677307.5633 | 1253794.0817 | 2677302.1726 | 1253796.6341
61 | 2677296.3648 | 1253799.3839 | 2677302.1726 | 1253796.6341
62 | 2677430.8818 | 1253897.4576 | 2677431.5388 | 1253891.1686
63 | 2677281.5445 | 1253683.8828 | 2677284.8901 | 1253694.9807
64 | 2677286.542 | 1253700.4603 | 2677284.8901 | 1253694.9807
65 | 2677281.5445 | 1253683.8828 | 2677280.322 | 1253680.431
66 | 2677280.322 | 1253680.431 | 2677269.1024 | 1253684.1848
67 | 2677265.0353 | 1253750.9394 | 2677245.0018 | 1253723.1842
68 | 2677285.7236 | 1253627.3441 | 2677274.3807 | 1253631.3627
69 | 2677302.6859 | 1253614.6073 | 2677300.6058 | 1253619.6172 | 2677296.844 | 1253623.4043 | 2677285.7236 | 1253627.3441

## bus_geodata
| x | y | coords
0 | 2677392.6879 | 1253837.68
1 | 2677378.4836 | 1253831.4352
2 | 2677417.692 | 1253849.0605
3 | 2677360.3909 | 1253797.307
4 | 2677351.3581 | 1253844.7464
5 | 2677416.2475 | 1253852.1995
6 | 2677418.5644 | 1253845.8139
7 | 2677363.432 | 1253796.7018
8 | 2677357.232 | 1253790.7161
9 | 2677328.0745 | 1253853.3377
10 | 2677359.4218 | 1253861.7199
11 | 2677435.6554 | 1253868.2317
12 | 2677413.742 | 1253851.083
13 | 2677391.0926 | 1253833.2732
14 | 2677361.833 | 1253740.0723
15 | 2677333.8421 | 1253735.8482
16 | 2677365.6725 | 1253749.6066
17 | 2677309.4502 | 1253760.5259
18 | 2677334.3979 | 1253726.1396
19 | 2677326.4937 | 1253680.3334
20 | 2677322.2589 | 1253670.6487
21 | 2677330.9803 | 1253711.8336
22 | 2677388.4178 | 1253791.7463
23 | 2677315.122 | 1253775.1441
24 | 2677202.8818 | 1253783.5422
25 | 2677315.2745 | 1253641.1861
26 | 2677294.0151 | 1253675.8531
27 | 2677373.2745 | 1253756.6006
28 | 2677352.4215 | 1253780.6795
29 | 2677349.152 | 1253782.0156
30 | 2677432.8063 | 1253883.2855
31 | 2677221.9604 | 1253773.6468
32 | 2677314.0401 | 1253858.522
33 | 2677321.9906 | 1253855.5851
34 | 2677299.2335 | 1253863.9915
35 | 2677316.1491 | 1253890.3035
36 | 2677322.7453 | 1253832.1413
37 | 2677339.6672 | 1253895.8316
38 | 2677247.4639 | 1253854.8984
39 | 2677265.1959 | 1253847.4157
40 | 2677246.6743 | 1253898.6427
41 | 2677237.7856 | 1253826.8795
42 | 2677237.4472 | 1253897.416
43 | 2677234.7734 | 1253911.5102
44 | 2677386.7841 | 1253931.0145
45 | 2677378.291 | 1253906.5565
46 | 2677387.8462 | 1253934.0732
47 | 2677373.0559 | 1253891.4804
48 | 2677369.5244 | 1253881.3107
49 | 2677314.0601 | 1253831.6586
50 | 2677360.0316 | 1253862.9535
51 | 2677289.5261 | 1253839.1952
52 | 2677151.7628 | 1254002.95
53 | 2677139.6041 | 1254043.1881
54 | 2677119.147 | 1254045.5772
55 | 2677310.1205 | 1253832.693
56 | 2677309.8496 | 1253793.6876
57 | 2677302.1726 | 1253796.6341
58 | 2677296.3648 | 1253799.3839
59 | 2677431.5388 | 1253891.1686
60 | 2677430.8818 | 1253897.4576
61 | 2677284.8901 | 1253694.9807
62 | 2677281.5445 | 1253683.8828
63 | 2677286.542 | 1253700.4603
64 | 2677280.322 | 1253680.431
65 | 2677269.1024 | 1253684.1848
66 | 2677265.0353 | 1253750.9394
67 | 2677245.0018 | 1253723.1842
68 | 2677274.3807 | 1253631.3627
69 | 2677285.7236 | 1253627.3441
70 | 2677302.6859 | 1253614.6073
71 | 2677247.4639 | 1253854.8984

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1