## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_96-34_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_96-34_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_96-34_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_96-34_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_96-34_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_96-34_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_96-34_0_5_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_96-34_0_5_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_96-34_0_5_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_96-34_0_5_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_96-34_0_5_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_96-34_0_5_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_96-34_0_5_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_96-34_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_96-34_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_96-34_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_96-34_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_96-34_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_96-34_0_5_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_96-34_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_96-34_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_96-34_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_96-34_0_5_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_96-34_0_5_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_96-34_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_96-34_0_5_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_96-34_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_96-34_0_5_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_96-34_0_5_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_96-34_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_96-34_0_5_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_96-34_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_96-34_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_96-34_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_96-34_0_5_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_96-34_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_96-34_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_96-34_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_96-34_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_96-34_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_96-34_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_96-34_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_96-34_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_96-34_0_5_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_96-34_0_5_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_96-34_0_5_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_96-34_0_5_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_96-34_0_5_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_96-34_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_96-34_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_96-34_0_5_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_96-34_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_96-34_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_96-34_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_96-34_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_96-34_0_5_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_96-34_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_96-34_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_96-34_0_5_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_96-34_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_96-34_0_5_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_96-34_0_5_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_96-34_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_96-34_0_5_node_63 | 0.4 | n |  | TRUE
64 | bus_MV_467_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_96-34_0_5_load_0 | 0 | 0.0025638 | 0.00064255 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_96-34_0_5_load_1 | 1 | 0.0029887 | 0.00074904 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_96-34_0_5_load_3 | 3 | 0.0030763 | 0.000771 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_96-34_0_5_load_5 | 5 | 0.0015592 | 0.00039077 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_96-34_0_5_load_17 | 6 | 0.0032106 | 0.00080464 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_96-34_0_5_load_45 | 8 | 0.00075374 | 0.00018891 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_96-34_0_5_load_35 | 9 | 0.0016265 | 0.00040765 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_96-34_0_5_load_26 | 10 | 0.0039627 | 0.00099315 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_96-34_0_5_load_65 | 11 | 0.002071 | 0.00051903 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_96-34_0_5_load_44 | 12 | 0.0015437 | 0.00038689 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_96-34_0_5_load_6 | 13 | 0.032334 | 0.0081037 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_96-34_0_5_load_16 | 20 | 0.053877 | 0.013503 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_96-34_0_5_load_58 | 23 | 0.0062341 | 0.0015624 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_96-34_0_5_load_36 | 25 | 0.032456 | 0.0081342 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_96-34_0_5_load_55 | 27 | 0.0043991 | 0.0011025 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_96-34_0_5_load_53 | 28 | 0.0016785 | 0.00042068 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_96-34_0_5_load_66 | 30 | 0.0011571 | 0.00029 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_96-34_0_5_load_51 | 34 | 0.0030489 | 0.00076413 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_96-34_0_5_load_24 | 37 | 0.017224 | 0.0043167 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_96-34_0_5_load_18 | 38 | 0.005023 | 0.0012589 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_96-34_0_5_load_32 | 39 | 0.052018 | 0.013037 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_96-34_0_5_load_25 | 40 | 0.0060539 | 0.0015172 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_96-34_0_5_load_31 | 41 | 0.0078666 | 0.0019715 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_96-34_0_5_load_30 | 42 | 0.0055574 | 0.0013928 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_96-34_0_5_load_67 | 43 | 0.036513 | 0.0091511 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_96-34_0_5_load_57 | 44 | 0.0027509 | 0.00068944 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_96-34_0_5_load_56 | 46 | 0.0032239 | 0.00080799 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_96-34_0_5_load_52 | 47 | 0.0011077 | 0.0002776 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_96-34_0_5_load_33 | 48 | 0.031438 | 0.0078791 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_96-34_0_5_load_50 | 49 | 0.0023088 | 0.00057865 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_96-34_0_5_load_37 | 50 | 0.004288 | 0.0010747 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_96-34_0_5_load_38 | 51 | 0.0040035 | 0.0010034 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_96-34_0_5_load_39 | 52 | 0.0022971 | 0.0005757 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_96-34_0_5_load_41 | 54 | 0.0039896 | 0.0009999 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_96-34_0_5_load_47 | 55 | 0.0037426 | 0.00093799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_96-34_0_5_load_42 | 56 | 0.0038886 | 0.00097459 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_96-34_0_5_load_48 | 57 | 0.0023013 | 0.00057676 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_96-34_0_5_load_49 | 59 | 0.00267 | 0.00066916 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_96-34_0_5_load_59 | 60 | 0.00059076 | 0.00014806 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_96-34_0_5_load_62 | 62 | 0.018219 | 0.0045662 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_96-34_0_5_load_63 | 63 | 0.0020769 | 0.00052052 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_96-34_0_5_line_0 |  | 0 | 1 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_96-34_0_5_line_1 |  | 0 | 2 | 0.022104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_96-34_0_5_line_2 |  | 1 | 3 | 0.00067612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_96-34_0_5_line_3 |  | 2 | 4 | 0.002876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_96-34_0_5_line_4 |  | 2 | 5 | 0.034422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_96-34_0_5_line_5 |  | 3 | 6 | 0.011795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_96-34_0_5_line_6 |  | 4 | 7 | 0.00495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_96-34_0_5_line_7 |  | 4 | 8 | 0.036017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_96-34_0_5_line_8 |  | 5 | 9 | 0.014029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_96-34_0_5_line_9 |  | 6 | 10 | 0.027988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_96-34_0_5_line_10 |  | 7 | 11 | 0.021188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_96-34_0_5_line_11 |  | 8 | 12 | 0.0024449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_96-34_0_5_line_12 |  | 10 | 40 | 0.014684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_96-34_0_5_line_13 |  | 11 | 58 | 0.021146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_96-34_0_5_line_14 |  | 13 | 14 | 0.0073122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_96-34_0_5_line_15 |  | 14 | 15 | 0.066074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_96-34_0_5_line_16 |  | 15 | 26 | 0.067311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_96-34_0_5_line_17 |  | 15 | 27 | 0.039056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_96-34_0_5_line_18 |  | 15 | 19 | 0.11209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_96-34_0_5_line_19 |  | 15 | 21 | 0.066211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_96-34_0_5_line_20 |  | 16 | 17 | 0.053403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_96-34_0_5_line_21 |  | 16 | 18 | 0.075343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_96-34_0_5_line_22 |  | 17 | 19 | 0.14515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_96-34_0_5_line_23 |  | 17 | 24 | 0.040524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_96-34_0_5_line_24 |  | 18 | 41 | 0.029056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_96-34_0_5_line_25 |  | 18 | 42 | 0.045497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_96-34_0_5_line_26 |  | 18 | 35 | 0.070043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_96-34_0_5_line_27 |  | 19 | 20 | 0.01044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_96-34_0_5_line_28 |  | 21 | 22 | 0.010094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_96-34_0_5_line_29 |  | 21 | 23 | 0.0082432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_96-34_0_5_line_30 |  | 22 | 43 | 0.005003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_96-34_0_5_line_31 |  | 23 | 44 | 0.01338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_96-34_0_5_line_32 |  | 24 | 25 | 0.036438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_96-34_0_5_line_33 |  | 25 | 45 | 0.036876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_96-34_0_5_line_34 |  | 26 | 28 | 0.013078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_96-34_0_5_line_35 |  | 27 | 46 | 0.0078665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_96-34_0_5_line_36 |  | 28 | 47 | 0.041533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_96-34_0_5_line_37 |  | 29 | 30 | 0.031442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_96-34_0_5_line_38 |  | 29 | 31 | 0.14306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_96-34_0_5_line_39 |  | 29 | 32 | 0.07614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_96-34_0_5_line_40 |  | 31 | 39 | 0.19916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_96-34_0_5_line_41 |  | 32 | 45 | 0.024489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_96-34_0_5_line_42 |  | 32 | 38 | 0.011149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_96-34_0_5_line_43 |  | 33 | 34 | 0.022242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_96-34_0_5_line_44 |  | 33 | 35 | 0.007722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_96-34_0_5_line_45 |  | 34 | 49 | 0.026832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_96-34_0_5_line_46 |  | 35 | 40 | 0.017536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_96-34_0_5_line_47 |  | 36 | 37 | 0.040247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_96-34_0_5_line_48 |  | 36 | 38 | 0.024225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_96-34_0_5_line_49 |  | 39 | 48 | 0.008439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_96-34_0_5_line_50 |  | 44 | 60 | 0.026458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_96-34_0_5_line_51 |  | 49 | 59 | 0.00067327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_96-34_0_5_line_52 |  | 50 | 51 | 0.029507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_96-34_0_5_line_53 |  | 50 | 52 | 0.028812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_96-34_0_5_line_54 |  | 51 | 53 | 0.036532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_96-34_0_5_line_55 |  | 52 | 54 | 0.028449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_96-34_0_5_line_56 |  | 53 | 55 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_96-34_0_5_line_57 |  | 54 | 56 | 0.011692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_96-34_0_5_line_58 |  | 55 | 57 | 0.028532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_96-34_0_5_line_59 |  | 57 | 59 | 0.0012917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_96-34_0_5_line_60 |  | 58 | 63 | 0.022681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_96-34_0_5_line_61 |  | 60 | 61 | 0.0136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_96-34_0_5_line_62 |  | 61 | 62 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_96-34_0_5_trafo_67 | 0.63 MVA 20/0.4 kV | 64 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2676999.4566 | 1256547.9451 | 2677008.5118 | 1256551.7507 | 2677022.373 | 1256553.3636
1 | 2676979.0789 | 1256539.381 | 2676999.4566 | 1256547.9451
2 | 2677022.373 | 1256553.3636 | 2677023.0446 | 1256553.4417
3 | 2676979.0789 | 1256539.381 | 2676978.394 | 1256542.1742
4 | 2676979.0789 | 1256539.381 | 2676990.2405 | 1256512.1501 | 2676993.327 | 1256508.226
5 | 2677023.0446 | 1256553.4417 | 2677027.556 | 1256553.9667 | 2677034.7772 | 1256553.2812
6 | 2676978.394 | 1256542.1742 | 2676973.5601 | 1256543.3011
7 | 2676978.394 | 1256542.1742 | 2676970.4715 | 1256577.3093
8 | 2677002.0004 | 1256497.1988 | 2676993.327 | 1256508.226
9 | 2677062.6395 | 1256550.6363 | 2677034.7772 | 1256553.2812
10 | 2676973.5601 | 1256543.3011 | 2676970.1452 | 1256541.4442 | 2676952.8838 | 1256542.6147
11 | 2676970.4715 | 1256577.3093 | 2676969.9337 | 1256579.6944
12 | 2677062.6395 | 1256550.6363 | 2677077.2578 | 1256549.2486
13 | 2676932.0299 | 1256546.0301 | 2676950.1948 | 1256542.797 | 2676952.8838 | 1256542.6147
14 | 2676864.2078 | 1256419.9662 | 2676866.826 | 1256419.2997 | 2676869.3206 | 1256415.4224
15 | 2676865.8407 | 1256456.2479 | 2676849.3552 | 1256459.6587 | 2676846.4462 | 1256451.9374 | 2676852.0917 | 1256444.6497 | 2676861.0126 | 1256430.7995 | 2676863.0173 | 1256430.9145 | 2676860.1202 | 1256425.762 | 2676860.7921 | 1256423.3911 | 2676861.862 | 1256421.726 | 2676864.2078 | 1256419.9662
16 | 2676804.6482 | 1256474.6788 | 2676805.611 | 1256469.0649 | 2676807.9697 | 1256468.6285 | 2676810.244 | 1256467.724 | 2676849.3552 | 1256459.6587 | 2676865.8407 | 1256456.2479
17 | 2676865.8407 | 1256456.2479 | 2676866.5512 | 1256465.4195 | 2676856.4228 | 1256467.1338 | 2676859.5022 | 1256486.4748
18 | 2676865.8407 | 1256456.2479 | 2676890.8562 | 1256451.091 | 2676894.8507 | 1256450.7204 | 2676906.3959 | 1256449.6695 | 2676906.6902 | 1256442.1121 | 2676909.384 | 1256442.0026 | 2676913.0152 | 1256439.9927 | 2676924.9998 | 1256431.8311 | 2676927.2695 | 1256429.5367 | 2676944.4719 | 1256412.1916 | 2676944.3985 | 1256407.3982 | 2676943.1494 | 1256397.8971
19 | 2676865.8407 | 1256456.2479 | 2676890.8562 | 1256451.091 | 2676894.8507 | 1256450.7204 | 2676901.1691 | 1256486.8294
20 | 2677023.7208 | 1256425.0648 | 2677014.2286 | 1256425.9865 | 2677012.6952 | 1256431.971 | 2677021.8218 | 1256431.9008 | 2677049.795 | 1256437.669
21 | 2677049.795 | 1256437.669 | 2677072.8634 | 1256447.1096 | 2677083.4319 | 1256446.3465 | 2677085.7491 | 1256482.6817 | 2677085.9687 | 1256486.0871
22 | 2676943.1494 | 1256397.8971 | 2676944.3985 | 1256407.3982 | 2676944.4719 | 1256412.1916 | 2676927.2695 | 1256429.5367 | 2676930.5522 | 1256431.125 | 2676952.1702 | 1256434.386 | 2676963.1179 | 1256439.2653 | 2676967.2899 | 1256443.2225 | 2676994.6995 | 1256433.1824 | 2676997.6474 | 1256432.0977 | 2677012.6952 | 1256431.971 | 2677014.2286 | 1256425.9865 | 2677023.7208 | 1256425.0648
23 | 2677004.8702 | 1256405.038 | 2677019.8539 | 1256404.0432 | 2677015.9926 | 1256419.0932 | 2677020.7727 | 1256421.5238 | 2677023.7208 | 1256425.0648
24 | 2677085.9687 | 1256486.0871 | 2677056.9178 | 1256488.3885
25 | 2677085.9687 | 1256486.0871 | 2677087.9218 | 1256516.791 | 2677073.2587 | 1256518.2085
26 | 2677085.9687 | 1256486.0871 | 2677085.7491 | 1256482.6817 | 2677089.4255 | 1256486.4657 | 2677091.9223 | 1256515.3754 | 2677094.7154 | 1256547.5914
27 | 2676943.1494 | 1256397.8971 | 2676942.8198 | 1256395.4021 | 2676946.9009 | 1256388.6101
28 | 2676901.1691 | 1256486.8294 | 2676910.9399 | 1256484.1877
29 | 2676901.1691 | 1256486.8294 | 2676893.5414 | 1256489.9549
30 | 2676915.7837 | 1256482.8829 | 2676910.9399 | 1256484.1877
31 | 2676892.0347 | 1256503.2496 | 2676893.5414 | 1256489.9549 | 2676893.5414 | 1256489.9549
32 | 2677004.8702 | 1256405.038 | 2677007.4274 | 1256391.6724 | 2677017.747 | 1256382.8111 | 2677019.0575 | 1256373.6768
33 | 2677040.3639 | 1256344.1096 | 2677031.069 | 1256352.4616 | 2677019.0575 | 1256373.6768
34 | 2676804.6482 | 1256474.6788 | 2676808.0724 | 1256487.3003
35 | 2676860.7391 | 1256494.2434 | 2676859.5022 | 1256486.4748
36 | 2676818.9475 | 1256527.3846 | 2676808.0724 | 1256487.3003
37 | 2677048.6173 | 1256328.8612 | 2677046.9425 | 1256322.5235 | 2677050.8006 | 1256315.2572 | 2677046.3765 | 1256303.4352 | 2677048.1585 | 1256299.8001
38 | 2676928.0425 | 1256341.6477 | 2676931.5846 | 1256340.1148 | 2676935.2517 | 1256337.0824 | 2676942.8317 | 1256329.5196 | 2676947.9101 | 1256324.682 | 2676950.7551 | 1256322.2282 | 2676958.4601 | 1256318.4033 | 2676965.6266 | 1256315.383 | 2677005.6387 | 1256303.094 | 2677029.3604 | 1256294.2514 | 2677046.4917 | 1256294.5856 | 2677051.3431 | 1256293.2811 | 2677048.1585 | 1256299.8001
39 | 2677048.1585 | 1256299.8001 | 2677058.787 | 1256305.4537 | 2677059.5034 | 1256303.7284 | 2677064.5056 | 1256300.6913 | 2677082.8487 | 1256304.6885 | 2677078.9494 | 1256308.7408 | 2677063.6728 | 1256336.8408
40 | 2676928.0425 | 1256341.6477 | 2676929.2873 | 1256348.0019 | 2676929.9307 | 1256351.3016 | 2676913.6254 | 1256358.2284 | 2676906.978 | 1256359.6097 | 2676894.7848 | 1256359.4402 | 2676883.2203 | 1256356.7436 | 2676877.3796 | 1256354.6662 | 2676872.3277 | 1256351.665 | 2676865.4538 | 1256346.105 | 2676860.0634 | 1256343.0327 | 2676853.856 | 1256340.7393 | 2676844.3871 | 1256336.9581 | 2676835.9954 | 1256335.5926 | 2676828.2019 | 1256335.2134 | 2676791.2685 | 1256337.5473 | 2676791.6749 | 1256344.5911 | 2676783.7601 | 1256358.788 | 2676783.6308 | 1256364.6908 | 2676776.3216 | 1256376.9718 | 2676776.3216 | 1256376.9718
41 | 2677063.6728 | 1256336.8408 | 2677057.63 | 1256337.5516 | 2677040.3639 | 1256344.1096
42 | 2677063.6728 | 1256336.8408 | 2677067.3182 | 1256337.2219 | 2677072.8034 | 1256340.529 | 2677073.5891 | 1256341.2687
43 | 2677102.4251 | 1256546.8579 | 2677103.6168 | 1256569.0675
44 | 2677094.7154 | 1256547.5914 | 2677102.4251 | 1256546.8579
45 | 2677105.0545 | 1256595.8609 | 2677103.6168 | 1256569.0675
46 | 2677094.7154 | 1256547.5914 | 2677077.2578 | 1256549.2486
47 | 2677090.8716 | 1256357.5103 | 2677086.8101 | 1256361.2824 | 2677075.4554 | 1256380.7047 | 2677068.1095 | 1256383.6002 | 2677066.0257 | 1256387.3728
48 | 2677090.8716 | 1256357.5103 | 2677088.997 | 1256353.2049 | 2677084.1212 | 1256349.4274 | 2677077.3185 | 1256344.7799 | 2677073.5891 | 1256341.2687
49 | 2676768.7392 | 1256380.6763 | 2676776.3216 | 1256376.9718
50 | 2676892.0347 | 1256503.2496 | 2676890.9177 | 1256513.1049 | 2676901.9853 | 1256513.3932 | 2676907.3365 | 1256512.2682
51 | 2677105.0906 | 1256596.5332 | 2677105.0545 | 1256595.8609
52 | 2677041.6291 | 1256644.8233 | 2677071.1358 | 1256644.7083
53 | 2677041.6291 | 1256644.8233 | 2677030.121 | 1256644.8681 | 2677013.5491 | 1256639.8901
54 | 2677107.6679 | 1256644.566 | 2677071.1358 | 1256644.7083
55 | 2677013.5491 | 1256639.8901 | 2676990.3059 | 1256632.908 | 2676986.6294 | 1256630.9186
56 | 2677107.6679 | 1256644.566 | 2677106.6885 | 1256626.3136
57 | 2676976.3462 | 1256625.3543 | 2676986.6294 | 1256630.9186
58 | 2677106.6885 | 1256626.3136 | 2677105.1598 | 1256597.823
59 | 2677105.0906 | 1256596.5332 | 2677105.1598 | 1256597.823
60 | 2676932.0299 | 1256546.0301 | 2676909.6993 | 1256550.0004
61 | 2676920.3789 | 1256508.8176 | 2676918.7211 | 1256509.8746 | 2676907.3365 | 1256512.2682
62 | 2676920.3789 | 1256508.8176 | 2676923.4664 | 1256506.8562 | 2676932.3599 | 1256498.597

## bus_geodata
| x | y | coords
0 | 2676999.4566 | 1256547.9451
1 | 2677022.373 | 1256553.3636
2 | 2676979.0789 | 1256539.381
3 | 2677023.0446 | 1256553.4417
4 | 2676978.394 | 1256542.1742
5 | 2676993.327 | 1256508.226
6 | 2677034.7772 | 1256553.2812
7 | 2676973.5601 | 1256543.3011
8 | 2676970.4715 | 1256577.3093
9 | 2677002.0004 | 1256497.1988
10 | 2677062.6395 | 1256550.6363
11 | 2676952.8838 | 1256542.6147
12 | 2676969.9337 | 1256579.6944
13 | 2676869.3206 | 1256415.4224
14 | 2676864.2078 | 1256419.9662
15 | 2676865.8407 | 1256456.2479
16 | 2677049.795 | 1256437.669
17 | 2677023.7208 | 1256425.0648
18 | 2677085.9687 | 1256486.0871
19 | 2676943.1494 | 1256397.8971
20 | 2676946.9009 | 1256388.6101
21 | 2676901.1691 | 1256486.8294
22 | 2676910.9399 | 1256484.1877
23 | 2676893.5414 | 1256489.9549
24 | 2677004.8702 | 1256405.038
25 | 2677019.0575 | 1256373.6768
26 | 2676804.6482 | 1256474.6788
27 | 2676859.5022 | 1256486.4748
28 | 2676808.0724 | 1256487.3003
29 | 2677048.1585 | 1256299.8001
30 | 2677048.6173 | 1256328.8612
31 | 2676928.0425 | 1256341.6477
32 | 2677063.6728 | 1256336.8408
33 | 2677102.4251 | 1256546.8579
34 | 2677103.6168 | 1256569.0675
35 | 2677094.7154 | 1256547.5914
36 | 2677090.8716 | 1256357.5103
37 | 2677066.0257 | 1256387.3728
38 | 2677073.5891 | 1256341.2687
39 | 2676776.3216 | 1256376.9718
40 | 2677077.2578 | 1256549.2486
41 | 2677056.9178 | 1256488.3885
42 | 2677073.2587 | 1256518.2085
43 | 2676915.7837 | 1256482.8829
44 | 2676892.0347 | 1256503.2496
45 | 2677040.3639 | 1256344.1096
46 | 2676860.7391 | 1256494.2434
47 | 2676818.9475 | 1256527.3846
48 | 2676768.7392 | 1256380.6763
49 | 2677105.0545 | 1256595.8609
50 | 2677041.6291 | 1256644.8233
51 | 2677071.1358 | 1256644.7083
52 | 2677013.5491 | 1256639.8901
53 | 2677107.6679 | 1256644.566
54 | 2676986.6294 | 1256630.9186
55 | 2677106.6885 | 1256626.3136
56 | 2676976.3462 | 1256625.3543
57 | 2677105.1598 | 1256597.823
58 | 2676932.0299 | 1256546.0301
59 | 2677105.0906 | 1256596.5332
60 | 2676907.3365 | 1256512.2682
61 | 2676920.3789 | 1256508.8176
62 | 2676932.3599 | 1256498.597
63 | 2676909.6993 | 1256550.0004
64 | 2676910.9399 | 1256484.1877

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1