## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_96-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_96-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_96-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_96-3_0_3_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_96-3_0_3_node_31 | 0.4 | n |  | TRUE
5 | bus_LV_96-3_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_96-3_0_3_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_96-3_0_3_node_103 | 0.4 | n |  | TRUE
8 | bus_LV_96-3_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_96-3_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_96-3_0_3_node_101 | 0.4 | n |  | TRUE
11 | bus_LV_96-3_0_3_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_96-3_0_3_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_96-3_0_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_96-3_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_96-3_0_3_node_99 | 0.4 | n |  | TRUE
16 | bus_LV_96-3_0_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_96-3_0_3_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_96-3_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_96-3_0_3_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_96-3_0_3_node_129 | 0.4 | n |  | TRUE
21 | bus_LV_96-3_0_3_node_92 | 0.4 | n |  | TRUE
22 | bus_LV_96-3_0_3_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_96-3_0_3_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_96-3_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_96-3_0_3_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_96-3_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_96-3_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_96-3_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_96-3_0_3_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_96-3_0_3_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_96-3_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_96-3_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_96-3_0_3_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_96-3_0_3_node_102 | 0.4 | n |  | TRUE
35 | bus_LV_96-3_0_3_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_96-3_0_3_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_96-3_0_3_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_96-3_0_3_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_96-3_0_3_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_96-3_0_3_node_97 | 0.4 | n |  | TRUE
41 | bus_LV_96-3_0_3_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_96-3_0_3_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_96-3_0_3_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_96-3_0_3_node_91 | 0.4 | n |  | TRUE
45 | bus_LV_96-3_0_3_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_96-3_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_96-3_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_96-3_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_96-3_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_96-3_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_96-3_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_96-3_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_96-3_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_96-3_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_96-3_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_96-3_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_96-3_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_96-3_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_96-3_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_96-3_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_96-3_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_96-3_0_3_node_127 | 0.4 | n |  | TRUE
63 | bus_LV_96-3_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_96-3_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_96-3_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_96-3_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_96-3_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_96-3_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_96-3_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_96-3_0_3_node_130 | 0.4 | n |  | TRUE
71 | bus_LV_96-3_0_3_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_96-3_0_3_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_96-3_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_96-3_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_96-3_0_3_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_96-3_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_96-3_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_96-3_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_96-3_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_96-3_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_96-3_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_96-3_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_96-3_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_96-3_0_3_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_96-3_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_96-3_0_3_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_96-3_0_3_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_96-3_0_3_node_93 | 0.4 | n |  | TRUE
89 | bus_MV_669_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_96-3_0_3_load_0 | 0 | 0.00051233 | 0.0001284 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_96-3_0_3_load_1 | 1 | 0.00027767 | 6.959e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_96-3_0_3_load_30 | 3 | 0.0015246 | 0.00038211 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_96-3_0_3_load_103 | 7 | 0.01701 | 0.004263 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_96-3_0_3_load_101 | 10 | 0.024708 | 0.0061923 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_96-3_0_3_load_72 | 12 | 0.013261 | 0.0033236 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_96-3_0_3_load_99 | 15 | 0.0086311 | 0.0021632 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_96-3_0_3_load_88 | 19 | 0.0014979 | 0.0003754 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_96-3_0_3_load_129 | 20 | 0.0075124 | 0.0018828 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_96-3_0_3_load_90 | 22 | 0.019939 | 0.0049973 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_96-3_0_3_load_87 | 23 | 0.001946 | 0.00048772 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_96-3_0_3_load_89 | 25 | 0.0024471 | 0.0006133 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_96-3_0_3_load_32 | 26 | 0.0026672 | 0.00066846 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_96-3_0_3_load_37 | 27 | 0.003573 | 0.00089548 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_96-3_0_3_load_34 | 28 | 0.0010447 | 0.00026183 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_96-3_0_3_load_98 | 29 | 0.016979 | 0.0042554 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_96-3_0_3_load_85 | 30 | 0.0027157 | 0.00068062 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_96-3_0_3_load_38 | 31 | 0.0017909 | 0.00044883 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_96-3_0_3_load_33 | 32 | 0.0017539 | 0.00043957 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_96-3_0_3_load_102 | 34 | 0.0034277 | 0.00085906 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_96-3_0_3_load_62 | 38 | 0.0020698 | 0.00051873 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_96-3_0_3_load_94 | 39 | 0.010212 | 0.0025594 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_96-3_0_3_load_86 | 41 | 0.020094 | 0.0050361 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_96-3_0_3_load_96 | 43 | 0.0035747 | 0.00089592 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_96-3_0_3_load_60 | 45 | 0.0052125 | 0.0013064 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_96-3_0_3_load_35 | 46 | 0.0017057 | 0.00042748 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_96-3_0_3_load_36 | 47 | 0.0026313 | 0.00065946 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_96-3_0_3_load_39 | 48 | 0.0011621 | 0.00029125 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_96-3_0_3_load_40 | 49 | 0.002136 | 0.00053534 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_96-3_0_3_load_41 | 50 | 0.0015174 | 0.0003803 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_96-3_0_3_load_42 | 51 | 0.0024349 | 0.00061024 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_96-3_0_3_load_47 | 52 | 0.0016912 | 0.00042384 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_96-3_0_3_load_48 | 53 | 0.0018346 | 0.00045978 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_96-3_0_3_load_43 | 54 | 0.0022901 | 0.00057395 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_96-3_0_3_load_44 | 55 | 0.0015526 | 0.00038912 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_96-3_0_3_load_45 | 56 | 0.0020857 | 0.00052271 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_96-3_0_3_load_46 | 57 | 0.0021091 | 0.00052858 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_96-3_0_3_load_54 | 59 | 0.0014226 | 0.00035653 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_96-3_0_3_load_58 | 60 | 0.0028819 | 0.00072227 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_96-3_0_3_load_52 | 61 | 0.0039509 | 0.00099018 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_96-3_0_3_load_127 | 62 | 0.0013781 | 0.00034539 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_96-3_0_3_load_49 | 63 | 0.0027026 | 0.00067733 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_96-3_0_3_load_50 | 64 | 0.0014701 | 0.00036845 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_96-3_0_3_load_51 | 65 | 0.0028138 | 0.00070521 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_96-3_0_3_load_56 | 66 | 0.0034853 | 0.00087349 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_96-3_0_3_load_55 | 67 | 0.0066177 | 0.0016586 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_96-3_0_3_load_57 | 68 | 0.0030795 | 0.0007718 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_96-3_0_3_load_130 | 70 | 0.0095328 | 0.0023891 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_96-3_0_3_load_84 | 71 | 0.0058065 | 0.0014552 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_96-3_0_3_load_83 | 72 | 0.0030115 | 0.00075476 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_96-3_0_3_load_69 | 74 | 0.0048061 | 0.0012045 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_96-3_0_3_load_95 | 75 | 0.0093953 | 0.0023547 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_96-3_0_3_load_70 | 76 | 0.0027021 | 0.00067722 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_96-3_0_3_load_74 | 78 | 0.0017524 | 0.0004392 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_96-3_0_3_load_78 | 80 | 0.0033655 | 0.00084347 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_96-3_0_3_load_75 | 81 | 0.0032245 | 0.00080815 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_96-3_0_3_load_76 | 82 | 0.0027818 | 0.00069718 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_96-3_0_3_load_79 | 83 | 0.0089456 | 0.002242 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_96-3_0_3_load_82 | 86 | 0.0031605 | 0.00079209 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_96-3_0_3_load_100 | 87 | 0.0013812 | 0.00034617 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_96-3_0_3_load_93 | 88 | 0.0077694 | 0.0019472 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_96-3_0_3_line_0 |  | 0 | 1 | 0.044916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_96-3_0_3_line_1 |  | 1 | 2 | 0.12499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_96-3_0_3_line_2 |  | 2 | 3 | 0.02424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_96-3_0_3_line_3 |  | 2 | 4 | 0.055822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_96-3_0_3_line_4 |  | 3 | 26 | 0.044656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_96-3_0_3_line_5 |  | 4 | 27 | 0.022599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_96-3_0_3_line_6 |  | 4 | 28 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_96-3_0_3_line_7 |  | 5 | 6 | 0.027428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_96-3_0_3_line_8 |  | 5 | 7 | 0.023205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_96-3_0_3_line_9 |  | 6 | 36 | 0.030886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_96-3_0_3_line_10 |  | 6 | 37 | 0.03432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_96-3_0_3_line_11 |  | 6 | 38 | 0.020457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_96-3_0_3_line_12 |  | 8 | 9 | 0.025354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_96-3_0_3_line_13 |  | 8 | 10 | 0.023473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_96-3_0_3_line_14 |  | 9 | 11 | 0.055863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_96-3_0_3_line_15 |  | 9 | 12 | 0.0048901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_96-3_0_3_line_16 |  | 10 | 34 | 0.017227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_96-3_0_3_line_17 |  | 11 | 20 | 0.010728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_96-3_0_3_line_18 |  | 13 | 14 | 0.040462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_96-3_0_3_line_19 |  | 13 | 15 | 0.020961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_96-3_0_3_line_20 |  | 14 | 20 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_96-3_0_3_line_21 |  | 16 | 17 | 0.14505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_96-3_0_3_line_22 |  | 16 | 18 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_96-3_0_3_line_23 |  | 16 | 19 | 0.019955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_96-3_0_3_line_24 |  | 17 | 21 | 0.032901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_96-3_0_3_line_25 |  | 17 | 22 | 0.027086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_96-3_0_3_line_26 |  | 18 | 23 | 0.017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_96-3_0_3_line_27 |  | 19 | 24 | 0.054545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_96-3_0_3_line_28 |  | 21 | 43 | 0.018364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_96-3_0_3_line_29 |  | 22 | 44 | 0.021518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_96-3_0_3_line_30 |  | 24 | 25 | 0.038943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_96-3_0_3_line_31 |  | 26 | 32 | 0.04344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_96-3_0_3_line_32 |  | 27 | 45 | 0.036376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_96-3_0_3_line_33 |  | 29 | 30 | 0.020072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_96-3_0_3_line_34 |  | 30 | 42 | 0.011031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_96-3_0_3_line_35 |  | 31 | 32 | 0.026115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_96-3_0_3_line_36 |  | 33 | 34 | 0.0046056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_96-3_0_3_line_37 |  | 33 | 35 | 0.012267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_96-3_0_3_line_38 |  | 35 | 73 | 0.016518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_96-3_0_3_line_39 |  | 35 | 38 | 0.014851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_96-3_0_3_line_40 |  | 36 | 39 | 0.018639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_96-3_0_3_line_41 |  | 36 | 40 | 0.006112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_96-3_0_3_line_42 |  | 37 | 69 | 0.03446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_96-3_0_3_line_43 |  | 37 | 68 | 0.024691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_96-3_0_3_line_44 |  | 40 | 75 | 0.030784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_96-3_0_3_line_45 |  | 41 | 42 | 0.037388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_96-3_0_3_line_46 |  | 42 | 71 | 0.036556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_96-3_0_3_line_47 |  | 42 | 45 | 0.02587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_96-3_0_3_line_48 |  | 43 | 75 | 0.0046894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_96-3_0_3_line_49 |  | 44 | 88 | 0.029764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_96-3_0_3_line_50 |  | 46 | 47 | 0.00079757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_96-3_0_3_line_51 |  | 47 | 48 | 0.024747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_96-3_0_3_line_52 |  | 48 | 49 | 0.0063511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_96-3_0_3_line_53 |  | 49 | 50 | 0.022876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_96-3_0_3_line_54 |  | 50 | 51 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_96-3_0_3_line_55 |  | 51 | 52 | 0.015686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_96-3_0_3_line_56 |  | 52 | 53 | 0.0235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_96-3_0_3_line_57 |  | 53 | 63 | 0.0051057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_96-3_0_3_line_58 |  | 54 | 55 | 0.02667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_96-3_0_3_line_59 |  | 54 | 56 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_96-3_0_3_line_60 |  | 55 | 57 | 0.022123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_96-3_0_3_line_61 |  | 57 | 58 | 0.03287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_96-3_0_3_line_62 |  | 57 | 59 | 0.019626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_96-3_0_3_line_63 |  | 58 | 60 | 0.016998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_96-3_0_3_line_64 |  | 58 | 61 | 0.016607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_96-3_0_3_line_65 |  | 59 | 62 | 0.0053395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_96-3_0_3_line_66 |  | 60 | 66 | 0.005901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_96-3_0_3_line_67 |  | 61 | 65 | 0.00023498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_96-3_0_3_line_68 |  | 63 | 64 | 0.0091643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_96-3_0_3_line_69 |  | 64 | 65 | 0.028504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_96-3_0_3_line_70 |  | 66 | 67 | 0.019847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_96-3_0_3_line_71 |  | 67 | 68 | 0.021558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_96-3_0_3_line_72 |  | 69 | 70 | 0.00313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_96-3_0_3_line_73 |  | 71 | 72 | 0.017167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_96-3_0_3_line_74 |  | 72 | 86 | 0.0169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_96-3_0_3_line_75 |  | 73 | 74 | 0.0041673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_96-3_0_3_line_76 |  | 74 | 76 | 0.026244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_96-3_0_3_line_77 |  | 76 | 77 | 0.0087588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_96-3_0_3_line_78 |  | 77 | 78 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_96-3_0_3_line_79 |  | 78 | 79 | 0.019253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_96-3_0_3_line_80 |  | 79 | 80 | 0.014703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_96-3_0_3_line_81 |  | 79 | 81 | 0.045263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_96-3_0_3_line_82 |  | 80 | 83 | 0.033443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_96-3_0_3_line_83 |  | 81 | 82 | 0.0005585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_96-3_0_3_line_84 |  | 83 | 84 | 0.030823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_96-3_0_3_line_85 |  | 84 | 85 | 0.01232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_96-3_0_3_line_86 |  | 84 | 86 | 0.0054599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_96-3_0_3_line_87 |  | 85 | 87 | 0.034616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_96-3_0_3_trafo_71 | 0.63 MVA 20/0.4 kV | 89 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2678298.7667 | 1253217.8868 | 2678256.3953 | 1253232.7908
1 | 2678132.9446 | 1253241.5882 | 2678167.333 | 1253241.4973 | 2678191.1828 | 1253243.4468 | 2678213.5374 | 1253243.7643 | 2678243.2697 | 1253237.4076 | 2678256.3953 | 1253232.7908
2 | 2678132.9446 | 1253241.5882 | 2678109.2879 | 1253246.8748
3 | 2678144.5012 | 1253296.2033 | 2678132.9446 | 1253241.5882
4 | 2678109.2879 | 1253246.8748 | 2678103.345 | 1253248.2029 | 2678065.5616 | 1253255.9368
5 | 2678144.5012 | 1253296.2033 | 2678147.836 | 1253318.555
6 | 2678144.5012 | 1253296.2033 | 2678126.9704 | 1253300.8255
7 | 2677911.4224 | 1253524.4141 | 2677907.8738 | 1253517.1287 | 2677902.4078 | 1253505.8819 | 2677908.6466 | 1253503.1285
8 | 2677911.4224 | 1253524.4141 | 2677907.2845 | 1253529.797 | 2677912.4021 | 1253542.8629 | 2677912.7662 | 1253545.2176
9 | 2677880.4046 | 1253515.6332 | 2677902.4078 | 1253505.8819 | 2677908.6466 | 1253503.1285
10 | 2677908.6466 | 1253503.1285 | 2677905.3506 | 1253492.1215 | 2677903.9644 | 1253476.4694 | 2677904.2164 | 1253469.3563
11 | 2677908.6466 | 1253503.1285 | 2677927.4001 | 1253494.9551
12 | 2677966.925 | 1253540.1226 | 2677969.0123 | 1253544.3532 | 2677987.6974 | 1253535.5926
13 | 2677966.925 | 1253540.1226 | 2677957.7014 | 1253521.4318 | 2677955.6019 | 1253519.8474
14 | 2677987.6974 | 1253535.5926 | 2678005.3425 | 1253527.3187 | 2678026.7426 | 1253516.9595 | 2678033.4336 | 1253513.6785 | 2678030.9805 | 1253509.154
15 | 2677987.6974 | 1253535.5926 | 2677985.5596 | 1253531.1945
16 | 2677955.6019 | 1253519.8474 | 2677948.1138 | 1253504.3335
17 | 2678030.9805 | 1253509.154 | 2678031.7623 | 1253508.8085 | 2678035.3394 | 1253501.906 | 2678037.2379 | 1253500.9859
18 | 2678050.4968 | 1253494.6002 | 2678071.9043 | 1253484.2746 | 2678077.0848 | 1253485.6773 | 2678086.1453 | 1253481.2378 | 2678086.6511 | 1253482.3676
19 | 2678086.6511 | 1253482.3676 | 2678101.3265 | 1253475.5782 | 2678099.5212 | 1253471.14
20 | 2678037.2379 | 1253500.9859 | 2678050.4968 | 1253494.6002
21 | 2677794.4638 | 1253550.3521 | 2677780.5355 | 1253551.4367 | 2677775.7578 | 1253550.9625 | 2677774.1226 | 1253543.3243 | 2677768.9967 | 1253539.4875 | 2677774.3794 | 1253530.0956 | 2677791.7107 | 1253504.9045 | 2677814.622 | 1253471.4027 | 2677821.8405 | 1253461.2789 | 2677818.336 | 1253459.2314 | 2677811.4888 | 1253454.8827 | 2677807.0334 | 1253451.6996
22 | 2677807.0334 | 1253451.6996 | 2677804.296 | 1253453.8652 | 2677801.3799 | 1253454.7053 | 2677797.3369 | 1253454.0184
23 | 2677807.0334 | 1253451.6996 | 2677812.4968 | 1253446.5119 | 2677819.7241 | 1253436.4106
24 | 2677794.4638 | 1253550.3521 | 2677797.5606 | 1253550.1148 | 2677812.3767 | 1253545.7839 | 2677825.583 | 1253539.9308
25 | 2677794.4638 | 1253550.3521 | 2677801.5058 | 1253537.5684 | 2677806.1822 | 1253527.3778 | 2677806.7861 | 1253526.2505
26 | 2677797.3369 | 1253454.0184 | 2677793.1239 | 1253452.4842 | 2677780.2168 | 1253449.3346
27 | 2677850.3032 | 1253391.2454 | 2677822.4591 | 1253432.588 | 2677819.7241 | 1253436.4106
28 | 2677825.583 | 1253539.9308 | 2677842.3718 | 1253532.4902
29 | 2677816.5151 | 1253507.0651 | 2677812.3396 | 1253515.8835 | 2677806.7861 | 1253526.2505
30 | 2677850.3032 | 1253391.2454 | 2677844.6538 | 1253388.7693 | 2677836.8347 | 1253386.5983 | 2677830.2246 | 1253386.0222 | 2677825.3233 | 1253387.4811 | 2677814.5154 | 1253394.5444
31 | 2678065.5616 | 1253255.9368 | 2678055.9338 | 1253257.9075 | 2678027.825 | 1253268.2116 | 2678024.4583 | 1253269.6843
32 | 2678147.836 | 1253318.555 | 2678153.2039 | 1253354.5332
33 | 2678163.7551 | 1253410.4846 | 2678159.4096 | 1253390.889
34 | 2678157.0213 | 1253380.1196 | 2678159.4096 | 1253390.889
35 | 2678024.4583 | 1253269.6843 | 2678000.5325 | 1253280.15
36 | 2677946.1118 | 1253500.1858 | 2677948.1138 | 1253504.3335
37 | 2677941.0145 | 1253489.0215 | 2677946.1118 | 1253500.1858
38 | 2677941.0145 | 1253489.0215 | 2677956.1491 | 1253482.3046
39 | 2677941.0145 | 1253489.0215 | 2677927.4001 | 1253494.9551
40 | 2677880.4046 | 1253515.6332 | 2677874.5691 | 1253505.5156 | 2677868.6987 | 1253501.7775
41 | 2677880.4046 | 1253515.6332 | 2677874.8033 | 1253518.1169
42 | 2677876.6363 | 1253461.9438 | 2677877.9199 | 1253464.1735 | 2677877.9367 | 1253469.7778 | 2677904.2164 | 1253469.3563
43 | 2677904.2164 | 1253469.3563 | 2677904.6042 | 1253458.2421 | 2677907.0725 | 1253444.8983
44 | 2677874.8033 | 1253518.1169 | 2677846.659 | 1253530.5901
45 | 2678157.0213 | 1253380.1196 | 2678152.789 | 1253389.2038 | 2678155.8204 | 1253393.358 | 2678160.3845 | 1253413.4442 | 2678160.8882 | 1253414.9894
46 | 2678157.0213 | 1253380.1196 | 2678124.4581 | 1253396.7328
47 | 2678157.0213 | 1253380.1196 | 2678153.2039 | 1253354.5332
48 | 2677846.659 | 1253530.5901 | 2677842.3718 | 1253532.4902
49 | 2677816.5151 | 1253507.0651 | 2677827.2967 | 1253490.5056 | 2677828.2181 | 1253491.0181 | 2677833.6427 | 1253483.8993
50 | 2678080.7976 | 1253312.9995 | 2678081.5688 | 1253312.7961
51 | 2678080.7976 | 1253312.9995 | 2678075.1392 | 1253314.4914 | 2678057.5487 | 1253321.3904
52 | 2678057.5487 | 1253321.3904 | 2678051.6361 | 1253323.7094
53 | 2678030.3399 | 1253332.0619 | 2678051.6361 | 1253323.7094
54 | 2678020.4941 | 1253335.9783 | 2678020.8298 | 1253335.7918 | 2678030.3399 | 1253332.0619
55 | 2678020.4941 | 1253335.9783 | 2678006.7826 | 1253343.5976
56 | 2677986.2414 | 1253355.012 | 2678006.7826 | 1253343.5976
57 | 2677986.2414 | 1253355.012 | 2677985.802 | 1253355.2562 | 2677981.9196 | 1253357.7289
58 | 2677955.611 | 1253337.4352 | 2677938.8523 | 1253347.7551 | 2677933.2169 | 1253351.8876
59 | 2677973.733 | 1253326.2759 | 2677955.611 | 1253337.4352
60 | 2677915.377 | 1253364.9702 | 2677933.2169 | 1253351.8876
61 | 2677915.377 | 1253364.9702 | 2677937.6502 | 1253389.2033
62 | 2677915.377 | 1253364.9702 | 2677902.8691 | 1253380.0939
63 | 2677937.6502 | 1253389.2033 | 2677928.5938 | 1253400.7816 | 2677927.3227 | 1253402.6968
64 | 2677937.6502 | 1253389.2033 | 2677948.0805 | 1253379.311 | 2677949.9603 | 1253378.1076
65 | 2677899.4662 | 1253384.2086 | 2677902.8691 | 1253380.0939
66 | 2677927.3227 | 1253402.6968 | 2677924.0597 | 1253407.6135
67 | 2677949.9603 | 1253378.1076 | 2677950.1582 | 1253377.9809
68 | 2677974.1899 | 1253362.652 | 2677981.9196 | 1253357.7289
69 | 2677974.1899 | 1253362.652 | 2677957.2201 | 1253373.4602 | 2677950.1582 | 1253377.9809
70 | 2677914.0346 | 1253424.6893 | 2677917.4156 | 1253417.6249 | 2677924.0597 | 1253407.6135
71 | 2677914.0346 | 1253424.6893 | 2677908.7797 | 1253435.6691 | 2677907.0725 | 1253444.8983
72 | 2677876.6363 | 1253461.9438 | 2677874.943 | 1253459.3085
73 | 2678109.1661 | 1253404.5346 | 2678124.4581 | 1253396.7328
74 | 2678109.1661 | 1253404.5346 | 2678094.1125 | 1253412.2148
75 | 2677956.1491 | 1253482.3046 | 2677959.8643 | 1253480.417
76 | 2677959.8643 | 1253480.417 | 2677983.2617 | 1253468.5295
77 | 2677991.0704 | 1253464.5621 | 2677983.2617 | 1253468.5295
78 | 2677991.0704 | 1253464.5621 | 2678001.6761 | 1253459.1776
79 | 2678018.8433 | 1253450.4617 | 2678001.6761 | 1253459.1776
80 | 2678018.8433 | 1253450.4617 | 2678031.9518 | 1253443.8027
81 | 2678018.8433 | 1253450.4617 | 2677998.4925 | 1253410.0313
82 | 2678031.9518 | 1253443.8027 | 2678061.7681 | 1253428.6562
83 | 2677998.4925 | 1253410.0313 | 2677998.2414 | 1253409.5324
84 | 2678089.249 | 1253414.6961 | 2678061.7681 | 1253428.6562
85 | 2678089.249 | 1253414.6961 | 2678092.1404 | 1253423.1738 | 2678090.6218 | 1253426.1782
86 | 2678089.249 | 1253414.6961 | 2678094.1125 | 1253412.2148
87 | 2678090.6218 | 1253426.1782 | 2678088.9403 | 1253429.5141 | 2678064.362 | 1253448.2091

## bus_geodata
| x | y | coords
0 | 2678298.7667 | 1253217.8868
1 | 2678256.3954 | 1253232.7908
2 | 2678132.9446 | 1253241.5882
3 | 2678109.2879 | 1253246.8748
4 | 2678144.5012 | 1253296.2033
5 | 2677911.4224 | 1253524.4141
6 | 2677908.6466 | 1253503.1285
7 | 2677912.7662 | 1253545.2176
8 | 2677966.925 | 1253540.1226
9 | 2677987.6974 | 1253535.5926
10 | 2677955.6019 | 1253519.8474
11 | 2678030.9805 | 1253509.154
12 | 2677985.5596 | 1253531.1945
13 | 2678086.6511 | 1253482.3676
14 | 2678050.4968 | 1253494.6002
15 | 2678099.5212 | 1253471.14
16 | 2677807.0334 | 1253451.6996
17 | 2677794.4638 | 1253550.3521
18 | 2677797.3369 | 1253454.0184
19 | 2677819.7241 | 1253436.4106
20 | 2678037.2379 | 1253500.9859
21 | 2677825.583 | 1253539.9308
22 | 2677806.7861 | 1253526.2505
23 | 2677780.2168 | 1253449.3346
24 | 2677850.3032 | 1253391.2454
25 | 2677814.5154 | 1253394.5444
26 | 2678065.5616 | 1253255.9368
27 | 2678147.836 | 1253318.555
28 | 2678126.9704 | 1253300.8255
29 | 2678163.7551 | 1253410.4846
30 | 2678159.4096 | 1253390.889
31 | 2678000.5325 | 1253280.15
32 | 2678024.4583 | 1253269.6843
33 | 2677946.1118 | 1253500.1858
34 | 2677948.1138 | 1253504.3335
35 | 2677941.0145 | 1253489.0215
36 | 2677880.4046 | 1253515.6332
37 | 2677904.2164 | 1253469.3563
38 | 2677927.4001 | 1253494.9551
39 | 2677868.6987 | 1253501.7775
40 | 2677874.8033 | 1253518.1169
41 | 2678160.8882 | 1253414.9894
42 | 2678157.0213 | 1253380.1196
43 | 2677842.3718 | 1253532.4902
44 | 2677816.5151 | 1253507.0651
45 | 2678153.2039 | 1253354.5332
46 | 2678081.5688 | 1253312.7961
47 | 2678080.7976 | 1253312.9995
48 | 2678057.5487 | 1253321.3904
49 | 2678051.6361 | 1253323.7094
50 | 2678030.3399 | 1253332.0619
51 | 2678020.4941 | 1253335.9783
52 | 2678006.7826 | 1253343.5976
53 | 2677986.2414 | 1253355.012
54 | 2677955.611 | 1253337.4352
55 | 2677933.2169 | 1253351.8876
56 | 2677973.733 | 1253326.2759
57 | 2677915.377 | 1253364.9702
58 | 2677937.6502 | 1253389.2033
59 | 2677902.8691 | 1253380.0939
60 | 2677927.3227 | 1253402.6968
61 | 2677949.9603 | 1253378.1076
62 | 2677899.4662 | 1253384.2086
63 | 2677981.9196 | 1253357.7289
64 | 2677974.1899 | 1253362.652
65 | 2677950.1582 | 1253377.9809
66 | 2677924.0597 | 1253407.6135
67 | 2677914.0346 | 1253424.6893
68 | 2677907.0725 | 1253444.8983
69 | 2677876.6363 | 1253461.9438
70 | 2677874.943 | 1253459.3085
71 | 2678124.4581 | 1253396.7328
72 | 2678109.1661 | 1253404.5346
73 | 2677956.1491 | 1253482.3046
74 | 2677959.8643 | 1253480.417
75 | 2677846.659 | 1253530.5901
76 | 2677983.2617 | 1253468.5295
77 | 2677991.0704 | 1253464.5621
78 | 2678001.6761 | 1253459.1776
79 | 2678018.8433 | 1253450.4617
80 | 2678031.9518 | 1253443.8027
81 | 2677998.4925 | 1253410.0313
82 | 2677998.2414 | 1253409.5324
83 | 2678061.7681 | 1253428.6562
84 | 2678089.249 | 1253414.6961
85 | 2678090.6218 | 1253426.1782
86 | 2678094.1125 | 1253412.2148
87 | 2678064.362 | 1253448.2091
88 | 2677833.6427 | 1253483.8993
89 | 2678018.8433 | 1253450.4617

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1