## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_96-8_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_96-8_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_96-8_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_96-8_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_96-8_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_96-8_0_5_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_96-8_0_5_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_96-8_0_5_node_101 | 0.4 | n |  | TRUE
8 | bus_LV_96-8_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_96-8_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_96-8_0_5_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_96-8_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_96-8_0_5_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_96-8_0_5_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_96-8_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_96-8_0_5_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_96-8_0_5_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_96-8_0_5_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_96-8_0_5_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_96-8_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_96-8_0_5_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_96-8_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_96-8_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_96-8_0_5_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_96-8_0_5_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_96-8_0_5_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_96-8_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_96-8_0_5_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_96-8_0_5_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_96-8_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_96-8_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_96-8_0_5_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_96-8_0_5_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_96-8_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_96-8_0_5_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_96-8_0_5_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_96-8_0_5_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_96-8_0_5_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_96-8_0_5_node_98 | 0.4 | n |  | TRUE
39 | bus_LV_96-8_0_5_node_105 | 0.4 | n |  | TRUE
40 | bus_LV_96-8_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_96-8_0_5_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_96-8_0_5_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_96-8_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_96-8_0_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_96-8_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_96-8_0_5_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_96-8_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_96-8_0_5_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_96-8_0_5_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_96-8_0_5_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_96-8_0_5_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_96-8_0_5_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_96-8_0_5_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_96-8_0_5_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_96-8_0_5_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_96-8_0_5_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_96-8_0_5_node_106 | 0.4 | n |  | TRUE
58 | bus_LV_96-8_0_5_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_96-8_0_5_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_96-8_0_5_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_96-8_0_5_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_96-8_0_5_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_96-8_0_5_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_96-8_0_5_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_96-8_0_5_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_96-8_0_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_96-8_0_5_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_96-8_0_5_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_96-8_0_5_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_96-8_0_5_node_88 | 0.4 | n |  | TRUE
71 | bus_LV_96-8_0_5_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_96-8_0_5_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_96-8_0_5_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_96-8_0_5_node_100 | 0.4 | n |  | TRUE
75 | bus_LV_96-8_0_5_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_96-8_0_5_node_38 | 0.4 | n |  | TRUE
77 | bus_LV_96-8_0_5_node_45 | 0.4 | n |  | TRUE
78 | bus_LV_96-8_0_5_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_96-8_0_5_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_96-8_0_5_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_96-8_0_5_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_96-8_0_5_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_96-8_0_5_node_46 | 0.4 | n |  | TRUE
84 | bus_LV_96-8_0_5_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_96-8_0_5_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_96-8_0_5_node_48 | 0.4 | n |  | TRUE
87 | bus_LV_96-8_0_5_node_49 | 0.4 | n |  | TRUE
88 | bus_LV_96-8_0_5_node_50 | 0.4 | n |  | TRUE
89 | bus_LV_96-8_0_5_node_51 | 0.4 | n |  | TRUE
90 | bus_LV_96-8_0_5_node_52 | 0.4 | n |  | TRUE
91 | bus_LV_96-8_0_5_node_53 | 0.4 | n |  | TRUE
92 | bus_LV_96-8_0_5_node_58 | 0.4 | n |  | TRUE
93 | bus_LV_96-8_0_5_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_96-8_0_5_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_96-8_0_5_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_96-8_0_5_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_96-8_0_5_node_91 | 0.4 | n |  | TRUE
98 | bus_MV_669_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_96-8_0_5_load_0 | 0 | 0.0074109 | 0.0018574 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_96-8_0_5_load_36 | 5 | 0.0020533 | 0.0005146 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_96-8_0_5_load_101 | 7 | 0.0010901 | 0.0002732 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_96-8_0_5_load_47 | 10 | 0.00041568 | 0.00010418 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_96-8_0_5_load_43 | 13 | 0.0016177 | 0.00040544 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_96-8_0_5_load_93 | 16 | 0.021806 | 0.005465 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_96-8_0_5_load_57 | 18 | 0.036703 | 0.0091986 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_96-8_0_5_load_56 | 20 | 0.0021301 | 0.00053385 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_96-8_0_5_load_44 | 23 | 0.0013035 | 0.0003267 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_96-8_0_5_load_55 | 25 | 0.0085571 | 0.0021446 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_96-8_0_5_load_76 | 32 | 0.023617 | 0.005919 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_96-8_0_5_load_65 | 35 | 0.0028855 | 0.00072317 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_96-8_0_5_load_98 | 38 | 0.023582 | 0.0059101 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_96-8_0_5_load_105 | 39 | 0.0065388 | 0.0016388 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_96-8_0_5_load_37 | 40 | 0.0080118 | 0.002008 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_96-8_0_5_load_61 | 42 | 0.0033065 | 0.00082869 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_96-8_0_5_load_39 | 45 | 0.013355 | 0.0033471 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_96-8_0_5_load_84 | 48 | 0.023504 | 0.0058907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_96-8_0_5_load_80 | 50 | 0.0071678 | 0.0017964 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_96-8_0_5_load_83 | 51 | 0.00977 | 0.0024486 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_96-8_0_5_load_66 | 52 | 0.042295 | 0.0106 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_96-8_0_5_load_67 | 53 | 0.028346 | 0.0071042 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_96-8_0_5_load_96 | 55 | 0.0069117 | 0.0017322 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_96-8_0_5_load_106 | 57 | 0.0069253 | 0.0017356 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_96-8_0_5_load_102 | 59 | 0.0018339 | 0.00045961 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_96-8_0_5_load_104 | 60 | 0.023514 | 0.0058932 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_96-8_0_5_load_73 | 61 | 0.034781 | 0.0087169 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_96-8_0_5_load_77 | 62 | 0.04448 | 0.011148 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_96-8_0_5_load_97 | 63 | 0.00081243 | 0.00020361 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_96-8_0_5_load_103 | 64 | 0.00048378 | 0.00012125 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_96-8_0_5_load_70 | 67 | 0.027448 | 0.006879 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_96-8_0_5_load_74 | 68 | 0.018554 | 0.0046499 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_96-8_0_5_load_86 | 69 | 0.02688 | 0.0067366 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_96-8_0_5_load_88 | 70 | 0.019456 | 0.0048762 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_96-8_0_5_load_94 | 71 | 0.0038916 | 0.00097532 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_96-8_0_5_load_63 | 72 | 0.00099249 | 0.00024874 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_96-8_0_5_load_64 | 73 | 0.00073652 | 0.00018459 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_96-8_0_5_load_38 | 76 | 0.0044857 | 0.0011242 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_96-8_0_5_load_45 | 77 | 0.0044634 | 0.0011186 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_96-8_0_5_load_79 | 79 | 0.0025832 | 0.0006474 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_96-8_0_5_load_82 | 80 | 0.0070042 | 0.0017554 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_96-8_0_5_load_75 | 82 | 0.014082 | 0.0035294 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_96-8_0_5_load_46 | 83 | 0.013774 | 0.0034522 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_96-8_0_5_load_95 | 84 | 0.0063906 | 0.0016016 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_96-8_0_5_load_48 | 86 | 0.0005404 | 0.00013544 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_96-8_0_5_load_49 | 87 | 0.028716 | 0.0071969 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_96-8_0_5_load_50 | 88 | 0.00043371 | 0.0001087 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_96-8_0_5_load_51 | 89 | 0.00042997 | 0.00010776 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_96-8_0_5_load_53 | 91 | 0.003134 | 0.00078546 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_96-8_0_5_load_58 | 92 | 0.0010024 | 0.00025122 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_96-8_0_5_load_78 | 93 | 0.0034957 | 0.0008761 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_96-8_0_5_load_81 | 94 | 0.0035974 | 0.00090159 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_96-8_0_5_load_90 | 96 | 0.0026533 | 0.00066499 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_96-8_0_5_load_91 | 97 | 0.018912 | 0.0047397 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_96-8_0_5_line_0 |  | 0 | 1 | 0.0080791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_96-8_0_5_line_1 |  | 0 | 2 | 0.040023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_96-8_0_5_line_2 |  | 1 | 3 | 0.006105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_96-8_0_5_line_3 |  | 2 | 4 | 0.10664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_96-8_0_5_line_4 |  | 3 | 5 | 0.021459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_96-8_0_5_line_5 |  | 4 | 6 | 0.13495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_96-8_0_5_line_6 |  | 4 | 7 | 0.10204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_96-8_0_5_line_7 |  | 6 | 25 | 0.0065042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_96-8_0_5_line_8 |  | 6 | 8 | 0.028473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_96-8_0_5_line_9 |  | 8 | 9 | 0.043331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_96-8_0_5_line_10 |  | 8 | 10 | 0.039442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_96-8_0_5_line_11 |  | 9 | 17 | 0.007437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_96-8_0_5_line_12 |  | 9 | 18 | 0.03363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_96-8_0_5_line_13 |  | 11 | 12 | 0.16278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_96-8_0_5_line_14 |  | 11 | 13 | 0.019991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_96-8_0_5_line_15 |  | 12 | 40 | 0.074396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_96-8_0_5_line_16 |  | 13 | 22 | 0.012111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_96-8_0_5_line_17 |  | 14 | 15 | 0.043714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_96-8_0_5_line_18 |  | 14 | 16 | 0.02116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_96-8_0_5_line_19 |  | 15 | 53 | 0.030473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_96-8_0_5_line_20 |  | 15 | 54 | 0.030845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_96-8_0_5_line_21 |  | 15 | 52 | 0.01442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_96-8_0_5_line_22 |  | 16 | 65 | 0.023273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_96-8_0_5_line_23 |  | 17 | 60 | 0.020652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_96-8_0_5_line_24 |  | 18 | 30 | 0.02972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_96-8_0_5_line_25 |  | 19 | 20 | 0.078175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_96-8_0_5_line_26 |  | 19 | 21 | 0.068759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_96-8_0_5_line_27 |  | 20 | 66 | 0.0142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_96-8_0_5_line_28 |  | 21 | 39 | 0.007094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_96-8_0_5_line_29 |  | 21 | 29 | 0.086647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_96-8_0_5_line_30 |  | 22 | 23 | 0.011345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_96-8_0_5_line_31 |  | 22 | 24 | 0.079394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_96-8_0_5_line_32 |  | 23 | 44 | 0.0089412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_96-8_0_5_line_33 |  | 24 | 63 | 0.0047272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_96-8_0_5_line_34 |  | 24 | 41 | 0.026485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_96-8_0_5_line_35 |  | 26 | 27 | 0.039493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_96-8_0_5_line_36 |  | 26 | 28 | 0.056365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_96-8_0_5_line_37 |  | 27 | 52 | 0.015872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_96-8_0_5_line_38 |  | 28 | 61 | 0.022084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_96-8_0_5_line_39 |  | 28 | 62 | 0.025369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_96-8_0_5_line_40 |  | 29 | 30 | 0.023127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_96-8_0_5_line_41 |  | 29 | 31 | 0.039829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_96-8_0_5_line_42 |  | 29 | 32 | 0.032857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_96-8_0_5_line_43 |  | 31 | 67 | 0.014794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_96-8_0_5_line_44 |  | 32 | 68 | 0.032105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_96-8_0_5_line_45 |  | 33 | 34 | 0.13518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_96-8_0_5_line_46 |  | 33 | 35 | 0.019416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_96-8_0_5_line_47 |  | 34 | 59 | 0.0023902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_96-8_0_5_line_48 |  | 35 | 73 | 0.028871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_96-8_0_5_line_49 |  | 36 | 37 | 0.036201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_96-8_0_5_line_50 |  | 36 | 38 | 0.0097957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_96-8_0_5_line_51 |  | 37 | 75 | 0.007232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_96-8_0_5_line_52 |  | 37 | 64 | 0.020888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_96-8_0_5_line_53 |  | 37 | 74 | 0.037761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_96-8_0_5_line_54 |  | 40 | 76 | 0.0018278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_96-8_0_5_line_55 |  | 41 | 42 | 0.020723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_96-8_0_5_line_56 |  | 42 | 75 | 0.0040837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_96-8_0_5_line_57 |  | 43 | 44 | 0.016154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_96-8_0_5_line_58 |  | 43 | 45 | 0.0053657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_96-8_0_5_line_59 |  | 44 | 77 | 0.025532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_96-8_0_5_line_60 |  | 46 | 47 | 0.10549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_96-8_0_5_line_61 |  | 46 | 48 | 0.026549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_96-8_0_5_line_62 |  | 47 | 51 | 0.018513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_96-8_0_5_line_63 |  | 47 | 49 | 0.02465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_96-8_0_5_line_64 |  | 48 | 78 | 0.011861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_96-8_0_5_line_65 |  | 49 | 50 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_96-8_0_5_line_66 |  | 50 | 79 | 0.015208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_96-8_0_5_line_67 |  | 51 | 80 | 0.019818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_96-8_0_5_line_68 |  | 53 | 81 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_96-8_0_5_line_69 |  | 54 | 55 | 0.017203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_96-8_0_5_line_70 |  | 55 | 58 | 0.022647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_96-8_0_5_line_71 |  | 56 | 57 | 0.006871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_96-8_0_5_line_72 |  | 56 | 58 | 0.018298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_96-8_0_5_line_73 |  | 59 | 74 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_96-8_0_5_line_74 |  | 62 | 82 | 0.033318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_96-8_0_5_line_75 |  | 65 | 71 | 0.0085662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_96-8_0_5_line_76 |  | 65 | 97 | 0.02877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_96-8_0_5_line_77 |  | 66 | 72 | 0.0097696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_96-8_0_5_line_78 |  | 68 | 82 | 0.025326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_96-8_0_5_line_79 |  | 69 | 70 | 0.016339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_96-8_0_5_line_80 |  | 70 | 95 | 0.0069721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_96-8_0_5_line_81 |  | 72 | 73 | 0.0055364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_96-8_0_5_line_82 |  | 75 | 92 | 0.014852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_96-8_0_5_line_83 |  | 77 | 83 | 0.0022997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_96-8_0_5_line_84 |  | 78 | 85 | 0.027052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_96-8_0_5_line_85 |  | 79 | 93 | 0.021643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_96-8_0_5_line_86 |  | 80 | 94 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_96-8_0_5_line_87 |  | 81 | 91 | 0.0076628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_96-8_0_5_line_88 |  | 84 | 85 | 0.0088394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_96-8_0_5_line_89 |  | 85 | 95 | 0.022183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_96-8_0_5_line_90 |  | 86 | 87 | 0.02287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_96-8_0_5_line_91 |  | 86 | 88 | 0.0010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_96-8_0_5_line_92 |  | 88 | 89 | 0.028079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_96-8_0_5_line_93 |  | 89 | 90 | 0.085349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_96-8_0_5_line_94 |  | 90 | 91 | 0.026459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_96-8_0_5_line_95 |  | 95 | 96 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_96-8_0_5_line_96 |  | 96 | 97 | 0.01441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_96-8_0_5_trafo_73 | 0.63 MVA 20/0.4 kV | 98 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2678401.2191 | 1254425.6233 | 2678395.7826 | 1254431.5996
1 | 2678368.6486 | 1254461.0187 | 2678382.4391 | 1254446.2679 | 2678395.7826 | 1254431.5996
2 | 2678401.2191 | 1254425.6233 | 2678405.6982 | 1254429.7857
3 | 2678306.1334 | 1254538.7166 | 2678300.876 | 1254533.5099 | 2678368.6486 | 1254461.0187
4 | 2678405.6982 | 1254429.7857 | 2678420.1224 | 1254413.8977
5 | 2678254.1519 | 1254653.493 | 2678259.6818 | 1254649.4964 | 2678264.5678 | 1254645.1355 | 2678265.5472 | 1254633.2507 | 2678265.9164 | 1254624.727 | 2678266.3958 | 1254619.2848 | 2678266.2645 | 1254611.5217 | 2678264.8143 | 1254603.6634 | 2678263.6834 | 1254597.3326 | 2678263.7304 | 1254593.775 | 2678264.7421 | 1254589.7298 | 2678273.1372 | 1254579.5887 | 2678288.0866 | 1254559.3045 | 2678306.1334 | 1254538.7166
6 | 2678306.1334 | 1254538.7166 | 2678337.8904 | 1254571.572 | 2678349.8556 | 1254585.8298 | 2678360.9808 | 1254600.8437 | 2678369.8833 | 1254617.6853
7 | 2678254.1519 | 1254653.493 | 2678250.1627 | 1254648.3558
8 | 2678254.1519 | 1254653.493 | 2678259.6818 | 1254649.4964 | 2678264.5678 | 1254645.1355 | 2678270.1618 | 1254652.8373 | 2678273.3224 | 1254657.4381
9 | 2678273.3224 | 1254657.4381 | 2678273.8305 | 1254668.075 | 2678284.841 | 1254683.2095 | 2678280.7542 | 1254686.4691 | 2678273.7817 | 1254691.7364
10 | 2678273.3224 | 1254657.4381 | 2678282.4411 | 1254670.7241 | 2678296.1722 | 1254686.6396 | 2678297.6013 | 1254688.4511
11 | 2678273.7817 | 1254691.7364 | 2678278.2825 | 1254697.667
12 | 2678273.7817 | 1254691.7364 | 2678261.0183 | 1254695.6262 | 2678245.8158 | 1254709.0595
13 | 2678124.0357 | 1254578.1305 | 2678123.5981 | 1254572.4205 | 2678117.0165 | 1254565.7843 | 2678122.3033 | 1254560.7725 | 2678133.2685 | 1254550.2315 | 2678130.677 | 1254547.6621 | 2678135.6288 | 1254543.4576 | 2678144.6065 | 1254537.7495 | 2678147.3996 | 1254534.7619 | 2678149.8282 | 1254530.8132 | 2678163.6983 | 1254525.4033 | 2678181.1918 | 1254511.8352 | 2678226.4166 | 1254474.4488
14 | 2678124.0357 | 1254578.1305 | 2678117.0938 | 1254581.0745 | 2678116.8986 | 1254585.0082 | 2678116.3182 | 1254593.5008
15 | 2678226.4166 | 1254474.4488 | 2678251.6802 | 1254494.0526 | 2678255.328 | 1254503.4634 | 2678252.3546 | 1254512.0972 | 2678233.6069 | 1254525.7537
16 | 2678116.1444 | 1254605.5691 | 2678115.7392 | 1254601.9722 | 2678116.3182 | 1254593.5008
17 | 2678379.4152 | 1254791.4297 | 2678376.9793 | 1254794.2107 | 2678384.2911 | 1254803.2031 | 2678394.5207 | 1254816.3149 | 2678398.622 | 1254821.6398 | 2678394.6868 | 1254824.8457
18 | 2678394.6868 | 1254824.8457 | 2678393.5354 | 1254825.7756 | 2678387.6521 | 1254827.9771 | 2678383.1433 | 1254827.784 | 2678380.3168 | 1254825.8896 | 2678377.5417 | 1254821.161
19 | 2678379.4152 | 1254791.4297 | 2678399.5269 | 1254768.536
20 | 2678379.4152 | 1254791.4297 | 2678386.9468 | 1254800.9143 | 2678395.7252 | 1254811.9498 | 2678399.4507 | 1254809.197
21 | 2678379.4152 | 1254791.4297 | 2678370.3318 | 1254780.2302
22 | 2678364.2136 | 1254802.2812 | 2678369.7152 | 1254807.8248 | 2678377.5417 | 1254821.161
23 | 2678278.2825 | 1254697.667 | 2678264.0967 | 1254712.713
24 | 2678222.0388 | 1254726.3676 | 2678230.2332 | 1254722.8288 | 2678245.8158 | 1254709.0595
25 | 2678173.3096 | 1254681.3686 | 2678166.065 | 1254688.9675 | 2678135.8827 | 1254720.8264 | 2678119.8813 | 1254738.4317
26 | 2678173.3096 | 1254681.3686 | 2678174.6867 | 1254682.7767 | 2678170.0818 | 1254693.8575 | 2678168.9653 | 1254699.5693 | 2678169.1956 | 1254706.1216 | 2678172.1658 | 1254716.5686 | 2678171.623 | 1254720.5422 | 2678173.7402 | 1254718.4575 | 2678174.91 | 1254714.4255 | 2678177.2011 | 1254712.8879 | 2678178.8953 | 1254717.7027 | 2678182.3994 | 1254722.5637 | 2678186.5884 | 1254727.556
27 | 2678110.8596 | 1254749.351 | 2678113.2231 | 1254745.7573 | 2678119.8813 | 1254738.4317
28 | 2678192.0723 | 1254723.0362 | 2678186.5884 | 1254727.556
29 | 2678186.5884 | 1254727.556 | 2678182.3994 | 1254722.5637 | 2678178.8953 | 1254717.7027 | 2678177.2011 | 1254712.8879 | 2678174.91 | 1254714.4255 | 2678173.7402 | 1254718.4575 | 2678171.623 | 1254720.5422 | 2678176.1813 | 1254726.6958 | 2678184.3418 | 1254739.4352 | 2678191.0638 | 1254751.9778 | 2678194.7473 | 1254750.1139 | 2678199.8586 | 1254745.8226 | 2678211.143 | 1254745.9383
30 | 2678116.1444 | 1254605.5691 | 2678125.2594 | 1254606.023 | 2678127.36 | 1254606.7359
31 | 2678064.7374 | 1254638.7717 | 2678059.3413 | 1254628.0593 | 2678062.2231 | 1254626.9186 | 2678074.033 | 1254624.9617 | 2678081.3595 | 1254626.0257 | 2678082.3688 | 1254622.1473 | 2678083.9745 | 1254616.5198 | 2678088.7142 | 1254614.0916 | 2678094.1246 | 1254610.5714 | 2678098.1821 | 1254608.3788 | 2678104.2196 | 1254605.3673 | 2678116.1444 | 1254605.5691
32 | 2678135.8269 | 1254609.6095 | 2678127.36 | 1254606.7359
33 | 2678064.7374 | 1254638.7717 | 2678067.7954 | 1254635.1668
34 | 2678047.5868 | 1254658.9941 | 2678064.7374 | 1254638.7717
35 | 2678360.7951 | 1254767.599 | 2678357.958 | 1254763.0803 | 2678356.8169 | 1254757.5277 | 2678355.7661 | 1254752.5657 | 2678351.5822 | 1254747.7734 | 2678346.258 | 1254744.7785 | 2678341.3184 | 1254743.5011 | 2678339.1173 | 1254741.6595 | 2678337.894 | 1254738.8969
36 | 2678299.2882 | 1254777.304 | 2678305.0555 | 1254770.186 | 2678312.2804 | 1254762.3757 | 2678319.4824 | 1254756.2997 | 2678325.5605 | 1254750.7871 | 2678325.1038 | 1254747.1005 | 2678331.8597 | 1254742.2418 | 2678337.894 | 1254738.8969
37 | 2678360.7951 | 1254767.599 | 2678362.1124 | 1254770.096 | 2678370.3318 | 1254780.2302
38 | 2678299.2882 | 1254777.304 | 2678283.216 | 1254762.158
39 | 2678299.2882 | 1254777.304 | 2678297.3058 | 1254779.4572 | 2678290.5045 | 1254787.7512 | 2678282.462 | 1254796.2715
40 | 2678222.0388 | 1254726.3676 | 2678211.5217 | 1254740.1168 | 2678211.143 | 1254745.9383
41 | 2678211.143 | 1254745.9383 | 2678215.0532 | 1254745.7565 | 2678225.405 | 1254735.3855 | 2678234.1629 | 1254734.8785 | 2678243.1831 | 1254743.6264
42 | 2678211.143 | 1254745.9383 | 2678211.0628 | 1254758.2909 | 2678211.6563 | 1254768.1839 | 2678213.5318 | 1254776.9708 | 2678214.2166 | 1254778.426
43 | 2678243.1831 | 1254743.6264 | 2678243.2666 | 1254751.0108 | 2678238.3202 | 1254756.5274
44 | 2678231.3593 | 1254805.2359 | 2678228.4653 | 1254802.9429 | 2678224.5171 | 1254797.4311 | 2678217.054 | 1254784.4562 | 2678214.2166 | 1254778.426
45 | 2678053.5383 | 1254711.7007 | 2678043.0113 | 1254719.9348 | 2678039.2069 | 1254722.9536 | 2678035.7299 | 1254720.606 | 2678029.2604 | 1254726.6475 | 2678063.4577 | 1254757.5434 | 2678067.6725 | 1254766.8725 | 2678068.5495 | 1254772.4549 | 2678067.7561 | 1254778.8381 | 2678063.6924 | 1254791.8053 | 2678073.7808 | 1254781.3527 | 2678079.3062 | 1254786.2625
46 | 2678079.3062 | 1254786.2625 | 2678082.8395 | 1254787.7769 | 2678085.4447 | 1254788.156 | 2678088.1575 | 1254787.2466 | 2678095.104 | 1254779.9446
47 | 2678053.5383 | 1254711.7007 | 2678055.3938 | 1254710.1941
48 | 2678115.0034 | 1254759.027 | 2678095.104 | 1254779.9446
49 | 2678072.0742 | 1254679.6655 | 2678082.2798 | 1254688.3732 | 2678087.2653 | 1254692.4642 | 2678099.8933 | 1254702.8273
50 | 2678099.8933 | 1254702.8273 | 2678092.716 | 1254709.4938
51 | 2678066.3694 | 1254675.1981 | 2678072.0742 | 1254679.6655
52 | 2678072.0742 | 1254679.6655 | 2678085.4753 | 1254663.643
53 | 2678072.0742 | 1254679.6655 | 2678082.2798 | 1254688.3732 | 2678063.3755 | 1254703.7133
54 | 2678232.1295 | 1254526.8299 | 2678233.6069 | 1254525.7537
55 | 2678047.5868 | 1254658.9941 | 2678063.2774 | 1254672.5306
56 | 2678066.3694 | 1254675.1981 | 2678063.2774 | 1254672.5306
57 | 2678135.8269 | 1254609.6095 | 2678141.3516 | 1254607.1472 | 2678146.5062 | 1254598.4309
58 | 2678146.5062 | 1254598.4309 | 2678149.7688 | 1254602.6908
59 | 2678135.8269 | 1254609.6095 | 2678150.8352 | 1254630.2645
60 | 2678241.1124 | 1254923.6778 | 2678256.6059 | 1254940.9176 | 2678261.6192 | 1254943.4524 | 2678267.1223 | 1254943.7475 | 2678286.2265 | 1254934.3819 | 2678296.607 | 1254929.8046 | 2678321.1013 | 1254919.0203 | 2678331.8991 | 1254914.2707
61 | 2678331.8991 | 1254914.2707 | 2678321.2184 | 1254889.9652
62 | 2678241.1124 | 1254923.6778 | 2678228.6376 | 1254937.3569
63 | 2678241.1124 | 1254923.6778 | 2678228.1177 | 1254906.8714 | 2678225.9119 | 1254904.2403
64 | 2678316.4468 | 1254879.1068 | 2678321.2184 | 1254889.9652
65 | 2678225.9119 | 1254904.2403 | 2678214.4024 | 1254916.504
66 | 2678203.9954 | 1254927.593 | 2678214.4024 | 1254916.504
67 | 2678215.2836 | 1254952.0002 | 2678228.6376 | 1254937.3569
68 | 2678409.6209 | 1254759.0164 | 2678400.9767 | 1254766.8857 | 2678399.5269 | 1254768.536
69 | 2678399.4507 | 1254809.197 | 2678402.1049 | 1254803.5947 | 2678410.9543 | 1254797.0541
70 | 2678429.1663 | 1254783.5935 | 2678410.9543 | 1254797.0541
71 | 2678440.4865 | 1254771.9013 | 2678445.8249 | 1254767.5577
72 | 2678440.4865 | 1254771.9013 | 2678431.5524 | 1254778.8771 | 2678432.8765 | 1254780.8628 | 2678429.1663 | 1254783.5935
73 | 2678063.3755 | 1254703.7133 | 2678055.3938 | 1254710.1941
74 | 2678254.7208 | 1254812.8149 | 2678260.9972 | 1254811.9127 | 2678268.8641 | 1254808.603 | 2678274.7889 | 1254804.4004 | 2678282.462 | 1254796.2715
75 | 2678364.2136 | 1254802.2812 | 2678358.2852 | 1254796.0978
76 | 2678364.2136 | 1254802.2812 | 2678357.6137 | 1254810.1775 | 2678353.5088 | 1254813.6703 | 2678348.8165 | 1254815.9432 | 2678347.6753 | 1254818.3744 | 2678343.166 | 1254820.9429
77 | 2678110.8596 | 1254749.351 | 2678118.8193 | 1254755.0157
78 | 2678231.3593 | 1254805.2359 | 2678234.9307 | 1254808.0655 | 2678239.3794 | 1254810.5149 | 2678245.4802 | 1254812.408 | 2678252.426 | 1254813.1448 | 2678254.7208 | 1254812.8149
79 | 2678303.316 | 1254849.2109 | 2678317.1304 | 1254841.1208 | 2678317.442 | 1254841.0127
80 | 2678323.6743 | 1254838.0272 | 2678321.2684 | 1254839.6855 | 2678317.442 | 1254841.0127
81 | 2678115.0034 | 1254759.027 | 2678118.8193 | 1254755.0157
82 | 2678066.3694 | 1254675.1981 | 2678076.5677 | 1254664.4013
83 | 2678150.8352 | 1254630.2645 | 2678152.187 | 1254632.1249
84 | 2678333.3909 | 1254857.9817 | 2678316.4468 | 1254879.1068
85 | 2678189.1844 | 1254943.3746 | 2678203.9954 | 1254927.593
86 | 2678200.8596 | 1254967.8167 | 2678215.2836 | 1254952.0002
87 | 2678409.6209 | 1254759.0164 | 2678415.2849 | 1254753.8552
88 | 2678333.3909 | 1254857.9817 | 2678341.5129 | 1254854.4933
89 | 2678333.3909 | 1254857.9817 | 2678323.6743 | 1254838.0272
90 | 2678342.3936 | 1254708.0268 | 2678349.1935 | 1254701.3961 | 2678352.1881 | 1254698.5781 | 2678358.9329 | 1254692.2331
91 | 2678359.6943 | 1254691.5168 | 2678358.9329 | 1254692.2331
92 | 2678359.6943 | 1254691.5168 | 2678380.1463 | 1254672.277
93 | 2678419.9539 | 1254730.1539 | 2678418.325 | 1254724.984 | 2678389.0326 | 1254663.9174 | 2678380.1463 | 1254672.277
94 | 2678419.9539 | 1254730.1539 | 2678422.1751 | 1254740.7245 | 2678421.7015 | 1254746.8673 | 2678416.6691 | 1254752.5938 | 2678415.2849 | 1254753.8552
95 | 2678323.6743 | 1254838.0272 | 2678333.6522 | 1254831.2997
96 | 2678343.166 | 1254820.9429 | 2678342.8485 | 1254821.1237 | 2678338.8296 | 1254827.8089 | 2678333.6522 | 1254831.2997

## bus_geodata
| x | y | coords
0 | 2678395.7826 | 1254431.5996
1 | 2678401.2191 | 1254425.6233
2 | 2678368.6486 | 1254461.0187
3 | 2678405.6982 | 1254429.7857
4 | 2678306.1334 | 1254538.7166
5 | 2678420.1224 | 1254413.8977
6 | 2678254.1519 | 1254653.493
7 | 2678369.8833 | 1254617.6853
8 | 2678273.3224 | 1254657.4381
9 | 2678273.7817 | 1254691.7364
10 | 2678297.6013 | 1254688.4511
11 | 2678124.0357 | 1254578.1305
12 | 2678226.4166 | 1254474.4488
13 | 2678116.3182 | 1254593.5008
14 | 2678394.6868 | 1254824.8457
15 | 2678379.4152 | 1254791.4297
16 | 2678377.5417 | 1254821.161
17 | 2678278.2825 | 1254697.667
18 | 2678245.8158 | 1254709.0595
19 | 2678173.3096 | 1254681.3686
20 | 2678119.8813 | 1254738.4317
21 | 2678186.5884 | 1254727.556
22 | 2678116.1444 | 1254605.5691
23 | 2678127.36 | 1254606.7359
24 | 2678064.7374 | 1254638.7717
25 | 2678250.1627 | 1254648.3558
26 | 2678337.894 | 1254738.8969
27 | 2678360.7951 | 1254767.599
28 | 2678299.2882 | 1254777.304
29 | 2678211.143 | 1254745.9383
30 | 2678222.0388 | 1254726.3676
31 | 2678243.1831 | 1254743.6264
32 | 2678214.2166 | 1254778.426
33 | 2678079.3062 | 1254786.2625
34 | 2678053.5383 | 1254711.7007
35 | 2678095.104 | 1254779.9446
36 | 2678099.8933 | 1254702.8273
37 | 2678072.0742 | 1254679.6655
38 | 2678092.716 | 1254709.4938
39 | 2678192.0723 | 1254723.0362
40 | 2678233.6069 | 1254525.7537
41 | 2678047.5868 | 1254658.9941
42 | 2678063.2774 | 1254672.5306
43 | 2678146.5062 | 1254598.4309
44 | 2678135.8269 | 1254609.6095
45 | 2678149.7688 | 1254602.6908
46 | 2678331.8991 | 1254914.2707
47 | 2678241.1124 | 1254923.6778
48 | 2678321.2184 | 1254889.9652
49 | 2678225.9119 | 1254904.2403
50 | 2678214.4024 | 1254916.504
51 | 2678228.6376 | 1254937.3569
52 | 2678370.3318 | 1254780.2302
53 | 2678399.5269 | 1254768.536
54 | 2678399.4507 | 1254809.197
55 | 2678410.9543 | 1254797.0541
56 | 2678440.4865 | 1254771.9014
57 | 2678445.8249 | 1254767.5577
58 | 2678429.1663 | 1254783.5935
59 | 2678055.3938 | 1254710.1941
60 | 2678264.0967 | 1254712.713
61 | 2678283.216 | 1254762.158
62 | 2678282.462 | 1254796.2715
63 | 2678067.7954 | 1254635.1668
64 | 2678085.4753 | 1254663.643
65 | 2678364.2136 | 1254802.2812
66 | 2678110.8596 | 1254749.351
67 | 2678238.3202 | 1254756.5274
68 | 2678231.3593 | 1254805.2358
69 | 2678303.316 | 1254849.2109
70 | 2678317.442 | 1254841.0127
71 | 2678358.2852 | 1254796.0978
72 | 2678118.8193 | 1254755.0157
73 | 2678115.0034 | 1254759.027
74 | 2678063.3755 | 1254703.7133
75 | 2678066.3694 | 1254675.1981
76 | 2678232.1295 | 1254526.8299
77 | 2678150.8352 | 1254630.2645
78 | 2678316.4468 | 1254879.1068
79 | 2678203.9954 | 1254927.593
80 | 2678215.2836 | 1254952.0002
81 | 2678409.6209 | 1254759.0164
82 | 2678254.7208 | 1254812.8149
83 | 2678152.187 | 1254632.1249
84 | 2678341.5129 | 1254854.4933
85 | 2678333.3909 | 1254857.9817
86 | 2678358.9329 | 1254692.2331
87 | 2678342.3936 | 1254708.0268
88 | 2678359.6943 | 1254691.5168
89 | 2678380.1463 | 1254672.277
90 | 2678419.9539 | 1254730.1539
91 | 2678415.2849 | 1254753.8552
92 | 2678076.5677 | 1254664.4013
93 | 2678189.1844 | 1254943.3746
94 | 2678200.8596 | 1254967.8167
95 | 2678323.6743 | 1254838.0272
96 | 2678333.6522 | 1254831.2997
97 | 2678343.166 | 1254820.9429
98 | 2678299.2882 | 1254777.304

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1