## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_981-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_981-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_981-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_981-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_981-14_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_981-14_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_981-14_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_981-14_0_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_981-14_0_5_node_118 | 0.4 | n |  | TRUE
9 | bus_LV_981-14_0_5_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_981-14_0_5_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_981-14_0_5_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_981-14_0_5_node_117 | 0.4 | n |  | TRUE
13 | bus_LV_981-14_0_5_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_981-14_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_981-14_0_5_node_119 | 0.4 | n |  | TRUE
16 | bus_LV_981-14_0_5_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_981-14_0_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_981-14_0_5_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_981-14_0_5_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_981-14_0_5_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_981-14_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_981-14_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_981-14_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_981-14_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_981-14_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_981-14_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_981-14_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_981-14_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_981-14_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_981-14_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_981-14_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_981-14_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_981-14_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_981-14_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_981-14_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_981-14_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_981-14_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_981-14_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_981-14_0_5_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_981-14_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_981-14_0_5_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_981-14_0_5_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_981-14_0_5_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_981-14_0_5_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_981-14_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_981-14_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_981-14_0_5_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_981-14_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_981-14_0_5_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_981-14_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_981-14_0_5_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_981-14_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_981-14_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_981-14_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_981-14_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_981-14_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_981-14_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_981-14_0_5_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_981-14_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_981-14_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_981-14_0_5_node_120 | 0.4 | n |  | TRUE
62 | bus_LV_981-14_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_981-14_0_5_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_981-14_0_5_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_981-14_0_5_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_981-14_0_5_node_121 | 0.4 | n |  | TRUE
67 | bus_LV_981-14_0_5_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_981-14_0_5_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_981-14_0_5_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_981-14_0_5_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_981-14_0_5_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_981-14_0_5_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_981-14_0_5_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_981-14_0_5_node_112 | 0.4 | n |  | TRUE
75 | bus_LV_981-14_0_5_node_111 | 0.4 | n |  | TRUE
76 | bus_LV_981-14_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_981-14_0_5_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_981-14_0_5_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_981-14_0_5_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_981-14_0_5_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_981-14_0_5_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_981-14_0_5_node_110 | 0.4 | n |  | TRUE
83 | bus_LV_981-14_0_5_node_108 | 0.4 | n |  | TRUE
84 | bus_LV_981-14_0_5_node_116 | 0.4 | n |  | TRUE
85 | bus_LV_981-14_0_5_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_981-14_0_5_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_981-14_0_5_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_981-14_0_5_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_981-14_0_5_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_981-14_0_5_node_107 | 0.4 | n |  | TRUE
91 | bus_LV_981-14_0_5_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_981-14_0_5_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_981-14_0_5_node_106 | 0.4 | n |  | TRUE
94 | bus_LV_981-14_0_5_node_113 | 0.4 | n |  | TRUE
95 | bus_LV_981-14_0_5_node_114 | 0.4 | n |  | TRUE
96 | bus_LV_981-14_0_5_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_981-14_0_5_node_79 | 0.4 | n |  | TRUE
98 | bus_LV_981-14_0_5_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_981-14_0_5_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_981-14_0_5_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_981-14_0_5_node_81 | 0.4 | n |  | TRUE
102 | bus_LV_981-14_0_5_node_82 | 0.4 | n |  | TRUE
103 | bus_LV_981-14_0_5_node_83 | 0.4 | n |  | TRUE
104 | bus_LV_981-14_0_5_node_85 | 0.4 | n |  | TRUE
105 | bus_LV_981-14_0_5_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_981-14_0_5_node_91 | 0.4 | n |  | TRUE
107 | bus_LV_981-14_0_5_node_86 | 0.4 | n |  | TRUE
108 | bus_LV_981-14_0_5_node_87 | 0.4 | n |  | TRUE
109 | bus_LV_981-14_0_5_node_88 | 0.4 | n |  | TRUE
110 | bus_LV_981-14_0_5_node_90 | 0.4 | n |  | TRUE
111 | bus_LV_981-14_0_5_node_97 | 0.4 | n |  | TRUE
112 | bus_LV_981-14_0_5_node_96 | 0.4 | n |  | TRUE
113 | bus_LV_981-14_0_5_node_98 | 0.4 | n |  | TRUE
114 | bus_LV_981-14_0_5_node_101 | 0.4 | n |  | TRUE
115 | bus_LV_981-14_0_5_node_102 | 0.4 | n |  | TRUE
116 | bus_LV_981-14_0_5_node_103 | 0.4 | n |  | TRUE
117 | bus_LV_981-14_0_5_node_104 | 0.4 | n |  | TRUE
118 | bus_LV_981-14_0_5_node_105 | 0.4 | n |  | TRUE
119 | bus_MV_479_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_981-14_0_5_load_0 | 0 | 0.0031389 | 0.00078668 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_981-14_0_5_load_4 | 4 | 0.0026066 | 0.00065327 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_981-14_0_5_load_6 | 6 | 0.011241 | 0.0028174 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_981-14_0_5_load_118 | 8 | 0.0026096 | 0.00065402 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_981-14_0_5_load_22 | 9 | 0.0031389 | 0.00078668 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_981-14_0_5_load_18 | 10 | 0.0047494 | 0.0011903 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_981-14_0_5_load_73 | 11 | 0.0053778 | 0.0013478 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_981-14_0_5_load_117 | 12 | 0.0063459 | 0.0015904 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_981-14_0_5_load_31 | 13 | 0.0030644 | 0.00076802 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_981-14_0_5_load_11 | 14 | 0.0021479 | 0.00053832 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_981-14_0_5_load_119 | 15 | 0.001672 | 0.00041904 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_981-14_0_5_load_23 | 16 | 0.0026066 | 0.00065327 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_981-14_0_5_load_17 | 17 | 0.0027477 | 0.00068863 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_981-14_0_5_load_7 | 19 | 0.0021477 | 0.00053826 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_981-14_0_5_load_8 | 20 | 0.0021477 | 0.00053826 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_981-14_0_5_load_9 | 21 | 0.0021477 | 0.00053826 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_981-14_0_5_load_10 | 22 | 0.0021479 | 0.00053832 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_981-14_0_5_load_19 | 23 | 0.002608 | 0.00065362 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_981-14_0_5_load_20 | 24 | 0.002932 | 0.00073483 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_981-14_0_5_load_12 | 25 | 0.0035822 | 0.00089778 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_981-14_0_5_load_13 | 26 | 0.0026637 | 0.00066757 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_981-14_0_5_load_14 | 27 | 0.0057592 | 0.0014434 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_981-14_0_5_load_15 | 28 | 0.0035829 | 0.00089797 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_981-14_0_5_load_16 | 29 | 0.0035829 | 0.00089796 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_981-14_0_5_load_28 | 30 | 0.0029803 | 0.00074694 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_981-14_0_5_load_27 | 31 | 0.0019035 | 0.00047705 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_981-14_0_5_load_21 | 32 | 0.0027357 | 0.00068563 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_981-14_0_5_load_26 | 33 | 0.0026081 | 0.00065365 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_981-14_0_5_load_24 | 34 | 0.0035822 | 0.00089778 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_981-14_0_5_load_32 | 35 | 0.0041993 | 0.0010524 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_981-14_0_5_load_33 | 36 | 0.0019167 | 0.00048038 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_981-14_0_5_load_29 | 37 | 0.0020425 | 0.00051189 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_981-14_0_5_load_30 | 38 | 0.0024558 | 0.00061548 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_981-14_0_5_load_99 | 39 | 0.0024315 | 0.00060939 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_981-14_0_5_load_34 | 40 | 0.0010943 | 0.00027426 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_981-14_0_5_load_100 | 42 | 0.002328 | 0.00058346 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_981-14_0_5_load_43 | 43 | 0.00097483 | 0.00024432 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_981-14_0_5_load_41 | 44 | 0.0023148 | 0.00058014 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_981-14_0_5_load_35 | 45 | 0.00027171 | 6.8096e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_981-14_0_5_load_36 | 46 | 0.0014243 | 0.00035697 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_981-14_0_5_load_37 | 47 | 0.001345 | 0.00033708 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_981-14_0_5_load_38 | 48 | 0.00027132 | 6.8e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_981-14_0_5_load_84 | 51 | 0.0012467 | 0.00031246 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_981-14_0_5_load_39 | 52 | 0.0015922 | 0.00039904 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_981-14_0_5_load_40 | 53 | 0.00027157 | 6.8061e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_981-14_0_5_load_45 | 54 | 0.0013152 | 0.00032962 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_981-14_0_5_load_46 | 55 | 0.0010155 | 0.00025451 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_981-14_0_5_load_48 | 57 | 0.0064602 | 0.0016191 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_981-14_0_5_load_51 | 60 | 0.0079132 | 0.0019832 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_981-14_0_5_load_120 | 61 | 0.0031569 | 0.00079119 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_981-14_0_5_load_52 | 62 | 0.0084915 | 0.0021282 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_981-14_0_5_load_56 | 63 | 0.0067573 | 0.0016935 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_981-14_0_5_load_53 | 64 | 0.0079483 | 0.001992 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_981-14_0_5_load_62 | 65 | 0.0029128 | 0.00073001 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_981-14_0_5_load_121 | 66 | 0.0028687 | 0.00071897 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_981-14_0_5_load_63 | 67 | 0.0058038 | 0.0014546 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_981-14_0_5_load_54 | 68 | 0.0090248 | 0.0022618 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_981-14_0_5_load_58 | 70 | 0.0036903 | 0.00092487 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_981-14_0_5_load_57 | 71 | 0.0034801 | 0.0008722 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_981-14_0_5_load_111 | 75 | 0.001897 | 0.00047543 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_981-14_0_5_load_64 | 76 | 0.002849 | 0.00071401 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_981-14_0_5_load_75 | 77 | 0.0031578 | 0.00079142 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_981-14_0_5_load_74 | 78 | 0.005493 | 0.0013767 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_981-14_0_5_load_65 | 79 | 0.002638 | 0.00066116 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_981-14_0_5_load_66 | 80 | 0.0047881 | 0.0012 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_981-14_0_5_load_108 | 83 | 0.0028599 | 0.00071677 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_981-14_0_5_load_116 | 84 | 0.0033757 | 0.00084602 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_981-14_0_5_load_68 | 85 | 0.0073275 | 0.0018364 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_981-14_0_5_load_69 | 86 | 0.0067879 | 0.0017012 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_981-14_0_5_load_71 | 87 | 0.0065072 | 0.0016309 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_981-14_0_5_load_107 | 90 | 0.0042249 | 0.0010589 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_981-14_0_5_load_80 | 91 | 0.0046074 | 0.0011547 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_981-14_0_5_load_76 | 92 | 0.0076958 | 0.0019288 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_981-14_0_5_load_106 | 93 | 0.0043944 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_981-14_0_5_load_113 | 94 | 0.0056188 | 0.0014082 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_981-14_0_5_load_114 | 95 | 0.0036736 | 0.0009207 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_981-14_0_5_load_77 | 96 | 0.0078458 | 0.0019663 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_981-14_0_5_load_79 | 97 | 0.0027604 | 0.00069183 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_981-14_0_5_load_89 | 99 | 0.0025355 | 0.00063546 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_981-14_0_5_load_92 | 100 | 0.0019024 | 0.00047678 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_981-14_0_5_load_81 | 101 | 0.0012685 | 0.00031791 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_981-14_0_5_load_82 | 102 | 0.0024042 | 0.00060255 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_981-14_0_5_load_85 | 104 | 0.0016245 | 0.00040713 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_981-14_0_5_load_93 | 105 | 0.0018493 | 0.00046349 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_981-14_0_5_load_91 | 106 | 0.0026105 | 0.00065424 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_981-14_0_5_load_86 | 107 | 0.0027312 | 0.00068451 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_981-14_0_5_load_87 | 108 | 0.0042727 | 0.0010708 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_981-14_0_5_load_88 | 109 | 0.0026759 | 0.00067063 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_981-14_0_5_load_90 | 110 | 0.0019153 | 0.00048001 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_981-14_0_5_load_97 | 111 | 0.0022775 | 0.00057079 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_981-14_0_5_load_96 | 112 | 0.0017969 | 0.00045033 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_981-14_0_5_load_98 | 113 | 0.0018874 | 0.00047302 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_981-14_0_5_load_101 | 114 | 0.0046293 | 0.0011602 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_981-14_0_5_load_102 | 115 | 0.0028157 | 0.00070567 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_981-14_0_5_load_103 | 116 | 0.0045562 | 0.0011419 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_981-14_0_5_load_104 | 117 | 0.0043372 | 0.001087 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_981-14_0_5_load_105 | 118 | 0.0042189 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_981-14_0_5_line_0 |  | 0 | 1 | 0.0097106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_981-14_0_5_line_1 |  | 0 | 2 | 0.028892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_981-14_0_5_line_2 |  | 1 | 3 | 0.023318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_981-14_0_5_line_3 |  | 1 | 4 | 0.015371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_981-14_0_5_line_4 |  | 2 | 5 | 0.01721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_981-14_0_5_line_5 |  | 2 | 6 | 0.017875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_981-14_0_5_line_6 |  | 3 | 7 | 0.025042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_981-14_0_5_line_7 |  | 3 | 8 | 0.016702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_981-14_0_5_line_8 |  | 4 | 9 | 0.0089001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_981-14_0_5_line_9 |  | 5 | 10 | 0.020343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_981-14_0_5_line_10 |  | 5 | 11 | 0.0095135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_981-14_0_5_line_11 |  | 6 | 12 | 0.0030942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_981-14_0_5_line_12 |  | 7 | 13 | 0.0049332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_981-14_0_5_line_13 |  | 7 | 14 | 0.010682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_981-14_0_5_line_14 |  | 8 | 15 | 0.016011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_981-14_0_5_line_15 |  | 9 | 16 | 0.014238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_981-14_0_5_line_16 |  | 10 | 17 | 0.0083823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_981-14_0_5_line_17 |  | 11 | 18 | 0.0045228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_981-14_0_5_line_18 |  | 14 | 21 | 0.017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_981-14_0_5_line_19 |  | 15 | 61 | 0.02208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_981-14_0_5_line_20 |  | 16 | 34 | 0.0073659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_981-14_0_5_line_21 |  | 17 | 29 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_981-14_0_5_line_22 |  | 18 | 88 | 0.038432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_981-14_0_5_line_23 |  | 18 | 85 | 0.017751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_981-14_0_5_line_24 |  | 19 | 20 | 0.017281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_981-14_0_5_line_25 |  | 19 | 21 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_981-14_0_5_line_26 |  | 20 | 22 | 0.042988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_981-14_0_5_line_27 |  | 23 | 24 | 0.0015793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_981-14_0_5_line_28 |  | 24 | 32 | 0.017332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_981-14_0_5_line_29 |  | 25 | 26 | 0.015897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_981-14_0_5_line_30 |  | 25 | 27 | 0.010885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_981-14_0_5_line_31 |  | 26 | 28 | 0.0047344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_981-14_0_5_line_32 |  | 27 | 29 | 0.0088215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_981-14_0_5_line_33 |  | 28 | 30 | 0.01893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_981-14_0_5_line_34 |  | 30 | 31 | 0.005341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_981-14_0_5_line_35 |  | 32 | 33 | 0.0038771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_981-14_0_5_line_36 |  | 33 | 34 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_981-14_0_5_line_37 |  | 35 | 36 | 0.023779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_981-14_0_5_line_38 |  | 36 | 40 | 0.048232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_981-14_0_5_line_39 |  | 37 | 38 | 0.00073479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_981-14_0_5_line_40 |  | 38 | 39 | 0.020925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_981-14_0_5_line_41 |  | 39 | 42 | 5.4027e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_981-14_0_5_line_42 |  | 40 | 41 | 0.015575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_981-14_0_5_line_43 |  | 41 | 43 | 0.0075182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_981-14_0_5_line_44 |  | 41 | 44 | 0.018672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_981-14_0_5_line_45 |  | 42 | 114 | 0.021009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_981-14_0_5_line_46 |  | 43 | 55 | 0.023993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_981-14_0_5_line_47 |  | 45 | 46 | 0.0052463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_981-14_0_5_line_48 |  | 45 | 47 | 0.0061632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_981-14_0_5_line_49 |  | 46 | 48 | 0.0056711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_981-14_0_5_line_50 |  | 48 | 52 | 0.013692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_981-14_0_5_line_51 |  | 49 | 50 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_981-14_0_5_line_52 |  | 49 | 51 | 0.014525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_981-14_0_5_line_53 |  | 50 | 54 | 0.050428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_981-14_0_5_line_54 |  | 50 | 53 | 0.023775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_981-14_0_5_line_55 |  | 51 | 102 | 0.042227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_981-14_0_5_line_56 |  | 52 | 53 | 0.02226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_981-14_0_5_line_57 |  | 54 | 56 | 0.039364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_981-14_0_5_line_58 |  | 55 | 56 | 0.023226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_981-14_0_5_line_59 |  | 57 | 58 | 0.014847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_981-14_0_5_line_60 |  | 58 | 59 | 0.017759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_981-14_0_5_line_61 |  | 58 | 60 | 0.017736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_981-14_0_5_line_62 |  | 59 | 63 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_981-14_0_5_line_63 |  | 59 | 64 | 0.00030033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_981-14_0_5_line_64 |  | 60 | 65 | 0.034989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_981-14_0_5_line_65 |  | 61 | 62 | 0.037378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_981-14_0_5_line_66 |  | 62 | 68 | 0.020405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_981-14_0_5_line_67 |  | 62 | 64 | 0.02691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_981-14_0_5_line_68 |  | 63 | 66 | 0.0045743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_981-14_0_5_line_69 |  | 65 | 67 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_981-14_0_5_line_70 |  | 67 | 76 | 0.020944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_981-14_0_5_line_71 |  | 68 | 69 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_981-14_0_5_line_72 |  | 69 | 70 | 0.026039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_981-14_0_5_line_73 |  | 70 | 71 | 0.013589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_981-14_0_5_line_74 |  | 71 | 72 | 0.046161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_981-14_0_5_line_75 |  | 72 | 73 | 0.029592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_981-14_0_5_line_76 |  | 73 | 74 | 0.007323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_981-14_0_5_line_77 |  | 74 | 75 | 0.044153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_981-14_0_5_line_78 |  | 76 | 79 | 0.0069332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_981-14_0_5_line_79 |  | 77 | 78 | 0.0010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_981-14_0_5_line_80 |  | 78 | 87 | 0.018656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_981-14_0_5_line_81 |  | 79 | 80 | 0.018202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_981-14_0_5_line_82 |  | 80 | 81 | 0.031089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_981-14_0_5_line_83 |  | 81 | 82 | 0.036603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_981-14_0_5_line_84 |  | 81 | 83 | 0.041752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_981-14_0_5_line_85 |  | 82 | 84 | 0.01114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_981-14_0_5_line_86 |  | 84 | 95 | 0.010497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_981-14_0_5_line_87 |  | 85 | 86 | 0.0078705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_981-14_0_5_line_88 |  | 86 | 87 | 0.016943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_981-14_0_5_line_89 |  | 88 | 89 | 0.00431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_981-14_0_5_line_90 |  | 88 | 90 | 0.015239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_981-14_0_5_line_91 |  | 89 | 91 | 0.0056325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_981-14_0_5_line_92 |  | 89 | 92 | 0.023291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_981-14_0_5_line_93 |  | 90 | 93 | 0.015624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_981-14_0_5_line_94 |  | 91 | 98 | 0.037809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_981-14_0_5_line_95 |  | 92 | 96 | 0.035025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_981-14_0_5_line_96 |  | 93 | 118 | 0.0034843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_981-14_0_5_line_97 |  | 94 | 95 | 0.027092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_981-14_0_5_line_98 |  | 96 | 97 | 0.0026588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_981-14_0_5_line_99 |  | 98 | 99 | 0.016446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_981-14_0_5_line_100 |  | 98 | 100 | 0.011603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_981-14_0_5_line_101 |  | 99 | 108 | 0.019029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_981-14_0_5_line_102 |  | 100 | 106 | 0.0038085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_981-14_0_5_line_103 |  | 101 | 102 | 0.038424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_981-14_0_5_line_104 |  | 101 | 103 | 0.031007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_981-14_0_5_line_105 |  | 103 | 104 | 0.018081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_981-14_0_5_line_106 |  | 104 | 105 | 0.0025614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_981-14_0_5_line_107 |  | 105 | 106 | 0.022389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_981-14_0_5_line_108 |  | 107 | 108 | 0.0010056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_981-14_0_5_line_109 |  | 107 | 109 | 0.025202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_981-14_0_5_line_110 |  | 109 | 110 | 0.003941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_981-14_0_5_line_111 |  | 110 | 111 | 0.020668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_981-14_0_5_line_112 |  | 111 | 112 | 0.0022403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_981-14_0_5_line_113 |  | 112 | 113 | 0.023221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_981-14_0_5_line_114 |  | 114 | 115 | 0.00015291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_981-14_0_5_line_115 |  | 115 | 116 | 0.019618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_981-14_0_5_line_116 |  | 116 | 117 | 0.0036025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_981-14_0_5_line_117 |  | 117 | 118 | 0.016776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_981-14_0_5_trafo_5 | 0.63 MVA 20/0.4 kV | 119 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2619086.2917 | 1235375.7294 | 2619076.712 | 1235374.1409
1 | 2619048.2093 | 1235369.4148 | 2619076.712 | 1235374.1409
2 | 2619086.2917 | 1235375.7294 | 2619108.6317 | 1235382.6274
3 | 2619086.2917 | 1235375.7294 | 2619093.9751 | 1235362.4167
4 | 2619031.1683 | 1235366.6809 | 2619037.643 | 1235367.6577 | 2619048.2093 | 1235369.4148
5 | 2619048.2093 | 1235369.4148 | 2619038.1439 | 1235384.1862
6 | 2619131.8409 | 1235392.1967 | 2619108.6317 | 1235382.6274
7 | 2619108.6317 | 1235382.6274 | 2619105.9472 | 1235393.8257 | 2619102.9217 | 1235398.0385
8 | 2619093.9751 | 1235362.4167 | 2619098.424 | 1235354.7082
9 | 2619031.1683 | 1235366.6809 | 2619042.0989 | 1235349.5236
10 | 2619031.1683 | 1235366.6809 | 2619021.7609 | 1235365.2643
11 | 2619036.4015 | 1235386.7432 | 2619038.1439 | 1235384.1862
12 | 2619131.8409 | 1235392.1967 | 2619136.2774 | 1235394.3541
13 | 2619131.8409 | 1235392.1967 | 2619137.2562 | 1235382.9887
14 | 2619102.9217 | 1235398.0385 | 2619093.5824 | 1235411.0431
15 | 2619105.5411 | 1235342.3768 | 2619098.424 | 1235354.7082
16 | 2619046.6028 | 1235342.454 | 2619042.0989 | 1235349.5236
17 | 2619017.2885 | 1235364.5909 | 2619021.7609 | 1235365.2643
18 | 2619137.2562 | 1235382.9887 | 2619146.2147 | 1235367.7563
19 | 2619080.7028 | 1235428.9775 | 2619093.5824 | 1235411.0431
20 | 2619105.5411 | 1235342.3768 | 2619109.2231 | 1235335.9971
21 | 2619053.3242 | 1235331.9038 | 2619046.6028 | 1235342.454
22 | 2618979.872 | 1235355.8551 | 2618998.6888 | 1235361.7854 | 2619017.2885 | 1235364.5909
23 | 2619017.2885 | 1235364.5909 | 2619007.1071 | 1235379.1314
24 | 2619154.8332 | 1235353.1018 | 2619163.5935 | 1235338.2062
25 | 2619154.8332 | 1235353.1018 | 2619146.2147 | 1235367.7563
26 | 2619166.3687 | 1235306.6474 | 2619178.4777 | 1235312.898 | 2619163.5935 | 1235338.2062
27 | 2619127.7455 | 1235303.904 | 2619128.5349 | 1235302.5361
28 | 2619119.0819 | 1235318.9151 | 2619127.7455 | 1235303.904
29 | 2619063.9125 | 1235315.2837 | 2619072.454 | 1235301.8765
30 | 2619063.9125 | 1235315.2837 | 2619058.064 | 1235324.4639
31 | 2619074.9978 | 1235297.8836 | 2619072.454 | 1235301.8765
32 | 2619053.3242 | 1235331.9038 | 2619058.064 | 1235324.4639
33 | 2619074.9978 | 1235297.8836 | 2619085.1689 | 1235281.9185
34 | 2619085.1689 | 1235281.9185 | 2619088.0386 | 1235277.414
35 | 2619119.0819 | 1235318.9151 | 2619117.1439 | 1235322.273
36 | 2619117.1439 | 1235322.273 | 2619109.2231 | 1235335.9971
37 | 2619111.9236 | 1235204.3611 | 2619101.7949 | 1235194.9128 | 2619094.4104 | 1235188.2771
38 | 2619094.4104 | 1235188.2771 | 2619058.5345 | 1235156.0392
39 | 2619044.3085 | 1235257.9346 | 2619043.9046 | 1235258.5485
40 | 2619032.4019 | 1235276.0285 | 2619043.9046 | 1235258.5485
41 | 2619032.4019 | 1235276.0285 | 2619032.3722 | 1235276.0736
42 | 2619046.9498 | 1235145.6293 | 2619058.5345 | 1235156.0392
43 | 2619046.9498 | 1235145.6293 | 2619041.2401 | 1235140.7382
44 | 2619046.9498 | 1235145.6293 | 2619038.016 | 1235162.0258
45 | 2619032.3722 | 1235276.0736 | 2619020.8236 | 1235293.6234
46 | 2619023.0186 | 1235125.1292 | 2619041.2401 | 1235140.7382
47 | 2619009.0606 | 1235177.244 | 2619006.6926 | 1235181.9255
48 | 2619011.8425 | 1235171.7443 | 2619009.0606 | 1235177.244
49 | 2619004.1328 | 1235186.9861 | 2619006.6926 | 1235181.9255
50 | 2619004.1328 | 1235186.9861 | 2618997.9527 | 1235199.2039
51 | 2618957.2458 | 1235198.6758 | 2618960.5194 | 1235187.8017
52 | 2618957.2458 | 1235198.6758 | 2618949.4232 | 1235210.9147
53 | 2618960.5194 | 1235187.8017 | 2618985.7133 | 1235144.1186
54 | 2618960.5194 | 1235187.8017 | 2618981.5199 | 1235198.947
55 | 2618949.4232 | 1235210.9147 | 2618926.6819 | 1235246.4946
56 | 2618981.5199 | 1235198.947 | 2618994.5774 | 1235205.8768 | 2618997.9527 | 1235199.2039
57 | 2619005.3797 | 1235110.0193 | 2618985.7133 | 1235144.1186
58 | 2619005.3797 | 1235110.0193 | 2619023.0186 | 1235125.1292
59 | 2619046.2051 | 1235466.0454 | 2619046.1354 | 1235468.9358 | 2619044.973 | 1235472.7122 | 2619039.5512 | 1235478.6005
60 | 2619064.0098 | 1235466.5359 | 2619046.2051 | 1235466.0454
61 | 2619046.2051 | 1235466.0454 | 2619028.5842 | 1235464.0301
62 | 2619064.0098 | 1235466.5359 | 2619063.816 | 1235467.9695 | 2619063.3451 | 1235473.2268 | 2619066.6841 | 1235477.1875
63 | 2619064.0098 | 1235466.5359 | 2619064.31 | 1235466.5289
64 | 2618994.0994 | 1235468.3977 | 2619002.5462 | 1235466.8065 | 2619022.1041 | 1235463.2889 | 2619028.5842 | 1235464.0301
65 | 2619080.7028 | 1235428.9775 | 2619091.0803 | 1235464.886
66 | 2619091.0803 | 1235464.886 | 2619110.8349 | 1235460.1264 | 2619110.9192 | 1235460.1405
67 | 2619091.0803 | 1235464.886 | 2619086.4262 | 1235466.0074 | 2619064.31 | 1235466.5289
68 | 2619069.6325 | 1235480.6848 | 2619066.6841 | 1235477.1875
69 | 2618994.0994 | 1235468.3977 | 2618984.7293 | 1235470.1628 | 2618973.6161 | 1235470.3148
70 | 2618973.6161 | 1235470.3148 | 2618968.2391 | 1235470.3883 | 2618952.7839 | 1235468.5335
71 | 2619120.6348 | 1235464.8497 | 2619116.7344 | 1235461.1126 | 2619110.9192 | 1235460.1405
72 | 2619120.6348 | 1235464.8497 | 2619118.5376 | 1235472.2252 | 2619108.9825 | 1235478.4873 | 2619103.9649 | 1235483.3409
73 | 2619103.9649 | 1235483.3409 | 2619094.1885 | 1235492.7788
74 | 2619060.9778 | 1235524.8397 | 2619094.1885 | 1235492.7788
75 | 2619039.6628 | 1235545.4287 | 2619060.9778 | 1235524.8397
76 | 2619034.3797 | 1235550.5149 | 2619039.6628 | 1235545.4287
77 | 2619034.3797 | 1235550.5149 | 2619016.708 | 1235539.2849 | 2619005.0101 | 1235522.3039 | 2619006.7334 | 1235520.3639
78 | 2618952.7839 | 1235468.5335 | 2618945.9001 | 1235467.7074
79 | 2618981.5735 | 1235415.5971 | 2618982.174 | 1235414.7396
80 | 2618982.174 | 1235414.7396 | 2618992.8746 | 1235399.4576
81 | 2618945.9001 | 1235467.7074 | 2618942.3533 | 1235467.2818 | 2618927.7965 | 1235465.8231
82 | 2618897.9931 | 1235469.6202 | 2618910.27 | 1235464.0668 | 2618927.7965 | 1235465.8231
83 | 2618922.1971 | 1235497.1361 | 2618914.581 | 1235488.6511 | 2618897.9931 | 1235469.6202
84 | 2618897.9931 | 1235469.6202 | 2618869.5274 | 1235439.0767
85 | 2618922.1971 | 1235497.1361 | 2618929.571 | 1235505.4857
86 | 2618929.571 | 1235505.4857 | 2618933.1757 | 1235509.5674 | 2618936.4992 | 1235513.3711
87 | 2619007.1071 | 1235379.1314 | 2619002.5928 | 1235385.5785
88 | 2619002.5928 | 1235385.5785 | 2618992.8746 | 1235399.4576
89 | 2618979.872 | 1235355.8551 | 2618975.7518 | 1235354.5523
90 | 2618979.872 | 1235355.8551 | 2618988.2491 | 1235343.1249
91 | 2618975.7518 | 1235354.5523 | 2618970.3802 | 1235352.858
92 | 2618975.7518 | 1235354.5523 | 2618962.5266 | 1235373.7242
93 | 2618996.8376 | 1235330.0735 | 2618988.2491 | 1235343.1249
94 | 2618936.1445 | 1235337.4492 | 2618952.1798 | 1235347.1172 | 2618970.3802 | 1235352.858
95 | 2618962.5266 | 1235373.7242 | 2618952.4725 | 1235388.2989 | 2618938.5778 | 1235377.9611
96 | 2618996.8376 | 1235330.0735 | 2618998.753 | 1235327.1628
97 | 2618954.3247 | 1235533.7728 | 2618936.4992 | 1235513.3711
98 | 2618936.4446 | 1235376.374 | 2618938.5778 | 1235377.9611
99 | 2618936.1445 | 1235337.4492 | 2618945.234 | 1235323.7433
100 | 2618936.1445 | 1235337.4492 | 2618926.2093 | 1235331.4566
101 | 2618945.234 | 1235323.7433 | 2618955.7508 | 1235307.8851
102 | 2618922.9481 | 1235329.4895 | 2618926.2093 | 1235331.4566
103 | 2618905.9888 | 1235278.8701 | 2618926.6819 | 1235246.4946
104 | 2618888.8525 | 1235304.7013 | 2618895.2075 | 1235295.7382 | 2618905.9888 | 1235278.8701
105 | 2618888.8525 | 1235304.7013 | 2618892.0717 | 1235310.9153 | 2618901.5702 | 1235316.6246
106 | 2618901.5702 | 1235316.6246 | 2618903.7656 | 1235317.9442
107 | 2618922.9481 | 1235329.4895 | 2618915.7057 | 1235325.1212 | 2618903.7656 | 1235317.9442
108 | 2618956.3066 | 1235307.047 | 2618955.7508 | 1235307.8851
109 | 2618956.3066 | 1235307.047 | 2618970.2351 | 1235286.0442
110 | 2618972.4133 | 1235282.7598 | 2618970.2351 | 1235286.0442
111 | 2618972.4133 | 1235282.7598 | 2618983.8364 | 1235265.535
112 | 2618985.0746 | 1235263.6679 | 2618983.8364 | 1235265.535
113 | 2618985.0746 | 1235263.6679 | 2618993.3279 | 1235251.2228 | 2618996.789 | 1235243.6917
114 | 2619020.8236 | 1235293.6234 | 2619020.7395 | 1235293.7511
115 | 2619020.7395 | 1235293.7511 | 2619009.9553 | 1235310.1392
116 | 2619007.975 | 1235313.1486 | 2619009.9553 | 1235310.1392
117 | 2619007.975 | 1235313.1486 | 2618998.753 | 1235327.1628

## bus_geodata
| x | y | coords
0 | 2619076.712 | 1235374.1409
1 | 2619086.2917 | 1235375.7294
2 | 2619048.2093 | 1235369.4148
3 | 2619108.6317 | 1235382.6274
4 | 2619093.9751 | 1235362.4167
5 | 2619031.1683 | 1235366.6809
6 | 2619038.1439 | 1235384.1862
7 | 2619131.8409 | 1235392.1967
8 | 2619102.9217 | 1235398.0385
9 | 2619098.424 | 1235354.7082
10 | 2619042.0989 | 1235349.5236
11 | 2619021.7609 | 1235365.2643
12 | 2619036.4015 | 1235386.7432
13 | 2619136.2774 | 1235394.3541
14 | 2619137.2562 | 1235382.9887
15 | 2619093.5824 | 1235411.0431
16 | 2619105.5411 | 1235342.3768
17 | 2619046.6028 | 1235342.454
18 | 2619017.2885 | 1235364.5909
19 | 2619154.8332 | 1235353.1018
20 | 2619163.5935 | 1235338.2062
21 | 2619146.2147 | 1235367.7563
22 | 2619166.3687 | 1235306.6474
23 | 2619128.5349 | 1235302.5361
24 | 2619127.7455 | 1235303.904
25 | 2619063.9125 | 1235315.2837
26 | 2619072.454 | 1235301.8765
27 | 2619058.064 | 1235324.4639
28 | 2619074.9978 | 1235297.8836
29 | 2619053.3242 | 1235331.9038
30 | 2619085.1689 | 1235281.9185
31 | 2619088.0386 | 1235277.414
32 | 2619119.0819 | 1235318.9151
33 | 2619117.1439 | 1235322.273
34 | 2619109.2231 | 1235335.9971
35 | 2619111.9236 | 1235204.3611
36 | 2619094.4104 | 1235188.2771
37 | 2619044.3085 | 1235257.9346
38 | 2619043.9046 | 1235258.5485
39 | 2619032.4019 | 1235276.0285
40 | 2619058.5345 | 1235156.0392
41 | 2619046.9498 | 1235145.6293
42 | 2619032.3722 | 1235276.0736
43 | 2619041.2401 | 1235140.7382
44 | 2619038.016 | 1235162.0258
45 | 2619009.0606 | 1235177.244
46 | 2619006.6926 | 1235181.9255
47 | 2619011.8425 | 1235171.7443
48 | 2619004.1328 | 1235186.9861
49 | 2618957.2458 | 1235198.6758
50 | 2618960.5194 | 1235187.8017
51 | 2618949.4232 | 1235210.9147
52 | 2618997.9527 | 1235199.2039
53 | 2618981.5199 | 1235198.947
54 | 2618985.7133 | 1235144.1186
55 | 2619023.0186 | 1235125.1292
56 | 2619005.3797 | 1235110.0193
57 | 2619039.5512 | 1235478.6005
58 | 2619046.2051 | 1235466.0454
59 | 2619064.0098 | 1235466.5359
60 | 2619028.5842 | 1235464.0301
61 | 2619080.7028 | 1235428.9775
62 | 2619091.0803 | 1235464.886
63 | 2619066.6841 | 1235477.1875
64 | 2619064.31 | 1235466.5289
65 | 2618994.0994 | 1235468.3977
66 | 2619069.6325 | 1235480.6848
67 | 2618973.6161 | 1235470.3148
68 | 2619110.9192 | 1235460.1405
69 | 2619120.6348 | 1235464.8497
70 | 2619103.9649 | 1235483.3409
71 | 2619094.1885 | 1235492.7788
72 | 2619060.9778 | 1235524.8397
73 | 2619039.6628 | 1235545.4287
74 | 2619034.3797 | 1235550.5149
75 | 2619006.7334 | 1235520.3639
76 | 2618952.7839 | 1235468.5335
77 | 2618981.5735 | 1235415.5971
78 | 2618982.174 | 1235414.7396
79 | 2618945.9001 | 1235467.7074
80 | 2618927.7965 | 1235465.8231
81 | 2618897.9931 | 1235469.6202
82 | 2618922.1971 | 1235497.1361
83 | 2618869.5274 | 1235439.0767
84 | 2618929.571 | 1235505.4857
85 | 2619007.1071 | 1235379.1314
86 | 2619002.5928 | 1235385.5785
87 | 2618992.8746 | 1235399.4576
88 | 2618979.872 | 1235355.8551
89 | 2618975.7518 | 1235354.5523
90 | 2618988.2491 | 1235343.1249
91 | 2618970.3802 | 1235352.858
92 | 2618962.5266 | 1235373.7242
93 | 2618996.8376 | 1235330.0735
94 | 2618954.3247 | 1235533.7728
95 | 2618936.4992 | 1235513.3711
96 | 2618938.5778 | 1235377.9611
97 | 2618936.4446 | 1235376.374
98 | 2618936.1445 | 1235337.4492
99 | 2618945.234 | 1235323.7433
100 | 2618926.2093 | 1235331.4566
101 | 2618905.9888 | 1235278.8701
102 | 2618926.6819 | 1235246.4946
103 | 2618888.8525 | 1235304.7013
104 | 2618901.5702 | 1235316.6246
105 | 2618903.7656 | 1235317.9442
106 | 2618922.9481 | 1235329.4895
107 | 2618956.3066 | 1235307.047
108 | 2618955.7508 | 1235307.8851
109 | 2618970.2351 | 1235286.0442
110 | 2618972.4133 | 1235282.7598
111 | 2618983.8364 | 1235265.535
112 | 2618985.0746 | 1235263.6679
113 | 2618996.789 | 1235243.6917
114 | 2619020.8236 | 1235293.6234
115 | 2619020.7395 | 1235293.7511
116 | 2619009.9553 | 1235310.1392
117 | 2619007.975 | 1235313.1486
118 | 2618998.753 | 1235327.1628
119 | 2619017.2885 | 1235364.5909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1