## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_981-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_981-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_981-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_981-1_0_6_node_103 | 0.4 | n |  | TRUE
4 | bus_LV_981-1_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_981-1_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_981-1_0_6_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_981-1_0_6_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_981-1_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_981-1_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_981-1_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_981-1_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_981-1_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_981-1_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_981-1_0_6_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_981-1_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_981-1_0_6_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_981-1_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_981-1_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_981-1_0_6_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_981-1_0_6_node_87 | 0.4 | n |  | TRUE
21 | bus_LV_981-1_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_981-1_0_6_node_85 | 0.4 | n |  | TRUE
23 | bus_LV_981-1_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_981-1_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_981-1_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_981-1_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_981-1_0_6_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_981-1_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_981-1_0_6_node_96 | 0.4 | n |  | TRUE
30 | bus_LV_981-1_0_6_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_981-1_0_6_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_981-1_0_6_node_97 | 0.4 | n |  | TRUE
33 | bus_LV_981-1_0_6_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_981-1_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_981-1_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_981-1_0_6_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_981-1_0_6_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_981-1_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_981-1_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_981-1_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_981-1_0_6_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_981-1_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_981-1_0_6_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_981-1_0_6_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_981-1_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_981-1_0_6_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_981-1_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_981-1_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_981-1_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_981-1_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_981-1_0_6_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_981-1_0_6_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_981-1_0_6_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_981-1_0_6_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_981-1_0_6_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_981-1_0_6_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_981-1_0_6_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_981-1_0_6_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_981-1_0_6_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_981-1_0_6_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_981-1_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_981-1_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_981-1_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_981-1_0_6_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_981-1_0_6_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_981-1_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_981-1_0_6_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_981-1_0_6_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_981-1_0_6_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_981-1_0_6_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_981-1_0_6_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_981-1_0_6_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_981-1_0_6_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_981-1_0_6_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_981-1_0_6_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_981-1_0_6_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_981-1_0_6_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_981-1_0_6_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_981-1_0_6_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_981-1_0_6_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_981-1_0_6_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_981-1_0_6_node_105 | 0.4 | n |  | TRUE
83 | bus_LV_981-1_0_6_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_981-1_0_6_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_981-1_0_6_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_981-1_0_6_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_981-1_0_6_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_981-1_0_6_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_981-1_0_6_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_981-1_0_6_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_981-1_0_6_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_981-1_0_6_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_981-1_0_6_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_981-1_0_6_node_101 | 0.4 | n |  | TRUE
95 | bus_LV_981-1_0_6_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_981-1_0_6_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_981-1_0_6_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_981-1_0_6_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_981-1_0_6_node_92 | 0.4 | n |  | TRUE
100 | bus_LV_981-1_0_6_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_981-1_0_6_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_981-1_0_6_node_99 | 0.4 | n |  | TRUE
103 | bus_MV_479_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_981-1_0_6_load_0 | 0 | 0.014879 | 0.003729 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_981-1_0_6_load_1 | 1 | 0.015799 | 0.0039595 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_981-1_0_6_load_103 | 3 | 0.0042679 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_981-1_0_6_load_3 | 4 | 0.0082455 | 0.0020665 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_981-1_0_6_load_22 | 6 | 0.020296 | 0.0050867 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_981-1_0_6_load_5 | 8 | 0.0068521 | 0.0017173 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_981-1_0_6_load_6 | 9 | 0.0011608 | 0.00029093 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_981-1_0_6_load_7 | 10 | 0.0059638 | 0.0014947 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_981-1_0_6_load_8 | 11 | 0.0084052 | 0.0021065 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_981-1_0_6_load_10 | 13 | 0.060146 | 0.015074 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_981-1_0_6_load_17 | 16 | 0.0049674 | 0.001245 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_981-1_0_6_load_13 | 18 | 0.0080703 | 0.0020226 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_981-1_0_6_load_87 | 20 | 0.0052235 | 0.0013091 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_981-1_0_6_load_85 | 22 | 0.0006112 | 0.00015318 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_981-1_0_6_load_14 | 24 | 0.050667 | 0.012698 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_981-1_0_6_load_15 | 25 | 0.010637 | 0.0026659 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_981-1_0_6_load_18 | 26 | 0.0038179 | 0.00095685 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_981-1_0_6_load_78 | 27 | 0.0035808 | 0.00089743 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_981-1_0_6_load_96 | 29 | 0.0059678 | 0.0014957 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_981-1_0_6_load_93 | 30 | 0.0033796 | 0.00084701 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_981-1_0_6_load_79 | 31 | 0.00057715 | 0.00014465 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_981-1_0_6_load_97 | 32 | 0.0045758 | 0.0011468 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_981-1_0_6_load_23 | 34 | 0.018553 | 0.0046499 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_981-1_0_6_load_24 | 35 | 0.018559 | 0.0046514 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_981-1_0_6_load_104 | 36 | 0.03607 | 0.00904 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_981-1_0_6_load_102 | 37 | 0.00072817 | 0.0001825 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_981-1_0_6_load_28 | 38 | 0.0005046 | 0.00012647 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_981-1_0_6_load_29 | 39 | 0.0019293 | 0.00048354 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_981-1_0_6_load_31 | 40 | 0.00091733 | 0.00022991 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_981-1_0_6_load_106 | 43 | 0.0007731 | 0.00019376 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_981-1_0_6_load_75 | 46 | 0.00026072 | 6.5343e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_981-1_0_6_load_35 | 47 | 0.0015195 | 0.00038083 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_981-1_0_6_load_37 | 49 | 0.0013933 | 0.0003492 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_981-1_0_6_load_38 | 50 | 0.00053288 | 0.00013355 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_981-1_0_6_load_40 | 52 | 0.00044853 | 0.00011241 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_981-1_0_6_load_41 | 53 | 0.0011295 | 0.00028309 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_981-1_0_6_load_42 | 54 | 0.002166 | 0.00054285 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_981-1_0_6_load_66 | 57 | 0.00053797 | 0.00013483 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_981-1_0_6_load_64 | 58 | 0.0029537 | 0.00074028 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_981-1_0_6_load_67 | 59 | 0.0035932 | 0.00090055 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_981-1_0_6_load_44 | 60 | 0.0018765 | 0.00047029 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_981-1_0_6_load_45 | 61 | 0.00028655 | 7.1815e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_981-1_0_6_load_46 | 62 | 0.00035051 | 8.7847e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_981-1_0_6_load_47 | 63 | 0.0008966 | 0.00022471 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_981-1_0_6_load_48 | 64 | 0.00066268 | 0.00016608 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_981-1_0_6_load_54 | 65 | 0.0014091 | 0.00035316 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_981-1_0_6_load_57 | 66 | 0.00091499 | 0.00022932 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_981-1_0_6_load_58 | 68 | 0.0024769 | 0.00062078 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_981-1_0_6_load_49 | 69 | 0.0016852 | 0.00042234 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_981-1_0_6_load_52 | 71 | 0.0028284 | 0.00070888 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_981-1_0_6_load_53 | 72 | 0.0021905 | 0.00054898 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_981-1_0_6_load_55 | 73 | 0.00066917 | 0.00016771 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_981-1_0_6_load_56 | 74 | 0.0036727 | 0.00092047 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_981-1_0_6_load_89 | 75 | 0.0015846 | 0.00039715 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_981-1_0_6_load_88 | 76 | 0.0033301 | 0.00083461 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_981-1_0_6_load_59 | 77 | 0.00094668 | 0.00023726 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_981-1_0_6_load_60 | 78 | 0.0019816 | 0.00049664 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_981-1_0_6_load_61 | 79 | 0.00062452 | 0.00015652 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_981-1_0_6_load_105 | 82 | 0.0018486 | 0.00046329 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_981-1_0_6_load_68 | 83 | 0.00059369 | 0.00014879 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_981-1_0_6_load_70 | 85 | 0.00018424 | 4.6175e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_981-1_0_6_load_71 | 86 | 0.00024884 | 6.2366e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_981-1_0_6_load_77 | 88 | 0.00026504 | 6.6424e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_981-1_0_6_load_72 | 89 | 0.00060083 | 0.00015058 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_981-1_0_6_load_73 | 90 | 0.00077514 | 0.00019427 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_981-1_0_6_load_80 | 91 | 0.00098187 | 0.00024608 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_981-1_0_6_load_81 | 92 | 0.011094 | 0.0027805 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_981-1_0_6_load_101 | 94 | 0.0012047 | 0.00030191 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_981-1_0_6_load_83 | 96 | 0.00073459 | 0.00018411 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_981-1_0_6_load_84 | 97 | 0.00093417 | 0.00023412 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_981-1_0_6_load_91 | 98 | 0.0034406 | 0.00086229 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_981-1_0_6_load_92 | 99 | 0.0014123 | 0.00035395 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_981-1_0_6_load_94 | 100 | 0.0017852 | 0.00044742 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_981-1_0_6_load_98 | 101 | 0.00096954 | 0.00024299 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_981-1_0_6_load_99 | 102 | 0.0030494 | 0.00076425 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_981-1_0_6_line_0 |  | 0 | 1 | 0.012005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_981-1_0_6_line_1 |  | 0 | 2 | 0.078322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_981-1_0_6_line_2 |  | 1 | 3 | 0.26114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_981-1_0_6_line_3 |  | 2 | 4 | 0.019987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_981-1_0_6_line_4 |  | 4 | 5 | 0.046771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_981-1_0_6_line_5 |  | 5 | 6 | 0.02056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_981-1_0_6_line_6 |  | 6 | 7 | 0.020977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_981-1_0_6_line_7 |  | 7 | 19 | 0.053956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_981-1_0_6_line_8 |  | 8 | 9 | 0.024692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_981-1_0_6_line_9 |  | 8 | 10 | 0.059502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_981-1_0_6_line_10 |  | 9 | 11 | 0.014644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_981-1_0_6_line_11 |  | 10 | 12 | 0.052115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_981-1_0_6_line_12 |  | 11 | 13 | 0.11053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_981-1_0_6_line_13 |  | 12 | 14 | 0.049173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_981-1_0_6_line_14 |  | 13 | 15 | 0.048461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_981-1_0_6_line_15 |  | 14 | 16 | 0.11228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_981-1_0_6_line_16 |  | 15 | 17 | 0.015258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_981-1_0_6_line_17 |  | 15 | 18 | 0.0034761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_981-1_0_6_line_18 |  | 17 | 19 | 0.015802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_981-1_0_6_line_19 |  | 17 | 20 | 0.042624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_981-1_0_6_line_20 |  | 18 | 21 | 0.027313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_981-1_0_6_line_21 |  | 20 | 22 | 0.044108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_981-1_0_6_line_22 |  | 21 | 23 | 0.034034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_981-1_0_6_line_23 |  | 21 | 24 | 0.049216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_981-1_0_6_line_24 |  | 22 | 96 | 0.001103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_981-1_0_6_line_25 |  | 23 | 28 | 0.014273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_981-1_0_6_line_26 |  | 23 | 29 | 0.033412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_981-1_0_6_line_27 |  | 24 | 25 | 0.052475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_981-1_0_6_line_28 |  | 26 | 27 | 0.020322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_981-1_0_6_line_29 |  | 27 | 31 | 0.032128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_981-1_0_6_line_30 |  | 28 | 30 | 0.045758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_981-1_0_6_line_31 |  | 29 | 32 | 0.039789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_981-1_0_6_line_32 |  | 30 | 33 | 0.040009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_981-1_0_6_line_33 |  | 31 | 91 | 0.015055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_981-1_0_6_line_34 |  | 32 | 101 | 0.032682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_981-1_0_6_line_35 |  | 33 | 98 | 0.014737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_981-1_0_6_line_36 |  | 33 | 99 | 0.10819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_981-1_0_6_line_37 |  | 33 | 76 | 0.032469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_981-1_0_6_line_38 |  | 34 | 35 | 0.017152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_981-1_0_6_line_39 |  | 34 | 36 | 0.23531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_981-1_0_6_line_40 |  | 36 | 37 | 0.11508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_981-1_0_6_line_41 |  | 37 | 95 | 0.083728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_981-1_0_6_line_42 |  | 38 | 39 | 0.012051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_981-1_0_6_line_43 |  | 39 | 40 | 0.015468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_981-1_0_6_line_44 |  | 40 | 41 | 0.041547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_981-1_0_6_line_45 |  | 41 | 45 | 0.048201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_981-1_0_6_line_46 |  | 42 | 43 | 0.090211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_981-1_0_6_line_47 |  | 42 | 44 | 0.066873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_981-1_0_6_line_48 |  | 44 | 46 | 0.012016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_981-1_0_6_line_49 |  | 45 | 47 | 0.016035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_981-1_0_6_line_50 |  | 46 | 87 | 0.015986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_981-1_0_6_line_51 |  | 47 | 48 | 0.026187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_981-1_0_6_line_52 |  | 48 | 49 | 0.03714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_981-1_0_6_line_53 |  | 49 | 50 | 0.0092373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_981-1_0_6_line_54 |  | 50 | 51 | 0.079635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_981-1_0_6_line_55 |  | 51 | 52 | 0.022605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_981-1_0_6_line_56 |  | 52 | 53 | 0.030975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_981-1_0_6_line_57 |  | 53 | 54 | 0.070128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_981-1_0_6_line_58 |  | 54 | 55 | 0.019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_981-1_0_6_line_59 |  | 55 | 56 | 0.023181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_981-1_0_6_line_60 |  | 55 | 57 | 0.013203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_981-1_0_6_line_61 |  | 56 | 58 | 0.01516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_981-1_0_6_line_62 |  | 57 | 59 | 0.017792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_981-1_0_6_line_63 |  | 58 | 80 | 0.01474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_981-1_0_6_line_64 |  | 59 | 83 | 0.023269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_981-1_0_6_line_65 |  | 60 | 61 | 0.010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_981-1_0_6_line_66 |  | 60 | 62 | 0.016243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_981-1_0_6_line_67 |  | 61 | 63 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_981-1_0_6_line_68 |  | 62 | 64 | 0.0038917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_981-1_0_6_line_69 |  | 63 | 65 | 0.0016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_981-1_0_6_line_70 |  | 64 | 66 | 0.0064705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_981-1_0_6_line_71 |  | 65 | 67 | 0.014683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_981-1_0_6_line_72 |  | 66 | 68 | 0.011689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_981-1_0_6_line_73 |  | 67 | 69 | 0.014411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_981-1_0_6_line_74 |  | 68 | 77 | 0.0022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_981-1_0_6_line_75 |  | 69 | 70 | 0.059562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_981-1_0_6_line_76 |  | 70 | 71 | 0.021397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_981-1_0_6_line_77 |  | 70 | 72 | 0.016249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_981-1_0_6_line_78 |  | 71 | 73 | 0.11324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_981-1_0_6_line_79 |  | 73 | 74 | 0.044333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_981-1_0_6_line_80 |  | 74 | 75 | 0.058373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_981-1_0_6_line_81 |  | 75 | 76 | 0.0014071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_981-1_0_6_line_82 |  | 77 | 78 | 0.010777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_981-1_0_6_line_83 |  | 78 | 79 | 0.025323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_981-1_0_6_line_84 |  | 79 | 80 | 0.0073648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_981-1_0_6_line_85 |  | 80 | 81 | 0.018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_981-1_0_6_line_86 |  | 81 | 82 | 0.020957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_981-1_0_6_line_87 |  | 83 | 84 | 0.068405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_981-1_0_6_line_88 |  | 84 | 85 | 0.059015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_981-1_0_6_line_89 |  | 84 | 86 | 0.068074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_981-1_0_6_line_90 |  | 85 | 87 | 0.057734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_981-1_0_6_line_91 |  | 86 | 88 | 0.0067541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_981-1_0_6_line_92 |  | 87 | 89 | 0.038363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_981-1_0_6_line_93 |  | 89 | 90 | 0.016999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_981-1_0_6_line_94 |  | 91 | 92 | 0.044245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_981-1_0_6_line_95 |  | 92 | 93 | 0.02625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_981-1_0_6_line_96 |  | 93 | 94 | 0.012738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_981-1_0_6_line_97 |  | 94 | 95 | 0.037565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_981-1_0_6_line_98 |  | 95 | 97 | 0.032436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_981-1_0_6_line_99 |  | 96 | 97 | 0.042776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_981-1_0_6_line_100 |  | 99 | 100 | 0.048038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_981-1_0_6_line_101 |  | 101 | 102 | 0.011351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_981-1_0_6_trafo_87 | 0.63 MVA 20/0.4 kV | 103 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2620040.4714 | 1236652.7885 | 2620050.456 | 1236646.1226
1 | 2619975.3323 | 1236696.2772 | 2620040.4714 | 1236652.7885
2 | 2620050.456 | 1236646.1226 | 2620288.148 | 1236537.9763
3 | 2619975.3323 | 1236696.2772 | 2619964.9424 | 1236701.3678 | 2619959.8181 | 1236694.6898
4 | 2619931.3452 | 1236657.5838 | 2619959.8181 | 1236694.6898
5 | 2619931.3452 | 1236657.5838 | 2619919.1094 | 1236641.0609
6 | 2619906.6254 | 1236624.2028 | 2619919.1094 | 1236641.0609
7 | 2619865.262 | 1236633.3593 | 2619897.6249 | 1236611.9875 | 2619906.6254 | 1236624.2028
8 | 2619957.9524 | 1236806.2974 | 2619943.0169 | 1236786.6347
9 | 2619957.9524 | 1236806.2974 | 2619993.944 | 1236853.6803
10 | 2619943.0169 | 1236786.6347 | 2619934.1588 | 1236774.9731
11 | 2620025.4681 | 1236895.1793 | 2620012.1058 | 1236877.5902 | 2619993.944 | 1236853.6803
12 | 2619867.3024 | 1236686.9568 | 2619934.1588 | 1236774.9731
13 | 2619996.8945 | 1236935.1969 | 2620019.219 | 1236904.1527 | 2620025.4681 | 1236895.1793
14 | 2619837.9897 | 1236648.3666 | 2619867.3024 | 1236686.9568
15 | 2619996.8945 | 1236935.1969 | 2619928.4504 | 1236846.1953
16 | 2619837.9897 | 1236648.3666 | 2619851.4059 | 1236641.0289
17 | 2619837.9897 | 1236648.3666 | 2619834.989 | 1236650.1214
18 | 2619851.4059 | 1236641.0289 | 2619865.262 | 1236633.3593
19 | 2619851.4059 | 1236641.0289 | 2619828.7342 | 1236604.9343
20 | 2619811.4118 | 1236663.9099 | 2619834.989 | 1236650.1214
21 | 2619828.7342 | 1236604.9343 | 2619805.2733 | 1236567.5831
22 | 2619782.1891 | 1236664.8467 | 2619786.501 | 1236662.7597 | 2619791.2839 | 1236662.4087 | 2619795.8565 | 1236663.8359 | 2619799.584 | 1236666.8502 | 2619801.0882 | 1236669.5568 | 2619811.4118 | 1236663.9099
23 | 2619811.4118 | 1236663.9099 | 2619813.9524 | 1236668.9214 | 2619811.7235 | 1236677.108 | 2619813.6338 | 1236691.9012 | 2619818.1792 | 1236703.7792 | 2619822.7705 | 1236709.6823
24 | 2619804.6866 | 1236566.6491 | 2619805.2733 | 1236567.5831
25 | 2619777.2745 | 1236677.5382 | 2619777.2373 | 1236672.7796 | 2619778.9544 | 1236668.3381 | 2619782.1891 | 1236664.8467
26 | 2619782.1891 | 1236664.8467 | 2619775.7482 | 1236656.4201 | 2619769.6966 | 1236646.9831 | 2619763.0858 | 1236637.4571
27 | 2619822.7705 | 1236709.6823 | 2619854.9872 | 1236751.1037
28 | 2619773.4609 | 1236642.6611 | 2619761.9886 | 1236625.8874
29 | 2619746.8524 | 1236597.631 | 2619756.9215 | 1236618.4787 | 2619761.9886 | 1236625.8874
30 | 2619777.2745 | 1236677.5382 | 2619733.1112 | 1236689.5133
31 | 2619763.0858 | 1236637.4571 | 2619759.1019 | 1236631.7163 | 2619748.2093 | 1236612.7686 | 2619743.3519 | 1236602.9601
32 | 2619695.164 | 1236702.0368 | 2619715.557 | 1236694.2773 | 2619726.5601 | 1236691.2896 | 2619733.1112 | 1236689.5133
33 | 2619740.3049 | 1236584.0748 | 2619746.8524 | 1236597.631
34 | 2619743.3519 | 1236602.9601 | 2619738.5141 | 1236593.191 | 2619729.293 | 1236573.4586
35 | 2619695.164 | 1236702.0368 | 2619702.6801 | 1236714.7129
36 | 2619695.164 | 1236702.0368 | 2619689.7067 | 1236693.5802 | 2619656.3584 | 1236660.8611 | 2619641.5222 | 1236649.2161 | 2619613.6859 | 1236632.3526
37 | 2619695.164 | 1236702.0368 | 2619663.8091 | 1236710.4688
38 | 2620025.8555 | 1236287.0993 | 2620037.3683 | 1236299.8127
39 | 2619799.0849 | 1236349.9223 | 2620025.8555 | 1236287.0993
40 | 2619719.1399 | 1236432.6959 | 2619799.0849 | 1236349.9223
41 | 2619764.1814 | 1236503.2763 | 2619719.1399 | 1236432.6959
42 | 2619122.9018 | 1236677.4055 | 2619133.4741 | 1236683.1886
43 | 2619133.4741 | 1236683.1886 | 2619140.989 | 1236687.2993 | 2619143.5198 | 1236693.1555 | 2619143.4755 | 1236693.6765
44 | 2619163.3181 | 1236726.5619 | 2619142.4584 | 1236705.6264 | 2619143.4755 | 1236693.6765
45 | 2619163.3181 | 1236726.5619 | 2619183.0543 | 1236739.2777 | 2619204.8737 | 1236751.122
46 | 2619176.8058 | 1236661.4652 | 2619175.2986 | 1236652.5549 | 2619167.9361 | 1236641.0797 | 2619129.7242 | 1236606.9803 | 2619118.1858 | 1236595.2694
47 | 2619179.7751 | 1236568.8066 | 2619166.9567 | 1236573.9797 | 2619118.1858 | 1236595.2694
48 | 2619179.7751 | 1236568.8066 | 2619190.9157 | 1236564.3056
49 | 2619204.8737 | 1236751.122 | 2619220.3793 | 1236755.2086
50 | 2619205.7377 | 1236558.3171 | 2619190.9157 | 1236564.3056
51 | 2619245.7018 | 1236761.8826 | 2619220.3793 | 1236755.2086
52 | 2619245.7018 | 1236761.8826 | 2619265.8951 | 1236766.484 | 2619280.6096 | 1236773.7917
53 | 2619280.6096 | 1236773.7917 | 2619288.0518 | 1236779.2636
54 | 2619348.5716 | 1236823.0979 | 2619339.7602 | 1236824.6258 | 2619333.9603 | 1236823.6842 | 2619327.9597 | 1236821.6635 | 2619322.1459 | 1236818.0201 | 2619301.2826 | 1236793.782 | 2619288.0518 | 1236779.2636
55 | 2619348.5716 | 1236823.0979 | 2619353.0274 | 1236816.2526 | 2619355.1136 | 1236807.5318 | 2619354.789 | 1236802.0715
56 | 2619345.8982 | 1236772.5532 | 2619347.2311 | 1236779.2888 | 2619354.6258 | 1236799.3252 | 2619354.789 | 1236802.0715
57 | 2619345.8982 | 1236772.5532 | 2619345.199 | 1236769.0203 | 2619345.3566 | 1236720.5132 | 2619347.4587 | 1236709.2353 | 2619350.3008 | 1236705.3977 | 2619351.8617 | 1236704.56
58 | 2619370.3929 | 1236699.3037 | 2619356.9932 | 1236701.8061 | 2619351.8617 | 1236704.56
59 | 2619370.3929 | 1236699.3037 | 2619378.6903 | 1236720.9551
60 | 2619370.3929 | 1236699.3037 | 2619367.9639 | 1236686.3256
61 | 2619378.6903 | 1236720.9551 | 2619382.0137 | 1236729.6268 | 2619385.2442 | 1236734.5315
62 | 2619367.9639 | 1236686.3256 | 2619365.7227 | 1236674.3509 | 2619362.0803 | 1236670.085
63 | 2619393.3518 | 1236746.841 | 2619385.2442 | 1236734.5315
64 | 2619362.0803 | 1236670.085 | 2619346.971 | 1236652.3892
65 | 2619469.4586 | 1236779.2318 | 2619479.4085 | 1236782.7846
66 | 2619469.4586 | 1236779.2318 | 2619463.0782 | 1236776.9536 | 2619453.6865 | 1236775.7564
67 | 2619492.8828 | 1236792.1462 | 2619479.5448 | 1236782.8332 | 2619479.4085 | 1236782.7846
68 | 2619449.826 | 1236775.2643 | 2619453.6865 | 1236775.7564
69 | 2619494.2203 | 1236793.0801 | 2619492.8828 | 1236792.1462
70 | 2619443.4074 | 1236774.446 | 2619449.826 | 1236775.2643
71 | 2619506.1297 | 1236801.6652 | 2619500.1824 | 1236797.243 | 2619494.2203 | 1236793.0801
72 | 2619443.4074 | 1236774.446 | 2619440.1634 | 1236774.0325 | 2619432.6973 | 1236770.1415
73 | 2619506.1297 | 1236801.6652 | 2619518.2883 | 1236806.1522 | 2619519.7332 | 1236806.2782
74 | 2619430.6658 | 1236769.0827 | 2619432.6973 | 1236770.1415
75 | 2619578.6885 | 1236800.6359 | 2619567.4442 | 1236803.434 | 2619532.0615 | 1236807.3536 | 2619519.7332 | 1236806.2782
76 | 2619578.6885 | 1236800.6359 | 2619589.5184 | 1236788.1193 | 2619591.1341 | 1236783.5515
77 | 2619578.6885 | 1236800.6359 | 2619593.1043 | 1236808.1347
78 | 2619591.1341 | 1236783.5515 | 2619595.269 | 1236771.8616 | 2619595.0383 | 1236761.4877 | 2619594.6163 | 1236742.5747 | 2619590.1818 | 1236724.4823 | 2619573.5294 | 1236683.0465 | 2619576.3597 | 1236675.2825
79 | 2619576.3597 | 1236675.2825 | 2619577.0109 | 1236673.4965 | 2619584.2212 | 1236668.8951 | 2619593.8022 | 1236670.4164 | 2619606.8071 | 1236679.8762 | 2619612.9876 | 1236685.105
80 | 2619662.4504 | 1236710.8342 | 2619645.5187 | 1236710.6226 | 2619637.2958 | 1236705.6703 | 2619612.9876 | 1236685.105
81 | 2619663.8091 | 1236710.4688 | 2619662.4504 | 1236710.8342 | 2619662.4504 | 1236710.8342
82 | 2619430.6658 | 1236769.0827 | 2619421.1084 | 1236764.1018
83 | 2619421.1084 | 1236764.1018 | 2619420.5636 | 1236763.8179 | 2619399.6003 | 1236750.7393
84 | 2619393.3518 | 1236746.841 | 2619399.6003 | 1236750.7393
85 | 2619393.3518 | 1236746.841 | 2619386.3866 | 1236745.9511 | 2619379.9451 | 1236746.8751 | 2619376.1611 | 1236749.5089
86 | 2619374.459 | 1236770.394 | 2619376.1611 | 1236749.5089
87 | 2619302.5527 | 1236600.367 | 2619346.971 | 1236652.3892
88 | 2619302.5527 | 1236600.367 | 2619257.9672 | 1236561.7028
89 | 2619302.5527 | 1236600.367 | 2619279.9762 | 1236536.1459
90 | 2619205.7377 | 1236558.3171 | 2619221.4577 | 1236551.975 | 2619233.3086 | 1236548.8669 | 2619243.1536 | 1236550.7221 | 2619249.9199 | 1236554.7242 | 2619257.9672 | 1236561.7028
91 | 2619279.9762 | 1236536.1459 | 2619277.7362 | 1236529.774
92 | 2619205.7377 | 1236558.3171 | 2619212.4853 | 1236568.1116 | 2619233.1965 | 1236584.5934
93 | 2619243.1323 | 1236597.1395 | 2619242.2944 | 1236591.8335 | 2619233.1965 | 1236584.5934
94 | 2619740.3049 | 1236584.0748 | 2619735.3702 | 1236573.8576 | 2619725.3362 | 1236544.5841 | 2619724.6941 | 1236542.7393
95 | 2619716.0652 | 1236517.9481 | 2619724.6941 | 1236542.7393
96 | 2619716.0652 | 1236517.9481 | 2619728.2495 | 1236514.2328
97 | 2619764.1814 | 1236503.2763 | 2619728.2495 | 1236514.2328
98 | 2619764.1814 | 1236503.2763 | 2619781.7179 | 1236530.5628
99 | 2619804.6866 | 1236566.6491 | 2619795.0579 | 1236551.3195 | 2619781.7179 | 1236530.5628
100 | 2619573.9277 | 1236605.5623 | 2619578.016 | 1236609.427 | 2619598.6936 | 1236623.2702 | 2619613.6859 | 1236632.3526
101 | 2619729.293 | 1236573.4586 | 2619728.6949 | 1236572.1789 | 2619725.6049 | 1236562.7333

## bus_geodata
| x | y | coords
0 | 2620040.4714 | 1236652.7885
1 | 2620050.456 | 1236646.1226
2 | 2619975.3323 | 1236696.2772
3 | 2620288.148 | 1236537.9763
4 | 2619959.8181 | 1236694.6898
5 | 2619931.3452 | 1236657.5838
6 | 2619919.1094 | 1236641.0609
7 | 2619906.6254 | 1236624.2028
8 | 2619957.9524 | 1236806.2974
9 | 2619943.0169 | 1236786.6347
10 | 2619993.944 | 1236853.6803
11 | 2619934.1588 | 1236774.9731
12 | 2620025.4681 | 1236895.1793
13 | 2619867.3024 | 1236686.9568
14 | 2619996.8945 | 1236935.1969
15 | 2619837.9897 | 1236648.3666
16 | 2619928.4504 | 1236846.1953
17 | 2619851.4059 | 1236641.0289
18 | 2619834.989 | 1236650.1214
19 | 2619865.262 | 1236633.3593
20 | 2619828.7342 | 1236604.9343
21 | 2619811.4118 | 1236663.9099
22 | 2619805.2733 | 1236567.5831
23 | 2619782.1891 | 1236664.8467
24 | 2619822.7705 | 1236709.6823
25 | 2619854.9872 | 1236751.1037
26 | 2619773.4609 | 1236642.6611
27 | 2619761.9886 | 1236625.8874
28 | 2619777.2745 | 1236677.5382
29 | 2619763.0858 | 1236637.4571
30 | 2619733.1112 | 1236689.5133
31 | 2619746.8524 | 1236597.631
32 | 2619743.3519 | 1236602.9601
33 | 2619695.164 | 1236702.0368
34 | 2620025.8555 | 1236287.0993
35 | 2620037.3683 | 1236299.8127
36 | 2619799.0849 | 1236349.9223
37 | 2619719.1399 | 1236432.6959
38 | 2619122.9018 | 1236677.4055
39 | 2619133.4741 | 1236683.1886
40 | 2619143.4755 | 1236693.6765
41 | 2619163.3181 | 1236726.5619
42 | 2619118.1858 | 1236595.2694
43 | 2619176.8058 | 1236661.4652
44 | 2619179.7751 | 1236568.8066
45 | 2619204.8737 | 1236751.122
46 | 2619190.9157 | 1236564.3056
47 | 2619220.3793 | 1236755.2086
48 | 2619245.7018 | 1236761.8826
49 | 2619280.6096 | 1236773.7917
50 | 2619288.0518 | 1236779.2636
51 | 2619348.5716 | 1236823.0979
52 | 2619354.789 | 1236802.0715
53 | 2619345.8982 | 1236772.5532
54 | 2619351.8617 | 1236704.56
55 | 2619370.3929 | 1236699.3037
56 | 2619378.6903 | 1236720.9551
57 | 2619367.9639 | 1236686.3256
58 | 2619385.2442 | 1236734.5315
59 | 2619362.0803 | 1236670.085
60 | 2619469.4586 | 1236779.2318
61 | 2619479.4085 | 1236782.7846
62 | 2619453.6865 | 1236775.7564
63 | 2619492.8828 | 1236792.1462
64 | 2619449.826 | 1236775.2643
65 | 2619494.2203 | 1236793.0801
66 | 2619443.4074 | 1236774.446
67 | 2619506.1297 | 1236801.6652
68 | 2619432.6973 | 1236770.1415
69 | 2619519.7332 | 1236806.2782
70 | 2619578.6885 | 1236800.6359
71 | 2619591.1341 | 1236783.5515
72 | 2619593.1043 | 1236808.1347
73 | 2619576.3597 | 1236675.2825
74 | 2619612.9876 | 1236685.105
75 | 2619662.4504 | 1236710.8342
76 | 2619663.8091 | 1236710.4688
77 | 2619430.6658 | 1236769.0827
78 | 2619421.1084 | 1236764.1018
79 | 2619399.6003 | 1236750.7393
80 | 2619393.3518 | 1236746.841
81 | 2619376.1611 | 1236749.5089
82 | 2619374.459 | 1236770.394
83 | 2619346.971 | 1236652.3892
84 | 2619302.5527 | 1236600.367
85 | 2619257.9672 | 1236561.7028
86 | 2619279.9762 | 1236536.1459
87 | 2619205.7377 | 1236558.3171
88 | 2619277.7362 | 1236529.774
89 | 2619233.1965 | 1236584.5934
90 | 2619243.1323 | 1236597.1395
91 | 2619740.3049 | 1236584.0748
92 | 2619724.6941 | 1236542.7393
93 | 2619716.0652 | 1236517.9481
94 | 2619728.2495 | 1236514.2328
95 | 2619764.1814 | 1236503.2763
96 | 2619804.6866 | 1236566.6491
97 | 2619781.7179 | 1236530.5628
98 | 2619702.6801 | 1236714.7129
99 | 2619613.6859 | 1236632.3526
100 | 2619573.9277 | 1236605.5623
101 | 2619729.293 | 1236573.4586
102 | 2619725.6049 | 1236562.7333
103 | 2619851.4059 | 1236641.0289

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1