## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_981-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_981-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_981-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_981-3_0_4_node_82 | 0.4 | n |  | TRUE
4 | bus_LV_981-3_0_4_node_109 | 0.4 | n |  | TRUE
5 | bus_LV_981-3_0_4_node_102 | 0.4 | n |  | TRUE
6 | bus_LV_981-3_0_4_node_81 | 0.4 | n |  | TRUE
7 | bus_LV_981-3_0_4_node_101 | 0.4 | n |  | TRUE
8 | bus_LV_981-3_0_4_node_103 | 0.4 | n |  | TRUE
9 | bus_LV_981-3_0_4_node_105 | 0.4 | n |  | TRUE
10 | bus_LV_981-3_0_4_node_104 | 0.4 | n |  | TRUE
11 | bus_LV_981-3_0_4_node_94 | 0.4 | n |  | TRUE
12 | bus_LV_981-3_0_4_node_95 | 0.4 | n |  | TRUE
13 | bus_LV_981-3_0_4_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_981-3_0_4_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_981-3_0_4_node_79 | 0.4 | n |  | TRUE
16 | bus_LV_981-3_0_4_node_3 | 0.4 | n |  | TRUE
17 | bus_LV_981-3_0_4_node_4 | 0.4 | n |  | TRUE
18 | bus_LV_981-3_0_4_node_5 | 0.4 | n |  | TRUE
19 | bus_LV_981-3_0_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_981-3_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_981-3_0_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_981-3_0_4_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_981-3_0_4_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_981-3_0_4_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_981-3_0_4_node_6 | 0.4 | n |  | TRUE
26 | bus_LV_981-3_0_4_node_7 | 0.4 | n |  | TRUE
27 | bus_LV_981-3_0_4_node_8 | 0.4 | n |  | TRUE
28 | bus_LV_981-3_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_981-3_0_4_node_9 | 0.4 | n |  | TRUE
30 | bus_LV_981-3_0_4_node_10 | 0.4 | n |  | TRUE
31 | bus_LV_981-3_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_981-3_0_4_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_981-3_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_981-3_0_4_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_981-3_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_981-3_0_4_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_981-3_0_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_981-3_0_4_node_11 | 0.4 | n |  | TRUE
39 | bus_LV_981-3_0_4_node_12 | 0.4 | n |  | TRUE
40 | bus_LV_981-3_0_4_node_13 | 0.4 | n |  | TRUE
41 | bus_LV_981-3_0_4_node_14 | 0.4 | n |  | TRUE
42 | bus_LV_981-3_0_4_node_15 | 0.4 | n |  | TRUE
43 | bus_LV_981-3_0_4_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_981-3_0_4_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_981-3_0_4_node_16 | 0.4 | n |  | TRUE
46 | bus_LV_981-3_0_4_node_17 | 0.4 | n |  | TRUE
47 | bus_LV_981-3_0_4_node_18 | 0.4 | n |  | TRUE
48 | bus_LV_981-3_0_4_node_19 | 0.4 | n |  | TRUE
49 | bus_LV_981-3_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_981-3_0_4_node_21 | 0.4 | n |  | TRUE
51 | bus_LV_981-3_0_4_node_23 | 0.4 | n |  | TRUE
52 | bus_LV_981-3_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_981-3_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_981-3_0_4_node_24 | 0.4 | n |  | TRUE
55 | bus_LV_981-3_0_4_node_25 | 0.4 | n |  | TRUE
56 | bus_LV_981-3_0_4_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_981-3_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_981-3_0_4_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_981-3_0_4_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_981-3_0_4_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_981-3_0_4_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_981-3_0_4_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_981-3_0_4_node_28 | 0.4 | n |  | TRUE
64 | bus_LV_981-3_0_4_node_29 | 0.4 | n |  | TRUE
65 | bus_LV_981-3_0_4_node_30 | 0.4 | n |  | TRUE
66 | bus_LV_981-3_0_4_node_31 | 0.4 | n |  | TRUE
67 | bus_LV_981-3_0_4_node_32 | 0.4 | n |  | TRUE
68 | bus_LV_981-3_0_4_node_33 | 0.4 | n |  | TRUE
69 | bus_LV_981-3_0_4_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_981-3_0_4_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_981-3_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_981-3_0_4_node_97 | 0.4 | n |  | TRUE
73 | bus_LV_981-3_0_4_node_96 | 0.4 | n |  | TRUE
74 | bus_LV_981-3_0_4_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_981-3_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_981-3_0_4_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_981-3_0_4_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_981-3_0_4_node_48 | 0.4 | n |  | TRUE
79 | bus_LV_981-3_0_4_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_981-3_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_981-3_0_4_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_981-3_0_4_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_981-3_0_4_node_55 | 0.4 | n |  | TRUE
84 | bus_LV_981-3_0_4_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_981-3_0_4_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_981-3_0_4_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_981-3_0_4_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_981-3_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_981-3_0_4_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_981-3_0_4_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_981-3_0_4_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_981-3_0_4_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_981-3_0_4_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_981-3_0_4_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_981-3_0_4_node_74 | 0.4 | n |  | TRUE
96 | bus_LV_981-3_0_4_node_107 | 0.4 | n |  | TRUE
97 | bus_LV_981-3_0_4_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_981-3_0_4_node_80 | 0.4 | n |  | TRUE
99 | bus_LV_981-3_0_4_node_92 | 0.4 | n |  | TRUE
100 | bus_LV_981-3_0_4_node_87 | 0.4 | n |  | TRUE
101 | bus_LV_981-3_0_4_node_88 | 0.4 | n |  | TRUE
102 | bus_LV_981-3_0_4_node_90 | 0.4 | n |  | TRUE
103 | bus_LV_981-3_0_4_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_981-3_0_4_node_91 | 0.4 | n |  | TRUE
105 | bus_LV_981-3_0_4_node_99 | 0.4 | n |  | TRUE
106 | bus_LV_981-3_0_4_node_108 | 0.4 | n |  | TRUE
107 | bus_LV_981-3_0_4_node_106 | 0.4 | n |  | TRUE
108 | bus_MV_479_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_981-3_0_4_load_0 | 0 | 0.0032466 | 0.00081367 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_981-3_0_4_load_1 | 1 | 0.0018327 | 0.00045932 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_981-3_0_4_load_2 | 2 | 0.0012393 | 0.00031061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_981-3_0_4_load_109 | 4 | 0.0063443 | 0.00159 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_981-3_0_4_load_101 | 7 | 0.0023508 | 0.00058917 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_981-3_0_4_load_103 | 8 | 0.0028463 | 0.00071335 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_981-3_0_4_load_104 | 10 | 0.0011207 | 0.00028087 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_981-3_0_4_load_94 | 11 | 0.001965 | 0.00049247 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_981-3_0_4_load_95 | 12 | 0.0032241 | 0.00080803 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_981-3_0_4_load_83 | 13 | 0.0015984 | 0.0004006 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_981-3_0_4_load_62 | 14 | 0.0012484 | 0.00031288 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_981-3_0_4_load_79 | 15 | 0.0053723 | 0.0013464 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_981-3_0_4_load_3 | 16 | 0.0073366 | 0.0018387 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_981-3_0_4_load_4 | 17 | 0.0016846 | 0.00042219 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_981-3_0_4_load_5 | 18 | 0.0025851 | 0.00064788 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_981-3_0_4_load_39 | 19 | 0.0015031 | 0.00037672 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_981-3_0_4_load_38 | 21 | 0.0041006 | 0.0010277 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_981-3_0_4_load_68 | 22 | 0.0068669 | 0.001721 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_981-3_0_4_load_6 | 25 | 0.0037434 | 0.00093819 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_981-3_0_4_load_7 | 26 | 0.0043969 | 0.001102 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_981-3_0_4_load_10 | 30 | 0.0061534 | 0.0015422 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_981-3_0_4_load_45 | 31 | 0.0075888 | 0.0019019 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_981-3_0_4_load_51 | 32 | 0.0027347 | 0.00068537 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_981-3_0_4_load_35 | 33 | 0.0039173 | 0.00098178 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_981-3_0_4_load_57 | 34 | 0.0063744 | 0.0015976 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_981-3_0_4_load_34 | 35 | 0.0039339 | 0.00098593 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_981-3_0_4_load_58 | 36 | 0.0074022 | 0.0018552 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_981-3_0_4_load_50 | 37 | 0.0033049 | 0.00082828 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_981-3_0_4_load_11 | 38 | 0.0017436 | 0.000437 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_981-3_0_4_load_12 | 39 | 0.0017471 | 0.00043786 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_981-3_0_4_load_14 | 41 | 0.0015305 | 0.00038357 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_981-3_0_4_load_15 | 42 | 0.0017369 | 0.0004353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_981-3_0_4_load_22 | 43 | 0.0016813 | 0.00042137 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_981-3_0_4_load_20 | 44 | 0.012859 | 0.0032227 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_981-3_0_4_load_16 | 45 | 0.0023328 | 0.00058465 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_981-3_0_4_load_17 | 46 | 0.0017129 | 0.00042929 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_981-3_0_4_load_18 | 47 | 0.006381 | 0.0015992 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_981-3_0_4_load_19 | 48 | 0.0011702 | 0.00029329 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_981-3_0_4_load_56 | 49 | 0.0021491 | 0.00053861 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_981-3_0_4_load_21 | 50 | 0.0078594 | 0.0019698 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_981-3_0_4_load_23 | 51 | 0.013029 | 0.0032652 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_981-3_0_4_load_43 | 52 | 0.0078143 | 0.0019585 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_981-3_0_4_load_44 | 53 | 0.0034795 | 0.00087204 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_981-3_0_4_load_24 | 54 | 0.0064441 | 0.0016151 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_981-3_0_4_load_25 | 55 | 0.0037473 | 0.00093917 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_981-3_0_4_load_66 | 58 | 0.013947 | 0.0034954 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_981-3_0_4_load_85 | 60 | 0.0026404 | 0.00066175 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_981-3_0_4_load_86 | 61 | 0.0037142 | 0.00093086 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_981-3_0_4_load_84 | 62 | 0.0093476 | 0.0023427 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_981-3_0_4_load_28 | 63 | 0.0034915 | 0.00087505 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_981-3_0_4_load_29 | 64 | 0.004609 | 0.0011551 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_981-3_0_4_load_30 | 65 | 0.0063855 | 0.0016003 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_981-3_0_4_load_31 | 66 | 0.0063905 | 0.0016016 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_981-3_0_4_load_32 | 67 | 0.0036095 | 0.00090462 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_981-3_0_4_load_33 | 68 | 0.0049463 | 0.0012397 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_981-3_0_4_load_37 | 69 | 0.0063763 | 0.0015981 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_981-3_0_4_load_36 | 70 | 0.0048796 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_981-3_0_4_load_97 | 72 | 0.0015397 | 0.00038588 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_981-3_0_4_load_96 | 73 | 0.0025332 | 0.00063487 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_981-3_0_4_load_98 | 74 | 0.0018088 | 0.00045333 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_981-3_0_4_load_53 | 75 | 0.0028412 | 0.00071208 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_981-3_0_4_load_47 | 76 | 0.0026572 | 0.00066596 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_981-3_0_4_load_54 | 77 | 0.0022533 | 0.00056474 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_981-3_0_4_load_48 | 78 | 0.0045134 | 0.0011312 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_981-3_0_4_load_52 | 79 | 0.0021998 | 0.00055132 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_981-3_0_4_load_61 | 80 | 0.0032065 | 0.00080362 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_981-3_0_4_load_49 | 81 | 0.0045134 | 0.0011312 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_981-3_0_4_load_60 | 82 | 0.0015164 | 0.00038004 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_981-3_0_4_load_89 | 84 | 0.0067088 | 0.0016814 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_981-3_0_4_load_59 | 85 | 0.0024581 | 0.00061605 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_981-3_0_4_load_63 | 86 | 0.0036204 | 0.00090736 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_981-3_0_4_load_64 | 87 | 0.0068885 | 0.0017264 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_981-3_0_4_load_70 | 89 | 0.027442 | 0.0068777 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_981-3_0_4_load_71 | 90 | 0.0040326 | 0.0010107 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_981-3_0_4_load_75 | 93 | 0.0018231 | 0.00045691 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_981-3_0_4_load_76 | 94 | 0.0034006 | 0.00085226 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_981-3_0_4_load_74 | 95 | 0.018095 | 0.0045349 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_981-3_0_4_load_107 | 96 | 0.0020679 | 0.00051827 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_981-3_0_4_load_92 | 99 | 0.0020999 | 0.00052628 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_981-3_0_4_load_87 | 100 | 0.0016704 | 0.00041864 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_981-3_0_4_load_88 | 101 | 0.0014875 | 0.0003728 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_981-3_0_4_load_90 | 102 | 0.0018014 | 0.00045148 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_981-3_0_4_load_93 | 103 | 0.0017137 | 0.00042949 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_981-3_0_4_load_91 | 104 | 0.001836 | 0.00046015 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_981-3_0_4_load_99 | 105 | 0.0020689 | 0.00051851 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_981-3_0_4_load_108 | 106 | 0.0018231 | 0.00045691 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_981-3_0_4_load_106 | 107 | 0.0018085 | 0.00045325 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_981-3_0_4_line_0 |  | 0 | 1 | 0.0010855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_981-3_0_4_line_1 |  | 1 | 2 | 0.010658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_981-3_0_4_line_2 |  | 2 | 11 | 0.010877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_981-3_0_4_line_3 |  | 3 | 4 | 0.020243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_981-3_0_4_line_4 |  | 3 | 5 | 0.020166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_981-3_0_4_line_5 |  | 3 | 6 | 0.045789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_981-3_0_4_line_6 |  | 5 | 8 | 0.02925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_981-3_0_4_line_7 |  | 5 | 7 | 0.017114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_981-3_0_4_line_8 |  | 6 | 13 | 0.032686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_981-3_0_4_line_9 |  | 6 | 15 | 0.042711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_981-3_0_4_line_10 |  | 8 | 9 | 0.012293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_981-3_0_4_line_11 |  | 9 | 10 | 0.019641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_981-3_0_4_line_12 |  | 11 | 14 | 0.0097298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_981-3_0_4_line_13 |  | 12 | 13 | 0.0091887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_981-3_0_4_line_14 |  | 14 | 83 | 0.040393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_981-3_0_4_line_15 |  | 15 | 98 | 0.018193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_981-3_0_4_line_16 |  | 16 | 17 | 0.021561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_981-3_0_4_line_17 |  | 17 | 18 | 0.035299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_981-3_0_4_line_18 |  | 18 | 22 | 0.0048246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_981-3_0_4_line_19 |  | 19 | 20 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_981-3_0_4_line_20 |  | 19 | 21 | 0.02432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_981-3_0_4_line_21 |  | 20 | 75 | 0.029197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_981-3_0_4_line_22 |  | 20 | 49 | 0.023404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_981-3_0_4_line_23 |  | 21 | 23 | 0.037154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_981-3_0_4_line_24 |  | 22 | 24 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_981-3_0_4_line_25 |  | 23 | 57 | 0.030094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_981-3_0_4_line_26 |  | 24 | 71 | 0.061013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_981-3_0_4_line_27 |  | 24 | 58 | 0.013933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_981-3_0_4_line_28 |  | 25 | 26 | 0.022967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_981-3_0_4_line_29 |  | 25 | 27 | 0.037517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_981-3_0_4_line_30 |  | 25 | 28 | 0.0785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_981-3_0_4_line_31 |  | 26 | 29 | 0.016022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_981-3_0_4_line_32 |  | 27 | 30 | 0.047518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_981-3_0_4_line_33 |  | 28 | 31 | 0.039381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_981-3_0_4_line_34 |  | 29 | 32 | 0.040982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_981-3_0_4_line_35 |  | 29 | 33 | 0.01416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_981-3_0_4_line_36 |  | 32 | 34 | 0.0029331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_981-3_0_4_line_37 |  | 33 | 35 | 0.020049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_981-3_0_4_line_38 |  | 34 | 41 | 0.0070789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_981-3_0_4_line_39 |  | 35 | 70 | 0.006719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_981-3_0_4_line_40 |  | 36 | 37 | 0.024044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_981-3_0_4_line_41 |  | 37 | 57 | 0.05524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_981-3_0_4_line_42 |  | 38 | 39 | 0.0061534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_981-3_0_4_line_43 |  | 38 | 40 | 0.04895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_981-3_0_4_line_44 |  | 39 | 41 | 0.015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_981-3_0_4_line_45 |  | 40 | 42 | 0.040283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_981-3_0_4_line_46 |  | 42 | 43 | 0.0014686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_981-3_0_4_line_47 |  | 43 | 44 | 0.040393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_981-3_0_4_line_48 |  | 44 | 50 | 0.0016037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_981-3_0_4_line_49 |  | 45 | 46 | 0.0016688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_981-3_0_4_line_50 |  | 45 | 47 | 0.011919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_981-3_0_4_line_51 |  | 46 | 48 | 0.040999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_981-3_0_4_line_52 |  | 48 | 49 | 0.0021234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_981-3_0_4_line_53 |  | 50 | 51 | 0.028371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_981-3_0_4_line_54 |  | 51 | 52 | 0.026473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_981-3_0_4_line_55 |  | 52 | 53 | 0.012431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_981-3_0_4_line_56 |  | 53 | 79 | 0.0086858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_981-3_0_4_line_57 |  | 54 | 55 | 0.014815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_981-3_0_4_line_58 |  | 55 | 56 | 0.039863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_981-3_0_4_line_59 |  | 56 | 58 | 0.022112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_981-3_0_4_line_60 |  | 56 | 59 | 0.024776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_981-3_0_4_line_61 |  | 57 | 76 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_981-3_0_4_line_62 |  | 59 | 60 | 0.041513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_981-3_0_4_line_63 |  | 59 | 61 | 0.013492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_981-3_0_4_line_64 |  | 59 | 62 | 0.016987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_981-3_0_4_line_65 |  | 60 | 72 | 0.019169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_981-3_0_4_line_66 |  | 63 | 64 | 0.0041359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_981-3_0_4_line_67 |  | 63 | 65 | 0.0072013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_981-3_0_4_line_68 |  | 64 | 66 | 0.011942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_981-3_0_4_line_69 |  | 65 | 67 | 0.0041507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_981-3_0_4_line_70 |  | 66 | 68 | 0.0085711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_981-3_0_4_line_71 |  | 67 | 69 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_981-3_0_4_line_72 |  | 69 | 70 | 0.0043379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_981-3_0_4_line_73 |  | 71 | 88 | 0.02567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_981-3_0_4_line_74 |  | 71 | 87 | 0.029404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_981-3_0_4_line_75 |  | 72 | 73 | 0.025147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_981-3_0_4_line_76 |  | 73 | 74 | 0.030194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_981-3_0_4_line_77 |  | 74 | 105 | 0.0061084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_981-3_0_4_line_78 |  | 75 | 77 | 0.037669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_981-3_0_4_line_79 |  | 76 | 78 | 0.03613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_981-3_0_4_line_80 |  | 77 | 83 | 0.032968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_981-3_0_4_line_81 |  | 77 | 84 | 0.061866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_981-3_0_4_line_82 |  | 78 | 81 | 0.014387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_981-3_0_4_line_83 |  | 79 | 80 | 0.011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_981-3_0_4_line_84 |  | 80 | 82 | 0.0072863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_981-3_0_4_line_85 |  | 82 | 85 | 0.014426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_981-3_0_4_line_86 |  | 83 | 85 | 0.018594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_981-3_0_4_line_87 |  | 84 | 100 | 0.010852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_981-3_0_4_line_88 |  | 86 | 87 | 0.031422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_981-3_0_4_line_89 |  | 88 | 97 | 0.002421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_981-3_0_4_line_90 |  | 89 | 90 | 0.036944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_981-3_0_4_line_91 |  | 89 | 91 | 0.03428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_981-3_0_4_line_92 |  | 91 | 92 | 0.053434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_981-3_0_4_line_93 |  | 92 | 93 | 0.025293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_981-3_0_4_line_94 |  | 92 | 94 | 0.016893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_981-3_0_4_line_95 |  | 92 | 95 | 0.066708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_981-3_0_4_line_96 |  | 93 | 96 | 0.0060743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_981-3_0_4_line_97 |  | 96 | 107 | 0.0061066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_981-3_0_4_line_98 |  | 97 | 98 | 0.038354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_981-3_0_4_line_99 |  | 97 | 99 | 0.010999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_981-3_0_4_line_100 |  | 99 | 104 | 0.0064741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_981-3_0_4_line_101 |  | 100 | 101 | 0.019158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_981-3_0_4_line_102 |  | 101 | 102 | 0.0054094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_981-3_0_4_line_103 |  | 102 | 103 | 0.0057814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_981-3_0_4_line_104 |  | 103 | 104 | 0.0058383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_981-3_0_4_line_105 |  | 105 | 106 | 0.0060757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_981-3_0_4_line_106 |  | 106 | 107 | 0.015399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_981-3_0_4_trafo_53 | 0.63 MVA 20/0.4 kV | 108 | 75 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2619533.7549 | 1235775.8224 | 2619533.1522 | 1235774.9196
1 | 2619527.2349 | 1235766.0557 | 2619533.1522 | 1235774.9196
2 | 2619521.1959 | 1235757.0095 | 2619527.2349 | 1235766.0557
3 | 2619616.9184 | 1235760.2217 | 2619630.8902 | 1235745.5365
4 | 2619637.8728 | 1235764.46 | 2619630.8902 | 1235745.5365
5 | 2619615.0349 | 1235702.569 | 2619630.8902 | 1235745.5365
6 | 2619637.8728 | 1235764.46 | 2619657.1895 | 1235742.4959
7 | 2619637.8728 | 1235764.46 | 2619643.4981 | 1235780.6234
8 | 2619615.0349 | 1235702.569 | 2619593.062 | 1235726.7672
9 | 2619615.0349 | 1235702.569 | 2619603.0016 | 1235661.5887
10 | 2619665.308 | 1235733.2647 | 2619657.1895 | 1235742.4959
11 | 2619665.308 | 1235733.2647 | 2619676.6928 | 1235720.6612 | 2619678.5925 | 1235718.8031
12 | 2619521.1959 | 1235757.0095 | 2619515.7937 | 1235748.9172
13 | 2619593.062 | 1235726.7672 | 2619586.885 | 1235733.5699
14 | 2619493.3665 | 1235715.322 | 2619515.7937 | 1235748.9172
15 | 2619597.8758 | 1235644.1323 | 2619603.0016 | 1235661.5887
16 | 2619474.2063 | 1235598.5589 | 2619465.3544 | 1235587.5743 | 2619471.1388 | 1235582.8738
17 | 2619498.5327 | 1235560.6127 | 2619471.1388 | 1235582.8738
18 | 2619502.277 | 1235557.5701 | 2619498.5327 | 1235560.6127
19 | 2619426.6067 | 1235644.2382 | 2619420.526 | 1235635.966
20 | 2619406.1221 | 1235616.3707 | 2619420.526 | 1235635.966
21 | 2619426.6067 | 1235644.2382 | 2619443.9876 | 1235667.6981 | 2619443.9876 | 1235667.6981
22 | 2619426.6067 | 1235644.2382 | 2619409.028 | 1235659.6899
23 | 2619381.8582 | 1235589.5255 | 2619387.8827 | 1235591.5575 | 2619406.1221 | 1235616.3707
24 | 2619516.2361 | 1235546.2265 | 2619502.277 | 1235557.5701
25 | 2619381.8582 | 1235589.5255 | 2619373.9853 | 1235590.4005 | 2619356.5659 | 1235604.219
26 | 2619516.2361 | 1235546.2265 | 2619543.3054 | 1235578.2459 | 2619555.1821 | 1235593.2719
27 | 2619516.2361 | 1235546.2265 | 2619514.9923 | 1235544.7548 | 2619509.811 | 1235533.9237
28 | 2619253.6505 | 1235767.7677 | 2619238.2793 | 1235750.7033
29 | 2619213.1695 | 1235722.8277 | 2619238.2793 | 1235750.7033
30 | 2619238.2793 | 1235750.7033 | 2619183.6588 | 1235807.0843
31 | 2619264.3739 | 1235779.6723 | 2619253.6505 | 1235767.7677
32 | 2619213.1695 | 1235722.8277 | 2619249.0546 | 1235691.6789
33 | 2619183.6588 | 1235807.0843 | 2619207.6074 | 1235838.346
34 | 2619264.3739 | 1235779.6723 | 2619292.4406 | 1235809.5356
35 | 2619264.3739 | 1235779.6723 | 2619274.9187 | 1235770.2221
36 | 2619292.4406 | 1235809.5356 | 2619294.4493 | 1235811.6729
37 | 2619289.8495 | 1235756.8412 | 2619274.9187 | 1235770.2221
38 | 2619299.2972 | 1235816.8312 | 2619294.4493 | 1235811.6729
39 | 2619289.8495 | 1235756.8412 | 2619294.8532 | 1235752.357
40 | 2619313.2926 | 1235638.5532 | 2619294.457 | 1235653.4978
41 | 2619356.5659 | 1235604.219 | 2619313.2926 | 1235638.5532
42 | 2619310.2436 | 1235828.4783 | 2619314.4577 | 1235832.9622
43 | 2619347.9807 | 1235868.6311 | 2619314.4577 | 1235832.9622
44 | 2619310.2436 | 1235828.4783 | 2619299.2972 | 1235816.8312
45 | 2619347.9807 | 1235868.6311 | 2619376.1558 | 1235839.8412
46 | 2619376.1558 | 1235839.8412 | 2619377.183 | 1235838.7916
47 | 2619377.183 | 1235838.7916 | 2619383.2084 | 1235832.6346 | 2619405.374 | 1235809.8635
48 | 2619405.374 | 1235809.8635 | 2619406.4926 | 1235808.7144
49 | 2619376.6396 | 1235688.1596 | 2619375.3862 | 1235689.2614
50 | 2619366.4342 | 1235697.1303 | 2619375.3862 | 1235689.2614
51 | 2619376.6396 | 1235688.1596 | 2619407.4332 | 1235661.0918
52 | 2619407.4332 | 1235661.0918 | 2619409.028 | 1235659.6899
53 | 2619426.2817 | 1235788.3847 | 2619406.4926 | 1235808.7144
54 | 2619426.2817 | 1235788.3847 | 2619441.4424 | 1235772.8099 | 2619444.6179 | 1235769.2941
55 | 2619444.6179 | 1235769.2941 | 2619452.9504 | 1235760.0687
56 | 2619452.9504 | 1235760.0687 | 2619458.7724 | 1235753.6229
57 | 2619463.8845 | 1235530.2631 | 2619450.3628 | 1235536.3158
58 | 2619500.2687 | 1235513.9767 | 2619463.8845 | 1235530.2631
59 | 2619500.2687 | 1235513.9767 | 2619509.811 | 1235533.9237
60 | 2619497.0952 | 1235489.4068 | 2619500.2687 | 1235513.9767
61 | 2619356.5659 | 1235604.219 | 2619365.6154 | 1235614.9842
62 | 2619497.0952 | 1235489.4068 | 2619538.3805 | 1235493.7447
63 | 2619497.0952 | 1235489.4068 | 2619495.1361 | 1235476.0576
64 | 2619497.0952 | 1235489.4068 | 2619481.0752 | 1235483.7584
65 | 2619557.4449 | 1235495.7478 | 2619538.3805 | 1235493.7447
66 | 2619323.9187 | 1235726.3087 | 2619320.8387 | 1235729.069
67 | 2619315.4758 | 1235733.8751 | 2619320.8387 | 1235729.069
68 | 2619323.9187 | 1235726.3087 | 2619332.8122 | 1235718.3383
69 | 2619312.3848 | 1235736.6453 | 2619315.4758 | 1235733.8751
70 | 2619339.1951 | 1235712.618 | 2619332.8122 | 1235718.3383
71 | 2619312.3848 | 1235736.6453 | 2619298.0836 | 1235749.4619
72 | 2619294.8532 | 1235752.357 | 2619298.0836 | 1235749.4619
73 | 2619572.8736 | 1235611.9192 | 2619555.1821 | 1235593.2719
74 | 2619555.1821 | 1235593.2719 | 2619534.5241 | 1235614.1969
75 | 2619582.457 | 1235498.348 | 2619563.3931 | 1235496.3728 | 2619557.4449 | 1235495.7478
76 | 2619582.457 | 1235498.348 | 2619612.4905 | 1235501.4597
77 | 2619612.4905 | 1235501.4597 | 2619618.5664 | 1235502.0892
78 | 2619443.9876 | 1235667.6981 | 2619472.1172 | 1235683.1884 | 2619475.1819 | 1235687.8229
79 | 2619365.6154 | 1235614.9842 | 2619372.4789 | 1235623.149 | 2619374.7 | 1235633.5626 | 2619363.2899 | 1235643.0131
80 | 2619493.3665 | 1235715.322 | 2619475.1819 | 1235687.8229
81 | 2619475.1819 | 1235687.8229 | 2619530.9038 | 1235660.9449
82 | 2619352.2102 | 1235652.1898 | 2619363.2899 | 1235643.0131
83 | 2619466.35 | 1235745.2334 | 2619458.7724 | 1235753.6229
84 | 2619466.35 | 1235745.2334 | 2619471.2339 | 1235739.8262
85 | 2619480.9036 | 1235729.1204 | 2619471.2339 | 1235739.8262
86 | 2619493.3665 | 1235715.322 | 2619480.9036 | 1235729.1204
87 | 2619530.9038 | 1235660.9449 | 2619538.266 | 1235652.9719
88 | 2619512.4486 | 1235636.5578 | 2619534.5241 | 1235614.1969
89 | 2619574.6693 | 1235613.5483 | 2619572.8736 | 1235611.9192
90 | 2619747.8779 | 1235512.2311 | 2619770.8768 | 1235541.1429
91 | 2619726.5373 | 1235485.4039 | 2619747.8779 | 1235512.2311
92 | 2619726.5373 | 1235485.4039 | 2619677.3096 | 1235506.5208
93 | 2619677.3096 | 1235506.5208 | 2619655.3813 | 1235505.9036 | 2619652.043 | 1235505.5577
94 | 2619677.3096 | 1235506.5208 | 2619669.3916 | 1235491.5988
95 | 2619677.3096 | 1235506.5208 | 2619664.9575 | 1235518.6207 | 2619644.8607 | 1235536.3097 | 2619632.3593 | 1235547.8089 | 2619628.3355 | 1235551.787
96 | 2619646.001 | 1235504.9317 | 2619652.043 | 1235505.5577
97 | 2619639.927 | 1235504.3024 | 2619646.001 | 1235504.9317
98 | 2619597.8758 | 1235644.1323 | 2619574.6693 | 1235613.5483
99 | 2619574.6693 | 1235613.5483 | 2619567.2074 | 1235621.6293
100 | 2619562.8153 | 1235626.3858 | 2619567.2074 | 1235621.6293
101 | 2619538.266 | 1235652.9719 | 2619551.2627 | 1235638.8968
102 | 2619554.9325 | 1235634.9226 | 2619551.2627 | 1235638.8968
103 | 2619558.8546 | 1235630.6751 | 2619554.9325 | 1235634.9226
104 | 2619562.8153 | 1235626.3858 | 2619558.8546 | 1235630.6751
105 | 2619618.5664 | 1235502.0892 | 2619624.6098 | 1235502.7154
106 | 2619639.927 | 1235504.3024 | 2619624.6098 | 1235502.7154

## bus_geodata
| x | y | coords
0 | 2619533.7549 | 1235775.8224
1 | 2619533.1522 | 1235774.9196
2 | 2619527.2349 | 1235766.0557
3 | 2619630.8902 | 1235745.5365
4 | 2619616.9184 | 1235760.2217
5 | 2619637.8728 | 1235764.46
6 | 2619615.0349 | 1235702.569
7 | 2619643.4981 | 1235780.6234
8 | 2619657.1895 | 1235742.4959
9 | 2619665.308 | 1235733.2647
10 | 2619678.5925 | 1235718.8031
11 | 2619521.1959 | 1235757.0095
12 | 2619586.885 | 1235733.5699
13 | 2619593.062 | 1235726.7672
14 | 2619515.7937 | 1235748.9172
15 | 2619603.0016 | 1235661.5887
16 | 2619474.2063 | 1235598.5589
17 | 2619471.1388 | 1235582.8738
18 | 2619498.5327 | 1235560.6127
19 | 2619420.526 | 1235635.966
20 | 2619426.6067 | 1235644.2382
21 | 2619406.1221 | 1235616.3707
22 | 2619502.277 | 1235557.5701
23 | 2619381.8582 | 1235589.5255
24 | 2619516.2361 | 1235546.2265
25 | 2619238.2793 | 1235750.7033
26 | 2619253.6505 | 1235767.7677
27 | 2619213.1695 | 1235722.8277
28 | 2619183.6588 | 1235807.0843
29 | 2619264.3739 | 1235779.6723
30 | 2619249.0546 | 1235691.6789
31 | 2619207.6074 | 1235838.346
32 | 2619292.4406 | 1235809.5356
33 | 2619274.9187 | 1235770.2221
34 | 2619294.4493 | 1235811.6729
35 | 2619289.8495 | 1235756.8412
36 | 2619294.457 | 1235653.4978
37 | 2619313.2926 | 1235638.5532
38 | 2619314.4577 | 1235832.9622
39 | 2619310.2436 | 1235828.4783
40 | 2619347.9807 | 1235868.6311
41 | 2619299.2972 | 1235816.8312
42 | 2619376.1558 | 1235839.8412
43 | 2619377.183 | 1235838.7916
44 | 2619405.374 | 1235809.8635
45 | 2619375.3862 | 1235689.2614
46 | 2619376.6396 | 1235688.1596
47 | 2619366.4342 | 1235697.1303
48 | 2619407.4332 | 1235661.0918
49 | 2619409.028 | 1235659.6899
50 | 2619406.4926 | 1235808.7144
51 | 2619426.2817 | 1235788.3847
52 | 2619444.6179 | 1235769.2941
53 | 2619452.9504 | 1235760.0687
54 | 2619450.3628 | 1235536.3158
55 | 2619463.8845 | 1235530.2631
56 | 2619500.2687 | 1235513.9767
57 | 2619356.5659 | 1235604.219
58 | 2619509.811 | 1235533.9237
59 | 2619497.0952 | 1235489.4068
60 | 2619538.3805 | 1235493.7447
61 | 2619495.1361 | 1235476.0576
62 | 2619481.0752 | 1235483.7584
63 | 2619320.8387 | 1235729.069
64 | 2619323.9187 | 1235726.3087
65 | 2619315.4758 | 1235733.8751
66 | 2619332.8122 | 1235718.3383
67 | 2619312.3848 | 1235736.6453
68 | 2619339.1951 | 1235712.618
69 | 2619298.0836 | 1235749.4619
70 | 2619294.8532 | 1235752.357
71 | 2619555.1821 | 1235593.2719
72 | 2619557.4449 | 1235495.7478
73 | 2619582.457 | 1235498.348
74 | 2619612.4905 | 1235501.4597
75 | 2619443.9876 | 1235667.6981
76 | 2619365.6154 | 1235614.9842
77 | 2619475.1819 | 1235687.8229
78 | 2619363.2899 | 1235643.0131
79 | 2619458.7724 | 1235753.6229
80 | 2619466.35 | 1235745.2334
81 | 2619352.2102 | 1235652.1898
82 | 2619471.2339 | 1235739.8262
83 | 2619493.3665 | 1235715.322
84 | 2619530.9038 | 1235660.9449
85 | 2619480.9036 | 1235729.1204
86 | 2619512.4486 | 1235636.5578
87 | 2619534.5241 | 1235614.1969
88 | 2619572.8736 | 1235611.9192
89 | 2619747.8779 | 1235512.2311
90 | 2619770.8768 | 1235541.1429
91 | 2619726.5373 | 1235485.4039
92 | 2619677.3096 | 1235506.5208
93 | 2619652.043 | 1235505.5577
94 | 2619669.3916 | 1235491.5988
95 | 2619628.3355 | 1235551.787
96 | 2619646.001 | 1235504.9317
97 | 2619574.6693 | 1235613.5483
98 | 2619597.8758 | 1235644.1323
99 | 2619567.2074 | 1235621.6293
100 | 2619538.266 | 1235652.9719
101 | 2619551.2627 | 1235638.8968
102 | 2619554.9325 | 1235634.9226
103 | 2619558.8546 | 1235630.6751
104 | 2619562.8153 | 1235626.3858
105 | 2619618.5664 | 1235502.0892
106 | 2619624.6098 | 1235502.7154
107 | 2619639.927 | 1235504.3024
108 | 2619426.6067 | 1235644.2382

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1