## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_100_1_node_7 | 20 | n |  | TRUE
1 | bus_MV_100_1_node_8 | 20 | n |  | TRUE
2 | bus_MV_100_1_node_9 | 20 | n |  | TRUE
3 | bus_MV_100_1_node_10 | 20 | n |  | TRUE
4 | bus_MV_100_1_node_11 | 20 | n |  | TRUE
5 | bus_MV_100_1_node_12 | 20 | n |  | TRUE
6 | bus_MV_100_1_node_262 | 20 | n |  | TRUE
7 | bus_MV_100_1_node_13 | 20 | n |  | TRUE
8 | bus_MV_100_1_node_14 | 20 | n |  | TRUE
9 | bus_MV_100_1_node_17 | 20 | n |  | TRUE
10 | bus_MV_100_1_node_19 | 20 | n |  | TRUE
11 | bus_MV_100_1_node_15 | 20 | n |  | TRUE
12 | bus_MV_100_1_node_16 | 20 | n |  | TRUE
13 | bus_MV_100_1_node_18 | 20 | n |  | TRUE
14 | bus_MV_100_1_node_29 | 20 | n |  | TRUE
15 | bus_MV_100_1_node_30 | 20 | n |  | TRUE
16 | bus_MV_100_1_node_31 | 20 | n |  | TRUE
17 | bus_MV_100_1_node_263 | 20 | n |  | TRUE
18 | bus_MV_100_1_node_173 | 20 | n |  | TRUE
19 | bus_MV_100_1_node_32 | 20 | n |  | TRUE
20 | bus_MV_100_1_node_33 | 20 | n |  | TRUE
21 | bus_MV_100_1_node_259 | 20 | n |  | TRUE
22 | bus_MV_100_1_node_234 | 20 | n |  | TRUE
23 | bus_MV_100_1_node_34 | 20 | n |  | TRUE
24 | bus_MV_100_1_node_260 | 20 | n |  | TRUE
25 | bus_MV_100_1_node_255 | 20 | n |  | TRUE
26 | bus_MV_100_1_node_108 | 20 | n |  | TRUE
27 | bus_MV_100_1_node_109 | 20 | n |  | TRUE
28 | bus_MV_100_1_node_111 | 20 | n |  | TRUE
29 | bus_MV_100_1_node_110 | 20 | n |  | TRUE
30 | bus_MV_100_1_node_265 | 20 | n |  | TRUE
31 | bus_MV_100_1_node_266 | 20 | n |  | TRUE
32 | bus_MV_100_1_node_264 | 20 | n |  | TRUE
33 | bus_MV_100_1_node_163 | 20 | n |  | TRUE
34 | bus_MV_100_1_node_171 | 20 | n |  | TRUE
35 | bus_MV_100_1_node_172 | 20 | n |  | TRUE
36 | bus_MV_100_1_node_271 | 20 | n |  | TRUE
37 | bus_MV_100_1_node_174 | 20 | n |  | TRUE
38 | bus_MV_100_1_node_183 | 20 | n |  | TRUE
39 | bus_MV_100_1_node_187 | 20 | n |  | TRUE
40 | bus_MV_100_1_node_204 | 20 | n |  | TRUE
41 | bus_MV_100_1_node_188 | 20 | n |  | TRUE
42 | bus_MV_100_1_node_190 | 20 | n |  | TRUE
43 | bus_MV_100_1_node_191 | 20 | n |  | TRUE
44 | bus_MV_100_1_node_189 | 20 | n |  | TRUE
45 | bus_MV_100_1_node_192 | 20 | n |  | TRUE
46 | bus_MV_100_1_node_193 | 20 | n |  | TRUE
47 | bus_MV_100_1_node_194 | 20 | n |  | TRUE
48 | bus_MV_100_1_node_195 | 20 | n |  | TRUE
49 | bus_MV_100_1_node_205 | 20 | n |  | TRUE
50 | bus_MV_100_1_node_270 | 20 | n |  | TRUE
51 | bus_MV_100_1_node_256 | 20 | n |  | TRUE
52 | bus_MV_100_1_node_197 | 20 | n |  | TRUE
53 | bus_MV_100_1_node_196 | 20 | n |  | TRUE
54 | bus_MV_100_1_node_198 | 20 | n |  | TRUE
55 | bus_MV_100_1_node_199 | 20 | n |  | TRUE
56 | bus_MV_100_1_node_200 | 20 | n |  | TRUE
57 | bus_MV_100_1_node_201 | 20 | n |  | TRUE
58 | bus_MV_100_1_node_233 | 20 | n |  | TRUE
59 | bus_MV_100_1_node_283 | 20 | n |  | TRUE
60 | bus_MV_100_1_node_202 | 20 | n |  | TRUE
61 | bus_MV_100_1_node_206 | 20 | n |  | TRUE
62 | bus_MV_100_1_node_207 | 20 | n |  | TRUE
63 | bus_MV_100_1_node_208 | 20 | n |  | TRUE
64 | bus_MV_100_1_node_214 | 20 | n |  | TRUE
65 | bus_MV_100_1_node_217 | 20 | n |  | TRUE
66 | bus_MV_100_1_node_209 | 20 | n |  | TRUE
67 | bus_MV_100_1_node_210 | 20 | n |  | TRUE
68 | bus_MV_100_1_node_211 | 20 | n |  | TRUE
69 | bus_MV_100_1_node_213 | 20 | n |  | TRUE
70 | bus_MV_100_1_node_254 | 20 | n |  | TRUE
71 | bus_MV_100_1_node_212 | 20 | n |  | TRUE
72 | bus_MV_100_1_node_269 | 20 | n |  | TRUE
73 | bus_MV_100_1_node_215 | 20 | n |  | TRUE
74 | bus_MV_100_1_node_216 | 20 | n |  | TRUE
75 | bus_MV_100_1_node_243 | 20 | n |  | TRUE
76 | bus_MV_100_1_node_218 | 20 | n |  | TRUE
77 | bus_MV_100_1_node_219 | 20 | n |  | TRUE
78 | bus_MV_100_1_node_220 | 20 | n |  | TRUE
79 | bus_MV_100_1_node_221 | 20 | n |  | TRUE
80 | bus_MV_100_1_node_246 | 20 | n |  | TRUE
81 | bus_MV_100_1_node_222 | 20 | n |  | TRUE
82 | bus_MV_100_1_node_230 | 20 | n |  | TRUE
83 | bus_MV_100_1_node_223 | 20 | n |  | TRUE
84 | bus_MV_100_1_node_225 | 20 | n |  | TRUE
85 | bus_MV_100_1_node_226 | 20 | n |  | TRUE
86 | bus_MV_100_1_node_224 | 20 | n |  | TRUE
87 | bus_MV_100_1_node_227 | 20 | n |  | TRUE
88 | bus_MV_100_1_node_228 | 20 | n |  | TRUE
89 | bus_MV_100_1_node_229 | 20 | n |  | TRUE
90 | bus_MV_100_1_node_231 | 20 | n |  | TRUE
91 | bus_MV_100_1_node_232 | 20 | n |  | TRUE
92 | bus_MV_100_1_node_240 | 20 | n |  | TRUE
93 | bus_MV_100_1_node_237 | 20 | n |  | TRUE
94 | bus_MV_100_1_node_242 | 20 | n |  | TRUE
95 | bus_MV_100_1_node_244 | 20 | n |  | TRUE
96 | bus_MV_100_1_node_235 | 20 | n |  | TRUE
97 | bus_MV_100_1_node_236 | 20 | n |  | TRUE
98 | bus_MV_100_1_node_248 | 20 | n |  | TRUE
99 | bus_MV_100_1_node_238 | 20 | n |  | TRUE
100 | bus_MV_100_1_node_239 | 20 | n |  | TRUE
101 | bus_MV_100_1_node_241 | 20 | n |  | TRUE
102 | bus_MV_100_1_node_245 | 20 | n |  | TRUE
103 | bus_MV_100_1_node_249 | 20 | n |  | TRUE
104 | bus_MV_100_1_node_247 | 20 | n |  | TRUE
105 | bus_MV_100_1_node_273 | 20 | n |  | TRUE
106 | bus_MV_100_1_node_272 | 20 | n |  | TRUE
107 | bus_MV_100_1_node_274 | 20 | n |  | TRUE
108 | bus_MV_100_1_node_281 | 20 | n |  | TRUE
109 | bus_HV_100_1_node_222 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_100_1_load_7 | 0 | 0.079757 | 0.038628 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_100_1_load_11 | 4 | 0.14646 | 0.070934 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_100_1_load_12 | 5 | 0.16435 | 0.079599 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_100_1_load_262 | 6 | 0.099188 | 0.048039 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_100_1_load_19 | 10 | 0.11022 | 0.053384 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_100_1_load_15 | 11 | 0.15638 | 0.075738 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_100_1_load_29 | 14 | 0.13017 | 0.063044 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_100_1_load_263 | 17 | 0.12071 | 0.058462 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_100_1_load_32 | 19 | 0.11776 | 0.057035 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_100_1_load_259 | 21 | 0.13284 | 0.064337 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_100_1_load_234 | 22 | 0.057236 | 0.02772 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_100_1_load_34 | 23 | 0.11931 | 0.057782 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_100_1_load_255 | 25 | 0.092016 | 0.044565 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_100_1_load_108 | 26 | 0.088509 | 0.042867 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_100_1_load_265 | 30 | 0.16471 | 0.079774 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_100_1_load_264 | 32 | 0.12265 | 0.059401 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_100_1_load_163 | 33 | 0.15342 | 0.074304 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_100_1_load_171 | 34 | 0.16381 | 0.079336 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_100_1_load_172 | 35 | 0.12468 | 0.060384 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_100_1_load_271 | 36 | 0.14901 | 0.072169 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_100_1_load_174 | 37 | 0.12481 | 0.06045 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_100_1_load_183 | 38 | 0.15095 | 0.07311 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_100_1_load_187 | 39 | 0.13242 | 0.064132 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_100_1_load_204 | 40 | 0.12924 | 0.062592 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_100_1_load_188 | 41 | 0.12195 | 0.059061 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_100_1_load_195 | 48 | 0.11375 | 0.055091 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_100_1_load_205 | 49 | 0.11275 | 0.054606 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_100_1_load_270 | 50 | 0.15335 | 0.074271 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_100_1_load_256 | 51 | 0.089403 | 0.0433 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_100_1_load_196 | 53 | 0.10161 | 0.049213 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_100_1_load_233 | 58 | 0.11313 | 0.054791 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_100_1_load_283 | 59 | 0.071405 | 0.034583 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_100_1_load_202 | 60 | 0.10599 | 0.051333 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_100_1_load_206 | 61 | 0.1538 | 0.074491 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_100_1_load_214 | 64 | 0.15368 | 0.074433 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_100_1_load_217 | 65 | 0.14822 | 0.071786 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_100_1_load_209 | 66 | 0.12358 | 0.059852 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_100_1_load_254 | 70 | 0.11234 | 0.054407 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_100_1_load_269 | 72 | 0.059533 | 0.028833 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_100_1_load_215 | 73 | 0.10132 | 0.049073 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_100_1_load_218 | 76 | 0.13379 | 0.0648 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_100_1_load_220 | 78 | 0.078013 | 0.037783 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_100_1_load_246 | 80 | 0.15116 | 0.073212 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_100_1_load_222 | 81 | 0.087174 | 0.04222 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_100_1_load_223 | 83 | 0.10118 | 0.049004 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_100_1_load_227 | 87 | 0.12297 | 0.059558 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_100_1_load_240 | 92 | 0.13822 | 0.066945 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_100_1_load_237 | 93 | 0.11094 | 0.05373 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_100_1_load_242 | 94 | 0.083583 | 0.040481 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_100_1_load_248 | 98 | 0.14539 | 0.070414 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_100_1_load_239 | 100 | 0.12911 | 0.062529 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_100_1_load_241 | 101 | 0.071243 | 0.034505 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_100_1_load_245 | 102 | 0.12344 | 0.059786 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_100_1_load_249 | 103 | 0.12429 | 0.060194 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_100_1_load_281 | 108 | 0.10326 | 0.05001 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_100_1_line_0 |  | 0 | 1 | 0.006277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_100_1_line_1 |  | 1 | 2 | 0.046463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_100_1_line_2 |  | 1 | 3 | 0.11447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_100_1_line_3 |  | 2 | 4 | 0.091907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_100_1_line_4 |  | 3 | 5 | 0.13398 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_100_1_line_5 |  | 4 | 6 | 0.26628 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_100_1_line_6 |  | 5 | 7 | 0.026352 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_100_1_line_7 |  | 7 | 8 | 0.14048 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_100_1_line_8 |  | 8 | 9 | 0.11275 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_100_1_line_9 |  | 8 | 10 | 0.069125 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_100_1_line_10 |  | 9 | 11 | 0.055403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_100_1_line_11 |  | 11 | 12 | 0.042797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_100_1_line_12 |  | 12 | 13 | 0.078093 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_100_1_line_13 |  | 13 | 14 | 0.017939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_100_1_line_14 |  | 14 | 15 | 0.063295 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_100_1_line_15 |  | 15 | 16 | 0.38874 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_100_1_line_16 |  | 16 | 17 | 0.00694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_100_1_line_17 |  | 16 | 18 | 1.3475 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_100_1_line_18 |  | 18 | 35 | 0.34443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_100_1_line_19 |  | 19 | 20 | 0.01859 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_100_1_line_20 |  | 19 | 21 | 0.2828 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_100_1_line_21 |  | 19 | 22 | 0.98013 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_100_1_line_22 |  | 20 | 23 | 0.13381 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_100_1_line_23 |  | 22 | 96 | 0.099361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_100_1_line_24 |  | 23 | 24 | 0.057958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_100_1_line_25 |  | 23 | 25 | 0.98182 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
26 | MV_100_1_line_26 |  | 24 | 105 | 0.93833 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_100_1_line_27 |  | 25 | 70 | 0.082619 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
28 | MV_100_1_line_28 |  | 26 | 27 | 0.13365 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_100_1_line_29 |  | 27 | 28 | 0.13334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_100_1_line_30 |  | 28 | 32 | 0.044282 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_100_1_line_31 |  | 28 | 29 | 0.062625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_100_1_line_32 |  | 29 | 30 | 0.069314 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_100_1_line_33 |  | 29 | 31 | 0.32832 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_100_1_line_34 |  | 30 | 33 | 0.11577 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_100_1_line_35 |  | 31 | 37 | 0.95479 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_100_1_line_36 |  | 32 | 39 | 1.7003 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_100_1_line_37 |  | 34 | 35 | 1.0647 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_100_1_line_38 |  | 34 | 36 | 1.0981 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_100_1_line_39 |  | 36 | 106 | 0.031718 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_100_1_line_40 |  | 36 | 105 | 0.22038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_100_1_line_41 |  | 37 | 38 | 0.97296 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_100_1_line_42 |  | 39 | 40 | 0.94207 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_100_1_line_43 |  | 40 | 48 | 0.90851 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_100_1_line_44 |  | 40 | 60 | 0.16248 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_100_1_line_45 |  | 41 | 42 | 0.066694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_100_1_line_46 |  | 41 | 43 | 0.1553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_100_1_line_47 |  | 41 | 44 | 0.057123 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_100_1_line_48 |  | 42 | 46 | 0.17223 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_100_1_line_49 |  | 43 | 47 | 0.27792 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_100_1_line_50 |  | 43 | 48 | 0.061884 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_100_1_line_51 |  | 44 | 45 | 0.050602 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_100_1_line_52 |  | 45 | 49 | 0.020644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_100_1_line_53 |  | 46 | 50 | 0.057817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_100_1_line_54 |  | 47 | 51 | 0.05733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_100_1_line_55 |  | 47 | 52 | 0.2342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_100_1_line_56 |  | 52 | 54 | 0.28095 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_100_1_line_57 |  | 53 | 54 | 0.093973 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_100_1_line_58 |  | 53 | 55 | 0.47307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_100_1_line_59 |  | 55 | 56 | 0.014488 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_100_1_line_60 |  | 55 | 57 | 0.20464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_100_1_line_61 |  | 56 | 58 | 0.082573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_100_1_line_62 |  | 57 | 59 | 0.048019 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_100_1_line_63 |  | 58 | 82 | 0.1253 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_100_1_line_64 |  | 61 | 62 | 0.025604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_100_1_line_65 |  | 62 | 63 | 0.023392 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_100_1_line_66 |  | 62 | 64 | 0.049744 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_100_1_line_67 |  | 63 | 65 | 0.008533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_100_1_line_68 |  | 64 | 73 | 0.018711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_100_1_line_69 |  | 65 | 71 | 0.052492 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_100_1_line_70 |  | 66 | 67 | 0.057897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_100_1_line_71 |  | 67 | 68 | 0.10159 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
72 | MV_100_1_line_72 |  | 67 | 69 | 0.13797 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
73 | MV_100_1_line_73 |  | 68 | 70 | 0.067324 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
74 | MV_100_1_line_74 |  | 69 | 72 | 0.075123 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
75 | MV_100_1_line_75 |  | 69 | 71 | 0.19128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_100_1_line_76 |  | 72 | 79 | 0.031655 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
77 | MV_100_1_line_77 |  | 73 | 74 | 0.011801 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_100_1_line_78 |  | 74 | 75 | 0.030716 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_100_1_line_79 |  | 75 | 102 | 0.019779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_100_1_line_80 |  | 76 | 77 | 0.062077 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
81 | MV_100_1_line_81 |  | 76 | 78 | 0.18759 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
82 | MV_100_1_line_82 |  | 77 | 79 | 0.13132 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
83 | MV_100_1_line_83 |  | 77 | 80 | 0.10461 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_100_1_line_84 |  | 78 | 81 | 0.070334 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
85 | MV_100_1_line_85 |  | 80 | 89 | 0.0604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_100_1_line_86 |  | 81 | 82 | 0.31204 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_100_1_line_87 |  | 83 | 84 | 0.035511 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_100_1_line_88 |  | 83 | 85 | 0.045216 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_100_1_line_89 |  | 84 | 89 | 0.07711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_100_1_line_90 |  | 85 | 90 | 0.81376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_100_1_line_91 |  | 86 | 87 | 0.067018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_100_1_line_92 |  | 86 | 88 | 0.10854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_100_1_line_93 |  | 87 | 91 | 0.058561 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_100_1_line_94 |  | 88 | 92 | 0.009772 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_100_1_line_95 |  | 88 | 93 | 0.010544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_100_1_line_96 |  | 90 | 94 | 0.083684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_100_1_line_97 |  | 91 | 95 | 0.13626 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_100_1_line_98 |  | 93 | 99 | 0.022556 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
99 | MV_100_1_line_99 |  | 95 | 103 | 0.051619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_100_1_line_100 |  | 96 | 97 | 0.004203 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_100_1_line_101 |  | 97 | 98 | 0.066019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_100_1_line_102 |  | 98 | 104 | 0.079159 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_100_1_line_103 |  | 99 | 100 | 0.013552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_100_1_line_104 |  | 100 | 101 | 0.0080465 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_100_1_line_105 |  | 103 | 104 | 0.075376 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
106 | MV_100_1_line_106 |  | 106 | 107 | 0.30254 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_100_1_line_107 |  | 107 | 108 | 0.098721 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_100_1_trafo_222 | 25 MVA 110/20 kV | 109 | 81 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2617827.231 | 1127300.3046
1 | 2617821.0549 | 1127299.0858
2 | 2617807.3014 | 1127343.4673
3 | 2617718.9887 | 1127249.1513
4 | 2617817.4196 | 1127432.2628
5 | 2617596.7234 | 1127194.3575
6 | 2617553.2663 | 1127398.6653
7 | 2617571.4407 | 1127186.6805
8 | 2617436.6476 | 1127181.378
9 | 2617390.3768 | 1127081.574
10 | 2617395.318 | 1127236.7866
11 | 2617376.1122 | 1127030.975
12 | 2617407.034 | 1127001.8938
13 | 2617474.1055 | 1126961.5778
14 | 2617483.6106 | 1126946.9091
15 | 2617524.7981 | 1126898.971
16 | 2617676.4147 | 1126985.1864
17 | 2617675.8244 | 1126992.0992
18 | 2618427.276 | 1125866.2923
19 | 2621194.7014 | 1126881.4738
20 | 2621177.9293 | 1126873.7892
21 | 2621461.4496 | 1126975.3915
22 | 2620849.8635 | 1127798.9416
23 | 2621070.2424 | 1126808.3596
24 | 2621016.2504 | 1126793.7984
25 | 2620255.6088 | 1127356.3987
26 | 2619410.8528 | 1129845.4492
27 | 2619476.5942 | 1129961.8172
28 | 2619544.1824 | 1130039.673
29 | 2619506.8705 | 1130081.5512
30 | 2619481.2781 | 1130145.9672
31 | 2619205.4082 | 1130211.6083
32 | 2619572.6028 | 1130053.8716
33 | 2619372.9523 | 1130105.1223
34 | 2619798.6048 | 1125619.4124
35 | 2618761.0849 | 1125858.4112
36 | 2619879.2733 | 1126714.5265
37 | 2618584.7226 | 1130937.1193
38 | 2618011.4962 | 1130150.9483
39 | 2621080.9302 | 1130838.7709
40 | 2620780.068 | 1129946.037
41 | 2621113.3758 | 1128994.9648
42 | 2621178.614 | 1129003.9746
43 | 2620957.7005 | 1128992.7792
44 | 2621130.5643 | 1129049.4404
45 | 2621149.4432 | 1129096.2627
46 | 2621331.5171 | 1129082.3493
47 | 2620682.9386 | 1128959.5526
48 | 2620955.4915 | 1129054.6242
49 | 2621157.8055 | 1129114.8454
50 | 2621383.3709 | 1129107.4443
51 | 2620691.6224 | 1129015.3208
52 | 2620464.5911 | 1128977.0648
53 | 2620181.3165 | 1128910.6271
54 | 2620184.8747 | 1129003.3623
55 | 2620229.0315 | 1128441.9666
56 | 2620226.9127 | 1128428.1749
57 | 2620332.2125 | 1128530.9554
58 | 2620242.7102 | 1128348.4328
59 | 2620302.5791 | 1128493.1709
60 | 2620632.7377 | 1129968.0557
61 | 2620389.0413 | 1127743.7921
62 | 2620376.4495 | 1127721.4832
63 | 2620354.0512 | 1127714.6602
64 | 2620424.0831 | 1127707.1475
65 | 2620345.6272 | 1127713.1534
66 | 2620207.6767 | 1127589.0089
67 | 2620150.9908 | 1127577.3701
68 | 2620177.6377 | 1127483.9349
69 | 2620128.2574 | 1127694.4634
70 | 2620217.6071 | 1127429.7597
71 | 2620310.083 | 1127674.5264
72 | 2620059.2388 | 1127724.1271
73 | 2620442.5249 | 1127703.6857
74 | 2620447.7922 | 1127693.1205
75 | 2620475.1649 | 1127682.541
76 | 2620119.6976 | 1127868.3753
77 | 2620156.5597 | 1127818.9408
78 | 2620022.2849 | 1128028.1108
79 | 2620059.0286 | 1127755.0527
80 | 2620259.8323 | 1127835.6265
81 | 2619980.4717 | 1128084.6094
82 | 2620259.5195 | 1128224.2612
83 | 2620364.0271 | 1127926.2312
84 | 2620329.0551 | 1127921.8673
85 | 2620387.7047 | 1127964.7853
86 | 2620443.1761 | 1127876.1284
87 | 2620486.1162 | 1127927.583
88 | 2620475.2935 | 1127804.1346
89 | 2620319.6192 | 1127845.3535
90 | 2620880.795 | 1128287.3887
91 | 2620523.6332 | 1127972.5476
92 | 2620483.3208 | 1127799.893
93 | 2620469.6106 | 1127796.356
94 | 2620809.2943 | 1128243.9219
95 | 2620616.4166 | 1127946.1271
96 | 2620750.7103 | 1127805.8049
97 | 2620746.555 | 1127806.5133
98 | 2620680.4506 | 1127810.3005
99 | 2620448.0519 | 1127789.7245
100 | 2620434.8279 | 1127790.5778
101 | 2620436.2082 | 1127798.5049
102 | 2620478.244 | 1127698.7199
103 | 2620624.1099 | 1127895.0948
104 | 2620602.343 | 1127822.9297
105 | 2620077.9691 | 1126784.2375
106 | 2619856.9009 | 1126736.1416
107 | 2619747.318 | 1126933.0809
108 | 2619648.8924 | 1126925.4464
109 | 2619980.4717 | 1128084.6094

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98195 | -0.18624 | 0.079757 | 0.038628
1 | 0.98196 | -0.18625 | 0 | 0
2 | 0.98194 | -0.18611 | 0 | 0
3 | 0.982 | -0.18667 | 0 | 0
4 | 0.98191 | -0.18584 | 0.14646 | 0.070934
5 | 0.98209 | -0.18605 | 0.16435 | 0.079599
6 | 0.98186 | -0.18618 | 0.099188 | 0.048039
7 | 0.98211 | -0.1862 | 0 | 0
8 | 0.98219 | -0.18697 | 0 | 0
9 | 0.98228 | -0.18772 | 0 | 0
10 | 0.98218 | -0.18707 | 0.11022 | 0.053384
11 | 0.98232 | -0.18809 | 0.15638 | 0.075738
12 | 0.98237 | -0.18845 | 0 | 0
13 | 0.98244 | -0.18909 | 0 | 0
14 | 0.98246 | -0.18924 | 0.13017 | 0.063044
15 | 0.98253 | -0.18986 | 0 | 0
16 | 0.98297 | -0.19353 | 0 | 0
17 | 0.98297 | -0.19352 | 0.12071 | 0.058462
18 | 0.98561 | -0.17317 | 0 | 0
19 | 0.99429 | -0.11705 | 0.11776 | 0.057035
20 | 0.99432 | -0.11729 | 0 | 0
21 | 0.99421 | -0.11752 | 0.13284 | 0.064337
22 | 0.99258 | -0.12933 | 0.057236 | 0.02772
23 | 0.99451 | -0.11898 | 0.11931 | 0.057782
24 | 0.9944 | -0.11809 | 0 | 0
25 | 0.99777 | -0.034589 | 0.092016 | 0.044565
26 | 0.98793 | -0.043206 | 0.088509 | 0.042867
27 | 0.98796 | -0.043059 | 0 | 0
28 | 0.98797 | -0.043188 | 0 | 0
29 | 0.98792 | -0.042747 | 0 | 0
30 | 0.98788 | -0.043021 | 0.16471 | 0.079774
31 | 0.98775 | -0.043938 | 0 | 0
32 | 0.98801 | -0.043536 | 0.12265 | 0.059401
33 | 0.98784 | -0.043241 | 0.15342 | 0.074304
34 | 0.98839 | -0.15817 | 0.16381 | 0.079336
35 | 0.98606 | -0.1767 | 0.12468 | 0.060384
36 | 0.99115 | -0.13682 | 0.14901 | 0.072169
37 | 0.98723 | -0.047341 | 0.12481 | 0.06045
38 | 0.98694 | -0.04921 | 0.15095 | 0.07311
39 | 0.99068 | -0.025217 | 0.13242 | 0.064132
40 | 0.9924 | -0.013452 | 0.12924 | 0.062592
41 | 0.99455 | 0.0025348 | 0.12195 | 0.059061
42 | 0.99453 | 0.0026318 | 0 | 0
43 | 0.99462 | 0.0019119 | 0 | 0
44 | 0.99453 | 0.0024477 | 0 | 0
45 | 0.99453 | 0.0025131 | 0 | 0
46 | 0.9945 | 0.0029135 | 0 | 0
47 | 0.99522 | -0.003171 | 0 | 0
48 | 0.99447 | 0.00085077 | 0.11375 | 0.055091
49 | 0.99452 | 0.002541 | 0.11275 | 0.054606
50 | 0.99449 | 0.0030182 | 0.15335 | 0.074271
51 | 0.99521 | -0.0031116 | 0.089403 | 0.0433
52 | 0.99574 | -0.0075906 | 0 | 0
53 | 0.99691 | -0.0022574 | 0.10161 | 0.049213
54 | 0.9967 | -0.00051092 | 0 | 0
55 | 0.99804 | -0.011411 | 0 | 0
56 | 0.99807 | -0.011694 | 0 | 0
57 | 0.99802 | -0.011268 | 0 | 0
58 | 0.99828 | -0.013298 | 0.11313 | 0.054791
59 | 0.99801 | -0.01131 | 0.071405 | 0.034583
60 | 0.99237 | -0.013263 | 0.10599 | 0.051333
61 | 0.99831 | -0.020107 | 0.1538 | 0.074491
62 | 0.99831 | -0.020154 | 0 | 0
63 | 0.99833 | -0.020299 | 0 | 0
64 | 0.99828 | -0.02039 | 0.15368 | 0.074433
65 | 0.99833 | -0.020351 | 0.14822 | 0.071786
66 | 0.99832 | -0.024026 | 0.12358 | 0.059852
67 | 0.99833 | -0.024109 | 0 | 0
68 | 0.99817 | -0.026025 | 0 | 0
69 | 0.99857 | -0.021396 | 0 | 0
70 | 0.99806 | -0.02729 | 0.11234 | 0.054407
71 | 0.9984 | -0.019903 | 0 | 0
72 | 0.99891 | -0.012706 | 0.059533 | 0.028833
73 | 0.99827 | -0.020342 | 0.10132 | 0.049073
74 | 0.99827 | -0.020325 | 0 | 0
75 | 0.99826 | -0.020281 | 0 | 0
76 | 0.99939 | -0.0071267 | 0.13379 | 0.0648
77 | 0.99925 | -0.0087815 | 0 | 0
78 | 0.99983 | -0.0019701 | 0.078013 | 0.037783
79 | 0.99897 | -0.011946 | 0 | 0
80 | 0.99918 | -0.0094444 | 0.15116 | 0.073212
81 | 1 | 0 | -6.5456 | -2.9771
82 | 0.99877 | -0.0094849 | 0 | 0
83 | 0.99914 | -0.0093323 | 0.10118 | 0.049004
84 | 0.99915 | -0.009359 | 0 | 0
85 | 0.99914 | -0.0093503 | 0 | 0
86 | 0.99201 | -0.12593 | 0 | 0
87 | 0.99205 | -0.12628 | 0.12297 | 0.059558
88 | 0.99195 | -0.12536 | 0 | 0
89 | 0.99917 | -0.0094105 | 0 | 0
90 | 0.99906 | -0.0091426 | 0 | 0
91 | 0.99209 | -0.12667 | 0 | 0
92 | 0.99195 | -0.12534 | 0.13822 | 0.066945
93 | 0.99194 | -0.12532 | 0.11094 | 0.05373
94 | 0.99905 | -0.0090641 | 0.083583 | 0.040481
95 | 0.99219 | -0.12754 | 0 | 0
96 | 0.99248 | -0.12842 | 0 | 0
97 | 0.99247 | -0.12838 | 0 | 0
98 | 0.9924 | -0.12776 | 0.14539 | 0.070414
99 | 0.99194 | -0.12537 | 0 | 0
100 | 0.99193 | -0.12534 | 0.12911 | 0.062529
101 | 0.99193 | -0.12533 | 0.071243 | 0.034505
102 | 0.99826 | -0.020252 | 0.12344 | 0.059786
103 | 0.99223 | -0.12787 | 0.12429 | 0.060194
104 | 0.99233 | -0.12715 | 0 | 0
105 | 0.99159 | -0.14029 | 0 | 0
106 | 0.99115 | -0.1368 | 0 | 0
107 | 0.99111 | -0.13649 | 0 | 0
108 | 0.99109 | -0.13661 | 0.10326 | 0.05001
109 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.079757 | -0.038628 | 0.079757 | 0.038484 | 5.6845e-08 | -0.00014449 | 0.0026052 | 0.0026034 | 0.0026052 | 0.98195 | -0.18624 | 0.98196 | -0.18625 | 1.1842
1 | 0.24567 | 0.11549 | -0.24566 | -0.11656 | 3.9569e-06 | -0.0010685 | 0.0079803 | 0.0079937 | 0.0079937 | 0.98196 | -0.18625 | 0.98194 | -0.18611 | 3.6335
2 | -0.32542 | -0.15397 | 0.32544 | 0.15134 | 1.7064e-05 | -0.0026304 | 0.010584 | 0.010551 | 0.010584 | 0.98196 | -0.18625 | 0.982 | -0.18667 | 4.8107
3 | 0.24566 | 0.11656 | -0.24565 | -0.11867 | 7.8665e-06 | -0.0021134 | 0.0079937 | 0.0080206 | 0.0080206 | 0.98194 | -0.18611 | 0.98191 | -0.18584 | 3.6457
4 | -0.32544 | -0.15134 | 0.32547 | 0.1512 | 2.6568e-05 | -0.00013762 | 0.010551 | 0.010549 | 0.010551 | 0.982 | -0.18667 | 0.98209 | -0.18605 | 5.0241
5 | 0.099193 | 0.047735 | -0.099188 | -0.048039 | 4.9751e-06 | -0.00030336 | 0.0032363 | 0.0032402 | 0.0032402 | 0.98191 | -0.18584 | 0.98186 | -0.18618 | 1.543
6 | -0.48982 | -0.2308 | 0.48983 | 0.2302 | 8.9075e-06 | -0.00060421 | 0.015916 | 0.015908 | 0.015916 | 0.98209 | -0.18605 | 0.98211 | -0.1862 | 7.2346
7 | -0.48983 | -0.2302 | 0.48987 | 0.22698 | 4.7341e-05 | -0.0032213 | 0.015908 | 0.015868 | 0.015908 | 0.98211 | -0.1862 | 0.98219 | -0.18697 | 7.2311
8 | -0.6001 | -0.28028 | 0.60016 | 0.2777 | 5.6945e-05 | -0.0025804 | 0.019466 | 0.019434 | 0.019466 | 0.98219 | -0.18697 | 0.98228 | -0.18772 | 8.8484
9 | 0.11023 | 0.053305 | -0.11022 | -0.053384 | 1.5953e-06 | -7.8609e-05 | 0.0035986 | 0.0035996 | 0.0035996 | 0.98219 | -0.18697 | 0.98218 | -0.18707 | 1.7141
10 | -0.60016 | -0.2777 | 0.60019 | 0.27643 | 2.7912e-05 | -0.0012681 | 0.019434 | 0.019418 | 0.019434 | 0.98228 | -0.18772 | 0.98232 | -0.18809 | 8.8337
11 | -0.75656 | -0.35217 | 0.7566 | 0.3512 | 3.4344e-05 | -0.00097588 | 0.024524 | 0.024512 | 0.024524 | 0.98232 | -0.18809 | 0.98237 | -0.18845 | 11.1472
12 | -0.7566 | -0.3512 | 0.75666 | 0.34941 | 6.2581e-05 | -0.001781 | 0.024512 | 0.024489 | 0.024512 | 0.98237 | -0.18845 | 0.98244 | -0.18909 | 11.1416
13 | -0.75666 | -0.34941 | 0.75667 | 0.34901 | 1.436e-05 | -0.00040915 | 0.024489 | 0.024484 | 0.024489 | 0.98244 | -0.18909 | 0.98246 | -0.18924 | 11.1315
14 | -0.88684 | -0.41205 | 0.88691 | 0.41061 | 6.9719e-05 | -0.0014381 | 0.028733 | 0.028715 | 0.028733 | 0.98246 | -0.18924 | 0.98253 | -0.18986 | 13.0606
15 | -0.88691 | -0.41061 | 0.88734 | 0.40177 | 0.00042629 | -0.0088379 | 0.028715 | 0.028606 | 0.028715 | 0.98253 | -0.18986 | 0.98297 | -0.19353 | 13.0524
16 | 0.12071 | 0.058302 | -0.12071 | -0.058462 | 1.4366e-07 | -0.00016006 | 0.0039368 | 0.0039388 | 0.0039388 | 0.98297 | -0.19353 | 0.98297 | -0.19352 | 1.7904
17 | -1.0081 | -0.46008 | 1.0106 | 0.46011 | 0.0025409 | 3.3009e-05 | 0.032541 | 0.032523 | 0.032541 | 0.98297 | -0.19353 | 0.98561 | -0.17317 | 15.4959
18 | -1.0106 | -0.46011 | 1.0111 | 0.45226 | 0.0004849 | -0.0078484 | 0.032523 | 0.032426 | 0.032523 | 0.98561 | -0.17317 | 0.98606 | -0.1767 | 14.783
19 | -1.1519 | -0.53969 | 1.1519 | 0.53926 | 3.3846e-05 | -0.00042877 | 0.036932 | 0.036927 | 0.036932 | 0.99429 | -0.11705 | 0.99432 | -0.11729 | 16.7875
20 | 0.13285 | 0.064009 | -0.13284 | -0.064337 | 9.2452e-06 | -0.00032795 | 0.0042814 | 0.0042856 | 0.0042856 | 0.99429 | -0.11705 | 0.99421 | -0.11752 | 2.0408
21 | 0.9013 | 0.41864 | -0.89984 | -0.41889 | 0.0014545 | -0.00024374 | 0.028853 | 0.028867 | 0.028867 | 0.99429 | -0.11705 | 0.99258 | -0.12933 | 13.7462
22 | -1.1519 | -0.53926 | 1.1522 | 0.53617 | 0.00024334 | -0.0030871 | 0.036927 | 0.036888 | 0.036927 | 0.99432 | -0.11729 | 0.99451 | -0.11898 | 16.785
23 | 0.84261 | 0.39117 | -0.84251 | -0.39347 | 9.6929e-05 | -0.0023083 | 0.027018 | 0.027046 | 0.027046 | 0.99258 | -0.12933 | 0.99248 | -0.12842 | 12.2938
24 | 1.5628 | 0.70262 | -1.5626 | -0.70394 | 0.00019147 | -0.0013117 | 0.049738 | 0.049754 | 0.049754 | 0.99451 | -0.11898 | 0.9944 | -0.11809 | 22.6155
25 | -2.8343 | -1.2966 | 2.8417 | 1.3038 | 0.0073761 | 0.0072124 | 0.090471 | 0.090456 | 0.090471 | 0.99451 | -0.11898 | 0.99777 | -0.034589 | 25.8489
26 | 1.5626 | 0.70394 | -1.5585 | -0.70245 | 0.0041397 | 0.0014884 | 0.049754 | 0.049767 | 0.049767 | 0.9944 | -0.11809 | 0.99159 | -0.14029 | 23.6988
27 | -2.9337 | -1.3484 | 2.9344 | 1.349 | 0.00066182 | 0.0006536 | 0.093414 | 0.093413 | 0.093414 | 0.99777 | -0.034589 | 0.99806 | -0.02729 | 26.6897
28 | -0.088509 | -0.042867 | 0.088511 | 0.042712 | 1.965e-06 | -0.0001545 | 0.0028736 | 0.0028716 | 0.0028736 | 0.98793 | -0.043206 | 0.98796 | -0.043059 | 1.3684
29 | -0.088511 | -0.042712 | 0.088512 | 0.039605 | 1.4481e-06 | -0.003107 | 0.0028716 | 0.0028333 | 0.0028716 | 0.98796 | -0.043059 | 0.98797 | -0.043188 | 1.3053
30 | -0.68268 | -0.3231 | 0.68271 | 0.32208 | 2.8774e-05 | -0.0010235 | 0.022069 | 0.022056 | 0.022069 | 0.98797 | -0.043188 | 0.98801 | -0.043536 | 10.0312
31 | 0.59417 | 0.2835 | -0.59414 | -0.28495 | 3.0965e-05 | -0.0014502 | 0.019236 | 0.019254 | 0.019254 | 0.98797 | -0.043188 | 0.98792 | -0.042747 | 8.752
32 | 0.31815 | 0.15387 | -0.31814 | -0.15395 | 1.3171e-05 | -7.2507e-05 | 0.010327 | 0.010328 | 0.010328 | 0.98792 | -0.042747 | 0.98788 | -0.043021 | 4.918
33 | 0.27599 | 0.13107 | -0.27594 | -0.13143 | 4.6651e-05 | -0.00035325 | 0.0089279 | 0.0089327 | 0.0089327 | 0.98792 | -0.042747 | 0.98775 | -0.043938 | 4.2536
34 | 0.15342 | 0.074173 | -0.15342 | -0.074304 | 5.1168e-06 | -0.00013167 | 0.0049798 | 0.0049815 | 0.0049815 | 0.98788 | -0.043021 | 0.98784 | -0.043241 | 2.3721
35 | 0.27594 | 0.13143 | -0.27581 | -0.13245 | 0.00013595 | -0.0010263 | 0.0089327 | 0.0089467 | 0.0089467 | 0.98775 | -0.043938 | 0.98723 | -0.047341 | 4.2603
36 | -0.80536 | -0.38148 | 0.80741 | 0.38078 | 0.0020518 | -0.00070162 | 0.026037 | 0.026012 | 0.026037 | 0.98801 | -0.043536 | 0.99068 | -0.025217 | 12.3987
37 | 1.1383 | 0.51299 | -1.1358 | -0.51265 | 0.0025235 | 0.00034184 | 0.036465 | 0.03648 | 0.03648 | 0.98839 | -0.15817 | 0.98606 | -0.1767 | 17.3715
38 | -1.3021 | -0.59232 | 1.3055 | 0.59318 | 0.0034137 | 0.00085404 | 0.041779 | 0.041764 | 0.041779 | 0.98839 | -0.15817 | 0.99115 | -0.13682 | 19.8949
39 | 0.10326 | 0.042057 | -0.10326 | -0.042801 | 4.4769e-07 | -0.00074382 | 0.0032475 | 0.0032557 | 0.0032557 | 0.99115 | -0.13682 | 0.99115 | -0.1368 | 1.4799
40 | -1.5578 | -0.7074 | 1.5585 | 0.70245 | 0.00072961 | -0.0049551 | 0.049829 | 0.049767 | 0.049829 | 0.99115 | -0.13682 | 0.99159 | -0.14029 | 22.6498
41 | 0.151 | 0.072005 | -0.15095 | -0.07311 | 4.16e-05 | -0.0011057 | 0.0048916 | 0.0049059 | 0.0049059 | 0.98723 | -0.047341 | 0.98694 | -0.04921 | 2.3361
42 | -0.93983 | -0.44491 | 0.94137 | 0.44477 | 0.0015402 | -0.00014093 | 0.030299 | 0.030286 | 0.030299 | 0.99068 | -0.025217 | 0.9924 | -0.013452 | 14.4283
43 | -1.1766 | -0.55488 | 1.1789 | 0.55526 | 0.002317 | 0.00038092 | 0.037841 | 0.037827 | 0.037841 | 0.9924 | -0.013452 | 0.99447 | 0.00085077 | 18.0194
44 | 0.10599 | 0.047513 | -0.10599 | -0.051333 | 2.5103e-06 | -0.0038198 | 0.0033788 | 0.0034257 | 0.0034257 | 0.9924 | -0.013452 | 0.99237 | -0.013263 | 1.5571
45 | 0.15336 | 0.067266 | -0.15336 | -0.068841 | 2.1117e-06 | -0.0015744 | 0.0048608 | 0.0048793 | 0.0048793 | 0.99455 | 0.0025348 | 0.99453 | 0.0026318 | 2.2179
46 | -0.38806 | -0.17918 | 0.38809 | 0.17553 | 3.1798e-05 | -0.0036585 | 0.012406 | 0.012362 | 0.012406 | 0.99455 | 0.0025348 | 0.99462 | 0.0019119 | 5.6393
47 | 0.11275 | 0.052857 | -0.11275 | -0.052924 | 1.3299e-06 | -6.6618e-05 | 0.0036144 | 0.0036153 | 0.0036153 | 0.99455 | 0.0025348 | 0.99453 | 0.0024477 | 1.7215
48 | 0.15336 | 0.068841 | -0.15335 | -0.072906 | 5.5291e-06 | -0.0040656 | 0.0048793 | 0.0049288 | 0.0049288 | 0.99453 | 0.0026318 | 0.9945 | 0.0029135 | 2.2404
49 | -1.6809 | -0.78592 | 1.682 | 0.77967 | 0.0010745 | -0.0062496 | 0.053856 | 0.053776 | 0.053856 | 0.99462 | 0.0019119 | 0.99522 | -0.003171 | 24.48
50 | 1.2929 | 0.61039 | -1.2927 | -0.61035 | 0.00018985 | 4.5844e-05 | 0.041495 | 0.041496 | 0.041496 | 0.99462 | 0.0019119 | 0.99447 | 0.00085077 | 19.76
51 | 0.11275 | 0.052924 | -0.11275 | -0.054118 | 8.8656e-07 | -0.0011947 | 0.0036153 | 0.0036301 | 0.0036301 | 0.99453 | 0.0024477 | 0.99453 | 0.0025131 | 1.6501
52 | 0.11275 | 0.054118 | -0.11275 | -0.054606 | 3.6379e-07 | -0.00048741 | 0.0036301 | 0.0036363 | 0.0036363 | 0.99453 | 0.0025131 | 0.99452 | 0.002541 | 1.6529
53 | 0.15335 | 0.072906 | -0.15335 | -0.074271 | 1.8816e-06 | -0.0013647 | 0.0049288 | 0.004946 | 0.004946 | 0.9945 | 0.0029135 | 0.99449 | 0.0030182 | 2.2482
54 | 0.089403 | 0.041944 | -0.089403 | -0.0433 | 6.3168e-07 | -0.0013556 | 0.0028645 | 0.0028814 | 0.0028814 | 0.99522 | -0.003171 | 0.99521 | -0.0031116 | 1.3097
55 | -1.7714 | -0.82161 | 1.7724 | 0.81637 | 0.0010018 | -0.0052441 | 0.05664 | 0.056573 | 0.05664 | 0.99522 | -0.003171 | 0.99574 | -0.0075906 | 25.7454
56 | -1.7724 | -0.81637 | 1.774 | 0.81704 | 0.0016019 | 0.00067053 | 0.056573 | 0.056569 | 0.056573 | 0.99574 | -0.0075906 | 0.9967 | -0.00051092 | 26.9393
57 | 1.7744 | 0.81493 | -1.774 | -0.81704 | 0.00040126 | -0.0021104 | 0.056542 | 0.056569 | 0.056569 | 0.99691 | -0.0022574 | 0.9967 | -0.00051092 | 25.713
58 | -1.876 | -0.86414 | 1.8783 | 0.85357 | 0.0022541 | -0.010569 | 0.05981 | 0.059675 | 0.05981 | 0.99691 | -0.0022574 | 0.99804 | -0.011411 | 27.1864
59 | -1.9497 | -0.88323 | 1.9498 | 0.88291 | 7.4131e-05 | -0.00032259 | 0.06191 | 0.061906 | 0.06191 | 0.99804 | -0.011411 | 0.99807 | -0.011694 | 28.141
60 | 0.071407 | 0.02966 | -0.071406 | -0.034526 | 1.4008e-06 | -0.0048664 | 0.0022365 | 0.0022942 | 0.0022942 | 0.99804 | -0.011411 | 0.99802 | -0.011268 | 1.0428
61 | -1.9498 | -0.88291 | 1.9502 | 0.88107 | 0.0004223 | -0.0018391 | 0.061906 | 0.061883 | 0.061906 | 0.99807 | -0.011694 | 0.99828 | -0.013298 | 28.1391
62 | 0.071406 | 0.034526 | -0.071405 | -0.034583 | 4.5043e-07 | -5.6816e-05 | 0.0022942 | 0.0022949 | 0.0022949 | 0.99802 | -0.011268 | 0.99801 | -0.01131 | 1.0928
63 | -2.0633 | -0.93586 | 2.0643 | 0.93631 | 0.00095827 | 0.00045108 | 0.065516 | 0.065515 | 0.065516 | 0.99828 | -0.013298 | 0.99877 | -0.0094849 | 31.1982
64 | -0.1538 | -0.074491 | 0.15381 | 0.073882 | 8.3341e-07 | -0.00060901 | 0.0049416 | 0.004934 | 0.0049416 | 0.99831 | -0.020107 | 0.99831 | -0.020154 | 2.2462
65 | -0.53227 | -0.2552 | 0.53228 | 0.25464 | 9.0946e-06 | -0.00055394 | 0.017069 | 0.017062 | 0.017069 | 0.99831 | -0.020154 | 0.99833 | -0.020299 | 7.7586
66 | 0.37847 | 0.18131 | -0.37845 | -0.18137 | 1.3052e-05 | -5.1007e-05 | 0.012135 | 0.012136 | 0.012136 | 0.99831 | -0.020154 | 0.99828 | -0.02039 | 5.7789
67 | -0.53228 | -0.25464 | 0.53228 | 0.25444 | 3.3157e-06 | -0.00020207 | 0.017062 | 0.017059 | 0.017062 | 0.99833 | -0.020299 | 0.99833 | -0.020351 | 7.7554
68 | 0.22477 | 0.10693 | -0.22477 | -0.10738 | 1.2951e-06 | -0.00044482 | 0.0071978 | 0.0072033 | 0.0072033 | 0.99828 | -0.02039 | 0.99827 | -0.020342 | 3.2742
69 | -0.6805 | -0.32623 | 0.68055 | 0.32619 | 4.4533e-05 | -3.4567e-05 | 0.021821 | 0.021821 | 0.021821 | 0.99833 | -0.020351 | 0.9984 | -0.019903 | 10.3912
70 | -0.12358 | -0.059852 | 0.12358 | 0.058475 | 1.2132e-06 | -0.0013774 | 0.0039705 | 0.0039533 | 0.0039705 | 0.99832 | -0.024026 | 0.99833 | -0.024109 | 1.8048
71 | 3.0475 | 1.3982 | -3.047 | -1.4013 | 0.00046143 | -0.0031377 | 0.096952 | 0.096994 | 0.096994 | 0.99833 | -0.024109 | 0.99817 | -0.026025 | 26.794
72 | -3.1711 | -1.4567 | 3.1717 | 1.4524 | 0.00067815 | -0.0042259 | 0.10091 | 0.10085 | 0.10091 | 0.99833 | -0.024109 | 0.99857 | -0.021396 | 27.8744
73 | 3.047 | 1.4013 | -3.0467 | -1.4034 | 0.00030601 | -0.0020785 | 0.096994 | 0.097022 | 0.097022 | 0.99817 | -0.026025 | 0.99806 | -0.02729 | 26.8017
74 | -3.8524 | -1.7741 | 3.8534 | 1.7752 | 0.0010367 | 0.0010917 | 0.12261 | 0.12261 | 0.12261 | 0.99857 | -0.021396 | 0.99891 | -0.012706 | 35.0318
75 | 0.68067 | 0.32167 | -0.68055 | -0.32619 | 0.00012127 | -0.0045173 | 0.021764 | 0.021821 | 0.021821 | 0.99857 | -0.021396 | 0.9984 | -0.019903 | 9.9185
76 | -3.913 | -1.804 | 3.9132 | 1.8031 | 0.00023705 | -0.0009114 | 0.12452 | 0.12451 | 0.12452 | 0.99891 | -0.012706 | 0.99897 | -0.011946 | 34.3982
77 | 0.12344 | 0.058304 | -0.12344 | -0.058585 | 2.4574e-07 | -0.00028071 | 0.0039478 | 0.0039513 | 0.0039513 | 0.99827 | -0.020342 | 0.99827 | -0.020325 | 1.796
78 | 0.12344 | 0.058585 | -0.12344 | -0.059316 | 6.4169e-07 | -0.00073065 | 0.0039513 | 0.0039604 | 0.0039604 | 0.99827 | -0.020325 | 0.99826 | -0.020281 | 1.8002
79 | 0.12344 | 0.059316 | -0.12344 | -0.059786 | 4.1477e-07 | -0.00047048 | 0.0039604 | 0.0039663 | 0.0039663 | 0.99826 | -0.020281 | 0.99826 | -0.020252 | 1.8029
80 | 4.2507 | 1.9336 | -4.2502 | -1.9354 | 0.00054565 | -0.0017302 | 0.13489 | 0.13491 | 0.13491 | 0.99939 | -0.0071267 | 0.99925 | -0.0087815 | 37.2692
81 | -4.3845 | -1.9984 | 4.3863 | 1.9933 | 0.0017542 | -0.0051557 | 0.13918 | 0.1391 | 0.13918 | 0.99939 | -0.0071267 | 0.99983 | -0.0019701 | 38.448
82 | 3.9142 | 1.7994 | -3.9132 | -1.8031 | 0.00098287 | -0.003783 | 0.12445 | 0.12451 | 0.12451 | 0.99925 | -0.0087815 | 0.99897 | -0.011946 | 34.3945
83 | 0.33596 | 0.136 | -0.33594 | -0.13611 | 2.0438e-05 | -0.00011189 | 0.010471 | 0.010472 | 0.010472 | 0.99925 | -0.0087815 | 0.99918 | -0.0094444 | 4.9867
84 | -4.4643 | -2.031 | 4.465 | 2.0291 | 0.00068107 | -0.0019175 | 0.14161 | 0.14158 | 0.14161 | 0.99983 | -0.0019701 | 1 | 0 | 39.1179
85 | 0.18478 | 0.062899 | -0.18478 | -0.064338 | 2.5704e-06 | -0.001439 | 0.0056393 | 0.0056528 | 0.0056528 | 0.99918 | -0.0094444 | 0.99917 | -0.0094105 | 2.5695
86 | 2.0667 | 0.93744 | -2.0643 | -0.93631 | 0.0023861 | 0.0011225 | 0.06551 | 0.065515 | 0.065515 | 1 | 0 | 0.99877 | -0.0094849 | 31.1974
87 | -0.18477 | -0.067021 | 0.18477 | 0.066175 | 1.5266e-06 | -0.00084597 | 0.0056788 | 0.0056705 | 0.0056788 | 0.99914 | -0.0093323 | 0.99915 | -0.009359 | 2.5813
88 | 0.083591 | 0.018017 | -0.083591 | -0.019095 | 3.6944e-07 | -0.0010776 | 0.0024706 | 0.0024773 | 0.0024773 | 0.99914 | -0.0093323 | 0.99914 | -0.0093503 | 1.1261
89 | -0.18477 | -0.066175 | 0.18478 | 0.064338 | 3.2997e-06 | -0.001837 | 0.0056705 | 0.0056528 | 0.0056705 | 0.99915 | -0.009359 | 0.99917 | -0.0094105 | 2.5775
90 | 0.083591 | 0.019095 | -0.083584 | -0.038487 | 7.0885e-06 | -0.019392 | 0.0024773 | 0.0026589 | 0.0026589 | 0.99914 | -0.0093503 | 0.99906 | -0.0091426 | 1.2086
91 | -0.44955 | -0.21416 | 0.44957 | 0.21259 | 1.8761e-05 | -0.0015692 | 0.01449 | 0.014471 | 0.01449 | 0.99201 | -0.12593 | 0.99205 | -0.12628 | 6.5865
92 | 0.44955 | 0.21416 | -0.44952 | -0.2167 | 3.0493e-05 | -0.0025411 | 0.01449 | 0.014522 | 0.014522 | 0.99201 | -0.12593 | 0.99195 | -0.12536 | 6.6011
93 | -0.57254 | -0.27215 | 0.57256 | 0.27078 | 2.6577e-05 | -0.0013682 | 0.018447 | 0.018429 | 0.018447 | 0.99205 | -0.12628 | 0.99209 | -0.12667 | 8.3848
94 | 0.13822 | 0.066715 | -0.13822 | -0.066945 | 2.6043e-07 | -0.0002295 | 0.0044666 | 0.0044695 | 0.0044695 | 0.99195 | -0.12536 | 0.99195 | -0.12534 | 2.0316
95 | 0.31129 | 0.14998 | -0.31129 | -0.15023 | 1.4238e-06 | -0.00024729 | 0.010056 | 0.010059 | 0.010059 | 0.99195 | -0.12536 | 0.99194 | -0.12532 | 4.5723
96 | 0.083584 | 0.038487 | -0.083583 | -0.040481 | 7.9705e-07 | -0.001994 | 0.0026589 | 0.0026835 | 0.0026835 | 0.99906 | -0.0091426 | 0.99905 | -0.0090641 | 1.2198
97 | -0.57256 | -0.27078 | 0.57263 | 0.26759 | 6.1652e-05 | -0.0031842 | 0.018429 | 0.01839 | 0.018429 | 0.99209 | -0.12667 | 0.99219 | -0.12754 | 8.377
98 | 0.20035 | 0.096501 | -0.20035 | -0.096527 | 1.6833e-06 | -2.544e-05 | 0.0064717 | 0.0064721 | 0.0064721 | 0.99194 | -0.12532 | 0.99194 | -0.12537 | 3.0819
99 | -0.57263 | -0.26759 | 0.57265 | 0.26639 | 2.3286e-05 | -0.0012064 | 0.01839 | 0.018375 | 0.01839 | 0.99219 | -0.12754 | 0.99223 | -0.12787 | 8.359
100 | 0.84251 | 0.39347 | -0.84251 | -0.39357 | 4.1046e-06 | -9.7629e-05 | 0.027046 | 0.027048 | 0.027048 | 0.99248 | -0.12842 | 0.99247 | -0.12838 | 12.2943
101 | 0.84251 | 0.39357 | -0.84244 | -0.3951 | 6.4523e-05 | -0.0015334 | 0.027048 | 0.027067 | 0.027067 | 0.99247 | -0.12838 | 0.9924 | -0.12776 | 12.303
102 | 0.69706 | 0.32469 | -0.697 | -0.32654 | 5.2928e-05 | -0.0018456 | 0.022368 | 0.022391 | 0.022391 | 0.9924 | -0.12776 | 0.99233 | -0.12715 | 10.1777
103 | 0.20035 | 0.096527 | -0.20035 | -0.096845 | 7.5831e-07 | -0.00031815 | 0.0064721 | 0.0064761 | 0.0064761 | 0.99194 | -0.12537 | 0.99193 | -0.12534 | 2.9437
104 | 0.071243 | 0.034316 | -0.071243 | -0.034505 | 5.6945e-08 | -0.00018901 | 0.0023013 | 0.0023037 | 0.0023037 | 0.99193 | -0.12534 | 0.99193 | -0.12533 | 1.0471
105 | -0.69694 | -0.32658 | 0.697 | 0.32654 | 6.7335e-05 | -4.6424e-05 | 0.022392 | 0.022391 | 0.022392 | 0.99223 | -0.12787 | 0.99233 | -0.12715 | 10.6629
106 | 0.10326 | 0.042801 | -0.10326 | -0.049896 | 4.3895e-06 | -0.0070946 | 0.0032557 | 0.0033403 | 0.0033403 | 0.99115 | -0.1368 | 0.99111 | -0.13649 | 1.5183
107 | 0.10326 | 0.049896 | -0.10326 | -0.05001 | 1.9634e-06 | -0.00011454 | 0.0033403 | 0.0033418 | 0.0033418 | 0.99111 | -0.13649 | 0.99109 | -0.13661 | 1.5913

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.6328 | 3.0193

## res_load
| p_mw | q_mvar
0 | 0.079757 | 0.038628
1 | 0.14646 | 0.070934
2 | 0.16435 | 0.079599
3 | 0.099188 | 0.048039
4 | 0.11022 | 0.053384
5 | 0.15638 | 0.075738
6 | 0.13017 | 0.063044
7 | 0.12071 | 0.058462
8 | 0.11776 | 0.057035
9 | 0.13284 | 0.064337
10 | 0.057236 | 0.02772
11 | 0.11931 | 0.057782
12 | 0.092016 | 0.044565
13 | 0.088509 | 0.042867
14 | 0.16471 | 0.079774
15 | 0.12265 | 0.059401
16 | 0.15342 | 0.074304
17 | 0.16381 | 0.079336
18 | 0.12468 | 0.060384
19 | 0.14901 | 0.072169
20 | 0.12481 | 0.06045
21 | 0.15095 | 0.07311
22 | 0.13242 | 0.064132
23 | 0.12924 | 0.062592
24 | 0.12195 | 0.059061
25 | 0.11375 | 0.055091
26 | 0.11275 | 0.054606
27 | 0.15335 | 0.074271
28 | 0.089403 | 0.0433
29 | 0.10161 | 0.049213
30 | 0.11313 | 0.054791
31 | 0.071405 | 0.034583
32 | 0.10599 | 0.051333
33 | 0.1538 | 0.074491
34 | 0.15368 | 0.074433
35 | 0.14822 | 0.071786
36 | 0.12358 | 0.059852
37 | 0.11234 | 0.054407
38 | 0.059533 | 0.028833
39 | 0.10132 | 0.049073
40 | 0.13379 | 0.0648
41 | 0.078013 | 0.037783
42 | 0.15116 | 0.073212
43 | 0.087174 | 0.04222
44 | 0.10118 | 0.049004
45 | 0.12297 | 0.059558
46 | 0.13822 | 0.066945
47 | 0.11094 | 0.05373
48 | 0.083583 | 0.040481
49 | 0.14539 | 0.070414
50 | 0.12911 | 0.062529
51 | 0.071243 | 0.034505
52 | 0.12344 | 0.059786
53 | 0.12429 | 0.060194
54 | 0.10326 | 0.05001

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1