## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_101_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_101_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_101_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_101_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_101_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_101_0_node_246 | 20 | n |  | TRUE
6 | bus_MV_101_0_node_261 | 20 | n |  | TRUE
7 | bus_MV_101_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_101_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_101_0_node_245 | 20 | n |  | TRUE
10 | bus_MV_101_0_node_7 | 20 | n |  | TRUE
11 | bus_MV_101_0_node_9 | 20 | n |  | TRUE
12 | bus_MV_101_0_node_168 | 20 | n |  | TRUE
13 | bus_MV_101_0_node_169 | 20 | n |  | TRUE
14 | bus_MV_101_0_node_170 | 20 | n |  | TRUE
15 | bus_MV_101_0_node_176 | 20 | n |  | TRUE
16 | bus_MV_101_0_node_194 | 20 | n |  | TRUE
17 | bus_MV_101_0_node_171 | 20 | n |  | TRUE
18 | bus_MV_101_0_node_172 | 20 | n |  | TRUE
19 | bus_MV_101_0_node_174 | 20 | n |  | TRUE
20 | bus_MV_101_0_node_173 | 20 | n |  | TRUE
21 | bus_MV_101_0_node_249 | 20 | n |  | TRUE
22 | bus_MV_101_0_node_248 | 20 | n |  | TRUE
23 | bus_MV_101_0_node_175 | 20 | n |  | TRUE
24 | bus_MV_101_0_node_177 | 20 | n |  | TRUE
25 | bus_MV_101_0_node_180 | 20 | n |  | TRUE
26 | bus_MV_101_0_node_181 | 20 | n |  | TRUE
27 | bus_MV_101_0_node_182 | 20 | n |  | TRUE
28 | bus_MV_101_0_node_183 | 20 | n |  | TRUE
29 | bus_MV_101_0_node_178 | 20 | n |  | TRUE
30 | bus_MV_101_0_node_267 | 20 | n |  | TRUE
31 | bus_MV_101_0_node_259 | 20 | n |  | TRUE
32 | bus_MV_101_0_node_179 | 20 | n |  | TRUE
33 | bus_MV_101_0_node_239 | 20 | n |  | TRUE
34 | bus_MV_101_0_node_225 | 20 | n |  | TRUE
35 | bus_MV_101_0_node_240 | 20 | n |  | TRUE
36 | bus_MV_101_0_node_186 | 20 | n |  | TRUE
37 | bus_MV_101_0_node_193 | 20 | n |  | TRUE
38 | bus_MV_101_0_node_187 | 20 | n |  | TRUE
39 | bus_MV_101_0_node_228 | 20 | n |  | TRUE
40 | bus_MV_101_0_node_184 | 20 | n |  | TRUE
41 | bus_MV_101_0_node_185 | 20 | n |  | TRUE
42 | bus_MV_101_0_node_195 | 20 | n |  | TRUE
43 | bus_MV_101_0_node_188 | 20 | n |  | TRUE
44 | bus_MV_101_0_node_189 | 20 | n |  | TRUE
45 | bus_MV_101_0_node_190 | 20 | n |  | TRUE
46 | bus_MV_101_0_node_196 | 20 | n |  | TRUE
47 | bus_MV_101_0_node_197 | 20 | n |  | TRUE
48 | bus_MV_101_0_node_198 | 20 | n |  | TRUE
49 | bus_MV_101_0_node_200 | 20 | n |  | TRUE
50 | bus_MV_101_0_node_201 | 20 | n |  | TRUE
51 | bus_MV_101_0_node_212 | 20 | n |  | TRUE
52 | bus_MV_101_0_node_199 | 20 | n |  | TRUE
53 | bus_MV_101_0_node_268 | 20 | n |  | TRUE
54 | bus_MV_101_0_node_202 | 20 | n |  | TRUE
55 | bus_MV_101_0_node_205 | 20 | n |  | TRUE
56 | bus_MV_101_0_node_204 | 20 | n |  | TRUE
57 | bus_MV_101_0_node_229 | 20 | n |  | TRUE
58 | bus_MV_101_0_node_203 | 20 | n |  | TRUE
59 | bus_MV_101_0_node_210 | 20 | n |  | TRUE
60 | bus_MV_101_0_node_206 | 20 | n |  | TRUE
61 | bus_MV_101_0_node_207 | 20 | n |  | TRUE
62 | bus_MV_101_0_node_208 | 20 | n |  | TRUE
63 | bus_MV_101_0_node_209 | 20 | n |  | TRUE
64 | bus_MV_101_0_node_273 | 20 | n |  | TRUE
65 | bus_MV_101_0_node_272 | 20 | n |  | TRUE
66 | bus_MV_101_0_node_211 | 20 | n |  | TRUE
67 | bus_MV_101_0_node_213 | 20 | n |  | TRUE
68 | bus_MV_101_0_node_214 | 20 | n |  | TRUE
69 | bus_MV_101_0_node_216 | 20 | n |  | TRUE
70 | bus_MV_101_0_node_227 | 20 | n |  | TRUE
71 | bus_MV_101_0_node_254 | 20 | n |  | TRUE
72 | bus_MV_101_0_node_217 | 20 | n |  | TRUE
73 | bus_MV_101_0_node_218 | 20 | n |  | TRUE
74 | bus_MV_101_0_node_219 | 20 | n |  | TRUE
75 | bus_MV_101_0_node_220 | 20 | n |  | TRUE
76 | bus_MV_101_0_node_222 | 20 | n |  | TRUE
77 | bus_MV_101_0_node_241 | 20 | n |  | TRUE
78 | bus_MV_101_0_node_221 | 20 | n |  | TRUE
79 | bus_MV_101_0_node_223 | 20 | n |  | TRUE
80 | bus_MV_101_0_node_224 | 20 | n |  | TRUE
81 | bus_MV_101_0_node_258 | 20 | n |  | TRUE
82 | bus_MV_101_0_node_263 | 20 | n |  | TRUE
83 | bus_MV_101_0_node_271 | 20 | n |  | TRUE
84 | bus_HV_101_0_node_169 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_101_0_load_0 | 0 | 0.31894 | 0.15447 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_101_0_load_246 | 5 | 0.13175 | 0.063811 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_101_0_load_261 | 6 | 0.22487 | 0.10891 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_101_0_load_5 | 7 | 0.36203 | 0.17534 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_101_0_load_245 | 9 | 0.08332 | 0.040354 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_101_0_load_9 | 11 | 0.25389 | 0.12296 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_101_0_load_168 | 12 | 0.36018 | 0.17444 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_101_0_load_194 | 16 | 0.40149 | 0.19445 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_101_0_load_171 | 17 | 0.31133 | 0.15078 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_101_0_load_249 | 21 | 0.29889 | 0.14476 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_101_0_load_248 | 22 | 0.36655 | 0.17753 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_101_0_load_175 | 23 | 0.22307 | 0.10804 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_101_0_load_267 | 30 | 0.052709 | 0.025528 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_101_0_load_259 | 31 | 0.39033 | 0.18905 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_101_0_load_239 | 33 | 0.073301 | 0.035501 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_101_0_load_225 | 34 | 0.16434 | 0.079592 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_101_0_load_240 | 35 | 0.12071 | 0.058464 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_101_0_load_193 | 37 | 0.31003 | 0.15015 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_101_0_load_187 | 38 | 0.27429 | 0.13284 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_101_0_load_228 | 39 | 0.3355 | 0.16249 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_101_0_load_184 | 40 | 0.32726 | 0.1585 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_101_0_load_195 | 42 | 0.17956 | 0.086965 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_101_0_load_190 | 45 | 0.35557 | 0.17221 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_101_0_load_196 | 46 | 0.28953 | 0.14023 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_101_0_load_212 | 51 | 0.17759 | 0.086012 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_101_0_load_268 | 53 | 0.30771 | 0.14903 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_101_0_load_202 | 54 | 0.27534 | 0.13335 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_101_0_load_205 | 55 | 0.20686 | 0.10018 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_101_0_load_229 | 57 | 0.19687 | 0.095347 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_101_0_load_203 | 58 | 0.28695 | 0.13897 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_101_0_load_206 | 60 | 0.3691 | 0.17876 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_101_0_load_273 | 64 | 0.21562 | 0.10443 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_101_0_load_211 | 66 | 0.37018 | 0.17929 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_101_0_load_213 | 67 | 0.37693 | 0.18256 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_101_0_load_227 | 70 | 0.17522 | 0.084865 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_101_0_load_254 | 71 | 0.21519 | 0.10422 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_101_0_load_218 | 73 | 0.32023 | 0.15509 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_101_0_load_241 | 77 | 0.26497 | 0.12833 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_101_0_load_221 | 78 | 0.23632 | 0.11446 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_101_0_load_263 | 82 | 0.057112 | 0.027661 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_101_0_load_271 | 83 | 0.14753 | 0.07145 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_101_0_line_0 |  | 0 | 1 | 0.01079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_101_0_line_1 |  | 0 | 2 | 0.027841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_101_0_line_2 |  | 1 | 3 | 0.39664 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_101_0_line_3 |  | 2 | 4 | 1.0244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_101_0_line_4 |  | 3 | 5 | 0.072346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_101_0_line_5 |  | 4 | 6 | 0.060191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_101_0_line_6 |  | 6 | 8 | 0.55821 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_101_0_line_7 |  | 6 | 10 | 0.43961 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_101_0_line_8 |  | 7 | 8 | 0.029521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_101_0_line_9 |  | 7 | 9 | 0.48919 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_101_0_line_10 |  | 9 | 72 | 1.1315 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_101_0_line_11 |  | 10 | 11 | 0.12142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_101_0_line_12 |  | 12 | 13 | 0.022604 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_101_0_line_13 |  | 13 | 14 | 0.19465 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
14 | MV_101_0_line_14 |  | 14 | 15 | 0.26356 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
15 | MV_101_0_line_15 |  | 14 | 16 | 0.019134 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
16 | MV_101_0_line_16 |  | 15 | 25 | 0.83435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_101_0_line_17 |  | 15 | 23 | 0.014999 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_101_0_line_18 |  | 16 | 17 | 0.1068 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
19 | MV_101_0_line_19 |  | 17 | 18 | 0.040642 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_101_0_line_20 |  | 18 | 19 | 0.10997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_101_0_line_21 |  | 19 | 22 | 0.00902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_101_0_line_22 |  | 19 | 20 | 0.12375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_101_0_line_23 |  | 20 | 21 | 0.007515 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_101_0_line_24 |  | 21 | 58 | 0.17185 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_101_0_line_25 |  | 23 | 24 | 0.045541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_101_0_line_26 |  | 24 | 26 | 0.10955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_101_0_line_27 |  | 24 | 27 | 0.45466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_101_0_line_28 |  | 24 | 28 | 0.38955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_101_0_line_29 |  | 25 | 35 | 0.051485 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_101_0_line_30 |  | 25 | 29 | 0.47984 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_101_0_line_31 |  | 25 | 32 | 0.12997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_101_0_line_32 |  | 26 | 36 | 0.15271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_101_0_line_33 |  | 26 | 37 | 0.079027 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_101_0_line_34 |  | 27 | 38 | 0.054246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_101_0_line_35 |  | 28 | 39 | 0.039046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_101_0_line_36 |  | 29 | 30 | 0.039554 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_101_0_line_37 |  | 29 | 31 | 0.82711 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_101_0_line_38 |  | 32 | 33 | 0.036722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_101_0_line_39 |  | 32 | 34 | 0.28428 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_101_0_line_40 |  | 33 | 75 | 0.069904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_101_0_line_41 |  | 36 | 42 | 0.022328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_101_0_line_42 |  | 36 | 41 | 0.18237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_101_0_line_43 |  | 38 | 43 | 0.003819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_101_0_line_44 |  | 40 | 41 | 0.0544 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_101_0_line_45 |  | 43 | 44 | 0.11034 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_101_0_line_46 |  | 44 | 45 | 0.028621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_101_0_line_47 |  | 46 | 47 | 0.035216 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_101_0_line_48 |  | 47 | 48 | 0.14361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_101_0_line_49 |  | 47 | 49 | 0.17887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_101_0_line_50 |  | 47 | 50 | 0.21048 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_101_0_line_51 |  | 48 | 51 | 0.020421 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_101_0_line_52 |  | 49 | 54 | 0.023853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_101_0_line_53 |  | 49 | 52 | 0.15804 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_101_0_line_54 |  | 50 | 55 | 0.050693 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_101_0_line_55 |  | 50 | 56 | 0.019335 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_101_0_line_56 |  | 52 | 53 | 0.031615 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_101_0_line_57 |  | 54 | 57 | 0.58841 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_101_0_line_58 |  | 55 | 59 | 0.047534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_101_0_line_59 |  | 56 | 58 | 0.051722 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_101_0_line_60 |  | 57 | 81 | 0.80096 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_101_0_line_61 |  | 59 | 61 | 0.36586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_101_0_line_62 |  | 60 | 61 | 0.041689 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_101_0_line_63 |  | 61 | 62 | 0.29565 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_101_0_line_64 |  | 61 | 63 | 0.156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_101_0_line_65 |  | 62 | 64 | 0.020883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_101_0_line_66 |  | 62 | 65 | 0.89558 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_101_0_line_67 |  | 63 | 66 | 0.03546 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_101_0_line_68 |  | 65 | 83 | 0.066357 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_101_0_line_69 |  | 67 | 68 | 0.080058 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_101_0_line_70 |  | 68 | 69 | 0.19047 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_101_0_line_71 |  | 68 | 70 | 0.56163 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_101_0_line_72 |  | 69 | 71 | 0.0756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_101_0_line_73 |  | 70 | 72 | 0.095465 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_101_0_line_74 |  | 71 | 80 | 0.087778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_101_0_line_75 |  | 73 | 74 | 0.018102 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_101_0_line_76 |  | 74 | 75 | 0.11661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_101_0_line_77 |  | 75 | 76 | 0.28639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_101_0_line_78 |  | 75 | 77 | 0.031809 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_101_0_line_79 |  | 76 | 78 | 0.087579 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_101_0_line_80 |  | 78 | 79 | 0.094592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_101_0_line_81 |  | 79 | 80 | 0.084965 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_101_0_line_82 |  | 81 | 82 | 0.12326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_101_0_trafo_169 | 25 MVA 110/20 kV | 84 | 13 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2572855.5228 | 1103239.6512
1 | 2572865.3889 | 1103244.019
2 | 2572830.065 | 1103228.3806
3 | 2572600.9214 | 1103111.054
4 | 2572032.0088 | 1102905.7627
5 | 2572647.5724 | 1103165.9932
6 | 2571981.3078 | 1102873.3918
7 | 2571485.1265 | 1102558.4593
8 | 2571508.7541 | 1102576.2461
9 | 2571031.0644 | 1102376.4223
10 | 2572134.3437 | 1102461.2751
11 | 2572103.6945 | 1102348.3587
12 | 2570912.8096 | 1104330.1199
13 | 2570926.5144 | 1104312.1449
14 | 2570982.6826 | 1104418.1293
15 | 2570787.7925 | 1104264.5553
16 | 2570993.9404 | 1104433.4276
17 | 2571083.8377 | 1104491.0934
18 | 2571110.691 | 1104521.614
19 | 2571138.7983 | 1104584.801
20 | 2571050.4086 | 1104649.4339
21 | 2571051.5116 | 1104656.8657
22 | 2571147.5663 | 1104582.5802
23 | 2570776.9285 | 1104274.8908
24 | 2570744.9551 | 1104307.4063
25 | 2570309.8274 | 1104040.1779
26 | 2570764.965 | 1104405.0038
27 | 2570718.3016 | 1104667.063
28 | 2570538.7172 | 1104401.8883
29 | 2570157.596 | 1104362.5578
30 | 2570187.7024 | 1104388.2114
31 | 2569542.0521 | 1104915.0174
32 | 2570231.0437 | 1103994.4193
33 | 2570252.7398 | 1103964.7922
34 | 2569950.7452 | 1104041.8286
35 | 2570281.5684 | 1103998.7621
36 | 2570845.5077 | 1104422.9021
37 | 2570707.0137 | 1104458.7336
38 | 2570752.0667 | 1104709.588
39 | 2570518.2644 | 1104368.6279
40 | 2570793.921 | 1104609.4793
41 | 2570836.9108 | 1104576.1439
42 | 2570863.4776 | 1104436.2224
43 | 2570754.4479 | 1104712.578
44 | 2570823.4819 | 1104798.6442
45 | 2570841.2398 | 1104821.1256
46 | 2571174.9969 | 1105019.9722
47 | 2571148.0596 | 1105042.6566
48 | 2571256.0062 | 1104994.8296
49 | 2571019.3152 | 1105117.2542
50 | 2571146.7239 | 1104876.1671
51 | 2571271.3402 | 1104981.2943
52 | 2570976.2178 | 1104997.0218
53 | 2570956.3785 | 1104972.5156
54 | 2570999.9034 | 1105131.1166
55 | 2571184.2408 | 1104868.2267
56 | 2571134.6946 | 1104861.0056
57 | 2570518.9802 | 1105470.1398
58 | 2571101.6037 | 1104821.2544
59 | 2571222.2128 | 1104839.6335
60 | 2571357.0098 | 1104791.9585
61 | 2571395.1265 | 1104808.8423
62 | 2571397.7702 | 1104664.6342
63 | 2571399.5279 | 1104918.544
64 | 2571384.0856 | 1104680.4403
65 | 2572283.7615 | 1104533.9113
66 | 2571402.1777 | 1104953.9051
67 | 2569795.8174 | 1103405.0744
68 | 2569741.0602 | 1103463.4777
69 | 2569842.6155 | 1103602.7754
70 | 2570094.5931 | 1103027.0866
71 | 2569885.279 | 1103665.106
72 | 2570051.1035 | 1102942.1026
73 | 2570391.95 | 1103973.4304
74 | 2570374.0378 | 1103970.8167
75 | 2570295.5566 | 1103909.559
76 | 2570154.7416 | 1103802.7861
77 | 2570281.0914 | 1103937.8889
78 | 2570099.1756 | 1103735.0924
79 | 2570012.3465 | 1103769.962
80 | 2569950.9402 | 1103719.8076
81 | 2569759.0118 | 1105723.0858
82 | 2569678.1938 | 1105645.9731
83 | 2572348.7042 | 1104519.4735
84 | 2570926.5144 | 1104312.1449

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98306 | -0.0075753 | 0.31894 | 0.15447
1 | 0.98306 | -0.0075655 | 0 | 0
2 | 0.98308 | -0.0077098 | 0 | 0
3 | 0.98299 | -0.0070819 | 0 | 0
4 | 0.98367 | -0.011833 | 0 | 0
5 | 0.98298 | -0.0069679 | 0.13175 | 0.063811
6 | 0.9837 | -0.012025 | 0.22487 | 0.10891
7 | 0.98474 | -0.0038269 | 0.36203 | 0.17534
8 | 0.9847 | -0.0035674 | 0 | 0
9 | 0.98596 | 0.0058278 | 0.08332 | 0.040354
10 | 0.98348 | -0.013538 | 0 | 0
11 | 0.98344 | -0.013167 | 0.25389 | 0.12296
12 | 0.99998 | -9.8407e-05 | 0.36018 | 0.17444
13 | 1 | 0 | -10.4816 | -4.8573
14 | 0.99936 | -0.0029111 | 0 | 0
15 | 0.99854 | -0.012409 | 0 | 0
16 | 0.99932 | -0.003395 | 0.40149 | 0.19445
17 | 0.99883 | -0.015679 | 0.31133 | 0.15078
18 | 0.99864 | -0.014081 | 0 | 0
19 | 0.99814 | -0.0097391 | 0 | 0
20 | 0.99764 | -0.0053697 | 0 | 0
21 | 0.99761 | -0.0051035 | 0.29889 | 0.14476
22 | 0.99814 | -0.0096994 | 0.36655 | 0.17753
23 | 0.9985 | -0.012085 | 0.22307 | 0.10804
24 | 0.9984 | -0.01122 | 0 | 0
25 | 0.99453 | 0.020497 | 0 | 0
26 | 0.99828 | -0.010216 | 0 | 0
27 | 0.99803 | -0.0080755 | 0 | 0
28 | 0.99823 | -0.00979 | 0 | 0
29 | 0.99425 | 0.022865 | 0 | 0
30 | 0.99425 | 0.02284 | 0.052709 | 0.025528
31 | 0.99363 | 0.018882 | 0.39033 | 0.18905
32 | 0.99399 | 0.024968 | 0 | 0
33 | 0.99385 | 0.026165 | 0.073301 | 0.035501
34 | 0.9939 | 0.024393 | 0.16434 | 0.079592
35 | 0.99452 | 0.020571 | 0.12071 | 0.058464
36 | 0.99819 | -0.0093525 | 0 | 0
37 | 0.99824 | -0.010513 | 0.31003 | 0.15015
38 | 0.99799 | -0.0076791 | 0.27429 | 0.13284
39 | 0.99822 | -0.0096339 | 0.3355 | 0.16249
40 | 0.99808 | -0.008878 | 0.32726 | 0.1585
41 | 0.99811 | -0.0086619 | 0 | 0
42 | 0.99818 | -0.0093048 | 0.17956 | 0.086965
43 | 0.99799 | -0.0076636 | 0 | 0
44 | 0.99794 | -0.0072064 | 0 | 0
45 | 0.99793 | -0.0070848 | 0.35557 | 0.17221
46 | 0.99596 | -0.010279 | 0.28953 | 0.14023
47 | 0.99598 | -0.010155 | 0 | 0
48 | 0.99594 | -0.0098675 | 0 | 0
49 | 0.99579 | -0.0084835 | 0 | 0
50 | 0.99632 | -0.013191 | 0 | 0
51 | 0.99594 | -0.0098241 | 0.17759 | 0.086012
52 | 0.99572 | -0.0079233 | 0 | 0
53 | 0.99571 | -0.0078066 | 0.30771 | 0.14903
54 | 0.99577 | -0.0083385 | 0.27534 | 0.13335
55 | 0.99624 | -0.01247 | 0.20686 | 0.10018
56 | 0.99639 | -0.01374 | 0 | 0
57 | 0.99548 | -0.010373 | 0.19687 | 0.095347
58 | 0.99665 | -0.01188 | 0.28695 | 0.13897
59 | 0.99617 | -0.011909 | 0 | 0
60 | 0.99563 | -0.0076597 | 0.3691 | 0.17876
61 | 0.99566 | -0.007472 | 0 | 0
62 | 0.99552 | -0.0063018 | 0 | 0
63 | 0.99559 | -0.006794 | 0 | 0
64 | 0.99552 | -0.0062478 | 0.21562 | 0.10443
65 | 0.99527 | -0.0080746 | 0 | 0
66 | 0.99556 | -0.0069541 | 0.37018 | 0.17929
67 | 0.99086 | 0.043803 | 0.37693 | 0.18256
68 | 0.99092 | 0.044175 | 0 | 0
69 | 0.99139 | 0.04024 | 0 | 0
70 | 0.98923 | 0.031306 | 0.17522 | 0.084865
71 | 0.99158 | 0.038695 | 0.21519 | 0.10422
72 | 0.98898 | 0.029325 | 0 | 0
73 | 0.99353 | 0.028758 | 0.32023 | 0.15509
74 | 0.99354 | 0.028829 | 0 | 0
75 | 0.99359 | 0.028387 | 0 | 0
76 | 0.99271 | 0.035599 | 0 | 0
77 | 0.99357 | 0.028284 | 0.26497 | 0.12833
78 | 0.99231 | 0.032606 | 0.23632 | 0.11446
79 | 0.99205 | 0.034747 | 0 | 0
80 | 0.99182 | 0.036683 | 0 | 0
81 | 0.99539 | -0.011164 | 0 | 0
82 | 0.99539 | -0.01109 | 0.057112 | 0.027661
83 | 0.99526 | -0.0079597 | 0.14753 | 0.07145
84 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.13176 | 0.052745 | -0.13176 | -0.052994 | 2.5037e-07 | -0.00024889 | 0.0041677 | 0.0041705 | 0.0041705 | 0.98306 | -0.0075753 | 0.98306 | -0.0075655 | 1.8957
1 | -0.45071 | -0.20722 | 0.45072 | 0.20658 | 7.8825e-06 | -0.00064008 | 0.014567 | 0.014559 | 0.014567 | 0.98306 | -0.0075753 | 0.98308 | -0.0077098 | 6.6213
2 | 0.13176 | 0.052994 | -0.13176 | -0.062143 | 9.4407e-06 | -0.0091486 | 0.0041705 | 0.004278 | 0.004278 | 0.98306 | -0.0075655 | 0.98299 | -0.0070819 | 1.9446
3 | -0.45072 | -0.20658 | 0.451 | 0.18301 | 0.00028427 | -0.023567 | 0.014559 | 0.014284 | 0.014559 | 0.98308 | -0.0077098 | 0.98367 | -0.011833 | 6.6177
4 | 0.13176 | 0.062143 | -0.13175 | -0.063811 | 1.7763e-06 | -0.0016685 | 0.004278 | 0.0042992 | 0.0042992 | 0.98299 | -0.0070819 | 0.98298 | -0.0069679 | 1.9542
5 | -0.451 | -0.18301 | 0.45102 | 0.18162 | 1.6377e-05 | -0.0013858 | 0.014284 | 0.014268 | 0.014284 | 0.98367 | -0.011833 | 0.9837 | -0.012025 | 6.4926
6 | -0.92984 | -0.41022 | 0.93073 | 0.41013 | 0.00088444 | -9.1522e-05 | 0.029825 | 0.029817 | 0.029825 | 0.9837 | -0.012025 | 0.9847 | -0.0035674 | 14.2021
7 | 0.25395 | 0.11969 | -0.2539 | -0.12016 | 5.3205e-05 | -0.00047441 | 0.0082386 | 0.008245 | 0.008245 | 0.9837 | -0.012025 | 0.98348 | -0.013538 | 3.9262
8 | 0.93076 | 0.40946 | -0.93073 | -0.41013 | 3.5028e-05 | -0.00067308 | 0.029809 | 0.029817 | 0.029817 | 0.98474 | -0.0038269 | 0.9847 | -0.0035674 | 13.5531
9 | -1.2928 | -0.5848 | 1.2943 | 0.58517 | 0.0015077 | 0.00037739 | 0.041595 | 0.041588 | 0.041595 | 0.98474 | -0.0038269 | 0.98596 | 0.0058278 | 19.8072
10 | -1.3776 | -0.62553 | 1.3816 | 0.62669 | 0.0039546 | 0.0011599 | 0.044298 | 0.044282 | 0.044298 | 0.98596 | 0.0058278 | 0.98898 | 0.029325 | 21.0942
11 | 0.2539 | 0.12016 | -0.25389 | -0.12296 | 1.1066e-05 | -0.0028006 | 0.008245 | 0.0082806 | 0.0082806 | 0.98348 | -0.013538 | 0.98344 | -0.013167 | 3.7639
12 | -0.36018 | -0.17444 | 0.36019 | 0.17442 | 5.3751e-06 | -2.3617e-05 | 0.011553 | 0.011553 | 0.011553 | 0.99998 | -9.8407e-05 | 1 | 0 | 5.5014
13 | 10.1074 | 4.6724 | -10.1012 | -4.6811 | 0.0062176 | -0.0087213 | 0.32144 | 0.32159 | 0.32159 | 1 | 0 | 0.99936 | -0.0029111 | 50.4061
14 | 5.8112 | 2.6591 | -5.8069 | -2.665 | 0.0043406 | -0.0058684 | 0.1846 | 0.18471 | 0.18471 | 0.99936 | -0.0029111 | 0.99854 | -0.012409 | 51.0248
15 | 4.29 | 2.022 | -4.2898 | -2.0225 | 0.00017345 | -0.0005295 | 0.13699 | 0.137 | 0.137 | 0.99936 | -0.0029111 | 0.99932 | -0.003395 | 37.8461
16 | 3.8007 | 1.7319 | -3.7845 | -1.7469 | 0.016273 | -0.014956 | 0.12075 | 0.12099 | 0.12099 | 0.99854 | -0.012409 | 0.99453 | 0.020497 | 54.9945
17 | 2.0061 | 0.93304 | -2.006 | -0.93337 | 8.1925e-05 | -0.00033276 | 0.063962 | 0.063966 | 0.063966 | 0.99854 | -0.012409 | 0.9985 | -0.012085 | 29.0757
18 | 3.8883 | 1.8281 | -3.8868 | -1.8265 | 0.0015104 | 0.0015936 | 0.12412 | 0.12412 | 0.12412 | 0.99932 | -0.003395 | 0.99883 | -0.015679 | 35.4625
19 | 3.5755 | 1.6757 | -3.5748 | -1.6764 | 0.0007067 | -0.00075829 | 0.11412 | 0.11413 | 0.11413 | 0.99883 | -0.015679 | 0.99864 | -0.014081 | 51.8789
20 | 3.5748 | 1.6764 | -3.5728 | -1.6785 | 0.001913 | -0.0020498 | 0.11413 | 0.11417 | 0.11417 | 0.99864 | -0.014081 | 0.99814 | -0.0097391 | 51.8935
21 | 0.36655 | 0.17731 | -0.36655 | -0.17753 | 1.6703e-06 | -0.00021407 | 0.011776 | 0.011779 | 0.011779 | 0.99814 | -0.0097391 | 0.99814 | -0.0096994 | 5.3541
22 | 3.2063 | 1.5012 | -3.2046 | -1.5036 | 0.0017327 | -0.0024284 | 0.10239 | 0.10243 | 0.10243 | 0.99814 | -0.0097391 | 0.99764 | -0.0053697 | 46.5575
23 | 3.2046 | 1.5036 | -3.2045 | -1.5038 | 0.00010526 | -0.00014736 | 0.10243 | 0.10243 | 0.10243 | 0.99764 | -0.0053697 | 0.99761 | -0.0051035 | 46.5585
24 | 2.9056 | 1.359 | -2.9029 | -1.3576 | 0.002638 | 0.0014484 | 0.09282 | 0.092822 | 0.092822 | 0.99761 | -0.0051035 | 0.99665 | -0.01188 | 44.201
25 | 1.783 | 0.82534 | -1.7828 | -0.82636 | 0.0001962 | -0.0010258 | 0.056802 | 0.056815 | 0.056815 | 0.9985 | -0.012085 | 0.9984 | -0.01122 | 25.8249
26 | 0.81705 | 0.38442 | -0.81695 | -0.38699 | 9.9811e-05 | -0.0025773 | 0.026108 | 0.02614 | 0.02614 | 0.9984 | -0.01122 | 0.99828 | -0.010216 | 11.882
27 | 0.63015 | 0.28964 | -0.62991 | -0.30038 | 0.00024567 | -0.010744 | 0.020053 | 0.020185 | 0.020185 | 0.9984 | -0.01122 | 0.99803 | -0.0080755 | 9.1751
28 | 0.33556 | 0.15231 | -0.3355 | -0.16156 | 5.9664e-05 | -0.0092518 | 0.010655 | 0.010769 | 0.010769 | 0.9984 | -0.01122 | 0.99823 | -0.00979 | 4.8948
29 | 0.12071 | 0.057249 | -0.12071 | -0.058464 | 1.0377e-06 | -0.0012155 | 0.003878 | 0.0038932 | 0.0038932 | 0.99453 | 0.020497 | 0.99452 | 0.020571 | 1.7697
30 | 0.44341 | 0.20241 | -0.44328 | -0.2137 | 0.00012948 | -0.01129 | 0.014148 | 0.014288 | 0.014288 | 0.99453 | 0.020497 | 0.99425 | 0.022865 | 6.4944
31 | 3.2204 | 1.4872 | -3.2185 | -1.4898 | 0.0018401 | -0.0025218 | 0.10296 | 0.103 | 0.103 | 0.99453 | 0.020497 | 0.99399 | 0.024968 | 46.818
32 | 0.50691 | 0.23693 | -0.50685 | -0.24054 | 5.3522e-05 | -0.0036175 | 0.01618 | 0.016225 | 0.016225 | 0.99828 | -0.010216 | 0.99819 | -0.0093525 | 7.3751
33 | 0.31004 | 0.15007 | -0.31003 | -0.15015 | 1.3971e-05 | -8.5264e-05 | 0.0099605 | 0.0099617 | 0.0099617 | 0.99828 | -0.010216 | 0.99824 | -0.010513 | 4.7436
34 | 0.62991 | 0.30038 | -0.62988 | -0.30166 | 2.953e-05 | -0.0012813 | 0.020185 | 0.020201 | 0.020201 | 0.99803 | -0.0080755 | 0.99799 | -0.0076791 | 9.1824
35 | 0.3355 | 0.16156 | -0.3355 | -0.16249 | 6.0513e-06 | -0.00092717 | 0.010769 | 0.01078 | 0.01078 | 0.99823 | -0.00979 | 0.99822 | -0.0096339 | 4.9001
36 | 0.052709 | 0.025482 | -0.052709 | -0.025528 | 2.0369e-07 | -4.6551e-05 | 0.0016998 | 0.0017004 | 0.0017004 | 0.99425 | 0.022865 | 0.99425 | 0.02284 | 0.80972
37 | 0.39057 | 0.18822 | -0.39033 | -0.18905 | 0.00023374 | -0.00082907 | 0.012588 | 0.0126 | 0.0126 | 0.99425 | 0.022865 | 0.99363 | 0.018882 | 6.0001
38 | 3.0542 | 1.4105 | -3.0537 | -1.4112 | 0.000468 | -0.00072732 | 0.097701 | 0.097712 | 0.097712 | 0.99399 | 0.024968 | 0.99385 | 0.026165 | 44.4144
39 | 0.16435 | 0.079266 | -0.16434 | -0.079592 | 1.4235e-05 | -0.00032636 | 0.0052992 | 0.0053035 | 0.0053035 | 0.99399 | 0.024968 | 0.9939 | 0.024393 | 2.5255
40 | 2.9804 | 1.3757 | -2.9795 | -1.3771 | 0.00084856 | -0.0013964 | 0.095346 | 0.095366 | 0.095366 | 0.99385 | 0.026165 | 0.99359 | 0.028387 | 43.3483
41 | 0.17956 | 0.086434 | -0.17956 | -0.086965 | 9.9121e-07 | -0.00053088 | 0.0057632 | 0.0057699 | 0.0057699 | 0.99819 | -0.0093525 | 0.99818 | -0.0093048 | 2.6227
42 | 0.32729 | 0.15411 | -0.32727 | -0.15844 | 2.6786e-05 | -0.0043303 | 0.010462 | 0.010516 | 0.010516 | 0.99819 | -0.0093525 | 0.99811 | -0.0086619 | 4.7801
43 | 0.35559 | 0.16882 | -0.35559 | -0.16891 | 6.6103e-07 | -9.0621e-05 | 0.011386 | 0.011387 | 0.011387 | 0.99799 | -0.0076791 | 0.99799 | -0.0076636 | 5.176
44 | -0.32726 | -0.1585 | 0.32727 | 0.15844 | 1.072e-05 | -5.7981e-05 | 0.010517 | 0.010516 | 0.010517 | 0.99808 | -0.008878 | 0.99811 | -0.0086619 | 5.0081
45 | 0.35559 | 0.16891 | -0.35557 | -0.17153 | 1.9155e-05 | -0.002618 | 0.011387 | 0.01142 | 0.01142 | 0.99799 | -0.0076636 | 0.99794 | -0.0072064 | 5.1909
46 | 0.35557 | 0.17153 | -0.35557 | -0.17221 | 4.9867e-06 | -0.00067906 | 0.01142 | 0.011428 | 0.011428 | 0.99794 | -0.0072064 | 0.99793 | -0.0070848 | 5.1948
47 | -0.28953 | -0.14023 | 0.28954 | 0.14019 | 5.4551e-06 | -3.8286e-05 | 0.0093245 | 0.0093239 | 0.0093245 | 0.99596 | -0.010279 | 0.99598 | -0.010155 | 4.4402
48 | 0.1776 | 0.082129 | -0.17759 | -0.085528 | 6.2118e-06 | -0.0033993 | 0.0056713 | 0.0057134 | 0.0057134 | 0.99598 | -0.010155 | 0.99594 | -0.0098675 | 2.597
49 | 0.83732 | 0.39165 | -0.83714 | -0.39584 | 0.00017175 | -0.0041847 | 0.026793 | 0.026845 | 0.026845 | 0.99598 | -0.010155 | 0.99579 | -0.0084835 | 12.2022
50 | -1.3045 | -0.61397 | 1.3049 | 0.60913 | 0.00048994 | -0.0048416 | 0.041787 | 0.041726 | 0.041787 | 0.99598 | -0.010155 | 0.99632 | -0.013191 | 18.9941
51 | 0.17759 | 0.085528 | -0.17759 | -0.086012 | 8.9086e-07 | -0.00048336 | 0.0057134 | 0.0057195 | 0.0057195 | 0.99594 | -0.0098675 | 0.99594 | -0.0098241 | 2.5998
52 | 0.5294 | 0.25129 | -0.5294 | -0.25185 | 9.1942e-06 | -0.000562 | 0.016988 | 0.016995 | 0.016995 | 0.99579 | -0.0084835 | 0.99577 | -0.0083385 | 7.7252
53 | 0.30774 | 0.14455 | -0.30772 | -0.14829 | 2.0594e-05 | -0.0037354 | 0.0098564 | 0.009903 | 0.009903 | 0.99579 | -0.0084835 | 0.99572 | -0.0079233 | 4.5014
54 | 1.3102 | 0.60951 | -1.3101 | -0.61068 | 0.00011868 | -0.0011662 | 0.041869 | 0.041884 | 0.041884 | 0.99632 | -0.013191 | 0.99624 | -0.01247 | 19.0381
55 | -2.6152 | -1.2186 | 2.6153 | 1.2182 | 0.00018037 | -0.00040479 | 0.083595 | 0.083589 | 0.083595 | 0.99632 | -0.013191 | 0.99639 | -0.01374 | 37.9976
56 | 0.30772 | 0.14829 | -0.30771 | -0.14903 | 4.1431e-06 | -0.00074716 | 0.009903 | 0.0099124 | 0.0099124 | 0.99572 | -0.0079233 | 0.99571 | -0.0078066 | 4.5057
57 | 0.25405 | 0.11849 | -0.25398 | -0.11915 | 6.9311e-05 | -0.0006529 | 0.0081268 | 0.0081353 | 0.0081353 | 0.99577 | -0.0083385 | 0.99548 | -0.010373 | 3.874
58 | 1.1032 | 0.5105 | -1.1032 | -0.5116 | 7.8767e-05 | -0.001103 | 0.035225 | 0.035238 | 0.035238 | 0.99624 | -0.01247 | 0.99617 | -0.011909 | 16.0175
59 | -2.6153 | -1.2182 | 2.616 | 1.2186 | 0.00064388 | 0.00034199 | 0.083589 | 0.083588 | 0.083589 | 0.99639 | -0.01374 | 0.99665 | -0.01188 | 39.8043
60 | 0.057117 | 0.0238 | -0.057113 | -0.024745 | 4.6221e-06 | -0.00094459 | 0.0017944 | 0.0018051 | 0.0018051 | 0.99548 | -0.010373 | 0.99539 | -0.011164 | 0.85957
61 | 1.1032 | 0.5116 | -1.1026 | -0.52008 | 0.00060832 | -0.0084836 | 0.035238 | 0.035345 | 0.035345 | 0.99617 | -0.011909 | 0.99566 | -0.007472 | 16.0658
62 | -0.3691 | -0.17876 | 0.36911 | 0.17872 | 1.0501e-05 | -4.2758e-05 | 0.011891 | 0.01189 | 0.011891 | 0.99563 | -0.0076597 | 0.99566 | -0.007472 | 5.6622
63 | 0.36324 | 0.1658 | -0.36318 | -0.17278 | 5.3285e-05 | -0.0069811 | 0.011577 | 0.011662 | 0.011662 | 0.99566 | -0.007472 | 0.99552 | -0.0063018 | 5.3011
64 | 0.37022 | 0.17557 | -0.37019 | -0.17925 | 2.9504e-05 | -0.0036833 | 0.01188 | 0.011926 | 0.011926 | 0.99566 | -0.007472 | 0.99559 | -0.006794 | 5.4209
65 | 0.21562 | 0.10393 | -0.21562 | -0.10443 | 1.3443e-06 | -0.00049375 | 0.0069408 | 0.0069471 | 0.0069471 | 0.99552 | -0.0063018 | 0.99552 | -0.0062478 | 3.1578
66 | 0.14756 | 0.068844 | -0.14753 | -0.069881 | 3.5673e-05 | -0.001037 | 0.0047217 | 0.0047348 | 0.0047348 | 0.99552 | -0.0063018 | 0.99527 | -0.0080746 | 2.2547
67 | 0.37019 | 0.17925 | -0.37018 | -0.17929 | 8.9863e-06 | -3.633e-05 | 0.011926 | 0.011926 | 0.011926 | 0.99559 | -0.006794 | 0.99556 | -0.0069541 | 5.6793
68 | 0.14753 | 0.069881 | -0.14753 | -0.07145 | 1.9942e-06 | -0.0015688 | 0.0047348 | 0.0047545 | 0.0047545 | 0.99527 | -0.0080746 | 0.99526 | -0.0079597 | 2.1611
69 | -0.37693 | -0.18256 | 0.37695 | 0.18248 | 2.1234e-05 | -8.054e-05 | 0.012202 | 0.0122 | 0.012202 | 0.99086 | 0.043803 | 0.99092 | 0.044175 | 5.8103
70 | -1.9366 | -0.89503 | 1.9376 | 0.89086 | 0.00098136 | -0.0041766 | 0.062151 | 0.062096 | 0.062151 | 0.99092 | 0.044175 | 0.99139 | 0.04024 | 28.2503
71 | 1.5596 | 0.71256 | -1.5571 | -0.71165 | 0.0024973 | 0.00090699 | 0.049953 | 0.049961 | 0.049961 | 0.99092 | 0.044175 | 0.98923 | 0.031306 | 23.7907
72 | -1.9376 | -0.89086 | 1.9379 | 0.8892 | 0.00038903 | -0.001659 | 0.062096 | 0.062075 | 0.062096 | 0.99139 | 0.04024 | 0.99158 | 0.038695 | 28.2255
73 | 1.3819 | 0.62679 | -1.3816 | -0.62669 | 0.00033352 | 9.7409e-05 | 0.044281 | 0.044282 | 0.044282 | 0.98923 | 0.031306 | 0.98898 | 0.029325 | 21.0867
74 | -2.1531 | -0.99342 | 2.1537 | 0.99152 | 0.00055826 | -0.0018955 | 0.069034 | 0.069009 | 0.069034 | 0.99158 | 0.038695 | 0.99182 | 0.036683 | 31.3791
75 | -0.32023 | -0.15509 | 0.32023 | 0.15507 | 3.447e-06 | -1.9172e-05 | 0.010338 | 0.010338 | 0.010338 | 0.99353 | 0.028758 | 0.99354 | 0.028829 | 4.923
76 | -0.32023 | -0.15507 | 0.32025 | 0.15233 | 1.6582e-05 | -0.0027436 | 0.010338 | 0.010303 | 0.010338 | 0.99354 | 0.028829 | 0.99359 | 0.028387 | 4.6991
77 | 2.3943 | 1.0965 | -2.3921 | -1.1026 | 0.0022406 | -0.0060799 | 0.076512 | 0.076594 | 0.076594 | 0.99359 | 0.028387 | 0.99271 | 0.035599 | 34.8153
78 | 0.26498 | 0.1283 | -0.26497 | -0.12833 | 4.1467e-06 | -3.489e-05 | 0.0085535 | 0.008554 | 0.008554 | 0.99359 | 0.028387 | 0.99357 | 0.028284 | 4.0733
79 | 2.3921 | 1.1026 | -2.3912 | -1.1021 | 0.00091543 | 0.00047041 | 0.076594 | 0.076595 | 0.076595 | 0.99271 | 0.035599 | 0.99231 | 0.032606 | 36.4738
80 | 2.1548 | 0.98764 | -2.1542 | -0.98969 | 0.00060072 | -0.0020451 | 0.068958 | 0.068985 | 0.068985 | 0.99231 | 0.032606 | 0.99205 | 0.034747 | 31.3567
81 | 2.1542 | 0.98969 | -2.1537 | -0.99152 | 0.00053998 | -0.0018359 | 0.068985 | 0.069009 | 0.069009 | 0.99205 | 0.034747 | 0.99182 | 0.036683 | 31.3677
82 | 0.057113 | 0.024745 | -0.057112 | -0.027661 | 5.4644e-07 | -0.0029157 | 0.0018051 | 0.0018404 | 0.0018404 | 0.99539 | -0.011164 | 0.99539 | -0.01109 | 0.83653

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.4816 | 4.8573

## res_load
| p_mw | q_mvar
0 | 0.31894 | 0.15447
1 | 0.13175 | 0.063811
2 | 0.22487 | 0.10891
3 | 0.36203 | 0.17534
4 | 0.08332 | 0.040354
5 | 0.25389 | 0.12296
6 | 0.36018 | 0.17444
7 | 0.40149 | 0.19445
8 | 0.31133 | 0.15078
9 | 0.29889 | 0.14476
10 | 0.36655 | 0.17753
11 | 0.22307 | 0.10804
12 | 0.052709 | 0.025528
13 | 0.39033 | 0.18905
14 | 0.073301 | 0.035501
15 | 0.16434 | 0.079592
16 | 0.12071 | 0.058464
17 | 0.31003 | 0.15015
18 | 0.27429 | 0.13284
19 | 0.3355 | 0.16249
20 | 0.32726 | 0.1585
21 | 0.17956 | 0.086965
22 | 0.35557 | 0.17221
23 | 0.28953 | 0.14023
24 | 0.17759 | 0.086012
25 | 0.30771 | 0.14903
26 | 0.27534 | 0.13335
27 | 0.20686 | 0.10018
28 | 0.19687 | 0.095347
29 | 0.28695 | 0.13897
30 | 0.3691 | 0.17876
31 | 0.21562 | 0.10443
32 | 0.37018 | 0.17929
33 | 0.37693 | 0.18256
34 | 0.17522 | 0.084865
35 | 0.21519 | 0.10422
36 | 0.32023 | 0.15509
37 | 0.26497 | 0.12833
38 | 0.23632 | 0.11446
39 | 0.057112 | 0.027661
40 | 0.14753 | 0.07145

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1