## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_103_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_103_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_103_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_103_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_103_0_node_7 | 20 | n |  | TRUE
5 | bus_MV_103_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_103_0_node_8 | 20 | n |  | TRUE
7 | bus_MV_103_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_103_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_103_0_node_53 | 20 | n |  | TRUE
10 | bus_MV_103_0_node_9 | 20 | n |  | TRUE
11 | bus_MV_103_0_node_271 | 20 | n |  | TRUE
12 | bus_MV_103_0_node_272 | 20 | n |  | TRUE
13 | bus_MV_103_0_node_10 | 20 | n |  | TRUE
14 | bus_MV_103_0_node_11 | 20 | n |  | TRUE
15 | bus_MV_103_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_103_0_node_13 | 20 | n |  | TRUE
17 | bus_MV_103_0_node_52 | 20 | n |  | TRUE
18 | bus_MV_103_0_node_14 | 20 | n |  | TRUE
19 | bus_MV_103_0_node_247 | 20 | n |  | TRUE
20 | bus_MV_103_0_node_42 | 20 | n |  | TRUE
21 | bus_MV_103_0_node_39 | 20 | n |  | TRUE
22 | bus_MV_103_0_node_15 | 20 | n |  | TRUE
23 | bus_MV_103_0_node_16 | 20 | n |  | TRUE
24 | bus_MV_103_0_node_17 | 20 | n |  | TRUE
25 | bus_MV_103_0_node_263 | 20 | n |  | TRUE
26 | bus_MV_103_0_node_43 | 20 | n |  | TRUE
27 | bus_MV_103_0_node_18 | 20 | n |  | TRUE
28 | bus_MV_103_0_node_19 | 20 | n |  | TRUE
29 | bus_MV_103_0_node_20 | 20 | n |  | TRUE
30 | bus_MV_103_0_node_248 | 20 | n |  | TRUE
31 | bus_MV_103_0_node_37 | 20 | n |  | TRUE
32 | bus_MV_103_0_node_41 | 20 | n |  | TRUE
33 | bus_MV_103_0_node_40 | 20 | n |  | TRUE
34 | bus_MV_103_0_node_246 | 20 | n |  | TRUE
35 | bus_MV_103_0_node_49 | 20 | n |  | TRUE
36 | bus_MV_103_0_node_50 | 20 | n |  | TRUE
37 | bus_MV_103_0_node_51 | 20 | n |  | TRUE
38 | bus_MV_103_0_node_249 | 20 | n |  | TRUE
39 | bus_HV_103_0_node_52 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_103_0_load_0 | 0 | 0.34352 | 0.16637 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_103_0_load_2 | 1 | 0.20033 | 0.097025 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_103_0_load_4 | 5 | 0.25241 | 0.12225 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_103_0_load_5 | 7 | 0.27506 | 0.13322 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_103_0_load_271 | 11 | 0.34157 | 0.16543 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_103_0_load_272 | 12 | 0.35442 | 0.17165 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_103_0_load_10 | 13 | 0.3986 | 0.19305 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_103_0_load_52 | 17 | 0.091751 | 0.044437 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_103_0_load_247 | 19 | 0.26964 | 0.13059 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_103_0_load_39 | 21 | 0.29518 | 0.14296 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_103_0_load_17 | 24 | 0.34206 | 0.16567 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_103_0_load_263 | 25 | 0.37398 | 0.18113 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_103_0_load_43 | 26 | 0.32643 | 0.1581 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_103_0_load_20 | 29 | 0.16143 | 0.078184 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_103_0_load_37 | 31 | 0.20623 | 0.099881 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_103_0_load_246 | 34 | 0.34228 | 0.16578 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_103_0_load_49 | 35 | 0.19752 | 0.095665 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_103_0_load_249 | 38 | 0.059638 | 0.028884 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_103_0_line_0 |  | 0 | 1 | 0.14043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_103_0_line_1 |  | 0 | 2 | 0.1382 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_103_0_line_2 |  | 1 | 4 | 0.13795 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_103_0_line_3 |  | 2 | 3 | 0.004283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_103_0_line_4 |  | 3 | 5 | 0.028769 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_103_0_line_5 |  | 4 | 8 | 0.018391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_103_0_line_6 |  | 5 | 6 | 0.014871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_103_0_line_7 |  | 6 | 10 | 0.19915 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_103_0_line_8 |  | 7 | 8 | 0.189 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_103_0_line_9 |  | 7 | 9 | 0.528 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_103_0_line_10 |  | 9 | 17 | 0.070781 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_103_0_line_11 |  | 10 | 11 | 0.042774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_103_0_line_12 |  | 10 | 12 | 0.03966 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_103_0_line_13 |  | 11 | 30 | 0.57601 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_103_0_line_14 |  | 13 | 14 | 0.048491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_103_0_line_15 |  | 13 | 15 | 0.17279 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_103_0_line_16 |  | 14 | 16 | 0.33428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_103_0_line_17 |  | 15 | 17 | 0.91756 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_103_0_line_18 |  | 16 | 18 | 0.075826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_103_0_line_19 |  | 16 | 19 | 0.050691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_103_0_line_20 |  | 18 | 20 | 0.21168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_103_0_line_21 |  | 18 | 21 | 0.001708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_103_0_line_22 |  | 19 | 37 | 0.068998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_103_0_line_23 |  | 20 | 34 | 0.21644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_103_0_line_24 |  | 22 | 23 | 0.67041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_103_0_line_25 |  | 22 | 24 | 0.1507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_103_0_line_26 |  | 23 | 25 | 0.079251 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_103_0_line_27 |  | 23 | 26 | 0.41211 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_103_0_line_28 |  | 24 | 27 | 0.12079 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_103_0_line_29 |  | 26 | 32 | 0.0627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_103_0_line_30 |  | 27 | 28 | 0.013007 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_103_0_line_31 |  | 28 | 29 | 0.064876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_103_0_line_32 |  | 30 | 38 | 0.016917 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_103_0_line_33 |  | 31 | 32 | 0.39942 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_103_0_line_34 |  | 32 | 33 | 0.49893 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_103_0_line_35 |  | 33 | 34 | 0.2514 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_103_0_line_36 |  | 35 | 36 | 0.018509 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_103_0_line_37 |  | 36 | 37 | 1.1786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_103_0_trafo_52 | 25 MVA 110/20 kV | 39 | 17 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2585092.5859 | 1112208.0306
1 | 2585139.0767 | 1112081.2085
2 | 2585041.6906 | 1112336.5203
3 | 2585039.1346 | 1112339.9617
4 | 2585262.9652 | 1112020.5299
5 | 2585013.8559 | 1112353.7535
6 | 2585002.5138 | 1112362.0303
7 | 2585320.1754 | 1111846.0593
8 | 2585268.3853 | 1112003.6082
9 | 2584989.12 | 1111434.7369
10 | 2584972.2187 | 1112557.2136
11 | 2584976.1866 | 1112599.6692
12 | 2584980.8582 | 1112518.5062
13 | 2584334.9551 | 1110557.987
14 | 2584334.6347 | 1110511.9872
15 | 2584395.8303 | 1110687.916
16 | 2584123.0493 | 1110414.136
17 | 2585009.2626 | 1111370.277
18 | 2584118.3385 | 1110359.399
19 | 2584097.7745 | 1110458.1023
20 | 2584227.3564 | 1110199.0444
21 | 2584117.7702 | 1110357.7886
22 | 2584503.1128 | 1110365.8905
23 | 2584929.9918 | 1110165.8428
24 | 2584496.6884 | 1110256.4192
25 | 2585006.6589 | 1110180.3701
26 | 2584715.7969 | 1109813.7733
27 | 2584616.9713 | 1110245.3391
28 | 2584627.4527 | 1110237.5975
29 | 2584633.9486 | 1110291.1186
30 | 2585527.1042 | 1112767.8382
31 | 2585124.1004 | 1109599.2237
32 | 2584766.7237 | 1109777.5931
33 | 2584344.0787 | 1109896.6343
34 | 2584430.2637 | 1110132.7955
35 | 2583673.7685 | 1111116.6288
36 | 2583665.426 | 1111100.0988
37 | 2584071.9882 | 1110521.7908
38 | 2585532.2793 | 1112783.9449
39 | 2585009.2626 | 1111370.277

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99691 | -0.0078488 | 0.34352 | 0.16637
1 | 0.99715 | -0.010045 | 0.20033 | 0.097025
2 | 0.99664 | -0.0096397 | 0 | 0
3 | 0.99663 | -0.0095899 | 0 | 0
4 | 0.99756 | -0.0073058 | 0 | 0
5 | 0.99659 | -0.0092545 | 0.25241 | 0.12225
6 | 0.99658 | -0.0091259 | 0 | 0
7 | 0.99797 | -0.01099 | 0.27506 | 0.13322
8 | 0.9976 | -0.0076352 | 0 | 0
9 | 0.99984 | 0.0014719 | 0 | 0
10 | 0.99639 | -0.0073703 | 0 | 0
11 | 0.99636 | -0.0071679 | 0.34157 | 0.16543
12 | 0.99636 | -0.0075415 | 0.35442 | 0.17165
13 | 0.99422 | -0.035005 | 0.3986 | 0.19305
14 | 0.99407 | -0.033805 | 0 | 0
15 | 0.99486 | -0.040082 | 0 | 0
16 | 0.993 | -0.025423 | 0 | 0
17 | 1 | 0 | -4.7851 | -2.2086
18 | 0.9928 | -0.023774 | 0 | 0
19 | 0.99297 | -0.025235 | 0.26964 | 0.13059
20 | 0.99232 | -0.019878 | 0 | 0
21 | 0.9928 | -0.023768 | 0.29518 | 0.14296
22 | 0.98903 | -0.014358 | 0 | 0
23 | 0.98946 | -0.017903 | 0 | 0
24 | 0.98893 | -0.013466 | 0.34206 | 0.16567
25 | 0.98942 | -0.017546 | 0.37398 | 0.18113
26 | 0.99016 | -0.012608 | 0.32643 | 0.1581
27 | 0.98889 | -0.013727 | 0 | 0
28 | 0.98889 | -0.013703 | 0 | 0
29 | 0.98888 | -0.013578 | 0.16143 | 0.078184
30 | 0.9963 | -0.0076227 | 0 | 0
31 | 0.99009 | -0.014455 | 0.20623 | 0.099881
32 | 0.99026 | -0.013431 | 0 | 0
33 | 0.99116 | -0.021001 | 0 | 0
34 | 0.99184 | -0.01582 | 0.34228 | 0.16578
35 | 0.99265 | -0.023419 | 0.19752 | 0.095665
36 | 0.99266 | -0.023463 | 0 | 0
37 | 0.99295 | -0.025199 | 0 | 0
38 | 0.9963 | -0.0076107 | 0.059638 | 0.028884
39 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -1.352 | -0.64665 | 1.3524 | 0.64342 | 0.00035275 | -0.0032283 | 0.043399 | 0.043357 | 0.043399 | 0.99691 | -0.0078488 | 0.99715 | -0.010045 | 19.7267
1 | 1.0085 | 0.48028 | -1.0083 | -0.48028 | 0.00025765 | -2.5395e-06 | 0.032346 | 0.032348 | 0.032348 | 0.99691 | -0.0078488 | 0.99664 | -0.0096397 | 15.404
2 | -1.5527 | -0.74045 | 1.5533 | 0.74067 | 0.00060956 | 0.00021799 | 0.049801 | 0.049799 | 0.049801 | 0.99715 | -0.010045 | 0.99756 | -0.0073058 | 23.7148
3 | 1.0083 | 0.48028 | -1.0083 | -0.48038 | 5.9834e-06 | -9.9799e-05 | 0.032348 | 0.03235 | 0.03235 | 0.99664 | -0.0096397 | 0.99663 | -0.0095899 | 14.7044
4 | 1.0083 | 0.48038 | -1.0082 | -0.48105 | 4.0203e-05 | -0.00067032 | 0.03235 | 0.032358 | 0.032358 | 0.99663 | -0.0095899 | 0.99659 | -0.0092545 | 14.7083
5 | -1.5533 | -0.74067 | 1.5534 | 0.74025 | 6.0881e-05 | -0.00041892 | 0.049799 | 0.049794 | 0.049799 | 0.99756 | -0.0073058 | 0.9976 | -0.0076352 | 22.6359
6 | 0.75581 | 0.35881 | -0.7558 | -0.35916 | 1.1662e-05 | -0.00034918 | 0.024235 | 0.024239 | 0.024239 | 0.99659 | -0.0092545 | 0.99658 | -0.0091259 | 11.0178
7 | 0.7558 | 0.35916 | -0.75564 | -0.36383 | 0.00015659 | -0.0046752 | 0.024239 | 0.024298 | 0.024298 | 0.99658 | -0.0091259 | 0.99639 | -0.0073703 | 11.0446
8 | 1.554 | 0.73594 | -1.5534 | -0.74025 | 0.0006249 | -0.0043073 | 0.049738 | 0.049794 | 0.049794 | 0.99797 | -0.01099 | 0.9976 | -0.0076352 | 22.6334
9 | -1.8291 | -0.86916 | 1.8323 | 0.87055 | 0.0032276 | 0.0013927 | 0.058578 | 0.05857 | 0.058578 | 0.99797 | -0.01099 | 0.99984 | 0.0014719 | 27.8943
10 | -1.8323 | -0.87055 | 1.8326 | 0.86896 | 0.00032404 | -0.0015936 | 0.05857 | 0.058549 | 0.05857 | 0.99984 | 0.0014719 | 1 | 0 | 26.6228
11 | 0.40122 | 0.19222 | -0.40121 | -0.19323 | 9.4962e-06 | -0.0010111 | 0.012889 | 0.012902 | 0.012902 | 0.99639 | -0.0073703 | 0.99636 | -0.0071679 | 5.8646
12 | 0.35443 | 0.17161 | -0.35442 | -0.17165 | 9.198e-06 | -4.1242e-05 | 0.011409 | 0.011409 | 0.011409 | 0.99639 | -0.0073703 | 0.99636 | -0.0075415 | 5.4331
13 | 0.059641 | 0.027803 | -0.059638 | -0.028483 | 3.7468e-06 | -0.00068027 | 0.0019065 | 0.001915 | 0.001915 | 0.99636 | -0.0071679 | 0.9963 | -0.0076227 | 0.91188
14 | 2.5237 | 1.1318 | -2.5233 | -1.1328 | 0.00041758 | -0.0010204 | 0.080308 | 0.080322 | 0.080322 | 0.99422 | -0.035005 | 0.99407 | -0.033805 | 36.51
15 | -2.9223 | -1.3249 | 2.9243 | 1.3214 | 0.002001 | -0.003487 | 0.093163 | 0.093114 | 0.093163 | 0.99422 | -0.035005 | 0.99486 | -0.040082 | 42.3468
16 | 2.5233 | 1.1328 | -2.5204 | -1.1399 | 0.0028825 | -0.0070233 | 0.080322 | 0.080416 | 0.080416 | 0.99407 | -0.033805 | 0.993 | -0.025423 | 36.5528
17 | -2.9243 | -1.3214 | 2.9385 | 1.3292 | 0.014172 | 0.0077873 | 0.093114 | 0.093101 | 0.093114 | 0.99486 | -0.040082 | 1 | 0 | 44.3401
18 | 2.0532 | 0.94457 | -2.0527 | -0.94622 | 0.00043711 | -0.0016551 | 0.065702 | 0.065723 | 0.065723 | 0.993 | -0.025423 | 0.9928 | -0.023774 | 29.8743
19 | 0.46724 | 0.19529 | -0.46723 | -0.19648 | 1.468e-05 | -0.001189 | 0.014722 | 0.014735 | 0.014735 | 0.993 | -0.025423 | 0.99297 | -0.025235 | 6.6979
20 | 1.7576 | 0.8033 | -1.7567 | -0.80801 | 0.00089315 | -0.0047142 | 0.056189 | 0.056249 | 0.056249 | 0.9928 | -0.023774 | 0.99232 | -0.019878 | 25.5679
21 | 0.29518 | 0.14292 | -0.29518 | -0.14296 | 2.0739e-07 | -4.0134e-05 | 0.0095362 | 0.0095367 | 0.0095367 | 0.9928 | -0.023774 | 0.9928 | -0.023768 | 4.3349
22 | 0.19759 | 0.065888 | -0.19758 | -0.067511 | 3.3858e-06 | -0.0016233 | 0.0060552 | 0.0060703 | 0.0060703 | 0.99297 | -0.025235 | 0.99295 | -0.025199 | 2.7592
23 | 1.7567 | 0.80801 | -1.7557 | -0.81283 | 0.00091525 | -0.0048148 | 0.056249 | 0.056311 | 0.056311 | 0.99232 | -0.019878 | 0.99184 | -0.01582 | 25.5961
24 | -0.50355 | -0.23839 | 0.50379 | 0.2228 | 0.00023387 | -0.015595 | 0.016261 | 0.016071 | 0.016261 | 0.98903 | -0.014358 | 0.98946 | -0.017903 | 7.3916
25 | 0.50355 | 0.23839 | -0.5035 | -0.2419 | 5.3343e-05 | -0.0035034 | 0.016261 | 0.016306 | 0.016306 | 0.98903 | -0.014358 | 0.98893 | -0.013466 | 7.4117
26 | 0.374 | 0.17928 | -0.37398 | -0.18113 | 1.5521e-05 | -0.0018479 | 0.0121 | 0.012124 | 0.012124 | 0.98946 | -0.017903 | 0.98942 | -0.017546 | 5.5107
27 | -0.87778 | -0.40208 | 0.87836 | 0.40196 | 0.00058247 | -0.00011716 | 0.028168 | 0.028162 | 0.028168 | 0.98946 | -0.017903 | 0.99016 | -0.012608 | 13.4134
28 | 0.16144 | 0.076229 | -0.16143 | -0.076366 | 5.847e-06 | -0.00013736 | 0.0052114 | 0.0052132 | 0.0052132 | 0.98893 | -0.013466 | 0.98889 | -0.013727 | 2.4825
29 | -1.2048 | -0.56006 | 1.2049 | 0.55863 | 0.00012553 | -0.0014306 | 0.038735 | 0.038717 | 0.038735 | 0.99016 | -0.012608 | 0.99026 | -0.013431 | 17.6067
30 | 0.16143 | 0.076366 | -0.16143 | -0.07667 | 4.7227e-07 | -0.00030356 | 0.0052132 | 0.005217 | 0.005217 | 0.98889 | -0.013727 | 0.98889 | -0.013703 | 2.3713
31 | 0.16143 | 0.07667 | -0.16143 | -0.078184 | 2.3658e-06 | -0.001514 | 0.005217 | 0.0052361 | 0.0052361 | 0.98889 | -0.013703 | 0.98888 | -0.013578 | 2.38
32 | 0.059638 | 0.028483 | -0.059638 | -0.028884 | 8.3031e-08 | -0.0004009 | 0.001915 | 0.00192 | 0.00192 | 0.9963 | -0.0076227 | 0.9963 | -0.0076107 | 0.87272
33 | -0.20623 | -0.099881 | 0.20626 | 0.099433 | 3.1736e-05 | -0.00044762 | 0.006681 | 0.006675 | 0.006681 | 0.99009 | -0.014455 | 0.99026 | -0.013431 | 3.1814
34 | -1.4112 | -0.65806 | 1.4125 | 0.64677 | 0.001368 | -0.011286 | 0.045391 | 0.045248 | 0.045391 | 0.99026 | -0.013431 | 0.99116 | -0.021001 | 20.6323
35 | -1.4125 | -0.64677 | 1.4135 | 0.64705 | 0.00091698 | 0.00027933 | 0.045248 | 0.045245 | 0.045248 | 0.99116 | -0.021001 | 0.99184 | -0.01582 | 21.5467
36 | -0.19752 | -0.095665 | 0.19752 | 0.095229 | 1.0057e-06 | -0.00043516 | 0.0063824 | 0.0063769 | 0.0063824 | 0.99265 | -0.023419 | 0.99266 | -0.023463 | 2.9011
37 | -0.19752 | -0.095229 | 0.19758 | 0.067511 | 6.0725e-05 | -0.027718 | 0.0063769 | 0.0060703 | 0.0063769 | 0.99266 | -0.023463 | 0.99295 | -0.025199 | 2.8986

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 4.8769 | 2.2531

## res_load
| p_mw | q_mvar
0 | 0.34352 | 0.16637
1 | 0.20033 | 0.097025
2 | 0.25241 | 0.12225
3 | 0.27506 | 0.13322
4 | 0.34157 | 0.16543
5 | 0.35442 | 0.17165
6 | 0.3986 | 0.19305
7 | 0.091751 | 0.044437
8 | 0.26964 | 0.13059
9 | 0.29518 | 0.14296
10 | 0.34206 | 0.16567
11 | 0.37398 | 0.18113
12 | 0.32643 | 0.1581
13 | 0.16143 | 0.078184
14 | 0.20623 | 0.099881
15 | 0.34228 | 0.16578
16 | 0.19752 | 0.095665
17 | 0.059638 | 0.028884

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1