## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_103_1_node_21 | 20 | n |  | TRUE
1 | bus_MV_103_1_node_22 | 20 | n |  | TRUE
2 | bus_MV_103_1_node_23 | 20 | n |  | TRUE
3 | bus_MV_103_1_node_221 | 20 | n |  | TRUE
4 | bus_MV_103_1_node_26 | 20 | n |  | TRUE
5 | bus_MV_103_1_node_27 | 20 | n |  | TRUE
6 | bus_MV_103_1_node_31 | 20 | n |  | TRUE
7 | bus_MV_103_1_node_28 | 20 | n |  | TRUE
8 | bus_MV_103_1_node_30 | 20 | n |  | TRUE
9 | bus_MV_103_1_node_94 | 20 | n |  | TRUE
10 | bus_MV_103_1_node_268 | 20 | n |  | TRUE
11 | bus_MV_103_1_node_29 | 20 | n |  | TRUE
12 | bus_MV_103_1_node_33 | 20 | n |  | TRUE
13 | bus_MV_103_1_node_48 | 20 | n |  | TRUE
14 | bus_MV_103_1_node_32 | 20 | n |  | TRUE
15 | bus_MV_103_1_node_34 | 20 | n |  | TRUE
16 | bus_MV_103_1_node_36 | 20 | n |  | TRUE
17 | bus_MV_103_1_node_232 | 20 | n |  | TRUE
18 | bus_MV_103_1_node_228 | 20 | n |  | TRUE
19 | bus_MV_103_1_node_237 | 20 | n |  | TRUE
20 | bus_MV_103_1_node_46 | 20 | n |  | TRUE
21 | bus_MV_103_1_node_47 | 20 | n |  | TRUE
22 | bus_MV_103_1_node_35 | 20 | n |  | TRUE
23 | bus_MV_103_1_node_270 | 20 | n |  | TRUE
24 | bus_MV_103_1_node_44 | 20 | n |  | TRUE
25 | bus_MV_103_1_node_45 | 20 | n |  | TRUE
26 | bus_MV_103_1_node_253 | 20 | n |  | TRUE
27 | bus_MV_103_1_node_219 | 20 | n |  | TRUE
28 | bus_MV_103_1_node_275 | 20 | n |  | TRUE
29 | bus_MV_103_1_node_54 | 20 | n |  | TRUE
30 | bus_MV_103_1_node_136 | 20 | n |  | TRUE
31 | bus_MV_103_1_node_212 | 20 | n |  | TRUE
32 | bus_MV_103_1_node_78 | 20 | n |  | TRUE
33 | bus_MV_103_1_node_80 | 20 | n |  | TRUE
34 | bus_MV_103_1_node_79 | 20 | n |  | TRUE
35 | bus_MV_103_1_node_213 | 20 | n |  | TRUE
36 | bus_MV_103_1_node_81 | 20 | n |  | TRUE
37 | bus_MV_103_1_node_95 | 20 | n |  | TRUE
38 | bus_MV_103_1_node_82 | 20 | n |  | TRUE
39 | bus_MV_103_1_node_83 | 20 | n |  | TRUE
40 | bus_MV_103_1_node_89 | 20 | n |  | TRUE
41 | bus_MV_103_1_node_87 | 20 | n |  | TRUE
42 | bus_MV_103_1_node_85 | 20 | n |  | TRUE
43 | bus_MV_103_1_node_86 | 20 | n |  | TRUE
44 | bus_MV_103_1_node_88 | 20 | n |  | TRUE
45 | bus_MV_103_1_node_90 | 20 | n |  | TRUE
46 | bus_MV_103_1_node_236 | 20 | n |  | TRUE
47 | bus_MV_103_1_node_91 | 20 | n |  | TRUE
48 | bus_MV_103_1_node_92 | 20 | n |  | TRUE
49 | bus_MV_103_1_node_98 | 20 | n |  | TRUE
50 | bus_MV_103_1_node_96 | 20 | n |  | TRUE
51 | bus_MV_103_1_node_97 | 20 | n |  | TRUE
52 | bus_MV_103_1_node_100 | 20 | n |  | TRUE
53 | bus_MV_103_1_node_261 | 20 | n |  | TRUE
54 | bus_MV_103_1_node_99 | 20 | n |  | TRUE
55 | bus_MV_103_1_node_242 | 20 | n |  | TRUE
56 | bus_MV_103_1_node_113 | 20 | n |  | TRUE
57 | bus_MV_103_1_node_101 | 20 | n |  | TRUE
58 | bus_MV_103_1_node_102 | 20 | n |  | TRUE
59 | bus_MV_103_1_node_103 | 20 | n |  | TRUE
60 | bus_MV_103_1_node_117 | 20 | n |  | TRUE
61 | bus_MV_103_1_node_116 | 20 | n |  | TRUE
62 | bus_MV_103_1_node_105 | 20 | n |  | TRUE
63 | bus_MV_103_1_node_108 | 20 | n |  | TRUE
64 | bus_MV_103_1_node_106 | 20 | n |  | TRUE
65 | bus_MV_103_1_node_274 | 20 | n |  | TRUE
66 | bus_MV_103_1_node_107 | 20 | n |  | TRUE
67 | bus_MV_103_1_node_214 | 20 | n |  | TRUE
68 | bus_MV_103_1_node_140 | 20 | n |  | TRUE
69 | bus_MV_103_1_node_109 | 20 | n |  | TRUE
70 | bus_MV_103_1_node_110 | 20 | n |  | TRUE
71 | bus_MV_103_1_node_111 | 20 | n |  | TRUE
72 | bus_MV_103_1_node_112 | 20 | n |  | TRUE
73 | bus_MV_103_1_node_114 | 20 | n |  | TRUE
74 | bus_MV_103_1_node_124 | 20 | n |  | TRUE
75 | bus_MV_103_1_node_134 | 20 | n |  | TRUE
76 | bus_MV_103_1_node_115 | 20 | n |  | TRUE
77 | bus_MV_103_1_node_278 | 20 | n |  | TRUE
78 | bus_MV_103_1_node_258 | 20 | n |  | TRUE
79 | bus_MV_103_1_node_148 | 20 | n |  | TRUE
80 | bus_MV_103_1_node_118 | 20 | n |  | TRUE
81 | bus_MV_103_1_node_120 | 20 | n |  | TRUE
82 | bus_MV_103_1_node_121 | 20 | n |  | TRUE
83 | bus_MV_103_1_node_122 | 20 | n |  | TRUE
84 | bus_MV_103_1_node_132 | 20 | n |  | TRUE
85 | bus_MV_103_1_node_123 | 20 | n |  | TRUE
86 | bus_MV_103_1_node_125 | 20 | n |  | TRUE
87 | bus_MV_103_1_node_126 | 20 | n |  | TRUE
88 | bus_MV_103_1_node_127 | 20 | n |  | TRUE
89 | bus_MV_103_1_node_128 | 20 | n |  | TRUE
90 | bus_MV_103_1_node_129 | 20 | n |  | TRUE
91 | bus_MV_103_1_node_130 | 20 | n |  | TRUE
92 | bus_MV_103_1_node_131 | 20 | n |  | TRUE
93 | bus_MV_103_1_node_135 | 20 | n |  | TRUE
94 | bus_MV_103_1_node_138 | 20 | n |  | TRUE
95 | bus_MV_103_1_node_139 | 20 | n |  | TRUE
96 | bus_MV_103_1_node_234 | 20 | n |  | TRUE
97 | bus_MV_103_1_node_256 | 20 | n |  | TRUE
98 | bus_MV_103_1_node_149 | 20 | n |  | TRUE
99 | bus_MV_103_1_node_150 | 20 | n |  | TRUE
100 | bus_MV_103_1_node_211 | 20 | n |  | TRUE
101 | bus_MV_103_1_node_217 | 20 | n |  | TRUE
102 | bus_MV_103_1_node_218 | 20 | n |  | TRUE
103 | bus_MV_103_1_node_269 | 20 | n |  | TRUE
104 | bus_MV_103_1_node_220 | 20 | n |  | TRUE
105 | bus_MV_103_1_node_222 | 20 | n |  | TRUE
106 | bus_MV_103_1_node_223 | 20 | n |  | TRUE
107 | bus_MV_103_1_node_224 | 20 | n |  | TRUE
108 | bus_MV_103_1_node_238 | 20 | n |  | TRUE
109 | bus_MV_103_1_node_225 | 20 | n |  | TRUE
110 | bus_MV_103_1_node_226 | 20 | n |  | TRUE
111 | bus_MV_103_1_node_227 | 20 | n |  | TRUE
112 | bus_MV_103_1_node_229 | 20 | n |  | TRUE
113 | bus_MV_103_1_node_230 | 20 | n |  | TRUE
114 | bus_MV_103_1_node_231 | 20 | n |  | TRUE
115 | bus_MV_103_1_node_235 | 20 | n |  | TRUE
116 | bus_MV_103_1_node_254 | 20 | n |  | TRUE
117 | bus_MV_103_1_node_239 | 20 | n |  | TRUE
118 | bus_MV_103_1_node_257 | 20 | n |  | TRUE
119 | bus_MV_103_1_node_255 | 20 | n |  | TRUE
120 | bus_MV_103_1_node_259 | 20 | n |  | TRUE
121 | bus_MV_103_1_node_260 | 20 | n |  | TRUE
122 | bus_HV_103_1_node_92 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_103_1_load_21 | 0 | 0.33292 | 0.16124 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_103_1_load_221 | 3 | 0.13639 | 0.066056 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_103_1_load_26 | 4 | 0.33012 | 0.15989 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_103_1_load_268 | 10 | 0.21095 | 0.10217 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_103_1_load_48 | 13 | 0.25771 | 0.12481 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_103_1_load_34 | 15 | 0.33149 | 0.16055 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_103_1_load_36 | 16 | 0.28551 | 0.13828 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_103_1_load_232 | 17 | 0.10357 | 0.050162 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_103_1_load_237 | 19 | 0.38948 | 0.18863 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_103_1_load_35 | 22 | 0.10916 | 0.052869 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_103_1_load_270 | 23 | 0.20309 | 0.098359 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_103_1_load_44 | 24 | 0.30974 | 0.15002 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_103_1_load_253 | 26 | 0.22093 | 0.107 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_103_1_load_275 | 28 | 0.30721 | 0.14879 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_103_1_load_54 | 29 | 0.33953 | 0.16444 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_103_1_load_78 | 32 | 0.099064 | 0.047979 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_103_1_load_80 | 33 | 0.15859 | 0.076811 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_103_1_load_79 | 34 | 0.092161 | 0.044636 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_103_1_load_213 | 35 | 0.087436 | 0.042347 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_103_1_load_82 | 38 | 0.10146 | 0.049141 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_103_1_load_83 | 39 | 0.14932 | 0.07232 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_103_1_load_85 | 42 | 0.12673 | 0.061377 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_103_1_load_88 | 44 | 0.15073 | 0.073003 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_103_1_load_236 | 46 | 0.095581 | 0.046292 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_103_1_load_91 | 47 | 0.14903 | 0.072179 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_103_1_load_96 | 50 | 0.15722 | 0.076143 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_103_1_load_261 | 53 | 0.1493 | 0.072309 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_103_1_load_242 | 55 | 0.12339 | 0.059759 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_103_1_load_113 | 56 | 0.14622 | 0.07082 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_103_1_load_101 | 57 | 0.15874 | 0.076883 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_103_1_load_116 | 61 | 0.16433 | 0.079589 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_103_1_load_106 | 64 | 0.11996 | 0.058099 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_103_1_load_274 | 65 | 0.1351 | 0.065431 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_103_1_load_214 | 67 | 0.10025 | 0.048554 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_103_1_load_140 | 68 | 0.070462 | 0.034126 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_103_1_load_109 | 69 | 0.11839 | 0.057338 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_103_1_load_114 | 73 | 0.1274 | 0.061702 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_103_1_load_134 | 75 | 0.078942 | 0.038233 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_103_1_load_115 | 76 | 0.1217 | 0.05894 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_103_1_load_278 | 77 | 0.097187 | 0.04707 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_103_1_load_148 | 79 | 0.16017 | 0.077572 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_103_1_load_118 | 80 | 0.14754 | 0.071458 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_103_1_load_132 | 84 | 0.15582 | 0.075469 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_103_1_load_123 | 85 | 0.14353 | 0.069514 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_103_1_load_126 | 87 | 0.1084 | 0.052502 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_103_1_load_129 | 90 | 0.13955 | 0.067588 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_103_1_load_130 | 91 | 0.12142 | 0.058805 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_103_1_load_135 | 93 | 0.088602 | 0.042912 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_103_1_load_139 | 95 | 0.16213 | 0.078521 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_103_1_load_234 | 96 | 0.11033 | 0.053433 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_103_1_load_211 | 100 | 0.15904 | 0.077026 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_103_1_load_217 | 101 | 0.0708 | 0.03429 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_103_1_load_269 | 103 | 0.292 | 0.14142 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_103_1_load_220 | 104 | 0.19047 | 0.092249 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_103_1_load_224 | 107 | 0.24134 | 0.11689 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_103_1_load_225 | 109 | 0.48057 | 0.23275 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_103_1_load_227 | 111 | 0.25582 | 0.1239 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_103_1_load_229 | 112 | 0.43591 | 0.21112 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_103_1_load_230 | 113 | 0.1127 | 0.054585 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_103_1_load_231 | 114 | 0.097243 | 0.047097 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_103_1_load_254 | 116 | 0.13276 | 0.0643 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_103_1_load_255 | 119 | 0.12566 | 0.060862 | 0 | 0 |  | 1 | TRUE | wye
62 | MV_103_1_load_260 | 121 | 0.097623 | 0.047281 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_103_1_line_0 |  | 0 | 1 | 0.0495 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_103_1_line_1 |  | 1 | 2 | 0.17773 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_103_1_line_2 |  | 2 | 3 | 0.0062288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_103_1_line_3 |  | 3 | 104 | 0.037869 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_103_1_line_4 |  | 4 | 5 | 0.010493 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_103_1_line_5 |  | 5 | 6 | 0.29173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_103_1_line_6 |  | 6 | 12 | 0.19652 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_103_1_line_7 |  | 6 | 16 | 0.020915 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_103_1_line_8 |  | 6 | 8 | 0.15603 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_103_1_line_9 |  | 7 | 8 | 0.21233 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
10 | MV_103_1_line_10 |  | 7 | 9 | 1.4012 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
11 | MV_103_1_line_11 |  | 7 | 10 | 0.089406 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_103_1_line_12 |  | 8 | 14 | 0.096533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_103_1_line_13 |  | 8 | 15 | 0.024558 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_103_1_line_14 |  | 9 | 46 | 0.045451 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
15 | MV_103_1_line_15 |  | 9 | 48 | 0.29733 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
16 | MV_103_1_line_16 |  | 10 | 22 | 0.15785 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_103_1_line_17 |  | 11 | 12 | 0.20304 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_103_1_line_18 |  | 11 | 13 | 0.045302 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_103_1_line_19 |  | 12 | 19 | 0.039564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_103_1_line_20 |  | 12 | 20 | 0.36039 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_103_1_line_21 |  | 12 | 21 | 0.38884 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_103_1_line_22 |  | 14 | 17 | 0.022631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_103_1_line_23 |  | 14 | 18 | 0.015776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_103_1_line_24 |  | 18 | 113 | 0.03132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_103_1_line_25 |  | 18 | 110 | 0.029125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_103_1_line_26 |  | 20 | 26 | 0.019525 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_103_1_line_27 |  | 20 | 25 | 0.33554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_103_1_line_28 |  | 21 | 27 | 0.28816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_103_1_line_29 |  | 21 | 28 | 0.040649 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_103_1_line_30 |  | 22 | 23 | 0.21369 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_103_1_line_31 |  | 23 | 117 | 0.019402 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_103_1_line_32 |  | 24 | 25 | 0.036683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_103_1_line_33 |  | 27 | 103 | 0.074555 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_103_1_line_34 |  | 27 | 102 | 1.0723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_103_1_line_35 |  | 29 | 30 | 0.90061 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_103_1_line_36 |  | 29 | 31 | 0.93755 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_103_1_line_37 |  | 30 | 94 | 0.095738 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_103_1_line_38 |  | 30 | 93 | 0.11161 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_103_1_line_39 |  | 31 | 100 | 0.018032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_103_1_line_40 |  | 32 | 33 | 0.02288 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
41 | MV_103_1_line_41 |  | 32 | 34 | 0.088869 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
42 | MV_103_1_line_42 |  | 33 | 36 | 0.018344 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
43 | MV_103_1_line_43 |  | 34 | 35 | 0.037753 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
44 | MV_103_1_line_44 |  | 35 | 42 | 0.15521 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
45 | MV_103_1_line_45 |  | 36 | 37 | 0.041895 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
46 | MV_103_1_line_46 |  | 37 | 49 | 0.13226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_103_1_line_47 |  | 37 | 50 | 0.00323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_103_1_line_48 |  | 38 | 39 | 0.014361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_103_1_line_49 |  | 38 | 40 | 0.11638 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
50 | MV_103_1_line_50 |  | 38 | 41 | 0.10292 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
51 | MV_103_1_line_51 |  | 40 | 45 | 0.2666 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_103_1_line_52 |  | 40 | 44 | 0.044763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_103_1_line_53 |  | 41 | 43 | 0.024881 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
54 | MV_103_1_line_54 |  | 42 | 43 | 0.055568 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_103_1_line_55 |  | 45 | 46 | 0.0086793 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
56 | MV_103_1_line_56 |  | 47 | 48 | 0.050088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_103_1_line_57 |  | 49 | 53 | 0.017975 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_103_1_line_58 |  | 50 | 51 | 0.013663 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_103_1_line_59 |  | 51 | 52 | 0.078881 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_103_1_line_60 |  | 52 | 56 | 0.045519 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_103_1_line_61 |  | 52 | 54 | 0.038308 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_103_1_line_62 |  | 54 | 55 | 0.054778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_103_1_line_63 |  | 55 | 71 | 0.12394 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_103_1_line_64 |  | 57 | 58 | 0.067235 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_103_1_line_65 |  | 58 | 59 | 0.15347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_103_1_line_66 |  | 59 | 60 | 0.1211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_103_1_line_67 |  | 59 | 61 | 0.082619 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_103_1_line_68 |  | 60 | 79 | 0.003929 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_103_1_line_69 |  | 62 | 63 | 0.47075 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_103_1_line_70 |  | 62 | 64 | 0.084537 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_103_1_line_71 |  | 62 | 65 | 0.094898 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_103_1_line_72 |  | 63 | 68 | 0.030097 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_103_1_line_73 |  | 63 | 66 | 0.14528 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_103_1_line_74 |  | 65 | 82 | 0.019576 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_103_1_line_75 |  | 66 | 67 | 0.055228 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_103_1_line_76 |  | 68 | 97 | 0.081141 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_103_1_line_77 |  | 69 | 70 | 0.012197 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_103_1_line_78 |  | 69 | 71 | 0.020447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_103_1_line_79 |  | 70 | 72 | 0.025173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_103_1_line_80 |  | 71 | 73 | 0.091038 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_103_1_line_81 |  | 72 | 74 | 0.029251 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_103_1_line_82 |  | 72 | 75 | 0.018137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_103_1_line_83 |  | 73 | 76 | 0.095554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_103_1_line_84 |  | 73 | 77 | 0.11916 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_103_1_line_85 |  | 74 | 86 | 0.043586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_103_1_line_86 |  | 76 | 78 | 0.059981 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_103_1_line_87 |  | 77 | 99 | 0.04563 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_103_1_line_88 |  | 78 | 120 | 0.10183 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_103_1_line_89 |  | 79 | 98 | 0.029791 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_103_1_line_90 |  | 80 | 81 | 0.039644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_103_1_line_91 |  | 80 | 82 | 0.10038 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
92 | MV_103_1_line_92 |  | 81 | 83 | 0.063384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_103_1_line_93 |  | 83 | 84 | 0.024669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_103_1_line_94 |  | 84 | 92 | 0.008881 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_103_1_line_95 |  | 85 | 86 | 0.024294 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_103_1_line_96 |  | 86 | 87 | 0.040876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_103_1_line_97 |  | 87 | 88 | 0.003939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_103_1_line_98 |  | 88 | 89 | 0.023455 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_103_1_line_99 |  | 88 | 90 | 0.003347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_103_1_line_100 |  | 89 | 91 | 0.015789 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_103_1_line_101 |  | 91 | 92 | 0.016189 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
102 | MV_103_1_line_102 |  | 94 | 95 | 0.036776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_103_1_line_103 |  | 95 | 96 | 0.090877 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
104 | MV_103_1_line_104 |  | 96 | 115 | 0.082476 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
105 | MV_103_1_line_105 |  | 97 | 118 | 0.057649 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_103_1_line_106 |  | 97 | 119 | 0.009701 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_103_1_line_107 |  | 98 | 99 | 0.052397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_103_1_line_108 |  | 101 | 102 | 0.09762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_103_1_line_109 |  | 104 | 105 | 0.067397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_103_1_line_110 |  | 105 | 106 | 0.012091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_103_1_line_111 |  | 106 | 107 | 0.015925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_103_1_line_112 |  | 107 | 108 | 0.018285 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_103_1_line_113 |  | 108 | 117 | 0.076761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_103_1_line_114 |  | 109 | 110 | 0.020269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_103_1_line_115 |  | 110 | 111 | 0.015709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_103_1_line_116 |  | 111 | 112 | 0.024145 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_103_1_line_117 |  | 113 | 114 | 0.022108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_103_1_line_118 |  | 115 | 116 | 0.053242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_103_1_line_119 |  | 116 | 118 | 0.062522 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
120 | MV_103_1_line_120 |  | 120 | 121 | 0.056265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_103_1_trafo_92 | 25 MVA 110/20 kV | 122 | 48 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2583734.004 | 1113637.3952
1 | 2583690.845 | 1113661.6349
2 | 2583707.9586 | 1113815.8762
3 | 2583702.0441 | 1113817.8299
4 | 2583413.4416 | 1113335.6075
5 | 2583406.916 | 1113327.3769
6 | 2583233.9333 | 1113483.5216
7 | 2583169.6401 | 1113635.9763
8 | 2583345.9615 | 1113549.9553
9 | 2582596.3441 | 1114786.1068
10 | 2583227.419 | 1113704.2047
11 | 2583043.6076 | 1113387.4616
12 | 2583188.7296 | 1113336.3745
13 | 2583028.2576 | 1113344.8391
14 | 2583338.811 | 1113497.2045
15 | 2583369.6049 | 1113556.8379
16 | 2583234.6016 | 1113504.4079
17 | 2583357.0317 | 1113503.5684
18 | 2583348.7707 | 1113484.9487
19 | 2583227.1573 | 1113327.0073
20 | 2583277.2557 | 1113142.4877
21 | 2582913.9157 | 1113170.3753
22 | 2583303.6622 | 1113842.4173
23 | 2583496.5836 | 1113934.3096
24 | 2583106.3122 | 1112938.3183
25 | 2583107.9673 | 1112974.9541
26 | 2583296.7064 | 1113140.7886
27 | 2582792.9983 | 1112959.3698
28 | 2582889.7338 | 1113203.049
29 | 2580972.295 | 1114061.5732
30 | 2581754.7842 | 1114507.4442
31 | 2581139.8965 | 1114984.016
32 | 2582315.5296 | 1115197.9055
33 | 2582309.3656 | 1115175.9015
34 | 2582404.1531 | 1115204.5051
35 | 2582441.4464 | 1115210.3771
36 | 2582303.3311 | 1115158.5773
37 | 2582288.6774 | 1115119.3231
38 | 2582553.606 | 1115044.7695
39 | 2582545.0331 | 1115033.2331
40 | 2582665.4607 | 1115012.62
41 | 2582554.8844 | 1115147.6835
42 | 2582596.5366 | 1115216.5195
43 | 2582567.4004 | 1115169.2024
44 | 2582693.5045 | 1115047.5087
45 | 2582548.795 | 1114809.7781
46 | 2582557.4734 | 1114809.653
47 | 2582462.5101 | 1114577.1836
48 | 2582505.276 | 1114551.1093
49 | 2582398.9042 | 1115046.2642
50 | 2582287.4178 | 1115116.3475
51 | 2582281.8452 | 1115103.8688
52 | 2582250.4039 | 1115042.9978
53 | 2582413.9545 | 1115036.371
54 | 2582236.013 | 1115069.5644
55 | 2582197.9816 | 1115106.9173
56 | 2582287.0923 | 1115016.0543
57 | 2582408.8823 | 1115436.0615
58 | 2582377.4327 | 1115376.635
59 | 2582230.8882 | 1115337.4234
60 | 2582153.2509 | 1115259.7141
61 | 2582169.464 | 1115392.6764
62 | 2582390.7332 | 1114778.5443
63 | 2582119.5252 | 1114616.1616
64 | 2582465.4991 | 1114738.6845
65 | 2582309.2224 | 1114827.1402
66 | 2582068.6022 | 1114520.3763
67 | 2582022.0208 | 1114490.5002
68 | 2582097.0143 | 1114636.1383
69 | 2582112.0123 | 1115035.2138
70 | 2582123.403 | 1115030.7668
71 | 2582092.5746 | 1115041.7303
72 | 2582112.056 | 1115008.3115
73 | 2582017.9442 | 1115093.8671
74 | 2582137.0353 | 1114995.8535
75 | 2582100.9619 | 1114994.045
76 | 2581944.1672 | 1115033.4909
77 | 2582096.0234 | 1115183.8794
78 | 2581897.4346 | 1114995.8901
79 | 2582157.1561 | 1115259.1911
80 | 2582201.8155 | 1114773.6185
81 | 2582185.3288 | 1114809.6851
82 | 2582291.6616 | 1114818.3874
83 | 2582158.706 | 1114867.17
84 | 2582141.8189 | 1114885.1956
85 | 2582173.7286 | 1114973.256
86 | 2582150.6432 | 1114965.6872
87 | 2582171.5963 | 1114933.6426
88 | 2582174.6852 | 1114931.1879
89 | 2582158.9057 | 1114913.8037
90 | 2582177.157 | 1114928.9239
91 | 2582147.3614 | 1114902.9991
92 | 2582135.7616 | 1114891.7057
93 | 2581805.2154 | 1114407.8758
94 | 2581807.9339 | 1114587.1566
95 | 2581828.3495 | 1114617.7769
96 | 2581911.68 | 1114581.5196
97 | 2582113.0717 | 1114715.6745
98 | 2582162.5588 | 1115229.894
99 | 2582128.0226 | 1115216.4896
100 | 2581140.1128 | 1115001.3573
101 | 2582371.374 | 1112613.9607
102 | 2582288.9881 | 1112567.0556
103 | 2582806.3983 | 1112886.0285
104 | 2583666.0862 | 1113829.7081
105 | 2583601.9052 | 1113850.2696
106 | 2583601.2643 | 1113861.6436
107 | 2583587.0931 | 1113864.3279
108 | 2583573.6743 | 1113876.7706
109 | 2583322.7226 | 1113443.272
110 | 2583332.7793 | 1113460.8698
111 | 2583319.2845 | 1113468.9109
112 | 2583316.0285 | 1113486.4572
113 | 2583375.142 | 1113468.0517
114 | 2583393.7569 | 1113456.1245
115 | 2581951.4156 | 1114653.792
116 | 2582000.226 | 1114675.3791
117 | 2583512.1434 | 1113922.6613
118 | 2582059.4172 | 1114695.5127
119 | 2582121.3795 | 1114720.7079
120 | 2581836.109 | 1114914.8676
121 | 2581806.9943 | 1114866.8982
122 | 2582505.276 | 1114551.1093

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9932 | -0.0587 | 0.33292 | 0.16124
1 | 0.99324 | -0.058498 | 0 | 0
2 | 0.99331 | -0.059191 | 0 | 0
3 | 0.99331 | -0.059214 | 0.13639 | 0.066056
4 | 0.99352 | -0.054747 | 0.33012 | 0.15989
5 | 0.99352 | -0.054789 | 0 | 0
6 | 0.99364 | -0.055887 | 0 | 0
7 | 0.99462 | -0.054122 | 0 | 0
8 | 0.99413 | -0.059729 | 0 | 0
9 | 0.99895 | -0.0048235 | 0 | 0
10 | 0.99438 | -0.055761 | 0.21095 | 0.10217
11 | 0.99312 | -0.051757 | 0 | 0
12 | 0.99318 | -0.052359 | 0 | 0
13 | 0.99309 | -0.0519 | 0.25771 | 0.12481
14 | 0.99395 | -0.058026 | 0 | 0
15 | 0.99412 | -0.059631 | 0.33149 | 0.16055
16 | 0.99364 | -0.055815 | 0.28551 | 0.13828
17 | 0.99395 | -0.057998 | 0.10357 | 0.050162
18 | 0.99392 | -0.057766 | 0 | 0
19 | 0.99316 | -0.052173 | 0.38948 | 0.18863
20 | 0.99294 | -0.050342 | 0 | 0
21 | 0.99285 | -0.050179 | 0 | 0
22 | 0.99401 | -0.058247 | 0.10916 | 0.052869
23 | 0.99355 | -0.061326 | 0.20309 | 0.098359
24 | 0.99279 | -0.049049 | 0.30974 | 0.15002
25 | 0.99281 | -0.049186 | 0 | 0
26 | 0.99293 | -0.050395 | 0.22093 | 0.107
27 | 0.99272 | -0.049488 | 0 | 0
28 | 0.99283 | -0.050332 | 0.30721 | 0.14879
29 | 0.99076 | -0.092925 | 0.33953 | 0.16444
30 | 0.99164 | -0.087243 | 0 | 0
31 | 0.99047 | -0.09484 | 0 | 0
32 | 0.99673 | -0.096541 | 0.099064 | 0.047979
33 | 0.9967 | -0.096676 | 0.15859 | 0.076811
34 | 0.99699 | -0.081886 | 0.092161 | 0.044636
35 | 0.9971 | -0.075532 | 0.087436 | 0.042347
36 | 0.99667 | -0.09678 | 0 | 0
37 | 0.99658 | -0.0978 | 0 | 0
38 | 0.99802 | -0.030259 | 0.10146 | 0.049141
39 | 0.99802 | -0.030233 | 0.14932 | 0.07232
40 | 0.99841 | -0.0086604 | 0 | 0
41 | 0.9977 | -0.048398 | 0 | 0
42 | 0.99758 | -0.048909 | 0.12673 | 0.061377
43 | 0.99766 | -0.048557 | 0 | 0
44 | 0.9984 | -0.0085809 | 0.15073 | 0.073003
45 | 0.99884 | -0.0068113 | 0 | 0
46 | 0.99887 | -0.0051501 | 0.095581 | 0.046292
47 | 0.99999 | 8.7397e-05 | 0.14903 | 0.072179
48 | 1 | 0 | -11.0497 | -5.1041
49 | 0.99656 | -0.097579 | 0 | 0
50 | 0.99657 | -0.097659 | 0.15722 | 0.076143
51 | 0.9965 | -0.097089 | 0 | 0
52 | 0.99612 | -0.093791 | 0 | 0
53 | 0.99655 | -0.097547 | 0.1493 | 0.072309
54 | 0.99595 | -0.092252 | 0 | 0
55 | 0.99569 | -0.090047 | 0.12339 | 0.059759
56 | 0.99611 | -0.093872 | 0.14622 | 0.07082
57 | 0.99437 | -0.097049 | 0.15874 | 0.076883
58 | 0.99439 | -0.096918 | 0 | 0
59 | 0.99442 | -0.097194 | 0 | 0
60 | 0.99447 | -0.097627 | 0 | 0
61 | 0.9944 | -0.097361 | 0.16433 | 0.079589
62 | 0.99328 | -0.091903 | 0 | 0
63 | 0.9925 | -0.085118 | 0 | 0
64 | 0.99327 | -0.091785 | 0.11996 | 0.058099
65 | 0.99354 | -0.090042 | 0.1351 | 0.065431
66 | 0.99249 | -0.084969 | 0 | 0
67 | 0.99248 | -0.084904 | 0.10025 | 0.048554
68 | 0.99243 | -0.08558 | 0.070462 | 0.034126
69 | 0.99479 | -0.095295 | 0.11839 | 0.057338
70 | 0.99475 | -0.094963 | 0 | 0
71 | 0.99486 | -0.09588 | 0 | 0
72 | 0.99468 | -0.094276 | 0 | 0
73 | 0.9947 | -0.097031 | 0.1274 | 0.061702
74 | 0.99459 | -0.093505 | 0 | 0
75 | 0.99467 | -0.094259 | 0.078942 | 0.038233
76 | 0.99467 | -0.096808 | 0.1217 | 0.05894
77 | 0.99456 | -0.09797 | 0.097187 | 0.04707
78 | 0.99466 | -0.096899 | 0 | 0
79 | 0.99447 | -0.097641 | 0.16017 | 0.077572
80 | 0.99388 | -0.088237 | 0.14754 | 0.071458
81 | 0.99396 | -0.088979 | 0 | 0
82 | 0.99358 | -0.090375 | 0 | 0
83 | 0.9941 | -0.09016 | 0 | 0
84 | 0.99415 | -0.090618 | 0.15582 | 0.075469
85 | 0.99445 | -0.092395 | 0.14353 | 0.069514
86 | 0.99446 | -0.092353 | 0 | 0
87 | 0.99434 | -0.09134 | 0.1084 | 0.052502
88 | 0.99433 | -0.091248 | 0 | 0
89 | 0.99427 | -0.090735 | 0 | 0
90 | 0.99433 | -0.091242 | 0.13955 | 0.067588
91 | 0.99423 | -0.09039 | 0.12142 | 0.058805
92 | 0.99417 | -0.090799 | 0 | 0
93 | 0.99162 | -0.087365 | 0.088602 | 0.042912
94 | 0.99171 | -0.087904 | 0 | 0
95 | 0.99173 | -0.088154 | 0.16213 | 0.078521
96 | 0.99187 | -0.087271 | 0.11033 | 0.053433
97 | 0.99226 | -0.086757 | 0 | 0
98 | 0.9945 | -0.097447 | 0 | 0
99 | 0.99453 | -0.097729 | 0 | 0
100 | 0.99047 | -0.094805 | 0.15904 | 0.077026
101 | 0.99262 | -0.049523 | 0.0708 | 0.03429
102 | 0.99263 | -0.0496 | 0 | 0
103 | 0.99268 | -0.049755 | 0.292 | 0.14142
104 | 0.99334 | -0.059418 | 0.19047 | 0.092249
105 | 0.99339 | -0.059931 | 0 | 0
106 | 0.9934 | -0.060022 | 0 | 0
107 | 0.99342 | -0.060142 | 0.24134 | 0.11689
108 | 0.99344 | -0.060332 | 0 | 0
109 | 0.99387 | -0.057238 | 0.48057 | 0.23275
110 | 0.99388 | -0.057356 | 0 | 0
111 | 0.99386 | -0.057225 | 0.25582 | 0.1239
112 | 0.99385 | -0.057098 | 0.43591 | 0.21112
113 | 0.99391 | -0.057688 | 0.1127 | 0.054585
114 | 0.99391 | -0.057662 | 0.097243 | 0.047097
115 | 0.99201 | -0.086358 | 0 | 0
116 | 0.99206 | -0.086892 | 0.13276 | 0.0643
117 | 0.99353 | -0.061127 | 0 | 0
118 | 0.99218 | -0.086091 | 0 | 0
119 | 0.99226 | -0.086742 | 0.12566 | 0.060862
120 | 0.99465 | -0.096795 | 0 | 0
121 | 0.99464 | -0.096731 | 0.097623 | 0.047281
122 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.33292 | -0.16124 | 0.33293 | 0.16119 | 1.0194e-05 | -5.191e-05 | 0.010751 | 0.010751 | 0.010751 | 0.9932 | -0.0587 | 0.99324 | -0.058498 | 5.1197
1 | -0.33293 | -0.16119 | 0.33295 | 0.15701 | 2.7288e-05 | -0.0041785 | 0.010751 | 0.010698 | 0.010751 | 0.99324 | -0.058498 | 0.99331 | -0.059191 | 4.8866
2 | -0.33295 | -0.15701 | 0.33295 | 0.15686 | 9.5153e-07 | -0.00014646 | 0.010698 | 0.010696 | 0.010698 | 0.99331 | -0.059191 | 0.99331 | -0.059214 | 4.8628
3 | -0.46934 | -0.22292 | 0.46935 | 0.22203 | 1.1519e-05 | -0.00088872 | 0.0151 | 0.015089 | 0.0151 | 0.99331 | -0.059214 | 0.99334 | -0.059418 | 6.8638
4 | -0.33012 | -0.15989 | 0.33013 | 0.15964 | 1.5907e-06 | -0.00024682 | 0.010658 | 0.010655 | 0.010658 | 0.99352 | -0.054747 | 0.99352 | -0.054789 | 4.8445
5 | -0.33013 | -0.15964 | 0.33017 | 0.15278 | 4.3855e-05 | -0.0068631 | 0.010655 | 0.010569 | 0.010655 | 0.99352 | -0.054789 | 0.99364 | -0.055887 | 4.843
6 | 1.8493 | 0.82413 | -1.8484 | -0.8285 | 0.00090854 | -0.0043611 | 0.05882 | 0.058875 | 0.058875 | 0.99364 | -0.055887 | 0.99318 | -0.052359 | 26.7613
7 | 0.28551 | 0.13779 | -0.28551 | -0.13828 | 2.3701e-06 | -0.00049233 | 0.0092102 | 0.0092165 | 0.0092165 | 0.99364 | -0.055887 | 0.99364 | -0.055815 | 4.1893
8 | -2.465 | -1.1147 | 2.4663 | 1.1114 | 0.001286 | -0.0032986 | 0.078595 | 0.078551 | 0.078595 | 0.99364 | -0.055887 | 0.99413 | -0.059729 | 35.7251
9 | 4.2859 | 1.9788 | -4.284 | -1.9846 | 0.0019264 | -0.0058027 | 0.13701 | 0.1371 | 0.1371 | 0.99462 | -0.054122 | 0.99413 | -0.059729 | 37.8724
10 | -5.7117 | -2.6587 | 5.7343 | 2.6273 | 0.022556 | -0.031369 | 0.18285 | 0.18227 | 0.18285 | 0.99462 | -0.054122 | 0.99895 | -0.0048235 | 50.512
11 | 1.4258 | 0.67991 | -1.4255 | -0.6798 | 0.00033482 | 0.00010416 | 0.045846 | 0.045847 | 0.045847 | 0.99462 | -0.054122 | 0.99438 | -0.055761 | 21.832
12 | 1.4862 | 0.71319 | -1.4859 | -0.71538 | 0.00029548 | -0.0021898 | 0.047869 | 0.047898 | 0.047898 | 0.99413 | -0.059729 | 0.99395 | -0.058026 | 21.7716
13 | 0.33149 | 0.15997 | -0.33149 | -0.16055 | 3.7477e-06 | -0.00057837 | 0.010688 | 0.010695 | 0.010695 | 0.99413 | -0.059729 | 0.99412 | -0.059631 | 4.8615
14 | 5.1413 | 2.4077 | -5.141 | -2.4104 | 0.00037809 | -0.0026367 | 0.16406 | 0.16409 | 0.16409 | 0.99895 | -0.0048235 | 0.99887 | -0.0051501 | 25.72
15 | -10.8756 | -5.035 | 10.8866 | 5.0226 | 0.011013 | -0.012461 | 0.34633 | 0.3461 | 0.34633 | 0.99895 | -0.0048235 | 1 | 0 | 54.2836
16 | 1.2145 | 0.57763 | -1.2141 | -0.57755 | 0.00042872 | 8.2282e-05 | 0.039043 | 0.039045 | 0.039045 | 0.99438 | -0.055761 | 0.99401 | -0.058247 | 18.5929
17 | -0.25771 | -0.12476 | 0.25773 | 0.11999 | 1.8641e-05 | -0.0047762 | 0.0083228 | 0.0082631 | 0.0083228 | 0.99312 | -0.051757 | 0.99318 | -0.052359 | 3.7831
18 | 0.25771 | 0.12476 | -0.25771 | -0.12481 | 5.5914e-06 | -4.9837e-05 | 0.0083228 | 0.0083234 | 0.0083234 | 0.99312 | -0.051757 | 0.99309 | -0.0519 | 3.9635
19 | 0.38949 | 0.1877 | -0.38948 | -0.18863 | 8.3491e-06 | -0.00092931 | 0.012567 | 0.012579 | 0.012579 | 0.99318 | -0.052359 | 0.99316 | -0.052173 | 5.7175
20 | 0.53086 | 0.2398 | -0.53072 | -0.24825 | 0.00013875 | -0.0084445 | 0.016931 | 0.017034 | 0.017034 | 0.99318 | -0.052359 | 0.99294 | -0.050342 | 7.7427
21 | 0.67032 | 0.281 | -0.67008 | -0.29009 | 0.00023281 | -0.0090858 | 0.021126 | 0.02123 | 0.02123 | 0.99318 | -0.052359 | 0.99285 | -0.050179 | 9.6501
22 | 0.10357 | 0.049629 | -0.10357 | -0.050162 | 3.3683e-07 | -0.00053372 | 0.0033356 | 0.0033423 | 0.0033423 | 0.99395 | -0.058026 | 0.99395 | -0.057998 | 1.5192
23 | 1.3824 | 0.66575 | -1.3823 | -0.66611 | 4.1827e-05 | -0.00035971 | 0.044562 | 0.044567 | 0.044567 | 0.99395 | -0.058026 | 0.99392 | -0.057766 | 20.2576
24 | 0.20995 | 0.10042 | -0.20995 | -0.10116 | 1.913e-06 | -0.00073817 | 0.0067594 | 0.0067687 | 0.0067687 | 0.99392 | -0.057766 | 0.99391 | -0.057688 | 3.0767
25 | 1.1724 | 0.56569 | -1.1723 | -0.56636 | 5.559e-05 | -0.00067044 | 0.037807 | 0.037816 | 0.037816 | 0.99392 | -0.057766 | 0.99388 | -0.057356 | 17.1891
26 | 0.22093 | 0.10698 | -0.22093 | -0.107 | 1.7717e-06 | -2.1871e-05 | 0.0071363 | 0.0071366 | 0.0071366 | 0.99294 | -0.050342 | 0.99293 | -0.050395 | 3.3984
27 | 0.30979 | 0.14127 | -0.30975 | -0.14915 | 4.4321e-05 | -0.0078845 | 0.0098988 | 0.0099963 | 0.0099963 | 0.99294 | -0.050342 | 0.99281 | -0.049186 | 4.5438
28 | 0.36287 | 0.14134 | -0.36282 | -0.14811 | 4.9634e-05 | -0.0067664 | 0.011323 | 0.011396 | 0.011396 | 0.99285 | -0.050179 | 0.99272 | -0.049488 | 5.1799
29 | 0.30721 | 0.14874 | -0.30721 | -0.14879 | 7.1334e-06 | -4.3367e-05 | 0.0099242 | 0.0099248 | 0.0099248 | 0.99285 | -0.050179 | 0.99283 | -0.050332 | 4.7261
30 | 1.1049 | 0.52468 | -1.1044 | -0.52463 | 0.00048047 | 4.9013e-05 | 0.035523 | 0.035526 | 0.035526 | 0.99401 | -0.058247 | 0.99355 | -0.061326 | 16.917
31 | 0.90135 | 0.42627 | -0.90133 | -0.42673 | 2.1742e-05 | -0.00045083 | 0.02897 | 0.028975 | 0.028975 | 0.99355 | -0.061326 | 0.99353 | -0.061127 | 13.1707
32 | -0.30974 | -0.15002 | 0.30975 | 0.14915 | 4.8989e-06 | -0.00086183 | 0.010007 | 0.0099963 | 0.010007 | 0.99279 | -0.049049 | 0.99281 | -0.049186 | 4.5487
33 | 0.29202 | 0.14134 | -0.292 | -0.14142 | 1.1824e-05 | -8.0304e-05 | 0.009434 | 0.0094351 | 0.0094351 | 0.99272 | -0.049488 | 0.99268 | -0.049755 | 4.4929
34 | 0.070807 | 0.0067672 | -0.0708 | -0.031993 | 6.5235e-06 | -0.025226 | 0.0020684 | 0.0022595 | 0.0022595 | 0.99272 | -0.049488 | 0.99263 | -0.0496 | 1.027
35 | -0.49861 | -0.23997 | 0.49903 | 0.23918 | 0.00041677 | -0.00079525 | 0.016123 | 0.01611 | 0.016123 | 0.99076 | -0.092925 | 0.99164 | -0.087243 | 7.6776
36 | 0.15908 | 0.075533 | -0.15904 | -0.076604 | 4.4097e-05 | -0.0010707 | 0.0051311 | 0.0051449 | 0.0051449 | 0.99076 | -0.092925 | 0.99047 | -0.09484 | 2.45
37 | -0.58763 | -0.28196 | 0.58768 | 0.27973 | 4.5944e-05 | -0.0022343 | 0.018974 | 0.018946 | 0.018974 | 0.99164 | -0.087243 | 0.99171 | -0.087904 | 8.6245
38 | 0.088604 | 0.042782 | -0.088602 | -0.042912 | 1.6324e-06 | -0.00013 | 0.0028643 | 0.0028659 | 0.0028659 | 0.99164 | -0.087243 | 0.99162 | -0.087365 | 1.3647
39 | 0.15904 | 0.076604 | -0.15904 | -0.077026 | 6.3787e-07 | -0.00042218 | 0.0051449 | 0.0051503 | 0.0051503 | 0.99047 | -0.09484 | 0.99047 | -0.094805 | 2.341
40 | 4.2318 | 1.985 | -4.2317 | -1.9864 | 0.00012959 | -0.0013552 | 0.13538 | 0.13539 | 0.13539 | 0.99673 | -0.096541 | 0.9967 | -0.096676 | 21.2218
41 | -4.3309 | -2.033 | 4.3315 | 2.0345 | 0.00060914 | 0.001516 | 0.13856 | 0.13856 | 0.13856 | 0.99673 | -0.096541 | 0.99699 | -0.081886 | 21.4829
42 | 4.0731 | 1.9096 | -4.073 | -1.9107 | 9.6235e-05 | -0.0010908 | 0.13029 | 0.13031 | 0.13031 | 0.9967 | -0.096676 | 0.99667 | -0.09678 | 20.4241
43 | -4.4237 | -2.0791 | 4.4239 | 2.0798 | 0.00026996 | 0.00067407 | 0.14153 | 0.14153 | 0.14153 | 0.99699 | -0.081886 | 0.9971 | -0.075532 | 21.9424
44 | -4.5114 | -2.1222 | 4.5125 | 2.1251 | 0.0011544 | 0.0028909 | 0.14434 | 0.14434 | 0.14434 | 0.9971 | -0.075532 | 0.99758 | -0.048909 | 22.3783
45 | 4.073 | 1.9107 | -4.0727 | -1.9118 | 0.00034363 | -0.0011779 | 0.13031 | 0.13032 | 0.13032 | 0.99667 | -0.09678 | 0.99658 | -0.0978 | 36.0008
46 | 0.1493 | 0.068748 | -0.1493 | -0.071883 | 4.035e-06 | -0.003135 | 0.0047612 | 0.0047999 | 0.0047999 | 0.99658 | -0.0978 | 0.99656 | -0.097579 | 2.1818
47 | 3.9234 | 1.8431 | -3.9233 | -1.8431 | 6.7983e-05 | -5.6426e-05 | 0.12556 | 0.12556 | 0.12556 | 0.99658 | -0.0978 | 0.99657 | -0.097659 | 57.074
48 | 0.14932 | 0.071979 | -0.14932 | -0.07232 | 4.4115e-07 | -0.0003414 | 0.0047947 | 0.004799 | 0.004799 | 0.99802 | -0.030259 | 0.99802 | -0.030233 | 2.1814
49 | -4.8914 | -2.3049 | 4.8924 | 2.3074 | 0.0010164 | 0.0025728 | 0.1564 | 0.1564 | 0.1564 | 0.99802 | -0.030259 | 0.99841 | -0.0086604 | 24.2486
50 | 4.6406 | 2.1837 | -4.6398 | -2.1817 | 0.00080862 | 0.0020328 | 0.14835 | 0.14835 | 0.14835 | 0.99802 | -0.030259 | 0.9977 | -0.048398 | 23
51 | -5.0432 | -2.3794 | 5.0453 | 2.3639 | 0.0021387 | -0.0155 | 0.16123 | 0.16102 | 0.16123 | 0.99841 | -0.0086604 | 0.99884 | -0.0068113 | 25.2712
52 | 0.15073 | 0.071938 | -0.15073 | -0.073003 | 1.3974e-06 | -0.0010649 | 0.0048291 | 0.0048425 | 0.0048425 | 0.99841 | -0.0086604 | 0.9984 | -0.0085809 | 2.2011
53 | 4.6398 | 2.1817 | -4.6396 | -2.1832 | 0.00016922 | -0.0014608 | 0.14835 | 0.14837 | 0.14837 | 0.9977 | -0.048398 | 0.99766 | -0.048557 | 23.2553
54 | -4.6393 | -2.1864 | 4.6396 | 2.1832 | 0.00037809 | -0.0032619 | 0.14841 | 0.14837 | 0.14841 | 0.99758 | -0.048909 | 0.99766 | -0.048557 | 23.262
55 | -5.0453 | -2.3639 | 5.0454 | 2.3641 | 8.0341e-05 | 0.00020407 | 0.16102 | 0.16102 | 0.16102 | 0.99884 | -0.0068113 | 0.99887 | -0.0051501 | 24.9651
56 | -0.14903 | -0.072179 | 0.14903 | 0.070983 | 1.5231e-06 | -0.0011954 | 0.0047802 | 0.0047652 | 0.0047802 | 0.99999 | 8.7397e-05 | 1 | 0 | 2.1728
57 | 0.1493 | 0.071883 | -0.1493 | -0.072309 | 5.5349e-07 | -0.00042606 | 0.0047999 | 0.0048053 | 0.0048053 | 0.99656 | -0.097579 | 0.99655 | -0.097547 | 2.1842
58 | 3.7661 | 1.767 | -3.7658 | -1.7672 | 0.00026487 | -0.00024539 | 0.1205 | 0.12051 | 0.12051 | 0.99657 | -0.097659 | 0.9965 | -0.097089 | 54.776
59 | 3.7658 | 1.7672 | -3.7643 | -1.7687 | 0.0015295 | -0.0014158 | 0.12051 | 0.12053 | 0.12053 | 0.9965 | -0.097089 | 0.99612 | -0.093791 | 54.7864
60 | 0.14623 | 0.070767 | -0.14622 | -0.07082 | 1.7977e-06 | -5.2794e-05 | 0.0047078 | 0.0047085 | 0.0047085 | 0.99612 | -0.093791 | 0.99611 | -0.093872 | 2.2421
61 | 3.6181 | 1.6979 | -3.6174 | -1.6986 | 0.00068612 | -0.00070388 | 0.11582 | 0.11583 | 0.11583 | 0.99612 | -0.093791 | 0.99595 | -0.092252 | 52.6518
62 | 3.6174 | 1.6986 | -3.6164 | -1.6996 | 0.00098134 | -0.0010059 | 0.11583 | 0.11585 | 0.11585 | 0.99595 | -0.092252 | 0.99569 | -0.090047 | 52.659
63 | 3.493 | 1.6398 | -3.4903 | -1.6383 | 0.0027638 | 0.0015846 | 0.11188 | 0.11188 | 0.11188 | 0.99569 | -0.090047 | 0.99486 | -0.09588 | 53.2749
64 | -0.15874 | -0.076883 | 0.15875 | 0.076805 | 3.1403e-06 | -7.7399e-05 | 0.0051205 | 0.0051195 | 0.0051205 | 0.99437 | -0.097049 | 0.99439 | -0.096918 | 2.4383
65 | -0.15875 | -0.076805 | 0.15875 | 0.073183 | 5.3225e-06 | -0.0036219 | 0.0051195 | 0.0050746 | 0.0051195 | 0.99439 | -0.096918 | 0.99442 | -0.097194 | 2.327
66 | -0.32309 | -0.15268 | 0.3231 | 0.14982 | 1.7338e-05 | -0.0028543 | 0.010373 | 0.010338 | 0.010373 | 0.99442 | -0.097194 | 0.99447 | -0.097627 | 4.7152
67 | 0.16433 | 0.079494 | -0.16433 | -0.079589 | 4.1349e-06 | -9.4941e-05 | 0.0052994 | 0.0053006 | 0.0053006 | 0.99442 | -0.097194 | 0.9944 | -0.097361 | 2.5241
68 | -0.3231 | -0.14982 | 0.3231 | 0.14973 | 5.6054e-07 | -9.2609e-05 | 0.010338 | 0.010337 | 0.010338 | 0.99447 | -0.097627 | 0.99447 | -0.097641 | 4.6992
69 | 1.2911 | 0.60036 | -1.29 | -0.61112 | 0.0010797 | -0.01076 | 0.041381 | 0.041518 | 0.041518 | 0.99328 | -0.091903 | 0.9925 | -0.085118 | 18.8719
70 | 0.11996 | 0.056108 | -0.11996 | -0.058099 | 1.6826e-06 | -0.0019909 | 0.0038489 | 0.0038738 | 0.0038738 | 0.99328 | -0.091903 | 0.99327 | -0.091785 | 1.7608
71 | -1.4111 | -0.65647 | 1.4114 | 0.65657 | 0.00034589 | 0.00010485 | 0.04523 | 0.045229 | 0.04523 | 0.99328 | -0.091903 | 0.99354 | -0.090042 | 21.5381
72 | 1.1898 | 0.56728 | -1.1897 | -0.56726 | 7.8813e-05 | 1.3975e-05 | 0.038337 | 0.038338 | 0.038338 | 0.9925 | -0.085118 | 0.99243 | -0.08558 | 18.256
73 | 0.10025 | 0.043839 | -0.10025 | -0.047256 | 1.9896e-06 | -0.0034164 | 0.0031826 | 0.0032237 | 0.0032237 | 0.9925 | -0.085118 | 0.99249 | -0.084969 | 1.4653
74 | -1.5465 | -0.722 | 1.5466 | 0.72156 | 6.426e-05 | -0.00044233 | 0.04959 | 0.049584 | 0.04959 | 0.99354 | -0.090042 | 0.99358 | -0.090375 | 22.5408
75 | 0.10025 | 0.047256 | -0.10025 | -0.048554 | 7.7006e-07 | -0.0012986 | 0.0032237 | 0.00324 | 0.00324 | 0.99249 | -0.084969 | 0.99248 | -0.084904 | 1.4727
76 | 1.1192 | 0.53314 | -1.119 | -0.53312 | 0.000188 | 2.2365e-05 | 0.03606 | 0.036061 | 0.036061 | 0.99243 | -0.08558 | 0.99226 | -0.086757 | 17.1721
77 | 2.4442 | 1.1476 | -2.4441 | -1.1478 | 9.9978e-05 | -0.00025852 | 0.078357 | 0.07836 | 0.07836 | 0.99479 | -0.095295 | 0.99475 | -0.094963 | 35.6183
78 | -2.5626 | -1.2049 | 2.5628 | 1.2045 | 0.00018431 | -0.00042848 | 0.082174 | 0.082168 | 0.082174 | 0.99479 | -0.095295 | 0.99486 | -0.09588 | 37.3516
79 | 2.4441 | 1.1478 | -2.4439 | -1.1483 | 0.00020637 | -0.00053348 | 0.07836 | 0.078368 | 0.078368 | 0.99475 | -0.094963 | 0.99468 | -0.094276 | 35.6216
80 | 0.92745 | 0.43379 | -0.9273 | -0.43381 | 0.00014318 | -1.7868e-05 | 0.02971 | 0.029711 | 0.029711 | 0.99486 | -0.09588 | 0.9947 | -0.097031 | 14.1481
81 | 2.365 | 1.1105 | -2.3648 | -1.1112 | 0.00022455 | -0.0006243 | 0.075827 | 0.075836 | 0.075836 | 0.99468 | -0.094276 | 0.99459 | -0.093505 | 34.4709
82 | 0.078942 | 0.037805 | -0.078942 | -0.038233 | 1.5657e-07 | -0.0004284 | 0.0025402 | 0.0025456 | 0.0025456 | 0.99468 | -0.094276 | 0.99467 | -0.094259 | 1.1571
83 | 0.21933 | 0.10016 | -0.21932 | -0.10242 | 6.2708e-06 | -0.0022554 | 0.0069976 | 0.0070251 | 0.0070251 | 0.9947 | -0.097031 | 0.99467 | -0.096808 | 3.1932
84 | 0.58057 | 0.27194 | -0.5805 | -0.27204 | 7.3502e-05 | -9.4688e-05 | 0.018606 | 0.018608 | 0.018608 | 0.9947 | -0.097031 | 0.99456 | -0.09797 | 8.8608
85 | 2.3648 | 1.1112 | -2.3644 | -1.1121 | 0.00033469 | -0.00093001 | 0.075836 | 0.075849 | 0.075849 | 0.99459 | -0.093505 | 0.99446 | -0.092353 | 34.4767
86 | 0.097626 | 0.043477 | -0.097625 | -0.043547 | 1.0283e-06 | -7.02e-05 | 0.0031016 | 0.0031024 | 0.0031024 | 0.99467 | -0.096808 | 0.99466 | -0.096899 | 1.4774
87 | 0.48331 | 0.22497 | -0.4833 | -0.22604 | 1.4598e-05 | -0.0010733 | 0.015474 | 0.015487 | 0.015487 | 0.99456 | -0.09797 | 0.99453 | -0.097729 | 7.0395
88 | 0.097625 | 0.043547 | -0.097624 | -0.045952 | 1.3206e-06 | -0.0024049 | 0.0031024 | 0.0031315 | 0.0031315 | 0.99466 | -0.096899 | 0.99465 | -0.096795 | 1.4234
89 | -0.48327 | -0.2273 | 0.48328 | 0.22728 | 1.2756e-05 | -2.7184e-05 | 0.015503 | 0.015502 | 0.015503 | 0.99447 | -0.097641 | 0.9945 | -0.097447 | 7.3822
90 | -1.6945 | -0.79317 | 1.6947 | 0.79229 | 0.00015627 | -0.00088871 | 0.054344 | 0.054332 | 0.054344 | 0.99388 | -0.088237 | 0.99396 | -0.088979 | 24.7017
91 | 1.547 | 0.72172 | -1.5466 | -0.72156 | 0.00043971 | 0.00015708 | 0.049583 | 0.049584 | 0.049584 | 0.99388 | -0.088237 | 0.99358 | -0.090375 | 23.6114
92 | -1.6947 | -0.79229 | 1.695 | 0.79086 | 0.00024971 | -0.0014213 | 0.054332 | 0.054314 | 0.054332 | 0.99396 | -0.088979 | 0.9941 | -0.09016 | 24.6964
93 | -1.695 | -0.79086 | 1.695 | 0.79031 | 9.714e-05 | -0.00055329 | 0.054314 | 0.054307 | 0.054314 | 0.9941 | -0.09016 | 0.99415 | -0.090618 | 24.6881
94 | -1.8509 | -0.86578 | 1.8509 | 0.86558 | 4.1737e-05 | -0.00019719 | 0.059334 | 0.059331 | 0.059334 | 0.99415 | -0.090618 | 0.99417 | -0.090799 | 26.9698
95 | -0.14353 | -0.069514 | 0.14353 | 0.069486 | 9.2757e-07 | -2.8101e-05 | 0.0046294 | 0.004629 | 0.0046294 | 0.99445 | -0.092395 | 0.99446 | -0.092353 | 2.2045
96 | 2.2209 | 1.0426 | -2.2206 | -1.0435 | 0.00027684 | -0.00088294 | 0.07122 | 0.071232 | 0.071232 | 0.99446 | -0.092353 | 0.99434 | -0.09134 | 32.3781
97 | 2.1122 | 0.99099 | -2.1122 | -0.99108 | 2.4127e-05 | -8.5829e-05 | 0.067735 | 0.067736 | 0.067736 | 0.99434 | -0.09134 | 0.99433 | -0.091248 | 30.7893
98 | 1.9726 | 0.92357 | -1.9725 | -0.92408 | 0.00012523 | -0.0005165 | 0.063236 | 0.063243 | 0.063243 | 0.99433 | -0.091248 | 0.99427 | -0.090735 | 28.7468
99 | 0.13955 | 0.067509 | -0.13955 | -0.067588 | 9.0531e-08 | -7.8983e-05 | 0.0045007 | 0.0045017 | 0.0045017 | 0.99433 | -0.091248 | 0.99433 | -0.091242 | 2.0462
100 | 1.9725 | 0.92408 | -1.9724 | -0.92443 | 8.4312e-05 | -0.00034765 | 0.063243 | 0.063248 | 0.063248 | 0.99427 | -0.090735 | 0.99423 | -0.09039 | 28.7489
101 | 1.851 | 0.86563 | -1.8509 | -0.86558 | 0.00010154 | 4.4497e-05 | 0.059331 | 0.059331 | 0.059331 | 0.99423 | -0.09039 | 0.99417 | -0.090799 | 28.2529
102 | -0.58768 | -0.27973 | 0.5877 | 0.27887 | 1.7612e-05 | -0.00085836 | 0.018946 | 0.018935 | 0.018946 | 0.99171 | -0.087904 | 0.99173 | -0.088154 | 8.6117
103 | -0.74982 | -0.35739 | 0.74992 | 0.35734 | 9.4649e-05 | -4.7432e-05 | 0.024178 | 0.024177 | 0.024178 | 0.99173 | -0.088154 | 0.99187 | -0.087271 | 11.5135
104 | -0.86024 | -0.41078 | 0.86036 | 0.41075 | 0.00011311 | -2.603e-05 | 0.027745 | 0.027743 | 0.027745 | 0.99187 | -0.087271 | 0.99201 | -0.086358 | 13.2117
105 | 0.99337 | 0.47248 | -0.99329 | -0.47381 | 7.8861e-05 | -0.0013317 | 0.032002 | 0.032019 | 0.032019 | 0.99226 | -0.086757 | 0.99218 | -0.086091 | 14.5542
106 | 0.12566 | 0.060634 | -0.12566 | -0.060862 | 2.1354e-07 | -0.00022799 | 0.0040593 | 0.0040621 | 0.0040621 | 0.99226 | -0.086757 | 0.99226 | -0.086742 | 1.8464
107 | -0.48328 | -0.22728 | 0.4833 | 0.22604 | 1.6794e-05 | -0.0012324 | 0.015502 | 0.015487 | 0.015502 | 0.9945 | -0.097447 | 0.99453 | -0.097729 | 7.0464
108 | -0.0708 | -0.03429 | 0.0708 | 0.031993 | 6.7356e-07 | -0.0022963 | 0.0022878 | 0.0022595 | 0.0022878 | 0.99262 | -0.049523 | 0.99263 | -0.0496 | 1.0399
109 | -0.65982 | -0.31428 | 0.65987 | 0.3127 | 4.0551e-05 | -0.0015759 | 0.021239 | 0.02122 | 0.021239 | 0.99334 | -0.059418 | 0.99339 | -0.059931 | 9.6542
110 | -0.65987 | -0.3127 | 0.65987 | 0.31242 | 7.2668e-06 | -0.00028273 | 0.02122 | 0.021216 | 0.02122 | 0.99339 | -0.059931 | 0.9934 | -0.060022 | 9.6452
111 | -0.65987 | -0.31242 | 0.65988 | 0.31205 | 9.5673e-06 | -0.00037239 | 0.021216 | 0.021211 | 0.021216 | 0.9934 | -0.060022 | 0.99342 | -0.060142 | 9.6436
112 | -0.90122 | -0.42893 | 0.90124 | 0.42851 | 2.053e-05 | -0.00042476 | 0.029003 | 0.028998 | 0.029003 | 0.99342 | -0.060142 | 0.99344 | -0.060332 | 13.1833
113 | -0.90124 | -0.42851 | 0.90133 | 0.42673 | 8.6103e-05 | -0.0017834 | 0.028998 | 0.028975 | 0.028998 | 0.99344 | -0.060332 | 0.99353 | -0.061127 | 13.1809
114 | -0.48057 | -0.23275 | 0.48058 | 0.23228 | 6.5063e-06 | -0.00047609 | 0.01551 | 0.015503 | 0.01551 | 0.99387 | -0.057238 | 0.99388 | -0.057356 | 7.0498
115 | 0.69175 | 0.33408 | -0.69174 | -0.33445 | 1.0443e-05 | -0.00036739 | 0.022313 | 0.022317 | 0.022317 | 0.99388 | -0.057356 | 0.99386 | -0.057225 | 10.1442
116 | 0.43591 | 0.21055 | -0.43591 | -0.21112 | 6.3763e-06 | -0.00056754 | 0.014061 | 0.014068 | 0.014068 | 0.99386 | -0.057225 | 0.99385 | -0.057098 | 6.3947
117 | 0.097244 | 0.046576 | -0.097243 | -0.047097 | 2.9006e-07 | -0.00052136 | 0.0031316 | 0.0031382 | 0.0031382 | 0.99391 | -0.057688 | 0.99391 | -0.057662 | 1.4265
118 | -0.86036 | -0.41075 | 0.86041 | 0.40952 | 5.4678e-05 | -0.0012348 | 0.027743 | 0.027728 | 0.027743 | 0.99201 | -0.086358 | 0.99206 | -0.086892 | 12.6107
119 | -0.99317 | -0.47382 | 0.99329 | 0.47381 | 0.00011421 | -1.931e-06 | 0.03202 | 0.032019 | 0.03202 | 0.99206 | -0.086892 | 0.99218 | -0.086091 | 15.2477
120 | 0.097624 | 0.045952 | -0.097623 | -0.047281 | 7.4049e-07 | -0.0013288 | 0.0031315 | 0.0031481 | 0.0031481 | 0.99465 | -0.096795 | 0.99464 | -0.096731 | 1.431

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.0497 | 5.1041

## res_load
| p_mw | q_mvar
0 | 0.33292 | 0.16124
1 | 0.13639 | 0.066056
2 | 0.33012 | 0.15989
3 | 0.21095 | 0.10217
4 | 0.25771 | 0.12481
5 | 0.33149 | 0.16055
6 | 0.28551 | 0.13828
7 | 0.10357 | 0.050162
8 | 0.38948 | 0.18863
9 | 0.10916 | 0.052869
10 | 0.20309 | 0.098359
11 | 0.30974 | 0.15002
12 | 0.22093 | 0.107
13 | 0.30721 | 0.14879
14 | 0.33953 | 0.16444
15 | 0.099064 | 0.047979
16 | 0.15859 | 0.076811
17 | 0.092161 | 0.044636
18 | 0.087436 | 0.042347
19 | 0.10146 | 0.049141
20 | 0.14932 | 0.07232
21 | 0.12673 | 0.061377
22 | 0.15073 | 0.073003
23 | 0.095581 | 0.046292
24 | 0.14903 | 0.072179
25 | 0.15722 | 0.076143
26 | 0.1493 | 0.072309
27 | 0.12339 | 0.059759
28 | 0.14622 | 0.07082
29 | 0.15874 | 0.076883
30 | 0.16433 | 0.079589
31 | 0.11996 | 0.058099
32 | 0.1351 | 0.065431
33 | 0.10025 | 0.048554
34 | 0.070462 | 0.034126
35 | 0.11839 | 0.057338
36 | 0.1274 | 0.061702
37 | 0.078942 | 0.038233
38 | 0.1217 | 0.05894
39 | 0.097187 | 0.04707
40 | 0.16017 | 0.077572
41 | 0.14754 | 0.071458
42 | 0.15582 | 0.075469
43 | 0.14353 | 0.069514
44 | 0.1084 | 0.052502
45 | 0.13955 | 0.067588
46 | 0.12142 | 0.058805
47 | 0.088602 | 0.042912
48 | 0.16213 | 0.078521
49 | 0.11033 | 0.053433
50 | 0.15904 | 0.077026
51 | 0.0708 | 0.03429
52 | 0.292 | 0.14142
53 | 0.19047 | 0.092249
54 | 0.24134 | 0.11689
55 | 0.48057 | 0.23275
56 | 0.25582 | 0.1239
57 | 0.43591 | 0.21112
58 | 0.1127 | 0.054585
59 | 0.097243 | 0.047097
60 | 0.13276 | 0.0643
61 | 0.12566 | 0.060862
62 | 0.097623 | 0.047281

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1