## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_108_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_108_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_108_0_node_162 | 20 | n |  | TRUE
3 | bus_MV_108_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_108_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_108_0_node_7 | 20 | n |  | TRUE
6 | bus_MV_108_0_node_100 | 20 | n |  | TRUE
7 | bus_MV_108_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_108_0_node_99 | 20 | n |  | TRUE
9 | bus_MV_108_0_node_149 | 20 | n |  | TRUE
10 | bus_MV_108_0_node_150 | 20 | n |  | TRUE
11 | bus_MV_108_0_node_106 | 20 | n |  | TRUE
12 | bus_MV_108_0_node_148 | 20 | n |  | TRUE
13 | bus_MV_108_0_node_3 | 20 | n |  | TRUE
14 | bus_MV_108_0_node_183 | 20 | n |  | TRUE
15 | bus_MV_108_0_node_6 | 20 | n |  | TRUE
16 | bus_MV_108_0_node_8 | 20 | n |  | TRUE
17 | bus_MV_108_0_node_11 | 20 | n |  | TRUE
18 | bus_MV_108_0_node_9 | 20 | n |  | TRUE
19 | bus_MV_108_0_node_10 | 20 | n |  | TRUE
20 | bus_MV_108_0_node_12 | 20 | n |  | TRUE
21 | bus_MV_108_0_node_13 | 20 | n |  | TRUE
22 | bus_MV_108_0_node_17 | 20 | n |  | TRUE
23 | bus_MV_108_0_node_181 | 20 | n |  | TRUE
24 | bus_MV_108_0_node_16 | 20 | n |  | TRUE
25 | bus_MV_108_0_node_14 | 20 | n |  | TRUE
26 | bus_MV_108_0_node_15 | 20 | n |  | TRUE
27 | bus_MV_108_0_node_83 | 20 | n |  | TRUE
28 | bus_MV_108_0_node_85 | 20 | n |  | TRUE
29 | bus_MV_108_0_node_86 | 20 | n |  | TRUE
30 | bus_MV_108_0_node_87 | 20 | n |  | TRUE
31 | bus_MV_108_0_node_84 | 20 | n |  | TRUE
32 | bus_MV_108_0_node_146 | 20 | n |  | TRUE
33 | bus_MV_108_0_node_88 | 20 | n |  | TRUE
34 | bus_MV_108_0_node_90 | 20 | n |  | TRUE
35 | bus_MV_108_0_node_89 | 20 | n |  | TRUE
36 | bus_MV_108_0_node_91 | 20 | n |  | TRUE
37 | bus_MV_108_0_node_136 | 20 | n |  | TRUE
38 | bus_MV_108_0_node_92 | 20 | n |  | TRUE
39 | bus_MV_108_0_node_93 | 20 | n |  | TRUE
40 | bus_MV_108_0_node_104 | 20 | n |  | TRUE
41 | bus_MV_108_0_node_94 | 20 | n |  | TRUE
42 | bus_MV_108_0_node_102 | 20 | n |  | TRUE
43 | bus_MV_108_0_node_105 | 20 | n |  | TRUE
44 | bus_MV_108_0_node_96 | 20 | n |  | TRUE
45 | bus_MV_108_0_node_166 | 20 | n |  | TRUE
46 | bus_MV_108_0_node_95 | 20 | n |  | TRUE
47 | bus_MV_108_0_node_97 | 20 | n |  | TRUE
48 | bus_MV_108_0_node_101 | 20 | n |  | TRUE
49 | bus_MV_108_0_node_182 | 20 | n |  | TRUE
50 | bus_MV_108_0_node_98 | 20 | n |  | TRUE
51 | bus_MV_108_0_node_178 | 20 | n |  | TRUE
52 | bus_MV_108_0_node_180 | 20 | n |  | TRUE
53 | bus_MV_108_0_node_179 | 20 | n |  | TRUE
54 | bus_MV_108_0_node_107 | 20 | n |  | TRUE
55 | bus_MV_108_0_node_174 | 20 | n |  | TRUE
56 | bus_MV_108_0_node_173 | 20 | n |  | TRUE
57 | bus_MV_108_0_node_160 | 20 | n |  | TRUE
58 | bus_MV_108_0_node_147 | 20 | n |  | TRUE
59 | bus_MV_108_0_node_109 | 20 | n |  | TRUE
60 | bus_MV_108_0_node_114 | 20 | n |  | TRUE
61 | bus_MV_108_0_node_172 | 20 | n |  | TRUE
62 | bus_MV_108_0_node_171 | 20 | n |  | TRUE
63 | bus_MV_108_0_node_113 | 20 | n |  | TRUE
64 | bus_MV_108_0_node_158 | 20 | n |  | TRUE
65 | bus_MV_108_0_node_110 | 20 | n |  | TRUE
66 | bus_MV_108_0_node_111 | 20 | n |  | TRUE
67 | bus_MV_108_0_node_112 | 20 | n |  | TRUE
68 | bus_MV_108_0_node_121 | 20 | n |  | TRUE
69 | bus_MV_108_0_node_123 | 20 | n |  | TRUE
70 | bus_MV_108_0_node_124 | 20 | n |  | TRUE
71 | bus_MV_108_0_node_122 | 20 | n |  | TRUE
72 | bus_MV_108_0_node_143 | 20 | n |  | TRUE
73 | bus_MV_108_0_node_144 | 20 | n |  | TRUE
74 | bus_MV_108_0_node_168 | 20 | n |  | TRUE
75 | bus_MV_108_0_node_115 | 20 | n |  | TRUE
76 | bus_MV_108_0_node_116 | 20 | n |  | TRUE
77 | bus_MV_108_0_node_120 | 20 | n |  | TRUE
78 | bus_MV_108_0_node_127 | 20 | n |  | TRUE
79 | bus_MV_108_0_node_117 | 20 | n |  | TRUE
80 | bus_MV_108_0_node_118 | 20 | n |  | TRUE
81 | bus_MV_108_0_node_119 | 20 | n |  | TRUE
82 | bus_MV_108_0_node_140 | 20 | n |  | TRUE
83 | bus_MV_108_0_node_128 | 20 | n |  | TRUE
84 | bus_MV_108_0_node_142 | 20 | n |  | TRUE
85 | bus_MV_108_0_node_138 | 20 | n |  | TRUE
86 | bus_MV_108_0_node_169 | 20 | n |  | TRUE
87 | bus_MV_108_0_node_167 | 20 | n |  | TRUE
88 | bus_MV_108_0_node_125 | 20 | n |  | TRUE
89 | bus_MV_108_0_node_126 | 20 | n |  | TRUE
90 | bus_MV_108_0_node_129 | 20 | n |  | TRUE
91 | bus_MV_108_0_node_130 | 20 | n |  | TRUE
92 | bus_MV_108_0_node_134 | 20 | n |  | TRUE
93 | bus_MV_108_0_node_161 | 20 | n |  | TRUE
94 | bus_MV_108_0_node_175 | 20 | n |  | TRUE
95 | bus_MV_108_0_node_156 | 20 | n |  | TRUE
96 | bus_MV_108_0_node_135 | 20 | n |  | TRUE
97 | bus_MV_108_0_node_139 | 20 | n |  | TRUE
98 | bus_MV_108_0_node_131 | 20 | n |  | TRUE
99 | bus_MV_108_0_node_132 | 20 | n |  | TRUE
100 | bus_MV_108_0_node_133 | 20 | n |  | TRUE
101 | bus_MV_108_0_node_152 | 20 | n |  | TRUE
102 | bus_MV_108_0_node_141 | 20 | n |  | TRUE
103 | bus_MV_108_0_node_137 | 20 | n |  | TRUE
104 | bus_MV_108_0_node_145 | 20 | n |  | TRUE
105 | bus_MV_108_0_node_170 | 20 | n |  | TRUE
106 | bus_MV_108_0_node_153 | 20 | n |  | TRUE
107 | bus_MV_108_0_node_154 | 20 | n |  | TRUE
108 | bus_MV_108_0_node_155 | 20 | n |  | TRUE
109 | bus_MV_108_0_node_157 | 20 | n |  | TRUE
110 | bus_MV_108_0_node_159 | 20 | n |  | TRUE
111 | bus_HV_108_0_node_149 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_108_0_load_0 | 0 | 0.35498 | 0.17193 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_108_0_load_162 | 2 | 0.074879 | 0.036266 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_108_0_load_7 | 5 | 0.11123 | 0.053871 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_108_0_load_100 | 6 | 0.31236 | 0.15128 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_108_0_load_5 | 7 | 0.23277 | 0.11274 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_108_0_load_150 | 10 | 0.11791 | 0.057108 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_108_0_load_106 | 11 | 0.075334 | 0.036486 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_108_0_load_183 | 14 | 0.25742 | 0.12467 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_108_0_load_6 | 15 | 0.24278 | 0.11758 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_108_0_load_9 | 18 | 0.3373 | 0.16336 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_108_0_load_17 | 22 | 0.27338 | 0.13241 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_108_0_load_181 | 23 | 0.26954 | 0.13055 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_108_0_load_14 | 25 | 0.30318 | 0.14683 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_108_0_load_83 | 27 | 0.33612 | 0.16279 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_108_0_load_87 | 30 | 0.29239 | 0.14161 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_108_0_load_84 | 31 | 0.29386 | 0.14232 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_108_0_load_146 | 32 | 0.36896 | 0.17869 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_108_0_load_90 | 34 | 0.1017 | 0.049257 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_108_0_load_91 | 36 | 0.14545 | 0.070447 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_108_0_load_92 | 38 | 0.24741 | 0.11983 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_108_0_load_104 | 40 | 0.15003 | 0.072661 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_108_0_load_102 | 42 | 0.23193 | 0.11233 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_108_0_load_166 | 45 | 0.074171 | 0.035923 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_108_0_load_101 | 48 | 0.2369 | 0.11474 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_108_0_load_182 | 49 | 0.40595 | 0.19661 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_108_0_load_98 | 50 | 0.33575 | 0.16261 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_108_0_load_178 | 51 | 0.24472 | 0.11852 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_108_0_load_107 | 54 | 0.22462 | 0.10879 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_108_0_load_174 | 55 | 0.16648 | 0.080629 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_108_0_load_173 | 56 | 0.36847 | 0.17846 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_108_0_load_114 | 60 | 0.11031 | 0.053426 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_108_0_load_171 | 62 | 0.12203 | 0.059103 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_108_0_load_113 | 63 | 0.22077 | 0.10693 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_108_0_load_110 | 65 | 0.24744 | 0.11984 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_108_0_load_121 | 68 | 0.38243 | 0.18522 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_108_0_load_123 | 69 | 0.27917 | 0.13521 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_108_0_load_124 | 70 | 0.076831 | 0.037211 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_108_0_load_122 | 71 | 0.081008 | 0.039234 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_108_0_load_143 | 72 | 0.27512 | 0.13324 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_108_0_load_144 | 73 | 0.088975 | 0.043092 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_108_0_load_115 | 75 | 0.21943 | 0.10628 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_108_0_load_127 | 78 | 0.28811 | 0.13954 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_108_0_load_117 | 79 | 0.22947 | 0.11114 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_108_0_load_128 | 83 | 0.079139 | 0.038329 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_108_0_load_142 | 84 | 0.071402 | 0.034581 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_108_0_load_138 | 85 | 0.11241 | 0.054442 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_108_0_load_169 | 86 | 0.0844 | 0.040877 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_108_0_load_167 | 87 | 0.08256 | 0.039986 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_108_0_load_125 | 88 | 0.31452 | 0.15233 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_108_0_load_129 | 90 | 0.30312 | 0.14681 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_108_0_load_134 | 92 | 0.37173 | 0.18004 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_108_0_load_175 | 94 | 0.21115 | 0.10227 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_108_0_load_156 | 95 | 0.069395 | 0.03361 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_108_0_load_131 | 98 | 0.20075 | 0.097227 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_108_0_load_132 | 99 | 0.40762 | 0.19742 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_108_0_load_141 | 102 | 1.2385 | 0.59985 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_108_0_load_145 | 104 | 0.22562 | 0.10927 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_108_0_load_170 | 105 | 0.41038 | 0.19875 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_108_0_load_153 | 106 | 0.34821 | 0.16864 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_108_0_load_157 | 109 | 0.070493 | 0.034141 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_108_0_load_159 | 110 | 0.076088 | 0.036851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_108_0_line_0 |  | 0 | 1 | 0.073011 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
1 | MV_108_0_line_1 |  | 0 | 2 | 1.4777 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
2 | MV_108_0_line_2 |  | 1 | 3 | 0.42113 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
3 | MV_108_0_line_3 |  | 1 | 4 | 0.4847 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_108_0_line_4 |  | 2 | 5 | 2.4646 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
5 | MV_108_0_line_5 |  | 3 | 7 | 0.172 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_108_0_line_6 |  | 4 | 15 | 0.029836 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_108_0_line_7 |  | 4 | 13 | 0.18782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_108_0_line_8 |  | 5 | 16 | 0.088846 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_108_0_line_9 |  | 6 | 7 | 0.78421 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
10 | MV_108_0_line_10 |  | 6 | 8 | 0.070744 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
11 | MV_108_0_line_11 |  | 8 | 47 | 0.29074 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
12 | MV_108_0_line_12 |  | 9 | 10 | 0.047269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_108_0_line_13 |  | 9 | 11 | 1.4633 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
14 | MV_108_0_line_14 |  | 9 | 12 | 0.033888 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
15 | MV_108_0_line_15 |  | 11 | 43 | 0.029219 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
16 | MV_108_0_line_16 |  | 12 | 99 | 0.039191 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
17 | MV_108_0_line_17 |  | 13 | 14 | 0.099752 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_108_0_line_18 |  | 16 | 17 | 0.7725 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
19 | MV_108_0_line_19 |  | 17 | 18 | 0.10495 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_108_0_line_20 |  | 18 | 19 | 0.053887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_108_0_line_21 |  | 19 | 20 | 0.27153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_108_0_line_22 |  | 20 | 21 | 0.30276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_108_0_line_23 |  | 20 | 22 | 0.046492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_108_0_line_24 |  | 21 | 23 | 0.032681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_108_0_line_25 |  | 22 | 24 | 0.10292 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_108_0_line_26 |  | 24 | 26 | 0.12057 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_108_0_line_27 |  | 25 | 26 | 0.015251 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_108_0_line_28 |  | 27 | 28 | 0.93022 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_108_0_line_29 |  | 28 | 29 | 1.2139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_108_0_line_30 |  | 28 | 30 | 1.4894 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_108_0_line_31 |  | 28 | 31 | 0.10349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_108_0_line_32 |  | 29 | 32 | 0.029762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_108_0_line_33 |  | 30 | 33 | 0.070173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_108_0_line_34 |  | 30 | 34 | 0.7139 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_108_0_line_35 |  | 32 | 37 | 0.030441 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_108_0_line_36 |  | 33 | 35 | 1.1141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_108_0_line_37 |  | 35 | 36 | 0.23743 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_108_0_line_38 |  | 37 | 103 | 0.22461 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_108_0_line_39 |  | 37 | 96 | 0.28786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_108_0_line_40 |  | 38 | 39 | 0.077112 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
41 | MV_108_0_line_41 |  | 38 | 40 | 0.50542 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
42 | MV_108_0_line_42 |  | 39 | 41 | 0.14111 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
43 | MV_108_0_line_43 |  | 39 | 42 | 0.37575 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_108_0_line_44 |  | 40 | 43 | 0.10359 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
45 | MV_108_0_line_45 |  | 41 | 44 | 0.2614 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_108_0_line_46 |  | 41 | 45 | 0.041267 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_108_0_line_47 |  | 44 | 49 | 0.068008 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
48 | MV_108_0_line_48 |  | 46 | 47 | 0.27707 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_108_0_line_49 |  | 46 | 48 | 0.005338 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
50 | MV_108_0_line_50 |  | 47 | 50 | 0.033597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_108_0_line_51 |  | 48 | 51 | 0.086223 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
52 | MV_108_0_line_52 |  | 49 | 52 | 0.04395 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
53 | MV_108_0_line_53 |  | 51 | 53 | 0.026393 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
54 | MV_108_0_line_54 |  | 52 | 53 | 0.1165 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_108_0_line_55 |  | 54 | 55 | 0.065957 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
56 | MV_108_0_line_56 |  | 54 | 56 | 0.072404 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
57 | MV_108_0_line_57 |  | 55 | 57 | 0.014969 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
58 | MV_108_0_line_58 |  | 56 | 58 | 0.03773 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
59 | MV_108_0_line_59 |  | 57 | 64 | 0.060605 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
60 | MV_108_0_line_60 |  | 57 | 59 | 0.011384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_108_0_line_61 |  | 58 | 61 | 0.020446 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_108_0_line_62 |  | 58 | 77 | 0.065928 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_108_0_line_63 |  | 59 | 60 | 0.02105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_108_0_line_64 |  | 60 | 63 | 0.041904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_108_0_line_65 |  | 61 | 62 | 0.048034 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_108_0_line_66 |  | 64 | 110 | 0.018501 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_108_0_line_67 |  | 64 | 108 | 0.037498 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
68 | MV_108_0_line_68 |  | 65 | 66 | 0.050657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_108_0_line_69 |  | 66 | 67 | 0.007094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_108_0_line_70 |  | 66 | 68 | 0.077885 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_108_0_line_71 |  | 67 | 70 | 0.06041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_108_0_line_72 |  | 68 | 71 | 0.078906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_108_0_line_73 |  | 68 | 69 | 0.15284 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_108_0_line_74 |  | 70 | 74 | 0.034138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_108_0_line_75 |  | 71 | 73 | 0.064563 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_108_0_line_76 |  | 71 | 75 | 0.11796 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_108_0_line_77 |  | 72 | 73 | 0.021444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_108_0_line_78 |  | 74 | 86 | 0.049269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_108_0_line_79 |  | 74 | 87 | 0.026978 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_108_0_line_80 |  | 75 | 76 | 0.052999 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_108_0_line_81 |  | 76 | 77 | 0.050594 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
82 | MV_108_0_line_82 |  | 76 | 78 | 0.1003 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
83 | MV_108_0_line_83 |  | 78 | 83 | 0.031067 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_108_0_line_84 |  | 78 | 81 | 0.057031 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
85 | MV_108_0_line_85 |  | 79 | 80 | 0.040327 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
86 | MV_108_0_line_86 |  | 79 | 81 | 0.046647 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
87 | MV_108_0_line_87 |  | 80 | 82 | 0.086438 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
88 | MV_108_0_line_88 |  | 82 | 84 | 0.036709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_108_0_line_89 |  | 82 | 85 | 0.061159 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
90 | MV_108_0_line_90 |  | 85 | 97 | 0.042978 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
91 | MV_108_0_line_91 |  | 86 | 105 | 0.018118 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_108_0_line_92 |  | 88 | 89 | 0.054885 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_108_0_line_93 |  | 89 | 90 | 0.023654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_108_0_line_94 |  | 89 | 91 | 0.10966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_108_0_line_95 |  | 91 | 92 | 0.066091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_108_0_line_96 |  | 92 | 96 | 0.017395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_108_0_line_97 |  | 92 | 97 | 0.078456 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
98 | MV_108_0_line_98 |  | 93 | 94 | 0.037839 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
99 | MV_108_0_line_99 |  | 93 | 95 | 0.021674 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
100 | MV_108_0_line_100 |  | 94 | 101 | 0.041128 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
101 | MV_108_0_line_101 |  | 95 | 107 | 0.011965 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
102 | MV_108_0_line_102 |  | 97 | 102 | 0.060345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_108_0_line_103 |  | 98 | 99 | 0.027986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_108_0_line_104 |  | 99 | 100 | 0.014514 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
105 | MV_108_0_line_105 |  | 100 | 101 | 0.06906 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
106 | MV_108_0_line_106 |  | 103 | 104 | 0.045931 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_108_0_line_107 |  | 106 | 107 | 0.0084021 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
108 | MV_108_0_line_108 |  | 106 | 108 | 0.02565 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
109 | MV_108_0_line_109 |  | 108 | 109 | 0.020506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_108_0_trafo_149 | 25 MVA 110/20 kV | 111 | 9 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2631493.5156 | 1129128.4412
1 | 2631565.0781 | 1129121.099
2 | 2630514.9544 | 1128021.2359
3 | 2631921.0397 | 1129313.1721
4 | 2631843.8702 | 1129436.3719
5 | 2630401.7166 | 1125559.2242
6 | 2632280.3385 | 1128602.2765
7 | 2632076.4558 | 1129359.5166
8 | 2632350.0085 | 1128614.5544
9 | 2634020.638 | 1126793.1057
10 | 2634067.1552 | 1126801.5041
11 | 2632778.2786 | 1127566.2124
12 | 2634024.5181 | 1126759.5106
13 | 2631671.9507 | 1129401.1304
14 | 2631572.2264 | 1129398.7751
15 | 2631862.779 | 1129416.7025
16 | 2630400.4156 | 1125471.3849
17 | 2630326.3696 | 1124702.4407
18 | 2630221.8976 | 1124715.1919
19 | 2630167.9362 | 1124718.2134
20 | 2630226.1559 | 1124472.0138
21 | 2630000.9137 | 1124527.4557
22 | 2630245.2314 | 1124429.6989
23 | 2629968.6614 | 1124533.2102
24 | 2630243.5226 | 1124327.2391
25 | 2630132.8687 | 1124271.8937
26 | 2630146.6514 | 1124278.421
27 | 2634978.9241 | 1124634.0542
28 | 2634306.0228 | 1125276.3301
29 | 2634363.9649 | 1126017.8872
30 | 2632945.1432 | 1124671.118
31 | 2634335.5392 | 1125375.2471
32 | 2634360.5832 | 1126047.4495
33 | 2632887.2735 | 1124634.0072
34 | 2632541.3865 | 1125259.8761
35 | 2632648.2268 | 1123971.7599
36 | 2632657.9419 | 1124208.9869
37 | 2634357.3826 | 1126077.7133
38 | 2632809.15 | 1128175.6379
39 | 2632885.1006 | 1128161.3983
40 | 2632733.737 | 1127675.8794
41 | 2632895.874 | 1128278.5933
42 | 2633257.4935 | 1128111.2733
43 | 2632750.0011 | 1127573.5716
44 | 2632820.8901 | 1128492.7493
45 | 2632896.1465 | 1128319.8592
46 | 2632743.2759 | 1128598.8379
47 | 2632595.4564 | 1128475.2897
48 | 2632742.0537 | 1128604.0339
49 | 2632840.1425 | 1128556.6413
50 | 2632590.1469 | 1128508.4555
51 | 2632747.5124 | 1128690.0843
52 | 2632825.6036 | 1128598.1166
53 | 2632773.4562 | 1128684.8554
54 | 2634245.4788 | 1126780.0884
55 | 2634193.446 | 1126739.5562
56 | 2634274.6702 | 1126713.8301
57 | 2634178.4903 | 1126740.1899
58 | 2634312.2065 | 1126717.6457
59 | 2634177.9791 | 1126751.5594
60 | 2634156.9315 | 1126751.2474
61 | 2634309.6334 | 1126737.8969
62 | 2634356.3636 | 1126749.0116
63 | 2634115.0319 | 1126750.6263
64 | 2634185.3644 | 1126680.1208
65 | 2634569.7804 | 1126728.7937
66 | 2634528.7529 | 1126698.9224
67 | 2634522.2185 | 1126696.1171
68 | 2634574.7411 | 1126636.0643
69 | 2634721.0091 | 1126680.3899
70 | 2634502.5571 | 1126753.1348
71 | 2634523.265 | 1126576.973
72 | 2634605.264 | 1126557.4982
73 | 2634587.3731 | 1126569.3205
74 | 2634492.4699 | 1126785.7483
75 | 2634429.6726 | 1126648.7665
76 | 2634377.1607 | 1126642.0649
77 | 2634327.9021 | 1126654.1583
78 | 2634344.9579 | 1126547.0735
79 | 2634383.8632 | 1126501.3099
80 | 2634361.8447 | 1126467.4902
81 | 2634338.3712 | 1126490.4242
82 | 2634324.6588 | 1126394.3315
83 | 2634314.0985 | 1126550.6616
84 | 2634359.4067 | 1126400.0647
85 | 2634266.526 | 1126375.4484
86 | 2634445.0434 | 1126772.4007
87 | 2634518.3466 | 1126793.3743
88 | 2634179.7525 | 1126456.5545
89 | 2634124.9405 | 1126451.4873
90 | 2634121.7951 | 1126474.9258
91 | 2634168.4083 | 1126351.4043
92 | 2634199.8721 | 1126293.2637
93 | 2634130.3831 | 1126623.4378
94 | 2634111.7561 | 1126656.2588
95 | 2634149.4244 | 1126632.6411
96 | 2634206.4292 | 1126277.1482
97 | 2634266.3935 | 1126334.8606
98 | 2634059.8983 | 1126723.7581
99 | 2634031.9628 | 1126721.0331
100 | 2634031.4509 | 1126706.534
101 | 2634092.3054 | 1126691.9133
102 | 2634325.5051 | 1126333.0247
103 | 2634491.0665 | 1126192.0527
104 | 2634530.6758 | 1126203.6842
105 | 2634427.6025 | 1126767.4923
106 | 2634169.2917 | 1126637.0665
107 | 2634161.175 | 1126634.8949
108 | 2634194.0702 | 1126643.696
109 | 2634203.3925 | 1126625.4316
110 | 2634167.1873 | 1126676.6858
111 | 2634020.638 | 1126793.1057

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98984 | -0.48654 | 0.35498 | 0.17193
1 | 0.98988 | -0.48635 | 0 | 0
2 | 0.98847 | -0.56521 | 0.074879 | 0.036266
3 | 0.99019 | -0.48483 | 0 | 0
4 | 0.98957 | -0.48373 | 0 | 0
5 | 0.98631 | -0.68967 | 0.11123 | 0.053871
6 | 0.99159 | -0.40908 | 0.31236 | 0.15128
7 | 0.99031 | -0.48417 | 0.23277 | 0.11274
8 | 0.99172 | -0.40147 | 0 | 0
9 | 1 | 0 | -14.5564 | -6.78
10 | 0.99999 | 6.4983e-05 | 0.11791 | 0.057108
11 | 0.99535 | -0.26852 | 0.075334 | 0.036486
12 | 0.99989 | -0.00044947 | 0 | 0
13 | 0.98951 | -0.48317 | 0 | 0
14 | 0.98946 | -0.48349 | 0.25742 | 0.12467
15 | 0.98956 | -0.48365 | 0.24278 | 0.11758
16 | 0.98628 | -0.68983 | 0 | 0
17 | 0.98566 | -0.72553 | 0 | 0
18 | 0.9855 | -0.72416 | 0.3373 | 0.16336
19 | 0.98544 | -0.72367 | 0 | 0
20 | 0.98515 | -0.72116 | 0 | 0
21 | 0.98504 | -0.72023 | 0 | 0
22 | 0.98511 | -0.72084 | 0.27338 | 0.13241
23 | 0.98503 | -0.72013 | 0.26954 | 0.13055
24 | 0.98507 | -0.72049 | 0 | 0
25 | 0.98502 | -0.71999 | 0.30318 | 0.14683
26 | 0.98502 | -0.72005 | 0 | 0
27 | 0.99313 | -0.070655 | 0.33612 | 0.16279
28 | 0.99374 | -0.066782 | 0 | 0
29 | 0.99554 | -0.08018 | 0 | 0
30 | 0.99221 | -0.080465 | 0.29239 | 0.14161
31 | 0.9937 | -0.066422 | 0.29386 | 0.14232
32 | 0.99558 | -0.08048 | 0.36896 | 0.17869
33 | 0.9922 | -0.080464 | 0 | 0
34 | 0.99207 | -0.081382 | 0.1017 | 0.049257
35 | 0.992 | -0.079459 | 0 | 0
36 | 0.99193 | -0.079886 | 0.14545 | 0.070447
37 | 0.99564 | -0.08092 | 0 | 0
38 | 0.99346 | -0.37658 | 0.24741 | 0.11983
39 | 0.99335 | -0.37716 | 0 | 0
40 | 0.99498 | -0.28755 | 0.15003 | 0.072661
41 | 0.99316 | -0.37816 | 0 | 0
42 | 0.99318 | -0.37823 | 0.23193 | 0.11233
43 | 0.99531 | -0.26875 | 0 | 0
44 | 0.99282 | -0.37994 | 0 | 0
45 | 0.99316 | -0.37812 | 0.074171 | 0.035923
46 | 0.99227 | -0.39862 | 0 | 0
47 | 0.99199 | -0.40011 | 0 | 0
48 | 0.99227 | -0.3986 | 0.2369 | 0.11474
49 | 0.99274 | -0.38039 | 0.40595 | 0.19661
50 | 0.99197 | -0.39997 | 0.33575 | 0.16261
51 | 0.99246 | -0.38739 | 0.24472 | 0.11852
52 | 0.99263 | -0.38652 | 0 | 0
53 | 0.9925 | -0.38723 | 0 | 0
54 | 0.99833 | -0.038198 | 0.22462 | 0.10879
55 | 0.99867 | -0.018843 | 0.16648 | 0.080629
56 | 0.99796 | -0.058847 | 0.36847 | 0.17846
57 | 0.99871 | -0.018679 | 0 | 0
58 | 0.99788 | -0.05923 | 0 | 0
59 | 0.99871 | -0.018635 | 0 | 0
60 | 0.9987 | -0.018553 | 0.11031 | 0.053426
61 | 0.99787 | -0.059202 | 0 | 0
62 | 0.99787 | -0.059133 | 0.12203 | 0.059103
63 | 0.99869 | -0.018443 | 0.22077 | 0.10693
64 | 0.99887 | -0.017988 | 0 | 0
65 | 0.99669 | -0.06126 | 0.24744 | 0.11984
66 | 0.99671 | -0.061409 | 0 | 0
67 | 0.9967 | -0.061355 | 0 | 0
68 | 0.99684 | -0.060515 | 0.38243 | 0.18522
69 | 0.99676 | -0.061035 | 0.27917 | 0.13521
70 | 0.99665 | -0.060894 | 0.076831 | 0.037211
71 | 0.997 | -0.061965 | 0.081008 | 0.039234
72 | 0.99695 | -0.062183 | 0.27512 | 0.13324
73 | 0.99695 | -0.062253 | 0.088975 | 0.043092
74 | 0.99663 | -0.060662 | 0 | 0
75 | 0.99746 | -0.058998 | 0.21943 | 0.10628
76 | 0.99761 | -0.060386 | 0 | 0
77 | 0.99773 | -0.059886 | 0 | 0
78 | 0.99729 | -0.07868 | 0.28811 | 0.13954
79 | 0.99714 | -0.079371 | 0.22947 | 0.11114
80 | 0.99708 | -0.079626 | 0 | 0
81 | 0.99721 | -0.079062 | 0 | 0
82 | 0.99697 | -0.080168 | 0 | 0
83 | 0.99729 | -0.078652 | 0.079139 | 0.038329
84 | 0.99696 | -0.080138 | 0.071402 | 0.034581
85 | 0.99683 | -0.081708 | 0.11241 | 0.054442
86 | 0.99659 | -0.060372 | 0.0844 | 0.040877
87 | 0.99662 | -0.060636 | 0.08256 | 0.039986
88 | 0.99616 | -0.084493 | 0.31452 | 0.15233
89 | 0.99619 | -0.084699 | 0 | 0
90 | 0.99618 | -0.084613 | 0.30312 | 0.14681
91 | 0.99627 | -0.085493 | 0 | 0
92 | 0.99632 | -0.085963 | 0.37173 | 0.18004
93 | 0.99917 | -0.016745 | 0 | 0
94 | 0.99927 | -0.016283 | 0.21115 | 0.10227
95 | 0.9991 | -0.01701 | 0.069395 | 0.03361
96 | 0.99629 | -0.08568 | 0 | 0
97 | 0.99674 | -0.082761 | 0 | 0
98 | 0.99963 | -0.014655 | 0.20075 | 0.097227
99 | 0.99964 | -0.014722 | 0.40762 | 0.19742
100 | 0.9996 | -0.014904 | 0 | 0
101 | 0.99939 | -0.01577 | 0 | 0
102 | 0.99664 | -0.081864 | 1.2385 | 0.59985
103 | 0.99558 | -0.080363 | 0 | 0
104 | 0.99556 | -0.080239 | 0.22562 | 0.10927
105 | 0.99658 | -0.060282 | 0.41038 | 0.19875
106 | 0.99905 | -0.017256 | 0.34821 | 0.16864
107 | 0.99907 | -0.017154 | 0 | 0
108 | 0.99898 | -0.017555 | 0 | 0
109 | 0.99897 | -0.017538 | 0.070493 | 0.034141
110 | 0.99887 | -0.017971 | 0.076088 | 0.036851
111 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -1.7281 | -0.80724 | 1.7282 | 0.80278 | 6.9737e-05 | -0.0044556 | 0.055626 | 0.05557 | 0.055626 | 0.98984 | -0.48654 | 0.98988 | -0.48635 | 8.7188
1 | 1.3731 | 0.63531 | -1.3721 | -0.63455 | 0.0010276 | 0.00076487 | 0.044124 | 0.044149 | 0.044149 | 0.98984 | -0.48654 | 0.98847 | -0.56521 | 6.8448
2 | -2.2286 | -1.0286 | 2.2292 | 1.003 | 0.00066379 | -0.025562 | 0.071579 | 0.071265 | 0.071579 | 0.98988 | -0.48635 | 0.99019 | -0.48483 | 11.2193
3 | 0.50039 | 0.22578 | -0.50023 | -0.23706 | 0.00016727 | -0.011286 | 0.016009 | 0.016148 | 0.016148 | 0.98988 | -0.48635 | 0.98957 | -0.48373 | 7.3401
4 | 1.2972 | 0.59828 | -1.2957 | -0.59748 | 0.0015329 | 0.00080061 | 0.041719 | 0.04176 | 0.04176 | 0.98847 | -0.56521 | 0.98631 | -0.68967 | 6.4744
5 | -2.2292 | -1.003 | 2.2295 | 0.99255 | 0.00026944 | -0.010446 | 0.071265 | 0.071139 | 0.071265 | 0.99019 | -0.48483 | 0.99031 | -0.48417 | 11.1701
6 | 0.24278 | 0.11689 | -0.24278 | -0.11758 | 2.4638e-06 | -0.00069685 | 0.0078604 | 0.0078693 | 0.0078693 | 0.98957 | -0.48373 | 0.98956 | -0.48365 | 3.5769
7 | 0.25745 | 0.12018 | -0.25743 | -0.12456 | 1.7337e-05 | -0.0043858 | 0.0082881 | 0.0083431 | 0.0083431 | 0.98957 | -0.48373 | 0.98951 | -0.48317 | 3.7923
8 | 1.1845 | 0.54361 | -1.1844 | -0.54902 | 4.0012e-05 | -0.0054079 | 0.038143 | 0.03821 | 0.03821 | 0.98631 | -0.68967 | 0.98628 | -0.68983 | 5.989
9 | 2.464 | 1.1089 | -2.4623 | -1.1053 | 0.0017326 | 0.0035946 | 0.078662 | 0.078675 | 0.078675 | 0.99159 | -0.40908 | 0.99031 | -0.48417 | 12.1977
10 | -2.7764 | -1.2602 | 2.7766 | 1.2606 | 0.00019898 | 0.00043891 | 0.088763 | 0.088761 | 0.088763 | 0.99159 | -0.40908 | 0.99172 | -0.40147 | 13.7616
11 | -2.7766 | -1.2606 | 2.7773 | 1.243 | 0.00070607 | -0.017574 | 0.088761 | 0.088546 | 0.088761 | 0.99172 | -0.40147 | 0.99199 | -0.40011 | 13.9124
12 | 0.11791 | 0.05598 | -0.11791 | -0.057108 | 8.993e-07 | -0.0011283 | 0.003768 | 0.0037821 | 0.0037821 | 1 | 0 | 0.99999 | 6.4983e-05 | 1.7191
13 | 4.8013 | 2.1946 | -4.7892 | -2.164 | 0.012134 | 0.030616 | 0.15239 | 0.15242 | 0.15242 | 1 | 0 | 0.99535 | -0.26852 | 23.6308
14 | 9.6232 | 4.5189 | -9.6222 | -4.5205 | 0.00098637 | -0.0015736 | 0.3069 | 0.30693 | 0.30693 | 1 | 0 | 0.99989 | -0.00044947 | 48.1079
15 | 4.7139 | 2.1275 | -4.7136 | -2.1292 | 0.00020316 | -0.0017044 | 0.14999 | 0.15001 | 0.15001 | 0.99535 | -0.26852 | 0.99531 | -0.26875 | 23.5131
16 | 9.6222 | 4.5205 | -9.6209 | -4.517 | 0.001318 | 0.0034902 | 0.30693 | 0.30693 | 0.30693 | 0.99989 | -0.00044947 | 0.99964 | -0.014722 | 47.5859
17 | 0.25743 | 0.12456 | -0.25742 | -0.12467 | 1.2373e-05 | -0.00010884 | 0.0083431 | 0.0083446 | 0.0083446 | 0.98951 | -0.48317 | 0.98946 | -0.48349 | 3.9736
18 | 1.1844 | 0.54902 | -1.184 | -0.54897 | 0.00040278 | 4.5031e-05 | 0.03821 | 0.038223 | 0.038223 | 0.98628 | -0.68983 | 0.98566 | -0.72553 | 5.926
19 | 1.184 | 0.54897 | -1.1838 | -0.55134 | 0.00020485 | -0.0023732 | 0.038223 | 0.038253 | 0.038253 | 0.98566 | -0.72553 | 0.9855 | -0.72416 | 17.3877
20 | 0.84651 | 0.38798 | -0.84646 | -0.38922 | 5.3554e-05 | -0.0012336 | 0.027277 | 0.027292 | 0.027292 | 0.9855 | -0.72416 | 0.98544 | -0.72367 | 12.4054
21 | 0.84646 | 0.38922 | -0.84619 | -0.39543 | 0.00027077 | -0.0062135 | 0.027292 | 0.027369 | 0.027369 | 0.98544 | -0.72367 | 0.98515 | -0.72116 | 12.4407
22 | 0.26958 | 0.12278 | -0.26955 | -0.12979 | 3.0756e-05 | -0.0070057 | 0.0086801 | 0.0087673 | 0.0087673 | 0.98515 | -0.72116 | 0.98504 | -0.72023 | 3.9851
23 | 0.57661 | 0.27265 | -0.57659 | -0.27372 | 2.1697e-05 | -0.0010708 | 0.01869 | 0.018703 | 0.018703 | 0.98515 | -0.72116 | 0.98511 | -0.72084 | 8.5016
24 | 0.26955 | 0.12979 | -0.26954 | -0.13055 | 3.3573e-06 | -0.00075612 | 0.0087673 | 0.008777 | 0.008777 | 0.98504 | -0.72023 | 0.98503 | -0.72013 | 3.9895
25 | 0.30321 | 0.14131 | -0.30319 | -0.14369 | 1.3243e-05 | -0.0023808 | 0.0098027 | 0.0098324 | 0.0098324 | 0.98511 | -0.72084 | 0.98507 | -0.72049 | 4.4693
26 | 0.30319 | 0.14369 | -0.30318 | -0.14648 | 1.5618e-05 | -0.0027888 | 0.0098324 | 0.0098678 | 0.0098678 | 0.98507 | -0.72049 | 0.98502 | -0.72005 | 4.4853
27 | -0.30318 | -0.14683 | 0.30318 | 0.14648 | 1.9834e-06 | -0.00035272 | 0.0098723 | 0.0098678 | 0.0098723 | 0.98502 | -0.71999 | 0.98502 | -0.72005 | 4.4874
28 | -0.33612 | -0.16279 | 0.33632 | 0.16182 | 0.00019506 | -0.00097379 | 0.010856 | 0.010842 | 0.010856 | 0.99313 | -0.070655 | 0.99374 | -0.066782 | 5.1694
29 | -1.1706 | -0.53282 | 1.1728 | 0.50482 | 0.0022416 | -0.028009 | 0.037361 | 0.037024 | 0.037361 | 0.99374 | -0.066782 | 0.99554 | -0.08018 | 16.9823
30 | 0.54038 | 0.23112 | -0.5396 | -0.23239 | 0.00077443 | -0.0012681 | 0.017073 | 0.017093 | 0.017093 | 0.99374 | -0.066782 | 0.99221 | -0.080465 | 8.1396
31 | 0.29387 | 0.13989 | -0.29386 | -0.14232 | 1.239e-05 | -0.0024364 | 0.0094546 | 0.0094853 | 0.0094853 | 0.99374 | -0.066782 | 0.9937 | -0.066422 | 4.3115
32 | -1.1728 | -0.50482 | 1.1729 | 0.50413 | 5.4453e-05 | -0.00068815 | 0.037024 | 0.037016 | 0.037024 | 0.99554 | -0.08018 | 0.99558 | -0.08048 | 16.8292
33 | 0.1455 | 0.042353 | -0.14549 | -0.044002 | 1.8265e-06 | -0.0016489 | 0.0044088 | 0.0044224 | 0.0044224 | 0.99221 | -0.080465 | 0.9922 | -0.080464 | 2.0102
34 | 0.10172 | 0.048426 | -0.1017 | -0.049257 | 1.3708e-05 | -0.00083033 | 0.0032776 | 0.0032882 | 0.0032882 | 0.99221 | -0.080465 | 0.99207 | -0.081382 | 1.5658
35 | -1.5418 | -0.68282 | 1.5419 | 0.68213 | 9.7134e-05 | -0.00069164 | 0.048894 | 0.048885 | 0.048894 | 0.99558 | -0.08048 | 0.99564 | -0.08092 | 22.2245
36 | 0.14549 | 0.044002 | -0.14546 | -0.070174 | 3.0755e-05 | -0.026172 | 0.0044224 | 0.0046999 | 0.0046999 | 0.9922 | -0.080464 | 0.992 | -0.079459 | 2.1363
37 | 0.14546 | 0.070174 | -0.14545 | -0.070447 | 9.351e-06 | -0.00027305 | 0.0046999 | 0.0047034 | 0.0047034 | 0.992 | -0.079459 | 0.99193 | -0.079886 | 2.2397
38 | 0.22564 | 0.10288 | -0.22563 | -0.10819 | 1.5642e-05 | -0.0053112 | 0.0071902 | 0.0072555 | 0.0072555 | 0.99564 | -0.08092 | 0.99558 | -0.080363 | 3.2979
39 | -1.7676 | -0.78501 | 1.7688 | 0.77855 | 0.0012067 | -0.0064597 | 0.056075 | 0.055995 | 0.056075 | 0.99564 | -0.08092 | 0.99629 | -0.08568 | 25.4887
40 | 4.3116 | 1.9251 | -4.3111 | -1.9296 | 0.00044874 | -0.0045287 | 0.1372 | 0.13726 | 0.13726 | 0.99346 | -0.37658 | 0.99335 | -0.37716 | 21.5143
41 | -4.559 | -2.0449 | 4.5628 | 2.0544 | 0.0038033 | 0.0095368 | 0.14519 | 0.14518 | 0.14519 | 0.99346 | -0.37658 | 0.99498 | -0.28755 | 22.5099
42 | 4.0792 | 1.8177 | -4.0784 | -1.826 | 0.00073496 | -0.0083329 | 0.12978 | 0.12988 | 0.12988 | 0.99335 | -0.37716 | 0.99316 | -0.37816 | 20.3579
43 | 0.23197 | 0.11191 | -0.23193 | -0.11233 | 3.7531e-05 | -0.00041904 | 0.0074846 | 0.0074902 | 0.0074902 | 0.99335 | -0.37716 | 0.99318 | -0.37823 | 3.5668
44 | -4.7128 | -2.1271 | 4.7136 | 2.1292 | 0.00083227 | 0.0020962 | 0.15002 | 0.15001 | 0.15002 | 0.99498 | -0.28755 | 0.99531 | -0.26875 | 23.2582
45 | 4.0043 | 1.7911 | -4.0029 | -1.8065 | 0.0013151 | -0.015455 | 0.1275 | 0.12769 | 0.12769 | 0.99316 | -0.37816 | 0.99282 | -0.37994 | 20.0147
46 | 0.074172 | 0.034951 | -0.074171 | -0.035923 | 3.1451e-07 | -0.00097177 | 0.0023832 | 0.0023954 | 0.0023954 | 0.99316 | -0.37816 | 0.99316 | -0.37812 | 1.0888
47 | 4.0029 | 1.8065 | -4.0026 | -1.8105 | 0.00034279 | -0.0040186 | 0.12769 | 0.12774 | 0.12774 | 0.99282 | -0.37994 | 0.99274 | -0.38039 | 20.0226
48 | 3.1139 | 1.3882 | -3.113 | -1.4049 | 0.00084398 | -0.016661 | 0.099185 | 0.099389 | 0.099389 | 0.99227 | -0.39862 | 0.99199 | -0.40011 | 15.5782
49 | -3.1139 | -1.3882 | 3.1139 | 1.3879 | 1.6226e-05 | -0.00032109 | 0.099185 | 0.099181 | 0.099185 | 0.99227 | -0.39862 | 0.99227 | -0.3986 | 15.5462
50 | 0.33575 | 0.16182 | -0.33575 | -0.16261 | 5.2813e-06 | -0.00078778 | 0.010846 | 0.010856 | 0.010856 | 0.99199 | -0.40011 | 0.99197 | -0.39997 | 4.9347
51 | -3.3508 | -1.5026 | 3.3511 | 1.5034 | 0.00035133 | 0.00082738 | 0.10683 | 0.10683 | 0.10683 | 0.99227 | -0.3986 | 0.99246 | -0.38739 | 16.5636
52 | 3.5966 | 1.6139 | -3.5964 | -1.6134 | 0.00020618 | 0.00049457 | 0.11463 | 0.11463 | 0.11463 | 0.99274 | -0.38039 | 0.99263 | -0.38652 | 17.7727
53 | -3.5959 | -1.622 | 3.596 | 1.6204 | 0.00010735 | -0.001573 | 0.11474 | 0.11472 | 0.11474 | 0.99246 | -0.38739 | 0.9925 | -0.38723 | 17.9842
54 | 3.5964 | 1.6134 | -3.596 | -1.6204 | 0.00047342 | -0.006945 | 0.11463 | 0.11472 | 0.11472 | 0.99263 | -0.38652 | 0.9925 | -0.38723 | 17.9812
55 | -7.7301 | -3.6225 | 7.7315 | 3.6262 | 0.0014348 | 0.0037673 | 0.24685 | 0.24685 | 0.24685 | 0.99833 | -0.038198 | 0.99867 | -0.018843 | 38.271
56 | 7.5055 | 3.5137 | -7.504 | -3.5098 | 0.0014843 | 0.0038917 | 0.23963 | 0.23963 | 0.23963 | 0.99833 | -0.038198 | 0.99796 | -0.058847 | 37.1524
57 | -7.898 | -3.7069 | 7.8983 | 3.7061 | 0.00029417 | -0.00077243 | 0.25219 | 0.25218 | 0.25219 | 0.99867 | -0.018843 | 0.99871 | -0.018679 | 39.5287
58 | 7.1355 | 3.3313 | -7.1349 | -3.3333 | 0.00060502 | -0.0020201 | 0.22779 | 0.22782 | 0.22782 | 0.99796 | -0.058847 | 0.99788 | -0.05923 | 35.7085
59 | -8.2294 | -3.8647 | 8.2307 | 3.8616 | 0.001293 | -0.0030706 | 0.26279 | 0.26275 | 0.26279 | 0.99871 | -0.018679 | 0.99887 | -0.017988 | 41.1901
60 | 0.33109 | 0.15858 | -0.33109 | -0.15885 | 1.7118e-06 | -0.0002706 | 0.010611 | 0.010615 | 0.010615 | 0.99871 | -0.018679 | 0.99871 | -0.018635 | 4.8248
61 | 0.12203 | 0.057475 | -0.12203 | -0.057961 | 4.1627e-07 | -0.00048597 | 0.0039022 | 0.0039083 | 0.0039083 | 0.99788 | -0.05923 | 0.99787 | -0.059202 | 1.7765
62 | 7.0129 | 3.2759 | -7.0119 | -3.2794 | 0.0010217 | -0.0035489 | 0.22392 | 0.22397 | 0.22397 | 0.99788 | -0.05923 | 0.99773 | -0.059886 | 35.1048
63 | 0.33109 | 0.15885 | -0.33109 | -0.15935 | 3.1681e-06 | -0.00050035 | 0.010615 | 0.010621 | 0.010621 | 0.99871 | -0.018635 | 0.9987 | -0.018553 | 4.8277
64 | 0.22078 | 0.10593 | -0.22077 | -0.10693 | 2.8076e-06 | -0.00099706 | 0.0070781 | 0.0070906 | 0.0070906 | 0.9987 | -0.018553 | 0.99869 | -0.018443 | 3.223
65 | 0.12203 | 0.057961 | -0.12203 | -0.059103 | 9.8304e-07 | -0.0011417 | 0.0039083 | 0.0039225 | 0.0039225 | 0.99787 | -0.059202 | 0.99787 | -0.059133 | 1.783
66 | 0.076088 | 0.036411 | -0.076088 | -0.036851 | 1.4711e-07 | -0.0004407 | 0.0024378 | 0.0024433 | 0.0024433 | 0.99887 | -0.017988 | 0.99887 | -0.017971 | 1.1106
67 | -8.3068 | -3.898 | 8.3076 | 3.8961 | 0.00081473 | -0.0018922 | 0.26518 | 0.26515 | 0.26518 | 0.99887 | -0.017988 | 0.99898 | -0.017555 | 41.5649
68 | -0.24744 | -0.11984 | 0.24745 | 0.11864 | 4.2802e-06 | -0.0012002 | 0.0079631 | 0.007948 | 0.0079631 | 0.99669 | -0.06126 | 0.99671 | -0.061409 | 3.6196
69 | 0.65424 | 0.3122 | -0.65424 | -0.31237 | 4.1752e-06 | -0.00016702 | 0.020996 | 0.020998 | 0.020998 | 0.99671 | -0.061409 | 0.9967 | -0.061355 | 9.5445
70 | -0.90169 | -0.43084 | 0.90181 | 0.43082 | 0.00011625 | -1.9568e-05 | 0.028944 | 0.028943 | 0.028944 | 0.99671 | -0.061409 | 0.99684 | -0.060515 | 13.7827
71 | 0.65424 | 0.31237 | -0.6542 | -0.31379 | 3.5589e-05 | -0.0014222 | 0.020998 | 0.021016 | 0.021016 | 0.9967 | -0.061355 | 0.99665 | -0.060894 | 9.5526
72 | -1.5634 | -0.75109 | 1.5637 | 0.74929 | 0.00026564 | -0.0017936 | 0.050229 | 0.050206 | 0.050229 | 0.99684 | -0.060515 | 0.997 | -0.061965 | 22.8313
73 | 0.2792 | 0.13504 | -0.27917 | -0.13521 | 2.1971e-05 | -0.00016753 | 0.0089813 | 0.0089836 | 0.0089836 | 0.99684 | -0.060515 | 0.99676 | -0.061035 | 4.2779
74 | 0.57737 | 0.27658 | -0.57736 | -0.27739 | 1.5679e-05 | -0.00080495 | 0.018543 | 0.018553 | 0.018553 | 0.99665 | -0.060894 | 0.99663 | -0.060662 | 8.4333
75 | 0.36411 | 0.17576 | -0.36409 | -0.17583 | 1.5766e-05 | -6.6735e-05 | 0.011707 | 0.011708 | 0.011708 | 0.997 | -0.061965 | 0.99695 | -0.062253 | 5.575
76 | -2.0088 | -0.96429 | 2.0097 | 0.9647 | 0.0008748 | 0.00040791 | 0.064518 | 0.064516 | 0.064518 | 0.997 | -0.061965 | 0.99746 | -0.058998 | 30.7229
77 | -0.27512 | -0.13324 | 0.27512 | 0.13274 | 2.2413e-06 | -0.00050822 | 0.0088514 | 0.008845 | 0.0088514 | 0.99695 | -0.062183 | 0.99695 | -0.062253 | 4.0233
78 | 0.4948 | 0.23804 | -0.49478 | -0.2392 | 1.6653e-05 | -0.0011634 | 0.015904 | 0.015919 | 0.015919 | 0.99663 | -0.060662 | 0.99659 | -0.060372 | 7.2359
79 | 0.08256 | 0.039346 | -0.08256 | -0.039986 | 2.5349e-07 | -0.0006397 | 0.0026491 | 0.0026571 | 0.0026571 | 0.99663 | -0.060662 | 0.99662 | -0.060636 | 1.2078
80 | -2.2291 | -1.071 | 2.2295 | 1.0698 | 0.00036237 | -0.0011517 | 0.071573 | 0.071557 | 0.071573 | 0.99746 | -0.058998 | 0.99761 | -0.060386 | 32.533
81 | -7.0111 | -3.2821 | 7.0119 | 3.2794 | 0.00078435 | -0.0027224 | 0.22401 | 0.22397 | 0.22401 | 0.99761 | -0.060386 | 0.99773 | -0.059886 | 35.1109
82 | 4.7816 | 2.2123 | -4.7808 | -2.2102 | 0.00083227 | 0.0021001 | 0.15246 | 0.15246 | 0.15246 | 0.99761 | -0.060386 | 0.99729 | -0.07868 | 23.6368
83 | 0.079139 | 0.037591 | -0.079139 | -0.038329 | 2.6772e-07 | -0.00073767 | 0.0025361 | 0.0025453 | 0.0025453 | 0.99729 | -0.07868 | 0.99729 | -0.078652 | 1.157
84 | 4.4135 | 2.0331 | -4.4132 | -2.0365 | 0.00034876 | -0.0033673 | 0.14066 | 0.1407 | 0.1407 | 0.99729 | -0.07868 | 0.99721 | -0.079062 | 22.0532
85 | 4.1834 | 1.9281 | -4.1832 | -1.9305 | 0.00022165 | -0.0023944 | 0.13335 | 0.13339 | 0.13339 | 0.99714 | -0.079371 | 0.99708 | -0.079626 | 20.9068
86 | -4.4129 | -2.0392 | 4.4132 | 2.0365 | 0.00028542 | -0.0027537 | 0.14073 | 0.1407 | 0.14073 | 0.99714 | -0.079371 | 0.99721 | -0.079062 | 22.0588
87 | 4.1832 | 1.9305 | -4.1827 | -1.9356 | 0.00047544 | -0.0051311 | 0.13339 | 0.13345 | 0.13345 | 0.99708 | -0.079626 | 0.99697 | -0.080168 | 20.9171
88 | 0.071402 | 0.03371 | -0.071402 | -0.034581 | 2.5737e-07 | -0.00087108 | 0.0022863 | 0.0022972 | 0.0022972 | 0.99697 | -0.080168 | 0.99696 | -0.080138 | 1.0442
89 | 4.1113 | 1.9019 | -4.1108 | -1.9036 | 0.00050831 | -0.0017158 | 0.13116 | 0.13119 | 0.13119 | 0.99697 | -0.080168 | 0.99683 | -0.081708 | 36.2404
90 | 3.9984 | 1.8492 | -3.9981 | -1.8504 | 0.00033789 | -0.0012194 | 0.12757 | 0.12759 | 0.12759 | 0.99683 | -0.081708 | 0.99674 | -0.082761 | 35.2463
91 | 0.41038 | 0.19833 | -0.41038 | -0.19875 | 4.2179e-06 | -0.0004284 | 0.013203 | 0.013208 | 0.013208 | 0.99659 | -0.060372 | 0.99658 | -0.060282 | 6.0036
92 | -0.31452 | -0.15233 | 0.31453 | 0.15103 | 7.5023e-06 | -0.0012982 | 0.010127 | 0.010111 | 0.010127 | 0.99616 | -0.084493 | 0.99619 | -0.084699 | 4.6032
93 | 0.30313 | 0.14625 | -0.30312 | -0.14681 | 3.0059e-06 | -0.00055957 | 0.0097529 | 0.00976 | 0.00976 | 0.99619 | -0.084699 | 0.99618 | -0.084613 | 4.4364
94 | -0.61765 | -0.29728 | 0.61771 | 0.2947 | 5.7665e-05 | -0.0025813 | 0.019864 | 0.019831 | 0.019864 | 0.99619 | -0.084699 | 0.99627 | -0.085493 | 9.0289
95 | -0.61771 | -0.2947 | 0.61774 | 0.29314 | 3.4665e-05 | -0.0015561 | 0.019831 | 0.019812 | 0.019831 | 0.99627 | -0.085493 | 0.99632 | -0.085963 | 9.0141
96 | 1.7688 | 0.77816 | -1.7688 | -0.77855 | 7.2807e-05 | -0.00039066 | 0.05599 | 0.055995 | 0.055995 | 0.99632 | -0.085963 | 0.99629 | -0.08568 | 25.4524
97 | -2.7583 | -1.2513 | 2.7594 | 1.2519 | 0.0010766 | 0.00058131 | 0.087759 | 0.087758 | 0.087759 | 0.99632 | -0.085963 | 0.99674 | -0.082761 | 41.79
98 | -8.7973 | -4.1287 | 8.7982 | 4.1268 | 0.00092161 | -0.0018548 | 0.28077 | 0.28074 | 0.28077 | 0.99917 | -0.016745 | 0.99927 | -0.016283 | 44.0073
99 | 8.7973 | 4.1287 | -8.7967 | -4.1297 | 0.00052799 | -0.0010622 | 0.28077 | 0.28078 | 0.28078 | 0.99917 | -0.016745 | 0.9991 | -0.01701 | 44.0099
100 | -9.0093 | -4.2291 | 9.0104 | 4.2271 | 0.0010504 | -0.0019892 | 0.28751 | 0.28748 | 0.28751 | 0.99927 | -0.016283 | 0.99939 | -0.01577 | 45.0649
101 | 8.7273 | 4.0961 | -8.7271 | -4.0967 | 0.00028688 | -0.00058886 | 0.27856 | 0.27856 | 0.27856 | 0.9991 | -0.01701 | 0.99907 | -0.017154 | 43.6622
102 | 1.2387 | 0.59846 | -1.2385 | -0.59985 | 0.00012794 | -0.0013933 | 0.039842 | 0.03986 | 0.03986 | 0.99674 | -0.082761 | 0.99664 | -0.081864 | 18.1181
103 | -0.20075 | -0.097227 | 0.20075 | 0.09656 | 1.5482e-06 | -0.00066725 | 0.0064414 | 0.006433 | 0.0064414 | 0.99963 | -0.014655 | 0.99964 | -0.014722 | 2.9279
104 | 9.0125 | 4.223 | -9.0122 | -4.2237 | 0.0003705 | -0.00070261 | 0.28742 | 0.28743 | 0.28743 | 0.99964 | -0.014722 | 0.9996 | -0.014904 | 45.0517
105 | 9.0122 | 4.2237 | -9.0104 | -4.2271 | 0.0017633 | -0.0033419 | 0.28743 | 0.28748 | 0.28748 | 0.9996 | -0.014904 | 0.99939 | -0.01577 | 45.06
106 | 0.22563 | 0.10819 | -0.22562 | -0.10927 | 3.234e-06 | -0.001086 | 0.0072555 | 0.0072691 | 0.0072691 | 0.99558 | -0.080363 | 0.99556 | -0.080239 | 3.3042
107 | -8.7269 | -4.0971 | 8.7271 | 4.0967 | 0.00020147 | -0.00041348 | 0.27857 | 0.27856 | 0.27857 | 0.99905 | -0.017256 | 0.99907 | -0.017154 | 43.6632
108 | 8.3787 | 3.9285 | -8.3781 | -3.9298 | 0.00056673 | -0.0012893 | 0.26739 | 0.26741 | 0.26741 | 0.99905 | -0.017256 | 0.99898 | -0.017555 | 41.9141
109 | 0.070493 | 0.033653 | -0.070493 | -0.034141 | 1.3985e-07 | -0.00048856 | 0.0022573 | 0.0022634 | 0.0022634 | 0.99898 | -0.017555 | 0.99897 | -0.017538 | 1.0288

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.5564 | 6.78

## res_load
| p_mw | q_mvar
0 | 0.35498 | 0.17193
1 | 0.074879 | 0.036266
2 | 0.11123 | 0.053871
3 | 0.31236 | 0.15128
4 | 0.23277 | 0.11274
5 | 0.11791 | 0.057108
6 | 0.075334 | 0.036486
7 | 0.25742 | 0.12467
8 | 0.24278 | 0.11758
9 | 0.3373 | 0.16336
10 | 0.27338 | 0.13241
11 | 0.26954 | 0.13055
12 | 0.30318 | 0.14683
13 | 0.33612 | 0.16279
14 | 0.29239 | 0.14161
15 | 0.29386 | 0.14232
16 | 0.36896 | 0.17869
17 | 0.1017 | 0.049257
18 | 0.14545 | 0.070447
19 | 0.24741 | 0.11983
20 | 0.15003 | 0.072661
21 | 0.23193 | 0.11233
22 | 0.074171 | 0.035923
23 | 0.2369 | 0.11474
24 | 0.40595 | 0.19661
25 | 0.33575 | 0.16261
26 | 0.24472 | 0.11852
27 | 0.22462 | 0.10879
28 | 0.16648 | 0.080629
29 | 0.36847 | 0.17846
30 | 0.11031 | 0.053426
31 | 0.12203 | 0.059103
32 | 0.22077 | 0.10693
33 | 0.24744 | 0.11984
34 | 0.38243 | 0.18522
35 | 0.27917 | 0.13521
36 | 0.076831 | 0.037211
37 | 0.081008 | 0.039234
38 | 0.27512 | 0.13324
39 | 0.088975 | 0.043092
40 | 0.21943 | 0.10628
41 | 0.28811 | 0.13954
42 | 0.22947 | 0.11114
43 | 0.079139 | 0.038329
44 | 0.071402 | 0.034581
45 | 0.11241 | 0.054442
46 | 0.0844 | 0.040877
47 | 0.08256 | 0.039986
48 | 0.31452 | 0.15233
49 | 0.30312 | 0.14681
50 | 0.37173 | 0.18004
51 | 0.21115 | 0.10227
52 | 0.069395 | 0.03361
53 | 0.20075 | 0.097227
54 | 0.40762 | 0.19742
55 | 1.2385 | 0.59985
56 | 0.22562 | 0.10927
57 | 0.41038 | 0.19875
58 | 0.34821 | 0.16864
59 | 0.070493 | 0.034141
60 | 0.076088 | 0.036851

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1