## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_108_1_node_18 | 20 | n |  | TRUE
1 | bus_MV_108_1_node_19 | 20 | n |  | TRUE
2 | bus_MV_108_1_node_45 | 20 | n |  | TRUE
3 | bus_MV_108_1_node_20 | 20 | n |  | TRUE
4 | bus_MV_108_1_node_21 | 20 | n |  | TRUE
5 | bus_MV_108_1_node_22 | 20 | n |  | TRUE
6 | bus_MV_108_1_node_23 | 20 | n |  | TRUE
7 | bus_MV_108_1_node_28 | 20 | n |  | TRUE
8 | bus_MV_108_1_node_39 | 20 | n |  | TRUE
9 | bus_MV_108_1_node_24 | 20 | n |  | TRUE
10 | bus_MV_108_1_node_25 | 20 | n |  | TRUE
11 | bus_MV_108_1_node_26 | 20 | n |  | TRUE
12 | bus_MV_108_1_node_81 | 20 | n |  | TRUE
13 | bus_MV_108_1_node_27 | 20 | n |  | TRUE
14 | bus_MV_108_1_node_32 | 20 | n |  | TRUE
15 | bus_MV_108_1_node_29 | 20 | n |  | TRUE
16 | bus_MV_108_1_node_30 | 20 | n |  | TRUE
17 | bus_MV_108_1_node_31 | 20 | n |  | TRUE
18 | bus_MV_108_1_node_164 | 20 | n |  | TRUE
19 | bus_MV_108_1_node_37 | 20 | n |  | TRUE
20 | bus_MV_108_1_node_33 | 20 | n |  | TRUE
21 | bus_MV_108_1_node_34 | 20 | n |  | TRUE
22 | bus_MV_108_1_node_184 | 20 | n |  | TRUE
23 | bus_MV_108_1_node_38 | 20 | n |  | TRUE
24 | bus_MV_108_1_node_36 | 20 | n |  | TRUE
25 | bus_MV_108_1_node_177 | 20 | n |  | TRUE
26 | bus_MV_108_1_node_40 | 20 | n |  | TRUE
27 | bus_MV_108_1_node_41 | 20 | n |  | TRUE
28 | bus_MV_108_1_node_63 | 20 | n |  | TRUE
29 | bus_MV_108_1_node_176 | 20 | n |  | TRUE
30 | bus_MV_108_1_node_42 | 20 | n |  | TRUE
31 | bus_MV_108_1_node_43 | 20 | n |  | TRUE
32 | bus_MV_108_1_node_44 | 20 | n |  | TRUE
33 | bus_MV_108_1_node_46 | 20 | n |  | TRUE
34 | bus_MV_108_1_node_51 | 20 | n |  | TRUE
35 | bus_MV_108_1_node_47 | 20 | n |  | TRUE
36 | bus_MV_108_1_node_48 | 20 | n |  | TRUE
37 | bus_MV_108_1_node_49 | 20 | n |  | TRUE
38 | bus_MV_108_1_node_50 | 20 | n |  | TRUE
39 | bus_MV_108_1_node_52 | 20 | n |  | TRUE
40 | bus_MV_108_1_node_53 | 20 | n |  | TRUE
41 | bus_MV_108_1_node_54 | 20 | n |  | TRUE
42 | bus_MV_108_1_node_55 | 20 | n |  | TRUE
43 | bus_MV_108_1_node_56 | 20 | n |  | TRUE
44 | bus_MV_108_1_node_62 | 20 | n |  | TRUE
45 | bus_MV_108_1_node_57 | 20 | n |  | TRUE
46 | bus_MV_108_1_node_58 | 20 | n |  | TRUE
47 | bus_MV_108_1_node_59 | 20 | n |  | TRUE
48 | bus_MV_108_1_node_61 | 20 | n |  | TRUE
49 | bus_MV_108_1_node_64 | 20 | n |  | TRUE
50 | bus_MV_108_1_node_65 | 20 | n |  | TRUE
51 | bus_MV_108_1_node_66 | 20 | n |  | TRUE
52 | bus_MV_108_1_node_68 | 20 | n |  | TRUE
53 | bus_MV_108_1_node_67 | 20 | n |  | TRUE
54 | bus_MV_108_1_node_74 | 20 | n |  | TRUE
55 | bus_MV_108_1_node_77 | 20 | n |  | TRUE
56 | bus_MV_108_1_node_82 | 20 | n |  | TRUE
57 | bus_MV_108_1_node_69 | 20 | n |  | TRUE
58 | bus_MV_108_1_node_70 | 20 | n |  | TRUE
59 | bus_MV_108_1_node_71 | 20 | n |  | TRUE
60 | bus_MV_108_1_node_72 | 20 | n |  | TRUE
61 | bus_MV_108_1_node_73 | 20 | n |  | TRUE
62 | bus_MV_108_1_node_76 | 20 | n |  | TRUE
63 | bus_MV_108_1_node_165 | 20 | n |  | TRUE
64 | bus_MV_108_1_node_75 | 20 | n |  | TRUE
65 | bus_MV_108_1_node_78 | 20 | n |  | TRUE
66 | bus_HV_108_1_node_33 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_108_1_load_18 | 0 | 0.18 | 0.087176 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_108_1_load_45 | 2 | 0.25198 | 0.12204 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_108_1_load_20 | 3 | 0.27343 | 0.13243 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_108_1_load_28 | 7 | 0.30519 | 0.14781 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_108_1_load_39 | 8 | 0.28524 | 0.13815 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_108_1_load_24 | 9 | 0.11952 | 0.057887 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_108_1_load_81 | 12 | 0.33786 | 0.16363 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_108_1_load_32 | 14 | 0.14304 | 0.069277 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_108_1_load_164 | 18 | 0.070995 | 0.034384 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_108_1_load_37 | 19 | 0.092852 | 0.04497 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_108_1_load_184 | 22 | 0.088642 | 0.042931 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_108_1_load_38 | 23 | 0.098983 | 0.04794 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_108_1_load_36 | 24 | 0.39194 | 0.18982 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_108_1_load_177 | 25 | 0.23395 | 0.11331 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_108_1_load_63 | 28 | 0.18373 | 0.088983 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_108_1_load_176 | 29 | 0.17913 | 0.086756 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_108_1_load_42 | 30 | 0.31377 | 0.15197 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_108_1_load_51 | 34 | 0.27442 | 0.13291 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_108_1_load_47 | 35 | 0.26815 | 0.12987 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_108_1_load_52 | 39 | 0.33283 | 0.1612 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_108_1_load_62 | 44 | 0.33564 | 0.16256 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_108_1_load_57 | 45 | 0.058882 | 0.028518 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_108_1_load_58 | 46 | 0.31789 | 0.15396 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_108_1_load_64 | 49 | 0.30272 | 0.14661 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_108_1_load_74 | 54 | 0.38809 | 0.18796 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_108_1_load_77 | 55 | 0.10129 | 0.049057 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_108_1_load_82 | 56 | 0.33584 | 0.16265 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_108_1_load_69 | 57 | 0.38325 | 0.18562 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_108_1_load_165 | 63 | 0.068427 | 0.033141 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_108_1_load_75 | 64 | 0.18367 | 0.088956 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_108_1_load_78 | 65 | 0.085969 | 0.041637 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_108_1_line_0 |  | 0 | 1 | 0.2083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_108_1_line_1 |  | 1 | 2 | 2.7108 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_108_1_line_2 |  | 2 | 33 | 0.040354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_108_1_line_3 |  | 3 | 4 | 0.024262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_108_1_line_4 |  | 4 | 5 | 0.01855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_108_1_line_5 |  | 4 | 6 | 0.2354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_108_1_line_6 |  | 5 | 7 | 0.060434 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_108_1_line_7 |  | 6 | 8 | 0.13029 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_108_1_line_8 |  | 7 | 15 | 0.077794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_108_1_line_9 |  | 8 | 26 | 0.18788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_108_1_line_10 |  | 8 | 27 | 0.28121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_108_1_line_11 |  | 9 | 10 | 0.025485 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_108_1_line_12 |  | 9 | 11 | 0.10621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_108_1_line_13 |  | 10 | 12 | 1.8692 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_108_1_line_14 |  | 11 | 13 | 0.78705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_108_1_line_15 |  | 12 | 59 | 0.16087 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_108_1_line_16 |  | 13 | 14 | 0.080266 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_108_1_line_17 |  | 14 | 20 | 0.065043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_108_1_line_18 |  | 15 | 16 | 0.08304 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_108_1_line_19 |  | 15 | 17 | 0.37776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_108_1_line_20 |  | 16 | 18 | 0.11001 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_108_1_line_21 |  | 17 | 19 | 0.0098988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_108_1_line_22 |  | 18 | 32 | 0.047286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_108_1_line_23 |  | 19 | 23 | 0.035197 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
24 | MV_108_1_line_24 |  | 19 | 24 | 0.040271 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_108_1_line_25 |  | 20 | 21 | 0.56003 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
26 | MV_108_1_line_26 |  | 21 | 22 | 0.065157 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_108_1_line_27 |  | 21 | 23 | 0.38183 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
28 | MV_108_1_line_28 |  | 24 | 25 | 0.83248 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_108_1_line_29 |  | 25 | 38 | 0.01436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_108_1_line_30 |  | 26 | 28 | 1.1929 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_108_1_line_31 |  | 27 | 29 | 0.22048 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_108_1_line_32 |  | 28 | 42 | 0.012287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_108_1_line_33 |  | 30 | 31 | 0.029748 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_108_1_line_34 |  | 31 | 32 | 0.020853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_108_1_line_35 |  | 33 | 34 | 1.5202 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_108_1_line_36 |  | 34 | 37 | 0.058029 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_108_1_line_37 |  | 35 | 36 | 0.17871 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_108_1_line_38 |  | 36 | 37 | 0.36061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_108_1_line_39 |  | 36 | 38 | 0.25251 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_108_1_line_40 |  | 39 | 40 | 0.024522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_108_1_line_41 |  | 39 | 41 | 0.13114 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_108_1_line_42 |  | 40 | 42 | 0.14416 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_108_1_line_43 |  | 41 | 43 | 1.3361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_108_1_line_44 |  | 42 | 44 | 0.12176 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_108_1_line_45 |  | 43 | 45 | 0.47933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_108_1_line_46 |  | 44 | 48 | 0.079369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_108_1_line_47 |  | 46 | 47 | 0.032987 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_108_1_line_48 |  | 47 | 48 | 0.11984 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_108_1_line_49 |  | 49 | 50 | 0.088222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_108_1_line_50 |  | 50 | 51 | 0.27722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_108_1_line_51 |  | 50 | 52 | 0.22844 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_108_1_line_52 |  | 51 | 53 | 0.31432 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_108_1_line_53 |  | 51 | 54 | 0.15893 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_108_1_line_54 |  | 52 | 56 | 0.03623 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_108_1_line_55 |  | 53 | 55 | 0.08208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_108_1_line_56 |  | 56 | 60 | 0.035522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_108_1_line_57 |  | 57 | 58 | 0.047701 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_108_1_line_58 |  | 58 | 59 | 0.16812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_108_1_line_59 |  | 58 | 60 | 0.13811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_108_1_line_60 |  | 60 | 61 | 0.23412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_108_1_line_61 |  | 61 | 62 | 0.14833 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_108_1_line_62 |  | 61 | 63 | 0.045242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_108_1_line_63 |  | 62 | 64 | 0.044527 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_108_1_line_64 |  | 63 | 65 | 0.6671 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_108_1_trafo_33 | 25 MVA 110/20 kV | 66 | 20 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2635182.8058 | 1116639.2376
1 | 2635018.3206 | 1116745.6844
2 | 2635823.8968 | 1119334.0637
3 | 2633265.9968 | 1120271.9801
4 | 2633260.2322 | 1120248.4144
5 | 2633257.9108 | 1120230.0146
6 | 2633077.0947 | 1120127.1849
7 | 2633249.3363 | 1120170.2041
8 | 2632972.4426 | 1120049.5759
9 | 2633832.2446 | 1122120.1778
10 | 2633847.4155 | 1122140.6839
11 | 2633810.3351 | 1122023.2845
12 | 2635579.5424 | 1122843.2586
13 | 2633660.2337 | 1121261.9102
14 | 2633672.6916 | 1121182.6172
15 | 2633219.2248 | 1120098.6475
16 | 2633220.052 | 1120018.1003
17 | 2633343.2889 | 1120313.9813
18 | 2633250.4889 | 1119916.3989
19 | 2633337.838 | 1120322.244
20 | 2633695.0372 | 1121121.5772
21 | 2633580.7029 | 1120640.9451
22 | 2633543.1109 | 1120694.1639
23 | 2633327.4566 | 1120355.1888
24 | 2633372.6942 | 1120342.413
25 | 2634141.6913 | 1120023.5665
26 | 2632806.9892 | 1119970.0941
27 | 2632796.1931 | 1119833.7559
28 | 2631927.1363 | 1120775.603
29 | 2632655.2805 | 1119664.1768
30 | 2633296.769 | 1119943.5501
31 | 2633313.7987 | 1119919.1869
32 | 2633295.5454 | 1119909.2928
33 | 2635800.1508 | 1119364.7536
34 | 2634395.784 | 1119946.7193
35 | 2634272.9072 | 1119732.6599
36 | 2634292.9727 | 1119910.2408
37 | 2634357.7785 | 1119990.5704
38 | 2634155.5385 | 1120019.6203
39 | 2632014.4283 | 1120919.8135
40 | 2631994.8981 | 1120905.0363
41 | 2631896.7735 | 1120972.2198
42 | 2631928.7229 | 1120787.7842
43 | 2631076.7171 | 1121683.7296
44 | 2631815.0007 | 1120831.2972
45 | 2630692.3294 | 1121944.6691
46 | 2631726.9099 | 1120742.7579
47 | 2631759.5 | 1120737.0812
48 | 2631749.1457 | 1120790.5204
49 | 2635848.7396 | 1123026.2597
50 | 2635887.9779 | 1123103.5865
51 | 2635995.891 | 1123341.3022
52 | 2635819.9624 | 1123189.1718
53 | 2635983.8815 | 1123427.6412
54 | 2636039.8021 | 1123188.5638
55 | 2635940.6975 | 1123492.1509
56 | 2635788.5157 | 1123203.8601
57 | 2635727.4122 | 1123125.9269
58 | 2635696.4999 | 1123093.0948
59 | 2635619.743 | 1122999.029
60 | 2635774.3583 | 1123171.2712
61 | 2635651.7634 | 1123232.8353
62 | 2635589.5612 | 1123102.8041
63 | 2635611.9089 | 1123254.2478
64 | 2635551.6549 | 1123126.3379
65 | 2635179.6183 | 1123762.3321
66 | 2633695.0372 | 1121121.5772

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99148 | -0.094817 | 0.18 | 0.087176
1 | 0.99153 | -0.095241 | 0 | 0
2 | 0.99247 | -0.08773 | 0.25198 | 0.12204
3 | 0.99482 | -0.054909 | 0.27343 | 0.13243
4 | 0.99482 | -0.054989 | 0 | 0
5 | 0.99487 | -0.055342 | 0 | 0
6 | 0.99432 | -0.051226 | 0 | 0
7 | 0.99502 | -0.056489 | 0.30519 | 0.14781
8 | 0.9939 | -0.05469 | 0.28524 | 0.13815
9 | 0.9968 | 0.020642 | 0.11952 | 0.057887
10 | 0.99673 | 0.021245 | 0 | 0
11 | 0.99712 | 0.017989 | 0 | 0
12 | 0.9888 | -0.03642 | 0.33786 | 0.16363
13 | 0.99944 | -0.0010893 | 0 | 0
14 | 0.9998 | 0.0016414 | 0.14304 | 0.069277
15 | 0.99525 | -0.058245 | 0 | 0
16 | 0.99521 | -0.05789 | 0 | 0
17 | 0.99652 | -0.068211 | 0 | 0
18 | 0.99515 | -0.057405 | 0.070995 | 0.034384
19 | 0.99656 | -0.068468 | 0.092852 | 0.04497
20 | 1 | 0 | -7.0556 | -3.2149
21 | 0.99863 | -0.015946 | 0 | 0
22 | 0.99862 | -0.016017 | 0.088642 | 0.042931
23 | 0.99664 | -0.067504 | 0.098983 | 0.04794
24 | 0.99643 | -0.069346 | 0.39194 | 0.18982
25 | 0.99449 | -0.083515 | 0.23395 | 0.11331
26 | 0.9936 | -0.052596 | 0 | 0
27 | 0.99383 | -0.054145 | 0 | 0
28 | 0.9908 | -0.07638 | 0.18373 | 0.088983
29 | 0.99376 | -0.054631 | 0.17913 | 0.086756
30 | 0.99511 | -0.057041 | 0.31377 | 0.15197
31 | 0.99512 | -0.057153 | 0 | 0
32 | 0.99513 | -0.057231 | 0 | 0
33 | 0.99249 | -0.087919 | 0 | 0
34 | 0.99376 | -0.078572 | 0.27442 | 0.13291
35 | 0.99407 | -0.081342 | 0.26815 | 0.12987
36 | 0.99416 | -0.080755 | 0 | 0
37 | 0.99384 | -0.078017 | 0 | 0
38 | 0.99447 | -0.083369 | 0 | 0
39 | 0.9907 | -0.075983 | 0.33283 | 0.1612
40 | 0.99072 | -0.076027 | 0 | 0
41 | 0.9907 | -0.076265 | 0 | 0
42 | 0.99079 | -0.076268 | 0 | 0
43 | 0.99061 | -0.077638 | 0 | 0
44 | 0.99063 | -0.077305 | 0.33564 | 0.16256
45 | 0.99057 | -0.077469 | 0.058882 | 0.028518
46 | 0.99054 | -0.076447 | 0.31789 | 0.15396
47 | 0.99055 | -0.076574 | 0 | 0
48 | 0.9906 | -0.077021 | 0 | 0
49 | 0.98721 | -0.032294 | 0.30272 | 0.14661
50 | 0.98725 | -0.032616 | 0 | 0
51 | 0.98708 | -0.031179 | 0 | 0
52 | 0.98748 | -0.034529 | 0 | 0
53 | 0.98703 | -0.030902 | 0 | 0
54 | 0.98695 | -0.031945 | 0.38809 | 0.18796
55 | 0.98702 | -0.030805 | 0.10129 | 0.049057
56 | 0.98752 | -0.034825 | 0.33584 | 0.16265
57 | 0.9878 | -0.037176 | 0.38325 | 0.18562
58 | 0.98783 | -0.037398 | 0 | 0
59 | 0.98823 | -0.040737 | 0 | 0
60 | 0.98757 | -0.03526 | 0 | 0
61 | 0.98747 | -0.034428 | 0 | 0
62 | 0.98743 | -0.03412 | 0 | 0
63 | 0.98746 | -0.034346 | 0.068427 | 0.033141
64 | 0.98742 | -0.034021 | 0.18367 | 0.088956
65 | 0.98735 | -0.035079 | 0.085969 | 0.041637
66 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.18 | -0.087176 | 0.18001 | 0.082289 | 9.3297e-06 | -0.0048865 | 0.005823 | 0.0057623 | 0.005823 | 0.99148 | -0.094817 | 0.99153 | -0.095241 | 2.6468
1 | -0.18001 | -0.082289 | 0.18016 | 0.079205 | 0.00015931 | -0.0030849 | 0.0057623 | 0.0057244 | 0.0057623 | 0.99153 | -0.095241 | 0.99247 | -0.08773 | 2.744
2 | -0.43215 | -0.20125 | 0.43216 | 0.2003 | 1.0349e-05 | -0.00094598 | 0.013866 | 0.013854 | 0.013866 | 0.99247 | -0.08773 | 0.99249 | -0.087919 | 6.3026
3 | -0.27343 | -0.13243 | 0.27343 | 0.13186 | 2.5153e-06 | -0.00057255 | 0.008816 | 0.0088087 | 0.008816 | 0.99482 | -0.054909 | 0.99482 | -0.054989 | 4.0073
4 | -1.9722 | -0.88105 | 1.9723 | 0.88064 | 9.7285e-05 | -0.00040949 | 0.06268 | 0.062675 | 0.06268 | 0.99482 | -0.054989 | 0.99487 | -0.055342 | 28.4908
5 | 1.6988 | 0.74919 | -1.6979 | -0.75448 | 0.00091325 | -0.0052886 | 0.053875 | 0.053941 | 0.053941 | 0.99482 | -0.054989 | 0.99432 | -0.051226 | 24.5185
6 | -1.9723 | -0.88064 | 1.9726 | 0.8793 | 0.00031683 | -0.0013344 | 0.062675 | 0.062658 | 0.062675 | 0.99487 | -0.055342 | 0.99502 | -0.056489 | 28.4884
7 | 1.6979 | 0.75448 | -1.6972 | -0.75421 | 0.00067545 | 0.00026937 | 0.053941 | 0.053943 | 0.053943 | 0.99432 | -0.051226 | 0.9939 | -0.05469 | 25.6869
8 | -2.2778 | -1.0271 | 2.2784 | 1.0254 | 0.00054559 | -0.0016775 | 0.072491 | 0.072469 | 0.072491 | 0.99502 | -0.056489 | 0.99525 | -0.058245 | 32.9506
9 | 1.2328 | 0.53619 | -1.2324 | -0.5405 | 0.00038291 | -0.0043164 | 0.039046 | 0.039098 | 0.039098 | 0.9939 | -0.05469 | 0.9936 | -0.052596 | 17.7717
10 | 0.17915 | 0.079876 | -0.17914 | -0.086504 | 1.2357e-05 | -0.0066284 | 0.0056972 | 0.0057784 | 0.0057784 | 0.9939 | -0.05469 | 0.99383 | -0.054145 | 2.6265
11 | 2.2065 | 1.0229 | -2.2064 | -1.0235 | 0.0001688 | -0.00055448 | 0.070434 | 0.070442 | 0.070442 | 0.9968 | 0.020642 | 0.99673 | 0.021245 | 32.019
12 | -2.3261 | -1.0808 | 2.3268 | 1.0785 | 0.00078197 | -0.0022884 | 0.07428 | 0.074249 | 0.07428 | 0.9968 | 0.020642 | 0.99712 | 0.017989 | 33.7636
13 | 2.2064 | 1.0235 | -2.1898 | -1.0153 | 0.016532 | 0.0081556 | 0.070442 | 0.070469 | 0.070469 | 0.99673 | 0.021245 | 0.9888 | -0.03642 | 33.5565
14 | -2.3268 | -1.0785 | 2.3326 | 1.0615 | 0.0057748 | -0.017014 | 0.074249 | 0.074023 | 0.074249 | 0.99712 | 0.017989 | 0.99944 | -0.0010893 | 33.7496
15 | 1.852 | 0.85169 | -1.851 | -0.85124 | 0.0010152 | 0.00044819 | 0.059511 | 0.059513 | 0.059513 | 0.9888 | -0.03642 | 0.98823 | -0.040737 | 28.3396
16 | -2.3326 | -1.0615 | 2.3334 | 1.0619 | 0.0007836 | 0.00039507 | 0.074023 | 0.074022 | 0.074023 | 0.99944 | -0.0010893 | 0.9998 | 0.0016414 | 35.2491
17 | -2.4764 | -1.1312 | 2.477 | 1.1298 | 0.00053645 | -0.0013935 | 0.07861 | 0.078591 | 0.07861 | 0.9998 | 0.0016414 | 1 | 0 | 35.7317
18 | 0.38482 | 0.17949 | -0.3848 | -0.18145 | 1.6849e-05 | -0.0019588 | 0.012316 | 0.01234 | 0.01234 | 0.99525 | -0.058245 | 0.99521 | -0.05789 | 5.6093
19 | -2.6632 | -1.2049 | 2.6668 | 1.1971 | 0.0036207 | -0.0078714 | 0.084785 | 0.084678 | 0.084785 | 0.99525 | -0.058245 | 0.99652 | -0.068211 | 38.5385
20 | 0.3848 | 0.18145 | -0.38478 | -0.18404 | 2.2425e-05 | -0.0025948 | 0.01234 | 0.012373 | 0.012373 | 0.99521 | -0.05789 | 0.99515 | -0.057405 | 5.624
21 | -2.6668 | -1.1971 | 2.6669 | 1.1968 | 9.4752e-05 | -0.0002066 | 0.084678 | 0.084675 | 0.084678 | 0.99652 | -0.068211 | 0.99656 | -0.068468 | 38.4901
22 | 0.31379 | 0.14966 | -0.31378 | -0.15077 | 6.4289e-06 | -0.0011162 | 0.010085 | 0.010099 | 0.010099 | 0.99515 | -0.057405 | 0.99513 | -0.057231 | 4.5903
23 | -4.3639 | -1.9922 | 4.3643 | 1.9912 | 0.00032824 | -0.00096072 | 0.13896 | 0.13895 | 0.13896 | 0.99656 | -0.068468 | 0.99664 | -0.067504 | 38.387
24 | 1.6042 | 0.75036 | -1.604 | -0.75029 | 0.00018884 | 7.0544e-05 | 0.051302 | 0.051302 | 0.051302 | 0.99656 | -0.068468 | 0.99643 | -0.069346 | 24.4297
25 | 4.5647 | 2.0746 | -4.559 | -2.0896 | 0.0056759 | -0.015062 | 0.14474 | 0.14497 | 0.14497 | 1 | 0 | 0.99863 | -0.015946 | 40.0472
26 | 0.088643 | 0.042854 | -0.088642 | -0.042931 | 9.4071e-07 | -7.6981e-05 | 0.0028461 | 0.0028471 | 0.0028471 | 0.99863 | -0.015946 | 0.99862 | -0.016017 | 1.3558
27 | 4.4703 | 2.0468 | -4.4633 | -2.0391 | 0.0070806 | 0.0076211 | 0.14213 | 0.14213 | 0.14213 | 0.99863 | -0.015946 | 0.99664 | -0.067504 | 40.6089
28 | 1.2121 | 0.56046 | -1.2099 | -0.56005 | 0.0022206 | 0.00040613 | 0.038687 | 0.038699 | 0.038699 | 0.99643 | -0.069346 | 0.99449 | -0.083515 | 18.4282
29 | 0.97591 | 0.44675 | -0.97589 | -0.44708 | 1.861e-05 | -0.00033357 | 0.031155 | 0.031159 | 0.031159 | 0.99449 | -0.083515 | 0.99447 | -0.083369 | 14.1634
30 | 1.2324 | 0.5405 | -1.2292 | -0.53987 | 0.0032503 | 0.00063391 | 0.039098 | 0.039114 | 0.039114 | 0.9936 | -0.052596 | 0.9908 | -0.07638 | 18.6258
31 | 0.17914 | 0.086504 | -0.17913 | -0.086756 | 1.3124e-05 | -0.00025174 | 0.0057784 | 0.0057816 | 0.0057816 | 0.99383 | -0.054145 | 0.99376 | -0.054631 | 2.7532
32 | 1.0454 | 0.45089 | -1.0454 | -0.45117 | 1.8051e-05 | -0.00028264 | 0.033171 | 0.033175 | 0.033175 | 0.9908 | -0.07638 | 0.99079 | -0.076268 | 15.0794
33 | -0.31377 | -0.15197 | 0.31378 | 0.15127 | 4.0586e-06 | -0.00070215 | 0.010114 | 0.010105 | 0.010114 | 0.99511 | -0.057041 | 0.99512 | -0.057153 | 4.5971
34 | -0.31378 | -0.15127 | 0.31378 | 0.15077 | 2.8408e-06 | -0.00049221 | 0.010105 | 0.010099 | 0.010105 | 0.99512 | -0.057153 | 0.99513 | -0.057231 | 4.5931
35 | -0.43216 | -0.2003 | 0.43268 | 0.19883 | 0.00051905 | -0.0014648 | 0.013854 | 0.013832 | 0.013854 | 0.99249 | -0.087919 | 0.99376 | -0.078572 | 6.5972
36 | -0.70709 | -0.33174 | 0.70715 | 0.33171 | 5.322e-05 | -3.5083e-05 | 0.022689 | 0.022688 | 0.022689 | 0.99376 | -0.078572 | 0.99384 | -0.078017 | 10.8041
37 | -0.26815 | -0.12987 | 0.26817 | 0.12967 | 2.3829e-05 | -0.00019592 | 0.0086522 | 0.0086495 | 0.0086522 | 0.99407 | -0.081342 | 0.99416 | -0.080755 | 4.1201
38 | 0.70739 | 0.32327 | -0.70715 | -0.33171 | 0.00024666 | -0.0084338 | 0.022584 | 0.022688 | 0.022688 | 0.99416 | -0.080755 | 0.99384 | -0.078017 | 10.3126
39 | -0.97557 | -0.45295 | 0.97589 | 0.44708 | 0.00032805 | -0.0058632 | 0.031232 | 0.031159 | 0.031232 | 0.99416 | -0.080755 | 0.99447 | -0.083369 | 14.1963
40 | -0.39172 | -0.14411 | 0.39173 | 0.14353 | 4.8399e-06 | -0.00057323 | 0.012162 | 0.012156 | 0.012162 | 0.9907 | -0.075983 | 0.99072 | -0.076027 | 5.5282
41 | 0.05889 | -0.01709 | -0.05889 | 0.014017 | 5.5145e-07 | -0.0030729 | 0.0017868 | 0.0017639 | 0.0017868 | 0.9907 | -0.075983 | 0.9907 | -0.076265 | 0.81216
42 | -0.39173 | -0.14353 | 0.39175 | 0.14016 | 2.8361e-05 | -0.0033703 | 0.012156 | 0.012123 | 0.012156 | 0.99072 | -0.076027 | 0.99079 | -0.076268 | 5.5255
43 | 0.05889 | -0.014017 | -0.058884 | -0.017288 | 5.2561e-06 | -0.031305 | 0.0017639 | 0.0017884 | 0.0017884 | 0.9907 | -0.076265 | 0.99061 | -0.077638 | 0.8129
44 | 0.65366 | 0.31101 | -0.65356 | -0.31109 | 9.6509e-05 | -8.2222e-05 | 0.021091 | 0.021093 | 0.021093 | 0.99079 | -0.076268 | 0.99063 | -0.077305 | 10.0441
45 | 0.058884 | 0.017288 | -0.058882 | -0.028518 | 2.1693e-06 | -0.01123 | 0.0017884 | 0.0019066 | 0.0019066 | 0.99061 | -0.077638 | 0.99057 | -0.077469 | 0.86665
46 | 0.31792 | 0.14853 | -0.31791 | -0.15039 | 1.1104e-05 | -0.0018563 | 0.010226 | 0.010249 | 0.010249 | 0.99063 | -0.077305 | 0.9906 | -0.077021 | 4.6585
47 | -0.31789 | -0.15396 | 0.3179 | 0.15319 | 4.6619e-06 | -0.00077139 | 0.010294 | 0.010284 | 0.010294 | 0.99054 | -0.076447 | 0.99055 | -0.076574 | 4.679
48 | -0.3179 | -0.15319 | 0.31791 | 0.15039 | 1.6863e-05 | -0.0028027 | 0.010284 | 0.010249 | 0.010284 | 0.99055 | -0.076574 | 0.9906 | -0.077021 | 4.6745
49 | -0.30272 | -0.14661 | 0.30273 | 0.14456 | 1.1363e-05 | -0.0020496 | 0.0098354 | 0.0098094 | 0.0098354 | 0.98721 | -0.032294 | 0.98725 | -0.032616 | 4.4707
50 | 0.48952 | 0.22122 | -0.48943 | -0.22764 | 9.1766e-05 | -0.0064229 | 0.015708 | 0.015786 | 0.015786 | 0.98725 | -0.032616 | 0.98708 | -0.031179 | 7.1755
51 | -0.79225 | -0.36578 | 0.79245 | 0.36052 | 0.00019805 | -0.0052586 | 0.025516 | 0.025451 | 0.025516 | 0.98725 | -0.032616 | 0.98748 | -0.034529 | 11.598
52 | 0.1013 | 0.039838 | -0.10129 | -0.047148 | 4.3615e-06 | -0.0073103 | 0.0031833 | 0.0032677 | 0.0032677 | 0.98708 | -0.031179 | 0.98703 | -0.030902 | 1.4853
53 | 0.38813 | 0.1878 | -0.38809 | -0.18796 | 4.5035e-05 | -0.00015662 | 0.01261 | 0.012612 | 0.012612 | 0.98708 | -0.031179 | 0.98695 | -0.031945 | 6.0059
54 | -0.79245 | -0.36052 | 0.79248 | 0.35969 | 3.1317e-05 | -0.00083425 | 0.025451 | 0.025441 | 0.025451 | 0.98748 | -0.034529 | 0.98752 | -0.034825 | 11.5685
55 | 0.10129 | 0.047148 | -0.10129 | -0.049057 | 1.1785e-06 | -0.0019089 | 0.0032677 | 0.0032916 | 0.0032916 | 0.98703 | -0.030902 | 0.98702 | -0.030805 | 1.4962
56 | -1.1283 | -0.52234 | 1.1284 | 0.52153 | 6.2629e-05 | -0.00080855 | 0.036346 | 0.036336 | 0.036346 | 0.98752 | -0.034825 | 0.98757 | -0.03526 | 16.5211
57 | -0.38325 | -0.18562 | 0.38326 | 0.18451 | 9.8507e-06 | -0.0011084 | 0.012444 | 0.01243 | 0.012444 | 0.9878 | -0.037176 | 0.98783 | -0.037398 | 5.6566
58 | -1.8502 | -0.85493 | 1.851 | 0.85124 | 0.00079555 | -0.0036824 | 0.059561 | 0.059513 | 0.059561 | 0.98783 | -0.037398 | 0.98823 | -0.040737 | 27.0732
59 | 1.4669 | 0.67042 | -1.4665 | -0.67352 | 0.00040993 | -0.0030953 | 0.047133 | 0.047172 | 0.047172 | 0.98783 | -0.037398 | 0.98757 | -0.03526 | 21.4418
60 | 0.33812 | 0.15198 | -0.33809 | -0.15742 | 3.6924e-05 | -0.0054402 | 0.010836 | 0.010903 | 0.010903 | 0.98757 | -0.03526 | 0.98747 | -0.034428 | 4.9557
61 | 0.18368 | 0.084469 | -0.18367 | -0.08792 | 6.9671e-06 | -0.0034512 | 0.0059103 | 0.0059532 | 0.0059532 | 0.98747 | -0.034428 | 0.98743 | -0.03412 | 2.706
62 | 0.15441 | 0.072954 | -0.15441 | -0.074007 | 1.5093e-06 | -0.0010528 | 0.0049924 | 0.0050056 | 0.0050056 | 0.98747 | -0.034428 | 0.98746 | -0.034346 | 2.2753
63 | 0.18367 | 0.08792 | -0.18367 | -0.088956 | 2.1113e-06 | -0.0010359 | 0.0059532 | 0.0059663 | 0.0059663 | 0.98743 | -0.03412 | 0.98742 | -0.034021 | 2.712
64 | 0.085978 | 0.040866 | -0.085969 | -0.041637 | 9.2378e-06 | -0.00077066 | 0.002783 | 0.0027928 | 0.0027928 | 0.98746 | -0.034346 | 0.98735 | -0.035079 | 1.3299

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.0556 | 3.2149

## res_load
| p_mw | q_mvar
0 | 0.18 | 0.087176
1 | 0.25198 | 0.12204
2 | 0.27343 | 0.13243
3 | 0.30519 | 0.14781
4 | 0.28524 | 0.13815
5 | 0.11952 | 0.057887
6 | 0.33786 | 0.16363
7 | 0.14304 | 0.069277
8 | 0.070995 | 0.034384
9 | 0.092852 | 0.04497
10 | 0.088642 | 0.042931
11 | 0.098983 | 0.04794
12 | 0.39194 | 0.18982
13 | 0.23395 | 0.11331
14 | 0.18373 | 0.088983
15 | 0.17913 | 0.086756
16 | 0.31377 | 0.15197
17 | 0.27442 | 0.13291
18 | 0.26815 | 0.12987
19 | 0.33283 | 0.1612
20 | 0.33564 | 0.16256
21 | 0.058882 | 0.028518
22 | 0.31789 | 0.15396
23 | 0.30272 | 0.14661
24 | 0.38809 | 0.18796
25 | 0.10129 | 0.049057
26 | 0.33584 | 0.16265
27 | 0.38325 | 0.18562
28 | 0.068427 | 0.033141
29 | 0.18367 | 0.088956
30 | 0.085969 | 0.041637

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1