## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_10_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_10_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_10_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_10_0_node_22 | 20 | n |  | TRUE
4 | bus_MV_10_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_10_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_10_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_10_0_node_16 | 20 | n |  | TRUE
8 | bus_MV_10_0_node_20 | 20 | n |  | TRUE
9 | bus_MV_10_0_node_5 | 20 | n |  | TRUE
10 | bus_MV_10_0_node_51 | 20 | n |  | TRUE
11 | bus_MV_10_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_10_0_node_231 | 20 | n |  | TRUE
13 | bus_MV_10_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_10_0_node_12 | 20 | n |  | TRUE
15 | bus_MV_10_0_node_38 | 20 | n |  | TRUE
16 | bus_MV_10_0_node_10 | 20 | n |  | TRUE
17 | bus_MV_10_0_node_40 | 20 | n |  | TRUE
18 | bus_MV_10_0_node_39 | 20 | n |  | TRUE
19 | bus_MV_10_0_node_11 | 20 | n |  | TRUE
20 | bus_MV_10_0_node_284 | 20 | n |  | TRUE
21 | bus_MV_10_0_node_275 | 20 | n |  | TRUE
22 | bus_MV_10_0_node_13 | 20 | n |  | TRUE
23 | bus_MV_10_0_node_15 | 20 | n |  | TRUE
24 | bus_MV_10_0_node_14 | 20 | n |  | TRUE
25 | bus_MV_10_0_node_21 | 20 | n |  | TRUE
26 | bus_MV_10_0_node_17 | 20 | n |  | TRUE
27 | bus_MV_10_0_node_52 | 20 | n |  | TRUE
28 | bus_MV_10_0_node_18 | 20 | n |  | TRUE
29 | bus_MV_10_0_node_19 | 20 | n |  | TRUE
30 | bus_MV_10_0_node_47 | 20 | n |  | TRUE
31 | bus_MV_10_0_node_23 | 20 | n |  | TRUE
32 | bus_MV_10_0_node_24 | 20 | n |  | TRUE
33 | bus_MV_10_0_node_26 | 20 | n |  | TRUE
34 | bus_MV_10_0_node_222 | 20 | n |  | TRUE
35 | bus_MV_10_0_node_25 | 20 | n |  | TRUE
36 | bus_MV_10_0_node_228 | 20 | n |  | TRUE
37 | bus_MV_10_0_node_27 | 20 | n |  | TRUE
38 | bus_MV_10_0_node_28 | 20 | n |  | TRUE
39 | bus_MV_10_0_node_29 | 20 | n |  | TRUE
40 | bus_MV_10_0_node_30 | 20 | n |  | TRUE
41 | bus_MV_10_0_node_223 | 20 | n |  | TRUE
42 | bus_MV_10_0_node_31 | 20 | n |  | TRUE
43 | bus_MV_10_0_node_32 | 20 | n |  | TRUE
44 | bus_MV_10_0_node_34 | 20 | n |  | TRUE
45 | bus_MV_10_0_node_37 | 20 | n |  | TRUE
46 | bus_MV_10_0_node_35 | 20 | n |  | TRUE
47 | bus_MV_10_0_node_36 | 20 | n |  | TRUE
48 | bus_MV_10_0_node_227 | 20 | n |  | TRUE
49 | bus_MV_10_0_node_266 | 20 | n |  | TRUE
50 | bus_MV_10_0_node_265 | 20 | n |  | TRUE
51 | bus_MV_10_0_node_41 | 20 | n |  | TRUE
52 | bus_MV_10_0_node_43 | 20 | n |  | TRUE
53 | bus_MV_10_0_node_220 | 20 | n |  | TRUE
54 | bus_MV_10_0_node_45 | 20 | n |  | TRUE
55 | bus_MV_10_0_node_50 | 20 | n |  | TRUE
56 | bus_MV_10_0_node_48 | 20 | n |  | TRUE
57 | bus_MV_10_0_node_49 | 20 | n |  | TRUE
58 | bus_MV_10_0_node_286 | 20 | n |  | TRUE
59 | bus_MV_10_0_node_194 | 20 | n |  | TRUE
60 | bus_MV_10_0_node_195 | 20 | n |  | TRUE
61 | bus_MV_10_0_node_196 | 20 | n |  | TRUE
62 | bus_MV_10_0_node_197 | 20 | n |  | TRUE
63 | bus_MV_10_0_node_213 | 20 | n |  | TRUE
64 | bus_MV_10_0_node_200 | 20 | n |  | TRUE
65 | bus_MV_10_0_node_204 | 20 | n |  | TRUE
66 | bus_MV_10_0_node_198 | 20 | n |  | TRUE
67 | bus_MV_10_0_node_199 | 20 | n |  | TRUE
68 | bus_MV_10_0_node_288 | 20 | n |  | TRUE
69 | bus_MV_10_0_node_289 | 20 | n |  | TRUE
70 | bus_MV_10_0_node_219 | 20 | n |  | TRUE
71 | bus_MV_10_0_node_258 | 20 | n |  | TRUE
72 | bus_MV_10_0_node_201 | 20 | n |  | TRUE
73 | bus_MV_10_0_node_202 | 20 | n |  | TRUE
74 | bus_MV_10_0_node_261 | 20 | n |  | TRUE
75 | bus_MV_10_0_node_207 | 20 | n |  | TRUE
76 | bus_MV_10_0_node_205 | 20 | n |  | TRUE
77 | bus_MV_10_0_node_267 | 20 | n |  | TRUE
78 | bus_MV_10_0_node_208 | 20 | n |  | TRUE
79 | bus_MV_10_0_node_209 | 20 | n |  | TRUE
80 | bus_MV_10_0_node_210 | 20 | n |  | TRUE
81 | bus_MV_10_0_node_211 | 20 | n |  | TRUE
82 | bus_MV_10_0_node_221 | 20 | n |  | TRUE
83 | bus_MV_10_0_node_232 | 20 | n |  | TRUE
84 | bus_MV_10_0_node_215 | 20 | n |  | TRUE
85 | bus_MV_10_0_node_217 | 20 | n |  | TRUE
86 | bus_MV_10_0_node_218 | 20 | n |  | TRUE
87 | bus_MV_10_0_node_244 | 20 | n |  | TRUE
88 | bus_MV_10_0_node_224 | 20 | n |  | TRUE
89 | bus_MV_10_0_node_225 | 20 | n |  | TRUE
90 | bus_MV_10_0_node_226 | 20 | n |  | TRUE
91 | bus_MV_10_0_node_230 | 20 | n |  | TRUE
92 | bus_MV_10_0_node_229 | 20 | n |  | TRUE
93 | bus_MV_10_0_node_287 | 20 | n |  | TRUE
94 | bus_MV_10_0_node_259 | 20 | n |  | TRUE
95 | bus_MV_10_0_node_260 | 20 | n |  | TRUE
96 | bus_MV_10_0_node_290 | 20 | n |  | TRUE
97 | bus_MV_10_0_node_278 | 20 | n |  | TRUE
98 | bus_HV_10_0_node_223 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_10_0_load_0 | 0 | 0.27003 | 0.13078 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_10_0_load_2 | 1 | 0.10847 | 0.052534 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_10_0_load_6 | 6 | 0.17715 | 0.085797 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_10_0_load_20 | 8 | 0.28246 | 0.1368 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_10_0_load_5 | 9 | 0.32863 | 0.15916 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_10_0_load_38 | 15 | 0.33206 | 0.16083 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_10_0_load_39 | 18 | 0.2395 | 0.11599 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_10_0_load_284 | 20 | 0.28377 | 0.13744 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_10_0_load_275 | 21 | 0.34514 | 0.16716 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_10_0_load_21 | 25 | 0.37621 | 0.18221 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_10_0_load_17 | 26 | 0.19865 | 0.096209 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_10_0_load_52 | 27 | 0.35105 | 0.17002 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_10_0_load_19 | 29 | 0.10943 | 0.053 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_10_0_load_47 | 30 | 0.12934 | 0.062642 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_10_0_load_23 | 31 | 0.11136 | 0.053934 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_10_0_load_222 | 34 | 0.31439 | 0.15227 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_10_0_load_228 | 36 | 1.1994 | 0.58091 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_10_0_load_27 | 37 | 0.33854 | 0.16396 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_10_0_load_29 | 39 | 0.26881 | 0.13019 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_10_0_load_223 | 41 | 0.099551 | 0.048215 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_10_0_load_31 | 42 | 0.19661 | 0.095222 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_10_0_load_32 | 43 | 0.18367 | 0.088953 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_10_0_load_227 | 48 | 0.088193 | 0.042714 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_10_0_load_266 | 49 | 0.056257 | 0.027247 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_10_0_load_265 | 50 | 0.19783 | 0.095816 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_10_0_load_41 | 51 | 0.16336 | 0.079119 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_10_0_load_220 | 53 | 0.10974 | 0.053148 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_10_0_load_45 | 54 | 0.11794 | 0.057121 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_10_0_load_50 | 55 | 0.056605 | 0.027415 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_10_0_load_286 | 58 | 0.12364 | 0.059883 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_10_0_load_194 | 59 | 0.40347 | 0.19541 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_10_0_load_213 | 63 | 0.12418 | 0.060141 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_10_0_load_204 | 65 | 0.32853 | 0.15912 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_10_0_load_288 | 68 | 0.41343 | 0.20023 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_10_0_load_289 | 69 | 0.087475 | 0.042366 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_10_0_load_258 | 71 | 0.36 | 0.17435 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_10_0_load_201 | 72 | 0.3011 | 0.14583 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_10_0_load_205 | 76 | 0.127 | 0.061508 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_10_0_load_208 | 78 | 0.057371 | 0.027786 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_10_0_load_211 | 81 | 0.12062 | 0.058417 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_10_0_load_221 | 82 | 0.21159 | 0.10248 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_10_0_load_232 | 83 | 0.36185 | 0.17525 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_10_0_load_215 | 84 | 0.33327 | 0.16141 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_10_0_load_217 | 85 | 0.3472 | 0.16816 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_10_0_load_244 | 87 | 0.090346 | 0.043757 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_10_0_load_230 | 91 | 0.10363 | 0.050192 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_10_0_load_229 | 92 | 0.33205 | 0.16082 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_10_0_load_287 | 93 | 0.25855 | 0.12522 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_10_0_load_290 | 96 | 0.28493 | 0.138 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_10_0_load_278 | 97 | 0.30064 | 0.14561 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_10_0_line_0 |  | 0 | 1 | 0.061672 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_10_0_line_1 |  | 1 | 2 | 0.00777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_10_0_line_2 |  | 2 | 3 | 0.2706 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_10_0_line_3 |  | 3 | 30 | 0.026325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_10_0_line_4 |  | 3 | 24 | 0.27136 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_10_0_line_5 |  | 4 | 5 | 0.99142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_10_0_line_6 |  | 4 | 6 | 0.20877 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_10_0_line_7 |  | 4 | 7 | 0.072851 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_10_0_line_8 |  | 4 | 8 | 0.021373 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_10_0_line_9 |  | 5 | 9 | 0.022963 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_10_0_line_10 |  | 6 | 11 | 0.051819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_10_0_line_11 |  | 7 | 27 | 0.04046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_10_0_line_12 |  | 8 | 22 | 0.005756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_10_0_line_13 |  | 9 | 10 | 1.5133 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_10_0_line_14 |  | 10 | 55 | 0.23519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_10_0_line_15 |  | 11 | 12 | 0.24731 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_10_0_line_16 |  | 12 | 93 | 0.071772 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_10_0_line_17 |  | 12 | 15 | 0.45213 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_10_0_line_18 |  | 12 | 16 | 0.48653 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
19 | MV_10_0_line_19 |  | 12 | 42 | 0.23538 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_10_0_line_20 |  | 13 | 14 | 0.30866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_10_0_line_21 |  | 13 | 15 | 0.02302 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_10_0_line_22 |  | 14 | 21 | 0.028105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_10_0_line_23 |  | 14 | 19 | 0.52522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_10_0_line_24 |  | 16 | 17 | 0.22639 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
25 | MV_10_0_line_25 |  | 16 | 18 | 0.042951 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_10_0_line_26 |  | 17 | 50 | 0.072093 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_10_0_line_27 |  | 19 | 20 | 0.090742 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_10_0_line_28 |  | 21 | 51 | 0.65842 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_10_0_line_29 |  | 21 | 52 | 0.1947 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_10_0_line_30 |  | 22 | 23 | 0.10853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_10_0_line_31 |  | 23 | 26 | 0.070575 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_10_0_line_32 |  | 23 | 24 | 0.087882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_10_0_line_33 |  | 24 | 25 | 0.037286 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_10_0_line_34 |  | 26 | 28 | 0.047235 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_10_0_line_35 |  | 28 | 29 | 0.051988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_10_0_line_36 |  | 30 | 56 | 0.033595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_10_0_line_37 |  | 31 | 32 | 0.076033 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_10_0_line_38 |  | 32 | 33 | 0.98191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_10_0_line_39 |  | 32 | 34 | 0.89585 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_10_0_line_40 |  | 33 | 37 | 0.040035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_10_0_line_41 |  | 33 | 35 | 0.34276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_10_0_line_42 |  | 34 | 82 | 0.072013 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_10_0_line_43 |  | 35 | 36 | 0.043603 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_10_0_line_44 |  | 36 | 47 | 0.041914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_10_0_line_45 |  | 37 | 38 | 0.10108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_10_0_line_46 |  | 38 | 39 | 0.11235 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_10_0_line_47 |  | 38 | 40 | 0.22178 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_10_0_line_48 |  | 40 | 41 | 0.11456 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_10_0_line_49 |  | 41 | 88 | 0.06331 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
50 | MV_10_0_line_50 |  | 43 | 44 | 0.058329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_10_0_line_51 |  | 44 | 45 | 0.76022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_10_0_line_52 |  | 45 | 49 | 0.17507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_10_0_line_53 |  | 46 | 47 | 0.017871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_10_0_line_54 |  | 46 | 48 | 0.018162 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_10_0_line_55 |  | 49 | 77 | 0.04785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_10_0_line_56 |  | 50 | 91 | 0.32133 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
57 | MV_10_0_line_57 |  | 52 | 53 | 0.038399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_10_0_line_58 |  | 54 | 55 | 1.6563 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_10_0_line_59 |  | 56 | 57 | 0.52042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_10_0_line_60 |  | 57 | 58 | 0.019922 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_10_0_line_61 |  | 59 | 60 | 0.039032 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
62 | MV_10_0_line_62 |  | 59 | 61 | 0.071698 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
63 | MV_10_0_line_63 |  | 60 | 62 | 0.3521 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
64 | MV_10_0_line_64 |  | 61 | 63 | 0.91791 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
65 | MV_10_0_line_65 |  | 62 | 64 | 0.28209 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
66 | MV_10_0_line_66 |  | 62 | 65 | 0.041424 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_10_0_line_67 |  | 63 | 83 | 1.6727 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
68 | MV_10_0_line_68 |  | 64 | 71 | 0.030832 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
69 | MV_10_0_line_69 |  | 64 | 67 | 0.53992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_10_0_line_70 |  | 66 | 67 | 0.2317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_10_0_line_71 |  | 66 | 68 | 0.020361 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_10_0_line_72 |  | 67 | 69 | 0.012165 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_10_0_line_73 |  | 67 | 70 | 0.54552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_10_0_line_74 |  | 70 | 87 | 0.049659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_10_0_line_75 |  | 70 | 86 | 0.59274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_10_0_line_76 |  | 71 | 94 | 0.032368 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
77 | MV_10_0_line_77 |  | 72 | 73 | 0.044303 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
78 | MV_10_0_line_78 |  | 72 | 74 | 0.53244 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
79 | MV_10_0_line_79 |  | 73 | 75 | 1.2902 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
80 | MV_10_0_line_80 |  | 74 | 97 | 0.050274 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_10_0_line_81 |  | 74 | 94 | 0.14207 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
82 | MV_10_0_line_82 |  | 75 | 76 | 0.037987 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_10_0_line_83 |  | 76 | 77 | 1.0398 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_10_0_line_84 |  | 77 | 84 | 2.0469 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_10_0_line_85 |  | 78 | 79 | 0.26004 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_10_0_line_86 |  | 79 | 80 | 0.7443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_10_0_line_87 |  | 79 | 81 | 2.8115 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_10_0_line_88 |  | 80 | 82 | 0.11817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_10_0_line_89 |  | 83 | 89 | 0.072599 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
90 | MV_10_0_line_90 |  | 85 | 86 | 0.049625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_10_0_line_91 |  | 88 | 89 | 0.21757 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
92 | MV_10_0_line_92 |  | 89 | 90 | 0.33352 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
93 | MV_10_0_line_93 |  | 90 | 91 | 0.030953 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
94 | MV_10_0_line_94 |  | 91 | 92 | 0.08945 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_10_0_line_95 |  | 94 | 95 | 0.35386 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_10_0_line_96 |  | 95 | 96 | 0.10195 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_10_0_trafo_223 | 25 MVA 110/20 kV | 98 | 41 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2711906.6035 | 1237372.4661
1 | 2711884.8899 | 1237430.1893
2 | 2711877.6914 | 1237427.2647
3 | 2711625.2443 | 1237524.703
4 | 2711783.126 | 1237238.8803
5 | 2712205.6275 | 1237428.6849
6 | 2711699.7437 | 1237047.4834
7 | 2711743.5603 | 1237300.0507
8 | 2711762.1262 | 1237242.855
9 | 2712211.1105 | 1237449.2826
10 | 2712753.0477 | 1238862.1654
11 | 2711689.666 | 1236996.6539
12 | 2711909.002 | 1236882.392
13 | 2711448.3667 | 1236892.5734
14 | 2711300.2157 | 1237086.8817
15 | 2711456.9206 | 1236875.9542
16 | 2711541.2219 | 1236563.8803
17 | 2711696.8161 | 1236401.0759
18 | 2711508.4102 | 1236536.1648
19 | 2711310.5112 | 1237486.2107
20 | 2711260.339 | 1237557.6603
21 | 2711274.5777 | 1237098.0657
22 | 2711756.5227 | 1237244.2395
23 | 2711654.7983 | 1237244.1487
24 | 2711647.8353 | 1237302.9196
25 | 2711619.6739 | 1237278.4823
26 | 2711584.0497 | 1237244.8198
27 | 2711731.0064 | 1237337.3884
28 | 2711536.6782 | 1237244.2741
29 | 2711484.54 | 1237243.6726
30 | 2711624.931 | 1237551.0179
31 | 2713373.6997 | 1236379.5347
32 | 2713419.9587 | 1236439.8765
33 | 2712758.2372 | 1235994.6513
34 | 2713800.512 | 1237250.8748
35 | 2712917.877 | 1235953.6287
36 | 2712916.7548 | 1235911.8068
37 | 2712722.9542 | 1235979.203
38 | 2712631.3184 | 1236019.5079
39 | 2712691.7656 | 1236112.116
40 | 2712519.0431 | 1235879.2591
41 | 2712448.4889 | 1235959.6035
42 | 2712054.0904 | 1237067.7397
43 | 2713076.9286 | 1235748.481
44 | 2713123.0943 | 1235712.8428
45 | 2713389.301 | 1235139.3209
46 | 2712905.73 | 1235865.1615
47 | 2712895.8652 | 1235876.394
48 | 2712896.3374 | 1235849.6708
49 | 2713554.4554 | 1235198.5436
50 | 2711756.2013 | 1236360.0717
51 | 2710635.7416 | 1237257.4579
52 | 2711210.5961 | 1237281.9564
53 | 2711245.5444 | 1237294.3749
54 | 2711031.2687 | 1239112.51
55 | 2712687.3404 | 1239086.7745
56 | 2711626.0428 | 1237584.4429
57 | 2711513.6405 | 1237884.3233
58 | 2711509.072 | 1237902.741
59 | 2712061.217 | 1233531.4482
60 | 2712084.9519 | 1233500.416
61 | 2712114.3038 | 1233579.8093
62 | 2712174.0853 | 1233218.7226
63 | 2711677.1867 | 1234386.9532
64 | 2712371.1 | 1233282.5158
65 | 2712202.7905 | 1233248.5876
66 | 2712242.0233 | 1232940.9444
67 | 2712106.8913 | 1233034.9341
68 | 2712245.5142 | 1232961.0037
69 | 2712108.466 | 1233046.9954
70 | 2711914.862 | 1233001.8009
71 | 2712397.7639 | 1233298.1321
72 | 2713090.5084 | 1233202.2248
73 | 2713131.3138 | 1233184.9713
74 | 2712569.0941 | 1233310.0059
75 | 2713960.633 | 1234173.3564
76 | 2713985.1297 | 1234202.4491
77 | 2713584.3329 | 1235161.908
78 | 2714088.4648 | 1238027.8168
79 | 2714203.7716 | 1237897.5402
80 | 2713978.9901 | 1237304.217
81 | 2716951.0335 | 1238495.0607
82 | 2713870.6196 | 1237267.3321
83 | 2712158.5991 | 1235988.8855
84 | 2715532.744 | 1235789.2374
85 | 2711763.6316 | 1233084.7755
86 | 2711737.0086 | 1233126.4296
87 | 2711950.3306 | 1232967.0451
88 | 2712434.3893 | 1236021.3237
89 | 2712225.6835 | 1236005.8767
90 | 2712018.877 | 1236173.739
91 | 2711999.2091 | 1236149.8383
92 | 2712037.0494 | 1236075.1824
93 | 2711858.7667 | 1236933.6529
94 | 2712427.3697 | 1233311.1466
95 | 2712489.6448 | 1233580.8242
96 | 2712583.8032 | 1233609.8741
97 | 2712619.3207 | 1233307.8223
98 | 2712448.4889 | 1235959.6035

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99111 | -0.14832 | 0.27003 | 0.13078
1 | 0.99115 | -0.14812 | 0.10847 | 0.052534
2 | 0.99115 | -0.14815 | 0 | 0
3 | 0.99135 | -0.14688 | 0 | 0
4 | 0.99194 | -0.15075 | 0 | 0
5 | 0.99131 | -0.14605 | 0 | 0
6 | 0.99293 | -0.14331 | 0.17715 | 0.085797
7 | 0.99189 | -0.15107 | 0 | 0
8 | 0.99187 | -0.15123 | 0.28246 | 0.1368
9 | 0.99129 | -0.14593 | 0.32863 | 0.15916
10 | 0.99079 | -0.15027 | 0 | 0
11 | 0.9931 | -0.14475 | 0 | 0
12 | 0.99435 | -0.13538 | 0 | 0
13 | 0.99325 | -0.14298 | 0 | 0
14 | 0.9929 | -0.14001 | 0 | 0
15 | 0.99328 | -0.1432 | 0.33206 | 0.16083
16 | 0.99683 | -0.072021 | 0 | 0
17 | 0.99739 | -0.065726 | 0 | 0
18 | 0.99681 | -0.072146 | 0.2395 | 0.11599
19 | 0.99271 | -0.13849 | 0 | 0
20 | 0.99267 | -0.13818 | 0.28377 | 0.13744
21 | 0.99287 | -0.13981 | 0.34514 | 0.16716
22 | 0.99186 | -0.15114 | 0 | 0
23 | 0.99168 | -0.14961 | 0 | 0
24 | 0.99157 | -0.14865 | 0 | 0
25 | 0.99154 | -0.14883 | 0.37621 | 0.18221
26 | 0.99165 | -0.14936 | 0.19865 | 0.096209
27 | 0.99187 | -0.1509 | 0.35105 | 0.17002
28 | 0.99165 | -0.1493 | 0 | 0
29 | 0.99164 | -0.14923 | 0.10943 | 0.053
30 | 0.99134 | -0.14683 | 0.12934 | 0.062642
31 | 0.9974 | 0.019512 | 0.11136 | 0.053934
32 | 0.99742 | 0.019615 | 0 | 0
33 | 0.99843 | 0.012669 | 0 | 0
34 | 0.99622 | 0.0096026 | 0.31439 | 0.15227
35 | 0.99786 | 0.017816 | 0 | 0
36 | 0.99779 | 0.018484 | 1.1994 | 0.58091
37 | 0.99853 | 0.011827 | 0.33854 | 0.16396
38 | 0.99885 | 0.0093025 | 0 | 0
39 | 0.99881 | 0.009655 | 0.26881 | 0.13019
40 | 0.99961 | 0.0031468 | 0 | 0
41 | 1 | 0 | -12.1017 | -5.5471
42 | 0.99426 | -0.13595 | 0.19661 | 0.095222
43 | 0.98314 | -0.37175 | 0.18367 | 0.088953
44 | 0.98316 | -0.37188 | 0 | 0
45 | 0.98333 | -0.37311 | 0 | 0
46 | 0.99779 | 0.018543 | 0 | 0
47 | 0.99779 | 0.018525 | 0 | 0
48 | 0.99778 | 0.018562 | 0.088193 | 0.042714
49 | 0.98337 | -0.37326 | 0.056257 | 0.027247
50 | 0.9975 | -0.065239 | 0.19783 | 0.095816
51 | 0.99266 | -0.14115 | 0.16336 | 0.079119
52 | 0.99283 | -0.14009 | 0 | 0
53 | 0.99283 | -0.14004 | 0.10974 | 0.053148
54 | 0.99035 | -0.15239 | 0.11794 | 0.057121
55 | 0.99073 | -0.14984 | 0.056605 | 0.027415
56 | 0.99134 | -0.1468 | 0 | 0
57 | 0.99125 | -0.14624 | 0 | 0
58 | 0.99125 | -0.14621 | 0.12364 | 0.059883
59 | 0.98756 | -0.30269 | 0.40347 | 0.19541
60 | 0.98749 | -0.30352 | 0 | 0
61 | 0.9877 | -0.301 | 0 | 0
62 | 0.98688 | -0.31095 | 0 | 0
63 | 0.99161 | -0.19787 | 0.12418 | 0.060141
64 | 0.98644 | -0.3163 | 0 | 0
65 | 0.98685 | -0.31112 | 0.32853 | 0.15912
66 | 0.98567 | -0.31036 | 0 | 0
67 | 0.98579 | -0.3115 | 0 | 0
68 | 0.98565 | -0.31047 | 0.41343 | 0.20023
69 | 0.98579 | -0.31149 | 0.087475 | 0.042366
70 | 0.98549 | -0.30936 | 0 | 0
71 | 0.9864 | -0.31668 | 0.36 | 0.17435
72 | 0.98565 | -0.33482 | 0.3011 | 0.14583
73 | 0.98563 | -0.33503 | 0 | 0
74 | 0.98628 | -0.31819 | 0 | 0
75 | 0.98457 | -0.36368 | 0 | 0
76 | 0.98454 | -0.36342 | 0.127 | 0.061508
77 | 0.98339 | -0.37333 | 0 | 0
78 | 0.99596 | 0.0099654 | 0.057371 | 0.027786
79 | 0.99598 | 0.0098369 | 0 | 0
80 | 0.99614 | 0.0091133 | 0 | 0
81 | 0.99532 | 0.0053021 | 0.12062 | 0.058417
82 | 0.99617 | 0.009076 | 0.21159 | 0.10248
83 | 0.99899 | -0.005865 | 0.36185 | 0.17525
84 | 0.98205 | -0.38208 | 0.33327 | 0.16141
85 | 0.9852 | -0.30693 | 0.3472 | 0.16816
86 | 0.98522 | -0.30714 | 0 | 0
87 | 0.98548 | -0.30931 | 0.090346 | 0.043757
88 | 0.99981 | -0.00090931 | 0 | 0
89 | 0.99915 | -0.0040086 | 0 | 0
90 | 0.99858 | -0.0065601 | 0 | 0
91 | 0.99853 | -0.0067918 | 0.10363 | 0.050192
92 | 0.99849 | -0.0064415 | 0.33205 | 0.16082
93 | 0.99432 | -0.13561 | 0.25855 | 0.12522
94 | 0.98638 | -0.31701 | 0 | 0
95 | 0.98625 | -0.31592 | 0 | 0
96 | 0.98621 | -0.31557 | 0.28493 | 0.138
97 | 0.98625 | -0.31838 | 0.30064 | 0.14561
98 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.27003 | -0.13078 | 0.27004 | 0.13071 | 8.3904e-06 | -6.7069e-05 | 0.0087388 | 0.0087379 | 0.0087388 | 0.99111 | -0.14832 | 0.99115 | -0.14812 | 4.1614
1 | -0.37851 | -0.18325 | 0.37851 | 0.18307 | 1.5558e-06 | -0.00018178 | 0.012248 | 0.012246 | 0.012248 | 0.99115 | -0.14812 | 0.99115 | -0.14815 | 5.5673
2 | -0.37851 | -0.18307 | 0.37858 | 0.18279 | 7.2276e-05 | -0.00027214 | 0.012246 | 0.012242 | 0.012246 | 0.99115 | -0.14815 | 0.99135 | -0.14688 | 5.8313
3 | 0.253 | 0.10845 | -0.25299 | -0.10906 | 2.2599e-06 | -0.00061704 | 0.0080154 | 0.0080225 | 0.0080225 | 0.99135 | -0.14688 | 0.99134 | -0.14683 | 3.6466
4 | -0.63158 | -0.29124 | 0.63172 | 0.28491 | 0.00014802 | -0.0063249 | 0.020252 | 0.020175 | 0.020252 | 0.99135 | -0.14688 | 0.99157 | -0.14865 | 9.2056
5 | 0.50365 | 0.21084 | -0.50331 | -0.23402 | 0.00033984 | -0.023176 | 0.01589 | 0.016164 | 0.016164 | 0.99194 | -0.15075 | 0.99131 | -0.14605 | 7.3471
6 | -2.4537 | -1.1244 | 2.456 | 1.1255 | 0.0022949 | 0.001192 | 0.078548 | 0.078545 | 0.078548 | 0.99194 | -0.15075 | 0.99293 | -0.14331 | 37.4038
7 | 0.35107 | 0.169 | -0.35105 | -0.16907 | 1.669e-05 | -7.5115e-05 | 0.011339 | 0.01134 | 0.01134 | 0.99194 | -0.15075 | 0.99189 | -0.15107 | 5.4
8 | 1.599 | 0.74452 | -1.5989 | -0.74448 | 0.00010034 | 3.7743e-05 | 0.051331 | 0.051331 | 0.051331 | 0.99194 | -0.15075 | 0.99187 | -0.15123 | 24.4434
9 | 0.50331 | 0.23402 | -0.50331 | -0.23455 | 8.0125e-06 | -0.00053639 | 0.016164 | 0.01617 | 0.01617 | 0.99131 | -0.14605 | 0.99129 | -0.14593 | 7.3501
10 | -2.6332 | -1.2113 | 2.6336 | 1.2103 | 0.00049114 | -0.0010743 | 0.084266 | 0.084252 | 0.084266 | 0.99293 | -0.14331 | 0.9931 | -0.14475 | 38.3029
11 | 0.35105 | 0.16907 | -0.35105 | -0.17002 | 6.9534e-06 | -0.00094834 | 0.01134 | 0.011352 | 0.011352 | 0.99189 | -0.15107 | 0.99187 | -0.1509 | 5.16
12 | 1.3164 | 0.60768 | -1.3164 | -0.60781 | 1.3684e-05 | -0.00013115 | 0.042198 | 0.0422 | 0.0422 | 0.99187 | -0.15123 | 0.99186 | -0.15114 | 19.1819
13 | 0.17468 | 0.075391 | -0.1746 | -0.077114 | 8.3071e-05 | -0.0017223 | 0.0055405 | 0.0055611 | 0.0055611 | 0.99129 | -0.14593 | 0.99079 | -0.15027 | 2.6482
14 | 0.1746 | 0.077114 | -0.17459 | -0.082623 | 9.8254e-06 | -0.0055092 | 0.0055611 | 0.0056279 | 0.0056279 | 0.99079 | -0.15027 | 0.99073 | -0.14984 | 2.5582
15 | -2.6336 | -1.2103 | 2.6368 | 1.2119 | 0.0031277 | 0.0016675 | 0.084252 | 0.084248 | 0.084252 | 0.9931 | -0.14475 | 0.99435 | -0.13538 | 40.1198
16 | 0.25856 | 0.12514 | -0.25855 | -0.12522 | 8.8944e-06 | -7.9143e-05 | 0.0083394 | 0.0083405 | 0.0083405 | 0.99435 | -0.13538 | 0.99432 | -0.13561 | 3.9717
17 | 1.2358 | 0.57323 | -1.2346 | -0.57297 | 0.0012602 | 0.00025626 | 0.039549 | 0.039556 | 0.039556 | 0.99435 | -0.13538 | 0.99328 | -0.1432 | 18.8361
18 | -4.3278 | -2.0053 | 4.3363 | 2.0144 | 0.0085637 | 0.0091891 | 0.13847 | 0.13847 | 0.13847 | 0.99435 | -0.13538 | 0.99683 | -0.072021 | 39.5638
19 | 0.19663 | 0.094955 | -0.19661 | -0.095222 | 1.6862e-05 | -0.00026725 | 0.0063391 | 0.0063426 | 0.0063426 | 0.99435 | -0.13538 | 0.99426 | -0.13595 | 3.0203
20 | 0.90247 | 0.41268 | -0.90213 | -0.41984 | 0.00034382 | -0.007166 | 0.028841 | 0.02893 | 0.02893 | 0.99325 | -0.14298 | 0.9929 | -0.14001 | 13.1499
21 | -0.90247 | -0.41268 | 0.9025 | 0.41214 | 2.5557e-05 | -0.00053467 | 0.028841 | 0.028835 | 0.028841 | 0.99325 | -0.14298 | 0.99328 | -0.1432 | 13.1097
22 | 0.61829 | 0.29688 | -0.61827 | -0.29754 | 1.4926e-05 | -0.00065709 | 0.019941 | 0.019949 | 0.019949 | 0.9929 | -0.14001 | 0.99287 | -0.13981 | 9.0679
23 | 0.28384 | 0.12296 | -0.28378 | -0.1353 | 5.7635e-05 | -0.012343 | 0.0089934 | 0.0091422 | 0.0091422 | 0.9929 | -0.14001 | 0.99271 | -0.13849 | 4.1555
24 | -4.5758 | -2.1304 | 4.5782 | 2.1244 | 0.0023348 | -0.0060252 | 0.14617 | 0.14608 | 0.14617 | 0.99683 | -0.072021 | 0.99739 | -0.065726 | 40.3787
25 | 0.2395 | 0.11595 | -0.2395 | -0.11599 | 4.5445e-06 | -4.8103e-05 | 0.0077059 | 0.0077065 | 0.0077065 | 0.99683 | -0.072021 | 0.99681 | -0.072146 | 3.6698
26 | -4.5782 | -2.1244 | 4.5787 | 2.1201 | 0.00047517 | -0.0042391 | 0.14608 | 0.14602 | 0.14608 | 0.99739 | -0.065726 | 0.9975 | -0.065239 | 22.896
27 | 0.28378 | 0.1353 | -0.28377 | -0.13744 | 1.0155e-05 | -0.002132 | 0.0091422 | 0.0091691 | 0.0091691 | 0.99271 | -0.13849 | 0.99267 | -0.13818 | 4.1678
28 | 0.16339 | 0.078365 | -0.16336 | -0.079119 | 3.2625e-05 | -0.00075426 | 0.0052687 | 0.0052785 | 0.0052785 | 0.99287 | -0.13981 | 0.99266 | -0.14115 | 2.5136
29 | 0.10974 | 0.052018 | -0.10974 | -0.052245 | 4.3288e-06 | -0.00022642 | 0.003531 | 0.0035339 | 0.0035339 | 0.99287 | -0.13981 | 0.99283 | -0.14009 | 1.6828
30 | 1.3164 | 0.60781 | -1.3162 | -0.61028 | 0.00025822 | -0.0024723 | 0.0422 | 0.042231 | 0.042231 | 0.99186 | -0.15114 | 0.99168 | -0.14961 | 19.196
31 | 0.30809 | 0.14523 | -0.30808 | -0.14688 | 9.2812e-06 | -0.0016543 | 0.0099148 | 0.0099355 | 0.0099355 | 0.99168 | -0.14961 | 0.99165 | -0.14936 | 4.5161
32 | 1.0081 | 0.46506 | -1.0079 | -0.46708 | 0.00012262 | -0.0020269 | 0.032317 | 0.032342 | 0.032342 | 0.99168 | -0.14961 | 0.99157 | -0.14865 | 14.7008
33 | 0.37622 | 0.18217 | -0.37621 | -0.18221 | 9.8386e-06 | -3.7601e-05 | 0.012169 | 0.01217 | 0.01217 | 0.99157 | -0.14865 | 0.99154 | -0.14883 | 5.7952
34 | 0.10943 | 0.050671 | -0.10943 | -0.05178 | 7.8017e-07 | -0.0011088 | 0.0035106 | 0.0035243 | 0.0035243 | 0.99165 | -0.14936 | 0.99165 | -0.1493 | 1.6019
35 | 0.10943 | 0.05178 | -0.10943 | -0.053 | 8.6578e-07 | -0.0012204 | 0.0035243 | 0.0035396 | 0.0035396 | 0.99165 | -0.1493 | 0.99164 | -0.14923 | 1.6089
36 | 0.12366 | 0.046421 | -0.12365 | -0.047209 | 6.6486e-07 | -0.00078809 | 0.0038462 | 0.0038543 | 0.0038543 | 0.99134 | -0.14683 | 0.99134 | -0.1468 | 1.752
37 | -0.11136 | -0.053934 | 0.11136 | 0.053845 | 1.7368e-06 | -8.9211e-05 | 0.0035812 | 0.00358 | 0.0035812 | 0.9974 | 0.019512 | 0.99742 | 0.019615 | 1.7053
38 | -0.81625 | -0.36429 | 0.81712 | 0.3412 | 0.00086813 | -0.023089 | 0.02587 | 0.025602 | 0.02587 | 0.99742 | 0.019615 | 0.99843 | 0.012669 | 11.7592
39 | 0.70489 | 0.31045 | -0.7041 | -0.31101 | 0.00079362 | -0.00056557 | 0.022292 | 0.022305 | 0.022305 | 0.99742 | 0.019615 | 0.99622 | 0.0096026 | 10.6212
40 | -2.1056 | -0.95404 | 2.1059 | 0.95316 | 0.00023872 | -0.00088216 | 0.066837 | 0.066826 | 0.066837 | 0.99843 | 0.012669 | 0.99853 | 0.011827 | 30.3807
41 | 1.2885 | 0.61284 | -1.2877 | -0.62076 | 0.00078066 | -0.0079219 | 0.041254 | 0.041355 | 0.041355 | 0.99843 | 0.012669 | 0.99786 | 0.017816 | 18.7979
42 | 0.38971 | 0.15875 | -0.38969 | -0.15882 | 1.9079e-05 | -7.3366e-05 | 0.012194 | 0.012195 | 0.012195 | 0.99622 | 0.0096026 | 0.99617 | 0.009076 | 5.8069
43 | 1.2877 | 0.62076 | -1.2876 | -0.62177 | 9.9586e-05 | -0.001007 | 0.041355 | 0.041368 | 0.041368 | 0.99786 | 0.017816 | 0.99779 | 0.018484 | 18.8038
44 | 0.088194 | 0.040861 | -0.088194 | -0.041858 | 4.4442e-07 | -0.00099619 | 0.0028121 | 0.0028244 | 0.0028244 | 0.99779 | 0.018484 | 0.99779 | 0.018525 | 1.2838
45 | -2.4444 | -1.1171 | 2.4452 | 1.115 | 0.00081433 | -0.0021655 | 0.077697 | 0.077669 | 0.077697 | 0.99853 | 0.011827 | 0.99885 | 0.0093025 | 35.317
46 | 0.26883 | 0.12752 | -0.26881 | -0.13019 | 1.1134e-05 | -0.0026729 | 0.0085991 | 0.0086325 | 0.0086325 | 0.99885 | 0.0093025 | 0.99881 | 0.009655 | 3.9239
47 | -2.714 | -1.2425 | 2.7162 | 1.2378 | 0.0022017 | -0.0046339 | 0.086267 | 0.086203 | 0.086267 | 0.99885 | 0.0093025 | 0.99961 | 0.0031468 | 39.2122
48 | -2.7162 | -1.2378 | 2.7174 | 1.2354 | 0.0011361 | -0.0023972 | 0.086203 | 0.086171 | 0.086203 | 0.99961 | 0.0031468 | 1 | 0 | 39.1833
49 | 9.3703 | 4.3012 | -9.3686 | -4.3042 | 0.0017333 | -0.0030011 | 0.29763 | 0.29768 | 0.29768 | 1 | 0 | 0.99981 | -0.00090931 | 46.6586
50 | -0.18367 | -0.088953 | 0.18367 | 0.087608 | 2.7879e-06 | -0.0013453 | 0.0059921 | 0.005975 | 0.0059921 | 0.98314 | -0.37175 | 0.98316 | -0.37188 | 2.7237
51 | -0.18367 | -0.087608 | 0.1837 | 0.070071 | 3.4954e-05 | -0.017537 | 0.005975 | 0.0057719 | 0.005975 | 0.98316 | -0.37188 | 0.98333 | -0.37311 | 2.7159
52 | -0.1837 | -0.070071 | 0.18371 | 0.066031 | 7.7303e-06 | -0.0040398 | 0.0057719 | 0.0057307 | 0.0057719 | 0.98333 | -0.37311 | 0.98337 | -0.37326 | 2.6236
53 | -0.088193 | -0.042282 | 0.088194 | 0.041858 | 1.9067e-07 | -0.00042475 | 0.0028297 | 0.0028244 | 0.0028297 | 0.99779 | 0.018543 | 0.99779 | 0.018525 | 1.2862
54 | 0.088193 | 0.042282 | -0.088193 | -0.042714 | 1.9452e-07 | -0.00043166 | 0.0028297 | 0.0028351 | 0.0028351 | 0.99779 | 0.018543 | 0.99778 | 0.018562 | 1.2887
55 | -0.23997 | -0.093277 | 0.23997 | 0.092174 | 3.6432e-06 | -0.0011037 | 0.0075579 | 0.0075462 | 0.0075579 | 0.98337 | -0.37326 | 0.98339 | -0.37333 | 3.4354
56 | -4.7765 | -2.2159 | 4.7792 | 2.2227 | 0.0026636 | 0.0067202 | 0.15238 | 0.15238 | 0.15238 | 0.9975 | -0.065239 | 0.99853 | -0.0067918 | 23.6252
57 | 0.10974 | 0.052245 | -0.10974 | -0.053148 | 6.4224e-07 | -0.00090353 | 0.0035339 | 0.0035453 | 0.0035453 | 0.99283 | -0.14009 | 0.99283 | -0.14004 | 1.6115
58 | -0.11794 | -0.057121 | 0.11798 | 0.055208 | 4.2781e-05 | -0.0019133 | 0.0038198 | 0.0037955 | 0.0038198 | 0.99035 | -0.15239 | 0.99073 | -0.14984 | 1.8189
59 | 0.12365 | 0.047209 | -0.12364 | -0.059416 | 1.0683e-05 | -0.012207 | 0.0038543 | 0.003995 | 0.003995 | 0.99134 | -0.1468 | 0.99125 | -0.14624 | 1.8159
60 | 0.12364 | 0.059416 | -0.12364 | -0.059883 | 4.2508e-07 | -0.00046725 | 0.003995 | 0.0040009 | 0.0040009 | 0.99125 | -0.14624 | 0.99125 | -0.14621 | 1.8186
61 | 3.2205 | 1.4421 | -3.2203 | -1.4433 | 0.00020061 | -0.0011601 | 0.10315 | 0.10316 | 0.10316 | 0.98756 | -0.30269 | 0.98749 | -0.30352 | 28.498
62 | -3.624 | -1.6376 | 3.6245 | 1.6355 | 0.00046785 | -0.0020592 | 0.11625 | 0.11622 | 0.11625 | 0.98756 | -0.30269 | 0.9877 | -0.301 | 32.1123
63 | 3.2203 | 1.4433 | -3.2185 | -1.4538 | 0.0018124 | -0.010455 | 0.10316 | 0.1033 | 0.1033 | 0.98749 | -0.30352 | 0.98688 | -0.31095 | 28.537
64 | -3.6245 | -1.6355 | 3.6358 | 1.6474 | 0.01138 | 0.011886 | 0.11622 | 0.1162 | 0.11622 | 0.9877 | -0.301 | 0.99161 | -0.19787 | 33.205
65 | 2.89 | 1.2947 | -2.8888 | -1.3033 | 0.0011705 | -0.0085704 | 0.092631 | 0.092744 | 0.092744 | 0.98688 | -0.31095 | 0.98644 | -0.3163 | 25.6199
66 | 0.32854 | 0.15907 | -0.32853 | -0.15912 | 8.4147e-06 | -4.289e-05 | 0.010677 | 0.010678 | 0.010678 | 0.98688 | -0.31095 | 0.98685 | -0.31112 | 5.0848
67 | -3.76 | -1.7075 | 3.7822 | 1.7308 | 0.022188 | 0.023296 | 0.12022 | 0.12019 | 0.12022 | 0.99161 | -0.19787 | 0.99899 | -0.005865 | 34.3484
68 | 1.9494 | 0.89536 | -1.9493 | -0.89635 | 5.87e-05 | -0.00098654 | 0.062777 | 0.06279 | 0.06279 | 0.98644 | -0.3163 | 0.9864 | -0.31668 | 17.3452
69 | 0.93942 | 0.40789 | -0.93877 | -0.42023 | 0.00065065 | -0.012343 | 0.029971 | 0.030119 | 0.030119 | 0.98644 | -0.3163 | 0.98579 | -0.3115 | 13.6905
70 | -0.41344 | -0.20021 | 0.41349 | 0.19486 | 5.5703e-05 | -0.0053588 | 0.013454 | 0.013386 | 0.013454 | 0.98567 | -0.31036 | 0.98579 | -0.3115 | 6.1153
71 | 0.41344 | 0.20021 | -0.41343 | -0.20023 | 6.5662e-06 | -1.9502e-05 | 0.013454 | 0.013454 | 0.013454 | 0.98567 | -0.31036 | 0.98565 | -0.31047 | 6.4066
72 | 0.087475 | 0.042084 | -0.087475 | -0.042366 | 1.314e-07 | -0.00028222 | 0.0028426 | 0.0028462 | 0.0028462 | 0.98579 | -0.3115 | 0.98579 | -0.31149 | 1.2937
73 | 0.4378 | 0.18329 | -0.43766 | -0.19591 | 0.00014215 | -0.012611 | 0.013899 | 0.014046 | 0.014046 | 0.98579 | -0.3115 | 0.98549 | -0.30936 | 6.3845
74 | 0.090347 | 0.042605 | -0.090346 | -0.043757 | 5.7039e-07 | -0.0011513 | 0.002926 | 0.0029406 | 0.0029406 | 0.98549 | -0.30936 | 0.98548 | -0.30931 | 1.3366
75 | 0.34731 | 0.1533 | -0.34721 | -0.16701 | 9.9323e-05 | -0.013711 | 0.011121 | 0.011289 | 0.011289 | 0.98549 | -0.30936 | 0.98522 | -0.30714 | 5.1315
76 | 1.5893 | 0.722 | -1.5893 | -0.72305 | 4.0812e-05 | -0.0010507 | 0.051087 | 0.0511 | 0.0511 | 0.9864 | -0.31668 | 0.98638 | -0.31701 | 14.116
77 | 0.70193 | 0.30896 | -0.70192 | -0.31043 | 1.0804e-05 | -0.0014687 | 0.022461 | 0.022479 | 0.022479 | 0.98565 | -0.33482 | 0.98563 | -0.33503 | 6.2096
78 | -1.003 | -0.45479 | 1.0035 | 0.45472 | 0.0005084 | -6.892e-05 | 0.032255 | 0.032247 | 0.032255 | 0.98565 | -0.33482 | 0.98628 | -0.31819 | 9.2158
79 | 0.70192 | 0.31043 | -0.70132 | -0.31132 | 0.00059899 | -0.00088827 | 0.022479 | 0.022498 | 0.022498 | 0.98563 | -0.33503 | 0.98457 | -0.36368 | 6.4279
80 | 0.30065 | 0.14555 | -0.30064 | -0.14561 | 8.5624e-06 | -5.3016e-05 | 0.0097767 | 0.0097774 | 0.0097774 | 0.98628 | -0.31819 | 0.98625 | -0.31838 | 4.6559
81 | -1.3042 | -0.60028 | 1.3043 | 0.59562 | 0.00012101 | -0.0046537 | 0.042022 | 0.041964 | 0.042022 | 0.98628 | -0.31819 | 0.98638 | -0.31701 | 11.6082
82 | 0.70132 | 0.31132 | -0.70129 | -0.31219 | 2.568e-05 | -0.00087156 | 0.022498 | 0.022508 | 0.022508 | 0.98457 | -0.36368 | 0.98454 | -0.36342 | 10.2309
83 | 0.5743 | 0.25068 | -0.57367 | -0.25149 | 0.00062588 | -0.0008098 | 0.018373 | 0.018387 | 0.018387 | 0.98454 | -0.36342 | 0.98339 | -0.37333 | 8.7559
84 | 0.3337 | 0.15932 | -0.33327 | -0.16141 | 0.00043091 | -0.00209 | 0.010855 | 0.010885 | 0.010885 | 0.98339 | -0.37333 | 0.98205 | -0.38208 | 5.1833
85 | -0.057371 | -0.027786 | 0.057372 | 0.021628 | 1.138e-06 | -0.0061584 | 0.0018477 | 0.0017771 | 0.0018477 | 0.99596 | 0.0099654 | 0.99598 | 0.0098369 | 0.83984
86 | -0.17806 | -0.076764 | 0.17809 | 0.059142 | 3.0321e-05 | -0.017622 | 0.0056202 | 0.0054382 | 0.0056202 | 0.99598 | 0.0098369 | 0.99614 | 0.0091133 | 2.5546
87 | 0.12069 | 0.055137 | -0.12062 | -0.058417 | 7.4874e-05 | -0.0032803 | 0.0038459 | 0.0038869 | 0.0038869 | 0.99598 | 0.0098369 | 0.99532 | 0.0053021 | 1.8509
88 | -0.17809 | -0.059142 | 0.1781 | 0.056344 | 4.6436e-06 | -0.0027983 | 0.0054382 | 0.0054132 | 0.0054382 | 0.99614 | 0.0091133 | 0.99617 | 0.009076 | 2.4719
89 | -4.1441 | -1.9061 | 4.1447 | 1.904 | 0.00060908 | -0.0020433 | 0.13181 | 0.13178 | 0.13181 | 0.99899 | -0.005865 | 0.99915 | -0.0040086 | 36.4116
90 | -0.3472 | -0.16816 | 0.34721 | 0.16701 | 8.4542e-06 | -0.0011476 | 0.011304 | 0.011289 | 0.011304 | 0.9852 | -0.30693 | 0.98522 | -0.30714 | 5.1381
91 | 9.3686 | 4.3042 | -9.3626 | -4.3145 | 0.0059609 | -0.0103 | 0.29768 | 0.29785 | 0.29785 | 0.99981 | -0.00090931 | 0.99915 | -0.0040086 | 46.6845
92 | 5.218 | 2.4105 | -5.2151 | -2.4298 | 0.0028465 | -0.019305 | 0.16607 | 0.16632 | 0.16632 | 0.99915 | -0.0040086 | 0.99858 | -0.0065601 | 26.0692
93 | 5.2151 | 2.4298 | -5.2149 | -2.4316 | 0.00026462 | -0.0017902 | 0.16632 | 0.16635 | 0.16635 | 0.99858 | -0.0065601 | 0.99853 | -0.0067918 | 26.0729
94 | 0.33207 | 0.15869 | -0.33205 | -0.16082 | 1.3553e-05 | -0.0021253 | 0.01064 | 0.010667 | 0.010667 | 0.99853 | -0.0067918 | 0.99849 | -0.0064415 | 4.8485
95 | 0.28498 | 0.12743 | -0.28494 | -0.13563 | 3.9861e-05 | -0.0082073 | 0.0091361 | 0.0092369 | 0.0092369 | 0.98638 | -0.31701 | 0.98625 | -0.31592 | 4.1986
96 | 0.28494 | 0.13563 | -0.28493 | -0.138 | 1.165e-05 | -0.0023641 | 0.0092369 | 0.0092669 | 0.0092669 | 0.98625 | -0.31592 | 0.98621 | -0.31557 | 4.2122

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.2013 | 5.5953

## res_load
| p_mw | q_mvar
0 | 0.27003 | 0.13078
1 | 0.10847 | 0.052534
2 | 0.17715 | 0.085797
3 | 0.28246 | 0.1368
4 | 0.32863 | 0.15916
5 | 0.33206 | 0.16083
6 | 0.2395 | 0.11599
7 | 0.28377 | 0.13744
8 | 0.34514 | 0.16716
9 | 0.37621 | 0.18221
10 | 0.19865 | 0.096209
11 | 0.35105 | 0.17002
12 | 0.10943 | 0.053
13 | 0.12934 | 0.062642
14 | 0.11136 | 0.053934
15 | 0.31439 | 0.15227
16 | 1.1994 | 0.58091
17 | 0.33854 | 0.16396
18 | 0.26881 | 0.13019
19 | 0.099551 | 0.048215
20 | 0.19661 | 0.095222
21 | 0.18367 | 0.088953
22 | 0.088193 | 0.042714
23 | 0.056257 | 0.027247
24 | 0.19783 | 0.095816
25 | 0.16336 | 0.079119
26 | 0.10974 | 0.053148
27 | 0.11794 | 0.057121
28 | 0.056605 | 0.027415
29 | 0.12364 | 0.059883
30 | 0.40347 | 0.19541
31 | 0.12418 | 0.060141
32 | 0.32853 | 0.15912
33 | 0.41343 | 0.20023
34 | 0.087475 | 0.042366
35 | 0.36 | 0.17435
36 | 0.3011 | 0.14583
37 | 0.127 | 0.061508
38 | 0.057371 | 0.027786
39 | 0.12062 | 0.058417
40 | 0.21159 | 0.10248
41 | 0.36185 | 0.17525
42 | 0.33327 | 0.16141
43 | 0.3472 | 0.16816
44 | 0.090346 | 0.043757
45 | 0.10363 | 0.050192
46 | 0.33205 | 0.16082
47 | 0.25855 | 0.12522
48 | 0.28493 | 0.138
49 | 0.30064 | 0.14561

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1