## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_110_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_110_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_110_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_110_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_110_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_110_0_node_5 | 20 | n |  | TRUE
6 | bus_MV_110_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_110_0_node_7 | 20 | n |  | TRUE
8 | bus_MV_110_0_node_9 | 20 | n |  | TRUE
9 | bus_MV_110_0_node_251 | 20 | n |  | TRUE
10 | bus_MV_110_0_node_12 | 20 | n |  | TRUE
11 | bus_MV_110_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_110_0_node_11 | 20 | n |  | TRUE
13 | bus_MV_110_0_node_90 | 20 | n |  | TRUE
14 | bus_MV_110_0_node_93 | 20 | n |  | TRUE
15 | bus_MV_110_0_node_10 | 20 | n |  | TRUE
16 | bus_MV_110_0_node_85 | 20 | n |  | TRUE
17 | bus_MV_110_0_node_212 | 20 | n |  | TRUE
18 | bus_MV_110_0_node_258 | 20 | n |  | TRUE
19 | bus_MV_110_0_node_13 | 20 | n |  | TRUE
20 | bus_MV_110_0_node_14 | 20 | n |  | TRUE
21 | bus_MV_110_0_node_286 | 20 | n |  | TRUE
22 | bus_MV_110_0_node_15 | 20 | n |  | TRUE
23 | bus_MV_110_0_node_16 | 20 | n |  | TRUE
24 | bus_MV_110_0_node_22 | 20 | n |  | TRUE
25 | bus_MV_110_0_node_17 | 20 | n |  | TRUE
26 | bus_MV_110_0_node_81 | 20 | n |  | TRUE
27 | bus_MV_110_0_node_18 | 20 | n |  | TRUE
28 | bus_MV_110_0_node_20 | 20 | n |  | TRUE
29 | bus_MV_110_0_node_67 | 20 | n |  | TRUE
30 | bus_MV_110_0_node_34 | 20 | n |  | TRUE
31 | bus_MV_110_0_node_19 | 20 | n |  | TRUE
32 | bus_MV_110_0_node_87 | 20 | n |  | TRUE
33 | bus_MV_110_0_node_72 | 20 | n |  | TRUE
34 | bus_MV_110_0_node_21 | 20 | n |  | TRUE
35 | bus_MV_110_0_node_71 | 20 | n |  | TRUE
36 | bus_MV_110_0_node_59 | 20 | n |  | TRUE
37 | bus_MV_110_0_node_94 | 20 | n |  | TRUE
38 | bus_MV_110_0_node_23 | 20 | n |  | TRUE
39 | bus_MV_110_0_node_24 | 20 | n |  | TRUE
40 | bus_MV_110_0_node_25 | 20 | n |  | TRUE
41 | bus_MV_110_0_node_260 | 20 | n |  | TRUE
42 | bus_MV_110_0_node_26 | 20 | n |  | TRUE
43 | bus_MV_110_0_node_240 | 20 | n |  | TRUE
44 | bus_MV_110_0_node_261 | 20 | n |  | TRUE
45 | bus_MV_110_0_node_27 | 20 | n |  | TRUE
46 | bus_MV_110_0_node_28 | 20 | n |  | TRUE
47 | bus_MV_110_0_node_217 | 20 | n |  | TRUE
48 | bus_MV_110_0_node_29 | 20 | n |  | TRUE
49 | bus_MV_110_0_node_30 | 20 | n |  | TRUE
50 | bus_MV_110_0_node_31 | 20 | n |  | TRUE
51 | bus_MV_110_0_node_32 | 20 | n |  | TRUE
52 | bus_MV_110_0_node_39 | 20 | n |  | TRUE
53 | bus_MV_110_0_node_35 | 20 | n |  | TRUE
54 | bus_MV_110_0_node_213 | 20 | n |  | TRUE
55 | bus_MV_110_0_node_36 | 20 | n |  | TRUE
56 | bus_MV_110_0_node_37 | 20 | n |  | TRUE
57 | bus_MV_110_0_node_40 | 20 | n |  | TRUE
58 | bus_MV_110_0_node_70 | 20 | n |  | TRUE
59 | bus_MV_110_0_node_38 | 20 | n |  | TRUE
60 | bus_MV_110_0_node_84 | 20 | n |  | TRUE
61 | bus_MV_110_0_node_256 | 20 | n |  | TRUE
62 | bus_MV_110_0_node_235 | 20 | n |  | TRUE
63 | bus_MV_110_0_node_47 | 20 | n |  | TRUE
64 | bus_MV_110_0_node_48 | 20 | n |  | TRUE
65 | bus_MV_110_0_node_49 | 20 | n |  | TRUE
66 | bus_MV_110_0_node_245 | 20 | n |  | TRUE
67 | bus_MV_110_0_node_215 | 20 | n |  | TRUE
68 | bus_MV_110_0_node_50 | 20 | n |  | TRUE
69 | bus_MV_110_0_node_51 | 20 | n |  | TRUE
70 | bus_MV_110_0_node_52 | 20 | n |  | TRUE
71 | bus_MV_110_0_node_259 | 20 | n |  | TRUE
72 | bus_MV_110_0_node_263 | 20 | n |  | TRUE
73 | bus_MV_110_0_node_54 | 20 | n |  | TRUE
74 | bus_MV_110_0_node_55 | 20 | n |  | TRUE
75 | bus_MV_110_0_node_56 | 20 | n |  | TRUE
76 | bus_MV_110_0_node_57 | 20 | n |  | TRUE
77 | bus_MV_110_0_node_58 | 20 | n |  | TRUE
78 | bus_MV_110_0_node_60 | 20 | n |  | TRUE
79 | bus_MV_110_0_node_78 | 20 | n |  | TRUE
80 | bus_MV_110_0_node_61 | 20 | n |  | TRUE
81 | bus_MV_110_0_node_62 | 20 | n |  | TRUE
82 | bus_MV_110_0_node_63 | 20 | n |  | TRUE
83 | bus_MV_110_0_node_65 | 20 | n |  | TRUE
84 | bus_MV_110_0_node_242 | 20 | n |  | TRUE
85 | bus_MV_110_0_node_64 | 20 | n |  | TRUE
86 | bus_MV_110_0_node_66 | 20 | n |  | TRUE
87 | bus_MV_110_0_node_92 | 20 | n |  | TRUE
88 | bus_MV_110_0_node_91 | 20 | n |  | TRUE
89 | bus_MV_110_0_node_236 | 20 | n |  | TRUE
90 | bus_MV_110_0_node_68 | 20 | n |  | TRUE
91 | bus_MV_110_0_node_69 | 20 | n |  | TRUE
92 | bus_MV_110_0_node_246 | 20 | n |  | TRUE
93 | bus_MV_110_0_node_73 | 20 | n |  | TRUE
94 | bus_MV_110_0_node_74 | 20 | n |  | TRUE
95 | bus_MV_110_0_node_75 | 20 | n |  | TRUE
96 | bus_MV_110_0_node_76 | 20 | n |  | TRUE
97 | bus_MV_110_0_node_79 | 20 | n |  | TRUE
98 | bus_MV_110_0_node_77 | 20 | n |  | TRUE
99 | bus_MV_110_0_node_214 | 20 | n |  | TRUE
100 | bus_MV_110_0_node_86 | 20 | n |  | TRUE
101 | bus_MV_110_0_node_241 | 20 | n |  | TRUE
102 | bus_MV_110_0_node_80 | 20 | n |  | TRUE
103 | bus_MV_110_0_node_82 | 20 | n |  | TRUE
104 | bus_MV_110_0_node_83 | 20 | n |  | TRUE
105 | bus_MV_110_0_node_216 | 20 | n |  | TRUE
106 | bus_MV_110_0_node_88 | 20 | n |  | TRUE
107 | bus_MV_110_0_node_89 | 20 | n |  | TRUE
108 | bus_MV_110_0_node_257 | 20 | n |  | TRUE
109 | bus_MV_110_0_node_218 | 20 | n |  | TRUE
110 | bus_MV_110_0_node_219 | 20 | n |  | TRUE
111 | bus_MV_110_0_node_237 | 20 | n |  | TRUE
112 | bus_MV_110_0_node_220 | 20 | n |  | TRUE
113 | bus_MV_110_0_node_238 | 20 | n |  | TRUE
114 | bus_MV_110_0_node_244 | 20 | n |  | TRUE
115 | bus_HV_110_0_node_93 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_110_0_load_0 | 0 | 0.39484 | 0.19123 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_110_0_load_3 | 3 | 0.39761 | 0.19257 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_110_0_load_251 | 9 | 0.38847 | 0.18815 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_110_0_load_12 | 10 | 0.22422 | 0.10859 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_110_0_load_90 | 13 | 0.11556 | 0.055966 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_110_0_load_85 | 16 | 0.12252 | 0.059341 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_110_0_load_212 | 17 | 0.077245 | 0.037412 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_110_0_load_258 | 18 | 0.071909 | 0.034827 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_110_0_load_286 | 21 | 0.24347 | 0.11792 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_110_0_load_15 | 22 | 0.094653 | 0.045843 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_110_0_load_81 | 26 | 0.12455 | 0.060324 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_110_0_load_67 | 29 | 0.14863 | 0.071985 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_110_0_load_34 | 30 | 0.091675 | 0.0444 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_110_0_load_87 | 32 | 0.11472 | 0.055564 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_110_0_load_71 | 35 | 0.10541 | 0.051052 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_110_0_load_59 | 36 | 0.1097 | 0.05313 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_110_0_load_94 | 37 | 0.11954 | 0.057897 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_110_0_load_23 | 38 | 0.081782 | 0.039609 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_110_0_load_260 | 41 | 0.084516 | 0.040933 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_110_0_load_240 | 43 | 0.051321 | 0.024856 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_110_0_load_261 | 44 | 0.11939 | 0.057823 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_110_0_load_28 | 46 | 0.14014 | 0.067874 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_110_0_load_217 | 47 | 0.079795 | 0.038646 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_110_0_load_30 | 49 | 0.087478 | 0.042368 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_110_0_load_31 | 50 | 0.13772 | 0.066701 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_110_0_load_213 | 54 | 0.094438 | 0.045739 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_110_0_load_70 | 58 | 0.080982 | 0.039221 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_110_0_load_84 | 60 | 0.11184 | 0.054166 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_110_0_load_256 | 61 | 0.12022 | 0.058227 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_110_0_load_235 | 62 | 0.15592 | 0.075517 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_110_0_load_47 | 63 | 0.074872 | 0.036262 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_110_0_load_245 | 66 | 0.096537 | 0.046755 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_110_0_load_215 | 67 | 0.10425 | 0.050489 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_110_0_load_50 | 68 | 0.1055 | 0.051095 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_110_0_load_259 | 71 | 0.15668 | 0.075882 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_110_0_load_263 | 72 | 0.11745 | 0.056884 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_110_0_load_54 | 73 | 0.10679 | 0.05172 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_110_0_load_58 | 77 | 0.15242 | 0.073819 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_110_0_load_60 | 78 | 0.08884 | 0.043027 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_110_0_load_242 | 84 | 0.12215 | 0.059161 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_110_0_load_64 | 85 | 0.14371 | 0.069603 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_110_0_load_91 | 88 | 0.14582 | 0.070623 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_110_0_load_68 | 90 | 0.15977 | 0.077378 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_110_0_load_246 | 92 | 0.066478 | 0.032197 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_110_0_load_73 | 93 | 0.1463 | 0.070857 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_110_0_load_74 | 94 | 0.1323 | 0.064077 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_110_0_load_214 | 99 | 0.074011 | 0.035845 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_110_0_load_86 | 100 | 0.12629 | 0.061167 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_110_0_load_241 | 101 | 0.15876 | 0.076892 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_110_0_load_216 | 105 | 0.13883 | 0.067236 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_110_0_load_89 | 107 | 0.12956 | 0.062749 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_110_0_load_257 | 108 | 0.14607 | 0.070744 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_110_0_load_237 | 111 | 0.16413 | 0.079494 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_110_0_load_220 | 112 | 0.10265 | 0.049714 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_110_0_load_244 | 114 | 0.15885 | 0.076933 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_110_0_line_0 |  | 0 | 1 | 0.03975 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_110_0_line_1 |  | 1 | 2 | 0.20033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_110_0_line_2 |  | 2 | 3 | 0.040712 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_110_0_line_3 |  | 3 | 4 | 0.044351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_110_0_line_4 |  | 3 | 5 | 0.075545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_110_0_line_5 |  | 4 | 6 | 0.3866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_110_0_line_6 |  | 5 | 7 | 0.17043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_110_0_line_7 |  | 5 | 8 | 0.85972 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_110_0_line_8 |  | 6 | 9 | 0.13244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_110_0_line_9 |  | 7 | 10 | 0.020644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_110_0_line_10 |  | 8 | 15 | 0.31119 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_110_0_line_11 |  | 8 | 16 | 0.039435 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_110_0_line_12 |  | 10 | 19 | 0.051041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_110_0_line_13 |  | 11 | 12 | 0.49293 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_110_0_line_14 |  | 11 | 13 | 0.031298 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_110_0_line_15 |  | 11 | 14 | 0.37579 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_110_0_line_16 |  | 12 | 18 | 0.01769 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_110_0_line_17 |  | 12 | 15 | 0.43514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_110_0_line_18 |  | 14 | 72 | 0.008129 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
19 | MV_110_0_line_19 |  | 15 | 17 | 0.013341 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_110_0_line_20 |  | 19 | 20 | 0.12542 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_110_0_line_21 |  | 20 | 21 | 0.019694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_110_0_line_22 |  | 22 | 23 | 0.066488 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_110_0_line_23 |  | 23 | 24 | 0.19076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_110_0_line_24 |  | 24 | 37 | 0.043548 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_110_0_line_25 |  | 24 | 25 | 0.3267 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_110_0_line_26 |  | 24 | 31 | 0.82449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_110_0_line_27 |  | 25 | 26 | 0.060754 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_110_0_line_28 |  | 26 | 103 | 0.032694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_110_0_line_29 |  | 27 | 28 | 0.075894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_110_0_line_30 |  | 27 | 29 | 0.028112 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_110_0_line_31 |  | 27 | 30 | 0.19998 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_110_0_line_32 |  | 28 | 33 | 0.098012 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_110_0_line_33 |  | 28 | 34 | 0.13667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_110_0_line_34 |  | 28 | 35 | 0.00572 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_110_0_line_35 |  | 28 | 31 | 0.17151 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_110_0_line_36 |  | 30 | 53 | 0.16289 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_110_0_line_37 |  | 31 | 32 | 0.007933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_110_0_line_38 |  | 32 | 106 | 0.051076 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_110_0_line_39 |  | 33 | 92 | 0.025355 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_110_0_line_40 |  | 34 | 36 | 0.083223 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_110_0_line_41 |  | 36 | 57 | 0.03461 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_110_0_line_42 |  | 38 | 39 | 0.053503 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_110_0_line_43 |  | 39 | 40 | 0.049521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_110_0_line_44 |  | 40 | 41 | 0.034045 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_110_0_line_45 |  | 41 | 82 | 0.022465 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_110_0_line_46 |  | 42 | 43 | 0.079085 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_110_0_line_47 |  | 42 | 44 | 0.23731 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_110_0_line_48 |  | 44 | 113 | 0.10347 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_110_0_line_49 |  | 45 | 46 | 0.16695 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_110_0_line_50 |  | 45 | 47 | 0.15032 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_110_0_line_51 |  | 46 | 48 | 0.048789 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_110_0_line_52 |  | 47 | 109 | 0.065133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_110_0_line_53 |  | 48 | 49 | 0.13649 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_110_0_line_54 |  | 50 | 51 | 0.015609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_110_0_line_55 |  | 51 | 52 | 0.50878 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_110_0_line_56 |  | 52 | 62 | 0.039394 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_110_0_line_57 |  | 52 | 57 | 0.34482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_110_0_line_58 |  | 53 | 54 | 0.21898 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_110_0_line_59 |  | 54 | 102 | 0.1049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_110_0_line_60 |  | 55 | 56 | 0.42894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_110_0_line_61 |  | 55 | 57 | 0.35003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_110_0_line_62 |  | 55 | 58 | 0.023167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_110_0_line_63 |  | 56 | 59 | 0.435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_110_0_line_64 |  | 56 | 60 | 0.034822 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_110_0_line_65 |  | 58 | 91 | 0.043845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_110_0_line_66 |  | 59 | 61 | 0.041739 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_110_0_line_67 |  | 61 | 114 | 1.156 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_110_0_line_68 |  | 63 | 64 | 0.099919 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_110_0_line_69 |  | 64 | 65 | 0.35335 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_110_0_line_70 |  | 64 | 66 | 0.34177 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_110_0_line_71 |  | 65 | 67 | 0.085523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_110_0_line_72 |  | 66 | 112 | 0.20026 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_110_0_line_73 |  | 67 | 105 | 0.024115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_110_0_line_74 |  | 68 | 69 | 0.003871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_110_0_line_75 |  | 69 | 70 | 0.091129 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
76 | MV_110_0_line_76 |  | 69 | 71 | 0.27826 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
77 | MV_110_0_line_77 |  | 70 | 72 | 0.033613 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
78 | MV_110_0_line_78 |  | 71 | 93 | 0.16942 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
79 | MV_110_0_line_79 |  | 73 | 74 | 0.021234 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_110_0_line_80 |  | 73 | 75 | 0.023484 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_110_0_line_81 |  | 74 | 76 | 0.070696 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_110_0_line_82 |  | 75 | 77 | 0.018444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_110_0_line_83 |  | 76 | 78 | 0.025878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_110_0_line_84 |  | 77 | 79 | 0.037987 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_110_0_line_85 |  | 78 | 80 | 0.007968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_110_0_line_86 |  | 79 | 95 | 0.19823 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_110_0_line_87 |  | 80 | 81 | 0.24902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_110_0_line_88 |  | 81 | 82 | 0.12956 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_110_0_line_89 |  | 81 | 83 | 0.11128 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_110_0_line_90 |  | 81 | 84 | 0.066102 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
91 | MV_110_0_line_91 |  | 83 | 86 | 0.23047 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_110_0_line_92 |  | 83 | 85 | 0.009967 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_110_0_line_93 |  | 86 | 87 | 0.28651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_110_0_line_94 |  | 86 | 88 | 0.005545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_110_0_line_95 |  | 86 | 89 | 0.28151 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_110_0_line_96 |  | 87 | 108 | 0.028907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_110_0_line_97 |  | 89 | 111 | 0.020913 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_110_0_line_98 |  | 89 | 113 | 0.086172 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_110_0_line_99 |  | 90 | 91 | 0.013956 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_110_0_line_100 |  | 93 | 94 | 0.15144 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
101 | MV_110_0_line_101 |  | 94 | 95 | 0.025894 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
102 | MV_110_0_line_102 |  | 95 | 96 | 0.055519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_110_0_line_103 |  | 95 | 97 | 0.11367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_110_0_line_104 |  | 96 | 98 | 0.06103 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_110_0_line_105 |  | 96 | 99 | 0.0063729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_110_0_line_106 |  | 97 | 101 | 0.012137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_110_0_line_107 |  | 97 | 102 | 0.13174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_110_0_line_108 |  | 98 | 100 | 0.014571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_110_0_line_109 |  | 103 | 104 | 0.54648 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_110_0_line_110 |  | 104 | 105 | 0.11629 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
111 | MV_110_0_line_111 |  | 106 | 107 | 0.008458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_110_0_line_112 |  | 109 | 110 | 0.089351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_110_0_line_113 |  | 110 | 111 | 0.068566 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_110_0_trafo_93 | 25 MVA 110/20 kV | 115 | 14 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2565171.3916 | 1121193.0655
1 | 2565200.2814 | 1121220.3682
2 | 2565295.2309 | 1121322.0175
3 | 2565332.7093 | 1121305.8829
4 | 2565372.3264 | 1121286.0677
5 | 2565391.5704 | 1121353.2135
6 | 2565515.0358 | 1120959.2303
7 | 2565313.9475 | 1121471.7077
8 | 2566077.4562 | 1121582.4695
9 | 2565416.3791 | 1120874.6297
10 | 2565296.4658 | 1121471.0189
11 | 2566451.6773 | 1121756.0323
12 | 2566144.3276 | 1121839.6793
13 | 2566424.2131 | 1121743.6343
14 | 2566638.6218 | 1122082.0271
15 | 2566257.2748 | 1121622.6486
16 | 2566114.553 | 1121595.8457
17 | 2566257.3854 | 1121609.308
18 | 2566127.9923 | 1121832.7786
19 | 2565250.0645 | 1121492.4856
20 | 2565146.6971 | 1121560.9493
21 | 2565133.3063 | 1121575.4229
22 | 2567271.7325 | 1121718.0335
23 | 2567217.4962 | 1121679.5751
24 | 2567104.5969 | 1121777.0939
25 | 2566848.3221 | 1121635.2246
26 | 2566791.7655 | 1121613.0354
27 | 2567520.2851 | 1122201.5451
28 | 2567512.8745 | 1122150.1258
29 | 2567496.0159 | 1122187.3575
30 | 2567513.3023 | 1122401.4054
31 | 2567372.9776 | 1122180.24
32 | 2567365.0527 | 1122180.8165
33 | 2567500.0019 | 1122078.3479
34 | 2567624.0023 | 1122149.4061
35 | 2567507.2916 | 1122148.8108
36 | 2567702.5808 | 1122121.9936
37 | 2567100.1825 | 1121820.4176
38 | 2566578.6991 | 1122657.1593
39 | 2566623.521 | 1122672.997
40 | 2566654.9579 | 1122655.7479
41 | 2566663.76 | 1122622.8605
42 | 2566299.1473 | 1123026.5998
43 | 2566245.4876 | 1123084.6955
44 | 2566370.0213 | 1122800.1237
45 | 2566045.2006 | 1122817.0398
46 | 2565892.6045 | 1122749.3105
47 | 2566159.2931 | 1122719.1741
48 | 2565844.0947 | 1122742.926
49 | 2565897.4076 | 1122617.28
50 | 2568302.4439 | 1122695.2011
51 | 2568287.2096 | 1122698.794
52 | 2567947.0078 | 1122320.4791
53 | 2567492.2095 | 1122562.9224
54 | 2567287.3788 | 1122485.4738
55 | 2567874.9922 | 1121888.5561
56 | 2568191.419 | 1122001.2924
57 | 2567736.1575 | 1122125.9382
58 | 2567868.3515 | 1121866.4228
59 | 2568150.5695 | 1121795.8158
60 | 2568224.1965 | 1122013.0479
61 | 2568167.3741 | 1121757.5968
62 | 2567916.051 | 1122344.9003
63 | 2566161.0713 | 1120780.5959
64 | 2566253.4498 | 1120818.6758
65 | 2566298.4128 | 1121167.9341
66 | 2566592.6649 | 1120860.377
67 | 2566381.4195 | 1121185.7011
68 | 2566771.2627 | 1122073.3466
69 | 2566771.3765 | 1122077.2146
70 | 2566680.4321 | 1122082.463
71 | 2567049.0958 | 1122094.5786
72 | 2566646.7465 | 1122082.6936
73 | 2567023.5559 | 1122357.5282
74 | 2567003.9358 | 1122365.784
75 | 2567045.2535 | 1122348.394
76 | 2566938.5634 | 1122392.6775
77 | 2567062.1634 | 1122340.9201
78 | 2566914.5486 | 1122402.4918
79 | 2567096.3513 | 1122324.1586
80 | 2566907.1307 | 1122405.4562
81 | 2566718.5139 | 1122501.6306
82 | 2566681.3965 | 1122608.945
83 | 2566609.8921 | 1122477.4406
84 | 2566715.1113 | 1122435.6161
85 | 2566605.9558 | 1122486.6003
86 | 2566409.8294 | 1122390.5958
87 | 2566183.3783 | 1122328.5179
88 | 2566412.0529 | 1122385.5142
89 | 2566293.4558 | 1122646.9292
90 | 2567855.7699 | 1121817.485
91 | 2567868.604 | 1121822.9572
92 | 2567476.3371 | 1122069.0708
93 | 2567218.5186 | 1122094.8229
94 | 2567245.11 | 1122243.9091
95 | 2567265.3111 | 1122260.1632
96 | 2567304.8789 | 1122291.042
97 | 2567222.3295 | 1122346.2398
98 | 2567296.2631 | 1122248.0782
99 | 2567310.951 | 1122292.9768
100 | 2567306.8597 | 1122238.1714
101 | 2567219.6244 | 1122357.927
102 | 2567299.7089 | 1122382.9496
103 | 2566760.9453 | 1121601.8772
104 | 2566489.3452 | 1121272.6351
105 | 2566404.1743 | 1121193.4575
106 | 2567363.0538 | 1122231.853
107 | 2567369.0623 | 1122237.7123
108 | 2566163.4679 | 1122338.4456
109 | 2566183.9192 | 1122658.8813
110 | 2566247.7725 | 1122703.3907
111 | 2566273.7059 | 1122639.9027
112 | 2566620.6243 | 1120662.0738
113 | 2566344.2231 | 1122699.9171
114 | 2568166.4041 | 1120601.5877
115 | 2566638.6218 | 1122082.0271

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99355 | 0.027366 | 0.39484 | 0.19123
1 | 0.99358 | 0.027558 | 0 | 0
2 | 0.99368 | 0.02663 | 0 | 0
3 | 0.9937 | 0.026449 | 0.39761 | 0.19257
4 | 0.99368 | 0.026622 | 0 | 0
5 | 0.99382 | 0.025466 | 0 | 0
6 | 0.99349 | 0.02825 | 0 | 0
7 | 0.99371 | 0.026353 | 0 | 0
8 | 0.99562 | 0.010546 | 0 | 0
9 | 0.99342 | 0.02886 | 0.38847 | 0.18815
10 | 0.9937 | 0.026463 | 0.22422 | 0.10859
11 | 0.99854 | -0.011963 | 0 | 0
12 | 0.99734 | -0.0029441 | 0 | 0
13 | 0.99853 | -0.011921 | 0.11556 | 0.055966
14 | 1 | 0 | -7.4678 | -3.3671
15 | 0.99632 | 0.0049779 | 0 | 0
16 | 0.99561 | 0.010487 | 0.12252 | 0.059341
17 | 0.99632 | 0.0049902 | 0.077245 | 0.037412
18 | 0.99734 | -0.002929 | 0.071909 | 0.034827
19 | 0.99369 | 0.026601 | 0 | 0
20 | 0.99365 | 0.026955 | 0 | 0
21 | 0.99364 | 0.027013 | 0.24347 | 0.11792
22 | 0.99066 | -0.1031 | 0.094653 | 0.045843
23 | 0.99067 | -0.10302 | 0 | 0
24 | 0.99069 | -0.10322 | 0 | 0
25 | 0.99043 | -0.10128 | 0 | 0
26 | 0.99035 | -0.10189 | 0.12455 | 0.060324
27 | 0.99205 | -0.1125 | 0 | 0
28 | 0.99182 | -0.11092 | 0 | 0
29 | 0.99204 | -0.11255 | 0.14863 | 0.071985
30 | 0.99298 | -0.1045 | 0.091675 | 0.0444
31 | 0.99159 | -0.10928 | 0 | 0
32 | 0.99158 | -0.10926 | 0.11472 | 0.055564
33 | 0.99182 | -0.11085 | 0 | 0
34 | 0.99165 | -0.1096 | 0 | 0
35 | 0.99182 | -0.11091 | 0.10541 | 0.051052
36 | 0.99148 | -0.11097 | 0.1097 | 0.05313
37 | 0.99068 | -0.10328 | 0.11954 | 0.057897
38 | 0.99473 | -0.087083 | 0.081782 | 0.039609
39 | 0.99473 | -0.087134 | 0 | 0
40 | 0.99474 | -0.087177 | 0 | 0
41 | 0.99474 | -0.087136 | 0.084516 | 0.040933
42 | 0.99385 | -0.089513 | 0 | 0
43 | 0.99384 | -0.089563 | 0.051321 | 0.024856
44 | 0.99387 | -0.08936 | 0.11939 | 0.057823
45 | 0.99376 | -0.088958 | 0 | 0
46 | 0.99369 | -0.089488 | 0.14014 | 0.067874
47 | 0.99383 | -0.088479 | 0.079795 | 0.038646
48 | 0.99368 | -0.089448 | 0 | 0
49 | 0.99367 | -0.089317 | 0.087478 | 0.042368
50 | 0.99117 | -0.11044 | 0.13772 | 0.066701
51 | 0.99117 | -0.11047 | 0 | 0
52 | 0.99131 | -0.10958 | 0 | 0
53 | 0.99378 | -0.097817 | 0 | 0
54 | 0.99484 | -0.08884 | 0.094438 | 0.045739
55 | 0.99116 | -0.10864 | 0 | 0
56 | 0.99095 | -0.10708 | 0 | 0
57 | 0.99144 | -0.11068 | 0 | 0
58 | 0.99115 | -0.10857 | 0.080982 | 0.039221
59 | 0.99079 | -0.10581 | 0 | 0
60 | 0.99094 | -0.10713 | 0.11184 | 0.054166
61 | 0.99078 | -0.10568 | 0.12022 | 0.058227
62 | 0.9913 | -0.10951 | 0.15592 | 0.075517
63 | 0.98967 | -0.098489 | 0.074872 | 0.036262
64 | 0.98969 | -0.098397 | 0 | 0
65 | 0.98981 | -0.099467 | 0 | 0
66 | 0.98955 | -0.09925 | 0.096537 | 0.046755
67 | 0.98984 | -0.099698 | 0.10425 | 0.050489
68 | 0.99962 | -0.0044451 | 0.1055 | 0.051095
69 | 0.99962 | -0.0044499 | 0 | 0
70 | 0.99988 | -0.0014028 | 0 | 0
71 | 0.99795 | -0.048253 | 0.15668 | 0.075882
72 | 0.99998 | -0.00027756 | 0.11745 | 0.056884
73 | 0.99544 | -0.092741 | 0.10679 | 0.05172
74 | 0.9954 | -0.092424 | 0 | 0
75 | 0.99549 | -0.093122 | 0 | 0
76 | 0.99527 | -0.091362 | 0 | 0
77 | 0.99553 | -0.09342 | 0.15242 | 0.073819
78 | 0.99523 | -0.090972 | 0.08884 | 0.043027
79 | 0.99561 | -0.094102 | 0 | 0
80 | 0.99521 | -0.09086 | 0 | 0
81 | 0.99478 | -0.087312 | 0 | 0
82 | 0.99475 | -0.087085 | 0 | 0
83 | 0.99455 | -0.089033 | 0 | 0
84 | 0.99476 | -0.087411 | 0.12215 | 0.059161
85 | 0.99455 | -0.089016 | 0.14371 | 0.069603
86 | 0.99427 | -0.086779 | 0 | 0
87 | 0.99422 | -0.086347 | 0 | 0
88 | 0.99427 | -0.086769 | 0.14582 | 0.070623
89 | 0.99393 | -0.08931 | 0 | 0
90 | 0.99114 | -0.10846 | 0.15977 | 0.077378
91 | 0.99114 | -0.10849 | 0 | 0
92 | 0.99181 | -0.11083 | 0.066478 | 0.032197
93 | 0.99696 | -0.074221 | 0.1463 | 0.070857
94 | 0.99611 | -0.096829 | 0.1323 | 0.064077
95 | 0.99604 | -0.097625 | 0 | 0
96 | 0.99603 | -0.0975 | 0 | 0
97 | 0.99564 | -0.094651 | 0 | 0
98 | 0.99602 | -0.097411 | 0 | 0
99 | 0.99603 | -0.097494 | 0.074011 | 0.035845
100 | 0.99601 | -0.097389 | 0.12629 | 0.061167
101 | 0.99563 | -0.094628 | 0.15876 | 0.076892
102 | 0.9952 | -0.091428 | 0 | 0
103 | 0.99033 | -0.10174 | 0 | 0
104 | 0.98997 | -0.098932 | 0 | 0
105 | 0.98985 | -0.099792 | 0.13883 | 0.067236
106 | 0.99157 | -0.10934 | 0 | 0
107 | 0.99157 | -0.10933 | 0.12956 | 0.062749
108 | 0.99422 | -0.086297 | 0.14607 | 0.070744
109 | 0.99385 | -0.088699 | 0 | 0
110 | 0.99389 | -0.088989 | 0 | 0
111 | 0.99391 | -0.089204 | 0.16413 | 0.079494
112 | 0.98951 | -0.099505 | 0.10265 | 0.049714
113 | 0.99391 | -0.08914 | 0 | 0
114 | 0.99042 | -0.10801 | 0.15885 | 0.076933
115 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.39484 | -0.19123 | 0.39485 | 0.19119 | 1.1507e-05 | -3.9638e-05 | 0.012747 | 0.012746 | 0.012747 | 0.99355 | 0.027366 | 0.99358 | 0.027558 | 6.0699
1 | -0.39485 | -0.19119 | 0.3949 | 0.18648 | 4.3247e-05 | -0.0047096 | 0.012746 | 0.012687 | 0.012746 | 0.99358 | 0.027558 | 0.99368 | 0.02663 | 5.7937
2 | -0.3949 | -0.18648 | 0.3949 | 0.18552 | 8.74e-06 | -0.00095723 | 0.012687 | 0.012675 | 0.012687 | 0.99368 | 0.02663 | 0.9937 | 0.026449 | 5.7668
3 | 0.38859 | 0.1749 | -0.38858 | -0.17594 | 9.0829e-06 | -0.0010429 | 0.012379 | 0.012392 | 0.012392 | 0.9937 | 0.026449 | 0.99368 | 0.026622 | 5.6327
4 | -1.1811 | -0.553 | 1.1812 | 0.55126 | 0.00014468 | -0.0017384 | 0.037886 | 0.037864 | 0.037886 | 0.9937 | 0.026449 | 0.99382 | 0.025466 | 17.221
5 | 0.38858 | 0.17594 | -0.3885 | -0.18503 | 7.9961e-05 | -0.0090886 | 0.012392 | 0.012503 | 0.012503 | 0.99368 | 0.026622 | 0.99349 | 0.02825 | 5.6834
6 | 0.46776 | 0.2174 | -0.46771 | -0.2214 | 5.1244e-05 | -0.0040034 | 0.014983 | 0.015032 | 0.015032 | 0.99382 | 0.025466 | 0.99371 | 0.026353 | 6.8329
7 | -1.649 | -0.76866 | 1.6522 | 0.7493 | 0.0031904 | -0.019364 | 0.052847 | 0.052601 | 0.052847 | 0.99382 | 0.025466 | 0.99562 | 0.010546 | 24.0214
8 | 0.3885 | 0.18503 | -0.38847 | -0.18815 | 2.7729e-05 | -0.0031128 | 0.012503 | 0.012543 | 0.012543 | 0.99349 | 0.02825 | 0.99342 | 0.02886 | 5.7012
9 | 0.46771 | 0.2214 | -0.4677 | -0.22189 | 6.2302e-06 | -0.00048487 | 0.015032 | 0.015038 | 0.015038 | 0.99371 | 0.026353 | 0.9937 | 0.026463 | 6.8356
10 | -1.7747 | -0.80859 | 1.776 | 0.80161 | 0.0013263 | -0.0069768 | 0.056546 | 0.056458 | 0.056546 | 0.99562 | 0.010546 | 0.99632 | 0.0049779 | 25.7029
11 | 0.12253 | 0.059295 | -0.12252 | -0.059341 | 1.0946e-06 | -4.598e-05 | 0.0039467 | 0.0039473 | 0.0039473 | 0.99562 | 0.010546 | 0.99561 | 0.010487 | 1.8797
12 | 0.24348 | 0.1133 | -0.24348 | -0.1145 | 4.1551e-06 | -0.0012021 | 0.0078015 | 0.0078163 | 0.0078163 | 0.9937 | 0.026463 | 0.99369 | 0.026601 | 3.5529
13 | 1.9297 | 0.8524 | -1.9272 | -0.86339 | 0.0024531 | -0.010993 | 0.060987 | 0.061124 | 0.061124 | 0.99854 | -0.011963 | 0.99734 | -0.0029441 | 27.7838
14 | 0.11556 | 0.055221 | -0.11556 | -0.055966 | 5.7424e-07 | -0.00074492 | 0.0037025 | 0.0037119 | 0.0037119 | 0.99854 | -0.011963 | 0.99853 | -0.011921 | 1.6872
15 | -2.0452 | -0.90762 | 2.048 | 0.90893 | 0.0028015 | 0.0013068 | 0.064688 | 0.064682 | 0.064688 | 0.99854 | -0.011963 | 1 | 0 | 30.8036
16 | 0.071909 | 0.034407 | -0.071909 | -0.034827 | 1.2601e-07 | -0.00042009 | 0.0023074 | 0.0023126 | 0.0023126 | 0.99734 | -0.0029441 | 0.99734 | -0.002929 | 1.0512
17 | 1.8553 | 0.82898 | -1.8533 | -0.83871 | 0.0020138 | -0.0097262 | 0.058818 | 0.05894 | 0.05894 | 0.99734 | -0.0029441 | 0.99632 | 0.0049779 | 26.7911
18 | 5.4057 | 2.4477 | -5.4056 | -2.4479 | 0.00011522 | -0.00019514 | 0.1713 | 0.1713 | 0.1713 | 1 | 0 | 0.99998 | -0.00027756 | 47.3218
19 | 0.077245 | 0.037095 | -0.077245 | -0.037412 | 1.0996e-07 | -0.00031616 | 0.0024828 | 0.0024868 | 0.0024868 | 0.99632 | 0.0049779 | 0.99632 | 0.0049902 | 1.1304
20 | 0.24348 | 0.1145 | -0.24347 | -0.11745 | 1.0277e-05 | -0.0029536 | 0.0078163 | 0.0078533 | 0.0078533 | 0.99369 | 0.026601 | 0.99365 | 0.026955 | 3.5697
21 | 0.24347 | 0.11745 | -0.24347 | -0.11792 | 1.6227e-06 | -0.00046378 | 0.0078533 | 0.0078591 | 0.0078591 | 0.99365 | 0.026955 | 0.99364 | 0.027013 | 3.5723
22 | -0.094653 | -0.045843 | 0.094654 | 0.045765 | 1.1122e-06 | -7.7201e-05 | 0.0030646 | 0.0030636 | 0.0030646 | 0.99066 | -0.1031 | 0.99067 | -0.10302 | 1.4594
23 | -0.094654 | -0.045765 | 0.094657 | 0.041296 | 2.3471e-06 | -0.0044693 | 0.0030636 | 0.0030092 | 0.0030636 | 0.99067 | -0.10302 | 0.99069 | -0.10322 | 1.3926
24 | 0.11954 | 0.057846 | -0.11954 | -0.057897 | 1.1621e-06 | -5.0296e-05 | 0.0038697 | 0.0038704 | 0.0038704 | 0.99069 | -0.10322 | 0.99068 | -0.10328 | 1.843
25 | 0.64226 | 0.278 | -0.64208 | -0.2856 | 0.00018216 | -0.0075996 | 0.020392 | 0.020482 | 0.020482 | 0.99069 | -0.10322 | 0.99043 | -0.10128 | 9.31
26 | -0.85646 | -0.37714 | 0.85727 | 0.35804 | 0.00081172 | -0.019098 | 0.027269 | 0.027046 | 0.027269 | 0.99069 | -0.10322 | 0.99159 | -0.10928 | 12.3948
27 | 0.64208 | 0.2856 | -0.64203 | -0.28564 | 4.5412e-05 | -4.2696e-05 | 0.020482 | 0.020483 | 0.020483 | 0.99043 | -0.10128 | 0.99035 | -0.10189 | 9.7538
28 | 0.51748 | 0.22532 | -0.51747 | -0.22608 | 1.182e-05 | -0.00076209 | 0.016452 | 0.016461 | 0.016461 | 0.99035 | -0.10189 | 0.99033 | -0.10174 | 7.4821
29 | 2.3101 | 1.0053 | -2.3096 | -1.0069 | 0.0005447 | -0.0016214 | 0.073312 | 0.073332 | 0.073332 | 0.99205 | -0.1125 | 0.99182 | -0.11092 | 33.3328
30 | 0.14863 | 0.071952 | -0.14863 | -0.071985 | 1.1566e-06 | -3.2304e-05 | 0.0048051 | 0.0048056 | 0.0048056 | 0.99205 | -0.1125 | 0.99204 | -0.11255 | 2.2884
31 | -2.4587 | -1.0773 | 2.4609 | 1.0784 | 0.002174 | 0.0011265 | 0.078113 | 0.07811 | 0.078113 | 0.99205 | -0.1125 | 0.99298 | -0.1045 | 37.1967
32 | 0.066479 | 0.0293 | -0.066478 | -0.031601 | 5.9264e-07 | -0.0023018 | 0.0021145 | 0.0021424 | 0.0021424 | 0.99182 | -0.11092 | 0.99182 | -0.11085 | 0.97381
33 | 1.0358 | 0.45476 | -1.0357 | -0.45791 | 0.00019804 | -0.0031508 | 0.032926 | 0.032964 | 0.032964 | 0.99182 | -0.11092 | 0.99165 | -0.1096 | 14.9837
34 | 0.10541 | 0.050918 | -0.10541 | -0.051052 | 8.8669e-08 | -0.00013432 | 0.0034072 | 0.0034089 | 0.0034089 | 0.99182 | -0.11092 | 0.99182 | -0.11091 | 1.5495
35 | 1.1018 | 0.47197 | -1.1016 | -0.47591 | 0.00027906 | -0.0039446 | 0.034888 | 0.034934 | 0.034934 | 0.99182 | -0.11092 | 0.99159 | -0.10928 | 15.8791
36 | -2.5526 | -1.1228 | 2.5545 | 1.1238 | 0.0019073 | 0.0010028 | 0.081069 | 0.081067 | 0.081069 | 0.99298 | -0.1045 | 0.99378 | -0.097817 | 38.6045
37 | 0.24429 | 0.11787 | -0.24429 | -0.11805 | 6.6054e-07 | -0.00018604 | 0.0078963 | 0.0078987 | 0.0078987 | 0.99159 | -0.10928 | 0.99158 | -0.10926 | 3.5903
38 | 0.12956 | 0.062491 | -0.12956 | -0.06255 | 1.5961e-06 | -5.8952e-05 | 0.0041877 | 0.0041884 | 0.0041884 | 0.99158 | -0.10926 | 0.99157 | -0.10934 | 1.9945
39 | 0.066478 | 0.031601 | -0.066478 | -0.032197 | 1.559e-07 | -0.00059546 | 0.0021424 | 0.0021499 | 0.0021499 | 0.99182 | -0.11085 | 0.99181 | -0.11083 | 0.97722
40 | 1.0357 | 0.45791 | -1.0355 | -0.45791 | 0.00016113 | 3.2434e-06 | 0.032964 | 0.032965 | 0.032965 | 0.99165 | -0.1096 | 0.99148 | -0.11097 | 15.6977
41 | 0.92579 | 0.40478 | -0.92575 | -0.40558 | 4.0001e-05 | -0.00080043 | 0.029419 | 0.029428 | 0.029428 | 0.99148 | -0.11097 | 0.99144 | -0.11068 | 13.3764
42 | -0.081782 | -0.039609 | 0.081782 | 0.038345 | 4.9371e-07 | -0.0012639 | 0.002637 | 0.0026213 | 0.002637 | 0.99473 | -0.087083 | 0.99473 | -0.087134 | 1.1987
43 | -0.081782 | -0.038345 | 0.081783 | 0.037175 | 4.5177e-07 | -0.0011698 | 0.0026213 | 0.002607 | 0.0026213 | 0.99473 | -0.087134 | 0.99474 | -0.087177 | 1.1915
44 | -0.081783 | -0.037175 | 0.081783 | 0.037135 | 4.1219e-07 | -3.9959e-05 | 0.002607 | 0.0026066 | 0.002607 | 0.99474 | -0.087177 | 0.99474 | -0.087136 | 1.2414
45 | -0.1663 | -0.078068 | 0.1663 | 0.078042 | 1.1376e-06 | -2.5826e-05 | 0.0053313 | 0.005331 | 0.0053313 | 0.99474 | -0.087136 | 0.99475 | -0.087085 | 2.5387
46 | 0.051321 | 0.024763 | -0.051321 | -0.024856 | 3.8628e-07 | -9.3012e-05 | 0.0016551 | 0.0016563 | 0.0016563 | 0.99385 | -0.089513 | 0.99384 | -0.089563 | 0.78872
47 | -0.051321 | -0.024763 | 0.051322 | 0.024484 | 1.1558e-06 | -0.00027911 | 0.0016551 | 0.0016516 | 0.0016551 | 0.99385 | -0.089513 | 0.99387 | -0.08936 | 0.78816
48 | -0.17071 | -0.082307 | 0.17072 | 0.082188 | 5.5848e-06 | -0.00011853 | 0.0055046 | 0.0055031 | 0.0055046 | 0.99387 | -0.08936 | 0.99391 | -0.08914 | 2.6213
49 | 0.22764 | 0.10569 | -0.22762 | -0.10587 | 1.5816e-05 | -0.00018691 | 0.0072905 | 0.0072929 | 0.0072929 | 0.99376 | -0.088958 | 0.99369 | -0.089488 | 3.4728
50 | -0.22764 | -0.10569 | 0.22765 | 0.10552 | 1.4231e-05 | -0.00016831 | 0.0072905 | 0.0072884 | 0.0072905 | 0.99376 | -0.088958 | 0.99383 | -0.088479 | 3.4717
51 | 0.08748 | 0.038 | -0.08748 | -0.03915 | 5.0247e-07 | -0.0011501 | 0.0027708 | 0.0027843 | 0.0027843 | 0.99369 | -0.089488 | 0.99368 | -0.089448 | 1.2656
52 | -0.30745 | -0.14417 | 0.30746 | 0.14263 | 8.4432e-06 | -0.0015335 | 0.0098634 | 0.0098445 | 0.0098634 | 0.99383 | -0.088479 | 0.99385 | -0.088699 | 4.4834
53 | 0.08748 | 0.03915 | -0.087478 | -0.042368 | 1.4323e-06 | -0.0032173 | 0.0027843 | 0.0028238 | 0.0028238 | 0.99368 | -0.089448 | 0.99367 | -0.089317 | 1.2835
54 | -0.13772 | -0.066701 | 0.13772 | 0.066335 | 4.1347e-07 | -0.00036601 | 0.0044567 | 0.0044521 | 0.0044567 | 0.99117 | -0.11044 | 0.99117 | -0.11047 | 2.0258
55 | -0.13772 | -0.066335 | 0.13774 | 0.06575 | 1.7938e-05 | -0.00058556 | 0.0044521 | 0.0044446 | 0.0044521 | 0.99117 | -0.11047 | 0.99131 | -0.10958 | 2.1201
56 | 0.15593 | 0.074593 | -0.15592 | -0.075517 | 1.3355e-06 | -0.0009239 | 0.0050335 | 0.0050451 | 0.0050451 | 0.99131 | -0.10958 | 0.9913 | -0.10951 | 2.2932
57 | -0.29366 | -0.14034 | 0.29371 | 0.13226 | 4.0916e-05 | -0.0080794 | 0.0094781 | 0.0093789 | 0.0094781 | 0.99131 | -0.10958 | 0.99144 | -0.11068 | 4.3082
58 | -2.5545 | -1.1238 | 2.5571 | 1.1252 | 0.002564 | 0.0013476 | 0.081067 | 0.081064 | 0.081067 | 0.99378 | -0.097817 | 0.99484 | -0.08884 | 38.6034
59 | -2.6515 | -1.1709 | 2.6525 | 1.1687 | 0.0009903 | -0.0021859 | 0.084107 | 0.084078 | 0.084107 | 0.99484 | -0.08884 | 0.9952 | -0.091428 | 38.2305
60 | 0.3911 | 0.16677 | -0.39102 | -0.1768 | 8.8639e-05 | -0.010033 | 0.012383 | 0.012501 | 0.012501 | 0.99116 | -0.10864 | 0.99095 | -0.10708 | 5.6823
61 | -0.63185 | -0.28147 | 0.63204 | 0.27332 | 0.00018875 | -0.0081566 | 0.020146 | 0.02005 | 0.020146 | 0.99116 | -0.10864 | 0.99144 | -0.11068 | 9.1573
62 | 0.24075 | 0.1147 | -0.24075 | -0.11524 | 1.8674e-06 | -0.00054284 | 0.007767 | 0.0077738 | 0.0077738 | 0.99116 | -0.10864 | 0.99115 | -0.10857 | 3.5336
63 | 0.27917 | 0.12268 | -0.27913 | -0.13286 | 4.6456e-05 | -0.010183 | 0.0088833 | 0.0090069 | 0.0090069 | 0.99095 | -0.10708 | 0.99079 | -0.10581 | 4.0941
64 | 0.11184 | 0.054126 | -0.11184 | -0.054166 | 8.1293e-07 | -4.0312e-05 | 0.0036195 | 0.00362 | 0.00362 | 0.99095 | -0.10708 | 0.99094 | -0.10713 | 1.7238
65 | 0.15977 | 0.076023 | -0.15977 | -0.077051 | 1.5582e-06 | -0.0010279 | 0.0051532 | 0.0051661 | 0.0051661 | 0.99115 | -0.10857 | 0.99114 | -0.10849 | 2.3482
66 | 0.27913 | 0.13286 | -0.27912 | -0.13384 | 4.5266e-06 | -0.00097694 | 0.0090069 | 0.0090192 | 0.0090192 | 0.99079 | -0.10581 | 0.99078 | -0.10568 | 4.0996
67 | 0.1589 | 0.075613 | -0.15885 | -0.076933 | 5.4325e-05 | -0.0013202 | 0.0051272 | 0.0051443 | 0.0051443 | 0.99078 | -0.10568 | 0.99042 | -0.10801 | 2.4497
68 | -0.074872 | -0.036262 | 0.074873 | 0.036146 | 1.0476e-06 | -0.00011618 | 0.0024266 | 0.0024251 | 0.0024266 | 0.98967 | -0.098489 | 0.98969 | -0.098397 | 1.1555
69 | -0.27409 | -0.132 | 0.27412 | 0.12375 | 3.6712e-05 | -0.0082537 | 0.0088734 | 0.0087715 | 0.0088734 | 0.98969 | -0.098397 | 0.98981 | -0.099467 | 4.0334
70 | 0.19921 | 0.095853 | -0.19919 | -0.096237 | 2.534e-05 | -0.00038371 | 0.0064483 | 0.0064534 | 0.0064534 | 0.98969 | -0.098397 | 0.98955 | -0.09925 | 3.073
71 | -0.27412 | -0.12375 | 0.27413 | 0.12175 | 8.7605e-06 | -0.001998 | 0.0087715 | 0.0087477 | 0.0087715 | 0.98981 | -0.099467 | 0.98984 | -0.099698 | 3.9871
72 | 0.10265 | 0.049482 | -0.10265 | -0.049714 | 3.9466e-06 | -0.00023163 | 0.0033243 | 0.0033273 | 0.0033273 | 0.98955 | -0.09925 | 0.98951 | -0.099505 | 1.5844
73 | -0.37838 | -0.17224 | 0.37838 | 0.17167 | 4.7299e-06 | -0.00056274 | 0.012124 | 0.012118 | 0.012124 | 0.98984 | -0.099698 | 0.98985 | -0.099792 | 5.5111
74 | -0.1055 | -0.051095 | 0.1055 | 0.051003 | 5.9186e-08 | -9.2337e-05 | 0.0033851 | 0.003384 | 0.0033851 | 0.99962 | -0.0044451 | 0.99962 | -0.0044499 | 1.5387
75 | -5.2865 | -2.3941 | 5.2877 | 2.3918 | 0.0012359 | -0.0022266 | 0.16759 | 0.16755 | 0.16759 | 0.99962 | -0.0044499 | 0.99988 | -0.0014028 | 46.2955
76 | 5.181 | 2.3431 | -5.1741 | -2.3355 | 0.006888 | 0.0075296 | 0.16421 | 0.16421 | 0.16421 | 0.99962 | -0.0044499 | 0.99795 | -0.048253 | 46.9175
77 | -5.2877 | -2.3918 | 5.2882 | 2.391 | 0.00045574 | -0.00082178 | 0.16755 | 0.16754 | 0.16755 | 0.99988 | -0.0014028 | 0.99998 | -0.00027756 | 46.2853
78 | 5.0174 | 2.2596 | -5.0135 | -2.2553 | 0.0039408 | 0.0042956 | 0.15918 | 0.15918 | 0.15918 | 0.99795 | -0.048253 | 0.99696 | -0.074221 | 45.4799
79 | 1.457 | 0.66422 | -1.4569 | -0.6647 | 6.1131e-05 | -0.00048422 | 0.046435 | 0.046441 | 0.046441 | 0.99544 | -0.092741 | 0.9954 | -0.092424 | 21.1095
80 | -1.5637 | -0.71594 | 1.5638 | 0.71541 | 7.7976e-05 | -0.0005325 | 0.049875 | 0.049868 | 0.049875 | 0.99544 | -0.092741 | 0.99549 | -0.093122 | 22.6704
81 | 1.4569 | 0.6647 | -1.4567 | -0.66631 | 0.00020364 | -0.0016118 | 0.046441 | 0.046461 | 0.046461 | 0.9954 | -0.092424 | 0.99527 | -0.091362 | 21.1187
82 | -1.5638 | -0.71541 | 1.5639 | 0.71499 | 6.1226e-05 | -0.00041826 | 0.049868 | 0.049863 | 0.049868 | 0.99549 | -0.093122 | 0.99553 | -0.09342 | 22.6674
83 | 1.4567 | 0.66631 | -1.4566 | -0.6669 | 7.4586e-05 | -0.00058988 | 0.046461 | 0.046468 | 0.046468 | 0.99527 | -0.091362 | 0.99523 | -0.090972 | 21.122
84 | -1.7163 | -0.78881 | 1.7165 | 0.78795 | 0.00015211 | -0.00085384 | 0.054773 | 0.054762 | 0.054773 | 0.99553 | -0.09342 | 0.99561 | -0.094102 | 24.8966
85 | 1.3678 | 0.62388 | -1.3678 | -0.62406 | 2.0228e-05 | -0.00018243 | 0.043606 | 0.043608 | 0.043608 | 0.99523 | -0.090972 | 0.99521 | -0.09086 | 19.8219
86 | -1.7165 | -0.78795 | 1.7172 | 0.78349 | 0.00079279 | -0.0044584 | 0.054762 | 0.054705 | 0.054762 | 0.99561 | -0.094102 | 0.99604 | -0.097625 | 24.8917
87 | 1.3678 | 0.62406 | -1.3671 | -0.62976 | 0.00063322 | -0.0056984 | 0.043608 | 0.043679 | 0.043679 | 0.99521 | -0.09086 | 0.99478 | -0.087312 | 19.8543
88 | 0.16631 | 0.074983 | -0.1663 | -0.078042 | 4.881e-06 | -0.0030596 | 0.0052939 | 0.005331 | 0.005331 | 0.99478 | -0.087312 | 0.99475 | -0.087085 | 2.4232
89 | 1.0787 | 0.49569 | -1.0784 | -0.49567 | 0.0002353 | 1.5951e-05 | 0.034449 | 0.03445 | 0.03445 | 0.99478 | -0.087312 | 0.99455 | -0.089033 | 16.4049
90 | 0.12215 | 0.059084 | -0.12215 | -0.059161 | 1.8266e-06 | -7.6946e-05 | 0.0039377 | 0.0039387 | 0.0039387 | 0.99478 | -0.087312 | 0.99476 | -0.087411 | 1.8756
91 | 0.93472 | 0.42631 | -0.93444 | -0.43167 | 0.00027419 | -0.0053602 | 0.029819 | 0.029885 | 0.029885 | 0.99455 | -0.089033 | 0.99427 | -0.086779 | 13.5842
92 | 0.14371 | 0.069367 | -0.14371 | -0.069603 | 2.8565e-07 | -0.0002353 | 0.0046318 | 0.0046348 | 0.0046348 | 0.99455 | -0.089033 | 0.99455 | -0.089016 | 2.1067
93 | 0.14608 | 0.063302 | -0.14607 | -0.070062 | 8.3136e-06 | -0.0067597 | 0.0046222 | 0.0047038 | 0.0047038 | 0.99427 | -0.086779 | 0.99422 | -0.086347 | 2.1381
94 | 0.14582 | 0.070492 | -0.14582 | -0.070623 | 1.6375e-07 | -0.00013083 | 0.0047024 | 0.004704 | 0.004704 | 0.99427 | -0.086779 | 0.99427 | -0.086769 | 2.1382
95 | 0.64255 | 0.29787 | -0.64234 | -0.29807 | 0.00021212 | -0.00019925 | 0.020563 | 0.020567 | 0.020567 | 0.99427 | -0.086779 | 0.99393 | -0.08931 | 9.7937
96 | 0.14607 | 0.070062 | -0.14607 | -0.070744 | 8.5539e-07 | -0.00068198 | 0.0047038 | 0.0047124 | 0.0047124 | 0.99422 | -0.086347 | 0.99422 | -0.086297 | 2.142
97 | 0.47162 | 0.21792 | -0.47161 | -0.21841 | 6.3591e-06 | -0.00049138 | 0.015089 | 0.015095 | 0.015095 | 0.99393 | -0.08931 | 0.99391 | -0.089204 | 6.8614
98 | 0.17072 | 0.080157 | -0.17072 | -0.082188 | 3.4678e-06 | -0.0020315 | 0.0054778 | 0.0055031 | 0.0055031 | 0.99393 | -0.08931 | 0.99391 | -0.08914 | 2.5014
99 | -0.15977 | -0.077378 | 0.15977 | 0.077051 | 4.9764e-07 | -0.00032718 | 0.0051703 | 0.0051661 | 0.0051703 | 0.99114 | -0.10846 | 0.99114 | -0.10849 | 2.3501
100 | 4.8672 | 2.1845 | -4.8638 | -2.1809 | 0.0033174 | 0.0036055 | 0.15447 | 0.15448 | 0.15448 | 0.99696 | -0.074221 | 0.99611 | -0.096829 | 44.1363
101 | 4.7315 | 2.1168 | -4.7313 | -2.1175 | 0.00028224 | -0.00067625 | 0.15022 | 0.15023 | 0.15023 | 0.99611 | -0.096829 | 0.99604 | -0.097625 | 41.4998
102 | 0.20031 | 0.093757 | -0.20031 | -0.095071 | 3.0529e-06 | -0.0013142 | 0.0064099 | 0.0064261 | 0.0064261 | 0.99604 | -0.097625 | 0.99603 | -0.0975 | 2.921
103 | 2.8137 | 1.2402 | -2.8125 | -1.2426 | 0.0012056 | -0.0023339 | 0.089118 | 0.08915 | 0.08915 | 0.99604 | -0.097625 | 0.99564 | -0.094651 | 40.5225
104 | 0.12629 | 0.059376 | -0.12629 | -0.060822 | 1.3388e-06 | -0.0014452 | 0.0040447 | 0.0040627 | 0.0040627 | 0.99603 | -0.0975 | 0.99602 | -0.097411 | 1.8467
105 | 0.074011 | 0.035694 | -0.074011 | -0.035845 | 4.8288e-08 | -0.00015094 | 0.0023815 | 0.0023834 | 0.0023834 | 0.99603 | -0.0975 | 0.99603 | -0.097494 | 1.0834
106 | 0.15876 | 0.076605 | -0.15876 | -0.076892 | 4.2356e-07 | -0.00028713 | 0.005111 | 0.0051146 | 0.0051146 | 0.99564 | -0.094651 | 0.99563 | -0.094628 | 2.3248
107 | 2.6537 | 1.166 | -2.6525 | -1.1687 | 0.0012427 | -0.0027481 | 0.084042 | 0.084078 | 0.084078 | 0.99564 | -0.094651 | 0.9952 | -0.091428 | 38.2173
108 | 0.12629 | 0.060822 | -0.12629 | -0.061167 | 3.2142e-07 | -0.00034504 | 0.0040627 | 0.0040671 | 0.0040671 | 0.99602 | -0.097411 | 0.99601 | -0.097389 | 1.8487
109 | 0.51747 | 0.22608 | -0.51727 | -0.23881 | 0.00019949 | -0.012733 | 0.016461 | 0.016613 | 0.016613 | 0.99033 | -0.10174 | 0.98997 | -0.098932 | 7.5515
110 | 0.51727 | 0.23881 | -0.51721 | -0.23891 | 5.7192e-05 | -0.00010022 | 0.016613 | 0.016615 | 0.016615 | 0.98997 | -0.098932 | 0.98985 | -0.099792 | 7.9119
111 | 0.12956 | 0.06255 | -0.12956 | -0.062749 | 1.9819e-07 | -0.00019849 | 0.0041884 | 0.004191 | 0.004191 | 0.99157 | -0.10934 | 0.99157 | -0.10933 | 1.905
112 | -0.30746 | -0.14263 | 0.30747 | 0.14053 | 1.153e-05 | -0.0021039 | 0.0098445 | 0.0098189 | 0.0098445 | 0.99385 | -0.088699 | 0.99389 | -0.088989 | 4.4748
113 | -0.30747 | -0.14053 | 0.30748 | 0.13891 | 8.8076e-06 | -0.0016146 | 0.0098189 | 0.0097995 | 0.0098189 | 0.99389 | -0.088989 | 0.99391 | -0.089204 | 4.4632

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.4678 | 3.3671

## res_load
| p_mw | q_mvar
0 | 0.39484 | 0.19123
1 | 0.39761 | 0.19257
2 | 0.38847 | 0.18815
3 | 0.22422 | 0.10859
4 | 0.11556 | 0.055966
5 | 0.12252 | 0.059341
6 | 0.077245 | 0.037412
7 | 0.071909 | 0.034827
8 | 0.24347 | 0.11792
9 | 0.094653 | 0.045843
10 | 0.12455 | 0.060324
11 | 0.14863 | 0.071985
12 | 0.091675 | 0.0444
13 | 0.11472 | 0.055564
14 | 0.10541 | 0.051052
15 | 0.1097 | 0.05313
16 | 0.11954 | 0.057897
17 | 0.081782 | 0.039609
18 | 0.084516 | 0.040933
19 | 0.051321 | 0.024856
20 | 0.11939 | 0.057823
21 | 0.14014 | 0.067874
22 | 0.079795 | 0.038646
23 | 0.087478 | 0.042368
24 | 0.13772 | 0.066701
25 | 0.094438 | 0.045739
26 | 0.080982 | 0.039221
27 | 0.11184 | 0.054166
28 | 0.12022 | 0.058227
29 | 0.15592 | 0.075517
30 | 0.074872 | 0.036262
31 | 0.096537 | 0.046755
32 | 0.10425 | 0.050489
33 | 0.1055 | 0.051095
34 | 0.15668 | 0.075882
35 | 0.11745 | 0.056884
36 | 0.10679 | 0.05172
37 | 0.15242 | 0.073819
38 | 0.08884 | 0.043027
39 | 0.12215 | 0.059161
40 | 0.14371 | 0.069603
41 | 0.14582 | 0.070623
42 | 0.15977 | 0.077378
43 | 0.066478 | 0.032197
44 | 0.1463 | 0.070857
45 | 0.1323 | 0.064077
46 | 0.074011 | 0.035845
47 | 0.12629 | 0.061167
48 | 0.15876 | 0.076892
49 | 0.13883 | 0.067236
50 | 0.12956 | 0.062749
51 | 0.14607 | 0.070744
52 | 0.16413 | 0.079494
53 | 0.10265 | 0.049714
54 | 0.15885 | 0.076933

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1