## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_113_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_113_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_113_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_113_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_113_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_113_0_node_25 | 20 | n |  | TRUE
6 | bus_MV_113_0_node_17 | 20 | n |  | TRUE
7 | bus_MV_113_0_node_14 | 20 | n |  | TRUE
8 | bus_MV_113_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_113_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_113_0_node_7 | 20 | n |  | TRUE
11 | bus_MV_113_0_node_9 | 20 | n |  | TRUE
12 | bus_MV_113_0_node_24 | 20 | n |  | TRUE
13 | bus_MV_113_0_node_8 | 20 | n |  | TRUE
14 | bus_MV_113_0_node_16 | 20 | n |  | TRUE
15 | bus_MV_113_0_node_10 | 20 | n |  | TRUE
16 | bus_MV_113_0_node_12 | 20 | n |  | TRUE
17 | bus_MV_113_0_node_19 | 20 | n |  | TRUE
18 | bus_MV_113_0_node_22 | 20 | n |  | TRUE
19 | bus_MV_113_0_node_21 | 20 | n |  | TRUE
20 | bus_MV_113_0_node_11 | 20 | n |  | TRUE
21 | bus_MV_113_0_node_147 | 20 | n |  | TRUE
22 | bus_MV_113_0_node_13 | 20 | n |  | TRUE
23 | bus_MV_113_0_node_18 | 20 | n |  | TRUE
24 | bus_MV_113_0_node_20 | 20 | n |  | TRUE
25 | bus_MV_113_0_node_226 | 20 | n |  | TRUE
26 | bus_MV_113_0_node_23 | 20 | n |  | TRUE
27 | bus_MV_113_0_node_224 | 20 | n |  | TRUE
28 | bus_MV_113_0_node_220 | 20 | n |  | TRUE
29 | bus_MV_113_0_node_157 | 20 | n |  | TRUE
30 | bus_MV_113_0_node_65 | 20 | n |  | TRUE
31 | bus_MV_113_0_node_215 | 20 | n |  | TRUE
32 | bus_MV_113_0_node_66 | 20 | n |  | TRUE
33 | bus_MV_113_0_node_67 | 20 | n |  | TRUE
34 | bus_MV_113_0_node_68 | 20 | n |  | TRUE
35 | bus_MV_113_0_node_69 | 20 | n |  | TRUE
36 | bus_MV_113_0_node_197 | 20 | n |  | TRUE
37 | bus_MV_113_0_node_129 | 20 | n |  | TRUE
38 | bus_MV_113_0_node_167 | 20 | n |  | TRUE
39 | bus_MV_113_0_node_214 | 20 | n |  | TRUE
40 | bus_MV_113_0_node_155 | 20 | n |  | TRUE
41 | bus_MV_113_0_node_156 | 20 | n |  | TRUE
42 | bus_MV_113_0_node_158 | 20 | n |  | TRUE
43 | bus_MV_113_0_node_176 | 20 | n |  | TRUE
44 | bus_MV_113_0_node_241 | 20 | n |  | TRUE
45 | bus_MV_113_0_node_159 | 20 | n |  | TRUE
46 | bus_MV_113_0_node_160 | 20 | n |  | TRUE
47 | bus_MV_113_0_node_161 | 20 | n |  | TRUE
48 | bus_MV_113_0_node_162 | 20 | n |  | TRUE
49 | bus_MV_113_0_node_180 | 20 | n |  | TRUE
50 | bus_MV_113_0_node_173 | 20 | n |  | TRUE
51 | bus_MV_113_0_node_163 | 20 | n |  | TRUE
52 | bus_MV_113_0_node_172 | 20 | n |  | TRUE
53 | bus_MV_113_0_node_183 | 20 | n |  | TRUE
54 | bus_MV_113_0_node_164 | 20 | n |  | TRUE
55 | bus_MV_113_0_node_166 | 20 | n |  | TRUE
56 | bus_MV_113_0_node_169 | 20 | n |  | TRUE
57 | bus_MV_113_0_node_168 | 20 | n |  | TRUE
58 | bus_MV_113_0_node_170 | 20 | n |  | TRUE
59 | bus_MV_113_0_node_171 | 20 | n |  | TRUE
60 | bus_MV_113_0_node_175 | 20 | n |  | TRUE
61 | bus_MV_113_0_node_201 | 20 | n |  | TRUE
62 | bus_MV_113_0_node_174 | 20 | n |  | TRUE
63 | bus_MV_113_0_node_177 | 20 | n |  | TRUE
64 | bus_MV_113_0_node_178 | 20 | n |  | TRUE
65 | bus_MV_113_0_node_179 | 20 | n |  | TRUE
66 | bus_MV_113_0_node_181 | 20 | n |  | TRUE
67 | bus_MV_113_0_node_182 | 20 | n |  | TRUE
68 | bus_MV_113_0_node_184 | 20 | n |  | TRUE
69 | bus_MV_113_0_node_199 | 20 | n |  | TRUE
70 | bus_MV_113_0_node_185 | 20 | n |  | TRUE
71 | bus_MV_113_0_node_198 | 20 | n |  | TRUE
72 | bus_MV_113_0_node_200 | 20 | n |  | TRUE
73 | bus_MV_113_0_node_186 | 20 | n |  | TRUE
74 | bus_MV_113_0_node_187 | 20 | n |  | TRUE
75 | bus_MV_113_0_node_189 | 20 | n |  | TRUE
76 | bus_MV_113_0_node_191 | 20 | n |  | TRUE
77 | bus_MV_113_0_node_195 | 20 | n |  | TRUE
78 | bus_MV_113_0_node_192 | 20 | n |  | TRUE
79 | bus_MV_113_0_node_193 | 20 | n |  | TRUE
80 | bus_MV_113_0_node_194 | 20 | n |  | TRUE
81 | bus_MV_113_0_node_213 | 20 | n |  | TRUE
82 | bus_MV_113_0_node_227 | 20 | n |  | TRUE
83 | bus_MV_113_0_node_196 | 20 | n |  | TRUE
84 | bus_MV_113_0_node_223 | 20 | n |  | TRUE
85 | bus_MV_113_0_node_225 | 20 | n |  | TRUE
86 | bus_HV_113_0_node_170 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_113_0_load_0 | 0 | 0.25213 | 0.12211 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_113_0_load_25 | 5 | 0.3483 | 0.16869 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_113_0_load_17 | 6 | 0.20877 | 0.10111 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_113_0_load_14 | 7 | 0.21287 | 0.1031 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_113_0_load_5 | 8 | 0.18394 | 0.089086 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_113_0_load_24 | 12 | 0.4028 | 0.19509 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_113_0_load_16 | 14 | 0.28574 | 0.13839 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_113_0_load_19 | 17 | 0.41493 | 0.20096 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_113_0_load_21 | 19 | 0.22453 | 0.10875 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_113_0_load_147 | 21 | 0.063715 | 0.030859 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_113_0_load_18 | 23 | 0.41313 | 0.20009 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_113_0_load_20 | 24 | 0.23354 | 0.11311 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_113_0_load_226 | 25 | 0.21271 | 0.10302 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_113_0_load_224 | 27 | 0.17372 | 0.084138 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_113_0_load_220 | 28 | 0.29549 | 0.14311 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_113_0_load_65 | 30 | 0.062436 | 0.030239 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_113_0_load_215 | 31 | 0.12519 | 0.06063 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_113_0_load_69 | 35 | 0.10123 | 0.049028 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_113_0_load_167 | 38 | 0.070243 | 0.03402 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_113_0_load_214 | 39 | 0.28929 | 0.14011 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_113_0_load_155 | 40 | 0.10045 | 0.04865 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_113_0_load_176 | 43 | 0.2706 | 0.13106 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_113_0_load_241 | 44 | 0.28753 | 0.13926 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_113_0_load_159 | 45 | 0.2775 | 0.1344 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_113_0_load_180 | 49 | 0.37223 | 0.18028 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_113_0_load_173 | 50 | 0.29181 | 0.14133 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_113_0_load_172 | 52 | 0.2163 | 0.10476 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_113_0_load_164 | 54 | 0.12391 | 0.060011 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_113_0_load_168 | 57 | 0.21839 | 0.10577 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_113_0_load_175 | 60 | 0.14156 | 0.068563 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_113_0_load_201 | 61 | 0.30237 | 0.14645 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_113_0_load_177 | 63 | 0.12853 | 0.062251 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_113_0_load_199 | 69 | 0.37192 | 0.18013 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_113_0_load_185 | 70 | 0.40099 | 0.19421 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_113_0_load_198 | 71 | 0.26968 | 0.13061 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_113_0_load_186 | 73 | 0.26828 | 0.12993 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_113_0_load_191 | 76 | 0.37129 | 0.17982 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_113_0_load_195 | 77 | 0.26771 | 0.12966 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_113_0_load_213 | 81 | 0.34322 | 0.16623 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_113_0_load_227 | 82 | 0.19947 | 0.096606 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_113_0_load_196 | 83 | 0.18539 | 0.08979 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_113_0_line_0 |  | 0 | 1 | 0.0079439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_113_0_line_1 |  | 1 | 2 | 0.044644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_113_0_line_2 |  | 2 | 3 | 0.2552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_113_0_line_3 |  | 2 | 4 | 0.25959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_113_0_line_4 |  | 2 | 5 | 0.013827 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_113_0_line_5 |  | 3 | 6 | 0.02994 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_113_0_line_6 |  | 4 | 7 | 0.062245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_113_0_line_7 |  | 6 | 26 | 0.27164 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_113_0_line_8 |  | 7 | 25 | 0.24977 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_113_0_line_9 |  | 8 | 9 | 0.022513 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_113_0_line_10 |  | 9 | 10 | 0.21483 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_113_0_line_11 |  | 9 | 11 | 0.32985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_113_0_line_12 |  | 10 | 12 | 0.086228 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_113_0_line_13 |  | 11 | 15 | 0.24397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_113_0_line_14 |  | 11 | 16 | 0.60571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_113_0_line_15 |  | 11 | 17 | 0.024159 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_113_0_line_16 |  | 11 | 13 | 0.25309 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_113_0_line_17 |  | 12 | 29 | 1.4237 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
18 | MV_113_0_line_18 |  | 13 | 14 | 0.040199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_113_0_line_19 |  | 15 | 18 | 0.24723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_113_0_line_20 |  | 15 | 19 | 0.003475 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_113_0_line_21 |  | 16 | 22 | 0.6346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_113_0_line_22 |  | 16 | 23 | 0.073944 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_113_0_line_23 |  | 16 | 20 | 0.33351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_113_0_line_24 |  | 18 | 27 | 0.022715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_113_0_line_25 |  | 20 | 21 | 0.071103 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_113_0_line_26 |  | 22 | 24 | 0.082269 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_113_0_line_27 |  | 25 | 85 | 0.043329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_113_0_line_28 |  | 26 | 28 | 0.004632 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_113_0_line_29 |  | 27 | 84 | 0.096811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_113_0_line_30 |  | 29 | 43 | 0.81413 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
31 | MV_113_0_line_31 |  | 29 | 40 | 0.23082 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_113_0_line_32 |  | 30 | 31 | 0.49896 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_113_0_line_33 |  | 31 | 34 | 0.075916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_113_0_line_34 |  | 31 | 83 | 0.21978 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_113_0_line_35 |  | 32 | 33 | 0.29226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_113_0_line_36 |  | 32 | 34 | 1.3052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_113_0_line_37 |  | 33 | 35 | 0.066132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_113_0_line_38 |  | 34 | 36 | 0.4472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_113_0_line_39 |  | 36 | 80 | 0.22887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_113_0_line_40 |  | 37 | 38 | 0.015308 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_113_0_line_41 |  | 37 | 39 | 0.14195 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_113_0_line_42 |  | 38 | 55 | 0.047525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_113_0_line_43 |  | 40 | 41 | 0.16812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_113_0_line_44 |  | 41 | 42 | 0.42982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_113_0_line_45 |  | 42 | 44 | 0.056439 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_113_0_line_46 |  | 43 | 62 | 0.17597 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
47 | MV_113_0_line_47 |  | 45 | 46 | 0.016799 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
48 | MV_113_0_line_48 |  | 45 | 47 | 0.095775 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
49 | MV_113_0_line_49 |  | 46 | 48 | 0.23442 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
50 | MV_113_0_line_50 |  | 47 | 49 | 0.62454 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
51 | MV_113_0_line_51 |  | 48 | 50 | 0.01734 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
52 | MV_113_0_line_52 |  | 49 | 66 | 0.010665 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
53 | MV_113_0_line_53 |  | 50 | 59 | 0.040271 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
54 | MV_113_0_line_54 |  | 51 | 52 | 0.39039 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_113_0_line_55 |  | 51 | 53 | 0.60976 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_113_0_line_56 |  | 52 | 61 | 0.8902 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_113_0_line_57 |  | 53 | 70 | 0.055738 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_113_0_line_58 |  | 54 | 55 | 0.34878 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_113_0_line_59 |  | 54 | 56 | 0.75269 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_113_0_line_60 |  | 56 | 59 | 0.091 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
61 | MV_113_0_line_61 |  | 56 | 57 | 0.066317 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
62 | MV_113_0_line_62 |  | 57 | 58 | 0.19711 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
63 | MV_113_0_line_63 |  | 58 | 60 | 0.26929 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
64 | MV_113_0_line_64 |  | 60 | 62 | 0.093919 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
65 | MV_113_0_line_65 |  | 61 | 81 | 0.5437 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_113_0_line_66 |  | 61 | 65 | 0.078437 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_113_0_line_67 |  | 63 | 64 | 0.032756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_113_0_line_68 |  | 64 | 65 | 0.64176 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_113_0_line_69 |  | 66 | 67 | 0.1053 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
70 | MV_113_0_line_70 |  | 67 | 68 | 0.27353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_113_0_line_71 |  | 67 | 69 | 0.017496 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
72 | MV_113_0_line_72 |  | 68 | 71 | 0.070422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_113_0_line_73 |  | 69 | 72 | 0.062469 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
74 | MV_113_0_line_74 |  | 70 | 72 | 0.36643 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
75 | MV_113_0_line_75 |  | 73 | 74 | 0.10636 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_113_0_line_76 |  | 74 | 75 | 0.070864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_113_0_line_77 |  | 75 | 76 | 0.093015 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_113_0_line_78 |  | 75 | 77 | 0.26411 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_113_0_line_79 |  | 76 | 78 | 0.12062 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_113_0_line_80 |  | 78 | 79 | 1.0293 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_113_0_line_81 |  | 79 | 80 | 0.78899 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_113_0_line_82 |  | 79 | 81 | 0.082476 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_113_0_line_83 |  | 80 | 82 | 0.073828 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_113_0_line_84 |  | 84 | 85 | 0.17148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_113_0_trafo_170 | 25 MVA 110/20 kV | 86 | 58 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2605455.552 | 1123830.5087
1 | 2605447.6701 | 1123831.5001
2 | 2605420.4837 | 1123850.9855
3 | 2605285.3268 | 1123812.5265
4 | 2605265.7468 | 1123683.5578
5 | 2605406.6612 | 1123849.8728
6 | 2605255.8026 | 1123807.5542
7 | 2605251.0417 | 1123623.2491
8 | 2604471.7712 | 1123617.0621
9 | 2604488.228 | 1123601.7
10 | 2604658.8375 | 1123711.3694
11 | 2604359.5831 | 1123322.9602
12 | 2604738.2544 | 1123744.9577
13 | 2604292.3139 | 1123549.001
14 | 2604330.6707 | 1123561.3784
15 | 2604545.9183 | 1123430.0141
16 | 2603824.3235 | 1123229.1141
17 | 2604361.6971 | 1123299.2724
18 | 2604721.5888 | 1123450.2232
19 | 2604543.95 | 1123432.8808
20 | 2603565.4656 | 1123242.9102
21 | 2603510.706 | 1123282.9095
22 | 2604249.2261 | 1123442.797
23 | 2603865.4437 | 1123290.5698
24 | 2604188.1059 | 1123387.7282
25 | 2605002.7626 | 1123596.006
26 | 2604992.0188 | 1123742.6911
27 | 2604738.54 | 1123435.0511
28 | 2604990.7584 | 1123747.1478
29 | 2604408.1264 | 1125129.8987
30 | 2601787.503 | 1126574.6909
31 | 2602186.104 | 1126874.819
32 | 2601211.909 | 1126485.8005
33 | 2601339.5373 | 1126249.9666
34 | 2602218.3983 | 1126942.53
35 | 2601405.6384 | 1126245.6009
36 | 2602640.7212 | 1126906.8663
37 | 2602981.5959 | 1124715.2305
38 | 2602988.1107 | 1124703.6509
39 | 2602853.7614 | 1124653.5291
40 | 2604579.8344 | 1125281.7205
41 | 2604731.3331 | 1125351.8696
42 | 2604873.6298 | 1125222.3956
43 | 2603904.4513 | 1125769.5258
44 | 2604818.4732 | 1125210.4351
45 | 2603263.0612 | 1125826.0912
46 | 2603279.6136 | 1125828.9575
47 | 2603168.1892 | 1125816.5378
48 | 2603356.3573 | 1125624.8437
49 | 2602814.4793 | 1126331.2622
50 | 2603355.6421 | 1125607.735
51 | 2603635.2777 | 1126182.1844
52 | 2603981.1939 | 1126363.1531
53 | 2603216.0696 | 1126624.9787
54 | 2603372.5641 | 1124781.8749
55 | 2603033.5982 | 1124699.7148
56 | 2603423.4864 | 1125532.8357
57 | 2603475.9367 | 1125573.507
58 | 2603672.0281 | 1125592.5077
59 | 2603390.0367 | 1125586.788
60 | 2603687.3618 | 1125861.3595
61 | 2603586.4947 | 1127161.0661
62 | 2603775.2657 | 1125889.0146
63 | 2603888.3899 | 1127256.8625
64 | 2603915.5634 | 1127274.2549
65 | 2603656.1569 | 1127192.5557
66 | 2602821.9281 | 1126338.9138
67 | 2602785.3939 | 1126401.7723
68 | 2602600.4391 | 1126253.0419
69 | 2602782.5271 | 1126418.9905
70 | 2603176.8343 | 1126585.3894
71 | 2602545.2388 | 1126209.2199
72 | 2602835.5092 | 1126452.0862
73 | 2602827.7132 | 1127847.629
74 | 2602830.1578 | 1127741.3006
75 | 2602867.1248 | 1127692.3715
76 | 2602945.3857 | 1127669.9862
77 | 2602650.468 | 1127541.3238
78 | 2603049.7437 | 1127725.5304
79 | 2603217.1628 | 1127574.0748
80 | 2602824.3332 | 1127013.8103
81 | 2603286.1977 | 1127614.3166
82 | 2602780.141 | 1126962.432
83 | 2602367.9016 | 1126751.3251
84 | 2604820.9774 | 1123484.9285
85 | 2604967.471 | 1123570.7539
86 | 2603672.0281 | 1125592.5077

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98055 | -0.313 | 0.25213 | 0.12211
1 | 0.98056 | -0.31303 | 0 | 0
2 | 0.98057 | -0.31317 | 0 | 0
3 | 0.9804 | -0.31162 | 0 | 0
4 | 0.98094 | -0.31655 | 0 | 0
5 | 0.98056 | -0.31311 | 0.3483 | 0.16869
6 | 0.98037 | -0.31181 | 0.20877 | 0.10111
7 | 0.98103 | -0.31734 | 0.21287 | 0.1031
8 | 0.98491 | -0.3408 | 0.18394 | 0.089086
9 | 0.98491 | -0.34075 | 0 | 0
10 | 0.98589 | -0.34881 | 0 | 0
11 | 0.9835 | -0.32896 | 0 | 0
12 | 0.98648 | -0.3443 | 0.4028 | 0.19509
13 | 0.9834 | -0.32813 | 0 | 0
14 | 0.98339 | -0.32799 | 0.28574 | 0.13839
15 | 0.98289 | -0.32364 | 0 | 0
16 | 0.98294 | -0.32488 | 0 | 0
17 | 0.98348 | -0.32884 | 0.41493 | 0.20096
18 | 0.98234 | -0.31884 | 0 | 0
19 | 0.98289 | -0.32363 | 0.22453 | 0.10875
20 | 0.98292 | -0.32474 | 0 | 0
21 | 0.98291 | -0.32468 | 0.063715 | 0.030859
22 | 0.98275 | -0.32335 | 0 | 0
23 | 0.98288 | -0.32526 | 0.41313 | 0.20009
24 | 0.98272 | -0.32359 | 0.23354 | 0.11311
25 | 0.98168 | -0.31287 | 0.21271 | 0.10302
26 | 0.98022 | -0.31283 | 0 | 0
27 | 0.98229 | -0.3184 | 0.17372 | 0.084138
28 | 0.98021 | -0.31281 | 0.29549 | 0.14311
29 | 0.99313 | -0.17258 | 0 | 0
30 | 0.98082 | -0.23686 | 0.062436 | 0.030239
31 | 0.98088 | -0.23645 | 0.12519 | 0.06063
32 | 0.98075 | -0.23716 | 0 | 0
33 | 0.98071 | -0.23689 | 0 | 0
34 | 0.98091 | -0.2368 | 0 | 0
35 | 0.98071 | -0.23681 | 0.10123 | 0.049028
36 | 0.98118 | -0.23807 | 0 | 0
37 | 0.99829 | -0.014562 | 0 | 0
38 | 0.99829 | -0.014615 | 0.070243 | 0.03402
39 | 0.99821 | -0.015061 | 0.28929 | 0.14011
40 | 0.99301 | -0.17175 | 0.10045 | 0.04865
41 | 0.99295 | -0.17129 | 0 | 0
42 | 0.99279 | -0.16993 | 0 | 0
43 | 0.9973 | -0.065474 | 0.2706 | 0.13106
44 | 0.99276 | -0.17013 | 0.28753 | 0.13926
45 | 0.9982 | -0.024297 | 0.2775 | 0.1344
46 | 0.99824 | -0.023839 | 0 | 0
47 | 0.99799 | -0.026759 | 0 | 0
48 | 0.99878 | -0.017419 | 0 | 0
49 | 0.99507 | -0.10362 | 0.37223 | 0.18028
50 | 0.99882 | -0.016943 | 0.29181 | 0.14133
51 | 0.99012 | -0.17162 | 0 | 0
52 | 0.98819 | -0.18839 | 0.2163 | 0.10476
53 | 0.99314 | -0.14553 | 0 | 0
54 | 0.99856 | -0.013241 | 0.12391 | 0.060011
55 | 0.99831 | -0.014817 | 0 | 0
56 | 0.99926 | -0.0086717 | 0 | 0
57 | 0.99944 | -0.0065532 | 0.21839 | 0.10577
58 | 1 | 0 | -10.1106 | -4.6516
59 | 0.99903 | -0.011322 | 0 | 0
60 | 0.99849 | -0.038408 | 0.14156 | 0.068563
61 | 0.98416 | -0.22441 | 0.30237 | 0.14645
62 | 0.99825 | -0.041055 | 0 | 0
63 | 0.98404 | -0.22364 | 0.12853 | 0.062251
64 | 0.98405 | -0.22369 | 0 | 0
65 | 0.98415 | -0.22437 | 0 | 0
66 | 0.99505 | -0.10387 | 0 | 0
67 | 0.99484 | -0.10638 | 0 | 0
68 | 0.99475 | -0.10557 | 0 | 0
69 | 0.99481 | -0.10676 | 0.37192 | 0.18013
70 | 0.99332 | -0.14683 | 0.40099 | 0.19421
71 | 0.99473 | -0.10534 | 0.26968 | 0.13061
72 | 0.99459 | -0.11259 | 0 | 0
73 | 0.9805 | -0.22959 | 0.26828 | 0.12993
74 | 0.98055 | -0.22924 | 0 | 0
75 | 0.98058 | -0.22947 | 0 | 0
76 | 0.98064 | -0.23007 | 0.37129 | 0.17982
77 | 0.98044 | -0.23036 | 0.26771 | 0.12966
78 | 0.98078 | -0.23139 | 0 | 0
79 | 0.98199 | -0.24171 | 0 | 0
80 | 0.98132 | -0.23861 | 0 | 0
81 | 0.98216 | -0.24274 | 0.34322 | 0.16623
82 | 0.9813 | -0.23843 | 0.19947 | 0.096606
83 | 0.9808 | -0.23697 | 0.18539 | 0.08979
84 | 0.9821 | -0.3167 | 0 | 0
85 | 0.98176 | -0.31365 | 0 | 0
86 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.25213 | -0.12211 | 0.25213 | 0.12193 | 7.2118e-07 | -0.00018215 | 0.0082475 | 0.0082452 | 0.0082475 | 0.98055 | -0.313 | 0.98056 | -0.31303 | 3.7489
1 | -0.25213 | -0.12193 | 0.25214 | 0.12091 | 4.0453e-06 | -0.0010237 | 0.0082452 | 0.0082321 | 0.0082452 | 0.98056 | -0.31303 | 0.98057 | -0.31317 | 3.7478
2 | 0.50441 | 0.23798 | -0.50432 | -0.24381 | 9.2262e-05 | -0.0058303 | 0.016419 | 0.016494 | 0.016494 | 0.98057 | -0.31317 | 0.9804 | -0.31162 | 7.4971
3 | -1.1048 | -0.52726 | 1.1053 | 0.52143 | 0.0004492 | -0.0058286 | 0.03604 | 0.035965 | 0.03604 | 0.98057 | -0.31317 | 0.98094 | -0.31655 | 16.3819
4 | 0.3483 | 0.16837 | -0.3483 | -0.16869 | 2.3952e-06 | -0.00031672 | 0.011389 | 0.011393 | 0.011393 | 0.98057 | -0.31317 | 0.98056 | -0.31311 | 5.1787
5 | 0.50432 | 0.24381 | -0.5043 | -0.24383 | 1.4512e-05 | -2.5264e-05 | 0.016494 | 0.016494 | 0.016494 | 0.9804 | -0.31162 | 0.98037 | -0.31181 | 7.8543
6 | -1.1053 | -0.52143 | 1.1054 | 0.52003 | 0.00010743 | -0.0013983 | 0.035965 | 0.035947 | 0.035965 | 0.98094 | -0.31655 | 0.98103 | -0.31734 | 16.3477
7 | 0.29553 | 0.14272 | -0.29549 | -0.143 | 4.5216e-05 | -0.00028331 | 0.0096636 | 0.0096676 | 0.0096676 | 0.98037 | -0.31181 | 0.98022 | -0.31283 | 4.6036
8 | -1.3183 | -0.62313 | 1.3191 | 0.62335 | 0.00081918 | 0.00022595 | 0.042906 | 0.042903 | 0.042906 | 0.98103 | -0.31734 | 0.98168 | -0.31287 | 20.4316
9 | -0.18394 | -0.089086 | 0.18394 | 0.089061 | 1.4392e-06 | -2.5169e-05 | 0.0059903 | 0.00599 | 0.0059903 | 0.98491 | -0.3408 | 0.98491 | -0.34075 | 2.8525
10 | -3.5341 | -1.6222 | 3.5379 | 1.6184 | 0.0037237 | -0.0038761 | 0.11398 | 0.11392 | 0.11398 | 0.98491 | -0.34075 | 0.98589 | -0.34881 | 51.8073
11 | 3.3502 | 1.5332 | -3.3451 | -1.5393 | 0.0051395 | -0.0061043 | 0.10799 | 0.10808 | 0.10808 | 0.98491 | -0.34075 | 0.9835 | -0.32896 | 49.1276
12 | -3.5379 | -1.6184 | 3.5399 | 1.6195 | 0.0019936 | 0.0011486 | 0.11392 | 0.11391 | 0.11392 | 0.98589 | -0.34881 | 0.98648 | -0.3443 | 54.2453
13 | 1.9335 | 0.90116 | -1.9322 | -0.90641 | 0.0012783 | -0.0052517 | 0.062613 | 0.062683 | 0.062683 | 0.9835 | -0.32896 | 0.98289 | -0.32364 | 28.4921
14 | 0.71088 | 0.30608 | -0.71046 | -0.31994 | 0.00042035 | -0.013856 | 0.022718 | 0.022883 | 0.022883 | 0.9835 | -0.32896 | 0.98294 | -0.32488 | 10.4015
15 | 0.41494 | 0.2004 | -0.41493 | -0.20096 | 5.9031e-06 | -0.00055618 | 0.013525 | 0.013532 | 0.013532 | 0.9835 | -0.32896 | 0.98348 | -0.32884 | 6.1511
16 | 0.28577 | 0.13163 | -0.28574 | -0.13746 | 2.9042e-05 | -0.0058359 | 0.009235 | 0.009308 | 0.009308 | 0.9835 | -0.32896 | 0.9834 | -0.32813 | 4.2309
17 | -3.9427 | -1.8146 | 3.9637 | 1.8369 | 0.02108 | 0.022358 | 0.12701 | 0.12699 | 0.12701 | 0.98648 | -0.3443 | 0.99313 | -0.17258 | 36.288
18 | 0.28574 | 0.13746 | -0.28574 | -0.13839 | 4.6555e-06 | -0.0009268 | 0.009308 | 0.0093199 | 0.0093199 | 0.9834 | -0.32813 | 0.98339 | -0.32799 | 4.2363
19 | 1.7077 | 0.79775 | -1.7066 | -0.80315 | 0.0010127 | -0.0053989 | 0.055357 | 0.055428 | 0.055428 | 0.98289 | -0.32364 | 0.98234 | -0.31884 | 25.1946
20 | 0.22453 | 0.10867 | -0.22453 | -0.10875 | 2.4906e-07 | -8.008e-05 | 0.0073263 | 0.0073273 | 0.0073273 | 0.98289 | -0.32364 | 0.98289 | -0.32363 | 3.3306
21 | 0.23359 | 0.098396 | -0.23355 | -0.11302 | 4.8038e-05 | -0.014622 | 0.0074441 | 0.0076213 | 0.0076213 | 0.98294 | -0.32488 | 0.98275 | -0.32335 | 3.4642
22 | 0.41315 | 0.20002 | -0.41313 | -0.20009 | 2.3944e-05 | -7.0286e-05 | 0.013481 | 0.013482 | 0.013482 | 0.98294 | -0.32488 | 0.98288 | -0.32526 | 6.4199
23 | 0.063717 | 0.021526 | -0.063715 | -0.029219 | 1.8063e-06 | -0.0076928 | 0.0019752 | 0.0020587 | 0.0020587 | 0.98294 | -0.32488 | 0.98292 | -0.32474 | 0.93575
24 | 1.7066 | 0.80315 | -1.7066 | -0.80364 | 9.3176e-05 | -0.0004957 | 0.055428 | 0.055435 | 0.055435 | 0.98234 | -0.31884 | 0.98229 | -0.3184 | 25.1976
25 | 0.063715 | 0.029219 | -0.063715 | -0.030859 | 4.0627e-07 | -0.00164 | 0.0020587 | 0.0020792 | 0.0020792 | 0.98292 | -0.32474 | 0.98291 | -0.32468 | 0.94509
26 | 0.23355 | 0.11302 | -0.23354 | -0.11311 | 8.5152e-06 | -8.9518e-05 | 0.0076213 | 0.0076225 | 0.0076225 | 0.98275 | -0.32335 | 0.98272 | -0.32359 | 3.6297
27 | -1.5318 | -0.72637 | 1.5319 | 0.72542 | 0.00014372 | -0.00095442 | 0.049852 | 0.04984 | 0.049852 | 0.98168 | -0.31287 | 0.98176 | -0.31365 | 22.6602
28 | 0.29549 | 0.143 | -0.29549 | -0.14311 | 5.7805e-07 | -0.00010609 | 0.0096676 | 0.009669 | 0.009669 | 0.98022 | -0.31283 | 0.98021 | -0.31281 | 4.395
29 | 1.5328 | 0.7195 | -1.5325 | -0.72164 | 0.00032022 | -0.0021349 | 0.049762 | 0.04979 | 0.04979 | 0.98229 | -0.3184 | 0.9821 | -0.3167 | 22.632
30 | -4.3518 | -2.0053 | 4.3663 | 2.0209 | 0.014497 | 0.015568 | 0.13928 | 0.13927 | 0.13928 | 0.99313 | -0.17258 | 0.9973 | -0.065474 | 39.7943
31 | 0.3881 | 0.16837 | -0.38805 | -0.17379 | 4.6835e-05 | -0.005421 | 0.012297 | 0.012361 | 0.012361 | 0.99313 | -0.17258 | 0.99301 | -0.17175 | 5.6185
32 | -0.062436 | -0.030239 | 0.062439 | 0.029668 | 3.6929e-06 | -0.00057075 | 0.0020418 | 0.0020345 | 0.0020418 | 0.98082 | -0.23686 | 0.98088 | -0.23645 | 0.97228
33 | -0.37303 | -0.17985 | 0.37305 | 0.17811 | 1.5027e-05 | -0.0017395 | 0.012188 | 0.012166 | 0.012188 | 0.98088 | -0.23645 | 0.98091 | -0.2368 | 5.5399
34 | 0.18541 | 0.089547 | -0.18539 | -0.08979 | 1.4386e-05 | -0.0002434 | 0.0060597 | 0.0060629 | 0.0060629 | 0.98088 | -0.23645 | 0.9808 | -0.23697 | 2.8871
35 | 0.10124 | 0.040799 | -0.10123 | -0.04751 | 4.1234e-06 | -0.0067106 | 0.0032127 | 0.0032916 | 0.0032916 | 0.98075 | -0.23716 | 0.98071 | -0.23689 | 1.4962
36 | -0.10124 | -0.040799 | 0.10125 | 0.010825 | 1.6477e-05 | -0.029975 | 0.0032127 | 0.0029968 | 0.0032127 | 0.98075 | -0.23716 | 0.98091 | -0.2368 | 1.4603
37 | 0.10123 | 0.04751 | -0.10123 | -0.049028 | 9.6212e-07 | -0.0015184 | 0.0032916 | 0.0033109 | 0.0033109 | 0.98071 | -0.23689 | 0.98071 | -0.23681 | 1.5049
38 | -0.4743 | -0.18893 | 0.47443 | 0.17869 | 0.00013378 | -0.010237 | 0.015025 | 0.014916 | 0.015025 | 0.98091 | -0.2368 | 0.98118 | -0.23807 | 6.8295
39 | -0.47443 | -0.17869 | 0.4745 | 0.17345 | 6.7728e-05 | -0.0052413 | 0.014916 | 0.014862 | 0.014916 | 0.98118 | -0.23807 | 0.98132 | -0.23861 | 6.7799
40 | -0.28931 | -0.13995 | 0.28931 | 0.13959 | 1.7641e-06 | -0.00036371 | 0.0092934 | 0.0092889 | 0.0092934 | 0.99829 | -0.014562 | 0.99829 | -0.014615 | 4.2243
41 | 0.28931 | 0.13995 | -0.28929 | -0.14011 | 2.1848e-05 | -0.00015518 | 0.0092934 | 0.0092956 | 0.0092956 | 0.99829 | -0.014562 | 0.99821 | -0.015061 | 4.4265
42 | -0.35955 | -0.17361 | 0.35956 | 0.17248 | 8.4472e-06 | -0.0011284 | 0.011546 | 0.011532 | 0.011546 | 0.99829 | -0.014615 | 0.99831 | -0.014817 | 5.2481
43 | 0.28761 | 0.12514 | -0.28759 | -0.12909 | 1.8754e-05 | -0.0039524 | 0.009118 | 0.0091646 | 0.0091646 | 0.99301 | -0.17175 | 0.99295 | -0.17129 | 4.1657
44 | 0.28759 | 0.12909 | -0.28754 | -0.1392 | 4.884e-05 | -0.010102 | 0.0091646 | 0.0092889 | 0.0092889 | 0.99295 | -0.17129 | 0.99279 | -0.16993 | 4.2222
45 | 0.28754 | 0.1392 | -0.28753 | -0.13926 | 8.6771e-06 | -6.0972e-05 | 0.0092889 | 0.0092897 | 0.0092897 | 0.99279 | -0.16993 | 0.99276 | -0.17013 | 4.4237
46 | -4.6369 | -2.1519 | 4.6405 | 2.1558 | 0.0035369 | 0.0038253 | 0.14797 | 0.14797 | 0.14797 | 0.9973 | -0.065474 | 0.99825 | -0.041055 | 42.277
47 | -4.3061 | -1.9499 | 4.3062 | 1.9495 | 0.00015162 | -0.00046407 | 0.1367 | 0.1367 | 0.1367 | 0.9982 | -0.024297 | 0.99824 | -0.023839 | 37.7632
48 | 4.0286 | 1.8155 | -4.0278 | -1.8183 | 0.00075565 | -0.0027241 | 0.12779 | 0.12783 | 0.12783 | 0.9982 | -0.024297 | 0.99799 | -0.026759 | 35.3116
49 | -4.3062 | -1.9495 | 4.3083 | 1.943 | 0.0021142 | -0.0064816 | 0.1367 | 0.1366 | 0.1367 | 0.99824 | -0.023839 | 0.99878 | -0.017419 | 37.7614
50 | 4.0278 | 1.8183 | -4.0184 | -1.8083 | 0.0093689 | 0.0099367 | 0.12783 | 0.12784 | 0.12784 | 0.99799 | -0.026759 | 0.99507 | -0.10362 | 36.525
51 | -4.3083 | -1.943 | 4.3085 | 1.9425 | 0.00015627 | -0.00047988 | 0.1366 | 0.13659 | 0.1366 | 0.99878 | -0.017419 | 0.99882 | -0.016943 | 37.735
52 | 3.6462 | 1.628 | -3.6461 | -1.6284 | 6.9131e-05 | -0.00031203 | 0.11584 | 0.11585 | 0.11585 | 0.99507 | -0.10362 | 0.99505 | -0.10387 | 32.0023
53 | -4.6003 | -2.0838 | 4.6011 | 2.0847 | 0.00078761 | 0.00085036 | 0.14596 | 0.14596 | 0.14596 | 0.99882 | -0.016943 | 0.99903 | -0.011322 | 41.7032
54 | 2.5913 | 1.1288 | -2.5866 | -1.1263 | 0.0047239 | 0.0025029 | 0.082408 | 0.082413 | 0.082413 | 0.99012 | -0.17162 | 0.98819 | -0.18839 | 39.2443
55 | -2.5913 | -1.1288 | 2.5987 | 1.1327 | 0.0073771 | 0.003905 | 0.082408 | 0.082399 | 0.082408 | 0.99012 | -0.17162 | 0.99314 | -0.14553 | 39.2418
56 | 2.3703 | 1.0216 | -2.3612 | -1.017 | 0.0090181 | 0.0046151 | 0.075399 | 0.075411 | 0.075411 | 0.98819 | -0.18839 | 0.98416 | -0.22441 | 35.9098
57 | -2.5987 | -1.1327 | 2.5992 | 1.1316 | 0.00050513 | -0.001163 | 0.082399 | 0.082384 | 0.082399 | 0.99314 | -0.14553 | 0.99332 | -0.14683 | 37.4543
58 | 0.35964 | 0.17212 | -0.35956 | -0.17248 | 8.2598e-05 | -0.00036334 | 0.011526 | 0.011532 | 0.011532 | 0.99856 | -0.013241 | 0.99831 | -0.014817 | 5.4912
59 | -0.48355 | -0.23213 | 0.48388 | 0.23143 | 0.00032223 | -0.00069476 | 0.015506 | 0.015495 | 0.015506 | 0.99856 | -0.013241 | 0.99926 | -0.0086717 | 7.384
60 | 4.602 | 2.0823 | -4.6011 | -2.0847 | 0.00093616 | -0.0024362 | 0.14592 | 0.14596 | 0.14596 | 0.99926 | -0.0086717 | 0.99903 | -0.011322 | 40.3206
61 | -5.0859 | -2.3137 | 5.0867 | 2.312 | 0.00083443 | -0.0016657 | 0.16142 | 0.16139 | 0.16142 | 0.99926 | -0.0086717 | 0.99944 | -0.0065532 | 44.5899
62 | -5.3051 | -2.4178 | 5.3078 | 2.413 | 0.0026983 | -0.0047972 | 0.1684 | 0.16831 | 0.1684 | 0.99944 | -0.0065532 | 1 | 0 | 46.518
63 | 4.7888 | 2.2281 | -4.783 | -2.2218 | 0.005747 | 0.0062355 | 0.15247 | 0.15247 | 0.15247 | 1 | 0 | 0.99849 | -0.038408 | 43.5642
64 | 4.6415 | 2.1533 | -4.6405 | -2.1558 | 0.00099292 | -0.0024899 | 0.14793 | 0.14797 | 0.14797 | 0.99849 | -0.038408 | 0.99825 | -0.041055 | 40.8748
65 | 1.9303 | 0.82566 | -1.9266 | -0.82399 | 0.0036742 | 0.001674 | 0.061582 | 0.06159 | 0.06159 | 0.98416 | -0.22441 | 0.98216 | -0.24274 | 29.3284
66 | 0.12855 | 0.044846 | -0.12855 | -0.046659 | 1.6774e-06 | -0.0018134 | 0.0039935 | 0.0040113 | 0.0040113 | 0.98416 | -0.22441 | 0.98415 | -0.22437 | 1.8233
67 | -0.12853 | -0.062251 | 0.12853 | 0.061494 | 7.6578e-07 | -0.0007571 | 0.0041895 | 0.0041799 | 0.0041895 | 0.98404 | -0.22364 | 0.98405 | -0.22369 | 1.9043
68 | -0.12853 | -0.061494 | 0.12855 | 0.046659 | 1.4337e-05 | -0.014835 | 0.0041799 | 0.0040113 | 0.0041799 | 0.98405 | -0.22369 | 0.98415 | -0.22437 | 1.9
69 | 3.6461 | 1.6284 | -3.6455 | -1.6314 | 0.00068281 | -0.0030797 | 0.11585 | 0.11589 | 0.11589 | 0.99505 | -0.10387 | 0.99484 | -0.10638 | 32.014
70 | 0.26971 | 0.12249 | -0.26969 | -0.12895 | 2.7226e-05 | -0.0064549 | 0.0085956 | 0.0086749 | 0.0086749 | 0.99484 | -0.10638 | 0.99475 | -0.10557 | 3.9431
71 | 3.3758 | 1.5089 | -3.3757 | -1.5095 | 9.7292e-05 | -0.00052333 | 0.1073 | 0.1073 | 0.1073 | 0.99484 | -0.10638 | 0.99481 | -0.10676 | 29.6415
72 | 0.26969 | 0.12895 | -0.26968 | -0.13061 | 7.0918e-06 | -0.0016616 | 0.0086749 | 0.0086958 | 0.0086958 | 0.99475 | -0.10557 | 0.99473 | -0.10534 | 3.9526
73 | 3.0037 | 1.3293 | -3.0032 | -1.3288 | 0.00052102 | 0.00051827 | 0.095317 | 0.095318 | 0.095318 | 0.99481 | -0.10676 | 0.99459 | -0.11259 | 27.2337
74 | -3.0002 | -1.3258 | 3.0032 | 1.3288 | 0.0030564 | 0.003041 | 0.095323 | 0.095318 | 0.095323 | 0.99332 | -0.14683 | 0.99459 | -0.11259 | 27.2353
75 | -0.26828 | -0.12993 | 0.26829 | 0.12982 | 1.4592e-05 | -0.00011293 | 0.0087761 | 0.0087746 | 0.0087761 | 0.9805 | -0.22959 | 0.98055 | -0.22924 | 4.1791
76 | -0.26829 | -0.12982 | 0.2683 | 0.12819 | 7.2665e-06 | -0.0016247 | 0.0087746 | 0.0087538 | 0.0087746 | 0.98055 | -0.22924 | 0.98058 | -0.22947 | 3.9884
77 | -0.53604 | -0.25757 | 0.53608 | 0.25545 | 3.8004e-05 | -0.0021243 | 0.017508 | 0.017481 | 0.017508 | 0.98058 | -0.22947 | 0.98064 | -0.23007 | 7.9581
78 | 0.26774 | 0.12938 | -0.26771 | -0.12966 | 3.6078e-05 | -0.00028053 | 0.0087542 | 0.0087581 | 0.0087581 | 0.98058 | -0.22947 | 0.98044 | -0.23036 | 4.1705
79 | -0.90737 | -0.43527 | 0.90751 | 0.43254 | 0.00014116 | -0.0027281 | 0.029625 | 0.02959 | 0.029625 | 0.98064 | -0.23007 | 0.98078 | -0.23139 | 13.4658
80 | -0.90751 | -0.43254 | 0.9087 | 0.40923 | 0.0011911 | -0.023316 | 0.02959 | 0.029297 | 0.02959 | 0.98078 | -0.23139 | 0.98199 | -0.24171 | 13.4498
81 | 0.67445 | 0.25035 | -0.67397 | -0.26836 | 0.00047532 | -0.018012 | 0.021149 | 0.02134 | 0.02134 | 0.98199 | -0.24171 | 0.98132 | -0.23861 | 9.7001
82 | -1.5831 | -0.65958 | 1.5834 | 0.65776 | 0.00027976 | -0.0018162 | 0.050417 | 0.050396 | 0.050417 | 0.98199 | -0.24171 | 0.98216 | -0.24274 | 22.917
83 | 0.19947 | 0.09491 | -0.19947 | -0.096606 | 4.1757e-06 | -0.0016962 | 0.0064982 | 0.0065198 | 0.0065198 | 0.98132 | -0.23861 | 0.9813 | -0.23843 | 2.9636
84 | 1.5325 | 0.72164 | -1.5319 | -0.72542 | 0.00056808 | -0.0037791 | 0.04979 | 0.04984 | 0.04984 | 0.9821 | -0.3167 | 0.98176 | -0.31365 | 22.6545

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.1106 | 4.6516

## res_load
| p_mw | q_mvar
0 | 0.25213 | 0.12211
1 | 0.3483 | 0.16869
2 | 0.20877 | 0.10111
3 | 0.21287 | 0.1031
4 | 0.18394 | 0.089086
5 | 0.4028 | 0.19509
6 | 0.28574 | 0.13839
7 | 0.41493 | 0.20096
8 | 0.22453 | 0.10875
9 | 0.063715 | 0.030859
10 | 0.41313 | 0.20009
11 | 0.23354 | 0.11311
12 | 0.21271 | 0.10302
13 | 0.17372 | 0.084138
14 | 0.29549 | 0.14311
15 | 0.062436 | 0.030239
16 | 0.12519 | 0.06063
17 | 0.10123 | 0.049028
18 | 0.070243 | 0.03402
19 | 0.28929 | 0.14011
20 | 0.10045 | 0.04865
21 | 0.2706 | 0.13106
22 | 0.28753 | 0.13926
23 | 0.2775 | 0.1344
24 | 0.37223 | 0.18028
25 | 0.29181 | 0.14133
26 | 0.2163 | 0.10476
27 | 0.12391 | 0.060011
28 | 0.21839 | 0.10577
29 | 0.14156 | 0.068563
30 | 0.30237 | 0.14645
31 | 0.12853 | 0.062251
32 | 0.37192 | 0.18013
33 | 0.40099 | 0.19421
34 | 0.26968 | 0.13061
35 | 0.26828 | 0.12993
36 | 0.37129 | 0.17982
37 | 0.26771 | 0.12966
38 | 0.34322 | 0.16623
39 | 0.19947 | 0.096606
40 | 0.18539 | 0.08979

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1