## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_122_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_122_0_node_8 | 20 | n |  | TRUE
2 | bus_MV_122_0_node_9 | 20 | n |  | TRUE
3 | bus_MV_122_0_node_6 | 20 | n |  | TRUE
4 | bus_MV_122_0_node_188 | 20 | n |  | TRUE
5 | bus_MV_122_0_node_167 | 20 | n |  | TRUE
6 | bus_MV_122_0_node_1 | 20 | n |  | TRUE
7 | bus_MV_122_0_node_2 | 20 | n |  | TRUE
8 | bus_MV_122_0_node_169 | 20 | n |  | TRUE
9 | bus_MV_122_0_node_3 | 20 | n |  | TRUE
10 | bus_MV_122_0_node_4 | 20 | n |  | TRUE
11 | bus_MV_122_0_node_25 | 20 | n |  | TRUE
12 | bus_MV_122_0_node_211 | 20 | n |  | TRUE
13 | bus_MV_122_0_node_5 | 20 | n |  | TRUE
14 | bus_MV_122_0_node_11 | 20 | n |  | TRUE
15 | bus_MV_122_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_122_0_node_10 | 20 | n |  | TRUE
17 | bus_MV_122_0_node_7 | 20 | n |  | TRUE
18 | bus_MV_122_0_node_125 | 20 | n |  | TRUE
19 | bus_MV_122_0_node_126 | 20 | n |  | TRUE
20 | bus_MV_122_0_node_127 | 20 | n |  | TRUE
21 | bus_MV_122_0_node_27 | 20 | n |  | TRUE
22 | bus_MV_122_0_node_170 | 20 | n |  | TRUE
23 | bus_MV_122_0_node_28 | 20 | n |  | TRUE
24 | bus_MV_122_0_node_26 | 20 | n |  | TRUE
25 | bus_MV_122_0_node_13 | 20 | n |  | TRUE
26 | bus_MV_122_0_node_14 | 20 | n |  | TRUE
27 | bus_MV_122_0_node_22 | 20 | n |  | TRUE
28 | bus_MV_122_0_node_15 | 20 | n |  | TRUE
29 | bus_MV_122_0_node_21 | 20 | n |  | TRUE
30 | bus_MV_122_0_node_17 | 20 | n |  | TRUE
31 | bus_MV_122_0_node_16 | 20 | n |  | TRUE
32 | bus_MV_122_0_node_165 | 20 | n |  | TRUE
33 | bus_MV_122_0_node_32 | 20 | n |  | TRUE
34 | bus_MV_122_0_node_30 | 20 | n |  | TRUE
35 | bus_MV_122_0_node_212 | 20 | n |  | TRUE
36 | bus_MV_122_0_node_166 | 20 | n |  | TRUE
37 | bus_MV_122_0_node_191 | 20 | n |  | TRUE
38 | bus_MV_122_0_node_31 | 20 | n |  | TRUE
39 | bus_MV_122_0_node_33 | 20 | n |  | TRUE
40 | bus_MV_122_0_node_18 | 20 | n |  | TRUE
41 | bus_MV_122_0_node_19 | 20 | n |  | TRUE
42 | bus_MV_122_0_node_20 | 20 | n |  | TRUE
43 | bus_MV_122_0_node_35 | 20 | n |  | TRUE
44 | bus_MV_122_0_node_36 | 20 | n |  | TRUE
45 | bus_MV_122_0_node_34 | 20 | n |  | TRUE
46 | bus_MV_122_0_node_23 | 20 | n |  | TRUE
47 | bus_MV_122_0_node_24 | 20 | n |  | TRUE
48 | bus_MV_122_0_node_29 | 20 | n |  | TRUE
49 | bus_MV_122_0_node_168 | 20 | n |  | TRUE
50 | bus_MV_122_0_node_190 | 20 | n |  | TRUE
51 | bus_MV_122_0_node_92 | 20 | n |  | TRUE
52 | bus_MV_122_0_node_93 | 20 | n |  | TRUE
53 | bus_MV_122_0_node_94 | 20 | n |  | TRUE
54 | bus_MV_122_0_node_95 | 20 | n |  | TRUE
55 | bus_MV_122_0_node_101 | 20 | n |  | TRUE
56 | bus_MV_122_0_node_96 | 20 | n |  | TRUE
57 | bus_MV_122_0_node_97 | 20 | n |  | TRUE
58 | bus_MV_122_0_node_178 | 20 | n |  | TRUE
59 | bus_MV_122_0_node_177 | 20 | n |  | TRUE
60 | bus_MV_122_0_node_99 | 20 | n |  | TRUE
61 | bus_MV_122_0_node_102 | 20 | n |  | TRUE
62 | bus_MV_122_0_node_184 | 20 | n |  | TRUE
63 | bus_MV_122_0_node_183 | 20 | n |  | TRUE
64 | bus_MV_122_0_node_98 | 20 | n |  | TRUE
65 | bus_MV_122_0_node_100 | 20 | n |  | TRUE
66 | bus_MV_122_0_node_179 | 20 | n |  | TRUE
67 | bus_MV_122_0_node_185 | 20 | n |  | TRUE
68 | bus_MV_122_0_node_186 | 20 | n |  | TRUE
69 | bus_MV_122_0_node_187 | 20 | n |  | TRUE
70 | bus_MV_122_0_node_225 | 20 | n |  | TRUE
71 | bus_MV_122_0_node_222 | 20 | n |  | TRUE
72 | bus_MV_122_0_node_182 | 20 | n |  | TRUE
73 | bus_MV_122_0_node_148 | 20 | n |  | TRUE
74 | bus_MV_122_0_node_114 | 20 | n |  | TRUE
75 | bus_MV_122_0_node_115 | 20 | n |  | TRUE
76 | bus_MV_122_0_node_141 | 20 | n |  | TRUE
77 | bus_MV_122_0_node_116 | 20 | n |  | TRUE
78 | bus_MV_122_0_node_136 | 20 | n |  | TRUE
79 | bus_MV_122_0_node_210 | 20 | n |  | TRUE
80 | bus_MV_122_0_node_153 | 20 | n |  | TRUE
81 | bus_MV_122_0_node_128 | 20 | n |  | TRUE
82 | bus_MV_122_0_node_129 | 20 | n |  | TRUE
83 | bus_MV_122_0_node_218 | 20 | n |  | TRUE
84 | bus_MV_122_0_node_137 | 20 | n |  | TRUE
85 | bus_MV_122_0_node_207 | 20 | n |  | TRUE
86 | bus_MV_122_0_node_208 | 20 | n |  | TRUE
87 | bus_MV_122_0_node_131 | 20 | n |  | TRUE
88 | bus_MV_122_0_node_130 | 20 | n |  | TRUE
89 | bus_MV_122_0_node_132 | 20 | n |  | TRUE
90 | bus_MV_122_0_node_133 | 20 | n |  | TRUE
91 | bus_MV_122_0_node_135 | 20 | n |  | TRUE
92 | bus_MV_122_0_node_189 | 20 | n |  | TRUE
93 | bus_MV_122_0_node_139 | 20 | n |  | TRUE
94 | bus_MV_122_0_node_140 | 20 | n |  | TRUE
95 | bus_MV_122_0_node_138 | 20 | n |  | TRUE
96 | bus_MV_122_0_node_200 | 20 | n |  | TRUE
97 | bus_MV_122_0_node_142 | 20 | n |  | TRUE
98 | bus_MV_122_0_node_143 | 20 | n |  | TRUE
99 | bus_MV_122_0_node_144 | 20 | n |  | TRUE
100 | bus_MV_122_0_node_150 | 20 | n |  | TRUE
101 | bus_MV_122_0_node_152 | 20 | n |  | TRUE
102 | bus_MV_122_0_node_154 | 20 | n |  | TRUE
103 | bus_MV_122_0_node_214 | 20 | n |  | TRUE
104 | bus_MV_122_0_node_156 | 20 | n |  | TRUE
105 | bus_MV_122_0_node_145 | 20 | n |  | TRUE
106 | bus_MV_122_0_node_146 | 20 | n |  | TRUE
107 | bus_MV_122_0_node_147 | 20 | n |  | TRUE
108 | bus_MV_122_0_node_149 | 20 | n |  | TRUE
109 | bus_MV_122_0_node_151 | 20 | n |  | TRUE
110 | bus_MV_122_0_node_228 | 20 | n |  | TRUE
111 | bus_MV_122_0_node_159 | 20 | n |  | TRUE
112 | bus_MV_122_0_node_155 | 20 | n |  | TRUE
113 | bus_MV_122_0_node_224 | 20 | n |  | TRUE
114 | bus_MV_122_0_node_180 | 20 | n |  | TRUE
115 | bus_MV_122_0_node_213 | 20 | n |  | TRUE
116 | bus_HV_122_0_node_137 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_122_0_load_0 | 0 | 0.17177 | 0.083194 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_122_0_load_8 | 1 | 0.26905 | 0.13031 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_122_0_load_6 | 3 | 0.10438 | 0.050555 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_122_0_load_188 | 4 | 0.099216 | 0.048052 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_122_0_load_1 | 6 | 0.20783 | 0.10066 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_122_0_load_169 | 8 | 0.089853 | 0.043518 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_122_0_load_211 | 12 | 0.32631 | 0.15804 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_122_0_load_5 | 13 | 0.23106 | 0.11191 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_122_0_load_10 | 16 | 0.25253 | 0.1223 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_122_0_load_125 | 18 | 0.12606 | 0.061054 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_122_0_load_127 | 20 | 0.25823 | 0.12507 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_122_0_load_170 | 22 | 0.11441 | 0.055413 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_122_0_load_26 | 24 | 0.36981 | 0.17911 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_122_0_load_13 | 25 | 0.26521 | 0.12845 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_122_0_load_21 | 29 | 0.050552 | 0.024484 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_122_0_load_165 | 32 | 0.077063 | 0.037323 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_122_0_load_30 | 34 | 0.3698 | 0.1791 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_122_0_load_212 | 35 | 0.27687 | 0.13409 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_122_0_load_191 | 37 | 0.31606 | 0.15308 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_122_0_load_18 | 40 | 0.16741 | 0.081079 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_122_0_load_34 | 45 | 0.32548 | 0.15764 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_122_0_load_23 | 46 | 0.27273 | 0.13209 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_122_0_load_29 | 48 | 0.24859 | 0.1204 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_122_0_load_190 | 50 | 0.35797 | 0.17337 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_122_0_load_92 | 51 | 0.11402 | 0.055225 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_122_0_load_95 | 54 | 0.093096 | 0.045088 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_122_0_load_177 | 59 | 0.17947 | 0.086921 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_122_0_load_102 | 61 | 0.33035 | 0.16 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_122_0_load_184 | 62 | 0.17718 | 0.08581 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_122_0_load_98 | 64 | 0.091026 | 0.044086 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_122_0_load_100 | 65 | 0.081356 | 0.039402 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_122_0_load_179 | 66 | 0.10532 | 0.051008 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_122_0_load_225 | 70 | 0.18286 | 0.088565 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_122_0_load_222 | 71 | 0.19245 | 0.093209 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_122_0_load_182 | 72 | 0.093707 | 0.045384 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_122_0_load_114 | 74 | 0.18449 | 0.089351 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_122_0_load_141 | 76 | 0.34629 | 0.16772 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_122_0_load_210 | 79 | 0.22864 | 0.11074 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_122_0_load_153 | 80 | 0.36713 | 0.17781 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_122_0_load_218 | 83 | 0.40834 | 0.19777 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_122_0_load_207 | 85 | 0.2307 | 0.11173 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_122_0_load_130 | 88 | 0.32904 | 0.15936 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_122_0_load_132 | 89 | 0.39339 | 0.19053 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_122_0_load_189 | 92 | 0.37744 | 0.1828 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_122_0_load_138 | 95 | 0.36909 | 0.17876 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_122_0_load_200 | 96 | 0.16275 | 0.078823 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_122_0_load_142 | 97 | 0.30221 | 0.14636 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_122_0_load_154 | 102 | 0.17607 | 0.085273 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_122_0_load_214 | 103 | 0.33221 | 0.1609 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_122_0_load_145 | 105 | 0.14972 | 0.072515 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_122_0_load_228 | 110 | 0.25238 | 0.12223 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_122_0_load_159 | 111 | 0.40365 | 0.1955 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_122_0_load_224 | 113 | 0.14991 | 0.072602 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_122_0_load_213 | 115 | 0.24586 | 0.11907 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_122_0_line_0 |  | 0 | 1 | 0.26319 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
1 | MV_122_0_line_1 |  | 1 | 2 | 0.041268 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
2 | MV_122_0_line_2 |  | 1 | 3 | 0.47328 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
3 | MV_122_0_line_3 |  | 2 | 9 | 0.24969 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
4 | MV_122_0_line_4 |  | 3 | 17 | 0.059025 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
5 | MV_122_0_line_5 |  | 4 | 5 | 0.096277 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_122_0_line_6 |  | 5 | 49 | 0.23851 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
7 | MV_122_0_line_7 |  | 6 | 7 | 0.0957 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
8 | MV_122_0_line_8 |  | 6 | 8 | 1.5349 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
9 | MV_122_0_line_9 |  | 7 | 9 | 0.81593 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
10 | MV_122_0_line_10 |  | 7 | 10 | 0.72952 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
11 | MV_122_0_line_11 |  | 8 | 11 | 0.051234 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
12 | MV_122_0_line_12 |  | 9 | 12 | 0.064265 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
13 | MV_122_0_line_13 |  | 10 | 13 | 0.053294 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
14 | MV_122_0_line_14 |  | 11 | 43 | 0.9227 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
15 | MV_122_0_line_15 |  | 11 | 47 | 0.05287 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
16 | MV_122_0_line_16 |  | 14 | 15 | 0.40568 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_122_0_line_17 |  | 14 | 16 | 0.083456 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_122_0_line_18 |  | 15 | 21 | 0.28302 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
19 | MV_122_0_line_19 |  | 15 | 22 | 0.073003 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_122_0_line_20 |  | 17 | 18 | 1.951 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
21 | MV_122_0_line_21 |  | 18 | 19 | 0.057401 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
22 | MV_122_0_line_22 |  | 18 | 20 | 1.4307 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
23 | MV_122_0_line_23 |  | 19 | 83 | 1.7663 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
24 | MV_122_0_line_24 |  | 20 | 81 | 0.041708 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
25 | MV_122_0_line_25 |  | 21 | 23 | 0.042409 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
26 | MV_122_0_line_26 |  | 21 | 24 | 0.13907 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
27 | MV_122_0_line_27 |  | 23 | 48 | 0.00474 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
28 | MV_122_0_line_28 |  | 25 | 26 | 0.026803 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
29 | MV_122_0_line_29 |  | 25 | 27 | 0.81338 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
30 | MV_122_0_line_30 |  | 26 | 28 | 0.46769 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
31 | MV_122_0_line_31 |  | 27 | 29 | 0.027178 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_122_0_line_32 |  | 28 | 30 | 0.52657 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_122_0_line_33 |  | 28 | 31 | 0.05786 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
34 | MV_122_0_line_34 |  | 28 | 32 | 0.05174 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_122_0_line_35 |  | 30 | 35 | 0.009989 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
36 | MV_122_0_line_36 |  | 31 | 33 | 0.15267 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
37 | MV_122_0_line_37 |  | 31 | 34 | 0.053721 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
38 | MV_122_0_line_38 |  | 32 | 36 | 0.061793 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
39 | MV_122_0_line_39 |  | 33 | 37 | 0.063165 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
40 | MV_122_0_line_40 |  | 34 | 38 | 0.021739 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
41 | MV_122_0_line_41 |  | 36 | 49 | 0.33964 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
42 | MV_122_0_line_42 |  | 38 | 39 | 0.18606 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
43 | MV_122_0_line_43 |  | 39 | 50 | 0.07487 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
44 | MV_122_0_line_44 |  | 40 | 41 | 0.12103 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
45 | MV_122_0_line_45 |  | 41 | 42 | 0.23807 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
46 | MV_122_0_line_46 |  | 42 | 45 | 0.074835 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
47 | MV_122_0_line_47 |  | 43 | 44 | 0.38532 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
48 | MV_122_0_line_48 |  | 43 | 45 | 0.067649 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
49 | MV_122_0_line_49 |  | 44 | 50 | 0.034349 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
50 | MV_122_0_line_50 |  | 46 | 47 | 0.2619 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
51 | MV_122_0_line_51 |  | 48 | 49 | 0.045085 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
52 | MV_122_0_line_52 |  | 51 | 52 | 0.021731 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
53 | MV_122_0_line_53 |  | 51 | 53 | 0.037033 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
54 | MV_122_0_line_54 |  | 52 | 54 | 0.023005 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_122_0_line_55 |  | 52 | 55 | 0.42828 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
56 | MV_122_0_line_56 |  | 53 | 56 | 0.12419 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
57 | MV_122_0_line_57 |  | 53 | 57 | 0.38113 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
58 | MV_122_0_line_58 |  | 55 | 58 | 0.099565 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
59 | MV_122_0_line_59 |  | 55 | 59 | 0.016437 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_122_0_line_60 |  | 55 | 60 | 0.31472 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
61 | MV_122_0_line_61 |  | 56 | 61 | 0.033339 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_122_0_line_62 |  | 57 | 62 | 0.04253 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
63 | MV_122_0_line_63 |  | 58 | 66 | 0.044191 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_122_0_line_64 |  | 60 | 64 | 0.073401 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
65 | MV_122_0_line_65 |  | 62 | 63 | 0.035929 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
66 | MV_122_0_line_66 |  | 63 | 67 | 0.78992 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
67 | MV_122_0_line_67 |  | 63 | 68 | 0.43053 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
68 | MV_122_0_line_68 |  | 64 | 65 | 0.04119 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_122_0_line_69 |  | 66 | 114 | 0.018686 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
70 | MV_122_0_line_70 |  | 67 | 69 | 1.3522 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
71 | MV_122_0_line_71 |  | 67 | 70 | 0.16127 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
72 | MV_122_0_line_72 |  | 68 | 115 | 0.025951 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
73 | MV_122_0_line_73 |  | 69 | 71 | 0.099597 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
74 | MV_122_0_line_74 |  | 72 | 73 | 0.037201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_122_0_line_75 |  | 73 | 106 | 0.71623 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_122_0_line_76 |  | 74 | 75 | 0.072683 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_122_0_line_77 |  | 75 | 76 | 1.2008 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_122_0_line_78 |  | 76 | 77 | 0.972 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_122_0_line_79 |  | 76 | 78 | 0.016124 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_122_0_line_80 |  | 77 | 79 | 0.043023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_122_0_line_81 |  | 78 | 90 | 0.18978 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_122_0_line_82 |  | 78 | 91 | 0.2541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_122_0_line_83 |  | 79 | 80 | 1.7887 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_122_0_line_84 |  | 80 | 108 | 0.028047 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_122_0_line_85 |  | 81 | 82 | 0.5267 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
86 | MV_122_0_line_86 |  | 82 | 88 | 0.052717 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
87 | MV_122_0_line_87 |  | 83 | 84 | 0.052253 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
88 | MV_122_0_line_88 |  | 84 | 90 | 0.34876 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
89 | MV_122_0_line_89 |  | 85 | 86 | 0.075614 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
90 | MV_122_0_line_90 |  | 85 | 87 | 1.2979 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
91 | MV_122_0_line_91 |  | 86 | 114 | 0.77253 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
92 | MV_122_0_line_92 |  | 87 | 88 | 0.048901 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
93 | MV_122_0_line_93 |  | 89 | 90 | 0.04608 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_122_0_line_94 |  | 91 | 92 | 0.038004 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_122_0_line_95 |  | 91 | 93 | 0.94376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_122_0_line_96 |  | 93 | 94 | 1.1372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_122_0_line_97 |  | 93 | 95 | 0.031287 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
98 | MV_122_0_line_98 |  | 94 | 96 | 0.024577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_122_0_line_99 |  | 97 | 98 | 0.033201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_122_0_line_100 |  | 98 | 99 | 1.2937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_122_0_line_101 |  | 99 | 103 | 0.080487 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_122_0_line_102 |  | 100 | 101 | 0.58078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_122_0_line_103 |  | 100 | 102 | 0.069735 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
104 | MV_122_0_line_104 |  | 101 | 111 | 0.033119 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_122_0_line_105 |  | 101 | 109 | 0.23397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_122_0_line_106 |  | 102 | 112 | 0.074016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_122_0_line_107 |  | 103 | 104 | 0.061654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_122_0_line_108 |  | 104 | 113 | 1.4023 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
109 | MV_122_0_line_109 |  | 104 | 112 | 0.42857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_122_0_line_110 |  | 105 | 106 | 0.003201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_122_0_line_111 |  | 105 | 107 | 0.064749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_122_0_line_112 |  | 107 | 108 | 0.13698 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_122_0_line_113 |  | 108 | 109 | 0.38498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_122_0_line_114 |  | 109 | 110 | 0.019536 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_122_0_trafo_137 | 25 MVA 110/20 kV | 116 | 84 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2610227.4217 | 1182565.7779
1 | 2610429.3082 | 1182734.6327
2 | 2610467.883 | 1182749.585
3 | 2610064.5027 | 1183036.1458
4 | 2610241.2252 | 1180700.3219
5 | 2610145.1242 | 1180692.1998
6 | 2610931.6754 | 1182275.8644
7 | 2611025.3467 | 1182295.4673
8 | 2611002.8501 | 1180742.6334
9 | 2610632.0662 | 1182640.9942
10 | 2610891.0022 | 1182643.5799
11 | 2610997.4038 | 1180691.6932
12 | 2610601.4739 | 1182584.4779
13 | 2610838.074 | 1182637.348
14 | 2610795.5903 | 1180721.088
15 | 2610554.4237 | 1180550.1959
16 | 2610787.1775 | 1180638.0749
17 | 2610028.2697 | 1183082.5316
18 | 2608260.6183 | 1183908.2009
19 | 2608208.7442 | 1183885.2184
20 | 2608087.4129 | 1185328.4106
21 | 2610347.8949 | 1180606.5892
22 | 2610566.7519 | 1180478.241
23 | 2610306.2247 | 1180598.0913
24 | 2610357.4202 | 1180467.8456
25 | 2609834.793 | 1180050.0464
26 | 2609829.2279 | 1180076.2619
27 | 2609057.3603 | 1179810.8968
28 | 2610076.6092 | 1180313.5356
29 | 2609064.6942 | 1179784.7277
30 | 2609743.0299 | 1180465.8436
31 | 2610127.2897 | 1180311.097
32 | 2610068.3676 | 1180364.6154
33 | 2610098.5298 | 1180171.9332
34 | 2610152.8806 | 1180358.3308
35 | 2609733.4705 | 1180468.8297
36 | 2610065.5301 | 1180426.0303
37 | 2610147.3839 | 1180138.9538
38 | 2610173.3314 | 1180350.9726
39 | 2610346.981 | 1180289.0585
40 | 2610838.7342 | 1179777.2935
41 | 2610720.8097 | 1179804.5412
42 | 2610835.1712 | 1179957.7572
43 | 2610778.8466 | 1180086.222
44 | 2610434.3405 | 1180223.5309
45 | 2610816.8088 | 1180030.228
46 | 2610987.3152 | 1180377.3249
47 | 2610992.0465 | 1180639.1787
48 | 2610301.5445 | 1180597.2607
49 | 2610257.2247 | 1180588.3473
50 | 2610407.9443 | 1180245.5966
51 | 2610904.921 | 1185207.1166
52 | 2610898.4285 | 1185227.1708
53 | 2610941.9049 | 1185210.3631
54 | 2610902.7999 | 1185249.0456
55 | 2610475.0371 | 1185291.6979
56 | 2610959.8541 | 1185332.0032
57 | 2611186.9748 | 1185399.3888
58 | 2610465.3255 | 1185338.2496
59 | 2610471.6803 | 1185307.7884
60 | 2610428.0104 | 1185059.2295
61 | 2610962.6941 | 1185364.9476
62 | 2611229.42 | 1185403.3253
63 | 2611263.9937 | 1185413.384
64 | 2610358.7418 | 1185083.5115
65 | 2610352.4098 | 1185123.6009
66 | 2610461.8475 | 1185381.0768
67 | 2611688.8663 | 1185081.188
68 | 2611434.6103 | 1185679.8212
69 | 2612304.3875 | 1185336.2017
70 | 2611839.7466 | 1185138.1344
71 | 2612343.1649 | 1185427.9397
72 | 2605247.3807 | 1180331.2148
73 | 2605235.6693 | 1180296.2878
74 | 2607835.7421 | 1180464.4788
75 | 2607860.3224 | 1180532.879
76 | 2607662.6072 | 1181717.2649
77 | 2607040.5298 | 1180970.4043
78 | 2607667.1921 | 1181732.7231
79 | 2606998.1403 | 1180974.5795
80 | 2605560.8105 | 1179909.9686
81 | 2608099.624 | 1185367.4916
82 | 2608503.8507 | 1185504.2514
83 | 2607928.4989 | 1182141.2697
84 | 2607936.1523 | 1182092.7215
85 | 2609793.6569 | 1185243.0608
86 | 2609868.7662 | 1185237.9695
87 | 2608508.6619 | 1185425.9065
88 | 2608474.8609 | 1185460.2212
89 | 2607836.8043 | 1181806.6229
90 | 2607825.8973 | 1181761.8525
91 | 2607538.377 | 1181889.7973
92 | 2607536.0624 | 1181927.258
93 | 2606644.8556 | 1182020.5949
94 | 2605913.9127 | 1182404.4676
95 | 2606634.0453 | 1181991.2347
96 | 2605889.3415 | 1182406.1335
97 | 2605476.5577 | 1178152.4525
98 | 2605462.6715 | 1178122.3469
99 | 2605270.064 | 1178885.8874
100 | 2605139.714 | 1179450.7635
101 | 2605101.8204 | 1179920.6378
102 | 2605207.9638 | 1179436.4476
103 | 2605288.1322 | 1178964.0317
104 | 2605290.6684 | 1179025.5097
105 | 2605436.4513 | 1179996.5668
106 | 2605435.9214 | 1179999.7235
107 | 2605438.9 | 1179931.8915
108 | 2605533.2873 | 1179904.5073
109 | 2605234.591 | 1179961.2159
110 | 2605254.1214 | 1179961.6996
111 | 2605077.8459 | 1179943.4351
112 | 2605202.3886 | 1179363.7391
113 | 2606691.9011 | 1178971.2773
114 | 2610446.4832 | 1185391.3777
115 | 2611456.2321 | 1185694.0585
116 | 2607936.1523 | 1182092.7215

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98775 | -0.47798 | 0.17177 | 0.083194
1 | 0.98778 | -0.47722 | 0.26905 | 0.13031
2 | 0.98774 | -0.4781 | 0 | 0
3 | 0.98886 | -0.43469 | 0.10438 | 0.050555
4 | 0.98265 | -0.64103 | 0.099216 | 0.048052
5 | 0.98265 | -0.64102 | 0 | 0
6 | 0.98663 | -0.5062 | 0.20783 | 0.10066
7 | 0.98681 | -0.49941 | 0 | 0
8 | 0.98397 | -0.60986 | 0.089853 | 0.043518
9 | 0.98751 | -0.4834 | 0 | 0
10 | 0.98677 | -0.50025 | 0 | 0
11 | 0.98393 | -0.61073 | 0 | 0
12 | 0.9875 | -0.48375 | 0.32631 | 0.15804
13 | 0.98676 | -0.50045 | 0.23106 | 0.11191
14 | 0.98248 | -0.64042 | 0 | 0
15 | 0.98261 | -0.64151 | 0 | 0
16 | 0.98245 | -0.64016 | 0.25253 | 0.1223
17 | 0.98892 | -0.43331 | 0 | 0
18 | 0.9935 | -0.25538 | 0.12606 | 0.061054
19 | 0.99359 | -0.25325 | 0 | 0
20 | 0.99183 | -0.32719 | 0.25823 | 0.12507
21 | 0.98264 | -0.64128 | 0 | 0
22 | 0.98261 | -0.64152 | 0.11441 | 0.055413
23 | 0.98265 | -0.64114 | 0 | 0
24 | 0.98262 | -0.64215 | 0.36981 | 0.17911
25 | 0.98273 | -0.63939 | 0.26521 | 0.12845
26 | 0.98273 | -0.63935 | 0 | 0
27 | 0.98271 | -0.64011 | 0 | 0
28 | 0.98277 | -0.63868 | 0 | 0
29 | 0.98271 | -0.64009 | 0.050552 | 0.024484
30 | 0.98272 | -0.63899 | 0 | 0
31 | 0.98279 | -0.63819 | 0 | 0
32 | 0.98275 | -0.63896 | 0.077063 | 0.037323
33 | 0.98277 | -0.63827 | 0 | 0
34 | 0.98284 | -0.63613 | 0.3698 | 0.1791
35 | 0.98272 | -0.639 | 0.27687 | 0.13409
36 | 0.98274 | -0.63927 | 0 | 0
37 | 0.98276 | -0.6383 | 0.31606 | 0.15308
38 | 0.98285 | -0.63589 | 0 | 0
39 | 0.98295 | -0.63379 | 0 | 0
40 | 0.98325 | -0.62619 | 0.16741 | 0.081079
41 | 0.98326 | -0.62584 | 0 | 0
42 | 0.98327 | -0.62567 | 0 | 0
43 | 0.98329 | -0.62501 | 0 | 0
44 | 0.98306 | -0.62999 | 0 | 0
45 | 0.98327 | -0.6256 | 0.32548 | 0.15764
46 | 0.98389 | -0.61199 | 0.27273 | 0.13209
47 | 0.98393 | -0.61078 | 0 | 0
48 | 0.98265 | -0.64113 | 0.24859 | 0.1204
49 | 0.98266 | -0.64094 | 0 | 0
50 | 0.98304 | -0.63042 | 0.35797 | 0.17337
51 | 0.98973 | -0.40977 | 0.11402 | 0.055225
52 | 0.98974 | -0.40962 | 0 | 0
53 | 0.98972 | -0.41001 | 0 | 0
54 | 0.98973 | -0.4096 | 0.093096 | 0.045088
55 | 0.98998 | -0.39829 | 0 | 0
56 | 0.98971 | -0.41007 | 0 | 0
57 | 0.98967 | -0.4119 | 0 | 0
58 | 0.99002 | -0.3974 | 0 | 0
59 | 0.98998 | -0.39825 | 0.17947 | 0.086921
60 | 0.98997 | -0.39853 | 0 | 0
61 | 0.98969 | -0.40994 | 0.33035 | 0.16
62 | 0.98966 | -0.41211 | 0.17718 | 0.08581
63 | 0.98966 | -0.41225 | 0 | 0
64 | 0.98997 | -0.39874 | 0.091026 | 0.044086
65 | 0.98996 | -0.3987 | 0.081356 | 0.039402
66 | 0.99003 | -0.397 | 0.10532 | 0.051008
67 | 0.9896 | -0.41433 | 0 | 0
68 | 0.98962 | -0.41248 | 0 | 0
69 | 0.98956 | -0.41595 | 0 | 0
70 | 0.98959 | -0.41482 | 0.18286 | 0.088565
71 | 0.98955 | -0.41627 | 0.19245 | 0.093209
72 | 0.98463 | -0.13912 | 0.093707 | 0.045384
73 | 0.98463 | -0.13916 | 0 | 0
74 | 0.9968 | -0.041641 | 0.18449 | 0.089351
75 | 0.99682 | -0.041478 | 0 | 0
76 | 0.99725 | -0.038703 | 0.34629 | 0.16772
77 | 0.99265 | -0.076475 | 0 | 0
78 | 0.99731 | -0.039183 | 0 | 0
79 | 0.99252 | -0.075458 | 0.22864 | 0.11074
80 | 0.98484 | -0.14037 | 0.36713 | 0.17781
81 | 0.99181 | -0.32772 | 0 | 0
82 | 0.99157 | -0.3342 | 0 | 0
83 | 0.99991 | -0.0019928 | 0.40834 | 0.19777
84 | 1 | 0 | -12.5343 | -5.0995
85 | 0.99034 | -0.38863 | 0.2307 | 0.11173
86 | 0.99031 | -0.38938 | 0 | 0
87 | 0.99149 | -0.33711 | 0 | 0
88 | 0.99151 | -0.33658 | 0.32904 | 0.15936
89 | 0.99822 | -0.046408 | 0.39339 | 0.19053
90 | 0.99825 | -0.046188 | 0 | 0
91 | 0.99702 | -0.037281 | 0 | 0
92 | 0.997 | -0.03711 | 0.37744 | 0.1828
93 | 0.99639 | -0.033583 | 0 | 0
94 | 0.99616 | -0.032379 | 0 | 0
95 | 0.99637 | -0.033724 | 0.36909 | 0.17876
96 | 0.99616 | -0.032331 | 0.16275 | 0.078823
97 | 0.98163 | -0.1197 | 0.30221 | 0.14636
98 | 0.98165 | -0.11983 | 0 | 0
99 | 0.98215 | -0.12334 | 0 | 0
100 | 0.98286 | -0.12622 | 0 | 0
101 | 0.98357 | -0.13106 | 0 | 0
102 | 0.98273 | -0.12734 | 0.17607 | 0.085273
103 | 0.98218 | -0.12347 | 0.33221 | 0.1609
104 | 0.98223 | -0.12382 | 0 | 0
105 | 0.98472 | -0.13956 | 0.14972 | 0.072515
106 | 0.98472 | -0.13956 | 0 | 0
107 | 0.98474 | -0.13968 | 0 | 0
108 | 0.98478 | -0.1399 | 0 | 0
109 | 0.98398 | -0.13402 | 0 | 0
110 | 0.98397 | -0.13408 | 0.25238 | 0.12223
111 | 0.98356 | -0.1309 | 0.40365 | 0.1955
112 | 0.98266 | -0.12685 | 0 | 0
113 | 0.98181 | -0.12656 | 0.14991 | 0.072602
114 | 0.99004 | -0.39683 | 0 | 0
115 | 0.98962 | -0.41248 | 0.24586 | 0.11907
116 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.17177 | -0.083194 | 0.17178 | 0.082533 | 2.9141e-06 | -0.00066053 | 0.0055779 | 0.0055695 | 0.0055779 | 0.98775 | -0.47798 | 0.98778 | -0.47722 | 0.68024
1 | 4.4333 | 1.6872 | -4.4332 | -1.6902 | 0.00014517 | -0.002943 | 0.13863 | 0.13866 | 0.13866 | 0.98778 | -0.47722 | 0.98774 | -0.4781 | 16.468
2 | -4.8741 | -1.9001 | 4.8781 | 1.9046 | 0.0039424 | 0.0045111 | 0.15289 | 0.15287 | 0.15289 | 0.98778 | -0.47722 | 0.98886 | -0.43469 | 18.6447
3 | 4.4332 | 1.6902 | -4.4323 | -1.708 | 0.00087977 | -0.0178 | 0.13866 | 0.13886 | 0.13886 | 0.98774 | -0.4781 | 0.98751 | -0.4834 | 16.4911
4 | -4.9825 | -1.9551 | 4.9827 | 1.951 | 0.00026363 | -0.0041681 | 0.15625 | 0.1562 | 0.15625 | 0.98886 | -0.43469 | 0.98892 | -0.43331 | 18.5569
5 | -0.099216 | -0.048052 | 0.099216 | 0.042211 | 3.0503e-07 | -0.005841 | 0.0032385 | 0.0031675 | 0.0032385 | 0.98265 | -0.64103 | 0.98265 | -0.64102 | 0.50761
6 | -0.099216 | -0.042211 | 0.099217 | 0.027741 | 7.0391e-07 | -0.01447 | 0.0031675 | 0.0030265 | 0.0031675 | 0.98265 | -0.64102 | 0.98266 | -0.64094 | 0.49647
7 | -3.8719 | -1.5506 | 3.8724 | 1.5511 | 0.00050793 | 0.00049419 | 0.12203 | 0.12203 | 0.12203 | 0.98663 | -0.5062 | 0.98681 | -0.49941 | 14.8822
8 | 3.6641 | 1.4499 | -3.6568 | -1.4432 | 0.0072743 | 0.0066745 | 0.1153 | 0.11534 | 0.11534 | 0.98663 | -0.5062 | 0.98397 | -0.60986 | 14.0655
9 | -4.1035 | -1.6086 | 4.106 | 1.5501 | 0.0024699 | -0.058481 | 0.12894 | 0.1283 | 0.12894 | 0.98681 | -0.49941 | 0.98751 | -0.4834 | 15.313
10 | 0.23106 | 0.057504 | -0.23106 | -0.11177 | 6.9182e-06 | -0.054269 | 0.0069656 | 0.0075088 | 0.0075088 | 0.98681 | -0.49941 | 0.98677 | -0.50025 | 0.89178
11 | 3.567 | 1.3997 | -3.5669 | -1.4034 | 0.00011853 | -0.003681 | 0.11242 | 0.11246 | 0.11246 | 0.98397 | -0.60986 | 0.98393 | -0.61073 | 13.3559
12 | 0.32631 | 0.15788 | -0.32631 | -0.15804 | 2.5725e-06 | -0.0001585 | 0.010597 | 0.010599 | 0.010599 | 0.98751 | -0.4834 | 0.9875 | -0.48375 | 1.2926
13 | 0.23106 | 0.11177 | -0.23106 | -0.11191 | 1.0712e-06 | -0.00013278 | 0.0075088 | 0.0075105 | 0.0075105 | 0.98677 | -0.50025 | 0.98676 | -0.50045 | 0.91592
14 | 3.2941 | 1.2759 | -3.2923 | -1.3424 | 0.0018266 | -0.066529 | 0.10364 | 0.10438 | 0.10438 | 0.98393 | -0.61073 | 0.98329 | -0.62501 | 12.3969
15 | 0.27274 | 0.12753 | -0.27273 | -0.13144 | 7.5913e-07 | -0.0039099 | 0.0088334 | 0.0088826 | 0.0088826 | 0.98393 | -0.61073 | 0.98393 | -0.61078 | 1.0549
16 | -0.25253 | -0.12038 | 0.25257 | 0.11104 | 3.6078e-05 | -0.0093401 | 0.00822 | 0.0081056 | 0.00822 | 0.98248 | -0.64042 | 0.98261 | -0.64151 | 3.7364
17 | 0.25253 | 0.12038 | -0.25253 | -0.1223 | 7.5504e-06 | -0.0019211 | 0.00822 | 0.0082445 | 0.0082445 | 0.98248 | -0.64042 | 0.98245 | -0.64016 | 3.7475
18 | -0.36698 | -0.16203 | 0.367 | 0.14486 | 1.1942e-05 | -0.017163 | 0.011785 | 0.011591 | 0.011785 | 0.98261 | -0.64151 | 0.98264 | -0.64128 | 1.8473
19 | 0.11441 | 0.050984 | -0.11441 | -0.055413 | 3.0997e-07 | -0.0044286 | 0.0036799 | 0.0037348 | 0.0037348 | 0.98261 | -0.64151 | 0.98261 | -0.64152 | 0.58539
20 | -4.9827 | -1.951 | 4.9997 | 1.9705 | 0.01696 | 0.019592 | 0.1562 | 0.15615 | 0.1562 | 0.98892 | -0.43331 | 0.9935 | -0.25538 | 19.0491
21 | -7.7434 | -2.913 | 7.744 | 2.9092 | 0.0006069 | -0.0037721 | 0.24039 | 0.24034 | 0.24039 | 0.9935 | -0.25538 | 0.99359 | -0.25325 | 28.5496
22 | 2.6176 | 0.88136 | -2.6143 | -0.88026 | 0.0032856 | 0.0011073 | 0.080254 | 0.080287 | 0.080287 | 0.9935 | -0.25538 | 0.99183 | -0.32719 | 9.7912
23 | -7.744 | -2.9092 | 7.7803 | 2.9573 | 0.036357 | 0.048095 | 0.24034 | 0.2403 | 0.24034 | 0.99359 | -0.25325 | 0.99991 | -0.0019928 | 29.3102
24 | 2.3561 | 0.75519 | -2.356 | -0.75829 | 3.9594e-05 | -0.0030984 | 0.072011 | 0.072039 | 0.072039 | 0.99183 | -0.32719 | 0.99181 | -0.32772 | 8.5556
25 | -0.73682 | -0.32364 | 0.73682 | 0.32051 | 4.3311e-06 | -0.0031247 | 0.023642 | 0.023605 | 0.023642 | 0.98264 | -0.64128 | 0.98265 | -0.64114 | 2.8078
26 | 0.36982 | 0.17877 | -0.36981 | -0.17911 | 7.2201e-06 | -0.00033715 | 0.012067 | 0.012072 | 0.012072 | 0.98264 | -0.64128 | 0.98262 | -0.64215 | 1.4722
27 | -0.73682 | -0.32051 | 0.73682 | 0.32016 | 4.8327e-07 | -0.00034925 | 0.023605 | 0.023601 | 0.023605 | 0.98265 | -0.64114 | 0.98265 | -0.64113 | 2.8034
28 | -0.31577 | -0.15027 | 0.31577 | 0.1483 | 5.1633e-07 | -0.0019773 | 0.010272 | 0.010248 | 0.010272 | 0.98273 | -0.63939 | 0.98273 | -0.63935 | 1.22
29 | 0.050553 | 0.021825 | -0.050552 | -0.023857 | 7.6976e-07 | -0.0020323 | 0.0016175 | 0.0016421 | 0.0016421 | 0.98273 | -0.63939 | 0.98271 | -0.64011 | 0.20025
30 | -0.31577 | -0.1483 | 0.31578 | 0.11379 | 8.6319e-06 | -0.034503 | 0.010248 | 0.0098594 | 0.010248 | 0.98273 | -0.63935 | 0.98277 | -0.63868 | 1.2171
31 | 0.050552 | 0.023857 | -0.050552 | -0.024484 | 9.8303e-08 | -0.00062663 | 0.0016421 | 0.00165 | 0.00165 | 0.98271 | -0.64011 | 0.98271 | -0.64009 | 0.75
32 | 0.27688 | 0.10182 | -0.27687 | -0.13376 | 1.2711e-05 | -0.031946 | 0.0086656 | 0.0090326 | 0.0090326 | 0.98277 | -0.63868 | 0.98272 | -0.63899 | 1.4158
33 | -1.7545 | -0.68457 | 1.7545 | 0.68033 | 3.2376e-05 | -0.00424 | 0.055319 | 0.055274 | 0.055319 | 0.98277 | -0.63868 | 0.98279 | -0.63819 | 6.57
34 | 1.1618 | 0.46896 | -1.1618 | -0.47277 | 1.2838e-05 | -0.0038062 | 0.036802 | 0.036844 | 0.036844 | 0.98277 | -0.63868 | 0.98275 | -0.63896 | 4.3757
35 | 0.27687 | 0.13376 | -0.27687 | -0.13409 | 3.9382e-07 | -0.00033066 | 0.0090326 | 0.0090368 | 0.0090368 | 0.98272 | -0.63899 | 0.98272 | -0.639 | 2.4964
36 | 0.31607 | 0.13998 | -0.31606 | -0.14924 | 4.9173e-06 | -0.0092623 | 0.010154 | 0.010267 | 0.010267 | 0.98279 | -0.63819 | 0.98277 | -0.63827 | 1.6092
37 | -2.0706 | -0.82031 | 2.0706 | 0.8203 | 8.1934e-05 | -1.5702e-05 | 0.065418 | 0.065416 | 0.065418 | 0.98279 | -0.63819 | 0.98284 | -0.63613 | 7.9778
38 | 1.0847 | 0.43544 | -1.0847 | -0.43999 | 1.335e-05 | -0.0045474 | 0.034334 | 0.034384 | 0.034384 | 0.98275 | -0.63896 | 0.98274 | -0.63927 | 4.0837
39 | 0.31606 | 0.14924 | -0.31606 | -0.15308 | 2.0671e-06 | -0.003832 | 0.010267 | 0.010315 | 0.010315 | 0.98277 | -0.63827 | 0.98276 | -0.6383 | 1.6168
40 | -2.4404 | -0.9994 | 2.4405 | 0.99782 | 2.3862e-05 | -0.0015825 | 0.077457 | 0.077439 | 0.077457 | 0.98284 | -0.63613 | 0.98285 | -0.63589 | 9.1992
41 | 1.0847 | 0.43999 | -1.0846 | -0.46498 | 7.4084e-05 | -0.024992 | 0.034384 | 0.034668 | 0.034668 | 0.98274 | -0.63927 | 0.98266 | -0.64094 | 4.1173
42 | -2.4405 | -0.99782 | 2.4407 | 0.98427 | 0.00020378 | -0.013546 | 0.077439 | 0.077287 | 0.077439 | 0.98285 | -0.63589 | 0.98295 | -0.63379 | 9.1971
43 | -2.4407 | -0.98427 | 2.4408 | 0.98431 | 0.00015939 | 4.3485e-05 | 0.077287 | 0.077285 | 0.077287 | 0.98295 | -0.63379 | 0.98304 | -0.63042 | 9.4253
44 | -0.16741 | -0.081079 | 0.16741 | 0.080778 | 1.2855e-06 | -0.00030104 | 0.005461 | 0.0054572 | 0.005461 | 0.98325 | -0.62619 | 0.98326 | -0.62584 | 0.66598
45 | -0.16741 | -0.080778 | 0.16741 | 0.063193 | 1.247e-06 | -0.017585 | 0.0054572 | 0.0052534 | 0.0054572 | 0.98326 | -0.62584 | 0.98327 | -0.62567 | 0.64812
46 | -0.16741 | -0.063193 | 0.16741 | 0.057665 | 3.7392e-07 | -0.0055276 | 0.0052534 | 0.0051983 | 0.0052534 | 0.98327 | -0.62567 | 0.98327 | -0.6256 | 0.62392
47 | 2.7994 | 1.1272 | -2.7988 | -1.1552 | 0.00055547 | -0.027947 | 0.088598 | 0.088914 | 0.088914 | 0.98329 | -0.62501 | 0.98306 | -0.62999 | 10.5598
48 | 0.4929 | 0.21514 | -0.49289 | -0.2153 | 6.0113e-06 | -0.00016061 | 0.015789 | 0.015791 | 0.015791 | 0.98329 | -0.62501 | 0.98327 | -0.6256 | 1.9257
49 | 2.7988 | 1.1552 | -2.7988 | -1.1577 | 4.971e-05 | -0.0024905 | 0.088914 | 0.088942 | 0.088942 | 0.98306 | -0.62999 | 0.98304 | -0.63042 | 10.5632
50 | -0.27273 | -0.13209 | 0.27273 | 0.13144 | 7.3715e-06 | -0.00064565 | 0.008891 | 0.0088826 | 0.008891 | 0.98389 | -0.61199 | 0.98393 | -0.61078 | 1.0843
51 | -0.98541 | -0.44056 | 0.98542 | 0.43724 | 8.2858e-06 | -0.0033186 | 0.03171 | 0.03167 | 0.03171 | 0.98265 | -0.64113 | 0.98266 | -0.64094 | 3.766
52 | -1.2428 | -0.36734 | 1.2428 | 0.36572 | 5.68e-06 | -0.0016212 | 0.0378 | 0.037786 | 0.0378 | 0.98973 | -0.40977 | 0.98974 | -0.40962 | 4.4893
53 | 1.1288 | 0.31212 | -1.1288 | -0.31488 | 7.9128e-06 | -0.0027644 | 0.034159 | 0.034181 | 0.034181 | 0.98973 | -0.40977 | 0.98972 | -0.41001 | 4.0595
54 | 0.093096 | 0.04455 | -0.093096 | -0.045088 | 2.7892e-07 | -0.00053798 | 0.0030102 | 0.003017 | 0.003017 | 0.98974 | -0.40962 | 0.98973 | -0.4096 | 1.3714
55 | -1.3359 | -0.41027 | 1.3362 | 0.40955 | 0.00025354 | -0.00071922 | 0.040761 | 0.040752 | 0.040761 | 0.98974 | -0.40962 | 0.98998 | -0.39829 | 4.9708
56 | 0.33036 | 0.15158 | -0.33035 | -0.15922 | 4.3514e-06 | -0.0076412 | 0.010601 | 0.010696 | 0.010696 | 0.98972 | -0.41001 | 0.98971 | -0.41007 | 1.6765
57 | 0.79843 | 0.16331 | -0.79839 | -0.19179 | 3.9697e-05 | -0.028486 | 0.02377 | 0.023951 | 0.023951 | 0.98972 | -0.41001 | 0.98967 | -0.4119 | 2.8445
58 | -1.688 | -0.55486 | 1.6881 | 0.54745 | 4.8851e-05 | -0.0074109 | 0.051813 | 0.051746 | 0.051813 | 0.98998 | -0.39829 | 0.99002 | -0.3974 | 6.1536
59 | 0.17947 | 0.086537 | -0.17947 | -0.086921 | 7.4131e-07 | -0.00038441 | 0.0058099 | 0.0058147 | 0.0058147 | 0.98998 | -0.39829 | 0.98998 | -0.39825 | 2.6431
60 | 0.17238 | 0.058775 | -0.17238 | -0.082339 | 1.699e-06 | -0.023564 | 0.0053108 | 0.0055706 | 0.0055706 | 0.98998 | -0.39829 | 0.98997 | -0.39853 | 0.6616
61 | 0.33035 | 0.15922 | -0.33035 | -0.16 | 5.0969e-06 | -0.00077818 | 0.010696 | 0.010706 | 0.010706 | 0.98971 | -0.41007 | 0.98969 | -0.40994 | 4.8665
62 | 0.79839 | 0.19179 | -0.79839 | -0.19497 | 4.4687e-06 | -0.0031785 | 0.023951 | 0.023973 | 0.023973 | 0.98967 | -0.4119 | 0.98966 | -0.41211 | 2.8471
63 | -1.6881 | -0.54745 | 1.6881 | 0.54416 | 2.1641e-05 | -0.0032895 | 0.051746 | 0.051716 | 0.051746 | 0.99002 | -0.3974 | 0.99003 | -0.397 | 6.1456
64 | 0.17238 | 0.082339 | -0.17238 | -0.082524 | 8.1215e-07 | -0.00018504 | 0.0055706 | 0.005573 | 0.005573 | 0.98997 | -0.39853 | 0.98997 | -0.39874 | 0.67963
65 | 0.62121 | 0.10916 | -0.62121 | -0.11185 | 2.2272e-06 | -0.0026866 | 0.018398 | 0.018412 | 0.018412 | 0.98966 | -0.41211 | 0.98966 | -0.41225 | 2.1867
66 | 0.37535 | 0.02086 | -0.37533 | -0.079951 | 1.7641e-05 | -0.059091 | 0.010965 | 0.011194 | 0.011194 | 0.98966 | -0.41225 | 0.9896 | -0.41433 | 1.3295
67 | 0.24586 | 0.090988 | -0.24586 | -0.11748 | 8.0722e-06 | -0.026489 | 0.007647 | 0.0079484 | 0.0079484 | 0.98966 | -0.41225 | 0.98962 | -0.41248 | 1.2458
68 | 0.081356 | 0.038439 | -0.081356 | -0.039402 | 3.8031e-07 | -0.00096369 | 0.0026238 | 0.0026359 | 0.0026359 | 0.98997 | -0.39874 | 0.98996 | -0.3987 | 1.1982
69 | -1.7934 | -0.59517 | 1.7934 | 0.59378 | 1.0378e-05 | -0.0013898 | 0.055097 | 0.055084 | 0.055097 | 0.99003 | -0.397 | 0.99004 | -0.39683 | 6.5436
70 | 0.19246 | -0.008208 | -0.19245 | -0.092959 | 8.1782e-06 | -0.10117 | 0.0056194 | 0.0062349 | 0.0062349 | 0.9896 | -0.41433 | 0.98956 | -0.41595 | 0.74049
71 | 0.18287 | 0.088159 | -0.18286 | -0.088565 | 2.0174e-06 | -0.00040591 | 0.0059219 | 0.0059271 | 0.0059271 | 0.9896 | -0.41433 | 0.98959 | -0.41482 | 0.72282
72 | 0.24586 | 0.11748 | -0.24586 | -0.11907 | 5.0789e-07 | -0.0015966 | 0.0079484 | 0.0079686 | 0.0079686 | 0.98962 | -0.41248 | 0.98962 | -0.41248 | 1.249
73 | 0.19245 | 0.092959 | -0.19245 | -0.093209 | 1.3806e-06 | -0.00025047 | 0.0062349 | 0.0062381 | 0.0062381 | 0.98956 | -0.41595 | 0.98955 | -0.41627 | 0.76075
74 | -0.093707 | -0.045384 | 0.093708 | 0.044523 | 4.6112e-07 | -0.00086098 | 0.0030526 | 0.0030417 | 0.0030526 | 0.98463 | -0.13912 | 0.98463 | -0.13916 | 1.3875
75 | -0.093708 | -0.044523 | 0.093716 | 0.027945 | 8.296e-06 | -0.016578 | 0.0030417 | 0.0028669 | 0.0030417 | 0.98463 | -0.13916 | 0.98472 | -0.13956 | 1.3826
76 | -0.18449 | -0.089351 | 0.18449 | 0.089268 | 4.5629e-06 | -8.3358e-05 | 0.0059364 | 0.0059353 | 0.0059364 | 0.9968 | -0.041641 | 0.99682 | -0.041478 | 2.8269
77 | -0.18449 | -0.089268 | 0.18457 | 0.08789 | 7.5141e-05 | -0.0013779 | 0.0059353 | 0.0059175 | 0.0059353 | 0.99682 | -0.041478 | 0.99725 | -0.038703 | 2.8264
78 | 2.4867 | 1.1048 | -2.4759 | -1.0992 | 0.010746 | 0.0055825 | 0.078767 | 0.07878 | 0.07878 | 0.99725 | -0.038703 | 0.99265 | -0.076475 | 37.5144
79 | -3.0175 | -1.3604 | 3.0177 | 1.3601 | 0.00019761 | -0.00032427 | 0.095816 | 0.095811 | 0.095816 | 0.99725 | -0.038703 | 0.99731 | -0.039183 | 43.5525
80 | 2.4759 | 1.0992 | -2.4756 | -1.1001 | 0.00035652 | -0.00090629 | 0.07878 | 0.078792 | 0.078792 | 0.99265 | -0.076475 | 0.99252 | -0.075458 | 35.8147
81 | -3.9277 | -1.7438 | 3.9316 | 1.7404 | 0.0039184 | -0.0033488 | 0.12439 | 0.12434 | 0.12439 | 0.99731 | -0.039183 | 0.99825 | -0.046188 | 56.5406
82 | 0.90996 | 0.3837 | -0.90968 | -0.38965 | 0.00027783 | -0.0059501 | 0.028585 | 0.028653 | 0.028653 | 0.99731 | -0.039183 | 0.99702 | -0.037281 | 13.0242
83 | 2.2469 | 0.98939 | -2.2307 | -0.9813 | 0.016256 | 0.0080947 | 0.071408 | 0.071432 | 0.071432 | 0.99252 | -0.075458 | 0.98484 | -0.14037 | 34.0153
84 | 1.8635 | 0.80348 | -1.8634 | -0.80409 | 0.00013251 | -0.00061016 | 0.059485 | 0.059492 | 0.059492 | 0.98484 | -0.14037 | 0.98478 | -0.1399 | 27.042
85 | 2.356 | 0.75829 | -2.3555 | -0.7974 | 0.00050268 | -0.039114 | 0.072039 | 0.0724 | 0.0724 | 0.99181 | -0.32772 | 0.99157 | -0.3342 | 8.5985
86 | 2.3555 | 0.7974 | -2.3554 | -0.79739 | 9.8485e-05 | 8.4204e-06 | 0.0724 | 0.072401 | 0.072401 | 0.99157 | -0.3342 | 0.99151 | -0.33658 | 8.8294
87 | -8.1887 | -3.1551 | 8.1893 | 3.1516 | 0.00061366 | -0.0034286 | 0.25335 | 0.25331 | 0.25335 | 0.99991 | -0.0019928 | 1 | 0 | 30.0888
88 | 4.331 | 1.9373 | -4.325 | -1.9309 | 0.0060061 | 0.0064323 | 0.13696 | 0.13697 | 0.13697 | 1 | 0 | 0.99825 | -0.046188 | 39.1342
89 | 1.7939 | 0.53067 | -1.7939 | -0.5363 | 4.1182e-05 | -0.0056282 | 0.05453 | 0.054578 | 0.054578 | 0.99034 | -0.38863 | 0.99031 | -0.38938 | 6.4819
90 | -2.0246 | -0.64241 | 2.0264 | 0.64167 | 0.0017725 | -0.00073298 | 0.061915 | 0.061886 | 0.061915 | 0.99034 | -0.38863 | 0.99149 | -0.33711 | 7.5506
91 | 1.7939 | 0.5363 | -1.7934 | -0.59378 | 0.00042494 | -0.05748 | 0.054578 | 0.055084 | 0.055084 | 0.99031 | -0.38938 | 0.99004 | -0.39683 | 6.5421
92 | -2.0264 | -0.64167 | 2.0264 | 0.63803 | 3.4255e-05 | -0.0036415 | 0.061886 | 0.061854 | 0.061886 | 0.99149 | -0.33711 | 0.99151 | -0.33658 | 7.3498
93 | -0.39339 | -0.19053 | 0.3934 | 0.19048 | 1.3118e-05 | -4.66e-05 | 0.012641 | 0.01264 | 0.012641 | 0.99822 | -0.046408 | 0.99825 | -0.046188 | 6.0193
94 | 0.37744 | 0.1819 | -0.37744 | -0.1828 | 7.4736e-06 | -0.00089976 | 0.012131 | 0.012143 | 0.012143 | 0.99702 | -0.037281 | 0.997 | -0.03711 | 5.5194
95 | 0.53224 | 0.20775 | -0.53189 | -0.23003 | 0.00034984 | -0.022281 | 0.016543 | 0.016789 | 0.016789 | 0.99702 | -0.037281 | 0.99639 | -0.033583 | 7.6315
96 | 0.16279 | 0.051302 | -0.16275 | -0.078241 | 3.9118e-05 | -0.026939 | 0.004945 | 0.005233 | 0.005233 | 0.99639 | -0.033583 | 0.99616 | -0.032379 | 2.3786
97 | 0.3691 | 0.17873 | -0.36909 | -0.17876 | 7.8695e-06 | -3.2152e-05 | 0.011881 | 0.011882 | 0.011882 | 0.99639 | -0.033583 | 0.99637 | -0.033724 | 5.658
98 | 0.16275 | 0.078241 | -0.16275 | -0.078823 | 8.9974e-07 | -0.00058204 | 0.005233 | 0.0052403 | 0.0052403 | 0.99616 | -0.032379 | 0.99616 | -0.032331 | 2.382
99 | -0.30221 | -0.14636 | 0.30221 | 0.1456 | 4.3176e-06 | -0.00076259 | 0.0098746 | 0.0098648 | 0.0098746 | 0.98163 | -0.1197 | 0.98165 | -0.11983 | 4.4885
100 | -0.30221 | -0.1456 | 0.30237 | 0.11587 | 0.00016193 | -0.029733 | 0.0098648 | 0.0095176 | 0.0098648 | 0.98165 | -0.11983 | 0.98215 | -0.12334 | 4.484
101 | -0.30237 | -0.11587 | 0.30238 | 0.11402 | 9.7134e-06 | -0.0018509 | 0.0095176 | 0.0094982 | 0.0095176 | 0.98215 | -0.12334 | 0.98218 | -0.12347 | 4.3262
102 | -0.9612 | -0.41834 | 0.96193 | 0.40515 | 0.00073129 | -0.013188 | 0.030789 | 0.030634 | 0.030789 | 0.98286 | -0.12622 | 0.98357 | -0.13106 | 13.9951
103 | 0.9612 | 0.41834 | -0.96108 | -0.41835 | 0.00011779 | -6.6322e-06 | 0.030789 | 0.03079 | 0.03079 | 0.98286 | -0.12622 | 0.98273 | -0.12734 | 14.662
104 | 0.40366 | 0.19474 | -0.40365 | -0.1955 | 7.6557e-06 | -0.00076269 | 0.013154 | 0.013164 | 0.013164 | 0.98357 | -0.13106 | 0.98356 | -0.1309 | 5.9835
105 | -1.3656 | -0.59989 | 1.3662 | 0.59466 | 0.0005977 | -0.0052292 | 0.043776 | 0.043713 | 0.043776 | 0.98357 | -0.13106 | 0.98398 | -0.13402 | 19.8983
106 | 0.78502 | 0.33307 | -0.78495 | -0.33476 | 6.205e-05 | -0.0016882 | 0.025049 | 0.025069 | 0.025069 | 0.98273 | -0.12734 | 0.98266 | -0.12685 | 11.395
107 | -0.63459 | -0.27492 | 0.63463 | 0.27351 | 3.3979e-05 | -0.00141 | 0.020327 | 0.02031 | 0.020327 | 0.98218 | -0.12347 | 0.98223 | -0.12382 | 9.2394
108 | 0.14997 | 0.071025 | -0.14991 | -0.072602 | 5.9669e-05 | -0.001577 | 0.0048768 | 0.0048973 | 0.0048973 | 0.98223 | -0.12382 | 0.98181 | -0.12656 | 2.332
109 | -0.78459 | -0.34453 | 0.78495 | 0.33476 | 0.00036121 | -0.0097693 | 0.025184 | 0.025069 | 0.025184 | 0.98223 | -0.12382 | 0.98266 | -0.12685 | 11.4474
110 | 0.093716 | 0.027871 | -0.093716 | -0.027945 | 3.5124e-08 | -7.4098e-05 | 0.0028663 | 0.0028669 | 0.0028669 | 0.98472 | -0.13956 | 0.98472 | -0.13956 | 1.3031
111 | -0.24344 | -0.10039 | 0.24345 | 0.098888 | 5.1399e-06 | -0.0014976 | 0.0077195 | 0.0077029 | 0.0077195 | 0.98472 | -0.13956 | 0.98474 | -0.13968 | 3.5089
112 | -0.24345 | -0.098888 | 0.24346 | 0.09572 | 1.0801e-05 | -0.0031684 | 0.0077029 | 0.0076684 | 0.0077029 | 0.98474 | -0.13968 | 0.98478 | -0.1399 | 3.5013
113 | 1.62 | 0.70838 | -1.6186 | -0.71687 | 0.0013834 | -0.0084966 | 0.051829 | 0.051934 | 0.051934 | 0.98478 | -0.1399 | 0.98398 | -0.13402 | 23.6063
114 | 0.25238 | 0.12221 | -0.25238 | -0.12223 | 2.3559e-06 | -2.1106e-05 | 0.0082267 | 0.008227 | 0.008227 | 0.98398 | -0.13402 | 0.98397 | -0.13408 | 3.9176

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.5343 | 5.0995

## res_load
| p_mw | q_mvar
0 | 0.17177 | 0.083194
1 | 0.26905 | 0.13031
2 | 0.10438 | 0.050555
3 | 0.099216 | 0.048052
4 | 0.20783 | 0.10066
5 | 0.089853 | 0.043518
6 | 0.32631 | 0.15804
7 | 0.23106 | 0.11191
8 | 0.25253 | 0.1223
9 | 0.12606 | 0.061054
10 | 0.25823 | 0.12507
11 | 0.11441 | 0.055413
12 | 0.36981 | 0.17911
13 | 0.26521 | 0.12845
14 | 0.050552 | 0.024484
15 | 0.077063 | 0.037323
16 | 0.3698 | 0.1791
17 | 0.27687 | 0.13409
18 | 0.31606 | 0.15308
19 | 0.16741 | 0.081079
20 | 0.32548 | 0.15764
21 | 0.27273 | 0.13209
22 | 0.24859 | 0.1204
23 | 0.35797 | 0.17337
24 | 0.11402 | 0.055225
25 | 0.093096 | 0.045088
26 | 0.17947 | 0.086921
27 | 0.33035 | 0.16
28 | 0.17718 | 0.08581
29 | 0.091026 | 0.044086
30 | 0.081356 | 0.039402
31 | 0.10532 | 0.051008
32 | 0.18286 | 0.088565
33 | 0.19245 | 0.093209
34 | 0.093707 | 0.045384
35 | 0.18449 | 0.089351
36 | 0.34629 | 0.16772
37 | 0.22864 | 0.11074
38 | 0.36713 | 0.17781
39 | 0.40834 | 0.19777
40 | 0.2307 | 0.11173
41 | 0.32904 | 0.15936
42 | 0.39339 | 0.19053
43 | 0.37744 | 0.1828
44 | 0.36909 | 0.17876
45 | 0.16275 | 0.078823
46 | 0.30221 | 0.14636
47 | 0.17607 | 0.085273
48 | 0.33221 | 0.1609
49 | 0.14972 | 0.072515
50 | 0.25238 | 0.12223
51 | 0.40365 | 0.1955
52 | 0.14991 | 0.072602
53 | 0.24586 | 0.11907

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1