## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_122_1_node_37 | 20 | n |  | TRUE
1 | bus_MV_122_1_node_38 | 20 | n |  | TRUE
2 | bus_MV_122_1_node_87 | 20 | n |  | TRUE
3 | bus_MV_122_1_node_39 | 20 | n |  | TRUE
4 | bus_MV_122_1_node_40 | 20 | n |  | TRUE
5 | bus_MV_122_1_node_41 | 20 | n |  | TRUE
6 | bus_MV_122_1_node_42 | 20 | n |  | TRUE
7 | bus_MV_122_1_node_205 | 20 | n |  | TRUE
8 | bus_MV_122_1_node_227 | 20 | n |  | TRUE
9 | bus_MV_122_1_node_43 | 20 | n |  | TRUE
10 | bus_MV_122_1_node_44 | 20 | n |  | TRUE
11 | bus_MV_122_1_node_54 | 20 | n |  | TRUE
12 | bus_MV_122_1_node_55 | 20 | n |  | TRUE
13 | bus_MV_122_1_node_78 | 20 | n |  | TRUE
14 | bus_MV_122_1_node_45 | 20 | n |  | TRUE
15 | bus_MV_122_1_node_171 | 20 | n |  | TRUE
16 | bus_MV_122_1_node_220 | 20 | n |  | TRUE
17 | bus_MV_122_1_node_46 | 20 | n |  | TRUE
18 | bus_MV_122_1_node_50 | 20 | n |  | TRUE
19 | bus_MV_122_1_node_48 | 20 | n |  | TRUE
20 | bus_MV_122_1_node_56 | 20 | n |  | TRUE
21 | bus_MV_122_1_node_47 | 20 | n |  | TRUE
22 | bus_MV_122_1_node_49 | 20 | n |  | TRUE
23 | bus_MV_122_1_node_51 | 20 | n |  | TRUE
24 | bus_MV_122_1_node_219 | 20 | n |  | TRUE
25 | bus_MV_122_1_node_53 | 20 | n |  | TRUE
26 | bus_MV_122_1_node_52 | 20 | n |  | TRUE
27 | bus_MV_122_1_node_193 | 20 | n |  | TRUE
28 | bus_MV_122_1_node_192 | 20 | n |  | TRUE
29 | bus_MV_122_1_node_77 | 20 | n |  | TRUE
30 | bus_MV_122_1_node_57 | 20 | n |  | TRUE
31 | bus_MV_122_1_node_58 | 20 | n |  | TRUE
32 | bus_MV_122_1_node_63 | 20 | n |  | TRUE
33 | bus_MV_122_1_node_59 | 20 | n |  | TRUE
34 | bus_MV_122_1_node_60 | 20 | n |  | TRUE
35 | bus_MV_122_1_node_61 | 20 | n |  | TRUE
36 | bus_MV_122_1_node_62 | 20 | n |  | TRUE
37 | bus_MV_122_1_node_70 | 20 | n |  | TRUE
38 | bus_MV_122_1_node_69 | 20 | n |  | TRUE
39 | bus_MV_122_1_node_64 | 20 | n |  | TRUE
40 | bus_MV_122_1_node_66 | 20 | n |  | TRUE
41 | bus_MV_122_1_node_65 | 20 | n |  | TRUE
42 | bus_MV_122_1_node_67 | 20 | n |  | TRUE
43 | bus_MV_122_1_node_68 | 20 | n |  | TRUE
44 | bus_MV_122_1_node_76 | 20 | n |  | TRUE
45 | bus_MV_122_1_node_71 | 20 | n |  | TRUE
46 | bus_MV_122_1_node_226 | 20 | n |  | TRUE
47 | bus_MV_122_1_node_72 | 20 | n |  | TRUE
48 | bus_MV_122_1_node_73 | 20 | n |  | TRUE
49 | bus_MV_122_1_node_74 | 20 | n |  | TRUE
50 | bus_MV_122_1_node_75 | 20 | n |  | TRUE
51 | bus_MV_122_1_node_79 | 20 | n |  | TRUE
52 | bus_MV_122_1_node_80 | 20 | n |  | TRUE
53 | bus_MV_122_1_node_89 | 20 | n |  | TRUE
54 | bus_MV_122_1_node_81 | 20 | n |  | TRUE
55 | bus_MV_122_1_node_82 | 20 | n |  | TRUE
56 | bus_MV_122_1_node_83 | 20 | n |  | TRUE
57 | bus_MV_122_1_node_84 | 20 | n |  | TRUE
58 | bus_MV_122_1_node_91 | 20 | n |  | TRUE
59 | bus_MV_122_1_node_85 | 20 | n |  | TRUE
60 | bus_MV_122_1_node_86 | 20 | n |  | TRUE
61 | bus_MV_122_1_node_221 | 20 | n |  | TRUE
62 | bus_MV_122_1_node_88 | 20 | n |  | TRUE
63 | bus_MV_122_1_node_90 | 20 | n |  | TRUE
64 | bus_MV_122_1_node_103 | 20 | n |  | TRUE
65 | bus_MV_122_1_node_105 | 20 | n |  | TRUE
66 | bus_MV_122_1_node_181 | 20 | n |  | TRUE
67 | bus_MV_122_1_node_104 | 20 | n |  | TRUE
68 | bus_MV_122_1_node_107 | 20 | n |  | TRUE
69 | bus_MV_122_1_node_108 | 20 | n |  | TRUE
70 | bus_MV_122_1_node_106 | 20 | n |  | TRUE
71 | bus_MV_122_1_node_109 | 20 | n |  | TRUE
72 | bus_MV_122_1_node_112 | 20 | n |  | TRUE
73 | bus_MV_122_1_node_111 | 20 | n |  | TRUE
74 | bus_MV_122_1_node_113 | 20 | n |  | TRUE
75 | bus_MV_122_1_node_198 | 20 | n |  | TRUE
76 | bus_MV_122_1_node_117 | 20 | n |  | TRUE
77 | bus_MV_122_1_node_118 | 20 | n |  | TRUE
78 | bus_MV_122_1_node_119 | 20 | n |  | TRUE
79 | bus_MV_122_1_node_120 | 20 | n |  | TRUE
80 | bus_MV_122_1_node_121 | 20 | n |  | TRUE
81 | bus_MV_122_1_node_122 | 20 | n |  | TRUE
82 | bus_MV_122_1_node_123 | 20 | n |  | TRUE
83 | bus_MV_122_1_node_215 | 20 | n |  | TRUE
84 | bus_MV_122_1_node_124 | 20 | n |  | TRUE
85 | bus_MV_122_1_node_162 | 20 | n |  | TRUE
86 | bus_MV_122_1_node_201 | 20 | n |  | TRUE
87 | bus_MV_122_1_node_157 | 20 | n |  | TRUE
88 | bus_MV_122_1_node_158 | 20 | n |  | TRUE
89 | bus_MV_122_1_node_175 | 20 | n |  | TRUE
90 | bus_MV_122_1_node_161 | 20 | n |  | TRUE
91 | bus_MV_122_1_node_163 | 20 | n |  | TRUE
92 | bus_MV_122_1_node_164 | 20 | n |  | TRUE
93 | bus_MV_122_1_node_194 | 20 | n |  | TRUE
94 | bus_MV_122_1_node_172 | 20 | n |  | TRUE
95 | bus_MV_122_1_node_229 | 20 | n |  | TRUE
96 | bus_MV_122_1_node_174 | 20 | n |  | TRUE
97 | bus_MV_122_1_node_176 | 20 | n |  | TRUE
98 | bus_MV_122_1_node_195 | 20 | n |  | TRUE
99 | bus_MV_122_1_node_196 | 20 | n |  | TRUE
100 | bus_MV_122_1_node_206 | 20 | n |  | TRUE
101 | bus_MV_122_1_node_197 | 20 | n |  | TRUE
102 | bus_MV_122_1_node_199 | 20 | n |  | TRUE
103 | bus_MV_122_1_node_203 | 20 | n |  | TRUE
104 | bus_MV_122_1_node_204 | 20 | n |  | TRUE
105 | bus_MV_122_1_node_216 | 20 | n |  | TRUE
106 | bus_MV_122_1_node_217 | 20 | n |  | TRUE
107 | bus_HV_122_1_node_43 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_122_1_load_37 | 0 | 0.074392 | 0.03603 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_122_1_load_87 | 2 | 0.0512 | 0.024797 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_122_1_load_40 | 4 | 0.11214 | 0.05431 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_122_1_load_205 | 7 | 0.13337 | 0.064592 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_122_1_load_227 | 8 | 0.051712 | 0.025045 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_122_1_load_43 | 9 | 0.13865 | 0.067153 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_122_1_load_78 | 13 | 0.15431 | 0.074736 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_122_1_load_171 | 15 | 0.14484 | 0.07015 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_122_1_load_56 | 20 | 0.15954 | 0.077267 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_122_1_load_47 | 21 | 0.096321 | 0.04665 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_122_1_load_219 | 24 | 0.15688 | 0.07598 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_122_1_load_53 | 25 | 0.0634 | 0.030706 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_122_1_load_193 | 27 | 0.15324 | 0.07422 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_122_1_load_192 | 28 | 0.1134 | 0.054922 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_122_1_load_77 | 29 | 0.14254 | 0.069037 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_122_1_load_63 | 32 | 0.16037 | 0.077673 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_122_1_load_59 | 33 | 0.12281 | 0.059478 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_122_1_load_60 | 34 | 0.11827 | 0.057282 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_122_1_load_62 | 36 | 0.15513 | 0.075134 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_122_1_load_64 | 39 | 0.12993 | 0.062927 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_122_1_load_67 | 42 | 0.13654 | 0.066128 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_122_1_load_76 | 44 | 0.10974 | 0.053149 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_122_1_load_226 | 46 | 0.12274 | 0.059445 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_122_1_load_72 | 47 | 0.14238 | 0.068956 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_122_1_load_74 | 49 | 0.13838 | 0.067023 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_122_1_load_79 | 51 | 0.15257 | 0.073894 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_122_1_load_89 | 53 | 0.092252 | 0.04468 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_122_1_load_82 | 55 | 0.14827 | 0.071812 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_122_1_load_91 | 58 | 0.088442 | 0.042834 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_122_1_load_85 | 59 | 0.064414 | 0.031197 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_122_1_load_221 | 61 | 0.051528 | 0.024956 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_122_1_load_103 | 64 | 0.083834 | 0.040602 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_122_1_load_105 | 65 | 0.19197 | 0.092975 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_122_1_load_181 | 66 | 0.14782 | 0.071591 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_122_1_load_109 | 71 | 0.11971 | 0.05798 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_122_1_load_111 | 73 | 0.077549 | 0.037559 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_122_1_load_113 | 74 | 0.057254 | 0.02773 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_122_1_load_117 | 76 | 0.29263 | 0.14173 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_122_1_load_123 | 82 | 0.11673 | 0.056534 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_122_1_load_215 | 83 | 0.11756 | 0.056935 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_122_1_load_124 | 84 | 0.2488 | 0.1205 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_122_1_load_201 | 86 | 0.11552 | 0.055951 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_122_1_load_157 | 87 | 0.093625 | 0.045345 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_122_1_load_161 | 90 | 0.14113 | 0.068352 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_122_1_load_194 | 93 | 0.28497 | 0.13802 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_122_1_load_229 | 95 | 0.15961 | 0.077303 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_122_1_load_174 | 96 | 0.079562 | 0.038534 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_122_1_load_206 | 100 | 0.40427 | 0.1958 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_122_1_load_197 | 101 | 0.27648 | 0.1339 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_122_1_load_204 | 104 | 0.12406 | 0.060086 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_122_1_load_216 | 105 | 0.084515 | 0.040932 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_122_1_line_0 |  | 0 | 1 | 0.039447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_122_1_line_1 |  | 0 | 2 | 3.529 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_122_1_line_2 |  | 1 | 3 | 0.12796 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_122_1_line_3 |  | 2 | 62 | 0.037722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_122_1_line_4 |  | 3 | 4 | 0.019674 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_122_1_line_5 |  | 4 | 5 | 0.12608 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_122_1_line_6 |  | 5 | 6 | 0.42748 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_122_1_line_7 |  | 5 | 7 | 2.5711 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_122_1_line_8 |  | 6 | 8 | 0.043659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_122_1_line_9 |  | 7 | 97 | 0.13423 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_122_1_line_10 |  | 8 | 106 | 1.7759 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_122_1_line_11 |  | 9 | 10 | 0.008125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_122_1_line_12 |  | 9 | 11 | 0.14951 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_122_1_line_13 |  | 9 | 12 | 0.4474 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_122_1_line_14 |  | 9 | 13 | 0.4523 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_122_1_line_15 |  | 10 | 14 | 0.5794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_122_1_line_16 |  | 11 | 28 | 0.13703 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_122_1_line_17 |  | 11 | 23 | 0.13083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_122_1_line_18 |  | 12 | 29 | 0.015688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_122_1_line_19 |  | 13 | 26 | 0.15921 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_122_1_line_20 |  | 14 | 15 | 0.019721 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_122_1_line_21 |  | 14 | 16 | 1.0044 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_122_1_line_22 |  | 15 | 94 | 0.020214 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_122_1_line_23 |  | 16 | 61 | 0.039725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_122_1_line_24 |  | 17 | 18 | 0.099199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_122_1_line_25 |  | 17 | 19 | 0.062219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_122_1_line_26 |  | 17 | 20 | 0.040857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_122_1_line_27 |  | 18 | 24 | 0.016561 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_122_1_line_28 |  | 19 | 21 | 0.068868 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_122_1_line_29 |  | 20 | 30 | 0.045243 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_122_1_line_30 |  | 21 | 22 | 0.032625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_122_1_line_31 |  | 22 | 23 | 0.23711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_122_1_line_32 |  | 23 | 25 | 0.09097 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_122_1_line_33 |  | 26 | 27 | 1.3232 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_122_1_line_34 |  | 27 | 91 | 0.048822 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_122_1_line_35 |  | 30 | 31 | 0.05893 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_122_1_line_36 |  | 31 | 32 | 0.021706 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_122_1_line_37 |  | 32 | 33 | 0.020574 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_122_1_line_38 |  | 33 | 34 | 0.050394 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_122_1_line_39 |  | 34 | 35 | 0.029463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_122_1_line_40 |  | 35 | 36 | 0.010354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_122_1_line_41 |  | 36 | 37 | 0.1552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_122_1_line_42 |  | 36 | 38 | 0.11236 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_122_1_line_43 |  | 37 | 45 | 0.093845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_122_1_line_44 |  | 38 | 40 | 0.082186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_122_1_line_45 |  | 38 | 43 | 0.15111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_122_1_line_46 |  | 39 | 40 | 0.01547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_122_1_line_47 |  | 39 | 41 | 0.046446 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_122_1_line_48 |  | 41 | 42 | 0.03803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_122_1_line_49 |  | 43 | 44 | 0.09632 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_122_1_line_50 |  | 44 | 50 | 0.091287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_122_1_line_51 |  | 45 | 46 | 0.15327 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_122_1_line_52 |  | 47 | 48 | 0.032636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_122_1_line_53 |  | 47 | 49 | 0.084464 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_122_1_line_54 |  | 48 | 50 | 0.036251 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_122_1_line_55 |  | 51 | 52 | 0.057302 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_122_1_line_56 |  | 51 | 53 | 0.90085 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_122_1_line_57 |  | 52 | 54 | 0.1426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_122_1_line_58 |  | 53 | 63 | 0.012007 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_122_1_line_59 |  | 54 | 55 | 0.065183 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_122_1_line_60 |  | 55 | 56 | 0.10842 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_122_1_line_61 |  | 56 | 57 | 0.1507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_122_1_line_62 |  | 57 | 58 | 0.028556 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_122_1_line_63 |  | 58 | 61 | 1.8437 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_122_1_line_64 |  | 59 | 60 | 0.053334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_122_1_line_65 |  | 60 | 61 | 2.0781 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_122_1_line_66 |  | 62 | 63 | 0.89468 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_122_1_line_67 |  | 64 | 65 | 0.017392 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_122_1_line_68 |  | 64 | 66 | 0.23107 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_122_1_line_69 |  | 66 | 68 | 0.18788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_122_1_line_70 |  | 67 | 68 | 0.26705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_122_1_line_71 |  | 67 | 69 | 0.4469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_122_1_line_72 |  | 68 | 70 | 0.11349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_122_1_line_73 |  | 69 | 72 | 0.61582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_122_1_line_74 |  | 69 | 73 | 0.0782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_122_1_line_75 |  | 70 | 71 | 0.053564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_122_1_line_76 |  | 72 | 74 | 0.082579 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_122_1_line_77 |  | 74 | 75 | 1.6495 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_122_1_line_78 |  | 75 | 102 | 1.0198 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_122_1_line_79 |  | 75 | 101 | 0.053654 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_122_1_line_80 |  | 76 | 77 | 0.12299 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_122_1_line_81 |  | 77 | 78 | 0.36756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_122_1_line_82 |  | 77 | 79 | 1.3838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_122_1_line_83 |  | 77 | 80 | 0.43675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_122_1_line_84 |  | 78 | 81 | 0.94673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_122_1_line_85 |  | 78 | 82 | 0.007819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_122_1_line_86 |  | 79 | 83 | 0.21021 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_122_1_line_87 |  | 80 | 84 | 0.045536 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_122_1_line_88 |  | 81 | 85 | 1.0762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_122_1_line_89 |  | 81 | 86 | 0.058827 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_122_1_line_90 |  | 85 | 91 | 1.0486 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_122_1_line_91 |  | 85 | 90 | 0.004766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_122_1_line_92 |  | 86 | 103 | 0.15792 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
93 | MV_122_1_line_93 |  | 87 | 88 | 0.16534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_122_1_line_94 |  | 88 | 89 | 3.318 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_122_1_line_95 |  | 89 | 97 | 0.47368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_122_1_line_96 |  | 89 | 96 | 0.069518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_122_1_line_97 |  | 91 | 92 | 0.54804 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_122_1_line_98 |  | 92 | 93 | 0.018413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_122_1_line_99 |  | 93 | 98 | 0.028594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_122_1_line_100 |  | 94 | 95 | 0.02451 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
101 | MV_122_1_line_101 |  | 98 | 99 | 0.75077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_122_1_line_102 |  | 99 | 100 | 0.011703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_122_1_line_103 |  | 100 | 102 | 0.023609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_122_1_line_104 |  | 103 | 104 | 0.1253 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_122_1_line_105 |  | 105 | 106 | 0.05219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_122_1_trafo_43 | 25 MVA 110/20 kV | 107 | 9 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2597675.1708 | 1181114.8604
1 | 2597704.2942 | 1181088.2018
2 | 2598578.2817 | 1184526.362
3 | 2597802.5019 | 1181006.1886
4 | 2597817.916 | 1180993.9098
5 | 2597872.5388 | 1180880.2759
6 | 2597782.5829 | 1180541.0585
7 | 2600443.6517 | 1180882.896
8 | 2597769.3083 | 1180499.4646
9 | 2603281.1971 | 1184496.5869
10 | 2603273.5555 | 1184499.4065
11 | 2603396.7962 | 1184401.7678
12 | 2603537.3687 | 1184129.7853
13 | 2603716.0674 | 1184620.9332
14 | 2602981.9384 | 1184749.4977
15 | 2603001.0695 | 1184754.2874
16 | 2602231.8255 | 1185417.3802
17 | 2603031.4412 | 1184330.306
18 | 2603083.9319 | 1184281.9962
19 | 2603059.0439 | 1184369.6066
20 | 2602990.6299 | 1184330.008
21 | 2603126.5849 | 1184383.0587
22 | 2603126.4413 | 1184350.4418
23 | 2603359.3157 | 1184327.5311
24 | 2603082.6732 | 1184265.487
25 | 2603377.3211 | 1184258.1275
26 | 2603836.3772 | 1184725.2058
27 | 2605089.0935 | 1185151.4333
28 | 2603528.7178 | 1184438.8283
29 | 2603527.8807 | 1184117.2733
30 | 2602948.292 | 1184314.0571
31 | 2602946.5294 | 1184265.1644
32 | 2602935.0889 | 1184247.3275
33 | 2602914.4962 | 1184246.8397
34 | 2602864.7194 | 1184238.9789
35 | 2602835.6489 | 1184233.696
36 | 2602825.4219 | 1184231.9015
37 | 2602829.9659 | 1184077.3018
38 | 2602714.4041 | 1184214.5536
39 | 2602701.9319 | 1184284.7954
40 | 2602697.9313 | 1184269.8526
41 | 2602741.1832 | 1184309.6256
42 | 2602728.7656 | 1184342.3814
43 | 2602565.5561 | 1184237.824
44 | 2602470.0129 | 1184234.012
45 | 2602815.5046 | 1183987.2932
46 | 2602761.3822 | 1183843.8949
47 | 2602428.7777 | 1184122.4537
48 | 2602418.9955 | 1184153.5881
49 | 2602453.2427 | 1184041.6106
50 | 2602398.4215 | 1184182.3615
51 | 2599935.6498 | 1185674.5138
52 | 2599990.1569 | 1185656.837
53 | 2599432.2148 | 1184927.461
54 | 2600056.4463 | 1185602.7752
55 | 2600120.7675 | 1185613.87
56 | 2600229.1881 | 1185613.1937
57 | 2600362.9718 | 1185655.8096
58 | 2600360.5618 | 1185627.3615
59 | 2601888.6368 | 1187508.6737
60 | 2601929.479 | 1187476.6221
61 | 2602192.0525 | 1185415.1981
62 | 2598612.0355 | 1184541.1502
63 | 2599420.7133 | 1184923.9048
64 | 2605060.9683 | 1181775.7186
65 | 2605069.1719 | 1181791.0538
66 | 2604966.4495 | 1181564.8656
67 | 2604802.3346 | 1181823.9112
68 | 2604795.6913 | 1181620.8798
69 | 2604720.5864 | 1182216.5484
70 | 2604760.1309 | 1181532.2176
71 | 2604785.2584 | 1181484.9786
72 | 2604959.6675 | 1182696.6072
73 | 2604661.2781 | 1182262.9821
74 | 2604947.7819 | 1182769.6795
75 | 2605397.0236 | 1184356.8228
76 | 2604680.4814 | 1187583.4192
77 | 2604564.0172 | 1187543.899
78 | 2604780.2938 | 1187300.0721
79 | 2603986.9603 | 1188569.2376
80 | 2604347.9906 | 1187366.8155
81 | 2604455.4693 | 1186620.2508
82 | 2604788.0978 | 1187300.4117
83 | 2603911.5007 | 1188765.4353
84 | 2604328.9353 | 1187407.9122
85 | 2604816.7539 | 1185835.2423
86 | 2604397.8893 | 1186608.2026
87 | 2603820.5454 | 1179672.4876
88 | 2603882.6685 | 1179815.0512
89 | 2600844.5054 | 1181148.7146
90 | 2604812.3295 | 1185833.4378
91 | 2605130.7249 | 1185176.9371
92 | 2605253.5627 | 1184858.5112
93 | 2605258.7372 | 1184840.8398
94 | 2603020.6434 | 1184759.3328
95 | 2603024.9903 | 1184735.2114
96 | 2600829.0135 | 1181210.1117
97 | 2600533.4931 | 1180982.631
98 | 2605265.63 | 1184813.1093
99 | 2605728.5209 | 1184816.9529
100 | 2605739.2546 | 1184821.6878
101 | 2605362.4958 | 1184397.8912
102 | 2605761.5325 | 1184829.524
103 | 2604252.9692 | 1186545.456
104 | 2604179.7326 | 1186476.6141
105 | 2598294.4857 | 1178756.1419
106 | 2598293.6209 | 1178802.7325
107 | 2603281.1971 | 1184496.5869

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98464 | -0.11193 | 0.074392 | 0.03603
1 | 0.98461 | -0.11177 | 0 | 0
2 | 0.98886 | -0.070803 | 0.0512 | 0.024797
3 | 0.98452 | -0.11122 | 0 | 0
4 | 0.98451 | -0.11114 | 0.11214 | 0.05431
5 | 0.9844 | -0.11225 | 0 | 0
6 | 0.98433 | -0.11179 | 0 | 0
7 | 0.9829 | -0.12702 | 0.13337 | 0.064592
8 | 0.98432 | -0.11172 | 0.051712 | 0.025045
9 | 1 | 0 | -6.8356 | -2.9653
10 | 0.99998 | 0.00011377 | 0 | 0
11 | 0.99945 | -0.0040007 | 0 | 0
12 | 0.99988 | -0.00079515 | 0 | 0
13 | 0.99734 | -0.026036 | 0.15431 | 0.074736
14 | 0.99882 | 0.0084955 | 0 | 0
15 | 0.99881 | 0.0085666 | 0.14484 | 0.07015
16 | 0.99637 | -0.012778 | 0 | 0
17 | 0.9982 | 0.0032263 | 0 | 0
18 | 0.99818 | 0.0034032 | 0 | 0
19 | 0.99833 | 0.0020997 | 0 | 0
20 | 0.99812 | 0.0038997 | 0.15954 | 0.077267
21 | 0.99855 | 0.0036454 | 0.096321 | 0.04665
22 | 0.99862 | 0.0030196 | 0 | 0
23 | 0.99915 | -0.0014771 | 0 | 0
24 | 0.99818 | 0.0034342 | 0.15688 | 0.07598
25 | 0.99914 | -0.0014143 | 0.0634 | 0.030706
26 | 0.99645 | -0.034929 | 0 | 0
27 | 0.98905 | -0.10936 | 0.15324 | 0.07422
28 | 0.99942 | -0.0041897 | 0.1134 | 0.054922
29 | 0.99987 | -0.00076858 | 0.14254 | 0.069037
30 | 0.998 | 0.003078 | 0 | 0
31 | 0.9979 | 0.0039412 | 0 | 0
32 | 0.99787 | 0.0042606 | 0.16037 | 0.077673
33 | 0.99784 | 0.0045243 | 0.12281 | 0.059478
34 | 0.99773 | 0.0037927 | 0.11827 | 0.057282
35 | 0.9977 | 0.0040862 | 0 | 0
36 | 0.99769 | 0.0041897 | 0.15513 | 0.075134
37 | 0.99766 | 0.0043764 | 0 | 0
38 | 0.99755 | 0.0031671 | 0 | 0
39 | 0.99751 | 0.0034667 | 0.12993 | 0.062927
40 | 0.99752 | 0.0034183 | 0 | 0
41 | 0.9975 | 0.003386 | 0 | 0
42 | 0.99749 | 0.0034473 | 0.13654 | 0.066128
43 | 0.99747 | 0.0037992 | 0 | 0
44 | 0.99742 | 0.0042204 | 0.10974 | 0.053149
45 | 0.99765 | 0.004507 | 0 | 0
46 | 0.99761 | 0.0042774 | 0.12274 | 0.059445
47 | 0.99737 | 0.0047407 | 0.14238 | 0.068956
48 | 0.99738 | 0.0046315 | 0 | 0
49 | 0.99734 | 0.0045983 | 0.13838 | 0.067023
50 | 0.99739 | 0.0045121 | 0 | 0
51 | 0.99139 | -0.047483 | 0.15257 | 0.073894
52 | 0.99149 | -0.046587 | 0 | 0
53 | 0.99006 | -0.059864 | 0.092252 | 0.04468
54 | 0.99166 | -0.047735 | 0 | 0
55 | 0.99174 | -0.04825 | 0.14827 | 0.071812
56 | 0.99196 | -0.04631 | 0 | 0
57 | 0.99217 | -0.047745 | 0 | 0
58 | 0.99221 | -0.048013 | 0.088442 | 0.042834
59 | 0.99604 | -0.014359 | 0.064414 | 0.031197
60 | 0.99605 | -0.014398 | 0 | 0
61 | 0.9963 | -0.012324 | 0.051528 | 0.024956
62 | 0.9889 | -0.071005 | 0 | 0
63 | 0.99005 | -0.059801 | 0 | 0
64 | 0.98155 | -0.099043 | 0.083834 | 0.040602
65 | 0.98155 | -0.099001 | 0.19197 | 0.092975
66 | 0.98168 | -0.098232 | 0.14782 | 0.071591
67 | 0.98197 | -0.10078 | 0 | 0
68 | 0.98178 | -0.099185 | 0 | 0
69 | 0.98228 | -0.10319 | 0 | 0
70 | 0.98177 | -0.099036 | 0 | 0
71 | 0.98176 | -0.098958 | 0.11971 | 0.05798
72 | 0.98277 | -0.10654 | 0 | 0
73 | 0.98227 | -0.10312 | 0.077549 | 0.037559
74 | 0.98284 | -0.10695 | 0.057254 | 0.02773
75 | 0.98497 | -0.086556 | 0 | 0
76 | 0.98458 | -0.091427 | 0.29263 | 0.14173
77 | 0.98466 | -0.090978 | 0 | 0
78 | 0.98496 | -0.092811 | 0 | 0
79 | 0.98445 | -0.090449 | 0 | 0
80 | 0.98452 | -0.089812 | 0 | 0
81 | 0.98589 | -0.09793 | 0 | 0
82 | 0.98496 | -0.0928 | 0.11673 | 0.056534
83 | 0.9844 | -0.090759 | 0.11756 | 0.056935
84 | 0.9845 | -0.089674 | 0.2488 | 0.1205
85 | 0.98727 | -0.10503 | 0 | 0
86 | 0.98586 | -0.098121 | 0.11552 | 0.055951
87 | 0.98214 | -0.13238 | 0.093625 | 0.045345
88 | 0.98216 | -0.13255 | 0 | 0
89 | 0.98276 | -0.12699 | 0 | 0
90 | 0.98727 | -0.10502 | 0.14113 | 0.068352
91 | 0.9888 | -0.11204 | 0 | 0
92 | 0.98765 | -0.10437 | 0 | 0
93 | 0.98761 | -0.1041 | 0.28497 | 0.13802
94 | 0.99881 | 0.0086049 | 0 | 0
95 | 0.9988 | 0.0085575 | 0.15961 | 0.077303
96 | 0.98275 | -0.12693 | 0.079562 | 0.038534
97 | 0.98286 | -0.12755 | 0 | 0
98 | 0.98756 | -0.10379 | 0 | 0
99 | 0.98626 | -0.095079 | 0 | 0
100 | 0.98624 | -0.094937 | 0.40427 | 0.1958
101 | 0.98494 | -0.086741 | 0.27648 | 0.1339
102 | 0.98621 | -0.094766 | 0 | 0
103 | 0.98583 | -0.098406 | 0 | 0
104 | 0.98581 | -0.098227 | 0.12406 | 0.060086
105 | 0.98403 | -0.11389 | 0.084515 | 0.040932
106 | 0.98403 | -0.11395 | 0 | 0
107 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.55559 | 0.22722 | -0.55557 | -0.22813 | 1.6319e-05 | -0.00090826 | 0.017598 | 0.017608 | 0.017608 | 0.98464 | -0.11193 | 0.98461 | -0.11177 | 8.0038
1 | -0.62998 | -0.26325 | 0.6325 | 0.26073 | 0.0025137 | -0.0025276 | 0.020017 | 0.019971 | 0.020017 | 0.98464 | -0.11193 | 0.98886 | -0.070803 | 9.5321
2 | 0.55557 | 0.22813 | -0.55552 | -0.23108 | 5.3065e-05 | -0.0029459 | 0.017608 | 0.017642 | 0.017642 | 0.98461 | -0.11177 | 0.98452 | -0.11122 | 8.0189
3 | -0.6837 | -0.28552 | 0.68372 | 0.28465 | 2.3549e-05 | -0.00087375 | 0.021629 | 0.02162 | 0.021629 | 0.98886 | -0.070803 | 0.9889 | -0.071005 | 9.8315
4 | 0.55552 | 0.23108 | -0.55551 | -0.23153 | 8.1766e-06 | -0.00045288 | 0.017642 | 0.017647 | 0.017647 | 0.98452 | -0.11122 | 0.98451 | -0.11114 | 8.0212
5 | 0.44338 | 0.17722 | -0.44333 | -0.17734 | 4.4038e-05 | -0.00011829 | 0.014001 | 0.014002 | 0.014002 | 0.98451 | -0.11114 | 0.9844 | -0.11225 | 6.6677
6 | 0.13626 | 0.051836 | -0.13625 | -0.061723 | 1.0695e-05 | -0.0098868 | 0.0042752 | 0.0043867 | 0.0043867 | 0.9844 | -0.11225 | 0.98433 | -0.11179 | 1.994
7 | 0.30707 | 0.1255 | -0.30664 | -0.1282 | 0.00043498 | -0.0026974 | 0.0097279 | 0.0097612 | 0.0097612 | 0.9844 | -0.11225 | 0.9829 | -0.12702 | 4.6482
8 | 0.13625 | 0.061723 | -0.13625 | -0.062732 | 1.1247e-06 | -0.0010097 | 0.0043867 | 0.0043991 | 0.0043991 | 0.98433 | -0.11179 | 0.98432 | -0.11172 | 1.9996
9 | 0.17327 | 0.063609 | -0.17326 | -0.063759 | 7.0302e-06 | -0.00015041 | 0.0054209 | 0.0054225 | 0.0054225 | 0.9829 | -0.12702 | 0.98286 | -0.12755 | 2.5821
10 | 0.084539 | 0.037687 | -0.084515 | -0.039726 | 2.3528e-05 | -0.0020388 | 0.0027145 | 0.0027396 | 0.0027396 | 0.98432 | -0.11172 | 0.98403 | -0.11395 | 1.3046
11 | 1.5978 | 0.69352 | -1.5978 | -0.6937 | 2.7424e-05 | -0.00018586 | 0.050281 | 0.050284 | 0.050284 | 1 | 0 | 0.99998 | 0.00011377 | 22.8562
12 | 1.9299 | 0.8944 | -1.9289 | -0.89395 | 0.0010045 | 0.00045077 | 0.061405 | 0.061407 | 0.061407 | 1 | 0 | 0.99945 | -0.0040007 | 29.2414
13 | 0.14256 | 0.068139 | -0.14254 | -0.068663 | 1.6609e-05 | -0.00052364 | 0.0045613 | 0.004568 | 0.004568 | 1 | 0 | 0.99988 | -0.00079515 | 2.1752
14 | 3.1513 | 1.2987 | -3.1435 | -1.2944 | 0.007802 | 0.0043484 | 0.098392 | 0.098398 | 0.098398 | 1 | 0 | 0.99734 | -0.026036 | 46.8562
15 | 1.5978 | 0.6937 | -1.5958 | -0.70694 | 0.001962 | -0.013235 | 0.050284 | 0.050444 | 0.050444 | 0.99998 | 0.00011377 | 0.99882 | 0.0084955 | 22.929
16 | 0.1134 | 0.054761 | -0.1134 | -0.054922 | 3.232e-06 | -0.00016138 | 0.0036374 | 0.0036394 | 0.0036394 | 0.99945 | -0.0040007 | 0.99942 | -0.0041897 | 1.7331
17 | 1.8155 | 0.83918 | -1.815 | -0.84213 | 0.00058327 | -0.0029462 | 0.05777 | 0.057808 | 0.057808 | 0.99945 | -0.0040007 | 0.99915 | -0.0014771 | 26.2763
18 | 0.14254 | 0.068663 | -0.14254 | -0.069037 | 4.3746e-07 | -0.00037435 | 0.004568 | 0.0045727 | 0.0045727 | 0.99988 | -0.00079515 | 0.99987 | -0.00076858 | 2.0785
19 | 2.9892 | 1.2196 | -2.9867 | -1.2183 | 0.002477 | 0.0013626 | 0.093445 | 0.093447 | 0.093447 | 0.99734 | -0.026036 | 0.99645 | -0.034929 | 44.4985
20 | 0.30446 | 0.14647 | -0.30445 | -0.14694 | 2.5119e-06 | -0.00046901 | 0.0097647 | 0.0097705 | 0.0097705 | 0.99882 | 0.0084955 | 0.99881 | 0.0085666 | 4.4412
21 | 1.2913 | 0.56046 | -1.2884 | -0.5598 | 0.0029631 | 0.00066273 | 0.040685 | 0.040699 | 0.040699 | 0.99882 | 0.0084955 | 0.99637 | -0.012778 | 19.3805
22 | 0.15961 | 0.076793 | -0.15961 | -0.077274 | 7.0804e-07 | -0.00048128 | 0.0051192 | 0.0051253 | 0.0051253 | 0.99881 | 0.0085666 | 0.99881 | 0.0086049 | 2.3297
23 | 1.2884 | 0.5598 | -1.2883 | -0.56072 | 8.7867e-05 | -0.00091547 | 0.040699 | 0.04071 | 0.04071 | 0.99637 | -0.012778 | 0.9963 | -0.012324 | 18.5045
24 | 0.15688 | 0.073227 | -0.15688 | -0.075586 | 3.3392e-06 | -0.0023589 | 0.0050069 | 0.0050362 | 0.0050362 | 0.9982 | 0.0032263 | 0.99818 | 0.0034032 | 2.2892
25 | -1.6535 | -0.77431 | 1.6538 | 0.7729 | 0.00023151 | -0.0014117 | 0.052803 | 0.052785 | 0.052803 | 0.9982 | 0.0032263 | 0.99833 | 0.0020997 | 24.0014
26 | 1.4967 | 0.70109 | -1.4965 | -0.70202 | 0.00012464 | -0.00093495 | 0.047796 | 0.047808 | 0.047808 | 0.9982 | 0.0032263 | 0.99812 | 0.0038997 | 21.731
27 | 0.15688 | 0.075586 | -0.15688 | -0.07598 | 5.6129e-07 | -0.00039381 | 0.0050362 | 0.0050411 | 0.0050411 | 0.99818 | 0.0034032 | 0.99818 | 0.0034342 | 2.2914
28 | -1.6538 | -0.7729 | 1.6541 | 0.77304 | 0.00034187 | 0.00013218 | 0.052785 | 0.052784 | 0.052785 | 0.99833 | 0.0020997 | 0.99855 | 0.0036454 | 25.1357
29 | 1.337 | 0.62476 | -1.3369 | -0.62472 | 0.00014685 | 3.8181e-05 | 0.042682 | 0.042683 | 0.042683 | 0.99812 | 0.0038997 | 0.998 | 0.003078 | 20.325
30 | -1.7504 | -0.81969 | 1.7506 | 0.81895 | 0.00013597 | -0.00073642 | 0.055878 | 0.055868 | 0.055878 | 0.99855 | 0.0036454 | 0.99862 | 0.0030196 | 25.399
31 | -1.7506 | -0.81895 | 1.7516 | 0.81359 | 0.00098679 | -0.0053559 | 0.055868 | 0.055799 | 0.055868 | 0.99862 | 0.0030196 | 0.99915 | -0.0014771 | 25.3946
32 | 0.0634 | 0.028538 | -0.0634 | -0.030706 | 4.9644e-07 | -0.0021681 | 0.0020088 | 0.0020353 | 0.0020353 | 0.99915 | -0.0014771 | 0.99914 | -0.0014143 | 0.92513
33 | 2.9867 | 1.2183 | -2.9661 | -1.2069 | 0.020591 | 0.011341 | 0.093447 | 0.093464 | 0.093464 | 0.99645 | -0.034929 | 0.98905 | -0.10936 | 44.5066
34 | 2.8128 | 1.1327 | -2.8122 | -1.1324 | 0.00068138 | 0.0003698 | 0.088505 | 0.088506 | 0.088506 | 0.98905 | -0.10936 | 0.9888 | -0.11204 | 42.1456
35 | 1.3369 | 0.62472 | -1.3367 | -0.62608 | 0.00014338 | -0.0013587 | 0.042683 | 0.0427 | 0.0427 | 0.998 | 0.003078 | 0.9979 | 0.0039412 | 19.409
36 | 1.3367 | 0.62608 | -1.3367 | -0.62658 | 5.2842e-05 | -0.00050039 | 0.0427 | 0.042706 | 0.042706 | 0.9979 | 0.0039412 | 0.99787 | 0.0042606 | 19.4118
37 | 1.1763 | 0.5489 | -1.1762 | -0.54938 | 3.8737e-05 | -0.00047763 | 0.037552 | 0.037558 | 0.037558 | 0.99787 | 0.0042606 | 0.99784 | 0.0045243 | 17.0716
38 | 1.0534 | 0.4899 | -1.0533 | -0.4899 | 0.00010143 | 3.6385e-06 | 0.03361 | 0.033611 | 0.033611 | 0.99784 | 0.0045243 | 0.99773 | 0.0037927 | 16.0053
39 | 0.93506 | 0.43262 | -0.93503 | -0.43331 | 3.4962e-05 | -0.00068988 | 0.029809 | 0.029818 | 0.029818 | 0.99773 | 0.0037927 | 0.9977 | 0.0040862 | 13.5536
40 | 0.93503 | 0.43331 | -0.93501 | -0.43355 | 1.2291e-05 | -0.00024243 | 0.029818 | 0.029821 | 0.029821 | 0.9977 | 0.0040862 | 0.99769 | 0.0041897 | 13.555
41 | 0.12275 | 0.053348 | -0.12274 | -0.057036 | 3.1419e-06 | -0.0036874 | 0.0038726 | 0.0039163 | 0.0039163 | 0.99769 | 0.0041897 | 0.99766 | 0.0043764 | 1.7802
42 | 0.65714 | 0.30507 | -0.65705 | -0.30515 | 8.7983e-05 | -7.8393e-05 | 0.020963 | 0.020964 | 0.020964 | 0.99769 | 0.0041897 | 0.99755 | 0.0031671 | 9.9831
43 | 0.12274 | 0.057036 | -0.12274 | -0.059265 | 1.935e-06 | -0.0022296 | 0.0039163 | 0.003944 | 0.003944 | 0.99766 | 0.0043764 | 0.99765 | 0.004507 | 1.7927
44 | 0.26648 | 0.12578 | -0.26647 | -0.12773 | 8.0009e-06 | -0.0019502 | 0.0085273 | 0.0085516 | 0.0085516 | 0.99755 | 0.0031671 | 0.99752 | 0.0034183 | 3.8871
45 | 0.39057 | 0.17937 | -0.39054 | -0.18295 | 3.1315e-05 | -0.0035806 | 0.012437 | 0.012481 | 0.012481 | 0.99755 | 0.0031671 | 0.99747 | 0.0037992 | 5.6733
46 | -0.26647 | -0.1281 | 0.26647 | 0.12773 | 1.5111e-06 | -0.00036708 | 0.0085562 | 0.0085516 | 0.0085562 | 0.99751 | 0.0034667 | 0.99752 | 0.0034183 | 3.8892
47 | 0.13654 | 0.065171 | -0.13654 | -0.065225 | 1.5867e-06 | -5.4177e-05 | 0.0043784 | 0.0043791 | 0.0043791 | 0.99751 | 0.0034667 | 0.9975 | 0.003386 | 2.0853
48 | 0.13654 | 0.065225 | -0.13654 | -0.066128 | 9.7612e-07 | -0.00090318 | 0.0043791 | 0.0043905 | 0.0043905 | 0.9975 | 0.003386 | 0.99749 | 0.0034473 | 1.9957
49 | 0.39054 | 0.18295 | -0.39052 | -0.18523 | 2.0076e-05 | -0.0022821 | 0.012481 | 0.012509 | 0.012509 | 0.99747 | 0.0037992 | 0.99742 | 0.0042204 | 5.6861
50 | 0.28078 | 0.13208 | -0.28077 | -0.13425 | 9.8582e-06 | -0.0021654 | 0.0089806 | 0.0090075 | 0.0090075 | 0.99742 | 0.0042204 | 0.99739 | 0.0045121 | 4.0943
51 | 0.12274 | 0.059265 | -0.12274 | -0.059445 | 4.2503e-06 | -0.00017945 | 0.003944 | 0.0039463 | 0.0039463 | 0.99765 | 0.004507 | 0.99761 | 0.0042774 | 1.8792
52 | -0.28076 | -0.13588 | 0.28077 | 0.13511 | 3.5473e-06 | -0.00077408 | 0.009028 | 0.0090183 | 0.009028 | 0.99737 | 0.0047407 | 0.99738 | 0.0046315 | 4.1036
53 | 0.13839 | 0.066924 | -0.13838 | -0.067023 | 2.9799e-06 | -9.8434e-05 | 0.0044493 | 0.0044505 | 0.0044505 | 0.99737 | 0.0047407 | 0.99734 | 0.0045983 | 2.1193
54 | -0.28077 | -0.13511 | 0.28077 | 0.13425 | 3.9312e-06 | -0.00085984 | 0.0090183 | 0.0090075 | 0.0090183 | 0.99738 | 0.0046315 | 0.99739 | 0.0045121 | 4.0992
55 | -0.93027 | -0.40192 | 0.93035 | 0.40191 | 8.8892e-05 | -1.1562e-05 | 0.029508 | 0.029507 | 0.029508 | 0.99139 | -0.047483 | 0.99149 | -0.046587 | 14.0513
56 | 0.77769 | 0.32802 | -0.77672 | -0.32847 | 0.00096996 | -0.00044804 | 0.024577 | 0.024589 | 0.024589 | 0.99139 | -0.047483 | 0.99006 | -0.059864 | 11.709
57 | -0.93035 | -0.40191 | 0.93052 | 0.39861 | 0.00016553 | -0.0032984 | 0.029507 | 0.029468 | 0.029507 | 0.99149 | -0.046587 | 0.99166 | -0.047735 | 13.4122
58 | 0.68447 | 0.28379 | -0.68446 | -0.28407 | 7.483e-06 | -0.00027879 | 0.021605 | 0.021608 | 0.021608 | 0.99006 | -0.059864 | 0.99005 | -0.059801 | 9.8217
59 | -0.93052 | -0.39861 | 0.9306 | 0.3971 | 7.5521e-05 | -0.0015082 | 0.029468 | 0.029451 | 0.029468 | 0.99166 | -0.047735 | 0.99174 | -0.04825 | 13.3947
60 | -1.0789 | -0.46891 | 1.0791 | 0.46893 | 0.00022649 | 1.4531e-05 | 0.034242 | 0.03424 | 0.034242 | 0.99174 | -0.04825 | 0.99196 | -0.04631 | 16.3056
61 | -1.0791 | -0.46893 | 1.0793 | 0.46545 | 0.00023559 | -0.0034714 | 0.03424 | 0.034199 | 0.03424 | 0.99196 | -0.04631 | 0.99217 | -0.047745 | 15.5637
62 | -1.0793 | -0.46545 | 1.0794 | 0.4648 | 4.4577e-05 | -0.00065797 | 0.034199 | 0.034192 | 0.034199 | 0.99217 | -0.047745 | 0.99221 | -0.048013 | 15.5451
63 | -1.1678 | -0.50763 | 1.1723 | 0.50828 | 0.0045058 | 0.00064642 | 0.037048 | 0.037023 | 0.037048 | 0.99221 | -0.048013 | 0.9963 | -0.012324 | 17.6419
64 | -0.064414 | -0.031197 | 0.064415 | 0.029934 | 3.0402e-07 | -0.0012633 | 0.0020743 | 0.0020586 | 0.0020743 | 0.99604 | -0.014359 | 0.99605 | -0.014398 | 0.94286
65 | -0.064415 | -0.029934 | 0.06443 | 0.027482 | 1.5466e-05 | -0.0024522 | 0.0020586 | 0.0020296 | 0.0020586 | 0.99605 | -0.014398 | 0.9963 | -0.012324 | 0.98029
66 | -0.68372 | -0.28465 | 0.68446 | 0.28407 | 0.00074466 | -0.00057928 | 0.02162 | 0.021608 | 0.02162 | 0.9889 | -0.071005 | 0.99005 | -0.059801 | 10.295
67 | 0.19197 | 0.092575 | -0.19197 | -0.092975 | 9.1293e-07 | -0.00039979 | 0.006268 | 0.0062732 | 0.0062732 | 0.98155 | -0.099043 | 0.98155 | -0.099001 | 2.8514
68 | -0.2758 | -0.13318 | 0.27584 | 0.13293 | 3.3391e-05 | -0.00024489 | 0.0090075 | 0.0090041 | 0.0090075 | 0.98155 | -0.099043 | 0.98168 | -0.098232 | 4.2893
69 | -0.42366 | -0.20452 | 0.4237 | 0.20022 | 4.781e-05 | -0.0043092 | 0.013834 | 0.013779 | 0.013834 | 0.98168 | -0.098232 | 0.98178 | -0.099185 | 6.2881
70 | 0.54353 | 0.24824 | -0.54342 | -0.25435 | 0.00011048 | -0.0061143 | 0.017566 | 0.017642 | 0.017642 | 0.98197 | -0.10078 | 0.98178 | -0.099185 | 8.019
71 | -0.54353 | -0.24824 | 0.54371 | 0.238 | 0.00018279 | -0.010238 | 0.017566 | 0.017443 | 0.017566 | 0.98197 | -0.10078 | 0.98228 | -0.10319 | 7.9846
72 | 0.11972 | 0.054136 | -0.11971 | -0.056748 | 2.28e-06 | -0.0026112 | 0.0038632 | 0.0038955 | 0.0038955 | 0.98178 | -0.099185 | 0.98177 | -0.099036 | 1.7707
73 | -0.62126 | -0.27376 | 0.62159 | 0.25966 | 0.00032454 | -0.014098 | 0.019952 | 0.019787 | 0.019952 | 0.98228 | -0.10319 | 0.98277 | -0.10654 | 9.069
74 | 0.07755 | 0.035758 | -0.077549 | -0.037559 | 6.6341e-07 | -0.0018013 | 0.0025097 | 0.0025323 | 0.0025323 | 0.98228 | -0.10319 | 0.98227 | -0.10312 | 1.151
75 | 0.11971 | 0.056748 | -0.11971 | -0.05798 | 1.0895e-06 | -0.0012324 | 0.0038955 | 0.0039112 | 0.0039112 | 0.98177 | -0.099036 | 0.98176 | -0.098958 | 1.7778
76 | -0.62159 | -0.25966 | 0.62163 | 0.25777 | 4.3117e-05 | -0.0018916 | 0.019787 | 0.019766 | 0.019787 | 0.98277 | -0.10654 | 0.98284 | -0.10695 | 8.9942
77 | -0.67888 | -0.2855 | 0.68026 | 0.28445 | 0.0013738 | -0.0010458 | 0.021631 | 0.02161 | 0.021631 | 0.98284 | -0.10695 | 0.98497 | -0.086556 | 10.3007
78 | -0.95674 | -0.4183 | 0.95801 | 0.39502 | 0.0012636 | -0.023277 | 0.030603 | 0.030332 | 0.030603 | 0.98497 | -0.086556 | 0.98621 | -0.094766 | 13.9105
79 | 0.27648 | 0.13385 | -0.27648 | -0.1339 | 7.7487e-06 | -5.7287e-05 | 0.0090028 | 0.0090036 | 0.0090036 | 0.98497 | -0.086556 | 0.98494 | -0.086741 | 4.2874
80 | -0.29263 | -0.14173 | 0.29265 | 0.1416 | 1.991e-05 | -0.00012987 | 0.0095329 | 0.0095311 | 0.0095329 | 0.98458 | -0.091427 | 0.98466 | -0.090978 | 4.5395
81 | -0.65907 | -0.27562 | 0.65929 | 0.26717 | 0.00021426 | -0.0084478 | 0.020944 | 0.020849 | 0.020944 | 0.98466 | -0.090978 | 0.98496 | -0.092811 | 9.52
82 | 0.11759 | 0.024676 | -0.11756 | -0.056695 | 2.4583e-05 | -0.032019 | 0.0035224 | 0.0038272 | 0.0038272 | 0.98466 | -0.090978 | 0.98445 | -0.090449 | 1.7396
83 | 0.24884 | 0.10935 | -0.24881 | -0.11945 | 3.7592e-05 | -0.010098 | 0.0079687 | 0.0080925 | 0.0080925 | 0.98466 | -0.090978 | 0.98452 | -0.089812 | 3.6784
84 | -0.77602 | -0.32353 | 0.77678 | 0.3018 | 0.00075984 | -0.021725 | 0.024641 | 0.024401 | 0.024641 | 0.98496 | -0.092811 | 0.98589 | -0.09793 | 11.2005
85 | 0.11673 | 0.056353 | -0.11673 | -0.056534 | 1.5073e-07 | -0.00018107 | 0.0037989 | 0.0038012 | 0.0038012 | 0.98496 | -0.092811 | 0.98496 | -0.0928 | 1.7278
86 | 0.11756 | 0.056695 | -0.11756 | -0.056935 | 5.4904e-06 | -0.00023975 | 0.0038272 | 0.0038303 | 0.0038303 | 0.98445 | -0.090449 | 0.9844 | -0.090759 | 1.824
87 | 0.24881 | 0.11945 | -0.2488 | -0.1205 | 3.9877e-06 | -0.0010526 | 0.0080925 | 0.008106 | 0.008106 | 0.98452 | -0.089812 | 0.9845 | -0.089674 | 3.6845
88 | -1.0164 | -0.41469 | 1.0178 | 0.39011 | 0.0014717 | -0.024573 | 0.032142 | 0.031873 | 0.032142 | 0.98589 | -0.09793 | 0.98727 | -0.10503 | 14.61
89 | 0.2396 | 0.11289 | -0.23959 | -0.11295 | 6.3046e-06 | -6.4309e-05 | 0.0077553 | 0.0077562 | 0.0077562 | 0.98589 | -0.09793 | 0.98586 | -0.098121 | 3.6934
90 | -1.159 | -0.45836 | 1.1608 | 0.43446 | 0.0018459 | -0.023894 | 0.036442 | 0.036186 | 0.036442 | 0.98727 | -0.10503 | 0.9888 | -0.11204 | 16.5646
91 | 0.14113 | 0.068241 | -0.14113 | -0.068352 | 1.3373e-07 | -0.00011088 | 0.0045837 | 0.0045851 | 0.0045851 | 0.98727 | -0.10503 | 0.98727 | -0.10502 | 2.0841
92 | 0.12407 | 0.056999 | -0.12407 | -0.05718 | 4.4999e-06 | -0.00018041 | 0.003998 | 0.0040002 | 0.0040002 | 0.98586 | -0.098121 | 0.98583 | -0.098406 | 1.9049
93 | -0.093625 | -0.045345 | 0.093627 | 0.041537 | 2.0314e-06 | -0.0038075 | 0.0030576 | 0.0030105 | 0.0030576 | 0.98214 | -0.13238 | 0.98216 | -0.13255 | 1.3898
94 | -0.093627 | -0.041537 | 0.09368 | 0.037747 | 5.2787e-05 | -0.0037902 | 0.0030105 | 0.0029667 | 0.0030105 | 0.98216 | -0.13255 | 0.98276 | -0.12699 | 1.4336
95 | -0.17324 | -0.074678 | 0.17326 | 0.063759 | 1.899e-05 | -0.010918 | 0.0055415 | 0.0054225 | 0.0055415 | 0.98276 | -0.12699 | 0.98286 | -0.12755 | 2.5189
96 | 0.079563 | 0.036931 | -0.079562 | -0.038534 | 6.2091e-07 | -0.0016029 | 0.0025766 | 0.0025968 | 0.0025968 | 0.98276 | -0.12699 | 0.98275 | -0.12693 | 1.1803
97 | 1.6513 | 0.69789 | -1.6493 | -0.71008 | 0.0020098 | -0.012182 | 0.052339 | 0.052485 | 0.052485 | 0.9888 | -0.11204 | 0.98765 | -0.10437 | 23.8569
98 | 1.6493 | 0.71008 | -1.6493 | -0.71048 | 6.772e-05 | -0.00040873 | 0.052485 | 0.05249 | 0.05249 | 0.98765 | -0.10437 | 0.98761 | -0.1041 | 23.8591
99 | 1.3643 | 0.57247 | -1.3642 | -0.57311 | 7.1405e-05 | -0.00064469 | 0.043246 | 0.043254 | 0.043254 | 0.98761 | -0.1041 | 0.98756 | -0.10379 | 19.6607
100 | 0.15961 | 0.077274 | -0.15961 | -0.077303 | 1.1472e-06 | -2.8472e-05 | 0.0051253 | 0.0051256 | 0.0051256 | 0.99881 | 0.0086049 | 0.9988 | 0.0085575 | 2.4408
101 | 1.3642 | 0.57311 | -1.3623 | -0.59001 | 0.0018838 | -0.016901 | 0.043254 | 0.043454 | 0.043454 | 0.98756 | -0.10379 | 0.98626 | -0.095079 | 19.7518
102 | 1.3623 | 0.59001 | -1.3623 | -0.59028 | 2.9503e-05 | -0.00026304 | 0.043454 | 0.043457 | 0.043457 | 0.98626 | -0.095079 | 0.98624 | -0.094937 | 19.7533
103 | 0.95804 | 0.39448 | -0.95801 | -0.39502 | 2.8992e-05 | -0.00053967 | 0.030326 | 0.030332 | 0.030332 | 0.98624 | -0.094937 | 0.98621 | -0.094766 | 13.7874
104 | 0.12407 | 0.05718 | -0.12406 | -0.060086 | 2.7009e-06 | -0.0029066 | 0.0040002 | 0.0040366 | 0.0040366 | 0.98583 | -0.098406 | 0.98581 | -0.098227 | 1.8348
105 | -0.084515 | -0.040932 | 0.084515 | 0.039726 | 5.2582e-07 | -0.0012065 | 0.0027548 | 0.0027396 | 0.0027548 | 0.98403 | -0.11389 | 0.98403 | -0.11395 | 1.2522

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.9742 | 3.0324

## res_load
| p_mw | q_mvar
0 | 0.074392 | 0.03603
1 | 0.0512 | 0.024797
2 | 0.11214 | 0.05431
3 | 0.13337 | 0.064592
4 | 0.051712 | 0.025045
5 | 0.13865 | 0.067153
6 | 0.15431 | 0.074736
7 | 0.14484 | 0.07015
8 | 0.15954 | 0.077267
9 | 0.096321 | 0.04665
10 | 0.15688 | 0.07598
11 | 0.0634 | 0.030706
12 | 0.15324 | 0.07422
13 | 0.1134 | 0.054922
14 | 0.14254 | 0.069037
15 | 0.16037 | 0.077673
16 | 0.12281 | 0.059478
17 | 0.11827 | 0.057282
18 | 0.15513 | 0.075134
19 | 0.12993 | 0.062927
20 | 0.13654 | 0.066128
21 | 0.10974 | 0.053149
22 | 0.12274 | 0.059445
23 | 0.14238 | 0.068956
24 | 0.13838 | 0.067023
25 | 0.15257 | 0.073894
26 | 0.092252 | 0.04468
27 | 0.14827 | 0.071812
28 | 0.088442 | 0.042834
29 | 0.064414 | 0.031197
30 | 0.051528 | 0.024956
31 | 0.083834 | 0.040602
32 | 0.19197 | 0.092975
33 | 0.14782 | 0.071591
34 | 0.11971 | 0.05798
35 | 0.077549 | 0.037559
36 | 0.057254 | 0.02773
37 | 0.29263 | 0.14173
38 | 0.11673 | 0.056534
39 | 0.11756 | 0.056935
40 | 0.2488 | 0.1205
41 | 0.11552 | 0.055951
42 | 0.093625 | 0.045345
43 | 0.14113 | 0.068352
44 | 0.28497 | 0.13802
45 | 0.15961 | 0.077303
46 | 0.079562 | 0.038534
47 | 0.40427 | 0.1958
48 | 0.27648 | 0.1339
49 | 0.12406 | 0.060086
50 | 0.084515 | 0.040932

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1