## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_123_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_123_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_123_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_123_0_node_6 | 20 | n |  | TRUE
4 | bus_MV_123_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_123_0_node_5 | 20 | n |  | TRUE
6 | bus_MV_123_0_node_38 | 20 | n |  | TRUE
7 | bus_MV_123_0_node_31 | 20 | n |  | TRUE
8 | bus_MV_123_0_node_7 | 20 | n |  | TRUE
9 | bus_MV_123_0_node_8 | 20 | n |  | TRUE
10 | bus_MV_123_0_node_9 | 20 | n |  | TRUE
11 | bus_MV_123_0_node_10 | 20 | n |  | TRUE
12 | bus_MV_123_0_node_11 | 20 | n |  | TRUE
13 | bus_MV_123_0_node_134 | 20 | n |  | TRUE
14 | bus_MV_123_0_node_167 | 20 | n |  | TRUE
15 | bus_MV_123_0_node_44 | 20 | n |  | TRUE
16 | bus_MV_123_0_node_15 | 20 | n |  | TRUE
17 | bus_MV_123_0_node_12 | 20 | n |  | TRUE
18 | bus_MV_123_0_node_13 | 20 | n |  | TRUE
19 | bus_MV_123_0_node_40 | 20 | n |  | TRUE
20 | bus_MV_123_0_node_14 | 20 | n |  | TRUE
21 | bus_MV_123_0_node_16 | 20 | n |  | TRUE
22 | bus_MV_123_0_node_17 | 20 | n |  | TRUE
23 | bus_MV_123_0_node_18 | 20 | n |  | TRUE
24 | bus_MV_123_0_node_20 | 20 | n |  | TRUE
25 | bus_MV_123_0_node_27 | 20 | n |  | TRUE
26 | bus_MV_123_0_node_19 | 20 | n |  | TRUE
27 | bus_MV_123_0_node_25 | 20 | n |  | TRUE
28 | bus_MV_123_0_node_22 | 20 | n |  | TRUE
29 | bus_MV_123_0_node_24 | 20 | n |  | TRUE
30 | bus_MV_123_0_node_34 | 20 | n |  | TRUE
31 | bus_MV_123_0_node_26 | 20 | n |  | TRUE
32 | bus_MV_123_0_node_28 | 20 | n |  | TRUE
33 | bus_MV_123_0_node_135 | 20 | n |  | TRUE
34 | bus_MV_123_0_node_29 | 20 | n |  | TRUE
35 | bus_MV_123_0_node_30 | 20 | n |  | TRUE
36 | bus_MV_123_0_node_32 | 20 | n |  | TRUE
37 | bus_MV_123_0_node_33 | 20 | n |  | TRUE
38 | bus_MV_123_0_node_52 | 20 | n |  | TRUE
39 | bus_MV_123_0_node_54 | 20 | n |  | TRUE
40 | bus_MV_123_0_node_35 | 20 | n |  | TRUE
41 | bus_MV_123_0_node_36 | 20 | n |  | TRUE
42 | bus_MV_123_0_node_37 | 20 | n |  | TRUE
43 | bus_MV_123_0_node_39 | 20 | n |  | TRUE
44 | bus_MV_123_0_node_165 | 20 | n |  | TRUE
45 | bus_MV_123_0_node_41 | 20 | n |  | TRUE
46 | bus_MV_123_0_node_42 | 20 | n |  | TRUE
47 | bus_MV_123_0_node_43 | 20 | n |  | TRUE
48 | bus_MV_123_0_node_46 | 20 | n |  | TRUE
49 | bus_MV_123_0_node_45 | 20 | n |  | TRUE
50 | bus_MV_123_0_node_51 | 20 | n |  | TRUE
51 | bus_HV_123_0_node_135 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_123_0_load_0 | 0 | 0.20861 | 0.10104 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_123_0_load_6 | 3 | 0.29706 | 0.14387 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_123_0_load_4 | 4 | 0.22788 | 0.11037 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_123_0_load_5 | 5 | 0.19542 | 0.094648 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_123_0_load_38 | 6 | 0.34799 | 0.16854 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_123_0_load_7 | 8 | 0.31336 | 0.15177 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_123_0_load_134 | 13 | 0.12924 | 0.062593 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_123_0_load_167 | 14 | 0.24454 | 0.11843 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_123_0_load_44 | 15 | 0.15606 | 0.075582 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_123_0_load_15 | 16 | 0.24832 | 0.12027 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_123_0_load_12 | 17 | 0.15322 | 0.074208 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_123_0_load_16 | 21 | 0.20937 | 0.1014 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_123_0_load_20 | 24 | 0.17387 | 0.084211 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_123_0_load_25 | 27 | 0.15741 | 0.076236 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_123_0_load_34 | 30 | 0.33368 | 0.16161 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_123_0_load_26 | 31 | 0.096716 | 0.046842 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_123_0_load_28 | 32 | 0.25603 | 0.124 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_123_0_load_29 | 34 | 0.40089 | 0.19416 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_123_0_load_54 | 39 | 0.075361 | 0.036499 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_123_0_load_36 | 41 | 0.24389 | 0.11812 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_123_0_load_37 | 42 | 0.083291 | 0.04034 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_123_0_load_39 | 43 | 0.065949 | 0.03194 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_123_0_load_165 | 44 | 0.35108 | 0.17004 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_123_0_load_41 | 45 | 0.13596 | 0.065847 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_123_0_load_46 | 48 | 0.19444 | 0.094172 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_123_0_load_51 | 50 | 0.27205 | 0.13176 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_123_0_line_0 |  | 0 | 1 | 0.086725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_123_0_line_1 |  | 1 | 2 | 0.69092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_123_0_line_2 |  | 2 | 3 | 0.052497 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_123_0_line_3 |  | 3 | 7 | 0.48767 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_123_0_line_4 |  | 4 | 5 | 1.5766 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_123_0_line_5 |  | 5 | 6 | 0.70287 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_123_0_line_6 |  | 6 | 26 | 0.01424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_123_0_line_7 |  | 7 | 37 | 0.30969 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_123_0_line_8 |  | 7 | 34 | 0.27156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_123_0_line_9 |  | 8 | 9 | 0.008497 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_123_0_line_10 |  | 9 | 10 | 0.11123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_123_0_line_11 |  | 10 | 11 | 0.48584 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_123_0_line_12 |  | 10 | 12 | 0.90858 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_123_0_line_13 |  | 10 | 13 | 0.067498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_123_0_line_14 |  | 11 | 14 | 0.017902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_123_0_line_15 |  | 11 | 15 | 2.408 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_123_0_line_16 |  | 12 | 16 | 0.044802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_123_0_line_17 |  | 15 | 49 | 0.10405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_123_0_line_18 |  | 16 | 20 | 0.07385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_123_0_line_19 |  | 17 | 18 | 0.070403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_123_0_line_20 |  | 17 | 19 | 0.92111 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_123_0_line_21 |  | 18 | 20 | 0.65076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_123_0_line_22 |  | 19 | 43 | 0.045058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_123_0_line_23 |  | 21 | 22 | 0.11437 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_123_0_line_24 |  | 22 | 23 | 0.47356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_123_0_line_25 |  | 22 | 24 | 0.36782 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_123_0_line_26 |  | 23 | 25 | 0.15207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_123_0_line_27 |  | 23 | 26 | 0.26568 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_123_0_line_28 |  | 23 | 27 | 0.07808 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_123_0_line_29 |  | 24 | 28 | 0.062093 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_123_0_line_30 |  | 25 | 32 | 0.053092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_123_0_line_31 |  | 27 | 31 | 0.030354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_123_0_line_32 |  | 28 | 29 | 0.51254 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_123_0_line_33 |  | 29 | 30 | 0.001396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_123_0_line_34 |  | 30 | 40 | 0.050935 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_123_0_line_35 |  | 32 | 33 | 0.40528 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_123_0_line_36 |  | 33 | 44 | 0.035272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_123_0_line_37 |  | 34 | 35 | 0.029223 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_123_0_line_38 |  | 35 | 36 | 0.42006 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_123_0_line_39 |  | 36 | 38 | 1.3746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_123_0_line_40 |  | 36 | 39 | 0.11999 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_123_0_line_41 |  | 37 | 40 | 0.6479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_123_0_line_42 |  | 37 | 41 | 0.028095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_123_0_line_43 |  | 38 | 50 | 0.039726 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_123_0_line_44 |  | 41 | 42 | 0.013959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_123_0_line_45 |  | 43 | 44 | 0.85999 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_123_0_line_46 |  | 45 | 46 | 0.18399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_123_0_line_47 |  | 46 | 47 | 0.16462 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_123_0_line_48 |  | 47 | 48 | 0.16217 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_123_0_line_49 |  | 48 | 49 | 0.057312 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_123_0_trafo_135 | 25 MVA 110/20 kV | 51 | 33 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2619707.7703 | 1175071.249
1 | 2619705.7108 | 1174985.8765
2 | 2619917.3134 | 1174366.8907
3 | 2619897.9332 | 1174318.1018
4 | 2621476.9412 | 1176119.7174
5 | 2620641.2718 | 1174782.8534
6 | 2621037.5778 | 1174202.363
7 | 2619637.346 | 1173905.8916
8 | 2622913.6421 | 1171843.5115
9 | 2622905.1211 | 1171843.6125
10 | 2622866.7645 | 1171772.875
11 | 2623129.7644 | 1171637.8891
12 | 2622705.4077 | 1172271.2512
13 | 2622838.9058 | 1171729.0914
14 | 2623123.3404 | 1171621.6895
15 | 2625451.2499 | 1170998.1667
16 | 2622701.0065 | 1172314.7456
17 | 2622345.6783 | 1172698.0444
18 | 2622302.5304 | 1172642.5116
19 | 2622341.1325 | 1173619.1416
20 | 2622756.2801 | 1172344.703
21 | 2620675.1009 | 1173953.0019
22 | 2620786.1001 | 1173925.4257
23 | 2621048.6764 | 1173980.2885
24 | 2620701.1848 | 1173567.5396
25 | 2621180.2137 | 1174004.8514
26 | 2621041.4179 | 1174188.6583
27 | 2621087.8689 | 1173912.758
28 | 2620639.9406 | 1173577.6567
29 | 2620213.2224 | 1173592.4939
30 | 2620211.8233 | 1173592.4447
31 | 2621087.9956 | 1173882.5402
32 | 2621202.6654 | 1174014.7133
33 | 2621445.7741 | 1173690.4427
34 | 2619397.0109 | 1174021.9938
35 | 2619406.7324 | 1173994.7779
36 | 2619233.8097 | 1174098.9537
37 | 2619852.2352 | 1173780.9218
38 | 2618549.891 | 1174997.4983
39 | 2619114.1682 | 1174089.768
40 | 2620160.9228 | 1173594.3305
41 | 2619859.3625 | 1173756.5421
42 | 2619869.7817 | 1173765.8319
43 | 2622338.8746 | 1173662.9778
44 | 2621479.142 | 1173684.1141
45 | 2626112.3294 | 1171060.3753
46 | 2625936.0102 | 1171009.4756
47 | 2625772.5535 | 1170999.9907
48 | 2625611.0171 | 1171007.7469
49 | 2625554.3625 | 1171001.3053
50 | 2618520.5374 | 1175024.3327
51 | 2621445.7741 | 1173690.4427

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98947 | -0.00090084 | 0.20861 | 0.10104
1 | 0.98949 | -0.0011162 | 0 | 0
2 | 0.98968 | -0.0024227 | 0 | 0
3 | 0.9897 | -0.0022045 | 0.29706 | 0.14387
4 | 0.99481 | -0.021587 | 0.22788 | 0.11037
5 | 0.9955 | -0.017077 | 0.19542 | 0.094648
6 | 0.99608 | -0.013314 | 0.34799 | 0.16854
7 | 0.99017 | 0.0016213 | 0 | 0
8 | 0.99146 | -0.023973 | 0.31336 | 0.15177
9 | 0.99146 | -0.024005 | 0 | 0
10 | 0.9915 | -0.024418 | 0 | 0
11 | 0.99105 | -0.020859 | 0 | 0
12 | 0.99286 | -0.034728 | 0 | 0
13 | 0.99149 | -0.024316 | 0.12924 | 0.062593
14 | 0.99105 | -0.020806 | 0.24454 | 0.11843
15 | 0.9888 | -0.03888 | 0.15606 | 0.075582
16 | 0.99293 | -0.035203 | 0.24832 | 0.12027
17 | 0.99436 | -0.045506 | 0.15322 | 0.074208
18 | 0.99424 | -0.044633 | 0 | 0
19 | 0.99713 | -0.021671 | 0 | 0
20 | 0.99306 | -0.036202 | 0 | 0
21 | 0.99493 | -0.0063496 | 0.20937 | 0.1014
22 | 0.99498 | -0.0060567 | 0 | 0
23 | 0.99636 | -0.01581 | 0 | 0
24 | 0.99351 | -0.018872 | 0.17387 | 0.084211
25 | 0.997 | -0.020644 | 0 | 0
26 | 0.9961 | -0.013444 | 0 | 0
27 | 0.99632 | -0.016057 | 0.15741 | 0.076236
28 | 0.99336 | -0.017852 | 0 | 0
29 | 0.99212 | -0.0091965 | 0 | 0
30 | 0.99212 | -0.0091724 | 0.33368 | 0.16161
31 | 0.99632 | -0.016022 | 0.096716 | 0.046842
32 | 0.99722 | -0.022322 | 0.25603 | 0.124
33 | 1 | 0 | -5.6256 | -2.5151
34 | 0.98991 | 0.0032736 | 0.40089 | 0.19416
35 | 0.9899 | 0.0033151 | 0 | 0
36 | 0.98972 | 0.0040556 | 0 | 0
37 | 0.99066 | -0.0016575 | 0 | 0
38 | 0.98925 | 0.0071049 | 0 | 0
39 | 0.9897 | 0.0039433 | 0.075361 | 0.036499
40 | 0.99196 | -0.010573 | 0 | 0
41 | 0.99065 | -0.0015467 | 0.24389 | 0.11812
42 | 0.99065 | -0.0015326 | 0.083291 | 0.04034
43 | 0.99722 | -0.022306 | 0.065949 | 0.03194
44 | 0.99991 | 0.00066896 | 0.35108 | 0.17004
45 | 0.98864 | -0.037721 | 0.13596 | 0.065847
46 | 0.98867 | -0.038001 | 0 | 0
47 | 0.9887 | -0.038209 | 0 | 0
48 | 0.98873 | -0.038372 | 0.19444 | 0.094172
49 | 0.98875 | -0.038557 | 0 | 0
50 | 0.98923 | 0.0072358 | 0.27205 | 0.13176
51 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.20861 | -0.10104 | 0.20862 | 0.099009 | 5.2745e-06 | -0.0020258 | 0.0067624 | 0.0067368 | 0.0067624 | 0.98947 | -0.00090084 | 0.98949 | -0.0011162 | 3.0738
1 | -0.20862 | -0.099009 | 0.20866 | 0.082867 | 4.0658e-05 | -0.016143 | 0.0067368 | 0.0065486 | 0.0067368 | 0.98949 | -0.0011162 | 0.98968 | -0.0024227 | 3.0622
2 | -0.20866 | -0.082867 | 0.20866 | 0.082808 | 4.0108e-06 | -5.8873e-05 | 0.0065486 | 0.006548 | 0.0065486 | 0.98968 | -0.0024227 | 0.9897 | -0.0022045 | 3.1184
3 | -0.50572 | -0.22668 | 0.50595 | 0.22625 | 0.00022695 | -0.00042837 | 0.016165 | 0.016158 | 0.016165 | 0.9897 | -0.0022045 | 0.99017 | 0.0016213 | 7.6976
4 | -0.22788 | -0.11037 | 0.22803 | 0.1086 | 0.00015115 | -0.0017692 | 0.0073474 | 0.007324 | 0.0073474 | 0.99481 | -0.021587 | 0.9955 | -0.017077 | 3.4987
5 | -0.42345 | -0.20325 | 0.42369 | 0.20256 | 0.00023214 | -0.00068664 | 0.01362 | 0.01361 | 0.01362 | 0.9955 | -0.017077 | 0.99608 | -0.013314 | 6.4859
6 | -0.77168 | -0.3711 | 0.77169 | 0.37076 | 1.1705e-05 | -0.00033387 | 0.024816 | 0.024811 | 0.024816 | 0.99608 | -0.013314 | 0.9961 | -0.013444 | 11.2798
7 | -1.2547 | -0.53873 | 1.2553 | 0.53167 | 0.00065379 | -0.0070593 | 0.039808 | 0.039725 | 0.039808 | 0.99017 | 0.0016213 | 0.99066 | -0.0016575 | 18.0944
8 | 0.74871 | 0.31247 | -0.74851 | -0.31877 | 0.00020343 | -0.006295 | 0.023653 | 0.023725 | 0.023725 | 0.99017 | 0.0016213 | 0.98991 | 0.0032736 | 10.7839
9 | -0.31336 | -0.15177 | 0.31336 | 0.15157 | 1.1655e-06 | -0.00019908 | 0.010138 | 0.010135 | 0.010138 | 0.99146 | -0.023973 | 0.99146 | -0.024005 | 4.608
10 | -0.31336 | -0.15157 | 0.31338 | 0.14896 | 1.5203e-05 | -0.0026061 | 0.010135 | 0.010102 | 0.010135 | 0.99146 | -0.024005 | 0.9915 | -0.024418 | 4.6069
11 | 0.73242 | 0.32448 | -0.73207 | -0.33577 | 0.00035487 | -0.011293 | 0.023323 | 0.02346 | 0.02346 | 0.9915 | -0.024418 | 0.99105 | -0.020859 | 10.6635
12 | -1.175 | -0.53445 | 1.1767 | 0.5136 | 0.0017017 | -0.020851 | 0.037584 | 0.037331 | 0.037584 | 0.9915 | -0.024418 | 0.99286 | -0.034728 | 17.0835
13 | 0.12924 | 0.06101 | -0.12924 | -0.062593 | 1.5676e-06 | -0.0015838 | 0.004161 | 0.0041809 | 0.0041809 | 0.9915 | -0.024418 | 0.99149 | -0.024316 | 1.9004
14 | 0.24454 | 0.11802 | -0.24454 | -0.11843 | 1.496e-06 | -0.00041937 | 0.0079091 | 0.0079144 | 0.0079144 | 0.99105 | -0.020859 | 0.99105 | -0.020806 | 3.5974
15 | 0.48753 | 0.21776 | -0.48649 | -0.21992 | 0.0010401 | -0.0021656 | 0.015553 | 0.015587 | 0.015587 | 0.99105 | -0.020859 | 0.9888 | -0.03888 | 7.4222
16 | -1.1767 | -0.5136 | 1.1768 | 0.51257 | 8.3324e-05 | -0.0010298 | 0.037331 | 0.037318 | 0.037331 | 0.99286 | -0.034728 | 0.99293 | -0.035203 | 16.9685
17 | 0.33043 | 0.14434 | -0.33042 | -0.14677 | 1.5435e-05 | -0.0024242 | 0.010527 | 0.010556 | 0.010556 | 0.9888 | -0.03888 | 0.98875 | -0.038557 | 4.798
18 | -1.4251 | -0.63284 | 1.4253 | 0.63116 | 0.00020253 | -0.0016786 | 0.045335 | 0.045314 | 0.045335 | 0.99293 | -0.035203 | 0.99306 | -0.036202 | 20.6066
19 | 1.4273 | 0.61474 | -1.4271 | -0.61634 | 0.00019139 | -0.0016051 | 0.045116 | 0.045136 | 0.045136 | 0.99436 | -0.045506 | 0.99424 | -0.044633 | 20.5162
20 | -1.5805 | -0.68895 | 1.5846 | 0.69043 | 0.0041108 | 0.0014846 | 0.050054 | 0.050042 | 0.050054 | 0.99436 | -0.045506 | 0.99713 | -0.021671 | 23.8355
21 | 1.4271 | 0.61634 | -1.4253 | -0.63116 | 0.0017768 | -0.014814 | 0.045136 | 0.045314 | 0.045314 | 0.99424 | -0.044633 | 0.99306 | -0.036202 | 20.5973
22 | -1.5846 | -0.69043 | 1.5848 | 0.68941 | 0.0001506 | -0.0010251 | 0.050042 | 0.050029 | 0.050042 | 0.99713 | -0.021671 | 0.99722 | -0.022306 | 22.7463
23 | -0.20937 | -0.1014 | 0.20938 | 0.10128 | 9.2821e-06 | -0.00012935 | 0.0067499 | 0.0067482 | 0.0067499 | 0.99493 | -0.0063496 | 0.99498 | -0.0060567 | 3.2142
24 | -2.3076 | -1.0104 | 2.3109 | 1.0002 | 0.003371 | -0.010209 | 0.073087 | 0.072957 | 0.073087 | 0.99498 | -0.0060567 | 0.99636 | -0.01581 | 33.2215
25 | 2.0982 | 0.90915 | -2.0953 | -0.90778 | 0.0028848 | 0.0013729 | 0.066344 | 0.066349 | 0.066349 | 0.99498 | -0.0060567 | 0.99351 | -0.018872 | 31.5949
26 | -3.337 | -1.487 | 3.3393 | 1.4841 | 0.0022736 | -0.0029323 | 0.10585 | 0.10581 | 0.10585 | 0.99636 | -0.01581 | 0.997 | -0.020644 | 48.1126
27 | 0.7719 | 0.36453 | -0.77169 | -0.37076 | 0.00021765 | -0.006231 | 0.024733 | 0.024811 | 0.024811 | 0.99636 | -0.01581 | 0.9961 | -0.013444 | 11.2779
28 | 0.25413 | 0.12227 | -0.25412 | -0.12236 | 9.2892e-06 | -8.6712e-05 | 0.0081709 | 0.0081721 | 0.0081721 | 0.99636 | -0.01581 | 0.99632 | -0.016057 | 3.8915
29 | 1.9214 | 0.82357 | -1.9211 | -0.82494 | 0.00030592 | -0.0013724 | 0.060741 | 0.060758 | 0.060758 | 0.99351 | -0.018872 | 0.99336 | -0.017852 | 27.6173
30 | -3.3393 | -1.4841 | 3.3401 | 1.4831 | 0.00079335 | -0.001025 | 0.10581 | 0.10579 | 0.10581 | 0.997 | -0.020644 | 0.99722 | -0.022322 | 48.0933
31 | 0.096716 | 0.046122 | -0.096716 | -0.046842 | 3.9171e-07 | -0.00071928 | 0.0031046 | 0.0031136 | 0.0031136 | 0.99632 | -0.016057 | 0.99632 | -0.016022 | 1.4153
32 | 1.9211 | 0.82494 | -1.9186 | -0.83625 | 0.0025317 | -0.011309 | 0.060758 | 0.060897 | 0.060897 | 0.99336 | -0.017852 | 0.99212 | -0.0091965 | 27.6806
33 | 1.9186 | 0.83625 | -1.9186 | -0.83628 | 6.9113e-06 | -3.0757e-05 | 0.060897 | 0.060898 | 0.060898 | 0.99212 | -0.0091965 | 0.99212 | -0.0091724 | 27.6808
34 | 1.5849 | 0.67467 | -1.5847 | -0.67459 | 0.00022798 | 8.2955e-05 | 0.05012 | 0.050121 | 0.050121 | 0.99212 | -0.0091724 | 0.99196 | -0.010573 | 23.8672
35 | -3.5961 | -1.6071 | 3.6055 | 1.6125 | 0.0093873 | 0.0053974 | 0.11402 | 0.11402 | 0.11402 | 0.99722 | -0.022322 | 1 | 0 | 54.2958
36 | 2.0062 | 0.89218 | -2.006 | -0.89297 | 0.0001892 | -0.00078596 | 0.063382 | 0.063392 | 0.063392 | 1 | 0 | 0.99991 | 0.00066896 | 28.8146
37 | 0.34762 | 0.12461 | -0.34762 | -0.12529 | 4.5271e-06 | -0.00068238 | 0.010769 | 0.010776 | 0.010776 | 0.98991 | 0.0032736 | 0.9899 | 0.0033151 | 4.898
38 | 0.34762 | 0.12529 | -0.34755 | -0.1351 | 6.5713e-05 | -0.0098066 | 0.010776 | 0.010876 | 0.010876 | 0.9899 | 0.0033151 | 0.98972 | 0.0040556 | 4.9437
39 | 0.27219 | 0.09874 | -0.27205 | -0.13083 | 0.00013624 | -0.032093 | 0.0084453 | 0.0088092 | 0.0088092 | 0.98972 | 0.0040556 | 0.98925 | 0.0071049 | 4.0042
40 | 0.075362 | 0.036359 | -0.075361 | -0.036499 | 1.2744e-06 | -0.00013952 | 0.0024406 | 0.0024423 | 0.0024423 | 0.98972 | 0.0040556 | 0.9897 | 0.0039433 | 1.163
41 | -1.5825 | -0.68914 | 1.5847 | 0.67459 | 0.0021804 | -0.014555 | 0.050296 | 0.050121 | 0.050296 | 0.99066 | -0.0016575 | 0.99196 | -0.010573 | 22.8619
42 | 0.32719 | 0.15748 | -0.32718 | -0.15813 | 4.2024e-06 | -0.00065708 | 0.010581 | 0.010589 | 0.010589 | 0.99066 | -0.0016575 | 0.99065 | -0.0015467 | 4.8133
43 | 0.27205 | 0.13083 | -0.27205 | -0.13176 | 4.1211e-06 | -0.00092698 | 0.0088092 | 0.008821 | 0.008821 | 0.98925 | 0.0071049 | 0.98923 | 0.0072358 | 4.0095
44 | 0.083291 | 0.040013 | -0.083291 | -0.04034 | 1.3533e-07 | -0.00032705 | 0.0026926 | 0.0026968 | 0.0026968 | 0.99065 | -0.0015467 | 0.99065 | -0.0015326 | 1.2258
45 | -1.6507 | -0.72135 | 1.6549 | 0.72293 | 0.004166 | 0.0015857 | 0.052149 | 0.052137 | 0.052149 | 0.99722 | -0.022306 | 0.99991 | 0.00066896 | 24.8328
46 | -0.13596 | -0.065847 | 0.13596 | 0.061554 | 4.7207e-06 | -0.0042925 | 0.0044109 | 0.0043577 | 0.0044109 | 0.98864 | -0.037721 | 0.98867 | -0.038001 | 2.005
47 | -0.13596 | -0.061554 | 0.13597 | 0.057713 | 4.1298e-06 | -0.0038409 | 0.0043577 | 0.0043127 | 0.0043577 | 0.98867 | -0.038001 | 0.9887 | -0.038209 | 1.9808
48 | -0.13597 | -0.057713 | 0.13597 | 0.053929 | 3.9869e-06 | -0.0037839 | 0.0043127 | 0.0042707 | 0.0043127 | 0.9887 | -0.038209 | 0.98873 | -0.038372 | 1.9603
49 | -0.33041 | -0.1481 | 0.33042 | 0.14677 | 8.538e-06 | -0.0013352 | 0.010572 | 0.010556 | 0.010572 | 0.98873 | -0.038372 | 0.98875 | -0.038557 | 4.8053

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 5.6256 | 2.5151

## res_load
| p_mw | q_mvar
0 | 0.20861 | 0.10104
1 | 0.29706 | 0.14387
2 | 0.22788 | 0.11037
3 | 0.19542 | 0.094648
4 | 0.34799 | 0.16854
5 | 0.31336 | 0.15177
6 | 0.12924 | 0.062593
7 | 0.24454 | 0.11843
8 | 0.15606 | 0.075582
9 | 0.24832 | 0.12027
10 | 0.15322 | 0.074208
11 | 0.20937 | 0.1014
12 | 0.17387 | 0.084211
13 | 0.15741 | 0.076236
14 | 0.33368 | 0.16161
15 | 0.096716 | 0.046842
16 | 0.25603 | 0.124
17 | 0.40089 | 0.19416
18 | 0.075361 | 0.036499
19 | 0.24389 | 0.11812
20 | 0.083291 | 0.04034
21 | 0.065949 | 0.03194
22 | 0.35108 | 0.17004
23 | 0.13596 | 0.065847
24 | 0.19444 | 0.094172
25 | 0.27205 | 0.13176

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1