## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_125_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_125_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_125_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_125_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_125_0_node_5 | 20 | n |  | TRUE
5 | bus_MV_125_0_node_6 | 20 | n |  | TRUE
6 | bus_MV_125_0_node_121 | 20 | n |  | TRUE
7 | bus_MV_125_0_node_18 | 20 | n |  | TRUE
8 | bus_MV_125_0_node_4 | 20 | n |  | TRUE
9 | bus_MV_125_0_node_23 | 20 | n |  | TRUE
10 | bus_MV_125_0_node_124 | 20 | n |  | TRUE
11 | bus_MV_125_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_125_0_node_9 | 20 | n |  | TRUE
13 | bus_MV_125_0_node_16 | 20 | n |  | TRUE
14 | bus_MV_125_0_node_17 | 20 | n |  | TRUE
15 | bus_MV_125_0_node_123 | 20 | n |  | TRUE
16 | bus_MV_125_0_node_43 | 20 | n |  | TRUE
17 | bus_MV_125_0_node_10 | 20 | n |  | TRUE
18 | bus_MV_125_0_node_11 | 20 | n |  | TRUE
19 | bus_MV_125_0_node_12 | 20 | n |  | TRUE
20 | bus_MV_125_0_node_13 | 20 | n |  | TRUE
21 | bus_MV_125_0_node_15 | 20 | n |  | TRUE
22 | bus_MV_125_0_node_105 | 20 | n |  | TRUE
23 | bus_MV_125_0_node_14 | 20 | n |  | TRUE
24 | bus_MV_125_0_node_22 | 20 | n |  | TRUE
25 | bus_MV_125_0_node_19 | 20 | n |  | TRUE
26 | bus_MV_125_0_node_109 | 20 | n |  | TRUE
27 | bus_MV_125_0_node_104 | 20 | n |  | TRUE
28 | bus_MV_125_0_node_122 | 20 | n |  | TRUE
29 | bus_MV_125_0_node_20 | 20 | n |  | TRUE
30 | bus_MV_125_0_node_44 | 20 | n |  | TRUE
31 | bus_MV_125_0_node_42 | 20 | n |  | TRUE
32 | bus_MV_125_0_node_21 | 20 | n |  | TRUE
33 | bus_MV_125_0_node_110 | 20 | n |  | TRUE
34 | bus_MV_125_0_node_26 | 20 | n |  | TRUE
35 | bus_MV_125_0_node_27 | 20 | n |  | TRUE
36 | bus_MV_125_0_node_111 | 20 | n |  | TRUE
37 | bus_MV_125_0_node_29 | 20 | n |  | TRUE
38 | bus_MV_125_0_node_32 | 20 | n |  | TRUE
39 | bus_MV_125_0_node_25 | 20 | n |  | TRUE
40 | bus_MV_125_0_node_30 | 20 | n |  | TRUE
41 | bus_MV_125_0_node_31 | 20 | n |  | TRUE
42 | bus_MV_125_0_node_40 | 20 | n |  | TRUE
43 | bus_MV_125_0_node_33 | 20 | n |  | TRUE
44 | bus_MV_125_0_node_36 | 20 | n |  | TRUE
45 | bus_MV_125_0_node_34 | 20 | n |  | TRUE
46 | bus_MV_125_0_node_37 | 20 | n |  | TRUE
47 | bus_MV_125_0_node_38 | 20 | n |  | TRUE
48 | bus_MV_125_0_node_39 | 20 | n |  | TRUE
49 | bus_MV_125_0_node_114 | 20 | n |  | TRUE
50 | bus_MV_125_0_node_24 | 20 | n |  | TRUE
51 | bus_MV_125_0_node_68 | 20 | n |  | TRUE
52 | bus_MV_125_0_node_95 | 20 | n |  | TRUE
53 | bus_MV_125_0_node_60 | 20 | n |  | TRUE
54 | bus_MV_125_0_node_41 | 20 | n |  | TRUE
55 | bus_MV_125_0_node_45 | 20 | n |  | TRUE
56 | bus_MV_125_0_node_125 | 20 | n |  | TRUE
57 | bus_MV_125_0_node_116 | 20 | n |  | TRUE
58 | bus_MV_125_0_node_75 | 20 | n |  | TRUE
59 | bus_MV_125_0_node_115 | 20 | n |  | TRUE
60 | bus_MV_125_0_node_46 | 20 | n |  | TRUE
61 | bus_MV_125_0_node_47 | 20 | n |  | TRUE
62 | bus_MV_125_0_node_48 | 20 | n |  | TRUE
63 | bus_MV_125_0_node_49 | 20 | n |  | TRUE
64 | bus_MV_125_0_node_99 | 20 | n |  | TRUE
65 | bus_MV_125_0_node_58 | 20 | n |  | TRUE
66 | bus_MV_125_0_node_113 | 20 | n |  | TRUE
67 | bus_MV_125_0_node_76 | 20 | n |  | TRUE
68 | bus_MV_125_0_node_59 | 20 | n |  | TRUE
69 | bus_MV_125_0_node_57 | 20 | n |  | TRUE
70 | bus_MV_125_0_node_67 | 20 | n |  | TRUE
71 | bus_MV_125_0_node_50 | 20 | n |  | TRUE
72 | bus_MV_125_0_node_51 | 20 | n |  | TRUE
73 | bus_MV_125_0_node_52 | 20 | n |  | TRUE
74 | bus_MV_125_0_node_53 | 20 | n |  | TRUE
75 | bus_MV_125_0_node_101 | 20 | n |  | TRUE
76 | bus_MV_125_0_node_86 | 20 | n |  | TRUE
77 | bus_MV_125_0_node_54 | 20 | n |  | TRUE
78 | bus_MV_125_0_node_84 | 20 | n |  | TRUE
79 | bus_MV_125_0_node_85 | 20 | n |  | TRUE
80 | bus_MV_125_0_node_55 | 20 | n |  | TRUE
81 | bus_MV_125_0_node_72 | 20 | n |  | TRUE
82 | bus_MV_125_0_node_65 | 20 | n |  | TRUE
83 | bus_MV_125_0_node_63 | 20 | n |  | TRUE
84 | bus_MV_125_0_node_66 | 20 | n |  | TRUE
85 | bus_MV_125_0_node_61 | 20 | n |  | TRUE
86 | bus_MV_125_0_node_94 | 20 | n |  | TRUE
87 | bus_MV_125_0_node_100 | 20 | n |  | TRUE
88 | bus_MV_125_0_node_56 | 20 | n |  | TRUE
89 | bus_MV_125_0_node_103 | 20 | n |  | TRUE
90 | bus_MV_125_0_node_70 | 20 | n |  | TRUE
91 | bus_MV_125_0_node_69 | 20 | n |  | TRUE
92 | bus_MV_125_0_node_78 | 20 | n |  | TRUE
93 | bus_MV_125_0_node_79 | 20 | n |  | TRUE
94 | bus_MV_125_0_node_62 | 20 | n |  | TRUE
95 | bus_MV_125_0_node_64 | 20 | n |  | TRUE
96 | bus_MV_125_0_node_87 | 20 | n |  | TRUE
97 | bus_MV_125_0_node_88 | 20 | n |  | TRUE
98 | bus_MV_125_0_node_89 | 20 | n |  | TRUE
99 | bus_MV_125_0_node_93 | 20 | n |  | TRUE
100 | bus_MV_125_0_node_92 | 20 | n |  | TRUE
101 | bus_MV_125_0_node_82 | 20 | n |  | TRUE
102 | bus_MV_125_0_node_73 | 20 | n |  | TRUE
103 | bus_MV_125_0_node_74 | 20 | n |  | TRUE
104 | bus_MV_125_0_node_77 | 20 | n |  | TRUE
105 | bus_MV_125_0_node_81 | 20 | n |  | TRUE
106 | bus_MV_125_0_node_80 | 20 | n |  | TRUE
107 | bus_MV_125_0_node_102 | 20 | n |  | TRUE
108 | bus_MV_125_0_node_83 | 20 | n |  | TRUE
109 | bus_MV_125_0_node_96 | 20 | n |  | TRUE
110 | bus_MV_125_0_node_98 | 20 | n |  | TRUE
111 | bus_MV_125_0_node_118 | 20 | n |  | TRUE
112 | bus_MV_125_0_node_97 | 20 | n |  | TRUE
113 | bus_MV_125_0_node_120 | 20 | n |  | TRUE
114 | bus_MV_125_0_node_90 | 20 | n |  | TRUE
115 | bus_MV_125_0_node_91 | 20 | n |  | TRUE
116 | bus_MV_125_0_node_119 | 20 | n |  | TRUE
117 | bus_MV_125_0_node_117 | 20 | n |  | TRUE
118 | bus_MV_125_0_node_106 | 20 | n |  | TRUE
119 | bus_MV_125_0_node_107 | 20 | n |  | TRUE
120 | bus_MV_125_0_node_108 | 20 | n |  | TRUE
121 | bus_MV_125_0_node_112 | 20 | n |  | TRUE
122 | bus_HV_125_0_node_25 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_125_0_load_0 | 0 | 0.16318 | 0.079031 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_125_0_load_121 | 6 | 0.15975 | 0.077369 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_125_0_load_23 | 9 | 0.14771 | 0.071541 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_125_0_load_124 | 10 | 0.14688 | 0.071136 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_125_0_load_9 | 12 | 0.16314 | 0.079013 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_125_0_load_16 | 13 | 0.13904 | 0.067338 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_125_0_load_17 | 14 | 0.08484 | 0.04109 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_125_0_load_123 | 15 | 0.087356 | 0.042308 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_125_0_load_10 | 17 | 0.14439 | 0.069932 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_125_0_load_105 | 22 | 0.16411 | 0.079481 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_125_0_load_19 | 25 | 0.14469 | 0.070074 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_125_0_load_109 | 26 | 0.1022 | 0.049498 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_125_0_load_122 | 28 | 0.14566 | 0.070544 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_125_0_load_44 | 30 | 0.075002 | 0.036325 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_125_0_load_110 | 33 | 0.11486 | 0.055629 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_125_0_load_26 | 34 | 0.25636 | 0.12416 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_125_0_load_111 | 36 | 0.15171 | 0.073479 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_125_0_load_30 | 40 | 0.050248 | 0.024336 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_125_0_load_40 | 42 | 0.14483 | 0.070143 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_125_0_load_33 | 43 | 0.10029 | 0.048574 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_125_0_load_114 | 49 | 0.10041 | 0.04863 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_125_0_load_24 | 50 | 0.073798 | 0.035742 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_125_0_load_95 | 52 | 0.1613 | 0.07812 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_125_0_load_41 | 54 | 0.13578 | 0.06576 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_125_0_load_45 | 55 | 0.10715 | 0.051894 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_125_0_load_125 | 56 | 0.14748 | 0.071429 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_125_0_load_115 | 59 | 0.094628 | 0.04583 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_125_0_load_46 | 60 | 0.085519 | 0.041419 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_125_0_load_99 | 64 | 0.068966 | 0.033402 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_125_0_load_113 | 66 | 0.14904 | 0.072184 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_125_0_load_59 | 68 | 0.15783 | 0.076441 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_125_0_load_57 | 69 | 0.12729 | 0.06165 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_125_0_load_67 | 70 | 0.12733 | 0.061668 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_125_0_load_50 | 71 | 0.14155 | 0.068557 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_125_0_load_101 | 75 | 0.11007 | 0.053307 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_125_0_load_54 | 77 | 0.069548 | 0.033684 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_125_0_load_85 | 79 | 0.16164 | 0.078284 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_125_0_load_55 | 80 | 0.15646 | 0.075777 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_125_0_load_72 | 81 | 0.15133 | 0.073291 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_125_0_load_61 | 85 | 0.10225 | 0.049521 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_125_0_load_100 | 87 | 0.071887 | 0.034817 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_125_0_load_56 | 88 | 0.053411 | 0.025868 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_125_0_load_103 | 89 | 0.13091 | 0.063403 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_125_0_load_69 | 91 | 0.15318 | 0.074189 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_125_0_load_78 | 92 | 0.16058 | 0.07777 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_125_0_load_87 | 96 | 0.079622 | 0.038563 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_125_0_load_93 | 99 | 0.16371 | 0.079286 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_125_0_load_92 | 100 | 0.11581 | 0.056091 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_125_0_load_73 | 102 | 0.08947 | 0.043332 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_125_0_load_102 | 107 | 0.15265 | 0.073932 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_125_0_load_96 | 109 | 0.083354 | 0.04037 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_125_0_load_118 | 111 | 0.14162 | 0.06859 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_125_0_load_97 | 112 | 0.15037 | 0.072829 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_125_0_load_120 | 113 | 0.081425 | 0.039436 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_125_0_load_119 | 116 | 0.051512 | 0.024948 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_125_0_load_117 | 117 | 0.098385 | 0.04765 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_125_0_load_107 | 119 | 0.14423 | 0.069853 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_125_0_load_112 | 121 | 0.16187 | 0.078399 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_125_0_line_0 |  | 0 | 1 | 0.013345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_125_0_line_1 |  | 0 | 2 | 0.036567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_125_0_line_2 |  | 1 | 3 | 0.15248 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_125_0_line_3 |  | 2 | 4 | 0.18977 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_125_0_line_4 |  | 2 | 5 | 0.17411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_125_0_line_5 |  | 3 | 6 | 0.071061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_125_0_line_6 |  | 3 | 7 | 3.4596 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_125_0_line_7 |  | 4 | 10 | 0.05953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_125_0_line_8 |  | 5 | 11 | 0.36867 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
9 | MV_125_0_line_9 |  | 5 | 12 | 0.021083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_125_0_line_10 |  | 5 | 8 | 0.3451 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
11 | MV_125_0_line_11 |  | 7 | 14 | 0.016479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_125_0_line_12 |  | 8 | 9 | 0.046334 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
13 | MV_125_0_line_13 |  | 9 | 15 | 0.71407 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
14 | MV_125_0_line_14 |  | 11 | 13 | 0.045821 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
15 | MV_125_0_line_15 |  | 13 | 16 | 3.4114 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
16 | MV_125_0_line_16 |  | 15 | 46 | 0.052388 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
17 | MV_125_0_line_17 |  | 16 | 30 | 0.084912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_125_0_line_18 |  | 16 | 31 | 0.32332 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
19 | MV_125_0_line_19 |  | 17 | 18 | 0.013294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_125_0_line_20 |  | 17 | 19 | 0.052404 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_125_0_line_21 |  | 18 | 20 | 0.093691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_125_0_line_22 |  | 19 | 21 | 0.33414 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_125_0_line_23 |  | 20 | 22 | 0.10016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_125_0_line_24 |  | 21 | 26 | 0.052043 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_125_0_line_25 |  | 21 | 23 | 0.30858 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_125_0_line_26 |  | 22 | 27 | 0.067316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_125_0_line_27 |  | 23 | 24 | 0.049628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_125_0_line_28 |  | 23 | 25 | 0.056288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_125_0_line_29 |  | 24 | 28 | 0.023534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_125_0_line_30 |  | 25 | 29 | 0.004188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_125_0_line_31 |  | 27 | 118 | 0.045298 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_125_0_line_32 |  | 28 | 31 | 3.2633 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
33 | MV_125_0_line_33 |  | 29 | 32 | 0.68909 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_125_0_line_34 |  | 31 | 54 | 0.081699 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_125_0_line_35 |  | 32 | 33 | 0.22583 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_125_0_line_36 |  | 34 | 35 | 0.13514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_125_0_line_37 |  | 35 | 36 | 0.26296 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_125_0_line_38 |  | 36 | 37 | 0.065216 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_125_0_line_39 |  | 37 | 38 | 0.10202 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
40 | MV_125_0_line_40 |  | 37 | 39 | 0.65374 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
41 | MV_125_0_line_41 |  | 38 | 42 | 0.095139 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
42 | MV_125_0_line_42 |  | 38 | 41 | 0.33004 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_125_0_line_43 |  | 39 | 51 | 1.676 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
44 | MV_125_0_line_44 |  | 39 | 50 | 0.017911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_125_0_line_45 |  | 40 | 41 | 0.1383 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_125_0_line_46 |  | 42 | 48 | 0.061873 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
47 | MV_125_0_line_47 |  | 43 | 44 | 0.035689 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_125_0_line_48 |  | 44 | 47 | 0.22585 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
49 | MV_125_0_line_49 |  | 44 | 45 | 0.081521 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
50 | MV_125_0_line_50 |  | 45 | 46 | 0.25697 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
51 | MV_125_0_line_51 |  | 47 | 48 | 0.15135 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
52 | MV_125_0_line_52 |  | 47 | 49 | 0.15172 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_125_0_line_53 |  | 51 | 52 | 0.028608 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_125_0_line_54 |  | 51 | 53 | 0.66591 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
55 | MV_125_0_line_55 |  | 53 | 70 | 0.078714 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_125_0_line_56 |  | 53 | 65 | 0.29029 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
57 | MV_125_0_line_57 |  | 55 | 56 | 0.50958 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_125_0_line_58 |  | 55 | 57 | 1.5278 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_125_0_line_59 |  | 56 | 58 | 0.069817 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_125_0_line_60 |  | 57 | 59 | 0.037332 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_125_0_line_61 |  | 58 | 103 | 0.13755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_125_0_line_62 |  | 60 | 61 | 0.019767 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_125_0_line_63 |  | 61 | 62 | 0.036291 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_125_0_line_64 |  | 62 | 63 | 0.3357 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
65 | MV_125_0_line_65 |  | 62 | 64 | 0.017703 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
66 | MV_125_0_line_66 |  | 63 | 65 | 0.34997 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
67 | MV_125_0_line_67 |  | 63 | 66 | 0.10129 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_125_0_line_68 |  | 64 | 67 | 0.022311 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
69 | MV_125_0_line_69 |  | 65 | 68 | 0.021518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_125_0_line_70 |  | 65 | 69 | 0.04292 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_125_0_line_71 |  | 67 | 104 | 0.29508 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
72 | MV_125_0_line_72 |  | 67 | 103 | 0.48897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_125_0_line_73 |  | 71 | 72 | 0.057434 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_125_0_line_74 |  | 72 | 73 | 0.083584 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_125_0_line_75 |  | 72 | 74 | 0.057436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_125_0_line_76 |  | 73 | 75 | 0.049422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_125_0_line_77 |  | 73 | 76 | 0.39732 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_125_0_line_78 |  | 74 | 77 | 0.057816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_125_0_line_79 |  | 75 | 78 | 0.032217 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_125_0_line_80 |  | 76 | 79 | 0.060194 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_125_0_line_81 |  | 77 | 80 | 0.04432 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_125_0_line_82 |  | 78 | 106 | 0.31294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_125_0_line_83 |  | 80 | 81 | 0.073965 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_125_0_line_84 |  | 80 | 82 | 0.045247 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_125_0_line_85 |  | 82 | 83 | 0.039932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_125_0_line_86 |  | 83 | 84 | 0.043889 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_125_0_line_87 |  | 83 | 85 | 0.032492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_125_0_line_88 |  | 84 | 86 | 0.049849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_125_0_line_89 |  | 84 | 87 | 0.034885 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_125_0_line_90 |  | 85 | 94 | 0.091324 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
91 | MV_125_0_line_91 |  | 86 | 99 | 0.02866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_125_0_line_92 |  | 88 | 89 | 1.1684 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
93 | MV_125_0_line_93 |  | 88 | 90 | 0.53871 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_125_0_line_94 |  | 90 | 91 | 0.005112 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_125_0_line_95 |  | 91 | 100 | 0.53691 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_125_0_line_96 |  | 92 | 93 | 0.19638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_125_0_line_97 |  | 93 | 105 | 0.24925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_125_0_line_98 |  | 94 | 95 | 0.14783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_125_0_line_99 |  | 95 | 96 | 0.074411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_125_0_line_100 |  | 96 | 97 | 0.049259 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_125_0_line_101 |  | 96 | 98 | 0.090295 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_125_0_line_102 |  | 97 | 113 | 0.052337 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
103 | MV_125_0_line_103 |  | 98 | 114 | 0.24329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_125_0_line_104 |  | 98 | 115 | 0.51759 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_125_0_line_105 |  | 99 | 104 | 0.053538 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
106 | MV_125_0_line_106 |  | 100 | 101 | 0.032552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_125_0_line_107 |  | 101 | 108 | 0.59105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_125_0_line_108 |  | 102 | 103 | 0.033702 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_125_0_line_109 |  | 105 | 108 | 0.39567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_125_0_line_110 |  | 105 | 109 | 0.056679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_125_0_line_111 |  | 105 | 106 | 0.30903 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_125_0_line_112 |  | 106 | 107 | 0.075241 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
113 | MV_125_0_line_113 |  | 108 | 110 | 0.13151 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_125_0_line_114 |  | 108 | 111 | 0.064083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_125_0_line_115 |  | 110 | 112 | 0.029108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_125_0_line_116 |  | 114 | 116 | 0.072727 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
117 | MV_125_0_line_117 |  | 115 | 117 | 0.048095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_125_0_line_118 |  | 118 | 119 | 0.01052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_125_0_line_119 |  | 118 | 120 | 0.11359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_125_0_line_120 |  | 120 | 121 | 0.056722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_125_0_trafo_25 | 25 MVA 110/20 kV | 122 | 39 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2647763.4343 | 1204653.4381
1 | 2647775.1759 | 1204647.0966
2 | 2647731.2604 | 1204670.8149
3 | 2647882.8164 | 1204685.1467
4 | 2647746.046 | 1204756.7937
5 | 2647583.2421 | 1204682.1411
6 | 2647862.2418 | 1204750.3194
7 | 2650686.6948 | 1202658.5989
8 | 2647552.1503 | 1204381.3318
9 | 2647554.5422 | 1204335.0686
10 | 2647757.859 | 1204811.1082
11 | 2647424.4146 | 1204749.0394
12 | 2647571.42 | 1204664.6843
13 | 2647443.2548 | 1204787.6445
14 | 2650701.7346 | 1202665.4303
15 | 2647149.4638 | 1203747.0108
16 | 2644705.6812 | 1206823.0967
17 | 2647792.7556 | 1205193.0152
18 | 2647784.0795 | 1205182.9432
19 | 2647826.9618 | 1205232.7149
20 | 2647730.0152 | 1205106.4893
21 | 2647994.5635 | 1205496.5332
22 | 2647680.0781 | 1205019.774
23 | 2648030.9486 | 1205744.591
24 | 2647988.3386 | 1205769.5186
25 | 2648043.0866 | 1205799.5315
26 | 2648033.4426 | 1205461.9367
27 | 2647662.4153 | 1204954.9624
28 | 2647965.6453 | 1205763.5552
29 | 2648047.2224 | 1205798.7976
30 | 2644633.0336 | 1206778.7947
31 | 2644924.7307 | 1206947.5002
32 | 2648402.4183 | 1206064.9962
33 | 2648243.1456 | 1206205.4116
34 | 2646152.5686 | 1203297.4736
35 | 2646208.6814 | 1203419.8326
36 | 2646437.4177 | 1203290.1198
37 | 2646502.0325 | 1203281.2837
38 | 2646571.8449 | 1203346.5534
39 | 2646070.2403 | 1202818.0094
40 | 2646362.3815 | 1203645.5113
41 | 2646475.8952 | 1203566.9883
42 | 2646663.7967 | 1203370.9733
43 | 2646968.3407 | 1203437.3408
44 | 2646948.53 | 1203467.0577
45 | 2647018.6204 | 1203508.688
46 | 2647112.9059 | 1203709.3899
47 | 2646828.4814 | 1203339.8211
48 | 2646725.3061 | 1203378.7249
49 | 2646742.5443 | 1203214.7881
50 | 2646059.5599 | 1202832.3908
51 | 2645019.0728 | 1201512.638
52 | 2644992.2967 | 1201502.5641
53 | 2644628.9079 | 1201167.7405
54 | 2644889.8125 | 1206873.6397
55 | 2645208.7456 | 1200641.6089
56 | 2644702.5161 | 1200699.9479
57 | 2646485.7712 | 1199802.8675
58 | 2644660.1199 | 1200644.4776
59 | 2646512.6112 | 1199828.8909
60 | 2644239.4481 | 1200556.9129
61 | 2644251.2285 | 1200572.809
62 | 2644274.1061 | 1200594.0237
63 | 2644459.5416 | 1200716.724
64 | 2644283.9409 | 1200579.6772
65 | 2644481.3776 | 1200958.5564
66 | 2644403.3746 | 1200632.3369
67 | 2644276.3305 | 1200558.8647
68 | 2644460.6162 | 1200964.212
69 | 2644461.0383 | 1200920.7616
70 | 2644706.0004 | 1201183.6364
71 | 2644027.6324 | 1200074.667
72 | 2643997.995 | 1200117.1284
73 | 2643937.9994 | 1200058.9324
74 | 2644031.8753 | 1200163.2148
75 | 2643902.7855 | 1200093.7045
76 | 2644192.2638 | 1199924.0295
77 | 2644052.5881 | 1200217.1644
78 | 2643882.9119 | 1200068.3111
79 | 2644226.7966 | 1199874.668
80 | 2644067.1853 | 1200259.0177
81 | 2644004.6834 | 1200298.5688
82 | 2644082.2101 | 1200301.6969
83 | 2644099.3937 | 1200337.566
84 | 2644131.2282 | 1200317.1115
85 | 2644119.1326 | 1200363.4151
86 | 2644176.0836 | 1200332.3068
87 | 2644158.9004 | 1200301.3407
88 | 2643445.2724 | 1198762.1385
89 | 2643887.9163 | 1197680.8076
90 | 2643174.7209 | 1199227.9857
91 | 2643173.1629 | 1199232.8549
92 | 2643522.5698 | 1199711.7411
93 | 2643650.2728 | 1199858.1685
94 | 2644065.248 | 1200437.1483
95 | 2643959.3596 | 1200539.5269
96 | 2643897.7344 | 1200581.4535
97 | 2643924.8153 | 1200621.3081
98 | 2643840.4457 | 1200650.8391
99 | 2644196.151 | 1200352.8221
100 | 2643379.7968 | 1199728.4057
101 | 2643399.5972 | 1199751.7403
102 | 2644604.0724 | 1200535.1754
103 | 2644570.8359 | 1200540.4195
104 | 2644249.6851 | 1200353.5072
105 | 2643763.7026 | 1200042.123
106 | 2643852.5772 | 1199853.0897
107 | 2643825.6543 | 1199782.8306
108 | 2643697.6781 | 1200173.0029
109 | 2643717.4206 | 1200074.8411
110 | 2643812.4466 | 1200182.6034
111 | 2643749.9914 | 1200135.7865
112 | 2643834.6723 | 1200163.8066
113 | 2643956.9855 | 1200662.59
114 | 2643833.6212 | 1200463.4834
115 | 2643780.4323 | 1201102.7879
116 | 2643826.867 | 1200391.0709
117 | 2643740.4131 | 1201129.4768
118 | 2647655.203 | 1204910.2903
119 | 2647653.8257 | 1204899.8622
120 | 2647578.8483 | 1204926.2133
121 | 2647550.5319 | 1204879.8835
122 | 2646070.2403 | 1202818.0094

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99558 | -0.11721 | 0.16318 | 0.079031
1 | 0.99558 | -0.11718 | 0 | 0
2 | 0.9956 | -0.11737 | 0 | 0
3 | 0.99553 | -0.11681 | 0 | 0
4 | 0.99556 | -0.11708 | 0 | 0
5 | 0.99572 | -0.11832 | 0 | 0
6 | 0.99551 | -0.11668 | 0.15975 | 0.077369
7 | 0.99497 | -0.12111 | 0 | 0
8 | 0.99605 | -0.11185 | 0 | 0
9 | 0.99609 | -0.11098 | 0.14771 | 0.071541
10 | 0.99555 | -0.11697 | 0.14688 | 0.071136
11 | 0.99549 | -0.12299 | 0 | 0
12 | 0.99572 | -0.11828 | 0.16314 | 0.079013
13 | 0.99546 | -0.12356 | 0.13904 | 0.067338
14 | 0.99496 | -0.1211 | 0.08484 | 0.04109
15 | 0.99772 | -0.052759 | 0.087356 | 0.042308
16 | 0.99101 | -0.28333 | 0 | 0
17 | 0.98585 | -0.397 | 0.14439 | 0.069932
18 | 0.98584 | -0.39694 | 0 | 0
19 | 0.98589 | -0.39736 | 0 | 0
20 | 0.98578 | -0.39646 | 0 | 0
21 | 0.98615 | -0.39952 | 0 | 0
22 | 0.98572 | -0.39593 | 0.16411 | 0.079481
23 | 0.98644 | -0.40175 | 0 | 0
24 | 0.9865 | -0.40218 | 0 | 0
25 | 0.98642 | -0.40165 | 0.14469 | 0.070074
26 | 0.98614 | -0.39958 | 0.1022 | 0.049498
27 | 0.9857 | -0.3957 | 0 | 0
28 | 0.98653 | -0.40238 | 0.14566 | 0.070544
29 | 0.98642 | -0.40165 | 0 | 0
30 | 0.991 | -0.28325 | 0.075002 | 0.036325
31 | 0.99079 | -0.2861 | 0 | 0
32 | 0.98632 | -0.40127 | 0 | 0
33 | 0.98629 | -0.40099 | 0.11486 | 0.055629
34 | 0.99887 | -0.018933 | 0.25636 | 0.12416
35 | 0.99892 | -0.019334 | 0 | 0
36 | 0.99905 | -0.018442 | 0.15171 | 0.073479
37 | 0.9991 | -0.0181 | 0 | 0
38 | 0.99897 | -0.02058 | 0 | 0
39 | 1 | 0 | -7.2716 | -3.1536
40 | 0.99894 | -0.020464 | 0.050248 | 0.024336
41 | 0.99895 | -0.020533 | 0 | 0
42 | 0.99872 | -0.02976 | 0.14483 | 0.070143
43 | 0.99823 | -0.039412 | 0.10029 | 0.048574
44 | 0.99823 | -0.039454 | 0 | 0
45 | 0.99804 | -0.046354 | 0 | 0
46 | 0.99777 | -0.051678 | 0 | 0
47 | 0.99848 | -0.034567 | 0 | 0
48 | 0.99865 | -0.031158 | 0 | 0
49 | 0.99845 | -0.034753 | 0.10041 | 0.04863
50 | 1 | 1.557e-05 | 0.073798 | 0.035742
51 | 0.99243 | -0.20574 | 0 | 0
52 | 0.99242 | -0.2058 | 0.1613 | 0.07812
53 | 0.9911 | -0.22285 | 0 | 0
54 | 0.99077 | -0.28624 | 0.13578 | 0.06576
55 | 0.98869 | -0.24504 | 0.10715 | 0.051894
56 | 0.98889 | -0.24364 | 0.14748 | 0.071429
57 | 0.98841 | -0.24706 | 0 | 0
58 | 0.98894 | -0.24331 | 0 | 0
59 | 0.98841 | -0.24702 | 0.094628 | 0.04583
60 | 0.98933 | -0.24518 | 0.085519 | 0.041419
61 | 0.98934 | -0.2452 | 0 | 0
62 | 0.98934 | -0.24524 | 0 | 0
63 | 0.98991 | -0.23798 | 0 | 0
64 | 0.98931 | -0.24561 | 0.068966 | 0.033402
65 | 0.99054 | -0.23 | 0 | 0
66 | 0.98989 | -0.2378 | 0.14904 | 0.072184
67 | 0.98927 | -0.24607 | 0 | 0
68 | 0.99053 | -0.22996 | 0.15783 | 0.076441
69 | 0.99053 | -0.23007 | 0.12729 | 0.06165
70 | 0.99108 | -0.22298 | 0.12733 | 0.061668
71 | 0.98773 | -0.25113 | 0.14155 | 0.068557
72 | 0.98774 | -0.25123 | 0 | 0
73 | 0.98759 | -0.25017 | 0 | 0
74 | 0.98786 | -0.25204 | 0 | 0
75 | 0.98751 | -0.2496 | 0.11007 | 0.053307
76 | 0.98751 | -0.24954 | 0 | 0
77 | 0.98797 | -0.25286 | 0.069548 | 0.033684
78 | 0.98747 | -0.24927 | 0 | 0
79 | 0.9875 | -0.24942 | 0.16164 | 0.078284
80 | 0.98806 | -0.25352 | 0.15646 | 0.075777
81 | 0.98804 | -0.25366 | 0.15133 | 0.073291
82 | 0.98823 | -0.25213 | 0 | 0
83 | 0.98833 | -0.25287 | 0 | 0
84 | 0.98846 | -0.25383 | 0 | 0
85 | 0.98831 | -0.25277 | 0.10225 | 0.049521
86 | 0.98861 | -0.25495 | 0 | 0
87 | 0.98846 | -0.2538 | 0.071887 | 0.034817
88 | 0.98533 | -0.24085 | 0.053411 | 0.025868
89 | 0.98503 | -0.24283 | 0.13091 | 0.063403
90 | 0.98553 | -0.23954 | 0 | 0
91 | 0.98553 | -0.23955 | 0.15318 | 0.074189
92 | 0.98653 | -0.24246 | 0.16058 | 0.07777
93 | 0.98657 | -0.24281 | 0 | 0
94 | 0.98826 | -0.25334 | 0 | 0
95 | 0.9882 | -0.25302 | 0 | 0
96 | 0.98817 | -0.25285 | 0.079622 | 0.038563
97 | 0.98817 | -0.2528 | 0 | 0
98 | 0.98816 | -0.2528 | 0 | 0
99 | 0.9887 | -0.25559 | 0.16371 | 0.079286
100 | 0.98588 | -0.23718 | 0.11581 | 0.056091
101 | 0.9859 | -0.23736 | 0 | 0
102 | 0.989 | -0.24382 | 0.08947 | 0.043332
103 | 0.989 | -0.24386 | 0 | 0
104 | 0.98886 | -0.25123 | 0 | 0
105 | 0.98662 | -0.24318 | 0 | 0
106 | 0.98701 | -0.24599 | 0 | 0
107 | 0.98699 | -0.24614 | 0.15265 | 0.073932
108 | 0.98625 | -0.24026 | 0 | 0
109 | 0.98662 | -0.24313 | 0.083354 | 0.04037
110 | 0.98622 | -0.24003 | 0 | 0
111 | 0.98623 | -0.24015 | 0.14162 | 0.06859
112 | 0.98621 | -0.23998 | 0.15037 | 0.072829
113 | 0.98816 | -0.25286 | 0.081425 | 0.039436
114 | 0.98814 | -0.2527 | 0 | 0
115 | 0.98809 | -0.25242 | 0 | 0
116 | 0.98813 | -0.25274 | 0.051512 | 0.024948
117 | 0.98809 | -0.25237 | 0.098385 | 0.04765
118 | 0.98568 | -0.39554 | 0 | 0
119 | 0.98568 | -0.39553 | 0.14423 | 0.069853
120 | 0.98566 | -0.39534 | 0 | 0
121 | 0.98564 | -0.39523 | 0.16187 | 0.078399
122 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.24465 | 0.10841 | -0.24465 | -0.10872 | 1.073e-06 | -0.00031549 | 0.007759 | 0.0077627 | 0.0077627 | 0.99558 | -0.11721 | 0.99558 | -0.11718 | 3.5285
1 | -0.40783 | -0.18744 | 0.40784 | 0.18657 | 8.2616e-06 | -0.00086293 | 0.013014 | 0.013004 | 0.013014 | 0.99558 | -0.11721 | 0.9956 | -0.11737 | 5.9156
2 | 0.24465 | 0.10872 | -0.24464 | -0.11233 | 1.2335e-05 | -0.0036048 | 0.0077627 | 0.0078058 | 0.0078058 | 0.99558 | -0.11718 | 0.99553 | -0.11681 | 3.5481
3 | 0.14688 | 0.065238 | -0.14688 | -0.069727 | 5.5651e-06 | -0.0044893 | 0.0046601 | 0.0047145 | 0.0047145 | 0.9956 | -0.11737 | 0.99556 | -0.11708 | 2.1429
4 | -0.55472 | -0.25181 | 0.55479 | 0.24771 | 7.2322e-05 | -0.0040997 | 0.017664 | 0.017615 | 0.017664 | 0.9956 | -0.11737 | 0.99572 | -0.11832 | 8.029
5 | 0.15975 | 0.075689 | -0.15975 | -0.077369 | 2.5028e-06 | -0.0016808 | 0.0051259 | 0.005147 | 0.005147 | 0.99553 | -0.11681 | 0.99551 | -0.11668 | 2.3395
6 | 0.084886 | 0.036638 | -0.084841 | -0.040701 | 4.5102e-05 | -0.0040626 | 0.0026809 | 0.0027301 | 0.0027301 | 0.99553 | -0.11681 | 0.99497 | -0.12111 | 1.3001
7 | 0.14688 | 0.069727 | -0.14688 | -0.071136 | 1.773e-06 | -0.0014082 | 0.0047145 | 0.0047321 | 0.0047321 | 0.99556 | -0.11708 | 0.99555 | -0.11697 | 2.151
8 | 1.4813 | 0.63505 | -1.481 | -0.64874 | 0.00029559 | -0.013689 | 0.046724 | 0.046885 | 0.046885 | 0.99572 | -0.11832 | 0.99549 | -0.12299 | 11.1366
9 | 0.16314 | 0.078514 | -0.16314 | -0.079013 | 7.7639e-07 | -0.00049885 | 0.0052489 | 0.0052552 | 0.0052552 | 0.99572 | -0.11832 | 0.99572 | -0.11828 | 2.3887
10 | -2.1992 | -0.96128 | 2.1998 | 0.94876 | 0.00061022 | -0.012515 | 0.069583 | 0.069432 | 0.069583 | 0.99572 | -0.11832 | 0.99605 | -0.11185 | 16.528
11 | 0.084841 | 0.040701 | -0.08484 | -0.04109 | 1.6427e-07 | -0.00038945 | 0.0027301 | 0.002735 | 0.002735 | 0.99497 | -0.12111 | 0.99496 | -0.1211 | 1.2432
12 | -2.1998 | -0.94876 | 2.1999 | 0.94708 | 8.1728e-05 | -0.0016811 | 0.069432 | 0.069412 | 0.069432 | 0.99605 | -0.11185 | 0.99609 | -0.11098 | 16.4921
13 | -2.3476 | -1.0186 | 2.3504 | 1.0218 | 0.0027992 | 0.0031342 | 0.074164 | 0.074153 | 0.074164 | 0.99609 | -0.11098 | 0.99772 | -0.052759 | 18.0887
14 | 1.481 | 0.64874 | -1.4809 | -0.65044 | 3.6881e-05 | -0.0017008 | 0.046885 | 0.046905 | 0.046905 | 0.99549 | -0.12299 | 0.99546 | -0.12356 | 11.1414
15 | 1.3419 | 0.5831 | -1.3375 | -0.58111 | 0.0043827 | 0.0019894 | 0.042429 | 0.042479 | 0.042479 | 0.99546 | -0.12356 | 0.99101 | -0.28333 | 10.3608
16 | -2.4378 | -1.0641 | 2.4379 | 1.0622 | 0.00011353 | -0.0018881 | 0.076959 | 0.076936 | 0.076959 | 0.99772 | -0.052759 | 0.99777 | -0.051678 | 18.2801
17 | 0.075003 | 0.034334 | -0.075002 | -0.036325 | 6.6115e-07 | -0.0019909 | 0.0024028 | 0.0024275 | 0.0024275 | 0.99101 | -0.28333 | 0.991 | -0.28325 | 1.1034
18 | 1.2625 | 0.54678 | -1.2623 | -0.55748 | 0.00025162 | -0.010708 | 0.040077 | 0.040204 | 0.040204 | 0.99101 | -0.28333 | 0.99079 | -0.2861 | 11.1061
19 | 0.4703 | 0.21615 | -0.47029 | -0.21645 | 4.0775e-06 | -0.00030727 | 0.015156 | 0.01516 | 0.01516 | 0.98585 | -0.397 | 0.98584 | -0.39694 | 6.8908
20 | -0.61469 | -0.28608 | 0.61471 | 0.28487 | 2.7553e-05 | -0.0012079 | 0.019853 | 0.019838 | 0.019853 | 0.98585 | -0.397 | 0.98589 | -0.39736 | 9.0241
21 | 0.47029 | 0.21645 | -0.47026 | -0.21862 | 2.8795e-05 | -0.0021654 | 0.01516 | 0.015186 | 0.015186 | 0.98584 | -0.39694 | 0.98578 | -0.39646 | 6.9029
22 | -0.61471 | -0.28487 | 0.61489 | 0.27716 | 0.00017471 | -0.0077046 | 0.019838 | 0.019744 | 0.019838 | 0.98589 | -0.39736 | 0.98615 | -0.39952 | 9.0173
23 | 0.47026 | 0.21862 | -0.47023 | -0.22093 | 3.0896e-05 | -0.0023146 | 0.015186 | 0.015215 | 0.015215 | 0.98578 | -0.39646 | 0.98572 | -0.39593 | 6.916
24 | 0.1022 | 0.049439 | -0.1022 | -0.049498 | 1.0244e-06 | -5.9779e-05 | 0.0033234 | 0.0033242 | 0.0033242 | 0.98615 | -0.39952 | 0.98614 | -0.39958 | 1.5829
25 | -0.71709 | -0.3266 | 0.71731 | 0.3195 | 0.00021835 | -0.0071023 | 0.023066 | 0.02298 | 0.023066 | 0.98615 | -0.39952 | 0.98644 | -0.40175 | 10.4845
26 | 0.30612 | 0.14145 | -0.30611 | -0.14301 | 8.7819e-06 | -0.001559 | 0.0098758 | 0.0098951 | 0.0098951 | 0.98572 | -0.39593 | 0.9857 | -0.3957 | 4.4978
27 | -0.97688 | -0.42255 | 0.97694 | 0.42142 | 6.4249e-05 | -0.001134 | 0.031148 | 0.031134 | 0.031148 | 0.98644 | -0.40175 | 0.9865 | -0.40218 | 14.158
28 | 0.25957 | 0.10305 | -0.25956 | -0.10436 | 5.028e-06 | -0.0013062 | 0.0081728 | 0.008187 | 0.008187 | 0.98644 | -0.40175 | 0.98642 | -0.40165 | 3.7214
29 | -0.97694 | -0.42142 | 0.97697 | 0.42088 | 3.0448e-05 | -0.00053781 | 0.031134 | 0.031128 | 0.031134 | 0.9865 | -0.40218 | 0.98653 | -0.40238 | 14.1519
30 | 0.11488 | 0.034284 | -0.11488 | -0.034381 | 6.8845e-08 | -9.7275e-05 | 0.0035084 | 0.0035092 | 0.0035092 | 0.98642 | -0.40165 | 0.98642 | -0.40165 | 1.5951
31 | 0.30611 | 0.14301 | -0.30611 | -0.14406 | 5.9289e-06 | -0.0010491 | 0.0098951 | 0.0099081 | 0.0099081 | 0.9857 | -0.3957 | 0.98568 | -0.39554 | 4.5037
32 | -1.1226 | -0.49143 | 1.1265 | 0.49182 | 0.0038471 | 0.00039206 | 0.03586 | 0.035813 | 0.03586 | 0.98653 | -0.40238 | 0.99079 | -0.2861 | 10.2456
33 | 0.11488 | 0.034381 | -0.11486 | -0.050385 | 1.1813e-05 | -0.016004 | 0.0035092 | 0.003671 | 0.003671 | 0.98642 | -0.40165 | 0.98632 | -0.40127 | 1.6687
34 | 0.13578 | 0.065666 | -0.13578 | -0.06576 | 2.8118e-06 | -9.398e-05 | 0.0043945 | 0.0043957 | 0.0043957 | 0.99079 | -0.2861 | 0.99077 | -0.28624 | 2.0932
35 | 0.11486 | 0.050385 | -0.11486 | -0.055629 | 4.133e-06 | -0.005244 | 0.003671 | 0.0037354 | 0.0037354 | 0.98632 | -0.40127 | 0.98629 | -0.40099 | 1.6979
36 | -0.25636 | -0.12416 | 0.25637 | 0.12094 | 1.2165e-05 | -0.0032158 | 0.0082319 | 0.0081918 | 0.0082319 | 0.99887 | -0.018933 | 0.99892 | -0.019334 | 3.7418
37 | -0.25637 | -0.12094 | 0.2564 | 0.12065 | 3.1424e-05 | -0.00029359 | 0.0081918 | 0.0081879 | 0.0081918 | 0.99892 | -0.019334 | 0.99905 | -0.018442 | 3.9008
38 | -0.40811 | -0.19413 | 0.40813 | 0.19406 | 1.9813e-05 | -6.5301e-05 | 0.013059 | 0.013058 | 0.013059 | 0.99905 | -0.018442 | 0.9991 | -0.0181 | 6.2184
39 | 2.8364 | 1.2141 | -2.8361 | -1.2177 | 0.00029688 | -0.0036172 | 0.089147 | 0.089191 | 0.089191 | 0.9991 | -0.0181 | 0.99897 | -0.02058 | 21.1855
40 | -3.2446 | -1.4081 | 3.2471 | 1.3855 | 0.0024919 | -0.022664 | 0.1022 | 0.10191 | 0.1022 | 0.9991 | -0.0181 | 1 | 0 | 24.2744
41 | 2.7859 | 1.2045 | -2.7854 | -1.2039 | 0.00052167 | 0.00063243 | 0.087707 | 0.087708 | 0.087708 | 0.99897 | -0.02058 | 0.99872 | -0.02976 | 21.3922
42 | 0.05025 | 0.013178 | -0.050249 | -0.021041 | 1.0367e-06 | -0.0078633 | 0.0015012 | 0.0015743 | 0.0015743 | 0.99897 | -0.02058 | 0.99895 | -0.020533 | 0.71557
43 | 3.9368 | 1.7223 | -3.9131 | -1.6973 | 0.023679 | 0.024993 | 0.12405 | 0.12407 | 0.12407 | 1 | 0 | 0.99243 | -0.20574 | 35.4484
44 | 0.073799 | 0.035315 | -0.073798 | -0.035742 | 1.3367e-07 | -0.0004276 | 0.0023617 | 0.0023671 | 0.0023671 | 1 | 0 | 1 | 1.557e-05 | 1.076
45 | -0.050248 | -0.024336 | 0.050249 | 0.021041 | 4.6867e-07 | -0.003295 | 0.0016134 | 0.0015743 | 0.0016134 | 0.99894 | -0.020464 | 0.99895 | -0.020533 | 0.73337
46 | 2.6405 | 1.1337 | -2.6404 | -1.1359 | 0.00015629 | -0.002214 | 0.083061 | 0.083088 | 0.083088 | 0.99872 | -0.02976 | 0.99865 | -0.031158 | 19.7359
47 | -0.10029 | -0.048574 | 0.10029 | 0.047725 | 4.9317e-07 | -0.00084895 | 0.0032226 | 0.003212 | 0.0032226 | 0.99823 | -0.039412 | 0.99823 | -0.039454 | 1.4648
48 | -2.5391 | -1.101 | 2.5396 | 1.0929 | 0.00052881 | -0.0081141 | 0.080032 | 0.079934 | 0.080032 | 0.99823 | -0.039454 | 0.99848 | -0.034567 | 19.0101
49 | 2.4388 | 1.0533 | -2.4384 | -1.0529 | 0.00034294 | 0.00039139 | 0.076823 | 0.076824 | 0.076824 | 0.99823 | -0.039454 | 0.99804 | -0.046354 | 18.7375
50 | 2.4384 | 1.0529 | -2.4379 | -1.0622 | 0.00055588 | -0.0092652 | 0.076824 | 0.076936 | 0.076936 | 0.99804 | -0.046354 | 0.99777 | -0.051678 | 18.2746
51 | -2.64 | -1.1414 | 2.6404 | 1.1359 | 0.00038272 | -0.0054139 | 0.083154 | 0.083088 | 0.083154 | 0.99848 | -0.034567 | 0.99865 | -0.031158 | 19.7516
52 | 0.10041 | 0.048451 | -0.10041 | -0.04863 | 2.8105e-06 | -0.00017881 | 0.0032233 | 0.0032256 | 0.0032256 | 0.99848 | -0.034567 | 0.99845 | -0.034753 | 1.536
53 | 0.1613 | 0.078087 | -0.1613 | -0.07812 | 1.3851e-06 | -3.277e-05 | 0.0052127 | 0.0052131 | 0.0052131 | 0.99243 | -0.20574 | 0.99242 | -0.2058 | 2.4824
54 | 3.7518 | 1.6193 | -3.7473 | -1.6384 | 0.004554 | -0.019161 | 0.11886 | 0.11912 | 0.11912 | 0.99243 | -0.20574 | 0.9911 | -0.22285 | 32.9067
55 | 0.12733 | 0.061577 | -0.12733 | -0.061668 | 2.3808e-06 | -9.0811e-05 | 0.0041196 | 0.0041208 | 0.0041208 | 0.9911 | -0.22285 | 0.99108 | -0.22298 | 1.9623
56 | 3.6199 | 1.5768 | -3.6181 | -1.5853 | 0.0018563 | -0.0084278 | 0.11501 | 0.11512 | 0.11512 | 0.9911 | -0.22285 | 0.99054 | -0.23 | 31.801
57 | -0.2018 | -0.095087 | 0.20184 | 0.094516 | 3.8475e-05 | -0.00057068 | 0.0065134 | 0.0065061 | 0.0065134 | 0.98869 | -0.24504 | 0.98889 | -0.24364 | 3.1016
58 | 0.094654 | 0.043193 | -0.094628 | -0.04496 | 2.5301e-05 | -0.0017666 | 0.0030378 | 0.0030598 | 0.0030598 | 0.98869 | -0.24504 | 0.98841 | -0.24706 | 1.457
59 | -0.34932 | -0.16595 | 0.34934 | 0.16587 | 1.5853e-05 | -7.158e-05 | 0.011289 | 0.011288 | 0.011289 | 0.98889 | -0.24364 | 0.98894 | -0.24331 | 5.3759
60 | 0.094628 | 0.04496 | -0.094628 | -0.04583 | 4.6827e-07 | -0.00087066 | 0.0030598 | 0.0030708 | 0.0030708 | 0.98841 | -0.24706 | 0.98841 | -0.24702 | 1.3958
61 | -0.34934 | -0.16587 | 0.34936 | 0.16267 | 2.3318e-05 | -0.0032053 | 0.011288 | 0.011249 | 0.011288 | 0.98894 | -0.24331 | 0.989 | -0.24386 | 5.1311
62 | -0.085519 | -0.041419 | 0.085519 | 0.040957 | 2.0244e-07 | -0.00046188 | 0.0027726 | 0.0027668 | 0.0027726 | 0.98933 | -0.24518 | 0.98934 | -0.2452 | 1.2603
63 | -0.085519 | -0.040957 | 0.08552 | 0.040109 | 3.6944e-07 | -0.00084799 | 0.0027668 | 0.0027562 | 0.0027668 | 0.98934 | -0.2452 | 0.98934 | -0.24524 | 1.2576
64 | -3.1803 | -1.3984 | 3.182 | 1.3883 | 0.0016641 | -0.01007 | 0.10137 | 0.10124 | 0.10137 | 0.98934 | -0.24524 | 0.98991 | -0.23798 | 28.0033
65 | 3.0948 | 1.3583 | -3.0947 | -1.3588 | 8.3161e-05 | -0.00053398 | 0.098617 | 0.098624 | 0.098624 | 0.98934 | -0.24524 | 0.98931 | -0.24561 | 27.2441
66 | -3.331 | -1.4581 | 3.3329 | 1.4477 | 0.0018982 | -0.010393 | 0.10604 | 0.1059 | 0.10604 | 0.98991 | -0.23798 | 0.99054 | -0.23 | 29.2922
67 | 0.14904 | 0.069815 | -0.14904 | -0.072184 | 3.1343e-06 | -0.002369 | 0.0047996 | 0.0048293 | 0.0048293 | 0.98991 | -0.23798 | 0.98989 | -0.2378 | 2.1951
68 | 3.0258 | 1.3254 | -3.0257 | -1.3261 | 0.00010013 | -0.00067633 | 0.096389 | 0.096398 | 0.096398 | 0.98931 | -0.24561 | 0.98927 | -0.24607 | 26.6293
69 | 0.15783 | 0.075937 | -0.15783 | -0.076441 | 7.4941e-07 | -0.00050386 | 0.0051045 | 0.0051108 | 0.0051108 | 0.99054 | -0.23 | 0.99053 | -0.22996 | 2.3231
70 | 0.12729 | 0.0616 | -0.12729 | -0.06165 | 1.299e-06 | -4.9459e-05 | 0.0041213 | 0.0041219 | 0.0041219 | 0.99054 | -0.23 | 0.99053 | -0.23007 | 1.9628
71 | 2.5867 | 1.1322 | -2.5857 | -1.1414 | 0.00096897 | -0.0091989 | 0.082396 | 0.082512 | 0.082512 | 0.98927 | -0.24607 | 0.98886 | -0.25123 | 22.7934
72 | 0.43896 | 0.19383 | -0.43883 | -0.20521 | 0.00012923 | -0.011384 | 0.014002 | 0.01414 | 0.01414 | 0.98927 | -0.24607 | 0.989 | -0.24386 | 6.4274
73 | -0.14155 | -0.068557 | 0.14155 | 0.06722 | 1.6141e-06 | -0.0013374 | 0.0045967 | 0.0045798 | 0.0045967 | 0.98773 | -0.25113 | 0.98774 | -0.25123 | 2.0894
74 | 1.4157 | 0.61297 | -1.4154 | -0.61485 | 0.00022693 | -0.0018794 | 0.045086 | 0.045108 | 0.045108 | 0.98774 | -0.25123 | 0.98759 | -0.25017 | 20.5037
75 | -1.5572 | -0.68019 | 1.5574 | 0.67891 | 0.00018906 | -0.001282 | 0.049663 | 0.049647 | 0.049663 | 0.98774 | -0.25123 | 0.98786 | -0.25204 | 22.574
76 | 1.2538 | 0.54722 | -1.2537 | -0.54834 | 0.00010553 | -0.0011195 | 0.039987 | 0.04 | 0.04 | 0.98759 | -0.25017 | 0.98751 | -0.2496 | 18.1819
77 | 0.16165 | 0.067635 | -0.16164 | -0.076883 | 1.4209e-05 | -0.0092476 | 0.005122 | 0.0052324 | 0.0052324 | 0.98759 | -0.25017 | 0.98751 | -0.24954 | 2.3783
78 | -1.5574 | -0.67891 | 1.5576 | 0.67762 | 0.00019019 | -0.0012908 | 0.049647 | 0.049631 | 0.049647 | 0.98786 | -0.25204 | 0.98797 | -0.25286 | 22.5669
79 | 1.1436 | 0.49503 | -1.1436 | -0.49576 | 5.7088e-05 | -0.00073316 | 0.036428 | 0.036437 | 0.036437 | 0.98751 | -0.2496 | 0.98747 | -0.24927 | 16.5622
80 | 0.16164 | 0.076883 | -0.16164 | -0.078284 | 2.2075e-06 | -0.0014009 | 0.0052324 | 0.0052501 | 0.0052501 | 0.98751 | -0.24954 | 0.9875 | -0.24942 | 2.3864
81 | -1.6271 | -0.7113 | 1.6273 | 0.71032 | 0.00015926 | -0.00098574 | 0.051888 | 0.051876 | 0.051888 | 0.98797 | -0.25286 | 0.98806 | -0.25352 | 23.5853
82 | 1.1436 | 0.49576 | -1.143 | -0.50288 | 0.00055594 | -0.0071173 | 0.036437 | 0.036522 | 0.036522 | 0.98747 | -0.24927 | 0.98701 | -0.24599 | 16.6009
83 | 0.15133 | 0.073206 | -0.15133 | -0.073291 | 3.1796e-06 | -8.421e-05 | 0.0049114 | 0.0049125 | 0.0049125 | 0.98806 | -0.25352 | 0.98804 | -0.25366 | 2.3393
84 | -1.9351 | -0.8593 | 1.9354 | 0.85944 | 0.00030848 | 0.00014048 | 0.06186 | 0.061859 | 0.06186 | 0.98806 | -0.25352 | 0.98823 | -0.25213 | 29.457
85 | -1.9354 | -0.85944 | 1.9356 | 0.85857 | 0.00020395 | -0.00087071 | 0.061859 | 0.061848 | 0.061859 | 0.98823 | -0.25213 | 0.98833 | -0.25287 | 28.1177
86 | -2.3489 | -1.0304 | 2.3492 | 1.0295 | 0.0003288 | -0.0009262 | 0.074917 | 0.074905 | 0.074917 | 0.98833 | -0.25287 | 0.98846 | -0.25383 | 34.0534
87 | 0.41326 | 0.17184 | -0.41325 | -0.17259 | 7.4174e-06 | -0.00075557 | 0.013072 | 0.013081 | 0.013081 | 0.98833 | -0.25287 | 0.98831 | -0.25277 | 5.9459
88 | -2.4211 | -1.0635 | 2.4215 | 1.0624 | 0.00039683 | -0.0010454 | 0.077227 | 0.077213 | 0.077227 | 0.98846 | -0.25383 | 0.98861 | -0.25495 | 35.1032
89 | 0.071888 | 0.034003 | -0.071887 | -0.034817 | 2.523e-07 | -0.00081373 | 0.0023225 | 0.0023327 | 0.0023327 | 0.98846 | -0.25383 | 0.98846 | -0.2538 | 1.0603
90 | 0.311 | 0.12307 | -0.31098 | -0.12317 | 1.5531e-05 | -9.6756e-05 | 0.0097694 | 0.0097705 | 0.0097705 | 0.98831 | -0.25277 | 0.98826 | -0.25334 | 4.6526
91 | -2.4215 | -1.0624 | 2.4217 | 1.0618 | 0.00022809 | -0.0006012 | 0.077213 | 0.077205 | 0.077213 | 0.98861 | -0.25495 | 0.9887 | -0.25559 | 35.097
92 | 0.13095 | 0.062072 | -0.13091 | -0.063403 | 3.7675e-05 | -0.0013302 | 0.0042456 | 0.0042627 | 0.0042627 | 0.98533 | -0.24085 | 0.98503 | -0.24283 | 2.0299
93 | -0.18436 | -0.087941 | 0.18439 | 0.087338 | 3.4327e-05 | -0.00060301 | 0.0059842 | 0.0059764 | 0.0059842 | 0.98533 | -0.24085 | 0.98553 | -0.23954 | 2.8496
94 | -0.18439 | -0.087338 | 0.18439 | 0.087219 | 2.4367e-07 | -0.00011847 | 0.0059764 | 0.0059749 | 0.0059764 | 0.98553 | -0.23954 | 0.98553 | -0.23955 | 2.7165
95 | -0.33757 | -0.16141 | 0.33769 | 0.16086 | 0.00011483 | -0.00055084 | 0.01096 | 0.010952 | 0.01096 | 0.98553 | -0.23955 | 0.98588 | -0.23718 | 5.2191
96 | -0.16058 | -0.07777 | 0.16058 | 0.073209 | 7.0673e-06 | -0.0045614 | 0.0052208 | 0.005164 | 0.0052208 | 0.98653 | -0.24246 | 0.98657 | -0.24281 | 2.3731
97 | -0.16058 | -0.073209 | 0.16059 | 0.067419 | 8.7549e-06 | -0.0057901 | 0.005164 | 0.005096 | 0.005164 | 0.98657 | -0.24281 | 0.98662 | -0.24318 | 2.3473
98 | 0.31098 | 0.12317 | -0.31096 | -0.12661 | 1.8912e-05 | -0.0034415 | 0.0097705 | 0.009808 | 0.009808 | 0.98826 | -0.25334 | 0.9882 | -0.25302 | 4.4582
99 | 0.31096 | 0.12661 | -0.31096 | -0.12834 | 9.5748e-06 | -0.0017321 | 0.009808 | 0.0098273 | 0.0098273 | 0.9882 | -0.25302 | 0.98817 | -0.25285 | 4.4669
100 | 0.081426 | 0.038227 | -0.081425 | -0.039375 | 4.5658e-07 | -0.0011483 | 0.0026278 | 0.0026422 | 0.0026422 | 0.98817 | -0.25285 | 0.98817 | -0.2528 | 1.201
101 | 0.14991 | 0.051552 | -0.1499 | -0.053657 | 2.5964e-06 | -0.0021044 | 0.004631 | 0.0046513 | 0.0046513 | 0.98817 | -0.25285 | 0.98816 | -0.2528 | 2.1142
102 | 0.081425 | 0.039375 | -0.081425 | -0.039436 | 6.5119e-07 | -6.0601e-05 | 0.0026422 | 0.002643 | 0.002643 | 0.98817 | -0.2528 | 0.98816 | -0.25286 | 1.2586
103 | 0.051513 | 0.019192 | -0.051512 | -0.024864 | 8.7002e-07 | -0.0056716 | 0.0016059 | 0.001671 | 0.001671 | 0.98816 | -0.2528 | 0.98814 | -0.2527 | 0.75954
104 | 0.098392 | 0.034465 | -0.098385 | -0.046529 | 6.6761e-06 | -0.012064 | 0.0030456 | 0.0031796 | 0.0031796 | 0.98816 | -0.2528 | 0.98809 | -0.25242 | 1.4453
105 | -2.5854 | -1.1411 | 2.5857 | 1.1414 | 0.00033462 | 0.00031695 | 0.082513 | 0.082512 | 0.082513 | 0.9887 | -0.25559 | 0.98886 | -0.25123 | 23.5751
106 | -0.4535 | -0.21695 | 0.45351 | 0.2162 | 9.4103e-06 | -0.00075265 | 0.01472 | 0.014711 | 0.01472 | 0.98588 | -0.23718 | 0.9859 | -0.23736 | 6.691
107 | -0.45351 | -0.2162 | 0.45368 | 0.20252 | 0.00016878 | -0.013672 | 0.014711 | 0.014542 | 0.014711 | 0.9859 | -0.23736 | 0.98625 | -0.24026 | 6.6867
108 | -0.08947 | -0.043332 | 0.08947 | 0.042545 | 3.7752e-07 | -0.00078695 | 0.0029017 | 0.0028917 | 0.0029017 | 0.989 | -0.24382 | 0.989 | -0.24386 | 1.3189
109 | 0.74598 | 0.32962 | -0.74568 | -0.33873 | 0.00030216 | -0.0091029 | 0.023863 | 0.023973 | 0.023973 | 0.98662 | -0.24318 | 0.98625 | -0.24026 | 10.8966
110 | 0.083355 | 0.039053 | -0.083354 | -0.04037 | 5.5223e-07 | -0.0013171 | 0.0026933 | 0.0027099 | 0.0027099 | 0.98662 | -0.24318 | 0.98662 | -0.24313 | 1.2318
111 | -0.98993 | -0.4361 | 0.99034 | 0.42903 | 0.00041217 | -0.0070629 | 0.03165 | 0.031566 | 0.03165 | 0.98662 | -0.24318 | 0.98701 | -0.24599 | 14.3865
112 | 0.15265 | 0.073846 | -0.15265 | -0.073932 | 3.2983e-06 | -8.5437e-05 | 0.0049597 | 0.0049608 | 0.0049608 | 0.98701 | -0.24599 | 0.98699 | -0.24614 | 2.3623
113 | 0.15038 | 0.069101 | -0.15037 | -0.072153 | 4.1516e-06 | -0.0030528 | 0.004844 | 0.004882 | 0.004882 | 0.98625 | -0.24026 | 0.98622 | -0.24003 | 2.2191
114 | 0.14162 | 0.067102 | -0.14162 | -0.06859 | 1.8074e-06 | -0.0014877 | 0.0045871 | 0.0046059 | 0.0046059 | 0.98625 | -0.24026 | 0.98623 | -0.24015 | 2.0936
115 | 0.15037 | 0.072153 | -0.15037 | -0.072829 | 9.2783e-07 | -0.00067569 | 0.004882 | 0.0048906 | 0.0048906 | 0.98622 | -0.24003 | 0.98621 | -0.23998 | 2.223
116 | 0.051512 | 0.024864 | -0.051512 | -0.024948 | 3.6204e-07 | -8.4547e-05 | 0.001671 | 0.0016721 | 0.0016721 | 0.98814 | -0.2527 | 0.98813 | -0.25274 | 0.79623
117 | 0.098385 | 0.046529 | -0.098385 | -0.04765 | 6.52e-07 | -0.0011209 | 0.0031796 | 0.0031937 | 0.0031937 | 0.98809 | -0.25242 | 0.98809 | -0.25237 | 1.4517
118 | 0.14423 | 0.069609 | -0.14423 | -0.069853 | 3.0915e-07 | -0.00024394 | 0.0046902 | 0.0046933 | 0.0046933 | 0.98568 | -0.39554 | 0.98568 | -0.39553 | 2.1333
119 | 0.16188 | 0.07445 | -0.16188 | -0.077084 | 4.155e-06 | -0.0026336 | 0.0052183 | 0.005251 | 0.005251 | 0.98568 | -0.39554 | 0.98566 | -0.39534 | 2.3868
120 | 0.16188 | 0.077084 | -0.16187 | -0.078399 | 2.0946e-06 | -0.0013151 | 0.005251 | 0.0052677 | 0.0052677 | 0.98566 | -0.39534 | 0.98564 | -0.39523 | 2.3944

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.2716 | 3.1536

## res_load
| p_mw | q_mvar
0 | 0.16318 | 0.079031
1 | 0.15975 | 0.077369
2 | 0.14771 | 0.071541
3 | 0.14688 | 0.071136
4 | 0.16314 | 0.079013
5 | 0.13904 | 0.067338
6 | 0.08484 | 0.04109
7 | 0.087356 | 0.042308
8 | 0.14439 | 0.069932
9 | 0.16411 | 0.079481
10 | 0.14469 | 0.070074
11 | 0.1022 | 0.049498
12 | 0.14566 | 0.070544
13 | 0.075002 | 0.036325
14 | 0.11486 | 0.055629
15 | 0.25636 | 0.12416
16 | 0.15171 | 0.073479
17 | 0.050248 | 0.024336
18 | 0.14483 | 0.070143
19 | 0.10029 | 0.048574
20 | 0.10041 | 0.04863
21 | 0.073798 | 0.035742
22 | 0.1613 | 0.07812
23 | 0.13578 | 0.06576
24 | 0.10715 | 0.051894
25 | 0.14748 | 0.071429
26 | 0.094628 | 0.04583
27 | 0.085519 | 0.041419
28 | 0.068966 | 0.033402
29 | 0.14904 | 0.072184
30 | 0.15783 | 0.076441
31 | 0.12729 | 0.06165
32 | 0.12733 | 0.061668
33 | 0.14155 | 0.068557
34 | 0.11007 | 0.053307
35 | 0.069548 | 0.033684
36 | 0.16164 | 0.078284
37 | 0.15646 | 0.075777
38 | 0.15133 | 0.073291
39 | 0.10225 | 0.049521
40 | 0.071887 | 0.034817
41 | 0.053411 | 0.025868
42 | 0.13091 | 0.063403
43 | 0.15318 | 0.074189
44 | 0.16058 | 0.07777
45 | 0.079622 | 0.038563
46 | 0.16371 | 0.079286
47 | 0.11581 | 0.056091
48 | 0.08947 | 0.043332
49 | 0.15265 | 0.073932
50 | 0.083354 | 0.04037
51 | 0.14162 | 0.06859
52 | 0.15037 | 0.072829
53 | 0.081425 | 0.039436
54 | 0.051512 | 0.024948
55 | 0.098385 | 0.04765
56 | 0.14423 | 0.069853
57 | 0.16187 | 0.078399

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1