## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_126_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_126_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_126_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_126_0_node_19 | 20 | n |  | TRUE
4 | bus_MV_126_0_node_20 | 20 | n |  | TRUE
5 | bus_MV_126_0_node_22 | 20 | n |  | TRUE
6 | bus_MV_126_0_node_5 | 20 | n |  | TRUE
7 | bus_MV_126_0_node_6 | 20 | n |  | TRUE
8 | bus_MV_126_0_node_48 | 20 | n |  | TRUE
9 | bus_MV_126_0_node_70 | 20 | n |  | TRUE
10 | bus_MV_126_0_node_47 | 20 | n |  | TRUE
11 | bus_MV_126_0_node_66 | 20 | n |  | TRUE
12 | bus_MV_126_0_node_73 | 20 | n |  | TRUE
13 | bus_MV_126_0_node_4 | 20 | n |  | TRUE
14 | bus_MV_126_0_node_3 | 20 | n |  | TRUE
15 | bus_MV_126_0_node_59 | 20 | n |  | TRUE
16 | bus_MV_126_0_node_67 | 20 | n |  | TRUE
17 | bus_MV_126_0_node_58 | 20 | n |  | TRUE
18 | bus_MV_126_0_node_7 | 20 | n |  | TRUE
19 | bus_MV_126_0_node_8 | 20 | n |  | TRUE
20 | bus_MV_126_0_node_9 | 20 | n |  | TRUE
21 | bus_MV_126_0_node_10 | 20 | n |  | TRUE
22 | bus_MV_126_0_node_12 | 20 | n |  | TRUE
23 | bus_MV_126_0_node_16 | 20 | n |  | TRUE
24 | bus_MV_126_0_node_38 | 20 | n |  | TRUE
25 | bus_MV_126_0_node_11 | 20 | n |  | TRUE
26 | bus_MV_126_0_node_15 | 20 | n |  | TRUE
27 | bus_MV_126_0_node_41 | 20 | n |  | TRUE
28 | bus_MV_126_0_node_36 | 20 | n |  | TRUE
29 | bus_MV_126_0_node_13 | 20 | n |  | TRUE
30 | bus_MV_126_0_node_14 | 20 | n |  | TRUE
31 | bus_MV_126_0_node_44 | 20 | n |  | TRUE
32 | bus_MV_126_0_node_42 | 20 | n |  | TRUE
33 | bus_MV_126_0_node_40 | 20 | n |  | TRUE
34 | bus_MV_126_0_node_18 | 20 | n |  | TRUE
35 | bus_MV_126_0_node_71 | 20 | n |  | TRUE
36 | bus_MV_126_0_node_17 | 20 | n |  | TRUE
37 | bus_MV_126_0_node_24 | 20 | n |  | TRUE
38 | bus_MV_126_0_node_72 | 20 | n |  | TRUE
39 | bus_MV_126_0_node_43 | 20 | n |  | TRUE
40 | bus_MV_126_0_node_37 | 20 | n |  | TRUE
41 | bus_MV_126_0_node_74 | 20 | n |  | TRUE
42 | bus_MV_126_0_node_31 | 20 | n |  | TRUE
43 | bus_MV_126_0_node_21 | 20 | n |  | TRUE
44 | bus_MV_126_0_node_26 | 20 | n |  | TRUE
45 | bus_MV_126_0_node_23 | 20 | n |  | TRUE
46 | bus_MV_126_0_node_25 | 20 | n |  | TRUE
47 | bus_MV_126_0_node_61 | 20 | n |  | TRUE
48 | bus_MV_126_0_node_60 | 20 | n |  | TRUE
49 | bus_MV_126_0_node_27 | 20 | n |  | TRUE
50 | bus_MV_126_0_node_28 | 20 | n |  | TRUE
51 | bus_MV_126_0_node_29 | 20 | n |  | TRUE
52 | bus_MV_126_0_node_30 | 20 | n |  | TRUE
53 | bus_MV_126_0_node_33 | 20 | n |  | TRUE
54 | bus_MV_126_0_node_32 | 20 | n |  | TRUE
55 | bus_MV_126_0_node_34 | 20 | n |  | TRUE
56 | bus_MV_126_0_node_35 | 20 | n |  | TRUE
57 | bus_MV_126_0_node_39 | 20 | n |  | TRUE
58 | bus_MV_126_0_node_69 | 20 | n |  | TRUE
59 | bus_MV_126_0_node_52 | 20 | n |  | TRUE
60 | bus_MV_126_0_node_45 | 20 | n |  | TRUE
61 | bus_MV_126_0_node_46 | 20 | n |  | TRUE
62 | bus_MV_126_0_node_62 | 20 | n |  | TRUE
63 | bus_MV_126_0_node_49 | 20 | n |  | TRUE
64 | bus_MV_126_0_node_50 | 20 | n |  | TRUE
65 | bus_MV_126_0_node_51 | 20 | n |  | TRUE
66 | bus_MV_126_0_node_64 | 20 | n |  | TRUE
67 | bus_MV_126_0_node_65 | 20 | n |  | TRUE
68 | bus_MV_126_0_node_63 | 20 | n |  | TRUE
69 | bus_MV_126_0_node_53 | 20 | n |  | TRUE
70 | bus_MV_126_0_node_54 | 20 | n |  | TRUE
71 | bus_MV_126_0_node_55 | 20 | n |  | TRUE
72 | bus_MV_126_0_node_56 | 20 | n |  | TRUE
73 | bus_MV_126_0_node_57 | 20 | n |  | TRUE
74 | bus_MV_126_0_node_68 | 20 | n |  | TRUE
75 | bus_HV_126_0_node_36 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_126_0_load_0 | 0 | 0.051098 | 0.024748 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_126_0_load_19 | 3 | 0.097259 | 0.047105 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_126_0_load_22 | 5 | 0.16049 | 0.077729 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_126_0_load_6 | 7 | 0.14852 | 0.07193 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_126_0_load_48 | 8 | 0.055853 | 0.027051 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_126_0_load_73 | 12 | 0.14729 | 0.071338 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_126_0_load_3 | 14 | 0.068801 | 0.033322 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_126_0_load_59 | 15 | 0.21461 | 0.10394 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_126_0_load_67 | 16 | 0.154 | 0.074586 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_126_0_load_58 | 17 | 0.083953 | 0.04066 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_126_0_load_7 | 18 | 0.13301 | 0.064419 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_126_0_load_38 | 24 | 0.09767 | 0.047304 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_126_0_load_41 | 27 | 0.088265 | 0.042749 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_126_0_load_36 | 28 | 0.072285 | 0.035009 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_126_0_load_44 | 31 | 0.15399 | 0.074581 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_126_0_load_42 | 32 | 0.1399 | 0.067759 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_126_0_load_40 | 33 | 0.065939 | 0.031936 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_126_0_load_71 | 35 | 0.12003 | 0.058134 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_126_0_load_72 | 38 | 0.074295 | 0.035983 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_126_0_load_43 | 39 | 0.12403 | 0.060073 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_126_0_load_74 | 41 | 0.054822 | 0.026552 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_126_0_load_31 | 42 | 0.0764 | 0.037002 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_126_0_load_23 | 45 | 0.068666 | 0.033256 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_126_0_load_61 | 47 | 0.15243 | 0.073824 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_126_0_load_60 | 48 | 0.20863 | 0.10104 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_126_0_load_27 | 49 | 0.14957 | 0.072441 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_126_0_load_33 | 53 | 0.1223 | 0.059233 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_126_0_load_39 | 57 | 0.085728 | 0.04152 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_126_0_load_69 | 58 | 0.15102 | 0.073143 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_126_0_load_52 | 59 | 0.10085 | 0.048843 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_126_0_load_45 | 60 | 0.073916 | 0.035799 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_126_0_load_62 | 62 | 0.083595 | 0.040487 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_126_0_load_49 | 63 | 0.12697 | 0.061492 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_126_0_load_65 | 67 | 0.12546 | 0.060762 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_126_0_load_63 | 68 | 0.15611 | 0.075609 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_126_0_load_55 | 71 | 0.07444 | 0.036053 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_126_0_load_68 | 74 | 0.10016 | 0.048511 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_126_0_line_0 |  | 0 | 1 | 0.090058 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_126_0_line_1 |  | 1 | 2 | 1.1827 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_126_0_line_2 |  | 2 | 6 | 0.15655 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_126_0_line_3 |  | 2 | 7 | 0.039756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_126_0_line_4 |  | 3 | 4 | 0.13534 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
5 | MV_126_0_line_5 |  | 3 | 5 | 0.23393 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
6 | MV_126_0_line_6 |  | 4 | 43 | 0.10773 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
7 | MV_126_0_line_7 |  | 5 | 26 | 0.009897 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
8 | MV_126_0_line_8 |  | 6 | 11 | 0.13951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_126_0_line_9 |  | 6 | 12 | 0.052233 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_126_0_line_10 |  | 6 | 13 | 0.37303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_126_0_line_11 |  | 8 | 9 | 5.2998 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_126_0_line_12 |  | 8 | 10 | 2.4667 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_126_0_line_13 |  | 9 | 58 | 0.14364 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_126_0_line_14 |  | 10 | 60 | 0.19721 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_126_0_line_15 |  | 11 | 16 | 0.030933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_126_0_line_16 |  | 13 | 14 | 0.17122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_126_0_line_17 |  | 15 | 16 | 6.6328 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
18 | MV_126_0_line_18 |  | 15 | 17 | 0.26713 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
19 | MV_126_0_line_19 |  | 17 | 46 | 0.041076 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
20 | MV_126_0_line_20 |  | 18 | 19 | 0.027702 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
21 | MV_126_0_line_21 |  | 18 | 20 | 0.060119 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
22 | MV_126_0_line_22 |  | 19 | 21 | 0.26777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_126_0_line_23 |  | 19 | 22 | 0.35118 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
24 | MV_126_0_line_24 |  | 20 | 23 | 0.23149 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
25 | MV_126_0_line_25 |  | 21 | 24 | 0.038151 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_126_0_line_26 |  | 22 | 29 | 0.20647 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_126_0_line_27 |  | 22 | 30 | 0.18591 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_126_0_line_28 |  | 22 | 31 | 0.055299 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
29 | MV_126_0_line_29 |  | 23 | 34 | 0.39628 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
30 | MV_126_0_line_30 |  | 23 | 35 | 0.01998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_126_0_line_31 |  | 25 | 26 | 0.63332 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
32 | MV_126_0_line_32 |  | 25 | 27 | 0.004778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_126_0_line_33 |  | 25 | 28 | 2.0946 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
34 | MV_126_0_line_34 |  | 28 | 40 | 0.014155 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
35 | MV_126_0_line_35 |  | 29 | 32 | 0.03024 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_126_0_line_36 |  | 30 | 33 | 0.11312 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_126_0_line_37 |  | 31 | 43 | 0.001631 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
38 | MV_126_0_line_38 |  | 34 | 39 | 0.096548 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_126_0_line_39 |  | 34 | 36 | 0.31794 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
40 | MV_126_0_line_40 |  | 36 | 37 | 0.34367 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
41 | MV_126_0_line_41 |  | 36 | 38 | 0.018024 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_126_0_line_42 |  | 37 | 44 | 0.27288 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
43 | MV_126_0_line_43 |  | 37 | 45 | 0.095903 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_126_0_line_44 |  | 40 | 41 | 3.8565 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_126_0_line_45 |  | 40 | 42 | 4.5551 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
46 | MV_126_0_line_46 |  | 41 | 59 | 2.7008 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_126_0_line_47 |  | 42 | 51 | 0.025037 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
48 | MV_126_0_line_48 |  | 44 | 47 | 0.14926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_126_0_line_49 |  | 44 | 46 | 0.23442 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
50 | MV_126_0_line_50 |  | 47 | 48 | 0.10203 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_126_0_line_51 |  | 49 | 50 | 0.004663 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
52 | MV_126_0_line_52 |  | 49 | 51 | 0.021876 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
53 | MV_126_0_line_53 |  | 50 | 52 | 0.026966 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
54 | MV_126_0_line_54 |  | 52 | 53 | 0.091581 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
55 | MV_126_0_line_55 |  | 53 | 54 | 0.006819 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
56 | MV_126_0_line_56 |  | 54 | 55 | 0.24497 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_126_0_line_57 |  | 54 | 56 | 0.76767 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
58 | MV_126_0_line_58 |  | 55 | 57 | 0.062221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_126_0_line_59 |  | 56 | 58 | 0.24956 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
60 | MV_126_0_line_60 |  | 59 | 69 | 0.010106 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_126_0_line_61 |  | 60 | 61 | 0.12676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_126_0_line_62 |  | 61 | 62 | 2.77 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_126_0_line_63 |  | 62 | 68 | 0.11357 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_126_0_line_64 |  | 63 | 64 | 0.14992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_126_0_line_65 |  | 64 | 65 | 0.013076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_126_0_line_66 |  | 65 | 66 | 0.012161 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_126_0_line_67 |  | 65 | 67 | 0.019349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_126_0_line_68 |  | 66 | 68 | 0.04062 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_126_0_line_69 |  | 69 | 70 | 0.25011 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_126_0_line_70 |  | 70 | 71 | 0.021995 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_126_0_line_71 |  | 71 | 72 | 0.14534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_126_0_line_72 |  | 72 | 73 | 0.26767 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_126_0_line_73 |  | 73 | 74 | 0.080014 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_126_0_trafo_36 | 25 MVA 110/20 kV | 75 | 28 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2643809.2855 | 1191656.3438
1 | 2643734.7911 | 1191706.9495
2 | 2644048.3962 | 1192516.9053
3 | 2638026.8674 | 1195750.4213
4 | 2637916.1648 | 1195828.6845
5 | 2637795.4163 | 1195716.4594
6 | 2644006.152 | 1192667.2444
7 | 2644084.3724 | 1192501.6838
8 | 2637369.6982 | 1184023.7376
9 | 2634591.6144 | 1188537.0524
10 | 2635028.0713 | 1184799.3663
11 | 2643979.1605 | 1192797.0179
12 | 2644041.2427 | 1192705.9349
13 | 2644259.0561 | 1192744.3285
14 | 2644337.7174 | 1192686.7674
15 | 2638644.136 | 1196759.9014
16 | 2643985.1289 | 1192827.0672
17 | 2638522.5023 | 1196831.7162
18 | 2637868.3157 | 1196245.0441
19 | 2637860.096 | 1196218.5887
20 | 2637884.594 | 1196302.9123
21 | 2637939.9172 | 1196033.1474
22 | 2637779.7281 | 1195920.7171
23 | 2637753.4688 | 1196361.3606
24 | 2637977.8774 | 1196028.3633
25 | 2637527.7975 | 1195287.7407
26 | 2637790.3964 | 1195707.923
27 | 2637532.07 | 1195285.5774
28 | 2635871.2927 | 1194005.8386
29 | 2637684.689 | 1196070.0114
30 | 2637641.4965 | 1195903.9261
31 | 2637824.8994 | 1195888.8181
32 | 2637659.9725 | 1196052.4907
33 | 2637616.5322 | 1195793.5975
34 | 2637962.6214 | 1196592.2437
35 | 2637751.0268 | 1196341.5343
36 | 2638190.8227 | 1196762.3112
37 | 2638366.1549 | 1196968.4905
38 | 2638208.5971 | 1196759.3229
39 | 2637866.2034 | 1196587.2414
40 | 2635858.0926 | 1194000.7291
41 | 2632686.7496 | 1196195.0895
42 | 2635182.0512 | 1189496.0253
43 | 2637826.2309 | 1195887.8704
44 | 2638380.8611 | 1196757.4238
45 | 2638446.3711 | 1196915.9282
46 | 2638561.6099 | 1196844.2778
47 | 2638492.6736 | 1196768.9953
48 | 2638450.6452 | 1196702.6762
49 | 2635202.3686 | 1189469.2641
50 | 2635207.0305 | 1189468.8913
51 | 2635180.5013 | 1189471.0367
52 | 2635204.7174 | 1189442.0299
53 | 2635197.8105 | 1189350.7291
54 | 2635197.4157 | 1189343.9231
55 | 2635352.044 | 1189210.4723
56 | 2634810.6463 | 1188861.1163
57 | 2635407.5092 | 1189187.1442
58 | 2634655.1842 | 1188665.8887
59 | 2633406.2382 | 1198798.3307
60 | 2634838.4907 | 1184840.1104
61 | 2634720.4072 | 1184885.1679
62 | 2632303.5809 | 1186238.5629
63 | 2632090.3365 | 1186266.7349
64 | 2632207.888 | 1186356.4904
65 | 2632220.2949 | 1186360.7259
66 | 2632231.9343 | 1186364.357
67 | 2632214.441 | 1186379.1685
68 | 2632263.3769 | 1186344.7823
69 | 2633411.8488 | 1198806.7111
70 | 2633348.0087 | 1198996.8375
71 | 2633369.9625 | 1198995.0588
72 | 2633396.6749 | 1199137.8864
73 | 2633660.289 | 1199153.3494
74 | 2633711.9095 | 1199214.4847
75 | 2635871.2927 | 1194005.8386

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98582 | -0.36487 | 0.051098 | 0.024748
1 | 0.98583 | -0.36481 | 0 | 0
2 | 0.9859 | -0.36448 | 0 | 0
3 | 0.9925 | -0.20366 | 0.097259 | 0.047105
4 | 0.99234 | -0.2059 | 0 | 0
5 | 0.99311 | -0.18599 | 0.16049 | 0.077729
6 | 0.98594 | -0.36456 | 0 | 0
7 | 0.98589 | -0.36441 | 0.14852 | 0.07193
8 | 0.9865 | -0.23655 | 0.055853 | 0.027051
9 | 0.99289 | -0.18567 | 0 | 0
10 | 0.98379 | -0.25775 | 0 | 0
11 | 0.98601 | -0.36485 | 0 | 0
12 | 0.98592 | -0.36465 | 0.14729 | 0.071338
13 | 0.98591 | -0.36445 | 0 | 0
14 | 0.98589 | -0.36432 | 0.068801 | 0.033322
15 | 0.99028 | -0.23731 | 0.21461 | 0.10394
16 | 0.98603 | -0.36491 | 0.154 | 0.074586
17 | 0.99039 | -0.23573 | 0.083953 | 0.04066
18 | 0.99172 | -0.21676 | 0.13301 | 0.064419
19 | 0.99174 | -0.21639 | 0 | 0
20 | 0.99167 | -0.2175 | 0 | 0
21 | 0.99171 | -0.21615 | 0 | 0
22 | 0.99208 | -0.21146 | 0 | 0
23 | 0.99147 | -0.22035 | 0 | 0
24 | 0.9917 | -0.2161 | 0.09767 | 0.047304
25 | 0.99394 | -0.17421 | 0 | 0
26 | 0.99312 | -0.18582 | 0 | 0
27 | 0.99394 | -0.1742 | 0.088265 | 0.042749
28 | 1 | 0 | -4.1392 | -1.7248
29 | 0.99205 | -0.21115 | 0 | 0
30 | 0.99207 | -0.21134 | 0 | 0
31 | 0.99221 | -0.20771 | 0.15399 | 0.074581
32 | 0.99204 | -0.2111 | 0.1399 | 0.067759
33 | 0.99205 | -0.21143 | 0.065939 | 0.031936
34 | 0.99116 | -0.22484 | 0 | 0
35 | 0.99147 | -0.22032 | 0.12003 | 0.058134
36 | 0.99093 | -0.22814 | 0 | 0
37 | 0.99069 | -0.23146 | 0 | 0
38 | 0.99092 | -0.22815 | 0.074295 | 0.035983
39 | 0.99113 | -0.22499 | 0.12403 | 0.060073
40 | 0.99999 | -0.0001532 | 0 | 0
41 | 0.99759 | -0.022839 | 0.054822 | 0.026552
42 | 0.99365 | -0.1751 | 0.0764 | 0.037002
43 | 0.99221 | -0.20768 | 0 | 0
44 | 0.99051 | -0.23392 | 0 | 0
45 | 0.99068 | -0.23139 | 0.068666 | 0.033256
46 | 0.99041 | -0.23547 | 0 | 0
47 | 0.99044 | -0.2333 | 0.15243 | 0.073824
48 | 0.99042 | -0.23305 | 0.20863 | 0.10104
49 | 0.99362 | -0.17547 | 0.14957 | 0.072441
50 | 0.99362 | -0.17551 | 0 | 0
51 | 0.99363 | -0.1753 | 0 | 0
52 | 0.9936 | -0.1757 | 0 | 0
53 | 0.99355 | -0.17634 | 0.1223 | 0.059233
54 | 0.99355 | -0.17639 | 0 | 0
55 | 0.99353 | -0.1762 | 0 | 0
56 | 0.99323 | -0.18051 | 0 | 0
57 | 0.99352 | -0.17614 | 0.085728 | 0.04152
58 | 0.99301 | -0.18653 | 0.15102 | 0.073143
59 | 0.99619 | -0.036086 | 0.10085 | 0.048843
60 | 0.98365 | -0.25655 | 0.073916 | 0.035799
61 | 0.98357 | -0.25586 | 0 | 0
62 | 0.9809 | -0.27467 | 0.083595 | 0.040487
63 | 0.98076 | -0.27492 | 0.12697 | 0.061492
64 | 0.98079 | -0.27514 | 0 | 0
65 | 0.98079 | -0.27516 | 0 | 0
66 | 0.98079 | -0.2752 | 0 | 0
67 | 0.98078 | -0.27513 | 0.12546 | 0.060762
68 | 0.98081 | -0.27531 | 0.15611 | 0.075609
69 | 0.99619 | -0.036075 | 0 | 0
70 | 0.99614 | -0.035763 | 0 | 0
71 | 0.99613 | -0.035731 | 0.07444 | 0.036053
72 | 0.99611 | -0.035632 | 0 | 0
73 | 0.99608 | -0.035365 | 0 | 0
74 | 0.99606 | -0.035463 | 0.10016 | 0.048511
75 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.051098 | -0.024748 | 0.051098 | 0.024644 | 4.4315e-07 | -0.00010421 | 0.0016625 | 0.0016612 | 0.0016625 | 0.98582 | -0.36487 | 0.98583 | -0.36481 | 0.79168
1 | -0.051098 | -0.024644 | 0.051102 | -0.0028017 | 3.6965e-06 | -0.027445 | 0.0016612 | 0.0014985 | 0.0016612 | 0.98583 | -0.36481 | 0.9859 | -0.36448 | 0.75509
2 | -0.19962 | -0.068206 | 0.19963 | 0.064575 | 7.9298e-06 | -0.003631 | 0.0061767 | 0.0061431 | 0.0061767 | 0.9859 | -0.36448 | 0.98594 | -0.36456 | 2.8076
3 | 0.14852 | 0.071008 | -0.14852 | -0.07193 | 1.2361e-06 | -0.00092227 | 0.0048201 | 0.0048319 | 0.0048319 | 0.9859 | -0.36448 | 0.98589 | -0.36441 | 2.1963
4 | 2.2121 | 0.89653 | -2.2117 | -0.90088 | 0.00031527 | -0.0043436 | 0.069423 | 0.069473 | 0.069473 | 0.9925 | -0.20366 | 0.99234 | -0.2059 | 19.1914
5 | -2.3093 | -0.94364 | 2.3104 | 0.94464 | 0.0011306 | 0.0010034 | 0.072559 | 0.072556 | 0.072559 | 0.9925 | -0.20366 | 0.99311 | -0.18599 | 20.7313
6 | 2.2117 | 0.90088 | -2.2115 | -0.90433 | 0.00025127 | -0.0034562 | 0.069473 | 0.069513 | 0.069513 | 0.99234 | -0.2059 | 0.99221 | -0.20768 | 19.2024
7 | -2.4709 | -1.0224 | 2.471 | 1.0221 | 2.8881e-05 | -0.00031388 | 0.07773 | 0.077726 | 0.07773 | 0.99311 | -0.18599 | 0.99312 | -0.18582 | 21.4724
8 | -0.41573 | -0.15655 | 0.41576 | 0.15332 | 3.1428e-05 | -0.0032289 | 0.013007 | 0.012974 | 0.013007 | 0.98594 | -0.36456 | 0.98601 | -0.36485 | 5.9121
9 | 0.1473 | 0.071279 | -0.14729 | -0.071338 | 2.1366e-06 | -5.9276e-05 | 0.0047912 | 0.0047919 | 0.0047919 | 0.98594 | -0.36456 | 0.98592 | -0.36465 | 2.2819
10 | 0.068805 | 0.020692 | -0.068803 | -0.029349 | 2.2883e-06 | -0.0086568 | 0.0021037 | 0.0021902 | 0.0021902 | 0.98594 | -0.36456 | 0.98591 | -0.36445 | 0.99553
11 | -0.62481 | -0.28391 | 0.62861 | 0.28009 | 0.0037943 | -0.0038207 | 0.020083 | 0.020008 | 0.020083 | 0.9865 | -0.23655 | 0.99289 | -0.18567 | 9.5631
12 | 0.56896 | 0.25686 | -0.56749 | -0.2588 | 0.0014693 | -0.0019376 | 0.018267 | 0.018302 | 0.018302 | 0.9865 | -0.23655 | 0.98379 | -0.25775 | 8.7151
13 | -0.62861 | -0.28009 | 0.62868 | 0.27673 | 7.6613e-05 | -0.0033585 | 0.020008 | 0.019969 | 0.020008 | 0.99289 | -0.18567 | 0.99301 | -0.18653 | 9.0947
14 | 0.56749 | 0.2588 | -0.5674 | -0.26333 | 8.8453e-05 | -0.0045303 | 0.018302 | 0.018358 | 0.018358 | 0.98379 | -0.25775 | 0.98365 | -0.25655 | 8.3444
15 | -0.41576 | -0.15332 | 0.41577 | 0.1526 | 6.9466e-06 | -0.00071599 | 0.012974 | 0.012966 | 0.012974 | 0.98601 | -0.36485 | 0.98603 | -0.36491 | 5.897
16 | 0.068803 | 0.029349 | -0.068801 | -0.033322 | 1.1201e-06 | -0.0039732 | 0.0021902 | 0.0022384 | 0.0022384 | 0.98591 | -0.36445 | 0.98589 | -0.36432 | 1.0174
17 | 0.57172 | 0.22128 | -0.56977 | -0.22719 | 0.0019541 | -0.0059036 | 0.017871 | 0.017958 | 0.017958 | 0.99028 | -0.23731 | 0.98603 | -0.36491 | 5.1309
18 | -0.78633 | -0.32522 | 0.78641 | 0.31629 | 7.9072e-05 | -0.0089305 | 0.024805 | 0.024706 | 0.024805 | 0.99028 | -0.23731 | 0.99039 | -0.23573 | 6.8523
19 | -0.87036 | -0.35695 | 0.87038 | 0.35558 | 1.4908e-05 | -0.0013714 | 0.02742 | 0.027404 | 0.02742 | 0.99039 | -0.23573 | 0.99041 | -0.23547 | 7.5745
20 | -1.7531 | -0.71222 | 1.7532 | 0.71131 | 4.0588e-05 | -0.0009052 | 0.055082 | 0.055072 | 0.055082 | 0.99172 | -0.21676 | 0.99174 | -0.21639 | 15.216
21 | 1.6201 | 0.6478 | -1.6201 | -0.64977 | 7.4938e-05 | -0.0019739 | 0.05079 | 0.050812 | 0.050812 | 0.99172 | -0.21676 | 0.99167 | -0.2175 | 14.0365
22 | 0.097674 | 0.040121 | -0.097671 | -0.046408 | 3.4565e-06 | -0.006287 | 0.0030736 | 0.0031477 | 0.0031477 | 0.99174 | -0.21639 | 0.99171 | -0.21615 | 1.4308
23 | -1.8509 | -0.75143 | 1.8514 | 0.74 | 0.0005722 | -0.011438 | 0.058145 | 0.058016 | 0.058145 | 0.99174 | -0.21639 | 0.99208 | -0.21146 | 16.0622
24 | 1.6201 | 0.64977 | -1.6198 | -0.65737 | 0.00028916 | -0.0075982 | 0.050812 | 0.050897 | 0.050897 | 0.99167 | -0.2175 | 0.99147 | -0.22035 | 14.0599
25 | 0.097671 | 0.046408 | -0.09767 | -0.047304 | 5.0643e-07 | -0.0008957 | 0.0031477 | 0.003159 | 0.003159 | 0.99171 | -0.21615 | 0.9917 | -0.2161 | 1.4359
26 | 0.13991 | 0.062198 | -0.13991 | -0.067049 | 5.5429e-06 | -0.00485 | 0.0044553 | 0.0045145 | 0.0045145 | 0.99208 | -0.21146 | 0.99205 | -0.21115 | 2.052
27 | 0.065941 | 0.027435 | -0.06594 | -0.031803 | 1.0981e-06 | -0.0043684 | 0.0020782 | 0.0021303 | 0.0021303 | 0.99208 | -0.21146 | 0.99207 | -0.21134 | 0.9683
28 | -2.0573 | -0.82963 | 2.0575 | 0.8298 | 0.0002115 | 0.0001735 | 0.064547 | 0.064546 | 0.064547 | 0.99208 | -0.21146 | 0.99221 | -0.20771 | 18.4419
29 | 1.4997 | 0.59971 | -1.4993 | -0.61276 | 0.00042463 | -0.013051 | 0.047028 | 0.047174 | 0.047174 | 0.99147 | -0.22035 | 0.99116 | -0.22484 | 13.0314
30 | 0.12003 | 0.057665 | -0.12003 | -0.058134 | 4.0159e-07 | -0.00046882 | 0.0038772 | 0.0038832 | 0.0038832 | 0.99147 | -0.22035 | 0.99147 | -0.22032 | 1.7651
31 | 2.4728 | 1.0019 | -2.471 | -1.0221 | 0.0018424 | -0.020108 | 0.07749 | 0.077726 | 0.077726 | 0.99394 | -0.17421 | 0.99312 | -0.18582 | 21.4714
32 | 0.088265 | 0.042636 | -0.088265 | -0.042749 | 5.1731e-08 | -0.00011269 | 0.0028469 | 0.0028484 | 0.0028484 | 0.99394 | -0.17421 | 0.99394 | -0.1742 | 1.2947
33 | -2.5611 | -1.0446 | 2.5735 | 1.0562 | 0.012404 | 0.011571 | 0.080331 | 0.080303 | 0.080331 | 0.99394 | -0.17421 | 1 | 0 | 22.9518
34 | 1.5517 | 0.6581 | -1.5517 | -0.65857 | 1.6187e-05 | -0.00047382 | 0.048656 | 0.048662 | 0.048662 | 1 | 0 | 0.99999 | -0.0001532 | 13.4425
35 | 0.13991 | 0.067049 | -0.1399 | -0.067759 | 8.244e-07 | -0.00071033 | 0.0045145 | 0.0045234 | 0.0045234 | 0.99205 | -0.21115 | 0.99204 | -0.2111 | 2.0561
36 | 0.06594 | 0.031803 | -0.065939 | -0.031936 | 9.1532e-07 | -0.00013233 | 0.0021303 | 0.0021319 | 0.0021319 | 0.99207 | -0.21134 | 0.99205 | -0.21143 | 1.0152
37 | -2.2115 | -0.90438 | 2.2115 | 0.90433 | 3.8066e-06 | -5.2319e-05 | 0.069513 | 0.069513 | 0.069513 | 0.99221 | -0.20771 | 0.99221 | -0.20768 | 19.2026
38 | 0.12404 | 0.059961 | -0.12403 | -0.060073 | 2.7706e-06 | -0.00011149 | 0.0040126 | 0.004014 | 0.004014 | 0.99116 | -0.22484 | 0.99113 | -0.22499 | 1.9114
39 | 1.3753 | 0.5528 | -1.375 | -0.5633 | 0.00028696 | -0.010504 | 0.04317 | 0.043287 | 0.043287 | 0.99116 | -0.22484 | 0.99093 | -0.22814 | 11.9577
40 | 1.3007 | 0.52734 | -1.3004 | -0.53871 | 0.00027837 | -0.011372 | 0.040887 | 0.041015 | 0.041015 | 0.99093 | -0.22814 | 0.99069 | -0.23146 | 11.3302
41 | 0.074295 | 0.035962 | -0.074295 | -0.035983 | 1.857e-07 | -2.1012e-05 | 0.0024046 | 0.0024048 | 0.0024048 | 0.99093 | -0.22814 | 0.99092 | -0.22815 | 1.1452
42 | 1.2317 | 0.5077 | -1.2316 | -0.51674 | 0.00019916 | -0.0090417 | 0.038821 | 0.038924 | 0.038924 | 0.99069 | -0.23146 | 0.99051 | -0.23392 | 10.7524
43 | 0.068666 | 0.031009 | -0.068666 | -0.033256 | 6.248e-07 | -0.0022472 | 0.0021954 | 0.0022232 | 0.0022232 | 0.99069 | -0.23146 | 0.99068 | -0.23139 | 1.0105
44 | 0.33139 | 0.13629 | -0.33065 | -0.14042 | 0.00073882 | -0.00413 | 0.010344 | 0.010395 | 0.010395 | 0.99999 | -0.0001532 | 0.99759 | -0.022839 | 4.9501
45 | 1.2203 | 0.52228 | -1.2142 | -0.52093 | 0.0061504 | 0.0013469 | 0.038319 | 0.038384 | 0.038384 | 0.99999 | -0.0001532 | 0.99365 | -0.1751 | 10.9667
46 | 0.27583 | 0.11387 | -0.27547 | -0.11685 | 0.0003603 | -0.0029786 | 0.0086351 | 0.0086709 | 0.0086709 | 0.99759 | -0.022839 | 0.99619 | -0.036086 | 4.129
47 | 1.1378 | 0.48393 | -1.1377 | -0.48477 | 1.5607e-05 | -0.00083668 | 0.03592 | 0.03593 | 0.03593 | 0.99365 | -0.1751 | 0.99363 | -0.1753 | 9.9253
48 | 0.36109 | 0.16899 | -0.36106 | -0.17248 | 2.7002e-05 | -0.0034883 | 0.011619 | 0.011663 | 0.011663 | 0.99051 | -0.23392 | 0.99044 | -0.2333 | 5.3012
49 | 0.87046 | 0.34775 | -0.87038 | -0.35558 | 8.4765e-05 | -0.0078279 | 0.027318 | 0.027404 | 0.027404 | 0.99051 | -0.23392 | 0.99041 | -0.23547 | 7.5703
50 | 0.20864 | 0.098656 | -0.20863 | -0.10104 | 6.1904e-06 | -0.0023879 | 0.0067265 | 0.0067566 | 0.0067566 | 0.99044 | -0.2333 | 0.99042 | -0.23305 | 3.0712
51 | 0.98816 | 0.41306 | -0.98816 | -0.41321 | 2.1807e-06 | -0.00015635 | 0.031116 | 0.031118 | 0.031118 | 0.99362 | -0.17547 | 0.99362 | -0.17551 | 8.5961
52 | -1.1377 | -0.4855 | 1.1377 | 0.48477 | 1.3644e-05 | -0.00073103 | 0.035938 | 0.03593 | 0.035938 | 0.99362 | -0.17547 | 0.99363 | -0.1753 | 9.9277
53 | 0.98816 | 0.41321 | -0.98815 | -0.41412 | 1.2616e-05 | -0.00090415 | 0.031118 | 0.031128 | 0.031128 | 0.99362 | -0.17551 | 0.9936 | -0.1757 | 8.599
54 | 0.98815 | 0.41412 | -0.9881 | -0.41719 | 4.2909e-05 | -0.0030704 | 0.031128 | 0.031163 | 0.031163 | 0.9936 | -0.1757 | 0.99355 | -0.17634 | 8.6086
55 | 0.86581 | 0.35796 | -0.8658 | -0.35819 | 2.4407e-06 | -0.00022915 | 0.027221 | 0.027224 | 0.027224 | 0.99355 | -0.17634 | 0.99355 | -0.17639 | 7.5203
56 | 0.085731 | 0.034281 | -0.085728 | -0.040054 | 2.4105e-06 | -0.005773 | 0.0026827 | 0.0027494 | 0.0027494 | 0.99355 | -0.17639 | 0.99353 | -0.1762 | 1.2497
57 | 0.78007 | 0.32391 | -0.77985 | -0.34973 | 0.000226 | -0.025825 | 0.024541 | 0.02484 | 0.02484 | 0.99355 | -0.17639 | 0.99323 | -0.18051 | 6.862
58 | 0.085728 | 0.040054 | -0.085728 | -0.04152 | 6.3205e-07 | -0.0014662 | 0.0027494 | 0.0027677 | 0.0027677 | 0.99353 | -0.1762 | 0.99352 | -0.17614 | 1.258
59 | 0.77985 | 0.34973 | -0.7797 | -0.34988 | 0.00014139 | -0.00014759 | 0.02484 | 0.024844 | 0.024844 | 0.99323 | -0.18051 | 0.99301 | -0.18653 | 7.0983
60 | 0.17462 | 0.068004 | -0.17462 | -0.068243 | 3.9802e-07 | -0.00023934 | 0.0054303 | 0.0054328 | 0.0054328 | 0.99619 | -0.036086 | 0.99619 | -0.036075 | 2.4695
61 | 0.49348 | 0.22753 | -0.49344 | -0.23045 | 4.3136e-05 | -0.0029153 | 0.015948 | 0.015984 | 0.015984 | 0.98365 | -0.25655 | 0.98357 | -0.25586 | 7.2654
62 | 0.49344 | 0.23045 | -0.49218 | -0.23285 | 0.001264 | -0.0023986 | 0.015984 | 0.016024 | 0.016024 | 0.98357 | -0.25586 | 0.9809 | -0.27467 | 7.6304
63 | 0.40858 | 0.19236 | -0.40855 | -0.19247 | 3.5747e-05 | -0.00010805 | 0.01329 | 0.013292 | 0.013292 | 0.9809 | -0.27467 | 0.98081 | -0.27531 | 6.3296
64 | -0.12697 | -0.061492 | 0.12697 | 0.05805 | 3.4146e-06 | -0.0034422 | 0.0041523 | 0.0041091 | 0.0041523 | 0.98076 | -0.27492 | 0.98079 | -0.27514 | 1.8874
65 | -0.12697 | -0.05805 | 0.12697 | 0.05775 | 2.9449e-07 | -0.00030024 | 0.0041091 | 0.0041055 | 0.0041091 | 0.98079 | -0.27514 | 0.98079 | -0.27516 | 1.8678
66 | -0.25243 | -0.11807 | 0.25243 | 0.11779 | 1.0918e-06 | -0.00027899 | 0.0082022 | 0.0081988 | 0.0082022 | 0.98079 | -0.27516 | 0.98079 | -0.2752 | 3.7283
67 | 0.12546 | 0.060318 | -0.12546 | -0.060762 | 4.3424e-07 | -0.00044428 | 0.0040972 | 0.0041029 | 0.0041029 | 0.98079 | -0.27516 | 0.98078 | -0.27513 | 1.865
68 | -0.25243 | -0.11779 | 0.25243 | 0.11686 | 3.64e-06 | -0.00093188 | 0.0081988 | 0.0081872 | 0.0081988 | 0.98079 | -0.2752 | 0.98081 | -0.27531 | 3.7267
69 | 0.17462 | 0.068243 | -0.17461 | -0.074166 | 9.9708e-06 | -0.0059229 | 0.0054328 | 0.0054976 | 0.0054976 | 0.99619 | -0.036075 | 0.99614 | -0.035763 | 2.4989
70 | 0.17461 | 0.074166 | -0.17461 | -0.074687 | 8.8844e-07 | -0.00052084 | 0.0054976 | 0.0055036 | 0.0055036 | 0.99614 | -0.035763 | 0.99613 | -0.035731 | 2.5016
71 | 0.10017 | 0.038634 | -0.10017 | -0.042077 | 1.9004e-06 | -0.0034428 | 0.0031113 | 0.0031486 | 0.0031486 | 0.99613 | -0.035731 | 0.99611 | -0.035632 | 1.4312
72 | 0.10017 | 0.042077 | -0.10016 | -0.048417 | 3.6256e-06 | -0.0063401 | 0.0031486 | 0.0032242 | 0.0032242 | 0.99611 | -0.035632 | 0.99608 | -0.035365 | 1.4655
73 | 0.10016 | 0.048417 | -0.10016 | -0.048511 | 1.4825e-06 | -9.3843e-05 | 0.0032242 | 0.0032254 | 0.0032254 | 0.99608 | -0.035365 | 0.99606 | -0.035463 | 1.5359

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 4.2115 | 1.7598

## res_load
| p_mw | q_mvar
0 | 0.051098 | 0.024748
1 | 0.097259 | 0.047105
2 | 0.16049 | 0.077729
3 | 0.14852 | 0.07193
4 | 0.055853 | 0.027051
5 | 0.14729 | 0.071338
6 | 0.068801 | 0.033322
7 | 0.21461 | 0.10394
8 | 0.154 | 0.074586
9 | 0.083953 | 0.04066
10 | 0.13301 | 0.064419
11 | 0.09767 | 0.047304
12 | 0.088265 | 0.042749
13 | 0.072285 | 0.035009
14 | 0.15399 | 0.074581
15 | 0.1399 | 0.067759
16 | 0.065939 | 0.031936
17 | 0.12003 | 0.058134
18 | 0.074295 | 0.035983
19 | 0.12403 | 0.060073
20 | 0.054822 | 0.026552
21 | 0.0764 | 0.037002
22 | 0.068666 | 0.033256
23 | 0.15243 | 0.073824
24 | 0.20863 | 0.10104
25 | 0.14957 | 0.072441
26 | 0.1223 | 0.059233
27 | 0.085728 | 0.04152
28 | 0.15102 | 0.073143
29 | 0.10085 | 0.048843
30 | 0.073916 | 0.035799
31 | 0.083595 | 0.040487
32 | 0.12697 | 0.061492
33 | 0.12546 | 0.060762
34 | 0.15611 | 0.075609
35 | 0.07444 | 0.036053
36 | 0.10016 | 0.048511

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1