## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_129_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_129_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_129_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_129_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_129_0_node_267 | 20 | n |  | TRUE
5 | bus_MV_129_0_node_210 | 20 | n |  | TRUE
6 | bus_MV_129_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_129_0_node_12 | 20 | n |  | TRUE
8 | bus_MV_129_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_129_0_node_5 | 20 | n |  | TRUE
10 | bus_MV_129_0_node_7 | 20 | n |  | TRUE
11 | bus_MV_129_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_129_0_node_9 | 20 | n |  | TRUE
13 | bus_MV_129_0_node_10 | 20 | n |  | TRUE
14 | bus_MV_129_0_node_11 | 20 | n |  | TRUE
15 | bus_MV_129_0_node_208 | 20 | n |  | TRUE
16 | bus_MV_129_0_node_13 | 20 | n |  | TRUE
17 | bus_MV_129_0_node_33 | 20 | n |  | TRUE
18 | bus_MV_129_0_node_15 | 20 | n |  | TRUE
19 | bus_MV_129_0_node_14 | 20 | n |  | TRUE
20 | bus_MV_129_0_node_65 | 20 | n |  | TRUE
21 | bus_MV_129_0_node_16 | 20 | n |  | TRUE
22 | bus_MV_129_0_node_247 | 20 | n |  | TRUE
23 | bus_MV_129_0_node_17 | 20 | n |  | TRUE
24 | bus_MV_129_0_node_18 | 20 | n |  | TRUE
25 | bus_MV_129_0_node_19 | 20 | n |  | TRUE
26 | bus_MV_129_0_node_20 | 20 | n |  | TRUE
27 | bus_MV_129_0_node_213 | 20 | n |  | TRUE
28 | bus_MV_129_0_node_32 | 20 | n |  | TRUE
29 | bus_MV_129_0_node_231 | 20 | n |  | TRUE
30 | bus_MV_129_0_node_34 | 20 | n |  | TRUE
31 | bus_MV_129_0_node_48 | 20 | n |  | TRUE
32 | bus_MV_129_0_node_35 | 20 | n |  | TRUE
33 | bus_MV_129_0_node_36 | 20 | n |  | TRUE
34 | bus_MV_129_0_node_37 | 20 | n |  | TRUE
35 | bus_MV_129_0_node_39 | 20 | n |  | TRUE
36 | bus_MV_129_0_node_40 | 20 | n |  | TRUE
37 | bus_MV_129_0_node_42 | 20 | n |  | TRUE
38 | bus_MV_129_0_node_41 | 20 | n |  | TRUE
39 | bus_MV_129_0_node_44 | 20 | n |  | TRUE
40 | bus_MV_129_0_node_223 | 20 | n |  | TRUE
41 | bus_MV_129_0_node_51 | 20 | n |  | TRUE
42 | bus_MV_129_0_node_43 | 20 | n |  | TRUE
43 | bus_MV_129_0_node_52 | 20 | n |  | TRUE
44 | bus_MV_129_0_node_249 | 20 | n |  | TRUE
45 | bus_MV_129_0_node_45 | 20 | n |  | TRUE
46 | bus_MV_129_0_node_46 | 20 | n |  | TRUE
47 | bus_MV_129_0_node_47 | 20 | n |  | TRUE
48 | bus_MV_129_0_node_251 | 20 | n |  | TRUE
49 | bus_MV_129_0_node_63 | 20 | n |  | TRUE
50 | bus_MV_129_0_node_49 | 20 | n |  | TRUE
51 | bus_MV_129_0_node_50 | 20 | n |  | TRUE
52 | bus_MV_129_0_node_248 | 20 | n |  | TRUE
53 | bus_MV_129_0_node_53 | 20 | n |  | TRUE
54 | bus_MV_129_0_node_54 | 20 | n |  | TRUE
55 | bus_MV_129_0_node_55 | 20 | n |  | TRUE
56 | bus_MV_129_0_node_222 | 20 | n |  | TRUE
57 | bus_MV_129_0_node_221 | 20 | n |  | TRUE
58 | bus_MV_129_0_node_61 | 20 | n |  | TRUE
59 | bus_MV_129_0_node_62 | 20 | n |  | TRUE
60 | bus_MV_129_0_node_64 | 20 | n |  | TRUE
61 | bus_MV_129_0_node_254 | 20 | n |  | TRUE
62 | bus_MV_129_0_node_253 | 20 | n |  | TRUE
63 | bus_MV_129_0_node_209 | 20 | n |  | TRUE
64 | bus_MV_129_0_node_211 | 20 | n |  | TRUE
65 | bus_MV_129_0_node_212 | 20 | n |  | TRUE
66 | bus_MV_129_0_node_214 | 20 | n |  | TRUE
67 | bus_MV_129_0_node_215 | 20 | n |  | TRUE
68 | bus_MV_129_0_node_216 | 20 | n |  | TRUE
69 | bus_MV_129_0_node_217 | 20 | n |  | TRUE
70 | bus_MV_129_0_node_218 | 20 | n |  | TRUE
71 | bus_MV_129_0_node_219 | 20 | n |  | TRUE
72 | bus_MV_129_0_node_230 | 20 | n |  | TRUE
73 | bus_MV_129_0_node_229 | 20 | n |  | TRUE
74 | bus_MV_129_0_node_224 | 20 | n |  | TRUE
75 | bus_MV_129_0_node_225 | 20 | n |  | TRUE
76 | bus_MV_129_0_node_226 | 20 | n |  | TRUE
77 | bus_MV_129_0_node_227 | 20 | n |  | TRUE
78 | bus_MV_129_0_node_228 | 20 | n |  | TRUE
79 | bus_MV_129_0_node_252 | 20 | n |  | TRUE
80 | bus_HV_129_0_node_247 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_129_0_load_0 | 0 | 0.15436 | 0.074759 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_129_0_load_267 | 4 | 0.1238 | 0.059961 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_129_0_load_12 | 7 | 0.079892 | 0.038694 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_129_0_load_6 | 8 | 0.069695 | 0.033755 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_129_0_load_5 | 9 | 0.090784 | 0.043969 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_129_0_load_7 | 10 | 0.17222 | 0.08341 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_129_0_load_8 | 11 | 0.1193 | 0.057778 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_129_0_load_208 | 15 | 0.077183 | 0.037382 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_129_0_load_13 | 16 | 0.096546 | 0.046759 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_129_0_load_14 | 19 | 0.13359 | 0.064699 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_129_0_load_247 | 22 | 0.12784 | 0.061916 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_129_0_load_17 | 23 | 0.095881 | 0.046437 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_129_0_load_20 | 26 | 0.15859 | 0.076808 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_129_0_load_32 | 28 | 0.087068 | 0.042169 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_129_0_load_34 | 30 | 0.14704 | 0.071214 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_129_0_load_48 | 31 | 0.082204 | 0.039813 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_129_0_load_37 | 34 | 0.11892 | 0.057598 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_129_0_load_39 | 35 | 0.13218 | 0.064016 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_129_0_load_223 | 40 | 0.09768 | 0.047309 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_129_0_load_52 | 43 | 0.15136 | 0.073307 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_129_0_load_249 | 44 | 0.1137 | 0.055068 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_129_0_load_45 | 45 | 0.057733 | 0.027961 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_129_0_load_251 | 48 | 0.14883 | 0.07208 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_129_0_load_49 | 50 | 0.079488 | 0.038498 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_129_0_load_248 | 52 | 0.15834 | 0.076688 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_129_0_load_53 | 53 | 0.14396 | 0.069723 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_129_0_load_221 | 57 | 3.6385 | 1.7622 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_129_0_load_61 | 58 | 0.096348 | 0.046664 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_129_0_load_254 | 61 | 0.10941 | 0.052989 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_129_0_load_253 | 62 | 0.092218 | 0.044663 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_129_0_load_209 | 63 | 0.070231 | 0.034014 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_129_0_load_212 | 65 | 0.21621 | 0.10472 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_129_0_load_214 | 66 | 0.18246 | 0.088368 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_129_0_load_215 | 67 | 0.12554 | 0.060804 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_129_0_load_217 | 69 | 0.11212 | 0.054301 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_129_0_load_218 | 70 | 0.1171 | 0.056712 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_129_0_load_219 | 71 | 0.2928 | 0.14181 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_129_0_load_230 | 72 | 0.15415 | 0.07466 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_129_0_load_229 | 73 | 0.10747 | 0.052051 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_129_0_load_224 | 74 | 0.082075 | 0.039751 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_129_0_load_227 | 77 | 0.11679 | 0.056563 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_129_0_load_228 | 78 | 0.17536 | 0.084929 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_129_0_line_0 |  | 0 | 1 | 0.057926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_129_0_line_1 |  | 1 | 2 | 0.44132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_129_0_line_2 |  | 1 | 3 | 0.39613 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_129_0_line_3 |  | 2 | 4 | 0.086738 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_129_0_line_4 |  | 2 | 5 | 1.2967 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_129_0_line_5 |  | 3 | 6 | 0.88629 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_129_0_line_6 |  | 3 | 7 | 0.002079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_129_0_line_7 |  | 5 | 65 | 0.015746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_129_0_line_8 |  | 5 | 27 | 0.34998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_129_0_line_9 |  | 5 | 63 | 0.033519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_129_0_line_10 |  | 6 | 8 | 0.014428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_129_0_line_11 |  | 7 | 14 | 0.018855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_129_0_line_12 |  | 8 | 9 | 0.040866 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_129_0_line_13 |  | 9 | 10 | 0.028357 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_129_0_line_14 |  | 11 | 12 | 0.032388 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_129_0_line_15 |  | 12 | 13 | 0.005897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_129_0_line_16 |  | 12 | 14 | 0.11458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_129_0_line_17 |  | 13 | 15 | 0.037282 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_129_0_line_18 |  | 16 | 17 | 2.5578 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
19 | MV_129_0_line_19 |  | 16 | 18 | 3.5321 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
20 | MV_129_0_line_20 |  | 17 | 29 | 3.042 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
21 | MV_129_0_line_21 |  | 17 | 28 | 0.054555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_129_0_line_22 |  | 18 | 21 | 0.519 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
23 | MV_129_0_line_23 |  | 18 | 19 | 0.012938 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
24 | MV_129_0_line_24 |  | 19 | 20 | 2.8239 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
25 | MV_129_0_line_25 |  | 20 | 62 | 0.026282 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
26 | MV_129_0_line_26 |  | 20 | 59 | 0.44481 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_129_0_line_27 |  | 20 | 60 | 0.30722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_129_0_line_28 |  | 21 | 22 | 0.29035 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
29 | MV_129_0_line_29 |  | 23 | 24 | 0.039857 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_129_0_line_30 |  | 24 | 25 | 0.066316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_129_0_line_31 |  | 25 | 26 | 0.051125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_129_0_line_32 |  | 26 | 27 | 0.040368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_129_0_line_33 |  | 29 | 79 | 0.36067 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_129_0_line_34 |  | 29 | 72 | 0.067858 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
35 | MV_129_0_line_35 |  | 30 | 31 | 1.4123 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_129_0_line_36 |  | 30 | 32 | 0.095009 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_129_0_line_37 |  | 31 | 43 | 1.4805 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_129_0_line_38 |  | 31 | 49 | 2.7427 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_129_0_line_39 |  | 32 | 33 | 0.13699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_129_0_line_40 |  | 33 | 34 | 0.15482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_129_0_line_41 |  | 35 | 36 | 0.078854 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_129_0_line_42 |  | 36 | 37 | 0.19288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_129_0_line_43 |  | 37 | 39 | 0.297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_129_0_line_44 |  | 37 | 41 | 0.10089 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_129_0_line_45 |  | 38 | 39 | 0.30806 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_129_0_line_46 |  | 38 | 40 | 0.11511 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_129_0_line_47 |  | 39 | 44 | 0.017511 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_129_0_line_48 |  | 39 | 42 | 0.14168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_129_0_line_49 |  | 41 | 52 | 0.020904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_129_0_line_50 |  | 41 | 51 | 0.077073 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_129_0_line_51 |  | 42 | 43 | 0.020731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_129_0_line_52 |  | 45 | 46 | 0.048714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_129_0_line_53 |  | 46 | 47 | 0.49731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_129_0_line_54 |  | 47 | 48 | 0.16569 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_129_0_line_55 |  | 48 | 79 | 0.04699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_129_0_line_56 |  | 49 | 58 | 0.025093 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_129_0_line_57 |  | 50 | 51 | 0.011711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_129_0_line_58 |  | 53 | 54 | 0.01061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_129_0_line_59 |  | 54 | 55 | 0.26825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_129_0_line_60 |  | 55 | 56 | 0.1303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_129_0_line_61 |  | 55 | 57 | 0.048187 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_129_0_line_62 |  | 56 | 72 | 0.019954 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
63 | MV_129_0_line_63 |  | 56 | 73 | 0.098782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_129_0_line_64 |  | 58 | 59 | 0.12994 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_129_0_line_65 |  | 60 | 61 | 0.04222 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_129_0_line_66 |  | 62 | 66 | 2.8041 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
67 | MV_129_0_line_67 |  | 63 | 64 | 0.079333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_129_0_line_68 |  | 64 | 66 | 0.018832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_129_0_line_69 |  | 64 | 67 | 0.035345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_129_0_line_70 |  | 65 | 68 | 0.059982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_129_0_line_71 |  | 68 | 69 | 0.025166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_129_0_line_72 |  | 69 | 70 | 0.013748 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_129_0_line_73 |  | 70 | 71 | 0.023595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_129_0_line_74 |  | 73 | 76 | 0.020888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_129_0_line_75 |  | 74 | 75 | 0.031727 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_129_0_line_76 |  | 75 | 76 | 0.047233 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_129_0_line_77 |  | 76 | 77 | 0.019898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_129_0_line_78 |  | 77 | 78 | 0.012916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_129_0_trafo_247 | 25 MVA 110/20 kV | 80 | 22 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2633649.8826 | 1225795.5283
1 | 2633705.4638 | 1225806.6713
2 | 2633731.5748 | 1225515.244
3 | 2633612.7993 | 1225982.587
4 | 2633644.806 | 1225521.4461
5 | 2633805.9491 | 1224499.4121
6 | 2633321.3945 | 1225873.4515
7 | 2633612.5754 | 1225984.6537
8 | 2633331.3306 | 1225862.9897
9 | 2633359.473 | 1225833.3582
10 | 2633338.9118 | 1225813.8304
11 | 2633693.8252 | 1226079.2472
12 | 2633697.1075 | 1226047.0353
13 | 2633697.8001 | 1226041.1801
14 | 2633622.8418 | 1225996.1296
15 | 2633729.3796 | 1226029.7793
16 | 2637458.5756 | 1225837.3357
17 | 2638761.56 | 1223636.3417
18 | 2635574.9387 | 1222849.4548
19 | 2635576.0243 | 1222836.5647
20 | 2633008.4609 | 1221660.9549
21 | 2635764.039 | 1222387.0329
22 | 2635837.8396 | 1222106.2199
23 | 2634060.3223 | 1224489.5877
24 | 2634087.4798 | 1224460.4144
25 | 2634133.4517 | 1224507.2834
26 | 2634133.2748 | 1224552.7095
27 | 2634092.9794 | 1224549.9884
28 | 2638814.599 | 1223648.3497
29 | 2637343.3642 | 1220945.2022
30 | 2634924.9243 | 1218548.2904
31 | 2635475.2711 | 1219848.9144
32 | 2634831.1739 | 1218532.8777
33 | 2634711.5993 | 1218540.5074
34 | 2634557.0375 | 1218553.6067
35 | 2636542.2684 | 1220897.4884
36 | 2636614.7461 | 1220928.5515
37 | 2636723.6545 | 1221023.1774
38 | 2636874.6265 | 1220926.0626
39 | 2636736.6127 | 1220728.8603
40 | 2636949.7397 | 1220838.8313
41 | 2636725.0279 | 1221124.0569
42 | 2636642.3203 | 1220791.862
43 | 2636630.0484 | 1220775.3434
44 | 2636742.8964 | 1220712.5116
45 | 2638128.9905 | 1220592.1269
46 | 2638157.4181 | 1220628.4122
47 | 2637804.8195 | 1220723.5228
48 | 2637641.6731 | 1220694.5957
49 | 2633095.4131 | 1221212.3383
50 | 2636712.9606 | 1221156.991
51 | 2636713.2375 | 1221145.2858
52 | 2636744.8562 | 1221130.4272
53 | 2637117.3561 | 1220735.8112
54 | 2637106.836 | 1220734.2114
55 | 2637158.5611 | 1220927.5594
56 | 2637263.8601 | 1220982.9495
57 | 2637111.8034 | 1220939.2068
58 | 2633084.3872 | 1221234.8905
59 | 2633007.706 | 1221339.7942
60 | 2632742.6581 | 1221759.3811
61 | 2632712.7545 | 1221729.5772
62 | 2633004.2905 | 1221686.7249
63 | 2633787.158 | 1224471.6554
64 | 2633738.3692 | 1224409.2975
65 | 2633790.209 | 1224498.9721
66 | 2633724.3128 | 1224396.7646
67 | 2633770.5361 | 1224418.0634
68 | 2633730.9197 | 1224498.4198
69 | 2633706.6781 | 1224493.3027
70 | 2633693.9649 | 1224488.0712
71 | 2633680.4097 | 1224507.3839
72 | 2637282.1329 | 1220974.8144
73 | 2637169.0135 | 1221010.1493
74 | 2637094.8728 | 1220993.7022
75 | 2637102.5784 | 1221024.4795
76 | 2637149.0337 | 1221016.2416
77 | 2637144.4808 | 1220996.8718
78 | 2637141.5254 | 1220984.2981
79 | 2637610.0766 | 1220726.8377
80 | 2635837.8396 | 1222106.2199

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98539 | -0.43585 | 0.15436 | 0.074759
1 | 0.9854 | -0.43596 | 0 | 0
2 | 0.98583 | -0.43889 | 0 | 0
3 | 0.98509 | -0.43379 | 0 | 0
4 | 0.98581 | -0.43876 | 0.1238 | 0.059961
5 | 0.98728 | -0.44758 | 0 | 0
6 | 0.98471 | -0.43082 | 0 | 0
7 | 0.98509 | -0.43379 | 0.079892 | 0.038694
8 | 0.98471 | -0.43076 | 0.069695 | 0.033755
9 | 0.98468 | -0.43089 | 0.090784 | 0.043969
10 | 0.98468 | -0.43083 | 0.17222 | 0.08341
11 | 0.98505 | -0.43345 | 0.1193 | 0.057778
12 | 0.98505 | -0.43349 | 0 | 0
13 | 0.98505 | -0.43349 | 0 | 0
14 | 0.98508 | -0.43375 | 0 | 0
15 | 0.98505 | -0.43345 | 0.077183 | 0.037382
16 | 0.99254 | -0.3753 | 0.096546 | 0.046759
17 | 0.98837 | -0.60761 | 0 | 0
18 | 0.99843 | -0.051012 | 0 | 0
19 | 0.99842 | -0.051055 | 0.13359 | 0.064699
20 | 0.99503 | -0.25042 | 0 | 0
21 | 0.99916 | -0.04777 | 0 | 0
22 | 1 | 0 | -8.6778 | -4.0194
23 | 0.98713 | -0.44646 | 0.095881 | 0.046437
24 | 0.98714 | -0.44642 | 0 | 0
25 | 0.98715 | -0.44649 | 0 | 0
26 | 0.98716 | -0.44654 | 0.15859 | 0.076808
27 | 0.98717 | -0.44666 | 0 | 0
28 | 0.98837 | -0.60756 | 0.087068 | 0.042169
29 | 0.98352 | -0.88108 | 0 | 0
30 | 0.98759 | -0.29833 | 0.14704 | 0.071214
31 | 0.98832 | -0.29273 | 0.082204 | 0.039813
32 | 0.98757 | -0.29852 | 0 | 0
33 | 0.98755 | -0.29837 | 0 | 0
34 | 0.98752 | -0.29816 | 0.11892 | 0.057598
35 | 0.98591 | -0.30739 | 0.13218 | 0.064016
36 | 0.98593 | -0.30726 | 0 | 0
37 | 0.98596 | -0.30754 | 0 | 0
38 | 0.98606 | -0.30839 | 0 | 0
39 | 0.9861 | -0.30869 | 0 | 0
40 | 0.98604 | -0.30853 | 0.09768 | 0.047309
41 | 0.98591 | -0.30787 | 0 | 0
42 | 0.98621 | -0.30948 | 0 | 0
43 | 0.98622 | -0.3096 | 0.15136 | 0.073307
44 | 0.9861 | -0.30866 | 0.1137 | 0.055068
45 | 0.98335 | -0.88065 | 0.057733 | 0.027961
46 | 0.98336 | -0.88068 | 0 | 0
47 | 0.98339 | -0.88081 | 0 | 0
48 | 0.98341 | -0.88051 | 0.14883 | 0.07208
49 | 0.99403 | -0.24735 | 0 | 0
50 | 0.98591 | -0.30778 | 0.079488 | 0.038498
51 | 0.98591 | -0.3078 | 0 | 0
52 | 0.98591 | -0.30783 | 0.15834 | 0.076688
53 | 0.98268 | -0.8755 | 0.14396 | 0.069723
54 | 0.98268 | -0.87552 | 0 | 0
55 | 0.98273 | -0.87594 | 0 | 0
56 | 0.98337 | -0.88196 | 0 | 0
57 | 0.9825 | -0.87377 | 3.6385 | 1.7622
58 | 0.99407 | -0.24762 | 0.096348 | 0.046664
59 | 0.99436 | -0.2453 | 0 | 0
60 | 0.99499 | -0.25009 | 0 | 0
61 | 0.99498 | -0.25014 | 0.10941 | 0.052989
62 | 0.995 | -0.25083 | 0.092218 | 0.044663
63 | 0.98736 | -0.44814 | 0.070231 | 0.034014
64 | 0.98756 | -0.44954 | 0 | 0
65 | 0.98727 | -0.44744 | 0.21621 | 0.10472
66 | 0.98761 | -0.4499 | 0.18246 | 0.088368
67 | 0.98756 | -0.44949 | 0.12554 | 0.060804
68 | 0.98723 | -0.44706 | 0 | 0
69 | 0.98721 | -0.4469 | 0.11212 | 0.054301
70 | 0.9872 | -0.44683 | 0.1171 | 0.056712
71 | 0.9872 | -0.44675 | 0.2928 | 0.14181
72 | 0.98342 | -0.88146 | 0.15415 | 0.07466
73 | 0.98331 | -0.8814 | 0.10747 | 0.052051
74 | 0.98329 | -0.88123 | 0.082075 | 0.039751
75 | 0.98329 | -0.88126 | 0 | 0
76 | 0.9833 | -0.88131 | 0 | 0
77 | 0.98329 | -0.88124 | 0.11679 | 0.056563
78 | 0.98329 | -0.88121 | 0.17536 | 0.084929
79 | 0.98342 | -0.88059 | 0 | 0
80 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15436 | -0.074759 | 0.15436 | 0.073416 | 1.9456e-06 | -0.0013424 | 0.0050244 | 0.0050074 | 0.0050244 | 0.98539 | -0.43585 | 0.9854 | -0.43596 | 2.2838
1 | -0.76378 | -0.33287 | 0.76413 | 0.32274 | 0.00034928 | -0.010132 | 0.024408 | 0.02429 | 0.024408 | 0.9854 | -0.43596 | 0.98583 | -0.43889 | 11.0945
2 | 0.60942 | 0.25946 | -0.60922 | -0.26858 | 0.00020021 | -0.0091217 | 0.019404 | 0.019511 | 0.019511 | 0.9854 | -0.43596 | 0.98509 | -0.43379 | 8.8686
3 | 0.12381 | 0.057949 | -0.1238 | -0.059961 | 1.867e-06 | -0.0020121 | 0.0040028 | 0.0040282 | 0.0040282 | 0.98583 | -0.43889 | 0.98581 | -0.43876 | 1.831
4 | -0.88794 | -0.38069 | 0.88931 | 0.35096 | 0.0013688 | -0.029727 | 0.02829 | 0.027954 | 0.02829 | 0.98583 | -0.43889 | 0.98728 | -0.44758 | 12.8591
5 | 0.33284 | 0.13961 | -0.33271 | -0.1601 | 0.00013539 | -0.020487 | 0.010577 | 0.010824 | 0.010824 | 0.98509 | -0.43379 | 0.98471 | -0.43082 | 4.92
6 | 0.27638 | 0.12897 | -0.27638 | -0.12901 | 2.2171e-07 | -4.8103e-05 | 0.0089375 | 0.0089381 | 0.0089381 | 0.98509 | -0.43379 | 0.98509 | -0.43379 | 4.0628
7 | 0.73828 | 0.35434 | -0.73827 | -0.3547 | 1.2054e-05 | -0.00036288 | 0.023944 | 0.023949 | 0.023949 | 0.98728 | -0.44758 | 0.98727 | -0.44744 | 10.8859
8 | 0.25451 | 0.11139 | -0.25448 | -0.11953 | 3.1199e-05 | -0.0081347 | 0.0081232 | 0.0082216 | 0.0082216 | 0.98728 | -0.44758 | 0.98717 | -0.44666 | 3.7371
9 | -1.8821 | -0.8167 | 1.8823 | 0.81596 | 0.00016101 | -0.00073239 | 0.059989 | 0.05998 | 0.059989 | 0.98728 | -0.44758 | 0.98736 | -0.44814 | 27.2677
10 | 0.33271 | 0.1601 | -0.33271 | -0.16043 | 2.2576e-06 | -0.00033337 | 0.010824 | 0.010828 | 0.010828 | 0.98471 | -0.43082 | 0.98471 | -0.43076 | 4.922
11 | 0.19649 | 0.09032 | -0.19649 | -0.090757 | 1.0117e-06 | -0.00043656 | 0.0063372 | 0.0063425 | 0.0063425 | 0.98509 | -0.43379 | 0.98508 | -0.43375 | 2.883
12 | 0.26301 | 0.12668 | -0.26301 | -0.12672 | 5.3331e-06 | -4.3963e-05 | 0.0085581 | 0.0085587 | 0.0085587 | 0.98471 | -0.43076 | 0.98468 | -0.43089 | 4.0756
13 | 0.17222 | 0.082754 | -0.17222 | -0.08341 | 1.1896e-06 | -0.00065611 | 0.0056015 | 0.0056099 | 0.0056099 | 0.98468 | -0.43089 | 0.98468 | -0.43083 | 2.55
14 | -0.1193 | -0.057778 | 0.1193 | 0.057028 | 6.5084e-07 | -0.00075016 | 0.0038845 | 0.003875 | 0.0038845 | 0.98505 | -0.43345 | 0.98505 | -0.43349 | 1.7657
15 | 0.077184 | 0.036381 | -0.077184 | -0.036518 | 4.9277e-08 | -0.00013661 | 0.0025006 | 0.0025023 | 0.0025023 | 0.98505 | -0.43349 | 0.98505 | -0.43349 | 1.1374
16 | -0.19648 | -0.093409 | 0.19649 | 0.090757 | 6.1854e-06 | -0.0026528 | 0.0063756 | 0.0063425 | 0.0063756 | 0.98505 | -0.43349 | 0.98508 | -0.43375 | 2.898
17 | 0.077184 | 0.036518 | -0.077183 | -0.037382 | 3.13e-07 | -0.00086366 | 0.0025023 | 0.0025132 | 0.0025132 | 0.98505 | -0.43349 | 0.98505 | -0.43345 | 1.1424
18 | 4.7391 | 2.286 | -4.7284 | -2.2642 | 0.010698 | 0.021832 | 0.15303 | 0.15312 | 0.15312 | 0.99254 | -0.3753 | 0.98837 | -0.60761 | 11.8698
19 | -4.8357 | -2.3328 | 4.851 | 2.3644 | 0.015361 | 0.031631 | 0.15615 | 0.15603 | 0.15615 | 0.99254 | -0.3753 | 0.99843 | -0.051012 | 12.1049
20 | 4.6414 | 2.2233 | -4.6291 | -2.1985 | 0.012276 | 0.024837 | 0.15031 | 0.15041 | 0.15041 | 0.98837 | -0.60761 | 0.98352 | -0.88108 | 11.66
21 | 0.087068 | 0.040896 | -0.087068 | -0.042169 | 5.7816e-07 | -0.0012723 | 0.0028096 | 0.0028256 | 0.0028256 | 0.98837 | -0.60761 | 0.98837 | -0.60756 | 1.2843
22 | -8.6537 | -4.0607 | 8.6598 | 3.9991 | 0.0061075 | -0.061623 | 0.27638 | 0.27559 | 0.27638 | 0.99843 | -0.051012 | 0.99916 | -0.04777 | 21.66
23 | 3.8027 | 1.6963 | -3.8027 | -1.6979 | 2.8977e-05 | -0.0016044 | 0.12039 | 0.12041 | 0.12041 | 0.99843 | -0.051012 | 0.99842 | -0.051055 | 9.4365
24 | 3.6691 | 1.6332 | -3.6623 | -1.6227 | 0.0068021 | 0.010535 | 0.11612 | 0.11621 | 0.11621 | 0.99842 | -0.051055 | 0.99503 | -0.25042 | 9.0086
25 | 2.3667 | 1.0519 | -2.3666 | -1.0527 | 7.1679e-05 | -0.00084058 | 0.075139 | 0.075149 | 0.075149 | 0.99503 | -0.25042 | 0.995 | -0.25083 | 20.7595
26 | 1.1862 | 0.52508 | -1.1853 | -0.53533 | 0.00084378 | -0.010258 | 0.037633 | 0.037758 | 0.037758 | 0.99503 | -0.25042 | 0.99436 | -0.2453 | 17.1627
27 | 0.10941 | 0.045679 | -0.10941 | -0.05294 | 4.972e-06 | -0.0072607 | 0.0034398 | 0.0035264 | 0.0035264 | 0.99503 | -0.25042 | 0.99499 | -0.25009 | 1.6029
28 | -8.6598 | -3.9991 | 8.6638 | 4.0089 | 0.0039361 | 0.0097824 | 0.27559 | 0.27558 | 0.27559 | 0.99916 | -0.04777 | 1 | 0 | 21.3634
29 | -0.095881 | -0.046437 | 0.095882 | 0.046392 | 6.8915e-07 | -4.5934e-05 | 0.0031155 | 0.0031149 | 0.0031155 | 0.98713 | -0.44646 | 0.98714 | -0.44642 | 1.4836
30 | -0.095882 | -0.046392 | 0.095883 | 0.044849 | 8.5361e-07 | -0.0015427 | 0.0031149 | 0.0030955 | 0.0031149 | 0.98714 | -0.44642 | 0.98715 | -0.44649 | 1.4159
31 | -0.095883 | -0.044849 | 0.095884 | 0.04366 | 6.509e-07 | -0.0011893 | 0.0030955 | 0.0030809 | 0.0030955 | 0.98715 | -0.44649 | 0.98716 | -0.44654 | 1.407
32 | -0.25447 | -0.12047 | 0.25448 | 0.11953 | 3.6479e-06 | -0.00093816 | 0.0082333 | 0.0082216 | 0.0082333 | 0.98716 | -0.44654 | 0.98717 | -0.44666 | 3.7424
33 | 0.20659 | 0.077837 | -0.20657 | -0.08616 | 2.0492e-05 | -0.0083229 | 0.0064797 | 0.0065699 | 0.0065699 | 0.98352 | -0.88108 | 0.98342 | -0.88059 | 2.9863
34 | 4.4225 | 2.1206 | -4.4221 | -2.1245 | 0.0004347 | -0.003879 | 0.14396 | 0.14401 | 0.14401 | 0.98352 | -0.88108 | 0.98342 | -0.88146 | 22.5722
35 | -0.26597 | -0.12191 | 0.26616 | 0.12038 | 0.00018361 | -0.0015306 | 0.0085522 | 0.0085323 | 0.0085522 | 0.98759 | -0.29833 | 0.98832 | -0.29273 | 4.0725
36 | 0.11893 | 0.050696 | -0.11893 | -0.050805 | 2.4184e-06 | -0.00010911 | 0.0037791 | 0.0037804 | 0.0037804 | 0.98759 | -0.29833 | 0.98757 | -0.29852 | 1.8002
37 | 0.73436 | 0.32854 | -0.7329 | -0.32935 | 0.0014578 | -0.00080956 | 0.023499 | 0.023519 | 0.023519 | 0.98832 | -0.29273 | 0.98622 | -0.3096 | 11.1996
38 | -1.0827 | -0.48873 | 1.0886 | 0.4892 | 0.0058768 | 0.00046423 | 0.034698 | 0.034659 | 0.034698 | 0.98832 | -0.29273 | 0.99403 | -0.24735 | 16.5227
39 | 0.11893 | 0.050805 | -0.11893 | -0.053994 | 2.6392e-06 | -0.003189 | 0.0037804 | 0.003818 | 0.003818 | 0.98757 | -0.29852 | 0.98755 | -0.29837 | 1.7354
40 | 0.11893 | 0.053994 | -0.11892 | -0.057598 | 3.0478e-06 | -0.0036041 | 0.003818 | 0.0038627 | 0.0038627 | 0.98755 | -0.29837 | 0.98752 | -0.29816 | 1.7558
41 | -0.13218 | -0.064016 | 0.13218 | 0.063926 | 2.5972e-06 | -8.9877e-05 | 0.0043002 | 0.004299 | 0.0043002 | 0.98591 | -0.30739 | 0.98593 | -0.30726 | 2.0477
42 | -0.13218 | -0.063926 | 0.13218 | 0.059451 | 4.6969e-06 | -0.0044754 | 0.004299 | 0.0042436 | 0.004299 | 0.98593 | -0.30726 | 0.98596 | -0.30754 | 1.9541
43 | -0.37002 | -0.17198 | 0.37008 | 0.1651 | 5.6191e-05 | -0.0068778 | 0.011947 | 0.011863 | 0.011947 | 0.98596 | -0.30754 | 0.9861 | -0.30869 | 5.4303
44 | 0.23784 | 0.11253 | -0.23783 | -0.11264 | 1.067e-05 | -0.00011039 | 0.0077037 | 0.0077052 | 0.0077052 | 0.98596 | -0.30754 | 0.98591 | -0.30787 | 3.6691
45 | -0.097682 | -0.047176 | 0.097687 | 0.040026 | 4.0333e-06 | -0.0071507 | 0.0031757 | 0.0030905 | 0.0031757 | 0.98606 | -0.30839 | 0.9861 | -0.30869 | 1.4435
46 | 0.097682 | 0.047176 | -0.09768 | -0.047309 | 2.0696e-06 | -0.00013232 | 0.0031757 | 0.0031775 | 0.0031775 | 0.98606 | -0.30839 | 0.98604 | -0.30853 | 1.5131
47 | 0.1137 | 0.054661 | -0.1137 | -0.055068 | 3.193e-07 | -0.00040646 | 0.0036932 | 0.0036984 | 0.0036984 | 0.9861 | -0.30869 | 0.9861 | -0.30866 | 1.6811
48 | -0.58147 | -0.25979 | 0.58153 | 0.25652 | 6.5607e-05 | -0.0032703 | 0.018644 | 0.018605 | 0.018644 | 0.9861 | -0.30869 | 0.98621 | -0.30948 | 8.4745
49 | 0.15834 | 0.076203 | -0.15834 | -0.076688 | 7.3966e-07 | -0.00048492 | 0.0051452 | 0.0051513 | 0.0051513 | 0.98591 | -0.30787 | 0.98591 | -0.30783 | 2.3415
50 | 0.079488 | 0.036437 | -0.079488 | -0.038226 | 6.8029e-07 | -0.0017885 | 0.0025603 | 0.0025826 | 0.0025826 | 0.98591 | -0.30787 | 0.98591 | -0.3078 | 1.1739
51 | -0.58153 | -0.25652 | 0.58154 | 0.25604 | 9.5767e-06 | -0.00047858 | 0.018605 | 0.018599 | 0.018605 | 0.98621 | -0.30948 | 0.98622 | -0.3096 | 8.4567
52 | -0.057733 | -0.027961 | 0.057733 | 0.026837 | 2.2887e-07 | -0.0011246 | 0.0018831 | 0.001869 | 0.0018831 | 0.98335 | -0.88065 | 0.98336 | -0.88068 | 0.85597
53 | -0.057733 | -0.026837 | 0.057735 | 0.015355 | 2.1616e-06 | -0.011482 | 0.001869 | 0.0017537 | 0.001869 | 0.98336 | -0.88068 | 0.98339 | -0.88081 | 0.84953
54 | -0.057735 | -0.015355 | 0.057736 | 0.015164 | 9.072e-07 | -0.00019072 | 0.0017537 | 0.0017523 | 0.0017537 | 0.98339 | -0.88081 | 0.98341 | -0.88051 | 0.83511
55 | -0.20656 | -0.087244 | 0.20657 | 0.08616 | 2.7128e-06 | -0.0010842 | 0.0065822 | 0.0065699 | 0.0065822 | 0.98341 | -0.88051 | 0.98342 | -0.88059 | 2.9919
56 | -1.0886 | -0.4892 | 1.0886 | 0.48862 | 4.0233e-05 | -0.00058008 | 0.034659 | 0.034652 | 0.034659 | 0.99403 | -0.24735 | 0.99407 | -0.24762 | 15.7542
57 | -0.079488 | -0.038498 | 0.079488 | 0.038226 | 1.0441e-07 | -0.00027176 | 0.002586 | 0.0025826 | 0.002586 | 0.98591 | -0.30778 | 0.98591 | -0.3078 | 1.1755
58 | -0.14396 | -0.069723 | 0.14396 | 0.069478 | 3.1255e-07 | -0.00024453 | 0.0046989 | 0.0046958 | 0.0046989 | 0.98268 | -0.8755 | 0.98268 | -0.87552 | 2.1359
59 | -0.14396 | -0.069478 | 0.14397 | 0.063296 | 7.7667e-06 | -0.0061829 | 0.0046958 | 0.0046197 | 0.0046958 | 0.98268 | -0.87552 | 0.98273 | -0.87594 | 2.1344
60 | -3.7833 | -1.8246 | 3.786 | 1.8224 | 0.0026474 | -0.0022212 | 0.12338 | 0.12335 | 0.12338 | 0.98273 | -0.87594 | 0.98337 | -0.88196 | 56.0839
61 | 3.6394 | 1.7613 | -3.6385 | -1.7622 | 0.00090752 | -0.00084166 | 0.11877 | 0.11878 | 0.11878 | 0.98273 | -0.87594 | 0.9825 | -0.87377 | 53.9918
62 | -4.2677 | -2.0504 | 4.2679 | 2.0499 | 0.00018618 | -0.0005267 | 0.13899 | 0.13898 | 0.13899 | 0.98337 | -0.88196 | 0.98342 | -0.88146 | 38.3953
63 | 0.48173 | 0.22796 | -0.4817 | -0.23023 | 3.2338e-05 | -0.002271 | 0.015645 | 0.015674 | 0.015674 | 0.98337 | -0.88196 | 0.98331 | -0.8814 | 7.1245
64 | -1.185 | -0.53528 | 1.1853 | 0.53533 | 0.00033008 | 5.3416e-05 | 0.03776 | 0.037758 | 0.03776 | 0.99407 | -0.24762 | 0.99436 | -0.2453 | 17.9808
65 | 0.10941 | 0.05294 | -0.10941 | -0.052989 | 9.3558e-07 | -4.9312e-05 | 0.0035264 | 0.003527 | 0.003527 | 0.99499 | -0.25009 | 0.99498 | -0.25014 | 1.6795
66 | 2.2744 | 1.0081 | -2.261 | -0.9962 | 0.013418 | 0.011885 | 0.072178 | 0.072219 | 0.072219 | 0.995 | -0.25083 | 0.98761 | -0.4499 | 20.634
67 | -1.9525 | -0.84998 | 1.9529 | 0.84825 | 0.00041039 | -0.0017252 | 0.062259 | 0.062238 | 0.062259 | 0.98736 | -0.44814 | 0.98756 | -0.44954 | 28.2997
68 | -2.0784 | -0.90823 | 2.0786 | 0.90783 | 0.00011051 | -0.00040577 | 0.066302 | 0.066297 | 0.066302 | 0.98756 | -0.44954 | 0.98761 | -0.4499 | 30.1375
69 | 0.12555 | 0.059981 | -0.12554 | -0.060804 | 7.8253e-07 | -0.00082281 | 0.0040671 | 0.0040776 | 0.0040776 | 0.98756 | -0.44954 | 0.98756 | -0.44949 | 1.8534
70 | 0.52205 | 0.24999 | -0.52203 | -0.25137 | 2.2961e-05 | -0.001389 | 0.016925 | 0.016942 | 0.016942 | 0.98727 | -0.44744 | 0.98723 | -0.44706 | 7.701
71 | 0.52203 | 0.25137 | -0.52202 | -0.25196 | 9.6477e-06 | -0.00058274 | 0.016942 | 0.01695 | 0.01695 | 0.98723 | -0.44706 | 0.98721 | -0.4469 | 7.7044
72 | 0.40991 | 0.19766 | -0.4099 | -0.19798 | 3.2508e-06 | -0.00031893 | 0.013307 | 0.013311 | 0.013311 | 0.98721 | -0.4469 | 0.9872 | -0.44683 | 6.0505
73 | 0.29281 | 0.14126 | -0.2928 | -0.14181 | 2.8488e-06 | -0.00054818 | 0.0095065 | 0.0095135 | 0.0095135 | 0.9872 | -0.44683 | 0.9872 | -0.44675 | 4.3243
74 | 0.37423 | 0.17818 | -0.37422 | -0.17866 | 4.1309e-06 | -0.00048098 | 0.012168 | 0.012174 | 0.012174 | 0.98331 | -0.8814 | 0.9833 | -0.88131 | 5.5338
75 | -0.082075 | -0.039751 | 0.082075 | 0.039018 | 3.0254e-07 | -0.00073233 | 0.0026773 | 0.002668 | 0.0026773 | 0.98329 | -0.88123 | 0.98329 | -0.88126 | 1.217
76 | -0.082075 | -0.039018 | 0.082076 | 0.037928 | 4.4655e-07 | -0.0010902 | 0.002668 | 0.0026544 | 0.002668 | 0.98329 | -0.88126 | 0.9833 | -0.88131 | 1.2127
77 | 0.29215 | 0.14074 | -0.29214 | -0.14119 | 2.409e-06 | -0.00045862 | 0.0095201 | 0.009526 | 0.009526 | 0.9833 | -0.88131 | 0.98329 | -0.88124 | 4.33
78 | 0.17536 | 0.084631 | -0.17536 | -0.084929 | 5.6384e-07 | -0.00029801 | 0.0057164 | 0.0057202 | 0.0057202 | 0.98329 | -0.88124 | 0.98329 | -0.88121 | 2.6001

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.8056 | 4.0813

## res_load
| p_mw | q_mvar
0 | 0.15436 | 0.074759
1 | 0.1238 | 0.059961
2 | 0.079892 | 0.038694
3 | 0.069695 | 0.033755
4 | 0.090784 | 0.043969
5 | 0.17222 | 0.08341
6 | 0.1193 | 0.057778
7 | 0.077183 | 0.037382
8 | 0.096546 | 0.046759
9 | 0.13359 | 0.064699
10 | 0.12784 | 0.061916
11 | 0.095881 | 0.046437
12 | 0.15859 | 0.076808
13 | 0.087068 | 0.042169
14 | 0.14704 | 0.071214
15 | 0.082204 | 0.039813
16 | 0.11892 | 0.057598
17 | 0.13218 | 0.064016
18 | 0.09768 | 0.047309
19 | 0.15136 | 0.073307
20 | 0.1137 | 0.055068
21 | 0.057733 | 0.027961
22 | 0.14883 | 0.07208
23 | 0.079488 | 0.038498
24 | 0.15834 | 0.076688
25 | 0.14396 | 0.069723
26 | 3.6385 | 1.7622
27 | 0.096348 | 0.046664
28 | 0.10941 | 0.052989
29 | 0.092218 | 0.044663
30 | 0.070231 | 0.034014
31 | 0.21621 | 0.10472
32 | 0.18246 | 0.088368
33 | 0.12554 | 0.060804
34 | 0.11212 | 0.054301
35 | 0.1171 | 0.056712
36 | 0.2928 | 0.14181
37 | 0.15415 | 0.07466
38 | 0.10747 | 0.052051
39 | 0.082075 | 0.039751
40 | 0.11679 | 0.056563
41 | 0.17536 | 0.084929

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1