## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_131_1_node_97 | 20 | n |  | TRUE
1 | bus_MV_131_1_node_98 | 20 | n |  | TRUE
2 | bus_MV_131_1_node_99 | 20 | n |  | TRUE
3 | bus_MV_131_1_node_100 | 20 | n |  | TRUE
4 | bus_MV_131_1_node_103 | 20 | n |  | TRUE
5 | bus_MV_131_1_node_204 | 20 | n |  | TRUE
6 | bus_MV_131_1_node_197 | 20 | n |  | TRUE
7 | bus_MV_131_1_node_101 | 20 | n |  | TRUE
8 | bus_MV_131_1_node_198 | 20 | n |  | TRUE
9 | bus_MV_131_1_node_102 | 20 | n |  | TRUE
10 | bus_MV_131_1_node_192 | 20 | n |  | TRUE
11 | bus_MV_131_1_node_104 | 20 | n |  | TRUE
12 | bus_MV_131_1_node_105 | 20 | n |  | TRUE
13 | bus_MV_131_1_node_106 | 20 | n |  | TRUE
14 | bus_MV_131_1_node_107 | 20 | n |  | TRUE
15 | bus_MV_131_1_node_109 | 20 | n |  | TRUE
16 | bus_MV_131_1_node_110 | 20 | n |  | TRUE
17 | bus_MV_131_1_node_108 | 20 | n |  | TRUE
18 | bus_MV_131_1_node_211 | 20 | n |  | TRUE
19 | bus_MV_131_1_node_114 | 20 | n |  | TRUE
20 | bus_MV_131_1_node_113 | 20 | n |  | TRUE
21 | bus_MV_131_1_node_111 | 20 | n |  | TRUE
22 | bus_MV_131_1_node_129 | 20 | n |  | TRUE
23 | bus_MV_131_1_node_112 | 20 | n |  | TRUE
24 | bus_MV_131_1_node_122 | 20 | n |  | TRUE
25 | bus_MV_131_1_node_132 | 20 | n |  | TRUE
26 | bus_MV_131_1_node_127 | 20 | n |  | TRUE
27 | bus_MV_131_1_node_181 | 20 | n |  | TRUE
28 | bus_MV_131_1_node_195 | 20 | n |  | TRUE
29 | bus_MV_131_1_node_115 | 20 | n |  | TRUE
30 | bus_MV_131_1_node_126 | 20 | n |  | TRUE
31 | bus_MV_131_1_node_196 | 20 | n |  | TRUE
32 | bus_MV_131_1_node_202 | 20 | n |  | TRUE
33 | bus_MV_131_1_node_116 | 20 | n |  | TRUE
34 | bus_MV_131_1_node_118 | 20 | n |  | TRUE
35 | bus_MV_131_1_node_117 | 20 | n |  | TRUE
36 | bus_MV_131_1_node_119 | 20 | n |  | TRUE
37 | bus_MV_131_1_node_200 | 20 | n |  | TRUE
38 | bus_MV_131_1_node_120 | 20 | n |  | TRUE
39 | bus_MV_131_1_node_121 | 20 | n |  | TRUE
40 | bus_MV_131_1_node_123 | 20 | n |  | TRUE
41 | bus_MV_131_1_node_124 | 20 | n |  | TRUE
42 | bus_MV_131_1_node_125 | 20 | n |  | TRUE
43 | bus_MV_131_1_node_128 | 20 | n |  | TRUE
44 | bus_MV_131_1_node_130 | 20 | n |  | TRUE
45 | bus_MV_131_1_node_131 | 20 | n |  | TRUE
46 | bus_MV_131_1_node_133 | 20 | n |  | TRUE
47 | bus_MV_131_1_node_136 | 20 | n |  | TRUE
48 | bus_MV_131_1_node_151 | 20 | n |  | TRUE
49 | bus_MV_131_1_node_187 | 20 | n |  | TRUE
50 | bus_MV_131_1_node_137 | 20 | n |  | TRUE
51 | bus_MV_131_1_node_138 | 20 | n |  | TRUE
52 | bus_MV_131_1_node_142 | 20 | n |  | TRUE
53 | bus_MV_131_1_node_139 | 20 | n |  | TRUE
54 | bus_MV_131_1_node_140 | 20 | n |  | TRUE
55 | bus_MV_131_1_node_149 | 20 | n |  | TRUE
56 | bus_MV_131_1_node_186 | 20 | n |  | TRUE
57 | bus_MV_131_1_node_141 | 20 | n |  | TRUE
58 | bus_MV_131_1_node_185 | 20 | n |  | TRUE
59 | bus_MV_131_1_node_148 | 20 | n |  | TRUE
60 | bus_MV_131_1_node_144 | 20 | n |  | TRUE
61 | bus_MV_131_1_node_143 | 20 | n |  | TRUE
62 | bus_MV_131_1_node_184 | 20 | n |  | TRUE
63 | bus_MV_131_1_node_145 | 20 | n |  | TRUE
64 | bus_MV_131_1_node_206 | 20 | n |  | TRUE
65 | bus_MV_131_1_node_153 | 20 | n |  | TRUE
66 | bus_MV_131_1_node_150 | 20 | n |  | TRUE
67 | bus_MV_131_1_node_152 | 20 | n |  | TRUE
68 | bus_MV_131_1_node_154 | 20 | n |  | TRUE
69 | bus_MV_131_1_node_210 | 20 | n |  | TRUE
70 | bus_MV_131_1_node_160 | 20 | n |  | TRUE
71 | bus_MV_131_1_node_161 | 20 | n |  | TRUE
72 | bus_MV_131_1_node_162 | 20 | n |  | TRUE
73 | bus_MV_131_1_node_177 | 20 | n |  | TRUE
74 | bus_MV_131_1_node_178 | 20 | n |  | TRUE
75 | bus_MV_131_1_node_179 | 20 | n |  | TRUE
76 | bus_MV_131_1_node_180 | 20 | n |  | TRUE
77 | bus_MV_131_1_node_212 | 20 | n |  | TRUE
78 | bus_MV_131_1_node_183 | 20 | n |  | TRUE
79 | bus_HV_131_1_node_212 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_131_1_load_97 | 0 | 0.14241 | 0.068974 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_131_1_load_103 | 4 | 0.087147 | 0.042207 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_131_1_load_204 | 5 | 0.13632 | 0.066024 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_131_1_load_197 | 6 | 0.12423 | 0.060166 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_131_1_load_198 | 8 | 0.10328 | 0.050019 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_131_1_load_192 | 10 | 0.15413 | 0.074648 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_131_1_load_106 | 13 | 0.12575 | 0.060903 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_131_1_load_211 | 18 | 0.32619 | 0.15798 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_131_1_load_114 | 19 | 0.16343 | 0.079155 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_131_1_load_129 | 22 | 0.13517 | 0.065463 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_131_1_load_132 | 25 | 0.19815 | 0.09597 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_131_1_load_127 | 26 | 0.29553 | 0.14313 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_131_1_load_195 | 28 | 0.27463 | 0.13301 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_131_1_load_115 | 29 | 0.16126 | 0.078103 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_131_1_load_202 | 32 | 0.077696 | 0.03763 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_131_1_load_116 | 33 | 0.13733 | 0.066512 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_131_1_load_118 | 34 | 0.37729 | 0.18273 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_131_1_load_200 | 37 | 0.12683 | 0.061426 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_131_1_load_120 | 38 | 0.2328 | 0.11275 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_131_1_load_124 | 41 | 0.091356 | 0.044246 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_131_1_load_125 | 42 | 0.27689 | 0.1341 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_131_1_load_128 | 43 | 0.36717 | 0.17783 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_131_1_load_130 | 44 | 0.1561 | 0.075601 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_131_1_load_131 | 45 | 0.12597 | 0.061008 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_131_1_load_187 | 49 | 0.17224 | 0.083418 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_131_1_load_137 | 50 | 0.33638 | 0.16292 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_131_1_load_142 | 52 | 0.09652 | 0.046747 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_131_1_load_149 | 55 | 0.29095 | 0.14091 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_131_1_load_186 | 56 | 0.088243 | 0.042738 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_131_1_load_185 | 58 | 0.11151 | 0.054008 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_131_1_load_148 | 59 | 0.09699 | 0.046975 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_131_1_load_143 | 61 | 0.34852 | 0.16879 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_131_1_load_206 | 64 | 0.13977 | 0.067693 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_131_1_load_150 | 66 | 0.16211 | 0.078516 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_131_1_load_152 | 67 | 0.27991 | 0.13556 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_131_1_load_210 | 69 | 0.082854 | 0.040128 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_131_1_load_160 | 70 | 0.071411 | 0.034586 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_131_1_load_177 | 73 | 0.67355 | 0.32622 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_131_1_load_178 | 74 | 0.19374 | 0.093833 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_131_1_load_179 | 75 | 0.462 | 0.22375 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_131_1_load_180 | 76 | 0.076614 | 0.037106 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_131_1_load_212 | 77 | 0.16245 | 0.078676 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_131_1_load_183 | 78 | 1.7425 | 0.84396 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_131_1_line_0 |  | 0 | 1 | 0.046707 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_131_1_line_1 |  | 1 | 2 | 0.70111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_131_1_line_2 |  | 1 | 3 | 0.55689 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_131_1_line_3 |  | 1 | 4 | 0.15666 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_131_1_line_4 |  | 2 | 5 | 0.062671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_131_1_line_5 |  | 3 | 6 | 0.027639 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_131_1_line_6 |  | 4 | 11 | 0.082379 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_131_1_line_7 |  | 6 | 31 | 0.10408 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_131_1_line_8 |  | 7 | 8 | 0.12737 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_131_1_line_9 |  | 7 | 9 | 0.096483 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_131_1_line_10 |  | 8 | 34 | 0.52042 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_131_1_line_11 |  | 9 | 10 | 0.084703 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_131_1_line_12 |  | 10 | 12 | 0.051544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_131_1_line_13 |  | 11 | 12 | 0.22636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_131_1_line_14 |  | 13 | 14 | 0.0035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_131_1_line_15 |  | 14 | 15 | 0.58032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_131_1_line_16 |  | 14 | 16 | 0.82572 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_131_1_line_17 |  | 15 | 19 | 0.034492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_131_1_line_18 |  | 16 | 20 | 0.56944 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
19 | MV_131_1_line_19 |  | 16 | 21 | 0.5251 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_131_1_line_20 |  | 16 | 22 | 0.012723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_131_1_line_21 |  | 16 | 17 | 0.47705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_131_1_line_22 |  | 17 | 18 | 0.021553 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_131_1_line_23 |  | 20 | 27 | 0.041028 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_131_1_line_24 |  | 20 | 28 | 0.064478 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_131_1_line_25 |  | 21 | 23 | 0.35327 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_131_1_line_26 |  | 21 | 24 | 1.1496 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
27 | MV_131_1_line_27 |  | 21 | 25 | 0.05204 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
28 | MV_131_1_line_28 |  | 22 | 43 | 0.044277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_131_1_line_29 |  | 23 | 26 | 0.046735 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_131_1_line_30 |  | 24 | 38 | 0.041984 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
31 | MV_131_1_line_31 |  | 25 | 46 | 0.003163 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
32 | MV_131_1_line_32 |  | 27 | 76 | 0.1013 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_131_1_line_33 |  | 29 | 30 | 1.3567 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
34 | MV_131_1_line_34 |  | 29 | 31 | 1.5619 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_131_1_line_35 |  | 29 | 32 | 1.6756 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_131_1_line_36 |  | 30 | 42 | 0.094709 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
37 | MV_131_1_line_37 |  | 32 | 72 | 0.18324 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_131_1_line_38 |  | 33 | 34 | 0.059202 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_131_1_line_39 |  | 33 | 35 | 0.12472 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_131_1_line_40 |  | 35 | 36 | 0.081819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_131_1_line_41 |  | 36 | 37 | 0.20317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_131_1_line_42 |  | 38 | 39 | 0.008129 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
43 | MV_131_1_line_43 |  | 39 | 40 | 0.28421 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
44 | MV_131_1_line_44 |  | 40 | 41 | 0.48764 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_131_1_line_45 |  | 40 | 42 | 0.23759 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
46 | MV_131_1_line_46 |  | 43 | 44 | 0.06469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_131_1_line_47 |  | 44 | 45 | 0.00051988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_131_1_line_48 |  | 46 | 47 | 0.080772 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_131_1_line_49 |  | 47 | 48 | 0.033489 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
50 | MV_131_1_line_50 |  | 47 | 49 | 0.023683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_131_1_line_51 |  | 48 | 55 | 0.040133 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_131_1_line_52 |  | 50 | 51 | 0.073741 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_131_1_line_53 |  | 50 | 52 | 0.12935 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_131_1_line_54 |  | 51 | 53 | 0.22009 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_131_1_line_55 |  | 51 | 54 | 0.304 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
56 | MV_131_1_line_56 |  | 53 | 55 | 0.031616 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
57 | MV_131_1_line_57 |  | 53 | 56 | 0.094395 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_131_1_line_58 |  | 54 | 57 | 0.45414 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
59 | MV_131_1_line_59 |  | 54 | 58 | 0.047569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_131_1_line_60 |  | 55 | 66 | 0.021533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_131_1_line_61 |  | 57 | 59 | 0.036988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_131_1_line_62 |  | 57 | 60 | 0.19119 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_131_1_line_63 |  | 60 | 63 | 0.059184 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_131_1_line_64 |  | 60 | 61 | 0.086465 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_131_1_line_65 |  | 61 | 62 | 0.22501 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_131_1_line_66 |  | 62 | 75 | 0.064326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_131_1_line_67 |  | 62 | 78 | 0.056453 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_131_1_line_68 |  | 63 | 64 | 0.068036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_131_1_line_69 |  | 63 | 65 | 0.11168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_131_1_line_70 |  | 65 | 68 | 0.14841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_131_1_line_71 |  | 65 | 67 | 0.072967 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_131_1_line_72 |  | 68 | 69 | 0.1605 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_131_1_line_73 |  | 70 | 71 | 0.025603 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_131_1_line_74 |  | 71 | 72 | 0.63713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_131_1_line_75 |  | 73 | 74 | 0.046671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_131_1_line_76 |  | 74 | 75 | 0.12537 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_131_1_line_77 |  | 76 | 77 | 0.052477 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_131_1_trafo_212 | 25 MVA 110/20 kV | 79 | 77 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2648312.3339 | 1226058.7187
1 | 2648284.6274 | 1226026.2739
2 | 2648764.2832 | 1225685.9163
3 | 2648231.4758 | 1225828.1541
4 | 2648160.4237 | 1226121.7494
5 | 2648748.7177 | 1225625.2069
6 | 2648258.8484 | 1225824.329
7 | 2647943.8719 | 1226014.1911
8 | 2647832.902 | 1226059.4712
9 | 2648034.5377 | 1226015.7672
10 | 2648000.0618 | 1226093.137
11 | 2648195.9546 | 1226196.0717
12 | 2648009.8039 | 1226142.6795
13 | 2649521.3753 | 1224704.0569
14 | 2649519.6215 | 1224707.0886
15 | 2649334.4834 | 1224678.1566
16 | 2649729.2058 | 1224837.0706
17 | 2649698.3008 | 1224495.991
18 | 2649707.6673 | 1224476.5794
19 | 2649317.1741 | 1224707.761
20 | 2649931.5612 | 1225092.9662
21 | 2649926.1581 | 1224572.0546
22 | 2649723.778 | 1224848.5777
23 | 2649937.2194 | 1224339.8485
24 | 2649537.6521 | 1223733.7723
25 | 2649971.7337 | 1224597.1745
26 | 2649975.0326 | 1224365.8817
27 | 2649908.8814 | 1225096.2337
28 | 2649982.7072 | 1225053.7042
29 | 2647770.8007 | 1224239.1409
30 | 2648990.1115 | 1223644.2005
31 | 2648258.2523 | 1225723.0283
32 | 2646118.9394 | 1223957.985
33 | 2647306.2156 | 1225868.3565
34 | 2647330.9216 | 1225922.1567
35 | 2647198.5083 | 1225931.2304
36 | 2647137.017 | 1225985.121
37 | 2646955.7954 | 1226070.7088
38 | 2649511.7637 | 1223701.0147
39 | 2649511.9602 | 1223692.8891
40 | 2649294.4468 | 1223576.3248
41 | 2649201.1265 | 1223097.693
42 | 2649078.0671 | 1223674.4541
43 | 2649704.8862 | 1224888.6216
44 | 2649748.5006 | 1224933.4216
45 | 2649748.9389 | 1224933.7012
46 | 2649973.4769 | 1224594.5319
47 | 2650033.7809 | 1224593.7933
48 | 2650053.4186 | 1224566.6304
49 | 2650019.7867 | 1224612.8995
50 | 2650148.4867 | 1224824.0225
51 | 2650176.3179 | 1224755.7146
52 | 2650024.3312 | 1224787.7468
53 | 2650112.7247 | 1224607.0096
54 | 2650158.6642 | 1224886.6246
55 | 2650086.7361 | 1224589.0049
56 | 2650059.9096 | 1224685.2468
57 | 2650239.1429 | 1225133.3667
58 | 2650182.6019 | 1224855.5531
59 | 2650267.3953 | 1225109.4014
60 | 2650097.0735 | 1225261.2602
61 | 2650167.3463 | 1225311.8942
62 | 2650350.1327 | 1225443.107
63 | 2650055.5402 | 1225303.326
64 | 2650111.8163 | 1225341.6452
65 | 2649985.4683 | 1225374.8817
66 | 2650074.4735 | 1224606.7052
67 | 2650044.4717 | 1225417.8098
68 | 2649862.5432 | 1225426.8056
69 | 2649747.9395 | 1225367.6995
70 | 2645920.5171 | 1223542.9339
71 | 2645939.1237 | 1223560.5199
72 | 2645957.9322 | 1224045.472
73 | 2650261.1868 | 1225628.7385
74 | 2650239.345 | 1225597.089
75 | 2650312.9255 | 1225495.5799
76 | 2649844.362 | 1225131.9994
77 | 2649825.4782 | 1225083.0383
78 | 2650397.8997 | 1225473.0733
79 | 2649825.4782 | 1225083.0383

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9856 | -0.17532 | 0.14241 | 0.068974
1 | 0.98561 | -0.1754 | 0 | 0
2 | 0.98549 | -0.17466 | 0 | 0
3 | 0.98651 | -0.1824 | 0 | 0
4 | 0.98531 | -0.17761 | 0.087147 | 0.042207
5 | 0.98548 | -0.17456 | 0.13632 | 0.066024
6 | 0.98658 | -0.18184 | 0.12423 | 0.060166
7 | 0.98463 | -0.17599 | 0 | 0
8 | 0.98451 | -0.1749 | 0.10328 | 0.050019
9 | 0.98472 | -0.1768 | 0 | 0
10 | 0.98484 | -0.17591 | 0.15413 | 0.074648
11 | 0.98517 | -0.17868 | 0 | 0
12 | 0.9849 | -0.17643 | 0 | 0
13 | 0.99715 | -0.029598 | 0.12575 | 0.060903
14 | 0.99716 | -0.029603 | 0 | 0
15 | 0.99704 | -0.028748 | 0 | 0
16 | 0.99745 | -0.03118 | 0 | 0
17 | 0.99726 | -0.029482 | 0 | 0
18 | 0.99724 | -0.029568 | 0.32619 | 0.15798
19 | 0.99703 | -0.028681 | 0.16343 | 0.079155
20 | 0.99921 | -0.022162 | 0 | 0
21 | 0.99607 | -0.038016 | 0 | 0
22 | 0.99744 | -0.031062 | 0.13517 | 0.065463
23 | 0.99594 | -0.036877 | 0 | 0
24 | 0.99465 | -0.055897 | 0 | 0
25 | 0.99588 | -0.048927 | 0.19815 | 0.09597
26 | 0.99592 | -0.036712 | 0.29553 | 0.14313
27 | 0.99934 | -0.021489 | 0 | 0
28 | 0.99917 | -0.022377 | 0.27463 | 0.13301
29 | 0.99095 | -0.14877 | 0.16126 | 0.078103
30 | 0.99364 | -0.076236 | 0 | 0
31 | 0.98676 | -0.18325 | 0 | 0
32 | 0.99048 | -0.15427 | 0.077696 | 0.03763
33 | 0.98383 | -0.17929 | 0.13733 | 0.066512
34 | 0.98385 | -0.17945 | 0.37729 | 0.18273
35 | 0.9838 | -0.17956 | 0 | 0
36 | 0.98379 | -0.17946 | 0 | 0
37 | 0.98376 | -0.17917 | 0.12683 | 0.061426
38 | 0.9946 | -0.056531 | 0.2328 | 0.11275
39 | 0.99459 | -0.056643 | 0 | 0
40 | 0.99427 | -0.060525 | 0 | 0
41 | 0.99419 | -0.061082 | 0.091356 | 0.044246
42 | 0.99372 | -0.075153 | 0.27689 | 0.1341
43 | 0.9974 | -0.030722 | 0.36717 | 0.17783
44 | 0.99738 | -0.030506 | 0.1561 | 0.075601
45 | 0.99738 | -0.030505 | 0.12597 | 0.061008
46 | 0.99587 | -0.04895 | 0 | 0
47 | 0.99573 | -0.049553 | 0 | 0
48 | 0.99568 | -0.049795 | 0 | 0
49 | 0.99573 | -0.049505 | 0.17224 | 0.083418
50 | 0.99514 | -0.056753 | 0.33638 | 0.16292
51 | 0.99518 | -0.057134 | 0 | 0
52 | 0.99511 | -0.056907 | 0.09652 | 0.046747
53 | 0.99551 | -0.055722 | 0 | 0
54 | 0.99477 | -0.058849 | 0 | 0
55 | 0.99561 | -0.050082 | 0.29095 | 0.14091
56 | 0.99549 | -0.055824 | 0.088243 | 0.042738
57 | 0.99377 | -0.069564 | 0 | 0
58 | 0.99476 | -0.058787 | 0.11151 | 0.054008
59 | 0.99376 | -0.069522 | 0.09699 | 0.046975
60 | 0.99281 | -0.06074 | 0 | 0
61 | 0.99243 | -0.057171 | 0.34852 | 0.16879
62 | 0.99108 | -0.065747 | 0 | 0
63 | 0.99277 | -0.060432 | 0 | 0
64 | 0.99276 | -0.06032 | 0.13977 | 0.067693
65 | 0.99272 | -0.060014 | 0 | 0
66 | 0.9956 | -0.050041 | 0.16211 | 0.078516
67 | 0.99269 | -0.05977 | 0.27991 | 0.13556
68 | 0.9927 | -0.059918 | 0 | 0
69 | 0.99269 | -0.059776 | 0.082854 | 0.040128
70 | 0.9904 | -0.15444 | 0.071411 | 0.034586
71 | 0.9904 | -0.15446 | 0 | 0
72 | 0.99046 | -0.15468 | 0 | 0
73 | 0.99072 | -0.065683 | 0.67355 | 0.32622
74 | 0.99076 | -0.066065 | 0.19374 | 0.093833
75 | 0.99097 | -0.064714 | 0.462 | 0.22375
76 | 0.99966 | -0.019821 | 0.076614 | 0.037106
77 | 1 | 0 | -9.9063 | -4.4604
78 | 0.99095 | -0.064551 | 1.7425 | 0.84396
79 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14241 | -0.068974 | 0.14241 | 0.067891 | 1.3354e-06 | -0.0010829 | 0.0046346 | 0.0046209 | 0.0046346 | 0.9856 | -0.17532 | 0.98561 | -0.1754 | 2.1067
1 | 0.13634 | 0.048317 | -0.13632 | -0.064571 | 1.7484e-05 | -0.016254 | 0.0042366 | 0.0044186 | 0.0044186 | 0.98561 | -0.1754 | 0.98549 | -0.17466 | 2.0084
2 | -1.2662 | -0.57377 | 1.2674 | 0.5612 | 0.0012277 | -0.012564 | 0.040714 | 0.04056 | 0.040714 | 0.98561 | -0.1754 | 0.98651 | -0.1824 | 18.5065
3 | 0.9874 | 0.45756 | -0.98712 | -0.45756 | 0.00028359 | -3.9878e-06 | 0.031874 | 0.031876 | 0.031876 | 0.98561 | -0.1754 | 0.98531 | -0.17761 | 15.1792
4 | 0.13632 | 0.064571 | -0.13632 | -0.066024 | 1.6402e-06 | -0.0014527 | 0.0044186 | 0.004437 | 0.004437 | 0.98549 | -0.17466 | 0.98548 | -0.17456 | 2.0168
5 | -1.2674 | -0.5612 | 1.2675 | 0.56122 | 8.1009e-05 | 1.8628e-05 | 0.04056 | 0.040559 | 0.04056 | 0.98651 | -0.1824 | 0.98658 | -0.18184 | 19.3141
6 | 0.89997 | 0.41536 | -0.89984 | -0.41537 | 0.00012378 | -1.7929e-05 | 0.02904 | 0.029041 | 0.029041 | 0.98531 | -0.17761 | 0.98517 | -0.17868 | 13.8291
7 | -1.3917 | -0.62139 | 1.392 | 0.61905 | 0.00027616 | -0.0023373 | 0.044596 | 0.044567 | 0.044596 | 0.98658 | -0.18184 | 0.98676 | -0.18325 | 20.2708
8 | 0.74524 | 0.34932 | -0.74514 | -0.35224 | 9.9155e-05 | -0.0029184 | 0.02413 | 0.024167 | 0.024167 | 0.98463 | -0.17599 | 0.98451 | -0.1749 | 10.985
9 | -0.74524 | -0.34932 | 0.74531 | 0.34711 | 7.4913e-05 | -0.0022114 | 0.02413 | 0.024103 | 0.02413 | 0.98463 | -0.17599 | 0.98472 | -0.1768 | 10.9683
10 | 0.64186 | 0.30222 | -0.64146 | -0.30257 | 0.0004014 | -0.00035036 | 0.020803 | 0.02081 | 0.02081 | 0.98451 | -0.1749 | 0.98385 | -0.17945 | 9.9096
11 | -0.74531 | -0.34711 | 0.7454 | 0.34707 | 8.7668e-05 | -4.3153e-05 | 0.024103 | 0.024101 | 0.024103 | 0.98472 | -0.1768 | 0.98484 | -0.17591 | 11.4774
12 | -0.89953 | -0.42172 | 0.89959 | 0.42054 | 5.8323e-05 | -0.0011764 | 0.029121 | 0.029106 | 0.029121 | 0.98484 | -0.17591 | 0.9849 | -0.17643 | 13.2366
13 | 0.89984 | 0.41537 | -0.89959 | -0.42054 | 0.00025543 | -0.0051683 | 0.029041 | 0.029106 | 0.029106 | 0.98517 | -0.17868 | 0.9849 | -0.17643 | 13.2299
14 | -0.12575 | -0.060903 | 0.12575 | 0.06082 | 7.6452e-08 | -8.3069e-05 | 0.0040449 | 0.0040438 | 0.0040449 | 0.99715 | -0.029598 | 0.99716 | -0.029603 | 1.8386
15 | 0.16346 | 0.064567 | -0.16344 | -0.078337 | 2.0663e-05 | -0.013769 | 0.0050878 | 0.0052475 | 0.0052475 | 0.99716 | -0.029603 | 0.99704 | -0.028748 | 2.3852
16 | -0.28921 | -0.12539 | 0.28929 | 0.1058 | 8.9615e-05 | -0.019582 | 0.0091255 | 0.0089149 | 0.0091255 | 0.99716 | -0.029603 | 0.99745 | -0.03118 | 4.1479
17 | 0.16344 | 0.078337 | -0.16343 | -0.079155 | 1.2704e-06 | -0.00081828 | 0.0052475 | 0.0052578 | 0.0052578 | 0.99704 | -0.028748 | 0.99703 | -0.028681 | 2.3899
18 | -9.5189 | -4.3082 | 9.535 | 4.2816 | 0.016067 | -0.026612 | 0.30239 | 0.30197 | 0.30239 | 0.99745 | -0.03118 | 0.99921 | -0.022162 | 47.3967
19 | 8.1189 | 3.6787 | -8.1081 | -3.7054 | 0.010814 | -0.02669 | 0.25797 | 0.25836 | 0.25836 | 0.99745 | -0.03118 | 0.99607 | -0.038016 | 40.4952
20 | 0.78445 | 0.37701 | -0.78444 | -0.37731 | 1.0778e-05 | -0.00029903 | 0.025189 | 0.025193 | 0.025193 | 0.99745 | -0.03118 | 0.99744 | -0.031062 | 11.4512
21 | 0.32626 | 0.14665 | -0.32619 | -0.15796 | 6.9158e-05 | -0.011309 | 0.010352 | 0.010491 | 0.010491 | 0.99745 | -0.03118 | 0.99726 | -0.029482 | 4.7687
22 | 0.32619 | 0.15796 | -0.32619 | -0.15798 | 4.2267e-06 | -2.2941e-05 | 0.010491 | 0.010491 | 0.010491 | 0.99726 | -0.029482 | 0.99724 | -0.029568 | 4.9959
23 | -9.8096 | -4.4145 | 9.8108 | 4.4126 | 0.0012243 | -0.0018847 | 0.31078 | 0.31075 | 0.31078 | 0.99921 | -0.022162 | 0.99934 | -0.021489 | 48.7114
24 | 0.27464 | 0.13294 | -0.27463 | -0.13301 | 8.9281e-06 | -7.1257e-05 | 0.0088152 | 0.0088162 | 0.0088162 | 0.99921 | -0.022162 | 0.99917 | -0.022377 | 4.1982
25 | 0.29558 | 0.13367 | -0.29553 | -0.14203 | 4.2135e-05 | -0.008355 | 0.0094014 | 0.0095039 | 0.0095039 | 0.99607 | -0.038016 | 0.99594 | -0.036877 | 4.32
26 | 2.3174 | 0.99628 | -2.3144 | -1.0332 | 0.0029858 | -0.036903 | 0.073105 | 0.073559 | 0.073559 | 0.99607 | -0.038016 | 0.99465 | -0.055897 | 20.3203
27 | 5.4951 | 2.5754 | -5.4946 | -2.574 | 0.0005747 | 0.001474 | 0.17588 | 0.17588 | 0.17588 | 0.99607 | -0.038016 | 0.99588 | -0.048927 | 27.2684
28 | 0.64927 | 0.31185 | -0.64924 | -0.31289 | 2.5703e-05 | -0.0010441 | 0.020846 | 0.020859 | 0.020859 | 0.99744 | -0.031062 | 0.9974 | -0.030722 | 9.4815
29 | 0.29553 | 0.14203 | -0.29553 | -0.14313 | 5.6437e-06 | -0.0011051 | 0.0095039 | 0.0095179 | 0.0095179 | 0.99594 | -0.036877 | 0.99592 | -0.036712 | 4.3263
30 | 2.3144 | 1.0332 | -2.3143 | -1.0345 | 0.00010975 | -0.0013451 | 0.073559 | 0.073576 | 0.073576 | 0.99465 | -0.055897 | 0.9946 | -0.056531 | 20.3249
31 | 5.2964 | 2.478 | -5.2964 | -2.4782 | 2.808e-05 | -0.00018129 | 0.1695 | 0.1695 | 0.1695 | 0.99588 | -0.048927 | 0.99587 | -0.04895 | 26.5677
32 | -9.8108 | -4.4126 | 9.8139 | 4.408 | 0.0030219 | -0.0046568 | 0.31075 | 0.31067 | 0.31075 | 0.99934 | -0.021489 | 0.99966 | -0.019821 | 48.7066
33 | -1.7079 | -0.75335 | 1.7116 | 0.75588 | 0.0036816 | 0.0025323 | 0.054379 | 0.054359 | 0.054379 | 0.99095 | -0.14877 | 0.99364 | -0.076236 | 15.5369
34 | 1.3975 | 0.62069 | -1.392 | -0.61905 | 0.0055246 | 0.0016372 | 0.044545 | 0.044567 | 0.044567 | 0.99095 | -0.14877 | 0.98676 | -0.18325 | 21.2224
35 | 0.14918 | 0.054558 | -0.14911 | -0.056481 | 6.4196e-05 | -0.0019232 | 0.0046272 | 0.0046472 | 0.0046472 | 0.99095 | -0.14877 | 0.99048 | -0.15427 | 2.2129
36 | -1.7116 | -0.75588 | 1.7117 | 0.75277 | 0.00013508 | -0.00311 | 0.054359 | 0.054322 | 0.054359 | 0.99364 | -0.076236 | 0.99372 | -0.075153 | 15.0164
37 | 0.071416 | 0.018851 | -0.071415 | -0.019065 | 1.5141e-06 | -0.00021366 | 0.0021527 | 0.0021543 | 0.0021543 | 0.99048 | -0.15427 | 0.99046 | -0.15468 | 1.0259
38 | -0.26417 | -0.12121 | 0.26418 | 0.11985 | 5.737e-06 | -0.0013665 | 0.0085283 | 0.0085116 | 0.0085283 | 0.98383 | -0.17929 | 0.98385 | -0.17945 | 3.8765
39 | 0.12684 | 0.054701 | -0.12684 | -0.054842 | 3.6517e-06 | -0.00014182 | 0.004053 | 0.0040547 | 0.0040547 | 0.98383 | -0.17929 | 0.9838 | -0.17956 | 1.9308
40 | 0.12684 | 0.054842 | -0.12683 | -0.056733 | 1.8056e-06 | -0.0018902 | 0.0040547 | 0.004077 | 0.004077 | 0.9838 | -0.17956 | 0.98379 | -0.17946 | 1.8532
41 | 0.12683 | 0.056733 | -0.12683 | -0.061426 | 4.572e-06 | -0.0046934 | 0.004077 | 0.0041352 | 0.0041352 | 0.98379 | -0.17946 | 0.98376 | -0.17917 | 1.8796
42 | 2.0815 | 0.92178 | -2.0815 | -0.92205 | 1.7141e-05 | -0.00026341 | 0.066073 | 0.066076 | 0.066076 | 0.9946 | -0.056531 | 0.99459 | -0.056643 | 18.253
43 | 2.0815 | 0.92205 | -2.0809 | -0.93125 | 0.00060037 | -0.0092056 | 0.066076 | 0.06619 | 0.06619 | 0.99459 | -0.056643 | 0.99427 | -0.060525 | 18.2844
44 | 0.091363 | 0.043675 | -0.091356 | -0.044246 | 7.529e-06 | -0.00057074 | 0.0029401 | 0.0029474 | 0.0029474 | 0.99427 | -0.060525 | 0.99419 | -0.061082 | 1.4035
45 | 1.9895 | 0.88758 | -1.9886 | -0.88687 | 0.00087262 | 0.0007031 | 0.063251 | 0.063254 | 0.063254 | 0.99427 | -0.060525 | 0.99372 | -0.075153 | 18.0726
46 | 0.28207 | 0.13506 | -0.28206 | -0.1366 | 7.0906e-06 | -0.0015344 | 0.0090515 | 0.0090708 | 0.0090708 | 0.9974 | -0.030722 | 0.99738 | -0.030506 | 4.1231
47 | 0.12597 | 0.060996 | -0.12597 | -0.061008 | 1.1317e-08 | -1.2345e-05 | 0.0040508 | 0.004051 | 0.004051 | 0.99738 | -0.030506 | 0.99738 | -0.030505 | 1.8413
48 | 5.2964 | 2.4782 | -5.2957 | -2.4828 | 0.00071734 | -0.0046286 | 0.1695 | 0.16956 | 0.16956 | 0.99587 | -0.04895 | 0.99573 | -0.049553 | 26.5774
49 | 5.1234 | 2.4 | -5.1231 | -2.4019 | 0.00027844 | -0.0019293 | 0.16402 | 0.16405 | 0.16405 | 0.99573 | -0.049553 | 0.99568 | -0.049795 | 25.7129
50 | 0.17224 | 0.082858 | -0.17224 | -0.083418 | 9.7201e-07 | -0.00056035 | 0.0055412 | 0.0055482 | 0.0055482 | 0.99573 | -0.049553 | 0.99573 | -0.049505 | 2.5219
51 | 5.1231 | 2.4019 | -5.1228 | -2.4042 | 0.0003338 | -0.0023118 | 0.16405 | 0.16408 | 0.16408 | 0.99568 | -0.049795 | 0.99561 | -0.050082 | 25.7177
52 | -0.4329 | -0.20951 | 0.43292 | 0.20777 | 1.9131e-05 | -0.001738 | 0.013951 | 0.013929 | 0.013951 | 0.99514 | -0.056753 | 0.99518 | -0.057134 | 6.3414
53 | 0.096522 | 0.046595 | -0.09652 | -0.046747 | 2.2291e-06 | -0.00015152 | 0.0031091 | 0.0031111 | 0.0031111 | 0.99514 | -0.056753 | 0.99511 | -0.056907 | 1.4815
54 | -4.5798 | -2.1549 | 4.5812 | 2.142 | 0.0014643 | -0.012876 | 0.14682 | 0.14665 | 0.14682 | 0.99518 | -0.057134 | 0.99551 | -0.055722 | 23.0122
55 | 4.1469 | 1.9471 | -4.1452 | -1.9651 | 0.0016618 | -0.017974 | 0.13289 | 0.13312 | 0.13312 | 0.99518 | -0.057134 | 0.99477 | -0.058849 | 20.8657
56 | -4.6695 | -2.1846 | 4.6697 | 2.1853 | 0.00025223 | 0.00063496 | 0.14949 | 0.14949 | 0.14949 | 0.99551 | -0.055722 | 0.99561 | -0.050082 | 23.1769
57 | 0.088244 | 0.042627 | -0.088243 | -0.042738 | 1.3589e-06 | -0.00011083 | 0.0028418 | 0.0028432 | 0.0028432 | 0.99551 | -0.055722 | 0.99549 | -0.055824 | 1.3539
58 | 4.0337 | 1.9122 | -4.03 | -1.9249 | 0.0036864 | -0.012723 | 0.12954 | 0.12973 | 0.12973 | 0.99477 | -0.058849 | 0.99377 | -0.069564 | 35.8381
59 | 0.11151 | 0.052885 | -0.11151 | -0.054008 | 8.1779e-07 | -0.0011237 | 0.0035815 | 0.0035956 | 0.0035956 | 0.99477 | -0.058849 | 0.99476 | -0.058787 | 1.6344
60 | 0.16212 | 0.078006 | -0.16211 | -0.078516 | 7.8317e-07 | -0.00050939 | 0.0052164 | 0.0052228 | 0.0052228 | 0.99561 | -0.050082 | 0.9956 | -0.050041 | 2.374
61 | 0.096991 | 0.046103 | -0.09699 | -0.046975 | 4.8221e-07 | -0.00087201 | 0.0031195 | 0.0031305 | 0.0031305 | 0.99377 | -0.069564 | 0.99376 | -0.069522 | 1.4229
62 | 3.933 | 1.8788 | -3.9289 | -1.8821 | 0.0040937 | -0.0032896 | 0.12661 | 0.12667 | 0.12667 | 0.99377 | -0.069564 | 0.99281 | -0.06074 | 57.5777
63 | 0.50258 | 0.22879 | -0.50256 | -0.23018 | 2.0391e-05 | -0.0013867 | 0.016056 | 0.016073 | 0.016073 | 0.99281 | -0.06074 | 0.99277 | -0.060432 | 7.306
64 | 3.4263 | 1.6533 | -3.4249 | -1.6549 | 0.0014128 | -0.001615 | 0.11062 | 0.11064 | 0.11064 | 0.99281 | -0.06074 | 0.99243 | -0.057171 | 50.2927
65 | 3.0764 | 1.4861 | -3.0724 | -1.4839 | 0.0039595 | 0.0022159 | 0.09938 | 0.099383 | 0.099383 | 0.99243 | -0.057171 | 0.99108 | -0.065747 | 47.3253
66 | 1.3297 | 0.64122 | -1.3295 | -0.64268 | 0.00015883 | -0.0014613 | 0.042997 | 0.043017 | 0.043017 | 0.99108 | -0.065747 | 0.99097 | -0.064714 | 19.553
67 | 1.7428 | 0.8427 | -1.7425 | -0.84396 | 0.00023968 | -0.0012527 | 0.056386 | 0.056403 | 0.056403 | 0.99108 | -0.065747 | 0.99095 | -0.064551 | 25.6375
68 | 0.13977 | 0.066093 | -0.13977 | -0.067693 | 1.8439e-06 | -0.0016005 | 0.0044957 | 0.0045158 | 0.0045158 | 0.99277 | -0.060432 | 0.99276 | -0.06032 | 2.0526
69 | 0.36279 | 0.16409 | -0.36277 | -0.16671 | 2.004e-05 | -0.002622 | 0.011578 | 0.01161 | 0.01161 | 0.99277 | -0.060432 | 0.99272 | -0.060014 | 5.2771
70 | 0.082857 | 0.032861 | -0.082856 | -0.036352 | 1.3509e-06 | -0.0034917 | 0.002592 | 0.0026311 | 0.0026311 | 0.99272 | -0.060014 | 0.9927 | -0.059918 | 1.196
71 | 0.27991 | 0.13385 | -0.27991 | -0.13556 | 7.9487e-06 | -0.0017145 | 0.0090224 | 0.0090441 | 0.0090441 | 0.99272 | -0.060014 | 0.99269 | -0.05977 | 4.1109
72 | 0.082856 | 0.036352 | -0.082854 | -0.040128 | 1.5089e-06 | -0.003776 | 0.0026311 | 0.0026771 | 0.0026771 | 0.9927 | -0.059918 | 0.99269 | -0.059776 | 1.2169
73 | -0.071411 | -0.034586 | 0.071411 | 0.033986 | 1.8222e-07 | -0.00059958 | 0.0023127 | 0.0023051 | 0.0023127 | 0.9904 | -0.15444 | 0.9904 | -0.15446 | 1.0512
74 | -0.071411 | -0.033986 | 0.071415 | 0.019065 | 4.1934e-06 | -0.014921 | 0.0023051 | 0.0021543 | 0.0023051 | 0.9904 | -0.15446 | 0.99046 | -0.15468 | 1.0478
75 | -0.67355 | -0.32622 | 0.67358 | 0.32513 | 2.9609e-05 | -0.001085 | 0.021807 | 0.021793 | 0.021807 | 0.99072 | -0.065683 | 0.99076 | -0.066065 | 9.9121
76 | -0.86732 | -0.41896 | 0.8675 | 0.41893 | 0.00017593 | -3.6752e-05 | 0.028065 | 0.028063 | 0.028065 | 0.99076 | -0.066065 | 0.99097 | -0.064714 | 13.3642
77 | -9.8905 | -4.4451 | 9.8923 | 4.4499 | 0.0018369 | 0.004867 | 0.31313 | 0.31313 | 0.31313 | 0.99966 | -0.019821 | 1 | 0 | 48.5473

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.0688 | 4.5391

## res_load
| p_mw | q_mvar
0 | 0.14241 | 0.068974
1 | 0.087147 | 0.042207
2 | 0.13632 | 0.066024
3 | 0.12423 | 0.060166
4 | 0.10328 | 0.050019
5 | 0.15413 | 0.074648
6 | 0.12575 | 0.060903
7 | 0.32619 | 0.15798
8 | 0.16343 | 0.079155
9 | 0.13517 | 0.065463
10 | 0.19815 | 0.09597
11 | 0.29553 | 0.14313
12 | 0.27463 | 0.13301
13 | 0.16126 | 0.078103
14 | 0.077696 | 0.03763
15 | 0.13733 | 0.066512
16 | 0.37729 | 0.18273
17 | 0.12683 | 0.061426
18 | 0.2328 | 0.11275
19 | 0.091356 | 0.044246
20 | 0.27689 | 0.1341
21 | 0.36717 | 0.17783
22 | 0.1561 | 0.075601
23 | 0.12597 | 0.061008
24 | 0.17224 | 0.083418
25 | 0.33638 | 0.16292
26 | 0.09652 | 0.046747
27 | 0.29095 | 0.14091
28 | 0.088243 | 0.042738
29 | 0.11151 | 0.054008
30 | 0.09699 | 0.046975
31 | 0.34852 | 0.16879
32 | 0.13977 | 0.067693
33 | 0.16211 | 0.078516
34 | 0.27991 | 0.13556
35 | 0.082854 | 0.040128
36 | 0.071411 | 0.034586
37 | 0.67355 | 0.32622
38 | 0.19374 | 0.093833
39 | 0.462 | 0.22375
40 | 0.076614 | 0.037106
41 | 0.16245 | 0.078676
42 | 1.7425 | 0.84396

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1