## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_132_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_132_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_132_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_132_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_132_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_132_0_node_34 | 20 | n |  | TRUE
6 | bus_MV_132_0_node_43 | 20 | n |  | TRUE
7 | bus_MV_132_0_node_24 | 20 | n |  | TRUE
8 | bus_MV_132_0_node_25 | 20 | n |  | TRUE
9 | bus_MV_132_0_node_26 | 20 | n |  | TRUE
10 | bus_MV_132_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_132_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_132_0_node_6 | 20 | n |  | TRUE
13 | bus_MV_132_0_node_55 | 20 | n |  | TRUE
14 | bus_MV_132_0_node_8 | 20 | n |  | TRUE
15 | bus_MV_132_0_node_9 | 20 | n |  | TRUE
16 | bus_MV_132_0_node_51 | 20 | n |  | TRUE
17 | bus_MV_132_0_node_52 | 20 | n |  | TRUE
18 | bus_MV_132_0_node_59 | 20 | n |  | TRUE
19 | bus_MV_132_0_node_53 | 20 | n |  | TRUE
20 | bus_MV_132_0_node_54 | 20 | n |  | TRUE
21 | bus_MV_132_0_node_56 | 20 | n |  | TRUE
22 | bus_MV_132_0_node_58 | 20 | n |  | TRUE
23 | bus_MV_132_0_node_78 | 20 | n |  | TRUE
24 | bus_MV_132_0_node_23 | 20 | n |  | TRUE
25 | bus_MV_132_0_node_69 | 20 | n |  | TRUE
26 | bus_MV_132_0_node_60 | 20 | n |  | TRUE
27 | bus_MV_132_0_node_73 | 20 | n |  | TRUE
28 | bus_MV_132_0_node_77 | 20 | n |  | TRUE
29 | bus_MV_132_0_node_71 | 20 | n |  | TRUE
30 | bus_MV_132_0_node_79 | 20 | n |  | TRUE
31 | bus_MV_132_0_node_49 | 20 | n |  | TRUE
32 | bus_MV_132_0_node_21 | 20 | n |  | TRUE
33 | bus_MV_132_0_node_10 | 20 | n |  | TRUE
34 | bus_MV_132_0_node_11 | 20 | n |  | TRUE
35 | bus_MV_132_0_node_12 | 20 | n |  | TRUE
36 | bus_MV_132_0_node_44 | 20 | n |  | TRUE
37 | bus_MV_132_0_node_45 | 20 | n |  | TRUE
38 | bus_MV_132_0_node_46 | 20 | n |  | TRUE
39 | bus_MV_132_0_node_47 | 20 | n |  | TRUE
40 | bus_MV_132_0_node_48 | 20 | n |  | TRUE
41 | bus_MV_132_0_node_50 | 20 | n |  | TRUE
42 | bus_MV_132_0_node_76 | 20 | n |  | TRUE
43 | bus_MV_132_0_node_61 | 20 | n |  | TRUE
44 | bus_MV_132_0_node_62 | 20 | n |  | TRUE
45 | bus_MV_132_0_node_67 | 20 | n |  | TRUE
46 | bus_MV_132_0_node_63 | 20 | n |  | TRUE
47 | bus_MV_132_0_node_64 | 20 | n |  | TRUE
48 | bus_MV_132_0_node_65 | 20 | n |  | TRUE
49 | bus_MV_132_0_node_66 | 20 | n |  | TRUE
50 | bus_MV_132_0_node_68 | 20 | n |  | TRUE
51 | bus_MV_132_0_node_18 | 20 | n |  | TRUE
52 | bus_MV_132_0_node_19 | 20 | n |  | TRUE
53 | bus_MV_132_0_node_17 | 20 | n |  | TRUE
54 | bus_MV_132_0_node_13 | 20 | n |  | TRUE
55 | bus_MV_132_0_node_14 | 20 | n |  | TRUE
56 | bus_MV_132_0_node_22 | 20 | n |  | TRUE
57 | bus_MV_132_0_node_15 | 20 | n |  | TRUE
58 | bus_MV_132_0_node_16 | 20 | n |  | TRUE
59 | bus_MV_132_0_node_20 | 20 | n |  | TRUE
60 | bus_MV_132_0_node_74 | 20 | n |  | TRUE
61 | bus_MV_132_0_node_30 | 20 | n |  | TRUE
62 | bus_MV_132_0_node_28 | 20 | n |  | TRUE
63 | bus_MV_132_0_node_29 | 20 | n |  | TRUE
64 | bus_MV_132_0_node_31 | 20 | n |  | TRUE
65 | bus_MV_132_0_node_72 | 20 | n |  | TRUE
66 | bus_MV_132_0_node_70 | 20 | n |  | TRUE
67 | bus_MV_132_0_node_41 | 20 | n |  | TRUE
68 | bus_MV_132_0_node_33 | 20 | n |  | TRUE
69 | bus_MV_132_0_node_40 | 20 | n |  | TRUE
70 | bus_MV_132_0_node_32 | 20 | n |  | TRUE
71 | bus_MV_132_0_node_38 | 20 | n |  | TRUE
72 | bus_MV_132_0_node_36 | 20 | n |  | TRUE
73 | bus_MV_132_0_node_35 | 20 | n |  | TRUE
74 | bus_MV_132_0_node_37 | 20 | n |  | TRUE
75 | bus_MV_132_0_node_39 | 20 | n |  | TRUE
76 | bus_MV_132_0_node_75 | 20 | n |  | TRUE
77 | bus_MV_132_0_node_42 | 20 | n |  | TRUE
78 | bus_HV_132_0_node_79 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_132_0_load_0 | 0 | 0.095427 | 0.046217 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_132_0_load_34 | 5 | 0.13319 | 0.064505 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_132_0_load_43 | 6 | 0.16177 | 0.078347 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_132_0_load_25 | 8 | 0.10922 | 0.052899 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_132_0_load_5 | 10 | 0.07117 | 0.034469 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_132_0_load_7 | 11 | 0.15202 | 0.073626 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_132_0_load_8 | 14 | 0.13874 | 0.067197 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_132_0_load_9 | 15 | 0.11346 | 0.054953 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_132_0_load_51 | 16 | 0.14275 | 0.069135 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_132_0_load_54 | 20 | 0.1507 | 0.072986 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_132_0_load_56 | 21 | 0.15715 | 0.07611 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_132_0_load_78 | 23 | 0.164 | 0.079428 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_132_0_load_23 | 24 | 0.15916 | 0.077083 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_132_0_load_69 | 25 | 0.050794 | 0.024601 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_132_0_load_60 | 26 | 0.15212 | 0.073677 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_132_0_load_77 | 28 | 0.14782 | 0.071593 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_132_0_load_79 | 30 | 0.094386 | 0.045713 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_132_0_load_49 | 31 | 0.12708 | 0.061546 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_132_0_load_10 | 33 | 0.15835 | 0.076694 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_132_0_load_44 | 36 | 0.15844 | 0.076737 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_132_0_load_50 | 41 | 0.15127 | 0.073263 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_132_0_load_76 | 42 | 0.13127 | 0.063575 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_132_0_load_67 | 45 | 0.1236 | 0.059861 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_132_0_load_63 | 46 | 0.1545 | 0.074829 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_132_0_load_68 | 50 | 0.067849 | 0.032861 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_132_0_load_19 | 52 | 0.10882 | 0.052702 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_132_0_load_17 | 53 | 0.14389 | 0.069691 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_132_0_load_13 | 54 | 0.16375 | 0.079306 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_132_0_load_15 | 57 | 0.19951 | 0.096626 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_132_0_load_20 | 59 | 0.090218 | 0.043694 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_132_0_load_74 | 60 | 0.077443 | 0.037507 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_132_0_load_28 | 62 | 0.15175 | 0.073494 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_132_0_load_70 | 66 | 0.13912 | 0.06738 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_132_0_load_33 | 68 | 0.082968 | 0.040183 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_132_0_load_32 | 70 | 0.16231 | 0.07861 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_132_0_load_38 | 71 | 0.094355 | 0.045698 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_132_0_load_35 | 73 | 0.092996 | 0.04504 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_132_0_load_75 | 76 | 0.12455 | 0.060321 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_132_0_load_42 | 77 | 0.11375 | 0.05509 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_132_0_line_0 |  | 0 | 1 | 0.0064 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_132_0_line_1 |  | 0 | 2 | 0.085569 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_132_0_line_2 |  | 1 | 3 | 0.086416 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_132_0_line_3 |  | 2 | 4 | 0.0062374 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_132_0_line_4 |  | 3 | 8 | 0.015632 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_132_0_line_5 |  | 3 | 6 | 0.073901 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_132_0_line_6 |  | 4 | 5 | 0.046962 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_132_0_line_7 |  | 6 | 7 | 0.021595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_132_0_line_8 |  | 7 | 56 | 0.16466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_132_0_line_9 |  | 8 | 9 | 0.0259 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_132_0_line_10 |  | 9 | 71 | 0.087013 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_132_0_line_11 |  | 10 | 11 | 0.028909 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_132_0_line_12 |  | 10 | 12 | 0.15238 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_132_0_line_13 |  | 10 | 13 | 2.2413 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_132_0_line_14 |  | 12 | 14 | 0.029301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_132_0_line_15 |  | 12 | 15 | 0.12218 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_132_0_line_16 |  | 13 | 20 | 0.037192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_132_0_line_17 |  | 15 | 24 | 0.079472 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_132_0_line_18 |  | 16 | 17 | 0.035435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_132_0_line_19 |  | 16 | 18 | 5.3732 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_132_0_line_20 |  | 17 | 19 | 0.10369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_132_0_line_21 |  | 18 | 23 | 0.10282 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_132_0_line_22 |  | 18 | 22 | 0.002313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_132_0_line_23 |  | 19 | 20 | 0.033812 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_132_0_line_24 |  | 21 | 22 | 0.060002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_132_0_line_25 |  | 24 | 32 | 0.036261 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_132_0_line_26 |  | 25 | 26 | 3.6477 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_132_0_line_27 |  | 26 | 43 | 0.016454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_132_0_line_28 |  | 27 | 28 | 0.019998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_132_0_line_29 |  | 27 | 29 | 0.094184 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_132_0_line_30 |  | 28 | 30 | 0.32291 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
31 | MV_132_0_line_31 |  | 29 | 65 | 0.06774 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_132_0_line_32 |  | 29 | 66 | 0.0345 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_132_0_line_33 |  | 30 | 31 | 2.9483 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_132_0_line_34 |  | 31 | 38 | 0.026593 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_132_0_line_35 |  | 32 | 59 | 0.008559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_132_0_line_36 |  | 33 | 34 | 0.093867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_132_0_line_37 |  | 34 | 35 | 0.4014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_132_0_line_38 |  | 35 | 51 | 0.055692 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_132_0_line_39 |  | 36 | 37 | 0.030313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_132_0_line_40 |  | 37 | 38 | 0.30554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_132_0_line_41 |  | 37 | 39 | 0.097177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_132_0_line_42 |  | 39 | 40 | 0.065635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_132_0_line_43 |  | 39 | 41 | 0.041443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_132_0_line_44 |  | 40 | 42 | 0.059945 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_132_0_line_45 |  | 42 | 43 | 4.2564 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_132_0_line_46 |  | 43 | 44 | 0.14551 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_132_0_line_47 |  | 44 | 45 | 0.00427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_132_0_line_48 |  | 45 | 48 | 0.015238 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_132_0_line_49 |  | 46 | 47 | 0.047149 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_132_0_line_50 |  | 47 | 48 | 0.091173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_132_0_line_51 |  | 47 | 49 | 1.2669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_132_0_line_52 |  | 49 | 50 | 0.006845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_132_0_line_53 |  | 51 | 52 | 0.10131 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_132_0_line_54 |  | 51 | 53 | 0.099156 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_132_0_line_55 |  | 52 | 67 | 0.013871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_132_0_line_56 |  | 52 | 68 | 0.10488 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_132_0_line_57 |  | 54 | 55 | 0.056755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_132_0_line_58 |  | 54 | 56 | 0.12416 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_132_0_line_59 |  | 55 | 57 | 0.007281 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_132_0_line_60 |  | 55 | 58 | 0.035762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_132_0_line_61 |  | 56 | 59 | 0.012991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_132_0_line_62 |  | 58 | 60 | 0.003177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_132_0_line_63 |  | 60 | 61 | 0.036456 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_132_0_line_64 |  | 61 | 65 | 0.08587 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_132_0_line_65 |  | 61 | 63 | 0.060587 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_132_0_line_66 |  | 62 | 63 | 0.036771 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_132_0_line_67 |  | 63 | 64 | 0.088331 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_132_0_line_68 |  | 64 | 70 | 0.02733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_132_0_line_69 |  | 67 | 69 | 0.0221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_132_0_line_70 |  | 68 | 70 | 0.022317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_132_0_line_71 |  | 69 | 77 | 0.048288 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_132_0_line_72 |  | 71 | 72 | 0.019327 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_132_0_line_73 |  | 72 | 73 | 0.004449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_132_0_line_74 |  | 73 | 74 | 0.046423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_132_0_line_75 |  | 74 | 75 | 0.003435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_132_0_line_76 |  | 75 | 76 | 0.031535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_132_0_trafo_79 | 25 MVA 110/20 kV | 78 | 30 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2688426.1092 | 1165235.1251
1 | 2688431.8492 | 1165237.989
2 | 2688349.6754 | 1165196.6559
3 | 2688508.5954 | 1165277.5423
4 | 2688345.6164 | 1165198.7308
5 | 2688320.7296 | 1165238.5892
6 | 2688473.306 | 1165342.4732
7 | 2688490.7003 | 1165355.337
8 | 2688523.5684 | 1165282.1767
9 | 2688531.3993 | 1165257.4882
10 | 2688130.2483 | 1165363.7027
11 | 2688156.1314 | 1165350.8261
12 | 2688209.9032 | 1165493.6048
13 | 2686586.8023 | 1163738.5571
14 | 2688223.8196 | 1165519.0688
15 | 2688318.3148 | 1165437.2514
16 | 2686435.6941 | 1163613.2861
17 | 2686454.3494 | 1163642.9831
18 | 2681558.0713 | 1161359.3926
19 | 2686521.6925 | 1163719.6642
20 | 2686550.1251 | 1163737.9621
21 | 2681503.6237 | 1161388.7464
22 | 2681555.9512 | 1161360.331
23 | 2681527.7003 | 1161261.1568
24 | 2688388.7835 | 1165400.5094
25 | 2685543.8113 | 1175276.2117
26 | 2688696.0789 | 1173440.7661
27 | 2688437.3697 | 1165802.0442
28 | 2688423.0408 | 1165815.6416
29 | 2688508.4292 | 1165742.643
30 | 2688193.6297 | 1166042.8864
31 | 2687943.4754 | 1168980.5298
32 | 2688418.495 | 1165421.0142
33 | 2688998.1261 | 1165697.5902
34 | 2689084.234 | 1165663.4338
35 | 2688848.921 | 1165482.9532
36 | 2687954.6472 | 1169165.6833
37 | 2687925.79 | 1169160.6801
38 | 2687957.9972 | 1169002.8226
39 | 2687858.523 | 1169171.6471
40 | 2687904.7637 | 1169214.1381
41 | 2687817.5062 | 1169166.511
42 | 2687959.4031 | 1169239.1418
43 | 2688707.844 | 1173429.2329
44 | 2688781.5319 | 1173473.3046
45 | 2688783.0791 | 1173477.2855
46 | 2688877.107 | 1173514.833
47 | 2688830.0757 | 1173518.1612
48 | 2688788.3436 | 1173491.5832
49 | 2689392.3031 | 1174205.2055
50 | 2689386.7974 | 1174209.2927
51 | 2688801.8334 | 1165453.7176
52 | 2688736.0398 | 1165407.6293
53 | 2688771.1624 | 1165548.0105
54 | 2688466.9283 | 1165551.9503
55 | 2688516.4553 | 1165579.9184
56 | 2688426.236 | 1165434.6474
57 | 2688519.98 | 1165573.5443
58 | 2688549.0982 | 1165594.2078
59 | 2688414.6679 | 1165428.6737
60 | 2688551.9648 | 1165595.5953
61 | 2688585.1359 | 1165610.9266
62 | 2688643.8357 | 1165570.0862
63 | 2688610.0049 | 1165555.682
64 | 2688650.5511 | 1165480.1675
65 | 2688550.3595 | 1165689.4395
66 | 2688525.6325 | 1165772.5477
67 | 2688744.9925 | 1165397.2552
68 | 2688639.1635 | 1165447.8051
69 | 2688748.3368 | 1165375.6471
70 | 2688626.9111 | 1165466.4578
71 | 2688611.7269 | 1165290.9363
72 | 2688603.5877 | 1165308.4714
73 | 2688607.7853 | 1165309.9786
74 | 2688651.2728 | 1165326.4185
75 | 2688654.407 | 1165327.8434
76 | 2688683.186 | 1165340.9202
77 | 2688794.6361 | 1165389.3613
78 | 2688193.6297 | 1166042.8864

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99594 | -0.030391 | 0.095427 | 0.046217
1 | 0.99594 | -0.030409 | 0 | 0
2 | 0.99591 | -0.03054 | 0 | 0
3 | 0.99596 | -0.030633 | 0 | 0
4 | 0.99591 | -0.03053 | 0 | 0
5 | 0.99591 | -0.030457 | 0.13319 | 0.064505
6 | 0.99606 | -0.030002 | 0.16177 | 0.078347
7 | 0.99608 | -0.030203 | 0 | 0
8 | 0.99596 | -0.030557 | 0.10922 | 0.052899
9 | 0.99594 | -0.030464 | 0 | 0
10 | 0.99551 | -0.035439 | 0.07117 | 0.034469
11 | 0.9955 | -0.035386 | 0.15202 | 0.073626
12 | 0.99576 | -0.03368 | 0 | 0
13 | 0.99285 | -0.054865 | 0 | 0
14 | 0.99575 | -0.033632 | 0.13874 | 0.067197
15 | 0.99599 | -0.032055 | 0.11346 | 0.054953
16 | 0.99271 | -0.054139 | 0.14275 | 0.069135
17 | 0.99273 | -0.05432 | 0 | 0
18 | 0.98935 | -0.077565 | 0 | 0
19 | 0.99279 | -0.05484 | 0 | 0
20 | 0.99282 | -0.054615 | 0.1507 | 0.072986
21 | 0.98934 | -0.077448 | 0.15715 | 0.07611
22 | 0.98935 | -0.077561 | 0 | 0
23 | 0.98932 | -0.077774 | 0.164 | 0.079428
24 | 0.99616 | -0.030887 | 0.15916 | 0.077083
25 | 0.98835 | -0.099088 | 0.050794 | 0.024601
26 | 0.98871 | -0.096122 | 0.15212 | 0.073677
27 | 0.99846 | -0.03568 | 0 | 0
28 | 0.99855 | -0.036483 | 0.14782 | 0.071593
29 | 0.99802 | -0.031891 | 0 | 0
30 | 1 | 0 | -4.9563 | -2.2839
31 | 0.99374 | -0.055715 | 0.12708 | 0.061546
32 | 0.99621 | -0.031396 | 0 | 0
33 | 0.99672 | -0.029851 | 0.15835 | 0.076694
34 | 0.99674 | -0.030023 | 0 | 0
35 | 0.99682 | -0.030608 | 0 | 0
36 | 0.99332 | -0.052863 | 0.15844 | 0.076737
37 | 0.99332 | -0.052921 | 0 | 0
38 | 0.99371 | -0.055498 | 0 | 0
39 | 0.99322 | -0.052253 | 0 | 0
40 | 0.99317 | -0.05191 | 0 | 0
41 | 0.99321 | -0.052178 | 0.15127 | 0.073263
42 | 0.99311 | -0.051591 | 0.13127 | 0.063575
43 | 0.98871 | -0.096158 | 0 | 0
44 | 0.98865 | -0.095865 | 0 | 0
45 | 0.98865 | -0.095856 | 0.1236 | 0.059861
46 | 0.9886 | -0.095872 | 0.1545 | 0.074829
47 | 0.98862 | -0.095782 | 0 | 0
48 | 0.98864 | -0.095846 | 0 | 0
49 | 0.98851 | -0.095964 | 0 | 0
50 | 0.98851 | -0.095958 | 0.067849 | 0.032861
51 | 0.99683 | -0.03067 | 0 | 0
52 | 0.99687 | -0.030945 | 0.10882 | 0.052702
53 | 0.99681 | -0.030844 | 0.14389 | 0.069691
54 | 0.99677 | -0.028146 | 0.16375 | 0.079306
55 | 0.99693 | -0.029623 | 0 | 0
56 | 0.99625 | -0.031712 | 0 | 0
57 | 0.99693 | -0.029605 | 0.19951 | 0.096626
58 | 0.99705 | -0.030636 | 0 | 0
59 | 0.99623 | -0.031516 | 0.090218 | 0.043694
60 | 0.99706 | -0.030726 | 0.077443 | 0.037507
61 | 0.99718 | -0.03179 | 0 | 0
62 | 0.9971 | -0.031135 | 0.15175 | 0.073494
63 | 0.99711 | -0.031201 | 0 | 0
64 | 0.99702 | -0.030489 | 0 | 0
65 | 0.99756 | -0.035117 | 0 | 0
66 | 0.99801 | -0.031949 | 0.13912 | 0.06738
67 | 0.99687 | -0.030927 | 0 | 0
68 | 0.99698 | -0.030127 | 0.082968 | 0.040183
69 | 0.99687 | -0.030897 | 0 | 0
70 | 0.99699 | -0.030266 | 0.16231 | 0.07861
71 | 0.99589 | -0.030814 | 0.094355 | 0.045698
72 | 0.99589 | -0.030766 | 0 | 0
73 | 0.99589 | -0.030755 | 0.092996 | 0.04504
74 | 0.99588 | -0.030689 | 0 | 0
75 | 0.99588 | -0.030684 | 0 | 0
76 | 0.99587 | -0.030637 | 0.12455 | 0.060321
77 | 0.99686 | -0.030964 | 0.11375 | 0.05509
78 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.22862 | -0.10936 | 0.22862 | 0.10921 | 4.6091e-07 | -0.00015143 | 0.0073457 | 0.0073438 | 0.0073457 | 0.99594 | -0.030391 | 0.99594 | -0.030409 | 3.339
1 | 0.13319 | 0.063146 | -0.13319 | -0.063246 | 2.7838e-06 | -9.9578e-05 | 0.0042725 | 0.0042737 | 0.0042737 | 0.99594 | -0.030391 | 0.99591 | -0.03054 | 2.0351
2 | -0.22862 | -0.10921 | 0.22862 | 0.10717 | 6.2003e-06 | -0.0020448 | 0.0073438 | 0.0073185 | 0.0073438 | 0.99594 | -0.030409 | 0.99596 | -0.030633 | 3.3381
3 | 0.13319 | 0.063246 | -0.13319 | -0.063394 | 1.5216e-07 | -0.00014766 | 0.0042737 | 0.0042756 | 0.0042756 | 0.99591 | -0.03054 | 0.99591 | -0.03053 | 1.9434
4 | 0.42115 | 0.20039 | -0.42114 | -0.20076 | 3.8149e-06 | -0.00036909 | 0.013518 | 0.013523 | 0.013523 | 0.99596 | -0.030633 | 0.99596 | -0.030557 | 6.1467
5 | -0.64977 | -0.30756 | 0.64983 | 0.30751 | 5.7163e-05 | -5.1716e-05 | 0.020837 | 0.020835 | 0.020837 | 0.99596 | -0.030633 | 0.99606 | -0.030002 | 9.9222
6 | 0.13319 | 0.063394 | -0.13319 | -0.064505 | 1.1498e-06 | -0.0011118 | 0.0042756 | 0.0042895 | 0.0042895 | 0.99591 | -0.03053 | 0.99591 | -0.030457 | 1.9498
7 | -0.81159 | -0.38586 | 0.81161 | 0.38535 | 1.9551e-05 | -0.00050576 | 0.026044 | 0.026038 | 0.026044 | 0.99606 | -0.030002 | 0.99608 | -0.030203 | 11.8384
8 | -0.81161 | -0.38535 | 0.81176 | 0.38149 | 0.00014876 | -0.0038573 | 0.026038 | 0.02599 | 0.026038 | 0.99608 | -0.030203 | 0.99625 | -0.031712 | 11.8355
9 | 0.31192 | 0.14786 | -0.31192 | -0.14848 | 3.464e-06 | -0.00061236 | 0.010005 | 0.010013 | 0.010013 | 0.99596 | -0.030557 | 0.99594 | -0.030464 | 4.5513
10 | 0.31192 | 0.14848 | -0.3119 | -0.14857 | 1.5545e-05 | -9.3294e-05 | 0.010013 | 0.010014 | 0.010014 | 0.99594 | -0.030464 | 0.99589 | -0.030814 | 4.7687
11 | 0.15202 | 0.072942 | -0.15202 | -0.073626 | 9.2426e-07 | -0.00068378 | 0.0048894 | 0.004898 | 0.004898 | 0.99551 | -0.035439 | 0.9955 | -0.035386 | 2.2264
12 | -0.84044 | -0.39201 | 0.84064 | 0.39195 | 0.00019632 | -5.736e-05 | 0.026892 | 0.026889 | 0.026892 | 0.99551 | -0.035439 | 0.99576 | -0.03368 | 12.8055
13 | 0.61725 | 0.2846 | -0.6157 | -0.28627 | 0.0015538 | -0.0016713 | 0.01971 | 0.019742 | 0.019742 | 0.99551 | -0.035439 | 0.99285 | -0.054865 | 9.401
14 | 0.13875 | 0.066504 | -0.13874 | -0.067197 | 7.7979e-07 | -0.00069343 | 0.0044605 | 0.0044692 | 0.0044692 | 0.99576 | -0.03368 | 0.99575 | -0.033632 | 2.0315
15 | -0.97938 | -0.45845 | 0.9796 | 0.45844 | 0.00021394 | -1.0658e-05 | 0.03135 | 0.031348 | 0.03135 | 0.99576 | -0.03368 | 0.99599 | -0.032055 | 14.9284
16 | 0.6157 | 0.28627 | -0.61568 | -0.28714 | 1.9362e-05 | -0.00086957 | 0.019742 | 0.019753 | 0.019753 | 0.99285 | -0.054865 | 0.99282 | -0.054615 | 8.9785
17 | -1.0931 | -0.5134 | 1.0932 | 0.51341 | 0.00017346 | 1.4522e-05 | 0.035002 | 0.035 | 0.035002 | 0.99599 | -0.032055 | 0.99616 | -0.030887 | 16.6674
18 | -0.46493 | -0.21744 | 0.46494 | 0.21661 | 1.0531e-05 | -0.00083065 | 0.014926 | 0.014915 | 0.014926 | 0.99271 | -0.054139 | 0.99273 | -0.05432 | 6.7843
19 | 0.32218 | 0.14831 | -0.32115 | -0.15397 | 0.0010261 | -0.0056573 | 0.010314 | 0.010392 | 0.010392 | 0.99271 | -0.054139 | 0.98935 | -0.077565 | 4.9485
20 | -0.46494 | -0.21661 | 0.46497 | 0.21418 | 3.0734e-05 | -0.0024309 | 0.014915 | 0.014885 | 0.014915 | 0.99273 | -0.05432 | 0.99279 | -0.05484 | 6.7797
21 | 0.164 | 0.079312 | -0.164 | -0.079428 | 5.1778e-06 | -0.0001169 | 0.0053155 | 0.0053171 | 0.0053171 | 0.98935 | -0.077565 | 0.98932 | -0.077774 | 2.5319
22 | 0.15715 | 0.074655 | -0.15715 | -0.074709 | 7.9603e-08 | -5.4032e-05 | 0.0050765 | 0.0050771 | 0.0050771 | 0.98935 | -0.077565 | 0.98935 | -0.077561 | 2.3078
23 | -0.46497 | -0.21418 | 0.46498 | 0.21415 | 1.3348e-05 | -3.1425e-05 | 0.014885 | 0.014885 | 0.014885 | 0.99279 | -0.05484 | 0.99282 | -0.054615 | 7.0883
24 | -0.15715 | -0.07611 | 0.15715 | 0.074709 | 2.072e-06 | -0.0014016 | 0.0050948 | 0.0050771 | 0.0050948 | 0.98934 | -0.077448 | 0.98935 | -0.077561 | 2.3158
25 | -1.2524 | -0.59049 | 1.2525 | 0.58966 | 7.7917e-05 | -0.00083606 | 0.040125 | 0.040114 | 0.040125 | 0.99616 | -0.030887 | 0.99621 | -0.031396 | 18.2385
26 | -0.050794 | -0.024601 | 0.050811 | 0.020356 | 1.7105e-05 | -0.0042446 | 0.0016484 | 0.0015982 | 0.0016484 | 0.98835 | -0.099088 | 0.98871 | -0.096122 | 0.78496
27 | -0.20294 | -0.094033 | 0.20294 | 0.093649 | 9.3607e-07 | -0.00038376 | 0.0065303 | 0.0065256 | 0.0065303 | 0.98871 | -0.096122 | 0.98871 | -0.096158 | 2.9683
28 | -3.6633 | -1.7145 | 3.6636 | 1.7142 | 0.00036506 | -0.00036776 | 0.11694 | 0.11693 | 0.11694 | 0.99846 | -0.03568 | 0.99855 | -0.036483 | 53.1541
29 | 3.6633 | 1.7145 | -3.6615 | -1.7163 | 0.0017198 | -0.0017307 | 0.11694 | 0.11697 | 0.11697 | 0.99846 | -0.03568 | 0.99802 | -0.031891 | 53.1666
30 | -3.8115 | -1.7858 | 3.8158 | 1.7904 | 0.0043888 | 0.0046147 | 0.12168 | 0.12168 | 0.12168 | 0.99855 | -0.036483 | 1 | 0 | 34.766
31 | 3.5224 | 1.6489 | -3.5209 | -1.6481 | 0.0015274 | 0.00087622 | 0.1125 | 0.1125 | 0.1125 | 0.99802 | -0.031891 | 0.99756 | -0.035117 | 53.5701
32 | 0.13912 | 0.06734 | -0.13912 | -0.06738 | 1.2287e-06 | -4.0253e-05 | 0.0044707 | 0.0044713 | 0.0044713 | 0.99802 | -0.031891 | 0.99801 | -0.031949 | 2.1292
33 | 1.1264 | 0.48305 | -1.1199 | -0.48243 | 0.0065833 | 0.00062584 | 0.035381 | 0.035421 | 0.035421 | 1 | 0 | 0.99374 | -0.055715 | 16.8673
34 | 0.99278 | 0.42088 | -0.99274 | -0.4215 | 3.4842e-05 | -0.00061666 | 0.031324 | 0.031331 | 0.031331 | 0.99374 | -0.055715 | 0.99371 | -0.055498 | 14.2415
35 | -1.2525 | -0.58966 | 1.2525 | 0.58946 | 1.8385e-05 | -0.00019736 | 0.040114 | 0.040112 | 0.040114 | 0.99621 | -0.031396 | 0.99623 | -0.031516 | 18.2337
36 | -0.15835 | -0.076694 | 0.15836 | 0.074468 | 3.2363e-06 | -0.0022256 | 0.0050959 | 0.0050681 | 0.0050959 | 0.99672 | -0.029851 | 0.99674 | -0.030023 | 2.3163
37 | -0.15836 | -0.074468 | 0.15837 | 0.06495 | 1.3456e-05 | -0.0095183 | 0.0050681 | 0.004957 | 0.0050681 | 0.99674 | -0.030023 | 0.99682 | -0.030608 | 2.3037
38 | -0.15837 | -0.06495 | 0.15837 | 0.063629 | 1.8216e-06 | -0.0013207 | 0.004957 | 0.0049427 | 0.004957 | 0.99682 | -0.030608 | 0.99683 | -0.03067 | 2.2532
39 | -0.15844 | -0.076737 | 0.15844 | 0.076023 | 1.0574e-06 | -0.00071381 | 0.0051162 | 0.0051072 | 0.0051162 | 0.99332 | -0.052863 | 0.99332 | -0.052921 | 2.3255
40 | -0.99234 | -0.42858 | 0.99274 | 0.4215 | 0.00040146 | -0.0070817 | 0.031414 | 0.031331 | 0.031414 | 0.99332 | -0.052921 | 0.99371 | -0.055498 | 14.2789
41 | 0.8339 | 0.35256 | -0.83381 | -0.35482 | 8.9899e-05 | -0.0022624 | 0.026311 | 0.026337 | 0.026337 | 0.99332 | -0.052921 | 0.99322 | -0.052253 | 11.9715
42 | 0.68254 | 0.28253 | -0.6825 | -0.28406 | 4.0423e-05 | -0.0015339 | 0.02147 | 0.021487 | 0.021487 | 0.99322 | -0.052253 | 0.99317 | -0.05191 | 9.7669
43 | 0.15127 | 0.072287 | -0.15127 | -0.073263 | 1.317e-06 | -0.00097573 | 0.0048728 | 0.0048851 | 0.0048851 | 0.99322 | -0.052253 | 0.99321 | -0.052178 | 2.2205
44 | 0.6825 | 0.28406 | -0.68246 | -0.28547 | 3.6976e-05 | -0.0014007 | 0.021487 | 0.021503 | 0.021503 | 0.99317 | -0.05191 | 0.99311 | -0.051591 | 9.7741
45 | 0.55119 | 0.22189 | -0.54892 | -0.22546 | 0.0022694 | -0.003568 | 0.017271 | 0.017326 | 0.017326 | 0.99311 | -0.051591 | 0.98871 | -0.096158 | 8.2506
46 | 0.34599 | 0.13181 | -0.34597 | -0.1352 | 2.2775e-05 | -0.0033893 | 0.01081 | 0.010846 | 0.010846 | 0.98871 | -0.096158 | 0.98865 | -0.095865 | 4.9299
47 | 0.34597 | 0.1352 | -0.34596 | -0.1353 | 6.7063e-07 | -9.9451e-05 | 0.010846 | 0.010847 | 0.010847 | 0.98865 | -0.095865 | 0.98865 | -0.095856 | 4.9304
48 | 0.22237 | 0.075437 | -0.22237 | -0.075792 | 9.5677e-07 | -0.00035533 | 0.0068564 | 0.0068597 | 0.0068597 | 0.98865 | -0.095856 | 0.98864 | -0.095846 | 3.1181
49 | -0.1545 | -0.074829 | 0.15451 | 0.074776 | 2.1106e-06 | -5.369e-05 | 0.0050128 | 0.0050121 | 0.0050128 | 0.9886 | -0.095872 | 0.98862 | -0.095782 | 2.3871
50 | -0.22236 | -0.077918 | 0.22237 | 0.075792 | 5.7443e-06 | -0.0021259 | 0.00688 | 0.0068597 | 0.00688 | 0.98862 | -0.095782 | 0.98864 | -0.095846 | 3.1273
51 | 0.067856 | 0.0031426 | -0.067849 | -0.032701 | 7.1031e-06 | -0.029558 | 0.0019835 | 0.0021995 | 0.0021995 | 0.98862 | -0.095782 | 0.98851 | -0.095964 | 0.99978
52 | 0.067849 | 0.032701 | -0.067849 | -0.032861 | 4.4251e-08 | -0.00015969 | 0.0021995 | 0.0022015 | 0.0022015 | 0.98851 | -0.095964 | 0.98851 | -0.095958 | 1.0007
53 | -0.30227 | -0.13321 | 0.30228 | 0.13081 | 1.2339e-05 | -0.0023999 | 0.0095658 | 0.0095379 | 0.0095658 | 0.99683 | -0.03067 | 0.99687 | -0.030945 | 4.3481
54 | 0.1439 | 0.069576 | -0.14389 | -0.069691 | 3.7863e-06 | -0.00011525 | 0.0046287 | 0.0046302 | 0.0046302 | 0.99683 | -0.03067 | 0.99681 | -0.030844 | 2.2048
55 | 0.11375 | 0.05418 | -0.11375 | -0.054509 | 2.4677e-07 | -0.00032904 | 0.0036485 | 0.0036526 | 0.0036526 | 0.99687 | -0.030945 | 0.99687 | -0.030927 | 1.6603
56 | -0.52485 | -0.23769 | 0.5249 | 0.2376 | 5.2011e-05 | -9.1855e-05 | 0.016684 | 0.016683 | 0.016684 | 0.99687 | -0.030945 | 0.99698 | -0.030127 | 7.945
57 | -2.3193 | -1.0942 | 2.3197 | 1.0929 | 0.00041784 | -0.0012226 | 0.074269 | 0.074253 | 0.074269 | 0.99677 | -0.028146 | 0.99693 | -0.029623 | 33.7588
58 | 2.1556 | 1.0149 | -2.1545 | -1.0144 | 0.0010533 | 0.00051253 | 0.069 | 0.069002 | 0.069002 | 0.99677 | -0.028146 | 0.99625 | -0.031712 | 32.8582
59 | 0.19951 | 0.096453 | -0.19951 | -0.096626 | 4.0036e-07 | -0.00017266 | 0.0064167 | 0.0064189 | 0.0064189 | 0.99693 | -0.029623 | 0.99693 | -0.029605 | 2.9177
60 | -2.5192 | -1.1894 | 2.5195 | 1.1886 | 0.00031064 | -0.00075658 | 0.080669 | 0.080659 | 0.080669 | 0.99693 | -0.029623 | 0.99705 | -0.030636 | 36.6678
61 | 1.3427 | 0.63286 | -1.3427 | -0.63316 | 3.2088e-05 | -0.00029833 | 0.043012 | 0.043016 | 0.043016 | 0.99625 | -0.031712 | 0.99623 | -0.031516 | 19.5528
62 | -2.5195 | -1.1886 | 2.5196 | 1.1886 | 2.7593e-05 | -6.7223e-05 | 0.080659 | 0.080658 | 0.080659 | 0.99705 | -0.030636 | 0.99706 | -0.030726 | 36.663
63 | -2.597 | -1.2261 | 2.5973 | 1.2253 | 0.00033644 | -0.00076562 | 0.083149 | 0.083138 | 0.083149 | 0.99706 | -0.030726 | 0.99718 | -0.03179 | 37.795
64 | -3.5194 | -1.6497 | 3.5209 | 1.6481 | 0.0014511 | -0.001609 | 0.11252 | 0.1125 | 0.11252 | 0.99718 | -0.03179 | 0.99756 | -0.035117 | 51.1465
65 | 0.9221 | 0.42435 | -0.92203 | -0.42577 | 6.9883e-05 | -0.0014176 | 0.029385 | 0.029402 | 0.029402 | 0.99718 | -0.03179 | 0.99711 | -0.031201 | 13.3647
66 | -0.15175 | -0.073494 | 0.15175 | 0.072621 | 1.1671e-06 | -0.00087253 | 0.0048814 | 0.0048705 | 0.0048814 | 0.9971 | -0.031135 | 0.99711 | -0.031201 | 2.2188
67 | 0.77028 | 0.35314 | -0.77021 | -0.35522 | 7.1044e-05 | -0.0020756 | 0.024533 | 0.024558 | 0.024558 | 0.99711 | -0.031201 | 0.99702 | -0.030489 | 11.1627
68 | 0.77021 | 0.35522 | -0.77019 | -0.35586 | 2.2011e-05 | -0.00064211 | 0.024558 | 0.024566 | 0.024566 | 0.99702 | -0.030489 | 0.99699 | -0.030266 | 11.1663
69 | 0.11375 | 0.054509 | -0.11375 | -0.055033 | 3.9433e-07 | -0.00052424 | 0.0036526 | 0.0036592 | 0.0036592 | 0.99687 | -0.030927 | 0.99687 | -0.030897 | 1.6633
70 | -0.60787 | -0.27778 | 0.60788 | 0.27725 | 1.1153e-05 | -0.00052633 | 0.019351 | 0.019345 | 0.019351 | 0.99698 | -0.030127 | 0.99699 | -0.030266 | 8.7961
71 | 0.11375 | 0.055033 | -0.11375 | -0.05509 | 1.1522e-06 | -5.6563e-05 | 0.0036592 | 0.0036599 | 0.0036599 | 0.99687 | -0.030897 | 0.99686 | -0.030964 | 1.7428
72 | 0.21755 | 0.10287 | -0.21755 | -0.10333 | 1.2564e-06 | -0.0004573 | 0.0069754 | 0.0069811 | 0.0069811 | 0.99589 | -0.030814 | 0.99589 | -0.030766 | 3.1732
73 | 0.21755 | 0.10333 | -0.21754 | -0.10343 | 2.8953e-07 | -0.00010527 | 0.0069811 | 0.0069824 | 0.0069824 | 0.99589 | -0.030766 | 0.99589 | -0.030755 | 3.1738
74 | 0.12455 | 0.058394 | -0.12455 | -0.059493 | 9.8871e-07 | -0.001099 | 0.0039874 | 0.004001 | 0.004001 | 0.99589 | -0.030755 | 0.99588 | -0.030689 | 1.8186
75 | 0.12455 | 0.059493 | -0.12455 | -0.059574 | 7.3426e-08 | -8.1318e-05 | 0.004001 | 0.004002 | 0.004002 | 0.99588 | -0.030689 | 0.99588 | -0.030684 | 1.8191
76 | 0.12455 | 0.059574 | -0.12455 | -0.060321 | 6.7585e-07 | -0.00074653 | 0.004002 | 0.0040114 | 0.0040114 | 0.99588 | -0.030684 | 0.99587 | -0.030637 | 1.8234

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 5.0507 | 2.3296

## res_load
| p_mw | q_mvar
0 | 0.095427 | 0.046217
1 | 0.13319 | 0.064505
2 | 0.16177 | 0.078347
3 | 0.10922 | 0.052899
4 | 0.07117 | 0.034469
5 | 0.15202 | 0.073626
6 | 0.13874 | 0.067197
7 | 0.11346 | 0.054953
8 | 0.14275 | 0.069135
9 | 0.1507 | 0.072986
10 | 0.15715 | 0.07611
11 | 0.164 | 0.079428
12 | 0.15916 | 0.077083
13 | 0.050794 | 0.024601
14 | 0.15212 | 0.073677
15 | 0.14782 | 0.071593
16 | 0.094386 | 0.045713
17 | 0.12708 | 0.061546
18 | 0.15835 | 0.076694
19 | 0.15844 | 0.076737
20 | 0.15127 | 0.073263
21 | 0.13127 | 0.063575
22 | 0.1236 | 0.059861
23 | 0.1545 | 0.074829
24 | 0.067849 | 0.032861
25 | 0.10882 | 0.052702
26 | 0.14389 | 0.069691
27 | 0.16375 | 0.079306
28 | 0.19951 | 0.096626
29 | 0.090218 | 0.043694
30 | 0.077443 | 0.037507
31 | 0.15175 | 0.073494
32 | 0.13912 | 0.06738
33 | 0.082968 | 0.040183
34 | 0.16231 | 0.07861
35 | 0.094355 | 0.045698
36 | 0.092996 | 0.04504
37 | 0.12455 | 0.060321
38 | 0.11375 | 0.05509

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1