## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_135_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_135_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_135_0_node_17 | 20 | n |  | TRUE
3 | bus_MV_135_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_135_0_node_16 | 20 | n |  | TRUE
5 | bus_MV_135_0_node_38 | 20 | n |  | TRUE
6 | bus_MV_135_0_node_39 | 20 | n |  | TRUE
7 | bus_MV_135_0_node_7 | 20 | n |  | TRUE
8 | bus_MV_135_0_node_37 | 20 | n |  | TRUE
9 | bus_MV_135_0_node_18 | 20 | n |  | TRUE
10 | bus_MV_135_0_node_13 | 20 | n |  | TRUE
11 | bus_MV_135_0_node_3 | 20 | n |  | TRUE
12 | bus_MV_135_0_node_4 | 20 | n |  | TRUE
13 | bus_MV_135_0_node_5 | 20 | n |  | TRUE
14 | bus_MV_135_0_node_6 | 20 | n |  | TRUE
15 | bus_MV_135_0_node_8 | 20 | n |  | TRUE
16 | bus_MV_135_0_node_14 | 20 | n |  | TRUE
17 | bus_MV_135_0_node_12 | 20 | n |  | TRUE
18 | bus_MV_135_0_node_9 | 20 | n |  | TRUE
19 | bus_MV_135_0_node_56 | 20 | n |  | TRUE
20 | bus_MV_135_0_node_15 | 20 | n |  | TRUE
21 | bus_MV_135_0_node_10 | 20 | n |  | TRUE
22 | bus_MV_135_0_node_11 | 20 | n |  | TRUE
23 | bus_MV_135_0_node_19 | 20 | n |  | TRUE
24 | bus_MV_135_0_node_57 | 20 | n |  | TRUE
25 | bus_MV_135_0_node_58 | 20 | n |  | TRUE
26 | bus_MV_135_0_node_26 | 20 | n |  | TRUE
27 | bus_MV_135_0_node_21 | 20 | n |  | TRUE
28 | bus_MV_135_0_node_22 | 20 | n |  | TRUE
29 | bus_MV_135_0_node_45 | 20 | n |  | TRUE
30 | bus_MV_135_0_node_46 | 20 | n |  | TRUE
31 | bus_MV_135_0_node_59 | 20 | n |  | TRUE
32 | bus_MV_135_0_node_23 | 20 | n |  | TRUE
33 | bus_MV_135_0_node_24 | 20 | n |  | TRUE
34 | bus_MV_135_0_node_25 | 20 | n |  | TRUE
35 | bus_MV_135_0_node_27 | 20 | n |  | TRUE
36 | bus_MV_135_0_node_28 | 20 | n |  | TRUE
37 | bus_MV_135_0_node_31 | 20 | n |  | TRUE
38 | bus_MV_135_0_node_55 | 20 | n |  | TRUE
39 | bus_MV_135_0_node_34 | 20 | n |  | TRUE
40 | bus_MV_135_0_node_29 | 20 | n |  | TRUE
41 | bus_MV_135_0_node_35 | 20 | n |  | TRUE
42 | bus_MV_135_0_node_40 | 20 | n |  | TRUE
43 | bus_MV_135_0_node_33 | 20 | n |  | TRUE
44 | bus_MV_135_0_node_30 | 20 | n |  | TRUE
45 | bus_MV_135_0_node_32 | 20 | n |  | TRUE
46 | bus_MV_135_0_node_61 | 20 | n |  | TRUE
47 | bus_MV_135_0_node_63 | 20 | n |  | TRUE
48 | bus_MV_135_0_node_36 | 20 | n |  | TRUE
49 | bus_MV_135_0_node_42 | 20 | n |  | TRUE
50 | bus_MV_135_0_node_43 | 20 | n |  | TRUE
51 | bus_MV_135_0_node_41 | 20 | n |  | TRUE
52 | bus_MV_135_0_node_60 | 20 | n |  | TRUE
53 | bus_MV_135_0_node_54 | 20 | n |  | TRUE
54 | bus_MV_135_0_node_62 | 20 | n |  | TRUE
55 | bus_MV_135_0_node_47 | 20 | n |  | TRUE
56 | bus_MV_135_0_node_44 | 20 | n |  | TRUE
57 | bus_MV_135_0_node_48 | 20 | n |  | TRUE
58 | bus_MV_135_0_node_49 | 20 | n |  | TRUE
59 | bus_MV_135_0_node_50 | 20 | n |  | TRUE
60 | bus_MV_135_0_node_51 | 20 | n |  | TRUE
61 | bus_MV_135_0_node_52 | 20 | n |  | TRUE
62 | bus_MV_135_0_node_53 | 20 | n |  | TRUE
63 | bus_HV_135_0_node_22 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_135_0_load_0 | 0 | 0.13781 | 0.066742 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_135_0_load_16 | 4 | 0.12541 | 0.060737 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_135_0_load_37 | 8 | 0.076167 | 0.036889 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_135_0_load_18 | 9 | 0.1476 | 0.071484 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_135_0_load_3 | 11 | 0.08442 | 0.040886 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_135_0_load_9 | 18 | 0.075987 | 0.036802 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_135_0_load_56 | 19 | 0.14817 | 0.071761 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_135_0_load_15 | 20 | 0.16413 | 0.079492 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_135_0_load_10 | 21 | 0.10989 | 0.053224 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_135_0_load_19 | 23 | 0.1623 | 0.078605 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_135_0_load_57 | 24 | 0.10691 | 0.051778 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_135_0_load_45 | 29 | 0.13126 | 0.06357 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_135_0_load_59 | 31 | 0.081875 | 0.039654 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_135_0_load_23 | 32 | 0.10754 | 0.052082 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_135_0_load_55 | 38 | 0.080994 | 0.039227 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_135_0_load_34 | 39 | 0.1564 | 0.075749 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_135_0_load_35 | 41 | 0.092559 | 0.044829 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_135_0_load_40 | 42 | 0.13545 | 0.065602 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_135_0_load_30 | 44 | 0.091744 | 0.044434 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_135_0_load_61 | 46 | 0.050861 | 0.024633 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_135_0_load_63 | 47 | 0.14273 | 0.069127 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_135_0_load_36 | 48 | 0.084131 | 0.040746 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_135_0_load_41 | 51 | 0.1497 | 0.072505 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_135_0_load_60 | 52 | 0.11878 | 0.057526 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_135_0_load_62 | 54 | 0.15082 | 0.073044 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_135_0_load_44 | 56 | 0.11303 | 0.054744 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_135_0_load_48 | 57 | 0.068112 | 0.032988 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_135_0_load_49 | 58 | 0.3184 | 0.15421 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_135_0_load_52 | 61 | 0.14114 | 0.068355 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_135_0_line_0 |  | 0 | 1 | 0.051778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_135_0_line_1 |  | 0 | 2 | 0.24879 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_135_0_line_2 |  | 1 | 3 | 0.094375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_135_0_line_3 |  | 2 | 4 | 0.15112 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_135_0_line_4 |  | 3 | 9 | 0.15809 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_135_0_line_5 |  | 5 | 6 | 1.1217 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_135_0_line_6 |  | 5 | 7 | 1.2385 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_135_0_line_7 |  | 5 | 8 | 0.13878 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_135_0_line_8 |  | 6 | 46 | 0.091678 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_135_0_line_9 |  | 7 | 19 | 0.079321 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_135_0_line_10 |  | 7 | 14 | 0.21019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_135_0_line_11 |  | 9 | 10 | 0.098703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_135_0_line_12 |  | 10 | 22 | 0.16837 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_135_0_line_13 |  | 11 | 12 | 0.009544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_135_0_line_14 |  | 11 | 13 | 0.071314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_135_0_line_15 |  | 12 | 14 | 0.1533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_135_0_line_16 |  | 13 | 15 | 0.14934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_135_0_line_17 |  | 14 | 18 | 0.036838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_135_0_line_18 |  | 15 | 20 | 0.010466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_135_0_line_19 |  | 15 | 16 | 0.11686 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_135_0_line_20 |  | 16 | 17 | 0.045738 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_135_0_line_21 |  | 17 | 21 | 0.0203 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_135_0_line_22 |  | 21 | 22 | 0.003718 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_135_0_line_23 |  | 23 | 24 | 0.25755 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_135_0_line_24 |  | 24 | 25 | 0.039319 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_135_0_line_25 |  | 24 | 26 | 0.05204 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_135_0_line_26 |  | 25 | 31 | 0.067134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_135_0_line_27 |  | 25 | 28 | 0.069131 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_135_0_line_28 |  | 26 | 33 | 0.064668 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_135_0_line_29 |  | 27 | 28 | 0.37231 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_135_0_line_30 |  | 27 | 29 | 0.013852 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_135_0_line_31 |  | 29 | 30 | 0.017472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_135_0_line_32 |  | 30 | 55 | 0.00274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_135_0_line_33 |  | 32 | 33 | 0.089066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_135_0_line_34 |  | 33 | 34 | 0.089569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_135_0_line_35 |  | 33 | 35 | 0.081801 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_135_0_line_36 |  | 33 | 36 | 0.51561 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_135_0_line_37 |  | 34 | 37 | 0.10359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_135_0_line_38 |  | 34 | 38 | 0.043569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_135_0_line_39 |  | 35 | 39 | 0.020628 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_135_0_line_40 |  | 36 | 40 | 0.52774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_135_0_line_41 |  | 36 | 41 | 0.023545 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_135_0_line_42 |  | 37 | 43 | 0.30366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_135_0_line_43 |  | 37 | 44 | 0.060891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_135_0_line_44 |  | 40 | 42 | 0.067263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_135_0_line_45 |  | 43 | 47 | 0.009654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_135_0_line_46 |  | 43 | 45 | 0.25285 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_135_0_line_47 |  | 45 | 46 | 0.050119 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_135_0_line_48 |  | 48 | 49 | 1.1096 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_135_0_line_49 |  | 49 | 50 | 0.61474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_135_0_line_50 |  | 49 | 51 | 0.053223 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_135_0_line_51 |  | 50 | 56 | 0.024006 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_135_0_line_52 |  | 50 | 52 | 1.6625 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_135_0_line_53 |  | 50 | 54 | 2.542 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_135_0_line_54 |  | 52 | 53 | 0.43759 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_135_0_line_55 |  | 53 | 62 | 0.3928 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_135_0_line_56 |  | 54 | 55 | 0.057627 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_135_0_line_57 |  | 57 | 58 | 1.3298 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_135_0_line_58 |  | 58 | 59 | 0.015746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_135_0_line_59 |  | 59 | 60 | 0.3477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_135_0_line_60 |  | 60 | 61 | 0.14946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_135_0_line_61 |  | 61 | 62 | 0.17778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_135_0_trafo_22 | 25 MVA 110/20 kV | 63 | 28 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2701498.5309 | 1210459.8013
1 | 2701511.1492 | 1210412.483
2 | 2701531.6019 | 1210706.3805
3 | 2701600.0839 | 1210444.7859
4 | 2701431.9026 | 1210808.5542
5 | 2703520.8836 | 1211424.4253
6 | 2703673.5639 | 1212411.2406
7 | 2702422.4381 | 1210852.2531
8 | 2703532.1163 | 1211562.7512
9 | 2701757.0805 | 1210463.3075
10 | 2701837.9188 | 1210520.0263
11 | 2702290.2772 | 1210768.6606
12 | 2702295.153 | 1210776.8721
13 | 2702246.4258 | 1210713.2924
14 | 2702242.4976 | 1210885.1788
15 | 2702102.3946 | 1210734.8521
16 | 2702023.8658 | 1210648.3149
17 | 2701998.1603 | 1210610.4378
18 | 2702206.8878 | 1210894.8977
19 | 2702387.2041 | 1210781.1874
20 | 2702094.4484 | 1210741.6875
21 | 2701986.8417 | 1210593.5658
22 | 2701984.7739 | 1210590.4728
23 | 2703504.6608 | 1213269.6259
24 | 2703607.9989 | 1213033.7197
25 | 2703647.132 | 1213037.5357
26 | 2703590.914 | 1212984.5548
27 | 2703754.1577 | 1213457.1498
28 | 2703632.8186 | 1213105.1682
29 | 2703758.6401 | 1213470.2593
30 | 2703764.3012 | 1213486.7918
31 | 2703710.1049 | 1213014.0471
32 | 2703657.5514 | 1212915.0856
33 | 2703569.4602 | 1212923.5501
34 | 2703540.6464 | 1212838.7342
35 | 2703507.847 | 1212895.4161
36 | 2703334.9927 | 1212819.454
37 | 2703544.104 | 1212739.8687
38 | 2703581.9131 | 1212824.7584
39 | 2703490.2459 | 1212884.6586
40 | 2702977.6965 | 1212889.724
41 | 2703352.477 | 1212835.2236
42 | 2703044.0479 | 1212899.7215
43 | 2703656.3345 | 1212644.7063
44 | 2703600.5185 | 1212762.7832
45 | 2703759.7345 | 1212524.0299
46 | 2703729.3958 | 1212484.0739
47 | 2703665.5141 | 1212642.9424
48 | 2707133.0004 | 1213429.0154
49 | 2706516.8695 | 1214351.7976
50 | 2706076.343 | 1214672.7195
51 | 2706475.2532 | 1214349.7528
52 | 2705067.6907 | 1215994.2858
53 | 2704803.8274 | 1216343.3694
54 | 2703822.1854 | 1213497.8515
55 | 2703765.183 | 1213489.3867
56 | 2706099.628 | 1214678.5602
57 | 2702974.5216 | 1217138.0545
58 | 2704303.9875 | 1217167.9274
59 | 2704319.3583 | 1217164.316
60 | 2704588.7648 | 1216962.9483
61 | 2704676.3736 | 1216841.6991
62 | 2704779.4609 | 1216696.7506
63 | 2703632.8186 | 1213105.1682

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99299 | 0.0047795 | 0.13781 | 0.066742
1 | 0.99301 | 0.004629 | 0 | 0
2 | 0.99293 | 0.0043176 | 0 | 0
3 | 0.99304 | 0.0043653 | 0 | 0
4 | 0.99291 | 0.0045302 | 0.12541 | 0.060737
5 | 0.99636 | 0.018125 | 0 | 0
6 | 0.99788 | 0.0069184 | 0 | 0
7 | 0.994 | -0.00025687 | 0 | 0
8 | 0.99634 | 0.017995 | 0.076167 | 0.036889
9 | 0.99312 | 0.0049759 | 0.1476 | 0.071484
10 | 0.99317 | 0.0045392 | 0 | 0
11 | 0.99362 | 0.0027902 | 0.08442 | 0.040886
12 | 0.99363 | 0.0027142 | 0 | 0
13 | 0.99355 | 0.0032894 | 0 | 0
14 | 0.99378 | 0.001513 | 0 | 0
15 | 0.99342 | 0.00436 | 0 | 0
16 | 0.99331 | 0.0034586 | 0 | 0
17 | 0.99328 | 0.0037035 | 0 | 0
18 | 0.99377 | 0.0015459 | 0.075987 | 0.036802
19 | 0.99398 | -0.00040093 | 0.14817 | 0.071761
20 | 0.99342 | 0.0043808 | 0.16413 | 0.079492
21 | 0.99326 | 0.0038132 | 0.10989 | 0.053224
22 | 0.99326 | 0.0038284 | 0 | 0
23 | 0.99946 | -0.0045589 | 0.1623 | 0.078605
24 | 0.99954 | -0.00405 | 0.10691 | 0.051778
25 | 0.9997 | -0.0026096 | 0 | 0
26 | 0.99941 | -0.0032301 | 0 | 0
27 | 0.9994 | 0.0044284 | 0 | 0
28 | 1 | 0 | -3.5837 | -1.5619
29 | 0.99938 | 0.0045973 | 0.13126 | 0.06357
30 | 0.99935 | 0.0047834 | 0 | 0
31 | 0.99969 | -0.0025472 | 0.081875 | 0.039654
32 | 0.99924 | -0.0020966 | 0.10754 | 0.052082
33 | 0.99926 | -0.0022053 | 0 | 0
34 | 0.99909 | -0.001128 | 0 | 0
35 | 0.99924 | -0.0020572 | 0 | 0
36 | 0.99911 | -0.0014665 | 0 | 0
37 | 0.99892 | 3.9917e-05 | 0 | 0
38 | 0.99909 | -0.0010871 | 0.080994 | 0.039227
39 | 0.99923 | -0.0020963 | 0.1564 | 0.075749
40 | 0.99902 | -0.00087558 | 0 | 0
41 | 0.9991 | -0.0014929 | 0.092559 | 0.044829
42 | 0.99901 | -0.00076981 | 0.13545 | 0.065602
43 | 0.99843 | 0.0032539 | 0 | 0
44 | 0.99891 | 0.00010408 | 0.091744 | 0.044434
45 | 0.99808 | 0.0056098 | 0 | 0
46 | 0.998 | 0.0060886 | 0.050861 | 0.024633
47 | 0.99843 | 0.0032703 | 0.14273 | 0.069127
48 | 0.99405 | -0.037277 | 0.084131 | 0.040746
49 | 0.99423 | -0.036073 | 0 | 0
50 | 0.99441 | -0.037424 | 0 | 0
51 | 0.99422 | -0.035979 | 0.1497 | 0.072505
52 | 0.99236 | -0.054681 | 0.11878 | 0.057526
53 | 0.99192 | -0.058551 | 0 | 0
54 | 0.99922 | 0.0037705 | 0.15082 | 0.073044
55 | 0.99935 | 0.0048126 | 0 | 0
56 | 0.99441 | -0.037457 | 0.11303 | 0.054744
57 | 0.99111 | -0.054681 | 0.068112 | 0.032988
58 | 0.99128 | -0.053477 | 0.3184 | 0.15421
59 | 0.99129 | -0.05355 | 0 | 0
60 | 0.99146 | -0.05505 | 0 | 0
61 | 0.99154 | -0.055639 | 0.14114 | 0.068355
62 | 0.99166 | -0.056599 | 0 | 0
63 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26322 | -0.12364 | 0.26323 | 0.12242 | 4.9318e-06 | -0.0012176 | 0.0084543 | 0.0084393 | 0.0084543 | 0.99299 | 0.0047795 | 0.99301 | 0.004629 | 3.8429
1 | 0.12542 | 0.056893 | -0.12541 | -0.057181 | 7.1114e-06 | -0.00028838 | 0.0040036 | 0.0040072 | 0.0040072 | 0.99299 | 0.0047795 | 0.99293 | 0.0043176 | 1.9082
2 | -0.26323 | -0.12242 | 0.26324 | 0.1202 | 8.9444e-06 | -0.0022193 | 0.0084393 | 0.0084122 | 0.0084393 | 0.99301 | 0.004629 | 0.99304 | 0.0043653 | 3.836
3 | 0.12541 | 0.057181 | -0.12541 | -0.060737 | 3.2747e-06 | -0.0035563 | 0.0040072 | 0.0040512 | 0.0040512 | 0.99293 | 0.0043176 | 0.99291 | 0.0045302 | 1.8414
4 | -0.26324 | -0.1202 | 0.26326 | 0.12002 | 1.9927e-05 | -0.00017364 | 0.0084122 | 0.00841 | 0.0084122 | 0.99304 | 0.0043653 | 0.99312 | 0.0049759 | 4.0058
5 | -1.0725 | -0.48725 | 1.0742 | 0.46114 | 0.0017282 | -0.026115 | 0.034129 | 0.033817 | 0.034129 | 0.99636 | 0.018125 | 0.99788 | 0.0069184 | 15.5131
6 | 0.99629 | 0.45053 | -0.99408 | -0.4506 | 0.0022159 | -7.6408e-05 | 0.03168 | 0.031697 | 0.031697 | 0.99636 | 0.018125 | 0.994 | -0.00025687 | 15.0939
7 | 0.076168 | 0.036726 | -0.076167 | -0.036889 | 1.4854e-06 | -0.00016354 | 0.0024499 | 0.002452 | 0.002452 | 0.99636 | 0.018125 | 0.99634 | 0.017995 | 1.1676
8 | -1.0742 | -0.46114 | 1.0743 | 0.459 | 0.00013986 | -0.0021384 | 0.033817 | 0.033793 | 0.033817 | 0.99788 | 0.0069184 | 0.998 | 0.0060886 | 15.3715
9 | 0.14817 | 0.07167 | -0.14817 | -0.071761 | 3.23e-06 | -9.1535e-05 | 0.0047801 | 0.0047813 | 0.0047813 | 0.994 | -0.00025687 | 0.99398 | -0.00040093 | 2.2768
10 | 0.8459 | 0.37893 | -0.8457 | -0.38383 | 0.00020378 | -0.004897 | 0.026919 | 0.026978 | 0.026978 | 0.994 | -0.00025687 | 0.99378 | 0.001513 | 12.2627
11 | -0.41085 | -0.19151 | 0.41088 | 0.18919 | 2.2827e-05 | -0.0023177 | 0.013176 | 0.013148 | 0.013176 | 0.99312 | 0.0049759 | 0.99317 | 0.0045392 | 5.9891
12 | -0.41088 | -0.18919 | 0.41091 | 0.18524 | 3.8713e-05 | -0.0039542 | 0.013148 | 0.0131 | 0.013148 | 0.99317 | 0.0045392 | 0.99326 | 0.0038284 | 5.9762
13 | -0.76958 | -0.3517 | 0.76959 | 0.35147 | 7.6988e-06 | -0.00022269 | 0.024583 | 0.02458 | 0.024583 | 0.99362 | 0.0027902 | 0.99363 | 0.0027142 | 11.174
14 | 0.68516 | 0.31081 | -0.68512 | -0.31248 | 4.553e-05 | -0.0016674 | 0.021858 | 0.021879 | 0.021879 | 0.99362 | 0.0027902 | 0.99355 | 0.0032894 | 9.9448
15 | -0.76959 | -0.35147 | 0.76971 | 0.3479 | 0.00012343 | -0.0035777 | 0.02458 | 0.024537 | 0.02458 | 0.99363 | 0.0027142 | 0.99378 | 0.001513 | 11.1728
16 | 0.68512 | 0.31248 | -0.68502 | -0.31597 | 9.5618e-05 | -0.003491 | 0.021879 | 0.021921 | 0.021921 | 0.99355 | 0.0032894 | 0.99342 | 0.00436 | 9.9642
17 | 0.075987 | 0.035934 | -0.075987 | -0.036802 | 2.9449e-07 | -0.00086854 | 0.0024417 | 0.0024526 | 0.0024526 | 0.99378 | 0.001513 | 0.99377 | 0.0015459 | 1.1148
18 | 0.16413 | 0.079245 | -0.16413 | -0.079492 | 3.9215e-07 | -0.00024649 | 0.0052962 | 0.0052993 | 0.0052993 | 0.99342 | 0.00436 | 0.99342 | 0.0043808 | 2.4088
19 | 0.52089 | 0.23672 | -0.52083 | -0.23682 | 5.7559e-05 | -0.00010161 | 0.016626 | 0.016628 | 0.016628 | 0.99342 | 0.00436 | 0.99331 | 0.0034586 | 7.918
20 | 0.52083 | 0.23682 | -0.52082 | -0.2379 | 1.6895e-05 | -0.0010724 | 0.016628 | 0.016641 | 0.016641 | 0.99331 | 0.0034586 | 0.99328 | 0.0037035 | 7.564
21 | 0.52082 | 0.2379 | -0.52081 | -0.23837 | 7.5071e-06 | -0.00047596 | 0.016641 | 0.016647 | 0.016647 | 0.99328 | 0.0037035 | 0.99326 | 0.0038132 | 7.5666
22 | 0.41091 | 0.18515 | -0.41091 | -0.18524 | 8.5171e-07 | -8.7327e-05 | 0.013099 | 0.0131 | 0.0131 | 0.99326 | 0.0038132 | 0.99326 | 0.0038284 | 5.9545
23 | -0.1623 | -0.078605 | 0.16231 | 0.078306 | 1.244e-05 | -0.00029936 | 0.0052086 | 0.0052047 | 0.0052086 | 0.99946 | -0.0045589 | 0.99954 | -0.00405 | 2.4803
24 | -2.2041 | -0.9503 | 2.2044 | 0.95046 | 0.00033663 | 0.00016395 | 0.069321 | 0.06932 | 0.069321 | 0.99954 | -0.00405 | 0.9997 | -0.0026096 | 33.0099
25 | 1.9349 | 0.82022 | -1.9346 | -0.82138 | 0.00025599 | -0.0011653 | 0.060695 | 0.060709 | 0.060709 | 0.99954 | -0.00405 | 0.99941 | -0.0032301 | 27.5948
26 | 0.081875 | 0.038052 | -0.081875 | -0.039654 | 6.1377e-07 | -0.0016017 | 0.0026071 | 0.0026269 | 0.0026269 | 0.9997 | -0.0026096 | 0.99969 | -0.0025472 | 1.1941
27 | -2.2863 | -0.98851 | 2.287 | 0.98883 | 0.0006372 | 0.00031662 | 0.071926 | 0.071926 | 0.071926 | 0.9997 | -0.0026096 | 1 | 0 | 34.2507
28 | 1.9346 | 0.82138 | -1.9343 | -0.82283 | 0.00031827 | -0.0014476 | 0.060709 | 0.060726 | 0.060726 | 0.99941 | -0.0032301 | 0.99926 | -0.0022053 | 27.6028
29 | -1.2819 | -0.57119 | 1.2827 | 0.56255 | 0.00081469 | -0.0086423 | 0.040538 | 0.040434 | 0.040538 | 0.9994 | 0.0044284 | 1 | 0 | 18.4262
30 | 1.2819 | 0.57119 | -1.2819 | -0.57151 | 3.0392e-05 | -0.00032131 | 0.040538 | 0.040542 | 0.040542 | 0.9994 | 0.0044284 | 0.99938 | 0.0045973 | 18.428
31 | 1.1506 | 0.50794 | -1.1506 | -0.50835 | 3.0792e-05 | -0.0004075 | 0.036331 | 0.036336 | 0.036336 | 0.99938 | 0.0045973 | 0.99935 | 0.0047834 | 16.5164
32 | 1.1506 | 0.50835 | -1.1506 | -0.50841 | 4.8297e-06 | -6.3903e-05 | 0.036336 | 0.036337 | 0.036337 | 0.99935 | 0.0047834 | 0.99935 | 0.0048126 | 16.5168
33 | -0.10754 | -0.052082 | 0.10754 | 0.049959 | 1.4059e-06 | -0.0021229 | 0.0034518 | 0.0034255 | 0.0034518 | 0.99924 | -0.0020966 | 0.99926 | -0.0022053 | 1.569
34 | 1.4423 | 0.61515 | -1.4421 | -0.61721 | 0.00024549 | -0.0020622 | 0.045298 | 0.045323 | 0.045323 | 0.99926 | -0.0022053 | 0.99909 | -0.001128 | 20.6011
35 | 0.15641 | 0.073776 | -0.1564 | -0.075725 | 2.7388e-06 | -0.0019493 | 0.0049958 | 0.0050201 | 0.0050201 | 0.99926 | -0.0022053 | 0.99924 | -0.0020572 | 2.2819
36 | 0.22806 | 0.083947 | -0.22803 | -0.096227 | 3.4542e-05 | -0.01228 | 0.0070206 | 0.007151 | 0.007151 | 0.99926 | -0.0022053 | 0.99911 | -0.0014665 | 3.2505
37 | 1.3611 | 0.57902 | -1.3608 | -0.58141 | 0.00025275 | -0.0023935 | 0.042737 | 0.042765 | 0.042765 | 0.99909 | -0.001128 | 0.99892 | 3.9917e-05 | 19.4386
38 | 0.080995 | 0.038189 | -0.080994 | -0.039227 | 3.9131e-07 | -0.0010383 | 0.0025873 | 0.0026003 | 0.0026003 | 0.99909 | -0.001128 | 0.99909 | -0.0010871 | 1.1819
39 | 0.1564 | 0.075725 | -0.1564 | -0.075749 | 9.2631e-07 | -2.4008e-05 | 0.0050201 | 0.0050204 | 0.0050204 | 0.99924 | -0.0020572 | 0.99923 | -0.0020963 | 2.3907
40 | 0.13547 | 0.051427 | -0.13545 | -0.064 | 1.2752e-05 | -0.012573 | 0.0041866 | 0.0043289 | 0.0043289 | 0.99911 | -0.0014665 | 0.99902 | -0.00087558 | 1.9677
41 | 0.09256 | 0.044801 | -0.092559 | -0.044829 | 3.7038e-07 | -2.7826e-05 | 0.0029712 | 0.0029715 | 0.0029715 | 0.99911 | -0.0014665 | 0.9991 | -0.0014929 | 1.415
42 | 1.2691 | 0.53843 | -1.2684 | -0.54547 | 0.00064474 | -0.0070399 | 0.039839 | 0.039921 | 0.039921 | 0.99892 | 3.9917e-05 | 0.99843 | 0.0032539 | 18.1459
43 | 0.091745 | 0.042983 | -0.091744 | -0.044434 | 7.0112e-07 | -0.0014505 | 0.0029279 | 0.0029459 | 0.0029459 | 0.99892 | 3.9917e-05 | 0.99891 | 0.00010408 | 1.3391
44 | 0.13545 | 0.064 | -0.13545 | -0.065602 | 1.6905e-06 | -0.0016023 | 0.0043289 | 0.0043489 | 0.0043489 | 0.99902 | -0.00087558 | 0.99901 | -0.00076981 | 1.9768
45 | 0.14273 | 0.068897 | -0.14273 | -0.069127 | 2.708e-07 | -0.0002297 | 0.0045823 | 0.0045852 | 0.0045852 | 0.99843 | 0.0032539 | 0.99843 | 0.0032703 | 2.0842
46 | 1.1257 | 0.47657 | -1.1253 | -0.48246 | 0.00042248 | -0.0058907 | 0.035344 | 0.035412 | 0.035412 | 0.99843 | 0.0032539 | 0.99808 | 0.0056098 | 16.0963
47 | 1.1253 | 0.48246 | -1.1252 | -0.48363 | 8.3936e-05 | -0.0011671 | 0.035412 | 0.035425 | 0.035425 | 0.99808 | 0.0056098 | 0.998 | 0.0060886 | 16.1025
48 | -0.084131 | -0.040746 | 0.084145 | 0.039446 | 1.448e-05 | -0.0013001 | 0.0027146 | 0.0026983 | 0.0027146 | 0.99405 | -0.037277 | 0.99423 | -0.036073 | 1.2927
49 | -0.23385 | -0.1107 | 0.2339 | 0.096198 | 4.5238e-05 | -0.014498 | 0.0075122 | 0.0073418 | 0.0075122 | 0.99423 | -0.036073 | 0.99441 | -0.037424 | 3.4146
50 | 0.14971 | 0.071249 | -0.1497 | -0.072505 | 1.6519e-06 | -0.0012556 | 0.0048139 | 0.0048297 | 0.0048297 | 0.99423 | -0.036073 | 0.99422 | -0.035979 | 2.1953
51 | 0.11303 | 0.054716 | -0.11303 | -0.054744 | 5.685e-07 | -2.7983e-05 | 0.0036456 | 0.0036459 | 0.0036459 | 0.99441 | -0.037424 | 0.99441 | -0.037457 | 1.7362
52 | 0.64823 | 0.28463 | -0.64697 | -0.28581 | 0.0012525 | -0.001174 | 0.020552 | 0.020575 | 0.020575 | 0.99441 | -0.037424 | 0.99236 | -0.054681 | 9.7976
53 | -0.99516 | -0.43555 | 0.99965 | 0.43535 | 0.0044989 | -0.00019739 | 0.031535 | 0.0315 | 0.031535 | 0.99441 | -0.037424 | 0.99922 | 0.0037705 | 15.0166
54 | 0.5282 | 0.22828 | -0.52798 | -0.22866 | 0.00021852 | -0.00037734 | 0.016739 | 0.016745 | 0.016745 | 0.99236 | -0.054681 | 0.99192 | -0.058551 | 7.9737
55 | 0.52798 | 0.22866 | -0.52783 | -0.23784 | 0.00014798 | -0.0091812 | 0.016745 | 0.016853 | 0.016853 | 0.99192 | -0.058551 | 0.99166 | -0.056599 | 7.6606
56 | -1.1505 | -0.50839 | 1.1506 | 0.50841 | 0.00013557 | 1.622e-05 | 0.036338 | 0.036337 | 0.036338 | 0.99922 | 0.0037705 | 0.99935 | 0.0048126 | 17.3037
57 | -0.068112 | -0.032988 | 0.068123 | 0.031435 | 1.141e-05 | -0.0015525 | 0.0022043 | 0.0021849 | 0.0022043 | 0.99111 | -0.054681 | 0.99128 | -0.053477 | 1.0497
58 | -0.38652 | -0.18564 | 0.38653 | 0.18527 | 3.2765e-06 | -0.00036846 | 0.012487 | 0.012482 | 0.012487 | 0.99128 | -0.053477 | 0.99129 | -0.05355 | 5.6759
59 | -0.38653 | -0.18527 | 0.3866 | 0.17714 | 7.1734e-05 | -0.0081378 | 0.012482 | 0.012382 | 0.012482 | 0.99129 | -0.05355 | 0.99146 | -0.05505 | 5.6738
60 | -0.3866 | -0.17714 | 0.38663 | 0.17364 | 3.0485e-05 | -0.0034992 | 0.012382 | 0.012339 | 0.012382 | 0.99146 | -0.05505 | 0.99154 | -0.055639 | 5.628
61 | -0.52776 | -0.24199 | 0.52783 | 0.23784 | 6.7613e-05 | -0.0041537 | 0.016903 | 0.016853 | 0.016903 | 0.99154 | -0.055639 | 0.99166 | -0.056599 | 7.6834

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 3.5837 | 1.5619

## res_load
| p_mw | q_mvar
0 | 0.13781 | 0.066742
1 | 0.12541 | 0.060737
2 | 0.076167 | 0.036889
3 | 0.1476 | 0.071484
4 | 0.08442 | 0.040886
5 | 0.075987 | 0.036802
6 | 0.14817 | 0.071761
7 | 0.16413 | 0.079492
8 | 0.10989 | 0.053224
9 | 0.1623 | 0.078605
10 | 0.10691 | 0.051778
11 | 0.13126 | 0.06357
12 | 0.081875 | 0.039654
13 | 0.10754 | 0.052082
14 | 0.080994 | 0.039227
15 | 0.1564 | 0.075749
16 | 0.092559 | 0.044829
17 | 0.13545 | 0.065602
18 | 0.091744 | 0.044434
19 | 0.050861 | 0.024633
20 | 0.14273 | 0.069127
21 | 0.084131 | 0.040746
22 | 0.1497 | 0.072505
23 | 0.11878 | 0.057526
24 | 0.15082 | 0.073044
25 | 0.11303 | 0.054744
26 | 0.068112 | 0.032988
27 | 0.3184 | 0.15421
28 | 0.14114 | 0.068355

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1