## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_138_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_138_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_138_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_138_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_138_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_138_0_node_6 | 20 | n |  | TRUE
6 | bus_MV_138_0_node_272 | 20 | n |  | TRUE
7 | bus_MV_138_0_node_49 | 20 | n |  | TRUE
8 | bus_MV_138_0_node_48 | 20 | n |  | TRUE
9 | bus_MV_138_0_node_5 | 20 | n |  | TRUE
10 | bus_MV_138_0_node_8 | 20 | n |  | TRUE
11 | bus_MV_138_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_138_0_node_51 | 20 | n |  | TRUE
13 | bus_MV_138_0_node_259 | 20 | n |  | TRUE
14 | bus_MV_138_0_node_9 | 20 | n |  | TRUE
15 | bus_MV_138_0_node_10 | 20 | n |  | TRUE
16 | bus_MV_138_0_node_11 | 20 | n |  | TRUE
17 | bus_MV_138_0_node_12 | 20 | n |  | TRUE
18 | bus_MV_138_0_node_257 | 20 | n |  | TRUE
19 | bus_MV_138_0_node_13 | 20 | n |  | TRUE
20 | bus_MV_138_0_node_18 | 20 | n |  | TRUE
21 | bus_MV_138_0_node_15 | 20 | n |  | TRUE
22 | bus_MV_138_0_node_14 | 20 | n |  | TRUE
23 | bus_MV_138_0_node_20 | 20 | n |  | TRUE
24 | bus_MV_138_0_node_17 | 20 | n |  | TRUE
25 | bus_MV_138_0_node_19 | 20 | n |  | TRUE
26 | bus_MV_138_0_node_23 | 20 | n |  | TRUE
27 | bus_MV_138_0_node_21 | 20 | n |  | TRUE
28 | bus_MV_138_0_node_30 | 20 | n |  | TRUE
29 | bus_MV_138_0_node_22 | 20 | n |  | TRUE
30 | bus_MV_138_0_node_254 | 20 | n |  | TRUE
31 | bus_MV_138_0_node_31 | 20 | n |  | TRUE
32 | bus_MV_138_0_node_24 | 20 | n |  | TRUE
33 | bus_MV_138_0_node_25 | 20 | n |  | TRUE
34 | bus_MV_138_0_node_50 | 20 | n |  | TRUE
35 | bus_MV_138_0_node_26 | 20 | n |  | TRUE
36 | bus_MV_138_0_node_27 | 20 | n |  | TRUE
37 | bus_MV_138_0_node_86 | 20 | n |  | TRUE
38 | bus_MV_138_0_node_29 | 20 | n |  | TRUE
39 | bus_MV_138_0_node_28 | 20 | n |  | TRUE
40 | bus_MV_138_0_node_37 | 20 | n |  | TRUE
41 | bus_MV_138_0_node_36 | 20 | n |  | TRUE
42 | bus_MV_138_0_node_32 | 20 | n |  | TRUE
43 | bus_MV_138_0_node_181 | 20 | n |  | TRUE
44 | bus_MV_138_0_node_33 | 20 | n |  | TRUE
45 | bus_MV_138_0_node_34 | 20 | n |  | TRUE
46 | bus_MV_138_0_node_35 | 20 | n |  | TRUE
47 | bus_MV_138_0_node_38 | 20 | n |  | TRUE
48 | bus_MV_138_0_node_40 | 20 | n |  | TRUE
49 | bus_MV_138_0_node_41 | 20 | n |  | TRUE
50 | bus_MV_138_0_node_42 | 20 | n |  | TRUE
51 | bus_MV_138_0_node_247 | 20 | n |  | TRUE
52 | bus_MV_138_0_node_43 | 20 | n |  | TRUE
53 | bus_MV_138_0_node_44 | 20 | n |  | TRUE
54 | bus_MV_138_0_node_256 | 20 | n |  | TRUE
55 | bus_MV_138_0_node_45 | 20 | n |  | TRUE
56 | bus_MV_138_0_node_46 | 20 | n |  | TRUE
57 | bus_MV_138_0_node_245 | 20 | n |  | TRUE
58 | bus_MV_138_0_node_47 | 20 | n |  | TRUE
59 | bus_MV_138_0_node_260 | 20 | n |  | TRUE
60 | bus_MV_138_0_node_255 | 20 | n |  | TRUE
61 | bus_MV_138_0_node_67 | 20 | n |  | TRUE
62 | bus_MV_138_0_node_268 | 20 | n |  | TRUE
63 | bus_MV_138_0_node_269 | 20 | n |  | TRUE
64 | bus_MV_138_0_node_261 | 20 | n |  | TRUE
65 | bus_MV_138_0_node_246 | 20 | n |  | TRUE
66 | bus_HV_138_0_node_6 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_138_0_load_0 | 0 | 0.11761 | 0.056961 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_138_0_load_272 | 6 | 0.12069 | 0.058453 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_138_0_load_49 | 7 | 0.14558 | 0.070506 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_138_0_load_7 | 11 | 0.12859 | 0.062281 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_138_0_load_51 | 12 | 0.1424 | 0.068966 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_138_0_load_259 | 13 | 0.072245 | 0.03499 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_138_0_load_9 | 14 | 0.14345 | 0.069476 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_138_0_load_257 | 18 | 0.14895 | 0.072139 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_138_0_load_18 | 20 | 0.15651 | 0.0758 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_138_0_load_15 | 21 | 0.13778 | 0.066729 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_138_0_load_14 | 22 | 0.16416 | 0.079505 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_138_0_load_20 | 23 | 0.12213 | 0.05915 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_138_0_load_17 | 24 | 0.078891 | 0.038209 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_138_0_load_30 | 28 | 0.16165 | 0.07829 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_138_0_load_254 | 30 | 0.14829 | 0.071821 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_138_0_load_31 | 31 | 0.10569 | 0.051186 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_138_0_load_24 | 32 | 0.10149 | 0.049152 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_138_0_load_26 | 35 | 0.16215 | 0.078531 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_138_0_load_86 | 37 | 0.073051 | 0.03538 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_138_0_load_36 | 41 | 0.15077 | 0.073021 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_138_0_load_32 | 42 | 0.12831 | 0.062143 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_138_0_load_181 | 43 | 0.082971 | 0.040185 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_138_0_load_35 | 46 | 0.1298 | 0.062863 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_138_0_load_38 | 47 | 0.089445 | 0.04332 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_138_0_load_247 | 51 | 0.10652 | 0.051589 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_138_0_load_44 | 53 | 0.10988 | 0.053218 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_138_0_load_256 | 54 | 0.080507 | 0.038991 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_138_0_load_245 | 57 | 0.10107 | 0.048951 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_138_0_load_47 | 58 | 0.07541 | 0.036523 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_138_0_load_67 | 61 | 0.11328 | 0.054862 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_138_0_load_269 | 63 | 0.051422 | 0.024905 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_138_0_load_261 | 64 | 0.060179 | 0.029146 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_138_0_line_0 |  | 0 | 1 | 0.006988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_138_0_line_1 |  | 0 | 2 | 0.056669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_138_0_line_2 |  | 1 | 3 | 0.042009 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_138_0_line_3 |  | 2 | 4 | 0.85594 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
4 | MV_138_0_line_4 |  | 2 | 5 | 0.46041 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
5 | MV_138_0_line_5 |  | 3 | 6 | 0.04238 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_138_0_line_6 |  | 3 | 7 | 1.4007 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_138_0_line_7 |  | 4 | 8 | 0.23182 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
8 | MV_138_0_line_8 |  | 5 | 12 | 0.044026 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_138_0_line_9 |  | 5 | 9 | 0.1194 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_138_0_line_10 |  | 7 | 34 | 0.029797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_138_0_line_11 |  | 8 | 59 | 1.0046 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
12 | MV_138_0_line_12 |  | 8 | 58 | 0.073414 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_138_0_line_13 |  | 9 | 10 | 0.24228 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_138_0_line_14 |  | 9 | 11 | 0.028298 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_138_0_line_15 |  | 10 | 13 | 0.061999 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_138_0_line_16 |  | 13 | 65 | 0.54262 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_138_0_line_17 |  | 14 | 15 | 0.040004 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_138_0_line_18 |  | 15 | 16 | 0.047458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_138_0_line_19 |  | 15 | 17 | 0.11854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_138_0_line_20 |  | 16 | 18 | 0.004562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_138_0_line_21 |  | 17 | 19 | 0.084853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_138_0_line_22 |  | 17 | 20 | 0.080524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_138_0_line_23 |  | 18 | 40 | 0.03602 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_138_0_line_24 |  | 19 | 21 | 0.012075 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_138_0_line_25 |  | 20 | 25 | 0.006942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_138_0_line_26 |  | 22 | 23 | 0.13312 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_138_0_line_27 |  | 23 | 24 | 0.03049 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_138_0_line_28 |  | 24 | 25 | 0.040922 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_138_0_line_29 |  | 25 | 26 | 0.22443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_138_0_line_30 |  | 26 | 31 | 0.049175 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_138_0_line_31 |  | 26 | 27 | 0.14875 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_138_0_line_32 |  | 26 | 29 | 0.40695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_138_0_line_33 |  | 27 | 28 | 0.023439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_138_0_line_34 |  | 29 | 30 | 0.056605 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_138_0_line_35 |  | 31 | 43 | 1.1702 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_138_0_line_36 |  | 32 | 33 | 0.3614 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_138_0_line_37 |  | 33 | 34 | 3.2175 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_138_0_line_38 |  | 35 | 36 | 0.099229 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_138_0_line_39 |  | 35 | 37 | 1.78 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
40 | MV_138_0_line_40 |  | 36 | 38 | 0.4103 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_138_0_line_41 |  | 37 | 64 | 0.81975 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
42 | MV_138_0_line_42 |  | 37 | 61 | 0.91399 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_138_0_line_43 |  | 38 | 42 | 0.049089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_138_0_line_44 |  | 38 | 39 | 0.44742 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_138_0_line_45 |  | 39 | 40 | 0.28633 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_138_0_line_46 |  | 39 | 41 | 0.023243 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_138_0_line_47 |  | 42 | 44 | 0.0553 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_138_0_line_48 |  | 44 | 45 | 0.010816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_138_0_line_49 |  | 45 | 46 | 0.053075 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_138_0_line_50 |  | 47 | 48 | 0.065081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_138_0_line_51 |  | 47 | 49 | 0.65226 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_138_0_line_52 |  | 48 | 50 | 0.21377 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_138_0_line_53 |  | 49 | 51 | 0.069091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_138_0_line_54 |  | 50 | 52 | 0.56229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_138_0_line_55 |  | 50 | 53 | 0.016862 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_138_0_line_56 |  | 51 | 65 | 0.090079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_138_0_line_57 |  | 52 | 54 | 0.1038 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_138_0_line_58 |  | 53 | 55 | 0.068723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_138_0_line_59 |  | 54 | 60 | 0.035861 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_138_0_line_60 |  | 55 | 56 | 1.2321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_138_0_line_61 |  | 56 | 57 | 0.034369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_138_0_line_62 |  | 59 | 64 | 0.00272 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
63 | MV_138_0_line_63 |  | 60 | 62 | 0.95468 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_138_0_line_64 |  | 62 | 63 | 0.31782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_138_0_trafo_6 | 25 MVA 110/20 kV | 66 | 5 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2655950.5144 | 1187595.7273
1 | 2655945.1323 | 1187600.2018
2 | 2655993.2424 | 1187558.461
3 | 2655909.8998 | 1187623.2303
4 | 2656477.6572 | 1187004.7959
5 | 2656052.1364 | 1187695.711
6 | 2655945.8596 | 1187645.6563
7 | 2654690.6133 | 1186933.8475
8 | 2656310.1382 | 1187002.1513
9 | 2656058.6459 | 1187778.6185
10 | 2656120.1368 | 1187924.8987
11 | 2656031.3229 | 1187784.2159
12 | 2656036.9673 | 1187654.4237
13 | 2656060.7882 | 1187943.3868
14 | 2657092.3518 | 1187681.5575
15 | 2657074.4903 | 1187645.745
16 | 2657051.1956 | 1187609.247
17 | 2657105.448 | 1187741.8497
18 | 2657047.0873 | 1187611.2535
19 | 2657170.425 | 1187759.2791
20 | 2657087.626 | 1187820.3686
21 | 2657181.33 | 1187764.5306
22 | 2657275.3383 | 1187902.7843
23 | 2657149.9835 | 1187857.9842
24 | 2657123.8187 | 1187842.3304
25 | 2657085.8455 | 1187827.0776
26 | 2657012.714 | 1188038.7896
27 | 2656958.1064 | 1187954.834
28 | 2656935.202 | 1187949.5578
29 | 2656699.8852 | 1188201.2793
30 | 2656666.5588 | 1188247.0343
31 | 2657045.4956 | 1188075.4445
32 | 2651254.2952 | 1186321.802
33 | 2651510.5008 | 1186290.6922
34 | 2654666.7041 | 1186915.9749
35 | 2656840.214 | 1186842.2435
36 | 2656918.8466 | 1186902.7683
37 | 2656198.9562 | 1185181.7985
38 | 2656733.8397 | 1187176.8904
39 | 2656942.68 | 1187311.5026
40 | 2657031.0531 | 1187578.9826
41 | 2656920.9918 | 1187319.8428
42 | 2656712.3378 | 1187132.7398
43 | 2657572.8864 | 1189120.0135
44 | 2656688.9847 | 1187082.6128
45 | 2656682.3228 | 1187074.6787
46 | 2656658.5214 | 1187029.1391
47 | 2655064.0965 | 1188797.3462
48 | 2655098.3724 | 1188852.2922
49 | 2655446.173 | 1188268.7061
50 | 2655127.2677 | 1189008.5904
51 | 2655511.095 | 1188245.85
52 | 2655054.392 | 1189417.2057
53 | 2655140.9603 | 1189018.4308
54 | 2655051.2186 | 1189520.9572
55 | 2655203.3995 | 1189046.2015
56 | 2655882.7294 | 1189393.9183
57 | 2655869.396 | 1189362.2316
58 | 2656286.5724 | 1187071.6801
59 | 2656195.5081 | 1186004.1376
60 | 2655070.1744 | 1189551.2373
61 | 2655369.4296 | 1184798.0538
62 | 2654844.9501 | 1190478.9715
63 | 2654618.2559 | 1190427.0818
64 | 2656196.3261 | 1186001.5438
65 | 2655600.0199 | 1188229.9767
66 | 2656052.1364 | 1187695.711

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99927 | -0.0083365 | 0.11761 | 0.056961
1 | 0.99926 | -0.0083128 | 0 | 0
2 | 0.9993 | -0.0086059 | 0 | 0
3 | 0.99924 | -0.0081687 | 0 | 0
4 | 0.99822 | -0.021515 | 0 | 0
5 | 1 | 0 | -3.752 | -1.6162
6 | 0.99923 | -0.0082307 | 0.12069 | 0.058453
7 | 0.99859 | -0.014027 | 0.14558 | 0.070506
8 | 0.99792 | -0.024916 | 0 | 0
9 | 0.99989 | 0.00047606 | 0 | 0
10 | 0.99971 | 0.0011466 | 0 | 0
11 | 0.99989 | 0.000519 | 0.12859 | 0.062281
12 | 0.99999 | 7.3529e-05 | 0.1424 | 0.068966
13 | 0.99966 | 0.0013326 | 0.072245 | 0.03499
14 | 0.98591 | -0.24251 | 0.14345 | 0.069476
15 | 0.98591 | -0.24258 | 0 | 0
16 | 0.98599 | -0.24325 | 0 | 0
17 | 0.98574 | -0.24109 | 0 | 0
18 | 0.986 | -0.24331 | 0.14895 | 0.072139
19 | 0.98572 | -0.24095 | 0 | 0
20 | 0.98563 | -0.24019 | 0.15651 | 0.0758
21 | 0.98572 | -0.24093 | 0.13778 | 0.066729
22 | 0.98553 | -0.2407 | 0.16416 | 0.079505
23 | 0.98558 | -0.24042 | 0.12213 | 0.05915
24 | 0.98559 | -0.24031 | 0.078891 | 0.038209
25 | 0.98562 | -0.24013 | 0 | 0
26 | 0.98548 | -0.23901 | 0 | 0
27 | 0.98545 | -0.23873 | 0 | 0
28 | 0.98544 | -0.23869 | 0.16165 | 0.07829
29 | 0.9854 | -0.23839 | 0 | 0
30 | 0.98539 | -0.23849 | 0.14829 | 0.071821
31 | 0.98546 | -0.23913 | 0.10569 | 0.051186
32 | 0.99794 | -0.02052 | 0.10149 | 0.049152
33 | 0.99799 | -0.020861 | 0 | 0
34 | 0.99859 | -0.014015 | 0 | 0
35 | 0.98885 | -0.26096 | 0.16215 | 0.078531
36 | 0.98849 | -0.26377 | 0 | 0
37 | 0.99309 | -0.1498 | 0.073051 | 0.03538
38 | 0.98752 | -0.25591 | 0 | 0
39 | 0.9866 | -0.24836 | 0 | 0
40 | 0.98607 | -0.24388 | 0 | 0
41 | 0.98659 | -0.24832 | 0.15077 | 0.073021
42 | 0.9875 | -0.25576 | 0.12831 | 0.062143
43 | 0.98527 | -0.24041 | 0.082971 | 0.040185
44 | 0.98749 | -0.25585 | 0 | 0
45 | 0.98749 | -0.25584 | 0 | 0
46 | 0.98748 | -0.25576 | 0.1298 | 0.062863
47 | 0.99852 | -0.011887 | 0.089445 | 0.04332
48 | 0.9985 | -0.011874 | 0 | 0
49 | 0.99903 | -0.0050076 | 0 | 0
50 | 0.99841 | -0.011784 | 0 | 0
51 | 0.99907 | -0.0050859 | 0.10652 | 0.051589
52 | 0.99831 | -0.011482 | 0 | 0
53 | 0.9984 | -0.011776 | 0.10988 | 0.053218
54 | 0.99829 | -0.011733 | 0.080507 | 0.038991
55 | 0.99839 | -0.011828 | 0 | 0
56 | 0.99824 | -0.011553 | 0 | 0
57 | 0.99824 | -0.011512 | 0.10107 | 0.048951
58 | 0.99791 | -0.024984 | 0.07541 | 0.036523
59 | 0.99523 | -0.094329 | 0 | 0
60 | 0.99829 | -0.011732 | 0 | 0
61 | 0.99289 | -0.15111 | 0.11328 | 0.054862
62 | 0.9982 | -0.01299 | 0 | 0
63 | 0.99818 | -0.01287 | 0.051422 | 0.024905
64 | 0.99523 | -0.094368 | 0.060179 | 0.029146
65 | 0.99913 | -0.0052921 | 0 | 0
66 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.36798 | 0.16223 | -0.36797 | -0.16239 | 1.2593e-06 | -0.00016623 | 0.011618 | 0.01162 | 0.01162 | 0.99927 | -0.0083365 | 0.99926 | -0.0083128 | 5.2816
1 | -0.48558 | -0.21919 | 0.4856 | 0.21784 | 1.7902e-05 | -0.0013458 | 0.015391 | 0.015375 | 0.015391 | 0.99927 | -0.0083365 | 0.9993 | -0.0086059 | 6.9958
2 | 0.36797 | 0.16239 | -0.36797 | -0.16339 | 7.5794e-06 | -0.00099926 | 0.01162 | 0.011631 | 0.011631 | 0.99926 | -0.0083128 | 0.99924 | -0.0081687 | 5.2869
3 | 2.3677 | 1.0536 | -2.3654 | -1.0812 | 0.0023278 | -0.0276 | 0.074865 | 0.075213 | 0.075213 | 0.9993 | -0.0086059 | 0.99822 | -0.021515 | 20.777
4 | -2.8533 | -1.2715 | 2.8551 | 1.257 | 0.0018072 | -0.014471 | 0.090239 | 0.090055 | 0.090239 | 0.9993 | -0.0086059 | 1 | 0 | 24.928
5 | 0.12069 | 0.058403 | -0.12069 | -0.058453 | 1.1331e-06 | -4.9806e-05 | 0.0038735 | 0.0038741 | 0.0038741 | 0.99924 | -0.0081687 | 0.99923 | -0.0082307 | 1.8448
6 | 0.24728 | 0.10499 | -0.24712 | -0.10656 | 0.00015068 | -0.0015741 | 0.0077609 | 0.0077798 | 0.0077798 | 0.99924 | -0.0081687 | 0.99859 | -0.014027 | 3.7047
7 | 2.3654 | 1.0812 | -2.3648 | -1.0887 | 0.00063422 | -0.0074614 | 0.075213 | 0.075308 | 0.075308 | 0.99822 | -0.021515 | 0.99792 | -0.024916 | 20.8034
8 | 0.1424 | 0.067916 | -0.1424 | -0.068966 | 1.2226e-06 | -0.0010508 | 0.0045543 | 0.0045674 | 0.0045674 | 1 | 0 | 0.99999 | 7.3529e-05 | 2.0761
9 | 0.74051 | 0.28078 | -0.74042 | -0.2836 | 8.3416e-05 | -0.0028257 | 0.022862 | 0.022891 | 0.022891 | 1 | 0 | 0.99989 | 0.00047606 | 10.405
10 | 0.10155 | 0.036058 | -0.10155 | -0.036767 | 3.8687e-07 | -0.00070931 | 0.0031151 | 0.0031221 | 0.0031221 | 0.99859 | -0.014027 | 0.99859 | -0.014015 | 1.4191
11 | 2.2893 | 1.0523 | -2.2844 | -1.0479 | 0.0049001 | 0.0043509 | 0.072886 | 0.072901 | 0.072901 | 0.99792 | -0.024916 | 0.99523 | -0.094329 | 20.8289
12 | 0.075411 | 0.036436 | -0.07541 | -0.036523 | 7.6811e-07 | -8.6796e-05 | 0.0024227 | 0.0024238 | 0.0024238 | 0.99792 | -0.024916 | 0.99791 | -0.024984 | 1.1542
13 | 0.61183 | 0.222 | -0.61171 | -0.22774 | 0.00011455 | -0.0057484 | 0.018791 | 0.018848 | 0.018848 | 0.99989 | 0.00047606 | 0.99971 | 0.0011466 | 8.5674
14 | 0.12859 | 0.061605 | -0.12859 | -0.062281 | 6.4152e-07 | -0.00067529 | 0.0041167 | 0.0041251 | 0.0041251 | 0.99989 | 0.00047606 | 0.99989 | 0.000519 | 1.8751
15 | 0.61171 | 0.22774 | -0.61168 | -0.22922 | 2.9428e-05 | -0.0014706 | 0.018848 | 0.018863 | 0.018863 | 0.99971 | 0.0011466 | 0.99966 | 0.0013326 | 8.5742
16 | 0.53944 | 0.19423 | -0.53917 | -0.19471 | 0.00026512 | -0.00048094 | 0.016557 | 0.016563 | 0.016563 | 0.99966 | 0.0013326 | 0.99913 | -0.0052921 | 7.8871
17 | -0.14345 | -0.069476 | 0.14345 | 0.068548 | 1.1603e-06 | -0.00092807 | 0.004667 | 0.0046552 | 0.004667 | 0.98591 | -0.24251 | 0.98591 | -0.24258 | 2.1214
18 | -1.302 | -0.60221 | 1.3021 | 0.60114 | 0.00011174 | -0.0010683 | 0.042003 | 0.041989 | 0.042003 | 0.98591 | -0.24258 | 0.98599 | -0.24325 | 19.0922
19 | 1.1585 | 0.53366 | -1.1583 | -0.53634 | 0.00022093 | -0.002685 | 0.037348 | 0.037382 | 0.037382 | 0.98591 | -0.24258 | 0.98574 | -0.24109 | 16.9917
20 | -1.3021 | -0.60114 | 1.3021 | 0.60103 | 1.0737e-05 | -0.00010271 | 0.041989 | 0.041988 | 0.041989 | 0.98599 | -0.24325 | 0.986 | -0.24331 | 19.0861
21 | 0.13778 | 0.064481 | -0.13778 | -0.066449 | 2.2606e-06 | -0.0019679 | 0.0044549 | 0.0044797 | 0.0044797 | 0.98574 | -0.24109 | 0.98572 | -0.24095 | 2.0362
22 | 1.0205 | 0.47186 | -1.0204 | -0.47369 | 0.00011663 | -0.0018333 | 0.032927 | 0.03295 | 0.03295 | 0.98574 | -0.24109 | 0.98563 | -0.24019 | 14.9772
23 | -1.4511 | -0.67317 | 1.4512 | 0.67237 | 0.00010545 | -0.00080488 | 0.046833 | 0.046822 | 0.046833 | 0.986 | -0.24331 | 0.98607 | -0.24388 | 21.2876
24 | 0.13778 | 0.066449 | -0.13778 | -0.066729 | 3.2374e-07 | -0.00028003 | 0.0044797 | 0.0044832 | 0.0044832 | 0.98572 | -0.24095 | 0.98572 | -0.24093 | 2.0378
25 | 0.86392 | 0.39789 | -0.86392 | -0.39805 | 7.1925e-06 | -0.00015888 | 0.027858 | 0.02786 | 0.02786 | 0.98563 | -0.24019 | 0.98562 | -0.24013 | 12.6634
26 | -0.16416 | -0.079505 | 0.16416 | 0.079355 | 6.7675e-06 | -0.00015012 | 0.0053427 | 0.0053407 | 0.0053427 | 0.98553 | -0.2407 | 0.98558 | -0.24042 | 2.5441
27 | -0.28629 | -0.13851 | 0.2863 | 0.13847 | 4.7138e-06 | -3.2405e-05 | 0.0093153 | 0.0093149 | 0.0093153 | 0.98558 | -0.24042 | 0.98559 | -0.24031 | 4.4359
28 | -0.36519 | -0.17668 | 0.3652 | 0.17664 | 1.0294e-05 | -4.1009e-05 | 0.011882 | 0.011882 | 0.011882 | 0.98559 | -0.24031 | 0.98562 | -0.24013 | 5.6582
29 | 0.49871 | 0.22141 | -0.49864 | -0.22659 | 7.6821e-05 | -0.0051819 | 0.015981 | 0.016044 | 0.016044 | 0.98562 | -0.24013 | 0.98548 | -0.23901 | 7.2927
30 | 0.18868 | 0.089969 | -0.18867 | -0.090024 | 3.2852e-06 | -5.4955e-05 | 0.006123 | 0.0061237 | 0.0061237 | 0.98548 | -0.23901 | 0.98546 | -0.23913 | 2.9161
31 | 0.16166 | 0.0743 | -0.16165 | -0.077747 | 5.4378e-06 | -0.0034475 | 0.0052116 | 0.0052546 | 0.0052546 | 0.98548 | -0.23901 | 0.98545 | -0.23873 | 2.3884
32 | 0.14831 | 0.062325 | -0.14829 | -0.071757 | 1.2349e-05 | -0.009432 | 0.0047124 | 0.0048262 | 0.0048262 | 0.98548 | -0.23901 | 0.9854 | -0.23839 | 2.1937
33 | 0.16165 | 0.077747 | -0.16165 | -0.07829 | 8.651e-07 | -0.0005432 | 0.0052546 | 0.0052615 | 0.0052615 | 0.98545 | -0.23873 | 0.98544 | -0.23869 | 2.3916
34 | 0.14829 | 0.071757 | -0.14829 | -0.071821 | 2.3495e-06 | -6.4145e-05 | 0.0048262 | 0.004827 | 0.004827 | 0.9854 | -0.23839 | 0.98539 | -0.23849 | 2.2986
35 | 0.082986 | 0.038838 | -0.082971 | -0.040185 | 1.5114e-05 | -0.0013469 | 0.002684 | 0.0027011 | 0.0027011 | 0.98546 | -0.23913 | 0.98527 | -0.24041 | 1.2862
36 | -0.10149 | -0.049152 | 0.10149 | 0.04056 | 4.9703e-06 | -0.0085922 | 0.0032619 | 0.0031615 | 0.0032619 | 0.99794 | -0.02052 | 0.99799 | -0.020861 | 1.4827
37 | -0.10149 | -0.04056 | 0.10155 | 0.036767 | 5.657e-05 | -0.0037925 | 0.0031615 | 0.0031221 | 0.0031615 | 0.99799 | -0.020861 | 0.99859 | -0.014015 | 1.5055
38 | 1.8651 | 0.84212 | -1.8644 | -0.84184 | 0.00063098 | 0.00027943 | 0.05974 | 0.059741 | 0.059741 | 0.98885 | -0.26096 | 0.98849 | -0.26377 | 28.4483
39 | -2.0272 | -0.92065 | 2.0341 | 0.92635 | 0.0069004 | 0.0056961 | 0.064998 | 0.064971 | 0.064998 | 0.98885 | -0.26096 | 0.99309 | -0.1498 | 18.5708
40 | 1.8644 | 0.84184 | -1.8625 | -0.85082 | 0.0019587 | -0.0089818 | 0.059741 | 0.059857 | 0.059857 | 0.98849 | -0.26377 | 0.98752 | -0.25591 | 27.2077
41 | -2.2205 | -1.0155 | 2.2243 | 1.0188 | 0.0037902 | 0.0033171 | 0.070975 | 0.070963 | 0.070975 | 0.99309 | -0.1498 | 0.99523 | -0.094368 | 20.2787
42 | 0.1133 | 0.0538 | -0.11328 | -0.054862 | 2.1726e-05 | -0.0010623 | 0.0036458 | 0.0036594 | 0.0036594 | 0.99309 | -0.1498 | 0.99289 | -0.15111 | 1.7426
43 | 0.25811 | 0.12231 | -0.25811 | -0.12346 | 4.5766e-06 | -0.0011416 | 0.0083496 | 0.0083639 | 0.0083639 | 0.98752 | -0.25591 | 0.9875 | -0.25576 | 3.8018
44 | 1.6044 | 0.72851 | -1.6028 | -0.73845 | 0.0015886 | -0.0099367 | 0.051508 | 0.051635 | 0.051635 | 0.98752 | -0.25591 | 0.9866 | -0.24836 | 23.4704
45 | 1.452 | 0.66597 | -1.4512 | -0.67237 | 0.00083656 | -0.0064027 | 0.046741 | 0.046822 | 0.046822 | 0.9866 | -0.24836 | 0.98607 | -0.24388 | 21.2829
46 | 0.15077 | 0.072482 | -0.15077 | -0.073021 | 7.4448e-07 | -0.00053995 | 0.0048948 | 0.0049017 | 0.0049017 | 0.9866 | -0.24836 | 0.98659 | -0.24832 | 2.228
47 | 0.1298 | 0.061313 | -0.1298 | -0.061376 | 1.7354e-06 | -6.3289e-05 | 0.0041964 | 0.0041972 | 0.0041972 | 0.9875 | -0.25576 | 0.98749 | -0.25585 | 1.9987
48 | 0.1298 | 0.061376 | -0.1298 | -0.061628 | 2.5456e-07 | -0.00025175 | 0.0041972 | 0.0042004 | 0.0042004 | 0.98749 | -0.25585 | 0.98749 | -0.25584 | 1.9093
49 | 0.1298 | 0.061628 | -0.1298 | -0.062863 | 1.2547e-06 | -0.0012353 | 0.0042004 | 0.004216 | 0.004216 | 0.98749 | -0.25584 | 0.98748 | -0.25576 | 1.9164
50 | 0.34296 | 0.10423 | -0.34295 | -0.10577 | 9.3419e-06 | -0.0015465 | 0.010363 | 0.010376 | 0.010376 | 0.99852 | -0.011887 | 0.9985 | -0.011874 | 4.7163
51 | -0.4324 | -0.14755 | 0.43261 | 0.1469 | 0.00020264 | -0.00064984 | 0.013209 | 0.013201 | 0.013209 | 0.99852 | -0.011887 | 0.99903 | -0.0050076 | 6.2898
52 | 0.34295 | 0.10577 | -0.34292 | -0.11085 | 3.0854e-05 | -0.0050789 | 0.010376 | 0.01042 | 0.01042 | 0.9985 | -0.011874 | 0.99841 | -0.011784 | 4.7365
53 | -0.43261 | -0.1469 | 0.43262 | 0.14525 | 1.6056e-05 | -0.0016417 | 0.013201 | 0.013186 | 0.013201 | 0.99903 | -0.0050076 | 0.99907 | -0.0050859 | 6.0006
54 | 0.13195 | 0.04085 | -0.13194 | -0.054228 | 1.2344e-05 | -0.013378 | 0.0039938 | 0.0041248 | 0.0041248 | 0.99841 | -0.011784 | 0.99831 | -0.011482 | 1.8749
55 | 0.21097 | 0.070001 | -0.21097 | -0.070402 | 9.3033e-07 | -0.00040103 | 0.0064269 | 0.0064306 | 0.0064306 | 0.99841 | -0.011784 | 0.9984 | -0.011776 | 2.923
56 | -0.53914 | -0.19684 | 0.53917 | 0.19471 | 3.3032e-05 | -0.0021371 | 0.016584 | 0.016563 | 0.016584 | 0.99907 | -0.0050859 | 0.99913 | -0.0052921 | 7.5382
57 | 0.13194 | 0.054228 | -0.13193 | -0.054349 | 3.1477e-06 | -0.00012152 | 0.0041248 | 0.0041262 | 0.0041262 | 0.99831 | -0.011482 | 0.99829 | -0.011733 | 1.9649
58 | 0.10109 | 0.017185 | -0.10109 | -0.01882 | 8.0863e-07 | -0.0016353 | 0.0029648 | 0.0029731 | 0.0029731 | 0.9984 | -0.011776 | 0.99839 | -0.011828 | 1.3514
59 | 0.051428 | 0.015358 | -0.051428 | -0.016211 | 1.1585e-07 | -0.00085326 | 0.001552 | 0.0015593 | 0.0015593 | 0.99829 | -0.011733 | 0.99829 | -0.011732 | 0.70876
60 | 0.10109 | 0.01882 | -0.10107 | -0.048133 | 1.5593e-05 | -0.029313 | 0.0029731 | 0.0032373 | 0.0032373 | 0.99839 | -0.011828 | 0.99824 | -0.011553 | 1.4715
61 | 0.10107 | 0.048133 | -0.10107 | -0.048951 | 4.8238e-07 | -0.00081757 | 0.0032373 | 0.0032476 | 0.0032476 | 0.99824 | -0.011553 | 0.99824 | -0.011512 | 1.4762
62 | 2.2844 | 1.0479 | -2.2844 | -1.048 | 6.9822e-06 | -8.7351e-05 | 0.072901 | 0.072902 | 0.072902 | 0.99523 | -0.094329 | 0.99523 | -0.094368 | 20.1387
63 | 0.051428 | 0.016211 | -0.051423 | -0.017344 | 4.1622e-06 | -0.0011331 | 0.0015593 | 0.0015695 | 0.0015695 | 0.99829 | -0.011732 | 0.9982 | -0.01299 | 0.74736
64 | 0.051423 | 0.017344 | -0.051422 | -0.024905 | 1.0967e-06 | -0.0075606 | 0.0015695 | 0.0016524 | 0.0016524 | 0.9982 | -0.01299 | 0.99818 | -0.01287 | 0.75108

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 3.752 | 1.6162

## res_load
| p_mw | q_mvar
0 | 0.11761 | 0.056961
1 | 0.12069 | 0.058453
2 | 0.14558 | 0.070506
3 | 0.12859 | 0.062281
4 | 0.1424 | 0.068966
5 | 0.072245 | 0.03499
6 | 0.14345 | 0.069476
7 | 0.14895 | 0.072139
8 | 0.15651 | 0.0758
9 | 0.13778 | 0.066729
10 | 0.16416 | 0.079505
11 | 0.12213 | 0.05915
12 | 0.078891 | 0.038209
13 | 0.16165 | 0.07829
14 | 0.14829 | 0.071821
15 | 0.10569 | 0.051186
16 | 0.10149 | 0.049152
17 | 0.16215 | 0.078531
18 | 0.073051 | 0.03538
19 | 0.15077 | 0.073021
20 | 0.12831 | 0.062143
21 | 0.082971 | 0.040185
22 | 0.1298 | 0.062863
23 | 0.089445 | 0.04332
24 | 0.10652 | 0.051589
25 | 0.10988 | 0.053218
26 | 0.080507 | 0.038991
27 | 0.10107 | 0.048951
28 | 0.07541 | 0.036523
29 | 0.11328 | 0.054862
30 | 0.051422 | 0.024905
31 | 0.060179 | 0.029146

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1