## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_138_1_node_52 | 20 | n |  | TRUE
1 | bus_MV_138_1_node_244 | 20 | n |  | TRUE
2 | bus_MV_138_1_node_200 | 20 | n |  | TRUE
3 | bus_MV_138_1_node_102 | 20 | n |  | TRUE
4 | bus_MV_138_1_node_103 | 20 | n |  | TRUE
5 | bus_MV_138_1_node_106 | 20 | n |  | TRUE
6 | bus_MV_138_1_node_104 | 20 | n |  | TRUE
7 | bus_MV_138_1_node_226 | 20 | n |  | TRUE
8 | bus_MV_138_1_node_108 | 20 | n |  | TRUE
9 | bus_MV_138_1_node_105 | 20 | n |  | TRUE
10 | bus_MV_138_1_node_107 | 20 | n |  | TRUE
11 | bus_MV_138_1_node_110 | 20 | n |  | TRUE
12 | bus_MV_138_1_node_111 | 20 | n |  | TRUE
13 | bus_MV_138_1_node_189 | 20 | n |  | TRUE
14 | bus_MV_138_1_node_235 | 20 | n |  | TRUE
15 | bus_MV_138_1_node_240 | 20 | n |  | TRUE
16 | bus_MV_138_1_node_236 | 20 | n |  | TRUE
17 | bus_MV_138_1_node_112 | 20 | n |  | TRUE
18 | bus_MV_138_1_node_113 | 20 | n |  | TRUE
19 | bus_MV_138_1_node_267 | 20 | n |  | TRUE
20 | bus_MV_138_1_node_114 | 20 | n |  | TRUE
21 | bus_MV_138_1_node_160 | 20 | n |  | TRUE
22 | bus_MV_138_1_node_266 | 20 | n |  | TRUE
23 | bus_MV_138_1_node_132 | 20 | n |  | TRUE
24 | bus_MV_138_1_node_133 | 20 | n |  | TRUE
25 | bus_MV_138_1_node_233 | 20 | n |  | TRUE
26 | bus_MV_138_1_node_134 | 20 | n |  | TRUE
27 | bus_MV_138_1_node_141 | 20 | n |  | TRUE
28 | bus_MV_138_1_node_135 | 20 | n |  | TRUE
29 | bus_MV_138_1_node_265 | 20 | n |  | TRUE
30 | bus_MV_138_1_node_139 | 20 | n |  | TRUE
31 | bus_MV_138_1_node_262 | 20 | n |  | TRUE
32 | bus_MV_138_1_node_263 | 20 | n |  | TRUE
33 | bus_MV_138_1_node_140 | 20 | n |  | TRUE
34 | bus_MV_138_1_node_144 | 20 | n |  | TRUE
35 | bus_MV_138_1_node_142 | 20 | n |  | TRUE
36 | bus_MV_138_1_node_143 | 20 | n |  | TRUE
37 | bus_MV_138_1_node_146 | 20 | n |  | TRUE
38 | bus_MV_138_1_node_253 | 20 | n |  | TRUE
39 | bus_MV_138_1_node_148 | 20 | n |  | TRUE
40 | bus_MV_138_1_node_145 | 20 | n |  | TRUE
41 | bus_MV_138_1_node_206 | 20 | n |  | TRUE
42 | bus_MV_138_1_node_147 | 20 | n |  | TRUE
43 | bus_MV_138_1_node_151 | 20 | n |  | TRUE
44 | bus_MV_138_1_node_195 | 20 | n |  | TRUE
45 | bus_MV_138_1_node_149 | 20 | n |  | TRUE
46 | bus_MV_138_1_node_150 | 20 | n |  | TRUE
47 | bus_MV_138_1_node_182 | 20 | n |  | TRUE
48 | bus_MV_138_1_node_152 | 20 | n |  | TRUE
49 | bus_MV_138_1_node_153 | 20 | n |  | TRUE
50 | bus_MV_138_1_node_154 | 20 | n |  | TRUE
51 | bus_MV_138_1_node_155 | 20 | n |  | TRUE
52 | bus_MV_138_1_node_171 | 20 | n |  | TRUE
53 | bus_MV_138_1_node_196 | 20 | n |  | TRUE
54 | bus_MV_138_1_node_158 | 20 | n |  | TRUE
55 | bus_MV_138_1_node_156 | 20 | n |  | TRUE
56 | bus_MV_138_1_node_184 | 20 | n |  | TRUE
57 | bus_MV_138_1_node_161 | 20 | n |  | TRUE
58 | bus_MV_138_1_node_162 | 20 | n |  | TRUE
59 | bus_MV_138_1_node_165 | 20 | n |  | TRUE
60 | bus_MV_138_1_node_163 | 20 | n |  | TRUE
61 | bus_MV_138_1_node_169 | 20 | n |  | TRUE
62 | bus_MV_138_1_node_164 | 20 | n |  | TRUE
63 | bus_MV_138_1_node_166 | 20 | n |  | TRUE
64 | bus_MV_138_1_node_167 | 20 | n |  | TRUE
65 | bus_MV_138_1_node_168 | 20 | n |  | TRUE
66 | bus_MV_138_1_node_170 | 20 | n |  | TRUE
67 | bus_MV_138_1_node_205 | 20 | n |  | TRUE
68 | bus_MV_138_1_node_175 | 20 | n |  | TRUE
69 | bus_MV_138_1_node_173 | 20 | n |  | TRUE
70 | bus_MV_138_1_node_174 | 20 | n |  | TRUE
71 | bus_MV_138_1_node_199 | 20 | n |  | TRUE
72 | bus_MV_138_1_node_225 | 20 | n |  | TRUE
73 | bus_MV_138_1_node_258 | 20 | n |  | TRUE
74 | bus_MV_138_1_node_186 | 20 | n |  | TRUE
75 | bus_MV_138_1_node_188 | 20 | n |  | TRUE
76 | bus_MV_138_1_node_187 | 20 | n |  | TRUE
77 | bus_MV_138_1_node_191 | 20 | n |  | TRUE
78 | bus_MV_138_1_node_274 | 20 | n |  | TRUE
79 | bus_MV_138_1_node_275 | 20 | n |  | TRUE
80 | bus_MV_138_1_node_264 | 20 | n |  | TRUE
81 | bus_MV_138_1_node_201 | 20 | n |  | TRUE
82 | bus_MV_138_1_node_202 | 20 | n |  | TRUE
83 | bus_MV_138_1_node_203 | 20 | n |  | TRUE
84 | bus_MV_138_1_node_204 | 20 | n |  | TRUE
85 | bus_MV_138_1_node_270 | 20 | n |  | TRUE
86 | bus_MV_138_1_node_271 | 20 | n |  | TRUE
87 | bus_MV_138_1_node_279 | 20 | n |  | TRUE
88 | bus_MV_138_1_node_280 | 20 | n |  | TRUE
89 | bus_MV_138_1_node_237 | 20 | n |  | TRUE
90 | bus_MV_138_1_node_238 | 20 | n |  | TRUE
91 | bus_MV_138_1_node_239 | 20 | n |  | TRUE
92 | bus_MV_138_1_node_273 | 20 | n |  | TRUE
93 | bus_HV_138_1_node_167 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_138_1_load_52 | 0 | 0.09501 | 0.046016 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_138_1_load_244 | 1 | 0.15602 | 0.075564 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_138_1_load_102 | 3 | 0.14286 | 0.069192 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_138_1_load_108 | 8 | 0.079066 | 0.038294 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_138_1_load_105 | 9 | 0.13634 | 0.066031 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_138_1_load_235 | 14 | 0.079819 | 0.038658 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_138_1_load_240 | 15 | 1.5219 | 0.73707 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_138_1_load_236 | 16 | 0.29861 | 0.14462 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_138_1_load_112 | 17 | 0.084566 | 0.040957 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_138_1_load_160 | 21 | 0.103 | 0.049883 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_138_1_load_266 | 22 | 0.088691 | 0.042955 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_138_1_load_132 | 23 | 0.13717 | 0.066434 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_138_1_load_233 | 25 | 0.094774 | 0.045901 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_138_1_load_135 | 28 | 0.13523 | 0.065497 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_138_1_load_262 | 31 | 0.097683 | 0.04731 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_138_1_load_140 | 33 | 0.13671 | 0.066212 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_138_1_load_142 | 35 | 0.15696 | 0.076021 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_138_1_load_146 | 37 | 0.11558 | 0.055979 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_138_1_load_253 | 38 | 0.086475 | 0.041882 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_138_1_load_145 | 40 | 0.089281 | 0.043241 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_138_1_load_206 | 41 | 0.37512 | 0.18168 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_138_1_load_147 | 42 | 0.12995 | 0.062935 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_138_1_load_151 | 43 | 0.126 | 0.061024 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_138_1_load_149 | 45 | 0.12069 | 0.058455 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_138_1_load_182 | 47 | 0.11675 | 0.056547 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_138_1_load_152 | 48 | 0.079394 | 0.038452 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_138_1_load_171 | 52 | 0.13542 | 0.065588 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_138_1_load_196 | 53 | 0.10846 | 0.05253 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_138_1_load_158 | 54 | 0.079659 | 0.038581 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_138_1_load_156 | 55 | 0.12842 | 0.062199 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_138_1_load_184 | 56 | 0.10049 | 0.048668 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_138_1_load_165 | 59 | 0.1019 | 0.049353 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_138_1_load_163 | 60 | 0.14224 | 0.068888 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_138_1_load_164 | 62 | 0.072467 | 0.035097 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_138_1_load_199 | 71 | 0.086144 | 0.041722 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_138_1_load_225 | 72 | 0.074285 | 0.035978 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_138_1_load_258 | 73 | 0.1101 | 0.053326 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_138_1_load_186 | 74 | 0.11795 | 0.057128 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_138_1_load_191 | 77 | 0.14557 | 0.070501 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_138_1_load_274 | 78 | 0.4808 | 0.23286 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_138_1_load_275 | 79 | 0.1186 | 0.057438 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_138_1_load_264 | 80 | 0.16449 | 0.079666 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_138_1_load_201 | 81 | 0.072821 | 0.035269 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_138_1_load_202 | 82 | 0.16125 | 0.078096 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_138_1_load_270 | 85 | 0.076403 | 0.037004 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_138_1_load_279 | 87 | 0.14116 | 0.068368 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_138_1_load_280 | 88 | 0.138 | 0.066838 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_138_1_load_273 | 92 | 0.14886 | 0.072095 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_138_1_line_0 |  | 0 | 1 | 0.4408 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_138_1_line_1 |  | 0 | 2 | 3.7918 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_138_1_line_2 |  | 2 | 81 | 0.006637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_138_1_line_3 |  | 2 | 70 | 0.75591 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_138_1_line_4 |  | 3 | 4 | 0.050697 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_138_1_line_5 |  | 4 | 5 | 0.081887 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_138_1_line_6 |  | 5 | 11 | 0.1018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_138_1_line_7 |  | 5 | 9 | 0.05773 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_138_1_line_8 |  | 6 | 7 | 0.060605 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_138_1_line_9 |  | 6 | 8 | 0.077853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_138_1_line_10 |  | 7 | 88 | 0.031273 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_138_1_line_11 |  | 8 | 9 | 0.070976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_138_1_line_12 |  | 9 | 10 | 0.019563 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_138_1_line_13 |  | 10 | 12 | 0.11325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_138_1_line_14 |  | 11 | 13 | 0.20132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_138_1_line_15 |  | 11 | 14 | 0.053005 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_138_1_line_16 |  | 12 | 15 | 0.020644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_138_1_line_17 |  | 12 | 16 | 0.051246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_138_1_line_18 |  | 13 | 79 | 0.11086 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_138_1_line_19 |  | 13 | 80 | 0.1022 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_138_1_line_20 |  | 16 | 89 | 0.036385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_138_1_line_21 |  | 17 | 18 | 0.053818 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_138_1_line_22 |  | 17 | 19 | 0.1382 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_138_1_line_23 |  | 18 | 20 | 0.13089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_138_1_line_24 |  | 19 | 79 | 0.03892 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_138_1_line_25 |  | 20 | 21 | 0.009664 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_138_1_line_26 |  | 20 | 22 | 0.12158 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
27 | MV_138_1_line_27 |  | 22 | 29 | 0.025378 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_138_1_line_28 |  | 22 | 66 | 0.009663 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
29 | MV_138_1_line_29 |  | 23 | 24 | 0.10636 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_138_1_line_30 |  | 23 | 25 | 0.60847 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_138_1_line_31 |  | 24 | 26 | 0.08071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_138_1_line_32 |  | 26 | 27 | 0.12711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_138_1_line_33 |  | 27 | 34 | 0.031629 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_138_1_line_34 |  | 27 | 33 | 0.042643 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_138_1_line_35 |  | 28 | 29 | 0.1495 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_138_1_line_36 |  | 30 | 31 | 0.08391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_138_1_line_37 |  | 30 | 32 | 0.066373 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_138_1_line_38 |  | 32 | 80 | 0.048159 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_138_1_line_39 |  | 34 | 38 | 0.076951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_138_1_line_40 |  | 34 | 40 | 0.078839 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_138_1_line_41 |  | 35 | 36 | 0.1667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_138_1_line_42 |  | 35 | 37 | 0.14724 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_138_1_line_43 |  | 35 | 38 | 0.27338 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_138_1_line_44 |  | 36 | 39 | 0.1404 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_138_1_line_45 |  | 39 | 44 | 0.20752 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_138_1_line_46 |  | 40 | 41 | 1.3117 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_138_1_line_47 |  | 42 | 43 | 0.054768 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_138_1_line_48 |  | 42 | 44 | 0.076782 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_138_1_line_49 |  | 43 | 45 | 0.021678 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_138_1_line_50 |  | 44 | 53 | 0.12472 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_138_1_line_51 |  | 45 | 46 | 0.014709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_138_1_line_52 |  | 46 | 47 | 0.039425 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_138_1_line_53 |  | 48 | 49 | 0.10935 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_138_1_line_54 |  | 49 | 50 | 0.57023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_138_1_line_55 |  | 49 | 51 | 0.30251 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_138_1_line_56 |  | 50 | 52 | 0.27282 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_138_1_line_57 |  | 50 | 53 | 0.86725 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_138_1_line_58 |  | 51 | 54 | 0.055517 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_138_1_line_59 |  | 52 | 68 | 0.72955 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_138_1_line_60 |  | 54 | 56 | 0.14523 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_138_1_line_61 |  | 55 | 56 | 0.1393 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_138_1_line_62 |  | 56 | 65 | 0.077932 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_138_1_line_63 |  | 57 | 58 | 0.060214 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_138_1_line_64 |  | 57 | 59 | 0.1079 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_138_1_line_65 |  | 58 | 60 | 0.020936 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_138_1_line_66 |  | 59 | 64 | 0.037271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_138_1_line_67 |  | 60 | 61 | 0.016908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_138_1_line_68 |  | 61 | 67 | 0.13597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_138_1_line_69 |  | 61 | 63 | 0.069964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_138_1_line_70 |  | 62 | 63 | 0.049347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_138_1_line_71 |  | 63 | 65 | 0.13381 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_138_1_line_72 |  | 64 | 66 | 0.061296 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
73 | MV_138_1_line_73 |  | 67 | 87 | 0.01805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_138_1_line_74 |  | 68 | 73 | 0.066069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_138_1_line_75 |  | 68 | 69 | 0.66231 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_138_1_line_76 |  | 69 | 70 | 0.48645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_138_1_line_77 |  | 69 | 71 | 0.072335 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_138_1_line_78 |  | 70 | 72 | 0.03199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_138_1_line_79 |  | 74 | 75 | 0.10547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_138_1_line_80 |  | 75 | 76 | 0.1193 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_138_1_line_81 |  | 76 | 77 | 0.14363 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_138_1_line_82 |  | 76 | 78 | 0.19839 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_138_1_line_83 |  | 78 | 91 | 0.022964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_138_1_line_84 |  | 82 | 83 | 0.03943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_138_1_line_85 |  | 83 | 84 | 0.063825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_138_1_line_86 |  | 84 | 85 | 0.048067 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_138_1_line_87 |  | 84 | 86 | 0.12325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_138_1_line_88 |  | 86 | 87 | 0.024241 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_138_1_line_89 |  | 89 | 90 | 0.048463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_138_1_line_90 |  | 89 | 91 | 0.10249 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_138_1_line_91 |  | 90 | 92 | 0.00661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_138_1_trafo_167 | 25 MVA 110/20 kV | 93 | 64 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2665142.0422 | 1187759.2271
1 | 2664992.7257 | 1187344.4883
2 | 2663223.4187 | 1191029.7462
3 | 2660670.9047 | 1191014.1865
4 | 2660632.9842 | 1190980.5386
5 | 2660678.91 | 1190912.7427
6 | 2660543.7234 | 1190993.7431
7 | 2660491.6662 | 1190963.0327
8 | 2660593.0022 | 1190934.6458
9 | 2660633.8769 | 1190876.6214
10 | 2660618.5909 | 1190864.3596
11 | 2660742.4368 | 1190837.299
12 | 2660549.4961 | 1190791.6855
13 | 2660857.6562 | 1190842.8498
14 | 2660781.6813 | 1190872.9281
15 | 2660562.0303 | 1190775.2584
16 | 2660508.7007 | 1190760.6706
17 | 2660871.4382 | 1191067.2176
18 | 2660913.4148 | 1191100.8983
19 | 2660953.4642 | 1190955.9892
20 | 2661020.0514 | 1191176.7165
21 | 2661027.6376 | 1191182.7306
22 | 2661058.8925 | 1191061.5128
23 | 2661465.0405 | 1192446.6888
24 | 2661372.765 | 1192393.8004
25 | 2662070.1613 | 1192510.45
26 | 2661352.2359 | 1192315.745
27 | 2661333.6287 | 1192199.6318
28 | 2661147.0635 | 1190913.9611
29 | 2661061.0338 | 1191036.2313
30 | 2661021.6919 | 1190758.5707
31 | 2661079.9423 | 1190699.3861
32 | 2660994.6162 | 1190798.0953
33 | 2661349.3125 | 1192159.9696
34 | 2661306.9003 | 1192200.4696
35 | 2661320.5317 | 1191860.4242
36 | 2661461.9388 | 1191846.1993
37 | 2661234.4926 | 1191740.9415
38 | 2661284.8894 | 1192131.4711
39 | 2661416.3232 | 1191713.477
40 | 2661266.2016 | 1192267.9919
41 | 2660014.9107 | 1192661.3439
42 | 2661256.9628 | 1191503.1121
43 | 2661237.649 | 1191451.8629
44 | 2661326.3885 | 1191535.9084
45 | 2661256.9211 | 1191442.3879
46 | 2661253.4764 | 1191428.0888
47 | 2661292.827 | 1191424.2338
48 | 2661797.3126 | 1191242.3132
49 | 2661754.9609 | 1191320.8226
50 | 2662301.6335 | 1191450.7275
51 | 2661539.01 | 1191126.832
52 | 2662540.3455 | 1191577.4893
53 | 2661443.7802 | 1191578.0362
54 | 2661490.4857 | 1191099.8597
55 | 2661379.9934 | 1191078.8167
56 | 2661403.4642 | 1191216.1253
57 | 2661058.3182 | 1191208.9807
58 | 2661104.6011 | 1191247.6528
59 | 2661112.2634 | 1191115.5328
60 | 2661120.7274 | 1191261.0584
61 | 2661133.2917 | 1191272.3487
62 | 2661220.6343 | 1191202.6677
63 | 2661198.3406 | 1191246.5984
64 | 2661125.9912 | 1191080.8752
65 | 2661328.9366 | 1191238.9079
66 | 2661068.4905 | 1191060.1766
67 | 2661100.4261 | 1191364.5775
68 | 2663234.9777 | 1191354.4784
69 | 2663298.2962 | 1191772.0561
70 | 2663418.6761 | 1191669.3927
71 | 2663257.1611 | 1191831.5558
72 | 2663434.9803 | 1191696.5837
73 | 2663272.3326 | 1191409.038
74 | 2660845.8944 | 1190647.4848
75 | 2660823.3434 | 1190545.7195
76 | 2660718.5556 | 1190602.7444
77 | 2660651.3633 | 1190475.8022
78 | 2660568.5546 | 1190732.5888
79 | 2660921.9387 | 1190933.1664
80 | 2660946.6341 | 1190792.5814
81 | 2663217.3063 | 1191032.3721
82 | 2660899.2796 | 1191307.5844
83 | 2660933.5901 | 1191327.0224
84 | 2660993.4804 | 1191343.4527
85 | 2660973.5997 | 1191387.231
86 | 2661081.4459 | 1191394.0119
87 | 2661102.3903 | 1191382.0409
88 | 2660476.0881 | 1190935.9153
89 | 2660479.7361 | 1190738.6501
90 | 2660444.1292 | 1190726.2947
91 | 2660550.3121 | 1190718.574
92 | 2660448.4197 | 1190721.2573
93 | 2661125.9912 | 1191080.8752

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98984 | 0.0037875 | 0.09501 | 0.046016
1 | 0.98971 | 0.0029294 | 0.15602 | 0.075564
2 | 0.99169 | 0.016403 | 0 | 0
3 | 0.99508 | -0.0098133 | 0.14286 | 0.069192
4 | 0.99509 | -0.0097248 | 0 | 0
5 | 0.99511 | -0.0095812 | 0 | 0
6 | 0.99474 | -0.011549 | 0 | 0
7 | 0.99473 | -0.011451 | 0 | 0
8 | 0.99475 | -0.011667 | 0.079066 | 0.038294
9 | 0.99477 | -0.011835 | 0.13634 | 0.066031
10 | 0.9947 | -0.011209 | 0 | 0
11 | 0.99553 | -0.013403 | 0 | 0
12 | 0.99431 | -0.007573 | 0 | 0
13 | 0.99638 | -0.021081 | 0 | 0
14 | 0.99553 | -0.013354 | 0.079819 | 0.038658
15 | 0.99427 | -0.0071932 | 1.5219 | 0.73707
16 | 0.99423 | -0.0068628 | 0.29861 | 0.14462
17 | 0.9984 | -0.0075727 | 0.084566 | 0.040957
18 | 0.99866 | -0.0098952 | 0 | 0
19 | 0.99742 | -0.014126 | 0 | 0
20 | 0.99929 | -0.01552 | 0 | 0
21 | 0.99928 | -0.015508 | 0.103 | 0.049883
22 | 0.99984 | -0.0016895 | 0.088691 | 0.042955
23 | 0.9888 | -0.0014688 | 0.13717 | 0.066434
24 | 0.98885 | -0.0011568 | 0 | 0
25 | 0.98869 | -0.0022004 | 0.094774 | 0.045901
26 | 0.98887 | -0.0013765 | 0 | 0
27 | 0.98891 | -0.0017025 | 0 | 0
28 | 0.9998 | -0.0018947 | 0.13523 | 0.065497
29 | 0.99984 | -0.0016492 | 0 | 0
30 | 0.99631 | -0.021339 | 0 | 0
31 | 0.9963 | -0.021246 | 0.097683 | 0.04731
32 | 0.99632 | -0.021405 | 0 | 0
33 | 0.9889 | -0.0016325 | 0.13671 | 0.066212
34 | 0.98892 | -0.0018306 | 0 | 0
35 | 0.98949 | 0.00080063 | 0.15696 | 0.076021
36 | 0.98975 | -0.0014858 | 0 | 0
37 | 0.98946 | 0.00058949 | 0.11558 | 0.055979
38 | 0.98901 | -0.0025656 | 0.086475 | 0.041882
39 | 0.98996 | -0.0033777 | 0 | 0
40 | 0.98885 | -0.0022938 | 0.089281 | 0.043241
41 | 0.98789 | -0.0084675 | 0.37512 | 0.18168
42 | 0.99021 | -0.0065972 | 0.12995 | 0.062935
43 | 0.99017 | -0.0068511 | 0.126 | 0.061024
44 | 0.99028 | -0.0061178 | 0 | 0
45 | 0.99016 | -0.0067905 | 0.12069 | 0.058455
46 | 0.99016 | -0.0067706 | 0 | 0
47 | 0.99015 | -0.0067156 | 0.11675 | 0.056547
48 | 0.99553 | 0.003826 | 0.079394 | 0.038452
49 | 0.99554 | 0.0037303 | 0 | 0
50 | 0.99371 | 0.017819 | 0 | 0
51 | 0.99655 | -0.0037612 | 0 | 0
52 | 0.99346 | 0.019245 | 0.13542 | 0.065588
53 | 0.99069 | -0.0032502 | 0.10846 | 0.05253
54 | 0.99673 | -0.0051193 | 0.079659 | 0.038581
55 | 0.99744 | 0.00081358 | 0.12842 | 0.062199
56 | 0.99748 | 0.0010318 | 0.10049 | 0.048668
57 | 0.9991 | -0.0045056 | 0 | 0
58 | 0.99884 | -0.0024594 | 0 | 0
59 | 0.99983 | 0.0013084 | 0.1019 | 0.049353
60 | 0.99874 | -0.0017464 | 0.14224 | 0.068888
61 | 0.99867 | -0.0011989 | 0 | 0
62 | 0.9984 | 0.00084354 | 0.072467 | 0.035097
63 | 0.99841 | 0.00080247 | 0 | 0
64 | 1 | 0 | -7.7509 | -3.5864
65 | 0.99791 | 0.0045474 | 0 | 0
66 | 0.99986 | -0.0014596 | 0 | 0
67 | 0.99861 | -0.00066058 | 0 | 0
68 | 0.99265 | 0.010606 | 0 | 0
69 | 0.99225 | 0.012669 | 0 | 0
70 | 0.992 | 0.014104 | 0 | 0
71 | 0.99224 | 0.012592 | 0.086144 | 0.041722
72 | 0.992 | 0.014132 | 0.074285 | 0.035978
73 | 0.99264 | 0.010691 | 0.1101 | 0.053326
74 | 0.99393 | -0.0061389 | 0.11795 | 0.057128
75 | 0.99394 | -0.0062811 | 0 | 0
76 | 0.99397 | -0.0060827 | 0 | 0
77 | 0.99393 | -0.0063395 | 0.14557 | 0.070501
78 | 0.99407 | -0.0053936 | 0.4808 | 0.23286
79 | 0.99714 | -0.015974 | 0.1186 | 0.057438
80 | 0.99633 | -0.021449 | 0.16449 | 0.079666
81 | 0.99169 | 0.016409 | 0.072821 | 0.035269
82 | 0.99853 | -2.5294e-05 | 0.16125 | 0.078096
83 | 0.99854 | -0.0001004 | 0 | 0
84 | 0.99855 | -0.00021696 | 0 | 0
85 | 0.99855 | -0.00017465 | 0.076403 | 0.037004
86 | 0.99859 | -0.00052846 | 0 | 0
87 | 0.9986 | -0.000587 | 0.14116 | 0.068368
88 | 0.99472 | -0.011504 | 0.138 | 0.066838
89 | 0.99419 | -0.0064876 | 0 | 0
90 | 0.99418 | -0.0064025 | 0 | 0
91 | 0.99409 | -0.0055956 | 0 | 0
92 | 0.99418 | -0.0063906 | 0.14886 | 0.072095
93 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.15604 | 0.075061 | -0.15602 | -0.075564 | 2.0054e-05 | -0.00050296 | 0.0050498 | 0.0050564 | 0.0050564 | 0.98984 | 0.0037875 | 0.98971 | 0.0029294 | 2.4078
1 | -0.25105 | -0.12108 | 0.25149 | 0.11691 | 0.00044332 | -0.0041657 | 0.0081286 | 0.0080732 | 0.0081286 | 0.98984 | 0.0037875 | 0.99169 | 0.016403 | 3.8707
2 | 0.072821 | 0.035113 | -0.072821 | -0.035269 | 4.91e-08 | -0.00015583 | 0.0023533 | 0.0023553 | 0.0023553 | 0.99169 | 0.016403 | 0.99169 | 0.016409 | 1.0706
3 | -0.32432 | -0.15202 | 0.32442 | 0.1343 | 0.00010746 | -0.017723 | 0.010426 | 0.010218 | 0.010426 | 0.99169 | 0.016403 | 0.992 | 0.014104 | 4.7392
4 | -0.14286 | -0.069192 | 0.14286 | 0.069133 | 1.9151e-06 | -5.8729e-05 | 0.004605 | 0.0046042 | 0.004605 | 0.99508 | -0.0098133 | 0.99509 | -0.0097248 | 2.1929
5 | -0.14286 | -0.069133 | 0.14287 | 0.069038 | 3.0921e-06 | -9.4865e-05 | 0.0046042 | 0.004603 | 0.0046042 | 0.99509 | -0.0097248 | 0.99511 | -0.0095812 | 2.1925
6 | -3.2126 | -1.5376 | 3.2141 | 1.5356 | 0.0014503 | -0.0019777 | 0.10332 | 0.10329 | 0.10332 | 0.99511 | -0.0095812 | 0.99553 | -0.013403 | 46.9635
7 | 3.0698 | 1.4685 | -3.0687 | -1.468 | 0.0010024 | 0.00055962 | 0.098717 | 0.098718 | 0.098718 | 0.99511 | -0.0095812 | 0.99477 | -0.011835 | 47.0084
8 | 0.13801 | 0.06537 | -0.138 | -0.066802 | 1.5953e-06 | -0.0014313 | 0.0044315 | 0.0044495 | 0.0044495 | 0.99474 | -0.011549 | 0.99473 | -0.011451 | 2.0225
9 | -0.13801 | -0.06537 | 0.13801 | 0.063532 | 2.0307e-06 | -0.0018387 | 0.0044315 | 0.0044089 | 0.0044315 | 0.99474 | -0.011549 | 0.99475 | -0.011667 | 2.0143
10 | 0.138 | 0.066802 | -0.138 | -0.066838 | 1.1033e-06 | -3.625e-05 | 0.0044495 | 0.0044499 | 0.0044499 | 0.99473 | -0.011451 | 0.99472 | -0.011504 | 2.119
11 | -0.21707 | -0.10183 | 0.21708 | 0.10015 | 4.5739e-06 | -0.0016756 | 0.0069581 | 0.0069375 | 0.0069581 | 0.99475 | -0.011667 | 0.99477 | -0.011835 | 3.1628
12 | 2.7153 | 1.3018 | -2.7151 | -1.3022 | 0.00019944 | -0.00040302 | 0.087385 | 0.087391 | 0.087391 | 0.99477 | -0.011835 | 0.9947 | -0.011209 | 39.723
13 | 2.7151 | 1.3022 | -2.714 | -1.3045 | 0.0011551 | -0.0023316 | 0.087391 | 0.087424 | 0.087424 | 0.9947 | -0.011209 | 0.99431 | -0.007573 | 39.7383
14 | -3.2939 | -1.573 | 3.2969 | 1.5691 | 0.0030093 | -0.0038752 | 0.10585 | 0.10579 | 0.10585 | 0.99553 | -0.013403 | 0.99638 | -0.021081 | 48.1116
15 | 0.079819 | 0.037404 | -0.079819 | -0.038658 | 4.6513e-07 | -0.0012541 | 0.002556 | 0.0025717 | 0.0025717 | 0.99553 | -0.013403 | 0.99553 | -0.013354 | 1.1689
16 | 1.5219 | 0.7366 | -1.5219 | -0.73707 | 6.6419e-05 | -0.00046758 | 0.049089 | 0.049095 | 0.049095 | 0.99431 | -0.007573 | 0.99427 | -0.0071932 | 22.3159
17 | 1.1921 | 0.56794 | -1.192 | -0.56912 | 0.00010058 | -0.0011798 | 0.038336 | 0.038351 | 0.038351 | 0.99431 | -0.007573 | 0.99423 | -0.0068628 | 17.4323
18 | -3.5591 | -1.6913 | 3.5617 | 1.6928 | 0.0025743 | 0.001481 | 0.11417 | 0.11416 | 0.11417 | 0.99638 | -0.021081 | 0.99714 | -0.015974 | 54.3648
19 | 0.26219 | 0.12216 | -0.26218 | -0.12227 | 1.279e-05 | -0.0001131 | 0.0083803 | 0.0083818 | 0.0083818 | 0.99638 | -0.021081 | 0.99633 | -0.021449 | 3.9913
20 | 0.89335 | 0.4245 | -0.89331 | -0.42534 | 4.0074e-05 | -0.00084681 | 0.028718 | 0.028728 | 0.028728 | 0.99423 | -0.0068628 | 0.99419 | -0.0064876 | 13.0584
21 | -3.7692 | -1.7937 | 3.7703 | 1.7927 | 0.0010465 | -0.00097079 | 0.12069 | 0.12068 | 0.12069 | 0.9984 | -0.0075727 | 0.99866 | -0.0098952 | 54.8606
22 | 3.6846 | 1.7528 | -3.6812 | -1.7508 | 0.0034273 | 0.0019824 | 0.11798 | 0.11798 | 0.11798 | 0.9984 | -0.0075727 | 0.99742 | -0.014126 | 56.1803
23 | -3.7703 | -1.7927 | 3.7728 | 1.7904 | 0.0025438 | -0.002364 | 0.12068 | 0.12064 | 0.12068 | 0.99866 | -0.0098952 | 0.99929 | -0.01552 | 54.8534
24 | 3.6812 | 1.7508 | -3.6803 | -1.7502 | 0.00096519 | 0.00055835 | 0.11798 | 0.11798 | 0.11798 | 0.99742 | -0.014126 | 0.99714 | -0.015974 | 56.1806
25 | 0.103 | 0.049653 | -0.103 | -0.049883 | 1.4088e-07 | -0.00023037 | 0.0033031 | 0.003306 | 0.003306 | 0.99929 | -0.01552 | 0.99928 | -0.015508 | 1.5027
26 | -3.8758 | -1.84 | 3.8775 | 1.8418 | 0.0017144 | 0.0018083 | 0.12394 | 0.12394 | 0.12394 | 0.99929 | -0.01552 | 0.99984 | -0.0016895 | 35.4119
27 | 0.13524 | 0.064716 | -0.13524 | -0.065322 | 6.3594e-07 | -0.00060555 | 0.0043287 | 0.0043363 | 0.0043363 | 0.99984 | -0.0016895 | 0.99984 | -0.0016492 | 1.971
28 | -4.1014 | -1.9495 | 4.1015 | 1.9492 | 8.0231e-05 | -0.0002731 | 0.13111 | 0.13111 | 0.13111 | 0.99984 | -0.0016895 | 0.99986 | -0.0014596 | 36.2193
29 | -0.23195 | -0.11163 | 0.23196 | 0.11151 | 1.07e-05 | -0.00011745 | 0.0075152 | 0.0075136 | 0.0075152 | 0.9888 | -0.0014688 | 0.98885 | -0.0011568 | 3.5787
30 | 0.094784 | 0.045197 | -0.094774 | -0.045901 | 1.0219e-05 | -0.00070373 | 0.0030657 | 0.0030747 | 0.0030747 | 0.9888 | -0.0014688 | 0.98869 | -0.0022004 | 1.4641
31 | -0.23196 | -0.11151 | 0.23197 | 0.10963 | 6.0636e-06 | -0.0018825 | 0.0075136 | 0.0074899 | 0.0075136 | 0.98885 | -0.0011568 | 0.98887 | -0.0013765 | 3.4153
32 | -0.23197 | -0.10963 | 0.23198 | 0.10667 | 9.4729e-06 | -0.002965 | 0.0074899 | 0.0074533 | 0.0074899 | 0.98887 | -0.0013765 | 0.98891 | -0.0017025 | 3.4045
33 | -0.36869 | -0.17188 | 0.3687 | 0.17115 | 5.9494e-06 | -0.00073676 | 0.011875 | 0.011866 | 0.011875 | 0.98891 | -0.0017025 | 0.98892 | -0.0018306 | 5.3976
34 | 0.13671 | 0.065217 | -0.13671 | -0.066212 | 1.1162e-06 | -0.00099535 | 0.0044216 | 0.0044342 | 0.0044342 | 0.98891 | -0.0017025 | 0.9889 | -0.0016325 | 2.0156
35 | -0.13523 | -0.065497 | 0.13524 | 0.065322 | 5.0112e-06 | -0.00017527 | 0.0043385 | 0.0043363 | 0.0043385 | 0.9998 | -0.0018947 | 0.99984 | -0.0016492 | 2.066
36 | 0.097685 | 0.045322 | -0.097683 | -0.04731 | 1.0991e-06 | -0.0019883 | 0.0031201 | 0.0031448 | 0.0031448 | 0.99631 | -0.021339 | 0.9963 | -0.021246 | 1.4295
37 | -0.097685 | -0.045322 | 0.097685 | 0.043749 | 8.5736e-07 | -0.0015728 | 0.0031201 | 0.0031012 | 0.0031201 | 0.99631 | -0.021339 | 0.99632 | -0.021405 | 1.4182
38 | -0.097685 | -0.043749 | 0.097686 | 0.042608 | 6.1566e-07 | -0.0011412 | 0.0031012 | 0.0030879 | 0.0031012 | 0.99632 | -0.021405 | 0.99633 | -0.021449 | 1.4097
39 | -0.83348 | -0.39468 | 0.83355 | 0.39291 | 7.4384e-05 | -0.0017749 | 0.02692 | 0.026897 | 0.02692 | 0.98892 | -0.0018306 | 0.98901 | -0.0025656 | 12.2363
40 | 0.46478 | 0.22354 | -0.46475 | -0.22361 | 3.184e-05 | -7.2095e-05 | 0.015055 | 0.015056 | 0.015056 | 0.98892 | -0.0018306 | 0.98885 | -0.0022938 | 7.1696
41 | -1.193 | -0.56657 | 1.1933 | 0.56277 | 0.00032996 | -0.0038 | 0.03853 | 0.038482 | 0.03853 | 0.98949 | 0.00080063 | 0.98975 | -0.0014858 | 17.5138
42 | 0.11559 | 0.055809 | -0.11558 | -0.055979 | 3.6806e-06 | -0.00016979 | 0.0037446 | 0.0037468 | 0.0037468 | 0.98949 | 0.00080063 | 0.98946 | 0.00058949 | 1.7842
43 | 0.92046 | 0.43474 | -0.92003 | -0.43479 | 0.00042965 | -5.0267e-05 | 0.029698 | 0.029702 | 0.029702 | 0.98949 | 0.00080063 | 0.98901 | -0.0025656 | 14.1438
44 | -1.1933 | -0.56277 | 1.1936 | 0.55957 | 0.00027726 | -0.0032022 | 0.038482 | 0.038441 | 0.038482 | 0.98975 | -0.0014858 | 0.98996 | -0.0033777 | 17.4917
45 | -1.1936 | -0.55957 | 1.194 | 0.55483 | 0.00040874 | -0.0047361 | 0.038441 | 0.038381 | 0.038441 | 0.98996 | -0.0033777 | 0.99028 | -0.0061178 | 17.4731
46 | 0.37547 | 0.18037 | -0.37512 | -0.18168 | 0.00034612 | -0.0013129 | 0.01216 | 0.01218 | 0.01218 | 0.98885 | -0.0022938 | 0.98789 | -0.0084675 | 5.7998
47 | 0.36346 | 0.1742 | -0.36345 | -0.17425 | 1.3473e-05 | -5.5666e-05 | 0.01175 | 0.011751 | 0.011751 | 0.99021 | -0.0065972 | 0.99017 | -0.0068511 | 5.5957
48 | -0.49341 | -0.23713 | 0.49344 | 0.23706 | 3.4841e-05 | -6.806e-05 | 0.015959 | 0.015958 | 0.015959 | 0.99021 | -0.0065972 | 0.99028 | -0.0061178 | 7.5997
49 | 0.23745 | 0.11323 | -0.23745 | -0.11373 | 1.7037e-06 | -0.00050695 | 0.0076694 | 0.0076758 | 0.0076758 | 0.99017 | -0.0068511 | 0.99016 | -0.0067905 | 3.489
50 | -1.6875 | -0.79189 | 1.6881 | 0.79216 | 0.00065611 | 0.00026489 | 0.054338 | 0.054336 | 0.054338 | 0.99028 | -0.0061178 | 0.99069 | -0.0032502 | 25.8754
51 | 0.11676 | 0.05528 | -0.11676 | -0.055624 | 2.7885e-07 | -0.00034423 | 0.0037662 | 0.0037705 | 0.0037705 | 0.99016 | -0.0067905 | 0.99016 | -0.0067706 | 1.7139
52 | 0.11676 | 0.055624 | -0.11675 | -0.056547 | 7.5056e-07 | -0.00092265 | 0.0037705 | 0.0037821 | 0.0037821 | 0.99016 | -0.0067706 | 0.99015 | -0.0067156 | 1.7192
53 | -0.079394 | -0.038452 | 0.079395 | 0.035865 | 9.4323e-07 | -0.0025874 | 0.002558 | 0.0025262 | 0.002558 | 0.99553 | 0.003826 | 0.99554 | 0.0037303 | 1.1627
54 | 2.538 | 1.1296 | -2.5331 | -1.1416 | 0.0049496 | -0.012001 | 0.080554 | 0.080714 | 0.080714 | 0.99554 | 0.0037303 | 0.99371 | 0.017819 | 36.6881
55 | -2.6174 | -1.1654 | 2.6202 | 1.1591 | 0.0027847 | -0.0063398 | 0.08308 | 0.082996 | 0.08308 | 0.99554 | 0.0037303 | 0.99655 | -0.0037612 | 37.7637
56 | 0.73133 | 0.29466 | -0.73114 | -0.30103 | 0.00019167 | -0.0063738 | 0.022905 | 0.022975 | 0.022975 | 0.99371 | 0.017819 | 0.99346 | 0.019245 | 10.4433
57 | 1.8018 | 0.84691 | -1.7966 | -0.84469 | 0.0051696 | 0.0022188 | 0.057835 | 0.057848 | 0.057848 | 0.99371 | 0.017819 | 0.99069 | -0.0032502 | 27.5465
58 | -2.6202 | -1.1591 | 2.6207 | 1.1579 | 0.00051044 | -0.0011652 | 0.082996 | 0.082981 | 0.082996 | 0.99655 | -0.0037612 | 0.99673 | -0.0051193 | 37.7254
59 | 0.59571 | 0.23544 | -0.59526 | -0.23602 | 0.00045054 | -0.00057669 | 0.018613 | 0.018622 | 0.018622 | 0.99346 | 0.019245 | 0.99265 | 0.010606 | 8.8677
60 | -2.7004 | -1.1965 | 2.7023 | 1.1975 | 0.0018933 | 0.0010136 | 0.085542 | 0.08554 | 0.085542 | 0.99673 | -0.0051193 | 0.99748 | 0.0010318 | 40.7345
61 | -0.12842 | -0.062199 | 0.12843 | 0.062036 | 4.2308e-06 | -0.0001628 | 0.0041298 | 0.0041277 | 0.0041298 | 0.99744 | 0.00081358 | 0.99748 | 0.0010318 | 1.9666
62 | -2.9312 | -1.3082 | 2.9324 | 1.3089 | 0.0011982 | 0.00065792 | 0.092896 | 0.092895 | 0.092896 | 0.99748 | 0.0010318 | 0.99791 | 0.0045474 | 44.2361
63 | 3.5299 | 1.5784 | -3.5289 | -1.5795 | 0.0010035 | -0.001137 | 0.11172 | 0.11174 | 0.11174 | 0.9991 | -0.0045056 | 0.99884 | -0.0024594 | 50.7913
64 | -3.5299 | -1.5784 | 3.5323 | 1.5798 | 0.0023996 | 0.0013744 | 0.11172 | 0.11172 | 0.11172 | 0.9991 | -0.0045056 | 0.99983 | 0.0013084 | 53.2018
65 | 3.5289 | 1.5795 | -3.5286 | -1.5799 | 0.000349 | -0.00039514 | 0.11174 | 0.11175 | 0.11175 | 0.99884 | -0.0024594 | 0.99874 | -0.0017464 | 50.794
66 | -3.6342 | -1.6291 | 3.6349 | 1.6284 | 0.00065786 | -0.00069459 | 0.11499 | 0.11498 | 0.11499 | 0.99983 | 0.0013084 | 1 | 0 | 52.2681
67 | 3.3864 | 1.511 | -3.3861 | -1.5114 | 0.00025931 | -0.00032573 | 0.10718 | 0.10719 | 0.10719 | 0.99874 | -0.0017464 | 0.99867 | -0.0011989 | 48.7207
68 | 0.37886 | 0.1727 | -0.37883 | -0.17593 | 2.6379e-05 | -0.0032299 | 0.012035 | 0.012075 | 0.012075 | 0.99867 | -0.0011989 | 0.99861 | -0.00066058 | 5.4884
69 | 3.0072 | 1.3387 | -3.0064 | -1.3401 | 0.0008458 | -0.0014147 | 0.095151 | 0.09517 | 0.09517 | 0.99867 | -0.0011989 | 0.99841 | 0.00080247 | 43.2592
70 | -0.072467 | -0.035097 | 0.072467 | 0.033923 | 3.5481e-07 | -0.0011743 | 0.0023281 | 0.0023135 | 0.0023281 | 0.9984 | 0.00084354 | 0.99841 | 0.00080247 | 1.0582
71 | 2.9339 | 1.3062 | -2.9324 | -1.3089 | 0.0015409 | -0.002726 | 0.092857 | 0.092895 | 0.092895 | 0.99841 | 0.00080247 | 0.99791 | 0.0045474 | 42.2248
72 | 4.102 | 1.9475 | -4.1015 | -1.9492 | 0.00050882 | -0.0017328 | 0.13108 | 0.13111 | 0.13111 | 1 | 0 | 0.99986 | -0.0014596 | 36.2181
73 | 0.37883 | 0.17593 | -0.37883 | -0.17636 | 3.5147e-06 | -0.00042872 | 0.012075 | 0.01208 | 0.01208 | 0.99861 | -0.00066058 | 0.9986 | -0.000587 | 5.4908
74 | 0.1101 | 0.051772 | -0.1101 | -0.053326 | 1.1103e-06 | -0.001554 | 0.0035383 | 0.0035578 | 0.0035578 | 0.99265 | 0.010606 | 0.99264 | 0.010691 | 1.6172
75 | 0.48516 | 0.18425 | -0.48496 | -0.19976 | 0.00020359 | -0.015515 | 0.015092 | 0.015259 | 0.015259 | 0.99265 | 0.010606 | 0.99225 | 0.012669 | 6.9359
76 | 0.39881 | 0.15813 | -0.39871 | -0.16953 | 0.00010218 | -0.011402 | 0.012481 | 0.012608 | 0.012608 | 0.99225 | 0.012669 | 0.992 | 0.014104 | 5.7308
77 | 0.086145 | 0.041637 | -0.086144 | -0.041722 | 9.9901e-07 | -8.4393e-05 | 0.0027836 | 0.0027847 | 0.0027847 | 0.99225 | 0.012669 | 0.99224 | 0.012592 | 1.326
78 | 0.074286 | 0.035227 | -0.074285 | -0.035978 | 2.4541e-07 | -0.00075156 | 0.0023925 | 0.0024019 | 0.0024019 | 0.992 | 0.014104 | 0.992 | 0.014132 | 1.0918
79 | -0.11795 | -0.057128 | 0.11796 | 0.054641 | 2.0234e-06 | -0.0024872 | 0.0038065 | 0.0037756 | 0.0038065 | 0.99393 | -0.0061389 | 0.99394 | -0.0062811 | 1.7302
80 | -0.11796 | -0.054641 | 0.11796 | 0.054502 | 3.0286e-06 | -0.00013881 | 0.0037756 | 0.0037738 | 0.0037756 | 0.99394 | -0.0062811 | 0.99397 | -0.0060827 | 1.7979
81 | 0.14557 | 0.070335 | -0.14557 | -0.070501 | 5.6444e-06 | -0.00016586 | 0.0046954 | 0.0046976 | 0.0046976 | 0.99397 | -0.0060827 | 0.99393 | -0.0063395 | 2.2369
82 | -0.26353 | -0.12484 | 0.26356 | 0.12462 | 2.5344e-05 | -0.00021814 | 0.0084689 | 0.008466 | 0.0084689 | 0.99397 | -0.0060827 | 0.99407 | -0.0053936 | 4.0328
83 | -0.74435 | -0.35748 | 0.74437 | 0.35694 | 1.7623e-05 | -0.00053659 | 0.023979 | 0.023973 | 0.023979 | 0.99407 | -0.0053936 | 0.99409 | -0.0055956 | 10.8997
84 | -0.16125 | -0.078096 | 0.16125 | 0.077158 | 1.409e-06 | -0.00093826 | 0.0051797 | 0.0051679 | 0.0051797 | 0.99853 | -2.5294e-05 | 0.99854 | -0.0001004 | 2.3544
85 | -0.16125 | -0.077158 | 0.16125 | 0.075639 | 2.2673e-06 | -0.0015188 | 0.0051679 | 0.0051491 | 0.0051679 | 0.99854 | -0.0001004 | 0.99855 | -0.00021696 | 2.349
86 | 0.076403 | 0.035859 | -0.076403 | -0.037004 | 3.8424e-07 | -0.0011442 | 0.00244 | 0.0024542 | 0.0024542 | 0.99855 | -0.00021696 | 0.99855 | -0.00017465 | 1.1155
87 | -0.23766 | -0.1115 | 0.23767 | 0.10857 | 9.432e-06 | -0.0029316 | 0.007589 | 0.0075534 | 0.007589 | 0.99855 | -0.00021696 | 0.99859 | -0.00052846 | 3.4496
88 | -0.23767 | -0.10857 | 0.23767 | 0.10799 | 1.8447e-06 | -0.00057661 | 0.0075534 | 0.0075465 | 0.0075534 | 0.99859 | -0.00052846 | 0.9986 | -0.000587 | 3.4334
89 | 0.14886 | 0.070796 | -0.14886 | -0.071939 | 1.4865e-06 | -0.0011432 | 0.0047863 | 0.0048006 | 0.0048006 | 0.99419 | -0.0064876 | 0.99418 | -0.0064025 | 2.1821
90 | 0.74445 | 0.35455 | -0.74437 | -0.35694 | 7.8533e-05 | -0.0023953 | 0.023942 | 0.023973 | 0.023973 | 0.99419 | -0.0064876 | 0.99409 | -0.0055956 | 10.8966
91 | 0.14886 | 0.071939 | -0.14886 | -0.072095 | 2.0345e-07 | -0.00015593 | 0.0048006 | 0.0048026 | 0.0048026 | 0.99418 | -0.0064025 | 0.99418 | -0.0063906 | 2.183

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.7509 | 3.5864

## res_load
| p_mw | q_mvar
0 | 0.09501 | 0.046016
1 | 0.15602 | 0.075564
2 | 0.14286 | 0.069192
3 | 0.079066 | 0.038294
4 | 0.13634 | 0.066031
5 | 0.079819 | 0.038658
6 | 1.5219 | 0.73707
7 | 0.29861 | 0.14462
8 | 0.084566 | 0.040957
9 | 0.103 | 0.049883
10 | 0.088691 | 0.042955
11 | 0.13717 | 0.066434
12 | 0.094774 | 0.045901
13 | 0.13523 | 0.065497
14 | 0.097683 | 0.04731
15 | 0.13671 | 0.066212
16 | 0.15696 | 0.076021
17 | 0.11558 | 0.055979
18 | 0.086475 | 0.041882
19 | 0.089281 | 0.043241
20 | 0.37512 | 0.18168
21 | 0.12995 | 0.062935
22 | 0.126 | 0.061024
23 | 0.12069 | 0.058455
24 | 0.11675 | 0.056547
25 | 0.079394 | 0.038452
26 | 0.13542 | 0.065588
27 | 0.10846 | 0.05253
28 | 0.079659 | 0.038581
29 | 0.12842 | 0.062199
30 | 0.10049 | 0.048668
31 | 0.1019 | 0.049353
32 | 0.14224 | 0.068888
33 | 0.072467 | 0.035097
34 | 0.086144 | 0.041722
35 | 0.074285 | 0.035978
36 | 0.1101 | 0.053326
37 | 0.11795 | 0.057128
38 | 0.14557 | 0.070501
39 | 0.4808 | 0.23286
40 | 0.1186 | 0.057438
41 | 0.16449 | 0.079666
42 | 0.072821 | 0.035269
43 | 0.16125 | 0.078096
44 | 0.076403 | 0.037004
45 | 0.14116 | 0.068368
46 | 0.138 | 0.066838
47 | 0.14886 | 0.072095

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1