## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_138_3_node_128 | 20 | n |  | TRUE
1 | bus_MV_138_3_node_126 | 20 | n |  | TRUE
2 | bus_MV_138_3_node_129 | 20 | n |  | TRUE
3 | bus_MV_138_3_node_159 | 20 | n |  | TRUE
4 | bus_MV_138_3_node_130 | 20 | n |  | TRUE
5 | bus_MV_138_3_node_131 | 20 | n |  | TRUE
6 | bus_MV_138_3_node_125 | 20 | n |  | TRUE
7 | bus_MV_138_3_node_276 | 20 | n |  | TRUE
8 | bus_MV_138_3_node_219 | 20 | n |  | TRUE
9 | bus_MV_138_3_node_277 | 20 | n |  | TRUE
10 | bus_MV_138_3_node_281 | 20 | n |  | TRUE
11 | bus_MV_138_3_node_124 | 20 | n |  | TRUE
12 | bus_MV_138_3_node_230 | 20 | n |  | TRUE
13 | bus_MV_138_3_node_176 | 20 | n |  | TRUE
14 | bus_MV_138_3_node_117 | 20 | n |  | TRUE
15 | bus_MV_138_3_node_177 | 20 | n |  | TRUE
16 | bus_MV_138_3_node_194 | 20 | n |  | TRUE
17 | bus_MV_138_3_node_197 | 20 | n |  | TRUE
18 | bus_MV_138_3_node_178 | 20 | n |  | TRUE
19 | bus_MV_138_3_node_179 | 20 | n |  | TRUE
20 | bus_MV_138_3_node_180 | 20 | n |  | TRUE
21 | bus_MV_138_3_node_193 | 20 | n |  | TRUE
22 | bus_MV_138_3_node_198 | 20 | n |  | TRUE
23 | bus_MV_138_3_node_252 | 20 | n |  | TRUE
24 | bus_MV_138_3_node_222 | 20 | n |  | TRUE
25 | bus_MV_138_3_node_208 | 20 | n |  | TRUE
26 | bus_MV_138_3_node_209 | 20 | n |  | TRUE
27 | bus_MV_138_3_node_210 | 20 | n |  | TRUE
28 | bus_MV_138_3_node_216 | 20 | n |  | TRUE
29 | bus_MV_138_3_node_217 | 20 | n |  | TRUE
30 | bus_MV_138_3_node_211 | 20 | n |  | TRUE
31 | bus_MV_138_3_node_213 | 20 | n |  | TRUE
32 | bus_MV_138_3_node_212 | 20 | n |  | TRUE
33 | bus_MV_138_3_node_214 | 20 | n |  | TRUE
34 | bus_MV_138_3_node_215 | 20 | n |  | TRUE
35 | bus_MV_138_3_node_223 | 20 | n |  | TRUE
36 | bus_MV_138_3_node_218 | 20 | n |  | TRUE
37 | bus_MV_138_3_node_123 | 20 | n |  | TRUE
38 | bus_MV_138_3_node_220 | 20 | n |  | TRUE
39 | bus_MV_138_3_node_227 | 20 | n |  | TRUE
40 | bus_MV_138_3_node_228 | 20 | n |  | TRUE
41 | bus_MV_138_3_node_229 | 20 | n |  | TRUE
42 | bus_MV_138_3_node_231 | 20 | n |  | TRUE
43 | bus_MV_138_3_node_122 | 20 | n |  | TRUE
44 | bus_MV_138_3_node_232 | 20 | n |  | TRUE
45 | bus_MV_138_3_node_115 | 20 | n |  | TRUE
46 | bus_MV_138_3_node_116 | 20 | n |  | TRUE
47 | bus_MV_138_3_node_118 | 20 | n |  | TRUE
48 | bus_MV_138_3_node_119 | 20 | n |  | TRUE
49 | bus_MV_138_3_node_121 | 20 | n |  | TRUE
50 | bus_MV_138_3_node_120 | 20 | n |  | TRUE
51 | bus_MV_138_3_node_127 | 20 | n |  | TRUE
52 | bus_HV_138_3_node_232 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_138_3_load_126 | 1 | 0.053009 | 0.025674 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_138_3_load_159 | 3 | 0.15762 | 0.076338 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_138_3_load_130 | 4 | 0.10345 | 0.050102 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_138_3_load_219 | 8 | 0.3052 | 0.14782 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_138_3_load_277 | 9 | 0.098773 | 0.047838 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_138_3_load_281 | 10 | 0.13713 | 0.066413 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_138_3_load_117 | 14 | 0.14099 | 0.068284 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_138_3_load_197 | 17 | 0.14185 | 0.068699 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_138_3_load_178 | 18 | 0.14794 | 0.071653 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_138_3_load_193 | 21 | 0.10759 | 0.052108 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_138_3_load_198 | 22 | 0.1217 | 0.058943 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_138_3_load_252 | 23 | 0.29953 | 0.14507 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_138_3_load_208 | 25 | 0.37425 | 0.18126 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_138_3_load_216 | 28 | 0.072424 | 0.035077 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_138_3_load_217 | 29 | 0.32794 | 0.15883 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_138_3_load_211 | 30 | 0.38674 | 0.18731 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_138_3_load_223 | 35 | 0.17589 | 0.085185 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_138_3_load_227 | 39 | 0.65254 | 0.31604 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_138_3_load_229 | 41 | 0.51108 | 0.24753 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_138_3_load_231 | 42 | 0.086679 | 0.041981 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_138_3_load_122 | 43 | 1.1448 | 0.55444 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_138_3_load_232 | 44 | 0.20448 | 0.099035 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_138_3_load_115 | 45 | 0.13643 | 0.066075 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_138_3_load_118 | 47 | 0.076003 | 0.03681 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_138_3_load_119 | 48 | 0.11298 | 0.054718 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_138_3_load_121 | 49 | 0.23725 | 0.1149 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_138_3_line_0 |  | 0 | 1 | 0.17623 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_138_3_line_1 |  | 0 | 2 | 0.48668 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_138_3_line_2 |  | 1 | 51 | 0.067607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_138_3_line_3 |  | 2 | 3 | 0.075799 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_138_3_line_4 |  | 4 | 5 | 0.12708 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_138_3_line_5 |  | 5 | 6 | 0.7867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_138_3_line_6 |  | 6 | 51 | 0.11393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_138_3_line_7 |  | 6 | 49 | 0.078807 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_138_3_line_8 |  | 7 | 8 | 2.3027 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_138_3_line_9 |  | 7 | 9 | 0.17283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_138_3_line_10 |  | 8 | 38 | 0.055881 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_138_3_line_11 |  | 10 | 11 | 0.008028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_138_3_line_12 |  | 10 | 12 | 0.019734 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_138_3_line_13 |  | 11 | 50 | 0.05374 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_138_3_line_14 |  | 12 | 40 | 0.004635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_138_3_line_15 |  | 13 | 14 | 0.012276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_138_3_line_16 |  | 13 | 15 | 0.13341 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_138_3_line_17 |  | 14 | 46 | 0.017908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_138_3_line_18 |  | 15 | 16 | 0.047811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_138_3_line_19 |  | 15 | 17 | 0.041795 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_138_3_line_20 |  | 16 | 22 | 0.053619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_138_3_line_21 |  | 16 | 20 | 0.14084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_138_3_line_22 |  | 18 | 19 | 0.070188 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_138_3_line_23 |  | 19 | 20 | 0.072672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_138_3_line_24 |  | 20 | 21 | 0.056365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_138_3_line_25 |  | 23 | 24 | 0.021854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_138_3_line_26 |  | 24 | 36 | 1.5651 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_138_3_line_27 |  | 24 | 38 | 0.63681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_138_3_line_28 |  | 25 | 26 | 0.005026 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_138_3_line_29 |  | 26 | 27 | 0.54413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_138_3_line_30 |  | 26 | 28 | 1.0573 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_138_3_line_31 |  | 27 | 29 | 0.062727 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_138_3_line_32 |  | 28 | 33 | 0.048391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_138_3_line_33 |  | 29 | 36 | 0.075409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_138_3_line_34 |  | 30 | 31 | 0.063507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_138_3_line_35 |  | 30 | 32 | 0.096081 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_138_3_line_36 |  | 31 | 34 | 0.40579 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_138_3_line_37 |  | 32 | 33 | 0.019964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_138_3_line_38 |  | 34 | 35 | 0.078193 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_138_3_line_39 |  | 36 | 37 | 1.7741 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_138_3_line_40 |  | 37 | 47 | 0.063901 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_138_3_line_41 |  | 37 | 50 | 0.39021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_138_3_line_42 |  | 39 | 40 | 0.041509 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_138_3_line_43 |  | 39 | 41 | 0.059973 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_138_3_line_44 |  | 40 | 42 | 0.017621 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
45 | MV_138_3_line_45 |  | 41 | 43 | 0.061158 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_138_3_line_46 |  | 42 | 44 | 0.020559 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
47 | MV_138_3_line_47 |  | 43 | 48 | 0.041696 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_138_3_line_48 |  | 45 | 46 | 0.071296 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_138_3_line_49 |  | 46 | 47 | 0.1117 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_138_3_line_50 |  | 48 | 49 | 0.010836 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_138_3_trafo_232 | 25 MVA 110/20 kV | 52 | 44 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2659313.0918 | 1189840.6355
1 | 2659449.7169 | 1189950.4638
2 | 2659094.3764 | 1189450.5625
3 | 2659031.5182 | 1189492.9223
4 | 2660101.4879 | 1189611.6863
5 | 2660052.7586 | 1189729.0534
6 | 2659606.4863 | 1190041.007
7 | 2655880.9935 | 1192249.6632
8 | 2657643.1267 | 1190767.2586
9 | 2655814.0987 | 1192396.9563
10 | 2659692.6078 | 1190207.6599
11 | 2659697.0518 | 1190200.967
12 | 2659681.699 | 1190224.105
13 | 2660171.1345 | 1190289.1285
14 | 2660158.8424 | 1190289.8276
15 | 2660232.0048 | 1190176.0645
16 | 2660265.601 | 1190142.3276
17 | 2660198.6817 | 1190150.8373
18 | 2660194.3355 | 1190369.163
19 | 2660236.0213 | 1190312.6942
20 | 2660281.6812 | 1190268.3171
21 | 2660337.477 | 1190263.9765
22 | 2660239.7467 | 1190097.0229
23 | 2658075.4419 | 1191142.3813
24 | 2658088.5516 | 1191125.5766
25 | 2659789.7536 | 1192400.9413
26 | 2659785.6279 | 1192398.054
27 | 2659464.7907 | 1192101.0216
28 | 2658987.3251 | 1193091.3027
29 | 2659421.5602 | 1192076.7462
30 | 2658834.3071 | 1193129.3824
31 | 2658771.82 | 1193117.0837
32 | 2658929.1408 | 1193113.9508
33 | 2658941.801 | 1193098.4888
34 | 2658428.1207 | 1192923.8529
35 | 2658355.136 | 1192895.7916
36 | 2659354.8876 | 1192045.2991
37 | 2660030.3774 | 1190404.8043
38 | 2657682.0154 | 1190807.3881
39 | 2659644.1147 | 1190205.688
40 | 2659679.1363 | 1190227.9706
41 | 2659593.5153 | 1190173.4939
42 | 2659672.4697 | 1190244.2823
43 | 2659640.6596 | 1190134.5365
44 | 2659664.6915 | 1190263.3135
45 | 2660070.7353 | 1190276.0687
46 | 2660140.8885 | 1190289.3581
47 | 2660073.3312 | 1190357.5584
48 | 2659669.6199 | 1190104.5394
49 | 2659662.0611 | 1190096.7803
50 | 2659728.6064 | 1190157.5235
51 | 2659510.7616 | 1189979.8868
52 | 2659664.6915 | 1190263.3135

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99918 | 0.00067181 | 0 | 0
1 | 0.99921 | 0.0004941 | 0.053009 | 0.025674
2 | 0.99908 | 0.0014082 | 0 | 0
3 | 0.99906 | 0.0012632 | 0.15762 | 0.076338
4 | 0.99913 | 0.00058194 | 0.10345 | 0.050102
5 | 0.99916 | 0.00074189 | 0 | 0
6 | 0.99926 | 0.00024516 | 0 | 0
7 | 0.98817 | -0.059473 | 0 | 0
8 | 0.9886 | -0.055582 | 0.3052 | 0.14782
9 | 0.98814 | -0.059287 | 0.098773 | 0.047838
10 | 0.99974 | -0.002149 | 0.13713 | 0.066413
11 | 0.99971 | -0.0019108 | 0 | 0
12 | 0.99986 | -0.0012716 | 0 | 0
13 | 0.99786 | 0.013182 | 0 | 0
14 | 0.99787 | 0.013116 | 0.14099 | 0.068284
15 | 0.99777 | 0.013925 | 0 | 0
16 | 0.99775 | 0.014116 | 0 | 0
17 | 0.99776 | 0.013853 | 0.14185 | 0.068699
18 | 0.99767 | 0.014503 | 0.14794 | 0.071653
19 | 0.99769 | 0.01463 | 0 | 0
20 | 0.9977 | 0.014505 | 0 | 0
21 | 0.99769 | 0.014575 | 0.10759 | 0.052108
22 | 0.99774 | 0.014192 | 0.1217 | 0.058943
23 | 0.98895 | -0.058259 | 0.29953 | 0.14507
24 | 0.98896 | -0.058339 | 0 | 0
25 | 0.99016 | -0.033702 | 0.37425 | 0.18126
26 | 0.99016 | -0.033725 | 0 | 0
27 | 0.99087 | -0.039708 | 0 | 0
28 | 0.98886 | -0.043241 | 0.072424 | 0.035077
29 | 0.99095 | -0.040368 | 0.32794 | 0.15883
30 | 0.98871 | -0.043585 | 0.38674 | 0.18731
31 | 0.98869 | -0.04349 | 0 | 0
32 | 0.98881 | -0.042824 | 0 | 0
33 | 0.98883 | -0.042946 | 0 | 0
34 | 0.9886 | -0.042745 | 0 | 0
35 | 0.98858 | -0.042915 | 0.17589 | 0.085185
36 | 0.99108 | -0.041455 | 0 | 0
37 | 0.99806 | 0.011436 | 0 | 0
38 | 0.98863 | -0.055832 | 0 | 0
39 | 0.99972 | -5.6579e-05 | 0.65254 | 0.31604
40 | 0.99987 | -0.0014166 | 0 | 0
41 | 0.99954 | 0.0014452 | 0.51108 | 0.24753
42 | 0.99993 | -0.00076752 | 0.086679 | 0.041981
43 | 0.99933 | -0.00011369 | 1.1448 | 0.55444
44 | 1 | 0 | -6.1488 | -2.8497
45 | 0.99787 | 0.013101 | 0.13643 | 0.066075
46 | 0.99788 | 0.012988 | 0 | 0
47 | 0.99799 | 0.012033 | 0.076003 | 0.03681
48 | 0.9993 | 0.00010701 | 0.11298 | 0.054718
49 | 0.99929 | 0.00015014 | 0.23725 | 0.1149
50 | 0.99951 | -0.00031339 | 0 | 0
51 | 0.99923 | 0.00039553 | 0 | 0
52 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15764 | -0.064655 | 0.15764 | 0.060456 | 5.6484e-06 | -0.0041992 | 0.0049226 | 0.0048778 | 0.0049226 | 0.99918 | 0.00067181 | 0.99921 | 0.0004941 | 2.2375
1 | 0.15764 | 0.064655 | -0.15762 | -0.07625 | 1.6169e-05 | -0.011595 | 0.0049226 | 0.0050593 | 0.0050593 | 0.99918 | 0.00067181 | 0.99908 | 0.0014082 | 2.2997
2 | -0.21065 | -0.08613 | 0.21066 | 0.084519 | 3.8913e-06 | -0.0016105 | 0.0065749 | 0.0065574 | 0.0065749 | 0.99921 | 0.0004941 | 0.99923 | 0.00039553 | 2.9886
3 | 0.15762 | 0.07625 | -0.15762 | -0.076338 | 3.4576e-06 | -8.8155e-05 | 0.0050593 | 0.0050604 | 0.0050604 | 0.99908 | 0.0014082 | 0.99906 | 0.0012632 | 2.4097
4 | -0.10345 | -0.050102 | 0.10345 | 0.049952 | 2.4957e-06 | -0.00014989 | 0.003321 | 0.0033191 | 0.003321 | 0.99913 | 0.00058194 | 0.99916 | 0.00074189 | 1.5814
5 | -0.10345 | -0.049952 | 0.10346 | 0.031202 | 1.0826e-05 | -0.01875 | 0.0033191 | 0.0031218 | 0.0033191 | 0.99916 | 0.00074189 | 0.99926 | 0.00024516 | 1.5087
6 | 0.21066 | 0.081805 | -0.21066 | -0.084519 | 6.5114e-06 | -0.0027142 | 0.0065286 | 0.0065574 | 0.0065574 | 0.99926 | 0.00024516 | 0.99923 | 0.00039553 | 2.9807
7 | -0.31413 | -0.11301 | 0.31413 | 0.11113 | 9.7667e-06 | -0.001876 | 0.0096441 | 0.0096259 | 0.0096441 | 0.99926 | 0.00024516 | 0.99929 | 0.00015014 | 4.3837
8 | -0.098775 | -0.043809 | 0.098816 | 0.041149 | 4.0476e-05 | -0.0026602 | 0.0031566 | 0.0031256 | 0.0031566 | 0.98817 | -0.059473 | 0.9886 | -0.055582 | 1.5032
9 | 0.098775 | 0.043809 | -0.098773 | -0.047838 | 2.3347e-06 | -0.0040288 | 0.0031566 | 0.0032062 | 0.0032062 | 0.98817 | -0.059473 | 0.98814 | -0.059287 | 1.4573
10 | -0.40402 | -0.18897 | 0.40403 | 0.18766 | 1.2639e-05 | -0.0013003 | 0.013024 | 0.013008 | 0.013024 | 0.9886 | -0.055582 | 0.98863 | -0.055832 | 5.92
11 | 2.9359 | 1.336 | -2.9358 | -1.3362 | 9.2971e-05 | -0.00016399 | 0.093137 | 0.09314 | 0.09314 | 0.99974 | -0.002149 | 0.99971 | -0.0019108 | 42.3362
12 | -3.073 | -1.4024 | 3.0733 | 1.4026 | 0.00033449 | 0.00018596 | 0.097536 | 0.097535 | 0.097536 | 0.99974 | -0.002149 | 0.99986 | -0.0012716 | 46.4455
13 | 2.9358 | 1.3362 | -2.9351 | -1.3372 | 0.00062248 | -0.0010975 | 0.09314 | 0.093155 | 0.093155 | 0.99971 | -0.0019108 | 0.99951 | -0.00031339 | 42.3432
14 | -3.0733 | -1.4026 | 3.0734 | 1.4025 | 5.8864e-05 | -9.3175e-05 | 0.097535 | 0.097534 | 0.097535 | 0.99986 | -0.0012716 | 0.99987 | -0.0014166 | 44.3342
15 | -0.51916 | -0.2393 | 0.51916 | 0.23901 | 4.4812e-06 | -0.00029052 | 0.016538 | 0.016534 | 0.016538 | 0.99786 | 0.013182 | 0.99787 | 0.013116 | 7.5171
16 | 0.51916 | 0.2393 | -0.51911 | -0.24245 | 4.8823e-05 | -0.0031569 | 0.016538 | 0.016576 | 0.016576 | 0.99786 | 0.013182 | 0.99777 | 0.013925 | 7.5347
17 | -0.66015 | -0.30729 | 0.66016 | 0.30687 | 1.0606e-05 | -0.00042261 | 0.021065 | 0.02106 | 0.021065 | 0.99787 | 0.013116 | 0.99788 | 0.012988 | 9.5752
18 | 0.37726 | 0.1738 | -0.37725 | -0.17494 | 9.2288e-06 | -0.0011337 | 0.012018 | 0.012031 | 0.012031 | 0.99777 | 0.013925 | 0.99775 | 0.014116 | 5.4688
19 | 0.14185 | 0.068651 | -0.14185 | -0.068699 | 1.5482e-06 | -4.8703e-05 | 0.0045593 | 0.0045599 | 0.0045599 | 0.99777 | 0.013925 | 0.99776 | 0.013853 | 2.1714
20 | 0.1217 | 0.057669 | -0.1217 | -0.058943 | 1.0912e-06 | -0.0012741 | 0.0038965 | 0.0039124 | 0.0039124 | 0.99775 | 0.014116 | 0.99774 | 0.014192 | 1.7784
21 | 0.25555 | 0.11727 | -0.25554 | -0.12061 | 1.2506e-05 | -0.0033438 | 0.0081351 | 0.008176 | 0.008176 | 0.99775 | 0.014116 | 0.9977 | 0.014505 | 3.7164
22 | -0.14794 | -0.071653 | 0.14795 | 0.071571 | 2.8285e-06 | -8.1631e-05 | 0.0047564 | 0.0047554 | 0.0047564 | 0.99767 | 0.014503 | 0.99769 | 0.01463 | 2.265
23 | -0.14795 | -0.071571 | 0.14795 | 0.069844 | 2.1839e-06 | -0.0017265 | 0.0047554 | 0.0047338 | 0.0047554 | 0.99769 | 0.01463 | 0.9977 | 0.014505 | 2.1615
24 | 0.10759 | 0.050769 | -0.10759 | -0.052108 | 8.9589e-07 | -0.0013393 | 0.0034422 | 0.0034589 | 0.0034589 | 0.9977 | 0.014505 | 0.99769 | 0.014575 | 1.5722
25 | -0.29953 | -0.14507 | 0.29953 | 0.14456 | 2.7517e-06 | -0.00050951 | 0.0097148 | 0.0097083 | 0.0097148 | 0.98895 | -0.058259 | 0.98896 | -0.058339 | 4.4158
26 | -0.70371 | -0.3174 | 0.70512 | 0.31646 | 0.0014146 | -0.00094525 | 0.022534 | 0.022512 | 0.022534 | 0.98896 | -0.058339 | 0.99108 | -0.041455 | 10.7304
27 | 0.40417 | 0.17284 | -0.40403 | -0.18766 | 0.00014187 | -0.014824 | 0.012831 | 0.013008 | 0.013008 | 0.98896 | -0.058339 | 0.98863 | -0.055832 | 5.9127
28 | -0.37425 | -0.18126 | 0.37425 | 0.18114 | 9.8605e-07 | -0.00011736 | 0.012123 | 0.012122 | 0.012123 | 0.99016 | -0.033702 | 0.99016 | -0.033725 | 5.5107
29 | -1.0102 | -0.47527 | 1.011 | 0.46275 | 0.00076584 | -0.012519 | 0.032548 | 0.032392 | 0.032548 | 0.99016 | -0.033725 | 0.99087 | -0.039708 | 14.7947
30 | 0.63595 | 0.29413 | -0.63516 | -0.29487 | 0.00078666 | -0.00074313 | 0.020428 | 0.020443 | 0.020443 | 0.99016 | -0.033725 | 0.98886 | -0.043241 | 9.7346
31 | -1.011 | -0.46275 | 1.0111 | 0.46131 | 8.7815e-05 | -0.0014445 | 0.032392 | 0.032374 | 0.032392 | 0.99087 | -0.039708 | 0.99095 | -0.040368 | 14.7236
32 | 0.56274 | 0.25979 | -0.56272 | -0.26092 | 2.1166e-05 | -0.0011235 | 0.018094 | 0.018108 | 0.018108 | 0.98886 | -0.043241 | 0.98883 | -0.042946 | 8.2308
33 | -1.339 | -0.62014 | 1.3392 | 0.61842 | 0.00018594 | -0.0017131 | 0.042987 | 0.042965 | 0.042987 | 0.99095 | -0.040368 | 0.99108 | -0.041455 | 19.5395
34 | 0.17591 | 0.074151 | -0.17591 | -0.075632 | 2.6419e-06 | -0.0014814 | 0.0055737 | 0.0055907 | 0.0055907 | 0.98871 | -0.043585 | 0.98869 | -0.04349 | 2.5412
35 | -0.56265 | -0.26146 | 0.56271 | 0.26138 | 5.6171e-05 | -7.6955e-05 | 0.018115 | 0.018113 | 0.018115 | 0.98871 | -0.043585 | 0.98881 | -0.042824 | 8.6261
36 | 0.17591 | 0.075632 | -0.17589 | -0.085097 | 1.7273e-05 | -0.0094647 | 0.0055907 | 0.0057056 | 0.0057056 | 0.98869 | -0.04349 | 0.9886 | -0.042745 | 2.5934
37 | -0.56271 | -0.26138 | 0.56272 | 0.26092 | 8.7417e-06 | -0.00046347 | 0.018113 | 0.018108 | 0.018113 | 0.98881 | -0.042824 | 0.98883 | -0.042946 | 8.2334
38 | 0.17589 | 0.085097 | -0.17589 | -0.085185 | 4.5362e-06 | -8.8388e-05 | 0.0057056 | 0.0057067 | 0.0057067 | 0.9886 | -0.042745 | 0.98858 | -0.042915 | 2.7175
39 | -2.0443 | -0.93488 | 2.0579 | 0.94127 | 0.013546 | 0.0063899 | 0.065476 | 0.065451 | 0.065476 | 0.99108 | -0.041455 | 0.99806 | 0.011436 | 31.1793
40 | 0.87276 | 0.40393 | -0.87269 | -0.40543 | 6.6047e-05 | -0.0015001 | 0.027816 | 0.027834 | 0.027834 | 0.99806 | 0.011436 | 0.99799 | 0.012033 | 12.6519
41 | -2.9306 | -1.3452 | 2.9351 | 1.3372 | 0.004526 | -0.0079516 | 0.093267 | 0.093155 | 0.093267 | 0.99806 | 0.011436 | 0.99951 | -0.00031339 | 42.394
42 | -2.9736 | -1.3964 | 2.9741 | 1.3955 | 0.00049859 | -0.00084278 | 0.09486 | 0.094848 | 0.09486 | 0.99972 | -5.6579e-05 | 0.99987 | -0.0014166 | 43.1183
43 | 2.3211 | 1.0803 | -2.3206 | -1.0816 | 0.00043766 | -0.001301 | 0.073926 | 0.073944 | 0.073944 | 0.99972 | -5.6579e-05 | 0.99954 | 0.0014452 | 33.6107
44 | -6.0475 | -2.798 | 6.0478 | 2.7976 | 0.00031498 | -0.00037551 | 0.19238 | 0.19237 | 0.19238 | 0.99987 | -0.0014166 | 0.99993 | -0.00076752 | 53.1435
45 | 1.8095 | 0.8341 | -1.8092 | -0.83395 | 0.00036084 | 0.00015309 | 0.057545 | 0.057546 | 0.057546 | 0.99954 | 0.0014452 | 0.99933 | -0.00011369 | 27.403
46 | -6.1345 | -2.8396 | 6.1348 | 2.8392 | 0.00037817 | -0.00043045 | 0.19515 | 0.19514 | 0.19515 | 0.99993 | -0.00076752 | 1 | 0 | 53.9094
47 | 0.66439 | 0.27951 | -0.66437 | -0.2805 | 2.4145e-05 | -0.000987 | 0.020821 | 0.020833 | 0.020833 | 0.99933 | -0.00011369 | 0.9993 | 0.00010701 | 9.4693
48 | -0.13643 | -0.066075 | 0.13643 | 0.06438 | 1.8215e-06 | -0.0016945 | 0.0043853 | 0.0043641 | 0.0043853 | 0.99787 | 0.013101 | 0.99788 | 0.012988 | 1.9933
49 | -0.79659 | -0.37125 | 0.79669 | 0.36862 | 9.6268e-05 | -0.0026274 | 0.025424 | 0.025392 | 0.025424 | 0.99788 | 0.012988 | 0.99799 | 0.012033 | 11.5565
50 | 0.55139 | 0.22578 | -0.55138 | -0.22604 | 4.2865e-06 | -0.00025709 | 0.017212 | 0.017215 | 0.017215 | 0.9993 | 0.00010701 | 0.99929 | 0.00015014 | 7.8249

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.3533 | 2.9487

## res_load
| p_mw | q_mvar
0 | 0.053009 | 0.025674
1 | 0.15762 | 0.076338
2 | 0.10345 | 0.050102
3 | 0.3052 | 0.14782
4 | 0.098773 | 0.047838
5 | 0.13713 | 0.066413
6 | 0.14099 | 0.068284
7 | 0.14185 | 0.068699
8 | 0.14794 | 0.071653
9 | 0.10759 | 0.052108
10 | 0.1217 | 0.058943
11 | 0.29953 | 0.14507
12 | 0.37425 | 0.18126
13 | 0.072424 | 0.035077
14 | 0.32794 | 0.15883
15 | 0.38674 | 0.18731
16 | 0.17589 | 0.085185
17 | 0.65254 | 0.31604
18 | 0.51108 | 0.24753
19 | 0.086679 | 0.041981
20 | 1.1448 | 0.55444
21 | 0.20448 | 0.099035
22 | 0.13643 | 0.066075
23 | 0.076003 | 0.03681
24 | 0.11298 | 0.054718
25 | 0.23725 | 0.1149

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1