## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_140_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_140_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_140_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_140_0_node_6 | 20 | n |  | TRUE
4 | bus_MV_140_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_140_0_node_23 | 20 | n |  | TRUE
6 | bus_MV_140_0_node_27 | 20 | n |  | TRUE
7 | bus_MV_140_0_node_29 | 20 | n |  | TRUE
8 | bus_MV_140_0_node_123 | 20 | n |  | TRUE
9 | bus_MV_140_0_node_25 | 20 | n |  | TRUE
10 | bus_MV_140_0_node_34 | 20 | n |  | TRUE
11 | bus_MV_140_0_node_83 | 20 | n |  | TRUE
12 | bus_MV_140_0_node_24 | 20 | n |  | TRUE
13 | bus_MV_140_0_node_124 | 20 | n |  | TRUE
14 | bus_MV_140_0_node_81 | 20 | n |  | TRUE
15 | bus_MV_140_0_node_79 | 20 | n |  | TRUE
16 | bus_MV_140_0_node_77 | 20 | n |  | TRUE
17 | bus_MV_140_0_node_31 | 20 | n |  | TRUE
18 | bus_MV_140_0_node_32 | 20 | n |  | TRUE
19 | bus_MV_140_0_node_112 | 20 | n |  | TRUE
20 | bus_MV_140_0_node_30 | 20 | n |  | TRUE
21 | bus_MV_140_0_node_128 | 20 | n |  | TRUE
22 | bus_MV_140_0_node_26 | 20 | n |  | TRUE
23 | bus_MV_140_0_node_121 | 20 | n |  | TRUE
24 | bus_MV_140_0_node_36 | 20 | n |  | TRUE
25 | bus_MV_140_0_node_7 | 20 | n |  | TRUE
26 | bus_MV_140_0_node_9 | 20 | n |  | TRUE
27 | bus_MV_140_0_node_76 | 20 | n |  | TRUE
28 | bus_MV_140_0_node_11 | 20 | n |  | TRUE
29 | bus_MV_140_0_node_10 | 20 | n |  | TRUE
30 | bus_MV_140_0_node_122 | 20 | n |  | TRUE
31 | bus_MV_140_0_node_8 | 20 | n |  | TRUE
32 | bus_MV_140_0_node_21 | 20 | n |  | TRUE
33 | bus_MV_140_0_node_19 | 20 | n |  | TRUE
34 | bus_MV_140_0_node_35 | 20 | n |  | TRUE
35 | bus_MV_140_0_node_12 | 20 | n |  | TRUE
36 | bus_MV_140_0_node_13 | 20 | n |  | TRUE
37 | bus_MV_140_0_node_14 | 20 | n |  | TRUE
38 | bus_MV_140_0_node_82 | 20 | n |  | TRUE
39 | bus_MV_140_0_node_22 | 20 | n |  | TRUE
40 | bus_MV_140_0_node_15 | 20 | n |  | TRUE
41 | bus_MV_140_0_node_16 | 20 | n |  | TRUE
42 | bus_MV_140_0_node_17 | 20 | n |  | TRUE
43 | bus_MV_140_0_node_39 | 20 | n |  | TRUE
44 | bus_MV_140_0_node_45 | 20 | n |  | TRUE
45 | bus_MV_140_0_node_41 | 20 | n |  | TRUE
46 | bus_MV_140_0_node_37 | 20 | n |  | TRUE
47 | bus_MV_140_0_node_44 | 20 | n |  | TRUE
48 | bus_MV_140_0_node_20 | 20 | n |  | TRUE
49 | bus_MV_140_0_node_109 | 20 | n |  | TRUE
50 | bus_MV_140_0_node_106 | 20 | n |  | TRUE
51 | bus_MV_140_0_node_57 | 20 | n |  | TRUE
52 | bus_MV_140_0_node_108 | 20 | n |  | TRUE
53 | bus_MV_140_0_node_33 | 20 | n |  | TRUE
54 | bus_MV_140_0_node_52 | 20 | n |  | TRUE
55 | bus_MV_140_0_node_85 | 20 | n |  | TRUE
56 | bus_MV_140_0_node_89 | 20 | n |  | TRUE
57 | bus_MV_140_0_node_126 | 20 | n |  | TRUE
58 | bus_MV_140_0_node_86 | 20 | n |  | TRUE
59 | bus_MV_140_0_node_90 | 20 | n |  | TRUE
60 | bus_MV_140_0_node_84 | 20 | n |  | TRUE
61 | bus_MV_140_0_node_28 | 20 | n |  | TRUE
62 | bus_MV_140_0_node_111 | 20 | n |  | TRUE
63 | bus_MV_140_0_node_80 | 20 | n |  | TRUE
64 | bus_MV_140_0_node_78 | 20 | n |  | TRUE
65 | bus_MV_140_0_node_60 | 20 | n |  | TRUE
66 | bus_MV_140_0_node_117 | 20 | n |  | TRUE
67 | bus_MV_140_0_node_43 | 20 | n |  | TRUE
68 | bus_MV_140_0_node_38 | 20 | n |  | TRUE
69 | bus_MV_140_0_node_40 | 20 | n |  | TRUE
70 | bus_MV_140_0_node_42 | 20 | n |  | TRUE
71 | bus_MV_140_0_node_46 | 20 | n |  | TRUE
72 | bus_MV_140_0_node_47 | 20 | n |  | TRUE
73 | bus_MV_140_0_node_48 | 20 | n |  | TRUE
74 | bus_MV_140_0_node_114 | 20 | n |  | TRUE
75 | bus_MV_140_0_node_68 | 20 | n |  | TRUE
76 | bus_MV_140_0_node_49 | 20 | n |  | TRUE
77 | bus_MV_140_0_node_51 | 20 | n |  | TRUE
78 | bus_MV_140_0_node_53 | 20 | n |  | TRUE
79 | bus_MV_140_0_node_61 | 20 | n |  | TRUE
80 | bus_MV_140_0_node_88 | 20 | n |  | TRUE
81 | bus_MV_140_0_node_127 | 20 | n |  | TRUE
82 | bus_MV_140_0_node_62 | 20 | n |  | TRUE
83 | bus_MV_140_0_node_54 | 20 | n |  | TRUE
84 | bus_MV_140_0_node_55 | 20 | n |  | TRUE
85 | bus_MV_140_0_node_56 | 20 | n |  | TRUE
86 | bus_MV_140_0_node_58 | 20 | n |  | TRUE
87 | bus_MV_140_0_node_107 | 20 | n |  | TRUE
88 | bus_MV_140_0_node_104 | 20 | n |  | TRUE
89 | bus_MV_140_0_node_59 | 20 | n |  | TRUE
90 | bus_MV_140_0_node_110 | 20 | n |  | TRUE
91 | bus_MV_140_0_node_105 | 20 | n |  | TRUE
92 | bus_MV_140_0_node_113 | 20 | n |  | TRUE
93 | bus_MV_140_0_node_99 | 20 | n |  | TRUE
94 | bus_MV_140_0_node_100 | 20 | n |  | TRUE
95 | bus_MV_140_0_node_101 | 20 | n |  | TRUE
96 | bus_MV_140_0_node_98 | 20 | n |  | TRUE
97 | bus_MV_140_0_node_102 | 20 | n |  | TRUE
98 | bus_MV_140_0_node_103 | 20 | n |  | TRUE
99 | bus_MV_140_0_node_119 | 20 | n |  | TRUE
100 | bus_MV_140_0_node_118 | 20 | n |  | TRUE
101 | bus_MV_140_0_node_63 | 20 | n |  | TRUE
102 | bus_MV_140_0_node_115 | 20 | n |  | TRUE
103 | bus_MV_140_0_node_67 | 20 | n |  | TRUE
104 | bus_MV_140_0_node_64 | 20 | n |  | TRUE
105 | bus_MV_140_0_node_66 | 20 | n |  | TRUE
106 | bus_MV_140_0_node_65 | 20 | n |  | TRUE
107 | bus_MV_140_0_node_75 | 20 | n |  | TRUE
108 | bus_MV_140_0_node_116 | 20 | n |  | TRUE
109 | bus_MV_140_0_node_74 | 20 | n |  | TRUE
110 | bus_MV_140_0_node_125 | 20 | n |  | TRUE
111 | bus_MV_140_0_node_69 | 20 | n |  | TRUE
112 | bus_MV_140_0_node_71 | 20 | n |  | TRUE
113 | bus_MV_140_0_node_70 | 20 | n |  | TRUE
114 | bus_MV_140_0_node_72 | 20 | n |  | TRUE
115 | bus_MV_140_0_node_73 | 20 | n |  | TRUE
116 | bus_MV_140_0_node_97 | 20 | n |  | TRUE
117 | bus_MV_140_0_node_96 | 20 | n |  | TRUE
118 | bus_MV_140_0_node_95 | 20 | n |  | TRUE
119 | bus_MV_140_0_node_93 | 20 | n |  | TRUE
120 | bus_MV_140_0_node_91 | 20 | n |  | TRUE
121 | bus_MV_140_0_node_94 | 20 | n |  | TRUE
122 | bus_MV_140_0_node_92 | 20 | n |  | TRUE
123 | bus_MV_140_0_node_120 | 20 | n |  | TRUE
124 | bus_HV_140_0_node_113 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_140_0_load_0 | 0 | 0.15646 | 0.075779 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_140_0_load_3 | 4 | 0.14048 | 0.068038 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_140_0_load_23 | 5 | 0.07751 | 0.03754 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_140_0_load_123 | 8 | 0.11839 | 0.057339 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_140_0_load_25 | 9 | 0.15013 | 0.072711 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_140_0_load_34 | 10 | 0.12039 | 0.058308 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_140_0_load_83 | 11 | 0.13217 | 0.064014 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_140_0_load_77 | 16 | 0.077787 | 0.037674 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_140_0_load_112 | 19 | 0.076564 | 0.037082 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_140_0_load_128 | 21 | 0.10811 | 0.052361 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_140_0_load_26 | 22 | 0.15001 | 0.072655 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_140_0_load_121 | 23 | 0.15587 | 0.075493 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_140_0_load_36 | 24 | 0.097366 | 0.047156 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_140_0_load_7 | 25 | 0.16457 | 0.079703 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_140_0_load_9 | 26 | 0.068505 | 0.033179 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_140_0_load_76 | 27 | 0.12293 | 0.059536 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_140_0_load_11 | 28 | 0.16196 | 0.07844 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_140_0_load_21 | 32 | 0.15346 | 0.074325 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_140_0_load_35 | 34 | 0.1219 | 0.059039 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_140_0_load_12 | 35 | 0.15505 | 0.075093 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_140_0_load_14 | 37 | 0.15356 | 0.074371 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_140_0_load_82 | 38 | 0.11471 | 0.055558 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_140_0_load_22 | 39 | 0.072028 | 0.034885 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_140_0_load_15 | 40 | 0.061648 | 0.029857 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_140_0_load_16 | 41 | 0.098325 | 0.047621 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_140_0_load_41 | 45 | 0.14357 | 0.069533 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_140_0_load_37 | 46 | 0.15115 | 0.073204 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_140_0_load_44 | 47 | 0.15876 | 0.07689 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_140_0_load_20 | 48 | 0.1152 | 0.055796 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_140_0_load_108 | 52 | 0.1047 | 0.050709 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_140_0_load_126 | 57 | 0.090254 | 0.043712 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_140_0_load_86 | 58 | 0.14708 | 0.071233 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_140_0_load_90 | 59 | 0.087491 | 0.042374 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_140_0_load_80 | 63 | 0.10239 | 0.049588 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_140_0_load_60 | 65 | 0.061249 | 0.029664 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_140_0_load_117 | 66 | 0.12744 | 0.061722 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_140_0_load_43 | 67 | 0.14352 | 0.06951 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_140_0_load_42 | 70 | 0.15068 | 0.072975 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_140_0_load_46 | 71 | 0.11946 | 0.057859 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_140_0_load_47 | 72 | 0.12753 | 0.061765 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_140_0_load_48 | 73 | 0.13386 | 0.064831 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_140_0_load_114 | 74 | 0.13233 | 0.064088 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_140_0_load_49 | 76 | 0.1258 | 0.060928 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_140_0_load_61 | 79 | 0.11824 | 0.057268 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_140_0_load_127 | 81 | 0.11025 | 0.053395 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_140_0_load_54 | 83 | 0.097002 | 0.04698 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_140_0_load_56 | 85 | 0.095976 | 0.046483 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_140_0_load_104 | 88 | 0.089397 | 0.043297 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_140_0_load_110 | 90 | 0.074648 | 0.036154 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_140_0_load_113 | 92 | 0.11023 | 0.053386 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_140_0_load_98 | 96 | 0.26443 | 0.12807 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_140_0_load_102 | 97 | 0.10052 | 0.048684 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_140_0_load_118 | 100 | 0.52713 | 0.2553 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_140_0_load_115 | 102 | 0.068879 | 0.03336 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_140_0_load_64 | 104 | 0.11372 | 0.055078 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_140_0_load_75 | 107 | 0.086122 | 0.041711 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_140_0_load_125 | 110 | 0.16243 | 0.078666 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_140_0_load_69 | 111 | 0.14099 | 0.068285 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_140_0_load_97 | 116 | 0.074261 | 0.035966 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_140_0_load_95 | 118 | 0.14799 | 0.071673 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_140_0_load_91 | 120 | 0.065826 | 0.031881 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_140_0_load_94 | 121 | 0.26889 | 0.13023 | 0 | 0 |  | 1 | TRUE | wye
62 | MV_140_0_load_120 | 123 | 0.2394 | 0.11595 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 92 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_140_0_line_0 |  | 0 | 1 | 0.04508 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
1 | MV_140_0_line_1 |  | 0 | 2 | 0.029334 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
2 | MV_140_0_line_2 |  | 1 | 3 | 0.25333 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
3 | MV_140_0_line_3 |  | 2 | 4 | 0.083043 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
4 | MV_140_0_line_4 |  | 3 | 6 | 0.097464 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
5 | MV_140_0_line_5 |  | 3 | 7 | 0.16398 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_140_0_line_6 |  | 3 | 8 | 0.026261 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
7 | MV_140_0_line_7 |  | 4 | 5 | 0.35245 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
8 | MV_140_0_line_8 |  | 6 | 22 | 0.014891 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_140_0_line_9 |  | 7 | 23 | 0.07853 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
10 | MV_140_0_line_10 |  | 7 | 18 | 0.23076 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
11 | MV_140_0_line_11 |  | 9 | 10 | 0.31399 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
12 | MV_140_0_line_12 |  | 9 | 11 | 1.1045 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
13 | MV_140_0_line_13 |  | 10 | 53 | 0.10978 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
14 | MV_140_0_line_14 |  | 11 | 54 | 0.049139 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
15 | MV_140_0_line_15 |  | 12 | 13 | 1.7018 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
16 | MV_140_0_line_16 |  | 12 | 14 | 0.67749 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
17 | MV_140_0_line_17 |  | 13 | 37 | 0.025563 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
18 | MV_140_0_line_18 |  | 14 | 38 | 0.071977 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_140_0_line_19 |  | 14 | 15 | 0.29971 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
20 | MV_140_0_line_20 |  | 15 | 16 | 0.05016 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
21 | MV_140_0_line_21 |  | 16 | 64 | 0.042984 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
22 | MV_140_0_line_22 |  | 17 | 18 | 0.23525 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_140_0_line_23 |  | 17 | 19 | 0.025577 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_140_0_line_24 |  | 17 | 20 | 0.095299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_140_0_line_25 |  | 18 | 21 | 0.009528 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
26 | MV_140_0_line_26 |  | 19 | 62 | 0.0286 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_140_0_line_27 |  | 20 | 24 | 0.040947 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_140_0_line_28 |  | 22 | 61 | 0.092359 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_140_0_line_29 |  | 23 | 29 | 0.034827 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
30 | MV_140_0_line_30 |  | 25 | 26 | 0.029102 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
31 | MV_140_0_line_31 |  | 25 | 27 | 0.089895 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
32 | MV_140_0_line_32 |  | 26 | 28 | 0.041067 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
33 | MV_140_0_line_33 |  | 28 | 33 | 0.026093 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
34 | MV_140_0_line_34 |  | 29 | 30 | 0.20954 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
35 | MV_140_0_line_35 |  | 29 | 31 | 0.080815 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
36 | MV_140_0_line_36 |  | 30 | 34 | 0.081494 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
37 | MV_140_0_line_37 |  | 31 | 32 | 0.063674 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
38 | MV_140_0_line_38 |  | 32 | 33 | 0.010415 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
39 | MV_140_0_line_39 |  | 34 | 63 | 0.072656 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
40 | MV_140_0_line_40 |  | 35 | 36 | 0.054883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_140_0_line_41 |  | 36 | 37 | 0.014183 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_140_0_line_42 |  | 37 | 39 | 0.47388 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
43 | MV_140_0_line_43 |  | 40 | 41 | 0.037911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_140_0_line_44 |  | 41 | 42 | 0.018773 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_140_0_line_45 |  | 42 | 43 | 0.18515 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_140_0_line_46 |  | 42 | 44 | 0.078125 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_140_0_line_47 |  | 43 | 45 | 0.03136 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
48 | MV_140_0_line_48 |  | 43 | 46 | 0.065254 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_140_0_line_49 |  | 44 | 47 | 0.022694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_140_0_line_50 |  | 45 | 68 | 0.12368 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
51 | MV_140_0_line_51 |  | 48 | 49 | 0.018984 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_140_0_line_52 |  | 49 | 50 | 0.049012 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_140_0_line_53 |  | 49 | 52 | 0.01311 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_140_0_line_54 |  | 50 | 51 | 0.025278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_140_0_line_55 |  | 51 | 87 | 0.039146 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
56 | MV_140_0_line_56 |  | 51 | 88 | 0.038105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_140_0_line_57 |  | 51 | 84 | 0.085591 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
58 | MV_140_0_line_58 |  | 53 | 61 | 0.13493 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
59 | MV_140_0_line_59 |  | 54 | 55 | 0.24616 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
60 | MV_140_0_line_60 |  | 55 | 81 | 0.009989 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
61 | MV_140_0_line_61 |  | 55 | 60 | 0.34286 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
62 | MV_140_0_line_62 |  | 56 | 57 | 0.15065 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_140_0_line_63 |  | 56 | 58 | 0.13545 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
64 | MV_140_0_line_64 |  | 58 | 80 | 0.04939 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
65 | MV_140_0_line_65 |  | 59 | 60 | 0.055784 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
66 | MV_140_0_line_66 |  | 60 | 80 | 0.13132 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
67 | MV_140_0_line_67 |  | 62 | 87 | 0.01969 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
68 | MV_140_0_line_68 |  | 63 | 64 | 0.028456 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
69 | MV_140_0_line_69 |  | 65 | 66 | 0.93412 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
70 | MV_140_0_line_70 |  | 65 | 67 | 0.43879 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
71 | MV_140_0_line_71 |  | 66 | 98 | 0.084902 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
72 | MV_140_0_line_72 |  | 67 | 69 | 0.091671 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
73 | MV_140_0_line_73 |  | 68 | 69 | 0.067888 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
74 | MV_140_0_line_74 |  | 69 | 70 | 0.027459 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_140_0_line_75 |  | 71 | 72 | 0.026039 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_140_0_line_76 |  | 72 | 73 | 0.009505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_140_0_line_77 |  | 72 | 74 | 0.034657 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_140_0_line_78 |  | 74 | 75 | 0.018286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_140_0_line_79 |  | 75 | 91 | 0.050155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_140_0_line_80 |  | 75 | 105 | 0.26071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_140_0_line_81 |  | 76 | 77 | 0.058652 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
82 | MV_140_0_line_82 |  | 77 | 78 | 0.14373 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
83 | MV_140_0_line_83 |  | 78 | 79 | 0.020254 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
84 | MV_140_0_line_84 |  | 79 | 82 | 0.028612 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
85 | MV_140_0_line_85 |  | 81 | 120 | 0.13531 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
86 | MV_140_0_line_86 |  | 82 | 101 | 0.067495 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
87 | MV_140_0_line_87 |  | 83 | 84 | 0.020455 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
88 | MV_140_0_line_88 |  | 83 | 85 | 0.035681 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
89 | MV_140_0_line_89 |  | 85 | 86 | 0.024933 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
90 | MV_140_0_line_90 |  | 86 | 89 | 0.087723 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
91 | MV_140_0_line_91 |  | 87 | 90 | 0.042087 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
92 | MV_140_0_line_92 |  | 88 | 91 | 0.024425 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_140_0_line_93 |  | 89 | 92 | 0.012131 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
94 | MV_140_0_line_94 |  | 93 | 94 | 0.011014 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
95 | MV_140_0_line_95 |  | 93 | 95 | 0.4124 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
96 | MV_140_0_line_96 |  | 93 | 96 | 0.10085 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
97 | MV_140_0_line_97 |  | 94 | 97 | 0.052421 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
98 | MV_140_0_line_98 |  | 94 | 98 | 0.066541 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
99 | MV_140_0_line_99 |  | 95 | 99 | 0.50354 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
100 | MV_140_0_line_100 |  | 95 | 100 | 0.1808 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
101 | MV_140_0_line_101 |  | 96 | 116 | 1.0509 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
102 | MV_140_0_line_102 |  | 99 | 123 | 0.24613 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
103 | MV_140_0_line_103 |  | 101 | 102 | 0.0045246 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
104 | MV_140_0_line_104 |  | 102 | 103 | 0.020661 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
105 | MV_140_0_line_105 |  | 103 | 108 | 0.021723 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
106 | MV_140_0_line_106 |  | 103 | 106 | 0.17138 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
107 | MV_140_0_line_107 |  | 104 | 105 | 0.021849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_140_0_line_108 |  | 106 | 107 | 0.11557 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
109 | MV_140_0_line_109 |  | 107 | 109 | 0.070384 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
110 | MV_140_0_line_110 |  | 108 | 110 | 0.061379 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
111 | MV_140_0_line_111 |  | 109 | 112 | 0.047183 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
112 | MV_140_0_line_112 |  | 111 | 112 | 0.074686 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
113 | MV_140_0_line_113 |  | 111 | 113 | 0.052133 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
114 | MV_140_0_line_114 |  | 113 | 114 | 0.11513 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
115 | MV_140_0_line_115 |  | 114 | 115 | 0.33299 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
116 | MV_140_0_line_116 |  | 115 | 116 | 0.014373 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
117 | MV_140_0_line_117 |  | 115 | 117 | 0.062831 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
118 | MV_140_0_line_118 |  | 117 | 118 | 0.14952 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
119 | MV_140_0_line_119 |  | 118 | 119 | 1.0241 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
120 | MV_140_0_line_120 |  | 119 | 120 | 0.040156 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
121 | MV_140_0_line_121 |  | 120 | 122 | 0.035116 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
122 | MV_140_0_line_122 |  | 121 | 122 | 0.023474 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_140_0_trafo_113 | 25 MVA 110/20 kV | 124 | 92 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2664093.6025 | 1194367.5523
1 | 2664068.3913 | 1194404.7375
2 | 2664103.0525 | 1194339.7818
3 | 2663930.5347 | 1194569.4039
4 | 2664097.1654 | 1194257.6596
5 | 2664288.9357 | 1193961.9437
6 | 2663970.7457 | 1194650.7923
7 | 2663857.6844 | 1194606.4588
8 | 2663915.2141 | 1194548.3501
9 | 2664447.5626 | 1194647.9957
10 | 2664158.9877 | 1194771.745
11 | 2665056.8508 | 1195569.2076
12 | 2663931.6844 | 1193574.8576
13 | 2664293.9291 | 1191912.0688
14 | 2663520.9023 | 1194113.6091
15 | 2663633.2367 | 1194285.4027
16 | 2663642.2605 | 1194334.7386
17 | 2663895.6654 | 1194811.0506
18 | 2663841.0248 | 1194742.9498
19 | 2663875.1557 | 1194826.4073
20 | 2663970.3958 | 1194756.1724
21 | 2663836.4122 | 1194734.6068
22 | 2663983.0286 | 1194642.3409
23 | 2663779.697 | 1194597.244
24 | 2663946.9494 | 1194722.6022
25 | 2663691.8198 | 1194688.05
26 | 2663698.0476 | 1194716.4774
27 | 2663602.0506 | 1194683.3036
28 | 2663710.8989 | 1194755.4814
29 | 2663750.0631 | 1194615.6723
30 | 2663679.1632 | 1194486.8755
31 | 2663761.5104 | 1194684.1454
32 | 2663745.6507 | 1194745.8125
33 | 2663735.2536 | 1194746.1131
34 | 2663726.4696 | 1194420.5181
35 | 2664355.4607 | 1191924.1147
36 | 2664317.547 | 1191885.1735
37 | 2664303.9535 | 1191888.7407
38 | 2663448.9264 | 1194113.9458
39 | 2664118.7868 | 1191452.5347
40 | 2663644.9348 | 1194783.7849
41 | 2663610.7383 | 1194800.1186
42 | 2663593.6327 | 1194807.7646
43 | 2663450.1946 | 1194893.7367
44 | 2663594.2673 | 1194879.2243
45 | 2663430.0825 | 1194869.9845
46 | 2663405.2975 | 1194941.1996
47 | 2663606.8341 | 1194898.1211
48 | 2663776.6482 | 1194810.9698
49 | 2663795.5428 | 1194809.1257
50 | 2663807.2347 | 1194856.7226
51 | 2663815.2161 | 1194880.6995
52 | 2663804.3566 | 1194799.6561
53 | 2664096.6634 | 1194681.3687
54 | 2665030.6536 | 1195610.7806
55 | 2665038.9393 | 1195819.1822
56 | 2665458.0171 | 1195794.4825
57 | 2665511.2393 | 1195766.9599
58 | 2665339.3557 | 1195859.7905
59 | 2665255.0873 | 1195686.3798
60 | 2665217.6137 | 1195727.1953
61 | 2664007.3694 | 1194721.9367
62 | 2663851.1833 | 1194842.0828
63 | 2663655.505 | 1194404.9315
64 | 2663650.4075 | 1194376.9387
65 | 2662825.1311 | 1194716.5828
66 | 2662612.1799 | 1195626.1105
67 | 2663263.6225 | 1194700.4262
68 | 2663310.9963 | 1194836.5734
69 | 2663315.0806 | 1194772.5125
70 | 2663342.4742 | 1194769.7008
71 | 2663670.843 | 1194861.1057
72 | 2663695.3384 | 1194852.0834
73 | 2663693.7923 | 1194842.7059
74 | 2663708.4059 | 1194884.1822
75 | 2663715.7732 | 1194900.9184
76 | 2663929.9106 | 1194981.3605
77 | 2663907.1225 | 1195035.2819
78 | 2663803.9118 | 1195096.0383
79 | 2663804.1606 | 1195116.2862
80 | 2665302.1125 | 1195827.2314
81 | 2665031.4314 | 1195825.7934
82 | 2663781.7197 | 1195126.375
83 | 2663856.9372 | 1194961.3495
84 | 2663869.4978 | 1194945.2053
85 | 2663827.8675 | 1194981.1599
86 | 2663829.7434 | 1195006.0167
87 | 2663837.7777 | 1194856.5371
88 | 2663781.0463 | 1194896.4249
89 | 2663762.3711 | 1194994.3694
90 | 2663869.8338 | 1194882.0616
91 | 2663757.9879 | 1194904.4812
92 | 2663755.4315 | 1194984.4199
93 | 2662612.1785 | 1195744.8397
94 | 2662619.8121 | 1195736.8816
95 | 2662314.4172 | 1196029.3417
96 | 2662674.4 | 1195824.2045
97 | 2662585.3855 | 1195697.3495
98 | 2662667.5199 | 1195690.4984
99 | 2662459.5377 | 1196452.7247
100 | 2662428.513 | 1196169.5971
101 | 2663747.9876 | 1195175.6778
102 | 2663751.1424 | 1195178.9211
103 | 2663765.5488 | 1195193.731
104 | 2663652.9516 | 1195132.3963
105 | 2663647.4237 | 1195111.2584
106 | 2663672.69 | 1195185.026
107 | 2663639.3349 | 1195295.6803
108 | 2663781.2148 | 1195178.7114
109 | 2663661.9332 | 1195362.3375
110 | 2663841.226 | 1195189.5021
111 | 2663739.6439 | 1195389.4363
112 | 2663679.0674 | 1195402.5767
113 | 2663771.3021 | 1195348.016
114 | 2663847.6392 | 1195309.6298
115 | 2663713.9328 | 1195614.3052
116 | 2663706.5858 | 1195626.6676
117 | 2663774.1936 | 1195602.7182
118 | 2663906.5263 | 1195533.1227
119 | 2664895.7496 | 1195798.2484
120 | 2664911.7235 | 1195762.723
121 | 2664946.1267 | 1195718.673
122 | 2664928.3638 | 1195731.7853
123 | 2662647.3503 | 1196293.645
124 | 2663755.4315 | 1194984.4199

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99774 | -0.0139 | 0.15646 | 0.075779
1 | 0.99775 | -0.013801 | 0 | 0
2 | 0.99774 | -0.01409 | 0 | 0
3 | 0.99781 | -0.013215 | 0 | 0
4 | 0.99773 | -0.014195 | 0.14048 | 0.068038
5 | 0.99769 | -0.014992 | 0.07751 | 0.03754
6 | 0.99766 | -0.014112 | 0 | 0
7 | 0.99807 | -0.011555 | 0 | 0
8 | 0.9978 | -0.013219 | 0.11839 | 0.057339
9 | 0.99617 | -0.086267 | 0.15013 | 0.072711
10 | 0.99702 | -0.034754 | 0.12039 | 0.058308
11 | 0.99331 | -0.26183 | 0.13217 | 0.064014
12 | 0.99725 | -0.029198 | 0 | 0
13 | 0.99648 | -0.048353 | 0 | 0
14 | 0.99755 | -0.021537 | 0 | 0
15 | 0.99763 | -0.020626 | 0 | 0
16 | 0.99764 | -0.020466 | 0.077787 | 0.037674
17 | 0.99906 | -0.0055498 | 0 | 0
18 | 0.99856 | -0.0086207 | 0 | 0
19 | 0.99912 | -0.0052093 | 0.076564 | 0.037082
20 | 0.99905 | -0.0054458 | 0 | 0
21 | 0.99856 | -0.0086219 | 0.10811 | 0.052361
22 | 0.99764 | -0.014248 | 0.15001 | 0.072655
23 | 0.99792 | -0.015382 | 0.15587 | 0.075493
24 | 0.99904 | -0.0054941 | 0.097366 | 0.047156
25 | 0.99779 | -0.017503 | 0.16457 | 0.079703
26 | 0.99779 | -0.017456 | 0.068505 | 0.033179
27 | 0.99777 | -0.017824 | 0.12293 | 0.059536
28 | 0.9978 | -0.017372 | 0.16196 | 0.07844
29 | 0.99789 | -0.015697 | 0 | 0
30 | 0.9978 | -0.016752 | 0 | 0
31 | 0.99786 | -0.016011 | 0 | 0
32 | 0.99781 | -0.017263 | 0.15346 | 0.074325
33 | 0.99781 | -0.017294 | 0 | 0
34 | 0.99772 | -0.018713 | 0.1219 | 0.059039
35 | 0.99646 | -0.048284 | 0.15505 | 0.075093
36 | 0.99647 | -0.048384 | 0 | 0
37 | 0.99648 | -0.048409 | 0.15356 | 0.074371
38 | 0.99754 | -0.021637 | 0.11471 | 0.055558
39 | 0.99643 | -0.049409 | 0.072028 | 0.034885
40 | 0.98749 | -0.58325 | 0.061648 | 0.029857
41 | 0.98749 | -0.58327 | 0.098325 | 0.047621
42 | 0.98749 | -0.58331 | 0 | 0
43 | 0.98751 | -0.5832 | 0 | 0
44 | 0.98749 | -0.58333 | 0 | 0
45 | 0.98752 | -0.58318 | 0.14357 | 0.069533
46 | 0.9875 | -0.58309 | 0.15115 | 0.073204
47 | 0.98748 | -0.58328 | 0.15876 | 0.07689
48 | 0.99928 | -0.004121 | 0.1152 | 0.055796
49 | 0.99929 | -0.0040945 | 0 | 0
50 | 0.99931 | -0.0039626 | 0 | 0
51 | 0.99931 | -0.004028 | 0 | 0
52 | 0.99928 | -0.0040782 | 0.1047 | 0.050709
53 | 0.99733 | -0.016264 | 0 | 0
54 | 0.99319 | -0.26941 | 0 | 0
55 | 0.99288 | -0.27151 | 0 | 0
56 | 0.99282 | -0.2724 | 0 | 0
57 | 0.99282 | -0.27243 | 0.090254 | 0.043712
58 | 0.99283 | -0.27191 | 0.14708 | 0.071233
59 | 0.99284 | -0.27183 | 0.087491 | 0.042374
60 | 0.99285 | -0.27182 | 0 | 0
61 | 0.99752 | -0.015073 | 0 | 0
62 | 0.99918 | -0.0048252 | 0 | 0
63 | 0.99767 | -0.020204 | 0.10239 | 0.049588
64 | 0.99766 | -0.020309 | 0 | 0
65 | 0.98787 | -0.56442 | 0.061249 | 0.029664
66 | 0.98847 | -0.52904 | 0.12744 | 0.061722
67 | 0.9876 | -0.58001 | 0.14352 | 0.06951
68 | 0.98757 | -0.58021 | 0 | 0
69 | 0.98758 | -0.58013 | 0 | 0
70 | 0.98758 | -0.58008 | 0.15068 | 0.072975
71 | 0.99918 | -0.0032229 | 0.11946 | 0.057859
72 | 0.99918 | -0.0032596 | 0.12753 | 0.061765
73 | 0.99918 | -0.0032444 | 0.13386 | 0.064831
74 | 0.99921 | -0.0030973 | 0.13233 | 0.064088
75 | 0.99922 | -0.0032085 | 0 | 0
76 | 0.98986 | -0.44225 | 0.1258 | 0.060928
77 | 0.98986 | -0.44224 | 0 | 0
78 | 0.98987 | -0.4422 | 0 | 0
79 | 0.98987 | -0.44219 | 0.11824 | 0.057268
80 | 0.99284 | -0.27189 | 0 | 0
81 | 0.99287 | -0.27158 | 0.11025 | 0.053395
82 | 0.98987 | -0.44217 | 0 | 0
83 | 0.99958 | -0.0024453 | 0.097002 | 0.04698
84 | 0.99953 | -0.0027513 | 0 | 0
85 | 0.99968 | -0.0019065 | 0.095976 | 0.046483
86 | 0.99974 | -0.0015266 | 0 | 0
87 | 0.99923 | -0.0045604 | 0 | 0
88 | 0.99928 | -0.0037261 | 0.089397 | 0.043297
89 | 0.99997 | -0.00018591 | 0 | 0
90 | 0.99923 | -0.0045649 | 0.074648 | 0.036154
91 | 0.99926 | -0.0035575 | 0 | 0
92 | 1 | 0 | -8.1284 | -3.5406
93 | 0.98853 | -0.52874 | 0 | 0
94 | 0.98853 | -0.52876 | 0 | 0
95 | 0.98843 | -0.52955 | 0 | 0
96 | 0.98859 | -0.5283 | 0.26443 | 0.12807
97 | 0.98852 | -0.52877 | 0.10052 | 0.048684
98 | 0.9885 | -0.52889 | 0 | 0
99 | 0.98839 | -0.52992 | 0 | 0
100 | 0.9884 | -0.52968 | 0.52713 | 0.2553
101 | 0.98988 | -0.44214 | 0 | 0
102 | 0.98988 | -0.44213 | 0.068879 | 0.03336
103 | 0.98988 | -0.44212 | 0 | 0
104 | 0.99918 | -0.0028842 | 0.11372 | 0.055078
105 | 0.99918 | -0.0029136 | 0 | 0
106 | 0.98991 | -0.44194 | 0 | 0
107 | 0.98994 | -0.43976 | 0.086122 | 0.041711
108 | 0.98988 | -0.44213 | 0 | 0
109 | 0.98997 | -0.4382 | 0 | 0
110 | 0.98988 | -0.44214 | 0.16243 | 0.078666
111 | 0.98999 | -0.43804 | 0.14099 | 0.068285
112 | 0.98998 | -0.43814 | 0 | 0
113 | 0.99001 | -0.4366 | 0 | 0
114 | 0.99004 | -0.43642 | 0 | 0
115 | 0.99011 | -0.43583 | 0 | 0
116 | 0.9901 | -0.4359 | 0.074261 | 0.035966
117 | 0.99017 | -0.43541 | 0 | 0
118 | 0.99046 | -0.41764 | 0.14799 | 0.071673
119 | 0.99252 | -0.29037 | 0 | 0
120 | 0.99257 | -0.2901 | 0.065826 | 0.031881
121 | 0.99256 | -0.29012 | 0.26889 | 0.13023
122 | 0.99256 | -0.29011 | 0 | 0
123 | 0.98837 | -0.53002 | 0.2394 | 0.11595
124 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.37446 | -0.17805 | 0.37446 | 0.17651 | 3.1286e-06 | -0.0015373 | 0.011996 | 0.011977 | 0.011996 | 0.99774 | -0.0139 | 0.99775 | -0.013801 | 3.3139
1 | 0.218 | 0.10227 | -0.21799 | -0.1023 | 1.3071e-06 | -3.5201e-05 | 0.0069668 | 0.0069672 | 0.0069672 | 0.99774 | -0.0139 | 0.99774 | -0.01409 | 1.9906
2 | -0.37446 | -0.17651 | 0.37448 | 0.16787 | 1.7399e-05 | -0.0086397 | 0.011977 | 0.011873 | 0.011977 | 0.99775 | -0.013801 | 0.99781 | -0.013215 | 3.3087
3 | 0.21799 | 0.1023 | -0.21799 | -0.10514 | 1.9568e-06 | -0.0028346 | 0.0069672 | 0.0070025 | 0.0070025 | 0.99774 | -0.01409 | 0.99773 | -0.014195 | 1.9344
4 | 4.4955 | 1.9073 | -4.4949 | -1.9131 | 0.00060143 | -0.0057575 | 0.14128 | 0.14135 | 0.14135 | 0.99781 | -0.013215 | 0.99766 | -0.014112 | 22.1551
5 | -4.9884 | -2.1309 | 4.9896 | 2.1213 | 0.001247 | -0.0095583 | 0.15693 | 0.15682 | 0.15693 | 0.99781 | -0.013215 | 0.99807 | -0.011555 | 24.5978
6 | 0.11839 | 0.055697 | -0.11839 | -0.057339 | 1.169e-07 | -0.0016427 | 0.0037853 | 0.0038057 | 0.0038057 | 0.99781 | -0.013215 | 0.9978 | -0.013219 | 0.59651
7 | 0.077512 | 0.037101 | -0.07751 | -0.03754 | 2.0046e-06 | -0.00043859 | 0.0024863 | 0.0024919 | 0.0024919 | 0.99773 | -0.014195 | 0.99769 | -0.014992 | 0.71197
8 | 4.4949 | 1.9131 | -4.4948 | -1.914 | 9.194e-05 | -0.00087947 | 0.14135 | 0.14136 | 0.14136 | 0.99766 | -0.014112 | 0.99764 | -0.014248 | 22.1568
9 | 1.6255 | 0.75196 | -1.6253 | -0.75184 | 0.00019346 | 0.00012299 | 0.051803 | 0.051804 | 0.051804 | 0.99807 | -0.011555 | 0.99792 | -0.015382 | 14.8011
10 | -6.6151 | -2.8733 | 6.6182 | 2.8606 | 0.0031003 | -0.012704 | 0.2086 | 0.20844 | 0.2086 | 0.99807 | -0.011555 | 0.99856 | -0.0086207 | 32.6962
11 | -4.2204 | -1.7898 | 4.2223 | 1.7946 | 0.0019781 | 0.0048881 | 0.13284 | 0.13284 | 0.13284 | 0.99617 | -0.086267 | 0.99702 | -0.034754 | 20.5957
12 | 4.0702 | 1.717 | -4.0638 | -1.7012 | 0.0064625 | 0.015867 | 0.12801 | 0.12803 | 0.12803 | 0.99617 | -0.086267 | 0.99331 | -0.26183 | 19.8498
13 | -4.3427 | -1.853 | 4.3435 | 1.8548 | 0.00073244 | 0.0018187 | 0.13671 | 0.1367 | 0.13671 | 0.99702 | -0.034754 | 0.99733 | -0.016264 | 21.1947
14 | 3.9316 | 1.6372 | -3.9313 | -1.6365 | 0.00026874 | 0.00065564 | 0.12377 | 0.12377 | 0.12377 | 0.99331 | -0.26183 | 0.99319 | -0.26941 | 19.1893
15 | 0.38087 | 0.17939 | -0.38064 | -0.18125 | 0.00023253 | -0.0018592 | 0.012187 | 0.012213 | 0.012213 | 0.99725 | -0.029198 | 0.99648 | -0.048353 | 3.4895
16 | -0.38087 | -0.17939 | 0.38096 | 0.17865 | 9.2292e-05 | -0.00074138 | 0.012187 | 0.012177 | 0.012187 | 0.99725 | -0.029198 | 0.99755 | -0.021537 | 3.482
17 | 0.38064 | 0.18125 | -0.38064 | -0.18212 | 1.8434e-06 | -0.00086946 | 0.012213 | 0.012224 | 0.012224 | 0.99648 | -0.048353 | 0.99648 | -0.048409 | 3.3768
18 | 0.11472 | 0.055474 | -0.11471 | -0.055558 | 1.7442e-06 | -8.4412e-05 | 0.0036874 | 0.0036885 | 0.0036885 | 0.99755 | -0.021537 | 0.99754 | -0.021637 | 1.7564
19 | -0.49568 | -0.23413 | 0.49572 | 0.22392 | 3.6142e-05 | -0.010206 | 0.015864 | 0.01574 | 0.015864 | 0.99755 | -0.021537 | 0.99763 | -0.020626 | 4.3823
20 | -0.49572 | -0.22392 | 0.49572 | 0.22221 | 5.9942e-06 | -0.0017083 | 0.01574 | 0.015719 | 0.01574 | 0.99763 | -0.020626 | 0.99764 | -0.020466 | 4.3479
21 | -0.57351 | -0.25989 | 0.57351 | 0.25842 | 6.8848e-06 | -0.0014627 | 0.018219 | 0.018202 | 0.018219 | 0.99764 | -0.020466 | 0.99766 | -0.020309 | 5.0329
22 | 6.7296 | 2.8994 | -6.7263 | -2.9123 | 0.0032613 | -0.012909 | 0.21173 | 0.2119 | 0.2119 | 0.99906 | -0.0055498 | 0.99856 | -0.0086207 | 33.2129
23 | -6.827 | -2.9443 | 6.8273 | 2.9429 | 0.00036471 | -0.0013988 | 0.21483 | 0.21481 | 0.21483 | 0.99906 | -0.0055498 | 0.99912 | -0.0052093 | 33.6717
24 | 0.097368 | 0.044837 | -0.097366 | -0.047108 | 1.2315e-06 | -0.0022707 | 0.0030974 | 0.0031254 | 0.0031254 | 0.99906 | -0.0055498 | 0.99905 | -0.0054458 | 1.4206
25 | 0.10811 | 0.051764 | -0.10811 | -0.052361 | 3.541e-08 | -0.00059691 | 0.0034652 | 0.0034727 | 0.0034727 | 0.99856 | -0.0086207 | 0.99856 | -0.0086219 | 0.54431
26 | -6.9039 | -2.98 | 6.9043 | 2.9784 | 0.00041711 | -0.0015591 | 0.21726 | 0.21724 | 0.21726 | 0.99912 | -0.0052093 | 0.99918 | -0.0048252 | 34.0537
27 | 0.097366 | 0.047108 | -0.097366 | -0.047156 | 7.1278e-07 | -4.8344e-05 | 0.0031254 | 0.003126 | 0.003126 | 0.99905 | -0.0054458 | 0.99904 | -0.0054941 | 1.4886
28 | 4.3448 | 1.8413 | -4.3442 | -1.8468 | 0.00053233 | -0.0054753 | 0.13654 | 0.13661 | 0.13661 | 0.99764 | -0.014248 | 0.99752 | -0.015073 | 21.412
29 | 1.4695 | 0.67635 | -1.4694 | -0.67751 | 3.6846e-05 | -0.001163 | 0.046795 | 0.046809 | 0.046809 | 0.99792 | -0.015382 | 0.99789 | -0.015697 | 12.9307
30 | -0.28749 | -0.13913 | 0.2875 | 0.13813 | 1.1986e-06 | -0.00099308 | 0.0092404 | 0.0092279 | 0.0092404 | 0.99779 | -0.017503 | 0.99779 | -0.017456 | 2.5526
31 | 0.12293 | 0.059425 | -0.12293 | -0.059536 | 1.2882e-06 | -0.00011099 | 0.0039502 | 0.0039517 | 0.0039517 | 0.99779 | -0.017503 | 0.99777 | -0.017824 | 1.129
32 | -0.356 | -0.17131 | 0.356 | 0.16991 | 2.5874e-06 | -0.0014008 | 0.01143 | 0.011413 | 0.01143 | 0.99779 | -0.017456 | 0.9978 | -0.017372 | 3.1575
33 | -0.51796 | -0.24835 | 0.51797 | 0.24746 | 3.4784e-06 | -0.00088869 | 0.016619 | 0.016608 | 0.016619 | 0.9978 | -0.017372 | 0.99781 | -0.017294 | 4.5908
34 | 0.79795 | 0.35887 | -0.79789 | -0.36598 | 6.5054e-05 | -0.0071102 | 0.025311 | 0.025396 | 0.025396 | 0.99789 | -0.015697 | 0.9978 | -0.016752 | 7.0155
35 | 0.67147 | 0.31864 | -0.67146 | -0.32139 | 1.8074e-05 | -0.0027475 | 0.021501 | 0.021535 | 0.021535 | 0.99789 | -0.015697 | 0.99786 | -0.016011 | 5.949
36 | 0.79789 | 0.36598 | -0.79784 | -0.36603 | 4.8253e-05 | -4.6758e-05 | 0.025396 | 0.025398 | 0.025398 | 0.9978 | -0.016752 | 0.99772 | -0.018713 | 7.2564
37 | 0.67146 | 0.32139 | -0.67143 | -0.32143 | 2.711e-05 | -4.8661e-05 | 0.021535 | 0.021536 | 0.021536 | 0.99786 | -0.016011 | 0.99781 | -0.017263 | 6.1532
38 | 0.51797 | 0.24711 | -0.51797 | -0.24746 | 1.3871e-06 | -0.00035473 | 0.016603 | 0.016608 | 0.016608 | 0.99781 | -0.017263 | 0.99781 | -0.017294 | 4.5878
39 | 0.67594 | 0.30699 | -0.67591 | -0.30704 | 3.0775e-05 | -5.5682e-05 | 0.02148 | 0.021481 | 0.021481 | 0.99772 | -0.018713 | 0.99767 | -0.020204 | 6.1374
40 | -0.15505 | -0.075093 | 0.15505 | 0.073792 | 1.819e-06 | -0.0013006 | 0.0049908 | 0.0049745 | 0.0049908 | 0.99646 | -0.048284 | 0.99647 | -0.048384 | 2.2685
41 | -0.15505 | -0.073792 | 0.15505 | 0.073456 | 4.6815e-07 | -0.00033611 | 0.0049745 | 0.0049703 | 0.0049745 | 0.99647 | -0.048384 | 0.99648 | -0.048409 | 2.2611
42 | 0.07203 | 0.034296 | -0.072028 | -0.034885 | 2.3311e-06 | -0.00058861 | 0.0023112 | 0.0023186 | 0.0023186 | 0.99648 | -0.048409 | 0.99643 | -0.049409 | 0.66245
43 | -0.061648 | -0.029857 | 0.061648 | 0.028975 | 2.018e-07 | -0.00088261 | 0.0020024 | 0.0019913 | 0.0020024 | 0.98749 | -0.58325 | 0.98749 | -0.58327 | 0.91018
44 | -0.15997 | -0.076596 | 0.15997 | 0.076159 | 6.7303e-07 | -0.00043688 | 0.0051849 | 0.0051794 | 0.0051849 | 0.98749 | -0.58327 | 0.98749 | -0.58331 | 2.3568
45 | -0.31873 | -0.14773 | 0.31874 | 0.13639 | 5.9535e-06 | -0.011341 | 0.01027 | 0.010135 | 0.01027 | 0.98749 | -0.58331 | 0.98751 | -0.5832 | 1.6097
46 | 0.15876 | 0.071576 | -0.15876 | -0.076362 | 6.3285e-07 | -0.0047864 | 0.0050909 | 0.00515 | 0.00515 | 0.98749 | -0.58331 | 0.98749 | -0.58333 | 0.80721
47 | -0.46989 | -0.20808 | 0.46989 | 0.20616 | 2.1836e-06 | -0.0019203 | 0.015023 | 0.015 | 0.015023 | 0.98751 | -0.5832 | 0.98752 | -0.58318 | 2.3546
48 | 0.15115 | 0.071685 | -0.15115 | -0.073204 | 2.0914e-06 | -0.0015187 | 0.0048902 | 0.0049094 | 0.0049094 | 0.98751 | -0.5832 | 0.9875 | -0.58309 | 2.2316
49 | 0.15876 | 0.076362 | -0.15876 | -0.07689 | 8.0458e-07 | -0.00052813 | 0.00515 | 0.0051567 | 0.0051567 | 0.98749 | -0.58333 | 0.98748 | -0.58328 | 2.344
50 | -0.61346 | -0.27569 | 0.61348 | 0.27557 | 1.7066e-05 | -0.00012084 | 0.019661 | 0.019659 | 0.019661 | 0.98752 | -0.58318 | 0.98757 | -0.58021 | 3.0482
51 | -0.1152 | -0.055796 | 0.1152 | 0.055774 | 4.6248e-07 | -2.2342e-05 | 0.0036978 | 0.0036975 | 0.0036978 | 0.99928 | -0.004121 | 0.99929 | -0.0040945 | 1.7609
52 | -0.21991 | -0.10617 | 0.21991 | 0.10611 | 4.3451e-06 | -5.5707e-05 | 0.0070543 | 0.0070536 | 0.0070543 | 0.99929 | -0.0040945 | 0.99931 | -0.0039626 | 3.3592
53 | 0.1047 | 0.050396 | -0.1047 | -0.050709 | 1.9744e-07 | -0.00031251 | 0.0033567 | 0.0033607 | 0.0033607 | 0.99929 | -0.0040945 | 0.99928 | -0.0040782 | 1.5276
54 | -0.21991 | -0.10611 | 0.21991 | 0.10551 | 1.6772e-06 | -0.00060221 | 0.0070536 | 0.007046 | 0.0070536 | 0.99931 | -0.0039626 | 0.99931 | -0.004028 | 3.2062
55 | 6.9798 | 3.0087 | -6.9793 | -3.0108 | 0.0005832 | -0.0021276 | 0.21956 | 0.21959 | 0.21959 | 0.99931 | -0.004028 | 0.99923 | -0.0045604 | 34.4188
56 | 0.71638 | 0.3362 | -0.71636 | -0.3371 | 2.6597e-05 | -0.00090063 | 0.02286 | 0.022871 | 0.022871 | 0.99931 | -0.004028 | 0.99928 | -0.0037261 | 10.396
57 | -7.9161 | -3.4504 | 7.9178 | 3.446 | 0.0016454 | -0.0044451 | 0.24945 | 0.24939 | 0.24945 | 0.99931 | -0.004028 | 0.99953 | -0.0027513 | 39.0995
58 | -4.3435 | -1.8548 | 4.3442 | 1.8468 | 0.0007786 | -0.0079956 | 0.1367 | 0.13661 | 0.1367 | 0.99733 | -0.016264 | 0.99752 | -0.015073 | 21.427
59 | 3.9313 | 1.6365 | -3.9302 | -1.6511 | 0.0011668 | -0.014595 | 0.12377 | 0.12394 | 0.12394 | 0.99319 | -0.26941 | 0.99288 | -0.27151 | 19.4266
60 | 3.6053 | 1.5392 | -3.6053 | -1.5398 | 4.0099e-05 | -0.00059614 | 0.11398 | 0.11398 | 0.11398 | 0.99288 | -0.27151 | 0.99287 | -0.27158 | 17.8657
61 | 0.32484 | 0.11193 | -0.32483 | -0.13316 | 1.0795e-05 | -0.02123 | 0.0099894 | 0.010207 | 0.010207 | 0.99288 | -0.27151 | 0.99285 | -0.27182 | 1.5999
62 | 0.090254 | 0.034382 | -0.090254 | -0.043712 | 3.8059e-07 | -0.0093301 | 0.0028082 | 0.0029158 | 0.0029158 | 0.99282 | -0.2724 | 0.99282 | -0.27243 | 0.45703
63 | -0.090254 | -0.034382 | 0.090255 | 0.034198 | 3.8107e-07 | -0.00018353 | 0.0028082 | 0.0028063 | 0.0028082 | 0.99282 | -0.2724 | 0.99283 | -0.27191 | 0.43538
64 | -0.23733 | -0.10543 | 0.23733 | 0.10237 | 8.6602e-07 | -0.0030585 | 0.0075509 | 0.0075152 | 0.0075509 | 0.99283 | -0.27191 | 0.99284 | -0.27189 | 1.1835
65 | -0.087491 | -0.042374 | 0.087491 | 0.038919 | 1.3562e-07 | -0.003455 | 0.0028265 | 0.0027842 | 0.0028265 | 0.99284 | -0.27183 | 0.99285 | -0.27182 | 0.44302
66 | 0.23733 | 0.09424 | -0.23733 | -0.10237 | 2.2638e-06 | -0.0081323 | 0.0074248 | 0.0075152 | 0.0075152 | 0.99285 | -0.27182 | 0.99284 | -0.27189 | 1.1779
67 | -6.9043 | -2.9784 | 6.9046 | 2.9773 | 0.00028712 | -0.0010735 | 0.21724 | 0.21723 | 0.21724 | 0.99918 | -0.0048252 | 0.99923 | -0.0045604 | 34.0505
68 | 0.57352 | 0.25746 | -0.57351 | -0.25842 | 4.5506e-06 | -0.00096835 | 0.01819 | 0.018202 | 0.018202 | 0.99767 | -0.020204 | 0.99766 | -0.020309 | 5.0281
69 | -0.96908 | -0.43708 | 0.9694 | 0.43669 | 0.00032168 | -0.00039585 | 0.031066 | 0.03105 | 0.031066 | 0.98787 | -0.56442 | 0.98847 | -0.52904 | 4.8164
70 | 0.90783 | 0.40742 | -0.9077 | -0.40765 | 0.00013248 | -0.0002355 | 0.029078 | 0.029085 | 0.029085 | 0.98787 | -0.56442 | 0.9876 | -0.58001 | 4.5093
71 | -1.0968 | -0.49841 | 1.0969 | 0.49322 | 3.2419e-05 | -0.0051942 | 0.035184 | 0.035122 | 0.035184 | 0.98847 | -0.52904 | 0.9885 | -0.52889 | 5.5148
72 | 0.76418 | 0.33814 | -0.76416 | -0.34375 | 1.6946e-05 | -0.0056083 | 0.024426 | 0.024493 | 0.024493 | 0.9876 | -0.58001 | 0.98758 | -0.58013 | 3.839
73 | -0.61348 | -0.27557 | 0.61348 | 0.27142 | 8.0864e-06 | -0.0041556 | 0.019659 | 0.019609 | 0.019659 | 0.98757 | -0.58021 | 0.98758 | -0.58013 | 3.0813
74 | 0.15068 | 0.072336 | -0.15068 | -0.072975 | 8.7644e-07 | -0.00063917 | 0.0048856 | 0.0048937 | 0.0048937 | 0.98758 | -0.58013 | 0.98758 | -0.58008 | 2.2244
75 | -0.11946 | -0.057859 | 0.11946 | 0.057238 | 5.102e-07 | -0.00062054 | 0.003835 | 0.0038272 | 0.003835 | 0.99918 | -0.0032229 | 0.99918 | -0.0032596 | 1.7432
76 | 0.13386 | 0.064604 | -0.13386 | -0.064831 | 2.3414e-07 | -0.0002265 | 0.0042942 | 0.0042971 | 0.0042971 | 0.99918 | -0.0032596 | 0.99918 | -0.0032444 | 1.9532
77 | -0.38085 | -0.18361 | 0.38086 | 0.18357 | 9.2131e-06 | -3.5536e-05 | 0.012215 | 0.012215 | 0.012215 | 0.99918 | -0.0032596 | 0.99921 | -0.0030973 | 5.8167
78 | -0.51319 | -0.24766 | 0.51319 | 0.24723 | 6.6136e-06 | -0.00043395 | 0.016462 | 0.016457 | 0.016462 | 0.99921 | -0.0030973 | 0.99922 | -0.0032085 | 7.4829
79 | -0.62692 | -0.29557 | 0.62695 | 0.29438 | 2.6827e-05 | -0.0011877 | 0.020024 | 0.020009 | 0.020024 | 0.99922 | -0.0032085 | 0.99926 | -0.0035575 | 9.1017
80 | 0.11373 | 0.048344 | -0.11372 | -0.054557 | 4.5262e-06 | -0.0062134 | 0.0035701 | 0.0036441 | 0.0036441 | 0.99922 | -0.0032085 | 0.99918 | -0.0029136 | 1.6564
81 | -0.1258 | -0.060928 | 0.1258 | 0.057317 | 2.9781e-07 | -0.0036107 | 0.0040764 | 0.0040316 | 0.0040764 | 0.98986 | -0.44225 | 0.98986 | -0.44224 | 0.63893
82 | -0.1258 | -0.057317 | 0.1258 | 0.048469 | 7.0347e-07 | -0.0088486 | 0.0040316 | 0.0039316 | 0.0040316 | 0.98986 | -0.44224 | 0.98987 | -0.4422 | 0.63191
83 | -0.1258 | -0.048469 | 0.1258 | 0.047222 | 9.6445e-08 | -0.0012469 | 0.0039316 | 0.0039187 | 0.0039316 | 0.98987 | -0.4422 | 0.98987 | -0.44219 | 0.61624
84 | -0.24405 | -0.10449 | 0.24405 | 0.10273 | 5.2853e-07 | -0.0017612 | 0.007742 | 0.0077219 | 0.007742 | 0.98987 | -0.44219 | 0.98987 | -0.44217 | 1.2135
85 | 3.495 | 1.4864 | -3.4945 | -1.485 | 0.00058903 | 0.0013996 | 0.11043 | 0.11043 | 0.11043 | 0.99287 | -0.27158 | 0.99257 | -0.2901 | 17.1206
86 | -0.24405 | -0.10273 | 0.24405 | 0.098574 | 1.2361e-06 | -0.0041547 | 0.0077219 | 0.0076757 | 0.0077219 | 0.98987 | -0.44217 | 0.98988 | -0.44214 | 1.2103
87 | 7.9182 | 3.4449 | -7.9178 | -3.446 | 0.0003931 | -0.0010627 | 0.24938 | 0.24939 | 0.24939 | 0.99958 | -0.0024453 | 0.99953 | -0.0027513 | 39.0897
88 | -8.0152 | -3.4919 | 8.0159 | 3.4901 | 0.00070279 | -0.0018445 | 0.25249 | 0.25246 | 0.25249 | 0.99958 | -0.0024453 | 0.99968 | -0.0019065 | 39.5749
89 | -8.1119 | -3.5365 | 8.1124 | 3.5353 | 0.00050306 | -0.0012824 | 0.25554 | 0.25552 | 0.25554 | 0.99968 | -0.0019065 | 0.99974 | -0.0015266 | 40.0531
90 | -8.1124 | -3.5353 | 8.1141 | 3.5307 | 0.0017694 | -0.0045138 | 0.25552 | 0.25546 | 0.25552 | 0.99974 | -0.0015266 | 0.99997 | -0.00018591 | 40.0503
91 | 0.074648 | 0.033514 | -0.074648 | -0.036154 | 7.3653e-08 | -0.0026403 | 0.0023639 | 0.0023962 | 0.0023962 | 0.99923 | -0.0045604 | 0.99923 | -0.0045649 | 0.37558
92 | 0.62696 | 0.2938 | -0.62695 | -0.29438 | 1.305e-05 | -0.00057846 | 0.020002 | 0.020009 | 0.020009 | 0.99928 | -0.0037261 | 0.99926 | -0.0035575 | 9.095
93 | -8.1141 | -3.5307 | 8.1144 | 3.5301 | 0.0002446 | -0.00062442 | 0.25546 | 0.25545 | 0.25546 | 0.99997 | -0.00018591 | 1 | 0 | 40.0403
94 | 1.1974 | 0.53394 | -1.1974 | -0.53461 | 4.9899e-06 | -0.00067343 | 0.038287 | 0.038295 | 0.038295 | 0.98853 | -0.52874 | 0.98853 | -0.52876 | 6.0023
95 | 0.76663 | 0.28887 | -0.76656 | -0.31415 | 7.3749e-05 | -0.025277 | 0.023924 | 0.024195 | 0.024195 | 0.98853 | -0.52874 | 0.98843 | -0.52955 | 3.7923
96 | -1.9641 | -0.82281 | 1.9642 | 0.81668 | 0.00012037 | -0.0061245 | 0.062185 | 0.062115 | 0.062185 | 0.98853 | -0.52874 | 0.98859 | -0.5283 | 9.7469
97 | 0.10052 | 0.045465 | -0.10052 | -0.048684 | 1.7019e-07 | -0.0032185 | 0.0032217 | 0.0032616 | 0.0032616 | 0.98853 | -0.52876 | 0.98852 | -0.52877 | 0.51122
98 | 1.0969 | 0.48914 | -1.0969 | -0.49322 | 2.5328e-05 | -0.0040711 | 0.035073 | 0.035122 | 0.035122 | 0.98853 | -0.52876 | 0.9885 | -0.52889 | 5.505
99 | 0.23942 | 0.069939 | -0.23941 | -0.10084 | 8.5749e-06 | -0.030904 | 0.0072845 | 0.0075873 | 0.0075873 | 0.98843 | -0.52955 | 0.98839 | -0.52992 | 1.1892
100 | 0.52714 | 0.24421 | -0.52713 | -0.2553 | 1.6214e-05 | -0.011089 | 0.016967 | 0.017106 | 0.017106 | 0.98843 | -0.52955 | 0.9884 | -0.52968 | 2.6812
101 | -2.2286 | -0.94475 | 2.2305 | 0.94837 | 0.001874 | 0.0036173 | 0.070682 | 0.070666 | 0.070682 | 0.98859 | -0.5283 | 0.9901 | -0.4359 | 10.9585
102 | 0.23941 | 0.10084 | -0.2394 | -0.11595 | 4.4807e-06 | -0.015105 | 0.0075873 | 0.0077692 | 0.0077692 | 0.98839 | -0.52992 | 0.98837 | -0.53002 | 1.2177
103 | -0.24405 | -0.098574 | 0.24405 | 0.098295 | 8.2376e-08 | -0.00027852 | 0.0076757 | 0.0076727 | 0.0076757 | 0.98988 | -0.44214 | 0.98988 | -0.44213 | 1.2031
104 | -0.31293 | -0.13166 | 0.31293 | 0.13038 | 6.2487e-07 | -0.0012717 | 0.0099005 | 0.0098862 | 0.0099005 | 0.98988 | -0.44213 | 0.98988 | -0.44212 | 1.5518
105 | 0.16243 | 0.07355 | -0.16243 | -0.074887 | 1.8207e-07 | -0.0013373 | 0.0051998 | 0.005216 | 0.005216 | 0.98988 | -0.44212 | 0.98988 | -0.44213 | 0.81755
106 | -0.47535 | -0.20393 | 0.47536 | 0.19339 | 1.1954e-05 | -0.010545 | 0.015084 | 0.014966 | 0.015084 | 0.98988 | -0.44212 | 0.98991 | -0.44194 | 2.3643
107 | -0.11372 | -0.055078 | 0.11372 | 0.054557 | 3.8803e-07 | -0.0005207 | 0.0036506 | 0.0036441 | 0.0036506 | 0.99918 | -0.0028842 | 0.99918 | -0.0029136 | 1.6594
108 | -0.47536 | -0.19339 | 0.47537 | 0.19326 | 9.2399e-06 | -0.00013171 | 0.014966 | 0.014964 | 0.014966 | 0.98991 | -0.44194 | 0.98994 | -0.43976 | 2.3203
109 | -0.5615 | -0.23497 | 0.5615 | 0.23489 | 7.9157e-06 | -7.4061e-05 | 0.01775 | 0.017748 | 0.01775 | 0.98994 | -0.43976 | 0.98997 | -0.4382 | 2.7519
110 | 0.16243 | 0.074887 | -0.16243 | -0.078666 | 5.2062e-07 | -0.0037786 | 0.005216 | 0.0052631 | 0.0052631 | 0.98988 | -0.44213 | 0.98988 | -0.44214 | 0.82493
111 | -0.5615 | -0.23489 | 0.56151 | 0.23199 | 4.5842e-06 | -0.0029029 | 0.017748 | 0.017716 | 0.017748 | 0.98997 | -0.4382 | 0.98998 | -0.43814 | 2.7819
112 | 0.56152 | 0.2274 | -0.56151 | -0.23199 | 7.2223e-06 | -0.004595 | 0.017665 | 0.017716 | 0.017716 | 0.98999 | -0.43804 | 0.98998 | -0.43814 | 2.7768
113 | -0.70251 | -0.29568 | 0.70252 | 0.29563 | 9.193e-06 | -4.5909e-05 | 0.022225 | 0.022224 | 0.022225 | 0.98999 | -0.43804 | 0.99001 | -0.4366 | 3.4458
114 | -0.70252 | -0.29563 | 0.70253 | 0.28855 | 1.7508e-05 | -0.0070803 | 0.022224 | 0.022145 | 0.022224 | 0.99001 | -0.4366 | 0.99004 | -0.43642 | 3.4834
115 | -0.70253 | -0.28855 | 0.70258 | 0.26807 | 4.9951e-05 | -0.020481 | 0.022145 | 0.021925 | 0.022145 | 0.99004 | -0.43642 | 0.99011 | -0.43583 | 3.471
116 | 2.3048 | 0.98346 | -2.3047 | -0.98433 | 2.3709e-05 | -0.00087195 | 0.073059 | 0.073069 | 0.073069 | 0.99011 | -0.43583 | 0.9901 | -0.4359 | 11.4529
117 | -3.0073 | -1.2515 | 3.0075 | 1.2478 | 0.00017503 | -0.0037718 | 0.094971 | 0.094928 | 0.094971 | 0.99011 | -0.43583 | 0.99017 | -0.43541 | 14.8858
118 | -3.0075 | -1.2478 | 3.008 | 1.2489 | 0.00048099 | 0.0010907 | 0.094928 | 0.094926 | 0.094928 | 0.99017 | -0.43541 | 0.99046 | -0.41764 | 14.7175
119 | -3.156 | -1.3205 | 3.1596 | 1.3289 | 0.0036344 | 0.0083816 | 0.09971 | 0.099695 | 0.09971 | 0.99046 | -0.41764 | 0.99252 | -0.29037 | 15.459
120 | -3.1596 | -1.3289 | 3.1597 | 1.3265 | 0.00012329 | -0.0024162 | 0.099695 | 0.099667 | 0.099695 | 0.99252 | -0.29037 | 0.99257 | -0.2901 | 15.6261
121 | 0.26889 | 0.1266 | -0.26889 | -0.12878 | 8.1324e-07 | -0.0021733 | 0.0086437 | 0.0086709 | 0.0086709 | 0.99257 | -0.2901 | 0.99256 | -0.29011 | 1.3591
122 | -0.26889 | -0.13023 | 0.26889 | 0.12878 | 5.465e-07 | -0.0014528 | 0.0086892 | 0.0086709 | 0.0086892 | 0.99256 | -0.29012 | 0.99256 | -0.29011 | 1.3619

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.2386 | 3.594

## res_load
| p_mw | q_mvar
0 | 0.15646 | 0.075779
1 | 0.14048 | 0.068038
2 | 0.07751 | 0.03754
3 | 0.11839 | 0.057339
4 | 0.15013 | 0.072711
5 | 0.12039 | 0.058308
6 | 0.13217 | 0.064014
7 | 0.077787 | 0.037674
8 | 0.076564 | 0.037082
9 | 0.10811 | 0.052361
10 | 0.15001 | 0.072655
11 | 0.15587 | 0.075493
12 | 0.097366 | 0.047156
13 | 0.16457 | 0.079703
14 | 0.068505 | 0.033179
15 | 0.12293 | 0.059536
16 | 0.16196 | 0.07844
17 | 0.15346 | 0.074325
18 | 0.1219 | 0.059039
19 | 0.15505 | 0.075093
20 | 0.15356 | 0.074371
21 | 0.11471 | 0.055558
22 | 0.072028 | 0.034885
23 | 0.061648 | 0.029857
24 | 0.098325 | 0.047621
25 | 0.14357 | 0.069533
26 | 0.15115 | 0.073204
27 | 0.15876 | 0.07689
28 | 0.1152 | 0.055796
29 | 0.1047 | 0.050709
30 | 0.090254 | 0.043712
31 | 0.14708 | 0.071233
32 | 0.087491 | 0.042374
33 | 0.10239 | 0.049588
34 | 0.061249 | 0.029664
35 | 0.12744 | 0.061722
36 | 0.14352 | 0.06951
37 | 0.15068 | 0.072975
38 | 0.11946 | 0.057859
39 | 0.12753 | 0.061765
40 | 0.13386 | 0.064831
41 | 0.13233 | 0.064088
42 | 0.1258 | 0.060928
43 | 0.11824 | 0.057268
44 | 0.11025 | 0.053395
45 | 0.097002 | 0.04698
46 | 0.095976 | 0.046483
47 | 0.089397 | 0.043297
48 | 0.074648 | 0.036154
49 | 0.11023 | 0.053386
50 | 0.26443 | 0.12807
51 | 0.10052 | 0.048684
52 | 0.52713 | 0.2553
53 | 0.068879 | 0.03336
54 | 0.11372 | 0.055078
55 | 0.086122 | 0.041711
56 | 0.16243 | 0.078666
57 | 0.14099 | 0.068285
58 | 0.074261 | 0.035966
59 | 0.14799 | 0.071673
60 | 0.065826 | 0.031881
61 | 0.26889 | 0.13023
62 | 0.2394 | 0.11595

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1