## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_141_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_141_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_141_0_node_116 | 20 | n |  | TRUE
3 | bus_MV_141_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_141_0_node_98 | 20 | n |  | TRUE
5 | bus_MV_141_0_node_99 | 20 | n |  | TRUE
6 | bus_MV_141_0_node_100 | 20 | n |  | TRUE
7 | bus_MV_141_0_node_101 | 20 | n |  | TRUE
8 | bus_MV_141_0_node_102 | 20 | n |  | TRUE
9 | bus_MV_141_0_node_103 | 20 | n |  | TRUE
10 | bus_MV_141_0_node_104 | 20 | n |  | TRUE
11 | bus_MV_141_0_node_135 | 20 | n |  | TRUE
12 | bus_MV_141_0_node_110 | 20 | n |  | TRUE
13 | bus_MV_141_0_node_111 | 20 | n |  | TRUE
14 | bus_MV_141_0_node_4 | 20 | n |  | TRUE
15 | bus_MV_141_0_node_70 | 20 | n |  | TRUE
16 | bus_MV_141_0_node_112 | 20 | n |  | TRUE
17 | bus_MV_141_0_node_93 | 20 | n |  | TRUE
18 | bus_MV_141_0_node_76 | 20 | n |  | TRUE
19 | bus_MV_141_0_node_5 | 20 | n |  | TRUE
20 | bus_MV_141_0_node_6 | 20 | n |  | TRUE
21 | bus_MV_141_0_node_7 | 20 | n |  | TRUE
22 | bus_MV_141_0_node_8 | 20 | n |  | TRUE
23 | bus_MV_141_0_node_9 | 20 | n |  | TRUE
24 | bus_MV_141_0_node_133 | 20 | n |  | TRUE
25 | bus_MV_141_0_node_123 | 20 | n |  | TRUE
26 | bus_MV_141_0_node_122 | 20 | n |  | TRUE
27 | bus_MV_141_0_node_10 | 20 | n |  | TRUE
28 | bus_MV_141_0_node_78 | 20 | n |  | TRUE
29 | bus_MV_141_0_node_54 | 20 | n |  | TRUE
30 | bus_MV_141_0_node_11 | 20 | n |  | TRUE
31 | bus_MV_141_0_node_12 | 20 | n |  | TRUE
32 | bus_MV_141_0_node_13 | 20 | n |  | TRUE
33 | bus_MV_141_0_node_14 | 20 | n |  | TRUE
34 | bus_MV_141_0_node_15 | 20 | n |  | TRUE
35 | bus_MV_141_0_node_19 | 20 | n |  | TRUE
36 | bus_MV_141_0_node_49 | 20 | n |  | TRUE
37 | bus_MV_141_0_node_17 | 20 | n |  | TRUE
38 | bus_MV_141_0_node_73 | 20 | n |  | TRUE
39 | bus_MV_141_0_node_74 | 20 | n |  | TRUE
40 | bus_MV_141_0_node_40 | 20 | n |  | TRUE
41 | bus_MV_141_0_node_41 | 20 | n |  | TRUE
42 | bus_MV_141_0_node_39 | 20 | n |  | TRUE
43 | bus_MV_141_0_node_16 | 20 | n |  | TRUE
44 | bus_MV_141_0_node_18 | 20 | n |  | TRUE
45 | bus_MV_141_0_node_20 | 20 | n |  | TRUE
46 | bus_MV_141_0_node_113 | 20 | n |  | TRUE
47 | bus_MV_141_0_node_115 | 20 | n |  | TRUE
48 | bus_MV_141_0_node_56 | 20 | n |  | TRUE
49 | bus_MV_141_0_node_91 | 20 | n |  | TRUE
50 | bus_MV_141_0_node_63 | 20 | n |  | TRUE
51 | bus_MV_141_0_node_71 | 20 | n |  | TRUE
52 | bus_MV_141_0_node_48 | 20 | n |  | TRUE
53 | bus_MV_141_0_node_61 | 20 | n |  | TRUE
54 | bus_MV_141_0_node_21 | 20 | n |  | TRUE
55 | bus_MV_141_0_node_23 | 20 | n |  | TRUE
56 | bus_MV_141_0_node_22 | 20 | n |  | TRUE
57 | bus_MV_141_0_node_26 | 20 | n |  | TRUE
58 | bus_MV_141_0_node_24 | 20 | n |  | TRUE
59 | bus_MV_141_0_node_25 | 20 | n |  | TRUE
60 | bus_MV_141_0_node_125 | 20 | n |  | TRUE
61 | bus_MV_141_0_node_81 | 20 | n |  | TRUE
62 | bus_MV_141_0_node_82 | 20 | n |  | TRUE
63 | bus_MV_141_0_node_126 | 20 | n |  | TRUE
64 | bus_MV_141_0_node_27 | 20 | n |  | TRUE
65 | bus_MV_141_0_node_28 | 20 | n |  | TRUE
66 | bus_MV_141_0_node_29 | 20 | n |  | TRUE
67 | bus_MV_141_0_node_30 | 20 | n |  | TRUE
68 | bus_MV_141_0_node_68 | 20 | n |  | TRUE
69 | bus_MV_141_0_node_120 | 20 | n |  | TRUE
70 | bus_MV_141_0_node_95 | 20 | n |  | TRUE
71 | bus_MV_141_0_node_66 | 20 | n |  | TRUE
72 | bus_MV_141_0_node_96 | 20 | n |  | TRUE
73 | bus_MV_141_0_node_94 | 20 | n |  | TRUE
74 | bus_MV_141_0_node_119 | 20 | n |  | TRUE
75 | bus_MV_141_0_node_31 | 20 | n |  | TRUE
76 | bus_MV_141_0_node_33 | 20 | n |  | TRUE
77 | bus_MV_141_0_node_32 | 20 | n |  | TRUE
78 | bus_MV_141_0_node_36 | 20 | n |  | TRUE
79 | bus_MV_141_0_node_34 | 20 | n |  | TRUE
80 | bus_MV_141_0_node_35 | 20 | n |  | TRUE
81 | bus_MV_141_0_node_109 | 20 | n |  | TRUE
82 | bus_MV_141_0_node_37 | 20 | n |  | TRUE
83 | bus_MV_141_0_node_38 | 20 | n |  | TRUE
84 | bus_MV_141_0_node_105 | 20 | n |  | TRUE
85 | bus_MV_141_0_node_136 | 20 | n |  | TRUE
86 | bus_MV_141_0_node_43 | 20 | n |  | TRUE
87 | bus_MV_141_0_node_42 | 20 | n |  | TRUE
88 | bus_MV_141_0_node_45 | 20 | n |  | TRUE
89 | bus_MV_141_0_node_46 | 20 | n |  | TRUE
90 | bus_MV_141_0_node_44 | 20 | n |  | TRUE
91 | bus_MV_141_0_node_106 | 20 | n |  | TRUE
92 | bus_MV_141_0_node_97 | 20 | n |  | TRUE
93 | bus_MV_141_0_node_75 | 20 | n |  | TRUE
94 | bus_MV_141_0_node_129 | 20 | n |  | TRUE
95 | bus_MV_141_0_node_108 | 20 | n |  | TRUE
96 | bus_MV_141_0_node_130 | 20 | n |  | TRUE
97 | bus_MV_141_0_node_47 | 20 | n |  | TRUE
98 | bus_MV_141_0_node_124 | 20 | n |  | TRUE
99 | bus_MV_141_0_node_72 | 20 | n |  | TRUE
100 | bus_MV_141_0_node_50 | 20 | n |  | TRUE
101 | bus_MV_141_0_node_52 | 20 | n |  | TRUE
102 | bus_MV_141_0_node_55 | 20 | n |  | TRUE
103 | bus_MV_141_0_node_51 | 20 | n |  | TRUE
104 | bus_MV_141_0_node_53 | 20 | n |  | TRUE
105 | bus_MV_141_0_node_92 | 20 | n |  | TRUE
106 | bus_MV_141_0_node_86 | 20 | n |  | TRUE
107 | bus_MV_141_0_node_83 | 20 | n |  | TRUE
108 | bus_MV_141_0_node_127 | 20 | n |  | TRUE
109 | bus_MV_141_0_node_84 | 20 | n |  | TRUE
110 | bus_MV_141_0_node_85 | 20 | n |  | TRUE
111 | bus_MV_141_0_node_58 | 20 | n |  | TRUE
112 | bus_MV_141_0_node_62 | 20 | n |  | TRUE
113 | bus_MV_141_0_node_132 | 20 | n |  | TRUE
114 | bus_MV_141_0_node_114 | 20 | n |  | TRUE
115 | bus_MV_141_0_node_90 | 20 | n |  | TRUE
116 | bus_MV_141_0_node_64 | 20 | n |  | TRUE
117 | bus_MV_141_0_node_65 | 20 | n |  | TRUE
118 | bus_MV_141_0_node_67 | 20 | n |  | TRUE
119 | bus_MV_141_0_node_69 | 20 | n |  | TRUE
120 | bus_MV_141_0_node_128 | 20 | n |  | TRUE
121 | bus_MV_141_0_node_134 | 20 | n |  | TRUE
122 | bus_MV_141_0_node_77 | 20 | n |  | TRUE
123 | bus_MV_141_0_node_88 | 20 | n |  | TRUE
124 | bus_MV_141_0_node_121 | 20 | n |  | TRUE
125 | bus_MV_141_0_node_118 | 20 | n |  | TRUE
126 | bus_MV_141_0_node_131 | 20 | n |  | TRUE
127 | bus_MV_141_0_node_87 | 20 | n |  | TRUE
128 | bus_MV_141_0_node_117 | 20 | n |  | TRUE
129 | bus_MV_141_0_node_89 | 20 | n |  | TRUE
130 | bus_MV_141_0_node_107 | 20 | n |  | TRUE
131 | bus_HV_141_0_node_26 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_141_0_load_0 | 0 | 0.12773 | 0.061863 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_141_0_load_116 | 2 | 0.11035 | 0.053444 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_141_0_load_98 | 4 | 0.083074 | 0.040234 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_141_0_load_104 | 10 | 0.2073 | 0.1004 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_141_0_load_135 | 11 | 0.18516 | 0.089675 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_141_0_load_111 | 13 | 0.097201 | 0.047077 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_141_0_load_70 | 15 | 0.25956 | 0.12571 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_141_0_load_112 | 16 | 0.14083 | 0.068205 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_141_0_load_93 | 17 | 0.25855 | 0.12522 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_141_0_load_5 | 19 | 0.23815 | 0.11534 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_141_0_load_133 | 24 | 0.19408 | 0.093996 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_141_0_load_123 | 25 | 0.39625 | 0.19191 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_141_0_load_122 | 26 | 0.26223 | 0.12701 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_141_0_load_10 | 27 | 0.37478 | 0.18151 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_141_0_load_14 | 33 | 0.38977 | 0.18877 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_141_0_load_15 | 34 | 0.09003 | 0.043604 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_141_0_load_49 | 36 | 0.13313 | 0.064478 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_141_0_load_73 | 38 | 0.40018 | 0.19381 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_141_0_load_39 | 42 | 0.2019 | 0.097785 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_141_0_load_16 | 43 | 0.34494 | 0.16706 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_141_0_load_113 | 46 | 0.21153 | 0.10245 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_141_0_load_115 | 47 | 0.40475 | 0.19603 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_141_0_load_56 | 48 | 0.16478 | 0.079806 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_141_0_load_63 | 50 | 0.18005 | 0.087204 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_141_0_load_21 | 54 | 0.29124 | 0.14105 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_141_0_load_25 | 59 | 0.23461 | 0.11363 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_141_0_load_125 | 60 | 0.17127 | 0.082949 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_141_0_load_81 | 61 | 0.13197 | 0.063915 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_141_0_load_27 | 64 | 0.20062 | 0.097163 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_141_0_load_68 | 68 | 0.26209 | 0.12694 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_141_0_load_120 | 69 | 0.31499 | 0.15256 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_141_0_load_94 | 73 | 0.07941 | 0.03846 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_141_0_load_119 | 74 | 0.33601 | 0.16274 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_141_0_load_31 | 75 | 0.16606 | 0.080425 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_141_0_load_32 | 77 | 0.38134 | 0.18469 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_141_0_load_35 | 80 | 0.33838 | 0.16388 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_141_0_load_109 | 81 | 0.84315 | 0.40836 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_141_0_load_105 | 84 | 3.4638 | 1.6776 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_141_0_load_136 | 85 | 0.24595 | 0.11912 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_141_0_load_97 | 92 | 0.071727 | 0.034739 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_141_0_load_129 | 94 | 0.28338 | 0.13725 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_141_0_load_108 | 95 | 0.097249 | 0.0471 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_141_0_load_47 | 97 | 0.31592 | 0.15301 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_141_0_load_124 | 98 | 0.16393 | 0.079396 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_141_0_load_50 | 100 | 0.37846 | 0.1833 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_141_0_load_55 | 102 | 0.36781 | 0.17814 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_141_0_load_51 | 103 | 0.273 | 0.13222 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_141_0_load_92 | 105 | 0.16289 | 0.078893 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_141_0_load_127 | 108 | 0.06856 | 0.033205 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_141_0_load_132 | 113 | 0.25631 | 0.12414 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_141_0_load_64 | 116 | 0.25911 | 0.12549 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_141_0_load_69 | 119 | 0.095448 | 0.046228 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_141_0_load_128 | 120 | 0.23062 | 0.11169 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_141_0_load_134 | 121 | 0.16836 | 0.08154 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_141_0_load_77 | 122 | 0.30649 | 0.14844 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_141_0_load_88 | 123 | 0.073591 | 0.035642 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_141_0_load_121 | 124 | 0.083814 | 0.040593 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_141_0_load_118 | 125 | 0.35481 | 0.17184 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_141_0_load_131 | 126 | 0.086763 | 0.042021 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_141_0_load_117 | 128 | 0.14773 | 0.071547 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_141_0_load_89 | 129 | 0.20397 | 0.098785 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_141_0_line_0 |  | 0 | 1 | 0.26838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_141_0_line_1 |  | 0 | 2 | 0.080166 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_141_0_line_2 |  | 1 | 3 | 0.78437 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_141_0_line_3 |  | 2 | 8 | 0.066453 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_141_0_line_4 |  | 3 | 14 | 0.080294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_141_0_line_5 |  | 3 | 15 | 0.13093 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_141_0_line_6 |  | 4 | 5 | 0.03585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_141_0_line_7 |  | 4 | 6 | 0.045116 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_141_0_line_8 |  | 5 | 7 | 0.018599 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_141_0_line_9 |  | 5 | 8 | 0.05398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_141_0_line_10 |  | 6 | 9 | 0.067269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_141_0_line_11 |  | 7 | 10 | 0.007373 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_141_0_line_12 |  | 9 | 11 | 0.027059 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_141_0_line_13 |  | 10 | 12 | 0.051872 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_141_0_line_14 |  | 12 | 130 | 0.16655 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_141_0_line_15 |  | 12 | 13 | 0.03148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_141_0_line_16 |  | 14 | 16 | 0.10354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_141_0_line_17 |  | 17 | 18 | 0.0020782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_141_0_line_18 |  | 18 | 66 | 0.12911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_141_0_line_19 |  | 19 | 20 | 0.017665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_141_0_line_20 |  | 20 | 21 | 0.10884 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_141_0_line_21 |  | 20 | 22 | 0.14585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_141_0_line_22 |  | 20 | 23 | 0.26001 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_141_0_line_23 |  | 21 | 24 | 0.086426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_141_0_line_24 |  | 22 | 25 | 0.014612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_141_0_line_25 |  | 23 | 26 | 0.051494 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_141_0_line_26 |  | 23 | 27 | 0.098728 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_141_0_line_27 |  | 25 | 28 | 0.17384 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_141_0_line_28 |  | 26 | 29 | 0.053292 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_141_0_line_29 |  | 27 | 30 | 0.058264 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_141_0_line_30 |  | 28 | 122 | 0.081185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_141_0_line_31 |  | 29 | 108 | 0.023353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_141_0_line_32 |  | 29 | 104 | 0.13273 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_141_0_line_33 |  | 30 | 31 | 0.054677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_141_0_line_34 |  | 30 | 32 | 0.12255 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
35 | MV_141_0_line_35 |  | 31 | 33 | 0.054095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_141_0_line_36 |  | 31 | 34 | 0.035891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_141_0_line_37 |  | 32 | 38 | 0.007945 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
38 | MV_141_0_line_38 |  | 35 | 36 | 0.07805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_141_0_line_39 |  | 35 | 37 | 0.24511 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_141_0_line_40 |  | 36 | 51 | 0.094309 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_141_0_line_41 |  | 36 | 52 | 0.02558 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_141_0_line_42 |  | 37 | 43 | 0.020976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_141_0_line_43 |  | 38 | 39 | 0.024821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_141_0_line_44 |  | 38 | 40 | 0.12533 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
45 | MV_141_0_line_45 |  | 39 | 93 | 0.19686 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_141_0_line_46 |  | 40 | 41 | 0.092006 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_141_0_line_47 |  | 40 | 42 | 0.006933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_141_0_line_48 |  | 41 | 62 | 0.088285 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_141_0_line_49 |  | 41 | 59 | 0.041937 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
50 | MV_141_0_line_50 |  | 43 | 44 | 0.029014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_141_0_line_51 |  | 44 | 45 | 0.23426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_141_0_line_52 |  | 45 | 50 | 0.006847 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_141_0_line_53 |  | 46 | 47 | 0.026792 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_141_0_line_54 |  | 46 | 48 | 0.39934 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_141_0_line_55 |  | 46 | 49 | 0.0086899 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_141_0_line_56 |  | 48 | 111 | 0.032331 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_141_0_line_57 |  | 49 | 114 | 0.80755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_141_0_line_58 |  | 49 | 115 | 0.059911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_141_0_line_59 |  | 50 | 53 | 0.032414 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_141_0_line_60 |  | 51 | 99 | 0.86333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_141_0_line_61 |  | 52 | 97 | 0.18576 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_141_0_line_62 |  | 53 | 112 | 0.16627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_141_0_line_63 |  | 53 | 111 | 0.23177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_141_0_line_64 |  | 54 | 55 | 0.059649 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
65 | MV_141_0_line_65 |  | 54 | 56 | 0.084285 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
66 | MV_141_0_line_66 |  | 55 | 57 | 0.085891 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
67 | MV_141_0_line_67 |  | 56 | 58 | 0.050447 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
68 | MV_141_0_line_68 |  | 57 | 60 | 0.11186 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
69 | MV_141_0_line_69 |  | 58 | 59 | 0.035578 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
70 | MV_141_0_line_70 |  | 59 | 61 | 0.020247 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_141_0_line_71 |  | 60 | 63 | 0.051299 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
72 | MV_141_0_line_72 |  | 62 | 74 | 0.00391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_141_0_line_73 |  | 63 | 96 | 0.47571 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
74 | MV_141_0_line_74 |  | 64 | 65 | 0.094313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_141_0_line_75 |  | 65 | 66 | 0.38461 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_141_0_line_76 |  | 65 | 67 | 0.34947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_141_0_line_77 |  | 66 | 68 | 0.018758 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_141_0_line_78 |  | 67 | 69 | 0.030264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_141_0_line_79 |  | 67 | 70 | 0.050854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_141_0_line_80 |  | 68 | 71 | 0.028756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_141_0_line_81 |  | 70 | 72 | 0.088544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_141_0_line_82 |  | 70 | 73 | 0.020612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_141_0_line_83 |  | 71 | 119 | 0.025365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_141_0_line_84 |  | 71 | 117 | 0.037219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_141_0_line_85 |  | 72 | 74 | 0.065081 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_141_0_line_86 |  | 75 | 76 | 0.024653 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_141_0_line_87 |  | 75 | 77 | 0.036448 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_141_0_line_88 |  | 76 | 78 | 0.067627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_141_0_line_89 |  | 77 | 79 | 0.031559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_141_0_line_90 |  | 78 | 81 | 0.023856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_141_0_line_91 |  | 79 | 80 | 0.053783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_141_0_line_92 |  | 80 | 86 | 0.047141 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
93 | MV_141_0_line_93 |  | 80 | 87 | 0.05102 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
94 | MV_141_0_line_94 |  | 82 | 83 | 0.065393 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
95 | MV_141_0_line_95 |  | 82 | 84 | 0.092289 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
96 | MV_141_0_line_96 |  | 83 | 85 | 0.006635 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
97 | MV_141_0_line_97 |  | 84 | 91 | 0.10398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_141_0_line_98 |  | 85 | 92 | 0.095336 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
99 | MV_141_0_line_99 |  | 86 | 88 | 0.007394 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
100 | MV_141_0_line_100 |  | 86 | 89 | 0.010975 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_141_0_line_101 |  | 87 | 90 | 0.33318 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
102 | MV_141_0_line_102 |  | 88 | 92 | 0.032715 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
103 | MV_141_0_line_103 |  | 89 | 95 | 0.031191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_141_0_line_104 |  | 90 | 94 | 0.016652 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
105 | MV_141_0_line_105 |  | 91 | 130 | 0.097987 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_141_0_line_106 |  | 93 | 98 | 0.003352 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_141_0_line_107 |  | 94 | 96 | 0.003786 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
108 | MV_141_0_line_108 |  | 97 | 98 | 0.13043 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
109 | MV_141_0_line_109 |  | 99 | 121 | 0.03167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_141_0_line_110 |  | 100 | 101 | 0.03264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_141_0_line_111 |  | 101 | 102 | 0.10049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_141_0_line_112 |  | 102 | 107 | 0.091279 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_141_0_line_113 |  | 103 | 104 | 0.070037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_141_0_line_114 |  | 103 | 105 | 0.15017 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
115 | MV_141_0_line_115 |  | 105 | 106 | 0.10255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_141_0_line_116 |  | 106 | 107 | 0.26277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_141_0_line_117 |  | 107 | 109 | 0.27059 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_141_0_line_118 |  | 107 | 110 | 0.16041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_141_0_line_119 |  | 109 | 125 | 0.020916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_141_0_line_120 |  | 110 | 126 | 0.033854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
121 | MV_141_0_line_121 |  | 110 | 127 | 0.60316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
122 | MV_141_0_line_122 |  | 112 | 113 | 0.071022 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
123 | MV_141_0_line_123 |  | 114 | 124 | 0.061644 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
124 | MV_141_0_line_124 |  | 114 | 123 | 0.73175 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
125 | MV_141_0_line_125 |  | 115 | 129 | 0.018373 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
126 | MV_141_0_line_126 |  | 116 | 117 | 0.059813 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
127 | MV_141_0_line_127 |  | 117 | 118 | 0.13682 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
128 | MV_141_0_line_128 |  | 118 | 120 | 0.02438 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
129 | MV_141_0_line_129 |  | 127 | 128 | 0.12395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_141_0_trafo_26 | 25 MVA 110/20 kV | 131 | 57 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2662128.3544 | 1195249.4741
1 | 2661937.7797 | 1195396.9955
2 | 2662203.9501 | 1195276.1565
3 | 2662260.4081 | 1196079.253
4 | 2662251.9028 | 1195220.8873
5 | 2662228.6442 | 1195193.6059
6 | 2662283.3322 | 1195252.6315
7 | 2662219.2441 | 1195177.9991
8 | 2662212.3432 | 1195229.7686
9 | 2662310.6902 | 1195295.3857
10 | 2662222.4055 | 1195171.4726
11 | 2662294.577 | 1195317.1529
12 | 2662262.4619 | 1195138.5145
13 | 2662282.2776 | 1195162.9753
14 | 2662314.4172 | 1196029.3417
15 | 2662161.5955 | 1196165.1535
16 | 2662379.7553 | 1196109.6604
17 | 2661684.7053 | 1195007.5534
18 | 2661683.7044 | 1195005.7322
19 | 2661665.0171 | 1193799.7839
20 | 2661665.5374 | 1193782.5793
21 | 2661664.6516 | 1193702.1569
22 | 2661795.1358 | 1193715.6771
23 | 2661617.4363 | 1194006.2914
24 | 2661695.3021 | 1193717.2259
25 | 2661805.3576 | 1193705.2099
26 | 2661640.3654 | 1194052.3987
27 | 2661534.3742 | 1194059.6566
28 | 2661951.6258 | 1193611.2565
29 | 2661693.1834 | 1194045.3054
30 | 2661476.2863 | 1194064.1846
31 | 2661463.6028 | 1194011.0012
32 | 2661499.8499 | 1194183.5625
33 | 2661410.8352 | 1194023.5669
34 | 2661455.1378 | 1193976.123
35 | 2660944.3789 | 1194077.1077
36 | 2660972.1933 | 1194148.3322
37 | 2660879.5128 | 1193846.8921
38 | 2661500.0731 | 1194191.5028
39 | 2661478.5051 | 1194202.7321
40 | 2661622.4436 | 1194218.5661
41 | 2661589.7703 | 1194303.9682
42 | 2661625.1159 | 1194212.1676
43 | 2660867.4011 | 1193831.3154
44 | 2660859.8016 | 1193803.7111
45 | 2660892.5255 | 1193651.9117
46 | 2661445.3103 | 1193533.3937
47 | 2661465.8644 | 1193550.5799
48 | 2661064.0297 | 1193652.1146
49 | 2661445.0716 | 1193524.707
50 | 2660893.3492 | 1193645.1161
51 | 2660891.1604 | 1194101.9582
52 | 2660997.7607 | 1194149.1376
53 | 2660896.6269 | 1193612.8753
54 | 2661754.228 | 1194375.2154
55 | 2661745.7319 | 1194434.1953
56 | 2661669.9989 | 1194372.145
57 | 2661715.2708 | 1194497.151
58 | 2661664.668 | 1194322.2834
59 | 2661630.5081 | 1194313.9259
60 | 2661794.7463 | 1194575.8724
61 | 2661626.526 | 1194333.7773
62 | 2661557.6215 | 1194377.002
63 | 2661844.0858 | 1194561.3403
64 | 2661788.105 | 1194771.7287
65 | 2661698.1688 | 1194800.9289
66 | 2661593.0717 | 1194984.5752
67 | 2661549.186 | 1194538.3978
68 | 2661589.2936 | 1195002.947
69 | 2661551.1538 | 1194568.5912
70 | 2661535.4815 | 1194494.2535
71 | 2661582.529 | 1195030.8936
72 | 2661551.1383 | 1194445.6863
73 | 2661514.8847 | 1194493.4621
74 | 2661557.2081 | 1194380.8889
75 | 2662057.3025 | 1194857.3752
76 | 2662070.8502 | 1194877.9944
77 | 2662024.2559 | 1194842.0017
78 | 2662111.4745 | 1194932.0585
79 | 2661999.1617 | 1194822.8636
80 | 2661956.8965 | 1194789.4731
81 | 2662124.4488 | 1194952.0784
82 | 2661941.6059 | 1194979.014
83 | 2661928.5206 | 1194925.4919
84 | 2662001.377 | 1195049.333
85 | 2661925.2582 | 1194919.7103
86 | 2661914.3169 | 1194809.9555
87 | 2661992.118 | 1194752.5609
88 | 2661917.3484 | 1194816.7019
89 | 2661908.4388 | 1194800.6781
90 | 2662033.7353 | 1194524.4261
91 | 2662068.7221 | 1195128.5626
92 | 2661888.3334 | 1194831.8153
93 | 2661295.3381 | 1194225.1664
94 | 2662047.4289 | 1194514.907
95 | 2661893.0417 | 1194773.5522
96 | 2662050.1161 | 1194512.2333
97 | 2661161.9062 | 1194230.1078
98 | 2661292.2905 | 1194226.5804
99 | 2660542.5653 | 1194290.1528
100 | 2661965.5676 | 1194003.9398
101 | 2661988.8253 | 1194026.9051
102 | 2662065.4195 | 1194089.0683
103 | 2661843.933 | 1194114.7349
104 | 2661789.9107 | 1194073.931
105 | 2661815.5684 | 1194262.2003
106 | 2661912.0039 | 1194296.5109
107 | 2662046.5176 | 1194178.1463
108 | 2661693.1118 | 1194021.9578
109 | 2662000.3702 | 1194365.1878
110 | 2662170.4496 | 1194228.5617
111 | 2661041.0912 | 1193629.4898
112 | 2660884.2457 | 1193472.4682
113 | 2660838.5872 | 1193526.8687
114 | 2661535.872 | 1193006.4066
115 | 2661497.2143 | 1193510.3342
116 | 2661634.1998 | 1195080.2988
117 | 2661575.7745 | 1195067.4899
118 | 2661480.3238 | 1195137.7826
119 | 2661557.1649 | 1195030.6893
120 | 2661461.2633 | 1195152.9845
121 | 2660536.0333 | 1194321.138
122 | 2662000.4392 | 1193676.2219
123 | 2662078.7599 | 1192515.764
124 | 2661570.8084 | 1193057.1952
125 | 2661982.9512 | 1194360.6158
126 | 2662137.0673 | 1194234.7408
127 | 2662673.0152 | 1194412.7997
128 | 2662570.5798 | 1194405.5013
129 | 2661490.4804 | 1193495.0651
130 | 2662123.2565 | 1195047.07
131 | 2661715.2708 | 1194497.151

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99538 | -0.075033 | 0.12773 | 0.061863
1 | 0.99524 | -0.074188 | 0 | 0
2 | 0.99546 | -0.074314 | 0.11035 | 0.053444
3 | 0.99485 | -0.071088 | 0 | 0
4 | 0.99554 | -0.074895 | 0.083074 | 0.040234
5 | 0.99556 | -0.075003 | 0 | 0
6 | 0.99553 | -0.074803 | 0 | 0
7 | 0.99558 | -0.075163 | 0 | 0
8 | 0.99551 | -0.074697 | 0 | 0
9 | 0.99552 | -0.074659 | 0 | 0
10 | 0.99559 | -0.075226 | 0.2073 | 0.1004
11 | 0.99551 | -0.074599 | 0.18516 | 0.089675
12 | 0.9957 | -0.074356 | 0 | 0
13 | 0.99569 | -0.074319 | 0.097201 | 0.047077
14 | 0.99483 | -0.070969 | 0 | 0
15 | 0.99478 | -0.071504 | 0.25956 | 0.12571
16 | 0.99481 | -0.070801 | 0.14083 | 0.068205
17 | 0.99651 | -0.036755 | 0.25855 | 0.12522
18 | 0.99651 | -0.036761 | 0 | 0
19 | 0.99591 | -0.092411 | 0.23815 | 0.11534
20 | 0.99592 | -0.092461 | 0 | 0
21 | 0.99589 | -0.09223 | 0 | 0
22 | 0.99579 | -0.091264 | 0 | 0
23 | 0.99629 | -0.095785 | 0 | 0
24 | 0.99587 | -0.092033 | 0.19408 | 0.093996
25 | 0.99577 | -0.091143 | 0.39625 | 0.19191
26 | 0.99609 | -0.097319 | 0.26223 | 0.12701
27 | 0.99691 | -0.091337 | 0.37478 | 0.18151
28 | 0.99567 | -0.091822 | 0 | 0
29 | 0.9959 | -0.098736 | 0 | 0
30 | 0.99732 | -0.088448 | 0 | 0
31 | 0.99728 | -0.088143 | 0 | 0
32 | 0.99759 | -0.085425 | 0 | 0
33 | 0.99726 | -0.087891 | 0.38977 | 0.18877
34 | 0.99728 | -0.088105 | 0.09003 | 0.043604
35 | 0.99536 | -0.079241 | 0 | 0
36 | 0.99555 | -0.080818 | 0.13313 | 0.064478
37 | 0.99476 | -0.074222 | 0 | 0
38 | 0.9976 | -0.085378 | 0.40018 | 0.19381
39 | 0.99751 | -0.084698 | 0 | 0
40 | 0.9982 | -0.050921 | 0 | 0
41 | 0.99842 | -0.049916 | 0 | 0
42 | 0.9982 | -0.050904 | 0.2019 | 0.097785
43 | 0.99471 | -0.073788 | 0.34494 | 0.16706
44 | 0.99465 | -0.073308 | 0 | 0
45 | 0.99418 | -0.06938 | 0 | 0
46 | 0.99297 | -0.071109 | 0.21153 | 0.10245
47 | 0.99295 | -0.071242 | 0.40475 | 0.19603
48 | 0.99373 | -0.065562 | 0.16478 | 0.079806
49 | 0.99297 | -0.071083 | 0 | 0
50 | 0.99417 | -0.069264 | 0.18005 | 0.087204
51 | 0.99554 | -0.080762 | 0 | 0
52 | 0.99566 | -0.079965 | 0 | 0
53 | 0.99411 | -0.068783 | 0 | 0
54 | 0.99952 | -0.0021285 | 0.29124 | 0.14105
55 | 0.99972 | -0.0012582 | 0 | 0
56 | 0.99897 | -0.033595 | 0 | 0
57 | 1 | 0 | -17.4386 | -8.1449
58 | 0.9988 | -0.034317 | 0 | 0
59 | 0.99869 | -0.034825 | 0.23461 | 0.11363
60 | 0.99945 | -0.03089 | 0.17127 | 0.082949
61 | 0.99869 | -0.034793 | 0.13197 | 0.063915
62 | 0.9982 | -0.047951 | 0 | 0
63 | 0.99933 | -0.031398 | 0 | 0
64 | 0.99707 | -0.041714 | 0.20062 | 0.097163
65 | 0.9971 | -0.041935 | 0 | 0
66 | 0.99656 | -0.03715 | 0 | 0
67 | 0.99768 | -0.046875 | 0 | 0
68 | 0.99654 | -0.036965 | 0.26209 | 0.12694
69 | 0.99767 | -0.046761 | 0.31499 | 0.15256
70 | 0.99778 | -0.047768 | 0 | 0
71 | 0.99651 | -0.036772 | 0 | 0
72 | 0.99797 | -0.049395 | 0 | 0
73 | 0.99778 | -0.047749 | 0.07941 | 0.03846
74 | 0.99819 | -0.047864 | 0.33601 | 0.16274
75 | 0.99698 | -0.051442 | 0.16606 | 0.080425
76 | 0.99695 | -0.051196 | 0 | 0
77 | 0.99705 | -0.050986 | 0.38134 | 0.18469
78 | 0.99688 | -0.050515 | 0 | 0
79 | 0.99711 | -0.051508 | 0 | 0
80 | 0.9972 | -0.052393 | 0.33838 | 0.16388
81 | 0.99685 | -0.050274 | 0.84315 | 0.40836
82 | 0.99663 | -0.071255 | 0 | 0
83 | 0.99673 | -0.07085 | 0 | 0
84 | 0.99639 | -0.07378 | 3.4638 | 1.6776
85 | 0.99674 | -0.070809 | 0.24595 | 0.11912
86 | 0.99712 | -0.052712 | 0 | 0
87 | 0.99744 | -0.039187 | 0 | 0
88 | 0.99711 | -0.05276 | 0 | 0
89 | 0.99712 | -0.052699 | 0 | 0
90 | 0.99818 | -0.036195 | 0 | 0
91 | 0.99623 | -0.072538 | 0 | 0
92 | 0.99706 | -0.052976 | 0.071727 | 0.034739
93 | 0.99684 | -0.07927 | 0 | 0
94 | 0.99822 | -0.036043 | 0.28338 | 0.13725
95 | 0.99712 | -0.052664 | 0.097249 | 0.0471
96 | 0.99823 | -0.036007 | 0 | 0
97 | 0.99619 | -0.084076 | 0.31592 | 0.15301
98 | 0.99682 | -0.079177 | 0.16393 | 0.079396
99 | 0.99535 | -0.079616 | 0 | 0
100 | 0.99424 | -0.091892 | 0.37846 | 0.1833
101 | 0.99425 | -0.09204 | 0 | 0
102 | 0.9943 | -0.092488 | 0.36781 | 0.17814
103 | 0.99544 | -0.094987 | 0.273 | 0.13222
104 | 0.9956 | -0.09629 | 0 | 0
105 | 0.99501 | -0.098287 | 0.16289 | 0.078893
106 | 0.99484 | -0.096905 | 0 | 0
107 | 0.99439 | -0.093287 | 0 | 0
108 | 0.9959 | -0.098717 | 0.06856 | 0.033205
109 | 0.99427 | -0.09219 | 0 | 0
110 | 0.99434 | -0.093038 | 0 | 0
111 | 0.99377 | -0.065962 | 0 | 0
112 | 0.99406 | -0.068289 | 0 | 0
113 | 0.99402 | -0.068512 | 0.25631 | 0.12414
114 | 0.99281 | -0.070086 | 0 | 0
115 | 0.99295 | -0.07094 | 0 | 0
116 | 0.99646 | -0.03675 | 0.25911 | 0.12549
117 | 0.99649 | -0.036562 | 0 | 0
118 | 0.99645 | -0.036196 | 0 | 0
119 | 0.99651 | -0.036744 | 0.095448 | 0.046228
120 | 0.99644 | -0.036264 | 0.23062 | 0.11169
121 | 0.99535 | -0.079552 | 0.16836 | 0.08154
122 | 0.99564 | -0.091527 | 0.30649 | 0.14844
123 | 0.99271 | -0.070773 | 0.073591 | 0.035642
124 | 0.9928 | -0.070149 | 0.083814 | 0.040593
125 | 0.99426 | -0.0921 | 0.35481 | 0.17184
126 | 0.99434 | -0.093003 | 0.086763 | 0.042021
127 | 0.99423 | -0.09235 | 0 | 0
128 | 0.99421 | -0.09214 | 0.14773 | 0.071547
129 | 0.99295 | -0.070894 | 0.20397 | 0.098785
130 | 0.99608 | -0.071353 | 0 | 0
131 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.40063 | 0.1646 | -0.40058 | -0.17094 | 5.6852e-05 | -0.0063311 | 0.012561 | 0.012633 | 0.012633 | 0.99538 | -0.075033 | 0.99524 | -0.074188 | 5.7421
1 | -0.52836 | -0.22647 | 0.5284 | 0.2264 | 3.9697e-05 | -6.9964e-05 | 0.016672 | 0.016671 | 0.016672 | 0.99538 | -0.075033 | 0.99546 | -0.074314 | 7.9389
2 | 0.40058 | 0.17094 | -0.40041 | -0.18943 | 0.00016997 | -0.018492 | 0.012633 | 0.012853 | 0.012853 | 0.99524 | -0.074188 | 0.99485 | -0.071088 | 5.8424
3 | -0.63875 | -0.27984 | 0.63879 | 0.27828 | 3.6249e-05 | -0.0015616 | 0.020223 | 0.020205 | 0.020223 | 0.99546 | -0.074314 | 0.99551 | -0.074697 | 9.1923
4 | 0.14083 | 0.063862 | -0.14083 | -0.065759 | 2.1692e-06 | -0.0018967 | 0.004487 | 0.00451 | 0.00451 | 0.99485 | -0.071088 | 0.99483 | -0.070969 | 2.05
5 | 0.25958 | 0.12557 | -0.25956 | -0.12571 | 1.6335e-05 | -0.00014446 | 0.0083671 | 0.0083691 | 0.0083691 | 0.99485 | -0.071088 | 0.99478 | -0.071504 | 3.9853
6 | -0.26824 | -0.12661 | 0.26824 | 0.12576 | 3.5361e-06 | -0.00084731 | 0.0086009 | 0.0085904 | 0.0086009 | 0.99554 | -0.074895 | 0.99556 | -0.075003 | 3.9095
7 | 0.18516 | 0.086377 | -0.18516 | -0.087444 | 2.1188e-06 | -0.001067 | 0.0059246 | 0.0059377 | 0.0059377 | 0.99554 | -0.074895 | 0.99553 | -0.074803 | 2.699
8 | -0.90706 | -0.40278 | 0.90708 | 0.40234 | 2.0559e-05 | -0.00043405 | 0.028778 | 0.028773 | 0.028778 | 0.99556 | -0.075003 | 0.99558 | -0.075163 | 13.0808
9 | 0.63882 | 0.27701 | -0.63879 | -0.27828 | 2.9397e-05 | -0.0012686 | 0.02019 | 0.020205 | 0.020205 | 0.99556 | -0.075003 | 0.99551 | -0.074697 | 9.184
10 | 0.18516 | 0.087444 | -0.18516 | -0.089035 | 3.1768e-06 | -0.0015908 | 0.0059377 | 0.0059576 | 0.0059576 | 0.99553 | -0.074803 | 0.99552 | -0.074659 | 2.708
11 | -0.90708 | -0.40234 | 0.90709 | 0.40217 | 8.1481e-06 | -0.00017207 | 0.028773 | 0.028771 | 0.028773 | 0.99558 | -0.075163 | 0.99559 | -0.075226 | 13.0785
12 | 0.18516 | 0.089035 | -0.18516 | -0.089675 | 1.2839e-06 | -0.0006399 | 0.0059576 | 0.0059657 | 0.0059657 | 0.99552 | -0.074659 | 0.99551 | -0.074599 | 2.7117
13 | -1.1144 | -0.50257 | 1.1145 | 0.50258 | 0.00011612 | 1.1345e-05 | 0.035446 | 0.035445 | 0.035446 | 0.99559 | -0.075226 | 0.9957 | -0.074356 | 16.8791
14 | -1.2117 | -0.54891 | 1.2121 | 0.54899 | 0.00044135 | 7.9247e-05 | 0.038567 | 0.038564 | 0.038567 | 0.9957 | -0.074356 | 0.99608 | -0.071353 | 18.365
15 | 0.097202 | 0.046332 | -0.097201 | -0.047077 | 4.1081e-07 | -0.00074504 | 0.0031219 | 0.0031312 | 0.0031312 | 0.9957 | -0.074356 | 0.99569 | -0.074319 | 1.4233
16 | 0.14083 | 0.065759 | -0.14083 | -0.068205 | 2.8304e-06 | -0.0024457 | 0.00451 | 0.0045405 | 0.0045405 | 0.99483 | -0.070969 | 0.99481 | -0.070801 | 2.0639
17 | -0.25855 | -0.12522 | 0.25855 | 0.12517 | 1.9207e-07 | -4.9216e-05 | 0.0083221 | 0.0083214 | 0.0083221 | 0.99651 | -0.036755 | 0.99651 | -0.036761 | 3.7828
18 | -0.25855 | -0.12517 | 0.25856 | 0.12212 | 1.188e-05 | -0.0030577 | 0.0083214 | 0.0082832 | 0.0083214 | 0.99651 | -0.036761 | 0.99656 | -0.03715 | 3.7825
19 | -0.23815 | -0.11534 | 0.23816 | 0.11493 | 1.3864e-06 | -0.00041792 | 0.0076701 | 0.0076649 | 0.0076701 | 0.99591 | -0.092411 | 0.99592 | -0.092461 | 3.4864
20 | 0.19409 | 0.089375 | -0.19408 | -0.091951 | 5.6022e-06 | -0.0025758 | 0.0061936 | 0.0062252 | 0.0062252 | 0.99592 | -0.092461 | 0.99589 | -0.09223 | 2.8296
21 | 0.70289 | 0.33448 | -0.70279 | -0.3379 | 9.9314e-05 | -0.003424 | 0.022563 | 0.022606 | 0.022606 | 0.99592 | -0.092461 | 0.99579 | -0.091264 | 10.2755
22 | -1.1351 | -0.53878 | 1.1356 | 0.53276 | 0.00045948 | -0.0060236 | 0.036421 | 0.036345 | 0.036421 | 0.99592 | -0.092461 | 0.99629 | -0.095785 | 16.5549
23 | 0.19408 | 0.091951 | -0.19408 | -0.093996 | 4.4896e-06 | -0.0020452 | 0.0062252 | 0.0062508 | 0.0062508 | 0.99589 | -0.09223 | 0.99587 | -0.092033 | 2.8413
24 | 0.70279 | 0.3379 | -0.70278 | -0.33825 | 9.9708e-06 | -0.00034298 | 0.022606 | 0.022611 | 0.022611 | 0.99579 | -0.091264 | 0.99577 | -0.091143 | 10.2775
25 | 2.1055 | 0.97138 | -2.1051 | -0.97118 | 0.00041416 | 0.00019841 | 0.067187 | 0.067188 | 0.067188 | 0.99629 | -0.095785 | 0.99609 | -0.097319 | 31.9943
26 | -3.2411 | -1.5041 | 3.243 | 1.5052 | 0.0018854 | 0.0010639 | 0.10353 | 0.10353 | 0.10353 | 0.99629 | -0.095785 | 0.99691 | -0.091337 | 49.3007
27 | 0.30653 | 0.14633 | -0.3065 | -0.14652 | 3.0041e-05 | -0.00018695 | 0.009847 | 0.0098496 | 0.0098496 | 0.99577 | -0.091143 | 0.99567 | -0.091822 | 4.6903
28 | 1.8429 | 0.84418 | -1.8426 | -0.84403 | 0.00032768 | 0.00014214 | 0.058746 | 0.058746 | 0.058746 | 0.99609 | -0.097319 | 0.9959 | -0.098736 | 27.9745
29 | -3.6178 | -1.6867 | 3.6192 | 1.6875 | 0.0013869 | 0.00079956 | 0.11559 | 0.11559 | 0.11559 | 0.99691 | -0.091337 | 0.99732 | -0.088448 | 55.0414
30 | 0.3065 | 0.14652 | -0.30649 | -0.14844 | 1.054e-05 | -0.0019184 | 0.0098496 | 0.0098737 | 0.0098737 | 0.99567 | -0.091822 | 0.99564 | -0.091527 | 4.4881
31 | 0.06856 | 0.032652 | -0.06856 | -0.033205 | 1.5152e-07 | -0.00055297 | 0.0022012 | 0.0022081 | 0.0022081 | 0.9959 | -0.098736 | 0.9959 | -0.098717 | 1.0037
32 | 1.774 | 0.81138 | -1.7734 | -0.81436 | 0.00056693 | -0.002974 | 0.056545 | 0.056583 | 0.056583 | 0.9959 | -0.098736 | 0.9956 | -0.09629 | 25.7197
33 | 0.47983 | 0.22895 | -0.47981 | -0.23024 | 1.7304e-05 | -0.0012933 | 0.015389 | 0.015405 | 0.015405 | 0.99732 | -0.088448 | 0.99728 | -0.088143 | 7.0023
34 | -4.099 | -1.9165 | 4.1 | 1.913 | 0.001015 | -0.0034452 | 0.13097 | 0.13092 | 0.13097 | 0.99732 | -0.088448 | 0.99759 | -0.085425 | 36.1807
35 | 0.38978 | 0.18749 | -0.38977 | -0.18877 | 1.1335e-05 | -0.0012812 | 0.01252 | 0.012536 | 0.012536 | 0.99728 | -0.088143 | 0.99726 | -0.087891 | 5.6983
36 | 0.090031 | 0.042751 | -0.09003 | -0.043604 | 4.0025e-07 | -0.00085216 | 0.0028849 | 0.0028956 | 0.0028956 | 0.99728 | -0.088143 | 0.99728 | -0.088105 | 1.3162
37 | -4.1 | -1.913 | 4.1001 | 1.9125 | 4.2079e-05 | -0.0004731 | 0.13092 | 0.13092 | 0.13092 | 0.99759 | -0.085425 | 0.9976 | -0.085378 | 20.5208
38 | -1.9273 | -0.88685 | 1.9277 | 0.88512 | 0.00039434 | -0.0017297 | 0.06153 | 0.061508 | 0.06153 | 0.99536 | -0.079241 | 0.99555 | -0.080818 | 27.9682
39 | 1.9273 | 0.88685 | -1.9261 | -0.89228 | 0.0012402 | -0.0054266 | 0.06153 | 0.0616 | 0.0616 | 0.99536 | -0.079241 | 0.99476 | -0.074222 | 28.0002
40 | 0.1684 | 0.058144 | -0.16839 | -0.060375 | 3.3736e-06 | -0.0022307 | 0.0051657 | 0.0051872 | 0.0051872 | 0.99555 | -0.080818 | 0.99554 | -0.080762 | 2.3578
41 | -2.2292 | -1.0077 | 2.2295 | 1.0079 | 0.00022935 | 0.00011339 | 0.070938 | 0.070938 | 0.070938 | 0.99555 | -0.080818 | 0.99566 | -0.079965 | 33.78
42 | 1.9261 | 0.89228 | -1.926 | -0.89274 | 0.00010627 | -0.00046405 | 0.0616 | 0.061606 | 0.061606 | 0.99476 | -0.074222 | 0.99471 | -0.073788 | 28.0029
43 | 2.7143 | 1.2324 | -2.7141 | -1.2329 | 0.00024658 | -0.00051659 | 0.086261 | 0.086268 | 0.086268 | 0.9976 | -0.085378 | 0.99751 | -0.084698 | 39.2128
44 | -7.2146 | -3.3387 | 7.2169 | 3.3449 | 0.0023676 | 0.0061943 | 0.23004 | 0.23004 | 0.23004 | 0.9976 | -0.085378 | 0.9982 | -0.050921 | 35.6651
45 | 2.7141 | 1.2329 | -2.7121 | -1.237 | 0.0019571 | -0.0040932 | 0.086268 | 0.086324 | 0.086324 | 0.99751 | -0.084698 | 0.99684 | -0.07927 | 39.2383
46 | -7.4188 | -3.4425 | 7.4204 | 3.4377 | 0.00159 | -0.0048661 | 0.23652 | 0.23645 | 0.23652 | 0.9982 | -0.050921 | 0.99842 | -0.049916 | 37.0725
47 | 0.2019 | 0.09762 | -0.2019 | -0.097785 | 3.8943e-07 | -0.00016482 | 0.0064855 | 0.0064876 | 0.0064876 | 0.9982 | -0.050921 | 0.9982 | -0.050904 | 2.9489
48 | 2.0398 | 0.95195 | -2.0393 | -0.9539 | 0.00049943 | -0.0019526 | 0.065083 | 0.065108 | 0.065108 | 0.99842 | -0.049916 | 0.9982 | -0.047951 | 29.5947
49 | -9.4602 | -4.3896 | 9.4616 | 4.3932 | 0.0013613 | 0.0036027 | 0.30153 | 0.30153 | 0.30153 | 0.99842 | -0.049916 | 0.99869 | -0.034825 | 46.7496
50 | 1.581 | 0.72568 | -1.5809 | -0.72634 | 9.8741e-05 | -0.0006561 | 0.050486 | 0.050494 | 0.050494 | 0.99471 | -0.073788 | 0.99465 | -0.073308 | 22.9518
51 | 1.5809 | 0.72634 | -1.5801 | -0.73163 | 0.00079841 | -0.005294 | 0.050494 | 0.050561 | 0.050561 | 0.99465 | -0.073308 | 0.99418 | -0.06938 | 22.9824
52 | 1.5801 | 0.73163 | -1.5801 | -0.73178 | 2.3369e-05 | -0.00015465 | 0.050561 | 0.050563 | 0.050563 | 0.99418 | -0.06938 | 0.99417 | -0.069264 | 22.9833
53 | 0.40476 | 0.196 | -0.40475 | -0.19603 | 8.1599e-06 | -2.6425e-05 | 0.013074 | 0.013075 | 0.013075 | 0.99297 | -0.071109 | 0.99295 | -0.071242 | 6.226
54 | -0.9777 | -0.4515 | 0.9784 | 0.45146 | 0.00069727 | -3.3663e-05 | 0.031308 | 0.031302 | 0.031308 | 0.99297 | -0.071109 | 0.99373 | -0.065562 | 14.9085
55 | 0.36141 | 0.15305 | -0.36141 | -0.15325 | 1.5107e-06 | -0.00020413 | 0.01141 | 0.011412 | 0.011412 | 0.99297 | -0.071109 | 0.99297 | -0.071083 | 5.1875
56 | -1.1432 | -0.53127 | 1.1432 | 0.53053 | 5.7866e-05 | -0.00074516 | 0.03662 | 0.036611 | 0.03662 | 0.99373 | -0.065562 | 0.99377 | -0.065962 | 16.6455
57 | 0.15744 | 0.056306 | -0.15741 | -0.075306 | 2.6531e-05 | -0.019 | 0.004861 | 0.0050738 | 0.0050738 | 0.99297 | -0.071083 | 0.99281 | -0.070086 | 2.3063
58 | 0.20397 | 0.096944 | -0.20397 | -0.098353 | 3.4569e-06 | -0.0014094 | 0.0065655 | 0.0065832 | 0.0065832 | 0.99297 | -0.071083 | 0.99295 | -0.07094 | 2.9924
59 | 1.4001 | 0.64458 | -1.4 | -0.64532 | 8.6694e-05 | -0.00073916 | 0.044755 | 0.044764 | 0.044764 | 0.99417 | -0.069264 | 0.99411 | -0.068783 | 20.3475
60 | 0.16839 | 0.060375 | -0.16836 | -0.080791 | 3.2308e-05 | -0.020416 | 0.0051872 | 0.0054159 | 0.0054159 | 0.99554 | -0.080762 | 0.99535 | -0.079616 | 2.4618
61 | -2.2295 | -1.0079 | 2.2307 | 1.0038 | 0.001247 | -0.0040294 | 0.070938 | 0.070885 | 0.070938 | 0.99566 | -0.079965 | 0.99619 | -0.084076 | 32.2444
62 | 0.25633 | 0.12014 | -0.25632 | -0.12406 | 1.5089e-05 | -0.0039186 | 0.0082205 | 0.0082695 | 0.0082695 | 0.99411 | -0.068783 | 0.99406 | -0.068289 | 3.7588
63 | 1.1437 | 0.52518 | -1.1432 | -0.53053 | 0.00041397 | -0.0053442 | 0.036544 | 0.036611 | 0.036611 | 0.99411 | -0.068783 | 0.99377 | -0.065962 | 16.6412
64 | -10.125 | -4.7152 | 10.1269 | 4.7126 | 0.0019176 | -0.0026652 | 0.32258 | 0.32253 | 0.32258 | 0.99952 | -0.0021285 | 0.99972 | -0.0012582 | 50.5608
65 | 9.8337 | 4.5742 | -9.8308 | -4.5663 | 0.0029523 | 0.0078225 | 0.31323 | 0.31323 | 0.31323 | 0.99952 | -0.0021285 | 0.99897 | -0.033595 | 48.5635
66 | -10.1269 | -4.7126 | 10.1296 | 4.7087 | 0.0027603 | -0.0038408 | 0.32253 | 0.32247 | 0.32253 | 0.99972 | -0.0012582 | 1 | 0 | 50.5536
67 | 9.8308 | 4.5663 | -9.8292 | -4.5687 | 0.0015296 | -0.0023013 | 0.31323 | 0.31327 | 0.31327 | 0.99897 | -0.033595 | 0.9988 | -0.034317 | 49.1023
68 | 7.295 | 3.4257 | -7.2928 | -3.42 | 0.0021616 | 0.0056581 | 0.23265 | 0.23265 | 0.23265 | 1 | 0 | 0.99945 | -0.03089 | 36.0704
69 | 9.8292 | 4.5687 | -9.8282 | -4.5703 | 0.001079 | -0.0016222 | 0.31327 | 0.3133 | 0.3133 | 0.9988 | -0.034317 | 0.99869 | -0.034825 | 49.1066
70 | 0.13197 | 0.063433 | -0.13197 | -0.063915 | 4.8489e-07 | -0.00048201 | 0.0042324 | 0.0042385 | 0.0042385 | 0.99869 | -0.034825 | 0.99869 | -0.034793 | 1.9266
71 | 7.1216 | 3.3371 | -7.1208 | -3.3398 | 0.00081809 | -0.0027586 | 0.22716 | 0.2272 | 0.2272 | 0.99945 | -0.03089 | 0.99933 | -0.031398 | 35.6109
72 | 2.0393 | 0.9539 | -2.0393 | -0.95399 | 2.2128e-05 | -8.6454e-05 | 0.065108 | 0.065109 | 0.065109 | 0.9982 | -0.047951 | 0.99819 | -0.047864 | 29.5952
73 | 7.1208 | 3.3398 | -7.1132 | -3.3654 | 0.0075999 | -0.025537 | 0.2272 | 0.22756 | 0.22756 | 0.99933 | -0.031398 | 0.99823 | -0.036007 | 35.6685
74 | -0.20062 | -0.097163 | 0.20062 | 0.094926 | 5.2212e-06 | -0.0022372 | 0.0064537 | 0.0064257 | 0.0064537 | 0.99707 | -0.041714 | 0.9971 | -0.041935 | 2.9335
75 | 1.1065 | 0.5176 | -1.1059 | -0.52653 | 0.0006443 | -0.0089337 | 0.035368 | 0.03548 | 0.03548 | 0.9971 | -0.041935 | 0.99656 | -0.03715 | 16.1274
76 | -1.3072 | -0.61252 | 1.308 | 0.60447 | 0.00081292 | -0.0080593 | 0.041793 | 0.041692 | 0.041793 | 0.9971 | -0.041935 | 0.99768 | -0.046875 | 18.9969
77 | 0.84733 | 0.40442 | -0.84731 | -0.40486 | 1.8527e-05 | -0.00043928 | 0.027197 | 0.027203 | 0.027203 | 0.99656 | -0.03715 | 0.99654 | -0.036965 | 12.3649
78 | 0.31499 | 0.15184 | -0.31499 | -0.15256 | 4.1398e-06 | -0.000718 | 0.010118 | 0.010127 | 0.010127 | 0.99768 | -0.046875 | 0.99767 | -0.046761 | 4.6032
79 | -1.623 | -0.7563 | 1.6231 | 0.75515 | 0.00018217 | -0.0011546 | 0.051809 | 0.051794 | 0.051809 | 0.99768 | -0.046875 | 0.99778 | -0.047768 | 23.5494
80 | 0.58522 | 0.27792 | -0.58521 | -0.2786 | 1.3527e-05 | -0.00067781 | 0.018767 | 0.018776 | 0.018776 | 0.99654 | -0.036965 | 0.99651 | -0.036772 | 8.5344
81 | -1.7026 | -0.79312 | 1.7029 | 0.79112 | 0.00034888 | -0.0020016 | 0.05434 | 0.054315 | 0.05434 | 0.99778 | -0.047768 | 0.99797 | -0.049395 | 24.7001
82 | 0.07941 | 0.03797 | -0.07941 | -0.03846 | 1.7888e-07 | -0.0004899 | 0.0025466 | 0.0025527 | 0.0025527 | 0.99778 | -0.047768 | 0.99778 | -0.047749 | 1.1603
83 | 0.095448 | 0.045626 | -0.095448 | -0.046228 | 3.1883e-07 | -0.00060131 | 0.0030647 | 0.0030722 | 0.0030722 | 0.99651 | -0.036772 | 0.99651 | -0.036744 | 1.3965
84 | 0.48976 | 0.23297 | -0.48975 | -0.23385 | 1.2273e-05 | -0.0008788 | 0.015711 | 0.015722 | 0.015722 | 0.99651 | -0.036772 | 0.99649 | -0.036562 | 7.1464
85 | -1.7029 | -0.79112 | 1.7032 | 0.79125 | 0.00034207 | 0.00013687 | 0.054315 | 0.054314 | 0.054315 | 0.99797 | -0.049395 | 0.99819 | -0.047864 | 25.8641
86 | 0.84327 | 0.40563 | -0.84324 | -0.40621 | 2.4168e-05 | -0.00057788 | 0.027095 | 0.027102 | 0.027102 | 0.99698 | -0.051442 | 0.99695 | -0.051196 | 12.3191
87 | -1.0093 | -0.48606 | 1.0094 | 0.48606 | 6.8325e-05 | -4.5508e-07 | 0.032437 | 0.032437 | 0.032437 | 0.99698 | -0.051442 | 0.99705 | -0.050986 | 15.4463
88 | 0.84324 | 0.40621 | -0.84317 | -0.4078 | 6.6364e-05 | -0.001585 | 0.027102 | 0.027122 | 0.027122 | 0.99695 | -0.051196 | 0.99688 | -0.050515 | 12.3283
89 | -1.3907 | -0.67075 | 1.3908 | 0.67003 | 8.4181e-05 | -0.00072414 | 0.044704 | 0.044695 | 0.044704 | 0.99705 | -0.050986 | 0.99711 | -0.051508 | 20.3201
90 | 0.84317 | 0.4078 | -0.84315 | -0.40836 | 2.3434e-05 | -0.00055908 | 0.027122 | 0.027129 | 0.027129 | 0.99688 | -0.050515 | 0.99685 | -0.050274 | 12.3316
91 | -1.3908 | -0.67003 | 1.391 | 0.66879 | 0.00014338 | -0.0012343 | 0.044695 | 0.044679 | 0.044695 | 0.99711 | -0.051508 | 0.9972 | -0.052393 | 20.3158
92 | 5.0944 | 2.4124 | -5.094 | -2.4151 | 0.00038793 | -0.0027267 | 0.16317 | 0.16321 | 0.16321 | 0.9972 | -0.052393 | 0.99712 | -0.052712 | 25.5814
93 | -6.8237 | -3.245 | 6.8246 | 3.2473 | 0.00087145 | 0.0022733 | 0.21873 | 0.21873 | 0.21873 | 0.9972 | -0.052393 | 0.99744 | -0.039187 | 33.9123
94 | -4.6774 | -2.2195 | 4.6778 | 2.2157 | 0.00045425 | -0.0038257 | 0.14996 | 0.14991 | 0.14996 | 0.99663 | -0.071255 | 0.99673 | -0.07085 | 23.5048
95 | 4.6774 | 2.2195 | -4.6764 | -2.2219 | 0.0010027 | -0.0024154 | 0.14996 | 0.15 | 0.15 | 0.99663 | -0.071255 | 0.99639 | -0.07378 | 41.4363
96 | -4.6778 | -2.2157 | 4.6779 | 2.2153 | 4.6073e-05 | -0.00038823 | 0.14991 | 0.1499 | 0.14991 | 0.99673 | -0.07085 | 0.99674 | -0.070809 | 23.4968
97 | 1.2125 | 0.54432 | -1.2123 | -0.54673 | 0.000206 | -0.0024034 | 0.038507 | 0.038536 | 0.038536 | 0.99639 | -0.07378 | 0.99623 | -0.072538 | 17.5166
98 | -4.9238 | -2.3344 | 4.9247 | 2.3366 | 0.0008477 | 0.0021486 | 0.15782 | 0.15782 | 0.15782 | 0.99674 | -0.070809 | 0.99706 | -0.052976 | 24.4681
99 | 4.9967 | 2.369 | -4.9967 | -2.3694 | 5.856e-05 | -0.00042893 | 0.16009 | 0.1601 | 0.1601 | 0.99712 | -0.052712 | 0.99711 | -0.05276 | 25.0939
100 | 0.097249 | 0.046099 | -0.097249 | -0.046359 | 1.4239e-07 | -0.00026049 | 0.0031158 | 0.003119 | 0.003119 | 0.99712 | -0.052712 | 0.99712 | -0.052699 | 1.4177
101 | -6.8246 | -3.2473 | 6.8295 | 3.2292 | 0.0049199 | -0.018072 | 0.21873 | 0.21848 | 0.21873 | 0.99744 | -0.039187 | 0.99818 | -0.036195 | 34.2843
102 | 4.9967 | 2.3694 | -4.9964 | -2.3713 | 0.00025915 | -0.0018977 | 0.1601 | 0.16012 | 0.16012 | 0.99711 | -0.05276 | 0.99706 | -0.052976 | 25.0979
103 | 0.097249 | 0.046359 | -0.097249 | -0.0471 | 4.0628e-07 | -0.00074032 | 0.003119 | 0.0031283 | 0.0031283 | 0.99712 | -0.052699 | 0.99712 | -0.052664 | 1.4219
104 | -6.8295 | -3.2292 | 6.8297 | 3.2283 | 0.00024559 | -0.00090422 | 0.21848 | 0.21846 | 0.21848 | 0.99818 | -0.036195 | 0.99822 | -0.036043 | 34.2438
105 | 1.2123 | 0.54673 | -1.2121 | -0.54899 | 0.0001944 | -0.0022639 | 0.038536 | 0.038564 | 0.038564 | 0.99623 | -0.072538 | 0.99608 | -0.071353 | 17.5292
106 | 2.7121 | 1.237 | -2.7121 | -1.237 | 3.3347e-05 | -6.9634e-05 | 0.086324 | 0.086325 | 0.086325 | 0.99684 | -0.07927 | 0.99682 | -0.079177 | 39.2387
107 | -7.1131 | -3.3656 | 7.1132 | 3.3654 | 6.0584e-05 | -0.00020292 | 0.22757 | 0.22756 | 0.22757 | 0.99822 | -0.036043 | 0.99823 | -0.036007 | 35.6689
108 | -2.5466 | -1.1568 | 2.5482 | 1.1576 | 0.0015267 | 0.00080165 | 0.081054 | 0.081052 | 0.081054 | 0.99619 | -0.084076 | 0.99682 | -0.079177 | 38.5969
109 | 0.16836 | 0.080791 | -0.16836 | -0.08154 | 1.2423e-06 | -0.00074877 | 0.0054159 | 0.0054254 | 0.0054254 | 0.99535 | -0.079616 | 0.99535 | -0.079552 | 2.4661
110 | -0.37846 | -0.1833 | 0.37847 | 0.18253 | 6.4906e-06 | -0.00076845 | 0.01221 | 0.0122 | 0.01221 | 0.99424 | -0.091892 | 0.99425 | -0.09204 | 5.5498
111 | -0.37847 | -0.18253 | 0.37849 | 0.18016 | 1.9918e-05 | -0.002366 | 0.0122 | 0.01217 | 0.0122 | 0.99425 | -0.09204 | 0.9943 | -0.092488 | 5.5454
112 | -0.7463 | -0.3583 | 0.74637 | 0.35617 | 7.0315e-05 | -0.002134 | 0.024035 | 0.024008 | 0.024035 | 0.9943 | -0.092488 | 0.99439 | -0.093287 | 10.925
113 | -1.7731 | -0.81592 | 1.7734 | 0.81436 | 0.00029946 | -0.0015684 | 0.056603 | 0.056583 | 0.056603 | 0.99544 | -0.094987 | 0.9956 | -0.09629 | 25.7288
114 | 1.5001 | 0.6837 | -1.4995 | -0.6835 | 0.00061157 | 0.00020551 | 0.047809 | 0.047811 | 0.047811 | 0.99544 | -0.094987 | 0.99501 | -0.098287 | 22.7671
115 | 1.3366 | 0.6046 | -1.3364 | -0.60695 | 0.00024816 | -0.00235 | 0.042561 | 0.042591 | 0.042591 | 0.99501 | -0.098287 | 0.99484 | -0.096905 | 19.3593
116 | 1.3364 | 0.60695 | -1.3357 | -0.61297 | 0.00063745 | -0.0060175 | 0.042591 | 0.042665 | 0.042665 | 0.99484 | -0.096905 | 0.99439 | -0.093287 | 19.3933
117 | 0.35486 | 0.16498 | -0.35481 | -0.17135 | 4.6946e-05 | -0.0063736 | 0.011361 | 0.01144 | 0.01144 | 0.99439 | -0.093287 | 0.99427 | -0.09219 | 5.2
118 | 0.23452 | 0.091829 | -0.23451 | -0.095613 | 1.1511e-05 | -0.0037835 | 0.0073116 | 0.0073524 | 0.0073524 | 0.99439 | -0.093287 | 0.99434 | -0.093038 | 3.342
119 | 0.35481 | 0.17135 | -0.35481 | -0.17184 | 3.6563e-06 | -0.00049259 | 0.01144 | 0.011446 | 0.011446 | 0.99427 | -0.09219 | 0.99426 | -0.0921 | 5.2028
120 | 0.086763 | 0.041222 | -0.086763 | -0.042021 | 3.5274e-07 | -0.00079907 | 0.0027887 | 0.0027988 | 0.0027988 | 0.99434 | -0.093038 | 0.99434 | -0.093003 | 1.2722
121 | 0.14775 | 0.054391 | -0.14773 | -0.068623 | 1.7383e-05 | -0.014232 | 0.0045708 | 0.0047295 | 0.0047295 | 0.99434 | -0.093038 | 0.99423 | -0.09235 | 2.1498
122 | 0.25632 | 0.12406 | -0.25631 | -0.12414 | 8.6544e-06 | -7.8358e-05 | 0.0082695 | 0.0082705 | 0.0082705 | 0.99406 | -0.068289 | 0.99402 | -0.068512 | 3.9383
123 | 0.083815 | 0.040521 | -0.083814 | -0.040593 | 8.0505e-07 | -7.2032e-05 | 0.0027069 | 0.0027078 | 0.0027078 | 0.99281 | -0.070086 | 0.9928 | -0.070149 | 1.2894
124 | 0.073598 | 0.034785 | -0.073591 | -0.035642 | 7.3375e-06 | -0.00085636 | 0.002367 | 0.0023778 | 0.0023778 | 0.99281 | -0.070086 | 0.99271 | -0.070773 | 1.1323
125 | 0.20397 | 0.098353 | -0.20397 | -0.098785 | 1.0639e-06 | -0.00043219 | 0.0065832 | 0.0065887 | 0.0065887 | 0.99295 | -0.07094 | 0.99295 | -0.070894 | 2.9948
126 | -0.25911 | -0.12549 | 0.25912 | 0.12543 | 7.4126e-06 | -6.626e-05 | 0.0083405 | 0.0083396 | 0.0083405 | 0.99646 | -0.03675 | 0.99649 | -0.036562 | 3.9717
127 | 0.23063 | 0.10842 | -0.23062 | -0.11167 | 1.001e-05 | -0.0032409 | 0.0073826 | 0.0074231 | 0.0074231 | 0.99649 | -0.036562 | 0.99645 | -0.036196 | 3.3741
128 | 0.23062 | 0.11167 | -0.23062 | -0.11169 | 2.3937e-06 | -2.7399e-05 | 0.0074231 | 0.0074235 | 0.0074235 | 0.99645 | -0.036196 | 0.99644 | -0.036264 | 3.535
129 | 0.14773 | 0.068623 | -0.14773 | -0.071547 | 3.7297e-06 | -0.0029243 | 0.0047295 | 0.0047659 | 0.0047659 | 0.99423 | -0.09235 | 0.99421 | -0.09214 | 2.1663

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 17.4386 | 8.1449

## res_load
| p_mw | q_mvar
0 | 0.12773 | 0.061863
1 | 0.11035 | 0.053444
2 | 0.083074 | 0.040234
3 | 0.2073 | 0.1004
4 | 0.18516 | 0.089675
5 | 0.097201 | 0.047077
6 | 0.25956 | 0.12571
7 | 0.14083 | 0.068205
8 | 0.25855 | 0.12522
9 | 0.23815 | 0.11534
10 | 0.19408 | 0.093996
11 | 0.39625 | 0.19191
12 | 0.26223 | 0.12701
13 | 0.37478 | 0.18151
14 | 0.38977 | 0.18877
15 | 0.09003 | 0.043604
16 | 0.13313 | 0.064478
17 | 0.40018 | 0.19381
18 | 0.2019 | 0.097785
19 | 0.34494 | 0.16706
20 | 0.21153 | 0.10245
21 | 0.40475 | 0.19603
22 | 0.16478 | 0.079806
23 | 0.18005 | 0.087204
24 | 0.29124 | 0.14105
25 | 0.23461 | 0.11363
26 | 0.17127 | 0.082949
27 | 0.13197 | 0.063915
28 | 0.20062 | 0.097163
29 | 0.26209 | 0.12694
30 | 0.31499 | 0.15256
31 | 0.07941 | 0.03846
32 | 0.33601 | 0.16274
33 | 0.16606 | 0.080425
34 | 0.38134 | 0.18469
35 | 0.33838 | 0.16388
36 | 0.84315 | 0.40836
37 | 3.4638 | 1.6776
38 | 0.24595 | 0.11912
39 | 0.071727 | 0.034739
40 | 0.28338 | 0.13725
41 | 0.097249 | 0.0471
42 | 0.31592 | 0.15301
43 | 0.16393 | 0.079396
44 | 0.37846 | 0.1833
45 | 0.36781 | 0.17814
46 | 0.273 | 0.13222
47 | 0.16289 | 0.078893
48 | 0.06856 | 0.033205
49 | 0.25631 | 0.12414
50 | 0.25911 | 0.12549
51 | 0.095448 | 0.046228
52 | 0.23062 | 0.11169
53 | 0.16836 | 0.08154
54 | 0.30649 | 0.14844
55 | 0.073591 | 0.035642
56 | 0.083814 | 0.040593
57 | 0.35481 | 0.17184
58 | 0.086763 | 0.042021
59 | 0.14773 | 0.071547
60 | 0.20397 | 0.098785

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1