## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_145_1_node_57 | 20 | n |  | TRUE
1 | bus_MV_145_1_node_58 | 20 | n |  | TRUE
2 | bus_MV_145_1_node_270 | 20 | n |  | TRUE
3 | bus_MV_145_1_node_163 | 20 | n |  | TRUE
4 | bus_MV_145_1_node_164 | 20 | n |  | TRUE
5 | bus_MV_145_1_node_166 | 20 | n |  | TRUE
6 | bus_MV_145_1_node_165 | 20 | n |  | TRUE
7 | bus_MV_145_1_node_168 | 20 | n |  | TRUE
8 | bus_MV_145_1_node_167 | 20 | n |  | TRUE
9 | bus_MV_145_1_node_274 | 20 | n |  | TRUE
10 | bus_MV_145_1_node_207 | 20 | n |  | TRUE
11 | bus_MV_145_1_node_178 | 20 | n |  | TRUE
12 | bus_MV_145_1_node_179 | 20 | n |  | TRUE
13 | bus_MV_145_1_node_272 | 20 | n |  | TRUE
14 | bus_MV_145_1_node_180 | 20 | n |  | TRUE
15 | bus_MV_145_1_node_181 | 20 | n |  | TRUE
16 | bus_MV_145_1_node_266 | 20 | n |  | TRUE
17 | bus_MV_145_1_node_182 | 20 | n |  | TRUE
18 | bus_MV_145_1_node_183 | 20 | n |  | TRUE
19 | bus_MV_145_1_node_184 | 20 | n |  | TRUE
20 | bus_MV_145_1_node_273 | 20 | n |  | TRUE
21 | bus_MV_145_1_node_197 | 20 | n |  | TRUE
22 | bus_MV_145_1_node_185 | 20 | n |  | TRUE
23 | bus_MV_145_1_node_186 | 20 | n |  | TRUE
24 | bus_MV_145_1_node_187 | 20 | n |  | TRUE
25 | bus_MV_145_1_node_188 | 20 | n |  | TRUE
26 | bus_MV_145_1_node_189 | 20 | n |  | TRUE
27 | bus_MV_145_1_node_190 | 20 | n |  | TRUE
28 | bus_MV_145_1_node_225 | 20 | n |  | TRUE
29 | bus_MV_145_1_node_267 | 20 | n |  | TRUE
30 | bus_MV_145_1_node_288 | 20 | n |  | TRUE
31 | bus_MV_145_1_node_191 | 20 | n |  | TRUE
32 | bus_MV_145_1_node_192 | 20 | n |  | TRUE
33 | bus_MV_145_1_node_193 | 20 | n |  | TRUE
34 | bus_MV_145_1_node_194 | 20 | n |  | TRUE
35 | bus_MV_145_1_node_195 | 20 | n |  | TRUE
36 | bus_MV_145_1_node_196 | 20 | n |  | TRUE
37 | bus_MV_145_1_node_198 | 20 | n |  | TRUE
38 | bus_MV_145_1_node_201 | 20 | n |  | TRUE
39 | bus_MV_145_1_node_199 | 20 | n |  | TRUE
40 | bus_MV_145_1_node_200 | 20 | n |  | TRUE
41 | bus_MV_145_1_node_221 | 20 | n |  | TRUE
42 | bus_MV_145_1_node_244 | 20 | n |  | TRUE
43 | bus_MV_145_1_node_202 | 20 | n |  | TRUE
44 | bus_MV_145_1_node_203 | 20 | n |  | TRUE
45 | bus_MV_145_1_node_204 | 20 | n |  | TRUE
46 | bus_MV_145_1_node_205 | 20 | n |  | TRUE
47 | bus_MV_145_1_node_206 | 20 | n |  | TRUE
48 | bus_MV_145_1_node_248 | 20 | n |  | TRUE
49 | bus_MV_145_1_node_224 | 20 | n |  | TRUE
50 | bus_MV_145_1_node_208 | 20 | n |  | TRUE
51 | bus_MV_145_1_node_209 | 20 | n |  | TRUE
52 | bus_MV_145_1_node_210 | 20 | n |  | TRUE
53 | bus_MV_145_1_node_211 | 20 | n |  | TRUE
54 | bus_MV_145_1_node_212 | 20 | n |  | TRUE
55 | bus_MV_145_1_node_213 | 20 | n |  | TRUE
56 | bus_MV_145_1_node_214 | 20 | n |  | TRUE
57 | bus_MV_145_1_node_280 | 20 | n |  | TRUE
58 | bus_MV_145_1_node_281 | 20 | n |  | TRUE
59 | bus_MV_145_1_node_215 | 20 | n |  | TRUE
60 | bus_MV_145_1_node_216 | 20 | n |  | TRUE
61 | bus_MV_145_1_node_218 | 20 | n |  | TRUE
62 | bus_MV_145_1_node_220 | 20 | n |  | TRUE
63 | bus_MV_145_1_node_265 | 20 | n |  | TRUE
64 | bus_MV_145_1_node_222 | 20 | n |  | TRUE
65 | bus_MV_145_1_node_223 | 20 | n |  | TRUE
66 | bus_MV_145_1_node_285 | 20 | n |  | TRUE
67 | bus_MV_145_1_node_243 | 20 | n |  | TRUE
68 | bus_MV_145_1_node_245 | 20 | n |  | TRUE
69 | bus_MV_145_1_node_246 | 20 | n |  | TRUE
70 | bus_MV_145_1_node_247 | 20 | n |  | TRUE
71 | bus_MV_145_1_node_264 | 20 | n |  | TRUE
72 | bus_MV_145_1_node_269 | 20 | n |  | TRUE
73 | bus_MV_145_1_node_271 | 20 | n |  | TRUE
74 | bus_MV_145_1_node_282 | 20 | n |  | TRUE
75 | bus_MV_145_1_node_283 | 20 | n |  | TRUE
76 | bus_MV_145_1_node_284 | 20 | n |  | TRUE
77 | bus_MV_145_1_node_286 | 20 | n |  | TRUE
78 | bus_MV_145_1_node_287 | 20 | n |  | TRUE
79 | bus_MV_145_1_node_289 | 20 | n |  | TRUE
80 | bus_HV_145_1_node_272 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_145_1_load_57 | 0 | 0.069225 | 0.033527 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_145_1_load_270 | 2 | 0.10672 | 0.051688 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_145_1_load_163 | 3 | 0.15304 | 0.074119 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_145_1_load_167 | 8 | 0.051622 | 0.025002 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_145_1_load_274 | 9 | 0.15889 | 0.076952 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_145_1_load_207 | 10 | 0.16176 | 0.078343 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_145_1_load_178 | 11 | 0.14024 | 0.067919 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_145_1_load_272 | 13 | 0.05941 | 0.028774 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_145_1_load_266 | 16 | 0.11193 | 0.054211 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_145_1_load_182 | 17 | 0.14557 | 0.070503 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_145_1_load_273 | 20 | 0.15143 | 0.07334 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_145_1_load_185 | 22 | 0.14712 | 0.071254 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_145_1_load_225 | 28 | 0.66489 | 0.32202 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_145_1_load_267 | 29 | 0.16181 | 0.078366 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_145_1_load_288 | 30 | 0.1101 | 0.053324 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_145_1_load_191 | 31 | 0.1364 | 0.066062 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_145_1_load_196 | 36 | 0.089464 | 0.04333 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_145_1_load_199 | 39 | 0.12087 | 0.05854 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_145_1_load_221 | 41 | 0.10327 | 0.050016 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_145_1_load_244 | 42 | 0.1545 | 0.074828 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_145_1_load_202 | 43 | 0.12082 | 0.058514 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_145_1_load_204 | 45 | 0.12998 | 0.062952 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_145_1_load_248 | 48 | 0.31307 | 0.15163 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_145_1_load_210 | 52 | 0.1368 | 0.066256 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_145_1_load_280 | 57 | 0.11658 | 0.056463 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_145_1_load_281 | 58 | 0.064802 | 0.031385 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_145_1_load_215 | 59 | 0.11193 | 0.054212 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_145_1_load_220 | 62 | 0.1323 | 0.064076 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_145_1_load_285 | 66 | 0.066679 | 0.032294 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_145_1_load_243 | 67 | 0.073995 | 0.035838 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_145_1_load_245 | 68 | 0.17788 | 0.08615 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_145_1_load_246 | 69 | 0.086111 | 0.041705 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_145_1_load_247 | 70 | 0.075152 | 0.036398 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_145_1_load_269 | 72 | 0.077497 | 0.037533 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_145_1_load_271 | 73 | 0.15987 | 0.077426 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_145_1_load_282 | 74 | 0.071392 | 0.034577 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_145_1_load_286 | 77 | 0.12415 | 0.060129 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_145_1_load_289 | 79 | 0.077289 | 0.037433 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_145_1_line_0 |  | 0 | 1 | 0.16764 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_145_1_line_1 |  | 1 | 2 | 0.69433 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_145_1_line_2 |  | 2 | 73 | 0.38404 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_145_1_line_3 |  | 2 | 14 | 0.008932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_145_1_line_4 |  | 3 | 4 | 0.020923 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_145_1_line_5 |  | 4 | 5 | 0.08707 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_145_1_line_6 |  | 5 | 9 | 0.060256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_145_1_line_7 |  | 5 | 6 | 0.15026 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_145_1_line_8 |  | 6 | 7 | 0.82386 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_145_1_line_9 |  | 6 | 8 | 0.030042 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_145_1_line_10 |  | 7 | 10 | 0.092746 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_145_1_line_11 |  | 9 | 65 | 0.023501 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_145_1_line_12 |  | 10 | 50 | 0.028431 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_145_1_line_13 |  | 11 | 12 | 0.04285 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_145_1_line_14 |  | 11 | 13 | 3.2385 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_145_1_line_15 |  | 12 | 14 | 0.14768 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_145_1_line_16 |  | 12 | 15 | 0.28227 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_145_1_line_17 |  | 13 | 71 | 0.20908 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_145_1_line_18 |  | 15 | 16 | 0.013989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_145_1_line_19 |  | 16 | 34 | 0.050401 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_145_1_line_20 |  | 17 | 18 | 0.068988 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_145_1_line_21 |  | 18 | 19 | 0.33791 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_145_1_line_22 |  | 19 | 20 | 0.015654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_145_1_line_23 |  | 19 | 21 | 0.068878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_145_1_line_24 |  | 21 | 37 | 0.080867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_145_1_line_25 |  | 21 | 36 | 0.018876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_145_1_line_26 |  | 22 | 23 | 0.011327 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_145_1_line_27 |  | 22 | 24 | 0.0205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_145_1_line_28 |  | 23 | 25 | 0.063367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_145_1_line_29 |  | 23 | 26 | 0.21566 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_145_1_line_30 |  | 24 | 27 | 0.27733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_145_1_line_31 |  | 25 | 28 | 0.067559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_145_1_line_32 |  | 26 | 29 | 0.060104 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_145_1_line_33 |  | 27 | 30 | 0.029888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_145_1_line_34 |  | 28 | 66 | 0.49966 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_145_1_line_35 |  | 29 | 35 | 0.025848 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_145_1_line_36 |  | 30 | 78 | 0.071267 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_145_1_line_37 |  | 31 | 32 | 0.03115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_145_1_line_38 |  | 31 | 33 | 0.056534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_145_1_line_39 |  | 32 | 34 | 0.13439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_145_1_line_40 |  | 33 | 35 | 0.12182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_145_1_line_41 |  | 37 | 38 | 0.14684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_145_1_line_42 |  | 37 | 39 | 0.053291 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_145_1_line_43 |  | 38 | 42 | 0.037619 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_145_1_line_44 |  | 38 | 40 | 0.16278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_145_1_line_45 |  | 40 | 41 | 0.089883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_145_1_line_46 |  | 41 | 64 | 0.026521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_145_1_line_47 |  | 42 | 68 | 0.047647 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_145_1_line_48 |  | 42 | 67 | 0.045372 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_145_1_line_49 |  | 43 | 44 | 0.046749 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_145_1_line_50 |  | 44 | 45 | 0.071573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_145_1_line_51 |  | 44 | 46 | 0.016571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_145_1_line_52 |  | 45 | 47 | 0.034679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_145_1_line_53 |  | 46 | 48 | 0.064154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_145_1_line_54 |  | 47 | 49 | 1.3747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_145_1_line_55 |  | 48 | 51 | 0.036204 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_145_1_line_56 |  | 49 | 58 | 0.053993 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_145_1_line_57 |  | 50 | 51 | 0.039393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_145_1_line_58 |  | 52 | 53 | 0.016201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_145_1_line_59 |  | 52 | 54 | 0.061337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_145_1_line_60 |  | 53 | 55 | 0.088521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_145_1_line_61 |  | 54 | 56 | 0.065655 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_145_1_line_62 |  | 55 | 57 | 0.10927 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_145_1_line_63 |  | 56 | 58 | 0.055259 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_145_1_line_64 |  | 57 | 60 | 0.22387 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_145_1_line_65 |  | 59 | 60 | 0.028432 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_145_1_line_66 |  | 60 | 61 | 0.19526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_145_1_line_67 |  | 61 | 62 | 0.039972 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_145_1_line_68 |  | 62 | 63 | 0.16099 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_145_1_line_69 |  | 63 | 72 | 0.057703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_145_1_line_70 |  | 63 | 71 | 0.56566 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_145_1_line_71 |  | 64 | 65 | 0.020193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_145_1_line_72 |  | 66 | 79 | 0.21324 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_145_1_line_73 |  | 68 | 69 | 0.0030951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_145_1_line_74 |  | 69 | 70 | 0.020982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_145_1_line_75 |  | 74 | 75 | 0.006295 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_145_1_line_76 |  | 75 | 76 | 1.1385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_145_1_line_77 |  | 76 | 77 | 0.020412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_145_1_line_78 |  | 76 | 78 | 0.69148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_145_1_trafo_272 | 25 MVA 110/20 kV | 80 | 13 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2732980.1612 | 1197898.8135
1 | 2732926.3752 | 1198043.7969
2 | 2732253.5671 | 1198215.3427
3 | 2730485.5937 | 1204863.5251
4 | 2730473.7258 | 1204880.7571
5 | 2730420.343 | 1204890.7878
6 | 2730459.7368 | 1204746.1242
7 | 2730947.8224 | 1204197.1548
8 | 2730437.6014 | 1204725.8137
9 | 2730401.1744 | 1204947.8582
10 | 2730902.8554 | 1204116.0391
11 | 2732125.2009 | 1198259.1051
12 | 2732168.0068 | 1198257.1608
13 | 2731965.4259 | 1201493.6916
14 | 2732245.5809 | 1198211.2962
15 | 2732085.6405 | 1198080.8371
16 | 2732085.843 | 1198066.853
17 | 2729788.6474 | 1205144.7568
18 | 2729816.9844 | 1205081.8571
19 | 2730075.7966 | 1205213.5582
20 | 2730069.6991 | 1205227.97
21 | 2730138.1851 | 1205209.8257
22 | 2731756.87 | 1197570.488
23 | 2731764.5181 | 1197578.863
24 | 2731742.8689 | 1197555.479
25 | 2731717.3478 | 1197621.3121
26 | 2731905.3781 | 1197742.084
27 | 2731540.1472 | 1197383.8055
28 | 2731749.3312 | 1197679.4059
29 | 2731941.158 | 1197790.3775
30 | 2731514.3543 | 1197368.5931
31 | 2732055.5108 | 1197928.3757
32 | 2732085.7254 | 1197922.9611
33 | 2732019.7655 | 1197884.8081
34 | 2732118.0319 | 1198033.1158
35 | 2731956.3218 | 1197811.3395
36 | 2730137.214 | 1205228.5303
37 | 2730194.5607 | 1205175.8169
38 | 2730310.9291 | 1205218.2327
39 | 2730217.722 | 1205222.688
40 | 2730392.753 | 1205083.5469
41 | 2730417.3143 | 1205001.1633
42 | 2730340.9482 | 1205240.9055
43 | 2731027.1499 | 1204046.0543
44 | 2730996.9561 | 1204010.3641
45 | 2731048.1106 | 1203960.3045
46 | 2730985.2738 | 1204022.1171
47 | 2731072.8958 | 1203936.0498
48 | 2730936.9252 | 1204026.4472
49 | 2731794.535 | 1202853.2371
50 | 2730921.4424 | 1204094.4852
51 | 2730915.7753 | 1204055.8308
52 | 2731854.5843 | 1202688.4666
53 | 2731870.6937 | 1202690.168
54 | 2731793.9061 | 1202678.6311
55 | 2731936.5542 | 1202633.2665
56 | 2731791.4495 | 1202744.0392
57 | 2732023.2596 | 1202566.7632
58 | 2731793.0924 | 1202799.2742
59 | 2731912.0911 | 1202344.3226
60 | 2731935.1419 | 1202360.9668
61 | 2732045.5321 | 1202205.8509
62 | 2732024.4357 | 1202175.0376
63 | 2731874.6559 | 1202234.0545
64 | 2730423.9557 | 1204975.4883
65 | 2730404.196 | 1204971.1646
66 | 2731465.5928 | 1198090.6896
67 | 2730327.3668 | 1205284.1975
68 | 2730378.335 | 1205270.4421
69 | 2730380.7634 | 1205272.3612
70 | 2730397.3067 | 1205285.2677
71 | 2731965.2971 | 1201702.7741
72 | 2731856.7934 | 1202288.9253
73 | 2732573.5752 | 1198003.0096
74 | 2730101.2001 | 1196725.3634
75 | 2730097.5242 | 1196720.2462
76 | 2730893.5193 | 1196940.908
77 | 2730880.1504 | 1196956.3606
78 | 2731452.3808 | 1197333.4032
79 | 2731254.4617 | 1198120.5739
80 | 2731965.4259 | 1201493.6916

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98626 | -0.11136 | 0.069225 | 0.033527
1 | 0.98627 | -0.11148 | 0 | 0
2 | 0.98637 | -0.11062 | 0.10672 | 0.051688
3 | 0.98536 | 0.047432 | 0.15304 | 0.074119
4 | 0.98537 | 0.047472 | 0 | 0
5 | 0.98539 | 0.047313 | 0 | 0
6 | 0.98567 | 0.044858 | 0 | 0
7 | 0.9873 | 0.031509 | 0 | 0
8 | 0.98567 | 0.044838 | 0.051622 | 0.025002
9 | 0.98528 | 0.048202 | 0.15889 | 0.076952
10 | 0.98758 | 0.033709 | 0.16176 | 0.078343
11 | 0.9866 | -0.10981 | 0.14024 | 0.067919
12 | 0.98643 | -0.1112 | 0 | 0
13 | 1 | 0 | -5.1371 | -2.2838
14 | 0.98637 | -0.11066 | 0 | 0
15 | 0.98583 | -0.10675 | 0 | 0
16 | 0.9858 | -0.10652 | 0.11193 | 0.054211
17 | 0.98456 | 0.053103 | 0.14557 | 0.070503
18 | 0.98458 | 0.053229 | 0 | 0
19 | 0.98465 | 0.05271 | 0 | 0
20 | 0.98464 | 0.052739 | 0.15143 | 0.07334
21 | 0.98467 | 0.052499 | 0 | 0
22 | 0.9845 | -0.09926 | 0.14712 | 0.071254
23 | 0.98451 | -0.099286 | 0 | 0
24 | 0.98449 | -0.099251 | 0 | 0
25 | 0.98444 | -0.098666 | 0 | 0
26 | 0.98485 | -0.10183 | 0 | 0
27 | 0.98439 | -0.09906 | 0 | 0
28 | 0.98437 | -0.097999 | 0.66489 | 0.32202
29 | 0.985 | -0.10057 | 0.16181 | 0.078366
30 | 0.98437 | -0.099033 | 0.1101 | 0.053324
31 | 0.98537 | -0.10332 | 0.1364 | 0.066062
32 | 0.98543 | -0.10379 | 0 | 0
33 | 0.98527 | -0.10257 | 0 | 0
34 | 0.9857 | -0.10578 | 0 | 0
35 | 0.98505 | -0.10092 | 0 | 0
36 | 0.98467 | 0.052519 | 0.089464 | 0.04333
37 | 0.98471 | 0.052173 | 0 | 0
38 | 0.98481 | 0.0514 | 0 | 0
39 | 0.98471 | 0.05225 | 0.12087 | 0.05854
40 | 0.98503 | 0.04946 | 0 | 0
41 | 0.98516 | 0.048407 | 0.10327 | 0.050016
42 | 0.98477 | 0.051128 | 0.1545 | 0.074828
43 | 0.988 | 0.030119 | 0.12082 | 0.058514
44 | 0.98802 | 0.030189 | 0 | 0
45 | 0.98821 | 0.028579 | 0.12998 | 0.062952
46 | 0.98797 | 0.030538 | 0 | 0
47 | 0.98831 | 0.027748 | 0 | 0
48 | 0.98781 | 0.031895 | 0.31307 | 0.15163
49 | 0.9923 | -0.0036272 | 0 | 0
50 | 0.98764 | 0.033212 | 0 | 0
51 | 0.98773 | 0.032524 | 0 | 0
52 | 0.99308 | -0.0055798 | 0.1368 | 0.066256
53 | 0.99314 | -0.0059656 | 0 | 0
54 | 0.9929 | -0.0042169 | 0 | 0
55 | 0.99341 | -0.008066 | 0 | 0
56 | 0.99271 | -0.0027511 | 0 | 0
57 | 0.99393 | -0.0037911 | 0.11658 | 0.056463
58 | 0.99246 | -0.0047956 | 0.064802 | 0.031385
59 | 0.99504 | 0.0052363 | 0.11193 | 0.054212
60 | 0.99505 | 0.0052752 | 0 | 0
61 | 0.99572 | 0.00015412 | 0 | 0
62 | 0.99586 | -0.00088623 | 0.1323 | 0.064076
63 | 0.99674 | 0.0061796 | 0 | 0
64 | 0.9852 | 0.048065 | 0 | 0
65 | 0.98523 | 0.047805 | 0 | 0
66 | 0.98423 | -0.098919 | 0.066679 | 0.032294
67 | 0.98476 | 0.051086 | 0.073995 | 0.035838
68 | 0.98475 | 0.051324 | 0.17788 | 0.08615
69 | 0.98475 | 0.05133 | 0.086111 | 0.041705
70 | 0.98474 | 0.051349 | 0.075152 | 0.036398
71 | 0.99883 | -0.0096217 | 0 | 0
72 | 0.99673 | 0.0062309 | 0.077497 | 0.037533
73 | 0.98625 | -0.11139 | 0.15987 | 0.077426
74 | 0.98408 | -0.099383 | 0.071392 | 0.034577
75 | 0.98408 | -0.099389 | 0 | 0
76 | 0.98418 | -0.099396 | 0 | 0
77 | 0.98418 | -0.099365 | 0.12415 | 0.060129
78 | 0.98435 | -0.099476 | 0 | 0
79 | 0.9842 | -0.099127 | 0.077289 | 0.037433
80 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.069225 | -0.033527 | 0.069226 | 0.029634 | 1.11e-06 | -0.003893 | 0.0022513 | 0.002204 | 0.0022513 | 0.98626 | -0.11136 | 0.98627 | -0.11148 | 1.0233
1 | -0.069226 | -0.029634 | 0.069232 | 0.028832 | 5.9844e-06 | -0.00080263 | 0.002204 | 0.0021949 | 0.002204 | 0.98627 | -0.11148 | 0.98637 | -0.11062 | 1.0495
2 | 0.15988 | 0.076992 | -0.15987 | -0.077426 | 1.8476e-05 | -0.00043443 | 0.0051935 | 0.0051992 | 0.0051992 | 0.98637 | -0.11062 | 0.98625 | -0.11139 | 2.4758
3 | -0.33584 | -0.15751 | 0.33584 | 0.1573 | 1.405e-06 | -0.00020707 | 0.010856 | 0.010854 | 0.010856 | 0.98637 | -0.11062 | 0.98637 | -0.11066 | 4.9346
4 | -0.15304 | -0.074119 | 0.15304 | 0.074095 | 9.2507e-07 | -2.3673e-05 | 0.0049816 | 0.0049813 | 0.0049816 | 0.98536 | 0.047432 | 0.98537 | 0.047472 | 2.3722
5 | -0.15304 | -0.074095 | 0.15304 | 0.072078 | 2.8694e-06 | -0.0020177 | 0.0049813 | 0.0049558 | 0.0049813 | 0.98537 | 0.047472 | 0.98539 | 0.047313 | 2.2642
6 | 1.338 | 0.62096 | -1.3378 | -0.62231 | 0.00015027 | -0.0013522 | 0.043212 | 0.043229 | 0.043229 | 0.98539 | 0.047313 | 0.98528 | 0.048202 | 19.6496
7 | -1.491 | -0.69303 | 1.4915 | 0.68969 | 0.000465 | -0.0033467 | 0.048168 | 0.048125 | 0.048168 | 0.98539 | 0.047313 | 0.98567 | 0.044858 | 21.8944
8 | -1.5431 | -0.71466 | 1.5458 | 0.69632 | 0.0027153 | -0.018337 | 0.049804 | 0.049571 | 0.049804 | 0.98567 | 0.044858 | 0.9873 | 0.031509 | 22.6381
9 | 0.051622 | 0.024967 | -0.051622 | -0.025002 | 1.51e-07 | -3.4749e-05 | 0.0016794 | 0.0016799 | 0.0016799 | 0.98567 | 0.044858 | 0.98567 | 0.044838 | 0.79993
10 | -1.5458 | -0.69632 | 1.5462 | 0.69646 | 0.00040605 | 0.00014638 | 0.049571 | 0.04957 | 0.049571 | 0.9873 | 0.031509 | 0.98758 | 0.033709 | 23.6053
11 | 1.1789 | 0.54536 | -1.1789 | -0.54535 | 6.0648e-05 | 1.0753e-05 | 0.038058 | 0.038058 | 0.038058 | 0.98528 | 0.048202 | 0.98523 | 0.047805 | 18.1228
12 | -1.708 | -0.77481 | 1.7081 | 0.77418 | 0.00011405 | -0.00062827 | 0.054822 | 0.054814 | 0.054822 | 0.98758 | 0.033709 | 0.98764 | 0.033212 | 24.9189
13 | 2.0112 | 0.88834 | -2.0109 | -0.88819 | 0.00031598 | 0.00014813 | 0.064333 | 0.064333 | 0.064333 | 0.9866 | -0.10981 | 0.98643 | -0.1112 | 30.6349
14 | -2.1515 | -0.95626 | 2.1788 | 0.96959 | 0.027366 | 0.013326 | 0.068889 | 0.068844 | 0.068889 | 0.9866 | -0.10981 | 1 | 0 | 32.8044
15 | 0.33586 | 0.15388 | -0.33584 | -0.1573 | 2.3134e-05 | -0.003424 | 0.010811 | 0.010854 | 0.010854 | 0.98643 | -0.1112 | 0.98637 | -0.11066 | 4.9334
16 | 1.6751 | 0.73431 | -1.674 | -0.74055 | 0.0010811 | -0.0062333 | 0.053523 | 0.0536 | 0.0536 | 0.98643 | -0.1112 | 0.98583 | -0.10675 | 24.3639
17 | 2.9442 | 1.3037 | -2.941 | -1.302 | 0.0032187 | 0.0017668 | 0.092952 | 0.092955 | 0.092955 | 1 | 0 | 0.99883 | -0.0096217 | 44.2643
18 | 1.674 | 0.74055 | -1.6739 | -0.74085 | 5.3658e-05 | -0.00030868 | 0.0536 | 0.053604 | 0.053604 | 0.98583 | -0.10675 | 0.9858 | -0.10652 | 24.3656
19 | 1.562 | 0.68664 | -1.5618 | -0.68776 | 0.00016802 | -0.0011195 | 0.049965 | 0.049978 | 0.049978 | 0.9858 | -0.10652 | 0.9857 | -0.10578 | 22.7175
20 | -0.14557 | -0.070503 | 0.14557 | 0.070425 | 2.7638e-06 | -7.8106e-05 | 0.0047424 | 0.0047413 | 0.0047424 | 0.98456 | 0.053103 | 0.98458 | 0.053229 | 2.2583
21 | -0.14557 | -0.070425 | 0.14558 | 0.062606 | 9.9335e-06 | -0.0078187 | 0.0047413 | 0.0046461 | 0.0047413 | 0.98458 | 0.053229 | 0.98465 | 0.05271 | 2.1552
22 | 0.15143 | 0.072978 | -0.15143 | -0.07334 | 5.0803e-07 | -0.00036222 | 0.0049282 | 0.0049328 | 0.0049328 | 0.98465 | 0.05271 | 0.98464 | 0.052739 | 2.2422
23 | -0.29701 | -0.13558 | 0.29702 | 0.13399 | 8.408e-06 | -0.001592 | 0.009572 | 0.0095527 | 0.009572 | 0.98465 | 0.05271 | 0.98467 | 0.052499 | 4.3509
24 | -0.38648 | -0.17688 | 0.3865 | 0.17502 | 1.6732e-05 | -0.0018672 | 0.012461 | 0.012438 | 0.012461 | 0.98467 | 0.052499 | 0.98471 | 0.052173 | 5.664
25 | 0.089465 | 0.042893 | -0.089464 | -0.04333 | 2.136e-07 | -0.00043691 | 0.0029087 | 0.0029142 | 0.0029142 | 0.98467 | 0.052499 | 0.98467 | 0.052519 | 1.3247
26 | -0.45285 | -0.16871 | 0.45285 | 0.16844 | 3.0357e-06 | -0.00026123 | 0.01417 | 0.014167 | 0.01417 | 0.9845 | -0.09926 | 0.98451 | -0.099286 | 6.4409
27 | 0.30573 | 0.097452 | -0.30573 | -0.097925 | 2.4239e-06 | -0.00047368 | 0.009409 | 0.0094132 | 0.0094132 | 0.9845 | -0.09926 | 0.98449 | -0.099251 | 4.2787
28 | 0.809 | 0.38794 | -0.80894 | -0.38939 | 5.8589e-05 | -0.001449 | 0.026308 | 0.026326 | 0.026326 | 0.98451 | -0.099286 | 0.98444 | -0.098666 | 11.9665
29 | -1.2619 | -0.55639 | 1.2623 | 0.55153 | 0.00047007 | -0.004853 | 0.040437 | 0.040378 | 0.040437 | 0.98451 | -0.099286 | 0.98485 | -0.10183 | 18.3804
30 | 0.30573 | 0.097925 | -0.30569 | -0.10433 | 3.3009e-05 | -0.0064072 | 0.0094132 | 0.0094723 | 0.0094723 | 0.98449 | -0.099251 | 0.98439 | -0.09906 | 4.3056
31 | 0.80894 | 0.38939 | -0.80888 | -0.39094 | 6.2557e-05 | -0.0015446 | 0.026326 | 0.026346 | 0.026346 | 0.98444 | -0.098666 | 0.98437 | -0.097999 | 11.9756
32 | -1.2623 | -0.55153 | 1.2625 | 0.55157 | 0.00017459 | 3.9752e-05 | 0.040378 | 0.040377 | 0.040378 | 0.98485 | -0.10183 | 0.985 | -0.10057 | 19.2276
33 | 0.30569 | 0.10433 | -0.30569 | -0.10502 | 3.5825e-06 | -0.00069043 | 0.0094723 | 0.0094789 | 0.0094789 | 0.98439 | -0.09906 | 0.98437 | -0.099033 | 4.3086
34 | 0.14399 | 0.068916 | -0.14397 | -0.069482 | 1.954e-05 | -0.00056567 | 0.0046814 | 0.0046887 | 0.0046887 | 0.98437 | -0.097999 | 0.98423 | -0.098919 | 2.2327
35 | -1.4243 | -0.62994 | 1.4244 | 0.62936 | 7.1876e-05 | -0.00057748 | 0.045643 | 0.045636 | 0.045643 | 0.985 | -0.10057 | 0.98505 | -0.10092 | 20.7467
36 | 0.19559 | 0.051699 | -0.19558 | -0.051778 | 4.4698e-06 | -7.964e-05 | 0.0059328 | 0.0059334 | 0.0059334 | 0.98437 | -0.099033 | 0.98435 | -0.099476 | 2.8254
37 | -1.5613 | -0.69144 | 1.5614 | 0.69075 | 0.00010404 | -0.00069132 | 0.050024 | 0.050015 | 0.050024 | 0.98537 | -0.10332 | 0.98543 | -0.10379 | 22.7381
38 | 1.4249 | 0.62538 | -1.4247 | -0.62664 | 0.0001569 | -0.0012639 | 0.045587 | 0.045602 | 0.045602 | 0.98537 | -0.10332 | 0.98527 | -0.10257 | 20.7283
39 | -1.5614 | -0.69075 | 1.5618 | 0.68776 | 0.00044848 | -0.0029838 | 0.050015 | 0.049978 | 0.050015 | 0.98543 | -0.10379 | 0.9857 | -0.10578 | 22.7342
40 | 1.4247 | 0.62664 | -1.4244 | -0.62936 | 0.00033843 | -0.0027224 | 0.045602 | 0.045636 | 0.045636 | 0.98527 | -0.10257 | 0.98505 | -0.10092 | 20.7434
41 | -0.50737 | -0.23232 | 0.50742 | 0.22894 | 5.2328e-05 | -0.0033843 | 0.016359 | 0.016318 | 0.016359 | 0.98471 | 0.052173 | 0.98481 | 0.0514 | 7.4359
42 | 0.12087 | 0.057306 | -0.12087 | -0.05854 | 1.0984e-06 | -0.0012334 | 0.0039215 | 0.0039371 | 0.0039371 | 0.98471 | 0.052173 | 0.98471 | 0.05225 | 1.7896
43 | 0.56767 | 0.27318 | -0.56765 | -0.27321 | 2.2857e-05 | -2.9237e-05 | 0.018466 | 0.018467 | 0.018467 | 0.98481 | 0.0514 | 0.98477 | 0.051128 | 8.7938
44 | -1.0751 | -0.50212 | 1.0754 | 0.49843 | 0.00026255 | -0.0036924 | 0.034782 | 0.034735 | 0.034782 | 0.98481 | 0.0514 | 0.98503 | 0.04946 | 15.8098
45 | -1.0754 | -0.49843 | 1.0755 | 0.49639 | 0.00014467 | -0.0020397 | 0.034735 | 0.034709 | 0.034735 | 0.98503 | 0.04946 | 0.98516 | 0.048407 | 15.7886
46 | -1.1788 | -0.5464 | 1.1788 | 0.5458 | 5.1307e-05 | -0.00059937 | 0.038071 | 0.038064 | 0.038071 | 0.98516 | 0.048407 | 0.9852 | 0.048065 | 17.3051
47 | 0.33915 | 0.1626 | -0.33914 | -0.1637 | 7.7419e-06 | -0.0011009 | 0.011025 | 0.011039 | 0.011039 | 0.98477 | 0.051128 | 0.98475 | 0.051324 | 5.0179
48 | 0.073996 | 0.035785 | -0.073995 | -0.035838 | 4.6945e-07 | -5.2234e-05 | 0.0024095 | 0.0024101 | 0.0024101 | 0.98477 | 0.051128 | 0.98476 | 0.051086 | 1.1477
49 | -0.12082 | -0.058514 | 0.12082 | 0.05846 | 1.2811e-06 | -5.3676e-05 | 0.0039222 | 0.0039215 | 0.0039222 | 0.988 | 0.030119 | 0.98802 | 0.030189 | 1.8677
50 | -2.1427 | -0.98085 | 2.1432 | 0.97931 | 0.00045284 | -0.0015342 | 0.068853 | 0.068833 | 0.068853 | 0.98802 | 0.030189 | 0.98821 | 0.028579 | 31.2967
51 | 2.0219 | 0.92239 | -2.0218 | -0.92275 | 9.328e-05 | -0.00035855 | 0.064932 | 0.064937 | 0.064937 | 0.98802 | 0.030189 | 0.98797 | 0.030538 | 29.5168
52 | -2.2732 | -1.0423 | 2.2734 | 1.0415 | 0.00024702 | -0.00073539 | 0.07305 | 0.073041 | 0.07305 | 0.98821 | 0.028579 | 0.98831 | 0.027748 | 33.2047
53 | 2.0218 | 0.92275 | -2.0214 | -0.92413 | 0.00036125 | -0.0013877 | 0.064937 | 0.064955 | 0.064955 | 0.98797 | 0.030538 | 0.98781 | 0.031895 | 29.525
54 | -2.2734 | -1.0415 | 2.2831 | 1.0122 | 0.009739 | -0.029301 | 0.073041 | 0.072655 | 0.073041 | 0.98831 | 0.027748 | 0.9923 | -0.0036272 | 33.2002
55 | 1.7084 | 0.77251 | -1.7082 | -0.77331 | 0.00014513 | -0.00080034 | 0.054792 | 0.054803 | 0.054803 | 0.98781 | 0.031895 | 0.98773 | 0.032524 | 24.9103
56 | -2.2831 | -1.0122 | 2.2835 | 1.0111 | 0.00038042 | -0.0011567 | 0.072655 | 0.07264 | 0.072655 | 0.9923 | -0.0036272 | 0.99246 | -0.0047956 | 33.025
57 | -1.7081 | -0.77418 | 1.7082 | 0.77331 | 0.00015798 | -0.00087067 | 0.054814 | 0.054803 | 0.054814 | 0.98764 | 0.033212 | 0.98773 | 0.032524 | 24.9153
58 | -2.4866 | -1.1063 | 2.4868 | 1.1059 | 0.00013536 | -0.00034135 | 0.079113 | 0.079109 | 0.079113 | 0.99308 | -0.0055798 | 0.99314 | -0.0059656 | 35.9605
59 | 2.3498 | 1.04 | -2.3494 | -1.0413 | 0.00045699 | -0.0013085 | 0.074697 | 0.074714 | 0.074714 | 0.99308 | -0.0055798 | 0.9929 | -0.0042169 | 33.961
60 | -2.4868 | -1.1059 | 2.4875 | 1.1041 | 0.00073933 | -0.0018659 | 0.079109 | 0.079084 | 0.079109 | 0.99314 | -0.0059656 | 0.99341 | -0.008066 | 35.9585
61 | 2.3494 | 1.0413 | -2.3489 | -1.0427 | 0.0004894 | -0.0013999 | 0.074714 | 0.074732 | 0.074732 | 0.9929 | -0.0042169 | 0.99271 | -0.0027511 | 33.9693
62 | -2.4875 | -1.1041 | 2.4887 | 1.1047 | 0.0012176 | 0.00063388 | 0.079084 | 0.079083 | 0.079084 | 0.99341 | -0.008066 | 0.99393 | -0.0037911 | 37.6591
63 | 2.3489 | 1.0427 | -2.3483 | -1.0425 | 0.00054987 | 0.00027943 | 0.074732 | 0.074733 | 0.074733 | 0.99271 | -0.0027511 | 0.99246 | -0.0047956 | 35.5872
64 | -2.6053 | -1.1612 | 2.608 | 1.1626 | 0.0027373 | 0.0014502 | 0.082843 | 0.08284 | 0.082843 | 0.99393 | -0.0037911 | 0.99505 | 0.0052752 | 39.4489
65 | -0.11193 | -0.054212 | 0.11194 | 0.054179 | 6.5943e-07 | -3.3193e-05 | 0.0036082 | 0.0036078 | 0.0036082 | 0.99504 | 0.0052363 | 0.99505 | 0.0052752 | 1.7182
66 | -2.72 | -1.2168 | 2.7219 | 1.2128 | 0.0019467 | -0.0040416 | 0.086446 | 0.086391 | 0.086446 | 0.99505 | 0.0052752 | 0.99572 | 0.00015412 | 39.2935
67 | -2.7219 | -1.2128 | 2.7223 | 1.2119 | 0.00039821 | -0.00082823 | 0.086391 | 0.08638 | 0.086391 | 0.99572 | 0.00015412 | 0.99586 | -0.00088623 | 39.2687
68 | -2.8546 | -1.276 | 2.857 | 1.2773 | 0.0023564 | 0.0012852 | 0.090639 | 0.090637 | 0.090639 | 0.99586 | -0.00088623 | 0.99674 | 0.0061796 | 43.1614
69 | 0.077497 | 0.036165 | -0.077497 | -0.037533 | 4.7581e-07 | -0.0013686 | 0.0024768 | 0.0024939 | 0.0024939 | 0.99674 | 0.0061796 | 0.99673 | 0.0062309 | 1.1336
70 | -2.9345 | -1.3135 | 2.941 | 1.302 | 0.0065361 | -0.011507 | 0.093113 | 0.092955 | 0.093113 | 0.99674 | 0.0061796 | 0.99883 | -0.0096217 | 42.3242
71 | -1.1788 | -0.5458 | 1.1789 | 0.54535 | 3.9051e-05 | -0.00045639 | 0.038064 | 0.038058 | 0.038064 | 0.9852 | 0.048065 | 0.98523 | 0.047805 | 17.3016
72 | 0.077291 | 0.037188 | -0.077289 | -0.037433 | 2.4074e-06 | -0.00024508 | 0.0025157 | 0.0025189 | 0.0025189 | 0.98423 | -0.098919 | 0.9842 | -0.099127 | 1.1995
73 | 0.16126 | 0.077546 | -0.16126 | -0.077617 | 1.1371e-07 | -7.1628e-05 | 0.0052455 | 0.0052464 | 0.0052464 | 0.98475 | 0.051324 | 0.98475 | 0.05133 | 2.3847
74 | 0.075152 | 0.035912 | -0.075152 | -0.036398 | 1.6742e-07 | -0.00048576 | 0.0024417 | 0.0024478 | 0.0024478 | 0.98475 | 0.05133 | 0.98474 | 0.051349 | 1.1127
75 | -0.071392 | -0.034577 | 0.071392 | 0.034431 | 4.547e-08 | -0.00014554 | 0.002327 | 0.0023251 | 0.002327 | 0.98408 | -0.099383 | 0.98408 | -0.099389 | 1.0577
76 | -0.071392 | -0.034431 | 0.0714 | 0.008106 | 7.2579e-06 | -0.026325 | 0.0023251 | 0.0021077 | 0.0023251 | 0.98408 | -0.099389 | 0.98418 | -0.099396 | 1.0569
77 | 0.12415 | 0.059657 | -0.12415 | -0.060129 | 4.4545e-07 | -0.00047193 | 0.0040401 | 0.0040461 | 0.0040461 | 0.98418 | -0.099396 | 0.98418 | -0.099365 | 1.8392
78 | -0.19555 | -0.067763 | 0.19558 | 0.051778 | 3.3207e-05 | -0.015985 | 0.0060704 | 0.0059334 | 0.0060704 | 0.98418 | -0.099396 | 0.98435 | -0.099476 | 2.7593

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 5.1965 | 2.3126

## res_load
| p_mw | q_mvar
0 | 0.069225 | 0.033527
1 | 0.10672 | 0.051688
2 | 0.15304 | 0.074119
3 | 0.051622 | 0.025002
4 | 0.15889 | 0.076952
5 | 0.16176 | 0.078343
6 | 0.14024 | 0.067919
7 | 0.05941 | 0.028774
8 | 0.11193 | 0.054211
9 | 0.14557 | 0.070503
10 | 0.15143 | 0.07334
11 | 0.14712 | 0.071254
12 | 0.66489 | 0.32202
13 | 0.16181 | 0.078366
14 | 0.1101 | 0.053324
15 | 0.1364 | 0.066062
16 | 0.089464 | 0.04333
17 | 0.12087 | 0.05854
18 | 0.10327 | 0.050016
19 | 0.1545 | 0.074828
20 | 0.12082 | 0.058514
21 | 0.12998 | 0.062952
22 | 0.31307 | 0.15163
23 | 0.1368 | 0.066256
24 | 0.11658 | 0.056463
25 | 0.064802 | 0.031385
26 | 0.11193 | 0.054212
27 | 0.1323 | 0.064076
28 | 0.066679 | 0.032294
29 | 0.073995 | 0.035838
30 | 0.17788 | 0.08615
31 | 0.086111 | 0.041705
32 | 0.075152 | 0.036398
33 | 0.077497 | 0.037533
34 | 0.15987 | 0.077426
35 | 0.071392 | 0.034577
36 | 0.12415 | 0.060129
37 | 0.077289 | 0.037433

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1