## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_153_1_node_2 | 20 | n |  | TRUE
1 | bus_MV_153_1_node_4 | 20 | n |  | TRUE
2 | bus_MV_153_1_node_7 | 20 | n |  | TRUE
3 | bus_MV_153_1_node_3 | 20 | n |  | TRUE
4 | bus_MV_153_1_node_6 | 20 | n |  | TRUE
5 | bus_MV_153_1_node_5 | 20 | n |  | TRUE
6 | bus_MV_153_1_node_40 | 20 | n |  | TRUE
7 | bus_MV_153_1_node_160 | 20 | n |  | TRUE
8 | bus_MV_153_1_node_111 | 20 | n |  | TRUE
9 | bus_MV_153_1_node_129 | 20 | n |  | TRUE
10 | bus_MV_153_1_node_39 | 20 | n |  | TRUE
11 | bus_MV_153_1_node_38 | 20 | n |  | TRUE
12 | bus_MV_153_1_node_24 | 20 | n |  | TRUE
13 | bus_MV_153_1_node_112 | 20 | n |  | TRUE
14 | bus_MV_153_1_node_64 | 20 | n |  | TRUE
15 | bus_MV_153_1_node_21 | 20 | n |  | TRUE
16 | bus_MV_153_1_node_156 | 20 | n |  | TRUE
17 | bus_MV_153_1_node_166 | 20 | n |  | TRUE
18 | bus_MV_153_1_node_154 | 20 | n |  | TRUE
19 | bus_MV_153_1_node_73 | 20 | n |  | TRUE
20 | bus_MV_153_1_node_9 | 20 | n |  | TRUE
21 | bus_MV_153_1_node_10 | 20 | n |  | TRUE
22 | bus_MV_153_1_node_119 | 20 | n |  | TRUE
23 | bus_MV_153_1_node_70 | 20 | n |  | TRUE
24 | bus_MV_153_1_node_11 | 20 | n |  | TRUE
25 | bus_MV_153_1_node_120 | 20 | n |  | TRUE
26 | bus_MV_153_1_node_155 | 20 | n |  | TRUE
27 | bus_MV_153_1_node_13 | 20 | n |  | TRUE
28 | bus_MV_153_1_node_14 | 20 | n |  | TRUE
29 | bus_MV_153_1_node_12 | 20 | n |  | TRUE
30 | bus_MV_153_1_node_35 | 20 | n |  | TRUE
31 | bus_MV_153_1_node_63 | 20 | n |  | TRUE
32 | bus_MV_153_1_node_121 | 20 | n |  | TRUE
33 | bus_MV_153_1_node_33 | 20 | n |  | TRUE
34 | bus_MV_153_1_node_159 | 20 | n |  | TRUE
35 | bus_MV_153_1_node_36 | 20 | n |  | TRUE
36 | bus_MV_153_1_node_65 | 20 | n |  | TRUE
37 | bus_MV_153_1_node_34 | 20 | n |  | TRUE
38 | bus_MV_153_1_node_29 | 20 | n |  | TRUE
39 | bus_MV_153_1_node_31 | 20 | n |  | TRUE
40 | bus_MV_153_1_node_32 | 20 | n |  | TRUE
41 | bus_MV_153_1_node_26 | 20 | n |  | TRUE
42 | bus_MV_153_1_node_56 | 20 | n |  | TRUE
43 | bus_MV_153_1_node_55 | 20 | n |  | TRUE
44 | bus_MV_153_1_node_58 | 20 | n |  | TRUE
45 | bus_MV_153_1_node_54 | 20 | n |  | TRUE
46 | bus_MV_153_1_node_151 | 20 | n |  | TRUE
47 | bus_MV_153_1_node_51 | 20 | n |  | TRUE
48 | bus_MV_153_1_node_16 | 20 | n |  | TRUE
49 | bus_MV_153_1_node_18 | 20 | n |  | TRUE
50 | bus_MV_153_1_node_19 | 20 | n |  | TRUE
51 | bus_MV_153_1_node_17 | 20 | n |  | TRUE
52 | bus_MV_153_1_node_20 | 20 | n |  | TRUE
53 | bus_MV_153_1_node_22 | 20 | n |  | TRUE
54 | bus_MV_153_1_node_23 | 20 | n |  | TRUE
55 | bus_MV_153_1_node_25 | 20 | n |  | TRUE
56 | bus_MV_153_1_node_28 | 20 | n |  | TRUE
57 | bus_MV_153_1_node_37 | 20 | n |  | TRUE
58 | bus_MV_153_1_node_171 | 20 | n |  | TRUE
59 | bus_MV_153_1_node_57 | 20 | n |  | TRUE
60 | bus_MV_153_1_node_128 | 20 | n |  | TRUE
61 | bus_MV_153_1_node_41 | 20 | n |  | TRUE
62 | bus_MV_153_1_node_43 | 20 | n |  | TRUE
63 | bus_MV_153_1_node_42 | 20 | n |  | TRUE
64 | bus_MV_153_1_node_45 | 20 | n |  | TRUE
65 | bus_MV_153_1_node_44 | 20 | n |  | TRUE
66 | bus_MV_153_1_node_157 | 20 | n |  | TRUE
67 | bus_MV_153_1_node_47 | 20 | n |  | TRUE
68 | bus_MV_153_1_node_164 | 20 | n |  | TRUE
69 | bus_MV_153_1_node_46 | 20 | n |  | TRUE
70 | bus_MV_153_1_node_69 | 20 | n |  | TRUE
71 | bus_MV_153_1_node_163 | 20 | n |  | TRUE
72 | bus_MV_153_1_node_116 | 20 | n |  | TRUE
73 | bus_MV_153_1_node_68 | 20 | n |  | TRUE
74 | bus_MV_153_1_node_115 | 20 | n |  | TRUE
75 | bus_MV_153_1_node_48 | 20 | n |  | TRUE
76 | bus_MV_153_1_node_50 | 20 | n |  | TRUE
77 | bus_MV_153_1_node_49 | 20 | n |  | TRUE
78 | bus_MV_153_1_node_53 | 20 | n |  | TRUE
79 | bus_MV_153_1_node_52 | 20 | n |  | TRUE
80 | bus_MV_153_1_node_125 | 20 | n |  | TRUE
81 | bus_MV_153_1_node_67 | 20 | n |  | TRUE
82 | bus_MV_153_1_node_118 | 20 | n |  | TRUE
83 | bus_MV_153_1_node_127 | 20 | n |  | TRUE
84 | bus_MV_153_1_node_123 | 20 | n |  | TRUE
85 | bus_MV_153_1_node_117 | 20 | n |  | TRUE
86 | bus_MV_153_1_node_59 | 20 | n |  | TRUE
87 | bus_MV_153_1_node_60 | 20 | n |  | TRUE
88 | bus_MV_153_1_node_61 | 20 | n |  | TRUE
89 | bus_MV_153_1_node_62 | 20 | n |  | TRUE
90 | bus_MV_153_1_node_113 | 20 | n |  | TRUE
91 | bus_MV_153_1_node_66 | 20 | n |  | TRUE
92 | bus_MV_153_1_node_114 | 20 | n |  | TRUE
93 | bus_MV_153_1_node_71 | 20 | n |  | TRUE
94 | bus_MV_153_1_node_72 | 20 | n |  | TRUE
95 | bus_MV_153_1_node_170 | 20 | n |  | TRUE
96 | bus_MV_153_1_node_150 | 20 | n |  | TRUE
97 | bus_MV_153_1_node_122 | 20 | n |  | TRUE
98 | bus_MV_153_1_node_124 | 20 | n |  | TRUE
99 | bus_MV_153_1_node_126 | 20 | n |  | TRUE
100 | bus_HV_153_1_node_171 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_153_1_load_2 | 0 | 0.10245 | 0.04962 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_153_1_load_7 | 2 | 0.069327 | 0.033577 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_153_1_load_160 | 7 | 1.2002 | 0.58131 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_153_1_load_129 | 9 | 0.1477 | 0.071536 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_153_1_load_38 | 11 | 0.14162 | 0.068591 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_153_1_load_24 | 12 | 0.078296 | 0.037921 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_153_1_load_64 | 14 | 0.14008 | 0.067843 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_153_1_load_21 | 15 | 0.34747 | 0.16829 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_153_1_load_166 | 17 | 0.063566 | 0.030786 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_153_1_load_154 | 18 | 0.1542 | 0.074682 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_153_1_load_9 | 20 | 0.092508 | 0.044804 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_153_1_load_119 | 22 | 0.08858 | 0.042901 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_153_1_load_70 | 23 | 0.12881 | 0.062383 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_153_1_load_12 | 29 | 0.15322 | 0.07421 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_153_1_load_63 | 31 | 0.095279 | 0.046146 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_153_1_load_159 | 34 | 0.70174 | 0.33987 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_153_1_load_65 | 36 | 0.16373 | 0.079298 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_153_1_load_26 | 41 | 0.10386 | 0.0503 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_153_1_load_55 | 43 | 0.153 | 0.074102 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_153_1_load_58 | 44 | 0.11788 | 0.05709 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_153_1_load_54 | 45 | 0.13079 | 0.063346 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_153_1_load_151 | 46 | 0.13978 | 0.067698 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_153_1_load_16 | 48 | 0.16207 | 0.078495 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_153_1_load_18 | 49 | 1.0524 | 0.5097 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_153_1_load_22 | 53 | 0.16307 | 0.078976 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_153_1_load_23 | 54 | 0.086924 | 0.042099 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_153_1_load_37 | 57 | 0.12041 | 0.058316 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_153_1_load_171 | 58 | 0.098074 | 0.047499 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_153_1_load_57 | 59 | 0.11133 | 0.05392 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_153_1_load_128 | 60 | 0.3712 | 0.17978 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_153_1_load_41 | 61 | 0.11664 | 0.056489 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_153_1_load_44 | 65 | 0.2057 | 0.099626 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_153_1_load_157 | 66 | 0.10455 | 0.050634 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_153_1_load_47 | 67 | 0.070639 | 0.034212 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_153_1_load_164 | 68 | 0.052884 | 0.025613 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_153_1_load_163 | 71 | 0.11406 | 0.05524 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_153_1_load_68 | 73 | 0.11898 | 0.057622 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_153_1_load_48 | 75 | 0.12469 | 0.060391 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_153_1_load_67 | 81 | 0.066941 | 0.032421 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_153_1_load_118 | 82 | 0.13673 | 0.066223 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_153_1_load_127 | 83 | 0.07034 | 0.034067 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_153_1_load_117 | 85 | 0.072207 | 0.034971 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_153_1_load_59 | 86 | 0.063987 | 0.03099 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_153_1_load_113 | 90 | 0.081664 | 0.039552 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_153_1_load_66 | 91 | 0.090492 | 0.043827 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_153_1_load_114 | 92 | 0.088718 | 0.042968 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_153_1_load_71 | 93 | 0.13967 | 0.067643 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_153_1_load_170 | 95 | 0.14736 | 0.071368 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_153_1_load_150 | 96 | 0.056138 | 0.027189 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_153_1_load_122 | 97 | 0.071338 | 0.034551 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_153_1_load_124 | 98 | 0.09955 | 0.048214 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_153_1_load_126 | 99 | 0.13212 | 0.063986 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_153_1_line_0 |  | 0 | 1 | 0.027362 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_153_1_line_1 |  | 1 | 2 | 0.037242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_153_1_line_2 |  | 1 | 3 | 0.002286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_153_1_line_3 |  | 2 | 8 | 0.03636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_153_1_line_4 |  | 3 | 4 | 0.19515 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_153_1_line_5 |  | 4 | 7 | 0.026768 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_153_1_line_6 |  | 4 | 5 | 0.27156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_153_1_line_7 |  | 5 | 6 | 0.39538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_153_1_line_8 |  | 6 | 9 | 0.095016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_153_1_line_9 |  | 6 | 10 | 0.3076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_153_1_line_10 |  | 7 | 12 | 0.06995 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_153_1_line_11 |  | 8 | 13 | 0.20077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_153_1_line_12 |  | 9 | 60 | 0.0076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_153_1_line_13 |  | 10 | 11 | 0.12192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_153_1_line_14 |  | 12 | 54 | 0.026702 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_153_1_line_15 |  | 13 | 96 | 0.040943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_153_1_line_16 |  | 14 | 15 | 0.15749 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_153_1_line_17 |  | 15 | 50 | 0.058959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_153_1_line_18 |  | 16 | 17 | 1.586 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_153_1_line_19 |  | 16 | 18 | 0.026604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_153_1_line_20 |  | 16 | 19 | 1.8782 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_153_1_line_21 |  | 18 | 26 | 0.00557 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_153_1_line_22 |  | 19 | 95 | 0.029108 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_153_1_line_23 |  | 19 | 94 | 0.62829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_153_1_line_24 |  | 20 | 21 | 0.057615 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_153_1_line_25 |  | 20 | 22 | 0.12736 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_153_1_line_26 |  | 20 | 23 | 4.8333 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_153_1_line_27 |  | 21 | 24 | 0.14055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_153_1_line_28 |  | 22 | 25 | 0.01245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_153_1_line_29 |  | 23 | 26 | 0.76173 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_153_1_line_30 |  | 24 | 29 | 0.081838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_153_1_line_31 |  | 25 | 32 | 0.069383 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_153_1_line_32 |  | 27 | 28 | 0.17237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_153_1_line_33 |  | 27 | 29 | 0.063938 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_153_1_line_34 |  | 28 | 30 | 0.43708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_153_1_line_35 |  | 28 | 31 | 0.066553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_153_1_line_36 |  | 30 | 45 | 0.060321 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_153_1_line_37 |  | 30 | 37 | 0.21914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_153_1_line_38 |  | 30 | 39 | 0.33417 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
39 | MV_153_1_line_39 |  | 32 | 71 | 0.042312 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_153_1_line_40 |  | 33 | 34 | 0.048607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_153_1_line_41 |  | 33 | 35 | 0.16163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_153_1_line_42 |  | 35 | 36 | 0.023967 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_153_1_line_43 |  | 35 | 37 | 0.18682 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_153_1_line_44 |  | 37 | 44 | 0.007375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_153_1_line_45 |  | 38 | 39 | 0.099992 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_153_1_line_46 |  | 38 | 40 | 0.12542 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_153_1_line_47 |  | 38 | 41 | 0.044891 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
48 | MV_153_1_line_48 |  | 39 | 42 | 0.26496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_153_1_line_49 |  | 39 | 43 | 0.029511 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_153_1_line_50 |  | 40 | 57 | 0.01904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_153_1_line_51 |  | 40 | 58 | 0.099973 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
52 | MV_153_1_line_52 |  | 41 | 56 | 0.041027 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_153_1_line_53 |  | 42 | 59 | 0.04608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_153_1_line_54 |  | 46 | 47 | 0.04111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_153_1_line_55 |  | 47 | 79 | 0.12574 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_153_1_line_56 |  | 47 | 80 | 0.023994 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_153_1_line_57 |  | 47 | 77 | 0.10019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_153_1_line_58 |  | 48 | 49 | 0.028853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_153_1_line_59 |  | 48 | 50 | 0.085255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_153_1_line_60 |  | 48 | 51 | 0.042514 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_153_1_line_61 |  | 51 | 52 | 0.044608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_153_1_line_62 |  | 52 | 53 | 0.045363 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_153_1_line_63 |  | 52 | 54 | 0.050772 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_153_1_line_64 |  | 53 | 55 | 0.068799 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
65 | MV_153_1_line_65 |  | 55 | 56 | 0.16669 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
66 | MV_153_1_line_66 |  | 61 | 62 | 0.05679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_153_1_line_67 |  | 61 | 63 | 0.049584 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_153_1_line_68 |  | 62 | 64 | 0.1385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_153_1_line_69 |  | 63 | 65 | 0.053275 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_153_1_line_70 |  | 63 | 66 | 0.12988 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_153_1_line_71 |  | 64 | 68 | 0.045878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_153_1_line_72 |  | 65 | 67 | 0.020498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_153_1_line_73 |  | 66 | 69 | 0.029619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_153_1_line_74 |  | 67 | 72 | 0.024035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_153_1_line_75 |  | 68 | 71 | 0.078087 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_153_1_line_76 |  | 69 | 70 | 0.4403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_153_1_line_77 |  | 70 | 73 | 0.053053 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_153_1_line_78 |  | 72 | 74 | 0.020525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_153_1_line_79 |  | 74 | 85 | 0.0057098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_153_1_line_80 |  | 74 | 88 | 0.002908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_153_1_line_81 |  | 75 | 76 | 0.028565 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_153_1_line_82 |  | 75 | 77 | 0.028807 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_153_1_line_83 |  | 76 | 78 | 0.18879 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_153_1_line_84 |  | 78 | 82 | 0.025821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_153_1_line_85 |  | 79 | 81 | 0.0914 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_153_1_line_86 |  | 80 | 83 | 0.03729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_153_1_line_87 |  | 80 | 84 | 0.005022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_153_1_line_88 |  | 82 | 85 | 0.066883 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_153_1_line_89 |  | 84 | 97 | 0.026884 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_153_1_line_90 |  | 86 | 87 | 0.060316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_153_1_line_91 |  | 87 | 88 | 0.63125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_153_1_line_92 |  | 88 | 89 | 0.38651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_153_1_line_93 |  | 88 | 90 | 0.02518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_153_1_line_94 |  | 89 | 91 | 0.099384 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_153_1_line_95 |  | 90 | 92 | 0.043347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_153_1_line_96 |  | 93 | 94 | 0.065199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_153_1_line_97 |  | 97 | 98 | 0.039898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_153_1_line_98 |  | 98 | 99 | 0.064364 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_153_1_trafo_171 | 25 MVA 110/20 kV | 100 | 58 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2726782.2439 | 1236914.2007
1 | 2726760.4426 | 1236897.666
2 | 2726729.5864 | 1236876.8125
3 | 2726761.6871 | 1236895.7465
4 | 2726877.8375 | 1236790.0377
5 | 2726857.7969 | 1236627.7184
6 | 2726977.0981 | 1236370.085
7 | 2726888.899 | 1236765.8204
8 | 2726699.461 | 1236856.4528
9 | 2726916.8775 | 1236326.4344
10 | 2726808.2811 | 1236239.2477
11 | 2726926.2462 | 1236207.1844
12 | 2726956.2511 | 1236746.9329
13 | 2726597.5842 | 1237027.0234
14 | 2727000.7981 | 1237080.8088
15 | 2727022.0907 | 1236924.7667
16 | 2731360.2969 | 1240364.8338
17 | 2732806.7952 | 1241015.3363
18 | 2731357.2282 | 1240338.4098
19 | 2731221.021 | 1242237.8395
20 | 2727998.7962 | 1236180.8849
21 | 2727942.1287 | 1236185.3903
22 | 2728037.5321 | 1236059.5566
23 | 2731434.3402 | 1239580.5746
24 | 2727821.4327 | 1236237.0912
25 | 2728031.4197 | 1236048.7103
26 | 2731351.6738 | 1240337.8086
27 | 2727693.922 | 1236167.2239
28 | 2727605.1521 | 1236314.9737
29 | 2727747.1096 | 1236202.7082
30 | 2727322.9295 | 1236256.3249
31 | 2727646.6114 | 1236367.0357
32 | 2728054.3292 | 1235995.615
33 | 2727220.2581 | 1236069.2022
34 | 2727196.7791 | 1236111.7906
35 | 2727288.4702 | 1236001.5066
36 | 2727278.3226 | 1235979.7822
37 | 2727367.3085 | 1236137.2209
38 | 2727199.4415 | 1236515.3075
39 | 2727129.8462 | 1236483.9137
40 | 2727310.152 | 1236537.5977
41 | 2727168.9484 | 1236548.3157
42 | 2726940.3942 | 1236592.6535
43 | 2727109.6729 | 1236462.3751
44 | 2727373.4035 | 1236141.3995
45 | 2727380.7664 | 1236273.4569
46 | 2727578.1747 | 1235980.3028
47 | 2727542.4873 | 1235960.2865
48 | 2727041.053 | 1236822.2849
49 | 2727016.3474 | 1236837.1892
50 | 2727075.181 | 1236899.9481
51 | 2727019.1753 | 1236785.8325
52 | 2727008.0788 | 1236742.6813
53 | 2727007.9876 | 1236697.4192
54 | 2726962.2135 | 1236720.9048
55 | 2727061.3569 | 1236654.0019
56 | 2727139.1397 | 1236576.5902
57 | 2727326.4562 | 1236527.8118
58 | 2727358.023 | 1236625.364
59 | 2726896.5995 | 1236593.9856
60 | 2726909.4753 | 1236324.7117
61 | 2727856.515 | 1235752.2507
62 | 2727830.2206 | 1235802.616
63 | 2727877.6116 | 1235707.3783
64 | 2727930.3924 | 1235897.485
65 | 2727863.5522 | 1235655.9955
66 | 2727998.2962 | 1235755.3839
67 | 2727847.3702 | 1235643.4197
68 | 2727956.7377 | 1235935.0393
69 | 2728018.7826 | 1235733.9406
70 | 2728395.8748 | 1235669.7572
71 | 2728028.0924 | 1235966.7587
72 | 2727839.6507 | 1235622.746
73 | 2728415.7501 | 1235713.8155
74 | 2727819.3689 | 1235619.229
75 | 2727618.5254 | 1235856.6325
76 | 2727633.9115 | 1235832.5429
77 | 2727602.6111 | 1235880.6442
78 | 2727743.2315 | 1235678.6413
79 | 2727497.5167 | 1235874.7942
80 | 2727525.6696 | 1235977.3954
81 | 2727430.1029 | 1235813.074
82 | 2727759.3377 | 1235658.4262
83 | 2727549.4115 | 1236006.2069
84 | 2727522.2 | 1235981.0351
85 | 2727813.6619 | 1235619.4105
86 | 2727995.9758 | 1235140.6858
87 | 2727951.1008 | 1235167.0302
88 | 2727819.1133 | 1235616.3322
89 | 2727575.7342 | 1235454.833
90 | 2727843.9923 | 1235620.2162
91 | 2727661.4361 | 1235404.5094
92 | 2727886.7407 | 1235627.2985
93 | 2731538.1597 | 1242446.4743
94 | 2731479.3204 | 1242421.4821
95 | 2731218.9719 | 1242266.8749
96 | 2726624.7042 | 1237055.3585
97 | 2727529.5403 | 1236006.8978
98 | 2727540.434 | 1236045.2802
99 | 2727570.7006 | 1236087.8435
100 | 2727358.023 | 1236625.364

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99734 | -0.04857 | 0.10245 | 0.04962
1 | 0.99734 | -0.048536 | 0 | 0
2 | 0.99734 | -0.048497 | 0.069327 | 0.033577
3 | 0.99735 | -0.048541 | 0 | 0
4 | 0.9974 | -0.048953 | 0 | 0
5 | 0.99717 | -0.047234 | 0 | 0
6 | 0.99684 | -0.04453 | 0 | 0
7 | 0.99743 | -0.049168 | 1.2002 | 0.58131
8 | 0.99734 | -0.048487 | 0 | 0
9 | 0.99678 | -0.043944 | 0.1477 | 0.071536
10 | 0.99679 | -0.044134 | 0 | 0
11 | 0.99677 | -0.043938 | 0.14162 | 0.068591
12 | 0.99771 | -0.047146 | 0.078296 | 0.037921
13 | 0.99732 | -0.048394 | 0 | 0
14 | 0.99764 | -0.045636 | 0.14008 | 0.067843
15 | 0.99768 | -0.045367 | 0.34747 | 0.16829
16 | 0.98777 | -0.075943 | 0 | 0
17 | 0.98757 | -0.07732 | 0.063566 | 0.030786
18 | 0.98778 | -0.076022 | 0.1542 | 0.074682
19 | 0.98674 | -0.085455 | 0 | 0
20 | 0.99441 | -0.021916 | 0.092508 | 0.044804
21 | 0.99462 | -0.023542 | 0 | 0
22 | 0.9939 | -0.025958 | 0.08858 | 0.042901
23 | 0.98852 | -0.069871 | 0.12881 | 0.062383
24 | 0.99513 | -0.027485 | 0 | 0
25 | 0.99386 | -0.025708 | 0 | 0
26 | 0.98778 | -0.076049 | 0 | 0
27 | 0.99579 | -0.026863 | 0 | 0
28 | 0.99644 | -0.031946 | 0 | 0
29 | 0.99542 | -0.029766 | 0.15322 | 0.07421
30 | 0.99816 | -0.045059 | 0 | 0
31 | 0.99644 | -0.031873 | 0.095279 | 0.046146
32 | 0.99369 | -0.024307 | 0 | 0
33 | 0.99753 | -0.039469 | 0 | 0
34 | 0.99749 | -0.039061 | 0.70174 | 0.33987
35 | 0.99768 | -0.0408 | 0 | 0
36 | 0.99767 | -0.040754 | 0.16373 | 0.079298
37 | 0.99788 | -0.04265 | 0 | 0
38 | 0.99906 | -0.035307 | 0 | 0
39 | 0.99891 | -0.036061 | 0 | 0
40 | 0.99941 | -0.033621 | 0 | 0
41 | 0.999 | -0.035566 | 0.10386 | 0.0503
42 | 0.99888 | -0.035779 | 0 | 0
43 | 0.9989 | -0.036116 | 0.153 | 0.074102
44 | 0.99788 | -0.04264 | 0.11788 | 0.05709
45 | 0.99814 | -0.045155 | 0.13079 | 0.063346
46 | 0.9919 | -0.019328 | 0.13978 | 0.067698
47 | 0.99191 | -0.019396 | 0 | 0
48 | 0.99777 | -0.046194 | 0.16207 | 0.078495
49 | 0.99773 | -0.04583 | 1.0524 | 0.5097
50 | 0.99772 | -0.045709 | 0 | 0
51 | 0.99791 | -0.0453 | 0 | 0
52 | 0.99801 | -0.046199 | 0 | 0
53 | 0.99823 | -0.048215 | 0.16307 | 0.078976
54 | 0.99779 | -0.047771 | 0.086924 | 0.042099
55 | 0.99857 | -0.039844 | 0 | 0
56 | 0.99894 | -0.035796 | 0 | 0
57 | 0.99941 | -0.033594 | 0.12041 | 0.058316
58 | 1 | 0 | -8.8573 | -4.0728
59 | 0.99887 | -0.03572 | 0.11133 | 0.05392
60 | 0.99678 | -0.04391 | 0.3712 | 0.17978
61 | 0.99272 | -0.021256 | 0.11664 | 0.056489
62 | 0.99286 | -0.022314 | 0 | 0
63 | 0.99256 | -0.022568 | 0 | 0
64 | 0.99318 | -0.024874 | 0 | 0
65 | 0.99245 | -0.021747 | 0.2057 | 0.099626
66 | 0.9925 | -0.023063 | 0.10455 | 0.050634
67 | 0.99242 | -0.021481 | 0.070639 | 0.034212
68 | 0.99329 | -0.025715 | 0.052884 | 0.025613
69 | 0.9925 | -0.023043 | 0 | 0
70 | 0.99243 | -0.02259 | 0 | 0
71 | 0.99358 | -0.023449 | 0.11406 | 0.05524
72 | 0.99238 | -0.021189 | 0 | 0
73 | 0.99242 | -0.022515 | 0.11898 | 0.057622
74 | 0.99235 | -0.02094 | 0 | 0
75 | 0.99202 | -0.019806 | 0.12469 | 0.060391
76 | 0.99204 | -0.02003 | 0 | 0
77 | 0.99198 | -0.020039 | 0 | 0
78 | 0.99221 | -0.021477 | 0 | 0
79 | 0.9919 | -0.019307 | 0 | 0
80 | 0.9919 | -0.019294 | 0 | 0
81 | 0.99189 | -0.019383 | 0.066941 | 0.032421
82 | 0.99223 | -0.021671 | 0.13673 | 0.066223
83 | 0.99189 | -0.019263 | 0.07034 | 0.034067
84 | 0.9919 | -0.019277 | 0 | 0
85 | 0.99234 | -0.020882 | 0.072207 | 0.034971
86 | 0.99229 | -0.020759 | 0.063987 | 0.03099
87 | 0.9923 | -0.020804 | 0 | 0
88 | 0.99235 | -0.020933 | 0 | 0
89 | 0.9923 | -0.020625 | 0 | 0
90 | 0.99234 | -0.020883 | 0.081664 | 0.039552
91 | 0.99229 | -0.020736 | 0.090492 | 0.043827
92 | 0.99234 | -0.020838 | 0.088718 | 0.042968
93 | 0.98662 | -0.08463 | 0.13967 | 0.067643
94 | 0.98663 | -0.084739 | 0 | 0
95 | 0.98673 | -0.085508 | 0.14736 | 0.071368
96 | 0.99732 | -0.048368 | 0.056138 | 0.027189
97 | 0.99189 | -0.019183 | 0.071338 | 0.034551
98 | 0.99187 | -0.019075 | 0.09955 | 0.048214
99 | 0.99186 | -0.018975 | 0.13212 | 0.063986
100 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10245 | -0.04962 | 0.10245 | 0.049588 | 5.2921e-07 | -3.216e-05 | 0.0032949 | 0.0032945 | 0.0032949 | 0.99734 | -0.04857 | 0.99734 | -0.048536 | 1.569
1 | 0.12547 | 0.053278 | -0.12547 | -0.054162 | 7.7589e-07 | -0.00088424 | 0.0039454 | 0.0039555 | 0.0039555 | 0.99734 | -0.048536 | 0.99734 | -0.048497 | 1.7979
2 | -0.22792 | -0.10287 | 0.22792 | 0.10281 | 1.5984e-07 | -5.4244e-05 | 0.0072377 | 0.0072371 | 0.0072377 | 0.99734 | -0.048536 | 0.99735 | -0.048541 | 3.2899
3 | 0.056139 | 0.020585 | -0.056139 | -0.021449 | 1.4613e-07 | -0.00086348 | 0.0017307 | 0.0017395 | 0.0017395 | 0.99734 | -0.048497 | 0.99734 | -0.048487 | 0.79067
4 | -0.22792 | -0.10281 | 0.22793 | 0.09818 | 1.3542e-05 | -0.004631 | 0.0072371 | 0.007183 | 0.0072371 | 0.99735 | -0.048541 | 0.9974 | -0.048953 | 3.2896
5 | -0.8889 | -0.38976 | 0.88893 | 0.38914 | 2.8193e-05 | -0.00062745 | 0.028092 | 0.028084 | 0.028092 | 0.9974 | -0.048953 | 0.99743 | -0.049168 | 12.769
6 | 0.66097 | 0.29158 | -0.66081 | -0.29799 | 0.00015907 | -0.0064015 | 0.020909 | 0.020985 | 0.020985 | 0.9974 | -0.048953 | 0.99717 | -0.047234 | 9.5387
7 | 0.66081 | 0.29799 | -0.66058 | -0.3073 | 0.00023369 | -0.0093143 | 0.020985 | 0.021098 | 0.021098 | 0.99717 | -0.047234 | 0.99684 | -0.04453 | 9.5901
8 | 0.51894 | 0.24889 | -0.51891 | -0.25114 | 3.5297e-05 | -0.0022437 | 0.016667 | 0.016695 | 0.016695 | 0.99684 | -0.04453 | 0.99678 | -0.043944 | 7.5889
9 | 0.14163 | 0.058405 | -0.14163 | -0.0657 | 8.2345e-06 | -0.0072952 | 0.0044366 | 0.0045214 | 0.0045214 | 0.99684 | -0.04453 | 0.99679 | -0.044134 | 2.0552
10 | -2.0892 | -0.97044 | 2.0897 | 0.97071 | 0.00055395 | 0.00026388 | 0.06667 | 0.066669 | 0.06667 | 0.99743 | -0.049168 | 0.99771 | -0.047146 | 31.7474
11 | 0.056139 | 0.021449 | -0.056138 | -0.026216 | 8.3521e-07 | -0.0047677 | 0.0017395 | 0.0017934 | 0.0017934 | 0.99734 | -0.048487 | 0.99732 | -0.048394 | 0.81517
12 | 0.37121 | 0.1796 | -0.3712 | -0.17978 | 1.4473e-06 | -0.00017986 | 0.011943 | 0.011945 | 0.011945 | 0.99678 | -0.043944 | 0.99678 | -0.04391 | 5.4295
13 | 0.14163 | 0.0657 | -0.14162 | -0.068591 | 3.3536e-06 | -0.0028912 | 0.0045214 | 0.0045573 | 0.0045573 | 0.99679 | -0.044134 | 0.99677 | -0.043938 | 2.0715
14 | -2.168 | -1.0086 | 2.1682 | 1.008 | 0.00017061 | -0.00058407 | 0.069185 | 0.069178 | 0.069185 | 0.99771 | -0.047146 | 0.99779 | -0.047771 | 31.4479
15 | 0.056138 | 0.026216 | -0.056138 | -0.027189 | 1.7697e-07 | -0.00097227 | 0.0017934 | 0.0018055 | 0.0018055 | 0.99732 | -0.048394 | 0.99732 | -0.048368 | 0.82066
16 | -0.14008 | -0.067843 | 0.14008 | 0.067659 | 5.6883e-06 | -0.00018357 | 0.0045036 | 0.0045013 | 0.0045036 | 0.99764 | -0.045636 | 0.99768 | -0.045367 | 2.1446
17 | -0.48755 | -0.23594 | 0.48757 | 0.23455 | 1.9311e-05 | -0.0013955 | 0.015672 | 0.015655 | 0.015672 | 0.99768 | -0.045367 | 0.99772 | -0.045709 | 7.1237
18 | 0.063578 | 0.028947 | -0.063566 | -0.030786 | 1.1909e-05 | -0.0018396 | 0.0020416 | 0.0020645 | 0.0020645 | 0.98777 | -0.075943 | 0.98757 | -0.07732 | 0.98311
19 | -0.3509 | -0.1498 | 0.3509 | 0.14918 | 4.413e-06 | -0.00061845 | 0.01115 | 0.011143 | 0.01115 | 0.98777 | -0.075943 | 0.98778 | -0.076022 | 5.0684
20 | 0.28732 | 0.12085 | -0.28704 | -0.12286 | 0.00027845 | -0.002011 | 0.0091095 | 0.0091345 | 0.0091345 | 0.98777 | -0.075943 | 0.98674 | -0.085455 | 4.3497
21 | -0.5051 | -0.22386 | 0.5051 | 0.22373 | 1.9384e-06 | -0.00012918 | 0.016146 | 0.016145 | 0.016146 | 0.98778 | -0.076022 | 0.98778 | -0.076049 | 7.3392
22 | 0.14736 | 0.071335 | -0.14736 | -0.071368 | 1.1898e-06 | -3.3088e-05 | 0.0047896 | 0.00479 | 0.00479 | 0.98674 | -0.085455 | 0.98673 | -0.085508 | 2.281
23 | 0.13968 | 0.051529 | -0.13967 | -0.066128 | 1.6492e-05 | -0.014599 | 0.0043557 | 0.0045214 | 0.0045214 | 0.98674 | -0.085455 | 0.98663 | -0.084739 | 2.0552
24 | -2.8452 | -1.2827 | 2.8458 | 1.2815 | 0.00063125 | -0.0011733 | 0.090601 | 0.090584 | 0.090601 | 0.99441 | -0.021916 | 0.99462 | -0.023542 | 41.1821
25 | 2.1149 | 0.95585 | -2.1139 | -0.95536 | 0.0010301 | 0.00049494 | 0.067374 | 0.067376 | 0.067376 | 0.99441 | -0.021916 | 0.9939 | -0.025958 | 32.0838
26 | 0.6378 | 0.282 | -0.63426 | -0.28545 | 0.003541 | -0.0034541 | 0.020244 | 0.020312 | 0.020312 | 0.99441 | -0.021916 | 0.98852 | -0.069871 | 9.6722
27 | -2.8458 | -1.2815 | 2.8474 | 1.2786 | 0.0015389 | -0.0028649 | 0.090584 | 0.090545 | 0.090584 | 0.99462 | -0.023542 | 0.99513 | -0.027485 | 41.1747
28 | 2.0253 | 0.91246 | -2.0252 | -0.91273 | 6.919e-05 | -0.00027311 | 0.064518 | 0.064522 | 0.064522 | 0.9939 | -0.025958 | 0.99386 | -0.025708 | 29.3281
29 | 0.50546 | 0.22307 | -0.5051 | -0.22373 | 0.00035352 | -0.00066651 | 0.016134 | 0.016145 | 0.016145 | 0.98852 | -0.069871 | 0.98778 | -0.076049 | 7.688
30 | -2.8474 | -1.2786 | 2.8483 | 1.2769 | 0.00089547 | -0.0016699 | 0.090545 | 0.090522 | 0.090545 | 0.99513 | -0.027485 | 0.99542 | -0.029766 | 41.1567
31 | 2.0252 | 0.91273 | -2.0248 | -0.91425 | 0.00038572 | -0.0015216 | 0.064522 | 0.064541 | 0.064541 | 0.99386 | -0.025708 | 0.99369 | -0.024307 | 29.337
32 | -3.0025 | -1.3517 | 3.0046 | 1.3483 | 0.0020957 | -0.003462 | 0.095456 | 0.095408 | 0.095456 | 0.99579 | -0.026863 | 0.99644 | -0.031946 | 43.3892
33 | 3.0025 | 1.3517 | -3.0015 | -1.3512 | 0.001038 | 0.00057452 | 0.095456 | 0.095457 | 0.095457 | 0.99579 | -0.026863 | 0.99542 | -0.029766 | 45.4558
34 | -3.0999 | -1.3928 | 3.1056 | 1.3841 | 0.005649 | -0.0087039 | 0.098455 | 0.098332 | 0.098455 | 0.99644 | -0.031946 | 0.99816 | -0.045059 | 44.7521
35 | 0.09528 | 0.044568 | -0.095279 | -0.046146 | 8.3037e-07 | -0.0015775 | 0.0030474 | 0.003067 | 0.003067 | 0.99644 | -0.031946 | 0.99644 | -0.031873 | 1.3941
36 | 0.1308 | 0.063276 | -0.13079 | -0.063346 | 1.8982e-06 | -7.0556e-05 | 0.0042021 | 0.004203 | 0.004203 | 0.99816 | -0.045059 | 0.99814 | -0.045155 | 2.0014
37 | 0.98397 | 0.46105 | -0.98368 | -0.46618 | 0.00028952 | -0.0051257 | 0.031426 | 0.031491 | 0.031491 | 0.99816 | -0.045059 | 0.99788 | -0.04265 | 14.3139
38 | -4.2203 | -1.9085 | 4.2232 | 1.8991 | 0.0028933 | -0.0093281 | 0.13395 | 0.13382 | 0.13395 | 0.99816 | -0.045059 | 0.99891 | -0.036061 | 37.004
39 | 2.0248 | 0.91425 | -2.0246 | -0.91518 | 0.00023534 | -0.00092761 | 0.064541 | 0.064553 | 0.064553 | 0.99369 | -0.024307 | 0.99358 | -0.023449 | 29.3424
40 | 0.70177 | 0.33872 | -0.70174 | -0.33987 | 3.302e-05 | -0.001145 | 0.02255 | 0.022565 | 0.022565 | 0.99753 | -0.039469 | 0.99749 | -0.039061 | 10.2568
41 | -0.70177 | -0.33872 | 0.70188 | 0.33492 | 0.00010949 | -0.0038081 | 0.02255 | 0.022502 | 0.02255 | 0.99753 | -0.039469 | 0.99768 | -0.0408 | 10.2502
42 | 0.16373 | 0.078729 | -0.16373 | -0.079298 | 8.8536e-07 | -0.00056932 | 0.0052567 | 0.0052639 | 0.0052639 | 0.99768 | -0.0408 | 0.99767 | -0.040754 | 2.3927
43 | -0.86561 | -0.41364 | 0.86581 | 0.40926 | 0.0001918 | -0.0043838 | 0.027759 | 0.027704 | 0.027759 | 0.99768 | -0.0408 | 0.99788 | -0.04265 | 12.6178
44 | 0.11788 | 0.056915 | -0.11788 | -0.05709 | 1.4125e-07 | -0.0001753 | 0.0037867 | 0.0037889 | 0.0037889 | 0.99788 | -0.04265 | 0.99788 | -0.04264 | 1.7222
45 | 4.4882 | 2.0138 | -4.4876 | -2.0197 | 0.00062458 | -0.0059182 | 0.14214 | 0.14221 | 0.14221 | 0.99906 | -0.035307 | 0.99891 | -0.036061 | 22.2907
46 | -8.7171 | -4.0031 | 8.7201 | 3.997 | 0.0029763 | -0.0061925 | 0.27717 | 0.27707 | 0.27717 | 0.99906 | -0.035307 | 0.99941 | -0.033621 | 43.4435
47 | 4.229 | 1.9894 | -4.2287 | -1.992 | 0.00025302 | -0.0026726 | 0.13504 | 0.13507 | 0.13507 | 0.99906 | -0.035307 | 0.999 | -0.035566 | 21.1715
48 | 0.11134 | 0.046511 | -0.11133 | -0.052822 | 4.3906e-06 | -0.006311 | 0.003487 | 0.0035613 | 0.0035613 | 0.99891 | -0.036061 | 0.99888 | -0.035779 | 1.6188
49 | 0.153 | 0.074068 | -0.153 | -0.074102 | 1.269e-06 | -3.4358e-05 | 0.0049125 | 0.0049129 | 0.0049129 | 0.99891 | -0.036061 | 0.9989 | -0.036116 | 2.3395
50 | 0.12041 | 0.057863 | -0.12041 | -0.058316 | 3.7902e-07 | -0.00045394 | 0.0038587 | 0.0038644 | 0.0038644 | 0.99941 | -0.033621 | 0.99941 | -0.033594 | 1.7565
51 | -8.8405 | -4.0548 | 8.8433 | 4.0623 | 0.0028168 | 0.0074364 | 0.28093 | 0.28093 | 0.28093 | 0.99941 | -0.033621 | 1 | 0 | 43.5554
52 | 4.1249 | 1.9417 | -4.1246 | -1.9442 | 0.00022007 | -0.0024486 | 0.13174 | 0.13177 | 0.13177 | 0.999 | -0.035566 | 0.99894 | -0.035796 | 20.6539
53 | 0.11133 | 0.052822 | -0.11133 | -0.05392 | 7.8319e-07 | -0.0010975 | 0.0035613 | 0.003575 | 0.003575 | 0.99888 | -0.035779 | 0.99887 | -0.03572 | 1.625
54 | -0.13978 | -0.067698 | 0.13978 | 0.066733 | 1.1182e-06 | -0.00096539 | 0.00452 | 0.0045079 | 0.00452 | 0.9919 | -0.019328 | 0.99191 | -0.019396 | 2.0546
55 | 0.066943 | 0.029361 | -0.066942 | -0.032314 | 7.7237e-07 | -0.0029536 | 0.0021274 | 0.0021633 | 0.0021633 | 0.99191 | -0.019396 | 0.9919 | -0.019307 | 0.98334
56 | 0.37336 | 0.17618 | -0.37335 | -0.17675 | 4.6267e-06 | -0.00056227 | 0.012015 | 0.012022 | 0.012022 | 0.99191 | -0.019396 | 0.9919 | -0.019294 | 5.4645
57 | -0.58008 | -0.27228 | 0.58013 | 0.26994 | 4.6445e-05 | -0.0023399 | 0.018649 | 0.01862 | 0.018649 | 0.99191 | -0.019396 | 0.99198 | -0.020039 | 8.4769
58 | 1.0524 | 0.50902 | -1.0524 | -0.5097 | 4.4078e-05 | -0.00067273 | 0.033824 | 0.033832 | 0.033832 | 0.99777 | -0.046194 | 0.99773 | -0.04583 | 15.3783
59 | 0.4876 | 0.23253 | -0.48757 | -0.23455 | 2.7847e-05 | -0.0020181 | 0.015629 | 0.015655 | 0.015655 | 0.99777 | -0.046194 | 0.99772 | -0.045709 | 7.1157
60 | -1.7021 | -0.82005 | 1.7023 | 0.82014 | 0.00022633 | 9.1232e-05 | 0.054663 | 0.054662 | 0.054663 | 0.99777 | -0.046194 | 0.99791 | -0.0453 | 26.0299
61 | -1.7023 | -0.82014 | 1.7025 | 0.81913 | 0.00017789 | -0.0010079 | 0.054662 | 0.054649 | 0.054662 | 0.99791 | -0.0453 | 0.99801 | -0.046199 | 24.8464
62 | -3.9581 | -1.8695 | 3.9591 | 1.8687 | 0.00097078 | -0.00079106 | 0.12662 | 0.1266 | 0.12662 | 0.99801 | -0.046199 | 0.99823 | -0.048215 | 57.5532
63 | 2.2556 | 1.0504 | -2.2551 | -1.0501 | 0.00046858 | 0.00023314 | 0.071971 | 0.071972 | 0.071972 | 0.99801 | -0.046199 | 0.99779 | -0.047771 | 34.2722
64 | -4.1221 | -1.9477 | 4.1232 | 1.9489 | 0.0010978 | 0.0011695 | 0.13184 | 0.13184 | 0.13184 | 0.99823 | -0.048215 | 0.99857 | -0.039844 | 37.6695
65 | -4.1232 | -1.9489 | 4.1246 | 1.9442 | 0.0013987 | -0.0046877 | 0.13184 | 0.13177 | 0.13184 | 0.99857 | -0.039844 | 0.99894 | -0.035796 | 36.4205
66 | -1.856 | -0.83944 | 1.8563 | 0.83818 | 0.00026594 | -0.0012576 | 0.059235 | 0.059219 | 0.059235 | 0.99272 | -0.021256 | 0.99286 | -0.022314 | 26.9248
67 | 1.7394 | 0.78295 | -1.7391 | -0.78284 | 0.00027181 | 0.00011193 | 0.055467 | 0.055468 | 0.055468 | 0.99272 | -0.021256 | 0.99256 | -0.022568 | 26.4134
68 | -1.8563 | -0.83818 | 1.8569 | 0.83511 | 0.00064799 | -0.0030687 | 0.059219 | 0.05918 | 0.059219 | 0.99286 | -0.022314 | 0.99318 | -0.024874 | 26.9175
69 | 1.5156 | 0.68702 | -1.5154 | -0.68823 | 0.00016663 | -0.0012036 | 0.048396 | 0.048411 | 0.048411 | 0.99256 | -0.022568 | 0.99245 | -0.021747 | 22.005
70 | 0.22354 | 0.095815 | -0.22353 | -0.095961 | 1.1582e-05 | -0.00014549 | 0.0070736 | 0.0070753 | 0.0070753 | 0.99256 | -0.022568 | 0.9925 | -0.023063 | 3.3692
71 | -1.8569 | -0.83511 | 1.8571 | 0.8341 | 0.00021445 | -0.001017 | 0.05918 | 0.059167 | 0.05918 | 0.99318 | -0.024874 | 0.99329 | -0.025715 | 26.8998
72 | 1.3097 | 0.5886 | -1.3096 | -0.58907 | 4.774e-05 | -0.00046788 | 0.041765 | 0.041771 | 0.041771 | 0.99245 | -0.021747 | 0.99242 | -0.021481 | 18.9868
73 | 0.11899 | 0.045326 | -0.11898 | -0.046023 | 5.4337e-07 | -0.00069646 | 0.0037034 | 0.0037106 | 0.0037106 | 0.9925 | -0.023063 | 0.9925 | -0.023043 | 1.6866
74 | 1.239 | 0.55486 | -1.2389 | -0.55541 | 5.0043e-05 | -0.00055033 | 0.039489 | 0.039496 | 0.039496 | 0.99242 | -0.021481 | 0.99238 | -0.021189 | 17.9525
75 | -1.91 | -0.85971 | 1.9105 | 0.85994 | 0.00051555 | 0.00023092 | 0.060874 | 0.060873 | 0.060874 | 0.99329 | -0.025715 | 0.99358 | -0.023449 | 28.9875
76 | 0.11898 | 0.046023 | -0.11898 | -0.056375 | 8.3435e-06 | -0.010352 | 0.0037106 | 0.0038296 | 0.0038296 | 0.9925 | -0.023043 | 0.99243 | -0.02259 | 1.7407
77 | 0.11898 | 0.056375 | -0.11898 | -0.057622 | 1.043e-06 | -0.0012473 | 0.0038296 | 0.0038453 | 0.0038453 | 0.99243 | -0.02259 | 0.99242 | -0.022515 | 1.7478
78 | 1.2389 | 0.55541 | -1.2389 | -0.55588 | 4.2749e-05 | -0.00046992 | 0.039496 | 0.039501 | 0.039501 | 0.99238 | -0.021189 | 0.99235 | -0.02094 | 17.9552
79 | 0.91403 | 0.42568 | -0.91403 | -0.42581 | 6.5583e-06 | -0.0001323 | 0.029331 | 0.029333 | 0.029333 | 0.99235 | -0.02094 | 0.99234 | -0.020882 | 13.3332
80 | 0.32487 | 0.1302 | -0.32487 | -0.13027 | 4.0242e-07 | -6.8254e-05 | 0.010181 | 0.010182 | 0.010182 | 0.99235 | -0.02094 | 0.99235 | -0.020933 | 4.6282
81 | -0.70484 | -0.33031 | 0.70486 | 0.32964 | 1.9559e-05 | -0.00066539 | 0.022651 | 0.022643 | 0.022651 | 0.99202 | -0.019806 | 0.99204 | -0.02003 | 10.296
82 | 0.58014 | 0.26992 | -0.58013 | -0.26994 | 1.7795e-05 | -2.2695e-05 | 0.01862 | 0.01862 | 0.01862 | 0.99202 | -0.019806 | 0.99198 | -0.020039 | 8.8668
83 | -0.70486 | -0.32964 | 0.70498 | 0.32524 | 0.00012891 | -0.0043987 | 0.022643 | 0.022588 | 0.022643 | 0.99204 | -0.02003 | 0.99221 | -0.021477 | 10.2922
84 | -0.70498 | -0.32524 | 0.705 | 0.32464 | 1.7583e-05 | -0.00060174 | 0.022588 | 0.022581 | 0.022588 | 0.99221 | -0.021477 | 0.99223 | -0.021671 | 10.2675
85 | 0.066942 | 0.032314 | -0.066941 | -0.032421 | 7.6261e-07 | -0.00010687 | 0.0021633 | 0.0021647 | 0.0021647 | 0.9919 | -0.019307 | 0.99189 | -0.019383 | 1.0308
86 | 0.07034 | 0.033191 | -0.07034 | -0.034067 | 2.5631e-07 | -0.00087589 | 0.0022636 | 0.0022746 | 0.0022746 | 0.9919 | -0.019294 | 0.99189 | -0.019263 | 1.0339
87 | 0.30301 | 0.14356 | -0.30301 | -0.14367 | 6.385e-07 | -0.00011778 | 0.0097583 | 0.0097597 | 0.0097597 | 0.9919 | -0.019294 | 0.9919 | -0.019277 | 4.4362
88 | -0.84173 | -0.39086 | 0.84182 | 0.39084 | 8.6871e-05 | -2.4205e-05 | 0.027 | 0.026999 | 0.027 | 0.99223 | -0.021671 | 0.99234 | -0.020882 | 12.8573
89 | 0.30301 | 0.14367 | -0.30301 | -0.1443 | 3.4214e-06 | -0.00063051 | 0.0097597 | 0.0097676 | 0.0097676 | 0.9919 | -0.019277 | 0.99189 | -0.019183 | 4.4398
90 | -0.063987 | -0.03099 | 0.063987 | 0.029572 | 3.4151e-07 | -0.0014179 | 0.0020683 | 0.0020507 | 0.0020683 | 0.99229 | -0.020759 | 0.9923 | -0.020804 | 0.94014
91 | -0.063987 | -0.029572 | 0.06399 | 0.014732 | 3.2701e-06 | -0.01484 | 0.0020507 | 0.0019102 | 0.0020507 | 0.9923 | -0.020804 | 0.99235 | -0.020933 | 0.93212
92 | 0.090498 | 0.034626 | -0.090494 | -0.043712 | 4.246e-06 | -0.009086 | 0.0028187 | 0.0029236 | 0.0029236 | 0.99235 | -0.020933 | 0.9923 | -0.020625 | 1.3289
93 | 0.17038 | 0.080909 | -0.17038 | -0.081501 | 1.0134e-06 | -0.00059174 | 0.0054869 | 0.0054943 | 0.0054943 | 0.99235 | -0.020933 | 0.99234 | -0.020883 | 2.4974
94 | 0.090494 | 0.043712 | -0.090492 | -0.043827 | 1.5143e-06 | -0.00011588 | 0.0029236 | 0.0029251 | 0.0029251 | 0.9923 | -0.020625 | 0.99229 | -0.020736 | 1.3929
95 | 0.088718 | 0.041949 | -0.088718 | -0.042968 | 4.7372e-07 | -0.001019 | 0.0028548 | 0.0028676 | 0.0028676 | 0.99234 | -0.020883 | 0.99234 | -0.020838 | 1.3035
96 | -0.13967 | -0.067643 | 0.13967 | 0.066128 | 1.7869e-06 | -0.0015148 | 0.0045405 | 0.0045214 | 0.0045405 | 0.98662 | -0.08463 | 0.98663 | -0.084739 | 2.0639
97 | 0.23167 | 0.10975 | -0.23167 | -0.11069 | 2.9695e-06 | -0.00093633 | 0.0074608 | 0.0074725 | 0.0074725 | 0.99189 | -0.019183 | 0.99187 | -0.019075 | 3.3966
98 | 0.13212 | 0.062475 | -0.13212 | -0.063986 | 1.5614e-06 | -0.0015114 | 0.0042534 | 0.0042724 | 0.0042724 | 0.99187 | -0.019075 | 0.99186 | -0.018975 | 1.942

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.9554 | 4.1202

## res_load
| p_mw | q_mvar
0 | 0.10245 | 0.04962
1 | 0.069327 | 0.033577
2 | 1.2002 | 0.58131
3 | 0.1477 | 0.071536
4 | 0.14162 | 0.068591
5 | 0.078296 | 0.037921
6 | 0.14008 | 0.067843
7 | 0.34747 | 0.16829
8 | 0.063566 | 0.030786
9 | 0.1542 | 0.074682
10 | 0.092508 | 0.044804
11 | 0.08858 | 0.042901
12 | 0.12881 | 0.062383
13 | 0.15322 | 0.07421
14 | 0.095279 | 0.046146
15 | 0.70174 | 0.33987
16 | 0.16373 | 0.079298
17 | 0.10386 | 0.0503
18 | 0.153 | 0.074102
19 | 0.11788 | 0.05709
20 | 0.13079 | 0.063346
21 | 0.13978 | 0.067698
22 | 0.16207 | 0.078495
23 | 1.0524 | 0.5097
24 | 0.16307 | 0.078976
25 | 0.086924 | 0.042099
26 | 0.12041 | 0.058316
27 | 0.098074 | 0.047499
28 | 0.11133 | 0.05392
29 | 0.3712 | 0.17978
30 | 0.11664 | 0.056489
31 | 0.2057 | 0.099626
32 | 0.10455 | 0.050634
33 | 0.070639 | 0.034212
34 | 0.052884 | 0.025613
35 | 0.11406 | 0.05524
36 | 0.11898 | 0.057622
37 | 0.12469 | 0.060391
38 | 0.066941 | 0.032421
39 | 0.13673 | 0.066223
40 | 0.07034 | 0.034067
41 | 0.072207 | 0.034971
42 | 0.063987 | 0.03099
43 | 0.081664 | 0.039552
44 | 0.090492 | 0.043827
45 | 0.088718 | 0.042968
46 | 0.13967 | 0.067643
47 | 0.14736 | 0.071368
48 | 0.056138 | 0.027189
49 | 0.071338 | 0.034551
50 | 0.09955 | 0.048214
51 | 0.13212 | 0.063986

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1