## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_155_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_155_0_node_44 | 20 | n |  | TRUE
2 | bus_MV_155_0_node_187 | 20 | n |  | TRUE
3 | bus_MV_155_0_node_1 | 20 | n |  | TRUE
4 | bus_MV_155_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_155_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_155_0_node_3 | 20 | n |  | TRUE
7 | bus_MV_155_0_node_188 | 20 | n |  | TRUE
8 | bus_MV_155_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_155_0_node_176 | 20 | n |  | TRUE
10 | bus_MV_155_0_node_46 | 20 | n |  | TRUE
11 | bus_MV_155_0_node_6 | 20 | n |  | TRUE
12 | bus_MV_155_0_node_20 | 20 | n |  | TRUE
13 | bus_MV_155_0_node_17 | 20 | n |  | TRUE
14 | bus_MV_155_0_node_7 | 20 | n |  | TRUE
15 | bus_MV_155_0_node_8 | 20 | n |  | TRUE
16 | bus_MV_155_0_node_9 | 20 | n |  | TRUE
17 | bus_MV_155_0_node_14 | 20 | n |  | TRUE
18 | bus_MV_155_0_node_13 | 20 | n |  | TRUE
19 | bus_MV_155_0_node_10 | 20 | n |  | TRUE
20 | bus_MV_155_0_node_11 | 20 | n |  | TRUE
21 | bus_MV_155_0_node_12 | 20 | n |  | TRUE
22 | bus_MV_155_0_node_26 | 20 | n |  | TRUE
23 | bus_MV_155_0_node_181 | 20 | n |  | TRUE
24 | bus_MV_155_0_node_25 | 20 | n |  | TRUE
25 | bus_MV_155_0_node_16 | 20 | n |  | TRUE
26 | bus_MV_155_0_node_15 | 20 | n |  | TRUE
27 | bus_MV_155_0_node_177 | 20 | n |  | TRUE
28 | bus_MV_155_0_node_18 | 20 | n |  | TRUE
29 | bus_MV_155_0_node_19 | 20 | n |  | TRUE
30 | bus_MV_155_0_node_193 | 20 | n |  | TRUE
31 | bus_MV_155_0_node_36 | 20 | n |  | TRUE
32 | bus_MV_155_0_node_21 | 20 | n |  | TRUE
33 | bus_MV_155_0_node_22 | 20 | n |  | TRUE
34 | bus_MV_155_0_node_23 | 20 | n |  | TRUE
35 | bus_MV_155_0_node_24 | 20 | n |  | TRUE
36 | bus_MV_155_0_node_30 | 20 | n |  | TRUE
37 | bus_MV_155_0_node_140 | 20 | n |  | TRUE
38 | bus_MV_155_0_node_32 | 20 | n |  | TRUE
39 | bus_MV_155_0_node_33 | 20 | n |  | TRUE
40 | bus_MV_155_0_node_178 | 20 | n |  | TRUE
41 | bus_MV_155_0_node_34 | 20 | n |  | TRUE
42 | bus_MV_155_0_node_35 | 20 | n |  | TRUE
43 | bus_MV_155_0_node_38 | 20 | n |  | TRUE
44 | bus_MV_155_0_node_39 | 20 | n |  | TRUE
45 | bus_MV_155_0_node_40 | 20 | n |  | TRUE
46 | bus_MV_155_0_node_143 | 20 | n |  | TRUE
47 | bus_MV_155_0_node_41 | 20 | n |  | TRUE
48 | bus_MV_155_0_node_42 | 20 | n |  | TRUE
49 | bus_MV_155_0_node_43 | 20 | n |  | TRUE
50 | bus_MV_155_0_node_197 | 20 | n |  | TRUE
51 | bus_MV_155_0_node_47 | 20 | n |  | TRUE
52 | bus_MV_155_0_node_45 | 20 | n |  | TRUE
53 | bus_MV_155_0_node_48 | 20 | n |  | TRUE
54 | bus_MV_155_0_node_49 | 20 | n |  | TRUE
55 | bus_MV_155_0_node_179 | 20 | n |  | TRUE
56 | bus_MV_155_0_node_180 | 20 | n |  | TRUE
57 | bus_MV_155_0_node_141 | 20 | n |  | TRUE
58 | bus_MV_155_0_node_142 | 20 | n |  | TRUE
59 | bus_MV_155_0_node_196 | 20 | n |  | TRUE
60 | bus_MV_155_0_node_194 | 20 | n |  | TRUE
61 | bus_MV_155_0_node_195 | 20 | n |  | TRUE
62 | bus_MV_155_0_node_110 | 20 | n |  | TRUE
63 | bus_MV_155_0_node_109 | 20 | n |  | TRUE
64 | bus_HV_155_0_node_32 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_155_0_load_0 | 0 | 0.066459 | 0.032188 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_155_0_load_44 | 1 | 0.14727 | 0.071326 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_155_0_load_187 | 2 | 0.050566 | 0.02449 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_155_0_load_1 | 3 | 0.14383 | 0.069658 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_155_0_load_188 | 7 | 0.15299 | 0.074099 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_155_0_load_176 | 9 | 0.071941 | 0.034843 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_155_0_load_46 | 10 | 0.13223 | 0.064043 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_155_0_load_17 | 13 | 0.13896 | 0.067301 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_155_0_load_7 | 14 | 0.14603 | 0.070726 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_155_0_load_14 | 17 | 0.16031 | 0.077642 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_155_0_load_13 | 18 | 0.74912 | 0.36282 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_155_0_load_26 | 22 | 0.15043 | 0.072859 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_155_0_load_181 | 23 | 0.17826 | 0.086335 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_155_0_load_177 | 27 | 0.16062 | 0.077793 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_155_0_load_193 | 30 | 0.1224 | 0.059282 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_155_0_load_36 | 31 | 0.09923 | 0.048059 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_155_0_load_21 | 32 | 0.1123 | 0.054389 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_155_0_load_24 | 35 | 0.13755 | 0.066618 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_155_0_load_30 | 36 | 0.092667 | 0.044881 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_155_0_load_178 | 40 | 0.15027 | 0.07278 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_155_0_load_34 | 41 | 0.094235 | 0.04564 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_155_0_load_38 | 43 | 0.13079 | 0.063342 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_155_0_load_143 | 46 | 0.3384 | 0.1639 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_155_0_load_41 | 47 | 0.12458 | 0.060337 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_155_0_load_197 | 50 | 0.077993 | 0.037774 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_155_0_load_47 | 51 | 0.16282 | 0.07886 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_155_0_load_45 | 52 | 0.10959 | 0.053075 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_155_0_load_141 | 57 | 0.1718 | 0.083207 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_155_0_load_194 | 60 | 0.16087 | 0.077912 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_155_0_load_109 | 63 | 0.10345 | 0.050105 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_155_0_line_0 |  | 0 | 1 | 0.54707 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_155_0_line_1 |  | 0 | 2 | 1.6578 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_155_0_line_2 |  | 1 | 21 | 0.096979 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_155_0_line_3 |  | 3 | 4 | 0.080805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_155_0_line_4 |  | 4 | 5 | 0.35561 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_155_0_line_5 |  | 5 | 8 | 0.18091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_155_0_line_6 |  | 5 | 9 | 0.030713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_155_0_line_7 |  | 5 | 6 | 0.26154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_155_0_line_8 |  | 6 | 7 | 0.008719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_155_0_line_9 |  | 7 | 56 | 0.046564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_155_0_line_10 |  | 8 | 10 | 0.046472 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_155_0_line_11 |  | 9 | 54 | 0.24538 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_155_0_line_12 |  | 10 | 52 | 0.055817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_155_0_line_13 |  | 11 | 12 | 0.043811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_155_0_line_14 |  | 11 | 13 | 0.0415 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_155_0_line_15 |  | 12 | 31 | 0.045365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_155_0_line_16 |  | 13 | 28 | 0.02658 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_155_0_line_17 |  | 14 | 15 | 0.035781 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_155_0_line_18 |  | 14 | 16 | 0.12878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_155_0_line_19 |  | 15 | 17 | 0.10037 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_155_0_line_20 |  | 16 | 18 | 0.087444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_155_0_line_21 |  | 17 | 26 | 0.020177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_155_0_line_22 |  | 19 | 20 | 0.13533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_155_0_line_23 |  | 19 | 21 | 0.3746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_155_0_line_24 |  | 19 | 22 | 0.07609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_155_0_line_25 |  | 20 | 23 | 0.007335 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_155_0_line_26 |  | 20 | 24 | 0.037288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_155_0_line_27 |  | 20 | 25 | 0.053392 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_155_0_line_28 |  | 24 | 34 | 0.03505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_155_0_line_29 |  | 25 | 27 | 0.006374 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_155_0_line_30 |  | 25 | 26 | 0.10585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_155_0_line_31 |  | 27 | 39 | 0.03306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_155_0_line_32 |  | 28 | 29 | 0.12013 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_155_0_line_33 |  | 29 | 30 | 0.045162 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_155_0_line_34 |  | 30 | 59 | 0.026778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_155_0_line_35 |  | 30 | 54 | 0.077614 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_155_0_line_36 |  | 31 | 42 | 0.072038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_155_0_line_37 |  | 32 | 33 | 0.016221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_155_0_line_38 |  | 32 | 34 | 0.024452 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_155_0_line_39 |  | 33 | 35 | 0.049918 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_155_0_line_40 |  | 33 | 36 | 0.076734 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_155_0_line_41 |  | 35 | 37 | 0.054418 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_155_0_line_42 |  | 37 | 57 | 0.039463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_155_0_line_43 |  | 37 | 58 | 0.062672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_155_0_line_44 |  | 38 | 39 | 0.10631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_155_0_line_45 |  | 38 | 40 | 0.025046 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_155_0_line_46 |  | 40 | 55 | 0.022605 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_155_0_line_47 |  | 41 | 42 | 0.015812 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_155_0_line_48 |  | 43 | 44 | 0.055966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_155_0_line_49 |  | 44 | 45 | 0.26952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_155_0_line_50 |  | 45 | 46 | 0.032611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_155_0_line_51 |  | 46 | 58 | 0.054619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_155_0_line_52 |  | 47 | 48 | 0.051582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_155_0_line_53 |  | 48 | 49 | 0.76447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_155_0_line_54 |  | 48 | 50 | 1.8183 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_155_0_line_55 |  | 49 | 51 | 0.005456 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_155_0_line_56 |  | 50 | 62 | 1.5186 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_155_0_line_57 |  | 51 | 53 | 0.10141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_155_0_line_58 |  | 53 | 54 | 0.16644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_155_0_line_59 |  | 55 | 56 | 0.055642 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_155_0_line_60 |  | 59 | 61 | 0.007789 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_155_0_line_61 |  | 60 | 61 | 0.057089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_155_0_line_62 |  | 62 | 63 | 0.15711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_155_0_trafo_32 | 25 MVA 110/20 kV | 64 | 38 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2731870.8444 | 1248086.3513
1 | 2732398.9586 | 1247943.5939
2 | 2730438.1391 | 1247252.2154
3 | 2733339.495 | 1248490.4575
4 | 2733295.0534 | 1248422.8868
5 | 2733050.2809 | 1248472.0549
6 | 2732911.7194 | 1248346.5908
7 | 2732911.3502 | 1248355.3014
8 | 2733100.3426 | 1248313.1369
9 | 2733034.9158 | 1248497.9109
10 | 2733119.4712 | 1248270.7842
11 | 2732953.3664 | 1248560.4261
12 | 2732996.4098 | 1248568.5877
13 | 2732914.4063 | 1248546.6959
14 | 2732740.5393 | 1248121.9228
15 | 2732724.4418 | 1248153.8575
16 | 2732682.1421 | 1248010.8059
17 | 2732786.5595 | 1248232.6962
18 | 2732612.3802 | 1247958.0896
19 | 2732620.9153 | 1248262.5486
20 | 2732679.7195 | 1248331.1364
21 | 2732434.5594 | 1248033.8023
22 | 2732576.4039 | 1248237.8312
23 | 2732672.4233 | 1248332.0739
24 | 2732683.4819 | 1248368.2313
25 | 2732732.9579 | 1248327.091
26 | 2732799.848 | 1248247.8851
27 | 2732737.1025 | 1248331.9437
28 | 2732892.3376 | 1248561.6034
29 | 2732875.8003 | 1248638.4122
30 | 2732860.5837 | 1248680.9424
31 | 2733040.9717 | 1248577.084
32 | 2732634.4012 | 1248401.8742
33 | 2732619.8473 | 1248409.1217
34 | 2732655.2531 | 1248389.007
35 | 2732574.064 | 1248428.9802
36 | 2732633.4091 | 1248484.6478
37 | 2732524.5985 | 1248451.6631
38 | 2732804.6387 | 1248427.4522
39 | 2732758.2749 | 1248357.3848
40 | 2732828.7817 | 1248420.7871
41 | 2733063.3289 | 1248636.7834
42 | 2733052.3462 | 1248648.1582
43 | 2732320.5378 | 1248606.7208
44 | 2732347.0163 | 1248656.0668
45 | 2732491.0675 | 1248527.8258
46 | 2732477.1383 | 1248498.3394
47 | 2733501.8982 | 1249034.6763
48 | 2733527.8827 | 1249079.2792
49 | 2733155.1323 | 1248812.0898
50 | 2734766.2875 | 1250410.6577
51 | 2733149.9203 | 1248813.752
52 | 2733162.5272 | 1248235.1193
53 | 2733052.0662 | 1248826.4219
54 | 2732928.2796 | 1248718.9048
55 | 2732845.0301 | 1248405.026
56 | 2732881.069 | 1248390.7431
57 | 2732506.0573 | 1248416.8272
58 | 2732461.8616 | 1248447.7687
59 | 2732840.13 | 1248686.1776
60 | 2732798.6311 | 1248727.7628
61 | 2732832.7703 | 1248683.566
62 | 2733308.9223 | 1250837.6049
63 | 2733154.0695 | 1250844.9859
64 | 2732804.6387 | 1248427.4522

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99896 | 0.0036054 | 0.066459 | 0.032188
1 | 0.99908 | 0.0044878 | 0.14727 | 0.071326
2 | 0.99879 | 0.0024505 | 0.050566 | 0.02449
3 | 0.99904 | 0.0057329 | 0.14383 | 0.069658
4 | 0.99906 | 0.0055986 | 0 | 0
5 | 0.99912 | 0.0051255 | 0 | 0
6 | 0.99963 | 0.0013842 | 0 | 0
7 | 0.99965 | 0.0012614 | 0.15299 | 0.074099
8 | 0.99906 | 0.005609 | 0 | 0
9 | 0.99908 | 0.0054616 | 0.071941 | 0.034843
10 | 0.99904 | 0.0054675 | 0.13223 | 0.064043
11 | 0.99839 | 0.0013924 | 0 | 0
12 | 0.99838 | 0.0014848 | 0 | 0
13 | 0.9984 | 0.0013076 | 0.13896 | 0.067301
14 | 0.9991 | 0.005203 | 0.14603 | 0.070726
15 | 0.99914 | 0.0048319 | 0 | 0
16 | 0.99898 | 0.0063296 | 0 | 0
17 | 0.99932 | 0.0059717 | 0.16031 | 0.077642
18 | 0.9989 | 0.0071092 | 0.74912 | 0.36282
19 | 0.99925 | 0.0038059 | 0 | 0
20 | 0.99932 | 0.0032638 | 0 | 0
21 | 0.99913 | 0.0048202 | 0 | 0
22 | 0.99924 | 0.0039387 | 0.15043 | 0.072859
23 | 0.99932 | 0.0032794 | 0.17826 | 0.086335
24 | 0.99928 | 0.0036625 | 0 | 0
25 | 0.99949 | 0.0044393 | 0 | 0
26 | 0.99934 | 0.0057247 | 0 | 0
27 | 0.99951 | 0.0042561 | 0.16062 | 0.077793
28 | 0.99841 | 0.0012103 | 0 | 0
29 | 0.99846 | 0.00078408 | 0 | 0
30 | 0.99848 | 0.00062953 | 0.1224 | 0.059282
31 | 0.99837 | 0.0015835 | 0.09923 | 0.048059
32 | 0.9992 | 0.0043031 | 0.1123 | 0.054389
33 | 0.99919 | 0.0044569 | 0 | 0
34 | 0.99923 | 0.0040392 | 0 | 0
35 | 0.99914 | 0.0048775 | 0.13755 | 0.066618
36 | 0.99917 | 0.0043705 | 0.092667 | 0.044881
37 | 0.99909 | 0.0052507 | 0 | 0
38 | 1 | 0 | -4.6572 | -2.1398
39 | 0.99962 | 0.0032435 | 0 | 0
40 | 0.99991 | -0.00071284 | 0.15027 | 0.07278
41 | 0.99835 | 0.0016429 | 0.094235 | 0.04564
42 | 0.99836 | 0.001661 | 0 | 0
43 | 0.99896 | 0.0062998 | 0.13079 | 0.063342
44 | 0.99897 | 0.0062144 | 0 | 0
45 | 0.99902 | 0.0058701 | 0 | 0
46 | 0.99902 | 0.0058359 | 0.3384 | 0.1639
47 | 0.99811 | 0.0042883 | 0.12458 | 0.060337
48 | 0.99812 | 0.0042131 | 0 | 0
49 | 0.99841 | 0.0022831 | 0 | 0
50 | 0.99749 | -0.00081874 | 0.077993 | 0.037774
51 | 0.99841 | 0.0022725 | 0.16282 | 0.07886
52 | 0.99904 | 0.0055385 | 0.10959 | 0.053075
53 | 0.99847 | 0.0018861 | 0 | 0
54 | 0.99857 | 0.0012858 | 0 | 0
55 | 0.99986 | -0.00035712 | 0 | 0
56 | 0.99974 | 0.00052193 | 0 | 0
57 | 0.99908 | 0.0053307 | 0.1718 | 0.083207
58 | 0.99905 | 0.0055608 | 0 | 0
59 | 0.99847 | 0.00067804 | 0 | 0
60 | 0.99846 | 0.00080008 | 0.16087 | 0.077912
61 | 0.99847 | 0.00069235 | 0 | 0
62 | 0.99719 | -0.0033289 | 0 | 0
63 | 0.99717 | -0.0031522 | 0.10345 | 0.050105
64 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.11703 | -0.054708 | 0.11705 | 0.054065 | 1.3556e-05 | -0.00064332 | 0.0037332 | 0.0037253 | 0.0037332 | 0.99896 | 0.0036054 | 0.99908 | 0.0044878 | 1.7777
1 | 0.050574 | 0.02252 | -0.050566 | -0.02449 | 7.672e-06 | -0.0019699 | 0.0015998 | 0.0016239 | 0.0016239 | 0.99896 | 0.0036054 | 0.99879 | 0.0024505 | 0.77327
2 | -0.26432 | -0.12539 | 0.26433 | 0.12528 | 1.2344e-05 | -0.00010783 | 0.008453 | 0.0084516 | 0.008453 | 0.99908 | 0.0044878 | 0.99913 | 0.0048202 | 4.0252
3 | -0.14383 | -0.069658 | 0.14383 | 0.067733 | 2.2882e-06 | -0.001925 | 0.0046176 | 0.0045936 | 0.0046176 | 0.99904 | 0.0057329 | 0.99906 | 0.0055986 | 2.0989
4 | -0.14383 | -0.067733 | 0.14384 | 0.059261 | 9.7972e-06 | -0.0084721 | 0.0045936 | 0.0044948 | 0.0045936 | 0.99906 | 0.0055986 | 0.99912 | 0.0051255 | 2.088
5 | 0.24184 | 0.11143 | -0.24182 | -0.11574 | 1.4393e-05 | -0.0043073 | 0.0076934 | 0.0077464 | 0.0077464 | 0.99912 | 0.0051255 | 0.99906 | 0.005609 | 3.5211
6 | 1.1575 | 0.51431 | -1.1574 | -0.51502 | 5.4923e-05 | -0.00071569 | 0.036595 | 0.036604 | 0.036604 | 0.99912 | 0.0051255 | 0.99908 | 0.0054616 | 16.6381
7 | -1.5431 | -0.685 | 1.544 | 0.67901 | 0.0008296 | -0.0059907 | 0.048781 | 0.048708 | 0.048781 | 0.99912 | 0.0051255 | 0.99963 | 0.0013842 | 22.1732
8 | -1.544 | -0.67901 | 1.544 | 0.67881 | 2.7614e-05 | -0.00019983 | 0.048708 | 0.048706 | 0.048708 | 0.99963 | 0.0013842 | 0.99965 | 0.0012614 | 22.1401
9 | -1.697 | -0.7529 | 1.6972 | 0.75185 | 0.00017863 | -0.0010581 | 0.053612 | 0.053599 | 0.053612 | 0.99965 | 0.0012614 | 0.99974 | 0.00052193 | 24.369
10 | 0.24182 | 0.11574 | -0.24182 | -0.11579 | 4.9689e-06 | -5.2261e-05 | 0.0077464 | 0.0077471 | 0.0077471 | 0.99906 | 0.005609 | 0.99904 | 0.0054675 | 3.6891
11 | 1.0855 | 0.48018 | -1.0849 | -0.48015 | 0.00051426 | 2.9875e-05 | 0.034295 | 0.034299 | 0.034299 | 0.99908 | 0.0054616 | 0.99857 | 0.0012858 | 16.3328
12 | 0.10959 | 0.051745 | -0.10959 | -0.053075 | 9.1805e-07 | -0.0013299 | 0.0035018 | 0.0035184 | 0.0035184 | 0.99904 | 0.0054675 | 0.99904 | 0.0055385 | 1.5993
13 | 0.19347 | 0.089846 | -0.19347 | -0.090888 | 2.2296e-06 | -0.001042 | 0.0061678 | 0.0061806 | 0.0061806 | 0.99839 | 0.0013924 | 0.99838 | 0.0014848 | 2.8093
14 | -0.19347 | -0.089846 | 0.19347 | 0.088859 | 2.1035e-06 | -0.00098705 | 0.0061678 | 0.0061558 | 0.0061678 | 0.99839 | 0.0013924 | 0.9984 | 0.0013076 | 2.8036
15 | 0.19347 | 0.090888 | -0.19347 | -0.091967 | 2.3184e-06 | -0.0010789 | 0.0061806 | 0.0061939 | 0.0061939 | 0.99838 | 0.0014848 | 0.99837 | 0.0015835 | 2.8154
16 | -0.33243 | -0.15616 | 0.33244 | 0.15553 | 3.9988e-06 | -0.00063142 | 0.01062 | 0.010612 | 0.01062 | 0.9984 | 0.0013076 | 0.99841 | 0.0012103 | 4.8271
17 | -0.89532 | -0.42844 | 0.89536 | 0.4276 | 3.9271e-05 | -0.00084116 | 0.028678 | 0.028668 | 0.028678 | 0.9991 | 0.005203 | 0.99914 | 0.0048319 | 13.0355
18 | 0.74929 | 0.35771 | -0.74919 | -0.36075 | 9.9106e-05 | -0.0030396 | 0.02399 | 0.024028 | 0.024028 | 0.9991 | 0.005203 | 0.99898 | 0.0063296 | 10.922
19 | -0.89536 | -0.4276 | 0.8955 | 0.42757 | 0.00014696 | -2.7587e-05 | 0.028668 | 0.028666 | 0.028668 | 0.99914 | 0.0048319 | 0.99932 | 0.0059717 | 13.6512
20 | 0.74919 | 0.36075 | -0.74912 | -0.36282 | 6.7474e-05 | -0.0020634 | 0.024028 | 0.024055 | 0.024055 | 0.99898 | 0.0063296 | 0.9989 | 0.0071092 | 10.9339
21 | -1.0558 | -0.50521 | 1.0558 | 0.50474 | 3.0789e-05 | -0.00047197 | 0.033812 | 0.033806 | 0.033812 | 0.99932 | 0.0059717 | 0.99934 | 0.0057247 | 15.3689
22 | -0.4148 | -0.18741 | 0.41483 | 0.18419 | 3.1149e-05 | -0.0032174 | 0.01315 | 0.013111 | 0.01315 | 0.99925 | 0.0038059 | 0.99932 | 0.0032638 | 5.9771
23 | 0.26436 | 0.11636 | -0.26433 | -0.12528 | 3.5262e-05 | -0.008919 | 0.0083443 | 0.0084516 | 0.0084516 | 0.99925 | 0.0038059 | 0.99913 | 0.0048202 | 3.8416
24 | 0.15044 | 0.071045 | -0.15043 | -0.072859 | 2.3575e-06 | -0.0018133 | 0.0048062 | 0.0048289 | 0.0048289 | 0.99925 | 0.0038059 | 0.99924 | 0.0039387 | 2.1949
25 | 0.17826 | 0.08616 | -0.17826 | -0.086335 | 3.2045e-07 | -0.0001748 | 0.0057194 | 0.0057216 | 0.0057216 | 0.99932 | 0.0032638 | 0.99932 | 0.0032794 | 2.6007
26 | 0.98377 | 0.45887 | -0.98372 | -0.45974 | 4.8965e-05 | -0.00087452 | 0.031358 | 0.031368 | 0.031368 | 0.99932 | 0.0032638 | 0.99928 | 0.0036625 | 14.2584
27 | -1.5769 | -0.72922 | 1.5771 | 0.72931 | 0.00023959 | 8.6406e-05 | 0.050186 | 0.050185 | 0.050186 | 0.99932 | 0.0032638 | 0.99949 | 0.0044393 | 23.898
28 | 0.98372 | 0.45974 | -0.98367 | -0.46057 | 4.6057e-05 | -0.00082195 | 0.031368 | 0.031379 | 0.031379 | 0.99928 | 0.0036625 | 0.99923 | 0.0040392 | 14.263
29 | -2.6331 | -1.2316 | 2.6332 | 1.2314 | 5.998e-05 | -0.00013424 | 0.083958 | 0.083956 | 0.083958 | 0.99949 | 0.0044393 | 0.99951 | 0.0042561 | 38.1627
30 | 1.056 | 0.50226 | -1.0558 | -0.50474 | 0.00016134 | -0.0024764 | 0.033774 | 0.033806 | 0.033806 | 0.99949 | 0.0044393 | 0.99934 | 0.0057247 | 15.3661
31 | -2.7938 | -1.3092 | 2.7941 | 1.3085 | 0.00035042 | -0.00068471 | 0.08911 | 0.0891 | 0.08911 | 0.99951 | 0.0042561 | 0.99962 | 0.0032435 | 40.5046
32 | -0.33244 | -0.15553 | 0.33245 | 0.15267 | 1.8e-05 | -0.0028539 | 0.010612 | 0.010577 | 0.010612 | 0.99841 | 0.0012103 | 0.99846 | 0.00078408 | 4.8235
33 | -0.33245 | -0.15267 | 0.33246 | 0.1516 | 6.7367e-06 | -0.001073 | 0.010577 | 0.010564 | 0.010577 | 0.99846 | 0.00078408 | 0.99848 | 0.00062953 | 4.8077
34 | 0.16087 | 0.075731 | -0.16087 | -0.076368 | 9.4614e-07 | -0.00063713 | 0.0051406 | 0.0051485 | 0.0051485 | 0.99848 | 0.00062953 | 0.99847 | 0.00067804 | 2.3402
35 | -0.61573 | -0.28661 | 0.61579 | 0.28656 | 5.3315e-05 | -5.8988e-05 | 0.019636 | 0.019635 | 0.019636 | 0.99848 | 0.00062953 | 0.99857 | 0.0012858 | 9.3504
36 | 0.094236 | 0.043907 | -0.094235 | -0.045622 | 8.7516e-07 | -0.0017141 | 0.0030061 | 0.0030273 | 0.0030273 | 0.99837 | 0.0015835 | 0.99836 | 0.001661 | 1.3761
37 | 0.87134 | 0.40675 | -0.87132 | -0.40713 | 1.6716e-05 | -0.00038171 | 0.027781 | 0.027786 | 0.027786 | 0.9992 | 0.0043031 | 0.99919 | 0.0044569 | 12.63
38 | -0.98364 | -0.46114 | 0.98367 | 0.46057 | 3.2149e-05 | -0.00057337 | 0.031386 | 0.031379 | 0.031386 | 0.9992 | 0.0043031 | 0.99923 | 0.0040392 | 14.2663
39 | 0.77866 | 0.36234 | -0.77861 | -0.36352 | 4.1053e-05 | -0.0011777 | 0.024813 | 0.024827 | 0.024827 | 0.99919 | 0.0044569 | 0.99914 | 0.0048775 | 11.2851
40 | 0.092668 | 0.04479 | -0.092667 | -0.044881 | 1.2094e-06 | -9.0697e-05 | 0.0029736 | 0.0029748 | 0.0029748 | 0.99919 | 0.0044569 | 0.99917 | 0.0043705 | 1.4166
41 | 0.64106 | 0.2969 | -0.64103 | -0.29819 | 3.0292e-05 | -0.001288 | 0.020412 | 0.020428 | 0.020428 | 0.99914 | 0.0048775 | 0.99909 | 0.0052507 | 9.2853
42 | 0.1718 | 0.082267 | -0.1718 | -0.083207 | 1.5993e-06 | -0.00094002 | 0.0055038 | 0.0055156 | 0.0055156 | 0.99909 | 0.0052507 | 0.99908 | 0.0053307 | 2.5071
43 | 0.46923 | 0.21592 | -0.46921 | -0.21741 | 1.8658e-05 | -0.0014881 | 0.014924 | 0.014942 | 0.014942 | 0.99909 | 0.0052507 | 0.99905 | 0.0055608 | 6.792
44 | 2.7953 | 1.3063 | -2.7941 | -1.3085 | 0.0011264 | -0.0022033 | 0.089069 | 0.0891 | 0.0891 | 1 | 0 | 0.99962 | 0.0032435 | 40.5002
45 | 1.8479 | 0.82291 | -1.8477 | -0.82285 | 0.00015217 | 6.5415e-05 | 0.058394 | 0.058395 | 0.058395 | 1 | 0 | 0.99991 | -0.00071284 | 27.807
46 | 1.6975 | 0.75007 | -1.6974 | -0.75058 | 8.6635e-05 | -0.0005139 | 0.053577 | 0.053583 | 0.053583 | 0.99991 | -0.00071284 | 0.99986 | -0.00035712 | 24.356
47 | -0.094235 | -0.04564 | 0.094235 | 0.045622 | 2.582e-07 | -1.8652e-05 | 0.0030276 | 0.0030273 | 0.0030276 | 0.99835 | 0.0016429 | 0.99836 | 0.001661 | 1.4417
48 | -0.13079 | -0.063342 | 0.13079 | 0.062009 | 1.3123e-06 | -0.0013331 | 0.0041993 | 0.0041827 | 0.0041993 | 0.99896 | 0.0062998 | 0.99897 | 0.0062144 | 1.9088
49 | -0.13079 | -0.062009 | 0.13079 | 0.055589 | 6.1782e-06 | -0.0064204 | 0.0041827 | 0.0041066 | 0.0041827 | 0.99897 | 0.0062144 | 0.99902 | 0.0058701 | 1.9012
50 | -0.13079 | -0.055589 | 0.13079 | 0.054812 | 7.3261e-07 | -0.00077688 | 0.0041066 | 0.0040978 | 0.0041066 | 0.99902 | 0.0058701 | 0.99902 | 0.0058359 | 1.8666
51 | -0.4692 | -0.21871 | 0.46921 | 0.21741 | 1.6298e-05 | -0.0012968 | 0.014958 | 0.014942 | 0.014958 | 0.99902 | 0.0058359 | 0.99905 | 0.0055608 | 6.7992
52 | -0.12458 | -0.060337 | 0.12458 | 0.059111 | 1.0995e-06 | -0.0012266 | 0.0040035 | 0.0039882 | 0.0040035 | 0.99811 | 0.0042883 | 0.99812 | 0.0042131 | 1.8198
53 | -0.30617 | -0.13938 | 0.30626 | 0.12122 | 9.4514e-05 | -0.018161 | 0.0097293 | 0.0095235 | 0.0097293 | 0.99812 | 0.0042131 | 0.99841 | 0.0022831 | 4.4224
54 | 0.18158 | 0.08027 | -0.18148 | -0.082364 | 0.00010729 | -0.002094 | 0.005742 | 0.0057676 | 0.0057676 | 0.99812 | 0.0042131 | 0.99749 | -0.00081874 | 2.7465
55 | -0.30626 | -0.12122 | 0.30626 | 0.12109 | 6.605e-07 | -0.00012966 | 0.0095235 | 0.0095221 | 0.0095235 | 0.99841 | 0.0022831 | 0.99841 | 0.0022725 | 4.3288
56 | 0.10348 | 0.04459 | -0.10346 | -0.046375 | 2.8958e-05 | -0.0017852 | 0.003261 | 0.003282 | 0.003282 | 0.99749 | -0.00081874 | 0.99719 | -0.0033289 | 1.5629
57 | -0.46909 | -0.19995 | 0.46912 | 0.19754 | 2.9375e-05 | -0.0024051 | 0.014744 | 0.014716 | 0.014744 | 0.99841 | 0.0022725 | 0.99847 | 0.0018861 | 6.7016
58 | -0.46912 | -0.19754 | 0.46916 | 0.1936 | 4.7978e-05 | -0.003948 | 0.014716 | 0.014672 | 0.014716 | 0.99847 | 0.0018861 | 0.99857 | 0.0012858 | 6.6893
59 | 1.6974 | 0.75058 | -1.6972 | -0.75185 | 0.00021334 | -0.0012647 | 0.053583 | 0.053599 | 0.053599 | 0.99986 | -0.00035712 | 0.99974 | 0.00052193 | 24.3631
60 | 0.16087 | 0.076368 | -0.16087 | -0.076554 | 2.7576e-07 | -0.00018532 | 0.0051485 | 0.0051508 | 0.0051508 | 0.99847 | 0.00067804 | 0.99847 | 0.00069235 | 2.3413
61 | -0.16087 | -0.077912 | 0.16087 | 0.076554 | 2.0287e-06 | -0.0013583 | 0.0051678 | 0.0051508 | 0.0051678 | 0.99846 | 0.00080008 | 0.99847 | 0.00069235 | 2.349
62 | 0.10346 | 0.046375 | -0.10345 | -0.050105 | 2.2903e-06 | -0.0037293 | 0.003282 | 0.0033277 | 0.0033277 | 0.99719 | -0.0033289 | 0.99717 | -0.0031522 | 1.5126

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 4.6572 | 2.1398

## res_load
| p_mw | q_mvar
0 | 0.066459 | 0.032188
1 | 0.14727 | 0.071326
2 | 0.050566 | 0.02449
3 | 0.14383 | 0.069658
4 | 0.15299 | 0.074099
5 | 0.071941 | 0.034843
6 | 0.13223 | 0.064043
7 | 0.13896 | 0.067301
8 | 0.14603 | 0.070726
9 | 0.16031 | 0.077642
10 | 0.74912 | 0.36282
11 | 0.15043 | 0.072859
12 | 0.17826 | 0.086335
13 | 0.16062 | 0.077793
14 | 0.1224 | 0.059282
15 | 0.09923 | 0.048059
16 | 0.1123 | 0.054389
17 | 0.13755 | 0.066618
18 | 0.092667 | 0.044881
19 | 0.15027 | 0.07278
20 | 0.094235 | 0.04564
21 | 0.13079 | 0.063342
22 | 0.3384 | 0.1639
23 | 0.12458 | 0.060337
24 | 0.077993 | 0.037774
25 | 0.16282 | 0.07886
26 | 0.10959 | 0.053075
27 | 0.1718 | 0.083207
28 | 0.16087 | 0.077912
29 | 0.10345 | 0.050105

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1