## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_155_1_node_27 | 20 | n |  | TRUE
1 | bus_MV_155_1_node_28 | 20 | n |  | TRUE
2 | bus_MV_155_1_node_29 | 20 | n |  | TRUE
3 | bus_MV_155_1_node_131 | 20 | n |  | TRUE
4 | bus_MV_155_1_node_37 | 20 | n |  | TRUE
5 | bus_MV_155_1_node_121 | 20 | n |  | TRUE
6 | bus_MV_155_1_node_135 | 20 | n |  | TRUE
7 | bus_MV_155_1_node_136 | 20 | n |  | TRUE
8 | bus_MV_155_1_node_137 | 20 | n |  | TRUE
9 | bus_MV_155_1_node_172 | 20 | n |  | TRUE
10 | bus_MV_155_1_node_50 | 20 | n |  | TRUE
11 | bus_MV_155_1_node_51 | 20 | n |  | TRUE
12 | bus_MV_155_1_node_52 | 20 | n |  | TRUE
13 | bus_MV_155_1_node_53 | 20 | n |  | TRUE
14 | bus_MV_155_1_node_65 | 20 | n |  | TRUE
15 | bus_MV_155_1_node_67 | 20 | n |  | TRUE
16 | bus_MV_155_1_node_91 | 20 | n |  | TRUE
17 | bus_MV_155_1_node_83 | 20 | n |  | TRUE
18 | bus_MV_155_1_node_63 | 20 | n |  | TRUE
19 | bus_MV_155_1_node_54 | 20 | n |  | TRUE
20 | bus_MV_155_1_node_55 | 20 | n |  | TRUE
21 | bus_MV_155_1_node_56 | 20 | n |  | TRUE
22 | bus_MV_155_1_node_151 | 20 | n |  | TRUE
23 | bus_MV_155_1_node_150 | 20 | n |  | TRUE
24 | bus_MV_155_1_node_66 | 20 | n |  | TRUE
25 | bus_MV_155_1_node_152 | 20 | n |  | TRUE
26 | bus_MV_155_1_node_159 | 20 | n |  | TRUE
27 | bus_MV_155_1_node_125 | 20 | n |  | TRUE
28 | bus_MV_155_1_node_134 | 20 | n |  | TRUE
29 | bus_MV_155_1_node_133 | 20 | n |  | TRUE
30 | bus_MV_155_1_node_153 | 20 | n |  | TRUE
31 | bus_MV_155_1_node_84 | 20 | n |  | TRUE
32 | bus_MV_155_1_node_57 | 20 | n |  | TRUE
33 | bus_MV_155_1_node_58 | 20 | n |  | TRUE
34 | bus_MV_155_1_node_59 | 20 | n |  | TRUE
35 | bus_MV_155_1_node_149 | 20 | n |  | TRUE
36 | bus_MV_155_1_node_158 | 20 | n |  | TRUE
37 | bus_MV_155_1_node_61 | 20 | n |  | TRUE
38 | bus_MV_155_1_node_60 | 20 | n |  | TRUE
39 | bus_MV_155_1_node_154 | 20 | n |  | TRUE
40 | bus_MV_155_1_node_95 | 20 | n |  | TRUE
41 | bus_MV_155_1_node_185 | 20 | n |  | TRUE
42 | bus_MV_155_1_node_93 | 20 | n |  | TRUE
43 | bus_MV_155_1_node_96 | 20 | n |  | TRUE
44 | bus_MV_155_1_node_156 | 20 | n |  | TRUE
45 | bus_MV_155_1_node_94 | 20 | n |  | TRUE
46 | bus_MV_155_1_node_155 | 20 | n |  | TRUE
47 | bus_MV_155_1_node_79 | 20 | n |  | TRUE
48 | bus_MV_155_1_node_157 | 20 | n |  | TRUE
49 | bus_MV_155_1_node_92 | 20 | n |  | TRUE
50 | bus_MV_155_1_node_168 | 20 | n |  | TRUE
51 | bus_MV_155_1_node_169 | 20 | n |  | TRUE
52 | bus_MV_155_1_node_170 | 20 | n |  | TRUE
53 | bus_MV_155_1_node_88 | 20 | n |  | TRUE
54 | bus_MV_155_1_node_190 | 20 | n |  | TRUE
55 | bus_MV_155_1_node_74 | 20 | n |  | TRUE
56 | bus_MV_155_1_node_76 | 20 | n |  | TRUE
57 | bus_MV_155_1_node_184 | 20 | n |  | TRUE
58 | bus_MV_155_1_node_78 | 20 | n |  | TRUE
59 | bus_MV_155_1_node_77 | 20 | n |  | TRUE
60 | bus_MV_155_1_node_183 | 20 | n |  | TRUE
61 | bus_MV_155_1_node_182 | 20 | n |  | TRUE
62 | bus_MV_155_1_node_80 | 20 | n |  | TRUE
63 | bus_MV_155_1_node_81 | 20 | n |  | TRUE
64 | bus_MV_155_1_node_82 | 20 | n |  | TRUE
65 | bus_MV_155_1_node_85 | 20 | n |  | TRUE
66 | bus_MV_155_1_node_87 | 20 | n |  | TRUE
67 | bus_MV_155_1_node_86 | 20 | n |  | TRUE
68 | bus_MV_155_1_node_89 | 20 | n |  | TRUE
69 | bus_MV_155_1_node_174 | 20 | n |  | TRUE
70 | bus_MV_155_1_node_192 | 20 | n |  | TRUE
71 | bus_MV_155_1_node_130 | 20 | n |  | TRUE
72 | bus_MV_155_1_node_129 | 20 | n |  | TRUE
73 | bus_MV_155_1_node_171 | 20 | n |  | TRUE
74 | bus_MV_155_1_node_173 | 20 | n |  | TRUE
75 | bus_MV_155_1_node_191 | 20 | n |  | TRUE
76 | bus_MV_155_1_node_62 | 20 | n |  | TRUE
77 | bus_MV_155_1_node_64 | 20 | n |  | TRUE
78 | bus_MV_155_1_node_69 | 20 | n |  | TRUE
79 | bus_MV_155_1_node_68 | 20 | n |  | TRUE
80 | bus_MV_155_1_node_70 | 20 | n |  | TRUE
81 | bus_MV_155_1_node_97 | 20 | n |  | TRUE
82 | bus_MV_155_1_node_175 | 20 | n |  | TRUE
83 | bus_MV_155_1_node_139 | 20 | n |  | TRUE
84 | bus_MV_155_1_node_71 | 20 | n |  | TRUE
85 | bus_MV_155_1_node_72 | 20 | n |  | TRUE
86 | bus_MV_155_1_node_145 | 20 | n |  | TRUE
87 | bus_MV_155_1_node_189 | 20 | n |  | TRUE
88 | bus_MV_155_1_node_73 | 20 | n |  | TRUE
89 | bus_MV_155_1_node_146 | 20 | n |  | TRUE
90 | bus_MV_155_1_node_101 | 20 | n |  | TRUE
91 | bus_MV_155_1_node_132 | 20 | n |  | TRUE
92 | bus_MV_155_1_node_127 | 20 | n |  | TRUE
93 | bus_MV_155_1_node_128 | 20 | n |  | TRUE
94 | bus_MV_155_1_node_98 | 20 | n |  | TRUE
95 | bus_MV_155_1_node_100 | 20 | n |  | TRUE
96 | bus_MV_155_1_node_103 | 20 | n |  | TRUE
97 | bus_MV_155_1_node_104 | 20 | n |  | TRUE
98 | bus_MV_155_1_node_108 | 20 | n |  | TRUE
99 | bus_MV_155_1_node_102 | 20 | n |  | TRUE
100 | bus_MV_155_1_node_165 | 20 | n |  | TRUE
101 | bus_MV_155_1_node_164 | 20 | n |  | TRUE
102 | bus_MV_155_1_node_163 | 20 | n |  | TRUE
103 | bus_MV_155_1_node_105 | 20 | n |  | TRUE
104 | bus_MV_155_1_node_162 | 20 | n |  | TRUE
105 | bus_MV_155_1_node_107 | 20 | n |  | TRUE
106 | bus_MV_155_1_node_160 | 20 | n |  | TRUE
107 | bus_MV_155_1_node_106 | 20 | n |  | TRUE
108 | bus_MV_155_1_node_111 | 20 | n |  | TRUE
109 | bus_MV_155_1_node_112 | 20 | n |  | TRUE
110 | bus_MV_155_1_node_114 | 20 | n |  | TRUE
111 | bus_MV_155_1_node_113 | 20 | n |  | TRUE
112 | bus_MV_155_1_node_115 | 20 | n |  | TRUE
113 | bus_MV_155_1_node_116 | 20 | n |  | TRUE
114 | bus_MV_155_1_node_117 | 20 | n |  | TRUE
115 | bus_MV_155_1_node_144 | 20 | n |  | TRUE
116 | bus_MV_155_1_node_166 | 20 | n |  | TRUE
117 | bus_MV_155_1_node_161 | 20 | n |  | TRUE
118 | bus_MV_155_1_node_118 | 20 | n |  | TRUE
119 | bus_MV_155_1_node_119 | 20 | n |  | TRUE
120 | bus_MV_155_1_node_120 | 20 | n |  | TRUE
121 | bus_MV_155_1_node_122 | 20 | n |  | TRUE
122 | bus_MV_155_1_node_124 | 20 | n |  | TRUE
123 | bus_MV_155_1_node_126 | 20 | n |  | TRUE
124 | bus_MV_155_1_node_167 | 20 | n |  | TRUE
125 | bus_HV_155_1_node_153 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_155_1_load_27 | 0 | 0.14203 | 0.068788 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_155_1_load_131 | 3 | 0.18772 | 0.090916 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_155_1_load_37 | 4 | 0.094129 | 0.045589 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_155_1_load_135 | 6 | 0.20458 | 0.099083 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_155_1_load_137 | 8 | 0.07046 | 0.034125 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_155_1_load_50 | 10 | 0.39678 | 0.19217 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_155_1_load_52 | 12 | 0.12585 | 0.060951 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_155_1_load_91 | 16 | 0.37102 | 0.17969 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_155_1_load_56 | 21 | 0.18721 | 0.090669 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_155_1_load_151 | 22 | 0.28437 | 0.13772 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_155_1_load_150 | 23 | 0.073996 | 0.035838 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_155_1_load_152 | 25 | 0.072975 | 0.035343 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_155_1_load_159 | 26 | 0.20684 | 0.10018 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_155_1_load_134 | 28 | 0.35937 | 0.17405 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_155_1_load_133 | 29 | 0.40605 | 0.19666 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_155_1_load_153 | 30 | 0.16735 | 0.081051 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_155_1_load_57 | 32 | 0.39698 | 0.19227 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_155_1_load_149 | 35 | 0.40657 | 0.19691 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_155_1_load_158 | 36 | 0.09492 | 0.045972 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_155_1_load_61 | 37 | 0.27907 | 0.13516 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_155_1_load_185 | 41 | 0.32844 | 0.15907 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_155_1_load_156 | 44 | 0.14007 | 0.067839 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_155_1_load_79 | 47 | 0.10241 | 0.049597 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_155_1_load_92 | 49 | 0.18026 | 0.087305 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_155_1_load_168 | 50 | 0.085629 | 0.041472 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_155_1_load_190 | 54 | 0.38538 | 0.18665 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_155_1_load_74 | 55 | 0.15818 | 0.076612 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_155_1_load_184 | 57 | 0.11973 | 0.05799 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_155_1_load_182 | 61 | 0.18489 | 0.089545 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_155_1_load_80 | 62 | 0.34708 | 0.1681 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_155_1_load_82 | 64 | 0.22178 | 0.10742 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_155_1_load_85 | 65 | 0.3113 | 0.15077 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_155_1_load_174 | 69 | 0.86545 | 0.41916 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_155_1_load_171 | 73 | 0.54986 | 0.26631 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_155_1_load_191 | 75 | 0.19618 | 0.095015 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_155_1_load_62 | 76 | 0.29122 | 0.14104 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_155_1_load_70 | 80 | 0.36695 | 0.17772 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_155_1_load_97 | 81 | 0.27226 | 0.13186 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_155_1_load_175 | 82 | 0.20225 | 0.097954 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_155_1_load_139 | 83 | 0.20838 | 0.10092 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_155_1_load_71 | 84 | 0.3827 | 0.18535 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_155_1_load_145 | 86 | 0.070374 | 0.034084 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_155_1_load_189 | 87 | 0.34499 | 0.16709 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_155_1_load_146 | 89 | 0.126 | 0.061023 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_155_1_load_132 | 91 | 0.34485 | 0.16702 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_155_1_load_128 | 93 | 0.33776 | 0.16359 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_155_1_load_98 | 94 | 0.16025 | 0.077611 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_155_1_load_108 | 98 | 0.1364 | 0.066062 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_155_1_load_165 | 100 | 0.11312 | 0.054785 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_155_1_load_164 | 101 | 0.19508 | 0.094483 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_155_1_load_105 | 103 | 0.3938 | 0.19073 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_155_1_load_162 | 104 | 0.10267 | 0.049728 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_155_1_load_160 | 106 | 0.24701 | 0.11963 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_155_1_load_111 | 108 | 0.085451 | 0.041386 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_155_1_load_117 | 114 | 0.27102 | 0.13126 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_155_1_load_144 | 115 | 0.18228 | 0.08828 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_155_1_load_166 | 116 | 0.18275 | 0.088508 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_155_1_load_161 | 117 | 0.1267 | 0.061363 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_155_1_load_118 | 118 | 0.33023 | 0.15994 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_155_1_load_122 | 121 | 0.3333 | 0.16143 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_155_1_load_167 | 124 | 0.089071 | 0.043139 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_155_1_line_0 |  | 0 | 1 | 0.046011 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_155_1_line_1 |  | 1 | 2 | 0.32737 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_155_1_line_2 |  | 2 | 4 | 0.02283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_155_1_line_3 |  | 3 | 4 | 1.3658 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_155_1_line_4 |  | 3 | 5 | 0.072197 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_155_1_line_5 |  | 5 | 119 | 0.74333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_155_1_line_6 |  | 6 | 7 | 0.049069 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
7 | MV_155_1_line_7 |  | 7 | 8 | 0.010898 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
8 | MV_155_1_line_8 |  | 7 | 9 | 2.0471 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
9 | MV_155_1_line_9 |  | 9 | 73 | 0.010261 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
10 | MV_155_1_line_10 |  | 10 | 11 | 0.02077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_155_1_line_11 |  | 11 | 12 | 0.012932 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
12 | MV_155_1_line_12 |  | 11 | 13 | 0.014487 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
13 | MV_155_1_line_13 |  | 12 | 19 | 0.037261 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
14 | MV_155_1_line_14 |  | 13 | 20 | 0.055085 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
15 | MV_155_1_line_15 |  | 13 | 21 | 0.025518 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
16 | MV_155_1_line_16 |  | 14 | 15 | 0.15893 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
17 | MV_155_1_line_17 |  | 14 | 16 | 0.055595 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
18 | MV_155_1_line_18 |  | 14 | 17 | 0.13069 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
19 | MV_155_1_line_19 |  | 14 | 18 | 0.40032 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
20 | MV_155_1_line_20 |  | 15 | 35 | 0.084051 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_155_1_line_21 |  | 15 | 36 | 0.12121 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
22 | MV_155_1_line_22 |  | 16 | 38 | 0.053931 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
23 | MV_155_1_line_23 |  | 17 | 82 | 0.021666 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_155_1_line_24 |  | 17 | 31 | 0.17152 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
25 | MV_155_1_line_25 |  | 18 | 76 | 0.0067 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
26 | MV_155_1_line_26 |  | 19 | 22 | 0.024375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_155_1_line_27 |  | 19 | 23 | 0.042931 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
28 | MV_155_1_line_28 |  | 19 | 24 | 0.22748 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_155_1_line_29 |  | 20 | 25 | 0.018889 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
30 | MV_155_1_line_30 |  | 21 | 26 | 0.030997 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
31 | MV_155_1_line_31 |  | 23 | 27 | 0.024799 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
32 | MV_155_1_line_32 |  | 24 | 28 | 0.038904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_155_1_line_33 |  | 24 | 29 | 0.056275 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_155_1_line_34 |  | 25 | 30 | 0.0056555 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_155_1_line_35 |  | 26 | 31 | 0.076661 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
36 | MV_155_1_line_36 |  | 27 | 122 | 0.19639 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
37 | MV_155_1_line_37 |  | 32 | 33 | 0.032605 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_155_1_line_38 |  | 33 | 34 | 0.017142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_155_1_line_39 |  | 34 | 37 | 0.0428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_155_1_line_40 |  | 36 | 48 | 0.028392 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_155_1_line_41 |  | 37 | 48 | 0.015394 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_155_1_line_42 |  | 38 | 39 | 0.16593 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
43 | MV_155_1_line_43 |  | 39 | 46 | 0.09778 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
44 | MV_155_1_line_44 |  | 39 | 64 | 0.082069 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
45 | MV_155_1_line_45 |  | 40 | 41 | 0.027409 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
46 | MV_155_1_line_46 |  | 40 | 42 | 0.19093 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
47 | MV_155_1_line_47 |  | 42 | 49 | 0.0184 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
48 | MV_155_1_line_48 |  | 43 | 44 | 0.012318 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
49 | MV_155_1_line_49 |  | 43 | 45 | 0.175 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
50 | MV_155_1_line_50 |  | 44 | 46 | 0.057181 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
51 | MV_155_1_line_51 |  | 45 | 49 | 0.092958 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
52 | MV_155_1_line_52 |  | 46 | 47 | 0.10026 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_155_1_line_53 |  | 50 | 51 | 0.14291 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
54 | MV_155_1_line_54 |  | 51 | 52 | 0.12204 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
55 | MV_155_1_line_55 |  | 51 | 53 | 0.77337 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
56 | MV_155_1_line_56 |  | 52 | 54 | 0.007314 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
57 | MV_155_1_line_57 |  | 53 | 69 | 0.013556 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
58 | MV_155_1_line_58 |  | 53 | 67 | 0.38765 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
59 | MV_155_1_line_59 |  | 55 | 56 | 0.024579 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
60 | MV_155_1_line_60 |  | 55 | 57 | 0.20241 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
61 | MV_155_1_line_61 |  | 56 | 58 | 0.048046 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
62 | MV_155_1_line_62 |  | 57 | 60 | 0.044719 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
63 | MV_155_1_line_63 |  | 58 | 62 | 0.047981 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_155_1_line_64 |  | 59 | 60 | 0.015959 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
65 | MV_155_1_line_65 |  | 59 | 61 | 0.034671 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
66 | MV_155_1_line_66 |  | 61 | 68 | 0.2301 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
67 | MV_155_1_line_67 |  | 61 | 71 | 0.083272 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
68 | MV_155_1_line_68 |  | 62 | 63 | 0.006468 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
69 | MV_155_1_line_69 |  | 63 | 64 | 0.068893 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
70 | MV_155_1_line_70 |  | 65 | 66 | 0.03917 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
71 | MV_155_1_line_71 |  | 65 | 67 | 0.096567 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
72 | MV_155_1_line_72 |  | 66 | 68 | 0.37676 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
73 | MV_155_1_line_73 |  | 68 | 70 | 0.094562 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
74 | MV_155_1_line_74 |  | 69 | 74 | 0.018069 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
75 | MV_155_1_line_75 |  | 70 | 75 | 0.020701 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
76 | MV_155_1_line_76 |  | 71 | 72 | 0.21333 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
77 | MV_155_1_line_77 |  | 72 | 93 | 0.058113 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_155_1_line_78 |  | 73 | 74 | 0.056716 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
79 | MV_155_1_line_79 |  | 76 | 77 | 0.054844 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
80 | MV_155_1_line_80 |  | 77 | 78 | 0.59866 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
81 | MV_155_1_line_81 |  | 78 | 81 | 0.060216 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
82 | MV_155_1_line_82 |  | 78 | 79 | 0.53661 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
83 | MV_155_1_line_83 |  | 79 | 80 | 0.026133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_155_1_line_84 |  | 81 | 83 | 1.3295 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
85 | MV_155_1_line_85 |  | 84 | 85 | 0.055968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_155_1_line_86 |  | 84 | 86 | 0.19109 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_155_1_line_87 |  | 84 | 87 | 0.29528 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_155_1_line_88 |  | 85 | 88 | 0.097479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_155_1_line_89 |  | 86 | 89 | 0.051686 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_155_1_line_90 |  | 87 | 90 | 0.056582 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
91 | MV_155_1_line_91 |  | 88 | 91 | 0.05045 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
92 | MV_155_1_line_92 |  | 90 | 99 | 0.2843 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_155_1_line_93 |  | 91 | 92 | 0.016569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_155_1_line_94 |  | 92 | 123 | 0.34651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_155_1_line_95 |  | 94 | 95 | 0.086763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_155_1_line_96 |  | 94 | 96 | 0.20725 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_155_1_line_97 |  | 95 | 97 | 0.1186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_155_1_line_98 |  | 96 | 98 | 0.10933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_155_1_line_99 |  | 97 | 102 | 0.012027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_155_1_line_100 |  | 97 | 104 | 0.10376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_155_1_line_101 |  | 99 | 100 | 0.1173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_155_1_line_102 |  | 100 | 105 | 0.020525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_155_1_line_103 |  | 101 | 102 | 0.09072 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_155_1_line_104 |  | 101 | 103 | 0.12515 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
105 | MV_155_1_line_105 |  | 103 | 107 | 0.038774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_155_1_line_106 |  | 104 | 106 | 0.11937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_155_1_line_107 |  | 105 | 107 | 0.046406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_155_1_line_108 |  | 106 | 117 | 0.085324 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_155_1_line_109 |  | 108 | 109 | 0.005274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_155_1_line_110 |  | 109 | 110 | 0.51364 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_155_1_line_111 |  | 110 | 113 | 0.53897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_155_1_line_112 |  | 110 | 115 | 0.063569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_155_1_line_113 |  | 111 | 112 | 0.32971 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_155_1_line_114 |  | 111 | 113 | 0.30373 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_155_1_line_115 |  | 111 | 114 | 0.057675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_155_1_line_116 |  | 112 | 116 | 0.23899 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_155_1_line_117 |  | 113 | 117 | 0.043986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_155_1_line_118 |  | 118 | 119 | 0.002138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_155_1_line_119 |  | 119 | 120 | 0.17761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_155_1_line_120 |  | 120 | 121 | 0.03943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
121 | MV_155_1_line_121 |  | 121 | 122 | 0.051223 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
122 | MV_155_1_line_122 |  | 122 | 123 | 0.11973 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
123 | MV_155_1_line_123 |  | 123 | 124 | 0.041417 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_155_1_trafo_153 | 25 MVA 110/20 kV | 125 | 30 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2731531.3223 | 1250824.5527
1 | 2731566.4383 | 1250847.5971
2 | 2731735.1676 | 1250822.1893
3 | 2731964.3199 | 1252184.6187
4 | 2731754.0849 | 1250835.0546
5 | 2731928.6972 | 1252247.4152
6 | 2728246.8051 | 1252010.4466
7 | 2728289.9342 | 1252001.794
8 | 2728293.3222 | 1251991.4361
9 | 2730192.5666 | 1252757.2006
10 | 2731689.7947 | 1252996.6352
11 | 2731675.4234 | 1252981.6403
12 | 2731683.3141 | 1252971.3951
13 | 2731660.8928 | 1252981.6063
14 | 2731652.0999 | 1253217.7454
15 | 2731664.1609 | 1253373.8984
16 | 2731598.8806 | 1253233.8219
17 | 2731632.017 | 1253088.6052
18 | 2731966.9025 | 1253129.3367
19 | 2731706.0504 | 1252941.8743
20 | 2731632.1933 | 1252935.7384
21 | 2731635.4997 | 1252984.1253
22 | 2731686.4169 | 1252927.4297
23 | 2731713.9424 | 1252901.9952
24 | 2731931.6037 | 1252912.3219
25 | 2731644.0771 | 1252921.0559
26 | 2731604.6544 | 1252987.1852
27 | 2731710.9277 | 1252877.3803
28 | 2731962.1794 | 1252888.1589
29 | 2731967.6447 | 1252955.5412
30 | 2731648.5522 | 1252924.514
31 | 2731528.1688 | 1252992.2121
32 | 2731535.1708 | 1253425.7685
33 | 2731502.631 | 1253423.7109
34 | 2731500.916 | 1253440.7659
35 | 2731722.8067 | 1253416.3309
36 | 2731582.2075 | 1253463.1981
37 | 2731538.6301 | 1253458.9743
38 | 2731547.0991 | 1253249.408
39 | 2731382.1643 | 1253267.5197
40 | 2730921.6353 | 1253323.6078
41 | 2730894.5872 | 1253328.5034
42 | 2731074.8714 | 1253422.8743
43 | 2731273.3207 | 1253349.0134
44 | 2731275.3866 | 1253336.8704
45 | 2731183.7442 | 1253434.884
46 | 2731284.9627 | 1253280.4987
47 | 2731207.1364 | 1253217.2844
48 | 2731553.979 | 1253460.1504
49 | 2731092.0213 | 1253429.671
50 | 2729758.0539 | 1253471.1773
51 | 2729859.8119 | 1253480.9326
52 | 2729768.2149 | 1253561.564
53 | 2730265.1815 | 1252822.3105
54 | 2729762.808 | 1253566.5056
55 | 2731307.5447 | 1253021.3442
56 | 2731331.1786 | 1253027.1733
57 | 2731116.2871 | 1252955.071
58 | 2731350.0354 | 1253071.3866
59 | 2731112.9685 | 1252895.6443
60 | 2731111.6724 | 1252911.2185
61 | 2731079.6177 | 1252887.4656
62 | 2731357.3753 | 1253118.5473
63 | 2731363.8034 | 1253117.6779
64 | 2731372.1826 | 1253186.0599
65 | 2730629.8326 | 1253065.1012
66 | 2730668.412 | 1253059.0132
67 | 2730535.1715 | 1253046.0087
68 | 2730877.5253 | 1252997.4963
69 | 2730257.8856 | 1252810.8895
70 | 2730819.3111 | 1252922.9771
71 | 2731130.9316 | 1252822.1871
72 | 2731226.9007 | 1252712.5693
73 | 2730201.0791 | 1252762.929
74 | 2730246.2914 | 1252797.0504
75 | 2730804.3936 | 1252937.3718
76 | 2731973.2401 | 1253127.1092
77 | 2732024.6008 | 1253107.4804
78 | 2732453.3306 | 1252949.7303
79 | 2732163.6674 | 1253205.9366
80 | 2732186.6005 | 1253193.4063
81 | 2732504.5504 | 1252981.3931
82 | 2731630.1494 | 1253067.0221
83 | 2733166.2944 | 1254134.4756
84 | 2732323.4468 | 1252779.4633
85 | 2732274.4441 | 1252752.1778
86 | 2732138.5531 | 1252827.7259
87 | 2732599.4226 | 1252674.4612
88 | 2732190.0632 | 1252703.3728
89 | 2732149.2107 | 1252873.75
90 | 2732655.462 | 1252666.6419
91 | 2732140.2513 | 1252695.3767
92 | 2732124.0102 | 1252698.8843
93 | 2731284.387 | 1252704.0575
94 | 2732916.3488 | 1252446.4014
95 | 2733002.6599 | 1252435.4284
96 | 2732730.3239 | 1252355.0377
97 | 2733030.4964 | 1252550.257
98 | 2732630.7145 | 1252397.4787
99 | 2732806.1088 | 1252713.6593
100 | 2732922.2331 | 1252728.4961
101 | 2732935.6575 | 1252589.8634
102 | 2733019.3413 | 1252554.8329
103 | 2732987.2901 | 1252703.8702
104 | 2733125.3194 | 1252508.2531
105 | 2732942.1296 | 1252733.5056
106 | 2733235.7022 | 1252462.8196
107 | 2732987.5091 | 1252742.51
108 | 2733663.8135 | 1252020.4317
109 | 2733668.69 | 1252022.4769
110 | 2733790.1291 | 1252377.4388
111 | 2733431.4004 | 1252666.1214
112 | 2733616.4823 | 1252871.9567
113 | 2733354.9192 | 1252412.7593
114 | 2733449.6329 | 1252611.8274
115 | 2733774.3657 | 1252434.6658
116 | 2733847.1431 | 1252844.4216
117 | 2733314.5678 | 1252430.266
118 | 2731753.1424 | 1252609.734
119 | 2731754.4023 | 1252611.4636
120 | 2731868.4445 | 1252695.0203
121 | 2731838.5856 | 1252720.8679
122 | 2731869.6242 | 1252761.6843
123 | 2731905.9614 | 1252807.2564
124 | 2731928.5718 | 1252841.9575
125 | 2731648.5522 | 1252924.514

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99708 | -0.03551 | 0.14203 | 0.068788
1 | 0.99709 | -0.035587 | 0 | 0
2 | 0.99715 | -0.036042 | 0 | 0
3 | 0.99776 | -0.030956 | 0.18772 | 0.090916
4 | 0.99715 | -0.036068 | 0.094129 | 0.045589
5 | 0.99782 | -0.030517 | 0 | 0
6 | 0.99646 | -0.099606 | 0.20458 | 0.099083
7 | 0.99646 | -0.099567 | 0 | 0
8 | 0.99646 | -0.09957 | 0.07046 | 0.034125
9 | 0.99674 | -0.090021 | 0 | 0
10 | 0.99972 | -0.0049533 | 0.39678 | 0.19217
11 | 0.99973 | -0.0050517 | 0 | 0
12 | 0.99972 | -0.0053577 | 0.12585 | 0.060951
13 | 0.99975 | -0.0046869 | 0 | 0
14 | 0.99877 | -0.0313 | 0 | 0
15 | 0.99871 | -0.031541 | 0 | 0
16 | 0.99863 | -0.036215 | 0.37102 | 0.17969
17 | 0.99925 | -0.014519 | 0 | 0
18 | 0.99867 | -0.033335 | 0 | 0
19 | 0.99967 | -0.006221 | 0 | 0
20 | 0.99992 | -0.0014459 | 0 | 0
21 | 0.99971 | -0.0055452 | 0.18721 | 0.090669
22 | 0.99966 | -0.0061385 | 0.28437 | 0.13772
23 | 0.99963 | -0.007043 | 0.073996 | 0.035838
24 | 0.99933 | -0.0083491 | 0 | 0
25 | 0.99998 | -0.00033439 | 0.072975 | 0.035343
26 | 0.99966 | -0.0065653 | 0.20684 | 0.10018
27 | 0.99956 | -0.0077658 | 0 | 0
28 | 0.99931 | -0.0081827 | 0.35937 | 0.17405
29 | 0.99929 | -0.0086258 | 0.40605 | 0.19666
30 | 1 | 0 | -14.489 | -6.532
31 | 0.99953 | -0.0090258 | 0 | 0
32 | 0.9985 | -0.033788 | 0.39698 | 0.19227
33 | 0.99853 | -0.033631 | 0 | 0
34 | 0.99854 | -0.033712 | 0 | 0
35 | 0.99867 | -0.031136 | 0.40657 | 0.19691
36 | 0.9986 | -0.034263 | 0.09492 | 0.045972
37 | 0.99856 | -0.033914 | 0.27907 | 0.13516
38 | 0.99857 | -0.037294 | 0 | 0
39 | 0.99819 | -0.050948 | 0 | 0
40 | 0.99812 | -0.052323 | 0 | 0
41 | 0.99812 | -0.052358 | 0.32844 | 0.15907
42 | 0.99813 | -0.052069 | 0 | 0
43 | 0.99816 | -0.051458 | 0 | 0
44 | 0.99816 | -0.05143 | 0.14007 | 0.067839
45 | 0.99814 | -0.051846 | 0 | 0
46 | 0.99817 | -0.051268 | 0 | 0
47 | 0.99815 | -0.051393 | 0.10241 | 0.049597
48 | 0.99857 | -0.034037 | 0 | 0
49 | 0.99813 | -0.052043 | 0.18026 | 0.087305
50 | 0.99658 | -0.095972 | 0.085629 | 0.041472
51 | 0.99658 | -0.095948 | 0 | 0
52 | 0.99657 | -0.096133 | 0 | 0
53 | 0.99676 | -0.089676 | 0 | 0
54 | 0.99657 | -0.096136 | 0.38538 | 0.18665
55 | 0.99796 | -0.055241 | 0.15818 | 0.076612
56 | 0.99798 | -0.054888 | 0 | 0
57 | 0.99763 | -0.066736 | 0.11973 | 0.05799
58 | 0.99802 | -0.054197 | 0 | 0
59 | 0.99759 | -0.067542 | 0 | 0
60 | 0.9976 | -0.06733 | 0 | 0
61 | 0.99757 | -0.068001 | 0.18489 | 0.089545
62 | 0.99805 | -0.053505 | 0.34708 | 0.1681
63 | 0.99806 | -0.053403 | 0 | 0
64 | 0.99811 | -0.052316 | 0.22178 | 0.10742
65 | 0.99704 | -0.082747 | 0.3113 | 0.15077
66 | 0.99707 | -0.082354 | 0 | 0
67 | 0.99694 | -0.086301 | 0 | 0
68 | 0.99727 | -0.078523 | 0 | 0
69 | 0.99675 | -0.089765 | 0.86545 | 0.41916
70 | 0.99726 | -0.078831 | 0 | 0
71 | 0.99756 | -0.068123 | 0 | 0
72 | 0.99755 | -0.068412 | 0 | 0
73 | 0.99674 | -0.090009 | 0.54986 | 0.26631
74 | 0.99675 | -0.089824 | 0 | 0
75 | 0.99726 | -0.078847 | 0.19618 | 0.095015
76 | 0.99867 | -0.033368 | 0.29122 | 0.14104
77 | 0.99866 | -0.033578 | 0 | 0
78 | 0.99855 | -0.035734 | 0 | 0
79 | 0.99845 | -0.03696 | 0 | 0
80 | 0.99844 | -0.036845 | 0.36695 | 0.17772
81 | 0.99853 | -0.03669 | 0.27226 | 0.13186
82 | 0.99925 | -0.014524 | 0.20225 | 0.097954
83 | 0.99825 | -0.045842 | 0.20838 | 0.10092
84 | 0.99544 | -0.015227 | 0.3827 | 0.18535
85 | 0.99566 | -0.017049 | 0 | 0
86 | 0.99537 | -0.015706 | 0.070374 | 0.034084
87 | 0.994 | -0.026427 | 0.34499 | 0.16709
88 | 0.99605 | -0.020209 | 0 | 0
89 | 0.99536 | -0.01563 | 0.126 | 0.061023
90 | 0.99376 | -0.028337 | 0 | 0
91 | 0.99635 | -0.017919 | 0.34485 | 0.16702
92 | 0.99643 | -0.018524 | 0 | 0
93 | 0.99751 | -0.068651 | 0.33776 | 0.16359
94 | 0.99168 | -0.01855 | 0.16025 | 0.077611
95 | 0.99171 | -0.018842 | 0 | 0
96 | 0.99163 | -0.018946 | 0 | 0
97 | 0.99176 | -0.019222 | 0 | 0
98 | 0.99161 | -0.018773 | 0.1364 | 0.066062
99 | 0.99297 | -0.022143 | 0 | 0
100 | 0.99264 | -0.019548 | 0.11312 | 0.054785
101 | 0.99195 | -0.020655 | 0.19508 | 0.094483
102 | 0.99178 | -0.01939 | 0 | 0
103 | 0.99236 | -0.017336 | 0.3938 | 0.19073
104 | 0.9916 | -0.018081 | 0.10267 | 0.049728
105 | 0.99258 | -0.01912 | 0 | 0
106 | 0.99143 | -0.016896 | 0.24701 | 0.11963
107 | 0.99246 | -0.01815 | 0 | 0
108 | 0.99107 | -0.014652 | 0.085451 | 0.041386
109 | 0.99107 | -0.014657 | 0 | 0
110 | 0.99112 | -0.014987 | 0 | 0
111 | 0.99113 | -0.014727 | 0 | 0
112 | 0.99105 | -0.014195 | 0 | 0
113 | 0.9913 | -0.016045 | 0 | 0
114 | 0.99111 | -0.014539 | 0.27102 | 0.13126
115 | 0.99111 | -0.014849 | 0.18228 | 0.08828
116 | 0.991 | -0.013707 | 0.18275 | 0.088508
117 | 0.99134 | -0.016293 | 0.1267 | 0.061363
118 | 0.99822 | -0.033346 | 0.33023 | 0.15994
119 | 0.99822 | -0.033355 | 0 | 0
120 | 0.99839 | -0.034612 | 0 | 0
121 | 0.99843 | -0.034884 | 0.3333 | 0.16143
122 | 0.9985 | -0.035439 | 0 | 0
123 | 0.99795 | -0.031044 | 0 | 0
124 | 0.99795 | -0.031001 | 0.089071 | 0.043139
125 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14203 | -0.068788 | 0.14203 | 0.067696 | 1.2784e-06 | -0.0010918 | 0.0045689 | 0.0045552 | 0.0045689 | 0.99708 | -0.03551 | 0.99709 | -0.035587 | 2.0768
1 | -0.14203 | -0.067696 | 0.14204 | 0.059927 | 8.8814e-06 | -0.0077687 | 0.0045552 | 0.0044631 | 0.0045552 | 0.99709 | -0.035587 | 0.99715 | -0.036042 | 2.0706
2 | -0.14204 | -0.059927 | 0.14204 | 0.059385 | 6.0626e-07 | -0.00054181 | 0.0044631 | 0.004457 | 0.0044631 | 0.99715 | -0.036042 | 0.99715 | -0.036068 | 2.0287
3 | 0.2363 | 0.10344 | -0.23617 | -0.10497 | 0.00013589 | -0.0015372 | 0.0074631 | 0.0074821 | 0.0074821 | 0.99776 | -0.030956 | 0.99715 | -0.036068 | 3.5629
4 | -0.42402 | -0.19435 | 0.42405 | 0.19428 | 2.3425e-05 | -7.1136e-05 | 0.013495 | 0.013494 | 0.013495 | 0.99776 | -0.030956 | 0.99782 | -0.030517 | 6.4263
5 | -0.42405 | -0.19428 | 0.42422 | 0.17666 | 0.00017791 | -0.017625 | 0.013494 | 0.013289 | 0.013494 | 0.99782 | -0.030517 | 0.99822 | -0.033355 | 6.1337
6 | -0.20458 | -0.099083 | 0.20458 | 0.095361 | 3.8664e-07 | -0.0037222 | 0.0065853 | 0.006539 | 0.0065853 | 0.99646 | -0.099606 | 0.99646 | -0.099567 | 0.7821
7 | 0.07046 | 0.033298 | -0.07046 | -0.034125 | 1.0171e-08 | -0.00082675 | 0.0022577 | 0.002268 | 0.002268 | 0.99646 | -0.099567 | 0.99646 | -0.09957 | 0.26936
8 | -0.27504 | -0.12866 | 0.2751 | 0.12348 | 5.6046e-05 | -0.0051822 | 0.0087966 | 0.0087331 | 0.0087966 | 0.99646 | -0.099567 | 0.99674 | -0.090021 | 1.0728
9 | -0.2751 | -0.12348 | 0.2751 | 0.1227 | 1.4306e-07 | -0.00077871 | 0.0087331 | 0.0087239 | 0.0087331 | 0.99674 | -0.090021 | 0.99674 | -0.090009 | 1.0372
10 | -0.39678 | -0.19217 | 0.39679 | 0.19168 | 4.4914e-06 | -0.0004943 | 0.01273 | 0.012724 | 0.01273 | 0.99972 | -0.0049533 | 0.99973 | -0.0050517 | 5.7865
11 | 5.917 | 2.7249 | -5.9169 | -2.7258 | 8.3737e-05 | -0.00091061 | 0.1881 | 0.18811 | 0.18811 | 0.99973 | -0.0050517 | 0.99972 | -0.0053577 | 22.3413
12 | -6.3138 | -2.9166 | 6.3139 | 2.9155 | 0.00010691 | -0.0010081 | 0.20082 | 0.20081 | 0.20082 | 0.99973 | -0.0050517 | 0.99975 | -0.0046869 | 23.8508
13 | 5.7911 | 2.6648 | -5.7909 | -2.6675 | 0.00023109 | -0.002633 | 0.18408 | 0.18411 | 0.18411 | 0.99972 | -0.0053577 | 0.99967 | -0.006221 | 21.8659
14 | -14.399 | -6.4895 | 14.4011 | 6.4872 | 0.0020963 | -0.0022829 | 0.45604 | 0.45599 | 0.45604 | 0.99975 | -0.0046869 | 0.99992 | -0.0014459 | 54.1616
15 | 8.0851 | 3.5739 | -8.0848 | -3.5756 | 0.00030426 | -0.0016693 | 0.25525 | 0.25527 | 0.25527 | 0.99975 | -0.0046869 | 0.99971 | -0.0055452 | 30.3169
16 | 1.1777 | 0.55583 | -1.1777 | -0.56575 | 6.981e-05 | -0.0099216 | 0.037641 | 0.037765 | 0.037765 | 0.99877 | -0.0313 | 0.99871 | -0.031541 | 5.9192
17 | 5.166 | 2.2972 | -5.1655 | -2.2966 | 0.0005291 | 0.00062249 | 0.16341 | 0.16341 | 0.16341 | 0.99877 | -0.0313 | 0.99863 | -0.036215 | 19.9283
18 | -7.4828 | -3.3033 | 7.4855 | 3.3067 | 0.0026033 | 0.0034314 | 0.23641 | 0.23641 | 0.23641 | 0.99877 | -0.0313 | 0.99925 | -0.014519 | 28.8309
19 | 1.1391 | 0.45024 | -1.139 | -0.48066 | 9.2666e-05 | -0.030422 | 0.035401 | 0.035735 | 0.035735 | 0.99877 | -0.0313 | 0.99867 | -0.033335 | 4.2441
20 | 0.40659 | 0.19492 | -0.40657 | -0.19691 | 1.9097e-05 | -0.0019959 | 0.013033 | 0.013058 | 0.013058 | 0.99871 | -0.031541 | 0.99867 | -0.031136 | 5.9356
21 | 0.77109 | 0.37083 | -0.77102 | -0.37091 | 6.8062e-05 | -7.4053e-05 | 0.024732 | 0.024734 | 0.024734 | 0.99871 | -0.031541 | 0.9986 | -0.034263 | 7.0667
22 | 4.7945 | 2.1169 | -4.7942 | -2.1208 | 0.0002266 | -0.003901 | 0.1515 | 0.15155 | 0.15155 | 0.99863 | -0.036215 | 0.99857 | -0.037294 | 17.9989
23 | 0.20225 | 0.096595 | -0.20225 | -0.097954 | 2.8142e-07 | -0.0013591 | 0.0064751 | 0.0064921 | 0.0064921 | 0.99925 | -0.014519 | 0.99925 | -0.014524 | 1.0176
24 | -7.6877 | -3.4033 | 7.6896 | 3.3919 | 0.0018505 | -0.01139 | 0.24288 | 0.24273 | 0.24288 | 0.99925 | -0.014519 | 0.99953 | -0.0090258 | 28.8458
25 | 1.139 | 0.48066 | -1.139 | -0.48117 | 1.5659e-06 | -0.00050911 | 0.035735 | 0.035741 | 0.035741 | 0.99867 | -0.033335 | 0.99867 | -0.033368 | 4.2447
26 | 0.28437 | 0.13714 | -0.28437 | -0.13772 | 2.7068e-06 | -0.00058078 | 0.0091168 | 0.0091242 | 0.0091242 | 0.99967 | -0.006221 | 0.99966 | -0.0061385 | 4.1473
27 | 4.7408 | 2.1607 | -4.7406 | -2.1638 | 0.00017787 | -0.0031145 | 0.15045 | 0.15049 | 0.15049 | 0.99967 | -0.006221 | 0.99963 | -0.007043 | 17.8727
28 | 0.7657 | 0.36961 | -0.76545 | -0.36973 | 0.00024436 | -0.00011824 | 0.024552 | 0.024556 | 0.024556 | 0.99967 | -0.006221 | 0.99933 | -0.0083491 | 11.6932
29 | -14.4011 | -6.4872 | 14.4018 | 6.4864 | 0.00071872 | -0.00078325 | 0.45599 | 0.45597 | 0.45599 | 0.99992 | -0.0014459 | 0.99998 | -0.00033439 | 54.1557
30 | 7.8976 | 3.4849 | -7.8972 | -3.487 | 0.00035248 | -0.0020432 | 0.24927 | 0.24929 | 0.24929 | 0.99971 | -0.0055452 | 0.99966 | -0.0065653 | 29.6072
31 | 4.6666 | 2.128 | -4.6664 | -2.1286 | 0.00026279 | -0.0006591 | 0.14811 | 0.14812 | 0.14812 | 0.99963 | -0.007043 | 0.99956 | -0.0077658 | 40.9183
32 | 0.35938 | 0.17313 | -0.35937 | -0.17405 | 6.9033e-06 | -0.00092557 | 0.011523 | 0.011535 | 0.011535 | 0.99933 | -0.0083491 | 0.99931 | -0.0081827 | 5.2431
33 | 0.40607 | 0.1966 | -0.40605 | -0.19666 | 1.7031e-05 | -5.6421e-05 | 0.013033 | 0.013033 | 0.013033 | 0.99933 | -0.0083491 | 0.99929 | -0.0086258 | 6.2064
34 | -14.4748 | -6.5218 | 14.475 | 6.5215 | 0.00021739 | -0.00023252 | 0.45831 | 0.45831 | 0.45831 | 0.99998 | -0.00033439 | 1 | 0 | 54.4315
35 | 7.6904 | 3.3868 | -7.6896 | -3.3919 | 0.00082632 | -0.0050938 | 0.24266 | 0.24273 | 0.24273 | 0.99966 | -0.0065653 | 0.99953 | -0.0090258 | 28.8276
36 | 4.6664 | 2.1286 | -4.6624 | -2.1244 | 0.0039558 | 0.0042782 | 0.14812 | 0.14813 | 0.14813 | 0.99956 | -0.0077658 | 0.9985 | -0.035439 | 42.3221
37 | -0.39698 | -0.19227 | 0.39699 | 0.19223 | 9.4464e-06 | -3.2892e-05 | 0.012752 | 0.012752 | 0.012752 | 0.9985 | -0.033788 | 0.99853 | -0.033631 | 6.0725
38 | -0.39699 | -0.19223 | 0.39699 | 0.19183 | 3.7196e-06 | -0.00040698 | 0.012752 | 0.012747 | 0.012752 | 0.99853 | -0.033631 | 0.99854 | -0.033712 | 5.7962
39 | -0.39699 | -0.19183 | 0.397 | 0.19081 | 9.2742e-06 | -0.0010162 | 0.012747 | 0.012734 | 0.012747 | 0.99854 | -0.033712 | 0.99856 | -0.033914 | 5.7939
40 | 0.6761 | 0.32493 | -0.67608 | -0.32561 | 1.783e-05 | -0.0006707 | 0.021685 | 0.021693 | 0.021693 | 0.9986 | -0.034263 | 0.99857 | -0.034037 | 9.8605
41 | -0.67607 | -0.32597 | 0.67608 | 0.32561 | 9.6732e-06 | -0.00036363 | 0.021698 | 0.021693 | 0.021698 | 0.99856 | -0.033914 | 0.99857 | -0.034037 | 9.8626
42 | 4.7942 | 2.1208 | -4.7929 | -2.1192 | 0.0013583 | 0.0015384 | 0.15155 | 0.15156 | 0.15156 | 0.99857 | -0.037294 | 0.99819 | -0.050948 | 18.4824
43 | 0.75121 | 0.31257 | -0.7512 | -0.32 | 9.9425e-06 | -0.0074344 | 0.02353 | 0.023614 | 0.023614 | 0.99819 | -0.050948 | 0.99817 | -0.051268 | 2.8045
44 | 4.0417 | 1.8067 | -4.0414 | -1.8127 | 0.00024633 | -0.0060211 | 0.12803 | 0.12811 | 0.12811 | 0.99819 | -0.050948 | 0.99811 | -0.052316 | 15.2144
45 | 0.32844 | 0.15698 | -0.32844 | -0.15907 | 5.5737e-07 | -0.0020858 | 0.010528 | 0.010554 | 0.010554 | 0.99812 | -0.052323 | 0.99812 | -0.052358 | 1.2535
46 | -0.32844 | -0.15698 | 0.32844 | 0.14245 | 3.8079e-06 | -0.01453 | 0.010528 | 0.010354 | 0.010528 | 0.99812 | -0.052323 | 0.99813 | -0.052069 | 1.2504
47 | -0.32844 | -0.14245 | 0.32844 | 0.14105 | 3.6041e-07 | -0.0014002 | 0.010354 | 0.010338 | 0.010354 | 0.99813 | -0.052069 | 0.99813 | -0.052043 | 1.2297
48 | -0.50871 | -0.20797 | 0.50872 | 0.20703 | 5.6913e-07 | -0.00093716 | 0.015894 | 0.015884 | 0.015894 | 0.99816 | -0.051458 | 0.99816 | -0.05143 | 1.8877
49 | 0.50871 | 0.20797 | -0.50871 | -0.22129 | 8.1658e-06 | -0.013314 | 0.015894 | 0.016044 | 0.016044 | 0.99816 | -0.051458 | 0.99814 | -0.051846 | 1.9055
50 | -0.64879 | -0.27487 | 0.64879 | 0.27053 | 4.3349e-06 | -0.0043488 | 0.020378 | 0.020329 | 0.020378 | 0.99816 | -0.05143 | 0.99817 | -0.051268 | 2.4202
51 | 0.50871 | 0.22129 | -0.5087 | -0.22836 | 4.4014e-06 | -0.0070718 | 0.016044 | 0.016127 | 0.016127 | 0.99814 | -0.051846 | 0.99813 | -0.052043 | 1.9153
52 | 0.10241 | 0.049479 | -0.10241 | -0.049597 | 1.9336e-06 | -0.00011805 | 0.0032892 | 0.0032907 | 0.0032907 | 0.99817 | -0.051268 | 0.99815 | -0.051393 | 1.567
53 | -0.085629 | -0.041472 | 0.085629 | 0.032554 | 3.2244e-07 | -0.0089178 | 0.002756 | 0.0026536 | 0.002756 | 0.99658 | -0.095972 | 0.99658 | -0.095948 | 0.43197
54 | 0.38538 | 0.17693 | -0.38538 | -0.18619 | 3.4009e-06 | -0.0092576 | 0.012283 | 0.012398 | 0.012398 | 0.99658 | -0.095948 | 0.99657 | -0.096133 | 1.4724
55 | -0.47101 | -0.20949 | 0.47107 | 0.20759 | 6.136e-05 | -0.0018999 | 0.014932 | 0.014909 | 0.014932 | 0.99658 | -0.095948 | 0.99676 | -0.089676 | 1.821
56 | 0.38538 | 0.18619 | -0.38538 | -0.18665 | 3.4751e-07 | -0.00045621 | 0.012398 | 0.012403 | 0.012403 | 0.99657 | -0.096133 | 0.99657 | -0.096136 | 1.9441
57 | 1.6904 | 0.80148 | -1.6904 | -0.8025 | 7.2843e-06 | -0.0010223 | 0.054181 | 0.054194 | 0.054194 | 0.99676 | -0.089676 | 0.99675 | -0.089765 | 6.4363
58 | -2.1615 | -1.0091 | 2.1618 | 0.97994 | 0.00033683 | -0.029123 | 0.069085 | 0.068729 | 0.069085 | 0.99676 | -0.089676 | 0.99694 | -0.086301 | 8.2049
59 | -3.4721 | -1.5517 | 3.4722 | 1.5498 | 5.4423e-05 | -0.0018203 | 0.11001 | 0.10999 | 0.11001 | 0.99796 | -0.055241 | 0.99798 | -0.054888 | 13.0651
60 | 3.3139 | 1.475 | -3.3131 | -1.4744 | 0.00079429 | 0.0006283 | 0.10493 | 0.10493 | 0.10493 | 0.99796 | -0.055241 | 0.99763 | -0.066736 | 12.7967
61 | -3.4722 | -1.5498 | 3.4723 | 1.5463 | 0.00010632 | -0.0035586 | 0.10999 | 0.10994 | 0.10999 | 0.99798 | -0.054888 | 0.99802 | -0.054197 | 13.0625
62 | 3.1934 | 1.4164 | -3.1933 | -1.4198 | 8.3655e-05 | -0.0033236 | 0.10109 | 0.10113 | 0.10113 | 0.99763 | -0.066736 | 0.9976 | -0.06733 | 12.0102
63 | -3.4723 | -1.5463 | 3.4724 | 1.5427 | 0.00010609 | -0.0035541 | 0.10994 | 0.1099 | 0.10994 | 0.99802 | -0.054197 | 0.99805 | -0.053505 | 13.0574
64 | -3.1933 | -1.4209 | 3.1933 | 1.4198 | 2.987e-05 | -0.0011861 | 0.10114 | 0.10113 | 0.10114 | 0.99759 | -0.067542 | 0.9976 | -0.06733 | 12.0119
65 | 3.1933 | 1.4209 | -3.1932 | -1.4235 | 6.4922e-05 | -0.0025766 | 0.10114 | 0.10117 | 0.10117 | 0.99759 | -0.067542 | 0.99757 | -0.068001 | 12.0155
66 | 2.6705 | 1.193 | -2.67 | -1.1927 | 0.00058756 | 0.00025808 | 0.08464 | 0.084647 | 0.084647 | 0.99757 | -0.068001 | 0.99727 | -0.078523 | 10.3228
67 | 0.33778 | 0.14098 | -0.33778 | -0.14731 | 1.7211e-06 | -0.0063298 | 0.010592 | 0.010664 | 0.010664 | 0.99757 | -0.068001 | 0.99756 | -0.068123 | 1.2665
68 | -3.8195 | -1.7108 | 3.8195 | 1.7103 | 1.7343e-05 | -0.00047634 | 0.12105 | 0.12104 | 0.12105 | 0.99805 | -0.053505 | 0.99806 | -0.053403 | 14.3764
69 | -3.8195 | -1.7103 | 3.8197 | 1.7053 | 0.00018462 | -0.0050741 | 0.12104 | 0.12098 | 0.12104 | 0.99806 | -0.053403 | 0.99811 | -0.052316 | 14.3757
70 | -2.4733 | -1.1307 | 2.4733 | 1.1278 | 4.442e-05 | -0.0029343 | 0.078738 | 0.078702 | 0.078738 | 0.99704 | -0.082747 | 0.99707 | -0.082354 | 9.3513
71 | 2.162 | 0.97993 | -2.1618 | -0.97994 | 0.00016257 | -1.3115e-05 | 0.068726 | 0.068729 | 0.068729 | 0.99704 | -0.082747 | 0.99694 | -0.086301 | 8.3816
72 | -2.4733 | -1.1278 | 2.4738 | 1.0995 | 0.0004252 | -0.028232 | 0.078702 | 0.078362 | 0.078702 | 0.99707 | -0.082354 | 0.99727 | -0.078523 | 9.347
73 | 0.19618 | 0.0932 | -0.19618 | -0.093442 | 1.3328e-06 | -0.00024152 | 0.0062871 | 0.0062901 | 0.0062901 | 0.99727 | -0.078523 | 0.99726 | -0.078831 | 0.76709
74 | 0.82497 | 0.38334 | -0.82497 | -0.38471 | 2.2966e-06 | -0.0013695 | 0.026346 | 0.026363 | 0.026363 | 0.99675 | -0.089765 | 0.99675 | -0.089824 | 3.131
75 | 0.19618 | 0.093442 | -0.19618 | -0.095015 | 1.5036e-07 | -0.0015728 | 0.0062901 | 0.0063098 | 0.0063098 | 0.99726 | -0.078831 | 0.99726 | -0.078847 | 0.74938
76 | 0.33778 | 0.14731 | -0.33778 | -0.16353 | 4.5197e-06 | -0.016215 | 0.010664 | 0.01086 | 0.01086 | 0.99756 | -0.068123 | 0.99755 | -0.068412 | 1.2898
77 | 0.33778 | 0.16353 | -0.33776 | -0.16359 | 1.2212e-05 | -6.1384e-05 | 0.01086 | 0.010861 | 0.010861 | 0.99755 | -0.068412 | 0.99751 | -0.068651 | 5.1718
78 | -0.82496 | -0.38901 | 0.82497 | 0.38471 | 7.2277e-06 | -0.0042985 | 0.026416 | 0.026363 | 0.026416 | 0.99674 | -0.090009 | 0.99675 | -0.089824 | 3.1372
79 | 0.84777 | 0.34013 | -0.84776 | -0.3443 | 7.0092e-06 | -0.0041727 | 0.026404 | 0.026449 | 0.026449 | 0.99867 | -0.033368 | 0.99866 | -0.033578 | 3.1413
80 | 0.84776 | 0.3443 | -0.84768 | -0.38984 | 7.8127e-05 | -0.045541 | 0.026449 | 0.026973 | 0.026973 | 0.99866 | -0.033578 | 0.99855 | -0.035734 | 3.2035
81 | 0.4807 | 0.23107 | -0.48069 | -0.23113 | 1.0205e-05 | -6.2938e-05 | 0.015419 | 0.01542 | 0.01542 | 0.99855 | -0.035734 | 0.99853 | -0.03669 | 3.7609
82 | 0.36699 | 0.15877 | -0.36695 | -0.1771 | 3.5283e-05 | -0.018328 | 0.01156 | 0.01178 | 0.01178 | 0.99855 | -0.035734 | 0.99845 | -0.03696 | 3.2542
83 | 0.36695 | 0.1771 | -0.36695 | -0.17772 | 4.8448e-06 | -0.00062057 | 0.01178 | 0.011788 | 0.011788 | 0.99845 | -0.03696 | 0.99844 | -0.036845 | 5.3583
84 | 0.20842 | 0.09927 | -0.20838 | -0.10092 | 4.2347e-05 | -0.0016539 | 0.0066741 | 0.0066956 | 0.0066956 | 0.99853 | -0.03669 | 0.99825 | -0.045842 | 1.6331
85 | -3.1295 | -1.4352 | 3.1303 | 1.434 | 0.00074471 | -0.0011035 | 0.099843 | 0.099827 | 0.099843 | 0.99544 | -0.015227 | 0.99566 | -0.017049 | 45.3832
86 | 0.19639 | 0.093667 | -0.19637 | -0.093885 | 1.3561e-05 | -0.00021754 | 0.0063097 | 0.0063126 | 0.0063126 | 0.99544 | -0.015227 | 0.99537 | -0.015706 | 3.006
87 | 2.5504 | 1.1561 | -2.547 | -1.1543 | 0.0034695 | 0.0018244 | 0.081206 | 0.08121 | 0.08121 | 0.99544 | -0.015227 | 0.994 | -0.026427 | 38.6716
88 | -3.1303 | -1.434 | 3.1316 | 1.4321 | 0.0012965 | -0.0019236 | 0.099827 | 0.099799 | 0.099827 | 0.99566 | -0.017049 | 0.99605 | -0.020209 | 45.3759
89 | 0.126 | 0.059801 | -0.126 | -0.061023 | 1.1332e-06 | -0.0012223 | 0.0040449 | 0.0040602 | 0.0040602 | 0.99537 | -0.015706 | 0.99536 | -0.01563 | 1.8455
90 | 2.202 | 0.98722 | -2.2015 | -0.98698 | 0.00049515 | 0.00024342 | 0.070082 | 0.070083 | 0.070083 | 0.994 | -0.026427 | 0.99376 | -0.028337 | 33.3728
91 | -3.1316 | -1.4321 | 3.1324 | 1.4326 | 0.00089525 | 0.00050098 | 0.099799 | 0.099798 | 0.099799 | 0.99605 | -0.020209 | 0.99635 | -0.017919 | 47.5234
92 | 2.2015 | 0.98698 | -2.1996 | -0.99313 | 0.0018663 | -0.0061446 | 0.070083 | 0.070163 | 0.070163 | 0.99376 | -0.028337 | 0.99297 | -0.022143 | 31.8921
93 | -3.4773 | -1.5996 | 3.4776 | 1.5993 | 0.00027202 | -0.00031206 | 0.1109 | 0.11089 | 0.1109 | 0.99635 | -0.017919 | 0.99643 | -0.018524 | 50.408
94 | -3.4776 | -1.5993 | 3.4833 | 1.5928 | 0.0056835 | -0.0065411 | 0.11089 | 0.11079 | 0.11089 | 0.99643 | -0.018524 | 0.99795 | -0.031044 | 50.4058
95 | -0.29666 | -0.14087 | 0.29667 | 0.13883 | 1.0557e-05 | -0.0020342 | 0.0095598 | 0.0095345 | 0.0095598 | 0.99168 | -0.01855 | 0.99171 | -0.018842 | 4.3453
96 | 0.13641 | 0.063257 | -0.1364 | -0.063496 | 7.0792e-06 | -0.00023887 | 0.004377 | 0.00438 | 0.00438 | 0.99168 | -0.01855 | 0.99163 | -0.018946 | 2.0857
97 | -0.29667 | -0.13883 | 0.29668 | 0.13605 | 1.4342e-05 | -0.0027809 | 0.0095345 | 0.0095004 | 0.0095345 | 0.99171 | -0.018842 | 0.99176 | -0.019222 | 4.3338
98 | 0.1364 | 0.063496 | -0.1364 | -0.066062 | 2.8204e-06 | -0.0025659 | 0.00438 | 0.0044121 | 0.0044121 | 0.99163 | -0.018946 | 0.99161 | -0.018773 | 2.0055
99 | -1.4952 | -0.66002 | 1.4953 | 0.65975 | 3.6337e-05 | -0.00027167 | 0.047574 | 0.047571 | 0.047574 | 0.99176 | -0.019222 | 0.99178 | -0.01939 | 21.6247
100 | 1.1986 | 0.52397 | -1.1984 | -0.52635 | 0.00020096 | -0.0023767 | 0.038075 | 0.038104 | 0.038104 | 0.99176 | -0.019222 | 0.9916 | -0.018081 | 17.3198
101 | 2.1996 | 0.99313 | -2.1988 | -0.99566 | 0.00077124 | -0.0025317 | 0.070163 | 0.070196 | 0.070196 | 0.99297 | -0.022143 | 0.99264 | -0.019548 | 31.9072
102 | 2.0857 | 0.94087 | -2.0856 | -0.94132 | 0.00012134 | -0.00044685 | 0.066542 | 0.066548 | 0.066548 | 0.99264 | -0.019548 | 0.99258 | -0.01912 | 30.249
103 | 1.4956 | 0.6577 | -1.4953 | -0.65975 | 0.00027393 | -0.0020497 | 0.047546 | 0.047571 | 0.047571 | 0.99195 | -0.020655 | 0.99178 | -0.01939 | 21.6232
104 | -1.6906 | -0.75219 | 1.6913 | 0.75244 | 0.00064661 | 0.00025794 | 0.05385 | 0.053849 | 0.05385 | 0.99195 | -0.020655 | 0.99236 | -0.017336 | 25.643
105 | -2.0851 | -0.94317 | 2.0853 | 0.94233 | 0.00022937 | -0.00084373 | 0.066572 | 0.066561 | 0.066572 | 0.99236 | -0.017336 | 0.99246 | -0.01815 | 30.2599
106 | 1.0957 | 0.47662 | -1.0955 | -0.47937 | 0.000193 | -0.0027447 | 0.034785 | 0.034818 | 0.034818 | 0.9916 | -0.018081 | 0.99143 | -0.016896 | 15.8261
107 | 2.0856 | 0.94132 | -2.0853 | -0.94233 | 0.00027441 | -0.0010101 | 0.066548 | 0.066561 | 0.066561 | 0.99258 | -0.01912 | 0.99246 | -0.01815 | 30.2549
108 | 0.84848 | 0.35973 | -0.8484 | -0.36171 | 8.209e-05 | -0.0019779 | 0.026834 | 0.026857 | 0.026857 | 0.99143 | -0.016896 | 0.99134 | -0.016293 | 12.2076
109 | -0.085451 | -0.041386 | 0.085451 | 0.041262 | 5.3826e-08 | -0.00012367 | 0.0027655 | 0.002764 | 0.0027655 | 0.99107 | -0.014652 | 0.99107 | -0.014657 | 1.2571
110 | -0.085451 | -0.041262 | 0.085456 | 0.029217 | 4.9704e-06 | -0.012045 | 0.002764 | 0.0026304 | 0.002764 | 0.99107 | -0.014657 | 0.99112 | -0.014987 | 1.2563
111 | -0.26773 | -0.11601 | 0.26779 | 0.10338 | 5.1097e-05 | -0.012628 | 0.0084986 | 0.008359 | 0.0084986 | 0.99112 | -0.014987 | 0.9913 | -0.016045 | 3.863
112 | 0.18228 | 0.08679 | -0.18228 | -0.08828 | 2.9437e-06 | -0.0014901 | 0.0058802 | 0.005899 | 0.005899 | 0.99112 | -0.014987 | 0.99111 | -0.014849 | 2.6813
113 | 0.18277 | 0.075179 | -0.18276 | -0.082907 | 1.4807e-05 | -0.0077281 | 0.0057561 | 0.0058455 | 0.0058455 | 0.99113 | -0.014727 | 0.99105 | -0.014195 | 2.6571
114 | -0.4538 | -0.20509 | 0.45389 | 0.19799 | 8.4807e-05 | -0.0070998 | 0.014505 | 0.01442 | 0.014505 | 0.99113 | -0.014727 | 0.9913 | -0.016045 | 6.593
115 | 0.27103 | 0.12991 | -0.27102 | -0.13126 | 5.9119e-06 | -0.0013509 | 0.008754 | 0.0087711 | 0.0087711 | 0.99113 | -0.014727 | 0.99111 | -0.014539 | 3.9868
116 | 0.18276 | 0.082907 | -0.18275 | -0.088508 | 1.103e-05 | -0.0056009 | 0.0058455 | 0.0059148 | 0.0059148 | 0.99105 | -0.014195 | 0.991 | -0.013707 | 2.6886
117 | -0.72167 | -0.30137 | 0.7217 | 0.30035 | 3.0442e-05 | -0.001023 | 0.022774 | 0.022763 | 0.022774 | 0.9913 | -0.016045 | 0.99134 | -0.016293 | 10.352
118 | -0.33023 | -0.15994 | 0.33023 | 0.15989 | 3.2138e-07 | -5.077e-05 | 0.010611 | 0.01061 | 0.010611 | 0.99822 | -0.033346 | 0.99822 | -0.033355 | 4.8232
119 | -0.75446 | -0.33654 | 0.75459 | 0.33236 | 0.00013505 | -0.0041862 | 0.02389 | 0.023841 | 0.02389 | 0.99822 | -0.033355 | 0.99839 | -0.034612 | 10.8593
120 | -0.75459 | -0.33236 | 0.75462 | 0.33143 | 2.9906e-05 | -0.00092957 | 0.023841 | 0.02383 | 0.023841 | 0.99839 | -0.034612 | 0.99843 | -0.034884 | 10.8368
121 | -1.0879 | -0.49286 | 1.088 | 0.49166 | 8.1511e-05 | -0.0011951 | 0.034532 | 0.034518 | 0.034532 | 0.99843 | -0.034884 | 0.9985 | -0.035439 | 15.6966
122 | 3.5744 | 1.6327 | -3.5723 | -1.6349 | 0.0020637 | -0.0022364 | 0.11361 | 0.11364 | 0.11364 | 0.9985 | -0.035439 | 0.99795 | -0.031044 | 51.6563
123 | 0.089071 | 0.042154 | -0.089071 | -0.043139 | 4.5121e-07 | -0.00098471 | 0.0028505 | 0.0028628 | 0.0028628 | 0.99795 | -0.031044 | 0.99795 | -0.031001 | 1.3013

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.6563 | 6.6131

## res_load
| p_mw | q_mvar
0 | 0.14203 | 0.068788
1 | 0.18772 | 0.090916
2 | 0.094129 | 0.045589
3 | 0.20458 | 0.099083
4 | 0.07046 | 0.034125
5 | 0.39678 | 0.19217
6 | 0.12585 | 0.060951
7 | 0.37102 | 0.17969
8 | 0.18721 | 0.090669
9 | 0.28437 | 0.13772
10 | 0.073996 | 0.035838
11 | 0.072975 | 0.035343
12 | 0.20684 | 0.10018
13 | 0.35937 | 0.17405
14 | 0.40605 | 0.19666
15 | 0.16735 | 0.081051
16 | 0.39698 | 0.19227
17 | 0.40657 | 0.19691
18 | 0.09492 | 0.045972
19 | 0.27907 | 0.13516
20 | 0.32844 | 0.15907
21 | 0.14007 | 0.067839
22 | 0.10241 | 0.049597
23 | 0.18026 | 0.087305
24 | 0.085629 | 0.041472
25 | 0.38538 | 0.18665
26 | 0.15818 | 0.076612
27 | 0.11973 | 0.05799
28 | 0.18489 | 0.089545
29 | 0.34708 | 0.1681
30 | 0.22178 | 0.10742
31 | 0.3113 | 0.15077
32 | 0.86545 | 0.41916
33 | 0.54986 | 0.26631
34 | 0.19618 | 0.095015
35 | 0.29122 | 0.14104
36 | 0.36695 | 0.17772
37 | 0.27226 | 0.13186
38 | 0.20225 | 0.097954
39 | 0.20838 | 0.10092
40 | 0.3827 | 0.18535
41 | 0.070374 | 0.034084
42 | 0.34499 | 0.16709
43 | 0.126 | 0.061023
44 | 0.34485 | 0.16702
45 | 0.33776 | 0.16359
46 | 0.16025 | 0.077611
47 | 0.1364 | 0.066062
48 | 0.11312 | 0.054785
49 | 0.19508 | 0.094483
50 | 0.3938 | 0.19073
51 | 0.10267 | 0.049728
52 | 0.24701 | 0.11963
53 | 0.085451 | 0.041386
54 | 0.27102 | 0.13126
55 | 0.18228 | 0.08828
56 | 0.18275 | 0.088508
57 | 0.1267 | 0.061363
58 | 0.33023 | 0.15994
59 | 0.3333 | 0.16143
60 | 0.089071 | 0.043139

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1