## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_160_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_160_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_160_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_160_0_node_89 | 20 | n |  | TRUE
4 | bus_MV_160_0_node_90 | 20 | n |  | TRUE
5 | bus_MV_160_0_node_123 | 20 | n |  | TRUE
6 | bus_MV_160_0_node_124 | 20 | n |  | TRUE
7 | bus_MV_160_0_node_118 | 20 | n |  | TRUE
8 | bus_MV_160_0_node_125 | 20 | n |  | TRUE
9 | bus_MV_160_0_node_92 | 20 | n |  | TRUE
10 | bus_MV_160_0_node_3 | 20 | n |  | TRUE
11 | bus_MV_160_0_node_5 | 20 | n |  | TRUE
12 | bus_MV_160_0_node_106 | 20 | n |  | TRUE
13 | bus_MV_160_0_node_8 | 20 | n |  | TRUE
14 | bus_MV_160_0_node_6 | 20 | n |  | TRUE
15 | bus_MV_160_0_node_109 | 20 | n |  | TRUE
16 | bus_MV_160_0_node_4 | 20 | n |  | TRUE
17 | bus_MV_160_0_node_107 | 20 | n |  | TRUE
18 | bus_MV_160_0_node_108 | 20 | n |  | TRUE
19 | bus_MV_160_0_node_7 | 20 | n |  | TRUE
20 | bus_MV_160_0_node_17 | 20 | n |  | TRUE
21 | bus_MV_160_0_node_16 | 20 | n |  | TRUE
22 | bus_MV_160_0_node_9 | 20 | n |  | TRUE
23 | bus_MV_160_0_node_18 | 20 | n |  | TRUE
24 | bus_MV_160_0_node_10 | 20 | n |  | TRUE
25 | bus_MV_160_0_node_11 | 20 | n |  | TRUE
26 | bus_MV_160_0_node_24 | 20 | n |  | TRUE
27 | bus_MV_160_0_node_12 | 20 | n |  | TRUE
28 | bus_MV_160_0_node_13 | 20 | n |  | TRUE
29 | bus_MV_160_0_node_14 | 20 | n |  | TRUE
30 | bus_MV_160_0_node_15 | 20 | n |  | TRUE
31 | bus_MV_160_0_node_22 | 20 | n |  | TRUE
32 | bus_MV_160_0_node_23 | 20 | n |  | TRUE
33 | bus_MV_160_0_node_117 | 20 | n |  | TRUE
34 | bus_MV_160_0_node_19 | 20 | n |  | TRUE
35 | bus_MV_160_0_node_20 | 20 | n |  | TRUE
36 | bus_MV_160_0_node_21 | 20 | n |  | TRUE
37 | bus_MV_160_0_node_126 | 20 | n |  | TRUE
38 | bus_MV_160_0_node_93 | 20 | n |  | TRUE
39 | bus_MV_160_0_node_25 | 20 | n |  | TRUE
40 | bus_MV_160_0_node_26 | 20 | n |  | TRUE
41 | bus_MV_160_0_node_27 | 20 | n |  | TRUE
42 | bus_MV_160_0_node_28 | 20 | n |  | TRUE
43 | bus_MV_160_0_node_29 | 20 | n |  | TRUE
44 | bus_MV_160_0_node_113 | 20 | n |  | TRUE
45 | bus_MV_160_0_node_30 | 20 | n |  | TRUE
46 | bus_MV_160_0_node_97 | 20 | n |  | TRUE
47 | bus_MV_160_0_node_31 | 20 | n |  | TRUE
48 | bus_MV_160_0_node_95 | 20 | n |  | TRUE
49 | bus_MV_160_0_node_96 | 20 | n |  | TRUE
50 | bus_MV_160_0_node_121 | 20 | n |  | TRUE
51 | bus_MV_160_0_node_32 | 20 | n |  | TRUE
52 | bus_MV_160_0_node_94 | 20 | n |  | TRUE
53 | bus_MV_160_0_node_77 | 20 | n |  | TRUE
54 | bus_MV_160_0_node_33 | 20 | n |  | TRUE
55 | bus_MV_160_0_node_35 | 20 | n |  | TRUE
56 | bus_MV_160_0_node_36 | 20 | n |  | TRUE
57 | bus_MV_160_0_node_39 | 20 | n |  | TRUE
58 | bus_MV_160_0_node_40 | 20 | n |  | TRUE
59 | bus_MV_160_0_node_34 | 20 | n |  | TRUE
60 | bus_MV_160_0_node_37 | 20 | n |  | TRUE
61 | bus_MV_160_0_node_38 | 20 | n |  | TRUE
62 | bus_MV_160_0_node_41 | 20 | n |  | TRUE
63 | bus_MV_160_0_node_47 | 20 | n |  | TRUE
64 | bus_MV_160_0_node_46 | 20 | n |  | TRUE
65 | bus_MV_160_0_node_110 | 20 | n |  | TRUE
66 | bus_MV_160_0_node_45 | 20 | n |  | TRUE
67 | bus_MV_160_0_node_54 | 20 | n |  | TRUE
68 | bus_MV_160_0_node_61 | 20 | n |  | TRUE
69 | bus_MV_160_0_node_68 | 20 | n |  | TRUE
70 | bus_MV_160_0_node_69 | 20 | n |  | TRUE
71 | bus_MV_160_0_node_67 | 20 | n |  | TRUE
72 | bus_MV_160_0_node_44 | 20 | n |  | TRUE
73 | bus_MV_160_0_node_51 | 20 | n |  | TRUE
74 | bus_MV_160_0_node_42 | 20 | n |  | TRUE
75 | bus_MV_160_0_node_43 | 20 | n |  | TRUE
76 | bus_MV_160_0_node_49 | 20 | n |  | TRUE
77 | bus_MV_160_0_node_115 | 20 | n |  | TRUE
78 | bus_MV_160_0_node_104 | 20 | n |  | TRUE
79 | bus_MV_160_0_node_53 | 20 | n |  | TRUE
80 | bus_MV_160_0_node_48 | 20 | n |  | TRUE
81 | bus_MV_160_0_node_50 | 20 | n |  | TRUE
82 | bus_MV_160_0_node_52 | 20 | n |  | TRUE
83 | bus_MV_160_0_node_119 | 20 | n |  | TRUE
84 | bus_MV_160_0_node_71 | 20 | n |  | TRUE
85 | bus_MV_160_0_node_84 | 20 | n |  | TRUE
86 | bus_MV_160_0_node_70 | 20 | n |  | TRUE
87 | bus_MV_160_0_node_72 | 20 | n |  | TRUE
88 | bus_MV_160_0_node_73 | 20 | n |  | TRUE
89 | bus_MV_160_0_node_105 | 20 | n |  | TRUE
90 | bus_MV_160_0_node_114 | 20 | n |  | TRUE
91 | bus_MV_160_0_node_55 | 20 | n |  | TRUE
92 | bus_MV_160_0_node_57 | 20 | n |  | TRUE
93 | bus_MV_160_0_node_56 | 20 | n |  | TRUE
94 | bus_MV_160_0_node_60 | 20 | n |  | TRUE
95 | bus_MV_160_0_node_58 | 20 | n |  | TRUE
96 | bus_MV_160_0_node_122 | 20 | n |  | TRUE
97 | bus_MV_160_0_node_100 | 20 | n |  | TRUE
98 | bus_MV_160_0_node_99 | 20 | n |  | TRUE
99 | bus_MV_160_0_node_85 | 20 | n |  | TRUE
100 | bus_MV_160_0_node_103 | 20 | n |  | TRUE
101 | bus_MV_160_0_node_59 | 20 | n |  | TRUE
102 | bus_MV_160_0_node_98 | 20 | n |  | TRUE
103 | bus_MV_160_0_node_116 | 20 | n |  | TRUE
104 | bus_MV_160_0_node_87 | 20 | n |  | TRUE
105 | bus_MV_160_0_node_62 | 20 | n |  | TRUE
106 | bus_MV_160_0_node_63 | 20 | n |  | TRUE
107 | bus_MV_160_0_node_120 | 20 | n |  | TRUE
108 | bus_MV_160_0_node_64 | 20 | n |  | TRUE
109 | bus_MV_160_0_node_66 | 20 | n |  | TRUE
110 | bus_MV_160_0_node_65 | 20 | n |  | TRUE
111 | bus_MV_160_0_node_88 | 20 | n |  | TRUE
112 | bus_MV_160_0_node_78 | 20 | n |  | TRUE
113 | bus_MV_160_0_node_75 | 20 | n |  | TRUE
114 | bus_MV_160_0_node_74 | 20 | n |  | TRUE
115 | bus_MV_160_0_node_76 | 20 | n |  | TRUE
116 | bus_MV_160_0_node_79 | 20 | n |  | TRUE
117 | bus_MV_160_0_node_81 | 20 | n |  | TRUE
118 | bus_MV_160_0_node_83 | 20 | n |  | TRUE
119 | bus_MV_160_0_node_112 | 20 | n |  | TRUE
120 | bus_MV_160_0_node_111 | 20 | n |  | TRUE
121 | bus_MV_160_0_node_86 | 20 | n |  | TRUE
122 | bus_MV_160_0_node_101 | 20 | n |  | TRUE
123 | bus_MV_160_0_node_102 | 20 | n |  | TRUE
124 | bus_HV_160_0_node_92 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_160_0_load_0 | 0 | 0.080049 | 0.03877 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_160_0_load_89 | 3 | 0.068446 | 0.03315 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_160_0_load_123 | 5 | 0.10736 | 0.051996 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_160_0_load_125 | 8 | 0.087247 | 0.042256 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_160_0_load_92 | 9 | 0.082538 | 0.039975 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_160_0_load_3 | 10 | 0.15719 | 0.076132 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_160_0_load_106 | 12 | 0.085065 | 0.041199 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_160_0_load_109 | 15 | 0.097692 | 0.047315 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_160_0_load_107 | 17 | 0.14252 | 0.069027 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_160_0_load_108 | 18 | 2.3674 | 1.1466 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_160_0_load_7 | 19 | 0.15151 | 0.073381 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_160_0_load_16 | 21 | 0.14806 | 0.071707 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_160_0_load_9 | 22 | 0.14894 | 0.072134 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_160_0_load_24 | 26 | 0.054338 | 0.026317 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_160_0_load_12 | 27 | 0.14497 | 0.070213 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_160_0_load_14 | 29 | 0.079534 | 0.03852 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_160_0_load_22 | 31 | 0.10108 | 0.048957 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_160_0_load_23 | 32 | 0.15578 | 0.075448 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_160_0_load_19 | 34 | 0.094534 | 0.045785 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_160_0_load_126 | 37 | 0.16123 | 0.078086 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_160_0_load_25 | 39 | 0.07292 | 0.035317 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_160_0_load_113 | 44 | 0.11827 | 0.057283 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_160_0_load_30 | 45 | 0.070993 | 0.034383 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_160_0_load_95 | 48 | 0.15757 | 0.076315 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_160_0_load_121 | 50 | 0.1497 | 0.072504 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_160_0_load_94 | 52 | 0.072857 | 0.035286 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_160_0_load_33 | 54 | 0.15202 | 0.073625 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_160_0_load_36 | 56 | 0.086519 | 0.041903 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_160_0_load_37 | 60 | 0.063422 | 0.030717 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_160_0_load_46 | 64 | 0.14269 | 0.069107 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_160_0_load_110 | 65 | 0.10248 | 0.049635 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_160_0_load_45 | 66 | 0.070805 | 0.034292 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_160_0_load_54 | 67 | 0.084911 | 0.041124 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_160_0_load_61 | 68 | 0.14563 | 0.070532 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_160_0_load_67 | 71 | 0.12552 | 0.060794 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_160_0_load_42 | 74 | 0.16432 | 0.079586 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_160_0_load_115 | 77 | 0.13495 | 0.065358 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_160_0_load_104 | 78 | 0.15603 | 0.07557 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_160_0_load_53 | 79 | 0.12904 | 0.062498 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_160_0_load_48 | 80 | 0.16285 | 0.078871 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_160_0_load_119 | 83 | 0.14663 | 0.071017 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_160_0_load_70 | 86 | 0.10789 | 0.052251 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_160_0_load_105 | 89 | 0.15727 | 0.076168 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_160_0_load_114 | 90 | 0.15573 | 0.075424 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_160_0_load_55 | 91 | 0.12312 | 0.059632 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_160_0_load_122 | 96 | 0.071517 | 0.034637 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_160_0_load_99 | 98 | 0.053268 | 0.025799 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_160_0_load_85 | 99 | 0.1562 | 0.075652 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_160_0_load_98 | 102 | 0.0939 | 0.045478 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_160_0_load_116 | 103 | 0.1044 | 0.050565 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_160_0_load_62 | 105 | 0.14832 | 0.071833 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_160_0_load_120 | 107 | 0.16151 | 0.078223 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_160_0_load_65 | 110 | 0.11896 | 0.057615 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_160_0_load_88 | 111 | 0.13676 | 0.066238 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_160_0_load_74 | 114 | 0.11494 | 0.05567 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_160_0_load_79 | 116 | 0.12849 | 0.062231 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_160_0_load_112 | 119 | 0.15823 | 0.076634 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_160_0_load_111 | 120 | 0.13937 | 0.067498 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_160_0_load_101 | 122 | 0.15002 | 0.07266 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_160_0_line_0 |  | 0 | 1 | 0.0983 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_160_0_line_1 |  | 1 | 2 | 0.77449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_160_0_line_2 |  | 2 | 5 | 0.15231 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
3 | MV_160_0_line_3 |  | 2 | 6 | 1.388 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
4 | MV_160_0_line_4 |  | 3 | 4 | 0.0307 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_160_0_line_5 |  | 4 | 9 | 0.18657 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_160_0_line_6 |  | 5 | 7 | 0.078265 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
7 | MV_160_0_line_7 |  | 6 | 8 | 0.094727 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_160_0_line_8 |  | 6 | 9 | 3.9489 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
9 | MV_160_0_line_9 |  | 7 | 33 | 0.34281 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
10 | MV_160_0_line_10 |  | 9 | 38 | 0.082917 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
11 | MV_160_0_line_11 |  | 10 | 11 | 0.010019 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
12 | MV_160_0_line_12 |  | 10 | 12 | 0.20021 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
13 | MV_160_0_line_13 |  | 11 | 13 | 0.048397 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
14 | MV_160_0_line_14 |  | 12 | 17 | 0.020263 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
15 | MV_160_0_line_15 |  | 13 | 22 | 0.024538 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
16 | MV_160_0_line_16 |  | 14 | 15 | 0.10825 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
17 | MV_160_0_line_17 |  | 14 | 16 | 0.26512 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
18 | MV_160_0_line_18 |  | 15 | 18 | 0.012835 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
19 | MV_160_0_line_19 |  | 16 | 19 | 0.14941 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
20 | MV_160_0_line_20 |  | 17 | 18 | 0.044109 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
21 | MV_160_0_line_21 |  | 19 | 20 | 0.085022 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
22 | MV_160_0_line_22 |  | 19 | 21 | 0.016965 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_160_0_line_23 |  | 20 | 23 | 0.62437 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_160_0_line_24 |  | 22 | 24 | 0.19493 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_160_0_line_25 |  | 23 | 34 | 0.20225 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
26 | MV_160_0_line_26 |  | 24 | 25 | 0.53879 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_160_0_line_27 |  | 24 | 26 | 0.81285 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_160_0_line_28 |  | 25 | 27 | 0.10157 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_160_0_line_29 |  | 27 | 28 | 0.075315 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
30 | MV_160_0_line_30 |  | 28 | 29 | 0.039788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_160_0_line_31 |  | 28 | 30 | 0.1896 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
32 | MV_160_0_line_32 |  | 30 | 31 | 0.024774 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
33 | MV_160_0_line_33 |  | 31 | 32 | 0.002241 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
34 | MV_160_0_line_34 |  | 32 | 33 | 0.036373 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
35 | MV_160_0_line_35 |  | 34 | 35 | 0.21238 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_160_0_line_36 |  | 35 | 36 | 1.0134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_160_0_line_37 |  | 36 | 37 | 0.048344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_160_0_line_38 |  | 38 | 42 | 0.1621 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
39 | MV_160_0_line_39 |  | 39 | 40 | 0.055346 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
40 | MV_160_0_line_40 |  | 39 | 41 | 0.16537 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
41 | MV_160_0_line_41 |  | 40 | 42 | 1.0825 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
42 | MV_160_0_line_42 |  | 41 | 43 | 0.66532 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
43 | MV_160_0_line_43 |  | 42 | 44 | 0.069967 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_160_0_line_44 |  | 43 | 45 | 0.088754 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
45 | MV_160_0_line_45 |  | 43 | 46 | 0.34566 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_160_0_line_46 |  | 45 | 47 | 0.13585 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
47 | MV_160_0_line_47 |  | 46 | 50 | 0.03555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_160_0_line_48 |  | 46 | 49 | 0.13177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_160_0_line_49 |  | 47 | 51 | 0.67153 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
50 | MV_160_0_line_50 |  | 48 | 49 | 0.072084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_160_0_line_51 |  | 51 | 52 | 0.11222 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
52 | MV_160_0_line_52 |  | 52 | 53 | 0.16551 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
53 | MV_160_0_line_53 |  | 53 | 113 | 0.42221 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
54 | MV_160_0_line_54 |  | 54 | 55 | 0.015315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_160_0_line_55 |  | 54 | 56 | 0.01637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_160_0_line_56 |  | 55 | 57 | 0.015063 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_160_0_line_57 |  | 55 | 58 | 0.047292 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_160_0_line_58 |  | 57 | 65 | 0.019343 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_160_0_line_59 |  | 58 | 66 | 0.029333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_160_0_line_60 |  | 58 | 67 | 0.027032 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_160_0_line_61 |  | 59 | 60 | 0.03907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_160_0_line_62 |  | 59 | 61 | 0.07301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_160_0_line_63 |  | 60 | 62 | 0.023966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_160_0_line_64 |  | 61 | 63 | 0.070235 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_160_0_line_65 |  | 61 | 64 | 0.036306 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_160_0_line_66 |  | 62 | 68 | 0.014855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_160_0_line_67 |  | 63 | 69 | 0.24524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_160_0_line_68 |  | 63 | 70 | 0.14188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_160_0_line_69 |  | 63 | 71 | 0.038578 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_160_0_line_70 |  | 66 | 72 | 0.029618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_160_0_line_71 |  | 67 | 73 | 0.04985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_160_0_line_72 |  | 69 | 77 | 0.036536 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_160_0_line_73 |  | 70 | 78 | 0.0102 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_160_0_line_74 |  | 70 | 79 | 0.13008 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_160_0_line_75 |  | 72 | 75 | 0.021486 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_160_0_line_76 |  | 73 | 76 | 0.052579 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_160_0_line_77 |  | 74 | 75 | 0.069398 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_160_0_line_78 |  | 76 | 80 | 0.078003 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_160_0_line_79 |  | 77 | 99 | 1.1448 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_160_0_line_80 |  | 77 | 100 | 0.056883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_160_0_line_81 |  | 79 | 89 | 0.089445 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_160_0_line_82 |  | 80 | 81 | 0.012414 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_160_0_line_83 |  | 81 | 82 | 0.61865 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_160_0_line_84 |  | 82 | 83 | 0.04592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_160_0_line_85 |  | 82 | 84 | 0.44607 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_160_0_line_86 |  | 83 | 85 | 0.081092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_160_0_line_87 |  | 84 | 87 | 0.31488 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_160_0_line_88 |  | 84 | 88 | 0.2449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_160_0_line_89 |  | 84 | 86 | 0.056175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_160_0_line_90 |  | 85 | 118 | 0.19182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_160_0_line_91 |  | 87 | 111 | 0.092413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_160_0_line_92 |  | 88 | 107 | 0.039228 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_160_0_line_93 |  | 89 | 90 | 0.18368 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_160_0_line_94 |  | 90 | 108 | 0.030958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_160_0_line_95 |  | 91 | 92 | 0.003588 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_160_0_line_96 |  | 91 | 93 | 0.28002 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_160_0_line_97 |  | 92 | 94 | 0.81756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_160_0_line_98 |  | 93 | 95 | 1.3462 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_160_0_line_99 |  | 94 | 103 | 0.033982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_160_0_line_100 |  | 94 | 101 | 0.3245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_160_0_line_101 |  | 95 | 96 | 0.19664 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_160_0_line_102 |  | 95 | 97 | 2.5216 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
103 | MV_160_0_line_103 |  | 97 | 98 | 0.22709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_160_0_line_104 |  | 99 | 121 | 0.072096 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
105 | MV_160_0_line_105 |  | 100 | 123 | 0.085747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_160_0_line_106 |  | 101 | 102 | 0.056775 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_160_0_line_107 |  | 103 | 104 | 0.046003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_160_0_line_108 |  | 104 | 121 | 0.14495 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_160_0_line_109 |  | 105 | 106 | 0.055512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_160_0_line_110 |  | 105 | 107 | 0.31935 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
111 | MV_160_0_line_111 |  | 106 | 108 | 0.17849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_160_0_line_112 |  | 108 | 109 | 0.018352 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_160_0_line_113 |  | 109 | 110 | 0.049797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_160_0_line_114 |  | 111 | 112 | 0.022388 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
115 | MV_160_0_line_115 |  | 112 | 115 | 0.28806 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
116 | MV_160_0_line_116 |  | 113 | 114 | 0.057372 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
117 | MV_160_0_line_117 |  | 114 | 115 | 0.070523 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
118 | MV_160_0_line_118 |  | 116 | 117 | 0.10226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_160_0_line_119 |  | 117 | 118 | 0.60399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_160_0_line_120 |  | 118 | 119 | 0.049959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
121 | MV_160_0_line_121 |  | 118 | 120 | 0.038045 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
122 | MV_160_0_line_122 |  | 122 | 123 | 0.019988 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_160_0_trafo_92 | 25 MVA 110/20 kV | 124 | 9 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2806677.1398 | 1127036.4252
1 | 2806582.1288 | 1127061.6407
2 | 2806887.6031 | 1126921.2396
3 | 2803360.9566 | 1130076.5285
4 | 2803357.7929 | 1130107.0652
5 | 2806931.525 | 1126776.743
6 | 2806553.4576 | 1127731.9085
7 | 2806943.17 | 1126700.0373
8 | 2806641.4606 | 1127766.9621
9 | 2803496.5701 | 1130231.7576
10 | 2807500.1953 | 1125482.5
11 | 2807497.2507 | 1125492.076
12 | 2807316.2212 | 1125403.5263
13 | 2807472.4575 | 1125533.4369
14 | 2807383.3185 | 1125230.9919
15 | 2807344.3518 | 1125331.8853
16 | 2807571.0621 | 1125174.4339
17 | 2807324.9993 | 1125385.2639
18 | 2807340.956 | 1125344.2627
19 | 2807621.8731 | 1125033.9263
20 | 2807647.1795 | 1124952.7631
21 | 2807638.2696 | 1125038.2794
22 | 2807458.1453 | 1125553.3898
23 | 2807721.0177 | 1124590.4532
24 | 2807457.045 | 1125728.9176
25 | 2807245.369 | 1126174.3742
26 | 2808214.1327 | 1126024.8017
27 | 2807291.7778 | 1126250.0223
28 | 2807259.4166 | 1126318.031
29 | 2807298.1454 | 1126327.1499
30 | 2807205.4781 | 1126485.9075
31 | 2807211.8014 | 1126509.8607
32 | 2807209.6918 | 1126510.6337
33 | 2807176.593 | 1126525.7165
34 | 2807865.7968 | 1124449.2275
35 | 2807987.267 | 1124288.4498
36 | 2808475.1873 | 1123768.2635
37 | 2808448.0116 | 1123808.2707
38 | 2803454.8724 | 1130302.4238
39 | 2803329.5418 | 1131319.3725
40 | 2803314.2105 | 1131266.1902
41 | 2803169.0078 | 1131347.0049
42 | 2803381.4028 | 1130445.302
43 | 2802652.3223 | 1131742.6998
44 | 2803325.2042 | 1130403.6241
45 | 2802575.6397 | 1131697.9054
46 | 2802841.2662 | 1132032.1492
47 | 2802565.6974 | 1131562.7203
48 | 2802729.8455 | 1132202.3671
49 | 2802774.5778 | 1132145.7639
50 | 2802873.1485 | 1132016.2469
51 | 2802200.977 | 1131939.6482
52 | 2802150.81 | 1132039.9192
53 | 2801991.1813 | 1132013.3894
54 | 2801714.7475 | 1133867.6371
55 | 2801730.0429 | 1133868.406
56 | 2801715.5694 | 1133851.2881
57 | 2801732.2342 | 1133883.3057
58 | 2801759.9714 | 1133831.7336
59 | 2801688.1525 | 1133871.7335
60 | 2801678.6906 | 1133833.8896
61 | 2801684.5462 | 1133940.707
62 | 2801673.6866 | 1133810.4539
63 | 2801621.3278 | 1133922.5788
64 | 2801679.5384 | 1133976.6661
65 | 2801751.32 | 1133886.4476
66 | 2801788.9349 | 1133834.3172
67 | 2801773.0977 | 1133808.1029
68 | 2801668.3865 | 1133796.5738
69 | 2801575.0887 | 1134128.6279
70 | 2801514.9218 | 1133930.7162
71 | 2801621.1352 | 1133884.0435
72 | 2801818.5311 | 1133833.1903
73 | 2801814.1261 | 1133779.6321
74 | 2801825.875 | 1133911.0831
75 | 2801837.8307 | 1133842.7225
76 | 2801835.3026 | 1133732.3346
77 | 2801594.3699 | 1134159.6921
78 | 2801514.0279 | 1133940.8747
79 | 2801477.0807 | 1133806.2589
80 | 2801829.2874 | 1133654.5641
81 | 2801830.9239 | 1133642.2615
82 | 2802004.3858 | 1133230.5287
83 | 2802006.8517 | 1133276.3699
84 | 2801675.8397 | 1132928.8111
85 | 2802009.6548 | 1133357.0474
86 | 2801621.3241 | 1132918.1481
87 | 2801748.6466 | 1132689.7815
88 | 2801619.0422 | 1133137.4327
89 | 2801463.4558 | 1133717.8575
90 | 2801642.9048 | 1133678.6568
91 | 2802060.5564 | 1136059.6477
92 | 2802059.3446 | 1136056.2703
93 | 2802209.3122 | 1136296.8827
94 | 2801791.0948 | 1135450.8537
95 | 2802602.4034 | 1137471.9451
96 | 2802783.1216 | 1137409.6445
97 | 2800266.268 | 1138421.0921
98 | 2800280.0169 | 1138588.1536
99 | 2801744.9299 | 1135294.5276
100 | 2801633.9402 | 1134125.6436
101 | 2802026.9272 | 1135601.2131
102 | 2802073.1613 | 1135572.572
103 | 2801800.3154 | 1135418.15
104 | 2801812.7964 | 1135373.8764
105 | 2801553.4021 | 1133488.007
106 | 2801544.101 | 1133542.7202
107 | 2801622.1576 | 1133176.1434
108 | 2801641.7184 | 1133647.7296
109 | 2801650.7713 | 1133632.082
110 | 2801665.7881 | 1133584.6116
111 | 2801838.5076 | 1132685.7105
112 | 2801860.4881 | 1132683.8647
113 | 2801926.4807 | 1132362.1791
114 | 2801982.3827 | 1132375.0823
115 | 2801975.1436 | 1132445.1911
116 | 2802405.6365 | 1133127.1777
117 | 2802317.5478 | 1133165.0013
118 | 2801973.3599 | 1133536.6989
119 | 2801979.8025 | 1133586.2101
120 | 2802010.7095 | 1133543.9394
121 | 2801703.0333 | 1135353.2009
122 | 2801685.063 | 1134063.396
123 | 2801681.5011 | 1134083.0642
124 | 2803496.5701 | 1130231.7576

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98691 | -0.69092 | 0.080049 | 0.03877
1 | 0.98693 | -0.69082 | 0 | 0
2 | 0.987 | -0.69112 | 0 | 0
3 | 0.99997 | -0.0001821 | 0.068446 | 0.03315
4 | 0.99998 | -0.00015666 | 0 | 0
5 | 0.9868 | -0.69234 | 0.10736 | 0.051996
6 | 0.98893 | -0.67853 | 0 | 0
7 | 0.98669 | -0.69295 | 0 | 0
8 | 0.98891 | -0.67863 | 0.087247 | 0.042256
9 | 1 | 0 | -9.3442 | -3.9674
10 | 0.98457 | -0.72339 | 0.15719 | 0.076132
11 | 0.98458 | -0.72333 | 0 | 0
12 | 0.98413 | -0.74897 | 0.085065 | 0.041199
13 | 0.98463 | -0.72306 | 0 | 0
14 | 0.98405 | -0.74956 | 0 | 0
15 | 0.98406 | -0.74933 | 0.097692 | 0.047315
16 | 0.984 | -0.75006 | 0 | 0
17 | 0.98411 | -0.74908 | 0.14252 | 0.069027
18 | 0.98407 | -0.7493 | 2.3674 | 1.1466
19 | 0.98395 | -0.75348 | 0.15151 | 0.073381
20 | 0.98394 | -0.75359 | 0 | 0
21 | 0.98395 | -0.75345 | 0.14806 | 0.071707
22 | 0.98466 | -0.72292 | 0.14894 | 0.072134
23 | 0.9839 | -0.75425 | 0 | 0
24 | 0.98489 | -0.72176 | 0 | 0
25 | 0.98553 | -0.71834 | 0 | 0
26 | 0.9848 | -0.72235 | 0.054338 | 0.026317
27 | 0.98565 | -0.71767 | 0.14497 | 0.070213
28 | 0.98583 | -0.70651 | 0 | 0
29 | 0.98583 | -0.70647 | 0.079534 | 0.03852
30 | 0.98607 | -0.70518 | 0 | 0
31 | 0.98613 | -0.70143 | 0.10108 | 0.048957
32 | 0.98614 | -0.70141 | 0.15578 | 0.075448
33 | 0.98623 | -0.69555 | 0 | 0
34 | 0.98387 | -0.75636 | 0.094534 | 0.045785
35 | 0.98382 | -0.75632 | 0 | 0
36 | 0.98362 | -0.75515 | 0 | 0
37 | 0.98361 | -0.75506 | 0.16123 | 0.078086
38 | 0.99979 | -0.0028422 | 0 | 0
39 | 0.99654 | -0.046085 | 0.07292 | 0.035317
40 | 0.99668 | -0.04427 | 0 | 0
41 | 0.99613 | -0.051429 | 0 | 0
42 | 0.99938 | -0.0083861 | 0 | 0
43 | 0.99449 | -0.072753 | 0 | 0
44 | 0.99936 | -0.0084865 | 0.11827 | 0.057283
45 | 0.99429 | -0.07541 | 0.070993 | 0.034383
46 | 0.99429 | -0.074225 | 0 | 0
47 | 0.99398 | -0.079412 | 0 | 0
48 | 0.99425 | -0.073868 | 0.15757 | 0.076315
49 | 0.99426 | -0.074002 | 0 | 0
50 | 0.99428 | -0.074162 | 0.1497 | 0.072504
51 | 0.99246 | -0.099015 | 0 | 0
52 | 0.9922 | -0.10226 | 0.072857 | 0.035286
53 | 0.99183 | -0.10697 | 0 | 0
54 | 0.98564 | -0.12543 | 0.15202 | 0.073625
55 | 0.98565 | -0.12548 | 0 | 0
56 | 0.98564 | -0.12541 | 0.086519 | 0.041903
57 | 0.98564 | -0.12546 | 0 | 0
58 | 0.98567 | -0.12567 | 0 | 0
59 | 0.98322 | -0.13222 | 0 | 0
60 | 0.98321 | -0.13212 | 0.063422 | 0.030717
61 | 0.98324 | -0.1324 | 0 | 0
62 | 0.98321 | -0.13208 | 0 | 0
63 | 0.98327 | -0.13268 | 0 | 0
64 | 0.98323 | -0.13246 | 0.14269 | 0.069107
65 | 0.98564 | -0.12543 | 0.10248 | 0.049635
66 | 0.98566 | -0.12559 | 0.070805 | 0.034292
67 | 0.9857 | -0.12546 | 0.084911 | 0.041124
68 | 0.9832 | -0.13206 | 0.14563 | 0.070532
69 | 0.983 | -0.13136 | 0 | 0
70 | 0.98352 | -0.13419 | 0 | 0
71 | 0.98327 | -0.13263 | 0.12552 | 0.060794
72 | 0.98565 | -0.12553 | 0 | 0
73 | 0.98574 | -0.12585 | 0 | 0
74 | 0.98562 | -0.12563 | 0.16432 | 0.079586
75 | 0.98565 | -0.12549 | 0 | 0
76 | 0.98578 | -0.12626 | 0 | 0
77 | 0.98296 | -0.13116 | 0.13495 | 0.065358
78 | 0.98352 | -0.13417 | 0.15603 | 0.07557
79 | 0.9839 | -0.1306 | 0.12904 | 0.062498
80 | 0.98588 | -0.12557 | 0.16285 | 0.078871
81 | 0.9859 | -0.12569 | 0 | 0
82 | 0.98655 | -0.13137 | 0 | 0
83 | 0.98652 | -0.13112 | 0.14663 | 0.071017
84 | 0.98776 | -0.12177 | 0 | 0
85 | 0.98648 | -0.13083 | 0 | 0
86 | 0.98775 | -0.1217 | 0.10789 | 0.052251
87 | 0.98932 | -0.13344 | 0 | 0
88 | 0.98701 | -0.11631 | 0 | 0
89 | 0.98418 | -0.12799 | 0.15727 | 0.076168
90 | 0.98482 | -0.12227 | 0.15573 | 0.075424
91 | 0.98125 | -0.14878 | 0.12312 | 0.059632
92 | 0.98126 | -0.14878 | 0 | 0
93 | 0.9812 | -0.1503 | 0 | 0
94 | 0.9815 | -0.14841 | 0 | 0
95 | 0.98099 | -0.15072 | 0 | 0
96 | 0.98097 | -0.15057 | 0.071517 | 0.034637
97 | 0.98074 | -0.15389 | 0 | 0
98 | 0.98073 | -0.15378 | 0.053268 | 0.025799
99 | 0.98168 | -0.14762 | 0.1562 | 0.075652
100 | 0.98295 | -0.13106 | 0 | 0
101 | 0.98147 | -0.14814 | 0 | 0
102 | 0.98146 | -0.14807 | 0.0939 | 0.045478
103 | 0.98152 | -0.14839 | 0.1044 | 0.050565
104 | 0.98154 | -0.14842 | 0 | 0
105 | 0.98552 | -0.12726 | 0.14832 | 0.071833
106 | 0.98537 | -0.12621 | 0 | 0
107 | 0.98689 | -0.11543 | 0.16151 | 0.078223
108 | 0.98489 | -0.12282 | 0 | 0
109 | 0.98489 | -0.12279 | 0 | 0
110 | 0.98488 | -0.12272 | 0.11896 | 0.057615
111 | 0.98978 | -0.13683 | 0.13676 | 0.066238
112 | 0.98983 | -0.13622 | 0 | 0
113 | 0.99089 | -0.11889 | 0 | 0
114 | 0.99061 | -0.12641 | 0.11494 | 0.05567
115 | 0.99046 | -0.12835 | 0 | 0
116 | 0.98626 | -0.12934 | 0.12849 | 0.062231
117 | 0.98627 | -0.1295 | 0 | 0
118 | 0.98637 | -0.13008 | 0 | 0
119 | 0.98636 | -0.12998 | 0.15823 | 0.076634
120 | 0.98636 | -0.13002 | 0.13937 | 0.067498
121 | 0.98162 | -0.14851 | 0 | 0
122 | 0.98292 | -0.13095 | 0.15002 | 0.07266
123 | 0.98293 | -0.13091 | 0 | 0
124 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.080049 | -0.03877 | 0.08005 | 0.038656 | 1.1848e-06 | -0.00011356 | 0.0026016 | 0.0026002 | 0.0026016 | 0.98691 | -0.69092 | 0.98693 | -0.69082 | 1.2389
1 | -0.08005 | -0.038656 | 0.080057 | 0.020645 | 6.4462e-06 | -0.018011 | 0.0026002 | 0.0024181 | 0.0026002 | 0.98693 | -0.69082 | 0.987 | -0.69112 | 1.1819
2 | 4.2068 | 1.8355 | -4.2059 | -1.8444 | 0.00084879 | -0.0088428 | 0.13424 | 0.13435 | 0.13435 | 0.987 | -0.69112 | 0.9868 | -0.69234 | 21.0578
3 | -4.2868 | -1.8562 | 4.2948 | 1.7755 | 0.0079488 | -0.080646 | 0.13663 | 0.13566 | 0.13663 | 0.987 | -0.69112 | 0.98893 | -0.67853 | 21.415
4 | -0.068446 | -0.03315 | 0.068446 | 0.033114 | 2.636e-07 | -3.6483e-05 | 0.0021955 | 0.002195 | 0.0021955 | 0.99997 | -0.0001821 | 0.99998 | -0.00015666 | 1.0455
5 | -0.068446 | -0.033114 | 0.068448 | 0.032892 | 1.5995e-06 | -0.00022172 | 0.002195 | 0.0021922 | 0.002195 | 0.99998 | -0.00015666 | 1 | 0 | 1.0452
6 | 4.0986 | 1.7924 | -4.0981 | -1.7969 | 0.00041432 | -0.0045547 | 0.13086 | 0.13092 | 0.13092 | 0.9868 | -0.69234 | 0.98669 | -0.69295 | 20.5201
7 | 0.087248 | 0.042146 | -0.087247 | -0.042256 | 1.3509e-06 | -0.00010975 | 0.0028284 | 0.0028298 | 0.0028298 | 0.98893 | -0.67853 | 0.98891 | -0.67863 | 1.3475
8 | -4.382 | -1.8177 | 4.409 | 1.8849 | 0.027024 | 0.06727 | 0.13848 | 0.13842 | 0.13848 | 0.98893 | -0.67853 | 1 | 0 | 21.4701
9 | 4.0981 | 1.7969 | -4.0963 | -1.8168 | 0.001819 | -0.019936 | 0.13092 | 0.13117 | 0.13117 | 0.98669 | -0.69295 | 0.98623 | -0.69555 | 20.5589
10 | 4.8528 | 2.0391 | -4.8518 | -2.0413 | 0.00092489 | -0.0021718 | 0.15195 | 0.15198 | 0.15198 | 1 | 0 | 0.99979 | -0.0028422 | 41.9843
11 | -3.4063 | -1.5504 | 3.4063 | 1.5498 | 3.7274e-05 | -0.00058925 | 0.10973 | 0.10972 | 0.10973 | 0.98457 | -0.72339 | 0.98458 | -0.72333 | 17.1991
12 | 3.2491 | 1.4742 | -3.2483 | -1.4724 | 0.0007822 | 0.0018352 | 0.10461 | 0.10461 | 0.10461 | 0.98457 | -0.72339 | 0.98413 | -0.74897 | 16.2193
13 | -3.4063 | -1.5498 | 3.4065 | 1.5469 | 0.00017998 | -0.0028466 | 0.10972 | 0.10969 | 0.10972 | 0.98458 | -0.72333 | 0.98463 | -0.72306 | 17.198
14 | 3.1632 | 1.4312 | -3.1632 | -1.4324 | 6.495e-05 | -0.0011964 | 0.10184 | 0.10186 | 0.10186 | 0.98413 | -0.74897 | 0.98411 | -0.74908 | 15.9651
15 | -3.4065 | -1.5469 | 3.4066 | 1.5455 | 9.1209e-05 | -0.0014434 | 0.10969 | 0.10967 | 0.10969 | 0.98463 | -0.72306 | 0.98466 | -0.72292 | 17.1924
16 | -0.55543 | -0.17947 | 0.55544 | 0.17288 | 9.7739e-06 | -0.0065809 | 0.017123 | 0.017065 | 0.017123 | 0.98405 | -0.74956 | 0.98406 | -0.74933 | 2.6839
17 | 0.55543 | 0.17947 | -0.55541 | -0.19558 | 2.4229e-05 | -0.016116 | 0.017123 | 0.017275 | 0.017275 | 0.98405 | -0.74956 | 0.984 | -0.75006 | 2.7076
18 | -0.65314 | -0.2202 | 0.65314 | 0.21942 | 1.6208e-06 | -0.00078002 | 0.020219 | 0.020212 | 0.020219 | 0.98406 | -0.74933 | 0.98407 | -0.7493 | 3.1692
19 | 0.55541 | 0.19558 | -0.55539 | -0.19574 | 1.5919e-05 | -0.00015716 | 0.017275 | 0.017277 | 0.017277 | 0.984 | -0.75006 | 0.98395 | -0.75348 | 2.6786
20 | 3.0207 | 1.3634 | -3.0205 | -1.366 | 0.00012885 | -0.0026114 | 0.097214 | 0.097246 | 0.097246 | 0.98411 | -0.74908 | 0.98407 | -0.7493 | 15.2424
21 | 0.25582 | 0.051043 | -0.25582 | -0.056214 | 1.545e-06 | -0.0051711 | 0.0076534 | 0.0076845 | 0.0076845 | 0.98395 | -0.75348 | 0.98394 | -0.75359 | 1.2045
22 | 0.14806 | 0.071315 | -0.14806 | -0.071707 | 5.2701e-07 | -0.00039199 | 0.0048214 | 0.0048264 | 0.0048264 | 0.98395 | -0.75348 | 0.98395 | -0.75345 | 2.1938
23 | 0.25582 | 0.056214 | -0.25581 | -0.094186 | 1.1807e-05 | -0.037972 | 0.0076845 | 0.0079981 | 0.0079981 | 0.98394 | -0.75359 | 0.9839 | -0.75425 | 1.2536
24 | -3.5555 | -1.6176 | 3.5563 | 1.6062 | 0.00078893 | -0.011433 | 0.11452 | 0.11438 | 0.11452 | 0.98466 | -0.72292 | 0.98489 | -0.72176 | 17.9497
25 | 0.25581 | 0.094186 | -0.25581 | -0.094444 | 4.6204e-06 | -0.00025821 | 0.0079981 | 0.0080008 | 0.0080008 | 0.9839 | -0.75425 | 0.98387 | -0.75636 | 1.2404
26 | -3.6107 | -1.6316 | 3.6129 | 1.6 | 0.0022378 | -0.031599 | 0.11613 | 0.11574 | 0.11613 | 0.98489 | -0.72176 | 0.98553 | -0.71834 | 18.2027
27 | 0.054342 | 0.025379 | -0.054338 | -0.026317 | 4.5056e-06 | -0.00093838 | 0.0017579 | 0.0017698 | 0.0017698 | 0.98489 | -0.72176 | 0.9848 | -0.72235 | 0.84275
28 | -3.6129 | -1.6 | 3.6133 | 1.594 | 0.00042016 | -0.0059625 | 0.11574 | 0.11567 | 0.11574 | 0.98553 | -0.71834 | 0.98565 | -0.71767 | 18.1411
29 | -3.7583 | -1.6642 | 3.7587 | 1.6652 | 0.00038964 | 0.00094662 | 0.12038 | 0.12038 | 0.12038 | 0.98565 | -0.71767 | 0.98583 | -0.70651 | 18.6638
30 | 0.079534 | 0.037597 | -0.079534 | -0.03852 | 3.5407e-07 | -0.00092314 | 0.002576 | 0.0025877 | 0.0025877 | 0.98583 | -0.70651 | 0.98583 | -0.70647 | 1.1762
31 | -3.8382 | -1.7028 | 3.8391 | 1.6917 | 0.00088472 | -0.011082 | 0.12296 | 0.12282 | 0.12296 | 0.98583 | -0.70651 | 0.98607 | -0.70518 | 19.272
32 | -3.8391 | -1.6917 | 3.8392 | 1.692 | 0.00013341 | 0.00032545 | 0.12282 | 0.12282 | 0.12282 | 0.98607 | -0.70518 | 0.98613 | -0.70143 | 19.0416
33 | -3.9403 | -1.741 | 3.9403 | 1.7408 | 1.1011e-05 | -0.00013073 | 0.1261 | 0.1261 | 0.1261 | 0.98613 | -0.70143 | 0.98614 | -0.70141 | 19.7655
34 | -4.0961 | -1.8163 | 4.0963 | 1.8168 | 0.00022341 | 0.00055186 | 0.13117 | 0.13117 | 0.13117 | 0.98614 | -0.70141 | 0.98623 | -0.69555 | 20.3359
35 | 0.16127 | 0.048659 | -0.16126 | -0.053565 | 6.986e-06 | -0.0049062 | 0.0049426 | 0.0049861 | 0.0049861 | 0.98387 | -0.75636 | 0.98382 | -0.75632 | 2.2664
36 | 0.16126 | 0.053565 | -0.16123 | -0.07697 | 3.5256e-05 | -0.023405 | 0.0049861 | 0.0052434 | 0.0052434 | 0.98382 | -0.75632 | 0.98362 | -0.75515 | 2.3834
37 | 0.16123 | 0.07697 | -0.16123 | -0.078086 | 1.7792e-06 | -0.0011162 | 0.0052434 | 0.0052576 | 0.0052576 | 0.98362 | -0.75515 | 0.98361 | -0.75506 | 2.3898
38 | 4.8518 | 2.0413 | -4.85 | -2.0455 | 0.0018092 | -0.0042415 | 0.15198 | 0.15205 | 0.15205 | 0.99979 | -0.0028422 | 0.99938 | -0.0083861 | 42.0015
39 | -4.7196 | -2.0184 | 4.7202 | 2.0169 | 0.00059096 | -0.0014564 | 0.14869 | 0.14867 | 0.14869 | 0.99654 | -0.046085 | 0.99668 | -0.04427 | 41.0758
40 | 4.6467 | 1.9831 | -4.645 | -1.9874 | 0.0017115 | -0.0043879 | 0.14635 | 0.14641 | 0.14641 | 0.99654 | -0.046085 | 0.99613 | -0.051429 | 40.4459
41 | -4.7202 | -2.0169 | 4.7317 | 1.9883 | 0.011524 | -0.028615 | 0.14867 | 0.14826 | 0.14867 | 0.99668 | -0.04427 | 0.99938 | -0.0083861 | 41.0699
42 | 4.645 | 1.9874 | -4.6381 | -2.005 | 0.006901 | -0.017596 | 0.14641 | 0.14667 | 0.14667 | 0.99613 | -0.051429 | 0.99449 | -0.072753 | 40.5175
43 | 0.11828 | 0.0572 | -0.11827 | -0.057283 | 1.7959e-06 | -8.2296e-05 | 0.003795 | 0.0037961 | 0.0037961 | 0.99938 | -0.0083861 | 0.99936 | -0.0084865 | 1.8077
44 | 4.3308 | 1.8622 | -4.33 | -1.8647 | 0.00080292 | -0.0024273 | 0.13684 | 0.13687 | 0.13687 | 0.99449 | -0.072753 | 0.99429 | -0.07541 | 37.8106
45 | 0.30734 | 0.1428 | -0.30728 | -0.14317 | 5.9628e-05 | -0.00037068 | 0.0098373 | 0.0098422 | 0.0098422 | 0.99449 | -0.072753 | 0.99429 | -0.074225 | 4.6868
46 | 4.259 | 1.8303 | -4.2578 | -1.834 | 0.001189 | -0.0037419 | 0.13459 | 0.13464 | 0.13464 | 0.99429 | -0.07541 | 0.99398 | -0.079412 | 37.1932
47 | 0.1497 | 0.071665 | -0.1497 | -0.072504 | 1.1044e-06 | -0.00083879 | 0.0048187 | 0.0048293 | 0.0048293 | 0.99429 | -0.074225 | 0.99428 | -0.074162 | 2.1951
48 | 0.15758 | 0.071506 | -0.15757 | -0.074615 | 4.4736e-06 | -0.0031089 | 0.005024 | 0.005062 | 0.005062 | 0.99429 | -0.074225 | 0.99426 | -0.074002 | 2.3009
49 | 4.2578 | 1.834 | -4.2519 | -1.8525 | 0.0058912 | -0.018445 | 0.13464 | 0.1349 | 0.1349 | 0.99398 | -0.079412 | 0.99246 | -0.099015 | 37.2658
50 | -0.15757 | -0.076315 | 0.15757 | 0.074615 | 2.4762e-06 | -0.0017006 | 0.0050833 | 0.005062 | 0.0050833 | 0.99425 | -0.073868 | 0.99426 | -0.074002 | 2.3106
51 | 4.2519 | 1.8525 | -4.2509 | -1.8555 | 0.00098674 | -0.003074 | 0.1349 | 0.13495 | 0.13495 | 0.99246 | -0.099015 | 0.9922 | -0.10226 | 37.2779
52 | 4.178 | 1.8203 | -4.1766 | -1.8248 | 0.0014061 | -0.0045658 | 0.13259 | 0.13266 | 0.13266 | 0.9922 | -0.10226 | 0.99183 | -0.10697 | 36.6458
53 | 4.1766 | 1.8248 | -4.173 | -1.8364 | 0.0035932 | -0.011624 | 0.13266 | 0.13282 | 0.13282 | 0.99183 | -0.10697 | 0.99089 | -0.11889 | 36.6918
54 | -0.23854 | -0.11515 | 0.23854 | 0.11479 | 1.2297e-06 | -0.00035487 | 0.0077577 | 0.0077532 | 0.0077577 | 0.98564 | -0.12543 | 0.98565 | -0.12548 | 3.5262
55 | 0.08652 | 0.041524 | -0.086519 | -0.041903 | 1.7294e-07 | -0.00037965 | 0.0028107 | 0.0028155 | 0.0028155 | 0.98564 | -0.12543 | 0.98564 | -0.12541 | 1.2798
56 | 0.10248 | 0.048837 | -0.10248 | -0.049186 | 2.226e-07 | -0.00034933 | 0.0033249 | 0.0033293 | 0.0033293 | 0.98565 | -0.12548 | 0.98564 | -0.12546 | 1.5133
57 | -0.34102 | -0.16363 | 0.34103 | 0.16254 | 7.7384e-06 | -0.0010947 | 0.011078 | 0.011064 | 0.011078 | 0.98565 | -0.12548 | 0.98567 | -0.12567 | 5.0355
58 | 0.10248 | 0.049186 | -0.10248 | -0.049635 | 2.8671e-07 | -0.00044858 | 0.0033293 | 0.003335 | 0.003335 | 0.98564 | -0.12546 | 0.98564 | -0.12543 | 1.5159
59 | 0.23514 | 0.11194 | -0.23513 | -0.11261 | 2.2806e-06 | -0.00067975 | 0.007627 | 0.0076356 | 0.0076356 | 0.98567 | -0.12567 | 0.98566 | -0.12559 | 3.4707
60 | -0.57616 | -0.27447 | 0.57618 | 0.27445 | 1.6826e-05 | -2.0814e-05 | 0.018691 | 0.018691 | 0.018691 | 0.98567 | -0.12567 | 0.9857 | -0.12546 | 8.9006
61 | 0.20906 | 0.099452 | -0.20905 | -0.10035 | 2.4137e-06 | -0.00090107 | 0.006797 | 0.0068084 | 0.0068084 | 0.98322 | -0.13222 | 0.98321 | -0.13212 | 3.0947
62 | -0.20906 | -0.099452 | 0.20906 | 0.097768 | 4.489e-06 | -0.0016839 | 0.006797 | 0.0067759 | 0.006797 | 0.98322 | -0.13222 | 0.98324 | -0.1324 | 3.0896
63 | 0.14563 | 0.069636 | -0.14563 | -0.070189 | 7.1974e-07 | -0.00055295 | 0.0047395 | 0.0047465 | 0.0047465 | 0.98321 | -0.13212 | 0.98321 | -0.13208 | 2.1575
64 | -0.35175 | -0.16683 | 0.35176 | 0.16522 | 1.2228e-05 | -0.0016176 | 0.01143 | 0.01141 | 0.01143 | 0.98324 | -0.1324 | 0.98327 | -0.13268 | 5.1954
65 | 0.14269 | 0.069066 | -0.14269 | -0.069107 | 1.4014e-06 | -4.1024e-05 | 0.0046542 | 0.0046548 | 0.0046548 | 0.98324 | -0.1324 | 0.98323 | -0.13246 | 2.2166
66 | 0.14563 | 0.070189 | -0.14563 | -0.070532 | 4.4721e-07 | -0.00034273 | 0.0047465 | 0.0047509 | 0.0047509 | 0.98321 | -0.13208 | 0.9832 | -0.13206 | 2.1595
67 | 0.8886 | 0.34246 | -0.88835 | -0.34804 | 0.00025646 | -0.0055834 | 0.027958 | 0.028019 | 0.028019 | 0.98327 | -0.13268 | 0.983 | -0.13136 | 12.7357
68 | -1.3659 | -0.56758 | 1.3662 | 0.56441 | 0.00035687 | -0.0031702 | 0.043425 | 0.043388 | 0.043425 | 0.98327 | -0.13268 | 0.98352 | -0.13419 | 19.7386
69 | 0.12552 | 0.059904 | -0.12552 | -0.060794 | 8.611e-07 | -0.00089028 | 0.0040834 | 0.0040947 | 0.0040947 | 0.98327 | -0.13268 | 0.98327 | -0.13263 | 1.8612
70 | 0.16433 | 0.078323 | -0.16433 | -0.079009 | 1.1257e-06 | -0.00068667 | 0.0053315 | 0.0053402 | 0.0053402 | 0.98566 | -0.12559 | 0.98565 | -0.12553 | 2.4274
71 | -0.66109 | -0.31557 | 0.66112 | 0.31443 | 3.061e-05 | -0.0011474 | 0.021454 | 0.021439 | 0.021454 | 0.9857 | -0.12546 | 0.98574 | -0.12585 | 9.7517
72 | 0.88835 | 0.34804 | -0.88831 | -0.34888 | 3.8303e-05 | -0.00083153 | 0.028019 | 0.028028 | 0.028028 | 0.983 | -0.13136 | 0.98296 | -0.13116 | 12.7398
73 | 0.15603 | 0.075335 | -0.15603 | -0.07557 | 3.5239e-07 | -0.00023547 | 0.0050856 | 0.0050886 | 0.0050886 | 0.98352 | -0.13419 | 0.98352 | -0.13417 | 2.313
74 | -1.5223 | -0.63975 | 1.5228 | 0.63994 | 0.00054439 | 0.00019072 | 0.048466 | 0.048464 | 0.048466 | 0.98352 | -0.13419 | 0.9839 | -0.1306 | 23.0791
75 | 0.16433 | 0.079009 | -0.16433 | -0.079507 | 8.1897e-07 | -0.00049814 | 0.0053402 | 0.0053465 | 0.0053465 | 0.98565 | -0.12553 | 0.98565 | -0.12549 | 2.4302
76 | -0.66112 | -0.31443 | 0.66116 | 0.31322 | 3.224e-05 | -0.0012103 | 0.021439 | 0.021424 | 0.021439 | 0.98574 | -0.12585 | 0.98578 | -0.12626 | 9.7451
77 | -0.16432 | -0.079586 | 0.16433 | 0.079507 | 3.5352e-06 | -7.8271e-05 | 0.0053476 | 0.0053465 | 0.0053476 | 0.98562 | -0.12563 | 0.98565 | -0.12549 | 2.5465
78 | -0.66116 | -0.31322 | 0.66122 | 0.31317 | 6.3785e-05 | -5.0548e-05 | 0.021424 | 0.021423 | 0.021424 | 0.98578 | -0.12626 | 0.98588 | -0.12557 | 10.2019
79 | 0.60333 | 0.21417 | -0.60261 | -0.21504 | 0.00072153 | -0.0008668 | 0.018802 | 0.018815 | 0.018815 | 0.98296 | -0.13116 | 0.98168 | -0.14762 | 8.9594
80 | 0.15003 | 0.069349 | -0.15003 | -0.070661 | 1.7952e-06 | -0.0013117 | 0.004854 | 0.0048703 | 0.0048703 | 0.98296 | -0.13116 | 0.98295 | -0.13106 | 2.2138
81 | -1.6519 | -0.70243 | 1.6523 | 0.70261 | 0.00044201 | 0.00017346 | 0.052666 | 0.052664 | 0.052666 | 0.9839 | -0.1306 | 0.98418 | -0.12799 | 25.0788
82 | -0.82407 | -0.39204 | 0.82408 | 0.39175 | 1.1831e-05 | -0.00028458 | 0.026721 | 0.026717 | 0.026721 | 0.98588 | -0.12557 | 0.9859 | -0.12569 | 12.1458
83 | -0.82408 | -0.39175 | 0.82467 | 0.37756 | 0.00058559 | -0.014193 | 0.026717 | 0.026539 | 0.026717 | 0.9859 | -0.12569 | 0.98655 | -0.13137 | 12.1441
84 | 0.57283 | 0.25156 | -0.57281 | -0.25262 | 2.0559e-05 | -0.001061 | 0.018306 | 0.018319 | 0.018319 | 0.98655 | -0.13137 | 0.98652 | -0.13112 | 8.3269
85 | -1.3975 | -0.62912 | 1.3991 | 0.6296 | 0.0015981 | 0.00048205 | 0.044844 | 0.044838 | 0.044844 | 0.98655 | -0.13137 | 0.98776 | -0.12177 | 21.3545
86 | 0.42617 | 0.1816 | -0.42615 | -0.18348 | 1.9925e-05 | -0.0018783 | 0.013556 | 0.013577 | 0.013577 | 0.98652 | -0.13112 | 0.98648 | -0.13083 | 6.1715
87 | -3.9088 | -1.7311 | 3.9154 | 1.7257 | 0.0065573 | -0.0054017 | 0.12494 | 0.12485 | 0.12494 | 0.98776 | -0.12177 | 0.98932 | -0.13344 | 56.7906
88 | 2.4019 | 1.0506 | -2.4 | -1.0557 | 0.0019209 | -0.0051308 | 0.076617 | 0.076684 | 0.076684 | 0.98776 | -0.12177 | 0.98701 | -0.11631 | 34.8563
89 | 0.10789 | 0.050943 | -0.10789 | -0.052251 | 9.1607e-07 | -0.0013083 | 0.0034868 | 0.0035033 | 0.0035033 | 0.98776 | -0.12177 | 0.98775 | -0.1217 | 1.5924
90 | 0.42615 | 0.18348 | -0.42611 | -0.18792 | 4.7388e-05 | -0.0044424 | 0.013577 | 0.013629 | 0.013629 | 0.98648 | -0.13083 | 0.98637 | -0.13008 | 6.1952
91 | -3.9154 | -1.7257 | 3.9173 | 1.7241 | 0.0019227 | -0.0015903 | 0.12485 | 0.12483 | 0.12485 | 0.98932 | -0.13344 | 0.98978 | -0.13683 | 56.7512
92 | 2.4 | 1.0557 | -2.3996 | -1.0565 | 0.000308 | -0.00082096 | 0.076684 | 0.076695 | 0.076695 | 0.98701 | -0.11631 | 0.98689 | -0.11543 | 34.8611
93 | -1.8096 | -0.77878 | 1.8107 | 0.77925 | 0.0010927 | 0.0004719 | 0.057784 | 0.057782 | 0.057784 | 0.98418 | -0.12799 | 0.98482 | -0.12227 | 27.5163
94 | -1.9664 | -0.85467 | 1.9666 | 0.854 | 0.00016323 | -0.00066852 | 0.062849 | 0.062841 | 0.062849 | 0.98482 | -0.12227 | 0.98489 | -0.12282 | 28.5678
95 | -0.24796 | -0.076198 | 0.24796 | 0.076116 | 2.7892e-07 | -8.2403e-05 | 0.0076313 | 0.0076306 | 0.0076313 | 0.98125 | -0.14878 | 0.98126 | -0.14878 | 3.4688
96 | 0.12483 | 0.016566 | -0.12483 | -0.016884 | 6.8494e-06 | -0.00031756 | 0.0037046 | 0.0037059 | 0.0037059 | 0.98125 | -0.14878 | 0.9812 | -0.1503 | 1.7647
97 | -0.24796 | -0.076116 | 0.24802 | 0.057334 | 6.2282e-05 | -0.018781 | 0.0076306 | 0.007487 | 0.0076306 | 0.98126 | -0.14878 | 0.9815 | -0.14841 | 3.4684
98 | 0.12483 | 0.016884 | -0.1248 | -0.047815 | 2.5867e-05 | -0.030931 | 0.0037059 | 0.0039328 | 0.0039328 | 0.9812 | -0.1503 | 0.98099 | -0.15072 | 1.7876
99 | -0.34192 | -0.094044 | 0.34193 | 0.093264 | 4.9322e-06 | -0.00078017 | 0.01043 | 0.010424 | 0.01043 | 0.9815 | -0.14841 | 0.98152 | -0.14839 | 4.7409
100 | 0.093905 | 0.03671 | -0.093901 | -0.044172 | 3.9174e-06 | -0.0074624 | 0.0029654 | 0.0030522 | 0.0030522 | 0.9815 | -0.14841 | 0.98147 | -0.14814 | 1.3874
101 | 0.071518 | 0.030119 | -0.071517 | -0.034637 | 1.4011e-06 | -0.0045178 | 0.0022836 | 0.0023384 | 0.0023384 | 0.98099 | -0.15072 | 0.98097 | -0.15057 | 1.0629
102 | 0.053281 | 0.017696 | -0.053268 | -0.020584 | 1.247e-05 | -0.0028884 | 0.0016521 | 0.0016809 | 0.0016809 | 0.98099 | -0.15072 | 0.98074 | -0.15389 | 0.80043
103 | 0.053268 | 0.020584 | -0.053268 | -0.025799 | 8.8654e-07 | -0.0052148 | 0.0016809 | 0.0017421 | 0.0017421 | 0.98074 | -0.15389 | 0.98073 | -0.15378 | 0.79188
104 | 0.44641 | 0.13938 | -0.44638 | -0.13945 | 2.4294e-05 | -6.7722e-05 | 0.013752 | 0.013753 | 0.013753 | 0.98168 | -0.14762 | 0.98162 | -0.14851 | 6.5489
105 | 0.15003 | 0.070661 | -0.15003 | -0.072638 | 2.7292e-06 | -0.0019772 | 0.0048703 | 0.0048954 | 0.0048954 | 0.98295 | -0.13106 | 0.98293 | -0.13091 | 2.2252
106 | 0.093901 | 0.044172 | -0.0939 | -0.045478 | 7.0991e-07 | -0.0013056 | 0.0030522 | 0.0030687 | 0.0030687 | 0.98147 | -0.14814 | 0.98146 | -0.14807 | 1.3949
107 | -0.44633 | -0.14383 | 0.44634 | 0.14277 | 1.1674e-05 | -0.0010547 | 0.013792 | 0.013782 | 0.013792 | 0.98152 | -0.14839 | 0.98154 | -0.14842 | 6.269
108 | -0.44634 | -0.14277 | 0.44638 | 0.13945 | 3.6678e-05 | -0.0033236 | 0.013782 | 0.013753 | 0.013782 | 0.98154 | -0.14842 | 0.98162 | -0.14851 | 6.2647
109 | 2.0869 | 0.90503 | -2.0866 | -0.90622 | 0.00032908 | -0.0011895 | 0.06663 | 0.066645 | 0.066645 | 0.98552 | -0.12726 | 0.98537 | -0.12621 | 30.2932
110 | -2.2352 | -0.97686 | 2.2381 | 0.97831 | 0.0029048 | 0.0014487 | 0.071453 | 0.071449 | 0.071453 | 0.98552 | -0.12726 | 0.98689 | -0.11543 | 34.0254
111 | 2.0866 | 0.90622 | -2.0855 | -0.91004 | 0.0010591 | -0.0038216 | 0.066645 | 0.066693 | 0.066693 | 0.98537 | -0.12621 | 0.98489 | -0.12282 | 30.3152
112 | 0.11896 | 0.056037 | -0.11896 | -0.056462 | 3.6446e-07 | -0.00042493 | 0.0038543 | 0.0038596 | 0.0038596 | 0.98489 | -0.12282 | 0.98489 | -0.12279 | 1.7544
113 | 0.11896 | 0.056462 | -0.11896 | -0.057615 | 9.9403e-07 | -0.001153 | 0.0038596 | 0.0038742 | 0.0038742 | 0.98489 | -0.12279 | 0.98488 | -0.12272 | 1.761
114 | -4.0541 | -1.7904 | 4.0543 | 1.7897 | 0.00018065 | -0.00062119 | 0.12926 | 0.12925 | 0.12926 | 0.98978 | -0.13683 | 0.98983 | -0.13622 | 35.7062
115 | -4.0543 | -1.7897 | 4.0566 | 1.7817 | 0.0023222 | -0.008001 | 0.12925 | 0.12913 | 0.12925 | 0.98983 | -0.13622 | 0.99046 | -0.12835 | 35.7037
116 | 4.173 | 1.8364 | -4.1721 | -1.8355 | 0.00092918 | 0.00099202 | 0.13282 | 0.13283 | 0.13283 | 0.99089 | -0.11889 | 0.99061 | -0.12641 | 37.95
117 | 4.0572 | 1.7798 | -4.0566 | -1.7817 | 0.00056789 | -0.0019611 | 0.12911 | 0.12913 | 0.12913 | 0.99061 | -0.12641 | 0.99046 | -0.12835 | 35.6723
118 | -0.12849 | -0.062231 | 0.12849 | 0.059857 | 2.3668e-06 | -0.0023743 | 0.0041788 | 0.0041489 | 0.0041788 | 0.98626 | -0.12934 | 0.98627 | -0.1295 | 1.8994
119 | -0.12849 | -0.059857 | 0.12851 | 0.045831 | 1.3334e-05 | -0.014025 | 0.0041489 | 0.0039929 | 0.0041489 | 0.98627 | -0.1295 | 0.98637 | -0.13008 | 1.8859
120 | 0.15823 | 0.075474 | -0.15823 | -0.076634 | 1.7607e-06 | -0.00116 | 0.0051307 | 0.0051454 | 0.0051454 | 0.98637 | -0.13008 | 0.98636 | -0.12998 | 2.3388
121 | 0.13937 | 0.066615 | -0.13937 | -0.067498 | 1.0406e-06 | -0.00088346 | 0.0045208 | 0.004532 | 0.004532 | 0.98637 | -0.13008 | 0.98636 | -0.13002 | 2.06
122 | -0.15002 | -0.07266 | 0.15003 | 0.072638 | 8.5349e-07 | -2.252e-05 | 0.0048956 | 0.0048954 | 0.0048956 | 0.98292 | -0.13095 | 0.98293 | -0.13091 | 2.3313

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 9.4268 | 4.0074

## res_load
| p_mw | q_mvar
0 | 0.080049 | 0.03877
1 | 0.068446 | 0.03315
2 | 0.10736 | 0.051996
3 | 0.087247 | 0.042256
4 | 0.082538 | 0.039975
5 | 0.15719 | 0.076132
6 | 0.085065 | 0.041199
7 | 0.097692 | 0.047315
8 | 0.14252 | 0.069027
9 | 2.3674 | 1.1466
10 | 0.15151 | 0.073381
11 | 0.14806 | 0.071707
12 | 0.14894 | 0.072134
13 | 0.054338 | 0.026317
14 | 0.14497 | 0.070213
15 | 0.079534 | 0.03852
16 | 0.10108 | 0.048957
17 | 0.15578 | 0.075448
18 | 0.094534 | 0.045785
19 | 0.16123 | 0.078086
20 | 0.07292 | 0.035317
21 | 0.11827 | 0.057283
22 | 0.070993 | 0.034383
23 | 0.15757 | 0.076315
24 | 0.1497 | 0.072504
25 | 0.072857 | 0.035286
26 | 0.15202 | 0.073625
27 | 0.086519 | 0.041903
28 | 0.063422 | 0.030717
29 | 0.14269 | 0.069107
30 | 0.10248 | 0.049635
31 | 0.070805 | 0.034292
32 | 0.084911 | 0.041124
33 | 0.14563 | 0.070532
34 | 0.12552 | 0.060794
35 | 0.16432 | 0.079586
36 | 0.13495 | 0.065358
37 | 0.15603 | 0.07557
38 | 0.12904 | 0.062498
39 | 0.16285 | 0.078871
40 | 0.14663 | 0.071017
41 | 0.10789 | 0.052251
42 | 0.15727 | 0.076168
43 | 0.15573 | 0.075424
44 | 0.12312 | 0.059632
45 | 0.071517 | 0.034637
46 | 0.053268 | 0.025799
47 | 0.1562 | 0.075652
48 | 0.0939 | 0.045478
49 | 0.1044 | 0.050565
50 | 0.14832 | 0.071833
51 | 0.16151 | 0.078223
52 | 0.11896 | 0.057615
53 | 0.13676 | 0.066238
54 | 0.11494 | 0.05567
55 | 0.12849 | 0.062231
56 | 0.15823 | 0.076634
57 | 0.13937 | 0.067498
58 | 0.15002 | 0.07266

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1