## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_165_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_165_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_165_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_165_0_node_37 | 20 | n |  | TRUE
4 | bus_MV_165_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_165_0_node_51 | 20 | n |  | TRUE
6 | bus_MV_165_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_165_0_node_45 | 20 | n |  | TRUE
8 | bus_MV_165_0_node_38 | 20 | n |  | TRUE
9 | bus_MV_165_0_node_36 | 20 | n |  | TRUE
10 | bus_MV_165_0_node_59 | 20 | n |  | TRUE
11 | bus_MV_165_0_node_5 | 20 | n |  | TRUE
12 | bus_MV_165_0_node_6 | 20 | n |  | TRUE
13 | bus_MV_165_0_node_7 | 20 | n |  | TRUE
14 | bus_MV_165_0_node_8 | 20 | n |  | TRUE
15 | bus_MV_165_0_node_61 | 20 | n |  | TRUE
16 | bus_MV_165_0_node_22 | 20 | n |  | TRUE
17 | bus_MV_165_0_node_9 | 20 | n |  | TRUE
18 | bus_MV_165_0_node_10 | 20 | n |  | TRUE
19 | bus_MV_165_0_node_16 | 20 | n |  | TRUE
20 | bus_MV_165_0_node_17 | 20 | n |  | TRUE
21 | bus_MV_165_0_node_27 | 20 | n |  | TRUE
22 | bus_MV_165_0_node_23 | 20 | n |  | TRUE
23 | bus_MV_165_0_node_11 | 20 | n |  | TRUE
24 | bus_MV_165_0_node_12 | 20 | n |  | TRUE
25 | bus_MV_165_0_node_56 | 20 | n |  | TRUE
26 | bus_MV_165_0_node_20 | 20 | n |  | TRUE
27 | bus_MV_165_0_node_13 | 20 | n |  | TRUE
28 | bus_MV_165_0_node_14 | 20 | n |  | TRUE
29 | bus_MV_165_0_node_15 | 20 | n |  | TRUE
30 | bus_MV_165_0_node_18 | 20 | n |  | TRUE
31 | bus_MV_165_0_node_19 | 20 | n |  | TRUE
32 | bus_MV_165_0_node_25 | 20 | n |  | TRUE
33 | bus_MV_165_0_node_21 | 20 | n |  | TRUE
34 | bus_MV_165_0_node_28 | 20 | n |  | TRUE
35 | bus_MV_165_0_node_29 | 20 | n |  | TRUE
36 | bus_MV_165_0_node_30 | 20 | n |  | TRUE
37 | bus_MV_165_0_node_62 | 20 | n |  | TRUE
38 | bus_MV_165_0_node_31 | 20 | n |  | TRUE
39 | bus_MV_165_0_node_53 | 20 | n |  | TRUE
40 | bus_MV_165_0_node_32 | 20 | n |  | TRUE
41 | bus_MV_165_0_node_33 | 20 | n |  | TRUE
42 | bus_MV_165_0_node_34 | 20 | n |  | TRUE
43 | bus_MV_165_0_node_64 | 20 | n |  | TRUE
44 | bus_MV_165_0_node_54 | 20 | n |  | TRUE
45 | bus_MV_165_0_node_55 | 20 | n |  | TRUE
46 | bus_MV_165_0_node_24 | 20 | n |  | TRUE
47 | bus_MV_165_0_node_57 | 20 | n |  | TRUE
48 | bus_MV_165_0_node_58 | 20 | n |  | TRUE
49 | bus_MV_165_0_node_35 | 20 | n |  | TRUE
50 | bus_MV_165_0_node_60 | 20 | n |  | TRUE
51 | bus_MV_165_0_node_39 | 20 | n |  | TRUE
52 | bus_MV_165_0_node_40 | 20 | n |  | TRUE
53 | bus_MV_165_0_node_42 | 20 | n |  | TRUE
54 | bus_MV_165_0_node_43 | 20 | n |  | TRUE
55 | bus_MV_165_0_node_44 | 20 | n |  | TRUE
56 | bus_MV_165_0_node_48 | 20 | n |  | TRUE
57 | bus_MV_165_0_node_49 | 20 | n |  | TRUE
58 | bus_MV_165_0_node_46 | 20 | n |  | TRUE
59 | bus_MV_165_0_node_47 | 20 | n |  | TRUE
60 | bus_MV_165_0_node_50 | 20 | n |  | TRUE
61 | bus_MV_165_0_node_52 | 20 | n |  | TRUE
62 | bus_MV_165_0_node_63 | 20 | n |  | TRUE
63 | bus_HV_165_0_node_58 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_165_0_load_0 | 0 | 0.085946 | 0.041625 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_165_0_load_37 | 3 | 0.071828 | 0.034788 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_165_0_load_3 | 4 | 0.10113 | 0.04898 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_165_0_load_51 | 5 | 0.054892 | 0.026585 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_165_0_load_45 | 7 | 0.15371 | 0.074443 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_165_0_load_5 | 11 | 0.14584 | 0.070632 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_165_0_load_61 | 15 | 0.15992 | 0.077453 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_165_0_load_22 | 16 | 0.1056 | 0.051145 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_165_0_load_27 | 21 | 0.12229 | 0.059226 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_165_0_load_11 | 23 | 0.098628 | 0.047768 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_165_0_load_56 | 25 | 0.055829 | 0.027039 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_165_0_load_20 | 26 | 0.11638 | 0.056367 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_165_0_load_13 | 27 | 0.14401 | 0.069747 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_165_0_load_25 | 32 | 0.14523 | 0.070337 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_165_0_load_21 | 33 | 0.0568 | 0.027509 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_165_0_load_28 | 34 | 0.099222 | 0.048055 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_165_0_load_29 | 35 | 0.11805 | 0.057172 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_165_0_load_62 | 37 | 0.12801 | 0.062 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_165_0_load_53 | 39 | 0.11794 | 0.05712 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_165_0_load_32 | 40 | 0.11285 | 0.054655 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_165_0_load_64 | 43 | 0.091408 | 0.044271 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_165_0_load_54 | 44 | 0.10692 | 0.051784 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_165_0_load_57 | 47 | 0.062793 | 0.030412 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_165_0_load_35 | 49 | 0.069915 | 0.033862 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_165_0_load_60 | 50 | 0.13976 | 0.067688 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_165_0_load_39 | 51 | 0.084336 | 0.040846 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_165_0_load_43 | 54 | 0.13753 | 0.066607 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_165_0_load_48 | 56 | 0.16233 | 0.078618 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_165_0_load_47 | 59 | 0.1578 | 0.076424 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_165_0_load_52 | 61 | 0.1533 | 0.074248 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_165_0_load_63 | 62 | 0.056279 | 0.027257 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_165_0_line_0 |  | 0 | 1 | 0.004038 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
1 | MV_165_0_line_1 |  | 0 | 2 | 0.023232 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
2 | MV_165_0_line_2 |  | 1 | 3 | 8.1198 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
3 | MV_165_0_line_3 |  | 2 | 4 | 0.12943 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
4 | MV_165_0_line_4 |  | 3 | 8 | 0.029641 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_165_0_line_5 |  | 3 | 9 | 4.0407 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
6 | MV_165_0_line_6 |  | 4 | 6 | 0.007219 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
7 | MV_165_0_line_7 |  | 5 | 6 | 3.5603 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
8 | MV_165_0_line_8 |  | 5 | 7 | 0.10876 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_165_0_line_9 |  | 7 | 54 | 0.048777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_165_0_line_10 |  | 8 | 10 | 5.5855 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_165_0_line_11 |  | 9 | 49 | 0.03634 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
12 | MV_165_0_line_12 |  | 10 | 50 | 0.054549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_165_0_line_13 |  | 11 | 12 | 0.019531 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_165_0_line_14 |  | 11 | 13 | 0.10031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_165_0_line_15 |  | 12 | 14 | 0.22275 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_165_0_line_16 |  | 13 | 15 | 0.11334 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_165_0_line_17 |  | 14 | 16 | 0.057886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_165_0_line_18 |  | 15 | 20 | 0.081813 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_165_0_line_19 |  | 16 | 22 | 0.11532 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_165_0_line_20 |  | 17 | 18 | 0.12513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_165_0_line_21 |  | 17 | 19 | 0.070119 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_165_0_line_22 |  | 17 | 20 | 0.072894 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_165_0_line_23 |  | 18 | 21 | 0.031298 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_165_0_line_24 |  | 19 | 32 | 0.024221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_165_0_line_25 |  | 20 | 28 | 0.10353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_165_0_line_26 |  | 22 | 46 | 0.81675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_165_0_line_27 |  | 23 | 24 | 0.035142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_165_0_line_28 |  | 23 | 25 | 1.7112 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_165_0_line_29 |  | 24 | 26 | 1.1586 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_165_0_line_30 |  | 25 | 38 | 0.29415 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_165_0_line_31 |  | 26 | 31 | 0.063174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_165_0_line_32 |  | 27 | 28 | 0.033278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_165_0_line_33 |  | 27 | 29 | 0.075638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_165_0_line_34 |  | 29 | 30 | 0.060216 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_165_0_line_35 |  | 29 | 31 | 0.12166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_165_0_line_36 |  | 30 | 33 | 0.041088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_165_0_line_37 |  | 34 | 35 | 0.20532 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_165_0_line_38 |  | 35 | 36 | 0.058348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_165_0_line_39 |  | 35 | 37 | 0.29509 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_165_0_line_40 |  | 36 | 38 | 1.1872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_165_0_line_41 |  | 37 | 42 | 0.014994 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_165_0_line_42 |  | 38 | 39 | 0.082939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_165_0_line_43 |  | 39 | 43 | 1.4716 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_165_0_line_44 |  | 40 | 41 | 0.026326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_165_0_line_45 |  | 41 | 42 | 0.14766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_165_0_line_46 |  | 43 | 45 | 1.315 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_165_0_line_47 |  | 44 | 45 | 0.16056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_165_0_line_48 |  | 46 | 47 | 0.13913 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
49 | MV_165_0_line_49 |  | 46 | 48 | 0.12436 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
50 | MV_165_0_line_50 |  | 47 | 49 | 4.1134 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
51 | MV_165_0_line_51 |  | 51 | 52 | 0.018309 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_165_0_line_52 |  | 52 | 53 | 0.075558 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_165_0_line_53 |  | 53 | 56 | 0.003906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_165_0_line_54 |  | 53 | 54 | 0.12986 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_165_0_line_55 |  | 54 | 55 | 0.028281 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_165_0_line_56 |  | 55 | 58 | 0.19735 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_165_0_line_57 |  | 56 | 57 | 0.098557 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_165_0_line_58 |  | 57 | 60 | 0.36547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_165_0_line_59 |  | 58 | 59 | 0.073817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_165_0_line_60 |  | 60 | 61 | 0.020719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_165_0_line_61 |  | 61 | 62 | 1.7003 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_165_0_trafo_58 | 25 MVA 110/20 kV | 63 | 48 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2747786.4007 | 1159494.9702
1 | 2747787.4475 | 1159491.0706
2 | 2747780.3928 | 1159517.2514
3 | 2753857.0371 | 1154097.4351
4 | 2747651.2905 | 1159526.5115
5 | 2744673.9926 | 1157561.2922
6 | 2747644.6834 | 1159523.5582
7 | 2744575.5476 | 1157515.0686
8 | 2753854.4858 | 1154068.4242
9 | 2753529.0912 | 1158124.8181
10 | 2757129.8971 | 1149544.0862
11 | 2752410.9948 | 1163037.1297
12 | 2752408.7482 | 1163017.8237
13 | 2752337.8996 | 1163105.9557
14 | 2752494.7757 | 1162875.9114
15 | 2752339.2955 | 1163219.2832
16 | 2752441.66 | 1162895.7809
17 | 2752225.1793 | 1163225.6652
18 | 2752231.9487 | 1163136.3529
19 | 2752206.6657 | 1163293.296
20 | 2752279.1125 | 1163274.7039
21 | 2752241.9436 | 1163106.693
22 | 2752470.9031 | 1162784.2426
23 | 2753185.5584 | 1164366.0615
24 | 2753154.9447 | 1164350.0139
25 | 2752465.3541 | 1165918.332
26 | 2752266.4277 | 1163606.4746
27 | 2752293.1583 | 1163382.7697
28 | 2752285.6027 | 1163350.3631
29 | 2752310.4909 | 1163456.3908
30 | 2752368.105 | 1163439.0474
31 | 2752270.7682 | 1163543.4666
32 | 2752182.9728 | 1163287.9476
33 | 2752408.0754 | 1163441.996
34 | 2753235.0949 | 1166794.0567
35 | 2753355.076 | 1166627.436
36 | 2753333.5574 | 1166573.1869
37 | 2753605.26 | 1166783.9201
38 | 2752588.7454 | 1166185.3478
39 | 2752510.6494 | 1166213.8333
40 | 2753630.1787 | 1166916.5215
41 | 2753655.7779 | 1166910.2264
42 | 2753610.8403 | 1166797.8409
43 | 2751320.1834 | 1167078.8795
44 | 2750739.5815 | 1165824.4068
45 | 2750675.6322 | 1165932.6242
46 | 2752405.5284 | 1162237.797
47 | 2752376.3756 | 1162101.759
48 | 2752281.7599 | 1162225.641
49 | 2753519.3072 | 1158150.3744
50 | 2757179.9258 | 1149523.685
51 | 2744437.1925 | 1157605.039
52 | 2744440.0126 | 1157586.9482
53 | 2744411.5818 | 1157530.1552
54 | 2744534.6925 | 1157488.8225
55 | 2744524.3367 | 1157462.6313
56 | 2744408.5338 | 1157527.7024
57 | 2744314.7771 | 1157497.319
58 | 2744531.7484 | 1157265.6117
59 | 2744532.5933 | 1157191.8191
60 | 2744055.6402 | 1157273.916
61 | 2744037.7416 | 1157263.3906
62 | 2742377.322 | 1156897.4164
63 | 2752281.7599 | 1162225.641

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98561 | -0.82719 | 0.085946 | 0.041625
1 | 0.98561 | -0.82718 | 0 | 0
2 | 0.9856 | -0.82723 | 0 | 0
3 | 0.99192 | -0.46365 | 0.071828 | 0.034788
4 | 0.98551 | -0.83262 | 0.10113 | 0.04898
5 | 0.98144 | -0.9386 | 0.054892 | 0.026585
6 | 0.98551 | -0.83266 | 0 | 0
7 | 0.98124 | -0.94003 | 0.15371 | 0.074443
8 | 0.99192 | -0.46361 | 0 | 0
9 | 0.99562 | -0.25082 | 0 | 0
10 | 0.99042 | -0.47542 | 0 | 0
11 | 0.99675 | 0.0054638 | 0.14584 | 0.070632
12 | 0.9968 | 0.0051173 | 0 | 0
13 | 0.99654 | 0.0070766 | 0 | 0
14 | 0.99731 | 0.0012093 | 0 | 0
15 | 0.99618 | 0.0041424 | 0.15992 | 0.077453
16 | 0.99745 | 0.0002067 | 0.1056 | 0.051145
17 | 0.9959 | 0.001918 | 0 | 0
18 | 0.99589 | 0.0020847 | 0 | 0
19 | 0.99588 | 0.0017903 | 0 | 0
20 | 0.99594 | 0.0021831 | 0 | 0
21 | 0.99588 | 0.0021302 | 0.12229 | 0.059226
22 | 0.99773 | -0.001921 | 0 | 0
23 | 0.99328 | -0.011307 | 0.098628 | 0.047768
24 | 0.99332 | -0.011601 | 0 | 0
25 | 0.99057 | -0.035347 | 0.055829 | 0.027039
26 | 0.99538 | 0.0062454 | 0.11638 | 0.056367
27 | 0.99573 | 0.0037441 | 0.14401 | 0.069747
28 | 0.99578 | 0.0033617 | 0 | 0
29 | 0.99562 | 0.0044881 | 0 | 0
30 | 0.99562 | 0.0045229 | 0 | 0
31 | 0.99546 | 0.0056389 | 0 | 0
32 | 0.99588 | 0.0018322 | 0.14523 | 0.070337
33 | 0.99561 | 0.0045498 | 0.0568 | 0.027509
34 | 0.98938 | -0.034129 | 0.099222 | 0.048055
35 | 0.98941 | -0.033875 | 0.11805 | 0.057172
36 | 0.98945 | -0.034181 | 0 | 0
37 | 0.98928 | -0.034871 | 0.12801 | 0.062
38 | 0.99014 | -0.03926 | 0 | 0
39 | 0.99011 | -0.038983 | 0.11794 | 0.05712
40 | 0.98925 | -0.034637 | 0.11285 | 0.054655
41 | 0.98925 | -0.034673 | 0 | 0
42 | 0.98927 | -0.034854 | 0 | 0
43 | 0.98954 | -0.043368 | 0.091408 | 0.044271
44 | 0.98925 | -0.04543 | 0.10692 | 0.051784
45 | 0.98928 | -0.04562 | 0 | 0
46 | 0.99972 | -0.016378 | 0 | 0
47 | 0.99958 | -0.02434 | 0.062793 | 0.030412
48 | 1 | 0 | -3.4575 | -1.5464
49 | 0.99563 | -0.25074 | 0.069915 | 0.033862
50 | 0.99041 | -0.47532 | 0.13976 | 0.067688
51 | 0.98107 | -0.94048 | 0.084336 | 0.040846
52 | 0.98107 | -0.94046 | 0 | 0
53 | 0.98108 | -0.94054 | 0 | 0
54 | 0.9812 | -0.93964 | 0.13753 | 0.066607
55 | 0.98119 | -0.9396 | 0 | 0
56 | 0.98108 | -0.94052 | 0.16233 | 0.078618
57 | 0.98104 | -0.94087 | 0 | 0
58 | 0.98115 | -0.93927 | 0 | 0
59 | 0.98114 | -0.93913 | 0.1578 | 0.076424
60 | 0.98094 | -0.94008 | 0 | 0
61 | 0.98094 | -0.94003 | 0.1533 | 0.074248
62 | 0.98075 | -0.94138 | 0.056279 | 0.027257
63 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -1.1508 | -0.53235 | 1.1508 | 0.5321 | 1.7206e-06 | -0.0002455 | 0.037137 | 0.037134 | 0.037137 | 0.98561 | -0.82719 | 0.98561 | -0.82718 | 5.8208
1 | 1.0648 | 0.49072 | -1.0648 | -0.49213 | 8.4698e-06 | -0.0014132 | 0.03434 | 0.034358 | 0.034358 | 0.98561 | -0.82719 | 0.9856 | -0.82723 | 5.3852
2 | -1.1508 | -0.5321 | 1.1548 | 0.53184 | 0.0039828 | -0.00026337 | 0.037134 | 0.036999 | 0.037134 | 0.98561 | -0.82718 | 0.99192 | -0.46365 | 5.7572
3 | 1.0648 | 0.49213 | -1.0648 | -0.49216 | 5.4549e-05 | -2.7098e-05 | 0.034358 | 0.03436 | 0.03436 | 0.9856 | -0.82723 | 0.98551 | -0.83262 | 5.3271
4 | 0.13996 | 0.059289 | -0.13996 | -0.059985 | 7.7572e-07 | -0.00069609 | 0.0044236 | 0.0044315 | 0.0044315 | 0.99192 | -0.46365 | 0.99192 | -0.46361 | 2.0143
5 | -1.3665 | -0.62591 | 1.3693 | 0.62781 | 0.0027561 | 0.0018951 | 0.043743 | 0.043676 | 0.043743 | 0.99192 | -0.46365 | 0.99562 | -0.25082 | 6.7819
6 | 0.96363 | 0.44318 | -0.96363 | -0.44342 | 3.366e-06 | -0.00023808 | 0.031069 | 0.031072 | 0.031072 | 0.98551 | -0.83262 | 0.98551 | -0.83266 | 8.5834
7 | -0.96047 | -0.44413 | 0.96363 | 0.44342 | 0.0031608 | -0.00071195 | 0.031125 | 0.031072 | 0.031125 | 0.98144 | -0.9386 | 0.98551 | -0.83266 | 8.8929
8 | 0.90558 | 0.41755 | -0.90541 | -0.41757 | 0.00016672 | -2.0608e-05 | 0.029331 | 0.029333 | 0.029333 | 0.98144 | -0.9386 | 0.98124 | -0.94003 | 13.968
9 | 0.75171 | 0.34312 | -0.75167 | -0.34423 | 3.8503e-05 | -0.0011099 | 0.02431 | 0.024323 | 0.024323 | 0.98124 | -0.94003 | 0.9812 | -0.93964 | 11.0561
10 | 0.13996 | 0.059985 | -0.13976 | -0.066411 | 0.00019884 | -0.0064262 | 0.0044315 | 0.0045101 | 0.0045101 | 0.99192 | -0.46361 | 0.99042 | -0.47542 | 2.1477
11 | -1.3693 | -0.62781 | 1.3693 | 0.62556 | 2.1408e-05 | -0.0022513 | 0.043676 | 0.043649 | 0.043676 | 0.99562 | -0.25082 | 0.99563 | -0.25074 | 6.8458
12 | 0.13976 | 0.066411 | -0.13976 | -0.067688 | 1.4866e-06 | -0.0012771 | 0.0045101 | 0.0045262 | 0.0045262 | 0.99042 | -0.47542 | 0.99041 | -0.47532 | 2.0574
13 | -1.8261 | -0.81842 | 1.8262 | 0.81798 | 8.7571e-05 | -0.00043735 | 0.057956 | 0.05795 | 0.057956 | 0.99675 | 0.0054638 | 0.9968 | 0.0051173 | 26.3436
14 | 1.6803 | 0.74779 | -1.6799 | -0.75005 | 0.00038013 | -0.0022662 | 0.053265 | 0.053293 | 0.053293 | 0.99675 | 0.0054638 | 0.99654 | 0.0070766 | 24.2242
15 | -1.8262 | -0.81798 | 1.8272 | 0.81299 | 0.00099755 | -0.0049911 | 0.05795 | 0.057888 | 0.05795 | 0.9968 | 0.0051173 | 0.99731 | 0.0012093 | 26.3411
16 | 1.6799 | 0.75005 | -1.6793 | -0.74983 | 0.00057354 | 0.00022493 | 0.053293 | 0.053295 | 0.053295 | 0.99654 | 0.0070766 | 0.99618 | 0.0041424 | 25.3785
17 | -1.8272 | -0.81299 | 1.8275 | 0.81169 | 0.00025889 | -0.0012981 | 0.057888 | 0.057872 | 0.057888 | 0.99731 | 0.0012093 | 0.99745 | 0.0002067 | 26.3128
18 | 1.5194 | 0.67238 | -1.5191 | -0.67226 | 0.00033794 | 0.00011477 | 0.048149 | 0.04815 | 0.04815 | 0.99618 | 0.0041424 | 0.99594 | 0.0021831 | 22.9284
19 | -1.9331 | -0.86284 | 1.9337 | 0.86027 | 0.00057755 | -0.0025688 | 0.061266 | 0.061234 | 0.061266 | 0.99745 | 0.0002067 | 0.99773 | -0.001921 | 27.8482
20 | 0.12229 | 0.055523 | -0.12229 | -0.058485 | 2.555e-06 | -0.0029623 | 0.003893 | 0.0039292 | 0.0039292 | 0.9959 | 0.001918 | 0.99589 | 0.0020847 | 1.786
21 | 0.14523 | 0.069682 | -0.14523 | -0.069764 | 2.7243e-06 | -8.1316e-05 | 0.0046692 | 0.0046702 | 0.0046702 | 0.9959 | 0.001918 | 0.99588 | 0.0017903 | 2.2239
22 | -0.26752 | -0.12521 | 0.26753 | 0.12512 | 9.519e-06 | -8.0351e-05 | 0.0085617 | 0.0085606 | 0.0085617 | 0.9959 | 0.001918 | 0.99594 | 0.0021831 | 4.077
23 | 0.12229 | 0.058485 | -0.12229 | -0.059226 | 6.4661e-07 | -0.00074094 | 0.0039292 | 0.0039386 | 0.0039386 | 0.99589 | 0.0020847 | 0.99588 | 0.0021302 | 1.7903
24 | 0.14523 | 0.069764 | -0.14523 | -0.070337 | 7.0634e-07 | -0.00057334 | 0.0046702 | 0.0046774 | 0.0046774 | 0.99588 | 0.0017903 | 0.99588 | 0.0018322 | 2.1261
25 | 1.2515 | 0.54714 | -1.2513 | -0.54952 | 0.0002168 | -0.0023871 | 0.039591 | 0.03962 | 0.03962 | 0.99594 | 0.0021831 | 0.99578 | 0.0033617 | 18.009
26 | -1.9337 | -0.86027 | 1.9377 | 0.84203 | 0.0040732 | -0.018243 | 0.061234 | 0.061007 | 0.061234 | 0.99773 | -0.001921 | 0.99972 | -0.016378 | 27.8335
27 | -0.93183 | -0.40617 | 0.93187 | 0.40535 | 4.0932e-05 | -0.00081571 | 0.029542 | 0.029533 | 0.029542 | 0.99328 | -0.011307 | 0.99332 | -0.011601 | 13.4284
28 | 0.8332 | 0.3584 | -0.83108 | -0.35908 | 0.0021204 | -0.00068184 | 0.02636 | 0.026384 | 0.026384 | 0.99328 | -0.011307 | 0.99057 | -0.035347 | 12.5636
29 | -0.93187 | -0.40535 | 0.93367 | 0.40511 | 0.0017995 | -0.00024042 | 0.029533 | 0.029517 | 0.029533 | 0.99332 | -0.011601 | 0.99538 | 0.0062454 | 14.0633
30 | 0.77525 | 0.33204 | -0.77494 | -0.33219 | 0.00031663 | -0.00014609 | 0.024578 | 0.024582 | 0.024582 | 0.99057 | -0.035347 | 0.99014 | -0.03926 | 11.7055
31 | -1.0501 | -0.46148 | 1.0501 | 0.46001 | 9.3273e-05 | -0.0014669 | 0.033264 | 0.033247 | 0.033264 | 0.99538 | 0.0062454 | 0.99546 | 0.0056389 | 15.1202
32 | -1.2513 | -0.55029 | 1.2513 | 0.54952 | 6.9753e-05 | -0.00076712 | 0.039629 | 0.03962 | 0.039629 | 0.99573 | 0.0037441 | 0.99578 | 0.0033617 | 18.0132
33 | 1.1073 | 0.48054 | -1.1071 | -0.4823 | 0.00012372 | -0.0017536 | 0.034994 | 0.035014 | 0.035014 | 0.99573 | 0.0037441 | 0.99562 | 0.0044881 | 15.9156
34 | 0.0568 | 0.025112 | -0.0568 | -0.026537 | 2.631e-07 | -0.0014251 | 0.0018007 | 0.0018178 | 0.0018178 | 0.99562 | 0.0044881 | 0.99562 | 0.0045229 | 0.82626
35 | 1.0503 | 0.45719 | -1.0501 | -0.46001 | 0.00017936 | -0.0028258 | 0.033214 | 0.033247 | 0.033247 | 0.99562 | 0.0044881 | 0.99546 | 0.0056389 | 15.1123
36 | 0.0568 | 0.026537 | -0.0568 | -0.027509 | 1.8245e-07 | -0.00097238 | 0.0018178 | 0.0018299 | 0.0018299 | 0.99562 | 0.0045229 | 0.99561 | 0.0045498 | 0.83176
37 | -0.099222 | -0.048055 | 0.099226 | 0.047818 | 3.7817e-06 | -0.00023758 | 0.0032167 | 0.0032137 | 0.0032167 | 0.98938 | -0.034129 | 0.98941 | -0.033875 | 1.5318
38 | -0.45817 | -0.21691 | 0.45819 | 0.21555 | 1.7019e-05 | -0.0013588 | 0.01479 | 0.014773 | 0.01479 | 0.98941 | -0.033875 | 0.98945 | -0.034181 | 6.7227
39 | 0.2409 | 0.11192 | -0.24087 | -0.11224 | 3.1596e-05 | -0.00032503 | 0.00775 | 0.0077542 | 0.0077542 | 0.98941 | -0.033875 | 0.98928 | -0.034871 | 3.6925
40 | -0.45819 | -0.21555 | 0.45852 | 0.18788 | 0.00033808 | -0.027669 | 0.014773 | 0.014447 | 0.014773 | 0.98945 | -0.034181 | 0.99014 | -0.03926 | 6.715
41 | 0.11285 | 0.05024 | -0.11285 | -0.050591 | 2.6039e-07 | -0.00035028 | 0.0036047 | 0.0036088 | 0.0036088 | 0.98928 | -0.034871 | 0.98927 | -0.034854 | 1.6404
42 | 0.31641 | 0.14431 | -0.3164 | -0.14625 | 1.1409e-05 | -0.001938 | 0.010139 | 0.010163 | 0.010163 | 0.99014 | -0.03926 | 0.99011 | -0.038983 | 4.6195
43 | 0.19846 | 0.089129 | -0.19836 | -0.090784 | 0.00010584 | -0.0016549 | 0.0063432 | 0.0063639 | 0.0063639 | 0.99011 | -0.038983 | 0.98954 | -0.043368 | 3.0304
44 | -0.11285 | -0.054655 | 0.11285 | 0.05404 | 4.6952e-07 | -0.00061498 | 0.003659 | 0.0036512 | 0.003659 | 0.98925 | -0.034637 | 0.98925 | -0.034673 | 1.6632
45 | -0.11285 | -0.05404 | 0.11285 | 0.050591 | 2.5971e-06 | -0.0034495 | 0.0036512 | 0.0036088 | 0.0036512 | 0.98925 | -0.034673 | 0.98927 | -0.034854 | 1.6596
46 | 0.10695 | 0.046514 | -0.10692 | -0.048033 | 2.7266e-05 | -0.0015198 | 0.0034023 | 0.0034205 | 0.0034205 | 0.98954 | -0.043368 | 0.98928 | -0.04562 | 1.6288
47 | -0.10692 | -0.051784 | 0.10692 | 0.048033 | 2.5413e-06 | -0.0037509 | 0.0034668 | 0.0034205 | 0.0034668 | 0.98925 | -0.04543 | 0.98928 | -0.04562 | 1.5758
48 | 1.5052 | 0.69259 | -1.5051 | -0.69248 | 0.0001137 | 0.00011358 | 0.047845 | 0.047847 | 0.047847 | 0.99972 | -0.016378 | 0.99958 | -0.02434 | 7.4182
49 | -3.443 | -1.5346 | 3.4435 | 1.5359 | 0.000526 | 0.0012426 | 0.10885 | 0.10884 | 0.10885 | 0.99972 | -0.016378 | 1 | 0 | 16.8754
50 | 1.4423 | 0.66207 | -1.4392 | -0.65942 | 0.0030893 | 0.0026487 | 0.045833 | 0.045901 | 0.045901 | 0.99958 | -0.02434 | 0.99563 | -0.25074 | 7.1164
51 | -0.084336 | -0.040846 | 0.084336 | 0.040825 | 2.4798e-07 | -2.0883e-05 | 0.0027573 | 0.002757 | 0.0027573 | 0.98107 | -0.94048 | 0.98107 | -0.94046 | 1.313
52 | -0.084336 | -0.040825 | 0.084337 | 0.039089 | 7.6058e-07 | -0.0017362 | 0.002757 | 0.0027351 | 0.002757 | 0.98107 | -0.94046 | 0.98108 | -0.94054 | 1.2532
53 | 0.37195 | 0.16911 | -0.37195 | -0.1692 | 7.5378e-07 | -8.9541e-05 | 0.012022 | 0.012023 | 0.012023 | 0.98108 | -0.94054 | 0.98108 | -0.94052 | 5.4652
54 | -0.45629 | -0.2082 | 0.45634 | 0.20808 | 5.0384e-05 | -0.00011768 | 0.014757 | 0.014756 | 0.014757 | 0.98108 | -0.94054 | 0.9812 | -0.93964 | 7.0274
55 | 0.15781 | 0.069544 | -0.1578 | -0.070194 | 9.7335e-07 | -0.00064979 | 0.0050736 | 0.0050813 | 0.0050813 | 0.9812 | -0.93964 | 0.98119 | -0.9396 | 2.3097
56 | 0.1578 | 0.070194 | -0.1578 | -0.074728 | 6.8765e-06 | -0.0045342 | 0.0050813 | 0.005137 | 0.005137 | 0.98119 | -0.9396 | 0.98115 | -0.93927 | 2.335
57 | 0.20962 | 0.090584 | -0.20962 | -0.090692 | 7.9296e-06 | -0.00010828 | 0.0067193 | 0.0067206 | 0.0067206 | 0.98108 | -0.94052 | 0.98104 | -0.94087 | 3.2003
58 | 0.20962 | 0.090692 | -0.20959 | -0.099083 | 2.2366e-05 | -0.0083909 | 0.0067206 | 0.0068225 | 0.0068225 | 0.98104 | -0.94087 | 0.98094 | -0.94008 | 3.1011
59 | 0.1578 | 0.074728 | -0.1578 | -0.076424 | 2.6114e-06 | -0.0016958 | 0.005137 | 0.0051586 | 0.0051586 | 0.98115 | -0.93927 | 0.98114 | -0.93913 | 2.3448
60 | 0.20959 | 0.099083 | -0.20959 | -0.099559 | 1.2886e-06 | -0.00047563 | 0.0068225 | 0.0068285 | 0.0068285 | 0.98094 | -0.94008 | 0.98094 | -0.94003 | 3.1039
61 | 0.056289 | 0.025311 | -0.056279 | -0.027257 | 1.0126e-05 | -0.0019464 | 0.0018163 | 0.0018406 | 0.0018406 | 0.98094 | -0.94003 | 0.98075 | -0.94138 | 0.87647

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 3.4575 | 1.5464

## res_load
| p_mw | q_mvar
0 | 0.085946 | 0.041625
1 | 0.071828 | 0.034788
2 | 0.10113 | 0.04898
3 | 0.054892 | 0.026585
4 | 0.15371 | 0.074443
5 | 0.14584 | 0.070632
6 | 0.15992 | 0.077453
7 | 0.1056 | 0.051145
8 | 0.12229 | 0.059226
9 | 0.098628 | 0.047768
10 | 0.055829 | 0.027039
11 | 0.11638 | 0.056367
12 | 0.14401 | 0.069747
13 | 0.14523 | 0.070337
14 | 0.0568 | 0.027509
15 | 0.099222 | 0.048055
16 | 0.11805 | 0.057172
17 | 0.12801 | 0.062
18 | 0.11794 | 0.05712
19 | 0.11285 | 0.054655
20 | 0.091408 | 0.044271
21 | 0.10692 | 0.051784
22 | 0.062793 | 0.030412
23 | 0.069915 | 0.033862
24 | 0.13976 | 0.067688
25 | 0.084336 | 0.040846
26 | 0.13753 | 0.066607
27 | 0.16233 | 0.078618
28 | 0.1578 | 0.076424
29 | 0.1533 | 0.074248
30 | 0.056279 | 0.027257

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1