## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_181_1_node_219 | 20 | n |  | TRUE
1 | bus_MV_181_1_node_56 | 20 | n |  | TRUE
2 | bus_MV_181_1_node_138 | 20 | n |  | TRUE
3 | bus_MV_181_1_node_127 | 20 | n |  | TRUE
4 | bus_MV_181_1_node_206 | 20 | n |  | TRUE
5 | bus_MV_181_1_node_82 | 20 | n |  | TRUE
6 | bus_MV_181_1_node_225 | 20 | n |  | TRUE
7 | bus_MV_181_1_node_182 | 20 | n |  | TRUE
8 | bus_MV_181_1_node_183 | 20 | n |  | TRUE
9 | bus_MV_181_1_node_208 | 20 | n |  | TRUE
10 | bus_MV_181_1_node_90 | 20 | n |  | TRUE
11 | bus_MV_181_1_node_209 | 20 | n |  | TRUE
12 | bus_MV_181_1_node_222 | 20 | n |  | TRUE
13 | bus_MV_181_1_node_70 | 20 | n |  | TRUE
14 | bus_MV_181_1_node_184 | 20 | n |  | TRUE
15 | bus_MV_181_1_node_101 | 20 | n |  | TRUE
16 | bus_MV_181_1_node_86 | 20 | n |  | TRUE
17 | bus_MV_181_1_node_220 | 20 | n |  | TRUE
18 | bus_MV_181_1_node_96 | 20 | n |  | TRUE
19 | bus_MV_181_1_node_188 | 20 | n |  | TRUE
20 | bus_MV_181_1_node_210 | 20 | n |  | TRUE
21 | bus_MV_181_1_node_79 | 20 | n |  | TRUE
22 | bus_MV_181_1_node_185 | 20 | n |  | TRUE
23 | bus_MV_181_1_node_95 | 20 | n |  | TRUE
24 | bus_MV_181_1_node_186 | 20 | n |  | TRUE
25 | bus_MV_181_1_node_97 | 20 | n |  | TRUE
26 | bus_MV_181_1_node_187 | 20 | n |  | TRUE
27 | bus_MV_181_1_node_217 | 20 | n |  | TRUE
28 | bus_MV_181_1_node_55 | 20 | n |  | TRUE
29 | bus_MV_181_1_node_50 | 20 | n |  | TRUE
30 | bus_MV_181_1_node_51 | 20 | n |  | TRUE
31 | bus_MV_181_1_node_52 | 20 | n |  | TRUE
32 | bus_MV_181_1_node_54 | 20 | n |  | TRUE
33 | bus_MV_181_1_node_99 | 20 | n |  | TRUE
34 | bus_MV_181_1_node_88 | 20 | n |  | TRUE
35 | bus_MV_181_1_node_87 | 20 | n |  | TRUE
36 | bus_MV_181_1_node_57 | 20 | n |  | TRUE
37 | bus_MV_181_1_node_58 | 20 | n |  | TRUE
38 | bus_MV_181_1_node_73 | 20 | n |  | TRUE
39 | bus_MV_181_1_node_59 | 20 | n |  | TRUE
40 | bus_MV_181_1_node_94 | 20 | n |  | TRUE
41 | bus_MV_181_1_node_60 | 20 | n |  | TRUE
42 | bus_MV_181_1_node_61 | 20 | n |  | TRUE
43 | bus_MV_181_1_node_65 | 20 | n |  | TRUE
44 | bus_MV_181_1_node_66 | 20 | n |  | TRUE
45 | bus_MV_181_1_node_62 | 20 | n |  | TRUE
46 | bus_MV_181_1_node_74 | 20 | n |  | TRUE
47 | bus_MV_181_1_node_63 | 20 | n |  | TRUE
48 | bus_MV_181_1_node_72 | 20 | n |  | TRUE
49 | bus_MV_181_1_node_84 | 20 | n |  | TRUE
50 | bus_MV_181_1_node_67 | 20 | n |  | TRUE
51 | bus_MV_181_1_node_68 | 20 | n |  | TRUE
52 | bus_MV_181_1_node_69 | 20 | n |  | TRUE
53 | bus_MV_181_1_node_75 | 20 | n |  | TRUE
54 | bus_MV_181_1_node_76 | 20 | n |  | TRUE
55 | bus_MV_181_1_node_77 | 20 | n |  | TRUE
56 | bus_MV_181_1_node_78 | 20 | n |  | TRUE
57 | bus_MV_181_1_node_83 | 20 | n |  | TRUE
58 | bus_MV_181_1_node_81 | 20 | n |  | TRUE
59 | bus_MV_181_1_node_80 | 20 | n |  | TRUE
60 | bus_MV_181_1_node_85 | 20 | n |  | TRUE
61 | bus_MV_181_1_node_224 | 20 | n |  | TRUE
62 | bus_MV_181_1_node_218 | 20 | n |  | TRUE
63 | bus_MV_181_1_node_89 | 20 | n |  | TRUE
64 | bus_MV_181_1_node_91 | 20 | n |  | TRUE
65 | bus_MV_181_1_node_92 | 20 | n |  | TRUE
66 | bus_MV_181_1_node_93 | 20 | n |  | TRUE
67 | bus_MV_181_1_node_98 | 20 | n |  | TRUE
68 | bus_MV_181_1_node_100 | 20 | n |  | TRUE
69 | bus_MV_181_1_node_102 | 20 | n |  | TRUE
70 | bus_MV_181_1_node_223 | 20 | n |  | TRUE
71 | bus_HV_181_1_node_73 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_181_1_load_219 | 0 | 0.15145 | 0.073351 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_181_1_load_138 | 2 | 0.13336 | 0.064591 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_181_1_load_206 | 4 | 0.1052 | 0.050952 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_181_1_load_182 | 7 | 0.089182 | 0.043193 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_181_1_load_208 | 9 | 0.052806 | 0.025575 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_181_1_load_222 | 12 | 0.13722 | 0.066457 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_181_1_load_70 | 13 | 0.12868 | 0.062322 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_181_1_load_220 | 17 | 0.13611 | 0.06592 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_181_1_load_210 | 20 | 0.10042 | 0.048634 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_181_1_load_79 | 21 | 0.095898 | 0.046445 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_181_1_load_185 | 22 | 0.082866 | 0.040134 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_181_1_load_186 | 24 | 0.082248 | 0.039835 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_181_1_load_97 | 25 | 0.084655 | 0.041 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_181_1_load_217 | 27 | 0.11349 | 0.054966 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_181_1_load_50 | 29 | 0.070614 | 0.0342 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_181_1_load_54 | 32 | 0.10031 | 0.04858 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_181_1_load_88 | 34 | 0.10315 | 0.049956 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_181_1_load_87 | 35 | 0.15528 | 0.075207 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_181_1_load_57 | 36 | 0.14776 | 0.071563 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_181_1_load_73 | 38 | 0.15031 | 0.0728 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_181_1_load_94 | 40 | 0.13409 | 0.064942 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_181_1_load_60 | 41 | 0.16296 | 0.078923 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_181_1_load_72 | 48 | 0.099078 | 0.047986 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_181_1_load_84 | 49 | 0.11862 | 0.057448 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_181_1_load_67 | 50 | 0.1259 | 0.060978 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_181_1_load_75 | 53 | 0.086774 | 0.042027 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_181_1_load_76 | 54 | 0.15254 | 0.073878 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_181_1_load_83 | 57 | 0.096724 | 0.046846 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_181_1_load_80 | 59 | 0.051959 | 0.025165 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_181_1_load_224 | 61 | 0.12631 | 0.061174 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_181_1_load_218 | 62 | 0.05102 | 0.02471 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_181_1_load_89 | 63 | 0.10461 | 0.050666 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_181_1_load_91 | 64 | 0.12796 | 0.061974 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_181_1_load_98 | 67 | 0.12232 | 0.059245 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_181_1_load_100 | 68 | 0.14281 | 0.069168 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_181_1_load_102 | 69 | 0.16088 | 0.077918 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_181_1_load_223 | 70 | 0.064426 | 0.031203 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_181_1_line_0 |  | 0 | 1 | 0.038757 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_181_1_line_1 |  | 1 | 35 | 0.14104 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
2 | MV_181_1_line_2 |  | 1 | 31 | 0.41745 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
3 | MV_181_1_line_3 |  | 2 | 3 | 0.018637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_181_1_line_4 |  | 3 | 15 | 1.545 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_181_1_line_5 |  | 4 | 5 | 0.23192 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
6 | MV_181_1_line_6 |  | 4 | 6 | 0.004662 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
7 | MV_181_1_line_7 |  | 5 | 58 | 0.40518 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
8 | MV_181_1_line_8 |  | 6 | 61 | 0.038793 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_181_1_line_9 |  | 7 | 8 | 0.035195 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_181_1_line_10 |  | 8 | 13 | 0.42833 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_181_1_line_11 |  | 8 | 14 | 0.021206 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_181_1_line_12 |  | 9 | 10 | 1.3332 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_181_1_line_13 |  | 9 | 11 | 0.17194 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_181_1_line_14 |  | 9 | 12 | 2.8316 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
15 | MV_181_1_line_15 |  | 10 | 63 | 0.029641 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_181_1_line_16 |  | 11 | 15 | 1.1633 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_181_1_line_17 |  | 12 | 70 | 0.58423 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_181_1_line_18 |  | 12 | 20 | 2.7429 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
19 | MV_181_1_line_19 |  | 14 | 16 | 0.085827 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_181_1_line_20 |  | 15 | 68 | 0.2117 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_181_1_line_21 |  | 16 | 61 | 0.027479 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
22 | MV_181_1_line_22 |  | 16 | 60 | 0.6442 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_181_1_line_23 |  | 17 | 18 | 0.015577 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_181_1_line_24 |  | 17 | 19 | 0.026662 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
25 | MV_181_1_line_25 |  | 18 | 66 | 0.14139 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
26 | MV_181_1_line_26 |  | 19 | 26 | 0.11356 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_181_1_line_27 |  | 20 | 21 | 2.5926 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
28 | MV_181_1_line_28 |  | 21 | 54 | 0.57768 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
29 | MV_181_1_line_29 |  | 22 | 23 | 0.042851 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_181_1_line_30 |  | 23 | 66 | 0.049869 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_181_1_line_31 |  | 24 | 25 | 0.094989 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
32 | MV_181_1_line_32 |  | 24 | 26 | 0.034831 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_181_1_line_33 |  | 25 | 67 | 0.050689 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
34 | MV_181_1_line_34 |  | 27 | 28 | 0.18479 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_181_1_line_35 |  | 28 | 34 | 0.14277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_181_1_line_36 |  | 28 | 30 | 0.10926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_181_1_line_37 |  | 29 | 30 | 0.018085 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
38 | MV_181_1_line_38 |  | 29 | 31 | 0.12063 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_181_1_line_39 |  | 30 | 32 | 0.034688 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
40 | MV_181_1_line_40 |  | 32 | 33 | 0.051328 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
41 | MV_181_1_line_41 |  | 33 | 67 | 0.033772 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_181_1_line_42 |  | 34 | 62 | 2.2535 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_181_1_line_43 |  | 35 | 43 | 0.12181 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
44 | MV_181_1_line_44 |  | 36 | 37 | 0.059843 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
45 | MV_181_1_line_45 |  | 36 | 38 | 0.37167 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
46 | MV_181_1_line_46 |  | 37 | 39 | 0.49467 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_181_1_line_47 |  | 38 | 45 | 0.091258 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_181_1_line_48 |  | 39 | 40 | 0.013382 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_181_1_line_49 |  | 40 | 52 | 0.024126 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_181_1_line_50 |  | 40 | 66 | 0.091931 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
51 | MV_181_1_line_51 |  | 41 | 42 | 0.049766 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_181_1_line_52 |  | 42 | 43 | 0.47371 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_181_1_line_53 |  | 42 | 44 | 0.39717 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
54 | MV_181_1_line_54 |  | 44 | 49 | 0.079923 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_181_1_line_55 |  | 45 | 46 | 0.041248 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_181_1_line_56 |  | 45 | 47 | 0.48017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_181_1_line_57 |  | 46 | 53 | 0.044484 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_181_1_line_58 |  | 47 | 48 | 0.004672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_181_1_line_59 |  | 49 | 60 | 0.17686 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
60 | MV_181_1_line_60 |  | 50 | 51 | 0.066805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_181_1_line_61 |  | 51 | 52 | 0.076096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_181_1_line_62 |  | 54 | 55 | 0.019362 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_181_1_line_63 |  | 55 | 56 | 0.33542 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
64 | MV_181_1_line_64 |  | 56 | 57 | 0.07384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_181_1_line_65 |  | 56 | 58 | 0.58138 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
66 | MV_181_1_line_66 |  | 58 | 59 | 0.17514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_181_1_line_67 |  | 64 | 65 | 0.008111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_181_1_line_68 |  | 65 | 66 | 0.31749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_181_1_line_69 |  | 68 | 69 | 0.21311 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_181_1_trafo_73 | 25 MVA 110/20 kV | 71 | 38 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2623672.3939 | 1202353.2998
1 | 2623633.9677 | 1202358.3507
2 | 2620692.7191 | 1205193.6991
3 | 2620701.652 | 1205177.332
4 | 2623905.7342 | 1200727.0709
5 | 2623921.1365 | 1200495.6618
6 | 2623905.883 | 1200731.7296
7 | 2623805.5832 | 1200750.0119
8 | 2623805.9636 | 1200785.2052
9 | 2620292.1042 | 1202986.6168
10 | 2619447.3873 | 1204018.1018
11 | 2620432.3092 | 1202889.6181
12 | 2618391.2625 | 1200887.8269
13 | 2623423.9047 | 1200978.8378
14 | 2623825.7252 | 1200792.4656
15 | 2621238.2227 | 1203728.5479
16 | 2623911.389 | 1200797.7543
17 | 2623098.8419 | 1202781.2276
18 | 2623085.4569 | 1202789.2582
19 | 2623121.2307 | 1202766.7505
20 | 2620850.0352 | 1199672.2168
21 | 2623386.7247 | 1199136.6791
22 | 2623022.4071 | 1202683.9493
23 | 2622991.7733 | 1202713.912
24 | 2623238.1064 | 1202707.0963
25 | 2623243.5092 | 1202612.2615
26 | 2623228.3179 | 1202730.6563
27 | 2623310.8999 | 1202902.7939
28 | 2623396.4189 | 1202738.982
29 | 2623383.5823 | 1202637.6875
30 | 2623371.8558 | 1202651.4492
31 | 2623331.7649 | 1202539.5093
32 | 2623342.5339 | 1202669.8116
33 | 2623312.8726 | 1202636.6445
34 | 2623538.6158 | 1202750.8358
35 | 2623608.2994 | 1202219.6624
36 | 2623064.6686 | 1202348.959
37 | 2623020.5594 | 1202389.4003
38 | 2623006.4118 | 1201981.8785
39 | 2622920.3432 | 1202686.6343
40 | 2622908.9128 | 1202692.9384
41 | 2623803.7919 | 1201847.9328
42 | 2623851.4132 | 1201862.3858
43 | 2623583.6797 | 1202100.3667
44 | 2624036.8782 | 1201551.4128
45 | 2623065.8934 | 1201912.6694
46 | 2623034.3678 | 1201885.9668
47 | 2622971.0659 | 1201600.2675
48 | 2622966.4415 | 1201599.5161
49 | 2624010.4374 | 1201479.5897
50 | 2622874.9721 | 1202574.3437
51 | 2622833.544 | 1202626.8255
52 | 2622890.8259 | 1202676.916
53 | 2622995.2183 | 1201874.6324
54 | 2623559.4601 | 1199687.9331
55 | 2623574.0874 | 1199698.8855
56 | 2623534.9379 | 1199902.9981
57 | 2623478.0143 | 1199950.1893
58 | 2624073.9415 | 1200120.892
59 | 2624167.6094 | 1199973.6158
60 | 2623840.2221 | 1201431.5834
61 | 2623908.8723 | 1200770.396
62 | 2625678.9951 | 1203455.8434
63 | 2619444.0442 | 1204047.2736
64 | 2622927.0654 | 1203011.527
65 | 2622934.9857 | 1203009.6786
66 | 2622973.27 | 1202756.8867
67 | 2623294.0718 | 1202608.679
68 | 2621446.231 | 1203692.5584
69 | 2621651.4663 | 1203635.1543
70 | 2617809.8584 | 1200830.4736
71 | 2623006.4118 | 1201981.8785

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99714 | -0.095285 | 0.15145 | 0.073351
1 | 0.99715 | -0.095214 | 0 | 0
2 | 0.98863 | -0.44782 | 0.13336 | 0.064591
3 | 0.98864 | -0.44785 | 0 | 0
4 | 0.99563 | -0.13594 | 0.1052 | 0.050952
5 | 0.99544 | -0.14765 | 0 | 0
6 | 0.99563 | -0.13593 | 0 | 0
7 | 0.99562 | -0.13589 | 0.089182 | 0.043193
8 | 0.99562 | -0.13593 | 0 | 0
9 | 0.99012 | -0.43882 | 0.052806 | 0.025575
10 | 0.98985 | -0.44071 | 0 | 0
11 | 0.99002 | -0.43802 | 0 | 0
12 | 0.99125 | -0.37347 | 0.13722 | 0.066457
13 | 0.99551 | -0.13661 | 0.12868 | 0.062322
14 | 0.99563 | -0.13598 | 0 | 0
15 | 0.98904 | -0.44512 | 0 | 0
16 | 0.99566 | -0.13574 | 0 | 0
17 | 0.99813 | -0.07019 | 0.13611 | 0.06592
18 | 0.99814 | -0.070076 | 0 | 0
19 | 0.99808 | -0.073385 | 0 | 0
20 | 0.99271 | -0.289 | 0.10042 | 0.048634
21 | 0.99427 | -0.19932 | 0.095898 | 0.046445
22 | 0.99828 | -0.068946 | 0.082866 | 0.040134
23 | 0.99828 | -0.068988 | 0 | 0
24 | 0.99793 | -0.074436 | 0.082248 | 0.039835
25 | 0.99776 | -0.085512 | 0.084655 | 0.041
26 | 0.99797 | -0.074191 | 0 | 0
27 | 0.99748 | -0.092011 | 0.11349 | 0.054966
28 | 0.99752 | -0.091754 | 0 | 0
29 | 0.99755 | -0.092161 | 0.070614 | 0.0342
30 | 0.99756 | -0.092053 | 0 | 0
31 | 0.99746 | -0.092869 | 0 | 0
32 | 0.99759 | -0.091828 | 0.10031 | 0.04858
33 | 0.99763 | -0.091487 | 0 | 0
34 | 0.99749 | -0.091529 | 0.10315 | 0.049956
35 | 0.99696 | -0.10731 | 0.15528 | 0.075207
36 | 0.99911 | -0.055387 | 0.14776 | 0.071563
37 | 0.99898 | -0.06398 | 0 | 0
38 | 1 | 0 | -4.0266 | -1.6423
39 | 0.9984 | -0.068197 | 0 | 0
40 | 0.99839 | -0.068307 | 0.13409 | 0.064942
41 | 0.99648 | -0.11944 | 0.16296 | 0.078923
42 | 0.9965 | -0.11934 | 0 | 0
43 | 0.9968 | -0.11704 | 0 | 0
44 | 0.99626 | -0.12103 | 0 | 0
45 | 0.99997 | -0.00031114 | 0 | 0
46 | 0.99996 | -0.00027241 | 0 | 0
47 | 0.99991 | 7.9243e-05 | 0 | 0
48 | 0.99991 | 8.4766e-05 | 0.099078 | 0.047986
49 | 0.99622 | -0.12136 | 0.11862 | 0.057448
50 | 0.99836 | -0.068076 | 0.1259 | 0.060978
51 | 0.99837 | -0.068174 | 0 | 0
52 | 0.99838 | -0.068277 | 0 | 0
53 | 0.99996 | -0.00022773 | 0.086774 | 0.042027
54 | 0.99466 | -0.17725 | 0.15254 | 0.073878
55 | 0.99467 | -0.17722 | 0 | 0
56 | 0.99479 | -0.17659 | 0 | 0
57 | 0.99478 | -0.17651 | 0.096724 | 0.046846
58 | 0.99527 | -0.14865 | 0 | 0
59 | 0.99525 | -0.14857 | 0.051959 | 0.025165
60 | 0.99602 | -0.13343 | 0 | 0
61 | 0.99565 | -0.13582 | 0.12631 | 0.061174
62 | 0.99727 | -0.093184 | 0.05102 | 0.02471
63 | 0.98984 | -0.44068 | 0.10461 | 0.050666
64 | 0.99823 | -0.068613 | 0.12796 | 0.061974
65 | 0.99824 | -0.068625 | 0 | 0
66 | 0.99829 | -0.069032 | 0 | 0
67 | 0.99766 | -0.091262 | 0.12232 | 0.059245
68 | 0.98895 | -0.44437 | 0.14281 | 0.069168
69 | 0.98889 | -0.4448 | 0.16088 | 0.077918
70 | 0.99117 | -0.37395 | 0.064426 | 0.031203
71 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15145 | -0.073351 | 0.15145 | 0.073306 | 1.6387e-06 | -4.4978e-05 | 0.0048717 | 0.0048711 | 0.0048717 | 0.99714 | -0.095285 | 0.99715 | -0.095214 | 2.3199
1 | 2.1856 | 0.87705 | -2.1854 | -0.87661 | 0.00023406 | 0.00043559 | 0.068178 | 0.06818 | 0.06818 | 0.99715 | -0.095214 | 0.99696 | -0.10731 | 10.5706
2 | -2.3371 | -0.95036 | 2.3378 | 0.92465 | 0.00068545 | -0.025702 | 0.073038 | 0.072757 | 0.073038 | 0.99715 | -0.095214 | 0.99746 | -0.092869 | 11.448
3 | -0.13336 | -0.064591 | 0.13336 | 0.064156 | 4.6521e-07 | -0.00043478 | 0.0043268 | 0.0043213 | 0.0043268 | 0.98863 | -0.44782 | 0.98864 | -0.44785 | 1.9667
4 | -0.13336 | -0.064156 | 0.13342 | 0.062385 | 5.1133e-05 | -0.0017714 | 0.0043213 | 0.0042988 | 0.0043213 | 0.98864 | -0.44785 | 0.98904 | -0.44512 | 2.0578
5 | 1.297 | 0.55172 | -1.2969 | -0.55166 | 0.00013829 | 5.4154e-05 | 0.040867 | 0.040871 | 0.040871 | 0.99563 | -0.13594 | 0.99544 | -0.14765 | 6.3366
6 | -1.4022 | -0.60267 | 1.4022 | 0.60238 | 2.8208e-06 | -0.00028878 | 0.044253 | 0.04425 | 0.044253 | 0.99563 | -0.13594 | 0.99563 | -0.13593 | 6.9362
7 | 1.2969 | 0.55166 | -1.2967 | -0.57677 | 0.00021062 | -0.025104 | 0.040871 | 0.041163 | 0.041163 | 0.99544 | -0.14765 | 0.99527 | -0.14865 | 6.4519
8 | -1.4022 | -0.60238 | 1.4023 | 0.59998 | 2.3456e-05 | -0.002403 | 0.04425 | 0.044222 | 0.04425 | 0.99563 | -0.13593 | 0.99565 | -0.13582 | 6.9357
9 | -0.089182 | -0.043193 | 0.089183 | 0.04236 | 3.8644e-07 | -0.00083287 | 0.0028731 | 0.0028627 | 0.0028731 | 0.99562 | -0.13589 | 0.99562 | -0.13593 | 1.306
10 | 0.12869 | 0.061823 | -0.12868 | -0.062322 | 1.3098e-05 | -0.00049861 | 0.0041396 | 0.004146 | 0.004146 | 0.99562 | -0.13593 | 0.99551 | -0.13661 | 1.9743
11 | -0.21787 | -0.10418 | 0.21788 | 0.10368 | 1.3868e-06 | -0.00050148 | 0.0070022 | 0.006996 | 0.0070022 | 0.99562 | -0.13593 | 0.99563 | -0.13598 | 3.1828
12 | 0.10464 | 0.048429 | -0.10461 | -0.049972 | 2.6999e-05 | -0.001543 | 0.0033617 | 0.0033811 | 0.0033811 | 0.99012 | -0.43882 | 0.98985 | -0.44071 | 1.61
13 | 0.4376 | 0.19918 | -0.43756 | -0.20319 | 4.5262e-05 | -0.0040107 | 0.014018 | 0.014067 | 0.014067 | 0.99012 | -0.43882 | 0.99002 | -0.43802 | 6.3941
14 | -0.59505 | -0.27318 | 0.59542 | 0.27033 | 0.0003675 | -0.0028533 | 0.01909 | 0.019043 | 0.01909 | 0.99012 | -0.43882 | 0.99125 | -0.37347 | 2.9597
15 | 0.10461 | 0.049972 | -0.10461 | -0.050666 | 4.5353e-07 | -0.00069328 | 0.0033811 | 0.0033898 | 0.0033898 | 0.98985 | -0.44071 | 0.98984 | -0.44068 | 1.5408
16 | 0.43756 | 0.20319 | -0.43715 | -0.20429 | 0.00041063 | -0.0011026 | 0.014067 | 0.014084 | 0.014084 | 0.99002 | -0.43802 | 0.98904 | -0.44512 | 6.7066
17 | 0.064431 | 0.030521 | -0.064426 | -0.031203 | 4.5058e-06 | -0.00068242 | 0.0020763 | 0.0020849 | 0.0020849 | 0.99125 | -0.37347 | 0.99117 | -0.37395 | 0.9928
18 | -0.79706 | -0.36731 | 0.7977 | 0.36529 | 0.00063852 | -0.0020139 | 0.025559 | 0.025513 | 0.025559 | 0.99125 | -0.37347 | 0.99271 | -0.289 | 3.9626
19 | -0.21788 | -0.10368 | 0.21788 | 0.10358 | 7.483e-06 | -9.6883e-05 | 0.006996 | 0.0069947 | 0.006996 | 0.99563 | -0.13598 | 0.99566 | -0.13574 | 3.3314
20 | 0.30373 | 0.14191 | -0.3037 | -0.14684 | 2.7231e-05 | -0.0049359 | 0.009785 | 0.009847 | 0.009847 | 0.98904 | -0.44512 | 0.98895 | -0.44437 | 4.4759
21 | 1.5286 | 0.65945 | -1.5286 | -0.66115 | 1.979e-05 | -0.0017004 | 0.048267 | 0.048287 | 0.048287 | 0.99566 | -0.13574 | 0.99565 | -0.13582 | 7.5685
22 | -1.7465 | -0.76304 | 1.7471 | 0.72324 | 0.00060275 | -0.039801 | 0.055258 | 0.054802 | 0.055258 | 0.99566 | -0.13574 | 0.99602 | -0.13343 | 8.6611
23 | -3.2032 | -1.3105 | 3.2032 | 1.3095 | 4.8218e-05 | -0.00094793 | 0.10009 | 0.10008 | 0.10009 | 0.99813 | -0.07019 | 0.99814 | -0.070076 | 15.6886
24 | 3.067 | 1.2445 | -3.067 | -1.2443 | 8.7225e-05 | 0.00019784 | 0.095729 | 0.095729 | 0.095729 | 0.99813 | -0.07019 | 0.99808 | -0.073385 | 14.8417
25 | -3.2032 | -1.3095 | 3.2036 | 1.3009 | 0.0004372 | -0.008606 | 0.10008 | 0.099986 | 0.10008 | 0.99814 | -0.070076 | 0.99829 | -0.069032 | 15.687
26 | 3.067 | 1.2443 | -3.0666 | -1.2513 | 0.00032184 | -0.0069259 | 0.095729 | 0.095806 | 0.095806 | 0.99808 | -0.073385 | 0.99797 | -0.074191 | 15.0167
27 | -0.89812 | -0.41393 | 0.89888 | 0.41245 | 0.00076427 | -0.0014821 | 0.028757 | 0.028714 | 0.028757 | 0.99271 | -0.289 | 0.99427 | -0.19932 | 4.4585
28 | -0.99478 | -0.45889 | 0.99499 | 0.45866 | 0.00020858 | -0.00022882 | 0.031807 | 0.031798 | 0.031807 | 0.99427 | -0.19932 | 0.99466 | -0.17725 | 4.9313
29 | -0.082866 | -0.040134 | 0.082867 | 0.039115 | 4.0359e-07 | -0.0010195 | 0.0026625 | 0.0026498 | 0.0026625 | 0.99828 | -0.068946 | 0.99828 | -0.068988 | 1.2102
30 | -0.082867 | -0.039115 | 0.082867 | 0.037928 | 4.6489e-07 | -0.0011864 | 0.0026498 | 0.0026353 | 0.0026498 | 0.99828 | -0.068988 | 0.99829 | -0.069032 | 1.2045
31 | 2.9843 | 1.2136 | -2.984 | -1.2129 | 0.00029451 | 0.00066123 | 0.093192 | 0.093194 | 0.093194 | 0.99793 | -0.074436 | 0.99776 | -0.085512 | 14.4486
32 | -3.0665 | -1.2534 | 3.0666 | 1.2513 | 9.8814e-05 | -0.0021239 | 0.09583 | 0.095806 | 0.09583 | 0.99793 | -0.074436 | 0.99797 | -0.074191 | 15.0204
33 | 2.8993 | 1.1719 | -2.8992 | -1.1716 | 0.00014814 | 0.00032861 | 0.090478 | 0.090479 | 0.090479 | 0.99776 | -0.085512 | 0.99766 | -0.091262 | 14.0277
34 | -0.11349 | -0.054966 | 0.1135 | 0.054749 | 4.3816e-06 | -0.00021676 | 0.0036494 | 0.0036466 | 0.0036494 | 0.99748 | -0.092011 | 0.99752 | -0.091754 | 1.7378
35 | 0.15418 | 0.068606 | -0.15418 | -0.071997 | 4.5834e-06 | -0.0033904 | 0.0048837 | 0.0049244 | 0.0049244 | 0.99752 | -0.091754 | 0.99749 | -0.091529 | 2.2384
36 | -0.26768 | -0.12336 | 0.26769 | 0.12076 | 1.0573e-05 | -0.0025928 | 0.0085293 | 0.0084982 | 0.0085293 | 0.99752 | -0.091754 | 0.99756 | -0.092053 | 3.877
37 | -2.4086 | -0.95142 | 2.4086 | 0.95031 | 3.138e-05 | -0.0011131 | 0.074941 | 0.074929 | 0.074941 | 0.99755 | -0.092161 | 0.99756 | -0.092053 | 11.7463
38 | 2.338 | 0.91722 | -2.3378 | -0.92465 | 0.0001971 | -0.0074306 | 0.072677 | 0.072757 | 0.072757 | 0.99755 | -0.092161 | 0.99746 | -0.092869 | 11.404
39 | -2.6763 | -1.0711 | 2.6764 | 1.0689 | 7.4566e-05 | -0.002127 | 0.083419 | 0.083395 | 0.083419 | 0.99756 | -0.092053 | 0.99759 | -0.091828 | 13.075
40 | -2.7767 | -1.1175 | 2.7768 | 1.1144 | 0.00011893 | -0.0031427 | 0.086613 | 0.086578 | 0.086613 | 0.99759 | -0.091828 | 0.99763 | -0.091487 | 13.5757
41 | -2.7768 | -1.1144 | 2.7769 | 1.1123 | 7.8201e-05 | -0.0020679 | 0.086578 | 0.086555 | 0.086578 | 0.99763 | -0.091487 | 0.99766 | -0.091262 | 13.5702
42 | 0.051031 | 0.022041 | -0.05102 | -0.02471 | 1.0595e-05 | -0.0026695 | 0.0016087 | 0.001641 | 0.001641 | 0.99749 | -0.091529 | 0.99727 | -0.093184 | 0.78141
43 | 2.0301 | 0.80141 | -2.0299 | -0.80111 | 0.00017368 | 0.00029972 | 0.063197 | 0.063199 | 0.063199 | 0.99696 | -0.10731 | 0.9968 | -0.11704 | 9.7983
44 | 3.6771 | 1.4794 | -3.6769 | -1.4788 | 0.00028019 | 0.00067088 | 0.11452 | 0.11452 | 0.11452 | 0.99911 | -0.055387 | 0.99898 | -0.06398 | 17.7552
45 | -3.8249 | -1.551 | 3.8268 | 1.5555 | 0.0018869 | 0.0045607 | 0.11925 | 0.11925 | 0.11925 | 0.99911 | -0.055387 | 1 | 0 | 18.4889
46 | 3.6769 | 1.4788 | -3.6748 | -1.5086 | 0.0020106 | -0.029868 | 0.11452 | 0.11486 | 0.11486 | 0.99898 | -0.06398 | 0.9984 | -0.068197 | 18.0029
47 | 0.18586 | 0.076287 | -0.18586 | -0.076393 | 5.4704e-06 | -0.00010551 | 0.0057998 | 0.005801 | 0.005801 | 1 | 0 | 0.99997 | -0.00031114 | 2.7624
48 | 3.6748 | 1.5086 | -3.6748 | -1.5094 | 5.4556e-05 | -0.0008074 | 0.11486 | 0.11487 | 0.11487 | 0.9984 | -0.068197 | 0.99839 | -0.068307 | 18.0043
49 | 0.12591 | 0.057004 | -0.12591 | -0.057578 | 5.1526e-07 | -0.00057402 | 0.0039963 | 0.0040031 | 0.0040031 | 0.99839 | -0.068307 | 0.99838 | -0.068277 | 1.8196
50 | 3.4148 | 1.3875 | -3.4145 | -1.3931 | 0.00032284 | -0.0055752 | 0.10658 | 0.10664 | 0.10664 | 0.99839 | -0.068307 | 0.99829 | -0.069032 | 16.7144
51 | -0.16296 | -0.078923 | 0.16296 | 0.078866 | 2.4392e-06 | -5.7467e-05 | 0.0052453 | 0.0052445 | 0.0052453 | 0.99648 | -0.11944 | 0.9965 | -0.11934 | 2.4977
52 | -2.0293 | -0.83034 | 2.0299 | 0.80111 | 0.00058758 | -0.029234 | 0.063519 | 0.063199 | 0.063519 | 0.9965 | -0.11934 | 0.9968 | -0.11704 | 9.9559
53 | 1.8664 | 0.75148 | -1.866 | -0.77601 | 0.00041885 | -0.024539 | 0.058285 | 0.058557 | 0.058557 | 0.9965 | -0.11934 | 0.99626 | -0.12103 | 9.1782
54 | 1.866 | 0.77601 | -1.8659 | -0.78095 | 8.4762e-05 | -0.0049363 | 0.058557 | 0.058613 | 0.058613 | 0.99626 | -0.12103 | 0.99622 | -0.12136 | 9.1869
55 | 0.086775 | 0.03998 | -0.086774 | -0.040965 | 4.2073e-07 | -0.00098465 | 0.0027581 | 0.0027702 | 0.0027702 | 0.99997 | -0.00031114 | 0.99996 | -0.00027241 | 1.2592
56 | 0.099084 | 0.036413 | -0.099078 | -0.047874 | 6.1936e-06 | -0.011461 | 0.0030474 | 0.0031768 | 0.0031768 | 0.99997 | -0.00031114 | 0.99991 | 7.9243e-05 | 1.444
57 | 0.086774 | 0.040965 | -0.086774 | -0.042027 | 4.5788e-07 | -0.0010619 | 0.0027702 | 0.0027834 | 0.0027834 | 0.99996 | -0.00027241 | 0.99996 | -0.00022773 | 1.2652
58 | 0.099078 | 0.047874 | -0.099078 | -0.047986 | 6.2959e-08 | -0.00011151 | 0.0031768 | 0.0031782 | 0.0031782 | 0.99991 | 7.9243e-05 | 0.99991 | 8.4766e-05 | 1.4446
59 | 1.7473 | 0.7235 | -1.7471 | -0.72324 | 0.00018961 | 0.00026731 | 0.0548 | 0.054802 | 0.054802 | 0.99622 | -0.12136 | 0.99602 | -0.13343 | 8.4965
60 | -0.1259 | -0.060978 | 0.12591 | 0.059389 | 1.4521e-06 | -0.0015894 | 0.004045 | 0.0040252 | 0.004045 | 0.99836 | -0.068076 | 0.99837 | -0.068174 | 1.8386
61 | -0.12591 | -0.059389 | 0.12591 | 0.057578 | 1.6369e-06 | -0.0018105 | 0.0040252 | 0.0040031 | 0.0040252 | 0.99837 | -0.068174 | 0.99838 | -0.068277 | 1.8296
62 | -1.1475 | -0.53254 | 1.1475 | 0.53134 | 8.0619e-06 | -0.0011991 | 0.036716 | 0.036701 | 0.036716 | 0.99466 | -0.17725 | 0.99467 | -0.17722 | 5.7548
63 | -1.1475 | -0.53134 | 1.1477 | 0.51057 | 0.00013865 | -0.020775 | 0.036701 | 0.036451 | 0.036701 | 0.99467 | -0.17722 | 0.99479 | -0.17659 | 5.7525
64 | 0.096725 | 0.045101 | -0.096724 | -0.046846 | 9.5207e-07 | -0.0017444 | 0.003097 | 0.0031187 | 0.0031187 | 0.99479 | -0.17659 | 0.99478 | -0.17651 | 1.4176
65 | -1.2444 | -0.55567 | 1.2447 | 0.55574 | 0.00032454 | 7.7029e-05 | 0.039547 | 0.039538 | 0.039547 | 0.99479 | -0.17659 | 0.99527 | -0.14865 | 6.1314
66 | 0.05196 | 0.021023 | -0.051959 | -0.025165 | 6.3598e-07 | -0.004142 | 0.0016258 | 0.0016745 | 0.0016745 | 0.99527 | -0.14865 | 0.99525 | -0.14857 | 0.76115
67 | -0.12796 | -0.061974 | 0.12796 | 0.061781 | 1.8296e-07 | -0.00019292 | 0.0041116 | 0.0041092 | 0.0041116 | 0.99823 | -0.068613 | 0.99824 | -0.068625 | 1.8689
68 | -0.12796 | -0.061781 | 0.12797 | 0.054229 | 6.9963e-06 | -0.0075519 | 0.0041092 | 0.004019 | 0.0041092 | 0.99824 | -0.068625 | 0.99829 | -0.069032 | 1.8678
69 | 0.16089 | 0.077676 | -0.16088 | -0.077918 | 1.0333e-05 | -0.00024234 | 0.0052151 | 0.0052182 | 0.0052182 | 0.98895 | -0.44437 | 0.98889 | -0.4448 | 2.4849

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 4.177 | 1.7151

## res_load
| p_mw | q_mvar
0 | 0.15145 | 0.073351
1 | 0.13336 | 0.064591
2 | 0.1052 | 0.050952
3 | 0.089182 | 0.043193
4 | 0.052806 | 0.025575
5 | 0.13722 | 0.066457
6 | 0.12868 | 0.062322
7 | 0.13611 | 0.06592
8 | 0.10042 | 0.048634
9 | 0.095898 | 0.046445
10 | 0.082866 | 0.040134
11 | 0.082248 | 0.039835
12 | 0.084655 | 0.041
13 | 0.11349 | 0.054966
14 | 0.070614 | 0.0342
15 | 0.10031 | 0.04858
16 | 0.10315 | 0.049956
17 | 0.15528 | 0.075207
18 | 0.14776 | 0.071563
19 | 0.15031 | 0.0728
20 | 0.13409 | 0.064942
21 | 0.16296 | 0.078923
22 | 0.099078 | 0.047986
23 | 0.11862 | 0.057448
24 | 0.1259 | 0.060978
25 | 0.086774 | 0.042027
26 | 0.15254 | 0.073878
27 | 0.096724 | 0.046846
28 | 0.051959 | 0.025165
29 | 0.12631 | 0.061174
30 | 0.05102 | 0.02471
31 | 0.10461 | 0.050666
32 | 0.12796 | 0.061974
33 | 0.12232 | 0.059245
34 | 0.14281 | 0.069168
35 | 0.16088 | 0.077918
36 | 0.064426 | 0.031203

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1