## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_184_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_184_0_node_289 | 20 | n |  | TRUE
2 | bus_MV_184_0_node_208 | 20 | n |  | TRUE
3 | bus_MV_184_0_node_1 | 20 | n |  | TRUE
4 | bus_MV_184_0_node_266 | 20 | n |  | TRUE
5 | bus_MV_184_0_node_31 | 20 | n |  | TRUE
6 | bus_MV_184_0_node_2 | 20 | n |  | TRUE
7 | bus_MV_184_0_node_3 | 20 | n |  | TRUE
8 | bus_MV_184_0_node_4 | 20 | n |  | TRUE
9 | bus_MV_184_0_node_7 | 20 | n |  | TRUE
10 | bus_MV_184_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_184_0_node_6 | 20 | n |  | TRUE
12 | bus_MV_184_0_node_9 | 20 | n |  | TRUE
13 | bus_MV_184_0_node_270 | 20 | n |  | TRUE
14 | bus_MV_184_0_node_283 | 20 | n |  | TRUE
15 | bus_MV_184_0_node_8 | 20 | n |  | TRUE
16 | bus_MV_184_0_node_209 | 20 | n |  | TRUE
17 | bus_MV_184_0_node_267 | 20 | n |  | TRUE
18 | bus_MV_184_0_node_284 | 20 | n |  | TRUE
19 | bus_MV_184_0_node_211 | 20 | n |  | TRUE
20 | bus_MV_184_0_node_285 | 20 | n |  | TRUE
21 | bus_MV_184_0_node_286 | 20 | n |  | TRUE
22 | bus_MV_184_0_node_30 | 20 | n |  | TRUE
23 | bus_MV_184_0_node_288 | 20 | n |  | TRUE
24 | bus_MV_184_0_node_212 | 20 | n |  | TRUE
25 | bus_MV_184_0_node_292 | 20 | n |  | TRUE
26 | bus_MV_184_0_node_207 | 20 | n |  | TRUE
27 | bus_MV_184_0_node_210 | 20 | n |  | TRUE
28 | bus_HV_184_0_node_209 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_184_0_load_0 | 0 | 0.061905 | 0.029982 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_184_0_load_289 | 1 | 0.11402 | 0.055221 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_184_0_load_1 | 3 | 0.12538 | 0.060722 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_184_0_load_2 | 6 | 0.14991 | 0.072603 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_184_0_load_7 | 9 | 0.054281 | 0.02629 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_184_0_load_9 | 12 | 0.14975 | 0.072529 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_184_0_load_270 | 13 | 0.074729 | 0.036193 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_184_0_load_283 | 14 | 0.15667 | 0.075878 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_184_0_load_209 | 16 | 0.10824 | 0.052424 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_184_0_load_267 | 17 | 0.065727 | 0.031833 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_184_0_load_284 | 18 | 0.099271 | 0.048079 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_184_0_load_30 | 22 | 0.11895 | 0.05761 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_184_0_load_288 | 23 | 0.1376 | 0.066642 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_184_0_load_212 | 24 | 0.15785 | 0.076451 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_184_0_load_292 | 25 | 0.078779 | 0.038155 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_184_0_load_207 | 26 | 0.128 | 0.061993 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_184_0_line_0 |  | 0 | 1 | 1.8295 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_184_0_line_1 |  | 0 | 2 | 2.2637 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_184_0_line_2 |  | 1 | 24 | 1.8576 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_184_0_line_3 |  | 2 | 26 | 0.025146 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_184_0_line_4 |  | 3 | 4 | 0.92169 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_184_0_line_5 |  | 3 | 5 | 1.2565 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_184_0_line_6 |  | 4 | 17 | 0.1377 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_184_0_line_7 |  | 5 | 22 | 0.020299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_184_0_line_8 |  | 6 | 7 | 0.034069 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_184_0_line_9 |  | 7 | 8 | 0.49379 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_184_0_line_10 |  | 7 | 9 | 0.921 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_184_0_line_11 |  | 8 | 10 | 0.76403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_184_0_line_12 |  | 8 | 11 | 0.41245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_184_0_line_13 |  | 8 | 12 | 0.051506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_184_0_line_14 |  | 9 | 15 | 0.016514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_184_0_line_15 |  | 10 | 13 | 0.06191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_184_0_line_16 |  | 11 | 14 | 0.037979 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_184_0_line_17 |  | 15 | 16 | 1.8077 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_184_0_line_18 |  | 16 | 27 | 0.046066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_184_0_line_19 |  | 16 | 17 | 0.52524 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_184_0_line_20 |  | 18 | 19 | 0.17911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_184_0_line_21 |  | 18 | 20 | 0.024027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_184_0_line_22 |  | 19 | 27 | 0.58626 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_184_0_line_23 |  | 20 | 21 | 0.70203 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_184_0_line_24 |  | 21 | 23 | 0.08109 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_184_0_line_25 |  | 23 | 24 | 0.71411 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_184_0_line_26 |  | 25 | 26 | 1.3494 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_184_0_trafo_209 | 25 MVA 110/20 kV | 28 | 16 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2619758.1878 | 1218822.5896
1 | 2617988.7344 | 1219287.6245
2 | 2619340.1978 | 1221047.4078
3 | 2616014.5117 | 1222955.088
4 | 2616913.7975 | 1222753.0814
5 | 2615906.2708 | 1221703.2157
6 | 2616768.6557 | 1225079.6112
7 | 2616802.2465 | 1225073.9245
8 | 2617028.2342 | 1225366.1697
9 | 2617626.4342 | 1224662.892
10 | 2617303.5982 | 1225561.6318
11 | 2616836.3655 | 1225579.7402
12 | 2617067.5639 | 1225399.5571
13 | 2617361.5744 | 1225583.7353
14 | 2616853.3094 | 1225613.7303
15 | 2617623.6999 | 1224646.6077
16 | 2617547.0549 | 1222840.5699
17 | 2617021.8169 | 1222838.8715
18 | 2617824.9449 | 1222378.579
19 | 2617736.1452 | 1222530.8256
20 | 2617814.9459 | 1222356.7587
21 | 2617397.98 | 1221814.27
22 | 2615887.1746 | 1221696.4499
23 | 2617340.5771 | 1221757.1032
24 | 2617651.9865 | 1221114.4756
25 | 2619627.2544 | 1222387.2459
26 | 2619358.271 | 1221064.9432
27 | 2617572.27 | 1222801.9771
28 | 2617547.0549 | 1222840.5699

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99545 | -0.010998 | 0.061905 | 0.029982
1 | 0.9964 | -0.0040761 | 0.11402 | 0.055221
2 | 0.99455 | -0.017396 | 0 | 0
3 | 0.99921 | -0.0048284 | 0.12538 | 0.060722
4 | 0.99965 | -0.0019055 | 0 | 0
5 | 0.99892 | -0.0067699 | 0 | 0
6 | 0.99709 | -0.029062 | 0.14991 | 0.072603
7 | 0.9971 | -0.029 | 0 | 0
8 | 0.99686 | -0.027891 | 0 | 0
9 | 0.99801 | -0.019676 | 0.054281 | 0.02629
10 | 0.99679 | -0.027719 | 0 | 0
11 | 0.99678 | -0.027243 | 0 | 0
12 | 0.99685 | -0.0278 | 0.14975 | 0.072529
13 | 0.99679 | -0.027667 | 0.074729 | 0.036193
14 | 0.99677 | -0.027316 | 0.15667 | 0.075878
15 | 0.99802 | -0.019746 | 0 | 0
16 | 1 | 0 | -1.6912 | -0.72127
17 | 0.99969 | -0.0022672 | 0.065727 | 0.031833
18 | 0.99921 | 0.0055576 | 0.099271 | 0.048079
19 | 0.99938 | 0.0042439 | 0 | 0
20 | 0.99918 | 0.0057089 | 0 | 0
21 | 0.99858 | 0.010523 | 0 | 0
22 | 0.99892 | -0.0067412 | 0.11895 | 0.05761
23 | 0.99851 | 0.011128 | 0.1376 | 0.066642
24 | 0.99777 | 0.0058572 | 0.15785 | 0.076451
25 | 0.99434 | -0.018728 | 0.078779 | 0.038155
26 | 0.99454 | -0.017337 | 0.128 | 0.061993
27 | 0.99996 | 0.00028845 | 0 | 0
28 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26888 | -0.12539 | 0.26912 | 0.12337 | 0.00024054 | -0.0020157 | 0.0086035 | 0.0085771 | 0.0086035 | 0.99545 | -0.010998 | 0.9964 | -0.0040761 | 4.0969
1 | 0.20697 | 0.095406 | -0.2068 | -0.097971 | 0.00017705 | -0.0025646 | 0.006609 | 0.0066419 | 0.0066419 | 0.99545 | -0.010998 | 0.99455 | -0.017396 | 3.1628
2 | -0.38314 | -0.17859 | 0.38363 | 0.1767 | 0.00049532 | -0.0018945 | 0.012247 | 0.01222 | 0.012247 | 0.9964 | -0.0040761 | 0.99777 | 0.0058572 | 5.8318
3 | 0.2068 | 0.097971 | -0.20679 | -0.098564 | 1.4826e-06 | -0.00059342 | 0.0066419 | 0.0066493 | 0.0066493 | 0.99455 | -0.017396 | 0.99454 | -0.017337 | 3.0224
4 | -0.24436 | -0.11637 | 0.24446 | 0.11534 | 0.00010023 | -0.0010363 | 0.0078193 | 0.0078057 | 0.0078193 | 0.99921 | -0.0048284 | 0.99965 | -0.0019055 | 3.7235
5 | 0.11898 | 0.05565 | -0.11895 | -0.057127 | 3.2397e-05 | -0.001477 | 0.0037949 | 0.0038134 | 0.0038134 | 0.99921 | -0.0048284 | 0.99892 | -0.0067699 | 1.8159
6 | -0.24446 | -0.11534 | 0.24447 | 0.11205 | 1.1143e-05 | -0.0032823 | 0.0078057 | 0.0077656 | 0.0078057 | 0.99965 | -0.0019055 | 0.99969 | -0.0022672 | 3.548
7 | 0.11895 | 0.057127 | -0.11895 | -0.05761 | 3.947e-07 | -0.0004835 | 0.0038134 | 0.0038195 | 0.0038195 | 0.99892 | -0.0067699 | 0.99892 | -0.0067412 | 1.7361
8 | -0.14991 | -0.072603 | 0.14991 | 0.072563 | 1.4114e-06 | -3.9551e-05 | 0.0048223 | 0.0048218 | 0.0048223 | 0.99709 | -0.029062 | 0.9971 | -0.029 | 2.2963
9 | 0.38127 | 0.14227 | -0.38118 | -0.15396 | 9.2445e-05 | -0.011691 | 0.011782 | 0.011905 | 0.011905 | 0.9971 | -0.029 | 0.99686 | -0.027891 | 5.4112
10 | -0.53118 | -0.21483 | 0.53163 | 0.21402 | 0.00045123 | -0.00081148 | 0.016589 | 0.016577 | 0.016589 | 0.9971 | -0.029 | 0.99801 | -0.019676 | 7.8993
11 | 0.074735 | 0.016599 | -0.074729 | -0.034724 | 5.3406e-06 | -0.018125 | 0.0022169 | 0.0023864 | 0.0023864 | 0.99686 | -0.027891 | 0.99679 | -0.027719 | 1.0847
12 | 0.15668 | 0.066053 | -0.15667 | -0.075834 | 1.366e-05 | -0.0097812 | 0.004924 | 0.0050409 | 0.0050409 | 0.99686 | -0.027891 | 0.99678 | -0.027243 | 2.2913
13 | 0.14976 | 0.071308 | -0.14975 | -0.072529 | 1.5914e-06 | -0.0012216 | 0.0048032 | 0.0048185 | 0.0048185 | 0.99686 | -0.027891 | 0.99685 | -0.0278 | 2.1902
14 | -0.58591 | -0.24031 | 0.58592 | 0.23992 | 7.3954e-06 | -0.00039053 | 0.018318 | 0.018313 | 0.018318 | 0.99801 | -0.019676 | 0.99802 | -0.019746 | 8.3261
15 | 0.074729 | 0.034724 | -0.074729 | -0.036193 | 4.7426e-07 | -0.0014686 | 0.0023864 | 0.0024047 | 0.0024047 | 0.99679 | -0.027719 | 0.99679 | -0.027667 | 1.093
16 | 0.15667 | 0.075834 | -0.15667 | -0.075878 | 1.7197e-06 | -4.3971e-05 | 0.0050409 | 0.0050415 | 0.0050415 | 0.99678 | -0.027243 | 0.99677 | -0.027316 | 2.4007
17 | -0.58592 | -0.23992 | 0.58699 | 0.23844 | 0.0010788 | -0.001478 | 0.018313 | 0.01829 | 0.018313 | 0.99802 | -0.019746 | 1 | 0 | 8.7206
18 | 0.77989 | 0.32902 | -0.77985 | -0.33011 | 3.6737e-05 | -0.0010889 | 0.024435 | 0.024447 | 0.024447 | 1 | 0 | 0.99996 | 0.00028845 | 11.1124
19 | 0.31029 | 0.14332 | -0.3102 | -0.14389 | 9.117e-05 | -0.00056973 | 0.0098665 | 0.0098741 | 0.0098741 | 1 | 0 | 0.99969 | -0.0022672 | 4.702
20 | -0.77923 | -0.34818 | 0.77938 | 0.34395 | 0.00014509 | -0.0042274 | 0.024658 | 0.024608 | 0.024658 | 0.99921 | 0.0055576 | 0.99938 | 0.0042439 | 11.208
21 | 0.67996 | 0.3001 | -0.67995 | -0.30067 | 1.4794e-05 | -0.00056836 | 0.021473 | 0.021479 | 0.021479 | 0.99921 | 0.0055576 | 0.99918 | 0.0057089 | 9.7633
22 | -0.77938 | -0.34395 | 0.77985 | 0.33011 | 0.00047081 | -0.013849 | 0.024608 | 0.024447 | 0.024608 | 0.99938 | 0.0042439 | 0.99996 | 0.00028845 | 11.1852
23 | 0.67995 | 0.30067 | -0.67951 | -0.31727 | 0.00043638 | -0.016595 | 0.021479 | 0.021679 | 0.021679 | 0.99918 | 0.0057089 | 0.99858 | 0.010523 | 9.8542
24 | 0.67951 | 0.31727 | -0.67946 | -0.31918 | 5.0935e-05 | -0.0019154 | 0.021679 | 0.021703 | 0.021703 | 0.99858 | 0.010523 | 0.99851 | 0.011128 | 9.865
25 | 0.54186 | 0.25254 | -0.54148 | -0.25315 | 0.00038029 | -0.00061113 | 0.017283 | 0.017294 | 0.017294 | 0.99851 | 0.011128 | 0.99777 | 0.0058572 | 8.2351
26 | -0.078779 | -0.038155 | 0.078795 | 0.036571 | 1.5404e-05 | -0.0015834 | 0.0025412 | 0.0025214 | 0.0025412 | 0.99434 | -0.018728 | 0.99454 | -0.017337 | 1.2101

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 1.7994 | 0.7737

## res_load
| p_mw | q_mvar
0 | 0.061905 | 0.029982
1 | 0.11402 | 0.055221
2 | 0.12538 | 0.060722
3 | 0.14991 | 0.072603
4 | 0.054281 | 0.02629
5 | 0.14975 | 0.072529
6 | 0.074729 | 0.036193
7 | 0.15667 | 0.075878
8 | 0.10824 | 0.052424
9 | 0.065727 | 0.031833
10 | 0.099271 | 0.048079
11 | 0.11895 | 0.05761
12 | 0.1376 | 0.066642
13 | 0.15785 | 0.076451
14 | 0.078779 | 0.038155
15 | 0.128 | 0.061993

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1