## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_186_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_186_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_186_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_186_0_node_316 | 20 | n |  | TRUE
4 | bus_MV_186_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_186_0_node_50 | 20 | n |  | TRUE
6 | bus_MV_186_0_node_51 | 20 | n |  | TRUE
7 | bus_MV_186_0_node_67 | 20 | n |  | TRUE
8 | bus_MV_186_0_node_52 | 20 | n |  | TRUE
9 | bus_MV_186_0_node_54 | 20 | n |  | TRUE
10 | bus_MV_186_0_node_53 | 20 | n |  | TRUE
11 | bus_MV_186_0_node_55 | 20 | n |  | TRUE
12 | bus_MV_186_0_node_56 | 20 | n |  | TRUE
13 | bus_MV_186_0_node_62 | 20 | n |  | TRUE
14 | bus_MV_186_0_node_109 | 20 | n |  | TRUE
15 | bus_MV_186_0_node_57 | 20 | n |  | TRUE
16 | bus_MV_186_0_node_95 | 20 | n |  | TRUE
17 | bus_MV_186_0_node_60 | 20 | n |  | TRUE
18 | bus_MV_186_0_node_58 | 20 | n |  | TRUE
19 | bus_MV_186_0_node_106 | 20 | n |  | TRUE
20 | bus_MV_186_0_node_59 | 20 | n |  | TRUE
21 | bus_MV_186_0_node_61 | 20 | n |  | TRUE
22 | bus_MV_186_0_node_63 | 20 | n |  | TRUE
23 | bus_MV_186_0_node_91 | 20 | n |  | TRUE
24 | bus_MV_186_0_node_64 | 20 | n |  | TRUE
25 | bus_MV_186_0_node_66 | 20 | n |  | TRUE
26 | bus_MV_186_0_node_307 | 20 | n |  | TRUE
27 | bus_MV_186_0_node_68 | 20 | n |  | TRUE
28 | bus_MV_186_0_node_93 | 20 | n |  | TRUE
29 | bus_MV_186_0_node_72 | 20 | n |  | TRUE
30 | bus_MV_186_0_node_152 | 20 | n |  | TRUE
31 | bus_MV_186_0_node_284 | 20 | n |  | TRUE
32 | bus_MV_186_0_node_73 | 20 | n |  | TRUE
33 | bus_MV_186_0_node_88 | 20 | n |  | TRUE
34 | bus_MV_186_0_node_85 | 20 | n |  | TRUE
35 | bus_MV_186_0_node_74 | 20 | n |  | TRUE
36 | bus_MV_186_0_node_83 | 20 | n |  | TRUE
37 | bus_MV_186_0_node_75 | 20 | n |  | TRUE
38 | bus_MV_186_0_node_76 | 20 | n |  | TRUE
39 | bus_MV_186_0_node_77 | 20 | n |  | TRUE
40 | bus_MV_186_0_node_103 | 20 | n |  | TRUE
41 | bus_MV_186_0_node_104 | 20 | n |  | TRUE
42 | bus_MV_186_0_node_78 | 20 | n |  | TRUE
43 | bus_MV_186_0_node_79 | 20 | n |  | TRUE
44 | bus_MV_186_0_node_80 | 20 | n |  | TRUE
45 | bus_MV_186_0_node_81 | 20 | n |  | TRUE
46 | bus_MV_186_0_node_82 | 20 | n |  | TRUE
47 | bus_MV_186_0_node_285 | 20 | n |  | TRUE
48 | bus_MV_186_0_node_84 | 20 | n |  | TRUE
49 | bus_MV_186_0_node_86 | 20 | n |  | TRUE
50 | bus_MV_186_0_node_87 | 20 | n |  | TRUE
51 | bus_MV_186_0_node_101 | 20 | n |  | TRUE
52 | bus_MV_186_0_node_89 | 20 | n |  | TRUE
53 | bus_MV_186_0_node_90 | 20 | n |  | TRUE
54 | bus_MV_186_0_node_286 | 20 | n |  | TRUE
55 | bus_MV_186_0_node_92 | 20 | n |  | TRUE
56 | bus_MV_186_0_node_325 | 20 | n |  | TRUE
57 | bus_MV_186_0_node_96 | 20 | n |  | TRUE
58 | bus_MV_186_0_node_98 | 20 | n |  | TRUE
59 | bus_MV_186_0_node_97 | 20 | n |  | TRUE
60 | bus_MV_186_0_node_99 | 20 | n |  | TRUE
61 | bus_MV_186_0_node_105 | 20 | n |  | TRUE
62 | bus_MV_186_0_node_100 | 20 | n |  | TRUE
63 | bus_MV_186_0_node_326 | 20 | n |  | TRUE
64 | bus_MV_186_0_node_102 | 20 | n |  | TRUE
65 | bus_MV_186_0_node_107 | 20 | n |  | TRUE
66 | bus_MV_186_0_node_108 | 20 | n |  | TRUE
67 | bus_MV_186_0_node_111 | 20 | n |  | TRUE
68 | bus_MV_186_0_node_110 | 20 | n |  | TRUE
69 | bus_MV_186_0_node_112 | 20 | n |  | TRUE
70 | bus_MV_186_0_node_113 | 20 | n |  | TRUE
71 | bus_MV_186_0_node_114 | 20 | n |  | TRUE
72 | bus_MV_186_0_node_120 | 20 | n |  | TRUE
73 | bus_MV_186_0_node_115 | 20 | n |  | TRUE
74 | bus_MV_186_0_node_116 | 20 | n |  | TRUE
75 | bus_MV_186_0_node_122 | 20 | n |  | TRUE
76 | bus_MV_186_0_node_310 | 20 | n |  | TRUE
77 | bus_MV_186_0_node_117 | 20 | n |  | TRUE
78 | bus_MV_186_0_node_118 | 20 | n |  | TRUE
79 | bus_MV_186_0_node_119 | 20 | n |  | TRUE
80 | bus_MV_186_0_node_139 | 20 | n |  | TRUE
81 | bus_MV_186_0_node_287 | 20 | n |  | TRUE
82 | bus_MV_186_0_node_121 | 20 | n |  | TRUE
83 | bus_MV_186_0_node_123 | 20 | n |  | TRUE
84 | bus_MV_186_0_node_124 | 20 | n |  | TRUE
85 | bus_MV_186_0_node_318 | 20 | n |  | TRUE
86 | bus_MV_186_0_node_125 | 20 | n |  | TRUE
87 | bus_MV_186_0_node_126 | 20 | n |  | TRUE
88 | bus_MV_186_0_node_127 | 20 | n |  | TRUE
89 | bus_MV_186_0_node_320 | 20 | n |  | TRUE
90 | bus_MV_186_0_node_128 | 20 | n |  | TRUE
91 | bus_MV_186_0_node_129 | 20 | n |  | TRUE
92 | bus_MV_186_0_node_130 | 20 | n |  | TRUE
93 | bus_MV_186_0_node_131 | 20 | n |  | TRUE
94 | bus_MV_186_0_node_138 | 20 | n |  | TRUE
95 | bus_MV_186_0_node_132 | 20 | n |  | TRUE
96 | bus_MV_186_0_node_133 | 20 | n |  | TRUE
97 | bus_MV_186_0_node_136 | 20 | n |  | TRUE
98 | bus_MV_186_0_node_135 | 20 | n |  | TRUE
99 | bus_MV_186_0_node_137 | 20 | n |  | TRUE
100 | bus_MV_186_0_node_140 | 20 | n |  | TRUE
101 | bus_MV_186_0_node_141 | 20 | n |  | TRUE
102 | bus_MV_186_0_node_145 | 20 | n |  | TRUE
103 | bus_MV_186_0_node_142 | 20 | n |  | TRUE
104 | bus_MV_186_0_node_144 | 20 | n |  | TRUE
105 | bus_MV_186_0_node_143 | 20 | n |  | TRUE
106 | bus_MV_186_0_node_311 | 20 | n |  | TRUE
107 | bus_MV_186_0_node_146 | 20 | n |  | TRUE
108 | bus_MV_186_0_node_148 | 20 | n |  | TRUE
109 | bus_MV_186_0_node_147 | 20 | n |  | TRUE
110 | bus_MV_186_0_node_149 | 20 | n |  | TRUE
111 | bus_MV_186_0_node_151 | 20 | n |  | TRUE
112 | bus_MV_186_0_node_291 | 20 | n |  | TRUE
113 | bus_MV_186_0_node_277 | 20 | n |  | TRUE
114 | bus_MV_186_0_node_278 | 20 | n |  | TRUE
115 | bus_MV_186_0_node_279 | 20 | n |  | TRUE
116 | bus_MV_186_0_node_283 | 20 | n |  | TRUE
117 | bus_MV_186_0_node_280 | 20 | n |  | TRUE
118 | bus_MV_186_0_node_281 | 20 | n |  | TRUE
119 | bus_MV_186_0_node_282 | 20 | n |  | TRUE
120 | bus_MV_186_0_node_309 | 20 | n |  | TRUE
121 | bus_MV_186_0_node_308 | 20 | n |  | TRUE
122 | bus_MV_186_0_node_317 | 20 | n |  | TRUE
123 | bus_MV_186_0_node_319 | 20 | n |  | TRUE
124 | bus_HV_186_0_node_286 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_186_0_load_0 | 0 | 0.14382 | 0.069655 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_186_0_load_316 | 3 | 0.13807 | 0.06687 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_186_0_load_4 | 4 | 0.12431 | 0.060206 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_186_0_load_50 | 5 | 0.14332 | 0.069415 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_186_0_load_52 | 8 | 0.09132 | 0.044228 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_186_0_load_54 | 9 | 0.14404 | 0.069762 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_186_0_load_55 | 11 | 0.15048 | 0.07288 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_186_0_load_109 | 14 | 0.10336 | 0.05006 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_186_0_load_57 | 15 | 0.15185 | 0.073544 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_186_0_load_95 | 16 | 0.12631 | 0.061174 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_186_0_load_60 | 17 | 0.16053 | 0.077747 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_186_0_load_58 | 18 | 0.064325 | 0.031154 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_186_0_load_59 | 20 | 0.15096 | 0.073112 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_186_0_load_61 | 21 | 0.12144 | 0.058815 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_186_0_load_63 | 22 | 0.096547 | 0.04676 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_186_0_load_64 | 24 | 0.14568 | 0.070554 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_186_0_load_307 | 26 | 0.12347 | 0.0598 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_186_0_load_68 | 27 | 0.10115 | 0.048991 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_186_0_load_152 | 30 | 0.1115 | 0.054003 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_186_0_load_284 | 31 | 0.079184 | 0.038351 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_186_0_load_73 | 32 | 0.15972 | 0.077356 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_186_0_load_74 | 35 | 0.16157 | 0.078253 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_186_0_load_83 | 36 | 0.15852 | 0.076776 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_186_0_load_77 | 39 | 0.073037 | 0.035373 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_186_0_load_104 | 41 | 0.069627 | 0.033722 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_186_0_load_78 | 42 | 0.1189 | 0.057586 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_186_0_load_79 | 43 | 0.16375 | 0.079308 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_186_0_load_81 | 45 | 0.14755 | 0.07146 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_186_0_load_285 | 47 | 0.092336 | 0.044721 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_186_0_load_84 | 48 | 0.1473 | 0.071341 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_186_0_load_87 | 50 | 0.12422 | 0.060161 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_186_0_load_101 | 51 | 0.15368 | 0.07443 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_186_0_load_89 | 52 | 0.12665 | 0.061337 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_186_0_load_286 | 54 | 0.27486 | 0.13312 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_186_0_load_92 | 55 | 0.16471 | 0.079773 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_186_0_load_325 | 56 | 0.12105 | 0.058629 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_186_0_load_96 | 57 | 0.11292 | 0.05469 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_186_0_load_98 | 58 | 0.075284 | 0.036461 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_186_0_load_105 | 61 | 0.13303 | 0.06443 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_186_0_load_326 | 63 | 0.11144 | 0.053973 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_186_0_load_102 | 64 | 0.082965 | 0.040182 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_186_0_load_107 | 65 | 0.074117 | 0.035897 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_186_0_load_111 | 67 | 0.1053 | 0.050999 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_186_0_load_112 | 69 | 0.070672 | 0.034228 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_186_0_load_120 | 72 | 0.13669 | 0.0662 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_186_0_load_115 | 73 | 0.12569 | 0.060875 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_186_0_load_117 | 77 | 0.061898 | 0.029979 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_186_0_load_139 | 80 | 0.14756 | 0.071469 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_186_0_load_287 | 81 | 0.24111 | 0.11677 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_186_0_load_123 | 83 | 0.11008 | 0.053316 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_186_0_load_125 | 86 | 0.052732 | 0.025539 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_186_0_load_127 | 88 | 0.108 | 0.052309 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_186_0_load_131 | 93 | 0.076245 | 0.036927 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_186_0_load_138 | 94 | 0.15384 | 0.074509 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_186_0_load_132 | 95 | 0.070628 | 0.034207 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_186_0_load_137 | 99 | 0.15607 | 0.075588 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_186_0_load_145 | 102 | 0.15547 | 0.075297 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_186_0_load_142 | 103 | 0.1339 | 0.064853 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_186_0_load_143 | 105 | 0.15142 | 0.073334 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_186_0_load_311 | 106 | 0.15772 | 0.076389 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_186_0_load_146 | 107 | 0.15915 | 0.07708 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_186_0_load_291 | 112 | 0.12774 | 0.061867 | 0 | 0 |  | 1 | TRUE | wye
62 | MV_186_0_load_277 | 113 | 0.1297 | 0.062816 | 0 | 0 |  | 1 | TRUE | wye
63 | MV_186_0_load_279 | 115 | 0.068636 | 0.033242 | 0 | 0 |  | 1 | TRUE | wye
64 | MV_186_0_load_280 | 117 | 0.061363 | 0.029719 | 0 | 0 |  | 1 | TRUE | wye
65 | MV_186_0_load_309 | 120 | 0.15223 | 0.073728 | 0 | 0 |  | 1 | TRUE | wye
66 | MV_186_0_load_308 | 121 | 0.099527 | 0.048203 | 0 | 0 |  | 1 | TRUE | wye
67 | MV_186_0_load_317 | 122 | 0.1246 | 0.060347 | 0 | 0 |  | 1 | TRUE | wye
68 | MV_186_0_load_319 | 123 | 0.16351 | 0.07919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_186_0_line_0 |  | 0 | 1 | 0.025061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_186_0_line_1 |  | 1 | 2 | 0.40766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_186_0_line_2 |  | 1 | 3 | 5.8784 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_186_0_line_3 |  | 2 | 4 | 0.039745 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_186_0_line_4 |  | 3 | 79 | 0.032987 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_186_0_line_5 |  | 5 | 6 | 0.035532 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_186_0_line_6 |  | 5 | 7 | 0.11148 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
7 | MV_186_0_line_7 |  | 5 | 8 | 0.14238 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
8 | MV_186_0_line_8 |  | 6 | 9 | 0.015345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_186_0_line_9 |  | 7 | 26 | 0.096883 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
10 | MV_186_0_line_10 |  | 8 | 10 | 0.076935 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
11 | MV_186_0_line_11 |  | 8 | 11 | 0.086283 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_186_0_line_12 |  | 9 | 13 | 0.026692 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_186_0_line_13 |  | 10 | 12 | 0.021196 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
14 | MV_186_0_line_14 |  | 12 | 14 | 0.078205 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
15 | MV_186_0_line_15 |  | 13 | 22 | 0.079711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_186_0_line_16 |  | 14 | 68 | 0.010397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_186_0_line_17 |  | 15 | 16 | 0.10441 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_186_0_line_18 |  | 15 | 17 | 0.089824 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_186_0_line_19 |  | 17 | 18 | 0.069442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_186_0_line_20 |  | 18 | 19 | 0.069769 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_186_0_line_21 |  | 19 | 65 | 0.067542 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_186_0_line_22 |  | 19 | 21 | 0.066172 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_186_0_line_23 |  | 19 | 61 | 0.062607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_186_0_line_24 |  | 20 | 21 | 0.015351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_186_0_line_25 |  | 22 | 23 | 0.083242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_186_0_line_26 |  | 23 | 25 | 0.004231 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_186_0_line_27 |  | 24 | 25 | 0.055831 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_186_0_line_28 |  | 26 | 52 | 0.12868 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
29 | MV_186_0_line_29 |  | 27 | 28 | 0.048441 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_186_0_line_30 |  | 28 | 56 | 0.067404 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_186_0_line_31 |  | 28 | 55 | 0.043592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_186_0_line_32 |  | 29 | 30 | 0.098535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_186_0_line_33 |  | 29 | 31 | 0.35338 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_186_0_line_34 |  | 30 | 110 | 0.08541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_186_0_line_35 |  | 31 | 45 | 0.060538 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_186_0_line_36 |  | 32 | 33 | 0.029955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_186_0_line_37 |  | 32 | 34 | 0.040313 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_186_0_line_38 |  | 33 | 49 | 0.015857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_186_0_line_39 |  | 34 | 48 | 0.006103 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_186_0_line_40 |  | 35 | 36 | 0.51138 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_186_0_line_41 |  | 36 | 39 | 0.75637 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_186_0_line_42 |  | 36 | 44 | 0.11101 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_186_0_line_43 |  | 37 | 38 | 0.20976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_186_0_line_44 |  | 37 | 39 | 0.30044 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_186_0_line_45 |  | 37 | 40 | 0.15551 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_186_0_line_46 |  | 38 | 41 | 0.17985 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_186_0_line_47 |  | 40 | 64 | 0.099083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_186_0_line_48 |  | 42 | 43 | 0.044185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_186_0_line_49 |  | 43 | 44 | 0.13458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_186_0_line_50 |  | 44 | 45 | 0.013455 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_186_0_line_51 |  | 44 | 46 | 0.2253 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_186_0_line_52 |  | 45 | 47 | 0.056075 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_186_0_line_53 |  | 46 | 48 | 0.041906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_186_0_line_54 |  | 49 | 50 | 0.015275 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_186_0_line_55 |  | 49 | 51 | 0.061237 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_186_0_line_56 |  | 51 | 62 | 0.029808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_186_0_line_57 |  | 52 | 53 | 0.06489 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
58 | MV_186_0_line_58 |  | 53 | 54 | 1.0472 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
59 | MV_186_0_line_59 |  | 54 | 98 | 0.41313 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
60 | MV_186_0_line_60 |  | 54 | 119 | 7.6378 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_186_0_line_61 |  | 56 | 63 | 0.049224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_186_0_line_62 |  | 57 | 58 | 0.073191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_186_0_line_63 |  | 57 | 59 | 0.045842 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_186_0_line_64 |  | 58 | 61 | 0.078363 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_186_0_line_65 |  | 59 | 60 | 0.022921 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_186_0_line_66 |  | 60 | 62 | 0.030155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_186_0_line_67 |  | 60 | 63 | 0.021312 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_186_0_line_68 |  | 65 | 66 | 0.051329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_186_0_line_69 |  | 66 | 67 | 0.049754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_186_0_line_70 |  | 67 | 68 | 0.017755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_186_0_line_71 |  | 69 | 70 | 0.022994 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_186_0_line_72 |  | 70 | 71 | 0.16765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_186_0_line_73 |  | 71 | 72 | 0.1492 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_186_0_line_74 |  | 72 | 82 | 0.01271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_186_0_line_75 |  | 73 | 74 | 0.06594 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
76 | MV_186_0_line_76 |  | 73 | 75 | 1.5999 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
77 | MV_186_0_line_77 |  | 74 | 76 | 2.5148 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
78 | MV_186_0_line_78 |  | 75 | 83 | 0.012782 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
79 | MV_186_0_line_79 |  | 75 | 82 | 0.79181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_186_0_line_80 |  | 76 | 106 | 0.015681 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
81 | MV_186_0_line_81 |  | 77 | 78 | 0.087792 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_186_0_line_82 |  | 78 | 79 | 0.54857 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
83 | MV_186_0_line_83 |  | 78 | 80 | 1.2974 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
84 | MV_186_0_line_84 |  | 79 | 81 | 1.4423 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
85 | MV_186_0_line_85 |  | 80 | 100 | 0.1018 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
86 | MV_186_0_line_86 |  | 81 | 97 | 0.13745 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
87 | MV_186_0_line_87 |  | 83 | 84 | 0.052961 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
88 | MV_186_0_line_88 |  | 84 | 85 | 1.476 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
89 | MV_186_0_line_89 |  | 85 | 122 | 0.051418 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
90 | MV_186_0_line_90 |  | 86 | 87 | 0.12624 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
91 | MV_186_0_line_91 |  | 86 | 88 | 0.82081 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
92 | MV_186_0_line_92 |  | 87 | 89 | 2.0887 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
93 | MV_186_0_line_93 |  | 88 | 90 | 0.025626 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_186_0_line_94 |  | 89 | 123 | 0.013189 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
95 | MV_186_0_line_95 |  | 90 | 91 | 0.27066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_186_0_line_96 |  | 90 | 92 | 0.37458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_186_0_line_97 |  | 91 | 93 | 0.01604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_186_0_line_98 |  | 92 | 94 | 0.13214 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_186_0_line_99 |  | 94 | 99 | 0.02808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_186_0_line_100 |  | 95 | 96 | 0.037862 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
101 | MV_186_0_line_101 |  | 96 | 97 | 0.46938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_186_0_line_102 |  | 97 | 98 | 0.5001 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
103 | MV_186_0_line_103 |  | 100 | 101 | 0.20985 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
104 | MV_186_0_line_104 |  | 101 | 102 | 0.019283 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
105 | MV_186_0_line_105 |  | 102 | 105 | 0.11718 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
106 | MV_186_0_line_106 |  | 103 | 104 | 0.056168 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
107 | MV_186_0_line_107 |  | 103 | 105 | 0.082117 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
108 | MV_186_0_line_108 |  | 104 | 106 | 1.1015 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
109 | MV_186_0_line_109 |  | 107 | 108 | 0.040761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_186_0_line_110 |  | 107 | 109 | 0.046392 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
111 | MV_186_0_line_111 |  | 108 | 111 | 0.81219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_186_0_line_112 |  | 109 | 110 | 0.2327 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_186_0_line_113 |  | 111 | 112 | 0.061282 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_186_0_line_114 |  | 113 | 114 | 0.10137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_186_0_line_115 |  | 113 | 115 | 0.1317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_186_0_line_116 |  | 114 | 116 | 1.7633 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
117 | MV_186_0_line_117 |  | 116 | 121 | 0.016377 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_186_0_line_118 |  | 116 | 118 | 0.63224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_186_0_line_119 |  | 117 | 118 | 0.02154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_186_0_line_120 |  | 117 | 119 | 1.3435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
121 | MV_186_0_line_121 |  | 117 | 120 | 1.7299 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
122 | MV_186_0_line_122 |  | 122 | 123 | 0.056288 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_186_0_trafo_286 | 25 MVA 110/20 kV | 124 | 54 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2716502.2394 | 1144117.1601
1 | 2716483.4489 | 1144100.5779
2 | 2716310.0577 | 1144344.4514
3 | 2712521.9773 | 1139757.4667
4 | 2716276.2357 | 1144323.4185
5 | 2713007.8416 | 1137769.8208
6 | 2712986.8104 | 1137741.1417
7 | 2712928.3324 | 1137847.9627
8 | 2713125.93 | 1137690.2683
9 | 2712974.1703 | 1137732.3883
10 | 2713191.2932 | 1137652.3237
11 | 2713072.2474 | 1137622.7183
12 | 2713211.6235 | 1137646.1341
13 | 2712956.3842 | 1137712.4424
14 | 2713280.8742 | 1137609.7977
15 | 2713087.0691 | 1137497.4021
16 | 2712996.4438 | 1137549.251
17 | 2713176.4485 | 1137506.3269
18 | 2713213.8828 | 1137460.8986
19 | 2713283.5918 | 1137463.7967
20 | 2713252.308 | 1137388.9383
21 | 2713260.5163 | 1137401.7785
22 | 2712900.7604 | 1137655.1978
23 | 2712839.2127 | 1137711.4178
24 | 2712867.7548 | 1137760.25
25 | 2712836.0815 | 1137714.2723
26 | 2712871.1608 | 1137926.1786
27 | 2713378.9491 | 1137290.9388
28 | 2713368.9015 | 1137338.3259
29 | 2713681.4702 | 1136729.3768
30 | 2713707.0674 | 1136641.1225
31 | 2713751.8725 | 1137075.6759
32 | 2713518.2107 | 1137288.4866
33 | 2713548.059 | 1137291.85
34 | 2713514.7953 | 1137248.3181
35 | 2714026.8688 | 1137679.1283
36 | 2713765.2016 | 1137239.7689
37 | 2714380.0597 | 1137684.9007
38 | 2714574.6628 | 1137615.5549
39 | 2714173.0065 | 1137876.7874
40 | 2714454.9773 | 1137821.1773
41 | 2714728.173 | 1137521.8405
42 | 2713883.5856 | 1137064.8125
43 | 2713844.6539 | 1137085.6864
44 | 2713720.5831 | 1137138.1169
45 | 2713716.9874 | 1137125.1517
46 | 2713504.3947 | 1137201.4917
47 | 2713662.8416 | 1137110.571
48 | 2713514.0937 | 1137242.2565
49 | 2713563.8812 | 1137293.4486
50 | 2713579.119 | 1137295.0251
51 | 2713564.9684 | 1137354.6762
52 | 2712756.5686 | 1137867.6436
53 | 2712736.4225 | 1137805.9602
54 | 2711746.5309 | 1138147.5227
55 | 2713328.1774 | 1137326.4981
56 | 2713435.7581 | 1137346.8981
57 | 2713491.9167 | 1137421.8361
58 | 2713422.2056 | 1137443.1849
59 | 2713509.9008 | 1137379.6685
60 | 2713505.0807 | 1137357.3187
61 | 2713346.3763 | 1137462.952
62 | 2713535.1454 | 1137354.0706
63 | 2713483.7713 | 1137356.9846
64 | 2714372.2786 | 1137861.5928
65 | 2713317.5147 | 1137522.2023
66 | 2713341.0826 | 1137567.3994
67 | 2713306.2434 | 1137597.5433
68 | 2713290.5575 | 1137605.9434
69 | 2707659.553 | 1144336.9056
70 | 2707668.3869 | 1144315.6718
71 | 2707728.6223 | 1144283.4265
72 | 2707817.1922 | 1144163.3648
73 | 2709386.5956 | 1143293.5121
74 | 2709443.0664 | 1143270.8084
75 | 2707844.876 | 1143720.9076
76 | 2710916.2294 | 1141232.6574
77 | 2712176.1974 | 1140004.2712
78 | 2712129.7009 | 1140073.3638
79 | 2712498.5036 | 1139734.225
80 | 2710872.8335 | 1139751.448
81 | 2711634.9666 | 1138579.0656
82 | 2707813.8521 | 1144151.1417
83 | 2707833.2717 | 1143726.337
84 | 2707795.158 | 1143694.2352
85 | 2708016.1603 | 1142234.8799
86 | 2709504.3225 | 1140602.0869
87 | 2709520.5641 | 1140690.2721
88 | 2710065.9808 | 1140003.5245
89 | 2708017.6247 | 1142140.6787
90 | 2710084.8575 | 1139986.1685
91 | 2710291.3922 | 1139863.4698
92 | 2710381.4352 | 1139993.6671
93 | 2710283.225 | 1139849.7423
94 | 2710496.9641 | 1139993.6919
95 | 2711346.844 | 1138770.0526
96 | 2711367.8512 | 1138738.5527
97 | 2711530.636 | 1138489.5834
98 | 2711482.9711 | 1138465.5763
99 | 2710523.6786 | 1140002.4423
100 | 2710795.3693 | 1139817.5022
101 | 2710700.5932 | 1139943.4567
102 | 2710705.1336 | 1139962.1966
103 | 2710583.5817 | 1140119.4935
104 | 2710605.522 | 1140170.8734
105 | 2710639.1317 | 1140059.0164
106 | 2710929.1591 | 1141223.7337
107 | 2713898.6855 | 1136396.4267
108 | 2713927.8777 | 1136367.9028
109 | 2713873.7346 | 1136435.5377
110 | 2713751.8814 | 1136571.3202
111 | 2714365.1281 | 1136188.5139
112 | 2714404.0212 | 1136235.633
113 | 2705017.7864 | 1130837.1172
114 | 2705115.4509 | 1130865.2102
115 | 2704942.1221 | 1130821.3933
116 | 2705191.0261 | 1132626.8785
117 | 2705099.4287 | 1133028.0067
118 | 2705096.8432 | 1133007.9934
119 | 2705781.7573 | 1133377.0452
120 | 2703711.5397 | 1134060.6041
121 | 2705207.2453 | 1132629.4625
122 | 2707979.6076 | 1142198.8358
123 | 2708010.6349 | 1142151.8719
124 | 2711746.5309 | 1138147.5227

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99218 | -0.17612 | 0.14382 | 0.069655
1 | 0.99219 | -0.17616 | 0 | 0
2 | 0.99212 | -0.17569 | 0 | 0
3 | 0.99518 | -0.14949 | 0.13807 | 0.06687
4 | 0.99212 | -0.17563 | 0.12431 | 0.060206
5 | 0.99273 | -0.24335 | 0.14332 | 0.069415
6 | 0.99271 | -0.2432 | 0 | 0
7 | 0.99326 | -0.22526 | 0 | 0
8 | 0.99201 | -0.26166 | 0.09132 | 0.044228
9 | 0.9927 | -0.24313 | 0.14404 | 0.069762
10 | 0.99184 | -0.26356 | 0 | 0
11 | 0.99198 | -0.26182 | 0.15048 | 0.07288
12 | 0.99179 | -0.26408 | 0 | 0
13 | 0.99269 | -0.24306 | 0 | 0
14 | 0.99142 | -0.27358 | 0.10336 | 0.05006
15 | 0.99031 | -0.2658 | 0.15185 | 0.073544
16 | 0.99028 | -0.26596 | 0.12631 | 0.061174
17 | 0.99036 | -0.26549 | 0.16053 | 0.077747
18 | 0.9904 | -0.26585 | 0.064325 | 0.031154
19 | 0.99047 | -0.26541 | 0 | 0
20 | 0.99043 | -0.26561 | 0.15096 | 0.073112
21 | 0.99043 | -0.26563 | 0.12144 | 0.058815
22 | 0.99267 | -0.24284 | 0.096547 | 0.04676
23 | 0.99265 | -0.2427 | 0 | 0
24 | 0.99263 | -0.24279 | 0.14568 | 0.070554
25 | 0.99265 | -0.24269 | 0 | 0
26 | 0.99373 | -0.20955 | 0.12347 | 0.0598
27 | 0.98915 | -0.26576 | 0.10115 | 0.048991
28 | 0.98916 | -0.2657 | 0 | 0
29 | 0.98773 | -0.26519 | 0 | 0
30 | 0.98768 | -0.2649 | 0.1115 | 0.054003
31 | 0.98799 | -0.26248 | 0.079184 | 0.038351
32 | 0.98873 | -0.2652 | 0.15972 | 0.077356
33 | 0.9888 | -0.26576 | 0 | 0
34 | 0.9886 | -0.26625 | 0 | 0
35 | 0.98778 | -0.26399 | 0.16157 | 0.078253
36 | 0.98794 | -0.26296 | 0.15852 | 0.076776
37 | 0.98756 | -0.26572 | 0 | 0
38 | 0.98754 | -0.26557 | 0 | 0
39 | 0.98762 | -0.26606 | 0.073037 | 0.035373
40 | 0.98754 | -0.26591 | 0 | 0
41 | 0.98752 | -0.26573 | 0.069627 | 0.033722
42 | 0.988 | -0.26154 | 0.1189 | 0.057586
43 | 0.98801 | -0.26161 | 0.16375 | 0.079308
44 | 0.98806 | -0.26205 | 0 | 0
45 | 0.98805 | -0.26196 | 0.14755 | 0.07146
46 | 0.9885 | -0.26551 | 0 | 0
47 | 0.98804 | -0.26202 | 0.092336 | 0.044721
48 | 0.98859 | -0.26615 | 0.1473 | 0.071341
49 | 0.98884 | -0.26606 | 0 | 0
50 | 0.98884 | -0.26604 | 0.12422 | 0.060161
51 | 0.98907 | -0.26424 | 0.15368 | 0.07443
52 | 0.99436 | -0.18818 | 0.12665 | 0.061337
53 | 0.99469 | -0.17714 | 0 | 0
54 | 1 | 0 | -8.4287 | -3.807
55 | 0.98915 | -0.26562 | 0.16471 | 0.079773
56 | 0.98919 | -0.26548 | 0.12105 | 0.058629
57 | 0.98955 | -0.26446 | 0.11292 | 0.05469
58 | 0.9898 | -0.2666 | 0.075284 | 0.036461
59 | 0.98931 | -0.26621 | 0 | 0
60 | 0.98924 | -0.26557 | 0 | 0
61 | 0.99023 | -0.26343 | 0.13303 | 0.06443
62 | 0.98915 | -0.2649 | 0 | 0
63 | 0.98922 | -0.2657 | 0.11144 | 0.053973
64 | 0.98752 | -0.26581 | 0.082965 | 0.040182
65 | 0.99079 | -0.26817 | 0.074117 | 0.035897
66 | 0.99104 | -0.27031 | 0 | 0
67 | 0.99128 | -0.27238 | 0.1053 | 0.050999
68 | 0.99137 | -0.27314 | 0 | 0
69 | 0.98451 | -0.50648 | 0.070672 | 0.034228
70 | 0.98451 | -0.5065 | 0 | 0
71 | 0.98452 | -0.50662 | 0 | 0
72 | 0.98454 | -0.50643 | 0.13669 | 0.0662
73 | 0.98657 | -0.44224 | 0.12569 | 0.060875
74 | 0.98661 | -0.44152 | 0 | 0
75 | 0.98476 | -0.50775 | 0 | 0
76 | 0.98978 | -0.32801 | 0 | 0
77 | 0.99469 | -0.15915 | 0.061898 | 0.029979
78 | 0.9947 | -0.15921 | 0 | 0
79 | 0.9952 | -0.14962 | 0 | 0
80 | 0.99209 | -0.25002 | 0.14756 | 0.071469
81 | 0.99873 | -0.02492 | 0.24111 | 0.11677
82 | 0.98455 | -0.50645 | 0 | 0
83 | 0.98475 | -0.50785 | 0.11008 | 0.053316
84 | 0.98473 | -0.50823 | 0 | 0
85 | 0.9835 | -0.55155 | 0 | 0
86 | 0.98227 | -0.59455 | 0.052732 | 0.025539
87 | 0.98231 | -0.59409 | 0 | 0
88 | 0.9818 | -0.60746 | 0.108 | 0.052309
89 | 0.98344 | -0.55339 | 0 | 0
90 | 0.98179 | -0.60737 | 0 | 0
91 | 0.98176 | -0.60718 | 0 | 0
92 | 0.98164 | -0.60613 | 0 | 0
93 | 0.98176 | -0.60716 | 0.076245 | 0.036927
94 | 0.98158 | -0.60564 | 0.15384 | 0.074509
95 | 0.99885 | -0.021589 | 0.070628 | 0.034207
96 | 0.99886 | -0.021557 | 0 | 0
97 | 0.9989 | -0.021786 | 0 | 0
98 | 0.9995 | -0.0099185 | 0 | 0
99 | 0.98158 | -0.60558 | 0.15607 | 0.075588
100 | 0.9919 | -0.25666 | 0 | 0
101 | 0.99173 | -0.25996 | 0 | 0
102 | 0.99171 | -0.26026 | 0.15547 | 0.075297
103 | 0.99139 | -0.27176 | 0.1339 | 0.064853
104 | 0.99135 | -0.27245 | 0 | 0
105 | 0.99151 | -0.26727 | 0.15142 | 0.073334
106 | 0.98979 | -0.32784 | 0.15772 | 0.076389
107 | 0.98754 | -0.26455 | 0.15915 | 0.07708
108 | 0.98753 | -0.26455 | 0 | 0
109 | 0.98756 | -0.2643 | 0 | 0
110 | 0.98765 | -0.26476 | 0 | 0
111 | 0.9874 | -0.26385 | 0 | 0
112 | 0.98739 | -0.26376 | 0.12774 | 0.061867
113 | 0.99101 | -0.086426 | 0.1297 | 0.062816
114 | 0.99103 | -0.086643 | 0 | 0
115 | 0.99099 | -0.086329 | 0.068636 | 0.033242
116 | 0.9917 | -0.081351 | 0 | 0
117 | 0.99195 | -0.08306 | 0.061363 | 0.029719
118 | 0.99194 | -0.083014 | 0 | 0
119 | 0.99281 | -0.087841 | 0 | 0
120 | 0.99144 | -0.086448 | 0.15223 | 0.073728
121 | 0.9917 | -0.081331 | 0.099527 | 0.048203
122 | 0.98348 | -0.55192 | 0.1246 | 0.060347
123 | 0.98344 | -0.55333 | 0.16351 | 0.07919
124 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14382 | -0.069655 | 0.14382 | 0.069066 | 7.2206e-07 | -0.00058883 | 0.0046494 | 0.0046419 | 0.0046494 | 0.99218 | -0.17612 | 0.99219 | -0.17616 | 2.1134
1 | 0.12432 | 0.049693 | -0.12431 | -0.059272 | 8.4876e-06 | -0.0095786 | 0.0038953 | 0.0040071 | 0.0040071 | 0.99219 | -0.17616 | 0.99212 | -0.17569 | 1.8214
2 | -0.26814 | -0.11876 | 0.26889 | 0.1123 | 0.00075533 | -0.0064562 | 0.0085324 | 0.0084529 | 0.0085324 | 0.99219 | -0.17616 | 0.99518 | -0.14949 | 4.0631
3 | 0.12431 | 0.059272 | -0.12431 | -0.060206 | 8.5449e-07 | -0.0009338 | 0.0040071 | 0.0040189 | 0.0040189 | 0.99212 | -0.17569 | 0.99212 | -0.17563 | 1.8268
4 | -0.40696 | -0.17917 | 0.40697 | 0.1784 | 7.3213e-06 | -0.00077787 | 0.012898 | 0.012889 | 0.012898 | 0.99518 | -0.14949 | 0.9952 | -0.14962 | 5.8629
5 | 0.38629 | 0.18126 | -0.38628 | -0.18209 | 7.3092e-06 | -0.00083388 | 0.012408 | 0.012418 | 0.012418 | 0.99273 | -0.24335 | 0.99271 | -0.2432 | 5.6447
6 | -4.7944 | -2.2394 | 4.7963 | 2.242 | 0.0018815 | 0.0025817 | 0.15388 | 0.15387 | 0.15388 | 0.99273 | -0.24335 | 0.99326 | -0.22526 | 37.5305
7 | 4.2648 | 1.9887 | -4.2623 | -1.9861 | 0.0024475 | 0.0026232 | 0.13684 | 0.13684 | 0.13684 | 0.99273 | -0.24335 | 0.99201 | -0.26166 | 39.0968
8 | 0.38628 | 0.18209 | -0.38628 | -0.18245 | 3.1604e-06 | -0.00036011 | 0.012418 | 0.012423 | 0.012423 | 0.99271 | -0.2432 | 0.9927 | -0.24313 | 5.6468
9 | -4.7963 | -2.242 | 4.7979 | 2.2442 | 0.0016351 | 0.0022435 | 0.15387 | 0.15387 | 0.15387 | 0.99326 | -0.22526 | 0.99373 | -0.20955 | 37.5301
10 | 4.0205 | 1.8691 | -4.0199 | -1.8712 | 0.00061874 | -0.0021472 | 0.12902 | 0.12905 | 0.12905 | 0.99201 | -0.26166 | 0.99184 | -0.26356 | 35.6504
11 | 0.15048 | 0.07278 | -0.15048 | -0.07288 | 3.6384e-06 | -9.9084e-05 | 0.0048643 | 0.0048656 | 0.0048656 | 0.99201 | -0.26166 | 0.99198 | -0.26182 | 2.3169
12 | 0.24224 | 0.11269 | -0.24223 | -0.11332 | 2.153e-06 | -0.00062739 | 0.0077692 | 0.0077769 | 0.0077769 | 0.9927 | -0.24313 | 0.99269 | -0.24306 | 3.5349
13 | 4.0199 | 1.8712 | -4.0197 | -1.8718 | 0.00017052 | -0.00059138 | 0.12905 | 0.12906 | 0.12906 | 0.99184 | -0.26356 | 0.99179 | -0.26408 | 35.6529
14 | 4.0197 | 1.8718 | -4.0186 | -1.8706 | 0.0011959 | 0.0012712 | 0.12906 | 0.12906 | 0.12906 | 0.99179 | -0.26408 | 0.99142 | -0.27358 | 36.8756
15 | 0.24223 | 0.11332 | -0.24223 | -0.11519 | 6.4551e-06 | -0.0018735 | 0.0077769 | 0.0078002 | 0.0078002 | 0.99269 | -0.24306 | 0.99267 | -0.24284 | 3.5455
16 | 3.9152 | 1.8205 | -3.915 | -1.8207 | 0.00021939 | -0.00017891 | 0.12572 | 0.12572 | 0.12572 | 0.99142 | -0.27358 | 0.99137 | -0.27314 | 57.1473
17 | 0.12631 | 0.061054 | -0.12631 | -0.061174 | 3.1123e-06 | -0.00012029 | 0.0040895 | 0.0040911 | 0.0040911 | 0.99031 | -0.2658 | 0.99028 | -0.26596 | 1.9481
18 | -0.27816 | -0.1346 | 0.27817 | 0.1345 | 1.2984e-05 | -9.7037e-05 | 0.0090077 | 0.0090064 | 0.0090077 | 0.99031 | -0.2658 | 0.99036 | -0.26549 | 4.2894
19 | -0.4387 | -0.21225 | 0.43872 | 0.21063 | 1.868e-05 | -0.0016207 | 0.014205 | 0.014185 | 0.014205 | 0.99036 | -0.26549 | 0.9904 | -0.26585 | 6.457
20 | -0.50305 | -0.24178 | 0.50308 | 0.24172 | 3.2896e-05 | -6.11e-05 | 0.016268 | 0.016267 | 0.016268 | 0.9904 | -0.26585 | 0.99047 | -0.26541 | 7.7467
21 | -3.7319 | -1.737 | 3.7332 | 1.7359 | 0.0012976 | -0.0011977 | 0.11997 | 0.11995 | 0.11997 | 0.99047 | -0.26541 | 0.99079 | -0.26817 | 54.5326
22 | 0.2724 | 0.1315 | -0.2724 | -0.13157 | 9.1642e-06 | -7.1755e-05 | 0.0088159 | 0.0088169 | 0.0088169 | 0.99047 | -0.26541 | 0.99043 | -0.26563 | 4.1985
23 | 2.9564 | 1.3638 | -2.9556 | -1.3651 | 0.00075273 | -0.0012428 | 0.094891 | 0.094909 | 0.094909 | 0.99047 | -0.26541 | 0.99023 | -0.26343 | 43.1406
24 | -0.15096 | -0.073112 | 0.15096 | 0.072752 | 4.8933e-07 | -0.0003594 | 0.0048887 | 0.0048842 | 0.0048887 | 0.99043 | -0.26561 | 0.99043 | -0.26563 | 2.2221
25 | 0.14568 | 0.068433 | -0.14568 | -0.07039 | 2.4473e-06 | -0.0019577 | 0.0046806 | 0.0047051 | 0.0047051 | 0.99267 | -0.24284 | 0.99265 | -0.2427 | 2.1387
26 | 0.14568 | 0.07039 | -0.14568 | -0.07049 | 1.2509e-07 | -9.9503e-05 | 0.0047051 | 0.0047064 | 0.0047064 | 0.99265 | -0.2427 | 0.99265 | -0.24269 | 2.1393
27 | -0.14568 | -0.070554 | 0.14568 | 0.07049 | 2.2038e-06 | -6.4294e-05 | 0.0047072 | 0.0047064 | 0.0047072 | 0.99263 | -0.24279 | 0.99265 | -0.24269 | 2.2415
28 | -4.9214 | -2.304 | 4.9237 | 2.3072 | 0.0022855 | 0.0031445 | 0.15786 | 0.15785 | 0.15786 | 0.99373 | -0.20955 | 0.99436 | -0.18818 | 38.5017
29 | -0.10115 | -0.048991 | 0.10115 | 0.048935 | 9.2837e-07 | -5.5999e-05 | 0.0032801 | 0.0032794 | 0.0032801 | 0.98915 | -0.26576 | 0.98916 | -0.2657 | 1.5619
30 | -0.26587 | -0.12769 | 0.26588 | 0.12762 | 8.8966e-06 | -7.3162e-05 | 0.0086075 | 0.0086065 | 0.0086075 | 0.98916 | -0.2657 | 0.98919 | -0.26548 | 4.0988
31 | 0.16471 | 0.078755 | -0.16471 | -0.079773 | 1.6561e-06 | -0.0010179 | 0.0053282 | 0.0053411 | 0.0053411 | 0.98916 | -0.2657 | 0.98915 | -0.26562 | 2.4278
32 | 0.39848 | 0.16194 | -0.39846 | -0.16422 | 2.0829e-05 | -0.0022889 | 0.012571 | 0.012596 | 0.012596 | 0.98773 | -0.26519 | 0.98768 | -0.2649 | 5.7256
33 | -0.39848 | -0.16194 | 0.39858 | 0.16159 | 9.9462e-05 | -0.00034939 | 0.012571 | 0.012566 | 0.012571 | 0.98773 | -0.26519 | 0.98799 | -0.26248 | 5.9861
34 | 0.28695 | 0.11022 | -0.28694 | -0.11221 | 9.2252e-06 | -0.0019865 | 0.0089844 | 0.0090054 | 0.0090054 | 0.98768 | -0.2649 | 0.98765 | -0.26476 | 4.0934
35 | -0.47776 | -0.19994 | 0.47778 | 0.19988 | 2.4698e-05 | -5.5079e-05 | 0.015132 | 0.015132 | 0.015132 | 0.98799 | -0.26248 | 0.98805 | -0.26196 | 7.2059
36 | -1.8544 | -0.83932 | 1.8545 | 0.83866 | 0.00014122 | -0.00065734 | 0.059429 | 0.05942 | 0.059429 | 0.98873 | -0.2652 | 0.9888 | -0.26576 | 27.013
37 | 1.6946 | 0.76196 | -1.6944 | -0.76188 | 0.00021139 | 8.5364e-05 | 0.054249 | 0.05425 | 0.05425 | 0.98873 | -0.2652 | 0.9886 | -0.26625 | 25.8332
38 | -1.8545 | -0.83866 | 1.8546 | 0.83831 | 7.4738e-05 | -0.00034802 | 0.05942 | 0.059416 | 0.05942 | 0.9888 | -0.26576 | 0.98884 | -0.26606 | 27.0092
39 | 1.6944 | 0.76188 | -1.6944 | -0.76201 | 2.3979e-05 | -0.0001353 | 0.05425 | 0.054251 | 0.054251 | 0.9886 | -0.26625 | 0.98859 | -0.26615 | 24.6597
40 | -0.16157 | -0.078253 | 0.1616 | 0.077673 | 2.5044e-05 | -0.00058007 | 0.0052466 | 0.005239 | 0.0052466 | 0.98778 | -0.26399 | 0.98794 | -0.26296 | 2.4984
41 | 0.22571 | 0.093867 | -0.22564 | -0.094705 | 6.8853e-05 | -0.0008379 | 0.0071429 | 0.0071528 | 0.0071528 | 0.98794 | -0.26296 | 0.98762 | -0.26606 | 3.4061
42 | -0.54583 | -0.24832 | 0.5459 | 0.24823 | 6.0721e-05 | -9.1333e-05 | 0.017522 | 0.017521 | 0.017522 | 0.98794 | -0.26296 | 0.98806 | -0.26205 | 8.3438
43 | 0.06963 | 0.02863 | -0.069629 | -0.033514 | 1.3911e-06 | -0.0048838 | 0.0022007 | 0.0022589 | 0.0022589 | 0.98756 | -0.26572 | 0.98754 | -0.26557 | 1.0268
44 | -0.1526 | -0.066325 | 0.15261 | 0.059332 | 9.3331e-06 | -0.0069935 | 0.0048637 | 0.0047859 | 0.0048637 | 0.98756 | -0.26572 | 0.98762 | -0.26606 | 2.2108
45 | 0.082968 | 0.037695 | -0.082966 | -0.037875 | 1.9678e-06 | -0.00017982 | 0.0026638 | 0.002666 | 0.002666 | 0.98756 | -0.26572 | 0.98754 | -0.26591 | 1.2695
46 | 0.069629 | 0.033514 | -0.069627 | -0.033722 | 1.637e-06 | -0.00020836 | 0.0022589 | 0.0022615 | 0.0022615 | 0.98754 | -0.26557 | 0.98752 | -0.26573 | 1.0769
47 | 0.082966 | 0.037875 | -0.082965 | -0.040182 | 9.5021e-07 | -0.0023068 | 0.002666 | 0.0026947 | 0.0026947 | 0.98754 | -0.26591 | 0.98752 | -0.26581 | 1.2249
48 | -0.1189 | -0.057586 | 0.1189 | 0.056557 | 8.7593e-07 | -0.0010296 | 0.00386 | 0.003847 | 0.00386 | 0.988 | -0.26154 | 0.98801 | -0.26161 | 1.7546
49 | -0.28265 | -0.13586 | 0.28267 | 0.13273 | 1.502e-05 | -0.0031324 | 0.009163 | 0.0091236 | 0.009163 | 0.98801 | -0.26161 | 0.98806 | -0.26205 | 4.165
50 | 0.71768 | 0.31569 | -0.71767 | -0.316 | 9.4268e-06 | -0.00031083 | 0.022907 | 0.022911 | 0.022911 | 0.98806 | -0.26205 | 0.98805 | -0.26196 | 10.4139
51 | -1.5462 | -0.69664 | 1.547 | 0.69161 | 0.00073749 | -0.0050351 | 0.049549 | 0.049486 | 0.049549 | 0.98806 | -0.26205 | 0.9885 | -0.26551 | 22.5222
52 | 0.092337 | 0.044656 | -0.092336 | -0.044721 | 8.9746e-07 | -6.4789e-05 | 0.0029967 | 0.0029976 | 0.0029976 | 0.98805 | -0.26196 | 0.98804 | -0.26202 | 1.4274
53 | -1.547 | -0.69161 | 1.5471 | 0.69067 | 0.00013697 | -0.00093713 | 0.049486 | 0.049474 | 0.049486 | 0.9885 | -0.26551 | 0.98859 | -0.26615 | 22.4936
54 | 0.12422 | 0.059805 | -0.12422 | -0.060161 | 3.3069e-07 | -0.00035651 | 0.0040247 | 0.0040293 | 0.0040293 | 0.98884 | -0.26606 | 0.98884 | -0.26604 | 1.8315
55 | -1.9788 | -0.89812 | 1.9792 | 0.89832 | 0.0004391 | 0.00020354 | 0.063439 | 0.063439 | 0.063439 | 0.98884 | -0.26606 | 0.98907 | -0.26424 | 30.2093
56 | -2.1329 | -0.97275 | 2.1331 | 0.97211 | 0.00018627 | -0.00064104 | 0.068421 | 0.068412 | 0.068421 | 0.98907 | -0.26424 | 0.98915 | -0.2649 | 31.1004
57 | -5.0503 | -2.3685 | 5.0515 | 2.3702 | 0.001213 | 0.0016731 | 0.16194 | 0.16194 | 0.16194 | 0.99436 | -0.18818 | 0.99469 | -0.17714 | 39.4975
58 | -5.0515 | -2.3702 | 5.0711 | 2.3972 | 0.019572 | 0.026989 | 0.16194 | 0.16192 | 0.16194 | 0.99469 | -0.17714 | 1 | 0 | 39.4972
59 | 2.828 | 1.2152 | -2.8268 | -1.2298 | 0.0011962 | -0.014676 | 0.088855 | 0.089036 | 0.089036 | 1 | 0 | 0.9995 | -0.0099185 | 21.1486
60 | 0.51562 | 0.18419 | -0.5122 | -0.1911 | 0.003419 | -0.0069112 | 0.015806 | 0.015896 | 0.015896 | 1 | 0 | 0.99281 | -0.087841 | 7.5695
61 | -0.38693 | -0.18625 | 0.38694 | 0.1851 | 1.0308e-05 | -0.001147 | 0.012532 | 0.012517 | 0.012532 | 0.98919 | -0.26548 | 0.98922 | -0.2657 | 5.6962
62 | -2.7454 | -1.265 | 2.7462 | 1.2636 | 0.00075965 | -0.0014863 | 0.088184 | 0.088163 | 0.088184 | 0.98955 | -0.26446 | 0.9898 | -0.2666 | 40.0836
63 | 2.6325 | 1.2104 | -2.6319 | -1.21 | 0.00058354 | 0.00031193 | 0.084524 | 0.084525 | 0.084525 | 0.98955 | -0.26446 | 0.98931 | -0.26621 | 40.25
64 | -2.8214 | -1.3 | 2.8226 | 1.3006 | 0.0011461 | 0.00062618 | 0.090602 | 0.090601 | 0.090602 | 0.9898 | -0.2666 | 0.99023 | -0.26343 | 43.1439
65 | 2.6319 | 1.21 | -2.6317 | -1.2105 | 0.00021863 | -0.00047073 | 0.084525 | 0.084532 | 0.084532 | 0.98931 | -0.26621 | 0.98924 | -0.26557 | 38.4235
66 | 2.1333 | 0.97146 | -2.1331 | -0.97211 | 0.00018839 | -0.00064863 | 0.068404 | 0.068412 | 0.068412 | 0.98924 | -0.26557 | 0.98915 | -0.2649 | 31.0966
67 | 0.49839 | 0.23905 | -0.49838 | -0.23907 | 9.8799e-06 | -1.8709e-05 | 0.01613 | 0.016131 | 0.016131 | 0.98924 | -0.26557 | 0.98922 | -0.2657 | 7.6812
68 | -3.8073 | -1.7717 | 3.8083 | 1.7708 | 0.0010257 | -0.00089912 | 0.12235 | 0.12234 | 0.12235 | 0.99079 | -0.26817 | 0.99104 | -0.27031 | 55.6143
69 | -3.8083 | -1.7708 | 3.8093 | 1.77 | 0.00099397 | -0.00087218 | 0.12234 | 0.12232 | 0.12234 | 0.99104 | -0.27031 | 0.99128 | -0.27238 | 55.6076
70 | -3.9146 | -1.821 | 3.915 | 1.8207 | 0.00037468 | -0.00030546 | 0.12573 | 0.12572 | 0.12573 | 0.99128 | -0.27238 | 0.99137 | -0.27314 | 57.1496
71 | -0.070672 | -0.034228 | 0.070672 | 0.033696 | 1.6226e-07 | -0.00053208 | 0.0023025 | 0.0022957 | 0.0023025 | 0.98451 | -0.50648 | 0.98451 | -0.5065 | 1.0466
72 | -0.070672 | -0.033696 | 0.070674 | 0.029817 | 1.1551e-06 | -0.0038795 | 0.0022957 | 0.0022491 | 0.0022957 | 0.98451 | -0.5065 | 0.98452 | -0.50662 | 1.0435
73 | -0.070674 | -0.029817 | 0.070675 | 0.029645 | 1.3435e-06 | -0.0001718 | 0.0022491 | 0.0022471 | 0.0022491 | 0.98452 | -0.50662 | 0.98454 | -0.50643 | 1.071
74 | -0.20736 | -0.095845 | 0.20736 | 0.095551 | 7.6082e-07 | -0.00029393 | 0.006698 | 0.0066944 | 0.006698 | 0.98454 | -0.50643 | 0.98455 | -0.50645 | 3.0446
75 | -1.2813 | -0.56413 | 1.2813 | 0.56171 | 4.047e-05 | -0.0024148 | 0.040964 | 0.040935 | 0.040964 | 0.98657 | -0.44224 | 0.98661 | -0.44152 | 9.7302
76 | 1.1556 | 0.50325 | -1.1541 | -0.50302 | 0.0015521 | 0.00023537 | 0.036881 | 0.036904 | 0.036904 | 0.98657 | -0.44224 | 0.98476 | -0.50775 | 9.001
77 | -1.2813 | -0.56171 | 1.2843 | 0.56288 | 0.0030011 | 0.0011663 | 0.040935 | 0.040898 | 0.040935 | 0.98661 | -0.44152 | 0.98978 | -0.32801 | 9.9842
78 | 0.94664 | 0.42578 | -0.94664 | -0.42625 | 4.3322e-06 | -0.00046954 | 0.030428 | 0.030434 | 0.030434 | 0.98476 | -0.50775 | 0.98475 | -0.50785 | 7.2289
79 | 0.20741 | 0.077235 | -0.20736 | -0.095551 | 4.5857e-05 | -0.018316 | 0.0064879 | 0.0066944 | 0.0066944 | 0.98476 | -0.50775 | 0.98455 | -0.50645 | 3.0429
80 | -1.2843 | -0.56288 | 1.2843 | 0.5623 | 9.5981e-06 | -0.00057805 | 0.040898 | 0.040891 | 0.040898 | 0.98978 | -0.32801 | 0.98979 | -0.32784 | 9.7145
81 | -0.061898 | -0.029979 | 0.061899 | 0.027905 | 4.6089e-07 | -0.0020738 | 0.001996 | 0.0019705 | 0.001996 | 0.99469 | -0.15915 | 0.9947 | -0.15921 | 0.90726
82 | -2.0989 | -0.94671 | 2.0998 | 0.92678 | 0.0008932 | -0.019925 | 0.066822 | 0.066577 | 0.066822 | 0.9947 | -0.15921 | 0.9952 | -0.14962 | 15.8722
83 | 2.037 | 0.9188 | -2.0331 | -0.91483 | 0.0038907 | 0.0039758 | 0.064851 | 0.064871 | 0.064871 | 0.9947 | -0.15921 | 0.99209 | -0.25002 | 15.8223
84 | -2.5067 | -1.1052 | 2.5132 | 1.1127 | 0.0064901 | 0.007541 | 0.079466 | 0.079444 | 0.079466 | 0.9952 | -0.14962 | 0.99873 | -0.02492 | 19.3819
85 | 1.8855 | 0.84336 | -1.8853 | -0.84311 | 0.00026213 | 0.00024985 | 0.060102 | 0.060104 | 0.060104 | 0.99209 | -0.25002 | 0.9919 | -0.25666 | 14.6595
86 | -2.7543 | -1.2295 | 2.7547 | 1.2246 | 0.0003821 | -0.0048875 | 0.087183 | 0.087122 | 0.087183 | 0.99873 | -0.02492 | 0.9989 | -0.021786 | 20.7086
87 | 0.83655 | 0.37294 | -0.83654 | -0.37489 | 1.3986e-05 | -0.0019491 | 0.02685 | 0.026873 | 0.026873 | 0.98475 | -0.50785 | 0.98473 | -0.50823 | 6.3832
88 | 0.83654 | 0.37489 | -0.83578 | -0.37563 | 0.00076041 | -0.0007493 | 0.026873 | 0.026895 | 0.026895 | 0.98473 | -0.50823 | 0.9835 | -0.55155 | 6.5598
89 | 0.83578 | 0.37563 | -0.83577 | -0.37752 | 1.3625e-05 | -0.0018874 | 0.026895 | 0.026918 | 0.026918 | 0.9835 | -0.55155 | 0.98348 | -0.55192 | 6.3939
90 | -0.54716 | -0.24462 | 0.54718 | 0.24046 | 1.8863e-05 | -0.004165 | 0.017614 | 0.017564 | 0.017614 | 0.98227 | -0.59455 | 0.98231 | -0.59409 | 4.8658
91 | 0.49443 | 0.21909 | -0.49424 | -0.21986 | 0.00019047 | -0.00077688 | 0.015893 | 0.015905 | 0.015905 | 0.98227 | -0.59455 | 0.9818 | -0.60746 | 4.5443
92 | -0.54718 | -0.24046 | 0.54764 | 0.23851 | 0.0004585 | -0.0019478 | 0.017564 | 0.017534 | 0.017564 | 0.98231 | -0.59409 | 0.98344 | -0.55339 | 4.284
93 | 0.38623 | 0.16755 | -0.38623 | -0.16814 | 5.2452e-06 | -0.00058821 | 0.012379 | 0.012386 | 0.012386 | 0.9818 | -0.60746 | 0.98179 | -0.60737 | 5.6299
94 | -0.54764 | -0.23851 | 0.54764 | 0.23803 | 1.4835e-06 | -0.00048593 | 0.017534 | 0.017528 | 0.017534 | 0.98344 | -0.55339 | 0.98344 | -0.55333 | 4.1647
95 | 0.076247 | 0.03033 | -0.076245 | -0.036558 | 2.1655e-06 | -0.0062283 | 0.0024127 | 0.0024863 | 0.0024863 | 0.98179 | -0.60737 | 0.98176 | -0.60718 | 1.1301
96 | 0.30998 | 0.13781 | -0.30993 | -0.14642 | 5.0274e-05 | -0.0086046 | 0.0099745 | 0.01008 | 0.01008 | 0.98179 | -0.60737 | 0.98164 | -0.60613 | 4.5819
97 | 0.076245 | 0.036558 | -0.076245 | -0.036927 | 1.3262e-07 | -0.00036908 | 0.0024863 | 0.002491 | 0.002491 | 0.98176 | -0.60718 | 0.98176 | -0.60716 | 1.1323
98 | 0.30993 | 0.14642 | -0.30991 | -0.14945 | 1.7993e-05 | -0.0030346 | 0.01008 | 0.010119 | 0.010119 | 0.98164 | -0.60613 | 0.98158 | -0.60564 | 4.5994
99 | 0.15607 | 0.074943 | -0.15607 | -0.075588 | 9.7342e-07 | -0.00064568 | 0.0050917 | 0.0050999 | 0.0050999 | 0.98158 | -0.60564 | 0.98158 | -0.60558 | 2.3181
100 | -0.070628 | -0.034207 | 0.070628 | 0.034162 | 3.4691e-07 | -4.4879e-05 | 0.002268 | 0.0022674 | 0.002268 | 0.99885 | -0.021589 | 0.99886 | -0.021557 | 1.08
101 | -0.070628 | -0.034162 | 0.070631 | 0.022981 | 3.038e-06 | -0.011181 | 0.0022674 | 0.0021465 | 0.0022674 | 0.99886 | -0.021557 | 0.9989 | -0.021786 | 1.0306
102 | -2.8254 | -1.2476 | 2.8268 | 1.2298 | 0.0014546 | -0.017739 | 0.089257 | 0.089036 | 0.089257 | 0.9989 | -0.021786 | 0.9995 | -0.0099185 | 21.2012
103 | 1.8853 | 0.84311 | -1.885 | -0.85074 | 0.00027789 | -0.0076308 | 0.060104 | 0.060198 | 0.060198 | 0.9919 | -0.25666 | 0.99173 | -0.25996 | 14.2988
104 | 1.885 | 0.85074 | -1.885 | -0.85144 | 2.5579e-05 | -0.00070102 | 0.060198 | 0.060207 | 0.060207 | 0.99173 | -0.25996 | 0.99171 | -0.26026 | 14.3009
105 | 1.7295 | 0.77614 | -1.7292 | -0.77592 | 0.00025433 | 0.00021908 | 0.05518 | 0.055182 | 0.055182 | 0.99171 | -0.26026 | 0.99151 | -0.26727 | 13.4591
106 | 1.4438 | 0.63763 | -1.4437 | -0.6397 | 4.3443e-05 | -0.002069 | 0.045958 | 0.045982 | 0.045982 | 0.99139 | -0.27176 | 0.99135 | -0.27245 | 10.9222
107 | -1.5777 | -0.70248 | 1.5778 | 0.70259 | 0.00014802 | 0.00010982 | 0.050287 | 0.050286 | 0.050287 | 0.99139 | -0.27176 | 0.99151 | -0.26727 | 12.2652
108 | 1.4437 | 0.6397 | -1.4421 | -0.63869 | 0.0016607 | 0.0010054 | 0.045982 | 0.045999 | 0.045999 | 0.99135 | -0.27245 | 0.98979 | -0.32784 | 11.2193
109 | 0.12776 | 0.040589 | -0.12776 | -0.041538 | 8.3738e-07 | -0.00094885 | 0.0039186 | 0.0039271 | 0.0039271 | 0.98754 | -0.26455 | 0.98753 | -0.26455 | 1.785
110 | -0.28691 | -0.11767 | 0.28692 | 0.11762 | 6.7916e-06 | -4.9758e-05 | 0.0090649 | 0.0090643 | 0.0090649 | 0.98754 | -0.26455 | 0.98756 | -0.2643 | 4.3166
111 | 0.12776 | 0.041538 | -0.12774 | -0.060441 | 1.7532e-05 | -0.018904 | 0.0039271 | 0.0041316 | 0.0041316 | 0.98753 | -0.26455 | 0.9874 | -0.26385 | 1.878
112 | -0.28692 | -0.11762 | 0.28694 | 0.11221 | 2.5357e-05 | -0.0054116 | 0.0090643 | 0.0090054 | 0.0090643 | 0.98756 | -0.2643 | 0.98765 | -0.26476 | 4.1201
113 | 0.12774 | 0.060441 | -0.12774 | -0.061867 | 1.4026e-06 | -0.0014261 | 0.0041316 | 0.0041496 | 0.0041496 | 0.9874 | -0.26385 | 0.98739 | -0.26376 | 1.8862
114 | -0.19834 | -0.09297 | 0.19834 | 0.090594 | 5.4846e-06 | -0.0023755 | 0.0063807 | 0.0063516 | 0.0063807 | 0.99101 | -0.086426 | 0.99103 | -0.086643 | 2.9003
115 | 0.068636 | 0.030154 | -0.068636 | -0.033242 | 8.5272e-07 | -0.0030879 | 0.0021838 | 0.0022215 | 0.0022215 | 0.99101 | -0.086426 | 0.99099 | -0.086329 | 1.0098
116 | -0.19834 | -0.090594 | 0.19847 | 0.088605 | 0.00012625 | -0.0019898 | 0.0063516 | 0.0063268 | 0.0063516 | 0.99103 | -0.086643 | 0.9917 | -0.081351 | 3.0246
117 | 0.099528 | 0.047819 | -0.099527 | -0.048203 | 2.2621e-07 | -0.00038449 | 0.0032142 | 0.0032191 | 0.0032191 | 0.9917 | -0.081351 | 0.9917 | -0.081331 | 1.4632
118 | -0.29799 | -0.13642 | 0.29807 | 0.1216 | 7.5411e-05 | -0.014827 | 0.0095401 | 0.0093685 | 0.0095401 | 0.9917 | -0.081351 | 0.99194 | -0.083014 | 4.3364
119 | 0.29807 | 0.12109 | -0.29807 | -0.1216 | 2.5224e-06 | -0.00050529 | 0.0093629 | 0.0093685 | 0.0093685 | 0.99195 | -0.08306 | 0.99194 | -0.083014 | 4.2584
120 | -0.51174 | -0.22255 | 0.5122 | 0.1911 | 0.00046274 | -0.031454 | 0.01624 | 0.015896 | 0.01624 | 0.99195 | -0.08306 | 0.99281 | -0.087841 | 7.3818
121 | 0.1523 | 0.071744 | -0.15223 | -0.073728 | 7.4369e-05 | -0.0019844 | 0.0048995 | 0.004925 | 0.004925 | 0.99195 | -0.08306 | 0.99144 | -0.086448 | 2.3452
122 | 0.71117 | 0.31718 | -0.71114 | -0.31722 | 2.0961e-05 | -4.0118e-05 | 0.022856 | 0.022857 | 0.022857 | 0.98348 | -0.55192 | 0.98344 | -0.55333 | 5.5749

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.7036 | 3.9401

## res_load
| p_mw | q_mvar
0 | 0.14382 | 0.069655
1 | 0.13807 | 0.06687
2 | 0.12431 | 0.060206
3 | 0.14332 | 0.069415
4 | 0.09132 | 0.044228
5 | 0.14404 | 0.069762
6 | 0.15048 | 0.07288
7 | 0.10336 | 0.05006
8 | 0.15185 | 0.073544
9 | 0.12631 | 0.061174
10 | 0.16053 | 0.077747
11 | 0.064325 | 0.031154
12 | 0.15096 | 0.073112
13 | 0.12144 | 0.058815
14 | 0.096547 | 0.04676
15 | 0.14568 | 0.070554
16 | 0.12347 | 0.0598
17 | 0.10115 | 0.048991
18 | 0.1115 | 0.054003
19 | 0.079184 | 0.038351
20 | 0.15972 | 0.077356
21 | 0.16157 | 0.078253
22 | 0.15852 | 0.076776
23 | 0.073037 | 0.035373
24 | 0.069627 | 0.033722
25 | 0.1189 | 0.057586
26 | 0.16375 | 0.079308
27 | 0.14755 | 0.07146
28 | 0.092336 | 0.044721
29 | 0.1473 | 0.071341
30 | 0.12422 | 0.060161
31 | 0.15368 | 0.07443
32 | 0.12665 | 0.061337
33 | 0.27486 | 0.13312
34 | 0.16471 | 0.079773
35 | 0.12105 | 0.058629
36 | 0.11292 | 0.05469
37 | 0.075284 | 0.036461
38 | 0.13303 | 0.06443
39 | 0.11144 | 0.053973
40 | 0.082965 | 0.040182
41 | 0.074117 | 0.035897
42 | 0.1053 | 0.050999
43 | 0.070672 | 0.034228
44 | 0.13669 | 0.0662
45 | 0.12569 | 0.060875
46 | 0.061898 | 0.029979
47 | 0.14756 | 0.071469
48 | 0.24111 | 0.11677
49 | 0.11008 | 0.053316
50 | 0.052732 | 0.025539
51 | 0.108 | 0.052309
52 | 0.076245 | 0.036927
53 | 0.15384 | 0.074509
54 | 0.070628 | 0.034207
55 | 0.15607 | 0.075588
56 | 0.15547 | 0.075297
57 | 0.1339 | 0.064853
58 | 0.15142 | 0.073334
59 | 0.15772 | 0.076389
60 | 0.15915 | 0.07708
61 | 0.12774 | 0.061867
62 | 0.1297 | 0.062816
63 | 0.068636 | 0.033242
64 | 0.061363 | 0.029719
65 | 0.15223 | 0.073728
66 | 0.099527 | 0.048203
67 | 0.1246 | 0.060347
68 | 0.16351 | 0.07919

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1